## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1509-20_1_2_node_4 | 0.4 | n |  | TRUE
1 | bus_LV_1509-20_1_2_node_5 | 0.4 | n |  | TRUE
2 | bus_LV_1509-20_1_2_node_6 | 0.4 | n |  | TRUE
3 | bus_LV_1509-20_1_2_node_7 | 0.4 | n |  | TRUE
4 | bus_LV_1509-20_1_2_node_8 | 0.4 | n |  | TRUE
5 | bus_LV_1509-20_1_2_node_11 | 0.4 | n |  | TRUE
6 | bus_LV_1509-20_1_2_node_27 | 0.4 | n |  | TRUE
7 | bus_LV_1509-20_1_2_node_9 | 0.4 | n |  | TRUE
8 | bus_LV_1509-20_1_2_node_51 | 0.4 | n |  | TRUE
9 | bus_LV_1509-20_1_2_node_52 | 0.4 | n |  | TRUE
10 | bus_LV_1509-20_1_2_node_10 | 0.4 | n |  | TRUE
11 | bus_LV_1509-20_1_2_node_34 | 0.4 | n |  | TRUE
12 | bus_LV_1509-20_1_2_node_15 | 0.4 | n |  | TRUE
13 | bus_LV_1509-20_1_2_node_12 | 0.4 | n |  | TRUE
14 | bus_LV_1509-20_1_2_node_13 | 0.4 | n |  | TRUE
15 | bus_LV_1509-20_1_2_node_32 | 0.4 | n |  | TRUE
16 | bus_LV_1509-20_1_2_node_14 | 0.4 | n |  | TRUE
17 | bus_LV_1509-20_1_2_node_25 | 0.4 | n |  | TRUE
18 | bus_LV_1509-20_1_2_node_29 | 0.4 | n |  | TRUE
19 | bus_LV_1509-20_1_2_node_79 | 0.4 | n |  | TRUE
20 | bus_LV_1509-20_1_2_node_28 | 0.4 | n |  | TRUE
21 | bus_LV_1509-20_1_2_node_30 | 0.4 | n |  | TRUE
22 | bus_LV_1509-20_1_2_node_31 | 0.4 | n |  | TRUE
23 | bus_LV_1509-20_1_2_node_37 | 0.4 | n |  | TRUE
24 | bus_LV_1509-20_1_2_node_33 | 0.4 | n |  | TRUE
25 | bus_LV_1509-20_1_2_node_35 | 0.4 | n |  | TRUE
26 | bus_LV_1509-20_1_2_node_36 | 0.4 | n |  | TRUE
27 | bus_LV_1509-20_1_2_node_38 | 0.4 | n |  | TRUE
28 | bus_LV_1509-20_1_2_node_68 | 0.4 | n |  | TRUE
29 | bus_LV_1509-20_1_2_node_39 | 0.4 | n |  | TRUE
30 | bus_MV_0_node_33 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1509-20_1_2_load_4 | 0 | 0.0019327 | 0.00048438 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1509-20_1_2_load_5 | 1 | 0.0018867 | 0.00047284 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1509-20_1_2_load_7 | 3 | 0.00047174 | 0.00011823 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1509-20_1_2_load_8 | 4 | 0.00035554 | 8.9107e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1509-20_1_2_load_11 | 5 | 0.0022232 | 0.00055718 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1509-20_1_2_load_27 | 6 | 0.00059965 | 0.00015029 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1509-20_1_2_load_51 | 8 | 0.00026367 | 6.6082e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1509-20_1_2_load_34 | 11 | 0.0037441 | 0.00093836 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1509-20_1_2_load_15 | 12 | 0.0033006 | 0.00082721 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1509-20_1_2_load_12 | 13 | 0.0020059 | 0.00050272 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1509-20_1_2_load_13 | 14 | 0.0011744 | 0.00029432 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1509-20_1_2_load_32 | 15 | 0.001176 | 0.00029473 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1509-20_1_2_load_14 | 16 | 0.0076904 | 0.0019274 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1509-20_1_2_load_79 | 19 | 0.003247 | 0.00081377 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1509-20_1_2_load_28 | 20 | 0.0034731 | 0.00087044 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1509-20_1_2_load_31 | 22 | 0.0023398 | 0.00058642 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1509-20_1_2_load_33 | 24 | 0.0043994 | 0.0011026 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1509-20_1_2_load_36 | 26 | 0.0035496 | 0.00088961 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1509-20_1_2_load_38 | 27 | 0.0038039 | 0.00095335 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1509-20_1_2_load_68 | 28 | 0.001548 | 0.00038796 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 24 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1509-20_1_2_line_0 |  | 0 | 1 | 0.012363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1509-20_1_2_line_1 |  | 0 | 2 | 0.0098904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1509-20_1_2_line_2 |  | 1 | 3 | 0.016132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1509-20_1_2_line_3 |  | 2 | 4 | 0.017023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1509-20_1_2_line_4 |  | 3 | 5 | 0.022298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1509-20_1_2_line_5 |  | 4 | 6 | 0.0086322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1509-20_1_2_line_6 |  | 5 | 13 | 0.021822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1509-20_1_2_line_7 |  | 7 | 8 | 0.040436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1509-20_1_2_line_8 |  | 7 | 9 | 0.18045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1509-20_1_2_line_9 |  | 8 | 29 | 0.028829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1509-20_1_2_line_10 |  | 9 | 22 | 0.047013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1509-20_1_2_line_11 |  | 10 | 11 | 0.11756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1509-20_1_2_line_12 |  | 10 | 12 | 0.032053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1509-20_1_2_line_13 |  | 11 | 24 | 0.041206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1509-20_1_2_line_14 |  | 12 | 16 | 0.005409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1509-20_1_2_line_15 |  | 13 | 14 | 0.01645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1509-20_1_2_line_16 |  | 14 | 15 | 0.0089774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1509-20_1_2_line_17 |  | 15 | 23 | 0.008319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1509-20_1_2_line_18 |  | 17 | 18 | 0.008724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1509-20_1_2_line_19 |  | 17 | 19 | 0.022951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1509-20_1_2_line_20 |  | 18 | 20 | 0.01888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1509-20_1_2_line_21 |  | 20 | 21 | 0.28538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1509-20_1_2_line_22 |  | 21 | 22 | 0.20024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1509-20_1_2_line_23 |  | 23 | 28 | 0.011489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1509-20_1_2_line_24 |  | 23 | 25 | 0.017187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1509-20_1_2_line_25 |  | 24 | 25 | 0.019625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1509-20_1_2_line_26 |  | 25 | 26 | 0.014628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1509-20_1_2_line_27 |  | 26 | 27 | 0.04632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1509-20_1_2_line_28 |  | 27 | 29 | 0.079566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1509-20_1_2_trafo_33 | 0.63 MVA 20/0.4 kV | 30 | 24 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26
0 | 2670391.4478 | 1202390.6541 | 2670388.5315 | 1202391.0974 | 2670383.2652 | 1202398.8991
1 | 2670401.2259 | 1202389.168 | 2670391.4478 | 1202390.6541
2 | 2670374.2397 | 1202412.2697 | 2670383.2652 | 1202398.8991
3 | 2670401.2259 | 1202389.168 | 2670406.2024 | 1202396.3421 | 2670411.425 | 1202402.7821
4 | 2670374.2397 | 1202412.2697 | 2670372.9702 | 1202414.1504 | 2670363.3271 | 1202415.4821 | 2670354.8706 | 1202409.6114
5 | 2670416.8621 | 1202409.4868 | 2670411.425 | 1202402.7821
6 | 2670354.8706 | 1202409.6114 | 2670336.9452 | 1202397.1671
7 | 2670472.8925 | 1202432.5947 | 2670465.79 | 1202432.7555 | 2670459.0239 | 1202434.7102 | 2670457.7424 | 1202439.4758 | 2670457.076 | 1202444.3598 | 2670455.939 | 1202445.2581 | 2670452.8776 | 1202445.4221 | 2670449.4173 | 1202444.5696 | 2670445.4471 | 1202443.7112 | 2670441.163 | 1202443.6607
8 | 2670472.8925 | 1202432.5947 | 2670473.0967 | 1202434.6428 | 2670479.0427 | 1202431.2331 | 2670489.2175 | 1202427.4063 | 2670496.2628 | 1202432.0923 | 2670575.1111 | 1202478.8625 | 2670578.3188 | 1202482.4137 | 2670580.3331 | 1202486.4844 | 2670580.5482 | 1202490.8229 | 2670579.344 | 1202496.123 | 2670567.0766 | 1202524.4065 | 2670572.4789 | 1202533.5203
9 | 2670416.9651 | 1202456.9058 | 2670420.7489 | 1202452.2698 | 2670424.2212 | 1202452.1106 | 2670427.7032 | 1202451.1288 | 2670428.8473 | 1202449.6191 | 2670433.0394 | 1202448.4456 | 2670435.4014 | 1202447.5618 | 2670440.2315 | 1202444.5614 | 2670441.163 | 1202443.6607
10 | 2670572.4789 | 1202533.5203 | 2670569.2866 | 1202539.6086 | 2670559.6844 | 1202551.6692 | 2670553.4379 | 1202556.6874 | 2670546.2896 | 1202559.438 | 2670537.5626 | 1202561.8364
11 | 2670139.8714 | 1202309.3573 | 2670152.9825 | 1202311.4792 | 2670173.089 | 1202316.0958 | 2670192.8942 | 1202323.0326 | 2670213.1228 | 1202332.7984 | 2670235.823 | 1202345.951 | 2670247.3966 | 1202353.7689
12 | 2670139.8714 | 1202309.3573 | 2670161.9999 | 1202332.5461
13 | 2670247.3966 | 1202353.7689 | 2670264.1983 | 1202365.1184 | 2670281.0994 | 1202377.4642
14 | 2670167.393 | 1202332.9608 | 2670161.9999 | 1202332.5461
15 | 2670323.4324 | 1202387.7861 | 2670336.9452 | 1202397.1671
16 | 2670323.4324 | 1202387.7861 | 2670316.058 | 1202382.6665
17 | 2670309.2243 | 1202377.9224 | 2670316.058 | 1202382.6665
18 | 2670170.997 | 1202394.3967 | 2670162.352 | 1202393.0499
19 | 2670162.352 | 1202393.0499 | 2670163.3652 | 1202388.4257 | 2670165.4091 | 1202381.5899 | 2670167.6827 | 1202370.7434
20 | 2670170.997 | 1202394.3967 | 2670183.5652 | 1202396.7235 | 2670189.445 | 1202398.3426
21 | 2670423.6318 | 1202556.3116 | 2670416.5358 | 1202552.7035 | 2670406.5087 | 1202549.1832 | 2670394.7206 | 1202545.2753 | 2670384.8217 | 1202541.8566 | 2670373.5408 | 1202535.5866 | 2670359.9636 | 1202522.6856 | 2670346.3828 | 1202510.7295 | 2670334.1785 | 1202502.0917 | 2670322.4736 | 1202491.1028 | 2670307.9803 | 1202475.8341 | 2670294.3882 | 1202464.823 | 2670224.186 | 1202416.5238 | 2670217.3828 | 1202411.2963 | 2670201.352 | 1202403.1252 | 2670189.5961 | 1202398.3842 | 2670189.445 | 1202398.3426
22 | 2670423.6318 | 1202556.3116 | 2670426.601 | 1202556.858 | 2670432.559 | 1202558.2291 | 2670445.088 | 1202559.3218 | 2670452.415 | 1202560.1198 | 2670463.6986 | 1202566.1454 | 2670477.0849 | 1202574.564 | 2670487.9098 | 1202580.1172 | 2670511.9462 | 1202588.8951 | 2670527.0191 | 1202594.9655 | 2670538.0271 | 1202597.2524 | 2670542.641 | 1202597.7294 | 2670545.5035 | 1202597.6409 | 2670547.4892 | 1202595.1184 | 2670544.2023 | 1202589.8986 | 2670545.5607 | 1202589.5811 | 2670549.8314 | 1202593.3338 | 2670549.8652 | 1202589.8321 | 2670544.0129 | 1202579.5122 | 2670550.6355 | 1202580.0241 | 2670554.3772 | 1202576.3771 | 2670552.2447 | 1202573.2945 | 2670545.9804 | 1202571.4417 | 2670541.5773 | 1202569.2328 | 2670535.911 | 1202565.7193 | 2670537.0516 | 1202562.5753 | 2670537.5626 | 1202561.8364
23 | 2670309.2243 | 1202377.9224 | 2670300.0696 | 1202370.9811
24 | 2670309.2243 | 1202377.9224 | 2670307.612 | 1202380.4161 | 2670302.1894 | 1202387.2009 | 2670296.9469 | 1202389.0403
25 | 2670296.9469 | 1202389.0403 | 2670281.0994 | 1202377.4642
26 | 2670296.9469 | 1202389.0403 | 2670308.5238 | 1202397.9826
27 | 2670345.0802 | 1202426.4256 | 2670339.1444 | 1202421.6345 | 2670308.5238 | 1202397.9826
28 | 2670416.9651 | 1202456.9058 | 2670372.9194 | 1202446.236 | 2670359.8461 | 1202438.3439 | 2670345.0802 | 1202426.4256

## bus_geodata
| x | y | coords
0 | 2670391.4478 | 1202390.6541
1 | 2670383.2652 | 1202398.8991
2 | 2670401.2259 | 1202389.168
3 | 2670374.2397 | 1202412.2697
4 | 2670411.425 | 1202402.7821
5 | 2670354.8706 | 1202409.6114
6 | 2670416.8621 | 1202409.4868
7 | 2670472.8925 | 1202432.5947
8 | 2670441.163 | 1202443.6607
9 | 2670572.4789 | 1202533.5203
10 | 2670139.8714 | 1202309.3573
11 | 2670247.3966 | 1202353.7689
12 | 2670161.9999 | 1202332.5461
13 | 2670336.9453 | 1202397.1671
14 | 2670323.4324 | 1202387.7861
15 | 2670316.058 | 1202382.6665
16 | 2670167.393 | 1202332.9608
17 | 2670162.352 | 1202393.0499
18 | 2670170.997 | 1202394.3967
19 | 2670167.6827 | 1202370.7434
20 | 2670189.445 | 1202398.3426
21 | 2670423.6318 | 1202556.3116
22 | 2670537.5626 | 1202561.8364
23 | 2670309.2243 | 1202377.9224
24 | 2670281.0994 | 1202377.4642
25 | 2670296.9469 | 1202389.0403
26 | 2670308.5238 | 1202397.9826
27 | 2670345.0802 | 1202426.4256
28 | 2670300.0696 | 1202370.9811
29 | 2670416.9651 | 1202456.9058
30 | 2670281.0994 | 1202377.4642

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99858 | -0.027287 | 0.0019327 | 0.00048438
1 | 0.99861 | -0.026662 | 0.0018867 | 0.00047284
2 | 0.99857 | -0.027452 | 0 | 0
3 | 0.99868 | -0.025316 | 0.00047174 | 0.00011823
4 | 0.99856 | -0.027736 | 0.00035554 | 8.9107e-05
5 | 0.99879 | -0.023271 | 0.0022232 | 0.00055718
6 | 0.99855 | -0.027827 | 0.00059965 | 0.00015029
7 | 0.99743 | -0.049375 | 0 | 0
8 | 0.99777 | -0.042941 | 0.00026367 | 6.6082e-05
9 | 0.99594 | -0.078131 | 0 | 0
10 | 0.99827 | -0.033171 | 0 | 0
11 | 0.99945 | -0.010593 | 0.0037441 | 0.00093836
12 | 0.99795 | -0.039335 | 0.0033006 | 0.00082721
13 | 0.99894 | -0.020422 | 0.0020059 | 0.00050272
14 | 0.99908 | -0.017699 | 0.0011744 | 0.00029432
15 | 0.99917 | -0.016029 | 0.001176 | 0.00029473
16 | 0.99792 | -0.040063 | 0.0076904 | 0.0019274
17 | 0.99249 | -0.14486 | 0 | 0
18 | 0.99251 | -0.14436 | 0 | 0
19 | 0.99242 | -0.14618 | 0.003247 | 0.00081377
20 | 0.99257 | -0.14328 | 0.0034731 | 0.00087044
21 | 0.99432 | -0.10938 | 0 | 0
22 | 0.99555 | -0.085634 | 0.0023398 | 0.00058642
23 | 0.99926 | -0.014311 | 0 | 0
24 | 1 | 0 | -0.046536 | -0.011271
25 | 0.99946 | -0.010298 | 0 | 0
26 | 0.99924 | -0.014564 | 0.0035496 | 0.00088961
27 | 0.99869 | -0.025209 | 0.0038039 | 0.00095335
28 | 0.99924 | -0.014621 | 0.001548 | 0.00038796
29 | 0.99801 | -0.038222 | 0 | 0
30 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0028879 | -0.00072333 | 0.002888 | 0.00072322 | 8.5847e-08 | -1.0679e-07 | 0.0043032 | 0.0043032 | 0.0043032 | 0.99858 | -0.027287 | 0.99861 | -0.026662 | 1.1822
1 | 0.00095521 | 0.00023894 | -0.0009552 | -0.00023907 | 7.5129e-09 | -1.2458e-07 | 0.0014232 | 0.0014233 | 0.0014233 | 0.99858 | -0.027287 | 0.99857 | -0.027452 | 0.39101
2 | -0.0047747 | -0.0011961 | 0.004775 | 0.001196 | 3.0619e-07 | -1.5103e-08 | 0.0071145 | 0.0071144 | 0.0071145 | 0.99861 | -0.026662 | 0.99868 | -0.025316 | 1.9545
3 | 0.0009552 | 0.00023907 | -0.00095519 | -0.00023928 | 1.2932e-08 | -2.1441e-07 | 0.0014233 | 0.0014234 | 0.0014234 | 0.99857 | -0.027452 | 0.99856 | -0.027736 | 0.39103
4 | -0.0052467 | -0.0013143 | 0.0052472 | 0.0013143 | 5.1098e-07 | 3.523e-08 | 0.0078173 | 0.0078172 | 0.0078173 | 0.99868 | -0.025316 | 0.99879 | -0.023271 | 2.1476
5 | 0.00059965 | 0.00015017 | -0.00059965 | -0.00015029 | 2.5846e-09 | -1.1127e-07 | 0.00089354 | 0.00089358 | 0.00089358 | 0.99856 | -0.027736 | 0.99855 | -0.027827 | 0.24549
6 | -0.0074704 | -0.0018715 | 0.0074714 | 0.0018719 | 1.0136e-06 | 3.6304e-07 | 0.011129 | 0.011129 | 0.011129 | 0.99879 | -0.023271 | 0.99894 | -0.020422 | 3.0575
7 | -0.0090946 | -0.0022829 | 0.0090974 | 0.0022841 | 2.7918e-06 | 1.2588e-06 | 0.013569 | 0.013569 | 0.013569 | 0.99743 | -0.049375 | 0.99777 | -0.042941 | 3.7277
8 | 0.0090946 | 0.0022829 | -0.0090821 | -0.0022773 | 1.246e-05 | 5.6226e-06 | 0.013569 | 0.01357 | 0.01357 | 0.99743 | -0.049375 | 0.99594 | -0.078131 | 3.728
9 | -0.009361 | -0.0023502 | 0.0093631 | 0.0023512 | 2.1074e-06 | 9.7214e-07 | 0.013962 | 0.013962 | 0.013962 | 0.99777 | -0.042941 | 0.99801 | -0.038222 | 3.8357
10 | 0.0090821 | 0.0022773 | -0.0090789 | -0.0022758 | 3.2464e-06 | 1.4662e-06 | 0.01357 | 0.01357 | 0.01357 | 0.99594 | -0.078131 | 0.99555 | -0.085634 | 3.728
11 | -0.010994 | -0.0027563 | 0.011006 | 0.0027624 | 1.184e-05 | 6.0389e-06 | 0.016389 | 0.016388 | 0.016389 | 0.99827 | -0.033171 | 0.99945 | -0.010593 | 4.5023
12 | 0.010994 | 0.0027563 | -0.010991 | -0.0027547 | 3.2284e-06 | 1.6472e-06 | 0.016389 | 0.016389 | 0.016389 | 0.99827 | -0.033171 | 0.99795 | -0.039335 | 4.5024
13 | -0.01475 | -0.0037007 | 0.014758 | 0.003705 | 7.4532e-06 | 4.2298e-06 | 0.021962 | 0.021962 | 0.021962 | 0.99945 | -0.010593 | 1 | 0 | 6.0336
14 | 0.0076906 | 0.0019275 | -0.0076904 | -0.0019274 | 2.6673e-07 | 1.0004e-07 | 0.011467 | 0.011467 | 0.011467 | 0.99795 | -0.039335 | 0.99792 | -0.040063 | 3.1503
15 | -0.0094773 | -0.0023746 | 0.0094785 | 0.0023751 | 1.2294e-06 | 5.7142e-07 | 0.014117 | 0.014117 | 0.014117 | 0.99894 | -0.020422 | 0.99908 | -0.017699 | 3.8783
16 | -0.010653 | -0.0026695 | 0.010654 | 0.0026699 | 8.4747e-07 | 4.2481e-07 | 0.015866 | 0.015866 | 0.015866 | 0.99908 | -0.017699 | 0.99917 | -0.016029 | 4.3588
17 | -0.01183 | -0.0029646 | 0.011831 | 0.0029651 | 9.6825e-07 | 5.1071e-07 | 0.017617 | 0.017617 | 0.017617 | 0.99917 | -0.016029 | 0.99926 | -0.014311 | 4.84
18 | -0.0032472 | -0.0008136 | 0.0032473 | 0.00081354 | 7.7537e-08 | -6.3119e-08 | 0.0048684 | 0.0048683 | 0.0048684 | 0.99249 | -0.14486 | 0.99251 | -0.14436 | 1.3375
19 | 0.0032472 | 0.0008136 | -0.003247 | -0.00081377 | 2.0399e-07 | -1.6602e-07 | 0.0048684 | 0.0048685 | 0.0048685 | 0.99249 | -0.14486 | 0.99242 | -0.14618 | 1.3375
20 | -0.0032473 | -0.00081354 | 0.0032474 | 0.0008134 | 1.678e-07 | -1.3662e-07 | 0.0048683 | 0.0048682 | 0.0048683 | 0.99251 | -0.14436 | 0.99257 | -0.14328 | 1.3374
21 | -0.0067205 | -0.0016838 | 0.0067314 | 0.0016871 | 1.0861e-05 | 3.2562e-06 | 0.010075 | 0.010074 | 0.010075 | 0.99257 | -0.14328 | 0.99432 | -0.10938 | 2.7678
22 | -0.0067314 | -0.0016871 | 0.006739 | 0.0016894 | 7.6195e-06 | 2.2759e-06 | 0.010074 | 0.010073 | 0.010074 | 0.99432 | -0.10938 | 0.99555 | -0.085634 | 2.7675
23 | 0.001548 | 0.00038783 | -0.001548 | -0.00038796 | 2.2893e-08 | -1.3585e-07 | 0.0023051 | 0.0023052 | 0.0023052 | 0.99926 | -0.014311 | 0.99924 | -0.014621 | 0.63329
24 | -0.013379 | -0.003353 | 0.013381 | 0.0033544 | 2.5581e-06 | 1.412e-06 | 0.019923 | 0.019922 | 0.019923 | 0.99926 | -0.014311 | 0.99946 | -0.010298 | 5.4732
25 | 0.030129 | 0.0075661 | -0.030114 | -0.0075569 | 1.4795e-05 | 9.2117e-06 | 0.044837 | 0.044837 | 0.044837 | 1 | 0 | 0.99946 | -0.010298 | 12.3179
26 | 0.016733 | 0.0042025 | -0.016729 | -0.0042005 | 3.4052e-06 | 1.9877e-06 | 0.024915 | 0.024915 | 0.024915 | 0.99946 | -0.010298 | 0.99924 | -0.014564 | 6.8447
27 | 0.01318 | 0.0033109 | -0.013173 | -0.0033072 | 6.6926e-06 | 3.6769e-06 | 0.019629 | 0.019629 | 0.019629 | 0.99924 | -0.014564 | 0.99869 | -0.025209 | 5.3926
28 | 0.009369 | 0.0023539 | -0.0093631 | -0.0023512 | 5.8162e-06 | 2.6819e-06 | 0.013962 | 0.013962 | 0.013962 | 0.99869 | -0.025209 | 0.99801 | -0.038222 | 3.8357

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -6.4999e-16 | 2.4266e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 7.2519e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.050936 | 0.012374

## res_load
| p_mw | q_mvar
0 | 0.0019327 | 0.00048438
1 | 0.0018867 | 0.00047284
2 | 0.00047174 | 0.00011823
3 | 0.00035554 | 8.9107e-05
4 | 0.0022232 | 0.00055718
5 | 0.00059965 | 0.00015029
6 | 0.00026367 | 6.6082e-05
7 | 0.0037441 | 0.00093836
8 | 0.0033006 | 0.00082721
9 | 0.0020059 | 0.00050272
10 | 0.0011744 | 0.00029432
11 | 0.001176 | 0.00029473
12 | 0.0076904 | 0.0019274
13 | 0.003247 | 0.00081377
14 | 0.0034731 | 0.00087044
15 | 0.0023398 | 0.00058642
16 | 0.0043994 | 0.0011026
17 | 0.0035496 | 0.00088961
18 | 0.0038039 | 0.00095335
19 | 0.001548 | 0.00038796

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1