## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1509-30_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1509-30_0_6_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_1509-30_0_6_node_4 | 0.4 | n |  | TRUE
3 | bus_LV_1509-30_0_6_node_12 | 0.4 | n |  | TRUE
4 | bus_LV_1509-30_0_6_node_13 | 0.4 | n |  | TRUE
5 | bus_LV_1509-30_0_6_node_35 | 0.4 | n |  | TRUE
6 | bus_LV_1509-30_0_6_node_84 | 0.4 | n |  | TRUE
7 | bus_LV_1509-30_0_6_node_11 | 0.4 | n |  | TRUE
8 | bus_LV_1509-30_0_6_node_29 | 0.4 | n |  | TRUE
9 | bus_LV_1509-30_0_6_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_1509-30_0_6_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_1509-30_0_6_node_10 | 0.4 | n |  | TRUE
12 | bus_LV_1509-30_0_6_node_43 | 0.4 | n |  | TRUE
13 | bus_LV_1509-30_0_6_node_42 | 0.4 | n |  | TRUE
14 | bus_LV_1509-30_0_6_node_5 | 0.4 | n |  | TRUE
15 | bus_LV_1509-30_0_6_node_6 | 0.4 | n |  | TRUE
16 | bus_LV_1509-30_0_6_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_1509-30_0_6_node_45 | 0.4 | n |  | TRUE
18 | bus_LV_1509-30_0_6_node_79 | 0.4 | n |  | TRUE
19 | bus_LV_1509-30_0_6_node_44 | 0.4 | n |  | TRUE
20 | bus_LV_1509-30_0_6_node_80 | 0.4 | n |  | TRUE
21 | bus_LV_1509-30_0_6_node_41 | 0.4 | n |  | TRUE
22 | bus_LV_1509-30_0_6_node_27 | 0.4 | n |  | TRUE
23 | bus_LV_1509-30_0_6_node_81 | 0.4 | n |  | TRUE
24 | bus_LV_1509-30_0_6_node_30 | 0.4 | n |  | TRUE
25 | bus_LV_1509-30_0_6_node_14 | 0.4 | n |  | TRUE
26 | bus_LV_1509-30_0_6_node_15 | 0.4 | n |  | TRUE
27 | bus_LV_1509-30_0_6_node_16 | 0.4 | n |  | TRUE
28 | bus_LV_1509-30_0_6_node_17 | 0.4 | n |  | TRUE
29 | bus_LV_1509-30_0_6_node_18 | 0.4 | n |  | TRUE
30 | bus_LV_1509-30_0_6_node_33 | 0.4 | n |  | TRUE
31 | bus_LV_1509-30_0_6_node_47 | 0.4 | n |  | TRUE
32 | bus_LV_1509-30_0_6_node_34 | 0.4 | n |  | TRUE
33 | bus_LV_1509-30_0_6_node_31 | 0.4 | n |  | TRUE
34 | bus_LV_1509-30_0_6_node_59 | 0.4 | n |  | TRUE
35 | bus_LV_1509-30_0_6_node_39 | 0.4 | n |  | TRUE
36 | bus_LV_1509-30_0_6_node_19 | 0.4 | n |  | TRUE
37 | bus_LV_1509-30_0_6_node_20 | 0.4 | n |  | TRUE
38 | bus_LV_1509-30_0_6_node_21 | 0.4 | n |  | TRUE
39 | bus_LV_1509-30_0_6_node_22 | 0.4 | n |  | TRUE
40 | bus_LV_1509-30_0_6_node_23 | 0.4 | n |  | TRUE
41 | bus_LV_1509-30_0_6_node_26 | 0.4 | n |  | TRUE
42 | bus_LV_1509-30_0_6_node_24 | 0.4 | n |  | TRUE
43 | bus_LV_1509-30_0_6_node_25 | 0.4 | n |  | TRUE
44 | bus_LV_1509-30_0_6_node_67 | 0.4 | n |  | TRUE
45 | bus_LV_1509-30_0_6_node_65 | 0.4 | n |  | TRUE
46 | bus_LV_1509-30_0_6_node_54 | 0.4 | n |  | TRUE
47 | bus_LV_1509-30_0_6_node_73 | 0.4 | n |  | TRUE
48 | bus_LV_1509-30_0_6_node_66 | 0.4 | n |  | TRUE
49 | bus_LV_1509-30_0_6_node_56 | 0.4 | n |  | TRUE
50 | bus_LV_1509-30_0_6_node_53 | 0.4 | n |  | TRUE
51 | bus_LV_1509-30_0_6_node_28 | 0.4 | n |  | TRUE
52 | bus_LV_1509-30_0_6_node_83 | 0.4 | n |  | TRUE
53 | bus_LV_1509-30_0_6_node_82 | 0.4 | n |  | TRUE
54 | bus_LV_1509-30_0_6_node_32 | 0.4 | n |  | TRUE
55 | bus_LV_1509-30_0_6_node_63 | 0.4 | n |  | TRUE
56 | bus_LV_1509-30_0_6_node_61 | 0.4 | n |  | TRUE
57 | bus_LV_1509-30_0_6_node_36 | 0.4 | n |  | TRUE
58 | bus_LV_1509-30_0_6_node_37 | 0.4 | n |  | TRUE
59 | bus_LV_1509-30_0_6_node_38 | 0.4 | n |  | TRUE
60 | bus_LV_1509-30_0_6_node_40 | 0.4 | n |  | TRUE
61 | bus_LV_1509-30_0_6_node_52 | 0.4 | n |  | TRUE
62 | bus_LV_1509-30_0_6_node_48 | 0.4 | n |  | TRUE
63 | bus_LV_1509-30_0_6_node_74 | 0.4 | n |  | TRUE
64 | bus_LV_1509-30_0_6_node_49 | 0.4 | n |  | TRUE
65 | bus_LV_1509-30_0_6_node_50 | 0.4 | n |  | TRUE
66 | bus_LV_1509-30_0_6_node_51 | 0.4 | n |  | TRUE
67 | bus_LV_1509-30_0_6_node_78 | 0.4 | n |  | TRUE
68 | bus_LV_1509-30_0_6_node_55 | 0.4 | n |  | TRUE
69 | bus_LV_1509-30_0_6_node_57 | 0.4 | n |  | TRUE
70 | bus_LV_1509-30_0_6_node_58 | 0.4 | n |  | TRUE
71 | bus_LV_1509-30_0_6_node_60 | 0.4 | n |  | TRUE
72 | bus_LV_1509-30_0_6_node_62 | 0.4 | n |  | TRUE
73 | bus_LV_1509-30_0_6_node_68 | 0.4 | n |  | TRUE
74 | bus_LV_1509-30_0_6_node_85 | 0.4 | n |  | TRUE
75 | bus_LV_1509-30_0_6_node_71 | 0.4 | n |  | TRUE
76 | bus_LV_1509-30_0_6_node_86 | 0.4 | n |  | TRUE
77 | bus_LV_1509-30_0_6_node_69 | 0.4 | n |  | TRUE
78 | bus_LV_1509-30_0_6_node_70 | 0.4 | n |  | TRUE
79 | bus_LV_1509-30_0_6_node_75 | 0.4 | n |  | TRUE
80 | bus_LV_1509-30_0_6_node_76 | 0.4 | n |  | TRUE
81 | bus_MV_143_0_node_59 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1509-30_0_6_load_0 | 0 | 0.011793 | 0.0029557 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1509-30_0_6_load_4 | 2 | 0.011725 | 0.0029387 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1509-30_0_6_load_84 | 6 | 0.0027737 | 0.00069514 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1509-30_0_6_load_8 | 10 | 0.010265 | 0.0025727 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1509-30_0_6_load_10 | 11 | 0.0041414 | 0.0010379 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1509-30_0_6_load_43 | 12 | 0.010131 | 0.0025392 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1509-30_0_6_load_5 | 14 | 0.0061212 | 0.0015341 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1509-30_0_6_load_79 | 18 | 0.010587 | 0.0026533 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1509-30_0_6_load_44 | 19 | 0.012725 | 0.0031891 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1509-30_0_6_load_80 | 20 | 0.0020895 | 0.00052367 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1509-30_0_6_load_41 | 21 | 0.0054891 | 0.0013757 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1509-30_0_6_load_27 | 22 | 0.0122 | 0.0030577 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1509-30_0_6_load_81 | 23 | 0.0049969 | 0.0012523 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1509-30_0_6_load_14 | 25 | 0.011309 | 0.0028343 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1509-30_0_6_load_15 | 26 | 0.011309 | 0.0028343 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1509-30_0_6_load_16 | 27 | 0.0063155 | 0.0015828 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1509-30_0_6_load_17 | 28 | 0.017228 | 0.0043178 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1509-30_0_6_load_18 | 29 | 0.0092708 | 0.0023235 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1509-30_0_6_load_34 | 32 | 0.0080759 | 0.002024 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1509-30_0_6_load_59 | 34 | 0.0049405 | 0.0012382 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1509-30_0_6_load_39 | 35 | 0.0077774 | 0.0019492 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1509-30_0_6_load_19 | 36 | 0.010143 | 0.0025422 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1509-30_0_6_load_22 | 39 | 0.034167 | 0.008563 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1509-30_0_6_load_23 | 40 | 0.0059485 | 0.0014908 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1509-30_0_6_load_65 | 45 | 0.0084881 | 0.0021273 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1509-30_0_6_load_73 | 47 | 0.015935 | 0.0039936 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1509-30_0_6_load_56 | 49 | 0.003324 | 0.00083307 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1509-30_0_6_load_53 | 50 | 0.0019651 | 0.00049251 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1509-30_0_6_load_28 | 51 | 0.0065871 | 0.0016509 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1509-30_0_6_load_83 | 52 | 0.013608 | 0.0034104 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1509-30_0_6_load_82 | 53 | 0.01507 | 0.0037769 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1509-30_0_6_load_32 | 54 | 0.0071562 | 0.0017935 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1509-30_0_6_load_63 | 55 | 0.0095623 | 0.0023965 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1509-30_0_6_load_61 | 56 | 0.014226 | 0.0035653 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1509-30_0_6_load_36 | 57 | 0.020189 | 0.0050598 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1509-30_0_6_load_37 | 58 | 0.0075083 | 0.0018818 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1509-30_0_6_load_48 | 62 | 0.0080999 | 0.00203 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1509-30_0_6_load_50 | 65 | 0.0056457 | 0.0014149 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1509-30_0_6_load_51 | 66 | 0.0041061 | 0.0010291 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1509-30_0_6_load_78 | 67 | 0.0045229 | 0.0011335 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1509-30_0_6_load_57 | 69 | 0.020179 | 0.0050573 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1509-30_0_6_load_58 | 70 | 0.0095776 | 0.0024004 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1509-30_0_6_load_60 | 71 | 0.015766 | 0.0039513 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1509-30_0_6_load_62 | 72 | 0.0071684 | 0.0017966 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1509-30_0_6_load_85 | 74 | 0.036292 | 0.0090957 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1509-30_0_6_load_86 | 76 | 0.028511 | 0.0071454 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1509-30_0_6_load_69 | 77 | 0.0077399 | 0.0019398 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1509-30_0_6_load_70 | 78 | 0.025409 | 0.006368 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1509-30_0_6_load_76 | 80 | 0.028329 | 0.0071 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 29 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1509-30_0_6_line_0 |  | 0 | 1 | 0.0093419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1509-30_0_6_line_1 |  | 1 | 2 | 0.0028434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1509-30_0_6_line_2 |  | 2 | 3 | 0.030697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1509-30_0_6_line_3 |  | 3 | 5 | 0.021387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1509-30_0_6_line_4 |  | 4 | 5 | 0.023693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1509-30_0_6_line_5 |  | 4 | 6 | 0.017676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1509-30_0_6_line_6 |  | 5 | 23 | 0.020894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1509-30_0_6_line_7 |  | 6 | 24 | 0.0053811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1509-30_0_6_line_8 |  | 7 | 8 | 0.024158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1509-30_0_6_line_9 |  | 7 | 9 | 0.011355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1509-30_0_6_line_10 |  | 7 | 10 | 0.020751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1509-30_0_6_line_11 |  | 8 | 22 | 0.01423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1509-30_0_6_line_12 |  | 9 | 11 | 0.021209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1509-30_0_6_line_13 |  | 10 | 15 | 0.020858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1509-30_0_6_line_14 |  | 11 | 13 | 0.0052576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1509-30_0_6_line_15 |  | 12 | 13 | 0.012745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1509-30_0_6_line_16 |  | 14 | 15 | 0.021871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1509-30_0_6_line_17 |  | 15 | 16 | 0.013903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1509-30_0_6_line_18 |  | 16 | 17 | 0.069945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1509-30_0_6_line_19 |  | 16 | 18 | 0.033558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1509-30_0_6_line_20 |  | 17 | 19 | 0.028603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1509-30_0_6_line_21 |  | 18 | 20 | 0.0080519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1509-30_0_6_line_22 |  | 18 | 21 | 0.021667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1509-30_0_6_line_23 |  | 22 | 51 | 0.024605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1509-30_0_6_line_24 |  | 24 | 52 | 0.012717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1509-30_0_6_line_25 |  | 24 | 51 | 0.018065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1509-30_0_6_line_26 |  | 25 | 26 | 0.023339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_1509-30_0_6_line_27 |  | 25 | 27 | 0.0099523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_1509-30_0_6_line_28 |  | 26 | 28 | 0.0035393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_1509-30_0_6_line_29 |  | 27 | 29 | 0.019959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_1509-30_0_6_line_30 |  | 28 | 30 | 0.014483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_1509-30_0_6_line_31 |  | 29 | 31 | 0.0078366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_1509-30_0_6_line_32 |  | 30 | 32 | 0.018369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1509-30_0_6_line_33 |  | 30 | 33 | 0.003588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_1509-30_0_6_line_34 |  | 31 | 34 | 0.013742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1509-30_0_6_line_35 |  | 31 | 35 | 0.0086143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
36 | LV_1509-30_0_6_line_36 |  | 32 | 55 | 0.0017474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1509-30_0_6_line_37 |  | 33 | 53 | 0.027428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
38 | LV_1509-30_0_6_line_38 |  | 34 | 54 | 0.020979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1509-30_0_6_line_39 |  | 35 | 58 | 0.013717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
40 | LV_1509-30_0_6_line_40 |  | 36 | 37 | 0.06487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
41 | LV_1509-30_0_6_line_41 |  | 36 | 38 | 0.028152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
42 | LV_1509-30_0_6_line_42 |  | 37 | 39 | 0.047955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1509-30_0_6_line_43 |  | 38 | 40 | 0.0064664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
44 | LV_1509-30_0_6_line_44 |  | 39 | 41 | 0.025022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1509-30_0_6_line_45 |  | 40 | 42 | 0.0096845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
46 | LV_1509-30_0_6_line_46 |  | 41 | 46 | 0.023875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1509-30_0_6_line_47 |  | 42 | 43 | 0.04061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
48 | LV_1509-30_0_6_line_48 |  | 43 | 44 | 0.033763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
49 | LV_1509-30_0_6_line_49 |  | 43 | 45 | 0.029454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1509-30_0_6_line_50 |  | 44 | 47 | 0.026949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
51 | LV_1509-30_0_6_line_51 |  | 45 | 48 | 0.029004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1509-30_0_6_line_52 |  | 46 | 49 | 0.024405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1509-30_0_6_line_53 |  | 46 | 50 | 0.033595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1509-30_0_6_line_54 |  | 47 | 75 | 0.0076548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
55 | LV_1509-30_0_6_line_55 |  | 48 | 73 | 0.042487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1509-30_0_6_line_56 |  | 50 | 68 | 0.016299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1509-30_0_6_line_57 |  | 52 | 53 | 0.017787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1509-30_0_6_line_58 |  | 55 | 56 | 0.012796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1509-30_0_6_line_59 |  | 56 | 71 | 0.0017231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_1509-30_0_6_line_60 |  | 57 | 58 | 0.015346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
61 | LV_1509-30_0_6_line_61 |  | 57 | 59 | 0.022164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
62 | LV_1509-30_0_6_line_62 |  | 59 | 60 | 0.003234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
63 | LV_1509-30_0_6_line_63 |  | 60 | 61 | 0.022621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
64 | LV_1509-30_0_6_line_64 |  | 60 | 62 | 0.022235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_1509-30_0_6_line_65 |  | 61 | 63 | 0.009785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
66 | LV_1509-30_0_6_line_66 |  | 62 | 64 | 0.033918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_1509-30_0_6_line_67 |  | 63 | 67 | 0.014212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
68 | LV_1509-30_0_6_line_68 |  | 64 | 65 | 0.009823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_1509-30_0_6_line_69 |  | 64 | 66 | 0.0020807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_1509-30_0_6_line_70 |  | 67 | 79 | 0.02001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
71 | LV_1509-30_0_6_line_71 |  | 68 | 69 | 0.046394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_1509-30_0_6_line_72 |  | 68 | 70 | 0.004503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_1509-30_0_6_line_73 |  | 71 | 72 | 0.019181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_1509-30_0_6_line_74 |  | 73 | 74 | 0.031084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_1509-30_0_6_line_75 |  | 74 | 76 | 0.00052815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_1509-30_0_6_line_76 |  | 75 | 79 | 0.035862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
77 | LV_1509-30_0_6_line_77 |  | 75 | 77 | 0.015004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_1509-30_0_6_line_78 |  | 77 | 78 | 0.021837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_1509-30_0_6_line_79 |  | 79 | 80 | 6.2708e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1509-30_0_6_trafo_18 | 0.63 MVA 20/0.4 kV | 81 | 29 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2670249.6943 | 1201861.5305 | 2670259.0362 | 1201861.537
1 | 2670249.6943 | 1201861.5305 | 2670247.2763 | 1201860.0345
2 | 2670245.2993 | 1201829.4482 | 2670245.5315 | 1201838.1785 | 2670247.0084 | 1201848.5132 | 2670247.2763 | 1201860.0345
3 | 2670256.1012 | 1201817.0343 | 2670259.3639 | 1201820.4859 | 2670245.2993 | 1201829.4482
4 | 2670234.9145 | 1201827.7585 | 2670256.1012 | 1201817.0343
5 | 2670234.9145 | 1201827.7585 | 2670229.0609 | 1201820.6854 | 2670220.6077 | 1201821.5253
6 | 2670256.1012 | 1201817.0343 | 2670240.9609 | 1201802.6351
7 | 2670215.253 | 1201822.0573 | 2670220.6077 | 1201821.5253
8 | 2670177.3571 | 1201858.9124 | 2670163.5397 | 1201839.0715
9 | 2670177.3571 | 1201858.9124 | 2670181.812 | 1201856.1186 | 2670185.001 | 1201861.3147
10 | 2670177.3571 | 1201858.9124 | 2670160.6659 | 1201871.2418
11 | 2670163.5397 | 1201839.0715 | 2670177.6792 | 1201837.4699
12 | 2670185.001 | 1201861.3147 | 2670187.4879 | 1201865.3686 | 2670188.9682 | 1201878.0048 | 2670189.0508 | 1201881.7341
13 | 2670143.8892 | 1201883.6345 | 2670160.6659 | 1201871.2418
14 | 2670189.1671 | 1201886.9904 | 2670189.0508 | 1201881.7341
15 | 2670189.1671 | 1201886.9904 | 2670200.2923 | 1201887.1989 | 2670201.9095 | 1201887.2398
16 | 2670143.8892 | 1201883.6345 | 2670147.5201 | 1201885.545 | 2670157.8033 | 1201880.3292 | 2670162.9153 | 1201876.7553
17 | 2670143.8892 | 1201883.6345 | 2670137.9866 | 1201890.4472 | 2670136.8422 | 1201891.968 | 2670135.2445 | 1201894.5064
18 | 2670187.4537 | 1201940.8252 | 2670172.0474 | 1201924.0897 | 2670156.25 | 1201909.5398 | 2670135.2445 | 1201894.5064
19 | 2670135.2445 | 1201894.5064 | 2670106.007 | 1201877.8866
20 | 2670187.4537 | 1201940.8252 | 2670208.2664 | 1201921.205
21 | 2670106.007 | 1201877.8866 | 2670102.9436 | 1201885.3329
22 | 2670106.007 | 1201877.8866 | 2670091.1628 | 1201868.3511 | 2670087.9771 | 1201865.8926
23 | 2670201.5528 | 1201832.3647 | 2670192.7984 | 1201835.7574 | 2670177.6792 | 1201837.4699
24 | 2670215.253 | 1201822.0573 | 2670212.3955 | 1201819.0997 | 2670209.145 | 1201819.1394 | 2670204.2378 | 1201816.9998
25 | 2670215.253 | 1201822.0573 | 2670211.2027 | 1201828.6248 | 2670201.5528 | 1201832.3647
26 | 2670119.2901 | 1201807.1045 | 2670142.6245 | 1201806.6605
27 | 2670119.2901 | 1201807.1045 | 2670109.3397 | 1201807.2939 | 2670109.3397 | 1201807.2939
28 | 2670142.6245 | 1201806.6605 | 2670146.1631 | 1201806.5931
29 | 2670103.086 | 1201794.2188 | 2670109.6866 | 1201793.9454 | 2670109.3397 | 1201807.2939
30 | 2670160.644 | 1201806.3176 | 2670146.1631 | 1201806.5931
31 | 2670095.2561 | 1201794.5432 | 2670103.086 | 1201794.2188
32 | 2670160.644 | 1201806.3176 | 2670166.9823 | 1201803.8905 | 2670167.088 | 1201792.3091
33 | 2670160.644 | 1201806.3176 | 2670160.3736 | 1201809.8943
34 | 2670095.2561 | 1201794.5432 | 2670095.3896 | 1201808.2846
35 | 2670095.2561 | 1201794.5432 | 2670086.6422 | 1201794.623
36 | 2670167.1039 | 1201790.5617 | 2670167.088 | 1201792.3091
37 | 2670160.3736 | 1201809.8943 | 2670187.7941 | 1201810.5204
38 | 2670099.9361 | 1201827.8823 | 2670095.5181 | 1201821.5071 | 2670095.3896 | 1201808.2846
39 | 2670073.0591 | 1201793.7158 | 2670076.7281 | 1201794.7149 | 2670086.6422 | 1201794.623
40 | 2670185.8255 | 1201562.4873 | 2670156.8484 | 1201609.7536 | 2670150.6161 | 1201616.828
41 | 2670137.1509 | 1201640.7524 | 2670138.683 | 1201633.4437 | 2670139.6912 | 1201630.5538 | 2670141.4735 | 1201627.206 | 2670150.6161 | 1201616.828
42 | 2670185.8255 | 1201562.4873 | 2670194.2223 | 1201568.2117 | 2670212.3081 | 1201591.4827 | 2670216.2582 | 1201598.8054
43 | 2670137.1509 | 1201640.7524 | 2670133.9774 | 1201641.3599 | 2670131.1726 | 1201642.9725
44 | 2670224.741 | 1201622.2919 | 2670218.0962 | 1201602.2127 | 2670216.2582 | 1201598.8054
45 | 2670127.6233 | 1201651.6027 | 2670127.8133 | 1201648.3808 | 2670129.0358 | 1201645.3933 | 2670131.1726 | 1201642.9725
46 | 2670224.741 | 1201622.2919 | 2670229.6302 | 1201642.7951 | 2670229.3995 | 1201645.583
47 | 2670095.2771 | 1201676.0048 | 2670099.8908 | 1201672.668 | 2670103.2487 | 1201670.6172 | 2670106.7207 | 1201667.2781 | 2670110.5256 | 1201664.1097 | 2670117.3914 | 1201659.5542 | 2670121.6747 | 1201655.8355 | 2670127.6233 | 1201651.6027
48 | 2670095.2771 | 1201676.0048 | 2670067.9614 | 1201695.9521
49 | 2670095.2771 | 1201676.0048 | 2670091.0673 | 1201668.9289 | 2670089.6364 | 1201665.0319 | 2670086.0986 | 1201648.3331
50 | 2670067.9614 | 1201695.9521 | 2670056.4726 | 1201703.3553 | 2670045.0936 | 1201710.2042
51 | 2670080.0875 | 1201619.9593 | 2670086.0986 | 1201648.3331
52 | 2670229.3995 | 1201645.583 | 2670235.2531 | 1201648.7871 | 2670239.3444 | 1201656.8734 | 2670238.8689 | 1201662.36 | 2670238.4512 | 1201665.5126
53 | 2670229.3995 | 1201645.583 | 2670228.621 | 1201654.8239 | 2670227.1036 | 1201662.822 | 2670227.643 | 1201671.3224 | 2670230.9336 | 1201678.2431
54 | 2670038.5351 | 1201714.1516 | 2670045.0936 | 1201710.2042
55 | 2670080.0875 | 1201619.9593 | 2670062.6562 | 1201629.7609 | 2670040.1753 | 1201632.0432
56 | 2670216.0585 | 1201684.9057 | 2670230.9336 | 1201678.2431
57 | 2670187.7941 | 1201810.5204 | 2670189.464 | 1201810.5585 | 2670204.2378 | 1201816.9998
58 | 2670167.2207 | 1201777.7663 | 2670167.1039 | 1201790.5617
59 | 2670168.9432 | 1201777.8123 | 2670167.2207 | 1201777.7663 | 2670167.2207 | 1201777.7663
60 | 2670073.0591 | 1201793.7158 | 2670068.7919 | 1201792.5539 | 2670057.8842 | 1201791.959 | 2670057.8842 | 1201791.959
61 | 2670035.9844 | 1201795.371 | 2670057.8842 | 1201791.959
62 | 2670035.9844 | 1201795.371 | 2670034.7866 | 1201792.3663
63 | 2670034.7866 | 1201792.3663 | 2670028.2947 | 1201776.0803 | 2670026.6539 | 1201771.2582
64 | 2670034.7866 | 1201792.3663 | 2670014.704 | 1201801.7811 | 2670014.653 | 1201801.8018
65 | 2670024.0625 | 1201761.8221 | 2670026.6539 | 1201771.2582
66 | 2669992.9912 | 1201787.9406 | 2669994.705 | 1201792.3856 | 2669998.0476 | 1201803.3203 | 2670005.1675 | 1201805.6384 | 2670014.653 | 1201801.8018
67 | 2670024.0625 | 1201761.8221 | 2670017.8379 | 1201749.0458
68 | 2669992.9912 | 1201787.9406 | 2669983.4193 | 1201790.2633
69 | 2669992.9912 | 1201787.9406 | 2669992.43 | 1201786.4665 | 2669992.8308 | 1201786.162
70 | 2670007.4385 | 1201732.0092 | 2670010.7449 | 1201737.5958 | 2670015.3216 | 1201743.8977 | 2670017.3509 | 1201748.0462 | 2670017.8379 | 1201749.0458
71 | 2670203.9237 | 1201712.2798 | 2670205.1704 | 1201715.0072 | 2670220.7178 | 1201707.4741 | 2670212.7453 | 1201686.3899 | 2670216.0585 | 1201684.9057
72 | 2670213.775 | 1201681.0209 | 2670216.0585 | 1201684.9057
73 | 2670168.9432 | 1201777.8123 | 2670179.1364 | 1201778.0842 | 2670187.9653 | 1201776.4215
74 | 2670040.1753 | 1201632.0432 | 2670047.6524 | 1201655.8453 | 2670053.5588 | 1201654.1845
75 | 2670054.0672 | 1201654.0416 | 2670053.5588 | 1201654.1845
76 | 2670007.4385 | 1201732.0092 | 2670018.123 | 1201725.6861 | 2670028.3506 | 1201720.0247 | 2670031.9064 | 1201717.9762 | 2670038.5351 | 1201714.1516
77 | 2670038.5351 | 1201714.1516 | 2670035.4443 | 1201699.4697
78 | 2670035.4443 | 1201699.4697 | 2670030.9457 | 1201678.1012
79 | 2670007.4385 | 1201732.0092 | 2670007.3843 | 1201732.0406

## bus_geodata
| x | y | coords
0 | 2670259.0362 | 1201861.537
1 | 2670249.6943 | 1201861.5305
2 | 2670247.2763 | 1201860.0345
3 | 2670245.2993 | 1201829.4482
4 | 2670234.9145 | 1201827.7585
5 | 2670256.1012 | 1201817.0343
6 | 2670220.6077 | 1201821.5253
7 | 2670177.3571 | 1201858.9124
8 | 2670163.5397 | 1201839.0715
9 | 2670185.001 | 1201861.3147
10 | 2670160.6659 | 1201871.2418
11 | 2670189.0508 | 1201881.7341
12 | 2670201.9095 | 1201887.2398
13 | 2670189.1671 | 1201886.9904
14 | 2670162.9153 | 1201876.7553
15 | 2670143.8892 | 1201883.6345
16 | 2670135.2445 | 1201894.5064
17 | 2670187.4537 | 1201940.8252
18 | 2670106.007 | 1201877.8866
19 | 2670208.2664 | 1201921.205
20 | 2670102.9436 | 1201885.3329
21 | 2670087.9771 | 1201865.8926
22 | 2670177.6792 | 1201837.4699
23 | 2670240.9609 | 1201802.6351
24 | 2670215.253 | 1201822.0573
25 | 2670119.2901 | 1201807.1045
26 | 2670142.6245 | 1201806.6605
27 | 2670109.3397 | 1201807.2939
28 | 2670146.1631 | 1201806.5931
29 | 2670103.086 | 1201794.2188
30 | 2670160.644 | 1201806.3176
31 | 2670095.2561 | 1201794.5432
32 | 2670167.088 | 1201792.3091
33 | 2670160.3736 | 1201809.8943
34 | 2670095.3896 | 1201808.2846
35 | 2670086.6422 | 1201794.623
36 | 2670150.6161 | 1201616.828
37 | 2670185.8255 | 1201562.4873
38 | 2670137.1509 | 1201640.7524
39 | 2670216.2582 | 1201598.8054
40 | 2670131.1726 | 1201642.9725
41 | 2670224.741 | 1201622.2919
42 | 2670127.6233 | 1201651.6027
43 | 2670095.2771 | 1201676.0048
44 | 2670067.9614 | 1201695.9521
45 | 2670086.0986 | 1201648.3331
46 | 2670229.3995 | 1201645.583
47 | 2670045.0936 | 1201710.2042
48 | 2670080.0875 | 1201619.9593
49 | 2670238.4512 | 1201665.5126
50 | 2670230.9336 | 1201678.2431
51 | 2670201.5528 | 1201832.3647
52 | 2670204.2378 | 1201816.9998
53 | 2670187.7941 | 1201810.5204
54 | 2670099.9361 | 1201827.8823
55 | 2670167.1039 | 1201790.5617
56 | 2670167.2207 | 1201777.7663
57 | 2670057.8842 | 1201791.959
58 | 2670073.0591 | 1201793.7158
59 | 2670035.9844 | 1201795.371
60 | 2670034.7866 | 1201792.3663
61 | 2670026.6539 | 1201771.2582
62 | 2670014.653 | 1201801.8018
63 | 2670024.0625 | 1201761.8221
64 | 2669992.9912 | 1201787.9406
65 | 2669983.4193 | 1201790.2633
66 | 2669992.8308 | 1201786.162
67 | 2670017.8379 | 1201749.0458
68 | 2670216.0585 | 1201684.9057
69 | 2670203.9237 | 1201712.2798
70 | 2670213.775 | 1201681.0209
71 | 2670168.9432 | 1201777.8123
72 | 2670187.9653 | 1201776.4215
73 | 2670040.1753 | 1201632.0432
74 | 2670053.5588 | 1201654.1845
75 | 2670038.5351 | 1201714.1516
76 | 2670054.0672 | 1201654.0416
77 | 2670035.4443 | 1201699.4697
78 | 2670030.9457 | 1201678.1012
79 | 2670007.4385 | 1201732.0092
80 | 2670007.3843 | 1201732.0406
81 | 2670095.2561 | 1201794.5432

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98735 | -0.24315 | 0.011793 | 0.0029557
1 | 0.98745 | -0.24118 | 0 | 0
2 | 0.98748 | -0.24058 | 0.011725 | 0.0029387
3 | 0.98814 | -0.22768 | 0 | 0
4 | 0.98923 | -0.20667 | 0 | 0
5 | 0.98861 | -0.21871 | 0 | 0
6 | 0.98969 | -0.19769 | 0.0027737 | 0.00069514
7 | 0.98465 | -0.29536 | 0 | 0
8 | 0.98602 | -0.26867 | 0 | 0
9 | 0.9845 | -0.29828 | 0 | 0
10 | 0.98375 | -0.31302 | 0.010265 | 0.0025727
11 | 0.98422 | -0.30372 | 0.0041414 | 0.0010379
12 | 0.98406 | -0.30701 | 0.010131 | 0.0025392
13 | 0.98417 | -0.30468 | 0 | 0
14 | 0.98291 | -0.32935 | 0.0061212 | 0.0015341
15 | 0.98303 | -0.32694 | 0 | 0
16 | 0.98264 | -0.33469 | 0 | 0
17 | 0.98181 | -0.35077 | 0 | 0
18 | 0.98207 | -0.3457 | 0.010587 | 0.0026533
19 | 0.98148 | -0.35735 | 0.012725 | 0.0031891
20 | 0.98206 | -0.346 | 0.0020895 | 0.00052367
21 | 0.98196 | -0.34785 | 0.0054891 | 0.0013757
22 | 0.98683 | -0.25298 | 0.0122 | 0.0030577
23 | 0.98851 | -0.22057 | 0.0049969 | 0.0012523
24 | 0.98984 | -0.19469 | 0 | 0
25 | 0.99781 | -0.041657 | 0.011309 | 0.0028343
26 | 0.99622 | -0.072166 | 0.011309 | 0.0028343
27 | 0.99853 | -0.028021 | 0.0063155 | 0.0015828
28 | 0.99599 | -0.076567 | 0.017228 | 0.0043178
29 | 1 | 0 | -0.55591 | -0.14162
30 | 0.99512 | -0.093133 | 0 | 0
31 | 0.99926 | -0.013942 | 0 | 0
32 | 0.99421 | -0.11087 | 0.0080759 | 0.002024
33 | 0.99497 | -0.096087 | 0 | 0
34 | 0.99911 | -0.016845 | 0.0049405 | 0.0012382
35 | 0.99848 | -0.028685 | 0.0077774 | 0.0019492
36 | 0.98077 | -0.36846 | 0.010143 | 0.0025422
37 | 0.97868 | -0.40923 | 0 | 0
38 | 0.98181 | -0.34824 | 0 | 0
39 | 0.97559 | -0.46983 | 0.034167 | 0.008563
40 | 0.98197 | -0.34515 | 0.0059485 | 0.0014908
41 | 0.97477 | -0.4859 | 0 | 0
42 | 0.98223 | -0.34017 | 0 | 0
43 | 0.9833 | -0.31933 | 0 | 0
44 | 0.98496 | -0.28721 | 0 | 0
45 | 0.98129 | -0.35833 | 0.0084881 | 0.0021273
46 | 0.97399 | -0.50126 | 0 | 0
47 | 0.98629 | -0.26164 | 0.015935 | 0.0039936
48 | 0.97955 | -0.39241 | 0 | 0
49 | 0.97392 | -0.50276 | 0.003324 | 0.00083307
50 | 0.973 | -0.52087 | 0.0019651 | 0.00049251
51 | 0.9885 | -0.22055 | 0.0065871 | 0.0016509
52 | 0.99115 | -0.16947 | 0.013608 | 0.0034104
53 | 0.9932 | -0.13003 | 0.01507 | 0.0037769
54 | 0.99897 | -0.019467 | 0.0071562 | 0.0017935
55 | 0.99413 | -0.11231 | 0.0095623 | 0.0023965
56 | 0.9937 | -0.1207 | 0.014226 | 0.0035653
57 | 0.99595 | -0.076595 | 0.020189 | 0.0050598
58 | 0.99727 | -0.051585 | 0.0075083 | 0.0018818
59 | 0.99419 | -0.1102 | 0 | 0
60 | 0.99393 | -0.11512 | 0 | 0
61 | 0.99225 | -0.14718 | 0 | 0
62 | 0.99357 | -0.12212 | 0.0080999 | 0.00203
63 | 0.99152 | -0.16108 | 0 | 0
64 | 0.99326 | -0.12797 | 0 | 0
65 | 0.99321 | -0.12895 | 0.0056457 | 0.0014149
66 | 0.99326 | -0.12812 | 0.0041061 | 0.0010291
67 | 0.99046 | -0.1813 | 0.0045229 | 0.0011335
68 | 0.97254 | -0.5298 | 0 | 0
69 | 0.97167 | -0.54707 | 0.020179 | 0.0050573
70 | 0.9725 | -0.53059 | 0.0095776 | 0.0024004
71 | 0.99366 | -0.12139 | 0.015766 | 0.0039513
72 | 0.99354 | -0.12382 | 0.0071684 | 0.0017966
73 | 0.97698 | -0.44255 | 0 | 0
74 | 0.97511 | -0.47941 | 0.036292 | 0.0090957
75 | 0.9867 | -0.25366 | 0 | 0
76 | 0.9751 | -0.47968 | 0.028511 | 0.0071454
77 | 0.98624 | -0.26257 | 0.0077399 | 0.0019398
78 | 0.98573 | -0.27252 | 0.025409 | 0.006368
79 | 0.989 | -0.20932 | 0 | 0
80 | 0.989 | -0.20935 | 0.028329 | 0.0071
81 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.011793 | -0.0029557 | 0.011795 | 0.0029563 | 1.1067e-06 | 5.8878e-07 | 0.017774 | 0.017774 | 0.017774 | 0.98735 | -0.24315 | 0.98745 | -0.24118 | 4.8829
1 | -0.011795 | -0.0029563 | 0.011795 | 0.0029565 | 3.3683e-07 | 1.792e-07 | 0.017774 | 0.017774 | 0.017774 | 0.98745 | -0.24118 | 0.98748 | -0.24058 | 4.8829
2 | -0.02352 | -0.0058952 | 0.023535 | 0.005904 | 1.446e-05 | 8.8617e-06 | 0.035442 | 0.035442 | 0.035442 | 0.98748 | -0.24058 | 0.98814 | -0.22768 | 9.7369
3 | -0.023535 | -0.005904 | 0.023545 | 0.0059102 | 1.0075e-05 | 6.1736e-06 | 0.035442 | 0.035442 | 0.035442 | 0.98814 | -0.22768 | 0.98861 | -0.21871 | 9.7369
4 | 0.028559 | 0.0071727 | -0.028542 | -0.0071625 | 1.6401e-05 | 1.0192e-05 | 0.042964 | 0.042964 | 0.042964 | 0.98923 | -0.20667 | 0.98861 | -0.21871 | 11.8033
5 | -0.028559 | -0.0071727 | 0.028571 | 0.0071803 | 1.2235e-05 | 7.6036e-06 | 0.042964 | 0.042964 | 0.042964 | 0.98923 | -0.20667 | 0.98969 | -0.19769 | 11.8033
6 | 0.0049973 | 0.0012523 | -0.0049969 | -0.0012523 | 4.433e-07 | 1.5833e-08 | 0.0075217 | 0.0075218 | 0.0075218 | 0.98861 | -0.21871 | 0.98851 | -0.22057 | 2.0664
7 | -0.031344 | -0.0078755 | 0.031349 | 0.0078783 | 4.483e-06 | 2.8e-06 | 0.047134 | 0.047134 | 0.047134 | 0.98969 | -0.19769 | 0.98984 | -0.19469 | 12.9489
8 | -0.061657 | -0.015491 | 0.061735 | 0.015541 | 7.8674e-05 | 5.0043e-05 | 0.09319 | 0.09319 | 0.09319 | 0.98465 | -0.29536 | 0.98602 | -0.26867 | 25.6016
9 | 0.01428 | 0.0035811 | -0.014278 | -0.00358 | 1.9832e-06 | 1.1248e-06 | 0.021581 | 0.021581 | 0.021581 | 0.98465 | -0.29536 | 0.9845 | -0.29828 | 5.9288
10 | 0.047377 | 0.01191 | -0.047337 | -0.011885 | 3.9903e-05 | 2.5274e-05 | 0.071609 | 0.071609 | 0.071609 | 0.98465 | -0.29536 | 0.98375 | -0.31302 | 19.6728
11 | -0.061735 | -0.015541 | 0.061782 | 0.01557 | 4.6341e-05 | 2.9477e-05 | 0.09319 | 0.09319 | 0.09319 | 0.98602 | -0.26867 | 0.98683 | -0.25298 | 25.6016
12 | 0.014278 | 0.00358 | -0.014274 | -0.0035779 | 3.7042e-06 | 2.1011e-06 | 0.021581 | 0.021581 | 0.021581 | 0.9845 | -0.29828 | 0.98422 | -0.30372 | 5.9289
13 | 0.037072 | 0.0093118 | -0.037047 | -0.0092964 | 2.46e-05 | 1.548e-05 | 0.056082 | 0.056082 | 0.056082 | 0.98375 | -0.31302 | 0.98303 | -0.32694 | 15.4072
14 | 0.010133 | 0.0025399 | -0.010132 | -0.0025397 | 4.6273e-07 | 2.2933e-07 | 0.01532 | 0.01532 | 0.01532 | 0.98422 | -0.30372 | 0.98417 | -0.30468 | 4.2087
15 | -0.010131 | -0.0025392 | 0.010132 | 0.0025397 | 1.1217e-06 | 5.5596e-07 | 0.01532 | 0.01532 | 0.01532 | 0.98406 | -0.30701 | 0.98417 | -0.30468 | 4.2088
16 | -0.0061212 | -0.0015341 | 0.0061219 | 0.0015343 | 7.0429e-07 | 1.7351e-07 | 0.0092669 | 0.0092668 | 0.0092669 | 0.98291 | -0.32935 | 0.98303 | -0.32694 | 2.5458
17 | 0.030925 | 0.0077621 | -0.030914 | -0.0077549 | 1.1427e-05 | 7.1368e-06 | 0.046815 | 0.046815 | 0.046815 | 0.98303 | -0.32694 | 0.98264 | -0.33469 | 12.8614
18 | 0.012738 | 0.0031966 | -0.012729 | -0.0031913 | 9.7615e-06 | 5.362e-06 | 0.019291 | 0.019292 | 0.019292 | 0.98264 | -0.33469 | 0.98181 | -0.35077 | 5.2999
19 | 0.018175 | 0.0045583 | -0.018166 | -0.0045526 | 9.5336e-06 | 5.6767e-06 | 0.027524 | 0.027524 | 0.027524 | 0.98264 | -0.33469 | 0.98207 | -0.3457 | 7.5616
20 | 0.012729 | 0.0031913 | -0.012725 | -0.0031891 | 3.9919e-06 | 2.1932e-06 | 0.019292 | 0.019292 | 0.019292 | 0.98181 | -0.35077 | 0.98148 | -0.35735 | 5.2999
21 | 0.0020895 | 0.00052358 | -0.0020895 | -0.00052367 | 3.0264e-08 | -8.2511e-08 | 0.0031659 | 0.0031659 | 0.0031659 | 0.98207 | -0.3457 | 0.98206 | -0.346 | 0.86977
22 | 0.0054897 | 0.0013758 | -0.0054891 | -0.0013757 | 5.6215e-07 | 8.5652e-08 | 0.0083178 | 0.0083179 | 0.0083179 | 0.98207 | -0.3457 | 0.98196 | -0.34785 | 2.2851
23 | -0.073982 | -0.018628 | 0.074097 | 0.018701 | 0.00011489 | 7.3212e-05 | 0.11159 | 0.11159 | 0.11159 | 0.98683 | -0.25298 | 0.9885 | -0.22055 | 30.6555
24 | -0.11213 | -0.028294 | 0.11227 | 0.028381 | 0.00013561 | 8.6628e-05 | 0.16864 | 0.16864 | 0.16864 | 0.98984 | -0.19469 | 0.99115 | -0.16947 | 46.3285
25 | 0.080784 | 0.020416 | -0.080684 | -0.020352 | 0.00010001 | 6.3774e-05 | 0.1215 | 0.1215 | 0.1215 | 0.98984 | -0.19469 | 0.9885 | -0.22055 | 33.3796
26 | 0.22537 | 0.057146 | -0.22504 | -0.056936 | 0.00032998 | 0.00021028 | 0.33632 | 0.33632 | 0.33632 | 0.99781 | -0.041657 | 0.99622 | -0.072166 | 30.7986
27 | -0.23668 | -0.05998 | 0.23683 | 0.060079 | 0.00015518 | 9.8925e-05 | 0.35318 | 0.35318 | 0.35318 | 0.99781 | -0.041657 | 0.99853 | -0.028021 | 32.3429
28 | 0.21373 | 0.054101 | -0.21368 | -0.054073 | 4.5141e-05 | 2.8752e-05 | 0.31943 | 0.31943 | 0.31943 | 0.99622 | -0.072166 | 0.99599 | -0.076567 | 29.2517
29 | -0.24315 | -0.061662 | 0.24348 | 0.061871 | 0.00032802 | 0.00020915 | 0.3626 | 0.3626 | 0.3626 | 0.99853 | -0.028021 | 1 | 0 | 33.2047
30 | 0.19646 | 0.049755 | -0.1963 | -0.049655 | 0.00015616 | 9.9376e-05 | 0.29369 | 0.29369 | 0.29369 | 0.99599 | -0.076567 | 0.99512 | -0.093133 | 26.8947
31 | 0.31079 | 0.079752 | -0.31058 | -0.079618 | 0.0002101 | 0.00013415 | 0.46312 | 0.46312 | 0.46312 | 1 | 0 | 0.99926 | -0.013942 | 42.4099
32 | 0.054864 | 0.013775 | -0.054818 | -0.013746 | 4.6371e-05 | 2.9439e-05 | 0.082048 | 0.082048 | 0.082048 | 0.99512 | -0.093133 | 0.99421 | -0.11087 | 22.5406
33 | 0.14144 | 0.03588 | -0.14142 | -0.035867 | 2.0089e-05 | 1.2717e-05 | 0.21164 | 0.21164 | 0.21164 | 0.99512 | -0.093133 | 0.99497 | -0.096087 | 19.3812
34 | 0.012099 | 0.0030329 | -0.012098 | -0.003032 | 1.6729e-06 | 8.9066e-07 | 0.018017 | 0.018017 | 0.018017 | 0.99926 | -0.013942 | 0.99911 | -0.016845 | 4.9498
35 | 0.29848 | 0.076585 | -0.29826 | -0.076449 | 0.00021333 | 0.00013619 | 0.4451 | 0.4451 | 0.4451 | 0.99926 | -0.013942 | 0.99848 | -0.028685 | 40.76
36 | 0.046742 | 0.011722 | -0.046739 | -0.01172 | 3.2073e-06 | 2.03e-06 | 0.069961 | 0.069961 | 0.069961 | 0.99421 | -0.11087 | 0.99413 | -0.11231 | 19.22
37 | 0.14142 | 0.035867 | -0.14118 | -0.035721 | 0.00023035 | 0.00014672 | 0.21164 | 0.21164 | 0.21164 | 0.99497 | -0.096087 | 0.9932 | -0.13003 | 29.0718
38 | 0.0071571 | 0.0017938 | -0.0071562 | -0.0017935 | 8.939e-07 | 2.9739e-07 | 0.010659 | 0.010659 | 0.010659 | 0.99911 | -0.016845 | 0.99897 | -0.019467 | 2.9284
39 | 0.29049 | 0.0745 | -0.29016 | -0.074294 | 0.00032223 | 0.00020569 | 0.43351 | 0.43351 | 0.43351 | 0.99848 | -0.028685 | 0.99727 | -0.051585 | 39.6986
40 | 0.069662 | 0.01763 | -0.069526 | -0.017544 | 0.00013602 | 8.5422e-05 | 0.10575 | 0.10575 | 0.10575 | 0.98077 | -0.36846 | 0.97868 | -0.40923 | 14.5264
41 | -0.079805 | -0.020172 | 0.079883 | 0.020221 | 7.7462e-05 | 4.8864e-05 | 0.12114 | 0.12114 | 0.12114 | 0.98077 | -0.36846 | 0.98181 | -0.34824 | 16.6402
42 | 0.069526 | 0.017544 | -0.069325 | -0.017416 | 0.00020112 | 0.00012811 | 0.10575 | 0.10575 | 0.10575 | 0.97868 | -0.40923 | 0.97559 | -0.46983 | 29.0528
43 | -0.079883 | -0.020221 | 0.079895 | 0.020228 | 1.1862e-05 | 7.3462e-06 | 0.12114 | 0.12114 | 0.12114 | 0.98181 | -0.34824 | 0.98197 | -0.34515 | 11.0935
44 | 0.035158 | 0.008853 | -0.035131 | -0.0088361 | 2.6997e-05 | 1.6966e-05 | 0.05364 | 0.05364 | 0.05364 | 0.97559 | -0.46983 | 0.97477 | -0.4859 | 14.7362
45 | -0.085843 | -0.021719 | 0.085864 | 0.021732 | 2.0507e-05 | 1.2757e-05 | 0.13015 | 0.13015 | 0.13015 | 0.98197 | -0.34515 | 0.98223 | -0.34017 | 11.9189
46 | 0.035131 | 0.0088361 | -0.035105 | -0.0088199 | 2.5761e-05 | 1.619e-05 | 0.05364 | 0.05364 | 0.05364 | 0.97477 | -0.4859 | 0.97399 | -0.50126 | 14.7363
47 | -0.085864 | -0.021732 | 0.08595 | 0.021785 | 8.5992e-05 | 5.3491e-05 | 0.13015 | 0.13015 | 0.13015 | 0.98223 | -0.34017 | 0.9833 | -0.31933 | 11.9189
48 | -0.15975 | -0.040481 | 0.16 | 0.040638 | 0.00024699 | 0.00015678 | 0.24191 | 0.24191 | 0.24191 | 0.9833 | -0.31933 | 0.98496 | -0.28721 | 22.1533
49 | 0.073805 | 0.018696 | -0.073668 | -0.018608 | 0.00013796 | 8.7922e-05 | 0.11176 | 0.11176 | 0.11176 | 0.9833 | -0.31933 | 0.98129 | -0.35833 | 30.7034
50 | -0.16 | -0.040638 | 0.1602 | 0.040763 | 0.00019714 | 0.00012514 | 0.24191 | 0.24191 | 0.24191 | 0.98496 | -0.28721 | 0.98629 | -0.26164 | 22.1532
51 | 0.065179 | 0.016481 | -0.065073 | -0.016413 | 0.00010636 | 6.7705e-05 | 0.098889 | 0.098889 | 0.098889 | 0.98129 | -0.35833 | 0.97955 | -0.39241 | 27.1673
52 | 0.0033242 | 0.00083292 | -0.003324 | -0.00083307 | 2.3605e-07 | -1.5265e-07 | 0.0050785 | 0.0050786 | 0.0050786 | 0.97399 | -0.50126 | 0.97392 | -0.50276 | 1.3952
53 | 0.031781 | 0.007987 | -0.031751 | -0.0079684 | 2.9709e-05 | 1.8596e-05 | 0.048561 | 0.048562 | 0.048562 | 0.97399 | -0.50126 | 0.973 | -0.52087 | 13.3411
54 | -0.17613 | -0.044757 | 0.1762 | 0.0448 | 6.7679e-05 | 4.3021e-05 | 0.26595 | 0.26595 | 0.26595 | 0.98629 | -0.26164 | 0.9867 | -0.25366 | 24.3547
55 | 0.065073 | 0.016413 | -0.064917 | -0.016314 | 0.00015581 | 9.9183e-05 | 0.098889 | 0.098889 | 0.098889 | 0.97955 | -0.39241 | 0.97698 | -0.44255 | 27.1674
56 | 0.029786 | 0.0074759 | -0.029774 | -0.0074679 | 1.2685e-05 | 7.9161e-06 | 0.045556 | 0.045556 | 0.045556 | 0.973 | -0.52087 | 0.97254 | -0.5298 | 12.5155
57 | -0.12588 | -0.031791 | 0.12611 | 0.031944 | 0.00023843 | 0.00015237 | 0.18906 | 0.18906 | 0.18906 | 0.99115 | -0.16947 | 0.9932 | -0.13003 | 51.9409
58 | 0.037177 | 0.0093233 | -0.037162 | -0.009314 | 1.4859e-05 | 9.3442e-06 | 0.055648 | 0.055648 | 0.055648 | 0.99413 | -0.11231 | 0.9937 | -0.1207 | 15.2879
59 | 0.022936 | 0.0057487 | -0.022935 | -0.0057482 | 7.6225e-07 | 4.6552e-07 | 0.034346 | 0.034346 | 0.034346 | 0.9937 | -0.1207 | 0.99366 | -0.12139 | 9.4356
60 | -0.28231 | -0.072194 | 0.28266 | 0.072412 | 0.00034212 | 0.00021835 | 0.42231 | 0.42231 | 0.42231 | 0.99595 | -0.076595 | 0.99727 | -0.051585 | 38.6727
61 | 0.26212 | 0.067134 | -0.2617 | -0.066862 | 0.00042604 | 0.0002718 | 0.39214 | 0.39214 | 0.39214 | 0.99595 | -0.076595 | 0.99419 | -0.1102 | 35.9105
62 | 0.2617 | 0.066862 | -0.26164 | -0.066823 | 6.2164e-05 | 3.9659e-05 | 0.39214 | 0.39214 | 0.39214 | 0.99419 | -0.1102 | 0.99393 | -0.11512 | 35.9106
63 | 0.24378 | 0.062344 | -0.2434 | -0.062103 | 0.00037754 | 0.00024075 | 0.3654 | 0.3654 | 0.3654 | 0.99393 | -0.11512 | 0.99225 | -0.14718 | 33.4619
64 | 0.017861 | 0.0044789 | -0.017855 | -0.0044754 | 5.9621e-06 | 3.5277e-06 | 0.02674 | 0.02674 | 0.02674 | 0.99393 | -0.11512 | 0.99357 | -0.12212 | 7.3463
65 | 0.2434 | 0.062103 | -0.24323 | -0.061999 | 0.00016331 | 0.00010414 | 0.3654 | 0.3654 | 0.3654 | 0.99225 | -0.14718 | 0.99152 | -0.16108 | 33.4619
66 | 0.0097548 | 0.0024454 | -0.0097521 | -0.0024441 | 2.7148e-06 | 1.2983e-06 | 0.01461 | 0.01461 | 0.01461 | 0.99357 | -0.12212 | 0.99326 | -0.12797 | 4.0137
67 | 0.24323 | 0.061999 | -0.243 | -0.061847 | 0.0002372 | 0.00015126 | 0.3654 | 0.3654 | 0.3654 | 0.99152 | -0.16108 | 0.99046 | -0.1813 | 33.4619
68 | 0.005646 | 0.001415 | -0.0056457 | -0.0014149 | 2.6353e-07 | 4.1528e-08 | 0.0084582 | 0.0084583 | 0.0084583 | 0.99326 | -0.12797 | 0.99321 | -0.12895 | 2.3237
69 | 0.0041062 | 0.0010291 | -0.0041061 | -0.0010291 | 2.9525e-08 | -8.0339e-09 | 0.0061515 | 0.0061515 | 0.0061515 | 0.99326 | -0.12797 | 0.99326 | -0.12812 | 1.69
70 | 0.23847 | 0.060714 | -0.23815 | -0.060509 | 0.00032167 | 0.0002051 | 0.35861 | 0.35861 | 0.35861 | 0.99046 | -0.1813 | 0.989 | -0.20932 | 32.8397
71 | 0.020196 | 0.0050674 | -0.020179 | -0.0050573 | 1.6614e-05 | 1.0058e-05 | 0.030902 | 0.030902 | 0.030902 | 0.97254 | -0.5298 | 0.97167 | -0.54707 | 8.4896
72 | 0.0095779 | 0.0024005 | -0.0095776 | -0.0024004 | 3.6264e-07 | 1.7621e-07 | 0.014654 | 0.014655 | 0.014655 | 0.97254 | -0.5298 | 0.9725 | -0.53059 | 4.026
73 | 0.0071692 | 0.0017969 | -0.0071684 | -0.0017966 | 8.2907e-07 | 2.8217e-07 | 0.010736 | 0.010736 | 0.010736 | 0.99366 | -0.12139 | 0.99354 | -0.12382 | 2.9495
74 | 0.064917 | 0.016314 | -0.064803 | -0.016241 | 0.00011399 | 7.2566e-05 | 0.098889 | 0.098889 | 0.098889 | 0.97698 | -0.44255 | 0.97511 | -0.47941 | 27.1674
75 | 0.028511 | 0.0071457 | -0.028511 | -0.0071454 | 3.749e-07 | 2.3335e-07 | 0.043508 | 0.043508 | 0.043508 | 0.97511 | -0.47941 | 0.9751 | -0.47968 | 11.9527
76 | -0.20938 | -0.053124 | 0.20982 | 0.053409 | 0.00044759 | 0.00028508 | 0.31599 | 0.31599 | 0.31599 | 0.9867 | -0.25366 | 0.989 | -0.20932 | 28.9365
77 | 0.033175 | 0.0083241 | -0.033161 | -0.0083153 | 1.4085e-05 | 8.8228e-06 | 0.050033 | 0.050034 | 0.050034 | 0.9867 | -0.25366 | 0.98624 | -0.26257 | 13.7455
78 | 0.025421 | 0.0063755 | -0.025409 | -0.006368 | 1.2047e-05 | 7.4317e-06 | 0.038356 | 0.038356 | 0.038356 | 0.98624 | -0.26257 | 0.98573 | -0.27252 | 10.5373
79 | 0.028329 | 0.0071001 | -0.028329 | -0.0071 | 4.2721e-08 | 2.6538e-08 | 0.042623 | 0.042623 | 0.042623 | 0.989 | -0.20932 | 0.989 | -0.20935 | 11.7097

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.56518 | 0.14395

## res_load
| p_mw | q_mvar
0 | 0.011793 | 0.0029557
1 | 0.011725 | 0.0029387
2 | 0.0027737 | 0.00069514
3 | 0.010265 | 0.0025727
4 | 0.0041414 | 0.0010379
5 | 0.010131 | 0.0025392
6 | 0.0061212 | 0.0015341
7 | 0.010587 | 0.0026533
8 | 0.012725 | 0.0031891
9 | 0.0020895 | 0.00052367
10 | 0.0054891 | 0.0013757
11 | 0.0122 | 0.0030577
12 | 0.0049969 | 0.0012523
13 | 0.011309 | 0.0028343
14 | 0.011309 | 0.0028343
15 | 0.0063155 | 0.0015828
16 | 0.017228 | 0.0043178
17 | 0.0092708 | 0.0023235
18 | 0.0080759 | 0.002024
19 | 0.0049405 | 0.0012382
20 | 0.0077774 | 0.0019492
21 | 0.010143 | 0.0025422
22 | 0.034167 | 0.008563
23 | 0.0059485 | 0.0014908
24 | 0.0084881 | 0.0021273
25 | 0.015935 | 0.0039936
26 | 0.003324 | 0.00083307
27 | 0.0019651 | 0.00049251
28 | 0.0065871 | 0.0016509
29 | 0.013608 | 0.0034104
30 | 0.01507 | 0.0037769
31 | 0.0071562 | 0.0017935
32 | 0.0095623 | 0.0023965
33 | 0.014226 | 0.0035653
34 | 0.020189 | 0.0050598
35 | 0.0075083 | 0.0018818
36 | 0.0080999 | 0.00203
37 | 0.0056457 | 0.0014149
38 | 0.0041061 | 0.0010291
39 | 0.0045229 | 0.0011335
40 | 0.020179 | 0.0050573
41 | 0.0095776 | 0.0024004
42 | 0.015766 | 0.0039513
43 | 0.0071684 | 0.0017966
44 | 0.036292 | 0.0090957
45 | 0.028511 | 0.0071454
46 | 0.0077399 | 0.0019398
47 | 0.025409 | 0.006368
48 | 0.028329 | 0.0071

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1