## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1509-4_1_3_node_88 | 0.4 | n |  | TRUE
1 | bus_LV_1509-4_1_3_node_100 | 0.4 | n |  | TRUE
2 | bus_LV_1509-4_1_3_node_87 | 0.4 | n |  | TRUE
3 | bus_LV_1509-4_1_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1509-4_1_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1509-4_1_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1509-4_1_3_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_1509-4_1_3_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_1509-4_1_3_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_1509-4_1_3_node_18 | 0.4 | n |  | TRUE
10 | bus_LV_1509-4_1_3_node_33 | 0.4 | n |  | TRUE
11 | bus_LV_1509-4_1_3_node_57 | 0.4 | n |  | TRUE
12 | bus_LV_1509-4_1_3_node_19 | 0.4 | n |  | TRUE
13 | bus_LV_1509-4_1_3_node_34 | 0.4 | n |  | TRUE
14 | bus_LV_1509-4_1_3_node_58 | 0.4 | n |  | TRUE
15 | bus_LV_1509-4_1_3_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_1509-4_1_3_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_1509-4_1_3_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_1509-4_1_3_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_1509-4_1_3_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_1509-4_1_3_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_1509-4_1_3_node_22 | 0.4 | n |  | TRUE
22 | bus_LV_1509-4_1_3_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_1509-4_1_3_node_20 | 0.4 | n |  | TRUE
24 | bus_LV_1509-4_1_3_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_1509-4_1_3_node_17 | 0.4 | n |  | TRUE
26 | bus_LV_1509-4_1_3_node_24 | 0.4 | n |  | TRUE
27 | bus_LV_1509-4_1_3_node_59 | 0.4 | n |  | TRUE
28 | bus_LV_1509-4_1_3_node_25 | 0.4 | n |  | TRUE
29 | bus_LV_1509-4_1_3_node_60 | 0.4 | n |  | TRUE
30 | bus_LV_1509-4_1_3_node_37 | 0.4 | n |  | TRUE
31 | bus_LV_1509-4_1_3_node_38 | 0.4 | n |  | TRUE
32 | bus_LV_1509-4_1_3_node_21 | 0.4 | n |  | TRUE
33 | bus_LV_1509-4_1_3_node_23 | 0.4 | n |  | TRUE
34 | bus_LV_1509-4_1_3_node_27 | 0.4 | n |  | TRUE
35 | bus_LV_1509-4_1_3_node_39 | 0.4 | n |  | TRUE
36 | bus_LV_1509-4_1_3_node_26 | 0.4 | n |  | TRUE
37 | bus_LV_1509-4_1_3_node_51 | 0.4 | n |  | TRUE
38 | bus_LV_1509-4_1_3_node_52 | 0.4 | n |  | TRUE
39 | bus_LV_1509-4_1_3_node_50 | 0.4 | n |  | TRUE
40 | bus_LV_1509-4_1_3_node_56 | 0.4 | n |  | TRUE
41 | bus_LV_1509-4_1_3_node_53 | 0.4 | n |  | TRUE
42 | bus_LV_1509-4_1_3_node_46 | 0.4 | n |  | TRUE
43 | bus_LV_1509-4_1_3_node_28 | 0.4 | n |  | TRUE
44 | bus_LV_1509-4_1_3_node_29 | 0.4 | n |  | TRUE
45 | bus_LV_1509-4_1_3_node_30 | 0.4 | n |  | TRUE
46 | bus_LV_1509-4_1_3_node_31 | 0.4 | n |  | TRUE
47 | bus_LV_1509-4_1_3_node_32 | 0.4 | n |  | TRUE
48 | bus_LV_1509-4_1_3_node_35 | 0.4 | n |  | TRUE
49 | bus_LV_1509-4_1_3_node_49 | 0.4 | n |  | TRUE
50 | bus_LV_1509-4_1_3_node_48 | 0.4 | n |  | TRUE
51 | bus_LV_1509-4_1_3_node_40 | 0.4 | n |  | TRUE
52 | bus_LV_1509-4_1_3_node_41 | 0.4 | n |  | TRUE
53 | bus_LV_1509-4_1_3_node_43 | 0.4 | n |  | TRUE
54 | bus_LV_1509-4_1_3_node_47 | 0.4 | n |  | TRUE
55 | bus_LV_1509-4_1_3_node_113 | 0.4 | n |  | TRUE
56 | bus_LV_1509-4_1_3_node_54 | 0.4 | n |  | TRUE
57 | bus_LV_1509-4_1_3_node_55 | 0.4 | n |  | TRUE
58 | bus_LV_1509-4_1_3_node_61 | 0.4 | n |  | TRUE
59 | bus_LV_1509-4_1_3_node_62 | 0.4 | n |  | TRUE
60 | bus_LV_1509-4_1_3_node_63 | 0.4 | n |  | TRUE
61 | bus_LV_1509-4_1_3_node_114 | 0.4 | n |  | TRUE
62 | bus_LV_1509-4_1_3_node_112 | 0.4 | n |  | TRUE
63 | bus_LV_1509-4_1_3_node_91 | 0.4 | n |  | TRUE
64 | bus_LV_1509-4_1_3_node_86 | 0.4 | n |  | TRUE
65 | bus_LV_1509-4_1_3_node_93 | 0.4 | n |  | TRUE
66 | bus_LV_1509-4_1_3_node_89 | 0.4 | n |  | TRUE
67 | bus_LV_1509-4_1_3_node_97 | 0.4 | n |  | TRUE
68 | bus_LV_1509-4_1_3_node_90 | 0.4 | n |  | TRUE
69 | bus_LV_1509-4_1_3_node_92 | 0.4 | n |  | TRUE
70 | bus_LV_1509-4_1_3_node_111 | 0.4 | n |  | TRUE
71 | bus_LV_1509-4_1_3_node_110 | 0.4 | n |  | TRUE
72 | bus_LV_1509-4_1_3_node_147 | 0.4 | n |  | TRUE
73 | bus_MV_136_1_node_206 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1509-4_1_3_load_100 | 1 | 0.0022235 | 0.00055727 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1509-4_1_3_load_3 | 3 | 0.0033293 | 0.0008344 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1509-4_1_3_load_4 | 4 | 0.003441 | 0.0008624 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1509-4_1_3_load_6 | 6 | 0.0030219 | 0.00075735 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1509-4_1_3_load_7 | 7 | 0.0052379 | 0.0013127 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1509-4_1_3_load_8 | 8 | 0.0039622 | 0.00099303 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1509-4_1_3_load_18 | 9 | 0.0027081 | 0.00067871 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1509-4_1_3_load_33 | 10 | 0.0036585 | 0.0009169 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1509-4_1_3_load_57 | 11 | 0.004654 | 0.0011664 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1509-4_1_3_load_19 | 12 | 0.0052751 | 0.0013221 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1509-4_1_3_load_34 | 13 | 0.0044541 | 0.0011163 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1509-4_1_3_load_58 | 14 | 0.0030468 | 0.00076359 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1509-4_1_3_load_9 | 15 | 0.0027115 | 0.00067955 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1509-4_1_3_load_10 | 16 | 0.0024462 | 0.00061307 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1509-4_1_3_load_11 | 17 | 0.0026078 | 0.00065359 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1509-4_1_3_load_12 | 18 | 0.0033236 | 0.00083296 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1509-4_1_3_load_13 | 19 | 0.0055807 | 0.0013986 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1509-4_1_3_load_14 | 20 | 0.0072515 | 0.0018174 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1509-4_1_3_load_22 | 21 | 0.0042216 | 0.001058 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1509-4_1_3_load_20 | 23 | 0.0032366 | 0.00081118 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1509-4_1_3_load_16 | 24 | 0.0035953 | 0.00090106 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1509-4_1_3_load_17 | 25 | 0.0033555 | 0.00084097 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1509-4_1_3_load_24 | 26 | 0.0034216 | 0.00085753 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1509-4_1_3_load_59 | 27 | 0.0047527 | 0.0011911 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1509-4_1_3_load_25 | 28 | 0.0035637 | 0.00089314 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1509-4_1_3_load_60 | 29 | 0.0014845 | 0.00037204 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1509-4_1_3_load_37 | 30 | 0.0027081 | 0.00067871 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1509-4_1_3_load_38 | 31 | 0.0027081 | 0.00067872 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1509-4_1_3_load_21 | 32 | 0.0042144 | 0.0010562 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1509-4_1_3_load_23 | 33 | 0.0034775 | 0.00087155 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1509-4_1_3_load_27 | 34 | 0.0030765 | 0.00077104 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1509-4_1_3_load_39 | 35 | 0.0040559 | 0.0010165 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1509-4_1_3_load_52 | 38 | 0.002214 | 0.00055489 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1509-4_1_3_load_50 | 39 | 0.0048006 | 0.0012031 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1509-4_1_3_load_56 | 40 | 0.0043235 | 0.0010836 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1509-4_1_3_load_53 | 41 | 0.0080885 | 0.0020272 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1509-4_1_3_load_46 | 42 | 0.0029464 | 0.00073843 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1509-4_1_3_load_28 | 43 | 0.0033486 | 0.00083924 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1509-4_1_3_load_29 | 44 | 0.0034013 | 0.00085245 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1509-4_1_3_load_30 | 45 | 0.0034889 | 0.00087439 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1509-4_1_3_load_31 | 46 | 0.0029467 | 0.0007385 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1509-4_1_3_load_32 | 47 | 0.0034581 | 0.00086667 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1509-4_1_3_load_35 | 48 | 0.0047613 | 0.0011933 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1509-4_1_3_load_49 | 49 | 0.0049252 | 0.0012344 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1509-4_1_3_load_48 | 50 | 0.0028835 | 0.00072267 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1509-4_1_3_load_40 | 51 | 0.0080158 | 0.0020089 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1509-4_1_3_load_41 | 52 | 0.0037044 | 0.00092841 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1509-4_1_3_load_43 | 53 | 0.0029567 | 0.00074102 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1509-4_1_3_load_47 | 54 | 0.0030342 | 0.00076045 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1509-4_1_3_load_54 | 56 | 0.0063161 | 0.001583 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1509-4_1_3_load_55 | 57 | 0.010217 | 0.0025605 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1509-4_1_3_load_62 | 59 | 0.0056545 | 0.0014172 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_1509-4_1_3_load_63 | 60 | 0.021548 | 0.0054004 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_1509-4_1_3_load_114 | 61 | 0.0025535 | 0.00063997 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_1509-4_1_3_load_112 | 62 | 0.0071315 | 0.0017873 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_1509-4_1_3_load_86 | 64 | 0.0066647 | 0.0016703 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_1509-4_1_3_load_89 | 66 | 0.0020759 | 0.00052028 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_1509-4_1_3_load_97 | 67 | 0.0022207 | 0.00055656 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_1509-4_1_3_load_90 | 68 | 0.0038655 | 0.00096879 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_1509-4_1_3_load_92 | 69 | 0.0038229 | 0.00095811 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_1509-4_1_3_load_110 | 71 | 0.0052254 | 0.0013096 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_1509-4_1_3_load_147 | 72 | 0.037689 | 0.0094457 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 6 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1509-4_1_3_line_0 |  | 0 | 1 | 0.011935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1509-4_1_3_line_1 |  | 0 | 2 | 0.040288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1509-4_1_3_line_2 |  | 1 | 67 | 0.009253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1509-4_1_3_line_3 |  | 2 | 64 | 0.015906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1509-4_1_3_line_4 |  | 2 | 59 | 0.022985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1509-4_1_3_line_5 |  | 3 | 4 | 0.019975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1509-4_1_3_line_6 |  | 3 | 5 | 0.0071011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1509-4_1_3_line_7 |  | 4 | 6 | 0.0064024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1509-4_1_3_line_8 |  | 5 | 7 | 0.017348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1509-4_1_3_line_9 |  | 5 | 8 | 0.011184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1509-4_1_3_line_10 |  | 6 | 9 | 0.014286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_1509-4_1_3_line_11 |  | 7 | 10 | 0.00085875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1509-4_1_3_line_12 |  | 8 | 11 | 0.020774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1509-4_1_3_line_13 |  | 9 | 12 | 0.0056561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
14 | LV_1509-4_1_3_line_14 |  | 10 | 13 | 0.053674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1509-4_1_3_line_15 |  | 11 | 14 | 0.023515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1509-4_1_3_line_16 |  | 12 | 30 | 0.0022647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
17 | LV_1509-4_1_3_line_17 |  | 14 | 53 | 0.020414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1509-4_1_3_line_18 |  | 15 | 16 | 0.0057517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1509-4_1_3_line_19 |  | 15 | 17 | 0.0095625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1509-4_1_3_line_20 |  | 16 | 18 | 0.014297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1509-4_1_3_line_21 |  | 17 | 19 | 0.011659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1509-4_1_3_line_22 |  | 18 | 20 | 0.004286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1509-4_1_3_line_23 |  | 19 | 21 | 0.0088994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1509-4_1_3_line_24 |  | 20 | 22 | 0.017372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1509-4_1_3_line_25 |  | 21 | 23 | 0.0094314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1509-4_1_3_line_26 |  | 22 | 24 | 0.013862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1509-4_1_3_line_27 |  | 22 | 25 | 0.0056699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1509-4_1_3_line_28 |  | 23 | 32 | 0.012059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1509-4_1_3_line_29 |  | 24 | 26 | 0.023508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1509-4_1_3_line_30 |  | 25 | 27 | 0.063874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1509-4_1_3_line_31 |  | 26 | 28 | 0.011184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1509-4_1_3_line_32 |  | 27 | 29 | 0.024235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1509-4_1_3_line_33 |  | 28 | 36 | 0.015683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1509-4_1_3_line_34 |  | 30 | 31 | 0.007922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
35 | LV_1509-4_1_3_line_35 |  | 31 | 39 | 0.0070936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
36 | LV_1509-4_1_3_line_36 |  | 32 | 33 | 0.0070427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1509-4_1_3_line_37 |  | 33 | 34 | 0.015649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1509-4_1_3_line_38 |  | 34 | 35 | 0.0002474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1509-4_1_3_line_39 |  | 35 | 42 | 0.01922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1509-4_1_3_line_40 |  | 36 | 37 | 0.021893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1509-4_1_3_line_41 |  | 36 | 38 | 0.014844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1509-4_1_3_line_42 |  | 36 | 39 | 0.023222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
43 | LV_1509-4_1_3_line_43 |  | 37 | 40 | 0.020857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1509-4_1_3_line_44 |  | 37 | 41 | 0.019208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1509-4_1_3_line_45 |  | 40 | 55 | 0.012102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1509-4_1_3_line_46 |  | 41 | 56 | 0.013351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1509-4_1_3_line_47 |  | 42 | 48 | 0.0047409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1509-4_1_3_line_48 |  | 43 | 44 | 0.0044457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1509-4_1_3_line_49 |  | 43 | 45 | 0.013024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1509-4_1_3_line_50 |  | 44 | 46 | 0.014161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1509-4_1_3_line_51 |  | 45 | 47 | 0.0070788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1509-4_1_3_line_52 |  | 46 | 48 | 0.0044577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1509-4_1_3_line_53 |  | 47 | 49 | 0.02023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1509-4_1_3_line_54 |  | 49 | 50 | 0.00080987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1509-4_1_3_line_55 |  | 50 | 54 | 0.020237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1509-4_1_3_line_56 |  | 51 | 52 | 0.0212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1509-4_1_3_line_57 |  | 52 | 53 | 0.015485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1509-4_1_3_line_58 |  | 55 | 61 | 0.0075038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1509-4_1_3_line_59 |  | 55 | 62 | 0.025278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_1509-4_1_3_line_60 |  | 56 | 57 | 0.010323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_1509-4_1_3_line_61 |  | 57 | 58 | 0.019409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_1509-4_1_3_line_62 |  | 58 | 59 | 0.015279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_1509-4_1_3_line_63 |  | 58 | 60 | 0.013988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_1509-4_1_3_line_64 |  | 60 | 63 | 0.037453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_1509-4_1_3_line_65 |  | 63 | 65 | 0.008242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_1509-4_1_3_line_66 |  | 63 | 66 | 0.0020877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_1509-4_1_3_line_67 |  | 65 | 70 | 0.025645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_1509-4_1_3_line_68 |  | 65 | 71 | 0.010814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_1509-4_1_3_line_69 |  | 66 | 68 | 0.021683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_1509-4_1_3_line_70 |  | 68 | 69 | 0.019254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_1509-4_1_3_line_71 |  | 70 | 72 | 0.003498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1509-4_1_3_trafo_6 | 0.63 MVA 20/0.4 kV | 73 | 6 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3
0 | 2670923.4996 | 1201278.7227 | 2670932.6954 | 1201286.3306
1 | 2670923.4996 | 1201278.7227 | 2670905.2656 | 1201298.8742 | 2670895.4358 | 1201290.119
2 | 2670932.6954 | 1201286.3306 | 2670939.8248 | 1201292.2289
3 | 2670895.4358 | 1201290.119 | 2670884.687 | 1201278.3942
4 | 2670895.4358 | 1201290.119 | 2670894.0514 | 1201291.9592 | 2670881.5672 | 1201308.4486
5 | 2670875.6171 | 1201430.846 | 2670890.4584 | 1201417.4772
6 | 2670870.3409 | 1201435.5987 | 2670875.6171 | 1201430.846
7 | 2670890.4584 | 1201417.4772 | 2670895.2155 | 1201413.1922
8 | 2670870.3409 | 1201435.5987 | 2670858.7716 | 1201422.6716
9 | 2670870.3409 | 1201435.5987 | 2670861.9145 | 1201442.9525
10 | 2670905.8299 | 1201403.6309 | 2670895.2155 | 1201413.1922
11 | 2670858.7716 | 1201422.6716 | 2670858.1989 | 1201422.0317
12 | 2670846.2629 | 1201456.6118 | 2670861.9145 | 1201442.9525
13 | 2670905.8299 | 1201403.6309 | 2670910.0325 | 1201399.8453
14 | 2670858.1989 | 1201422.0317 | 2670846.0537 | 1201408.461 | 2670818.597 | 1201430.9033
15 | 2670846.2629 | 1201456.6118 | 2670832.7605 | 1201468.3954 | 2670828.2253 | 1201471.6697
16 | 2670911.7152 | 1201398.3296 | 2670910.0325 | 1201399.8453
17 | 2670811.6746 | 1201483.6191 | 2670828.2253 | 1201471.6697
18 | 2670959.8338 | 1201441.8535 | 2670964.2503 | 1201438.1687
19 | 2670959.8338 | 1201441.8535 | 2670952.4913 | 1201447.9796
20 | 2670964.2503 | 1201438.1687 | 2670973.958 | 1201430.0693 | 2670975.0312 | 1201428.8102
21 | 2670943.2278 | 1201455.0554 | 2670951.0707 | 1201449.1648 | 2670952.4913 | 1201447.9796
22 | 2670977.8114 | 1201425.5483 | 2670975.0312 | 1201428.8102
23 | 2670943.2278 | 1201455.0554 | 2670936.112 | 1201460.4
24 | 2670989.0805 | 1201412.327 | 2670977.8114 | 1201425.5483
25 | 2670928.5708 | 1201466.064 | 2670936.112 | 1201460.4
26 | 2670989.0805 | 1201412.327 | 2670978.3216 | 1201403.5861
27 | 2670989.0805 | 1201412.327 | 2670993.505 | 1201415.8726
28 | 2670928.5708 | 1201466.064 | 2670918.9284 | 1201473.3062
29 | 2670978.3216 | 1201403.5861 | 2670960.0762 | 1201388.7626
30 | 2671043.1043 | 1201456.1176 | 2671012.8241 | 1201431.354 | 2670993.505 | 1201415.8726
31 | 2670951.3962 | 1201381.7106 | 2670960.0762 | 1201388.7626
32 | 2671062.1845 | 1201471.0522 | 2671051.6851 | 1201463.1352 | 2671043.1043 | 1201456.1176
33 | 2670939.2242 | 1201371.8215 | 2670951.3962 | 1201381.7106
34 | 2670911.7152 | 1201398.3296 | 2670917.6013 | 1201393.0275
35 | 2670922.8719 | 1201388.2799 | 2670917.6013 | 1201393.0275
36 | 2670913.2972 | 1201477.5357 | 2670918.9284 | 1201473.3062
37 | 2670913.2972 | 1201477.5357 | 2670900.7844 | 1201486.9339
38 | 2670900.7844 | 1201486.9339 | 2670900.5865 | 1201487.0825
39 | 2670900.5865 | 1201487.0825 | 2670889.6054 | 1201495.3302 | 2670885.2563 | 1201498.6755
40 | 2670939.2242 | 1201371.8215 | 2670927.8355 | 1201362.9588 | 2670921.9148 | 1201358.3524
41 | 2670939.2242 | 1201371.8215 | 2670951.3949 | 1201363.3234
42 | 2670939.2242 | 1201371.8215 | 2670929.3626 | 1201382.4332 | 2670922.8719 | 1201388.2799
43 | 2670921.9148 | 1201358.3524 | 2670935.1888 | 1201342.2648
44 | 2670921.9148 | 1201358.3524 | 2670906.6295 | 1201346.7206
45 | 2670942.8907 | 1201332.9303 | 2670935.1888 | 1201342.2648
46 | 2670906.6295 | 1201346.7206 | 2670896.0052 | 1201338.6357
47 | 2670881.4984 | 1201501.5659 | 2670885.2563 | 1201498.6755
48 | 2670866.7401 | 1201512.9177 | 2670863.2162 | 1201515.6282
49 | 2670852.8924 | 1201523.569 | 2670863.2162 | 1201515.6282
50 | 2670866.7401 | 1201512.9177 | 2670877.965 | 1201504.2837
51 | 2670852.8924 | 1201523.569 | 2670847.2815 | 1201527.8848
52 | 2670877.965 | 1201504.2837 | 2670881.4984 | 1201501.5659
53 | 2670831.0556 | 1201539.9589 | 2670836.6238 | 1201536.0824 | 2670847.2815 | 1201527.8848
54 | 2670831.0556 | 1201539.9589 | 2670830.3909 | 1201540.4216
55 | 2670813.782 | 1201551.9844 | 2670830.3909 | 1201540.4216
56 | 2670781.7399 | 1201504.8161 | 2670788.4307 | 1201500.4008 | 2670799.1194 | 1201492.6837
57 | 2670799.1194 | 1201492.6837 | 2670811.6746 | 1201483.6191
58 | 2670942.8907 | 1201332.9303 | 2670940.4203 | 1201326.2302 | 2670940.1528 | 1201325.985
59 | 2670942.8907 | 1201332.9303 | 2670947.5405 | 1201331.1066 | 2670963.001 | 1201344.2367
60 | 2670887.79 | 1201332.3842 | 2670896.0052 | 1201338.6357
61 | 2670872.3443 | 1201320.6303 | 2670887.79 | 1201332.3842
62 | 2670872.3443 | 1201320.6303 | 2670881.5672 | 1201308.4486
63 | 2670872.3443 | 1201320.6303 | 2670861.3588 | 1201311.9717
64 | 2670831.9445 | 1201288.7876 | 2670861.3588 | 1201311.9717
65 | 2670831.9445 | 1201288.7876 | 2670827.3494 | 1201295.6373
66 | 2670831.9445 | 1201288.7876 | 2670830.2952 | 1201287.5077
67 | 2670806.6572 | 1201280.4496 | 2670817.3161 | 1201288.6253 | 2670822.9357 | 1201292.9612 | 2670827.3494 | 1201295.6373
68 | 2670827.3494 | 1201295.6373 | 2670820.8657 | 1201304.2919
69 | 2670830.2952 | 1201287.5077 | 2670813.1651 | 1201274.2146
70 | 2670797.9541 | 1201262.4106 | 2670813.1651 | 1201274.2146
71 | 2670806.6572 | 1201280.4496 | 2670804.5687 | 1201283.2599

## bus_geodata
| x | y | coords
0 | 2670923.4996 | 1201278.7227
1 | 2670932.6954 | 1201286.3306
2 | 2670895.4358 | 1201290.119
3 | 2670875.6171 | 1201430.846
4 | 2670890.4584 | 1201417.4772
5 | 2670870.3409 | 1201435.5987
6 | 2670895.2155 | 1201413.1922
7 | 2670858.7716 | 1201422.6716
8 | 2670861.9145 | 1201442.9525
9 | 2670905.8299 | 1201403.6309
10 | 2670858.1989 | 1201422.0317
11 | 2670846.2629 | 1201456.6118
12 | 2670910.0325 | 1201399.8453
13 | 2670818.597 | 1201430.9033
14 | 2670828.2253 | 1201471.6697
15 | 2670959.8338 | 1201441.8535
16 | 2670964.2503 | 1201438.1687
17 | 2670952.4913 | 1201447.9796
18 | 2670975.0312 | 1201428.8102
19 | 2670943.2278 | 1201455.0554
20 | 2670977.8114 | 1201425.5483
21 | 2670936.112 | 1201460.4
22 | 2670989.0805 | 1201412.327
23 | 2670928.5708 | 1201466.064
24 | 2670978.3216 | 1201403.5861
25 | 2670993.505 | 1201415.8726
26 | 2670960.0762 | 1201388.7626
27 | 2671043.1043 | 1201456.1176
28 | 2670951.3962 | 1201381.7106
29 | 2671062.1845 | 1201471.0522
30 | 2670911.7152 | 1201398.3296
31 | 2670917.6013 | 1201393.0275
32 | 2670918.9284 | 1201473.3062
33 | 2670913.2972 | 1201477.5357
34 | 2670900.7844 | 1201486.9339
35 | 2670900.5865 | 1201487.0825
36 | 2670939.2242 | 1201371.8215
37 | 2670921.9148 | 1201358.3524
38 | 2670951.3949 | 1201363.3234
39 | 2670922.8719 | 1201388.2799
40 | 2670935.1888 | 1201342.2648
41 | 2670906.6295 | 1201346.7206
42 | 2670885.2563 | 1201498.6755
43 | 2670863.2162 | 1201515.6282
44 | 2670866.7401 | 1201512.9177
45 | 2670852.8924 | 1201523.569
46 | 2670877.965 | 1201504.2837
47 | 2670847.2815 | 1201527.8848
48 | 2670881.4984 | 1201501.5659
49 | 2670831.0556 | 1201539.9589
50 | 2670830.3909 | 1201540.4216
51 | 2670781.7399 | 1201504.8161
52 | 2670799.1194 | 1201492.6837
53 | 2670811.6746 | 1201483.6191
54 | 2670813.782 | 1201551.9844
55 | 2670942.8907 | 1201332.9303
56 | 2670896.0052 | 1201338.6357
57 | 2670887.79 | 1201332.3842
58 | 2670872.3443 | 1201320.6303
59 | 2670881.5672 | 1201308.4486
60 | 2670861.3588 | 1201311.9717
61 | 2670940.1528 | 1201325.985
62 | 2670963.001 | 1201344.2367
63 | 2670831.9445 | 1201288.7876
64 | 2670884.687 | 1201278.3942
65 | 2670827.3494 | 1201295.6373
66 | 2670830.2952 | 1201287.5077
67 | 2670939.8248 | 1201292.2289
68 | 2670813.1651 | 1201274.2146
69 | 2670797.9541 | 1201262.4106
70 | 2670806.6572 | 1201280.4496
71 | 2670820.8657 | 1201304.2919
72 | 2670804.5687 | 1201283.2599
73 | 2670870.3409 | 1201435.5987

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98406 | -0.30612 | 0 | 0
1 | 0.98401 | -0.30707 | 0.0022235 | 0.00055727
2 | 0.98422 | -0.30289 | 0 | 0
3 | 0.99895 | -0.020186 | 0.0033293 | 0.0008344
4 | 0.99973 | -0.0051867 | 0.003441 | 0.0008624
5 | 0.99869 | -0.025111 | 0 | 0
6 | 1 | 0 | -0.30337 | -0.077028
7 | 0.99848 | -0.02916 | 0.0052379 | 0.0013127
8 | 0.99843 | -0.030261 | 0.0039622 | 0.00099303
9 | 0.99834 | -0.03138 | 0.0027081 | 0.00067871
10 | 0.99848 | -0.029282 | 0.0036585 | 0.0009169
11 | 0.998 | -0.038393 | 0.004654 | 0.0011664
12 | 0.99769 | -0.043698 | 0.0052751 | 0.0013221
13 | 0.99826 | -0.033463 | 0.0044541 | 0.0011163
14 | 0.99762 | -0.04569 | 0.0030468 | 0.00076359
15 | 0.98468 | -0.29382 | 0.0027115 | 0.00067955
16 | 0.98504 | -0.28675 | 0.0024462 | 0.00061307
17 | 0.9841 | -0.30512 | 0.0026078 | 0.00065359
18 | 0.98598 | -0.26858 | 0.0033236 | 0.00083296
19 | 0.98342 | -0.31836 | 0.0055807 | 0.0013986
20 | 0.98627 | -0.26288 | 0.0072515 | 0.0018174
21 | 0.98295 | -0.32758 | 0.0042216 | 0.001058
22 | 0.98758 | -0.23758 | 0 | 0
23 | 0.98248 | -0.33665 | 0.0032366 | 0.00081118
24 | 0.98874 | -0.21506 | 0.0035953 | 0.00090106
25 | 0.98753 | -0.23855 | 0.0033555 | 0.00084097
26 | 0.9908 | -0.1755 | 0.0034216 | 0.00085753
27 | 0.98716 | -0.24568 | 0.0047527 | 0.0011911
28 | 0.99181 | -0.15605 | 0.0035637 | 0.00089314
29 | 0.98713 | -0.24632 | 0.0014845 | 0.00037204
30 | 0.99744 | -0.048531 | 0.0027081 | 0.00067871
31 | 0.99656 | -0.065265 | 0.0027081 | 0.00067872
32 | 0.98192 | -0.34754 | 0.0042144 | 0.0010562
33 | 0.98163 | -0.35338 | 0.0034775 | 0.00087155
34 | 0.98101 | -0.36537 | 0.0030765 | 0.00077104
35 | 0.981 | -0.36554 | 0.0040559 | 0.0010165
36 | 0.99328 | -0.12787 | 0 | 0
37 | 0.99066 | -0.17814 | 0 | 0
38 | 0.99325 | -0.12845 | 0.002214 | 0.00055489
39 | 0.99578 | -0.080106 | 0.0048006 | 0.0012031
40 | 0.99039 | -0.18333 | 0.0043235 | 0.0010836
41 | 0.98861 | -0.21766 | 0.0080885 | 0.0020272
42 | 0.98038 | -0.3778 | 0.0029464 | 0.00073843
43 | 0.97971 | -0.39081 | 0.0033486 | 0.00083924
44 | 0.9798 | -0.38911 | 0.0034013 | 0.00085245
45 | 0.9795 | -0.39502 | 0.0034889 | 0.00087439
46 | 0.98012 | -0.3828 | 0.0029467 | 0.0007385
47 | 0.97941 | -0.39686 | 0.0034581 | 0.00086667
48 | 0.98024 | -0.38058 | 0.0047613 | 0.0011933
49 | 0.9792 | -0.40085 | 0.0049252 | 0.0012344
50 | 0.9792 | -0.40094 | 0.0028835 | 0.00072267
51 | 0.99703 | -0.057099 | 0.0080158 | 0.0020089
52 | 0.99719 | -0.05412 | 0.0037044 | 0.00092841
53 | 0.99735 | -0.050939 | 0.0029567 | 0.00074102
54 | 0.97914 | -0.40205 | 0.0030342 | 0.00076045
55 | 0.99029 | -0.18541 | 0 | 0
56 | 0.98729 | -0.2433 | 0.0063161 | 0.001583
57 | 0.98632 | -0.262 | 0.010217 | 0.0025605
58 | 0.98469 | -0.29369 | 0 | 0
59 | 0.98446 | -0.2983 | 0.0056545 | 0.0014172
60 | 0.98373 | -0.31238 | 0.021548 | 0.0054004
61 | 0.99027 | -0.18575 | 0.0025535 | 0.00063997
62 | 0.99012 | -0.18862 | 0.0071315 | 0.0017873
63 | 0.98191 | -0.34798 | 0 | 0
64 | 0.98412 | -0.3048 | 0.0066647 | 0.0016703
65 | 0.98158 | -0.35438 | 0 | 0
66 | 0.98189 | -0.34835 | 0.0020759 | 0.00052028
67 | 0.98399 | -0.30744 | 0.0022207 | 0.00055656
68 | 0.98174 | -0.35136 | 0.0038655 | 0.00096879
69 | 0.98167 | -0.35269 | 0.0038229 | 0.00095811
70 | 0.98069 | -0.37188 | 0 | 0
71 | 0.98153 | -0.3554 | 0.0052254 | 0.0013096
72 | 0.98057 | -0.37426 | 0.037689 | 0.0094457
73 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0044445 | 0.0011137 | -0.0044443 | -0.0011137 | 2.0214e-07 | -2.2245e-08 | 0.0067205 | 0.0067206 | 0.0067206 | 0.98406 | -0.30612 | 0.98401 | -0.30707 | 1.8463
1 | -0.0044445 | -0.0011137 | 0.0044452 | 0.0011136 | 6.8234e-07 | -7.5217e-08 | 0.0067205 | 0.0067204 | 0.0067205 | 0.98406 | -0.30612 | 0.98422 | -0.30289 | 1.8463
2 | 0.0022207 | 0.00055647 | -0.0022207 | -0.00055656 | 3.9131e-08 | -9.2495e-08 | 0.0033582 | 0.0033582 | 0.0033582 | 0.98401 | -0.30707 | 0.98399 | -0.30744 | 0.92258
3 | 0.0066653 | 0.0016705 | -0.0066647 | -0.0016703 | 6.0571e-07 | 1.8553e-07 | 0.010077 | 0.010077 | 0.010077 | 0.98422 | -0.30289 | 0.98412 | -0.3048 | 2.7684
4 | -0.01111 | -0.0027842 | 0.011113 | 0.0027854 | 2.432e-06 | 1.2643e-06 | 0.016797 | 0.016797 | 0.016797 | 0.98422 | -0.30289 | 0.98446 | -0.2983 | 4.6147
5 | -0.04306 | -0.010805 | 0.043091 | 0.010825 | 3.0822e-05 | 1.9464e-05 | 0.064147 | 0.064146 | 0.064147 | 0.99895 | -0.020186 | 0.99973 | -0.0051867 | 17.6227
6 | 0.039731 | 0.0099709 | -0.039722 | -0.009965 | 9.3286e-06 | 5.8774e-06 | 0.059187 | 0.059187 | 0.059187 | 0.99895 | -0.020186 | 0.99869 | -0.025111 | 16.2603
7 | -0.046532 | -0.011687 | 0.046544 | 0.011694 | 1.152e-05 | 7.2886e-06 | 0.069268 | 0.069268 | 0.069268 | 0.99973 | -0.0051867 | 1 | 0 | 19.0297
8 | 0.013354 | 0.0033472 | -0.013351 | -0.0033458 | 2.5755e-06 | 1.4214e-06 | 0.019897 | 0.019897 | 0.019897 | 0.99869 | -0.025111 | 0.99848 | -0.02916 | 5.4662
9 | 0.026368 | 0.0066178 | -0.026361 | -0.0066138 | 6.4744e-06 | 3.9973e-06 | 0.03929 | 0.03929 | 0.03929 | 0.99869 | -0.025111 | 0.99843 | -0.030261 | 10.7941
10 | 0.25518 | 0.065334 | -0.25479 | -0.065086 | 0.0003872 | 0.00024743 | 0.3802 | 0.3802 | 0.3802 | 1 | 0 | 0.99834 | -0.03138 | 52.2253
11 | 0.0081135 | 0.0020331 | -0.0081134 | -0.0020331 | 4.708e-08 | 1.8899e-08 | 0.012091 | 0.012091 | 0.012091 | 0.99848 | -0.02916 | 0.99848 | -0.029282 | 3.3218
12 | 0.022399 | 0.0056208 | -0.02239 | -0.0056155 | 8.6827e-06 | 5.2854e-06 | 0.033385 | 0.033385 | 0.033385 | 0.99843 | -0.030261 | 0.998 | -0.038393 | 9.1718
13 | 0.25208 | 0.064408 | -0.25193 | -0.064312 | 0.00015006 | 9.5893e-05 | 0.37616 | 0.37616 | 0.37616 | 0.99834 | -0.03138 | 0.99769 | -0.043698 | 51.6708
14 | 0.004455 | 0.0011162 | -0.0044541 | -0.0011163 | 8.872e-07 | -1.3406e-07 | 0.006639 | 0.0066393 | 0.0066393 | 0.99848 | -0.029282 | 0.99826 | -0.033463 | 1.824
15 | 0.017736 | 0.0044491 | -0.01773 | -0.0044454 | 6.1674e-06 | 3.64e-06 | 0.026446 | 0.026446 | 0.026446 | 0.998 | -0.038393 | 0.99762 | -0.04569 | 7.2655
16 | 0.24666 | 0.06299 | -0.2466 | -0.062953 | 5.7598e-05 | 3.6804e-05 | 0.3683 | 0.3683 | 0.3683 | 0.99769 | -0.043698 | 0.99744 | -0.048531 | 50.5901
17 | 0.014683 | 0.0036818 | -0.01468 | -0.0036798 | 3.6721e-06 | 2.0837e-06 | 0.021902 | 0.021902 | 0.021902 | 0.99762 | -0.04569 | 0.99735 | -0.050939 | 6.017
18 | -0.068608 | -0.017283 | 0.068631 | 0.017297 | 2.3199e-05 | 1.4774e-05 | 0.10371 | 0.10371 | 0.10371 | 0.98468 | -0.29382 | 0.98504 | -0.28675 | 28.4917
19 | 0.065897 | 0.016603 | -0.065861 | -0.01658 | 3.5582e-05 | 2.2651e-05 | 0.099612 | 0.099612 | 0.099612 | 0.98468 | -0.29382 | 0.9841 | -0.30512 | 27.366
20 | -0.071077 | -0.01791 | 0.071139 | 0.01795 | 6.1849e-05 | 3.9401e-05 | 0.1074 | 0.1074 | 0.1074 | 0.98504 | -0.28675 | 0.98598 | -0.26858 | 29.5068
21 | 0.063253 | 0.015927 | -0.063213 | -0.015901 | 4.0016e-05 | 2.5462e-05 | 0.095669 | 0.095669 | 0.095669 | 0.9841 | -0.30512 | 0.98342 | -0.31836 | 26.2827
22 | -0.074463 | -0.018783 | 0.074483 | 0.018796 | 2.0313e-05 | 1.2946e-05 | 0.11242 | 0.11242 | 0.11242 | 0.98598 | -0.26858 | 0.98627 | -0.26288 | 30.8848
23 | 0.057633 | 0.014503 | -0.057607 | -0.014487 | 2.5391e-05 | 1.6137e-05 | 0.087225 | 0.087225 | 0.087225 | 0.98342 | -0.31836 | 0.98295 | -0.32758 | 23.9629
24 | -0.081735 | -0.020613 | 0.081834 | 0.020676 | 9.9139e-05 | 6.3227e-05 | 0.12336 | 0.12336 | 0.12336 | 0.98627 | -0.26288 | 0.98758 | -0.23758 | 33.8904
25 | 0.053386 | 0.013429 | -0.053362 | -0.013414 | 2.311e-05 | 1.4671e-05 | 0.080834 | 0.080834 | 0.080834 | 0.98295 | -0.32758 | 0.98248 | -0.33665 | 22.2072
26 | -0.091429 | -0.023081 | 0.091528 | 0.023144 | 9.8736e-05 | 6.3013e-05 | 0.13782 | 0.13782 | 0.13782 | 0.98758 | -0.23758 | 0.98874 | -0.21506 | 37.8622
27 | 0.0095953 | 0.0024046 | -0.0095948 | -0.0024044 | 4.4441e-07 | 2.1188e-07 | 0.014457 | 0.014457 | 0.014457 | 0.98758 | -0.23758 | 0.98753 | -0.23855 | 3.9718
28 | 0.050126 | 0.012603 | -0.0501 | -0.012586 | 2.6074e-05 | 1.6535e-05 | 0.075932 | 0.075932 | 0.075932 | 0.98248 | -0.33665 | 0.98192 | -0.34754 | 20.8605
29 | -0.095123 | -0.024045 | 0.095304 | 0.024161 | 0.00018085 | 0.00011544 | 0.14323 | 0.14323 | 0.14323 | 0.98874 | -0.21506 | 0.9908 | -0.1755 | 39.3487
30 | 0.0062393 | 0.0015634 | -0.0062372 | -0.0015629 | 2.1171e-06 | 5.3805e-07 | 0.0094013 | 0.0094016 | 0.0094016 | 0.98753 | -0.23855 | 0.98716 | -0.24568 | 2.5829
31 | -0.098726 | -0.025018 | 0.098818 | 0.025077 | 9.2318e-05 | 5.894e-05 | 0.14837 | 0.14837 | 0.14837 | 0.9908 | -0.1755 | 0.99181 | -0.15605 | 40.7603
32 | 0.0014845 | 0.00037176 | -0.0014845 | -0.00037204 | 4.5505e-08 | -2.807e-07 | 0.0022376 | 0.0022377 | 0.0022377 | 0.98716 | -0.24568 | 0.98713 | -0.24632 | 0.61476
33 | -0.10238 | -0.02597 | 0.10252 | 0.026059 | 0.00013896 | 8.873e-05 | 0.15371 | 0.15371 | 0.15371 | 0.99181 | -0.15605 | 0.99328 | -0.12787 | 42.2292
34 | 0.24389 | 0.062274 | -0.2437 | -0.062148 | 0.00019708 | 0.00012593 | 0.36426 | 0.36426 | 0.36426 | 0.99744 | -0.048531 | 0.99656 | -0.065265 | 50.0352
35 | 0.24099 | 0.06147 | -0.24082 | -0.061359 | 0.00017258 | 0.00011026 | 0.36021 | 0.36021 | 0.36021 | 0.99656 | -0.065265 | 0.99578 | -0.080106 | 49.4798
36 | 0.045885 | 0.01153 | -0.045873 | -0.011522 | 1.2774e-05 | 8.086e-06 | 0.069546 | 0.069546 | 0.069546 | 0.98192 | -0.34754 | 0.98163 | -0.35338 | 19.106
37 | 0.042395 | 0.01065 | -0.042371 | -0.010635 | 2.4244e-05 | 1.5318e-05 | 0.064274 | 0.064274 | 0.064274 | 0.98163 | -0.35338 | 0.98101 | -0.36537 | 17.6578
38 | 0.039294 | 0.0098639 | -0.039294 | -0.0098637 | 3.2964e-07 | 2.0784e-07 | 0.059608 | 0.059608 | 0.059608 | 0.98101 | -0.36537 | 0.981 | -0.36554 | 16.3758
39 | 0.035238 | 0.0088472 | -0.035217 | -0.0088343 | 2.0596e-05 | 1.2939e-05 | 0.053456 | 0.053456 | 0.053456 | 0.981 | -0.36554 | 0.98038 | -0.3778 | 14.6857
40 | 0.13074 | 0.033196 | -0.13042 | -0.032994 | 0.00031542 | 0.00020159 | 0.19601 | 0.19601 | 0.19601 | 0.99328 | -0.12787 | 0.99066 | -0.17814 | 53.8485
41 | 0.0022141 | 0.00055473 | -0.002214 | -0.00055489 | 6.124e-08 | -1.5293e-07 | 0.0033168 | 0.0033169 | 0.0033169 | 0.99328 | -0.12787 | 0.99325 | -0.12845 | 0.91123
42 | -0.23547 | -0.05981 | 0.23601 | 0.060156 | 0.00054269 | 0.00034672 | 0.35304 | 0.35304 | 0.35304 | 0.99328 | -0.12787 | 0.99578 | -0.080106 | 48.4944
43 | 0.014014 | 0.0035136 | -0.014011 | -0.0035116 | 3.4657e-06 | 1.9496e-06 | 0.02105 | 0.02105 | 0.02105 | 0.99066 | -0.17814 | 0.99039 | -0.18333 | 5.7831
44 | 0.11641 | 0.029481 | -0.11619 | -0.02934 | 0.00022048 | 0.00014086 | 0.17496 | 0.17496 | 0.17496 | 0.99066 | -0.17814 | 0.98861 | -0.21766 | 48.0655
45 | 0.0096872 | 0.0024281 | -0.0096862 | -0.0024276 | 9.6134e-07 | 4.5955e-07 | 0.014555 | 0.014555 | 0.014555 | 0.99039 | -0.18333 | 0.99029 | -0.18541 | 3.9985
46 | 0.1081 | 0.027313 | -0.10797 | -0.027228 | 0.00013267 | 8.4735e-05 | 0.16278 | 0.16278 | 0.16278 | 0.98861 | -0.21766 | 0.98729 | -0.2433 | 44.7209
47 | 0.032271 | 0.0080959 | -0.032267 | -0.0080932 | 4.2658e-06 | 2.6703e-06 | 0.048984 | 0.048984 | 0.048984 | 0.98038 | -0.3778 | 0.98024 | -0.38058 | 13.4571
48 | -0.021146 | -0.0053015 | 0.021147 | 0.0053026 | 1.7197e-06 | 1.0446e-06 | 0.032117 | 0.032117 | 0.032117 | 0.97971 | -0.39081 | 0.9798 | -0.38911 | 8.8234
49 | 0.017797 | 0.0044623 | -0.017793 | -0.0044602 | 3.5688e-06 | 2.1201e-06 | 0.027031 | 0.027031 | 0.027031 | 0.97971 | -0.39081 | 0.9795 | -0.39502 | 7.4262
50 | -0.024549 | -0.006155 | 0.024556 | 0.0061596 | 7.3816e-06 | 4.5458e-06 | 0.037283 | 0.037283 | 0.037283 | 0.9798 | -0.38911 | 0.98012 | -0.3828 | 10.2425
51 | 0.014304 | 0.0035858 | -0.014303 | -0.0035851 | 1.2536e-06 | 7.132e-07 | 0.021731 | 0.021731 | 0.021731 | 0.9795 | -0.39502 | 0.97941 | -0.39686 | 5.9701
52 | -0.027503 | -0.0068981 | 0.027506 | 0.0068999 | 2.9146e-06 | 1.8092e-06 | 0.041756 | 0.041756 | 0.041756 | 0.98012 | -0.3828 | 0.98024 | -0.38058 | 11.4715
53 | 0.010845 | 0.0027184 | -0.010843 | -0.0027173 | 2.0597e-06 | 1.0637e-06 | 0.016477 | 0.016477 | 0.016477 | 0.97941 | -0.39686 | 0.9792 | -0.40085 | 4.5267
54 | 0.0059179 | 0.001483 | -0.0059179 | -0.001483 | 2.4561e-08 | 5.5315e-09 | 0.0089929 | 0.0089929 | 0.0089929 | 0.9792 | -0.40085 | 0.9792 | -0.40094 | 2.4706
55 | 0.0030344 | 0.0007603 | -0.0030342 | -0.00076045 | 1.6136e-07 | -1.5129e-07 | 0.0046111 | 0.0046111 | 0.0046111 | 0.9792 | -0.40094 | 0.97914 | -0.40205 | 1.2668
56 | -0.0080158 | -0.0020089 | 0.0080169 | 0.0020094 | 1.1377e-06 | 4.5164e-07 | 0.011963 | 0.011963 | 0.011963 | 0.99703 | -0.057099 | 0.99719 | -0.05412 | 3.2866
57 | -0.011721 | -0.0029378 | 0.011723 | 0.0029387 | 1.7765e-06 | 9.3492e-07 | 0.017491 | 0.017491 | 0.017491 | 0.99719 | -0.05412 | 0.99735 | -0.050939 | 4.8051
58 | 0.0025536 | 0.0006399 | -0.0025535 | -0.00063997 | 4.1429e-08 | -7.0026e-08 | 0.003837 | 0.003837 | 0.003837 | 0.99029 | -0.18541 | 0.99027 | -0.18575 | 1.0541
59 | 0.0071326 | 0.0017877 | -0.0071315 | -0.0017873 | 1.0889e-06 | 3.7171e-07 | 0.010718 | 0.010718 | 0.010718 | 0.99029 | -0.18541 | 0.99012 | -0.18862 | 2.9444
60 | 0.10165 | 0.025645 | -0.10156 | -0.025587 | 9.0936e-05 | 5.8067e-05 | 0.15326 | 0.15326 | 0.15326 | 0.98729 | -0.2433 | 0.98632 | -0.262 | 42.1057
61 | 0.091343 | 0.023026 | -0.091204 | -0.022938 | 0.00013831 | 8.8274e-05 | 0.13785 | 0.13785 | 0.13785 | 0.98632 | -0.262 | 0.98469 | -0.29369 | 37.8713
62 | 0.016771 | 0.0042047 | -0.016767 | -0.0042026 | 3.6804e-06 | 2.1611e-06 | 0.025344 | 0.025344 | 0.025344 | 0.98469 | -0.29369 | 0.98446 | -0.2983 | 6.9627
63 | 0.074433 | 0.018733 | -0.074367 | -0.018691 | 6.6396e-05 | 4.2315e-05 | 0.11251 | 0.11251 | 0.11251 | 0.98469 | -0.29369 | 0.98373 | -0.31238 | 30.9087
64 | 0.052819 | 0.013291 | -0.052729 | -0.013234 | 8.9693e-05 | 5.6929e-05 | 0.079914 | 0.079914 | 0.079914 | 0.98373 | -0.31238 | 0.98191 | -0.34798 | 21.9544
65 | 0.042963 | 0.010786 | -0.04295 | -0.010778 | 1.3104e-05 | 8.2826e-06 | 0.065114 | 0.065114 | 0.065114 | 0.98191 | -0.34798 | 0.98158 | -0.35438 | 17.8886
66 | 0.0097659 | 0.0024476 | -0.0097657 | -0.0024475 | 1.7147e-07 | 8.3335e-08 | 0.014799 | 0.0148 | 0.0148 | 0.98191 | -0.34798 | 0.98189 | -0.34835 | 4.0658
67 | 0.037724 | 0.0094682 | -0.037693 | -0.0094484 | 3.1457e-05 | 1.9809e-05 | 0.057193 | 0.057193 | 0.057193 | 0.98158 | -0.35438 | 0.98069 | -0.37188 | 15.7123
68 | 0.0052257 | 0.0013096 | -0.0052254 | -0.0013096 | 2.5448e-07 | 2.6183e-08 | 0.0079218 | 0.0079218 | 0.0079218 | 0.98158 | -0.35438 | 0.98153 | -0.3554 | 2.1763
69 | 0.0076897 | 0.0019272 | -0.0076886 | -0.0019268 | 1.1042e-06 | 4.325e-07 | 0.011653 | 0.011654 | 0.011654 | 0.98189 | -0.34835 | 0.98174 | -0.35136 | 3.2015
70 | 0.0038231 | 0.00095802 | -0.0038229 | -0.00095811 | 2.4245e-07 | -8.8274e-08 | 0.0057947 | 0.0057948 | 0.0057948 | 0.98174 | -0.35136 | 0.98167 | -0.35269 | 1.592
71 | 0.037693 | 0.0094484 | -0.037689 | -0.0094457 | 4.2907e-06 | 2.7019e-06 | 0.057193 | 0.057193 | 0.057193 | 0.98069 | -0.37188 | 0.98057 | -0.37426 | 15.7123

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.30639 | 0.077786

## res_load
| p_mw | q_mvar
0 | 0.0022235 | 0.00055727
1 | 0.0033293 | 0.0008344
2 | 0.003441 | 0.0008624
3 | 0.0030219 | 0.00075735
4 | 0.0052379 | 0.0013127
5 | 0.0039622 | 0.00099303
6 | 0.0027081 | 0.00067871
7 | 0.0036585 | 0.0009169
8 | 0.004654 | 0.0011664
9 | 0.0052751 | 0.0013221
10 | 0.0044541 | 0.0011163
11 | 0.0030468 | 0.00076359
12 | 0.0027115 | 0.00067955
13 | 0.0024462 | 0.00061307
14 | 0.0026078 | 0.00065359
15 | 0.0033236 | 0.00083296
16 | 0.0055807 | 0.0013986
17 | 0.0072515 | 0.0018174
18 | 0.0042216 | 0.001058
19 | 0.0032366 | 0.00081118
20 | 0.0035953 | 0.00090106
21 | 0.0033555 | 0.00084097
22 | 0.0034216 | 0.00085753
23 | 0.0047527 | 0.0011911
24 | 0.0035637 | 0.00089314
25 | 0.0014845 | 0.00037204
26 | 0.0027081 | 0.00067871
27 | 0.0027081 | 0.00067872
28 | 0.0042144 | 0.0010562
29 | 0.0034775 | 0.00087155
30 | 0.0030765 | 0.00077104
31 | 0.0040559 | 0.0010165
32 | 0.002214 | 0.00055489
33 | 0.0048006 | 0.0012031
34 | 0.0043235 | 0.0010836
35 | 0.0080885 | 0.0020272
36 | 0.0029464 | 0.00073843
37 | 0.0033486 | 0.00083924
38 | 0.0034013 | 0.00085245
39 | 0.0034889 | 0.00087439
40 | 0.0029467 | 0.0007385
41 | 0.0034581 | 0.00086667
42 | 0.0047613 | 0.0011933
43 | 0.0049252 | 0.0012344
44 | 0.0028835 | 0.00072267
45 | 0.0080158 | 0.0020089
46 | 0.0037044 | 0.00092841
47 | 0.0029567 | 0.00074102
48 | 0.0030342 | 0.00076045
49 | 0.0063161 | 0.001583
50 | 0.010217 | 0.0025605
51 | 0.0056545 | 0.0014172
52 | 0.021548 | 0.0054004
53 | 0.0025535 | 0.00063997
54 | 0.0071315 | 0.0017873
55 | 0.0066647 | 0.0016703
56 | 0.0020759 | 0.00052028
57 | 0.0022207 | 0.00055656
58 | 0.0038655 | 0.00096879
59 | 0.0038229 | 0.00095811
60 | 0.0052254 | 0.0013096
61 | 0.037689 | 0.0094457

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1