## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1510-13_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1510-13_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1510-13_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1510-13_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1510-13_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1510-13_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1510-13_0_3_node_7 | 0.4 | n |  | TRUE
7 | bus_LV_1510-13_0_3_node_31 | 0.4 | n |  | TRUE
8 | bus_LV_1510-13_0_3_node_34 | 0.4 | n |  | TRUE
9 | bus_LV_1510-13_0_3_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_1510-13_0_3_node_16 | 0.4 | n |  | TRUE
11 | bus_LV_1510-13_0_3_node_13 | 0.4 | n |  | TRUE
12 | bus_LV_1510-13_0_3_node_37 | 0.4 | n |  | TRUE
13 | bus_LV_1510-13_0_3_node_35 | 0.4 | n |  | TRUE
14 | bus_LV_1510-13_0_3_node_32 | 0.4 | n |  | TRUE
15 | bus_LV_1510-13_0_3_node_24 | 0.4 | n |  | TRUE
16 | bus_LV_1510-13_0_3_node_14 | 0.4 | n |  | TRUE
17 | bus_LV_1510-13_0_3_node_15 | 0.4 | n |  | TRUE
18 | bus_LV_1510-13_0_3_node_23 | 0.4 | n |  | TRUE
19 | bus_LV_1510-13_0_3_node_21 | 0.4 | n |  | TRUE
20 | bus_LV_1510-13_0_3_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_1510-13_0_3_node_22 | 0.4 | n |  | TRUE
22 | bus_LV_1510-13_0_3_node_38 | 0.4 | n |  | TRUE
23 | bus_LV_1510-13_0_3_node_36 | 0.4 | n |  | TRUE
24 | bus_LV_1510-13_0_3_node_8 | 0.4 | n |  | TRUE
25 | bus_LV_1510-13_0_3_node_10 | 0.4 | n |  | TRUE
26 | bus_LV_1510-13_0_3_node_9 | 0.4 | n |  | TRUE
27 | bus_LV_1510-13_0_3_node_11 | 0.4 | n |  | TRUE
28 | bus_LV_1510-13_0_3_node_41 | 0.4 | n |  | TRUE
29 | bus_LV_1510-13_0_3_node_25 | 0.4 | n |  | TRUE
30 | bus_LV_1510-13_0_3_node_40 | 0.4 | n |  | TRUE
31 | bus_LV_1510-13_0_3_node_30 | 0.4 | n |  | TRUE
32 | bus_LV_1510-13_0_3_node_39 | 0.4 | n |  | TRUE
33 | bus_LV_1510-13_0_3_node_19 | 0.4 | n |  | TRUE
34 | bus_LV_1510-13_0_3_node_28 | 0.4 | n |  | TRUE
35 | bus_LV_1510-13_0_3_node_29 | 0.4 | n |  | TRUE
36 | bus_LV_1510-13_0_3_node_20 | 0.4 | n |  | TRUE
37 | bus_LV_1510-13_0_3_node_26 | 0.4 | n |  | TRUE
38 | bus_LV_1510-13_0_3_node_27 | 0.4 | n |  | TRUE
39 | bus_LV_1510-13_0_3_node_33 | 0.4 | n |  | TRUE
40 | bus_MV_143_0_node_81 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1510-13_0_3_load_0 | 0 | 0.002617 | 0.00065587 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1510-13_0_3_load_3 | 3 | 0.0045261 | 0.0011344 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1510-13_0_3_load_4 | 4 | 0.011157 | 0.0027963 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1510-13_0_3_load_5 | 5 | 0.0032535 | 0.0008154 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1510-13_0_3_load_31 | 7 | 0.0058156 | 0.0014575 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1510-13_0_3_load_13 | 11 | 0.068802 | 0.017243 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1510-13_0_3_load_37 | 12 | 0.010502 | 0.0026321 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1510-13_0_3_load_35 | 13 | 0.061735 | 0.015472 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1510-13_0_3_load_32 | 14 | 0.0042427 | 0.0010633 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1510-13_0_3_load_15 | 17 | 0.003248 | 0.00081402 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1510-13_0_3_load_21 | 19 | 0.028765 | 0.0072092 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1510-13_0_3_load_38 | 22 | 0.00314 | 0.00078696 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1510-13_0_3_load_36 | 23 | 0.010934 | 0.0027404 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1510-13_0_3_load_8 | 24 | 0.028009 | 0.0070198 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1510-13_0_3_load_41 | 28 | 0.01579 | 0.0039574 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1510-13_0_3_load_25 | 29 | 0.0089347 | 0.0022392 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1510-13_0_3_load_40 | 30 | 0.026053 | 0.0065294 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1510-13_0_3_load_39 | 32 | 0.0046576 | 0.0011673 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1510-13_0_3_load_19 | 33 | 0.049447 | 0.012393 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1510-13_0_3_load_28 | 34 | 0.0043025 | 0.0010783 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1510-13_0_3_load_29 | 35 | 0.004381 | 0.001098 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1510-13_0_3_load_20 | 36 | 0.012161 | 0.0030479 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1510-13_0_3_load_26 | 37 | 0.0021687 | 0.00054352 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1510-13_0_3_load_27 | 38 | 0.0011147 | 0.00027937 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1510-13_0_3_load_33 | 39 | 0.0025957 | 0.00065055 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 23 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1510-13_0_3_line_0 |  | 0 | 1 | 0.029105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
1 | LV_1510-13_0_3_line_1 |  | 0 | 2 | 0.0069049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
2 | LV_1510-13_0_3_line_2 |  | 1 | 3 | 0.013976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
3 | LV_1510-13_0_3_line_3 |  | 1 | 4 | 0.0034143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1510-13_0_3_line_4 |  | 2 | 5 | 0.019671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1510-13_0_3_line_5 |  | 2 | 6 | 0.022579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_1510-13_0_3_line_6 |  | 3 | 7 | 0.0060792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_1510-13_0_3_line_7 |  | 4 | 8 | 0.027693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1510-13_0_3_line_8 |  | 6 | 12 | 0.0064325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1510-13_0_3_line_9 |  | 6 | 13 | 0.012866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_1510-13_0_3_line_10 |  | 7 | 14 | 0.032256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_1510-13_0_3_line_11 |  | 8 | 15 | 0.049333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1510-13_0_3_line_12 |  | 9 | 10 | 0.054963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_1510-13_0_3_line_13 |  | 9 | 11 | 0.0080768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_1510-13_0_3_line_14 |  | 10 | 18 | 0.081716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1510-13_0_3_line_15 |  | 10 | 19 | 0.031591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1510-13_0_3_line_16 |  | 11 | 16 | 0.020782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_1510-13_0_3_line_17 |  | 12 | 22 | 0.0058707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1510-13_0_3_line_18 |  | 13 | 23 | 0.018062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_1510-13_0_3_line_19 |  | 14 | 39 | 0.0069221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_1510-13_0_3_line_20 |  | 15 | 32 | 0.024605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1510-13_0_3_line_21 |  | 16 | 17 | 0.0032479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_1510-13_0_3_line_22 |  | 17 | 20 | 0.018124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_1510-13_0_3_line_23 |  | 18 | 30 | 0.016721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1510-13_0_3_line_24 |  | 18 | 31 | 0.079311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1510-13_0_3_line_25 |  | 19 | 33 | 0.014843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1510-13_0_3_line_26 |  | 20 | 21 | 0.035684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_1510-13_0_3_line_27 |  | 21 | 29 | 0.0089661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_1510-13_0_3_line_28 |  | 21 | 27 | 0.014501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1510-13_0_3_line_29 |  | 24 | 25 | 0.037284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1510-13_0_3_line_30 |  | 25 | 26 | 0.008556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1510-13_0_3_line_31 |  | 26 | 27 | 0.003914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1510-13_0_3_line_32 |  | 27 | 28 | 0.013051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1510-13_0_3_line_33 |  | 29 | 37 | 0.023834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_1510-13_0_3_line_34 |  | 31 | 35 | 0.039829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1510-13_0_3_line_35 |  | 33 | 36 | 0.013033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1510-13_0_3_line_36 |  | 34 | 35 | 0.014929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1510-13_0_3_line_37 |  | 37 | 38 | 0.0046907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
38 | LV_1510-13_0_3_line_38 |  | 38 | 39 | 0.0082916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1510-13_0_3_trafo_36 | 0.63 MVA 20/0.4 kV | 40 | 23 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2668360.993 | 1203521.0561 | 2668384.4316 | 1203503.8018
1 | 2668389.9923 | 1203499.7083 | 2668384.4316 | 1203503.8018
2 | 2668360.993 | 1203521.0561 | 2668362.3556 | 1203508.3751 | 2668362.5009 | 1203507.1617
3 | 2668360.993 | 1203521.0561 | 2668360.2567 | 1203524.39
4 | 2668389.9923 | 1203499.7083 | 2668391.6403 | 1203487.3641 | 2668393.2884 | 1203480.3375
5 | 2668389.9923 | 1203499.7083 | 2668398.7184 | 1203493.8713 | 2668406.3957 | 1203503.1982
6 | 2668363.2236 | 1203501.1257 | 2668362.5009 | 1203507.1617
7 | 2668354.2841 | 1203551.4311 | 2668360.2567 | 1203524.39
8 | 2668406.3957 | 1203503.1982 | 2668401.7694 | 1203507.6675
9 | 2668406.3957 | 1203503.1982 | 2668416.4406 | 1203495.1592
10 | 2668363.2236 | 1203501.1257 | 2668367.0579 | 1203469.0985
11 | 2668354.2841 | 1203551.4311 | 2668367.2418 | 1203560.1179 | 2668373.1809 | 1203562.4206 | 2668379.8035 | 1203562.8522 | 2668386.9608 | 1203561.0998 | 2668393.5428 | 1203557.762 | 2668397.8739 | 1203553.6424
12 | 2668427.0647 | 1203456.4843 | 2668464.4302 | 1203466.7185 | 2668459.0501 | 1203482.0217
13 | 2668427.0647 | 1203456.4843 | 2668420.489 | 1203451.7945
14 | 2668459.3931 | 1203541.7063 | 2668432.408 | 1203520.0841 | 2668448.2367 | 1203504.0001 | 2668454.1475 | 1203494.1729 | 2668459.0501 | 1203482.0217
15 | 2668459.0501 | 1203482.0217 | 2668489.0978 | 1203491.7745
16 | 2668403.5693 | 1203439.7273 | 2668420.489 | 1203451.7945
17 | 2668397.5473 | 1203511.7465 | 2668401.7694 | 1203507.6675
18 | 2668416.4406 | 1203495.1592 | 2668430.5426 | 1203483.8734
19 | 2668367.0579 | 1203469.0985 | 2668367.1515 | 1203468.3168 | 2668367.881 | 1203462.2255
20 | 2668397.8739 | 1203553.6424 | 2668385.5631 | 1203532.3218
21 | 2668403.5693 | 1203439.7273 | 2668404.3997 | 1203436.5874
22 | 2668409.0335 | 1203419.0662 | 2668404.3997 | 1203436.5874
23 | 2668465.3727 | 1203528.5335 | 2668467.4619 | 1203530.1473 | 2668459.3931 | 1203541.7063
24 | 2668459.3931 | 1203541.7063 | 2668461.6208 | 1203543.1883 | 2668470.4297 | 1203549.3708 | 2668481.1925 | 1203557.021 | 2668486.2808 | 1203560.5259 | 2668526.9437 | 1203583.0614
25 | 2668501.5928 | 1203499.2013 | 2668495.5523 | 1203493.8695 | 2668489.0978 | 1203491.7745
26 | 2668409.0335 | 1203419.0662 | 2668373.3192 | 1203416.7672
27 | 2668373.3192 | 1203416.7672 | 2668372.2549 | 1203425.6699
28 | 2668373.3192 | 1203416.7672 | 2668375.3783 | 1203402.4153
29 | 2668377.1404 | 1203390.0725 | 2668370.1534 | 1203376.929 | 2668366.3593 | 1203372.0159 | 2668350.2129 | 1203370.812
30 | 2668375.9324 | 1203398.5416 | 2668377.1404 | 1203390.0725
31 | 2668375.3783 | 1203402.4153 | 2668375.9324 | 1203398.5416
32 | 2668375.3783 | 1203402.4153 | 2668388.3637 | 1203404.0538
33 | 2668369.425 | 1203449.3353 | 2668369.7007 | 1203447.033 | 2668372.2549 | 1203425.6699
34 | 2668526.9437 | 1203583.0614 | 2668549.127 | 1203549.9815
35 | 2668501.5928 | 1203499.2013 | 2668511.3638 | 1203507.8259
36 | 2668557.4418 | 1203537.5824 | 2668549.127 | 1203549.9815
37 | 2668369.425 | 1203449.3353 | 2668368.8671 | 1203453.9928
38 | 2668367.881 | 1203462.2255 | 2668368.8671 | 1203453.9928

## bus_geodata
| x | y | coords
0 | 2668384.4316 | 1203503.8018
1 | 2668360.993 | 1203521.0561
2 | 2668389.9923 | 1203499.7083
3 | 2668362.5009 | 1203507.1617
4 | 2668360.2567 | 1203524.39
5 | 2668393.2884 | 1203480.3375
6 | 2668406.3957 | 1203503.1982
7 | 2668363.2236 | 1203501.1257
8 | 2668354.2841 | 1203551.4311
9 | 2668427.0647 | 1203456.4843
10 | 2668459.0501 | 1203482.0217
11 | 2668420.489 | 1203451.7945
12 | 2668401.7694 | 1203507.6675
13 | 2668416.4406 | 1203495.1592
14 | 2668367.0579 | 1203469.0985
15 | 2668397.8739 | 1203553.6424
16 | 2668403.5693 | 1203439.7273
17 | 2668404.3997 | 1203436.5874
18 | 2668459.3931 | 1203541.7063
19 | 2668489.0978 | 1203491.7745
20 | 2668409.0335 | 1203419.0662
21 | 2668373.3192 | 1203416.7672
22 | 2668397.5473 | 1203511.7465
23 | 2668430.5426 | 1203483.8734
24 | 2668350.2129 | 1203370.812
25 | 2668377.1404 | 1203390.0725
26 | 2668375.9324 | 1203398.5416
27 | 2668375.3783 | 1203402.4153
28 | 2668388.3637 | 1203404.0538
29 | 2668372.2549 | 1203425.6699
30 | 2668465.3727 | 1203528.5335
31 | 2668526.9437 | 1203583.0614
32 | 2668385.5632 | 1203532.3219
33 | 2668501.5928 | 1203499.2013
34 | 2668557.4418 | 1203537.5824
35 | 2668549.127 | 1203549.9815
36 | 2668511.3638 | 1203507.8259
37 | 2668369.425 | 1203449.3353
38 | 2668368.8671 | 1203453.9928
39 | 2668367.881 | 1203462.2255
40 | 2668435.171 | 1203480.1693

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99408 | -0.11198 | 0.002617 | 0.00065587
1 | 0.9915 | -0.16108 | 0 | 0
2 | 0.9947 | -0.10026 | 0 | 0
3 | 0.99033 | -0.18344 | 0.0045261 | 0.0011344
4 | 0.99145 | -0.16204 | 0.011157 | 0.0027963
5 | 0.99464 | -0.10139 | 0.0032535 | 0.0008154
6 | 0.99674 | -0.061614 | 0 | 0
7 | 0.98983 | -0.19302 | 0.0058156 | 0.0014575
8 | 0.99133 | -0.16433 | 0 | 0
9 | 0.97809 | -0.42008 | 0 | 0
10 | 0.97488 | -0.48294 | 0 | 0
11 | 0.9784 | -0.41395 | 0.068802 | 0.017243
12 | 0.99666 | -0.063154 | 0.010502 | 0.0026321
13 | 0.99795 | -0.03864 | 0.061735 | 0.015472
14 | 0.98723 | -0.24289 | 0.0042427 | 0.0010633
15 | 0.99112 | -0.1684 | 0 | 0
16 | 0.97966 | -0.38952 | 0 | 0
17 | 0.97985 | -0.38571 | 0.003248 | 0.00081402
18 | 0.97223 | -0.53514 | 0 | 0
19 | 0.97222 | -0.53544 | 0.028765 | 0.0072092
20 | 0.98096 | -0.36411 | 0 | 0
21 | 0.98314 | -0.32172 | 0 | 0
22 | 0.99664 | -0.063477 | 0.00314 | 0.00078696
23 | 1 | 0 | -0.37528 | -0.09604
24 | 0.98127 | -0.35838 | 0.028009 | 0.0070198
25 | 0.98224 | -0.33949 | 0 | 0
26 | 0.98246 | -0.33516 | 0 | 0
27 | 0.98256 | -0.33318 | 0 | 0
28 | 0.98237 | -0.3369 | 0.01579 | 0.0039574
29 | 0.98381 | -0.30874 | 0.0089347 | 0.0022392
30 | 0.97183 | -0.54318 | 0.026053 | 0.0065294
31 | 0.97159 | -0.54786 | 0 | 0
32 | 0.99102 | -0.17044 | 0.0046576 | 0.0011673
33 | 0.97136 | -0.55232 | 0.049447 | 0.012393
34 | 0.97121 | -0.55543 | 0.0043025 | 0.0010783
35 | 0.97127 | -0.55424 | 0.004381 | 0.001098
36 | 0.97121 | -0.55524 | 0.012161 | 0.0030479
37 | 0.98566 | -0.27306 | 0.0021687 | 0.00054352
38 | 0.98603 | -0.26599 | 0.0011147 | 0.00027937
39 | 0.98668 | -0.25345 | 0.0025957 | 0.00065055
40 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.29061 | 0.074545 | -0.28992 | -0.074105 | 0.00069037 | 0.00044071 | 0.43562 | 0.43562 | 0.43562 | 0.99408 | -0.11198 | 0.9915 | -0.16108 | 39.8918
1 | -0.29323 | -0.075201 | 0.29339 | 0.075308 | 0.00016675 | 0.00010645 | 0.43954 | 0.43954 | 0.43954 | 0.99408 | -0.11198 | 0.9947 | -0.10026 | 40.2505
2 | 0.2741 | 0.070141 | -0.2738 | -0.069952 | 0.00029637 | 0.00018914 | 0.41188 | 0.41188 | 0.41188 | 0.9915 | -0.16108 | 0.99033 | -0.18344 | 37.718
3 | 0.015818 | 0.0039639 | -0.015817 | -0.0039635 | 7.215e-07 | 4.1773e-07 | 0.023739 | 0.023739 | 0.023739 | 0.9915 | -0.16108 | 0.99145 | -0.16204 | 6.5216
4 | 0.0032537 | 0.00081526 | -0.0032535 | -0.0008154 | 1.7476e-07 | -1.4348e-07 | 0.0048673 | 0.0048674 | 0.0048674 | 0.9947 | -0.10026 | 0.99464 | -0.10139 | 1.3372
5 | -0.29665 | -0.076123 | 0.2972 | 0.076479 | 0.00055739 | 0.00035585 | 0.4444 | 0.4444 | 0.4444 | 0.9947 | -0.10026 | 0.99674 | -0.061614 | 40.6962
6 | 0.26928 | 0.068817 | -0.26915 | -0.068738 | 0.00012469 | 7.9568e-05 | 0.40508 | 0.40508 | 0.40508 | 0.99033 | -0.18344 | 0.98983 | -0.19302 | 37.0953
7 | 0.0046594 | 0.0011672 | -0.0046589 | -0.0011672 | 5.0783e-07 | -3.207e-08 | 0.0069929 | 0.006993 | 0.006993 | 0.99145 | -0.16204 | 0.99133 | -0.16433 | 1.9212
8 | 0.013643 | 0.0034196 | -0.013642 | -0.003419 | 1.0007e-06 | 5.5662e-07 | 0.020368 | 0.020368 | 0.020368 | 0.99674 | -0.061614 | 0.99666 | -0.063154 | 5.5956
9 | -0.31085 | -0.079898 | 0.31119 | 0.08012 | 0.00034739 | 0.00022183 | 0.46477 | 0.46477 | 0.46477 | 0.99674 | -0.061614 | 0.99795 | -0.03864 | 42.5614
10 | 0.26334 | 0.06728 | -0.26271 | -0.066876 | 0.00063336 | 0.00040411 | 0.39634 | 0.39634 | 0.39634 | 0.98983 | -0.19302 | 0.98723 | -0.24289 | 36.2947
11 | 0.0046589 | 0.0011672 | -0.004658 | -0.0011673 | 9.0471e-07 | -5.6891e-08 | 0.006993 | 0.0069932 | 0.0069932 | 0.99133 | -0.16433 | 0.99112 | -0.1684 | 1.9212
12 | 0.12587 | 0.031838 | -0.12549 | -0.031597 | 0.00037832 | 0.00024075 | 0.1916 | 0.1916 | 0.1916 | 0.97809 | -0.42008 | 0.97488 | -0.48294 | 26.3185
13 | -0.12587 | -0.031838 | 0.12591 | 0.031861 | 3.7062e-05 | 2.3416e-05 | 0.1916 | 0.1916 | 0.1916 | 0.97809 | -0.42008 | 0.9784 | -0.41395 | 17.5456
14 | 0.034841 | 0.0087699 | -0.034754 | -0.0087155 | 8.6709e-05 | 5.4478e-05 | 0.053194 | 0.053194 | 0.053194 | 0.97488 | -0.48294 | 0.97223 | -0.53514 | 14.6138
15 | 0.090651 | 0.022827 | -0.090424 | -0.022682 | 0.00022693 | 0.00014484 | 0.13841 | 0.13841 | 0.13841 | 0.97488 | -0.48294 | 0.97222 | -0.53544 | 38.0234
16 | -0.19471 | -0.049105 | 0.19494 | 0.04925 | 0.00022797 | 0.00014512 | 0.29624 | 0.29624 | 0.29624 | 0.9784 | -0.41395 | 0.97966 | -0.38952 | 27.1279
17 | 0.0031401 | 0.00078692 | -0.00314 | -0.00078696 | 4.8386e-08 | -4.5537e-08 | 0.0046881 | 0.0046882 | 0.0046882 | 0.99666 | -0.063154 | 0.99664 | -0.063477 | 1.288
18 | -0.37293 | -0.095592 | 0.37363 | 0.09604 | 0.00070001 | 0.0004473 | 0.55682 | 0.55682 | 0.55682 | 0.99795 | -0.03864 | 1 | 0 | 50.9908
19 | 0.25846 | 0.065813 | -0.25833 | -0.065729 | 0.00013157 | 8.3938e-05 | 0.38994 | 0.38994 | 0.38994 | 0.98723 | -0.24289 | 0.98668 | -0.25345 | 35.7091
20 | 0.004658 | 0.0011673 | -0.0046576 | -0.0011673 | 4.5125e-07 | -2.826e-08 | 0.0069932 | 0.0069933 | 0.0069933 | 0.99112 | -0.1684 | 0.99102 | -0.17044 | 1.9212
21 | -0.19494 | -0.04925 | 0.19497 | 0.049272 | 3.5627e-05 | 2.2679e-05 | 0.29624 | 0.29624 | 0.29624 | 0.97966 | -0.38952 | 0.97985 | -0.38571 | 27.1279
22 | -0.19822 | -0.050086 | 0.19843 | 0.050217 | 0.00020548 | 0.00013082 | 0.30117 | 0.30117 | 0.30117 | 0.97985 | -0.38571 | 0.98096 | -0.36411 | 27.5796
23 | 0.026063 | 0.0065356 | -0.026053 | -0.0065294 | 9.9779e-06 | 6.1786e-06 | 0.039891 | 0.039891 | 0.039891 | 0.97223 | -0.53514 | 0.97183 | -0.54318 | 10.959
24 | 0.0086916 | 0.0021798 | -0.0086864 | -0.0021775 | 5.2637e-06 | 2.3859e-06 | 0.013303 | 0.013304 | 0.013304 | 0.97223 | -0.53514 | 0.97159 | -0.54786 | 3.6548
25 | 0.061659 | 0.015473 | -0.06161 | -0.015441 | 4.958e-05 | 3.1547e-05 | 0.094379 | 0.094379 | 0.094379 | 0.97222 | -0.53544 | 0.97136 | -0.55232 | 25.9284
26 | -0.19843 | -0.050217 | 0.19883 | 0.050475 | 0.00040458 | 0.00025758 | 0.30117 | 0.30117 | 0.30117 | 0.98096 | -0.36411 | 0.98314 | -0.32172 | 27.5795
27 | -0.24269 | -0.06149 | 0.24284 | 0.061586 | 0.00015142 | 9.6564e-05 | 0.36756 | 0.36756 | 0.36756 | 0.98314 | -0.32172 | 0.98381 | -0.30874 | 33.6593
28 | 0.04386 | 0.011015 | -0.043836 | -0.011 | 2.3969e-05 | 1.5157e-05 | 0.066392 | 0.066392 | 0.066392 | 0.98314 | -0.32172 | 0.98256 | -0.33318 | 18.2395
29 | -0.028009 | -0.0070198 | 0.028035 | 0.0070355 | 2.5223e-05 | 1.5671e-05 | 0.042474 | 0.042474 | 0.042474 | 0.98127 | -0.35838 | 0.98224 | -0.33949 | 11.6687
30 | -0.028035 | -0.0070355 | 0.02804 | 0.0070391 | 5.7882e-06 | 3.5961e-06 | 0.042474 | 0.042474 | 0.042474 | 0.98224 | -0.33949 | 0.98246 | -0.33516 | 11.6686
31 | -0.02804 | -0.0070391 | 0.028043 | 0.0070407 | 2.6479e-06 | 1.6451e-06 | 0.042474 | 0.042474 | 0.042474 | 0.98246 | -0.33516 | 0.98256 | -0.33318 | 11.6686
32 | 0.015793 | 0.0039591 | -0.01579 | -0.0039574 | 2.7998e-06 | 1.6266e-06 | 0.023918 | 0.023918 | 0.023918 | 0.98256 | -0.33318 | 0.98237 | -0.3369 | 6.5709
33 | -0.25178 | -0.063826 | 0.25221 | 0.064101 | 0.00043264 | 0.00027598 | 0.38107 | 0.38107 | 0.38107 | 0.98381 | -0.30874 | 0.98566 | -0.27306 | 34.8968
34 | 0.0086864 | 0.0021775 | -0.0086837 | -0.0021763 | 2.6435e-06 | 1.1987e-06 | 0.013304 | 0.013304 | 0.013304 | 0.97159 | -0.54786 | 0.97127 | -0.55424 | 3.6549
35 | 0.012163 | 0.0030488 | -0.012161 | -0.0030479 | 1.6967e-06 | 9.2461e-07 | 0.018633 | 0.018633 | 0.018633 | 0.97136 | -0.55232 | 0.97121 | -0.55524 | 5.1188
36 | -0.0043025 | -0.0010783 | 0.0043027 | 0.0010783 | 2.4327e-07 | -2.9061e-08 | 0.0065919 | 0.0065919 | 0.0065919 | 0.97121 | -0.55543 | 0.97127 | -0.55424 | 1.811
37 | -0.25438 | -0.064645 | 0.25447 | 0.0647 | 8.6615e-05 | 5.5254e-05 | 0.38435 | 0.38435 | 0.38435 | 0.98566 | -0.27306 | 0.98603 | -0.26599 | 35.1966
38 | -0.25558 | -0.06498 | 0.25574 | 0.065078 | 0.00015445 | 9.8531e-05 | 0.38603 | 0.38603 | 0.38603 | 0.98603 | -0.26599 | 0.98668 | -0.25345 | 35.3506

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.38621 | 0.09878

## res_load
| p_mw | q_mvar
0 | 0.002617 | 0.00065587
1 | 0.0045261 | 0.0011344
2 | 0.011157 | 0.0027963
3 | 0.0032535 | 0.0008154
4 | 0.0058156 | 0.0014575
5 | 0.068802 | 0.017243
6 | 0.010502 | 0.0026321
7 | 0.061735 | 0.015472
8 | 0.0042427 | 0.0010633
9 | 0.003248 | 0.00081402
10 | 0.028765 | 0.0072092
11 | 0.00314 | 0.00078696
12 | 0.010934 | 0.0027404
13 | 0.028009 | 0.0070198
14 | 0.01579 | 0.0039574
15 | 0.0089347 | 0.0022392
16 | 0.026053 | 0.0065294
17 | 0.0046576 | 0.0011673
18 | 0.049447 | 0.012393
19 | 0.0043025 | 0.0010783
20 | 0.004381 | 0.001098
21 | 0.012161 | 0.0030479
22 | 0.0021687 | 0.00054352
23 | 0.0011147 | 0.00027937
24 | 0.0025957 | 0.00065055

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1