## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1510-2_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1510-2_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1510-2_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1510-2_0_5_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_1510-2_0_5_node_11 | 0.4 | n |  | TRUE
5 | bus_LV_1510-2_0_5_node_10 | 0.4 | n |  | TRUE
6 | bus_LV_1510-2_0_5_node_3 | 0.4 | n |  | TRUE
7 | bus_LV_1510-2_0_5_node_9 | 0.4 | n |  | TRUE
8 | bus_LV_1510-2_0_5_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_1510-2_0_5_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_1510-2_0_5_node_24 | 0.4 | n |  | TRUE
11 | bus_LV_1510-2_0_5_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_1510-2_0_5_node_31 | 0.4 | n |  | TRUE
13 | bus_LV_1510-2_0_5_node_25 | 0.4 | n |  | TRUE
14 | bus_LV_1510-2_0_5_node_30 | 0.4 | n |  | TRUE
15 | bus_LV_1510-2_0_5_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_1510-2_0_5_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_1510-2_0_5_node_14 | 0.4 | n |  | TRUE
18 | bus_LV_1510-2_0_5_node_15 | 0.4 | n |  | TRUE
19 | bus_LV_1510-2_0_5_node_23 | 0.4 | n |  | TRUE
20 | bus_LV_1510-2_0_5_node_20 | 0.4 | n |  | TRUE
21 | bus_LV_1510-2_0_5_node_63 | 0.4 | n |  | TRUE
22 | bus_LV_1510-2_0_5_node_62 | 0.4 | n |  | TRUE
23 | bus_LV_1510-2_0_5_node_21 | 0.4 | n |  | TRUE
24 | bus_LV_1510-2_0_5_node_67 | 0.4 | n |  | TRUE
25 | bus_LV_1510-2_0_5_node_64 | 0.4 | n |  | TRUE
26 | bus_LV_1510-2_0_5_node_54 | 0.4 | n |  | TRUE
27 | bus_LV_1510-2_0_5_node_16 | 0.4 | n |  | TRUE
28 | bus_LV_1510-2_0_5_node_17 | 0.4 | n |  | TRUE
29 | bus_LV_1510-2_0_5_node_18 | 0.4 | n |  | TRUE
30 | bus_LV_1510-2_0_5_node_19 | 0.4 | n |  | TRUE
31 | bus_LV_1510-2_0_5_node_74 | 0.4 | n |  | TRUE
32 | bus_LV_1510-2_0_5_node_22 | 0.4 | n |  | TRUE
33 | bus_LV_1510-2_0_5_node_29 | 0.4 | n |  | TRUE
34 | bus_LV_1510-2_0_5_node_26 | 0.4 | n |  | TRUE
35 | bus_LV_1510-2_0_5_node_27 | 0.4 | n |  | TRUE
36 | bus_LV_1510-2_0_5_node_28 | 0.4 | n |  | TRUE
37 | bus_LV_1510-2_0_5_node_75 | 0.4 | n |  | TRUE
38 | bus_LV_1510-2_0_5_node_32 | 0.4 | n |  | TRUE
39 | bus_LV_1510-2_0_5_node_33 | 0.4 | n |  | TRUE
40 | bus_LV_1510-2_0_5_node_34 | 0.4 | n |  | TRUE
41 | bus_LV_1510-2_0_5_node_48 | 0.4 | n |  | TRUE
42 | bus_LV_1510-2_0_5_node_41 | 0.4 | n |  | TRUE
43 | bus_LV_1510-2_0_5_node_51 | 0.4 | n |  | TRUE
44 | bus_LV_1510-2_0_5_node_47 | 0.4 | n |  | TRUE
45 | bus_LV_1510-2_0_5_node_44 | 0.4 | n |  | TRUE
46 | bus_LV_1510-2_0_5_node_40 | 0.4 | n |  | TRUE
47 | bus_LV_1510-2_0_5_node_35 | 0.4 | n |  | TRUE
48 | bus_LV_1510-2_0_5_node_36 | 0.4 | n |  | TRUE
49 | bus_LV_1510-2_0_5_node_37 | 0.4 | n |  | TRUE
50 | bus_LV_1510-2_0_5_node_38 | 0.4 | n |  | TRUE
51 | bus_LV_1510-2_0_5_node_39 | 0.4 | n |  | TRUE
52 | bus_LV_1510-2_0_5_node_55 | 0.4 | n |  | TRUE
53 | bus_LV_1510-2_0_5_node_68 | 0.4 | n |  | TRUE
54 | bus_LV_1510-2_0_5_node_69 | 0.4 | n |  | TRUE
55 | bus_LV_1510-2_0_5_node_66 | 0.4 | n |  | TRUE
56 | bus_LV_1510-2_0_5_node_52 | 0.4 | n |  | TRUE
57 | bus_LV_1510-2_0_5_node_42 | 0.4 | n |  | TRUE
58 | bus_LV_1510-2_0_5_node_43 | 0.4 | n |  | TRUE
59 | bus_LV_1510-2_0_5_node_72 | 0.4 | n |  | TRUE
60 | bus_LV_1510-2_0_5_node_71 | 0.4 | n |  | TRUE
61 | bus_LV_1510-2_0_5_node_53 | 0.4 | n |  | TRUE
62 | bus_LV_1510-2_0_5_node_45 | 0.4 | n |  | TRUE
63 | bus_LV_1510-2_0_5_node_46 | 0.4 | n |  | TRUE
64 | bus_LV_1510-2_0_5_node_50 | 0.4 | n |  | TRUE
65 | bus_LV_1510-2_0_5_node_49 | 0.4 | n |  | TRUE
66 | bus_LV_1510-2_0_5_node_56 | 0.4 | n |  | TRUE
67 | bus_LV_1510-2_0_5_node_57 | 0.4 | n |  | TRUE
68 | bus_LV_1510-2_0_5_node_58 | 0.4 | n |  | TRUE
69 | bus_LV_1510-2_0_5_node_59 | 0.4 | n |  | TRUE
70 | bus_LV_1510-2_0_5_node_60 | 0.4 | n |  | TRUE
71 | bus_LV_1510-2_0_5_node_61 | 0.4 | n |  | TRUE
72 | bus_LV_1510-2_0_5_node_70 | 0.4 | n |  | TRUE
73 | bus_LV_1510-2_0_5_node_65 | 0.4 | n |  | TRUE
74 | bus_MV_143_0_node_152 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1510-2_0_5_load_0 | 0 | 0.0036297 | 0.00090969 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1510-2_0_5_load_11 | 4 | 0.0048703 | 0.0012206 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1510-2_0_5_load_10 | 5 | 0.0047346 | 0.0011866 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1510-2_0_5_load_9 | 7 | 0.0042668 | 0.0010694 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1510-2_0_5_load_7 | 8 | 0.003705 | 0.00092856 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1510-2_0_5_load_6 | 9 | 0.0029584 | 0.00074145 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1510-2_0_5_load_31 | 12 | 0.010419 | 0.0026111 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1510-2_0_5_load_12 | 15 | 0.012772 | 0.0032009 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1510-2_0_5_load_23 | 19 | 0.0042444 | 0.0010637 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1510-2_0_5_load_20 | 20 | 0.0045617 | 0.0011433 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1510-2_0_5_load_62 | 22 | 0.011906 | 0.002984 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1510-2_0_5_load_21 | 23 | 0.0030796 | 0.00077182 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1510-2_0_5_load_67 | 24 | 0.0033503 | 0.00083965 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1510-2_0_5_load_64 | 25 | 0.010844 | 0.0027177 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1510-2_0_5_load_16 | 27 | 0.0033594 | 0.00084194 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1510-2_0_5_load_17 | 28 | 0.004634 | 0.0011614 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1510-2_0_5_load_18 | 29 | 0.0023213 | 0.00058177 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1510-2_0_5_load_19 | 30 | 0.0037714 | 0.0009452 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1510-2_0_5_load_74 | 31 | 0.0036936 | 0.0009257 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1510-2_0_5_load_22 | 32 | 0.0042609 | 0.0010679 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1510-2_0_5_load_29 | 33 | 0.049105 | 0.012307 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1510-2_0_5_load_26 | 34 | 0.028516 | 0.0071468 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1510-2_0_5_load_27 | 35 | 0.03057 | 0.0076615 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1510-2_0_5_load_75 | 37 | 0.053033 | 0.013291 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1510-2_0_5_load_32 | 38 | 0.0084313 | 0.0021131 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1510-2_0_5_load_33 | 39 | 0.014528 | 0.003641 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1510-2_0_5_load_34 | 40 | 0.0064758 | 0.001623 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1510-2_0_5_load_47 | 44 | 0.003796 | 0.00095136 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1510-2_0_5_load_44 | 45 | 0.01227 | 0.0030751 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1510-2_0_5_load_40 | 46 | 0.050373 | 0.012625 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1510-2_0_5_load_35 | 47 | 0.0097606 | 0.0024462 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1510-2_0_5_load_36 | 48 | 0.010545 | 0.0026429 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1510-2_0_5_load_38 | 50 | 0.0034522 | 0.0008652 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1510-2_0_5_load_39 | 51 | 0.0026242 | 0.00065769 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1510-2_0_5_load_55 | 52 | 0.012355 | 0.0030963 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1510-2_0_5_load_69 | 54 | 0.009195 | 0.0023045 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1510-2_0_5_load_66 | 55 | 0.0093471 | 0.0023426 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1510-2_0_5_load_52 | 56 | 0.0059969 | 0.001503 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1510-2_0_5_load_42 | 57 | 0.0094137 | 0.0023593 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1510-2_0_5_load_72 | 59 | 0.0050337 | 0.0012616 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1510-2_0_5_load_71 | 60 | 0.0035621 | 0.00089274 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1510-2_0_5_load_53 | 61 | 0.00094479 | 0.00023679 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1510-2_0_5_load_45 | 62 | 0.003925 | 0.00098371 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1510-2_0_5_load_46 | 63 | 0.0061794 | 0.0015487 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1510-2_0_5_load_50 | 64 | 0.011142 | 0.0027924 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1510-2_0_5_load_49 | 65 | 0.011052 | 0.0027698 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1510-2_0_5_load_56 | 66 | 0.00094029 | 0.00023566 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1510-2_0_5_load_57 | 67 | 0.0082401 | 0.0020652 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1510-2_0_5_load_58 | 68 | 0.0031319 | 0.00078492 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1510-2_0_5_load_60 | 70 | 0.011818 | 0.0029619 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1510-2_0_5_load_70 | 72 | 0.0040504 | 0.0010151 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1510-2_0_5_load_65 | 73 | 0.0025471 | 0.00063837 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 21 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1510-2_0_5_line_0 |  | 0 | 1 | 0.021639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1510-2_0_5_line_1 |  | 1 | 2 | 0.031395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1510-2_0_5_line_2 |  | 1 | 3 | 0.028707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1510-2_0_5_line_3 |  | 2 | 4 | 0.021454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1510-2_0_5_line_4 |  | 2 | 5 | 0.03883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1510-2_0_5_line_5 |  | 3 | 8 | 0.024088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1510-2_0_5_line_6 |  | 3 | 9 | 0.022668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1510-2_0_5_line_7 |  | 6 | 7 | 0.024491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1510-2_0_5_line_8 |  | 6 | 8 | 0.00083372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1510-2_0_5_line_9 |  | 7 | 10 | 0.013893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1510-2_0_5_line_10 |  | 10 | 13 | 0.003148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_1510-2_0_5_line_11 |  | 10 | 11 | 0.007069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_1510-2_0_5_line_12 |  | 11 | 12 | 0.022491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_1510-2_0_5_line_13 |  | 12 | 14 | 0.0081574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_1510-2_0_5_line_14 |  | 13 | 19 | 0.038745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_1510-2_0_5_line_15 |  | 14 | 33 | 0.0047489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_1510-2_0_5_line_16 |  | 15 | 16 | 0.032265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1510-2_0_5_line_17 |  | 16 | 17 | 0.013949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_1510-2_0_5_line_18 |  | 16 | 18 | 0.024248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_1510-2_0_5_line_19 |  | 17 | 19 | 0.037044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_1510-2_0_5_line_20 |  | 17 | 20 | 0.015571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1510-2_0_5_line_21 |  | 18 | 21 | 0.059082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_1510-2_0_5_line_22 |  | 18 | 22 | 0.02679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
23 | LV_1510-2_0_5_line_23 |  | 20 | 23 | 0.031554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1510-2_0_5_line_24 |  | 21 | 24 | 0.043488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1510-2_0_5_line_25 |  | 21 | 25 | 0.0090868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1510-2_0_5_line_26 |  | 22 | 26 | 0.005477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1510-2_0_5_line_27 |  | 23 | 32 | 0.029819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1510-2_0_5_line_28 |  | 25 | 73 | 0.026826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1510-2_0_5_line_29 |  | 26 | 43 | 0.039232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1510-2_0_5_line_30 |  | 27 | 28 | 0.019229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1510-2_0_5_line_31 |  | 27 | 29 | 0.0079647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1510-2_0_5_line_32 |  | 28 | 30 | 0.025882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1510-2_0_5_line_33 |  | 28 | 31 | 0.060245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1510-2_0_5_line_34 |  | 30 | 32 | 0.023375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1510-2_0_5_line_35 |  | 33 | 35 | 0.028082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1510-2_0_5_line_36 |  | 34 | 35 | 0.0077141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1510-2_0_5_line_37 |  | 34 | 36 | 0.041169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1510-2_0_5_line_38 |  | 36 | 37 | 0.079536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1510-2_0_5_line_39 |  | 38 | 39 | 0.00072755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1510-2_0_5_line_40 |  | 39 | 40 | 0.052104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1510-2_0_5_line_41 |  | 40 | 41 | 0.026899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1510-2_0_5_line_42 |  | 40 | 42 | 0.029427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1510-2_0_5_line_43 |  | 41 | 43 | 0.03796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1510-2_0_5_line_44 |  | 41 | 44 | 0.023887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1510-2_0_5_line_45 |  | 42 | 45 | 0.022394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1510-2_0_5_line_46 |  | 42 | 46 | 0.033458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1510-2_0_5_line_47 |  | 43 | 64 | 0.023802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1510-2_0_5_line_48 |  | 44 | 63 | 0.034849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1510-2_0_5_line_49 |  | 45 | 56 | 0.034224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1510-2_0_5_line_50 |  | 47 | 48 | 0.019463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1510-2_0_5_line_51 |  | 47 | 49 | 0.028622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1510-2_0_5_line_52 |  | 48 | 50 | 0.012113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1510-2_0_5_line_53 |  | 49 | 51 | 0.039504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1510-2_0_5_line_54 |  | 50 | 52 | 0.00332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1510-2_0_5_line_55 |  | 51 | 53 | 0.017495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1510-2_0_5_line_56 |  | 52 | 54 | 0.010434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1510-2_0_5_line_57 |  | 53 | 55 | 0.0059007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1510-2_0_5_line_58 |  | 54 | 58 | 0.007836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1510-2_0_5_line_59 |  | 55 | 73 | 0.0076609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_1510-2_0_5_line_60 |  | 56 | 61 | 0.0060194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_1510-2_0_5_line_61 |  | 57 | 58 | 0.069304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_1510-2_0_5_line_62 |  | 58 | 59 | 0.016757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_1510-2_0_5_line_63 |  | 59 | 60 | 0.017451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_1510-2_0_5_line_64 |  | 60 | 71 | 0.011904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_1510-2_0_5_line_65 |  | 61 | 66 | 0.009339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_1510-2_0_5_line_66 |  | 62 | 63 | 0.010004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_1510-2_0_5_line_67 |  | 64 | 65 | 0.035803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_1510-2_0_5_line_68 |  | 67 | 68 | 0.012577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_1510-2_0_5_line_69 |  | 67 | 69 | 0.013304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_1510-2_0_5_line_70 |  | 69 | 70 | 0.010433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_1510-2_0_5_line_71 |  | 69 | 71 | 0.010678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_1510-2_0_5_line_72 |  | 71 | 72 | 0.014764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1510-2_0_5_trafo_63 | 0.63 MVA 20/0.4 kV | 74 | 21 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2668518.4251 | 1202391.5523 | 2668539.9468 | 1202393.803
1 | 2668518.4251 | 1202391.5523 | 2668522.3442 | 1202362.3907 | 2668522.6102 | 1202360.437
2 | 2668514.5978 | 1202420.0034 | 2668514.7391 | 1202418.9711 | 2668518.2006 | 1202393.2063 | 2668518.4251 | 1202391.5523
3 | 2668522.6102 | 1202360.437 | 2668543.9343 | 1202362.7955
4 | 2668522.6102 | 1202360.437 | 2668527.7898 | 1202321.954
5 | 2668514.5978 | 1202420.0034 | 2668511.3816 | 1202443.8762
6 | 2668514.5978 | 1202420.0034 | 2668537.1542 | 1202422.2466
7 | 2668511.2703 | 1202444.7025 | 2668508.0055 | 1202468.9752
8 | 2668511.3816 | 1202443.8762 | 2668511.2703 | 1202444.7025
9 | 2668506.1535 | 1202482.7446 | 2668508.0055 | 1202468.9752
10 | 2668505.7296 | 1202485.8639 | 2668506.1535 | 1202482.7446
11 | 2668499.0991 | 1202482.0411 | 2668506.1535 | 1202482.7446
12 | 2668499.0991 | 1202482.0411 | 2668496.1037 | 1202504.3314
13 | 2668502.8162 | 1202508.9667 | 2668496.1037 | 1202504.3314
14 | 2668505.7296 | 1202485.8639 | 2668544.2146 | 1202490.341
15 | 2668502.8162 | 1202508.9667 | 2668502.2208 | 1202513.6781
16 | 2668594.8616 | 1202496.5817 | 2668591.3557 | 1202512.9291 | 2668575.8702 | 1202511.5648
17 | 2668581.0103 | 1202494.6215 | 2668594.8616 | 1202496.5817
18 | 2668618.9399 | 1202499.9824 | 2668594.8616 | 1202496.5817
19 | 2668581.0103 | 1202494.6215 | 2668544.2146 | 1202490.341
20 | 2668581.0103 | 1202494.6215 | 2668582.4599 | 1202479.1182
21 | 2668618.9399 | 1202499.9824 | 2668610.6272 | 1202558.4668
22 | 2668618.9399 | 1202499.9824 | 2668645.5499 | 1202503.0851
23 | 2668585.3976 | 1202447.7008 | 2668582.4599 | 1202479.1182
24 | 2668610.6272 | 1202558.4668 | 2668567.5879 | 1202551.4241
25 | 2668610.6272 | 1202558.4668 | 2668609.3497 | 1202567.4633
26 | 2668650.9901 | 1202503.7194 | 2668645.5499 | 1202503.0851
27 | 2668585.3976 | 1202447.7008 | 2668588.1737 | 1202418.0118
28 | 2668609.3497 | 1202567.4633 | 2668605.5784 | 1202594.023
29 | 2668650.9901 | 1202503.7194 | 2668690.1042 | 1202507.9826
30 | 2668592.7595 | 1202368.9683 | 2668594.5497 | 1202349.8231
31 | 2668595.2912 | 1202341.8929 | 2668594.5497 | 1202349.8231
32 | 2668592.7595 | 1202368.9683 | 2668590.3499 | 1202394.738
33 | 2668592.7595 | 1202368.9683 | 2668652.9863 | 1202370.4394
34 | 2668588.1737 | 1202418.0118 | 2668590.3499 | 1202394.738
35 | 2668502.2208 | 1202513.6781 | 2668500.0791 | 1202530.6262 | 2668498.4824 | 1202541.5088
36 | 2668497.3625 | 1202549.1411 | 2668498.4824 | 1202541.5088
37 | 2668491.386 | 1202589.8736 | 2668497.3625 | 1202549.1411
38 | 2668491.386 | 1202589.8736 | 2668418.3025 | 1202621.2554
39 | 2668761.1231 | 1202463.2694 | 2668761.0346 | 1202463.9915
40 | 2668754.6885 | 1202515.7077 | 2668759.1731 | 1202479.1705 | 2668761.0346 | 1202463.9915
41 | 2668754.6885 | 1202515.7077 | 2668727.8814 | 1202512.6864
42 | 2668783.9606 | 1202519.458 | 2668782.9497 | 1202519.3463 | 2668754.6885 | 1202515.7077
43 | 2668690.1042 | 1202507.9826 | 2668727.8814 | 1202512.6864
44 | 2668727.8814 | 1202512.6864 | 2668724.4419 | 1202536.3245
45 | 2668783.9606 | 1202519.458 | 2668795.6852 | 1202500.379
46 | 2668783.9606 | 1202519.458 | 2668787.5202 | 1202520.2994 | 2668795.9533 | 1202524.8548 | 2668798.8953 | 1202529.7583 | 2668790.9228 | 1202541.8661
47 | 2668690.1042 | 1202507.9826 | 2668687.0951 | 1202531.5934
48 | 2668719.424 | 1202570.8104 | 2668724.4419 | 1202536.3245
49 | 2668795.6852 | 1202500.379 | 2668813.6037 | 1202471.2208
50 | 2668624.0729 | 1202667.2463 | 2668643.4004 | 1202669.5347
51 | 2668595.6494 | 1202663.881 | 2668624.0729 | 1202667.2463
52 | 2668643.4004 | 1202669.5347 | 2668655.429 | 1202670.9589
53 | 2668595.6494 | 1202663.881 | 2668601.2095 | 1202624.7706
54 | 2668658.7259 | 1202671.3493 | 2668655.429 | 1202670.9589
55 | 2668603.6719 | 1202607.45 | 2668601.2095 | 1202624.7706
56 | 2668658.7259 | 1202671.3493 | 2668669.0874 | 1202672.5761
57 | 2668603.6719 | 1202607.45 | 2668604.5014 | 1202601.6079
58 | 2668676.869 | 1202673.4974 | 2668669.0874 | 1202672.5761
59 | 2668604.5014 | 1202601.6079 | 2668605.5784 | 1202594.023
60 | 2668813.6037 | 1202471.2208 | 2668816.7553 | 1202466.0924
61 | 2668676.869 | 1202673.4974 | 2668689.0896 | 1202674.9387 | 2668702.5465 | 1202676.083 | 2668726.4654 | 1202639.7575
62 | 2668676.869 | 1202673.4974 | 2668678.8138 | 1202656.8537
63 | 2668678.8138 | 1202656.8537 | 2668680.8391 | 1202639.5209
64 | 2668682.2206 | 1202627.6978 | 2668680.8391 | 1202639.5209
65 | 2668816.7553 | 1202466.0924 | 2668821.6449 | 1202458.1357
66 | 2668717.9836 | 1202580.7097 | 2668719.424 | 1202570.8104
67 | 2668682.5686 | 1202567.1095 | 2668687.0951 | 1202531.5934
68 | 2668696.7593 | 1202617.5032 | 2668696.7593 | 1202617.5032 | 2668697.9947 | 1202604.9869
69 | 2668683.4612 | 1202617.0946 | 2668696.7593 | 1202617.5032
70 | 2668683.4612 | 1202617.0946 | 2668684.6712 | 1202606.7321
71 | 2668682.2206 | 1202627.6978 | 2668683.4612 | 1202617.0946
72 | 2668682.2206 | 1202627.6978 | 2668667.5476 | 1202626.0627

## bus_geodata
| x | y | coords
0 | 2668539.9468 | 1202393.803
1 | 2668518.4251 | 1202391.5523
2 | 2668522.6102 | 1202360.437
3 | 2668514.5978 | 1202420.0034
4 | 2668543.9343 | 1202362.7955
5 | 2668527.7898 | 1202321.954
6 | 2668511.2703 | 1202444.7025
7 | 2668508.0055 | 1202468.9752
8 | 2668511.3816 | 1202443.8762
9 | 2668537.1542 | 1202422.2466
10 | 2668506.1535 | 1202482.7446
11 | 2668499.0991 | 1202482.0411
12 | 2668496.1037 | 1202504.3314
13 | 2668505.7296 | 1202485.8639
14 | 2668502.8162 | 1202508.9667
15 | 2668575.8702 | 1202511.5648
16 | 2668594.8616 | 1202496.5817
17 | 2668581.0103 | 1202494.6215
18 | 2668618.9399 | 1202499.9824
19 | 2668544.2146 | 1202490.341
20 | 2668582.4599 | 1202479.1182
21 | 2668610.6272 | 1202558.4668
22 | 2668645.5499 | 1202503.0851
23 | 2668585.3976 | 1202447.7008
24 | 2668567.5879 | 1202551.4241
25 | 2668609.3497 | 1202567.4633
26 | 2668650.9901 | 1202503.7194
27 | 2668594.5497 | 1202349.8231
28 | 2668592.7595 | 1202368.9683
29 | 2668595.2912 | 1202341.8929
30 | 2668590.3499 | 1202394.738
31 | 2668652.9864 | 1202370.4394
32 | 2668588.1737 | 1202418.0118
33 | 2668502.2208 | 1202513.6781
34 | 2668497.3625 | 1202549.1411
35 | 2668498.4824 | 1202541.5088
36 | 2668491.386 | 1202589.8736
37 | 2668418.3025 | 1202621.2554
38 | 2668761.1231 | 1202463.2694
39 | 2668761.0346 | 1202463.9915
40 | 2668754.6885 | 1202515.7077
41 | 2668727.8814 | 1202512.6864
42 | 2668783.9606 | 1202519.458
43 | 2668690.1042 | 1202507.9826
44 | 2668724.4419 | 1202536.3245
45 | 2668795.6852 | 1202500.379
46 | 2668790.9228 | 1202541.8661
47 | 2668624.0729 | 1202667.2463
48 | 2668643.4004 | 1202669.5347
49 | 2668595.6493 | 1202663.881
50 | 2668655.429 | 1202670.9589
51 | 2668601.2095 | 1202624.7706
52 | 2668658.7259 | 1202671.3493
53 | 2668603.6719 | 1202607.45
54 | 2668669.0874 | 1202672.5761
55 | 2668604.5014 | 1202601.6079
56 | 2668813.6037 | 1202471.2208
57 | 2668726.4654 | 1202639.7575
58 | 2668676.869 | 1202673.4974
59 | 2668678.8138 | 1202656.8537
60 | 2668680.8391 | 1202639.5209
61 | 2668816.7553 | 1202466.0924
62 | 2668717.9836 | 1202580.7097
63 | 2668719.424 | 1202570.8104
64 | 2668687.0951 | 1202531.5934
65 | 2668682.5686 | 1202567.1095
66 | 2668821.6449 | 1202458.1357
67 | 2668696.7593 | 1202617.5032
68 | 2668697.9947 | 1202604.9869
69 | 2668683.4612 | 1202617.0946
70 | 2668684.6712 | 1202606.7321
71 | 2668682.2206 | 1202627.6978
72 | 2668667.5476 | 1202626.0627
73 | 2668605.5784 | 1202594.023
74 | 2668567.5879 | 1202551.4241

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9837 | -0.31208 | 0.0036297 | 0.00090969
1 | 0.98377 | -0.31066 | 0 | 0
2 | 0.98349 | -0.3161 | 0 | 0
3 | 0.98412 | -0.30382 | 0 | 0
4 | 0.9834 | -0.31798 | 0.0048703 | 0.0012206
5 | 0.98332 | -0.31941 | 0.0047346 | 0.0011866
6 | 0.9845 | -0.2965 | 0 | 0
7 | 0.98495 | -0.28774 | 0.0042668 | 0.0010694
8 | 0.98448 | -0.2968 | 0.003705 | 0.00092856
9 | 0.98406 | -0.30503 | 0.0029584 | 0.00074145
10 | 0.98526 | -0.28171 | 0 | 0
11 | 0.98488 | -0.28898 | 0 | 0
12 | 0.98369 | -0.31213 | 0.010419 | 0.0026111
13 | 0.98545 | -0.27802 | 0 | 0
14 | 0.98328 | -0.32003 | 0 | 0
15 | 0.99069 | -0.17705 | 0.012772 | 0.0032009
16 | 0.99106 | -0.16973 | 0 | 0
17 | 0.99008 | -0.18871 | 0 | 0
18 | 0.99288 | -0.13501 | 0 | 0
19 | 0.98779 | -0.23274 | 0.0042444 | 0.0010637
20 | 0.98965 | -0.19693 | 0.0045617 | 0.0011433
21 | 1 | 0 | -0.51983 | -0.13313
22 | 0.99104 | -0.17012 | 0.011906 | 0.002984
23 | 0.98892 | -0.21105 | 0.0030796 | 0.00077182
24 | 0.99987 | -0.0025403 | 0.0033503 | 0.00083965
25 | 0.99903 | -0.018379 | 0.010844 | 0.0027177
26 | 0.99035 | -0.18335 | 0 | 0
27 | 0.98751 | -0.23863 | 0.0033594 | 0.00084194
28 | 0.98761 | -0.23667 | 0.004634 | 0.0011614
29 | 0.98749 | -0.23896 | 0.0023213 | 0.00058177
30 | 0.98794 | -0.23019 | 0.0037714 | 0.0009452
31 | 0.9874 | -0.24065 | 0.0036936 | 0.0009257
32 | 0.98832 | -0.22277 | 0.0042609 | 0.0010679
33 | 0.98293 | -0.32693 | 0.049105 | 0.012307
34 | 0.97942 | -0.39532 | 0.028516 | 0.0071468
35 | 0.98 | -0.3839 | 0.03057 | 0.0076615
36 | 0.97738 | -0.43508 | 0 | 0
37 | 0.97346 | -0.51235 | 0.053033 | 0.013291
38 | 0.97777 | -0.42728 | 0.0084313 | 0.0021131
39 | 0.97778 | -0.42717 | 0.014528 | 0.003641
40 | 0.97889 | -0.40539 | 0.0064758 | 0.001623
41 | 0.98138 | -0.3566 | 0 | 0
42 | 0.97696 | -0.44321 | 0 | 0
43 | 0.9854 | -0.27869 | 0 | 0
44 | 0.98108 | -0.36261 | 0.003796 | 0.00095136
45 | 0.97654 | -0.45146 | 0.01227 | 0.0030751
46 | 0.97539 | -0.47404 | 0.050373 | 0.012625
47 | 0.98802 | -0.22947 | 0.0097606 | 0.0024462
48 | 0.98658 | -0.25759 | 0.010545 | 0.0026429
49 | 0.99041 | -0.1833 | 0 | 0
50 | 0.98579 | -0.27284 | 0.0034522 | 0.0008652
51 | 0.99371 | -0.11994 | 0.0026242 | 0.00065769
52 | 0.98559 | -0.27682 | 0.012355 | 0.0030963
53 | 0.99521 | -0.091209 | 0 | 0
54 | 0.98506 | -0.28702 | 0.009195 | 0.0023045
55 | 0.99571 | -0.081537 | 0.0093471 | 0.0023426
56 | 0.97629 | -0.45639 | 0.0059969 | 0.001503
57 | 0.98414 | -0.30513 | 0.0094137 | 0.0023593
58 | 0.98474 | -0.29339 | 0 | 0
59 | 0.98418 | -0.3042 | 0.0050337 | 0.0012616
60 | 0.98369 | -0.31387 | 0.0035621 | 0.00089274
61 | 0.97628 | -0.4566 | 0.00094479 | 0.00023679
62 | 0.98071 | -0.3697 | 0.003925 | 0.00098371
63 | 0.98075 | -0.36899 | 0.0061794 | 0.0015487
64 | 0.98491 | -0.28818 | 0.011142 | 0.0027924
65 | 0.98455 | -0.29529 | 0.011052 | 0.0027698
66 | 0.97627 | -0.45676 | 0.00094029 | 0.00023566
67 | 0.98302 | -0.32691 | 0.0082401 | 0.0020652
68 | 0.98298 | -0.32762 | 0.0031319 | 0.00078492
69 | 0.98316 | -0.32418 | 0 | 0
70 | 0.98305 | -0.3264 | 0.011818 | 0.0029619
71 | 0.98339 | -0.31972 | 0 | 0
72 | 0.98333 | -0.32079 | 0.0040504 | 0.0010151
73 | 0.99644 | -0.067737 | 0.0025471 | 0.00063837
74 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0036297 | -0.00090969 | 0.00363 | 0.00090957 | 2.4462e-07 | -1.1817e-07 | 0.0054906 | 0.0054905 | 0.0054906 | 0.9837 | -0.31208 | 0.98377 | -0.31066 | 1.5084
1 | 0.0096085 | 0.0024084 | -0.0096061 | -0.0024072 | 2.4869e-06 | 1.1931e-06 | 0.014534 | 0.014534 | 0.014534 | 0.98377 | -0.31066 | 0.98349 | -0.3161 | 3.9928
2 | -0.013239 | -0.003318 | 0.013243 | 0.0033204 | 4.3165e-06 | 2.3979e-06 | 0.020024 | 0.020024 | 0.020024 | 0.98377 | -0.31066 | 0.98412 | -0.30382 | 5.5011
3 | 0.0048708 | 0.0012206 | -0.0048703 | -0.0012206 | 4.3693e-07 | 7.4108e-09 | 0.0073694 | 0.0073695 | 0.0073695 | 0.98349 | -0.3161 | 0.9834 | -0.31798 | 2.0246
4 | 0.0047353 | 0.0011866 | -0.0047346 | -0.0011866 | 7.4743e-07 | -1.4306e-08 | 0.0071644 | 0.0071646 | 0.0071646 | 0.98349 | -0.3161 | 0.98332 | -0.31941 | 1.9683
5 | -0.016201 | -0.0040616 | 0.016207 | 0.0040648 | 5.421e-06 | 3.1632e-06 | 0.024497 | 0.024497 | 0.024497 | 0.98412 | -0.30382 | 0.98448 | -0.2968 | 6.73
6 | 0.0029586 | 0.00074127 | -0.0029584 | -0.00074145 | 1.7011e-07 | -1.7913e-07 | 0.0044734 | 0.0044735 | 0.0044735 | 0.98412 | -0.30382 | 0.98406 | -0.30503 | 1.229
7 | -0.019912 | -0.0049935 | 0.01992 | 0.0049985 | 8.3195e-06 | 5.0129e-06 | 0.030097 | 0.030097 | 0.030097 | 0.9845 | -0.2965 | 0.98495 | -0.28774 | 8.2685
8 | 0.019912 | 0.0049935 | -0.019912 | -0.0049934 | 2.8321e-07 | 1.7065e-07 | 0.030097 | 0.030097 | 0.030097 | 0.9845 | -0.2965 | 0.98448 | -0.2968 | 8.2685
9 | -0.024187 | -0.0060679 | 0.024194 | 0.0060722 | 6.9575e-06 | 4.2759e-06 | 0.036543 | 0.036543 | 0.036543 | 0.98495 | -0.28774 | 0.98526 | -0.28171 | 10.0394
10 | -0.19685 | -0.049736 | 0.19689 | 0.049758 | 3.4814e-05 | 2.2161e-05 | 0.29745 | 0.29745 | 0.29745 | 0.98526 | -0.28171 | 0.98545 | -0.27802 | 27.2386
11 | 0.17266 | 0.043664 | -0.1726 | -0.043626 | 6.0148e-05 | 3.8225e-05 | 0.2609 | 0.2609 | 0.2609 | 0.98526 | -0.28171 | 0.98488 | -0.28898 | 23.8922
12 | 0.1726 | 0.043626 | -0.17241 | -0.043504 | 0.00019137 | 0.00012162 | 0.2609 | 0.2609 | 0.2609 | 0.98488 | -0.28898 | 0.98369 | -0.31213 | 23.8922
13 | 0.16199 | 0.040893 | -0.16193 | -0.040854 | 6.1277e-05 | 3.8907e-05 | 0.24514 | 0.24514 | 0.24514 | 0.98369 | -0.31213 | 0.98328 | -0.32003 | 22.449
14 | -0.19689 | -0.049758 | 0.19732 | 0.050031 | 0.00042848 | 0.00027275 | 0.29745 | 0.29744 | 0.29745 | 0.98545 | -0.27802 | 0.98779 | -0.23274 | 27.2386
15 | 0.16193 | 0.040854 | -0.16187 | -0.04082 | 5.3509e-05 | 3.4126e-05 | 0.24514 | 0.24514 | 0.24514 | 0.98328 | -0.32003 | 0.98293 | -0.32693 | 33.6735
16 | -0.012772 | -0.0032009 | 0.012776 | 0.0032033 | 4.4525e-06 | 2.434e-06 | 0.019183 | 0.019183 | 0.019183 | 0.99069 | -0.17705 | 0.99106 | -0.16973 | 5.2701
17 | 0.23193 | 0.058972 | -0.23172 | -0.058837 | 0.00021181 | 0.00013502 | 0.34853 | 0.34853 | 0.34853 | 0.99106 | -0.16973 | 0.99008 | -0.18871 | 31.917
18 | -0.24471 | -0.062175 | 0.24512 | 0.062437 | 0.00040984 | 0.00026136 | 0.36772 | 0.36772 | 0.36772 | 0.99106 | -0.16973 | 0.99288 | -0.13501 | 33.6736
19 | 0.20199 | 0.051367 | -0.20156 | -0.051095 | 0.00042748 | 0.00027216 | 0.30384 | 0.30384 | 0.30384 | 0.99008 | -0.18871 | 0.98779 | -0.23274 | 27.824
20 | 0.029735 | 0.00747 | -0.029723 | -0.0074628 | 1.1665e-05 | 7.2652e-06 | 0.044695 | 0.044695 | 0.044695 | 0.99008 | -0.18871 | 0.98965 | -0.19693 | 12.279
21 | -0.39497 | -0.10072 | 0.39756 | 0.10238 | 0.0025931 | 0.0016573 | 0.59256 | 0.59255 | 0.59256 | 0.99288 | -0.13501 | 1 | 0 | 54.2633
22 | 0.14985 | 0.038286 | -0.1496 | -0.038124 | 0.00025394 | 0.00016183 | 0.22484 | 0.22484 | 0.22484 | 0.99288 | -0.13501 | 0.99104 | -0.17012 | 30.8846
23 | 0.025161 | 0.0063195 | -0.025144 | -0.0063091 | 1.694e-05 | 1.0437e-05 | 0.037837 | 0.037837 | 0.037837 | 0.98965 | -0.19693 | 0.98892 | -0.21105 | 10.3947
24 | 0.0033507 | 0.00083934 | -0.0033503 | -0.00083965 | 4.0539e-07 | -3.1101e-07 | 0.0049857 | 0.0049859 | 0.0049859 | 1 | 0 | 0.99987 | -0.0025403 | 1.3698
25 | 0.11726 | 0.029908 | -0.11716 | -0.029841 | 0.00010397 | 6.642e-05 | 0.17467 | 0.17467 | 0.17467 | 1 | 0 | 0.99903 | -0.018379 | 47.9874
26 | 0.13769 | 0.03514 | -0.1376 | -0.035084 | 8.7975e-05 | 5.6234e-05 | 0.20696 | 0.20696 | 0.20696 | 0.99104 | -0.17012 | 0.99035 | -0.18335 | 56.8581
27 | 0.022065 | 0.0055372 | -0.022052 | -0.0055297 | 1.2327e-05 | 7.5072e-06 | 0.033203 | 0.033203 | 0.033203 | 0.98892 | -0.21105 | 0.98832 | -0.22277 | 9.1217
28 | 0.10632 | 0.027124 | -0.10606 | -0.026962 | 0.0002528 | 0.00016144 | 0.15852 | 0.15852 | 0.15852 | 0.99903 | -0.018379 | 0.99644 | -0.067737 | 43.5504
29 | 0.1376 | 0.035084 | -0.13697 | -0.034681 | 0.00063017 | 0.00040281 | 0.20696 | 0.20696 | 0.20696 | 0.99035 | -0.18335 | 0.9854 | -0.27869 | 56.8581
30 | -0.0056807 | -0.0014236 | 0.0056813 | 0.0014237 | 5.2834e-07 | 9.2111e-08 | 0.0085599 | 0.0085598 | 0.0085599 | 0.98751 | -0.23863 | 0.98761 | -0.23667 | 2.3516
31 | 0.0023213 | 0.00058169 | -0.0023213 | -0.00058177 | 3.6544e-08 | -7.8508e-08 | 0.0034979 | 0.0034979 | 0.0034979 | 0.98751 | -0.23863 | 0.98749 | -0.23896 | 0.96096
32 | -0.014009 | -0.0035105 | 0.014014 | 0.0035129 | 4.3243e-06 | 2.4362e-06 | 0.021108 | 0.021108 | 0.021108 | 0.98761 | -0.23667 | 0.98794 | -0.23019 | 5.7988
33 | 0.0036943 | 0.00092537 | -0.0036936 | -0.0009257 | 6.9992e-07 | -3.2279e-07 | 0.0055659 | 0.0055662 | 0.0055662 | 0.98761 | -0.23667 | 0.9874 | -0.24065 | 1.5292
34 | -0.017785 | -0.0044581 | 0.017791 | 0.0044618 | 6.2902e-06 | 3.7263e-06 | 0.026788 | 0.026788 | 0.026788 | 0.98794 | -0.23019 | 0.98832 | -0.22277 | 7.3593
35 | 0.11277 | 0.028513 | -0.11246 | -0.028317 | 0.00030723 | 0.00019627 | 0.17081 | 0.17081 | 0.17081 | 0.98293 | -0.32693 | 0.98 | -0.3839 | 46.9246
36 | -0.081847 | -0.020627 | 0.081891 | 0.020656 | 4.4759e-05 | 2.8549e-05 | 0.12439 | 0.12439 | 0.12439 | 0.97942 | -0.39532 | 0.98 | -0.3839 | 34.1729
37 | 0.053331 | 0.01348 | -0.053229 | -0.013416 | 0.00010145 | 6.4414e-05 | 0.081065 | 0.081066 | 0.081066 | 0.97942 | -0.39532 | 0.97738 | -0.43508 | 22.2708
38 | 0.053229 | 0.013416 | -0.053033 | -0.013291 | 0.00019601 | 0.00012445 | 0.081066 | 0.081066 | 0.081066 | 0.97738 | -0.43508 | 0.97346 | -0.51235 | 22.2709
39 | -0.0084313 | -0.0021131 | 0.0084313 | 0.0021131 | 4.4918e-08 | 1.9623e-08 | 0.012831 | 0.012831 | 0.012831 | 0.97777 | -0.42728 | 0.97778 | -0.42717 | 3.525
40 | -0.022959 | -0.0057541 | 0.022983 | 0.0057687 | 2.3853e-05 | 1.4612e-05 | 0.03494 | 0.03494 | 0.03494 | 0.97778 | -0.42717 | 0.97889 | -0.40539 | 9.5989
41 | -0.1002 | -0.025201 | 0.10043 | 0.02535 | 0.0002341 | 0.00014948 | 0.15234 | 0.15234 | 0.15234 | 0.97889 | -0.40539 | 0.98138 | -0.3566 | 41.8517
42 | 0.070736 | 0.017809 | -0.070609 | -0.017728 | 0.00012766 | 8.1332e-05 | 0.10756 | 0.10756 | 0.10756 | 0.97889 | -0.40539 | 0.97696 | -0.44321 | 29.5485
43 | -0.11434 | -0.028838 | 0.11477 | 0.029111 | 0.00042815 | 0.00027353 | 0.17343 | 0.17343 | 0.17343 | 0.98138 | -0.3566 | 0.9854 | -0.27869 | 47.6451
44 | 0.013908 | 0.0034875 | -0.013904 | -0.0034853 | 3.9835e-06 | 2.2477e-06 | 0.021088 | 0.021088 | 0.021088 | 0.98138 | -0.3566 | 0.98108 | -0.36261 | 5.7935
45 | 0.020162 | 0.0050559 | -0.020154 | -0.0050511 | 7.9196e-06 | 4.7883e-06 | 0.03071 | 0.03071 | 0.03071 | 0.97696 | -0.44321 | 0.97654 | -0.45146 | 8.4367
46 | 0.050447 | 0.012672 | -0.050373 | -0.012625 | 7.4094e-05 | 4.7002e-05 | 0.076847 | 0.076847 | 0.076847 | 0.97696 | -0.44321 | 0.97539 | -0.47404 | 21.1119
47 | 0.022207 | 0.0055702 | -0.022197 | -0.0055641 | 1.0038e-05 | 6.1215e-06 | 0.033536 | 0.033536 | 0.033536 | 0.9854 | -0.27869 | 0.98491 | -0.28818 | 9.2132
48 | 0.010108 | 0.0025339 | -0.010105 | -0.0025324 | 3.0715e-06 | 1.5259e-06 | 0.015331 | 0.015331 | 0.015331 | 0.98108 | -0.36261 | 0.98075 | -0.36899 | 4.2118
49 | 0.0078838 | 0.001976 | -0.007882 | -0.0019752 | 1.8522e-06 | 7.5733e-07 | 0.012013 | 0.012013 | 0.012013 | 0.97654 | -0.45146 | 0.97629 | -0.45639 | 3.3004
50 | 0.081064 | 0.020417 | -0.080955 | -0.020348 | 0.00010885 | 6.9414e-05 | 0.12212 | 0.12212 | 0.12212 | 0.98802 | -0.22947 | 0.98658 | -0.25759 | 33.5501
51 | -0.090824 | -0.022864 | 0.091025 | 0.022992 | 0.00020093 | 0.00012823 | 0.13682 | 0.13682 | 0.13682 | 0.98802 | -0.22947 | 0.99041 | -0.1833 | 37.5885
52 | 0.07041 | 0.017705 | -0.070358 | -0.017672 | 5.1246e-05 | 3.2643e-05 | 0.10622 | 0.10622 | 0.10622 | 0.98658 | -0.25759 | 0.98579 | -0.27284 | 29.1806
53 | -0.091025 | -0.022992 | 0.091303 | 0.023169 | 0.00027732 | 0.00017697 | 0.13682 | 0.13682 | 0.13682 | 0.99041 | -0.1833 | 0.99371 | -0.11994 | 37.5885
54 | 0.066906 | 0.016807 | -0.066893 | -0.016799 | 1.2702e-05 | 8.0867e-06 | 0.10101 | 0.10101 | 0.10101 | 0.98579 | -0.27284 | 0.98559 | -0.27682 | 27.749
55 | -0.093927 | -0.023827 | 0.094057 | 0.023909 | 0.00012997 | 8.2954e-05 | 0.14075 | 0.14075 | 0.14075 | 0.99371 | -0.11994 | 0.99521 | -0.091209 | 38.668
56 | 0.054539 | 0.013703 | -0.054512 | -0.013686 | 2.6536e-05 | 1.685e-05 | 0.082354 | 0.082354 | 0.082354 | 0.98559 | -0.27682 | 0.98506 | -0.28702 | 22.6246
57 | -0.094057 | -0.023909 | 0.094101 | 0.023937 | 4.3837e-05 | 2.7979e-05 | 0.14075 | 0.14075 | 0.14075 | 0.99521 | -0.091209 | 0.99571 | -0.081537 | 38.668
58 | 0.045317 | 0.011381 | -0.045304 | -0.011373 | 1.3774e-05 | 8.7154e-06 | 0.068464 | 0.068464 | 0.068464 | 0.98506 | -0.28702 | 0.98474 | -0.29339 | 18.8088
59 | -0.10345 | -0.02628 | 0.10352 | 0.026324 | 6.8771e-05 | 4.3914e-05 | 0.15472 | 0.15472 | 0.15472 | 0.99571 | -0.081537 | 0.99644 | -0.067737 | 42.5054
60 | 0.0018851 | 0.00047227 | -0.0018851 | -0.00047233 | 1.8634e-08 | -6.3343e-08 | 0.0028731 | 0.0028732 | 0.0028732 | 0.97629 | -0.45639 | 0.97628 | -0.4566 | 0.78933
61 | -0.0094137 | -0.0023593 | 0.009419 | 0.0023618 | 5.2651e-06 | 2.4886e-06 | 0.014234 | 0.014233 | 0.014234 | 0.98414 | -0.30513 | 0.98474 | -0.29339 | 3.9103
62 | 0.035885 | 0.0090109 | -0.035866 | -0.0089993 | 1.8481e-05 | 1.1614e-05 | 0.054231 | 0.054231 | 0.054231 | 0.98474 | -0.29339 | 0.98418 | -0.3042 | 14.8985
63 | 0.030832 | 0.0077378 | -0.030818 | -0.0077289 | 1.4223e-05 | 8.8811e-06 | 0.04662 | 0.04662 | 0.04662 | 0.98418 | -0.3042 | 0.98369 | -0.31387 | 12.8077
64 | 0.027256 | 0.0068361 | -0.027248 | -0.0068314 | 7.5888e-06 | 4.7058e-06 | 0.041232 | 0.041232 | 0.041232 | 0.98369 | -0.31387 | 0.98339 | -0.31972 | 11.3274
65 | 0.0009403 | 0.00023555 | -0.00094029 | -0.00023566 | 7.1931e-09 | -1.1217e-07 | 0.0014331 | 0.0014332 | 0.0014332 | 0.97628 | -0.4566 | 0.97627 | -0.45676 | 0.39373
66 | -0.003925 | -0.00098371 | 0.0039252 | 0.00098367 | 1.3305e-07 | -4.1081e-08 | 0.0059554 | 0.0059553 | 0.0059554 | 0.98071 | -0.3697 | 0.98075 | -0.36899 | 1.6361
67 | 0.011055 | 0.0027718 | -0.011052 | -0.0027698 | 3.7458e-06 | 1.9419e-06 | 0.016703 | 0.016703 | 0.016703 | 0.98491 | -0.28818 | 0.98455 | -0.29529 | 4.5888
68 | 0.003132 | 0.00078483 | -0.0031319 | -0.00078492 | 1.0601e-07 | -9.1595e-08 | 0.0047409 | 0.004741 | 0.004741 | 0.98302 | -0.32691 | 0.98298 | -0.32762 | 1.3025
69 | -0.011372 | -0.00285 | 0.011374 | 0.0028508 | 1.4784e-06 | 7.7748e-07 | 0.017214 | 0.017214 | 0.017214 | 0.98302 | -0.32691 | 0.98316 | -0.32418 | 4.7291
70 | 0.011819 | 0.0029626 | -0.011818 | -0.0029619 | 1.252e-06 | 6.6899e-07 | 0.017889 | 0.017889 | 0.017889 | 0.98316 | -0.32418 | 0.98305 | -0.3264 | 4.9145
71 | -0.023193 | -0.0058133 | 0.023198 | 0.0058164 | 4.9341e-06 | 3.0224e-06 | 0.035103 | 0.035103 | 0.035103 | 0.98316 | -0.32418 | 0.98339 | -0.31972 | 9.6436
72 | 0.0040506 | 0.0010151 | -0.0040504 | -0.0010151 | 2.0798e-07 | -5.4191e-08 | 0.0061291 | 0.0061291 | 0.0061291 | 0.98339 | -0.31972 | 0.98333 | -0.32079 | 1.6838

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.51983 | 0.13313

## res_load
| p_mw | q_mvar
0 | 0.0036297 | 0.00090969
1 | 0.0048703 | 0.0012206
2 | 0.0047346 | 0.0011866
3 | 0.0042668 | 0.0010694
4 | 0.003705 | 0.00092856
5 | 0.0029584 | 0.00074145
6 | 0.010419 | 0.0026111
7 | 0.012772 | 0.0032009
8 | 0.0042444 | 0.0010637
9 | 0.0045617 | 0.0011433
10 | 0.011906 | 0.002984
11 | 0.0030796 | 0.00077182
12 | 0.0033503 | 0.00083965
13 | 0.010844 | 0.0027177
14 | 0.0033594 | 0.00084194
15 | 0.004634 | 0.0011614
16 | 0.0023213 | 0.00058177
17 | 0.0037714 | 0.0009452
18 | 0.0036936 | 0.0009257
19 | 0.0042609 | 0.0010679
20 | 0.049105 | 0.012307
21 | 0.028516 | 0.0071468
22 | 0.03057 | 0.0076615
23 | 0.053033 | 0.013291
24 | 0.0084313 | 0.0021131
25 | 0.014528 | 0.003641
26 | 0.0064758 | 0.001623
27 | 0.003796 | 0.00095136
28 | 0.01227 | 0.0030751
29 | 0.050373 | 0.012625
30 | 0.0097606 | 0.0024462
31 | 0.010545 | 0.0026429
32 | 0.0034522 | 0.0008652
33 | 0.0026242 | 0.00065769
34 | 0.012355 | 0.0030963
35 | 0.009195 | 0.0023045
36 | 0.0093471 | 0.0023426
37 | 0.0059969 | 0.001503
38 | 0.0094137 | 0.0023593
39 | 0.0050337 | 0.0012616
40 | 0.0035621 | 0.00089274
41 | 0.00094479 | 0.00023679
42 | 0.003925 | 0.00098371
43 | 0.0061794 | 0.0015487
44 | 0.011142 | 0.0027924
45 | 0.011052 | 0.0027698
46 | 0.00094029 | 0.00023566
47 | 0.0082401 | 0.0020652
48 | 0.0031319 | 0.00078492
49 | 0.011818 | 0.0029619
50 | 0.0040504 | 0.0010151
51 | 0.0025471 | 0.00063837

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1