## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1510-5_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1510-5_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1510-5_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1510-5_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1510-5_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1510-5_0_5_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1510-5_0_5_node_28 | 0.4 | n |  | TRUE
7 | bus_LV_1510-5_0_5_node_30 | 0.4 | n |  | TRUE
8 | bus_LV_1510-5_0_5_node_32 | 0.4 | n |  | TRUE
9 | bus_LV_1510-5_0_5_node_29 | 0.4 | n |  | TRUE
10 | bus_LV_1510-5_0_5_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_1510-5_0_5_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_1510-5_0_5_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_1510-5_0_5_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_1510-5_0_5_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_1510-5_0_5_node_14 | 0.4 | n |  | TRUE
16 | bus_LV_1510-5_0_5_node_15 | 0.4 | n |  | TRUE
17 | bus_LV_1510-5_0_5_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_1510-5_0_5_node_23 | 0.4 | n |  | TRUE
19 | bus_LV_1510-5_0_5_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_1510-5_0_5_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_1510-5_0_5_node_24 | 0.4 | n |  | TRUE
22 | bus_LV_1510-5_0_5_node_31 | 0.4 | n |  | TRUE
23 | bus_LV_1510-5_0_5_node_22 | 0.4 | n |  | TRUE
24 | bus_LV_1510-5_0_5_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_1510-5_0_5_node_17 | 0.4 | n |  | TRUE
26 | bus_LV_1510-5_0_5_node_18 | 0.4 | n |  | TRUE
27 | bus_LV_1510-5_0_5_node_19 | 0.4 | n |  | TRUE
28 | bus_LV_1510-5_0_5_node_20 | 0.4 | n |  | TRUE
29 | bus_LV_1510-5_0_5_node_21 | 0.4 | n |  | TRUE
30 | bus_MV_143_0_node_99 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1510-5_0_5_load_0 | 0 | 0.0054069 | 0.0013551 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1510-5_0_5_load_1 | 1 | 0.00070494 | 0.00017668 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1510-5_0_5_load_3 | 3 | 0.012322 | 0.0030881 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1510-5_0_5_load_4 | 4 | 0.00033997 | 8.5205e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1510-5_0_5_load_5 | 5 | 0.0011713 | 0.00029356 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1510-5_0_5_load_28 | 6 | 0.0015835 | 0.00039687 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1510-5_0_5_load_29 | 9 | 0.0017549 | 0.00043981 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1510-5_0_5_load_6 | 10 | 0.098535 | 0.024695 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1510-5_0_5_load_7 | 11 | 0.020587 | 0.0051596 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1510-5_0_5_load_8 | 12 | 0.045213 | 0.011332 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1510-5_0_5_load_10 | 14 | 0.096291 | 0.024133 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1510-5_0_5_load_14 | 15 | 0.014717 | 0.0036884 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1510-5_0_5_load_15 | 16 | 0.011275 | 0.0028258 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1510-5_0_5_load_23 | 18 | 0.011698 | 0.0029318 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1510-5_0_5_load_13 | 20 | 0.020399 | 0.0051126 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1510-5_0_5_load_24 | 21 | 0.0070446 | 0.0017655 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1510-5_0_5_load_31 | 22 | 0.043026 | 0.010783 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1510-5_0_5_load_22 | 23 | 0.033716 | 0.0084502 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1510-5_0_5_load_16 | 24 | 0.051929 | 0.013015 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1510-5_0_5_load_17 | 25 | 0.0072498 | 0.001817 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1510-5_0_5_load_19 | 27 | 0.022938 | 0.0057488 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1510-5_0_5_load_20 | 28 | 0.0057187 | 0.0014332 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1510-5_0_5_load_21 | 29 | 0.0072528 | 0.0018177 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 12 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1510-5_0_5_line_0 |  | 0 | 1 | 0.022101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1510-5_0_5_line_1 |  | 0 | 2 | 0.050424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1510-5_0_5_line_2 |  | 1 | 3 | 0.049105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1510-5_0_5_line_3 |  | 2 | 4 | 0.011959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1510-5_0_5_line_4 |  | 2 | 5 | 0.023486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1510-5_0_5_line_5 |  | 5 | 6 | 0.0070876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1510-5_0_5_line_6 |  | 6 | 9 | 0.02586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1510-5_0_5_line_7 |  | 7 | 8 | 0.007157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1510-5_0_5_line_8 |  | 7 | 9 | 0.011821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1510-5_0_5_line_9 |  | 8 | 22 | 0.042035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1510-5_0_5_line_10 |  | 10 | 11 | 0.024109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_1510-5_0_5_line_11 |  | 10 | 12 | 0.0026651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_1510-5_0_5_line_12 |  | 11 | 13 | 0.060562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_1510-5_0_5_line_13 |  | 12 | 14 | 0.029378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
14 | LV_1510-5_0_5_line_14 |  | 13 | 15 | 0.0039982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_1510-5_0_5_line_15 |  | 13 | 16 | 0.031742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1510-5_0_5_line_16 |  | 14 | 17 | 0.045535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1510-5_0_5_line_17 |  | 15 | 18 | 0.017836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_1510-5_0_5_line_18 |  | 17 | 19 | 0.06673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1510-5_0_5_line_19 |  | 17 | 20 | 0.093716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1510-5_0_5_line_20 |  | 18 | 23 | 0.048466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1510-5_0_5_line_21 |  | 19 | 21 | 0.039625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1510-5_0_5_line_22 |  | 20 | 22 | 0.016867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1510-5_0_5_line_23 |  | 23 | 27 | 0.016516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1510-5_0_5_line_24 |  | 24 | 25 | 0.0165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1510-5_0_5_line_25 |  | 24 | 26 | 0.023783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1510-5_0_5_line_26 |  | 25 | 27 | 0.0024213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1510-5_0_5_line_27 |  | 26 | 28 | 0.028723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1510-5_0_5_line_28 |  | 26 | 29 | 0.044446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1510-5_0_5_trafo_8 | 0.63 MVA 20/0.4 kV | 30 | 12 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3
0 | 2667947.5121 | 1202025.6305 | 2667933.4966 | 1202042.7195
1 | 2667979.4886 | 1201986.6419 | 2667947.5121 | 1202025.6305
2 | 2667899.2306 | 1202076.317 | 2667920.9795 | 1202048.4807 | 2667933.4966 | 1202042.7195
3 | 2667979.4886 | 1201986.6419 | 2667969.8338 | 1201979.5854
4 | 2667998.4799 | 1202000.533 | 2667979.4886 | 1201986.6419
5 | 2667998.4799 | 1202000.533 | 2668003.3199 | 1202005.7107
6 | 2668003.3199 | 1202005.7107 | 2668016.0227 | 1202019.2995 | 2668021.8073 | 1202023.6839
7 | 2668036.9398 | 1202035.1583 | 2668031.2277 | 1202030.824
8 | 2668031.2277 | 1202030.824 | 2668021.8073 | 1202023.6839
9 | 2668036.9398 | 1202035.1583 | 2668011.3631 | 1202068.5159
10 | 2668127.758 | 1202185.9772 | 2668147.8201 | 1202199.3472
11 | 2668127.758 | 1202185.9772 | 2668125.5403 | 1202184.4993
12 | 2668200.1319 | 1202228.7019 | 2668186.2923 | 1202224.9862 | 2668147.8201 | 1202199.3472
13 | 2668101.3681 | 1202167.8153 | 2668109.7089 | 1202173.9487 | 2668125.5403 | 1202184.4993
14 | 2668200.1319 | 1202228.7019 | 2668202.9221 | 1202225.8382
15 | 2668200.1319 | 1202228.7019 | 2668173.4545 | 1202245.9028
16 | 2668078.9398 | 1202133.0957 | 2668080.0546 | 1202152.1421 | 2668101.3681 | 1202167.8153
17 | 2668215.3692 | 1202213.0634 | 2668202.9221 | 1202225.8382
18 | 2668078.9398 | 1202133.0957 | 2668082.5315 | 1202131.8136 | 2668107.6582 | 1202094.1549 | 2668120.6202 | 1202082.0843
19 | 2668078.9398 | 1202133.0957 | 2668074.6588 | 1202132.7467 | 2668001.1003 | 1202081.9008 | 2668001.1003 | 1202081.9008
20 | 2668215.3692 | 1202213.0634 | 2668236.9968 | 1202190.8665 | 2668250.9997 | 1202180.4124
21 | 2668120.6202 | 1202082.0843 | 2668158.3052 | 1202094.3323
22 | 2668001.1003 | 1202081.9008 | 2668011.3631 | 1202068.5159
23 | 2668264.234 | 1202170.5322 | 2668250.9997 | 1202180.4124
24 | 2668279.3958 | 1202159.2129 | 2668266.1742 | 1202169.0837
25 | 2668298.4534 | 1202144.9852 | 2668279.3958 | 1202159.2129
26 | 2668264.234 | 1202170.5322 | 2668266.1742 | 1202169.0837
27 | 2668298.4534 | 1202144.9852 | 2668274.6839 | 1202135.7414 | 2668271.6858 | 1202134.5676
28 | 2668298.4534 | 1202144.9852 | 2668312.6834 | 1202150.5179 | 2668340.4436 | 1202159.5025

## bus_geodata
| x | y | coords
0 | 2667947.5121 | 1202025.6305
1 | 2667933.4966 | 1202042.7195
2 | 2667979.4886 | 1201986.6419
3 | 2667899.2306 | 1202076.317
4 | 2667969.8338 | 1201979.5854
5 | 2667998.4799 | 1202000.533
6 | 2668003.3199 | 1202005.7107
7 | 2668031.2277 | 1202030.824
8 | 2668036.9398 | 1202035.1583
9 | 2668021.8073 | 1202023.6839
10 | 2668127.7581 | 1202185.9772
11 | 2668147.8201 | 1202199.3472
12 | 2668125.5403 | 1202184.4993
13 | 2668200.1319 | 1202228.7019
14 | 2668101.3681 | 1202167.8153
15 | 2668202.9221 | 1202225.8382
16 | 2668173.4545 | 1202245.9028
17 | 2668078.9398 | 1202133.0957
18 | 2668215.3692 | 1202213.0634
19 | 2668120.6202 | 1202082.0843
20 | 2668001.1003 | 1202081.9008
21 | 2668158.3052 | 1202094.3323
22 | 2668011.3631 | 1202068.5159
23 | 2668250.9997 | 1202180.4124
24 | 2668279.3958 | 1202159.2129
25 | 2668266.1742 | 1202169.0837
26 | 2668298.4535 | 1202144.9852
27 | 2668264.234 | 1202170.5322
28 | 2668271.6858 | 1202134.5676
29 | 2668340.4436 | 1202159.5025
30 | 2668129.2235 | 1202186.9538

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98177 | -0.35145 | 0.0054069 | 0.0013551
1 | 0.9815 | -0.35666 | 0.00070494 | 0.00017668
2 | 0.98263 | -0.33466 | 0 | 0
3 | 0.98094 | -0.36761 | 0.012322 | 0.0030881
4 | 0.98262 | -0.33473 | 0.00033997 | 8.5205e-05
5 | 0.98303 | -0.3267 | 0.0011713 | 0.00029356
6 | 0.98317 | -0.32415 | 0.0015835 | 0.00039687
7 | 0.98393 | -0.30915 | 0 | 0
8 | 0.98409 | -0.30615 | 0 | 0
9 | 0.98368 | -0.31411 | 0.0017549 | 0.00043981
10 | 0.99977 | -0.0044237 | 0.098535 | 0.024695
11 | 0.99839 | -0.030678 | 0.020587 | 0.0051596
12 | 1 | 0 | -0.48069 | -0.12136
13 | 0.9953 | -0.089636 | 0 | 0
14 | 0.99744 | -0.048785 | 0.096291 | 0.024133
15 | 0.99511 | -0.093277 | 0.014717 | 0.0036884
16 | 0.99498 | -0.095935 | 0.011275 | 0.0028258
17 | 0.99351 | -0.12388 | 0 | 0
18 | 0.99396 | -0.11536 | 0.011698 | 0.0029318
19 | 0.99308 | -0.13219 | 0 | 0
20 | 0.98602 | -0.26848 | 0.020399 | 0.0051126
21 | 0.99283 | -0.13712 | 0.0070446 | 0.0017655
22 | 0.98499 | -0.28855 | 0.043026 | 0.010783
23 | 0.98822 | -0.22613 | 0.033716 | 0.0084502
24 | 0.98563 | -0.27653 | 0.051929 | 0.013015
25 | 0.98662 | -0.25733 | 0.0072498 | 0.001817
26 | 0.98535 | -0.28206 | 0 | 0
27 | 0.98678 | -0.2542 | 0.022938 | 0.0057488
28 | 0.9852 | -0.28501 | 0.0057187 | 0.0014332
29 | 0.98505 | -0.28785 | 0.0072528 | 0.0018177
30 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.013036 | 0.0032701 | -0.013033 | -0.0032683 | 3.236e-06 | 1.7916e-06 | 0.01976 | 0.01976 | 0.01976 | 0.98177 | -0.35145 | 0.9815 | -0.35666 | 5.4285
1 | -0.018443 | -0.0046252 | 0.018458 | 0.004634 | 1.4776e-05 | 8.8187e-06 | 0.027954 | 0.027954 | 0.027954 | 0.98177 | -0.35145 | 0.98263 | -0.33466 | 7.6798
2 | 0.012328 | 0.0030916 | -0.012322 | -0.0030881 | 6.4331e-06 | 3.4969e-06 | 0.018691 | 0.018691 | 0.018691 | 0.9815 | -0.35666 | 0.98094 | -0.36761 | 5.1349
3 | 0.00033997 | 8.5054e-05 | -0.00033997 | -8.5205e-05 | 1.1885e-09 | -1.5072e-07 | 0.00051477 | 0.00051483 | 0.00051483 | 0.98263 | -0.33466 | 0.98262 | -0.33473 | 0.14144
4 | -0.018798 | -0.004719 | 0.018805 | 0.0047233 | 7.1381e-06 | 4.2708e-06 | 0.028469 | 0.028469 | 0.028469 | 0.98263 | -0.33466 | 0.98303 | -0.3267 | 7.8212
5 | -0.019976 | -0.0050169 | 0.019979 | 0.0050183 | 2.4308e-06 | 1.4658e-06 | 0.030242 | 0.030242 | 0.030242 | 0.98303 | -0.3267 | 0.98317 | -0.32415 | 8.3082
6 | -0.021562 | -0.0054152 | 0.021573 | 0.0054215 | 1.033e-05 | 6.2834e-06 | 0.032639 | 0.032638 | 0.032639 | 0.98317 | -0.32415 | 0.98368 | -0.31411 | 8.9666
7 | -0.023333 | -0.0058647 | 0.023336 | 0.0058667 | 3.343e-06 | 2.0486e-06 | 0.035293 | 0.035293 | 0.035293 | 0.98393 | -0.30915 | 0.98409 | -0.30615 | 9.6959
8 | 0.023333 | 0.0058647 | -0.023328 | -0.0058613 | 5.5214e-06 | 3.3836e-06 | 0.035293 | 0.035293 | 0.035293 | 0.98393 | -0.30915 | 0.98368 | -0.31411 | 9.6959
9 | -0.023336 | -0.0058667 | 0.023356 | 0.0058788 | 1.9634e-05 | 1.2031e-05 | 0.035293 | 0.035293 | 0.035293 | 0.98409 | -0.30615 | 0.98499 | -0.28855 | 9.6959
10 | 0.18887 | 0.048023 | -0.18863 | -0.047871 | 0.00023854 | 0.00015172 | 0.28135 | 0.28135 | 0.28135 | 0.99977 | -0.0044237 | 0.99839 | -0.030678 | 25.7642
11 | -0.2874 | -0.072718 | 0.28746 | 0.072757 | 6.1025e-05 | 3.8951e-05 | 0.428 | 0.428 | 0.428 | 0.99977 | -0.0044237 | 1 | 0 | 39.1941
12 | 0.16804 | 0.042711 | -0.16757 | -0.042409 | 0.00047566 | 0.00030205 | 0.25066 | 0.25066 | 0.25066 | 0.99839 | -0.030678 | 0.9953 | -0.089636 | 22.9545
13 | 0.19158 | 0.048605 | -0.19113 | -0.048319 | 0.00044831 | 0.00028615 | 0.28528 | 0.28528 | 0.28528 | 1 | 0 | 0.99744 | -0.048785 | 39.1872
14 | 0.15629 | 0.039582 | -0.15626 | -0.039565 | 2.732e-05 | 1.7329e-05 | 0.2338 | 0.2338 | 0.2338 | 0.9953 | -0.089636 | 0.99511 | -0.093277 | 21.4104
15 | 0.011278 | 0.0028275 | -0.011275 | -0.0028258 | 3.3844e-06 | 1.7536e-06 | 0.016862 | 0.016862 | 0.016862 | 0.9953 | -0.089636 | 0.99498 | -0.095935 | 4.6324
16 | 0.094841 | 0.024186 | -0.094498 | -0.023967 | 0.00034254 | 0.00021863 | 0.14163 | 0.14163 | 0.14163 | 0.99744 | -0.048785 | 0.99351 | -0.12388 | 38.9104
17 | 0.14154 | 0.035876 | -0.14139 | -0.035781 | 0.00015001 | 9.5547e-05 | 0.2118 | 0.2118 | 0.2118 | 0.99511 | -0.093277 | 0.99396 | -0.11536 | 29.0928
18 | 0.007049 | 0.001767 | -0.0070462 | -0.0017661 | 2.7893e-06 | 9.2143e-07 | 0.010558 | 0.010558 | 0.010558 | 0.99351 | -0.12388 | 0.99308 | -0.13219 | 2.9005
19 | 0.087449 | 0.0222 | -0.086845 | -0.021815 | 0.0006038 | 0.00038523 | 0.13108 | 0.13108 | 0.13108 | 0.99351 | -0.12388 | 0.98602 | -0.26848 | 36.0101
20 | 0.1297 | 0.032849 | -0.12901 | -0.03241 | 0.00068602 | 0.00043843 | 0.19428 | 0.19428 | 0.19428 | 0.99396 | -0.11536 | 0.98822 | -0.22613 | 53.3745
21 | 0.0070462 | 0.0017661 | -0.0070446 | -0.0017655 | 1.6564e-06 | 5.4756e-07 | 0.010558 | 0.010558 | 0.010558 | 0.99308 | -0.13219 | 0.99283 | -0.13712 | 2.9006
22 | 0.066446 | 0.016703 | -0.066382 | -0.016662 | 6.3619e-05 | 4.0502e-05 | 0.10029 | 0.10029 | 0.10029 | 0.98602 | -0.26848 | 0.98499 | -0.28855 | 27.5527
23 | 0.095293 | 0.02396 | -0.095165 | -0.023879 | 0.00012756 | 8.1428e-05 | 0.14351 | 0.14351 | 0.14351 | 0.98822 | -0.22613 | 0.98678 | -0.2542 | 39.4271
24 | -0.064907 | -0.016268 | 0.064966 | 0.016306 | 5.9413e-05 | 3.7814e-05 | 0.097991 | 0.097991 | 0.097991 | 0.98563 | -0.27653 | 0.98662 | -0.25733 | 26.9206
25 | 0.012978 | 0.0032537 | -0.012974 | -0.0032518 | 3.4237e-06 | 1.8881e-06 | 0.019593 | 0.019593 | 0.019593 | 0.98563 | -0.27653 | 0.98535 | -0.28206 | 5.3827
26 | -0.072216 | -0.018123 | 0.072227 | 0.01813 | 1.0773e-05 | 6.8637e-06 | 0.10893 | 0.10893 | 0.10893 | 0.98662 | -0.25733 | 0.98678 | -0.2542 | 29.9245
27 | 0.0057195 | 0.0014334 | -0.0057187 | -0.0014332 | 8.0356e-07 | 1.4847e-07 | 0.0086372 | 0.0086373 | 0.0086373 | 0.98535 | -0.28206 | 0.9852 | -0.28501 | 2.3729
28 | 0.0072548 | 0.0018184 | -0.0072528 | -0.0018177 | 2.0006e-06 | 7.1443e-07 | 0.010956 | 0.010956 | 0.010956 | 0.98535 | -0.28206 | 0.98505 | -0.28785 | 3.0099

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.52591 | 0.13269

## res_load
| p_mw | q_mvar
0 | 0.0054069 | 0.0013551
1 | 0.00070494 | 0.00017668
2 | 0.012322 | 0.0030881
3 | 0.00033997 | 8.5205e-05
4 | 0.0011713 | 0.00029356
5 | 0.0015835 | 0.00039687
6 | 0.0017549 | 0.00043981
7 | 0.098535 | 0.024695
8 | 0.020587 | 0.0051596
9 | 0.045213 | 0.011332
10 | 0.096291 | 0.024133
11 | 0.014717 | 0.0036884
12 | 0.011275 | 0.0028258
13 | 0.011698 | 0.0029318
14 | 0.020399 | 0.0051126
15 | 0.0070446 | 0.0017655
16 | 0.043026 | 0.010783
17 | 0.033716 | 0.0084502
18 | 0.051929 | 0.013015
19 | 0.0072498 | 0.001817
20 | 0.022938 | 0.0057488
21 | 0.0057187 | 0.0014332
22 | 0.0072528 | 0.0018177

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1