## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1510-9_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1510-9_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1510-9_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1510-9_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1510-9_0_4_node_9 | 0.4 | n |  | TRUE
5 | bus_LV_1510-9_0_4_node_61 | 0.4 | n |  | TRUE
6 | bus_LV_1510-9_0_4_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_1510-9_0_4_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_1510-9_0_4_node_16 | 0.4 | n |  | TRUE
9 | bus_LV_1510-9_0_4_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_1510-9_0_4_node_70 | 0.4 | n |  | TRUE
11 | bus_LV_1510-9_0_4_node_55 | 0.4 | n |  | TRUE
12 | bus_LV_1510-9_0_4_node_53 | 0.4 | n |  | TRUE
13 | bus_LV_1510-9_0_4_node_51 | 0.4 | n |  | TRUE
14 | bus_LV_1510-9_0_4_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_1510-9_0_4_node_71 | 0.4 | n |  | TRUE
16 | bus_LV_1510-9_0_4_node_72 | 0.4 | n |  | TRUE
17 | bus_LV_1510-9_0_4_node_73 | 0.4 | n |  | TRUE
18 | bus_LV_1510-9_0_4_node_74 | 0.4 | n |  | TRUE
19 | bus_LV_1510-9_0_4_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_1510-9_0_4_node_30 | 0.4 | n |  | TRUE
21 | bus_LV_1510-9_0_4_node_31 | 0.4 | n |  | TRUE
22 | bus_LV_1510-9_0_4_node_12 | 0.4 | n |  | TRUE
23 | bus_LV_1510-9_0_4_node_67 | 0.4 | n |  | TRUE
24 | bus_LV_1510-9_0_4_node_66 | 0.4 | n |  | TRUE
25 | bus_LV_1510-9_0_4_node_60 | 0.4 | n |  | TRUE
26 | bus_LV_1510-9_0_4_node_58 | 0.4 | n |  | TRUE
27 | bus_LV_1510-9_0_4_node_57 | 0.4 | n |  | TRUE
28 | bus_LV_1510-9_0_4_node_14 | 0.4 | n |  | TRUE
29 | bus_LV_1510-9_0_4_node_56 | 0.4 | n |  | TRUE
30 | bus_LV_1510-9_0_4_node_54 | 0.4 | n |  | TRUE
31 | bus_LV_1510-9_0_4_node_52 | 0.4 | n |  | TRUE
32 | bus_LV_1510-9_0_4_node_76 | 0.4 | n |  | TRUE
33 | bus_LV_1510-9_0_4_node_75 | 0.4 | n |  | TRUE
34 | bus_LV_1510-9_0_4_node_46 | 0.4 | n |  | TRUE
35 | bus_LV_1510-9_0_4_node_34 | 0.4 | n |  | TRUE
36 | bus_LV_1510-9_0_4_node_45 | 0.4 | n |  | TRUE
37 | bus_LV_1510-9_0_4_node_65 | 0.4 | n |  | TRUE
38 | bus_LV_1510-9_0_4_node_49 | 0.4 | n |  | TRUE
39 | bus_LV_1510-9_0_4_node_69 | 0.4 | n |  | TRUE
40 | bus_LV_1510-9_0_4_node_27 | 0.4 | n |  | TRUE
41 | bus_LV_1510-9_0_4_node_68 | 0.4 | n |  | TRUE
42 | bus_LV_1510-9_0_4_node_41 | 0.4 | n |  | TRUE
43 | bus_LV_1510-9_0_4_node_47 | 0.4 | n |  | TRUE
44 | bus_LV_1510-9_0_4_node_39 | 0.4 | n |  | TRUE
45 | bus_LV_1510-9_0_4_node_19 | 0.4 | n |  | TRUE
46 | bus_LV_1510-9_0_4_node_37 | 0.4 | n |  | TRUE
47 | bus_LV_1510-9_0_4_node_13 | 0.4 | n |  | TRUE
48 | bus_LV_1510-9_0_4_node_15 | 0.4 | n |  | TRUE
49 | bus_LV_1510-9_0_4_node_17 | 0.4 | n |  | TRUE
50 | bus_LV_1510-9_0_4_node_18 | 0.4 | n |  | TRUE
51 | bus_LV_1510-9_0_4_node_59 | 0.4 | n |  | TRUE
52 | bus_LV_1510-9_0_4_node_29 | 0.4 | n |  | TRUE
53 | bus_LV_1510-9_0_4_node_20 | 0.4 | n |  | TRUE
54 | bus_LV_1510-9_0_4_node_21 | 0.4 | n |  | TRUE
55 | bus_LV_1510-9_0_4_node_22 | 0.4 | n |  | TRUE
56 | bus_LV_1510-9_0_4_node_23 | 0.4 | n |  | TRUE
57 | bus_LV_1510-9_0_4_node_24 | 0.4 | n |  | TRUE
58 | bus_LV_1510-9_0_4_node_44 | 0.4 | n |  | TRUE
59 | bus_LV_1510-9_0_4_node_42 | 0.4 | n |  | TRUE
60 | bus_LV_1510-9_0_4_node_25 | 0.4 | n |  | TRUE
61 | bus_LV_1510-9_0_4_node_26 | 0.4 | n |  | TRUE
62 | bus_LV_1510-9_0_4_node_28 | 0.4 | n |  | TRUE
63 | bus_LV_1510-9_0_4_node_32 | 0.4 | n |  | TRUE
64 | bus_LV_1510-9_0_4_node_33 | 0.4 | n |  | TRUE
65 | bus_LV_1510-9_0_4_node_36 | 0.4 | n |  | TRUE
66 | bus_LV_1510-9_0_4_node_50 | 0.4 | n |  | TRUE
67 | bus_LV_1510-9_0_4_node_35 | 0.4 | n |  | TRUE
68 | bus_LV_1510-9_0_4_node_62 | 0.4 | n |  | TRUE
69 | bus_LV_1510-9_0_4_node_48 | 0.4 | n |  | TRUE
70 | bus_LV_1510-9_0_4_node_63 | 0.4 | n |  | TRUE
71 | bus_LV_1510-9_0_4_node_38 | 0.4 | n |  | TRUE
72 | bus_LV_1510-9_0_4_node_40 | 0.4 | n |  | TRUE
73 | bus_LV_1510-9_0_4_node_64 | 0.4 | n |  | TRUE
74 | bus_LV_1510-9_0_4_node_43 | 0.4 | n |  | TRUE
75 | bus_MV_143_0_node_110 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1510-9_0_4_load_0 | 0 | 0.015115 | 0.0037881 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1510-9_0_4_load_61 | 5 | 0.0094584 | 0.0023705 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1510-9_0_4_load_16 | 8 | 0.00063305 | 0.00015866 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1510-9_0_4_load_70 | 10 | 0.010487 | 0.0026283 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1510-9_0_4_load_53 | 12 | 0.0079013 | 0.0019803 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1510-9_0_4_load_51 | 13 | 0.0041804 | 0.0010477 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1510-9_0_4_load_71 | 15 | 0.0016802 | 0.00042109 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1510-9_0_4_load_74 | 18 | 0.0015779 | 0.00039547 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1510-9_0_4_load_31 | 21 | 0.01723 | 0.0043183 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1510-9_0_4_load_67 | 23 | 0.0046968 | 0.0011771 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1510-9_0_4_load_66 | 24 | 0.0059207 | 0.0014839 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1510-9_0_4_load_60 | 25 | 0.00064335 | 0.00016124 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1510-9_0_4_load_58 | 26 | 0.01302 | 0.0032632 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1510-9_0_4_load_57 | 27 | 0.007748 | 0.0019418 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1510-9_0_4_load_14 | 28 | 0.00064834 | 0.00016249 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1510-9_0_4_load_56 | 29 | 0.0051268 | 0.0012849 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1510-9_0_4_load_54 | 30 | 0.0041774 | 0.001047 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1510-9_0_4_load_76 | 32 | 0.0018683 | 0.00046825 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1510-9_0_4_load_75 | 33 | 0.0027382 | 0.00068626 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1510-9_0_4_load_45 | 36 | 0.0059951 | 0.0015025 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1510-9_0_4_load_65 | 37 | 0.0022364 | 0.00056048 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1510-9_0_4_load_69 | 39 | 0.0066792 | 0.001674 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1510-9_0_4_load_68 | 41 | 0.044975 | 0.011272 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1510-9_0_4_load_19 | 45 | 0.010497 | 0.0026308 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1510-9_0_4_load_37 | 46 | 0.01138 | 0.002852 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1510-9_0_4_load_13 | 47 | 0.024005 | 0.0060163 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1510-9_0_4_load_17 | 49 | 0.0094603 | 0.002371 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1510-9_0_4_load_18 | 50 | 0.012606 | 0.0031594 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1510-9_0_4_load_59 | 51 | 0.0012917 | 0.00032372 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1510-9_0_4_load_20 | 53 | 0.0066203 | 0.0016592 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1510-9_0_4_load_21 | 54 | 0.0049355 | 0.0012369 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1510-9_0_4_load_23 | 56 | 0.0049172 | 0.0012324 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1510-9_0_4_load_44 | 58 | 0.0025648 | 0.0006428 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1510-9_0_4_load_42 | 59 | 0.0056232 | 0.0014093 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1510-9_0_4_load_25 | 60 | 0.012058 | 0.0030219 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1510-9_0_4_load_26 | 61 | 0.0069569 | 0.0017436 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1510-9_0_4_load_28 | 62 | 0.040319 | 0.010105 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1510-9_0_4_load_32 | 63 | 0.0075699 | 0.0018972 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1510-9_0_4_load_36 | 65 | 0.003034 | 0.00076039 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1510-9_0_4_load_50 | 66 | 0.013231 | 0.003316 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1510-9_0_4_load_35 | 67 | 0.004597 | 0.0011521 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1510-9_0_4_load_62 | 68 | 0.0011866 | 0.0002974 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1510-9_0_4_load_63 | 70 | 0.016182 | 0.0040556 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1510-9_0_4_load_38 | 71 | 0.0017904 | 0.00044871 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1510-9_0_4_load_40 | 72 | 0.010622 | 0.0026622 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1510-9_0_4_load_64 | 73 | 0.0047651 | 0.0011942 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1510-9_0_4_load_43 | 74 | 0.0096731 | 0.0024243 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 45 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1510-9_0_4_line_0 |  | 0 | 1 | 0.0033695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1510-9_0_4_line_1 |  | 0 | 2 | 0.025289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1510-9_0_4_line_2 |  | 1 | 3 | 0.005515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1510-9_0_4_line_3 |  | 2 | 4 | 0.037642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1510-9_0_4_line_4 |  | 3 | 5 | 0.01657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1510-9_0_4_line_5 |  | 4 | 17 | 0.002617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1510-9_0_4_line_6 |  | 4 | 18 | 0.006681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1510-9_0_4_line_7 |  | 5 | 25 | 0.0072988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1510-9_0_4_line_8 |  | 6 | 7 | 0.036867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1510-9_0_4_line_9 |  | 6 | 8 | 0.017741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1510-9_0_4_line_10 |  | 7 | 12 | 0.016353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1510-9_0_4_line_11 |  | 7 | 13 | 0.0066989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1510-9_0_4_line_12 |  | 7 | 9 | 0.091892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1510-9_0_4_line_13 |  | 8 | 28 | 0.012954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1510-9_0_4_line_14 |  | 9 | 10 | 0.028074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1510-9_0_4_line_15 |  | 9 | 11 | 0.028967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1510-9_0_4_line_16 |  | 11 | 29 | 0.011308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1510-9_0_4_line_17 |  | 11 | 30 | 0.070913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1510-9_0_4_line_18 |  | 13 | 31 | 0.021308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1510-9_0_4_line_19 |  | 14 | 15 | 0.007611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1510-9_0_4_line_20 |  | 14 | 16 | 0.010316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1510-9_0_4_line_21 |  | 16 | 32 | 0.009978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1510-9_0_4_line_22 |  | 16 | 17 | 0.03421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1510-9_0_4_line_23 |  | 17 | 33 | 0.008709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1510-9_0_4_line_24 |  | 19 | 20 | 0.015659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1510-9_0_4_line_25 |  | 19 | 21 | 0.024128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1510-9_0_4_line_26 |  | 20 | 39 | 0.047227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1510-9_0_4_line_27 |  | 20 | 40 | 0.010003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1510-9_0_4_line_28 |  | 22 | 23 | 0.012073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1510-9_0_4_line_29 |  | 22 | 24 | 0.016814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1510-9_0_4_line_30 |  | 23 | 41 | 0.00010081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1510-9_0_4_line_31 |  | 24 | 42 | 0.010546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1510-9_0_4_line_32 |  | 25 | 51 | 0.0072719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1510-9_0_4_line_33 |  | 26 | 27 | 0.011113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1510-9_0_4_line_34 |  | 27 | 52 | 0.021393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1510-9_0_4_line_35 |  | 28 | 47 | 0.013793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1510-9_0_4_line_36 |  | 31 | 67 | 0.0025242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1510-9_0_4_line_37 |  | 34 | 35 | 0.030264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1510-9_0_4_line_38 |  | 34 | 36 | 0.023872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1510-9_0_4_line_39 |  | 35 | 66 | 0.029236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1510-9_0_4_line_40 |  | 35 | 64 | 0.008206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1510-9_0_4_line_41 |  | 36 | 74 | 0.017632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1510-9_0_4_line_42 |  | 37 | 38 | 0.020835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1510-9_0_4_line_43 |  | 38 | 73 | 0.014576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1510-9_0_4_line_44 |  | 40 | 52 | 0.007342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1510-9_0_4_line_45 |  | 40 | 60 | 0.016412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1510-9_0_4_line_46 |  | 42 | 43 | 0.01873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1510-9_0_4_line_47 |  | 43 | 73 | 0.0083283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1510-9_0_4_line_48 |  | 43 | 69 | 0.046026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1510-9_0_4_line_49 |  | 44 | 45 | 0.013889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
50 | LV_1510-9_0_4_line_50 |  | 44 | 46 | 0.013176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
51 | LV_1510-9_0_4_line_51 |  | 45 | 48 | 0.035716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
52 | LV_1510-9_0_4_line_52 |  | 46 | 71 | 0.025249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
53 | LV_1510-9_0_4_line_53 |  | 47 | 48 | 0.019635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1510-9_0_4_line_54 |  | 48 | 49 | 0.015011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1510-9_0_4_line_55 |  | 48 | 50 | 0.018633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1510-9_0_4_line_56 |  | 49 | 51 | 0.0021266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1510-9_0_4_line_57 |  | 50 | 52 | 0.031208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1510-9_0_4_line_58 |  | 53 | 54 | 0.02222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1510-9_0_4_line_59 |  | 53 | 55 | 0.032025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_1510-9_0_4_line_60 |  | 54 | 56 | 0.0026599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_1510-9_0_4_line_61 |  | 55 | 57 | 0.066241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_1510-9_0_4_line_62 |  | 57 | 58 | 0.084232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_1510-9_0_4_line_63 |  | 58 | 59 | 0.012947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_1510-9_0_4_line_64 |  | 59 | 74 | 0.00017871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_1510-9_0_4_line_65 |  | 60 | 61 | 0.0017738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_1510-9_0_4_line_66 |  | 61 | 62 | 0.0076042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_1510-9_0_4_line_67 |  | 63 | 64 | 0.018351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_1510-9_0_4_line_68 |  | 64 | 65 | 0.015574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_1510-9_0_4_line_69 |  | 65 | 68 | 0.0034069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_1510-9_0_4_line_70 |  | 66 | 69 | 0.028352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_1510-9_0_4_line_71 |  | 68 | 70 | 0.020301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_1510-9_0_4_line_72 |  | 69 | 72 | 0.0018263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
73 | LV_1510-9_0_4_line_73 |  | 71 | 72 | 0.010404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1510-9_0_4_trafo_19 | 0.63 MVA 20/0.4 kV | 75 | 45 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2668507.333 | 1203280.1415 | 2668505.9759 | 1203277.0574
1 | 2668528.9334 | 1203266.4586 | 2668522.7511 | 1203269.4118 | 2668519.0014 | 1203271.2476 | 2668505.9759 | 1203277.0574
2 | 2668507.333 | 1203280.1415 | 2668509.8716 | 1203285.0402
3 | 2668522.7531 | 1203238.0705 | 2668517.6663 | 1203245.6835 | 2668513.8025 | 1203252.8213 | 2668528.9334 | 1203266.4586
4 | 2668509.8716 | 1203285.0402 | 2668510.904 | 1203288.5764 | 2668521.147 | 1203296.3959
5 | 2668522.7531 | 1203238.0705 | 2668524.8635 | 1203236.516
6 | 2668522.7531 | 1203238.0705 | 2668528.7377 | 1203241.0743
7 | 2668521.147 | 1203296.3959 | 2668526.9485 | 1203300.8248
8 | 2668579.362 | 1203264.3915 | 2668589.7089 | 1203267.212 | 2668598.5619 | 1203258.3193 | 2668607.0692 | 1203268.9234
9 | 2668579.362 | 1203264.3915 | 2668577.2941 | 1203272.8396 | 2668573.2124 | 1203280.3973 | 2668572.9214 | 1203280.7456
10 | 2668607.0692 | 1203268.9234 | 2668618.2178 | 1203256.9331
11 | 2668607.0692 | 1203268.9234 | 2668611.1699 | 1203274.2205
12 | 2668607.0692 | 1203268.9234 | 2668598.5619 | 1203258.3193 | 2668604.6386 | 1203251.9741 | 2668608.9283 | 1203246.8536 | 2668607.5469 | 1203243.2356 | 2668604.0273 | 1203234.3119 | 2668625.1091 | 1203222.747 | 2668632.8673 | 1203216.4323 | 2668643.0585 | 1203204.998
13 | 2668572.9214 | 1203280.7456 | 2668564.6161 | 1203290.6871
14 | 2668643.0585 | 1203204.998 | 2668659.6525 | 1203219.7642 | 2668655.5252 | 1203223.9861
15 | 2668641.2781 | 1203187.1 | 2668646.659 | 1203189.0074 | 2668653.2841 | 1203194.5424 | 2668643.0585 | 1203204.998
16 | 2668641.2781 | 1203187.1 | 2668648.3779 | 1203178.2981
17 | 2668641.2781 | 1203187.1 | 2668630.8195 | 1203183.3998 | 2668622.1011 | 1203177.2515 | 2668612.625 | 1203164.2015 | 2668604.3466 | 1203156.1793 | 2668587.0099 | 1203143.4705
18 | 2668624.517 | 1203290.826 | 2668622.1977 | 1203288.0421 | 2668617.664 | 1203282.609 | 2668611.1699 | 1203274.2205
19 | 2668549.5148 | 1203199.6875 | 2668542.2202 | 1203197.4469
20 | 2668549.5148 | 1203199.6875 | 2668545.0629 | 1203208.9977
21 | 2668549.6869 | 1203217.845 | 2668545.0629 | 1203208.9977
22 | 2668524.8635 | 1203236.516 | 2668534.7934 | 1203224.6227 | 2668542.6802 | 1203213.7176 | 2668545.0629 | 1203208.9977
23 | 2668524.8635 | 1203236.516 | 2668518.3787 | 1203230.6826
24 | 2668500.4816 | 1203367.9607 | 2668494.6384 | 1203382.4914
25 | 2668494.6384 | 1203382.4914 | 2668516.064 | 1203393.5859
26 | 2668500.4816 | 1203367.9607 | 2668470.2698 | 1203354.9398 | 2668461.6503 | 1203348.1369 | 2668461.7887 | 1203344.692
27 | 2668500.4816 | 1203367.9607 | 2668505.8744 | 1203359.5285
28 | 2668577.8917 | 1203414.2878 | 2668575.635 | 1203426.1477
29 | 2668577.8917 | 1203414.2878 | 2668586.4241 | 1203406.1253 | 2668590.4771 | 1203403.1872
30 | 2668575.6161 | 1203426.2468 | 2668575.635 | 1203426.1477
31 | 2668599.0157 | 1203396.9976 | 2668590.4771 | 1203403.1872
32 | 2668532.7287 | 1203305.2373 | 2668526.9485 | 1203300.8248
33 | 2668492.3887 | 1203341.1294 | 2668494.1075 | 1203337.8916 | 2668488.2043 | 1203333.3509
34 | 2668509.9169 | 1203353.3933 | 2668492.3887 | 1203341.1294 | 2668492.3887 | 1203341.1294
35 | 2668555.7727 | 1203301.2726 | 2668564.6161 | 1203290.6871
36 | 2668624.517 | 1203290.826 | 2668626.1342 | 1203292.7641
37 | 2668657.0179 | 1203329.7785 | 2668670.1574 | 1203345.817 | 2668676.4282 | 1203353.0379
38 | 2668676.4282 | 1203353.0379 | 2668691.4965 | 1203334.5228
39 | 2668657.0179 | 1203329.7785 | 2668637.5472 | 1203351.5878
40 | 2668657.0179 | 1203329.7785 | 2668651.7562 | 1203323.4698
41 | 2668691.4965 | 1203334.5228 | 2668702.6261 | 1203320.8473
42 | 2668631.844 | 1203422.6568 | 2668620.3882 | 1203440.06
43 | 2668631.844 | 1203422.6568 | 2668620.3986 | 1203413.6318
44 | 2668505.8744 | 1203359.5285 | 2668509.9169 | 1203353.3933
45 | 2668505.8744 | 1203359.5285 | 2668519.1824 | 1203369.1335
46 | 2668613.8589 | 1203408.475 | 2668599.0157 | 1203396.9976
47 | 2668613.8589 | 1203408.475 | 2668620.3986 | 1203413.6318
48 | 2668613.8589 | 1203408.475 | 2668633.7438 | 1203386.4567 | 2668622.0427 | 1203375.0265
49 | 2668577.7174 | 1203351.9369 | 2668574.2563 | 1203348.5284 | 2668568.1895 | 1203342.7553 | 2668567.7377 | 1203342.2781
50 | 2668577.7174 | 1203351.9369 | 2668590.2207 | 1203356.0941
51 | 2668543.184 | 1203316.3413 | 2668567.7377 | 1203342.2781
52 | 2668590.2207 | 1203356.0941 | 2668597.8054 | 1203358.616 | 2668612.8366 | 1203367.0919
53 | 2668543.184 | 1203316.3413 | 2668555.7727 | 1203301.2726
54 | 2668543.184 | 1203316.3413 | 2668538.9506 | 1203312.5904 | 2668540.2097 | 1203310.9483 | 2668534.419 | 1203306.5277
55 | 2668543.184 | 1203316.3413 | 2668530.4404 | 1203329.9353
56 | 2668532.7287 | 1203305.2373 | 2668534.419 | 1203306.5277
57 | 2668509.9169 | 1203353.3933 | 2668515.8899 | 1203345.457 | 2668530.4404 | 1203329.9353
58 | 2668688.7455 | 1203241.4881 | 2668676.5475 | 1203260.0606
59 | 2668706.3263 | 1203214.7199 | 2668688.7455 | 1203241.4881
60 | 2668676.5475 | 1203260.0606 | 2668675.0873 | 1203262.2839
61 | 2668706.3263 | 1203214.7199 | 2668714.8844 | 1203215.6077 | 2668730.9185 | 1203222.1406 | 2668764.0799 | 1203245.3362
62 | 2668764.0799 | 1203245.3362 | 2668710.911 | 1203310.6672
63 | 2668702.7389 | 1203320.7087 | 2668710.911 | 1203310.6672
64 | 2668702.7389 | 1203320.7087 | 2668702.6261 | 1203320.8473
65 | 2668519.1824 | 1203369.1335 | 2668520.6207 | 1203370.1716
66 | 2668526.7866 | 1203374.6219 | 2668520.6207 | 1203370.1716
67 | 2668651.7562 | 1203323.4698 | 2668638.4367 | 1203336.0925
68 | 2668651.7562 | 1203323.4698 | 2668662.419 | 1203312.1177
69 | 2668662.419 | 1203312.1177 | 2668664.7514 | 1203309.6344
70 | 2668622.0427 | 1203375.0265 | 2668628.8892 | 1203361.2856 | 2668637.5472 | 1203351.5878
71 | 2668670.9546 | 1203293.0386 | 2668673.3659 | 1203296.4239 | 2668671.3544 | 1203302.6046 | 2668664.7514 | 1203309.6344
72 | 2668622.0427 | 1203375.0265 | 2668620.7378 | 1203373.7488
73 | 2668620.7378 | 1203373.7488 | 2668615.4361 | 1203368.5578 | 2668612.8366 | 1203367.0919

## bus_geodata
| x | y | coords
0 | 2668505.9759 | 1203277.0574
1 | 2668507.333 | 1203280.1415
2 | 2668528.9334 | 1203266.4586
3 | 2668509.8716 | 1203285.0402
4 | 2668522.7531 | 1203238.0705
5 | 2668521.147 | 1203296.3959
6 | 2668579.362 | 1203264.3915
7 | 2668607.0692 | 1203268.9234
8 | 2668572.9214 | 1203280.7456
9 | 2668643.0585 | 1203204.998
10 | 2668655.5252 | 1203223.9861
11 | 2668641.2781 | 1203187.1
12 | 2668618.2178 | 1203256.9331
13 | 2668611.1699 | 1203274.2205
14 | 2668549.5148 | 1203199.6875
15 | 2668542.2202 | 1203197.4469
16 | 2668545.0629 | 1203208.9977
17 | 2668524.8635 | 1203236.516
18 | 2668528.7377 | 1203241.0743
19 | 2668494.6384 | 1203382.4914
20 | 2668500.4816 | 1203367.9607
21 | 2668516.064 | 1203393.5859
22 | 2668577.8917 | 1203414.2878
23 | 2668575.635 | 1203426.1477
24 | 2668590.4771 | 1203403.1872
25 | 2668526.9485 | 1203300.8248
26 | 2668488.2043 | 1203333.3509
27 | 2668492.3887 | 1203341.1294
28 | 2668564.6161 | 1203290.6871
29 | 2668648.3779 | 1203178.2981
30 | 2668587.0099 | 1203143.4705
31 | 2668624.517 | 1203290.826
32 | 2668549.6869 | 1203217.845
33 | 2668518.3787 | 1203230.6826
34 | 2668676.4282 | 1203353.0379
35 | 2668657.0179 | 1203329.7785
36 | 2668691.4965 | 1203334.5228
37 | 2668620.3882 | 1203440.06
38 | 2668631.844 | 1203422.6568
39 | 2668461.7887 | 1203344.692
40 | 2668505.8744 | 1203359.5285
41 | 2668575.6161 | 1203426.2468
42 | 2668599.0157 | 1203396.9976
43 | 2668613.8589 | 1203408.475
44 | 2668577.7174 | 1203351.9369
45 | 2668567.7377 | 1203342.2781
46 | 2668590.2207 | 1203356.0941
47 | 2668555.7727 | 1203301.2726
48 | 2668543.184 | 1203316.3413
49 | 2668534.419 | 1203306.5277
50 | 2668530.4404 | 1203329.9354
51 | 2668532.7287 | 1203305.2373
52 | 2668509.9169 | 1203353.3933
53 | 2668688.7455 | 1203241.4881
54 | 2668676.5475 | 1203260.0606
55 | 2668706.3263 | 1203214.7199
56 | 2668675.0873 | 1203262.2839
57 | 2668764.0799 | 1203245.3362
58 | 2668710.911 | 1203310.6672
59 | 2668702.7389 | 1203320.7087
60 | 2668519.1824 | 1203369.1335
61 | 2668520.6207 | 1203370.1716
62 | 2668526.7866 | 1203374.6219
63 | 2668638.4367 | 1203336.0925
64 | 2668651.7562 | 1203323.4698
65 | 2668662.419 | 1203312.1177
66 | 2668637.5472 | 1203351.5878
67 | 2668626.1342 | 1203292.7641
68 | 2668664.7514 | 1203309.6344
69 | 2668622.0427 | 1203375.0265
70 | 2668670.9546 | 1203293.0386
71 | 2668612.8366 | 1203367.0919
72 | 2668620.7378 | 1203373.7488
73 | 2668620.3986 | 1203413.6318
74 | 2668702.6261 | 1203320.8473
75 | 2668577.7174 | 1203351.9369

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99474 | -0.10096 | 0.015115 | 0.0037881
1 | 0.99481 | -0.0996 | 0 | 0
2 | 0.99456 | -0.10447 | 0 | 0
3 | 0.99492 | -0.097368 | 0 | 0
4 | 0.99429 | -0.10969 | 0 | 0
5 | 0.99527 | -0.090664 | 0.0094584 | 0.0023705
6 | 0.99376 | -0.1198 | 0 | 0
7 | 0.99253 | -0.14356 | 0 | 0
8 | 0.99435 | -0.10838 | 0.00063305 | 0.00015866
9 | 0.99086 | -0.1758 | 0 | 0
10 | 0.99059 | -0.18103 | 0.010487 | 0.0026283
11 | 0.99062 | -0.18059 | 0 | 0
12 | 0.99241 | -0.14585 | 0.0079013 | 0.0019803
13 | 0.99247 | -0.1446 | 0.0041804 | 0.0010477
14 | 0.99414 | -0.11243 | 0 | 0
15 | 0.99413 | -0.11265 | 0.0016802 | 0.00042109
16 | 0.99416 | -0.11212 | 0 | 0
17 | 0.99427 | -0.10998 | 0 | 0
18 | 0.99428 | -0.10988 | 0.0015779 | 0.00039547
19 | 0.99038 | -0.18493 | 0 | 0
20 | 0.99063 | -0.18013 | 0 | 0
21 | 0.99 | -0.19232 | 0.01723 | 0.0043183
22 | 0.99036 | -0.18532 | 0 | 0
23 | 0.98981 | -0.19598 | 0.0046968 | 0.0011771
24 | 0.99112 | -0.17049 | 0.0059207 | 0.0014839
25 | 0.99549 | -0.086499 | 0.00064335 | 0.00016124
26 | 0.99087 | -0.17549 | 0.01302 | 0.0032632
27 | 0.991 | -0.17293 | 0.007748 | 0.0019418
28 | 0.99479 | -0.099909 | 0.00064834 | 0.00016249
29 | 0.99056 | -0.18162 | 0.0051268 | 0.0012849
30 | 0.99034 | -0.18586 | 0.0041774 | 0.001047
31 | 0.99238 | -0.14634 | 0 | 0
32 | 0.99414 | -0.11245 | 0.0018683 | 0.00046825
33 | 0.99425 | -0.1104 | 0.0027382 | 0.00068626
34 | 0.99018 | -0.18863 | 0 | 0
35 | 0.9913 | -0.16695 | 0 | 0
36 | 0.9893 | -0.20576 | 0.0059951 | 0.0015025
37 | 0.99249 | -0.14408 | 0.0022364 | 0.00056048
38 | 0.99253 | -0.14326 | 0 | 0
39 | 0.99034 | -0.18574 | 0.0066792 | 0.001674
40 | 0.99085 | -0.17589 | 0 | 0
41 | 0.9898 | -0.19606 | 0.044975 | 0.011272
42 | 0.99166 | -0.16009 | 0 | 0
43 | 0.99261 | -0.14165 | 0 | 0
44 | 0.99893 | -0.02035 | 0 | 0
45 | 1 | 0 | -0.39483 | -0.09971
46 | 0.99792 | -0.039695 | 0.01138 | 0.002852
47 | 0.99526 | -0.09074 | 0.024005 | 0.0060163
48 | 0.99637 | -0.069423 | 0 | 0
49 | 0.99577 | -0.080983 | 0.0094603 | 0.002371
50 | 0.99438 | -0.10765 | 0.012606 | 0.0031594
51 | 0.99571 | -0.082268 | 0.0012917 | 0.00032372
52 | 0.99141 | -0.16504 | 0 | 0
53 | 0.98574 | -0.27481 | 0.0066203 | 0.0016592
54 | 0.98554 | -0.27874 | 0.0049355 | 0.0012369
55 | 0.98623 | -0.26535 | 0 | 0
56 | 0.98553 | -0.27897 | 0.0049172 | 0.0012324
57 | 0.98723 | -0.24581 | 0 | 0
58 | 0.98851 | -0.22102 | 0.0025648 | 0.0006428
59 | 0.98874 | -0.21663 | 0.0056232 | 0.0014093
60 | 0.98996 | -0.19319 | 0.012058 | 0.0030219
61 | 0.98988 | -0.19468 | 0.0069569 | 0.0017436
62 | 0.9896 | -0.20014 | 0.040319 | 0.010105
63 | 0.99096 | -0.17349 | 0.0075699 | 0.0018972
64 | 0.99109 | -0.17102 | 0 | 0
65 | 0.9908 | -0.17666 | 0.003034 | 0.00076039
66 | 0.99313 | -0.13159 | 0.013231 | 0.003316
67 | 0.99237 | -0.14654 | 0.004597 | 0.0011521
68 | 0.99074 | -0.17771 | 0.0011866 | 0.0002974
69 | 0.99525 | -0.09082 | 0 | 0
70 | 0.99044 | -0.18355 | 0.016182 | 0.0040556
71 | 0.99611 | -0.074351 | 0.0017904 | 0.00044871
72 | 0.99537 | -0.088504 | 0.010622 | 0.0026622
73 | 0.99256 | -0.14268 | 0.0047651 | 0.0011942
74 | 0.98874 | -0.21655 | 0.0096731 | 0.0024243
75 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.022983 | -0.0057597 | 0.022984 | 0.0057606 | 1.4935e-06 | 9.1209e-07 | 0.03438 | 0.03438 | 0.03438 | 0.99474 | -0.10096 | 0.99481 | -0.0996 | 9.445
1 | 0.0078685 | 0.0019717 | -0.0078672 | -0.0019712 | 1.3138e-06 | 5.1262e-07 | 0.01177 | 0.01177 | 0.01177 | 0.99474 | -0.10096 | 0.99456 | -0.10447 | 3.2336
2 | -0.022984 | -0.0057606 | 0.022987 | 0.0057621 | 2.4445e-06 | 1.4928e-06 | 0.03438 | 0.03438 | 0.03438 | 0.99481 | -0.0996 | 0.99492 | -0.097368 | 9.445
3 | 0.0078672 | 0.0019712 | -0.0078652 | -0.0019704 | 1.9557e-06 | 7.6328e-07 | 0.01177 | 0.011771 | 0.011771 | 0.99456 | -0.10447 | 0.99429 | -0.10969 | 3.2337
4 | -0.022987 | -0.0057621 | 0.022994 | 0.0057666 | 7.3446e-06 | 4.4853e-06 | 0.03438 | 0.03438 | 0.03438 | 0.99492 | -0.097368 | 0.99527 | -0.090664 | 9.445
5 | 0.0062873 | 0.001575 | -0.0062872 | -0.001575 | 8.6882e-08 | 2.1663e-08 | 0.0094091 | 0.0094091 | 0.0094091 | 0.99429 | -0.10969 | 0.99427 | -0.10998 | 2.5849
6 | 0.001578 | 0.00039539 | -0.0015779 | -0.00039547 | 1.3972e-08 | -7.7708e-08 | 0.0023615 | 0.0023615 | 0.0023615 | 0.99429 | -0.10969 | 0.99428 | -0.10988 | 0.64877
7 | -0.032453 | -0.0081371 | 0.032459 | 0.0081412 | 6.4438e-06 | 4.0292e-06 | 0.048521 | 0.048521 | 0.048521 | 0.99527 | -0.090664 | 0.99549 | -0.086499 | 13.3299
8 | 0.03655 | 0.0091871 | -0.036508 | -0.0091611 | 4.1423e-05 | 2.6034e-05 | 0.054738 | 0.054738 | 0.054738 | 0.99376 | -0.1198 | 0.99253 | -0.14356 | 15.0378
9 | -0.03655 | -0.0091871 | 0.03657 | 0.0091997 | 1.9933e-05 | 1.2527e-05 | 0.054738 | 0.054737 | 0.054738 | 0.99376 | -0.1198 | 0.99435 | -0.10838 | 15.0378
10 | 0.0079022 | 0.0019806 | -0.0079013 | -0.0019803 | 8.6071e-07 | 3.3954e-07 | 0.011847 | 0.011847 | 0.011847 | 0.99253 | -0.14356 | 0.99241 | -0.14585 | 3.2547
11 | 0.0087782 | 0.0022 | -0.0087778 | -0.0021998 | 4.3509e-07 | 1.9189e-07 | 0.01316 | 0.013161 | 0.013161 | 0.99253 | -0.14356 | 0.99247 | -0.1446 | 3.6155
12 | 0.019828 | 0.0049805 | -0.019797 | -0.0049622 | 3.0458e-05 | 1.8308e-05 | 0.02973 | 0.029731 | 0.029731 | 0.99253 | -0.14356 | 0.99086 | -0.1758 | 8.1677
13 | -0.037203 | -0.0093583 | 0.037218 | 0.0093678 | 1.5063e-05 | 9.4723e-06 | 0.055685 | 0.055685 | 0.055685 | 0.99435 | -0.10838 | 0.99479 | -0.099909 | 15.298
14 | 0.01049 | 0.0026296 | -0.010487 | -0.0026283 | 2.6125e-06 | 1.3105e-06 | 0.015753 | 0.015753 | 0.015753 | 0.99086 | -0.1758 | 0.99059 | -0.18103 | 4.3278
15 | 0.0093076 | 0.0023326 | -0.0093055 | -0.0023316 | 2.1222e-06 | 9.8522e-07 | 0.013978 | 0.013978 | 0.013978 | 0.99086 | -0.1758 | 0.99062 | -0.18059 | 3.84
16 | 0.005127 | 0.0012849 | -0.0051268 | -0.0012849 | 2.5152e-07 | 1.5394e-08 | 0.0077014 | 0.0077014 | 0.0077014 | 0.99062 | -0.18059 | 0.99056 | -0.18162 | 2.1158
17 | 0.0041784 | 0.0010467 | -0.0041774 | -0.001047 | 1.0476e-06 | -2.4225e-07 | 0.0062763 | 0.0062766 | 0.0062766 | 0.99062 | -0.18059 | 0.99034 | -0.18586 | 1.7243
18 | 0.0045974 | 0.0011521 | -0.004597 | -0.0011521 | 3.7965e-07 | -3.2356e-08 | 0.0068929 | 0.006893 | 0.006893 | 0.99247 | -0.1446 | 0.99238 | -0.14634 | 1.8937
19 | 0.0016802 | 0.000421 | -0.0016802 | -0.00042109 | 1.8051e-08 | -8.7131e-08 | 0.0025148 | 0.0025149 | 0.0025149 | 0.99414 | -0.11243 | 0.99413 | -0.11265 | 0.6909
20 | -0.0016802 | -0.000421 | 0.0016802 | 0.00042088 | 2.4465e-08 | -1.181e-07 | 0.0025148 | 0.0025148 | 0.0025148 | 0.99414 | -0.11243 | 0.99416 | -0.11212 | 0.69089
21 | 0.0018684 | 0.00046814 | -0.0018683 | -0.00046825 | 2.9261e-08 | -1.1065e-07 | 0.0027964 | 0.0027965 | 0.0027965 | 0.99416 | -0.11212 | 0.99414 | -0.11245 | 0.76827
22 | -0.0035486 | -0.00088902 | 0.0035489 | 0.00088881 | 3.6188e-07 | -2.1203e-07 | 0.0053112 | 0.0053111 | 0.0053112 | 0.99416 | -0.11212 | 0.99427 | -0.10998 | 1.4591
23 | 0.0027382 | 0.00068618 | -0.0027382 | -0.00068626 | 5.4846e-08 | -7.7846e-08 | 0.004098 | 0.004098 | 0.004098 | 0.99427 | -0.10998 | 0.99425 | -0.1104 | 1.1258
24 | -0.017236 | -0.0043218 | 0.01724 | 0.0043242 | 3.9383e-06 | 2.319e-06 | 0.025897 | 0.025897 | 0.025897 | 0.99038 | -0.18493 | 0.99063 | -0.18013 | 7.1147
25 | 0.017236 | 0.0043218 | -0.01723 | -0.0043183 | 6.0682e-06 | 3.5733e-06 | 0.025897 | 0.025898 | 0.025898 | 0.99038 | -0.18493 | 0.99 | -0.19232 | 7.1147
26 | 0.006681 | 0.0016745 | -0.0066792 | -0.001674 | 1.7836e-06 | 5.3368e-07 | 0.010035 | 0.010036 | 0.010036 | 0.99063 | -0.18013 | 0.99034 | -0.18574 | 2.7571
27 | -0.023921 | -0.0059987 | 0.023926 | 0.0060016 | 4.8433e-06 | 2.9709e-06 | 0.035933 | 0.035933 | 0.035933 | 0.99063 | -0.18013 | 0.99085 | -0.17589 | 9.8717
28 | 0.049697 | 0.012465 | -0.049672 | -0.012449 | 2.5245e-05 | 1.6001e-05 | 0.074674 | 0.074674 | 0.074674 | 0.99036 | -0.18532 | 0.98981 | -0.19598 | 20.5148
29 | -0.049697 | -0.012465 | 0.049732 | 0.012487 | 3.5159e-05 | 2.2285e-05 | 0.074674 | 0.074674 | 0.074674 | 0.99036 | -0.18532 | 0.99112 | -0.17049 | 20.5147
30 | 0.044975 | 0.011272 | -0.044975 | -0.011272 | 1.7281e-07 | 1.0931e-07 | 0.067613 | 0.067613 | 0.067613 | 0.98981 | -0.19598 | 0.9898 | -0.19606 | 18.5749
31 | -0.055653 | -0.013971 | 0.055681 | 0.013989 | 2.7615e-05 | 1.7538e-05 | 0.083563 | 0.083563 | 0.083563 | 0.99112 | -0.17049 | 0.99166 | -0.16009 | 22.9568
32 | -0.033103 | -0.0083024 | 0.033109 | 0.0083066 | 6.677e-06 | 4.1787e-06 | 0.049483 | 0.049483 | 0.049483 | 0.99549 | -0.086499 | 0.99571 | -0.082268 | 13.5941
33 | -0.01302 | -0.0032632 | 0.013022 | 0.0032641 | 1.5933e-06 | 8.7656e-07 | 0.019553 | 0.019553 | 0.019553 | 0.99087 | -0.17549 | 0.991 | -0.17293 | 5.3717
34 | -0.02077 | -0.0052059 | 0.020778 | 0.0052107 | 7.8026e-06 | 4.7179e-06 | 0.031187 | 0.031187 | 0.031187 | 0.991 | -0.17293 | 0.99141 | -0.16504 | 8.5678
35 | -0.037866 | -0.0095303 | 0.037883 | 0.0095407 | 1.6602e-05 | 1.0446e-05 | 0.056655 | 0.056655 | 0.056655 | 0.99479 | -0.099909 | 0.99526 | -0.09074 | 15.5644
36 | 0.004597 | 0.0011521 | -0.004597 | -0.0011521 | 4.4974e-08 | -3.8291e-09 | 0.006893 | 0.006893 | 0.006893 | 0.99238 | -0.14634 | 0.99237 | -0.14654 | 1.8937
37 | -0.040428 | -0.010168 | 0.04047 | 0.010194 | 4.1908e-05 | 2.6431e-05 | 0.060767 | 0.060767 | 0.060767 | 0.99018 | -0.18863 | 0.9913 | -0.16695 | 16.6943
38 | 0.040428 | 0.010168 | -0.040395 | -0.010147 | 3.3056e-05 | 2.0849e-05 | 0.060767 | 0.060767 | 0.060767 | 0.99018 | -0.18863 | 0.9893 | -0.20576 | 16.6943
39 | -0.06846 | -0.017215 | 0.068576 | 0.017288 | 0.00011582 | 7.375e-05 | 0.10278 | 0.10278 | 0.10278 | 0.9913 | -0.16695 | 0.99313 | -0.13159 | 28.2374
40 | 0.02799 | 0.0070208 | -0.027985 | -0.0070174 | 5.4327e-06 | 3.3712e-06 | 0.042017 | 0.042017 | 0.042017 | 0.9913 | -0.16695 | 0.99109 | -0.17102 | 11.5432
41 | 0.0344 | 0.0086442 | -0.034382 | -0.0086331 | 1.7707e-05 | 1.1106e-05 | 0.05175 | 0.05175 | 0.05175 | 0.9893 | -0.20576 | 0.98874 | -0.21655 | 14.217
42 | -0.0022364 | -0.00056048 | 0.0022364 | 0.00056027 | 8.7834e-08 | -2.1305e-07 | 0.0033529 | 0.0033528 | 0.0033529 | 0.99249 | -0.14408 | 0.99253 | -0.14326 | 0.92113
43 | -0.0022364 | -0.00056027 | 0.0022365 | 0.00056012 | 6.1443e-08 | -1.4906e-07 | 0.0033528 | 0.0033528 | 0.0033528 | 0.99253 | -0.14326 | 0.99256 | -0.14268 | 0.92111
44 | -0.083323 | -0.020912 | 0.083366 | 0.020939 | 4.3117e-05 | 2.75e-05 | 0.12514 | 0.12514 | 0.12514 | 0.99085 | -0.17589 | 0.99141 | -0.16504 | 34.3794
45 | 0.059397 | 0.01491 | -0.059348 | -0.014879 | 4.8979e-05 | 3.1135e-05 | 0.089208 | 0.089208 | 0.089208 | 0.99085 | -0.17589 | 0.98996 | -0.19319 | 24.5078
46 | -0.055681 | -0.013989 | 0.05573 | 0.01402 | 4.9045e-05 | 3.1147e-05 | 0.083563 | 0.083562 | 0.083563 | 0.99166 | -0.16009 | 0.99261 | -0.14165 | 22.9567
47 | 0.0070019 | 0.0017545 | -0.0070016 | -0.0017544 | 3.4409e-07 | 1.1257e-07 | 0.010496 | 0.010496 | 0.010496 | 0.99261 | -0.14165 | 0.99256 | -0.14268 | 2.8836
48 | -0.062732 | -0.015774 | 0.062884 | 0.015871 | 0.0001527 | 9.713e-05 | 0.094059 | 0.094059 | 0.094059 | 0.99261 | -0.14165 | 0.99525 | -0.09082 | 25.8403
49 | -0.16918 | -0.042885 | 0.16935 | 0.042991 | 0.00016563 | 0.00010564 | 0.25219 | 0.25219 | 0.25219 | 0.99893 | -0.02035 | 1 | 0 | 34.6413
50 | 0.16918 | 0.042885 | -0.16903 | -0.042785 | 0.00015712 | 0.00010022 | 0.25219 | 0.25219 | 0.25219 | 0.99893 | -0.02035 | 0.99792 | -0.039695 | 34.6413
51 | 0.22383 | 0.056719 | -0.22309 | -0.056244 | 0.00074386 | 0.00047514 | 0.33329 | 0.33329 | 0.33329 | 1 | 0 | 0.99637 | -0.069423 | 45.781
52 | 0.15765 | 0.039933 | -0.15739 | -0.039766 | 0.00026194 | 0.00016698 | 0.23522 | 0.23522 | 0.23522 | 0.99792 | -0.039695 | 0.99611 | -0.074351 | 32.3105
53 | -0.061888 | -0.015557 | 0.061951 | 0.015597 | 6.3062e-05 | 4.0104e-05 | 0.092545 | 0.092544 | 0.092545 | 0.99526 | -0.09074 | 0.99637 | -0.069423 | 25.4243
54 | 0.043887 | 0.011018 | -0.043863 | -0.011003 | 2.4186e-05 | 1.5284e-05 | 0.06555 | 0.06555 | 0.06555 | 0.99637 | -0.069423 | 0.99577 | -0.080983 | 18.0081
55 | 0.11725 | 0.029629 | -0.11704 | -0.029492 | 0.00021446 | 0.00013701 | 0.17519 | 0.17519 | 0.17519 | 0.99637 | -0.069423 | 0.99438 | -0.10765 | 48.1296
56 | 0.034403 | 0.0086316 | -0.034401 | -0.0086303 | 2.108e-06 | 1.3214e-06 | 0.051413 | 0.051413 | 0.051413 | 0.99577 | -0.080983 | 0.99571 | -0.082268 | 14.1244
57 | 0.10443 | 0.026333 | -0.10414 | -0.02615 | 0.000286 | 0.00018264 | 0.15633 | 0.15633 | 0.15633 | 0.99438 | -0.10765 | 0.99141 | -0.16504 | 42.9472
58 | 0.0098546 | 0.0024702 | -0.0098527 | -0.0024693 | 1.844e-06 | 8.9694e-07 | 0.014876 | 0.014876 | 0.014876 | 0.98574 | -0.27481 | 0.98554 | -0.27874 | 4.0868
59 | -0.016475 | -0.0041294 | 0.016482 | 0.0041338 | 7.4278e-06 | 4.3454e-06 | 0.02487 | 0.02487 | 0.02487 | 0.98574 | -0.27481 | 0.98623 | -0.26535 | 6.8323
60 | 0.0049173 | 0.0012324 | -0.0049172 | -0.0012324 | 5.4982e-08 | 1.2941e-09 | 0.0074243 | 0.0074244 | 0.0074244 | 0.98554 | -0.27874 | 0.98553 | -0.27897 | 2.0397
61 | -0.016482 | -0.0041338 | 0.016498 | 0.0041428 | 1.5363e-05 | 8.9865e-06 | 0.02487 | 0.024869 | 0.02487 | 0.98623 | -0.26535 | 0.98723 | -0.24581 | 6.8323
62 | -0.016498 | -0.0041428 | 0.016517 | 0.0041542 | 1.9536e-05 | 1.1424e-05 | 0.024869 | 0.024869 | 0.024869 | 0.98723 | -0.24581 | 0.98851 | -0.22102 | 6.8322
63 | -0.019082 | -0.004797 | 0.019086 | 0.0047994 | 4.0073e-06 | 2.3986e-06 | 0.02873 | 0.02873 | 0.02873 | 0.98851 | -0.22102 | 0.98874 | -0.21663 | 7.8928
64 | -0.024709 | -0.0062087 | 0.024709 | 0.0062087 | 9.2701e-08 | 5.7037e-08 | 0.037192 | 0.037192 | 0.037192 | 0.98874 | -0.21663 | 0.98874 | -0.21655 | 10.2177
65 | 0.04729 | 0.011857 | -0.047287 | -0.011855 | 3.3611e-06 | 2.1283e-06 | 0.071084 | 0.071084 | 0.071084 | 0.98996 | -0.19319 | 0.98988 | -0.19468 | 19.5287
66 | 0.04033 | 0.010112 | -0.040319 | -0.010105 | 1.0481e-05 | 6.6102e-06 | 0.060626 | 0.060627 | 0.060627 | 0.98988 | -0.19468 | 0.9896 | -0.20014 | 16.6556
67 | -0.0075699 | -0.0018972 | 0.0075708 | 0.0018975 | 8.8913e-07 | 3.326e-07 | 0.011367 | 0.011367 | 0.011367 | 0.99096 | -0.17349 | 0.99109 | -0.17102 | 3.1228
68 | 0.020414 | 0.0051199 | -0.020408 | -0.0051166 | 5.4868e-06 | 3.3109e-06 | 0.03065 | 0.03065 | 0.03065 | 0.99109 | -0.17102 | 0.9908 | -0.17666 | 8.4204
69 | 0.017374 | 0.0043562 | -0.017373 | -0.0043557 | 8.6989e-07 | 5.1286e-07 | 0.026094 | 0.026094 | 0.026094 | 0.9908 | -0.17666 | 0.99074 | -0.17771 | 7.1686
70 | -0.081807 | -0.020604 | 0.081967 | 0.020706 | 0.00015983 | 0.00010192 | 0.12261 | 0.12261 | 0.12261 | 0.99313 | -0.13159 | 0.99525 | -0.09082 | 33.6835
71 | 0.016187 | 0.0040583 | -0.016182 | -0.0040556 | 4.4996e-06 | 2.6184e-06 | 0.024312 | 0.024312 | 0.024312 | 0.99074 | -0.17771 | 0.99044 | -0.18355 | 6.679
72 | -0.14485 | -0.036578 | 0.14487 | 0.036588 | 1.6075e-05 | 1.0241e-05 | 0.21667 | 0.21667 | 0.21667 | 0.99525 | -0.09082 | 0.99537 | -0.088504 | 29.7619
73 | 0.15559 | 0.039318 | -0.15549 | -0.03925 | 0.00010549 | 6.7245e-05 | 0.23255 | 0.23255 | 0.23255 | 0.99611 | -0.074351 | 0.99537 | -0.088504 | 31.9431

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.40533 | 0.10234

## res_load
| p_mw | q_mvar
0 | 0.015115 | 0.0037881
1 | 0.0094584 | 0.0023705
2 | 0.00063305 | 0.00015866
3 | 0.010487 | 0.0026283
4 | 0.0079013 | 0.0019803
5 | 0.0041804 | 0.0010477
6 | 0.0016802 | 0.00042109
7 | 0.0015779 | 0.00039547
8 | 0.01723 | 0.0043183
9 | 0.0046968 | 0.0011771
10 | 0.0059207 | 0.0014839
11 | 0.00064335 | 0.00016124
12 | 0.01302 | 0.0032632
13 | 0.007748 | 0.0019418
14 | 0.00064834 | 0.00016249
15 | 0.0051268 | 0.0012849
16 | 0.0041774 | 0.001047
17 | 0.0018683 | 0.00046825
18 | 0.0027382 | 0.00068626
19 | 0.0059951 | 0.0015025
20 | 0.0022364 | 0.00056048
21 | 0.0066792 | 0.001674
22 | 0.044975 | 0.011272
23 | 0.010497 | 0.0026308
24 | 0.01138 | 0.002852
25 | 0.024005 | 0.0060163
26 | 0.0094603 | 0.002371
27 | 0.012606 | 0.0031594
28 | 0.0012917 | 0.00032372
29 | 0.0066203 | 0.0016592
30 | 0.0049355 | 0.0012369
31 | 0.0049172 | 0.0012324
32 | 0.0025648 | 0.0006428
33 | 0.0056232 | 0.0014093
34 | 0.012058 | 0.0030219
35 | 0.0069569 | 0.0017436
36 | 0.040319 | 0.010105
37 | 0.0075699 | 0.0018972
38 | 0.003034 | 0.00076039
39 | 0.013231 | 0.003316
40 | 0.004597 | 0.0011521
41 | 0.0011866 | 0.0002974
42 | 0.016182 | 0.0040556
43 | 0.0017904 | 0.00044871
44 | 0.010622 | 0.0026622
45 | 0.0047651 | 0.0011942
46 | 0.0096731 | 0.0024243

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1