## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1630-102_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1630-102_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1630-102_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1630-102_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1630-102_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1630-102_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1630-102_0_4_node_10 | 0.4 | n |  | TRUE
7 | bus_LV_1630-102_0_4_node_14 | 0.4 | n |  | TRUE
8 | bus_LV_1630-102_0_4_node_24 | 0.4 | n |  | TRUE
9 | bus_LV_1630-102_0_4_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_1630-102_0_4_node_12 | 0.4 | n |  | TRUE
11 | bus_LV_1630-102_0_4_node_25 | 0.4 | n |  | TRUE
12 | bus_LV_1630-102_0_4_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_1630-102_0_4_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_1630-102_0_4_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_1630-102_0_4_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_1630-102_0_4_node_23 | 0.4 | n |  | TRUE
17 | bus_LV_1630-102_0_4_node_54 | 0.4 | n |  | TRUE
18 | bus_LV_1630-102_0_4_node_58 | 0.4 | n |  | TRUE
19 | bus_LV_1630-102_0_4_node_20 | 0.4 | n |  | TRUE
20 | bus_LV_1630-102_0_4_node_22 | 0.4 | n |  | TRUE
21 | bus_LV_1630-102_0_4_node_51 | 0.4 | n |  | TRUE
22 | bus_LV_1630-102_0_4_node_41 | 0.4 | n |  | TRUE
23 | bus_LV_1630-102_0_4_node_50 | 0.4 | n |  | TRUE
24 | bus_LV_1630-102_0_4_node_34 | 0.4 | n |  | TRUE
25 | bus_LV_1630-102_0_4_node_35 | 0.4 | n |  | TRUE
26 | bus_LV_1630-102_0_4_node_55 | 0.4 | n |  | TRUE
27 | bus_LV_1630-102_0_4_node_13 | 0.4 | n |  | TRUE
28 | bus_LV_1630-102_0_4_node_15 | 0.4 | n |  | TRUE
29 | bus_LV_1630-102_0_4_node_16 | 0.4 | n |  | TRUE
30 | bus_LV_1630-102_0_4_node_17 | 0.4 | n |  | TRUE
31 | bus_LV_1630-102_0_4_node_37 | 0.4 | n |  | TRUE
32 | bus_LV_1630-102_0_4_node_46 | 0.4 | n |  | TRUE
33 | bus_LV_1630-102_0_4_node_18 | 0.4 | n |  | TRUE
34 | bus_LV_1630-102_0_4_node_21 | 0.4 | n |  | TRUE
35 | bus_LV_1630-102_0_4_node_47 | 0.4 | n |  | TRUE
36 | bus_LV_1630-102_0_4_node_52 | 0.4 | n |  | TRUE
37 | bus_LV_1630-102_0_4_node_48 | 0.4 | n |  | TRUE
38 | bus_LV_1630-102_0_4_node_33 | 0.4 | n |  | TRUE
39 | bus_LV_1630-102_0_4_node_49 | 0.4 | n |  | TRUE
40 | bus_LV_1630-102_0_4_node_32 | 0.4 | n |  | TRUE
41 | bus_LV_1630-102_0_4_node_56 | 0.4 | n |  | TRUE
42 | bus_LV_1630-102_0_4_node_26 | 0.4 | n |  | TRUE
43 | bus_LV_1630-102_0_4_node_27 | 0.4 | n |  | TRUE
44 | bus_LV_1630-102_0_4_node_28 | 0.4 | n |  | TRUE
45 | bus_LV_1630-102_0_4_node_29 | 0.4 | n |  | TRUE
46 | bus_LV_1630-102_0_4_node_30 | 0.4 | n |  | TRUE
47 | bus_LV_1630-102_0_4_node_31 | 0.4 | n |  | TRUE
48 | bus_LV_1630-102_0_4_node_40 | 0.4 | n |  | TRUE
49 | bus_LV_1630-102_0_4_node_39 | 0.4 | n |  | TRUE
50 | bus_LV_1630-102_0_4_node_36 | 0.4 | n |  | TRUE
51 | bus_LV_1630-102_0_4_node_42 | 0.4 | n |  | TRUE
52 | bus_LV_1630-102_0_4_node_43 | 0.4 | n |  | TRUE
53 | bus_LV_1630-102_0_4_node_45 | 0.4 | n |  | TRUE
54 | bus_LV_1630-102_0_4_node_38 | 0.4 | n |  | TRUE
55 | bus_LV_1630-102_0_4_node_44 | 0.4 | n |  | TRUE
56 | bus_MV_54_0_node_36 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1630-102_0_4_load_0 | 0 | 0.010803 | 0.0027074 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1630-102_0_4_load_1 | 1 | 0.0090273 | 0.0022625 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1630-102_0_4_load_3 | 3 | 0.0087404 | 0.0021905 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1630-102_0_4_load_4 | 4 | 0.0062642 | 0.00157 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1630-102_0_4_load_5 | 5 | 0.0069294 | 0.0017367 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1630-102_0_4_load_14 | 7 | 0.0045264 | 0.0011344 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1630-102_0_4_load_24 | 8 | 0.0045546 | 0.0011415 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1630-102_0_4_load_12 | 10 | 0.008046 | 0.0020165 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1630-102_0_4_load_6 | 12 | 0.0075938 | 0.0019032 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1630-102_0_4_load_7 | 13 | 0.0071117 | 0.0017824 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1630-102_0_4_load_11 | 15 | 0.0025962 | 0.00065067 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1630-102_0_4_load_54 | 17 | 0.011835 | 0.0029663 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1630-102_0_4_load_58 | 18 | 0.018332 | 0.0045945 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1630-102_0_4_load_41 | 22 | 0.003261 | 0.00081728 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1630-102_0_4_load_50 | 23 | 0.020959 | 0.0052527 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1630-102_0_4_load_34 | 24 | 0.0047769 | 0.0011972 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1630-102_0_4_load_35 | 25 | 0.010727 | 0.0026883 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1630-102_0_4_load_55 | 26 | 0.0066737 | 0.0016726 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1630-102_0_4_load_13 | 27 | 0.010948 | 0.0027438 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1630-102_0_4_load_15 | 28 | 0.01316 | 0.0032982 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1630-102_0_4_load_16 | 29 | 0.0091985 | 0.0023054 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1630-102_0_4_load_17 | 30 | 0.012436 | 0.0031168 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1630-102_0_4_load_37 | 31 | 0.011634 | 0.0029159 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1630-102_0_4_load_18 | 33 | 0.011423 | 0.0028628 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1630-102_0_4_load_21 | 34 | 0.0054228 | 0.0013591 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1630-102_0_4_load_52 | 36 | 0.0080388 | 0.0020147 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1630-102_0_4_load_48 | 37 | 0.065332 | 0.016374 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1630-102_0_4_load_33 | 38 | 0.0077553 | 0.0019437 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1630-102_0_4_load_56 | 41 | 0.0057439 | 0.0014396 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1630-102_0_4_load_26 | 42 | 0.0063275 | 0.0015858 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1630-102_0_4_load_27 | 43 | 0.013133 | 0.0032915 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1630-102_0_4_load_28 | 44 | 0.0021141 | 0.00052985 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1630-102_0_4_load_29 | 45 | 0.0095483 | 0.002393 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1630-102_0_4_load_31 | 47 | 0.0076883 | 0.0019269 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1630-102_0_4_load_40 | 48 | 0.0065118 | 0.001632 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1630-102_0_4_load_36 | 50 | 0.016229 | 0.0040675 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1630-102_0_4_load_42 | 51 | 0.0052862 | 0.0013249 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1630-102_0_4_load_45 | 53 | 0.014725 | 0.0036906 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1630-102_0_4_load_38 | 54 | 0.0044434 | 0.0011136 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1630-102_0_4_load_44 | 55 | 0.015984 | 0.004006 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 24 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1630-102_0_4_line_0 |  | 0 | 1 | 0.022858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
1 | LV_1630-102_0_4_line_1 |  | 0 | 2 | 0.014477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
2 | LV_1630-102_0_4_line_2 |  | 1 | 3 | 0.0074462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
3 | LV_1630-102_0_4_line_3 |  | 2 | 4 | 0.019766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
4 | LV_1630-102_0_4_line_4 |  | 2 | 5 | 0.014065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
5 | LV_1630-102_0_4_line_5 |  | 3 | 6 | 0.0199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
6 | LV_1630-102_0_4_line_6 |  | 4 | 7 | 0.020219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
7 | LV_1630-102_0_4_line_7 |  | 5 | 8 | 0.0063275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
8 | LV_1630-102_0_4_line_8 |  | 6 | 9 | 0.017208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
9 | LV_1630-102_0_4_line_9 |  | 7 | 10 | 0.0029252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
10 | LV_1630-102_0_4_line_10 |  | 8 | 11 | 0.0080245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
11 | LV_1630-102_0_4_line_11 |  | 9 | 15 | 0.02723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1630-102_0_4_line_12 |  | 9 | 12 | 0.012955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
13 | LV_1630-102_0_4_line_13 |  | 10 | 27 | 0.018636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
14 | LV_1630-102_0_4_line_14 |  | 11 | 38 | 0.035648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
15 | LV_1630-102_0_4_line_15 |  | 11 | 39 | 0.046778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1630-102_0_4_line_16 |  | 12 | 13 | 0.02502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
17 | LV_1630-102_0_4_line_17 |  | 13 | 14 | 0.025148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
18 | LV_1630-102_0_4_line_18 |  | 14 | 16 | 0.0456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
19 | LV_1630-102_0_4_line_19 |  | 15 | 17 | 0.00023316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1630-102_0_4_line_20 |  | 16 | 18 | 0.025265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1630-102_0_4_line_21 |  | 16 | 19 | 0.035077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
22 | LV_1630-102_0_4_line_22 |  | 16 | 20 | 0.042456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1630-102_0_4_line_23 |  | 17 | 26 | 0.0048809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1630-102_0_4_line_24 |  | 19 | 34 | 0.016156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1630-102_0_4_line_25 |  | 19 | 33 | 0.016558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1630-102_0_4_line_26 |  | 20 | 36 | 0.030397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1630-102_0_4_line_27 |  | 21 | 22 | 0.010984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1630-102_0_4_line_28 |  | 21 | 23 | 0.021206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1630-102_0_4_line_29 |  | 22 | 49 | 0.022677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1630-102_0_4_line_30 |  | 24 | 25 | 0.020678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
31 | LV_1630-102_0_4_line_31 |  | 25 | 50 | 0.02144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
32 | LV_1630-102_0_4_line_32 |  | 27 | 28 | 0.0069415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
33 | LV_1630-102_0_4_line_33 |  | 28 | 29 | 0.013797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
34 | LV_1630-102_0_4_line_34 |  | 29 | 30 | 0.011611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
35 | LV_1630-102_0_4_line_35 |  | 30 | 31 | 0.01074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
36 | LV_1630-102_0_4_line_36 |  | 31 | 32 | 0.022249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
37 | LV_1630-102_0_4_line_37 |  | 32 | 53 | 0.01417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
38 | LV_1630-102_0_4_line_38 |  | 34 | 35 | 0.010614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1630-102_0_4_line_39 |  | 35 | 37 | 0.004633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1630-102_0_4_line_40 |  | 38 | 40 | 0.016107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
41 | LV_1630-102_0_4_line_41 |  | 39 | 41 | 0.028035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1630-102_0_4_line_42 |  | 40 | 47 | 0.036488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
43 | LV_1630-102_0_4_line_43 |  | 42 | 43 | 0.024746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1630-102_0_4_line_44 |  | 42 | 44 | 0.022317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1630-102_0_4_line_45 |  | 43 | 45 | 0.030747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
46 | LV_1630-102_0_4_line_46 |  | 44 | 46 | 0.018868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1630-102_0_4_line_47 |  | 45 | 47 | 0.02847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
48 | LV_1630-102_0_4_line_48 |  | 46 | 48 | 0.038198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1630-102_0_4_line_49 |  | 48 | 49 | 0.0025992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1630-102_0_4_line_50 |  | 49 | 54 | 0.017673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1630-102_0_4_line_51 |  | 50 | 51 | 0.023267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
52 | LV_1630-102_0_4_line_52 |  | 51 | 52 | 0.011917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
53 | LV_1630-102_0_4_line_53 |  | 52 | 55 | 0.016271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
54 | LV_1630-102_0_4_line_54 |  | 53 | 55 | 0.024411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1630-102_0_4_trafo_34 | 0.63 MVA 20/0.4 kV | 56 | 24 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2723379.6438 | 1219348.6102 | 2723376.4722 | 1219347.9472 | 2723370.1873 | 1219347.1831 | 2723363.7636 | 1219346.8943 | 2723356.9141 | 1219347.2093
1 | 2723393.6534 | 1219352.2286 | 2723384.3254 | 1219349.5889 | 2723379.6438 | 1219348.6102
2 | 2723349.5012 | 1219347.8943 | 2723355.5953 | 1219347.2699 | 2723356.9141 | 1219347.2093
3 | 2723393.6534 | 1219352.2286 | 2723387.1433 | 1219370.8923
4 | 2723393.6534 | 1219352.2286 | 2723399.0423 | 1219353.7303 | 2723407.0518 | 1219356.4883
5 | 2723330.0314 | 1219351.8776 | 2723339.4722 | 1219349.4378 | 2723348.1021 | 1219348.0376 | 2723349.5012 | 1219347.8943
6 | 2723387.1433 | 1219370.8923 | 2723380.4843 | 1219389.9829
7 | 2723413.0345 | 1219358.5483 | 2723407.0518 | 1219356.4883
8 | 2723330.0314 | 1219351.8776 | 2723313.5586 | 1219357.0073
9 | 2723379.5209 | 1219392.7449 | 2723380.4843 | 1219389.9829
10 | 2723420.6218 | 1219361.1609 | 2723413.0345 | 1219358.5483
11 | 2723313.5586 | 1219357.0073 | 2723311.773 | 1219351.9553 | 2723311.6406 | 1219349.5507 | 2723316.8444 | 1219330.796
12 | 2723313.5586 | 1219357.0073 | 2723301.1882 | 1219360.8545
13 | 2723379.5209 | 1219392.7449 | 2723373.3832 | 1219410.3408
14 | 2723420.6218 | 1219361.1609 | 2723421.312 | 1219358.6288 | 2723430.0134 | 1219326.7723
15 | 2723420.6218 | 1219361.1609 | 2723421.6699 | 1219361.5051 | 2723427.755 | 1219363.4772 | 2723430.3793 | 1219364.3211 | 2723434.7251 | 1219354.2588 | 2723438.2768 | 1219342.2229 | 2723450.5293 | 1219346.6025
16 | 2723301.1882 | 1219360.8545 | 2723277.2973 | 1219368.2844
17 | 2723253.2838 | 1219375.7525 | 2723277.2973 | 1219368.2844
18 | 2723209.7416 | 1219389.2958 | 2723251.5342 | 1219376.2945 | 2723253.2838 | 1219375.7525
19 | 2723316.9068 | 1219330.5713 | 2723316.8444 | 1219330.796
20 | 2723209.7416 | 1219389.2958 | 2723206.5849 | 1219379.7008 | 2723209.4815 | 1219364.8157
21 | 2723202.9175 | 1219416.4204 | 2723201.9197 | 1219405.5801 | 2723201.4529 | 1219402.8239 | 2723200.6668 | 1219400.0944 | 2723198.8534 | 1219393.4517 | 2723201.8807 | 1219392.0576 | 2723204.8506 | 1219390.8737 | 2723209.7416 | 1219389.2958
22 | 2723209.7416 | 1219389.2958 | 2723204.8506 | 1219390.8737 | 2723201.8807 | 1219392.0576 | 2723198.8534 | 1219393.4517 | 2723195.0054 | 1219390.8478 | 2723190.3293 | 1219388.6494 | 2723186.4516 | 1219387.4794 | 2723169.8579 | 1219384.156
23 | 2723318.2118 | 1219325.8681 | 2723316.9068 | 1219330.5713
24 | 2723202.9175 | 1219416.4204 | 2723207.5654 | 1219415.9495 | 2723207.158 | 1219411.0594 | 2723213.7086 | 1219410.4633
25 | 2723202.9175 | 1219416.4204 | 2723204.4356 | 1219432.9087
26 | 2723169.8579 | 1219384.156 | 2723168.7946 | 1219390.7836 | 2723168.6268 | 1219394.4942 | 2723170.4986 | 1219414.3762
27 | 2723258.0975 | 1219336.8438 | 2723261.1547 | 1219326.2938
28 | 2723258.0975 | 1219336.8438 | 2723237.7413 | 1219330.8995
29 | 2723267.4665 | 1219304.5124 | 2723261.1547 | 1219326.2938
30 | 2723325.4953 | 1219380.9686 | 2723318.6947 | 1219400.4968
31 | 2723311.6435 | 1219420.7443 | 2723318.6947 | 1219400.4968
32 | 2723371.0971 | 1219416.895 | 2723373.3832 | 1219410.3408
33 | 2723366.553 | 1219429.9224 | 2723371.0971 | 1219416.895
34 | 2723366.553 | 1219429.9224 | 2723362.7289 | 1219440.8857
35 | 2723359.1915 | 1219451.0269 | 2723362.7289 | 1219440.8857
36 | 2723351.8637 | 1219472.0349 | 2723359.1915 | 1219451.0269
37 | 2723351.8637 | 1219472.0349 | 2723348.6608 | 1219470.9122 | 2723338.4856 | 1219467.3646
38 | 2723224.278 | 1219409.49 | 2723220.9164 | 1219409.7985 | 2723214.9231 | 1219410.3528 | 2723213.7086 | 1219410.4633
39 | 2723226.9013 | 1219413.314 | 2723224.278 | 1219409.49
40 | 2723433.8279 | 1219311.1286 | 2723431.9583 | 1219319.6521 | 2723430.0134 | 1219326.7723
41 | 2723450.5293 | 1219346.6025 | 2723476.9319 | 1219356.028
42 | 2723433.8279 | 1219311.1286 | 2723398.9494 | 1219300.4117
43 | 2723342.1622 | 1219283.6302 | 2723318.3885 | 1219276.7607
44 | 2723296.9488 | 1219270.5655 | 2723318.3885 | 1219276.7607
45 | 2723371.7006 | 1219292.1655 | 2723342.1622 | 1219283.6302
46 | 2723278.8221 | 1219265.3277 | 2723296.9488 | 1219270.5655
47 | 2723398.9494 | 1219300.4117 | 2723378.6041 | 1219294.1603 | 2723371.7006 | 1219292.1655
48 | 2723278.8221 | 1219265.3277 | 2723268.19 | 1219302.0158
49 | 2723267.4665 | 1219304.5124 | 2723268.19 | 1219302.0158
50 | 2723267.4665 | 1219304.5124 | 2723250.3988 | 1219299.9265
51 | 2723311.6435 | 1219420.7443 | 2723303.9916 | 1219442.7168
52 | 2723300.0724 | 1219453.9709 | 2723303.9916 | 1219442.7168
53 | 2723300.0724 | 1219453.9709 | 2723304.7149 | 1219455.5904 | 2723315.4356 | 1219459.3282
54 | 2723315.4356 | 1219459.3282 | 2723338.4856 | 1219467.3646

## bus_geodata
| x | y | coords
0 | 2723379.6438 | 1219348.6102
1 | 2723356.9141 | 1219347.2093
2 | 2723393.6534 | 1219352.2286
3 | 2723349.5012 | 1219347.8943
4 | 2723387.1433 | 1219370.8923
5 | 2723407.0518 | 1219356.4883
6 | 2723330.0314 | 1219351.8776
7 | 2723380.4843 | 1219389.9829
8 | 2723413.0345 | 1219358.5483
9 | 2723313.5586 | 1219357.0073
10 | 2723379.5209 | 1219392.7449
11 | 2723420.6218 | 1219361.1609
12 | 2723301.1882 | 1219360.8545
13 | 2723277.2973 | 1219368.2844
14 | 2723253.2838 | 1219375.7525
15 | 2723316.8444 | 1219330.796
16 | 2723209.7416 | 1219389.2958
17 | 2723316.9068 | 1219330.5713
18 | 2723209.4815 | 1219364.8157
19 | 2723202.9175 | 1219416.4204
20 | 2723169.8579 | 1219384.156
21 | 2723258.0975 | 1219336.8438
22 | 2723261.1547 | 1219326.2938
23 | 2723237.7413 | 1219330.8995
24 | 2723325.4953 | 1219380.9686
25 | 2723318.6947 | 1219400.4968
26 | 2723318.2118 | 1219325.8681
27 | 2723373.3832 | 1219410.3408
28 | 2723371.0971 | 1219416.895
29 | 2723366.553 | 1219429.9224
30 | 2723362.7289 | 1219440.8857
31 | 2723359.1915 | 1219451.0269
32 | 2723351.8637 | 1219472.0349
33 | 2723204.4356 | 1219432.9087
34 | 2723213.7086 | 1219410.4633
35 | 2723224.278 | 1219409.49
36 | 2723170.4986 | 1219414.3762
37 | 2723226.9013 | 1219413.314
38 | 2723430.0134 | 1219326.7723
39 | 2723450.5293 | 1219346.6025
40 | 2723433.8279 | 1219311.1286
41 | 2723476.9319 | 1219356.028
42 | 2723318.3885 | 1219276.7607
43 | 2723342.1622 | 1219283.6302
44 | 2723296.9488 | 1219270.5655
45 | 2723371.7006 | 1219292.1655
46 | 2723278.8221 | 1219265.3277
47 | 2723398.9494 | 1219300.4117
48 | 2723268.19 | 1219302.0158
49 | 2723267.4665 | 1219304.5124
50 | 2723311.6435 | 1219420.7443
51 | 2723303.9916 | 1219442.7168
52 | 2723300.0724 | 1219453.9709
53 | 2723338.4856 | 1219467.3646
54 | 2723250.3988 | 1219299.9265
55 | 2723315.4356 | 1219459.3282
56 | 2723330.0314 | 1219351.8776

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97866 | -0.40879 | 0.010803 | 0.0027074
1 | 0.97779 | -0.42567 | 0.0090273 | 0.0022625
2 | 0.97924 | -0.39741 | 0 | 0
3 | 0.97753 | -0.43087 | 0.0087404 | 0.0021905
4 | 0.98049 | -0.37301 | 0.0062642 | 0.00157
5 | 0.97891 | -0.40374 | 0.0069294 | 0.0017367
6 | 0.97686 | -0.44398 | 0 | 0
7 | 0.9818 | -0.34755 | 0.0045264 | 0.0011344
8 | 0.97878 | -0.40639 | 0.0045546 | 0.0011415
9 | 0.97628 | -0.45533 | 0 | 0
10 | 0.98199 | -0.34381 | 0.008046 | 0.0020165
11 | 0.97862 | -0.40958 | 0 | 0
12 | 0.9759 | -0.46263 | 0.0075938 | 0.0019032
13 | 0.97523 | -0.47589 | 0.0071117 | 0.0017824
14 | 0.97459 | -0.4884 | 0 | 0
15 | 0.97574 | -0.46585 | 0.0025962 | 0.00065067
16 | 0.97343 | -0.51114 | 0 | 0
17 | 0.97574 | -0.46593 | 0.011835 | 0.0029663
18 | 0.973 | -0.51966 | 0.018332 | 0.0045945
19 | 0.97209 | -0.53769 | 0 | 0
20 | 0.97312 | -0.51742 | 0 | 0
21 | 0.97088 | -0.56168 | 0 | 0
22 | 0.9711 | -0.55742 | 0.003261 | 0.00081728
23 | 0.97047 | -0.5699 | 0.020959 | 0.0052527
24 | 1 | 0 | -0.42095 | -0.10826
25 | 0.99803 | -0.03712 | 0.010727 | 0.0026883
26 | 0.97571 | -0.46652 | 0.0066737 | 0.0016726
27 | 0.98325 | -0.31935 | 0.010948 | 0.0027438
28 | 0.98374 | -0.30992 | 0.01316 | 0.0032982
29 | 0.98475 | -0.29037 | 0.0091985 | 0.0023054
30 | 0.98563 | -0.27348 | 0.012436 | 0.0031168
31 | 0.98647 | -0.25728 | 0.011634 | 0.0029159
32 | 0.98827 | -0.22266 | 0 | 0
33 | 0.97191 | -0.54118 | 0.011423 | 0.0028628
34 | 0.97102 | -0.55879 | 0.0054228 | 0.0013591
35 | 0.97037 | -0.57162 | 0 | 0
36 | 0.97289 | -0.52192 | 0.0080388 | 0.0020147
37 | 0.97009 | -0.57723 | 0.065332 | 0.016374
38 | 0.97794 | -0.42285 | 0.0077553 | 0.0019437
39 | 0.97837 | -0.41447 | 0 | 0
40 | 0.97766 | -0.42828 | 0 | 0
41 | 0.97822 | -0.41741 | 0.0057439 | 0.0014396
42 | 0.97433 | -0.49362 | 0.0063275 | 0.0015858
43 | 0.97534 | -0.47382 | 0.013133 | 0.0032915
44 | 0.97355 | -0.50891 | 0.0021141 | 0.00052985
45 | 0.97615 | -0.45785 | 0.0095483 | 0.002393
46 | 0.97293 | -0.52113 | 0 | 0
47 | 0.97703 | -0.4406 | 0.0076883 | 0.0019269
48 | 0.97168 | -0.5459 | 0.0065118 | 0.001632
49 | 0.97161 | -0.54728 | 0 | 0
50 | 0.99603 | -0.074752 | 0.016229 | 0.0040675
51 | 0.99396 | -0.11409 | 0.0052862 | 0.0013249
52 | 0.99291 | -0.13403 | 0 | 0
53 | 0.98942 | -0.20067 | 0.014725 | 0.0036906
54 | 0.97154 | -0.54873 | 0.0044434 | 0.0011136
55 | 0.99148 | -0.16132 | 0.015984 | 0.004006
56 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.16302 | 0.041196 | -0.16289 | -0.041112 | 0.0001318 | 8.3202e-05 | 0.248 | 0.248 | 0.248 | 0.97866 | -0.40879 | 0.97779 | -0.42567 | 17.0327
1 | -0.17383 | -0.043903 | 0.17392 | 0.043963 | 9.4895e-05 | 6.0005e-05 | 0.26442 | 0.26442 | 0.26442 | 0.97866 | -0.40879 | 0.97924 | -0.39741 | 18.1608
2 | 0.15387 | 0.03885 | -0.15383 | -0.038826 | 3.8309e-05 | 2.4144e-05 | 0.23426 | 0.23426 | 0.23426 | 0.97779 | -0.42567 | 0.97753 | -0.43087 | 16.0892
3 | -0.27332 | -0.069031 | 0.27364 | 0.069234 | 0.00031995 | 0.00020377 | 0.41552 | 0.41552 | 0.41552 | 0.97924 | -0.39741 | 0.98049 | -0.37301 | 28.5383
4 | 0.099398 | 0.025068 | -0.099367 | -0.025049 | 3.0105e-05 | 1.8559e-05 | 0.1511 | 0.1511 | 0.1511 | 0.97924 | -0.39741 | 0.97891 | -0.40374 | 10.3776
5 | 0.14509 | 0.036635 | -0.145 | -0.036578 | 9.1082e-05 | 5.7295e-05 | 0.22095 | 0.22095 | 0.22095 | 0.97753 | -0.43087 | 0.97686 | -0.44398 | 15.1754
6 | -0.2799 | -0.070804 | 0.28025 | 0.071023 | 0.00034241 | 0.00021812 | 0.42502 | 0.42502 | 0.42502 | 0.98049 | -0.37301 | 0.9818 | -0.34755 | 29.1912
7 | 0.092438 | 0.023312 | -0.092426 | -0.023305 | 1.1721e-05 | 7.183e-06 | 0.14056 | 0.14056 | 0.14056 | 0.97891 | -0.40374 | 0.97878 | -0.40639 | 9.6541
8 | 0.145 | 0.036578 | -0.14492 | -0.036528 | 7.876e-05 | 4.9545e-05 | 0.22095 | 0.22095 | 0.22095 | 0.97686 | -0.44398 | 0.97628 | -0.45533 | 15.1754
9 | -0.28477 | -0.072157 | 0.28482 | 0.07219 | 5.1152e-05 | 3.2589e-05 | 0.43188 | 0.43188 | 0.43188 | 0.9818 | -0.34755 | 0.98199 | -0.34381 | 29.6624
10 | 0.087872 | 0.022164 | -0.087858 | -0.022156 | 1.3436e-05 | 8.1956e-06 | 0.13364 | 0.13364 | 0.13364 | 0.97878 | -0.40639 | 0.97862 | -0.40958 | 9.1786
11 | 0.021116 | 0.005296 | -0.021106 | -0.0052896 | 1.0578e-05 | 6.4298e-06 | 0.032186 | 0.032186 | 0.032186 | 0.97628 | -0.45533 | 0.97574 | -0.46585 | 8.8424
12 | 0.1238 | 0.031232 | -0.12376 | -0.031205 | 4.3277e-05 | 2.705e-05 | 0.18877 | 0.18877 | 0.18877 | 0.97628 | -0.45533 | 0.9759 | -0.46263 | 12.9649
13 | -0.29287 | -0.074206 | 0.29321 | 0.074426 | 0.00034453 | 0.00021956 | 0.44408 | 0.44408 | 0.44408 | 0.98199 | -0.34381 | 0.98325 | -0.31935 | 30.4997
14 | 0.082112 | 0.020716 | -0.08206 | -0.020684 | 5.2138e-05 | 3.1578e-05 | 0.1249 | 0.1249 | 0.1249 | 0.97862 | -0.40958 | 0.97794 | -0.42285 | 8.5786
15 | 0.005746 | 0.00144 | -0.0057447 | -0.0014397 | 1.3391e-06 | 2.6943e-07 | 0.008737 | 0.0087372 | 0.0087372 | 0.97862 | -0.40958 | 0.97837 | -0.41447 | 2.4003
16 | 0.11616 | 0.029302 | -0.11609 | -0.029256 | 7.3643e-05 | 4.5882e-05 | 0.17719 | 0.17719 | 0.17719 | 0.9759 | -0.46263 | 0.97523 | -0.47589 | 12.1697
17 | 0.10898 | 0.027474 | -0.10891 | -0.027433 | 6.5233e-05 | 4.0495e-05 | 0.16634 | 0.16634 | 0.16634 | 0.97523 | -0.47589 | 0.97459 | -0.4884 | 11.4244
18 | 0.10891 | 0.027433 | -0.1088 | -0.02736 | 0.00011828 | 7.3432e-05 | 0.16634 | 0.16634 | 0.16634 | 0.97459 | -0.4884 | 0.97343 | -0.51114 | 11.4245
19 | 0.018509 | 0.0046389 | -0.018509 | -0.0046389 | 6.9664e-08 | 4.1673e-08 | 0.028227 | 0.028227 | 0.028227 | 0.97574 | -0.46585 | 0.97574 | -0.46593 | 7.7547
20 | 0.01834 | 0.0045989 | -0.018332 | -0.0045945 | 7.4466e-06 | 4.4519e-06 | 0.028035 | 0.028035 | 0.028035 | 0.97343 | -0.51114 | 0.973 | -0.51966 | 7.702
21 | 0.082413 | 0.020745 | -0.082308 | -0.020679 | 0.00010443 | 6.5966e-05 | 0.12601 | 0.12601 | 0.12601 | 0.97343 | -0.51114 | 0.97209 | -0.53769 | 17.3092
22 | 0.0080429 | 0.0020164 | -0.0080405 | -0.0020154 | 2.4067e-06 | 1.0127e-06 | 0.012295 | 0.012295 | 0.012295 | 0.97343 | -0.51114 | 0.97312 | -0.51742 | 3.3778
23 | 0.0066739 | 0.0016726 | -0.0066737 | -0.0016726 | 1.896e-07 | 6.0381e-08 | 0.010178 | 0.010178 | 0.010178 | 0.97574 | -0.46593 | 0.97571 | -0.46652 | 2.7961
24 | 0.070883 | 0.017815 | -0.070812 | -0.017769 | 7.1353e-05 | 4.5466e-05 | 0.10852 | 0.10852 | 0.10852 | 0.97209 | -0.53769 | 0.97102 | -0.55879 | 29.8138
25 | 0.011425 | 0.0028638 | -0.011423 | -0.0028628 | 1.8991e-06 | 1.0102e-06 | 0.017489 | 0.017489 | 0.017489 | 0.97209 | -0.53769 | 0.97191 | -0.54118 | 4.8046
26 | 0.0080405 | 0.0020154 | -0.0080388 | -0.0020147 | 1.7231e-06 | 7.2527e-07 | 0.012295 | 0.012295 | 0.012295 | 0.97312 | -0.51742 | 0.97289 | -0.52192 | 3.3778
27 | -0.020967 | -0.0052577 | 0.020971 | 0.0052603 | 4.2538e-06 | 2.5865e-06 | 0.032136 | 0.032136 | 0.032136 | 0.97088 | -0.56168 | 0.9711 | -0.55742 | 8.8285
28 | 0.020967 | 0.0052577 | -0.020959 | -0.0052527 | 8.2125e-06 | 4.9939e-06 | 0.032136 | 0.032136 | 0.032136 | 0.97088 | -0.56168 | 0.97047 | -0.5699 | 8.8285
29 | -0.024232 | -0.0060776 | 0.024244 | 0.0060848 | 1.1726e-05 | 7.2237e-06 | 0.037133 | 0.037132 | 0.037133 | 0.9711 | -0.55742 | 0.97161 | -0.54728 | 10.2013
30 | 0.4193 | 0.10826 | -0.41854 | -0.10777 | 0.00075741 | 0.00048366 | 0.62506 | 0.62506 | 0.62506 | 1 | 0 | 0.99803 | -0.03712 | 42.9297
31 | 0.40782 | 0.10509 | -0.40707 | -0.10461 | 0.00074564 | 0.00047609 | 0.60906 | 0.60907 | 0.60907 | 0.99803 | -0.03712 | 0.99603 | -0.074752 | 41.8314
32 | -0.30416 | -0.077169 | 0.3043 | 0.077257 | 0.00013809 | 8.8024e-05 | 0.46064 | 0.46064 | 0.46064 | 0.98325 | -0.31935 | 0.98374 | -0.30992 | 31.6376
33 | -0.31746 | -0.080556 | 0.31776 | 0.080746 | 0.0002987 | 0.00019047 | 0.48055 | 0.48055 | 0.48055 | 0.98374 | -0.30992 | 0.98475 | -0.29037 | 33.0048
34 | -0.32696 | -0.083052 | 0.32722 | 0.083221 | 0.00026613 | 0.00016973 | 0.49445 | 0.49445 | 0.49445 | 0.98475 | -0.29037 | 0.98563 | -0.27348 | 33.9594
35 | -0.33966 | -0.086338 | 0.33993 | 0.086507 | 0.00026522 | 0.00016919 | 0.51322 | 0.51322 | 0.51322 | 0.98563 | -0.27348 | 0.98647 | -0.25728 | 35.2489
36 | -0.35156 | -0.089423 | 0.35215 | 0.089798 | 0.00058763 | 0.00037495 | 0.53077 | 0.53077 | 0.53077 | 0.98647 | -0.25728 | 0.98827 | -0.22266 | 36.4542
37 | -0.35215 | -0.089798 | 0.35252 | 0.090037 | 0.00037424 | 0.00023879 | 0.53077 | 0.53077 | 0.53077 | 0.98827 | -0.22266 | 0.98942 | -0.20067 | 36.4542
38 | 0.065389 | 0.01641 | -0.065349 | -0.016385 | 3.9972e-05 | 2.5451e-05 | 0.10021 | 0.10021 | 0.10021 | 0.97102 | -0.55879 | 0.97037 | -0.57162 | 27.5308
39 | 0.065349 | 0.016385 | -0.065332 | -0.016374 | 1.7448e-05 | 1.1109e-05 | 0.10021 | 0.10021 | 0.10021 | 0.97037 | -0.57162 | 0.97009 | -0.57723 | 27.5308
40 | 0.074305 | 0.01874 | -0.074286 | -0.018729 | 1.9317e-05 | 1.1555e-05 | 0.1131 | 0.1131 | 0.1131 | 0.97794 | -0.42285 | 0.97766 | -0.42828 | 7.7681
41 | 0.0057447 | 0.0014397 | -0.0057439 | -0.0014396 | 8.0255e-07 | 1.6163e-07 | 0.0087372 | 0.0087373 | 0.0087373 | 0.97837 | -0.41447 | 0.97822 | -0.41741 | 2.4004
42 | 0.074286 | 0.018729 | -0.074242 | -0.018703 | 4.376e-05 | 2.6177e-05 | 0.1131 | 0.1131 | 0.1131 | 0.97766 | -0.42828 | 0.97703 | -0.4406 | 7.7682
43 | -0.043732 | -0.011004 | 0.043774 | 0.01103 | 4.1414e-05 | 2.6197e-05 | 0.066804 | 0.066804 | 0.066804 | 0.97433 | -0.49362 | 0.97534 | -0.47382 | 18.3529
44 | 0.037405 | 0.0094178 | -0.037378 | -0.0094005 | 2.7325e-05 | 1.721e-05 | 0.057141 | 0.057141 | 0.057141 | 0.97433 | -0.49362 | 0.97355 | -0.50891 | 15.6981
45 | -0.056907 | -0.014321 | 0.05695 | 0.014348 | 4.3476e-05 | 2.7056e-05 | 0.086841 | 0.08684 | 0.086841 | 0.97534 | -0.47382 | 0.97615 | -0.45785 | 11.9287
46 | 0.035263 | 0.0088707 | -0.035243 | -0.0088578 | 2.0564e-05 | 1.2926e-05 | 0.05391 | 0.05391 | 0.05391 | 0.97355 | -0.50891 | 0.97293 | -0.52113 | 14.8104
47 | -0.066499 | -0.016741 | 0.066553 | 0.016776 | 5.4881e-05 | 3.4412e-05 | 0.1014 | 0.1014 | 0.1014 | 0.97615 | -0.45785 | 0.97703 | -0.4406 | 13.928
48 | 0.035243 | 0.0088578 | -0.035201 | -0.0088316 | 4.163e-05 | 2.6169e-05 | 0.05391 | 0.05391 | 0.05391 | 0.97293 | -0.52113 | 0.97168 | -0.5459 | 14.8105
49 | 0.028689 | 0.0071996 | -0.028687 | -0.0071984 | 1.8817e-06 | 1.1721e-06 | 0.043938 | 0.043938 | 0.043938 | 0.97168 | -0.5459 | 0.97161 | -0.54728 | 12.0709
50 | 0.0044437 | 0.0011136 | -0.0044434 | -0.0011136 | 3.0694e-07 | -2.2418e-08 | 0.0068054 | 0.0068055 | 0.0068055 | 0.97161 | -0.54728 | 0.97154 | -0.54873 | 1.8696
51 | 0.39084 | 0.10054 | -0.3901 | -0.10007 | 0.00074602 | 0.00047625 | 0.58482 | 0.58482 | 0.58482 | 0.99603 | -0.074752 | 0.99396 | -0.11409 | 40.1662
52 | 0.38481 | 0.098741 | -0.38444 | -0.098504 | 0.00037183 | 0.00023736 | 0.57691 | 0.57691 | 0.57691 | 0.99396 | -0.11409 | 0.99291 | -0.13403 | 39.6227
53 | 0.38444 | 0.098504 | -0.38393 | -0.09818 | 0.00050767 | 0.00032407 | 0.57691 | 0.57691 | 0.57691 | 0.99291 | -0.13403 | 0.99148 | -0.16132 | 39.6227
54 | -0.36725 | -0.093727 | 0.36795 | 0.094174 | 0.00069964 | 0.00044651 | 0.55292 | 0.55292 | 0.55292 | 0.98942 | -0.20067 | 0.99148 | -0.16132 | 37.9752

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.42573 | 0.10946

## res_load
| p_mw | q_mvar
0 | 0.010803 | 0.0027074
1 | 0.0090273 | 0.0022625
2 | 0.0087404 | 0.0021905
3 | 0.0062642 | 0.00157
4 | 0.0069294 | 0.0017367
5 | 0.0045264 | 0.0011344
6 | 0.0045546 | 0.0011415
7 | 0.008046 | 0.0020165
8 | 0.0075938 | 0.0019032
9 | 0.0071117 | 0.0017824
10 | 0.0025962 | 0.00065067
11 | 0.011835 | 0.0029663
12 | 0.018332 | 0.0045945
13 | 0.003261 | 0.00081728
14 | 0.020959 | 0.0052527
15 | 0.0047769 | 0.0011972
16 | 0.010727 | 0.0026883
17 | 0.0066737 | 0.0016726
18 | 0.010948 | 0.0027438
19 | 0.01316 | 0.0032982
20 | 0.0091985 | 0.0023054
21 | 0.012436 | 0.0031168
22 | 0.011634 | 0.0029159
23 | 0.011423 | 0.0028628
24 | 0.0054228 | 0.0013591
25 | 0.0080388 | 0.0020147
26 | 0.065332 | 0.016374
27 | 0.0077553 | 0.0019437
28 | 0.0057439 | 0.0014396
29 | 0.0063275 | 0.0015858
30 | 0.013133 | 0.0032915
31 | 0.0021141 | 0.00052985
32 | 0.0095483 | 0.002393
33 | 0.0076883 | 0.0019269
34 | 0.0065118 | 0.001632
35 | 0.016229 | 0.0040675
36 | 0.0052862 | 0.0013249
37 | 0.014725 | 0.0036906
38 | 0.0044434 | 0.0011136
39 | 0.015984 | 0.004006

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1