## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1630-104_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1630-104_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1630-104_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1630-104_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1630-104_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1630-104_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1630-104_0_4_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_1630-104_0_4_node_40 | 0.4 | n |  | TRUE
8 | bus_LV_1630-104_0_4_node_38 | 0.4 | n |  | TRUE
9 | bus_LV_1630-104_0_4_node_34 | 0.4 | n |  | TRUE
10 | bus_LV_1630-104_0_4_node_9 | 0.4 | n |  | TRUE
11 | bus_LV_1630-104_0_4_node_43 | 0.4 | n |  | TRUE
12 | bus_LV_1630-104_0_4_node_39 | 0.4 | n |  | TRUE
13 | bus_LV_1630-104_0_4_node_47 | 0.4 | n |  | TRUE
14 | bus_LV_1630-104_0_4_node_32 | 0.4 | n |  | TRUE
15 | bus_LV_1630-104_0_4_node_35 | 0.4 | n |  | TRUE
16 | bus_LV_1630-104_0_4_node_8 | 0.4 | n |  | TRUE
17 | bus_LV_1630-104_0_4_node_21 | 0.4 | n |  | TRUE
18 | bus_LV_1630-104_0_4_node_7 | 0.4 | n |  | TRUE
19 | bus_LV_1630-104_0_4_node_50 | 0.4 | n |  | TRUE
20 | bus_LV_1630-104_0_4_node_17 | 0.4 | n |  | TRUE
21 | bus_LV_1630-104_0_4_node_10 | 0.4 | n |  | TRUE
22 | bus_LV_1630-104_0_4_node_11 | 0.4 | n |  | TRUE
23 | bus_LV_1630-104_0_4_node_12 | 0.4 | n |  | TRUE
24 | bus_LV_1630-104_0_4_node_13 | 0.4 | n |  | TRUE
25 | bus_LV_1630-104_0_4_node_15 | 0.4 | n |  | TRUE
26 | bus_LV_1630-104_0_4_node_23 | 0.4 | n |  | TRUE
27 | bus_LV_1630-104_0_4_node_22 | 0.4 | n |  | TRUE
28 | bus_LV_1630-104_0_4_node_16 | 0.4 | n |  | TRUE
29 | bus_LV_1630-104_0_4_node_28 | 0.4 | n |  | TRUE
30 | bus_LV_1630-104_0_4_node_42 | 0.4 | n |  | TRUE
31 | bus_LV_1630-104_0_4_node_18 | 0.4 | n |  | TRUE
32 | bus_LV_1630-104_0_4_node_44 | 0.4 | n |  | TRUE
33 | bus_LV_1630-104_0_4_node_51 | 0.4 | n |  | TRUE
34 | bus_LV_1630-104_0_4_node_20 | 0.4 | n |  | TRUE
35 | bus_LV_1630-104_0_4_node_49 | 0.4 | n |  | TRUE
36 | bus_LV_1630-104_0_4_node_27 | 0.4 | n |  | TRUE
37 | bus_LV_1630-104_0_4_node_36 | 0.4 | n |  | TRUE
38 | bus_LV_1630-104_0_4_node_29 | 0.4 | n |  | TRUE
39 | bus_LV_1630-104_0_4_node_30 | 0.4 | n |  | TRUE
40 | bus_LV_1630-104_0_4_node_45 | 0.4 | n |  | TRUE
41 | bus_LV_1630-104_0_4_node_37 | 0.4 | n |  | TRUE
42 | bus_LV_1630-104_0_4_node_24 | 0.4 | n |  | TRUE
43 | bus_LV_1630-104_0_4_node_25 | 0.4 | n |  | TRUE
44 | bus_LV_1630-104_0_4_node_26 | 0.4 | n |  | TRUE
45 | bus_LV_1630-104_0_4_node_41 | 0.4 | n |  | TRUE
46 | bus_LV_1630-104_0_4_node_52 | 0.4 | n |  | TRUE
47 | bus_LV_1630-104_0_4_node_53 | 0.4 | n |  | TRUE
48 | bus_LV_1630-104_0_4_node_31 | 0.4 | n |  | TRUE
49 | bus_LV_1630-104_0_4_node_33 | 0.4 | n |  | TRUE
50 | bus_LV_1630-104_0_4_node_48 | 0.4 | n |  | TRUE
51 | bus_LV_1630-104_0_4_node_54 | 0.4 | n |  | TRUE
52 | bus_LV_1630-104_0_4_node_55 | 0.4 | n |  | TRUE
53 | bus_LV_1630-104_0_4_node_46 | 0.4 | n |  | TRUE
54 | bus_MV_54_0_node_53 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1630-104_0_4_load_0 | 0 | 0.04132 | 0.010356 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1630-104_0_4_load_3 | 3 | 0.019617 | 0.0049165 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1630-104_0_4_load_5 | 5 | 0.010633 | 0.002665 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1630-104_0_4_load_40 | 7 | 0.018438 | 0.0046211 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1630-104_0_4_load_38 | 8 | 0.009542 | 0.0023914 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1630-104_0_4_load_43 | 11 | 0.015304 | 0.0038355 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1630-104_0_4_load_47 | 13 | 0.0040955 | 0.0010264 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1630-104_0_4_load_8 | 16 | 0.014107 | 0.0035357 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1630-104_0_4_load_7 | 18 | 0.013522 | 0.003389 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1630-104_0_4_load_50 | 19 | 0.012521 | 0.0031382 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1630-104_0_4_load_10 | 21 | 0.0052418 | 0.0013137 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1630-104_0_4_load_11 | 22 | 0.0061879 | 0.0015508 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1630-104_0_4_load_13 | 24 | 0.010649 | 0.002669 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1630-104_0_4_load_23 | 26 | 0.0031593 | 0.00079179 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1630-104_0_4_load_22 | 27 | 0.0029407 | 0.00073701 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1630-104_0_4_load_42 | 30 | 0.012329 | 0.0030899 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1630-104_0_4_load_44 | 32 | 0.025642 | 0.0064265 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1630-104_0_4_load_51 | 33 | 0.0074422 | 0.0018652 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1630-104_0_4_load_49 | 35 | 0.0092904 | 0.0023284 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1630-104_0_4_load_27 | 36 | 0.0053752 | 0.0013472 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1630-104_0_4_load_29 | 38 | 0.011753 | 0.0029456 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1630-104_0_4_load_24 | 42 | 0.016394 | 0.0041087 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1630-104_0_4_load_25 | 43 | 0.01242 | 0.0031128 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1630-104_0_4_load_52 | 46 | 0.0089214 | 0.0022359 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1630-104_0_4_load_31 | 48 | 0.025233 | 0.006324 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1630-104_0_4_load_33 | 49 | 0.0097063 | 0.0024326 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1630-104_0_4_load_48 | 50 | 0.0082073 | 0.0020569 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1630-104_0_4_load_54 | 51 | 0.028151 | 0.0070552 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1630-104_0_4_load_55 | 52 | 0.014452 | 0.0036221 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1630-104_0_4_load_46 | 53 | 0.0093327 | 0.002339 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 0 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1630-104_0_4_line_0 |  | 0 | 1 | 0.022497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
1 | LV_1630-104_0_4_line_1 |  | 0 | 2 | 0.026862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
2 | LV_1630-104_0_4_line_2 |  | 1 | 3 | 0.01915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1630-104_0_4_line_3 |  | 1 | 4 | 0.008351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1630-104_0_4_line_4 |  | 2 | 5 | 0.015609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1630-104_0_4_line_5 |  | 2 | 6 | 0.006821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_1630-104_0_4_line_6 |  | 4 | 7 | 0.012404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1630-104_0_4_line_7 |  | 4 | 8 | 0.0058845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1630-104_0_4_line_8 |  | 6 | 9 | 0.028942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1630-104_0_4_line_9 |  | 6 | 10 | 0.031847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1630-104_0_4_line_10 |  | 6 | 11 | 0.024289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1630-104_0_4_line_11 |  | 8 | 12 | 0.013935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1630-104_0_4_line_12 |  | 9 | 13 | 0.013493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1630-104_0_4_line_13 |  | 9 | 14 | 0.004727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1630-104_0_4_line_14 |  | 10 | 15 | 0.003954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1630-104_0_4_line_15 |  | 10 | 16 | 0.012069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1630-104_0_4_line_16 |  | 11 | 17 | 0.010317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1630-104_0_4_line_17 |  | 12 | 41 | 0.007589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1630-104_0_4_line_18 |  | 12 | 44 | 0.03016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1630-104_0_4_line_19 |  | 13 | 50 | 0.0095631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1630-104_0_4_line_20 |  | 14 | 48 | 0.018276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1630-104_0_4_line_21 |  | 14 | 39 | 0.002703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1630-104_0_4_line_22 |  | 15 | 19 | 0.022568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1630-104_0_4_line_23 |  | 15 | 20 | 0.028147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1630-104_0_4_line_24 |  | 16 | 18 | 0.018819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1630-104_0_4_line_25 |  | 17 | 34 | 0.02465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1630-104_0_4_line_26 |  | 20 | 31 | 0.030281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1630-104_0_4_line_27 |  | 20 | 32 | 0.017233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1630-104_0_4_line_28 |  | 21 | 22 | 0.024746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1630-104_0_4_line_29 |  | 21 | 23 | 0.025326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1630-104_0_4_line_30 |  | 22 | 24 | 0.027537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1630-104_0_4_line_31 |  | 23 | 25 | 0.085546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1630-104_0_4_line_32 |  | 25 | 26 | 0.010654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1630-104_0_4_line_33 |  | 25 | 27 | 0.01235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1630-104_0_4_line_34 |  | 26 | 37 | 0.015127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1630-104_0_4_line_35 |  | 28 | 29 | 0.024331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1630-104_0_4_line_36 |  | 28 | 30 | 0.027271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1630-104_0_4_line_37 |  | 29 | 38 | 0.0048526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1630-104_0_4_line_38 |  | 29 | 36 | 0.033271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1630-104_0_4_line_39 |  | 31 | 33 | 0.009043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1630-104_0_4_line_40 |  | 32 | 40 | 0.0071636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1630-104_0_4_line_41 |  | 34 | 35 | 0.009187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1630-104_0_4_line_42 |  | 37 | 41 | 0.002895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1630-104_0_4_line_43 |  | 38 | 39 | 0.016923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1630-104_0_4_line_44 |  | 40 | 53 | 0.001737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1630-104_0_4_line_45 |  | 41 | 51 | 0.01627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1630-104_0_4_line_46 |  | 42 | 43 | 0.00076991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1630-104_0_4_line_47 |  | 43 | 44 | 0.017418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1630-104_0_4_line_48 |  | 44 | 45 | 0.037532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1630-104_0_4_line_49 |  | 45 | 46 | 0.008132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1630-104_0_4_line_50 |  | 45 | 47 | 0.007027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1630-104_0_4_line_51 |  | 47 | 52 | 0.008797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1630-104_0_4_line_52 |  | 48 | 49 | 0.010179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1630-104_0_4_trafo_0 | 0.63 MVA 20/0.4 kV | 54 | 0 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2722742.001 | 1220572.6785 | 2722751.3324 | 1220571.0251 | 2722762.1288 | 1220569.3574 | 2722764.21 | 1220569.1074
1 | 2722790.9003 | 1220566.0812 | 2722781.8043 | 1220566.9944 | 2722764.21 | 1220569.1074
2 | 2722739.1812 | 1220553.7389 | 2722742.001 | 1220572.6785
3 | 2722733.9256 | 1220574.8917 | 2722742.001 | 1220572.6785
4 | 2722790.9003 | 1220566.0812 | 2722785.8773 | 1220551.2994
5 | 2722797.7362 | 1220565.8219 | 2722790.9003 | 1220566.0812
6 | 2722733.9256 | 1220574.8917 | 2722738.7521 | 1220586.3223
7 | 2722733.9256 | 1220574.8917 | 2722728.5128 | 1220577.2
8 | 2722797.7362 | 1220565.8219 | 2722795.2431 | 1220574.0992 | 2722794.4436 | 1220576.429 | 2722793.24 | 1220578.8506 | 2722786.1487 | 1220592.226
9 | 2722797.7362 | 1220565.8219 | 2722807.4393 | 1220535.4871
10 | 2722797.7362 | 1220565.8219 | 2722822.0251 | 1220565.9095
11 | 2722715.6945 | 1220582.6666 | 2722728.5128 | 1220577.2
12 | 2722786.1487 | 1220592.226 | 2722799.1456 | 1220595.8521
13 | 2722786.1487 | 1220592.226 | 2722783.9373 | 1220596.4059
14 | 2722808.6403 | 1220531.72 | 2722807.4393 | 1220535.4871
15 | 2722807.4393 | 1220535.4871 | 2722795.8845 | 1220532.001
16 | 2722832.3422 | 1220565.9467 | 2722822.0251 | 1220565.9095
17 | 2722715.6945 | 1220582.6666 | 2722708.8997 | 1220586.0848
18 | 2722713.7243 | 1220553.0694 | 2722712.9281 | 1220558.9243 | 2722712.8448 | 1220574.7461 | 2722713.7953 | 1220577.9682 | 2722715.6945 | 1220582.6666
19 | 2722808.3569 | 1220598.422 | 2722799.1456 | 1220595.8521
20 | 2722783.9373 | 1220596.4059 | 2722767.9359 | 1220587.5769
21 | 2722782.6662 | 1220598.7927 | 2722783.9373 | 1220596.4059
22 | 2722808.6403 | 1220531.72 | 2722830.2458 | 1220538.4485
23 | 2722808.6403 | 1220531.72 | 2722817.2158 | 1220504.9091
24 | 2722795.8845 | 1220532.001 | 2722786.7874 | 1220529.2564 | 2722785.3105 | 1220526.535 | 2722787.1876 | 1220520.6047
25 | 2722832.3422 | 1220565.9467 | 2722835.2981 | 1220590.4157
26 | 2722813.1988 | 1220482.9424 | 2722823.2358 | 1220486.0851 | 2722817.2158 | 1220504.9091
27 | 2722817.2158 | 1220504.9091 | 2722833.7712 | 1220509.695
28 | 2722662.4506 | 1220522.946 | 2722658.2216 | 1220547.328
29 | 2722645.0776 | 1220566.2659 | 2722651.7635 | 1220563.7127 | 2722654.279 | 1220561.3404 | 2722655.8738 | 1220558.7157 | 2722656.8312 | 1220555.3438 | 2722658.2216 | 1220547.328
30 | 2722667.1567 | 1220495.814 | 2722662.4506 | 1220522.946
31 | 2722645.0776 | 1220566.2659 | 2722645.3161 | 1220580.1039 | 2722644.371 | 1220601.29 | 2722652.3528 | 1220601.41 | 2722658.9982 | 1220602.6589 | 2722658.9439 | 1220611.1867 | 2722680.5892 | 1220600.146 | 2722683.2116 | 1220598.8435
32 | 2722683.2116 | 1220598.8435 | 2722692.7561 | 1220594.1094
33 | 2722683.2116 | 1220598.8435 | 2722687.8544 | 1220610.288
34 | 2722706.3075 | 1220587.388 | 2722692.7561 | 1220594.1094
35 | 2722763.3375 | 1220632.5541 | 2722771.9903 | 1220617.4317 | 2722770.0943 | 1220615.8914 | 2722767.8029 | 1220614.0205 | 2722766.6309 | 1220613.0734
36 | 2722763.3375 | 1220632.5541 | 2722770.3101 | 1220634.8663 | 2722789.7878 | 1220630.6678
37 | 2722766.6309 | 1220613.0734 | 2722769.7365 | 1220609.3447
38 | 2722766.6309 | 1220613.0734 | 2722756.9335 | 1220624.7493 | 2722753.276 | 1220628.766 | 2722749.5964 | 1220632.0149 | 2722745.4142 | 1220634.9755 | 2722743.1931 | 1220636.3807
39 | 2722813.1988 | 1220482.9424 | 2722810.5688 | 1220491.5949
40 | 2722839.2902 | 1220509.1454 | 2722838.6728 | 1220511.112 | 2722833.7712 | 1220509.695
41 | 2722835.2981 | 1220590.4157 | 2722826.391 | 1220588.0635
42 | 2722708.8997 | 1220586.0848 | 2722706.3075 | 1220587.388
43 | 2722782.6662 | 1220598.7927 | 2722774.3976 | 1220603.7484 | 2722769.7365 | 1220609.3447
44 | 2722839.2902 | 1220509.1454 | 2722839.8102 | 1220507.4882
45 | 2722708.8997 | 1220586.0848 | 2722715.7522 | 1220600.8487
46 | 2722696.913 | 1220548.511 | 2722696.1699 | 1220548.3095
47 | 2722713.7243 | 1220553.0694 | 2722696.913 | 1220548.511
48 | 2722713.7243 | 1220553.0694 | 2722721.1465 | 1220516.2824
49 | 2722721.1465 | 1220516.2824 | 2722713.2082 | 1220514.4174
50 | 2722722.5332 | 1220509.3944 | 2722721.1465 | 1220516.2824
51 | 2722722.5332 | 1220509.3944 | 2722731.3115 | 1220510.276
52 | 2722759.0235 | 1220582.6594 | 2722767.9359 | 1220587.5769

## bus_geodata
| x | y | coords
0 | 2722764.21 | 1220569.1074
1 | 2722742.001 | 1220572.6785
2 | 2722790.9003 | 1220566.0812
3 | 2722739.1812 | 1220553.7389
4 | 2722733.9256 | 1220574.8917
5 | 2722785.8773 | 1220551.2994
6 | 2722797.7362 | 1220565.8219
7 | 2722738.7521 | 1220586.3223
8 | 2722728.5128 | 1220577.2
9 | 2722786.1487 | 1220592.226
10 | 2722807.4393 | 1220535.4871
11 | 2722822.0251 | 1220565.9095
12 | 2722715.6945 | 1220582.6666
13 | 2722799.1456 | 1220595.8521
14 | 2722783.9373 | 1220596.4059
15 | 2722808.6403 | 1220531.72
16 | 2722795.8845 | 1220532.001
17 | 2722832.3422 | 1220565.9467
18 | 2722787.1876 | 1220520.6047
19 | 2722830.2458 | 1220538.4485
20 | 2722817.2158 | 1220504.9091
21 | 2722658.2216 | 1220547.328
22 | 2722662.4506 | 1220522.946
23 | 2722645.0776 | 1220566.2659
24 | 2722667.1567 | 1220495.814
25 | 2722683.2116 | 1220598.8435
26 | 2722692.7562 | 1220594.1094
27 | 2722687.8544 | 1220610.288
28 | 2722763.3375 | 1220632.5541
29 | 2722766.6309 | 1220613.0734
30 | 2722789.7878 | 1220630.6678
31 | 2722813.1988 | 1220482.9424
32 | 2722833.7712 | 1220509.695
33 | 2722810.5688 | 1220491.5949
34 | 2722835.2981 | 1220590.4157
35 | 2722826.391 | 1220588.0635
36 | 2722743.1931 | 1220636.3807
37 | 2722706.3075 | 1220587.388
38 | 2722769.7365 | 1220609.3447
39 | 2722782.6662 | 1220598.7927
40 | 2722839.2902 | 1220509.1454
41 | 2722708.8997 | 1220586.0848
42 | 2722696.1699 | 1220548.3096
43 | 2722696.913 | 1220548.511
44 | 2722713.7243 | 1220553.0694
45 | 2722721.1465 | 1220516.2824
46 | 2722713.2082 | 1220514.4174
47 | 2722722.5332 | 1220509.3944
48 | 2722767.9359 | 1220587.5769
49 | 2722759.0235 | 1220582.6594
50 | 2722808.3569 | 1220598.422
51 | 2722715.7522 | 1220600.8487
52 | 2722731.3115 | 1220510.276
53 | 2722839.8102 | 1220507.4882
54 | 2722742.001 | 1220572.6785

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 1 | 0 | -0.35406 | -0.089009
1 | 0.9984 | -0.030659 | 0 | 0
2 | 0.99762 | -0.045644 | 0 | 0
3 | 0.99806 | -0.03723 | 0.019617 | 0.0049165
4 | 0.99736 | -0.050613 | 0 | 0
5 | 0.99747 | -0.048551 | 0.010633 | 0.002665
6 | 0.99705 | -0.056632 | 0 | 0
7 | 0.99715 | -0.054622 | 0.018438 | 0.0046211
8 | 0.99672 | -0.062795 | 0.009542 | 0.0023914
9 | 0.99502 | -0.095635 | 0 | 0
10 | 0.99465 | -0.10285 | 0 | 0
11 | 0.9965 | -0.067112 | 0.015304 | 0.0038355
12 | 0.99534 | -0.089365 | 0 | 0
13 | 0.99487 | -0.098558 | 0.0040955 | 0.0010264
14 | 0.99474 | -0.101 | 0 | 0
15 | 0.99445 | -0.10668 | 0 | 0
16 | 0.99434 | -0.10873 | 0.014107 | 0.0035357
17 | 0.99641 | -0.068795 | 0 | 0
18 | 0.99411 | -0.11321 | 0.013522 | 0.003389
19 | 0.99419 | -0.11166 | 0.012521 | 0.0031382
20 | 0.99336 | -0.12774 | 0 | 0
21 | 0.99201 | -0.1538 | 0.0052418 | 0.0013137
22 | 0.99163 | -0.16119 | 0.0061879 | 0.0015508
23 | 0.99252 | -0.1439 | 0 | 0
24 | 0.99136 | -0.16639 | 0.010649 | 0.002669
25 | 0.99425 | -0.11054 | 0 | 0
26 | 0.99449 | -0.10584 | 0.0031593 | 0.00079179
27 | 0.99421 | -0.11118 | 0.0029407 | 0.00073701
28 | 0.99386 | -0.11799 | 0 | 0
29 | 0.99414 | -0.1127 | 0 | 0
30 | 0.99356 | -0.12393 | 0.012329 | 0.0030899
31 | 0.99315 | -0.13173 | 0 | 0
32 | 0.99281 | -0.1384 | 0.025642 | 0.0064265
33 | 0.99309 | -0.13292 | 0.0074422 | 0.0018652
34 | 0.99621 | -0.072817 | 0 | 0
35 | 0.99613 | -0.074316 | 0.0092904 | 0.0023284
36 | 0.99397 | -0.11586 | 0.0053752 | 0.0013472
37 | 0.99488 | -0.098327 | 0 | 0
38 | 0.99422 | -0.11119 | 0.011753 | 0.0029456
39 | 0.99467 | -0.1024 | 0 | 0
40 | 0.99275 | -0.13958 | 0 | 0
41 | 0.99495 | -0.09689 | 0 | 0
42 | 0.99344 | -0.12618 | 0.016394 | 0.0041087
43 | 0.99345 | -0.12596 | 0.01242 | 0.0031128
44 | 0.99391 | -0.1171 | 0 | 0
45 | 0.99311 | -0.13259 | 0 | 0
46 | 0.99304 | -0.13387 | 0.0089214 | 0.0022359
47 | 0.99301 | -0.13438 | 0 | 0
48 | 0.99416 | -0.11225 | 0.025233 | 0.006324
49 | 0.99407 | -0.11399 | 0.0097063 | 0.0024326
50 | 0.9948 | -0.09994 | 0.0082073 | 0.0020569
51 | 0.99454 | -0.10496 | 0.028151 | 0.0070552
52 | 0.9929 | -0.13663 | 0.014452 | 0.0036221
53 | 0.99273 | -0.13987 | 0.0093327 | 0.002339
54 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.1569 | 0.039621 | -0.15667 | -0.039475 | 0.00023013 | 0.00014669 | 0.23357 | 0.23357 | 0.23357 | 1 | 0 | 0.9984 | -0.030659 | 32.084
1 | 0.19551 | 0.049387 | -0.19508 | -0.049115 | 0.00042668 | 0.00027237 | 0.29106 | 0.29106 | 0.29106 | 1 | 0 | 0.99762 | -0.045644 | 39.9805
2 | 0.019623 | 0.0049202 | -0.019617 | -0.0049165 | 6.143e-06 | 3.6812e-06 | 0.029247 | 0.029248 | 0.029248 | 0.9984 | -0.030659 | 0.99806 | -0.03723 | 8.035
3 | 0.13704 | 0.034554 | -0.13691 | -0.034471 | 0.00013074 | 8.3565e-05 | 0.20432 | 0.20432 | 0.20432 | 0.9984 | -0.030659 | 0.99736 | -0.050613 | 56.133
4 | 0.010635 | 0.0026657 | -0.010633 | -0.002665 | 1.4729e-06 | 7.3888e-07 | 0.015863 | 0.015863 | 0.015863 | 0.99762 | -0.045644 | 0.99747 | -0.048551 | 4.3579
5 | 0.18445 | 0.046449 | -0.18435 | -0.046387 | 9.6857e-05 | 6.181e-05 | 0.27519 | 0.2752 | 0.2752 | 0.99762 | -0.045644 | 0.99705 | -0.056632 | 37.8015
6 | 0.018442 | 0.0046232 | -0.018438 | -0.0046211 | 3.5215e-06 | 2.0919e-06 | 0.027515 | 0.027515 | 0.027515 | 0.99736 | -0.050613 | 0.99715 | -0.054622 | 7.559
7 | 0.11847 | 0.029848 | -0.1184 | -0.029804 | 6.8984e-05 | 4.4073e-05 | 0.17681 | 0.17681 | 0.17681 | 0.99736 | -0.050613 | 0.99672 | -0.062795 | 48.574
8 | 0.076904 | 0.019351 | -0.076761 | -0.01926 | 0.00014304 | 9.1167e-05 | 0.1148 | 0.1148 | 0.1148 | 0.99705 | -0.056632 | 0.99502 | -0.095635 | 31.5386
9 | 0.082837 | 0.020863 | -0.082655 | -0.020747 | 0.00018264 | 0.00011647 | 0.12366 | 0.12366 | 0.12366 | 0.99705 | -0.056632 | 0.99465 | -0.10285 | 33.9739
10 | 0.02461 | 0.0061729 | -0.024597 | -0.0061653 | 1.2288e-05 | 7.5477e-06 | 0.03673 | 0.03673 | 0.03673 | 0.99705 | -0.056632 | 0.9965 | -0.067112 | 10.0907
11 | 0.10886 | 0.027412 | -0.10872 | -0.027324 | 0.0001381 | 8.8203e-05 | 0.16256 | 0.16256 | 0.16256 | 0.99672 | -0.062795 | 0.99534 | -0.089365 | 44.6605
12 | 0.012305 | 0.0030845 | -0.012303 | -0.0030836 | 1.7135e-06 | 9.2138e-07 | 0.018402 | 0.018402 | 0.018402 | 0.99502 | -0.095635 | 0.99487 | -0.098558 | 5.0555
13 | 0.064456 | 0.016175 | -0.064439 | -0.016165 | 1.6472e-05 | 1.0481e-05 | 0.096399 | 0.096399 | 0.096399 | 0.99502 | -0.095635 | 0.99474 | -0.101 | 26.4832
14 | 0.055014 | 0.013816 | -0.055004 | -0.01381 | 1.0046e-05 | 6.3783e-06 | 0.082313 | 0.082313 | 0.082313 | 0.99465 | -0.10285 | 0.99445 | -0.10668 | 22.6134
15 | 0.02764 | 0.0069311 | -0.027633 | -0.0069263 | 7.7393e-06 | 4.7966e-06 | 0.041352 | 0.041352 | 0.041352 | 0.99465 | -0.10285 | 0.99434 | -0.10873 | 11.3605
16 | 0.0092936 | 0.0023299 | -0.0092928 | -0.0023295 | 7.4514e-07 | 3.4249e-07 | 0.013878 | 0.013878 | 0.013878 | 0.9965 | -0.067112 | 0.99641 | -0.068795 | 3.8126
17 | 0.056433 | 0.014181 | -0.056412 | -0.014168 | 2.0262e-05 | 1.2869e-05 | 0.084379 | 0.084379 | 0.084379 | 0.99534 | -0.089365 | 0.99495 | -0.09689 | 23.1809
18 | 0.05229 | 0.013143 | -0.052221 | -0.0131 | 6.9138e-05 | 4.3857e-05 | 0.078186 | 0.078186 | 0.078186 | 0.99534 | -0.089365 | 0.99391 | -0.1171 | 21.4796
19 | 0.0082078 | 0.0020572 | -0.0082073 | -0.0020569 | 5.4047e-07 | 2.2173e-07 | 0.012276 | 0.012276 | 0.012276 | 0.99487 | -0.098558 | 0.9948 | -0.09994 | 3.3726
20 | 0.034959 | 0.0087688 | -0.03494 | -0.008757 | 1.8744e-05 | 1.1759e-05 | 0.052297 | 0.052297 | 0.052297 | 0.99474 | -0.101 | 0.99416 | -0.11225 | 14.3674
21 | 0.02948 | 0.007396 | -0.029478 | -0.0073948 | 1.9715e-06 | 1.2266e-06 | 0.044102 | 0.044102 | 0.044102 | 0.99474 | -0.101 | 0.99467 | -0.1024 | 12.1158
22 | 0.012524 | 0.0031398 | -0.012521 | -0.0031382 | 2.9724e-06 | 1.6096e-06 | 0.018741 | 0.018741 | 0.018741 | 0.99445 | -0.10668 | 0.99419 | -0.11166 | 5.1486
23 | 0.04248 | 0.01067 | -0.042437 | -0.010643 | 4.2658e-05 | 2.6936e-05 | 0.063572 | 0.063572 | 0.063572 | 0.99445 | -0.10668 | 0.99336 | -0.12774 | 17.4649
24 | 0.013525 | 0.0033906 | -0.013522 | -0.003389 | 2.8911e-06 | 1.6063e-06 | 0.020241 | 0.020241 | 0.020241 | 0.99434 | -0.10873 | 0.99411 | -0.11321 | 5.5606
25 | 0.0092928 | 0.0023295 | -0.0092911 | -0.0023287 | 1.7803e-06 | 8.1839e-07 | 0.013878 | 0.013878 | 0.013878 | 0.99641 | -0.068795 | 0.99621 | -0.072817 | 3.8126
26 | 0.007444 | 0.0018658 | -0.0074426 | -0.0018653 | 1.412e-06 | 5.1175e-07 | 0.011151 | 0.011151 | 0.011151 | 0.99336 | -0.12774 | 0.99315 | -0.13173 | 3.0635
27 | 0.034993 | 0.0087769 | -0.034975 | -0.0087658 | 1.7759e-05 | 1.1143e-05 | 0.052421 | 0.052421 | 0.052421 | 0.99336 | -0.12774 | 0.99281 | -0.1384 | 14.4014
28 | 0.016846 | 0.0042246 | -0.01684 | -0.0042211 | 5.9256e-06 | 3.4731e-06 | 0.02527 | 0.02527 | 0.02527 | 0.99201 | -0.1538 | 0.99163 | -0.16119 | 6.9422
29 | -0.022088 | -0.0055383 | 0.022098 | 0.0055447 | 1.0426e-05 | 6.3454e-06 | 0.033132 | 0.033132 | 0.033132 | 0.99201 | -0.1538 | 0.99252 | -0.1439 | 9.1023
30 | 0.010652 | 0.0026703 | -0.010649 | -0.002669 | 2.6384e-06 | 1.3334e-06 | 0.015984 | 0.015984 | 0.015984 | 0.99163 | -0.16119 | 0.99136 | -0.16639 | 4.3913
31 | -0.022098 | -0.0055447 | 0.022133 | 0.0055661 | 3.5215e-05 | 2.143e-05 | 0.033132 | 0.033132 | 0.033132 | 0.99252 | -0.1439 | 0.99425 | -0.11054 | 9.1023
32 | -0.025074 | -0.006303 | 0.02508 | 0.0063065 | 5.6283e-06 | 3.4639e-06 | 0.037533 | 0.037533 | 0.037533 | 0.99425 | -0.11054 | 0.99449 | -0.10584 | 10.3113
33 | 0.0029408 | 0.00073691 | -0.0029407 | -0.00073701 | 8.9715e-08 | -1.0275e-07 | 0.0044012 | 0.0044013 | 0.0044013 | 0.99425 | -0.11054 | 0.99421 | -0.11118 | 1.2091
34 | -0.028239 | -0.0070983 | 0.028249 | 0.0071045 | 1.0131e-05 | 6.2873e-06 | 0.04226 | 0.04226 | 0.04226 | 0.99449 | -0.10584 | 0.99488 | -0.098327 | 11.6099
35 | -0.012332 | -0.0030918 | 0.012335 | 0.0030934 | 3.1107e-06 | 1.6754e-06 | 0.018464 | 0.018464 | 0.018464 | 0.99386 | -0.11799 | 0.99414 | -0.1127 | 5.0726
36 | 0.012332 | 0.0030918 | -0.012329 | -0.0030899 | 3.4866e-06 | 1.8781e-06 | 0.018464 | 0.018464 | 0.018464 | 0.99386 | -0.11799 | 0.99356 | -0.12393 | 5.0727
37 | -0.017711 | -0.0044407 | 0.017713 | 0.0044414 | 1.279e-06 | 7.5561e-07 | 0.026511 | 0.026511 | 0.026511 | 0.99414 | -0.1127 | 0.99422 | -0.11119 | 7.2832
38 | 0.005376 | 0.0013472 | -0.0053752 | -0.0013472 | 8.0789e-07 | 8.5725e-08 | 0.0080467 | 0.0080469 | 0.0080469 | 0.99414 | -0.1127 | 0.99397 | -0.11586 | 2.2107
39 | 0.0074426 | 0.0018653 | -0.0074422 | -0.0018652 | 4.2168e-07 | 1.5286e-07 | 0.011151 | 0.011151 | 0.011151 | 0.99315 | -0.13173 | 0.99309 | -0.13292 | 3.0635
40 | 0.0093334 | 0.0023393 | -0.0093329 | -0.0023391 | 5.257e-07 | 2.4382e-07 | 0.013989 | 0.013989 | 0.013989 | 0.99281 | -0.1384 | 0.99275 | -0.13958 | 3.8431
41 | 0.0092911 | 0.0023287 | -0.0092904 | -0.0023284 | 6.6353e-07 | 3.0505e-07 | 0.013878 | 0.013878 | 0.013878 | 0.99621 | -0.072817 | 0.99613 | -0.074316 | 3.8126
42 | -0.028249 | -0.0071045 | 0.028251 | 0.0071057 | 1.9388e-06 | 1.2033e-06 | 0.04226 | 0.04226 | 0.04226 | 0.99488 | -0.098327 | 0.99495 | -0.09689 | 11.6099
43 | -0.029466 | -0.0073871 | 0.029478 | 0.0073948 | 1.2343e-05 | 7.68e-06 | 0.044102 | 0.044102 | 0.044102 | 0.99422 | -0.11119 | 0.99467 | -0.1024 | 12.1158
44 | 0.0093329 | 0.0023391 | -0.0093327 | -0.002339 | 1.2747e-07 | 5.9121e-08 | 0.013989 | 0.013989 | 0.013989 | 0.99275 | -0.13958 | 0.99273 | -0.13987 | 3.8431
45 | 0.028161 | 0.0070619 | -0.028151 | -0.0070552 | 1.0823e-05 | 6.7158e-06 | 0.042119 | 0.042119 | 0.042119 | 0.99495 | -0.09689 | 0.99454 | -0.10496 | 11.571
46 | -0.016394 | -0.0041087 | 0.016394 | 0.0041088 | 1.7409e-07 | 1.0145e-07 | 0.024555 | 0.024555 | 0.024555 | 0.99344 | -0.12618 | 0.99345 | -0.12596 | 6.746
47 | -0.028814 | -0.0072216 | 0.028827 | 0.0072292 | 1.2167e-05 | 7.5612e-06 | 0.043159 | 0.043159 | 0.043159 | 0.99345 | -0.12596 | 0.99391 | -0.1171 | 11.8569
48 | 0.023394 | 0.0058703 | -0.023377 | -0.0058598 | 1.7268e-05 | 1.0565e-05 | 0.035027 | 0.035027 | 0.035027 | 0.99391 | -0.1171 | 0.99311 | -0.13259 | 9.6228
49 | 0.0089219 | 0.0022361 | -0.0089214 | -0.0022359 | 5.4497e-07 | 2.4357e-07 | 0.013368 | 0.013368 | 0.013368 | 0.99311 | -0.13259 | 0.99304 | -0.13387 | 3.6726
50 | 0.014455 | 0.0036236 | -0.014454 | -0.0036229 | 1.2362e-06 | 7.0022e-07 | 0.021659 | 0.021659 | 0.021659 | 0.99311 | -0.13259 | 0.99301 | -0.13438 | 5.9502
51 | 0.014454 | 0.0036229 | -0.014452 | -0.0036221 | 1.5475e-06 | 8.7663e-07 | 0.021659 | 0.021659 | 0.021659 | 0.99301 | -0.13438 | 0.9929 | -0.13663 | 5.9503
52 | 0.0097071 | 0.002433 | -0.0097063 | -0.0024326 | 8.0579e-07 | 3.8373e-07 | 0.014529 | 0.014529 | 0.014529 | 0.99416 | -0.11225 | 0.99407 | -0.11399 | 3.9915

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -6.4999e-16 | 2.4266e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 7.2519e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.39538 | 0.099364

## res_load
| p_mw | q_mvar
0 | 0.04132 | 0.010356
1 | 0.019617 | 0.0049165
2 | 0.010633 | 0.002665
3 | 0.018438 | 0.0046211
4 | 0.009542 | 0.0023914
5 | 0.015304 | 0.0038355
6 | 0.0040955 | 0.0010264
7 | 0.014107 | 0.0035357
8 | 0.013522 | 0.003389
9 | 0.012521 | 0.0031382
10 | 0.0052418 | 0.0013137
11 | 0.0061879 | 0.0015508
12 | 0.010649 | 0.002669
13 | 0.0031593 | 0.00079179
14 | 0.0029407 | 0.00073701
15 | 0.012329 | 0.0030899
16 | 0.025642 | 0.0064265
17 | 0.0074422 | 0.0018652
18 | 0.0092904 | 0.0023284
19 | 0.0053752 | 0.0013472
20 | 0.011753 | 0.0029456
21 | 0.016394 | 0.0041087
22 | 0.01242 | 0.0031128
23 | 0.0089214 | 0.0022359
24 | 0.025233 | 0.006324
25 | 0.0097063 | 0.0024326
26 | 0.0082073 | 0.0020569
27 | 0.028151 | 0.0070552
28 | 0.014452 | 0.0036221
29 | 0.0093327 | 0.002339

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1