## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1630-105_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1630-105_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1630-105_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1630-105_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1630-105_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1630-105_0_6_node_7 | 0.4 | n |  | TRUE
6 | bus_LV_1630-105_0_6_node_43 | 0.4 | n |  | TRUE
7 | bus_LV_1630-105_0_6_node_44 | 0.4 | n |  | TRUE
8 | bus_LV_1630-105_0_6_node_9 | 0.4 | n |  | TRUE
9 | bus_LV_1630-105_0_6_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_1630-105_0_6_node_42 | 0.4 | n |  | TRUE
11 | bus_LV_1630-105_0_6_node_45 | 0.4 | n |  | TRUE
12 | bus_LV_1630-105_0_6_node_68 | 0.4 | n |  | TRUE
13 | bus_LV_1630-105_0_6_node_65 | 0.4 | n |  | TRUE
14 | bus_LV_1630-105_0_6_node_6 | 0.4 | n |  | TRUE
15 | bus_LV_1630-105_0_6_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_1630-105_0_6_node_34 | 0.4 | n |  | TRUE
17 | bus_LV_1630-105_0_6_node_35 | 0.4 | n |  | TRUE
18 | bus_LV_1630-105_0_6_node_59 | 0.4 | n |  | TRUE
19 | bus_LV_1630-105_0_6_node_62 | 0.4 | n |  | TRUE
20 | bus_LV_1630-105_0_6_node_40 | 0.4 | n |  | TRUE
21 | bus_LV_1630-105_0_6_node_33 | 0.4 | n |  | TRUE
22 | bus_LV_1630-105_0_6_node_60 | 0.4 | n |  | TRUE
23 | bus_LV_1630-105_0_6_node_58 | 0.4 | n |  | TRUE
24 | bus_LV_1630-105_0_6_node_10 | 0.4 | n |  | TRUE
25 | bus_LV_1630-105_0_6_node_11 | 0.4 | n |  | TRUE
26 | bus_LV_1630-105_0_6_node_12 | 0.4 | n |  | TRUE
27 | bus_LV_1630-105_0_6_node_23 | 0.4 | n |  | TRUE
28 | bus_LV_1630-105_0_6_node_13 | 0.4 | n |  | TRUE
29 | bus_LV_1630-105_0_6_node_29 | 0.4 | n |  | TRUE
30 | bus_LV_1630-105_0_6_node_21 | 0.4 | n |  | TRUE
31 | bus_LV_1630-105_0_6_node_25 | 0.4 | n |  | TRUE
32 | bus_LV_1630-105_0_6_node_26 | 0.4 | n |  | TRUE
33 | bus_LV_1630-105_0_6_node_27 | 0.4 | n |  | TRUE
34 | bus_LV_1630-105_0_6_node_28 | 0.4 | n |  | TRUE
35 | bus_LV_1630-105_0_6_node_36 | 0.4 | n |  | TRUE
36 | bus_LV_1630-105_0_6_node_70 | 0.4 | n |  | TRUE
37 | bus_LV_1630-105_0_6_node_14 | 0.4 | n |  | TRUE
38 | bus_LV_1630-105_0_6_node_15 | 0.4 | n |  | TRUE
39 | bus_LV_1630-105_0_6_node_16 | 0.4 | n |  | TRUE
40 | bus_LV_1630-105_0_6_node_17 | 0.4 | n |  | TRUE
41 | bus_LV_1630-105_0_6_node_18 | 0.4 | n |  | TRUE
42 | bus_LV_1630-105_0_6_node_30 | 0.4 | n |  | TRUE
43 | bus_LV_1630-105_0_6_node_31 | 0.4 | n |  | TRUE
44 | bus_LV_1630-105_0_6_node_19 | 0.4 | n |  | TRUE
45 | bus_LV_1630-105_0_6_node_20 | 0.4 | n |  | TRUE
46 | bus_LV_1630-105_0_6_node_22 | 0.4 | n |  | TRUE
47 | bus_LV_1630-105_0_6_node_24 | 0.4 | n |  | TRUE
48 | bus_LV_1630-105_0_6_node_77 | 0.4 | n |  | TRUE
49 | bus_LV_1630-105_0_6_node_32 | 0.4 | n |  | TRUE
50 | bus_LV_1630-105_0_6_node_56 | 0.4 | n |  | TRUE
51 | bus_LV_1630-105_0_6_node_50 | 0.4 | n |  | TRUE
52 | bus_LV_1630-105_0_6_node_54 | 0.4 | n |  | TRUE
53 | bus_LV_1630-105_0_6_node_48 | 0.4 | n |  | TRUE
54 | bus_LV_1630-105_0_6_node_38 | 0.4 | n |  | TRUE
55 | bus_LV_1630-105_0_6_node_37 | 0.4 | n |  | TRUE
56 | bus_LV_1630-105_0_6_node_39 | 0.4 | n |  | TRUE
57 | bus_LV_1630-105_0_6_node_41 | 0.4 | n |  | TRUE
58 | bus_LV_1630-105_0_6_node_61 | 0.4 | n |  | TRUE
59 | bus_LV_1630-105_0_6_node_71 | 0.4 | n |  | TRUE
60 | bus_LV_1630-105_0_6_node_63 | 0.4 | n |  | TRUE
61 | bus_LV_1630-105_0_6_node_64 | 0.4 | n |  | TRUE
62 | bus_LV_1630-105_0_6_node_67 | 0.4 | n |  | TRUE
63 | bus_LV_1630-105_0_6_node_46 | 0.4 | n |  | TRUE
64 | bus_LV_1630-105_0_6_node_47 | 0.4 | n |  | TRUE
65 | bus_LV_1630-105_0_6_node_49 | 0.4 | n |  | TRUE
66 | bus_LV_1630-105_0_6_node_52 | 0.4 | n |  | TRUE
67 | bus_LV_1630-105_0_6_node_51 | 0.4 | n |  | TRUE
68 | bus_LV_1630-105_0_6_node_53 | 0.4 | n |  | TRUE
69 | bus_LV_1630-105_0_6_node_55 | 0.4 | n |  | TRUE
70 | bus_LV_1630-105_0_6_node_57 | 0.4 | n |  | TRUE
71 | bus_LV_1630-105_0_6_node_72 | 0.4 | n |  | TRUE
72 | bus_LV_1630-105_0_6_node_73 | 0.4 | n |  | TRUE
73 | bus_LV_1630-105_0_6_node_76 | 0.4 | n |  | TRUE
74 | bus_LV_1630-105_0_6_node_74 | 0.4 | n |  | TRUE
75 | bus_LV_1630-105_0_6_node_75 | 0.4 | n |  | TRUE
76 | bus_MV_54_0_node_66 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1630-105_0_6_load_0 | 0 | 0.0039231 | 0.00098321 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1630-105_0_6_load_1 | 1 | 0.0050381 | 0.0012627 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1630-105_0_6_load_2 | 2 | 0.0039284 | 0.00098454 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1630-105_0_6_load_3 | 3 | 0.011703 | 0.0029329 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1630-105_0_6_load_43 | 6 | 0.0071928 | 0.0018027 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1630-105_0_6_load_44 | 7 | 0.0043448 | 0.0010889 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1630-105_0_6_load_9 | 8 | 0.0069498 | 0.0017418 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1630-105_0_6_load_5 | 9 | 0.010003 | 0.0025069 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1630-105_0_6_load_42 | 10 | 0.0041188 | 0.0010323 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1630-105_0_6_load_45 | 11 | 0.0063342 | 0.0015875 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1630-105_0_6_load_68 | 12 | 0.0057174 | 0.0014329 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1630-105_0_6_load_6 | 14 | 0.01058 | 0.0026517 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1630-105_0_6_load_35 | 17 | 0.010037 | 0.0025155 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1630-105_0_6_load_62 | 19 | 0.021179 | 0.005308 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1630-105_0_6_load_40 | 20 | 0.0067298 | 0.0016866 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1630-105_0_6_load_33 | 21 | 0.0099033 | 0.002482 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1630-105_0_6_load_58 | 23 | 0.0092189 | 0.0023105 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1630-105_0_6_load_10 | 24 | 0.0033612 | 0.0008424 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1630-105_0_6_load_11 | 25 | 0.0033619 | 0.00084258 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1630-105_0_6_load_23 | 27 | 0.0051057 | 0.0012796 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1630-105_0_6_load_13 | 28 | 0.004567 | 0.0011446 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1630-105_0_6_load_29 | 29 | 0.0033737 | 0.00084554 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1630-105_0_6_load_25 | 31 | 0.0059706 | 0.0014964 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1630-105_0_6_load_26 | 32 | 0.0022454 | 0.00056274 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1630-105_0_6_load_36 | 35 | 0.0027194 | 0.00068154 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1630-105_0_6_load_70 | 36 | 0.0021085 | 0.00052844 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1630-105_0_6_load_14 | 37 | 0.0095166 | 0.0023851 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1630-105_0_6_load_15 | 38 | 0.0076125 | 0.0019079 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1630-105_0_6_load_18 | 41 | 0.011706 | 0.0029338 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1630-105_0_6_load_30 | 42 | 0.010606 | 0.0026581 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1630-105_0_6_load_31 | 43 | 0.0078763 | 0.001974 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1630-105_0_6_load_19 | 44 | 0.004913 | 0.0012313 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1630-105_0_6_load_20 | 45 | 0.0049473 | 0.0012399 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1630-105_0_6_load_24 | 47 | 0.0036711 | 0.00092008 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1630-105_0_6_load_77 | 48 | 0.010386 | 0.0026029 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1630-105_0_6_load_56 | 50 | 0.0052935 | 0.0013267 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1630-105_0_6_load_54 | 52 | 0.0060085 | 0.0015059 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1630-105_0_6_load_38 | 54 | 0.0075041 | 0.0018807 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1630-105_0_6_load_37 | 55 | 0.0080812 | 0.0020253 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1630-105_0_6_load_39 | 56 | 0.0064415 | 0.0016144 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1630-105_0_6_load_41 | 57 | 0.02371 | 0.0059424 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1630-105_0_6_load_63 | 60 | 0.011227 | 0.0028137 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1630-105_0_6_load_64 | 61 | 0.0017834 | 0.00044695 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1630-105_0_6_load_67 | 62 | 0.0041096 | 0.00103 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1630-105_0_6_load_46 | 63 | 0.0081416 | 0.0020405 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1630-105_0_6_load_49 | 65 | 0.020248 | 0.0050745 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1630-105_0_6_load_51 | 67 | 0.0077026 | 0.0019304 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1630-105_0_6_load_55 | 69 | 0.013088 | 0.0032801 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1630-105_0_6_load_57 | 70 | 0.0090114 | 0.0022585 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1630-105_0_6_load_72 | 71 | 0.037076 | 0.0092921 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1630-105_0_6_load_76 | 73 | 0.036185 | 0.0090688 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1630-105_0_6_load_75 | 75 | 0.042642 | 0.010687 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 20 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1630-105_0_6_line_0 |  | 0 | 1 | 0.0019974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1630-105_0_6_line_1 |  | 0 | 2 | 0.012852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1630-105_0_6_line_2 |  | 1 | 3 | 0.025863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1630-105_0_6_line_3 |  | 2 | 4 | 0.01561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1630-105_0_6_line_4 |  | 3 | 5 | 0.0077682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1630-105_0_6_line_5 |  | 4 | 6 | 0.0027377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1630-105_0_6_line_6 |  | 4 | 7 | 0.012995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1630-105_0_6_line_7 |  | 5 | 8 | 0.015736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1630-105_0_6_line_8 |  | 5 | 9 | 0.023183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
9 | LV_1630-105_0_6_line_9 |  | 6 | 10 | 0.022537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1630-105_0_6_line_10 |  | 7 | 11 | 0.0060822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1630-105_0_6_line_11 |  | 8 | 18 | 0.0060235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1630-105_0_6_line_12 |  | 9 | 14 | 0.026842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_1630-105_0_6_line_13 |  | 10 | 36 | 0.099926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1630-105_0_6_line_14 |  | 12 | 13 | 0.031163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1630-105_0_6_line_15 |  | 13 | 62 | 0.0097852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1630-105_0_6_line_16 |  | 13 | 60 | 0.02893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1630-105_0_6_line_17 |  | 14 | 15 | 0.0099858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_1630-105_0_6_line_18 |  | 15 | 16 | 0.022559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_1630-105_0_6_line_19 |  | 15 | 17 | 0.015113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1630-105_0_6_line_20 |  | 16 | 19 | 0.013363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1630-105_0_6_line_21 |  | 16 | 20 | 0.028506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_1630-105_0_6_line_22 |  | 17 | 21 | 0.023943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1630-105_0_6_line_23 |  | 18 | 22 | 0.020823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1630-105_0_6_line_24 |  | 18 | 23 | 0.021548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1630-105_0_6_line_25 |  | 20 | 54 | 0.0068132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_1630-105_0_6_line_26 |  | 21 | 40 | 0.014378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1630-105_0_6_line_27 |  | 22 | 48 | 0.029382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1630-105_0_6_line_28 |  | 22 | 46 | 0.011382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1630-105_0_6_line_29 |  | 23 | 70 | 0.020312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1630-105_0_6_line_30 |  | 24 | 25 | 0.0092078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1630-105_0_6_line_31 |  | 24 | 26 | 0.01841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1630-105_0_6_line_32 |  | 25 | 27 | 0.029785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1630-105_0_6_line_33 |  | 26 | 28 | 0.027125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1630-105_0_6_line_34 |  | 26 | 29 | 0.065713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1630-105_0_6_line_35 |  | 27 | 30 | 0.017317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1630-105_0_6_line_36 |  | 29 | 33 | 0.016741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1630-105_0_6_line_37 |  | 30 | 47 | 0.010743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1630-105_0_6_line_38 |  | 30 | 44 | 0.010207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1630-105_0_6_line_39 |  | 31 | 32 | 0.026638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1630-105_0_6_line_40 |  | 31 | 33 | 0.046683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1630-105_0_6_line_41 |  | 32 | 34 | 0.016019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1630-105_0_6_line_42 |  | 34 | 35 | 0.034246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1630-105_0_6_line_43 |  | 36 | 62 | 0.025766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1630-105_0_6_line_44 |  | 37 | 38 | 0.018744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1630-105_0_6_line_45 |  | 37 | 39 | 0.015149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1630-105_0_6_line_46 |  | 38 | 40 | 0.0060108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1630-105_0_6_line_47 |  | 39 | 41 | 0.018242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1630-105_0_6_line_48 |  | 40 | 42 | 0.023127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1630-105_0_6_line_49 |  | 42 | 43 | 0.006138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1630-105_0_6_line_50 |  | 43 | 49 | 0.018492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1630-105_0_6_line_51 |  | 44 | 45 | 0.017613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1630-105_0_6_line_52 |  | 45 | 46 | 0.013743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1630-105_0_6_line_53 |  | 49 | 50 | 0.010153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1630-105_0_6_line_54 |  | 49 | 51 | 0.011544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1630-105_0_6_line_55 |  | 51 | 52 | 0.010753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1630-105_0_6_line_56 |  | 51 | 53 | 0.010702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1630-105_0_6_line_57 |  | 52 | 66 | 0.015734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1630-105_0_6_line_58 |  | 53 | 63 | 0.013569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1630-105_0_6_line_59 |  | 54 | 55 | 0.017369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
60 | LV_1630-105_0_6_line_60 |  | 55 | 56 | 0.0018407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
61 | LV_1630-105_0_6_line_61 |  | 56 | 57 | 0.022774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_1630-105_0_6_line_62 |  | 57 | 58 | 0.01633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_1630-105_0_6_line_63 |  | 58 | 59 | 0.022642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_1630-105_0_6_line_64 |  | 59 | 71 | 0.003208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_1630-105_0_6_line_65 |  | 59 | 72 | 0.034021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_1630-105_0_6_line_66 |  | 60 | 61 | 0.0075873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_1630-105_0_6_line_67 |  | 63 | 64 | 0.0065363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_1630-105_0_6_line_68 |  | 64 | 65 | 0.020432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_1630-105_0_6_line_69 |  | 66 | 67 | 0.0025436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_1630-105_0_6_line_70 |  | 67 | 68 | 0.024864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_1630-105_0_6_line_71 |  | 68 | 69 | 0.016468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_1630-105_0_6_line_72 |  | 72 | 73 | 0.004375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_1630-105_0_6_line_73 |  | 72 | 74 | 0.018164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_1630-105_0_6_line_74 |  | 74 | 75 | 0.02053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1630-105_0_6_trafo_40 | 0.63 MVA 20/0.4 kV | 76 | 20 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2722245.6074 | 1220296.0524 | 2722247.5645 | 1220296.4514
1 | 2722245.6074 | 1220296.0524 | 2722233.0147 | 1220293.4848
2 | 2722247.5645 | 1220296.4514 | 2722272.906 | 1220301.6185
3 | 2722217.7194 | 1220290.366 | 2722233.0147 | 1220293.4848
4 | 2722280.3336 | 1220303.7949 | 2722276.7872 | 1220302.4099 | 2722272.906 | 1220301.6185
5 | 2722217.7194 | 1220290.366 | 2722215.0368 | 1220289.8194
6 | 2722217.7194 | 1220290.366 | 2722217.7226 | 1220297.9721 | 2722216.0312 | 1220303.0889
7 | 2722280.3336 | 1220303.7949 | 2722279.1335 | 1220305.3159 | 2722277.0734 | 1220308.7986 | 2722275.7051 | 1220312.5957 | 2722274.4302 | 1220318.168
8 | 2722280.3336 | 1220303.7949 | 2722282.5729 | 1220301.5613 | 2722285.7236 | 1220299.302 | 2722288.6149 | 1220297.8491 | 2722292.586 | 1220296.6631 | 2722296.7156 | 1220296.2587 | 2722300.7463 | 1220296.6083 | 2722301.3006 | 1220296.7331
9 | 2722193.0795 | 1220284.7792 | 2722202.6103 | 1220287.287 | 2722215.0368 | 1220289.8194
10 | 2722216.0312 | 1220303.0889 | 2722214.1224 | 1220308.8638
11 | 2722273.0868 | 1220324.0398 | 2722274.4302 | 1220318.168
12 | 2722301.3006 | 1220296.7331 | 2722327.4871 | 1220302.6269
13 | 2722193.0795 | 1220284.7792 | 2722217.6371 | 1220187.9176
14 | 2722231.6049 | 1220155.6568 | 2722236.544 | 1220155.7582 | 2722239.858 | 1220155.1591 | 2722243.4927 | 1220152.9875 | 2722245.6628 | 1220150.0631 | 2722246.8584 | 1220147.2854 | 2722248.3427 | 1220135.4221
15 | 2722231.6049 | 1220155.6568 | 2722230.1735 | 1220159.9418 | 2722229.2322 | 1220165.1244
16 | 2722231.6049 | 1220155.6568 | 2722224.1416 | 1220154.6584 | 2722221.1983 | 1220152.7298 | 2722219.8048 | 1220149.621 | 2722219.8456 | 1220135.1462
17 | 2722337.2292 | 1220304.8195 | 2722327.4871 | 1220302.6269
18 | 2722337.2292 | 1220304.8195 | 2722332.7219 | 1220326.922
19 | 2722337.2292 | 1220304.8195 | 2722351.9733 | 1220308.1387
20 | 2722332.7219 | 1220326.922 | 2722345.8587 | 1220329.5716
21 | 2722332.7219 | 1220326.922 | 2722327.0205 | 1220354.8525
22 | 2722351.9733 | 1220308.1387 | 2722375.3315 | 1220313.3973
23 | 2722268.4498 | 1220344.3382 | 2722273.0868 | 1220324.0398
24 | 2722273.0868 | 1220324.0398 | 2722294.0505 | 1220329.0242
25 | 2722325.6578 | 1220361.528 | 2722327.0205 | 1220354.8525
26 | 2722389.3583 | 1220316.5551 | 2722375.3315 | 1220313.3973
27 | 2722290.069 | 1220354.8903 | 2722289.3129 | 1220358.0773 | 2722278.3314 | 1220355.4386 | 2722268.4498 | 1220344.3382
28 | 2722265.7409 | 1220355.3913 | 2722266.8408 | 1220351.3551 | 2722268.4498 | 1220344.3382
29 | 2722308.1054 | 1220324.6028 | 2722306.4634 | 1220331.9756 | 2722294.0505 | 1220329.0242
30 | 2722179.7223 | 1220351.8596 | 2722188.2695 | 1220355.2844
31 | 2722162.6335 | 1220345.0121 | 2722179.7223 | 1220351.8596
32 | 2722218.0539 | 1220355.0235 | 2722188.2695 | 1220355.2844
33 | 2722162.6335 | 1220345.0121 | 2722168.358 | 1220328.2831 | 2722171.5311 | 1220319.3857
34 | 2722162.6335 | 1220345.0121 | 2722098.287 | 1220331.6824
35 | 2722226.0325 | 1220343.1112 | 2722222.4704 | 1220342.1262 | 2722218.0539 | 1220355.0235
36 | 2722095.7843 | 1220348.2329 | 2722098.287 | 1220331.6824
37 | 2722226.0325 | 1220343.1112 | 2722224.8803 | 1220338.2393 | 2722219.3864 | 1220336.5871
38 | 2722226.0325 | 1220343.1112 | 2722235.7844 | 1220346.127
39 | 2722033.8463 | 1220312.2725 | 2722055.0637 | 1220317.9414 | 2722059.5108 | 1220319.3886
40 | 2722095.7843 | 1220348.2329 | 2722076.7361 | 1220330.3619 | 2722069.0739 | 1220324.2668 | 2722061.7739 | 1220320.125 | 2722059.5108 | 1220319.3886
41 | 2722018.3703 | 1220308.1375 | 2722033.8463 | 1220312.2725
42 | 2722018.3703 | 1220308.1375 | 2722019.2492 | 1220301.9174 | 2722020.4524 | 1220300.2407 | 2722022.1832 | 1220298.7416 | 2722025.8185 | 1220297.6486 | 2722045.6858 | 1220298.5341
43 | 2722217.6371 | 1220187.9176 | 2722221.5221 | 1220179.8354 | 2722225.6001 | 1220173.4474 | 2722227.736 | 1220170.3444 | 2722228.7871 | 1220167.5749 | 2722229.2322 | 1220165.1244
44 | 2722395.225 | 1220317.8633 | 2722413.5195 | 1220321.9428
45 | 2722428.3056 | 1220325.24 | 2722413.5195 | 1220321.9428
46 | 2722389.3583 | 1220316.5551 | 2722395.225 | 1220317.8633
47 | 2722428.3056 | 1220325.24 | 2722424.4248 | 1220343.0631
48 | 2722389.3583 | 1220316.5551 | 2722384.5707 | 1220339.1808
49 | 2722384.5707 | 1220339.1808 | 2722383.3 | 1220345.1859
50 | 2722379.4719 | 1220363.2774 | 2722383.3 | 1220345.1859
51 | 2722252.611 | 1220351.3308 | 2722235.7844 | 1220346.127
52 | 2722265.7409 | 1220355.3913 | 2722252.611 | 1220351.3308
53 | 2722379.4719 | 1220363.2774 | 2722369.5203 | 1220361.1268
54 | 2722377.0842 | 1220374.5705 | 2722379.4719 | 1220363.2774
55 | 2722377.0842 | 1220374.5705 | 2722387.5702 | 1220376.9531
56 | 2722377.0842 | 1220374.5705 | 2722366.6047 | 1220372.2534
57 | 2722402.9131 | 1220380.4391 | 2722387.5702 | 1220376.9531
58 | 2722366.6047 | 1220372.2534 | 2722363.7351 | 1220385.5152
59 | 2722322.1839 | 1220378.5461 | 2722325.6578 | 1220361.528
60 | 2722322.1839 | 1220378.5461 | 2722321.8157 | 1220380.3496
61 | 2722321.8157 | 1220380.3496 | 2722317.2607 | 1220402.6637
62 | 2722324.5425 | 1220417.2803 | 2722317.2607 | 1220402.6637
63 | 2722324.5425 | 1220417.2803 | 2722346.4369 | 1220423.2902
64 | 2722346.4369 | 1220423.2902 | 2722347.32 | 1220420.2059
65 | 2722346.4369 | 1220423.2902 | 2722363.1487 | 1220427.7592 | 2722379.3019 | 1220432.0833
66 | 2722219.8456 | 1220135.1462 | 2722219.867 | 1220127.5589
67 | 2722362.3527 | 1220391.9037 | 2722363.7351 | 1220385.5152
68 | 2722362.3527 | 1220391.9037 | 2722372.5832 | 1220394.5159 | 2722374.184 | 1220394.9157 | 2722382.1512 | 1220396.9517
69 | 2722402.9131 | 1220380.4391 | 2722405.3937 | 1220381.002
70 | 2722429.6411 | 1220386.5043 | 2722405.3937 | 1220381.002
71 | 2722429.6411 | 1220386.5043 | 2722424.6905 | 1220402.2101
72 | 2722379.3019 | 1220432.0833 | 2722380.5267 | 1220427.883
73 | 2722396.8967 | 1220436.793 | 2722379.3019 | 1220432.0833
74 | 2722396.8967 | 1220436.793 | 2722412.9441 | 1220441.0928 | 2722414.0168 | 1220437.2785

## bus_geodata
| x | y | coords
0 | 2722245.6074 | 1220296.0524
1 | 2722247.5645 | 1220296.4514
2 | 2722233.0147 | 1220293.4848
3 | 2722272.906 | 1220301.6185
4 | 2722217.7194 | 1220290.366
5 | 2722280.3336 | 1220303.7949
6 | 2722215.0368 | 1220289.8194
7 | 2722216.0312 | 1220303.0889
8 | 2722274.4302 | 1220318.168
9 | 2722301.3006 | 1220296.7331
10 | 2722193.0795 | 1220284.7792
11 | 2722214.1224 | 1220308.8638
12 | 2722248.3427 | 1220135.4221
13 | 2722231.6049 | 1220155.6568
14 | 2722327.4871 | 1220302.6269
15 | 2722337.2292 | 1220304.8195
16 | 2722332.7219 | 1220326.922
17 | 2722351.9733 | 1220308.1387
18 | 2722273.0868 | 1220324.0398
19 | 2722345.8587 | 1220329.5716
20 | 2722327.0205 | 1220354.8525
21 | 2722375.3315 | 1220313.3973
22 | 2722268.4498 | 1220344.3382
23 | 2722294.0505 | 1220329.0242
24 | 2722179.7223 | 1220351.8596
25 | 2722188.2695 | 1220355.2844
26 | 2722162.6335 | 1220345.0121
27 | 2722218.0539 | 1220355.0235
28 | 2722171.5311 | 1220319.3857
29 | 2722098.2869 | 1220331.6824
30 | 2722226.0325 | 1220343.1112
31 | 2722059.5108 | 1220319.3886
32 | 2722033.8463 | 1220312.2725
33 | 2722095.7843 | 1220348.2329
34 | 2722018.3703 | 1220308.1375
35 | 2722045.6858 | 1220298.5341
36 | 2722217.6371 | 1220187.9176
37 | 2722413.5195 | 1220321.9428
38 | 2722395.225 | 1220317.8633
39 | 2722428.3056 | 1220325.24
40 | 2722389.3583 | 1220316.5551
41 | 2722424.4248 | 1220343.0631
42 | 2722384.5707 | 1220339.1808
43 | 2722383.3 | 1220345.1859
44 | 2722235.7844 | 1220346.127
45 | 2722252.611 | 1220351.3308
46 | 2722265.7409 | 1220355.3913
47 | 2722219.3864 | 1220336.5871
48 | 2722290.069 | 1220354.8903
49 | 2722379.4719 | 1220363.2774
50 | 2722369.5203 | 1220361.1268
51 | 2722377.0842 | 1220374.5705
52 | 2722387.5702 | 1220376.9531
53 | 2722366.6047 | 1220372.2534
54 | 2722325.6578 | 1220361.528
55 | 2722322.1839 | 1220378.5461
56 | 2722321.8157 | 1220380.3496
57 | 2722317.2607 | 1220402.6637
58 | 2722324.5425 | 1220417.2803
59 | 2722346.4369 | 1220423.2902
60 | 2722219.8456 | 1220135.1462
61 | 2722219.867 | 1220127.5589
62 | 2722229.2322 | 1220165.1244
63 | 2722363.7351 | 1220385.5152
64 | 2722362.3527 | 1220391.9037
65 | 2722382.1512 | 1220396.9517
66 | 2722402.9131 | 1220380.4391
67 | 2722405.3937 | 1220381.002
68 | 2722429.6411 | 1220386.5043
69 | 2722424.6905 | 1220402.2101
70 | 2722308.1054 | 1220324.6028
71 | 2722347.32 | 1220420.2059
72 | 2722379.3019 | 1220432.0833
73 | 2722380.5267 | 1220427.883
74 | 2722396.8967 | 1220436.793
75 | 2722414.0168 | 1220437.2785
76 | 2722332.7219 | 1220326.922

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98964 | -0.19877 | 0.0039231 | 0.00098321
1 | 0.98974 | -0.19682 | 0.0050381 | 0.0012627
2 | 0.98904 | -0.21041 | 0.0039284 | 0.00098454
3 | 0.99116 | -0.16932 | 0.011703 | 0.0029329
4 | 0.98836 | -0.22347 | 0 | 0
5 | 0.99167 | -0.15947 | 0 | 0
6 | 0.98827 | -0.22525 | 0.0071928 | 0.0018027
7 | 0.98823 | -0.22595 | 0.0043448 | 0.0010889
8 | 0.99052 | -0.18176 | 0.0069498 | 0.0017418
9 | 0.99328 | -0.12842 | 0.010003 | 0.0025069
10 | 0.98767 | -0.23695 | 0.0041188 | 0.0010323
11 | 0.9882 | -0.22664 | 0.0063342 | 0.0015875
12 | 0.9845 | -0.29866 | 0.0057174 | 0.0014329
13 | 0.98466 | -0.29546 | 0 | 0
14 | 0.99461 | -0.10295 | 0.01058 | 0.0026517
15 | 0.99513 | -0.092874 | 0 | 0
16 | 0.9972 | -0.053292 | 0 | 0
17 | 0.99336 | -0.12692 | 0.010037 | 0.0025155
18 | 0.99011 | -0.18956 | 0 | 0
19 | 0.99694 | -0.058254 | 0.021179 | 0.005308
20 | 1 | 0 | -0.4888 | -0.12389
21 | 0.99077 | -0.17683 | 0.0099033 | 0.002482
22 | 0.98907 | -0.2098 | 0 | 0
23 | 0.98975 | -0.19654 | 0.0092189 | 0.0023105
24 | 0.9857 | -0.27514 | 0.0033612 | 0.0008424
25 | 0.98589 | -0.27146 | 0.0033619 | 0.00084258
26 | 0.98538 | -0.28138 | 0 | 0
27 | 0.9866 | -0.2578 | 0.0051057 | 0.0012796
28 | 0.98527 | -0.2836 | 0.004567 | 0.0011446
29 | 0.98452 | -0.29828 | 0.0033737 | 0.00084554
30 | 0.98708 | -0.24828 | 0 | 0
31 | 0.98388 | -0.31076 | 0.0059706 | 0.0014964
32 | 0.98376 | -0.31314 | 0.0022454 | 0.00056274
33 | 0.98435 | -0.30157 | 0 | 0
34 | 0.98372 | -0.31393 | 0 | 0
35 | 0.98363 | -0.3156 | 0.0027194 | 0.00068154
36 | 0.98537 | -0.2816 | 0.0021085 | 0.00052844
37 | 0.98882 | -0.21456 | 0.0095166 | 0.0023851
38 | 0.98918 | -0.20748 | 0.0076125 | 0.0019079
39 | 0.98865 | -0.21773 | 0 | 0
40 | 0.98934 | -0.20439 | 0 | 0
41 | 0.98846 | -0.22153 | 0.011706 | 0.0029338
42 | 0.98766 | -0.23696 | 0.010606 | 0.0026581
43 | 0.98727 | -0.24446 | 0.0078763 | 0.001974
44 | 0.98741 | -0.242 | 0.004913 | 0.0012313
45 | 0.98804 | -0.22963 | 0.0049473 | 0.0012399
46 | 0.9886 | -0.21878 | 0 | 0
47 | 0.98705 | -0.24898 | 0.0036711 | 0.00092008
48 | 0.98879 | -0.21524 | 0.010386 | 0.0026029
49 | 0.98625 | -0.26449 | 0 | 0
50 | 0.9862 | -0.26545 | 0.0052935 | 0.0013267
51 | 0.98566 | -0.27591 | 0 | 0
52 | 0.98539 | -0.28108 | 0.0060085 | 0.0015059
53 | 0.98538 | -0.28136 | 0 | 0
54 | 0.99966 | -0.0064007 | 0.0075041 | 0.0018807
55 | 0.99885 | -0.021978 | 0.0080812 | 0.0020253
56 | 0.99872 | -0.024327 | 0.0064415 | 0.0016144
57 | 0.99581 | -0.080051 | 0.02371 | 0.0059424
58 | 0.99408 | -0.11338 | 0 | 0
59 | 0.99167 | -0.15978 | 0 | 0
60 | 0.98431 | -0.30223 | 0.011227 | 0.0028137
61 | 0.9843 | -0.30247 | 0.0017834 | 0.00044695
62 | 0.98483 | -0.29217 | 0.0041096 | 0.00103
63 | 0.98502 | -0.28828 | 0.0081416 | 0.0020405
64 | 0.9849 | -0.29066 | 0 | 0
65 | 0.98452 | -0.29809 | 0.020248 | 0.0050745
66 | 0.98509 | -0.28696 | 0 | 0
67 | 0.98504 | -0.28791 | 0.0077026 | 0.0019304
68 | 0.98474 | -0.29375 | 0 | 0
69 | 0.98455 | -0.29763 | 0.013088 | 0.0032801
70 | 0.98959 | -0.1998 | 0.0090114 | 0.0022585
71 | 0.99156 | -0.16189 | 0.037076 | 0.0092921
72 | 0.98921 | -0.20743 | 0 | 0
73 | 0.98906 | -0.21025 | 0.036185 | 0.0090688
74 | 0.9885 | -0.22123 | 0 | 0
75 | 0.9877 | -0.23686 | 0.042642 | 0.010687
76 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.054939 | -0.013824 | 0.054944 | 0.013828 | 5.1135e-06 | 3.247e-06 | 0.082626 | 0.082626 | 0.082626 | 0.98964 | -0.19877 | 0.98974 | -0.19682 | 22.6995
1 | 0.051016 | 0.012841 | -0.050988 | -0.012823 | 2.8372e-05 | 1.7993e-05 | 0.076727 | 0.076727 | 0.076727 | 0.98964 | -0.19877 | 0.98904 | -0.21041 | 21.079
2 | -0.059982 | -0.01509 | 0.060061 | 0.015141 | 7.8909e-05 | 5.0169e-05 | 0.090201 | 0.0902 | 0.090201 | 0.98974 | -0.19682 | 0.99116 | -0.16932 | 24.7804
3 | 0.047059 | 0.011839 | -0.04703 | -0.01182 | 2.9357e-05 | 1.8588e-05 | 0.070817 | 0.070817 | 0.070817 | 0.98904 | -0.21041 | 0.98836 | -0.22347 | 19.4553
4 | -0.071764 | -0.018073 | 0.071798 | 0.018095 | 3.3833e-05 | 2.1553e-05 | 0.10777 | 0.10777 | 0.10777 | 0.99116 | -0.16932 | 0.99167 | -0.15947 | 29.607
5 | 0.03635 | 0.009143 | -0.036346 | -0.0091411 | 3.076e-06 | 1.9336e-06 | 0.054737 | 0.054737 | 0.054737 | 0.98836 | -0.22347 | 0.98827 | -0.22525 | 15.0377
6 | 0.01068 | 0.0026771 | -0.010679 | -0.0026765 | 1.26e-06 | 6.3991e-07 | 0.01608 | 0.01608 | 0.01608 | 0.98836 | -0.22347 | 0.98823 | -0.22595 | 4.4176
7 | 0.080113 | 0.020193 | -0.080028 | -0.020139 | 8.5332e-05 | 5.441e-05 | 0.12025 | 0.12025 | 0.12025 | 0.99167 | -0.15947 | 0.99052 | -0.18176 | 33.0362
8 | -0.15191 | -0.038288 | 0.15214 | 0.038432 | 0.00022601 | 0.00014405 | 0.22802 | 0.22802 | 0.22802 | 0.99167 | -0.15947 | 0.99328 | -0.12842 | 31.3216
9 | 0.029154 | 0.0073384 | -0.029137 | -0.0073283 | 1.6293e-05 | 1.0139e-05 | 0.043907 | 0.043907 | 0.043907 | 0.98827 | -0.22525 | 0.98767 | -0.23695 | 12.0624
10 | 0.0063344 | 0.0015876 | -0.0063342 | -0.0015875 | 2.0749e-07 | 5.4871e-08 | 0.009538 | 0.009538 | 0.009538 | 0.98823 | -0.22595 | 0.9882 | -0.22664 | 2.6203
11 | 0.073078 | 0.018397 | -0.073051 | -0.01838 | 2.7238e-05 | 1.7355e-05 | 0.10981 | 0.10981 | 0.10981 | 0.99052 | -0.18176 | 0.99011 | -0.18956 | 30.168
12 | -0.16214 | -0.040939 | 0.16234 | 0.041065 | 0.00019813 | 0.00012576 | 0.24301 | 0.24301 | 0.24301 | 0.99328 | -0.12842 | 0.99461 | -0.10295 | 22.2532
13 | 0.025019 | 0.006296 | -0.024965 | -0.0062632 | 5.3265e-05 | 3.2814e-05 | 0.037702 | 0.037702 | 0.037702 | 0.98767 | -0.23695 | 0.98537 | -0.2816 | 10.3578
14 | -0.0057174 | -0.0014329 | 0.0057182 | 0.0014331 | 8.7266e-07 | 1.6217e-07 | 0.0086415 | 0.0086413 | 0.0086415 | 0.9845 | -0.29866 | 0.98466 | -0.29546 | 2.374
15 | -0.018733 | -0.004696 | 0.018736 | 0.0046977 | 2.9407e-06 | 1.7576e-06 | 0.028309 | 0.028309 | 0.028309 | 0.98466 | -0.29546 | 0.98483 | -0.29217 | 7.7772
16 | 0.013014 | 0.0032629 | -0.01301 | -0.0032606 | 4.1966e-06 | 2.318e-06 | 0.019668 | 0.019668 | 0.019668 | 0.98466 | -0.29546 | 0.98431 | -0.30223 | 5.4033
17 | -0.17292 | -0.043717 | 0.173 | 0.04377 | 8.3625e-05 | 5.3131e-05 | 0.25883 | 0.25883 | 0.25883 | 0.99461 | -0.10295 | 0.99513 | -0.092874 | 23.7028
18 | -0.30167 | -0.076377 | 0.30225 | 0.076744 | 0.00057449 | 0.00036679 | 0.45136 | 0.45136 | 0.45136 | 0.99513 | -0.092874 | 0.9972 | -0.053292 | 41.3337
19 | 0.12867 | 0.032607 | -0.12846 | -0.032473 | 0.00021008 | 0.00013425 | 0.19253 | 0.19253 | 0.19253 | 0.99513 | -0.092874 | 0.99336 | -0.12692 | 52.8928
20 | 0.021184 | 0.005311 | -0.021179 | -0.005308 | 5.0075e-06 | 3.0305e-06 | 0.031611 | 0.031612 | 0.031612 | 0.9972 | -0.053292 | 0.99694 | -0.058254 | 8.6845
21 | -0.32343 | -0.082055 | 0.32426 | 0.082586 | 0.00083119 | 0.00053085 | 0.48297 | 0.48297 | 0.48297 | 0.9972 | -0.053292 | 1 | 0 | 44.2285
22 | 0.11842 | 0.029958 | -0.11814 | -0.029777 | 0.00028286 | 0.00018072 | 0.17749 | 0.17749 | 0.17749 | 0.99336 | -0.12692 | 0.99077 | -0.17683 | 48.7623
23 | 0.054813 | 0.013806 | -0.05476 | -0.013773 | 5.3021e-05 | 3.3666e-05 | 0.082402 | 0.082402 | 0.082402 | 0.99011 | -0.18956 | 0.98907 | -0.2098 | 22.6378
24 | 0.018238 | 0.0045732 | -0.018232 | -0.0045696 | 6.071e-06 | 3.6084e-06 | 0.02741 | 0.02741 | 0.02741 | 0.99011 | -0.18956 | 0.98975 | -0.19654 | 7.5302
25 | 0.16289 | 0.041309 | -0.16284 | -0.041277 | 5.0105e-05 | 3.1799e-05 | 0.24256 | 0.24256 | 0.24256 | 1 | 0 | 0.99966 | -0.0064007 | 22.2121
26 | 0.10824 | 0.027295 | -0.1081 | -0.027204 | 0.00014259 | 9.1071e-05 | 0.16262 | 0.16262 | 0.16262 | 0.99077 | -0.17683 | 0.98934 | -0.20439 | 44.6761
27 | 0.010388 | 0.0026042 | -0.010386 | -0.0026029 | 2.6914e-06 | 1.3455e-06 | 0.015629 | 0.015629 | 0.015629 | 0.98907 | -0.2098 | 0.98879 | -0.21524 | 4.2937
28 | 0.044372 | 0.011169 | -0.044353 | -0.011157 | 1.903e-05 | 1.2033e-05 | 0.066773 | 0.066773 | 0.066773 | 0.98907 | -0.2098 | 0.9886 | -0.21878 | 18.3441
29 | 0.0090128 | 0.0022591 | -0.0090114 | -0.0022585 | 1.3986e-06 | 6.3407e-07 | 0.01355 | 0.01355 | 0.01355 | 0.98975 | -0.19654 | 0.98959 | -0.1998 | 3.7226
30 | -0.022262 | -0.005586 | 0.022266 | 0.0055884 | 3.9004e-06 | 2.3789e-06 | 0.033609 | 0.033609 | 0.033609 | 0.9857 | -0.27514 | 0.98589 | -0.27146 | 9.2334
31 | 0.018901 | 0.0047436 | -0.018895 | -0.0047402 | 5.6214e-06 | 3.3631e-06 | 0.028535 | 0.028535 | 0.028535 | 0.9857 | -0.27514 | 0.98538 | -0.28138 | 7.8394
32 | -0.025628 | -0.006431 | 0.025645 | 0.0064413 | 1.6714e-05 | 1.0317e-05 | 0.038684 | 0.038683 | 0.038684 | 0.98589 | -0.27146 | 0.9866 | -0.2578 | 10.6274
33 | 0.0045674 | 0.0011446 | -0.004567 | -0.0011446 | 4.839e-07 | -3.5801e-08 | 0.0068972 | 0.0068973 | 0.0068973 | 0.98538 | -0.28138 | 0.98527 | -0.2836 | 1.8949
34 | 0.014328 | 0.0035957 | -0.014316 | -0.0035891 | 1.1538e-05 | 6.5479e-06 | 0.021638 | 0.021639 | 0.021639 | 0.98538 | -0.28138 | 0.98452 | -0.29828 | 5.9446
35 | -0.030751 | -0.0077209 | 0.030765 | 0.0077296 | 1.3971e-05 | 8.7204e-06 | 0.046384 | 0.046384 | 0.046384 | 0.9866 | -0.2578 | 0.98708 | -0.24828 | 12.7429
36 | 0.010943 | 0.0027436 | -0.010941 | -0.0027427 | 1.7173e-06 | 8.8625e-07 | 0.016539 | 0.016539 | 0.016539 | 0.98452 | -0.29828 | 0.98435 | -0.30157 | 4.5438
37 | 0.0036713 | 0.00092002 | -0.0036711 | -0.00092008 | 1.234e-07 | -5.8348e-08 | 0.0055343 | 0.0055344 | 0.0055344 | 0.98708 | -0.24828 | 0.98705 | -0.24898 | 1.5204
38 | -0.034436 | -0.0086496 | 0.034446 | 0.0086561 | 1.0318e-05 | 6.4729e-06 | 0.051918 | 0.051918 | 0.051918 | 0.98708 | -0.24828 | 0.98741 | -0.242 | 14.2633
39 | 0.0049656 | 0.0012439 | -0.0049651 | -0.0012439 | 5.6338e-07 | 2.2305e-08 | 0.0075098 | 0.0075099 | 0.0075099 | 0.98388 | -0.31076 | 0.98376 | -0.31314 | 2.0632
40 | -0.010936 | -0.0027402 | 0.010941 | 0.0027427 | 4.7889e-06 | 2.4718e-06 | 0.01654 | 0.016539 | 0.01654 | 0.98388 | -0.31076 | 0.98435 | -0.30157 | 4.5439
41 | 0.0027197 | 0.00068111 | -0.0027196 | -0.00068125 | 1.0165e-07 | -1.3832e-07 | 0.0041136 | 0.0041137 | 0.0041137 | 0.98376 | -0.31314 | 0.98372 | -0.31393 | 1.1301
42 | 0.0027196 | 0.00068125 | -0.0027194 | -0.00068154 | 2.1733e-07 | -2.9564e-07 | 0.0041137 | 0.0041138 | 0.0041138 | 0.98372 | -0.31393 | 0.98363 | -0.3156 | 1.1302
43 | 0.022857 | 0.0057347 | -0.022845 | -0.0057277 | 1.1513e-05 | 7.0402e-06 | 0.034518 | 0.034518 | 0.034518 | 0.98537 | -0.2816 | 0.98483 | -0.29217 | 9.4831
44 | -0.021227 | -0.005321 | 0.021234 | 0.0053253 | 7.172e-06 | 4.3496e-06 | 0.031943 | 0.031943 | 0.031943 | 0.98882 | -0.21456 | 0.98918 | -0.20748 | 8.7755
45 | 0.01171 | 0.0029359 | -0.011708 | -0.0029349 | 1.7641e-06 | 9.3475e-07 | 0.017622 | 0.017622 | 0.017622 | 0.98882 | -0.21456 | 0.98865 | -0.21773 | 4.8412
46 | -0.028846 | -0.0072332 | 0.02885 | 0.0072358 | 4.2445e-06 | 2.6393e-06 | 0.043394 | 0.043394 | 0.043394 | 0.98918 | -0.20748 | 0.98934 | -0.20439 | 11.9215
47 | 0.011708 | 0.0029349 | -0.011706 | -0.0029338 | 2.1243e-06 | 1.1257e-06 | 0.017622 | 0.017622 | 0.017622 | 0.98865 | -0.21773 | 0.98846 | -0.22153 | 4.8412
48 | 0.079245 | 0.019968 | -0.079122 | -0.019889 | 0.00012328 | 7.8603e-05 | 0.11923 | 0.11923 | 0.11923 | 0.98934 | -0.20439 | 0.98766 | -0.23696 | 32.7547
49 | 0.068516 | 0.017231 | -0.068492 | -0.017216 | 2.4537e-05 | 1.5625e-05 | 0.10325 | 0.10325 | 0.10325 | 0.98766 | -0.23696 | 0.98727 | -0.24446 | 28.3649
50 | 0.060615 | 0.015242 | -0.060557 | -0.015205 | 5.7902e-05 | 3.6821e-05 | 0.091377 | 0.091377 | 0.091377 | 0.98727 | -0.24446 | 0.98625 | -0.26449 | 25.1036
51 | -0.039359 | -0.0098874 | 0.039382 | 0.0099021 | 2.3243e-05 | 1.465e-05 | 0.059322 | 0.059322 | 0.059322 | 0.98741 | -0.242 | 0.98804 | -0.22963 | 16.2973
52 | -0.04433 | -0.011142 | 0.044353 | 0.011157 | 2.2979e-05 | 1.453e-05 | 0.066773 | 0.066773 | 0.066773 | 0.98804 | -0.22963 | 0.9886 | -0.21878 | 18.3442
53 | 0.0052937 | 0.0013267 | -0.0052935 | -0.0013267 | 2.4288e-07 | 2.589e-08 | 0.007987 | 0.007987 | 0.007987 | 0.98625 | -0.26449 | 0.9862 | -0.26545 | 2.1942
54 | 0.055264 | 0.013878 | -0.055234 | -0.013859 | 3.0103e-05 | 1.9119e-05 | 0.08339 | 0.08339 | 0.08339 | 0.98625 | -0.26449 | 0.98566 | -0.27591 | 22.9094
55 | 0.026818 | 0.0067279 | -0.026812 | -0.0067238 | 6.6106e-06 | 4.0938e-06 | 0.040489 | 0.040489 | 0.040489 | 0.98566 | -0.27591 | 0.98539 | -0.28108 | 11.1233
56 | 0.028415 | 0.0071311 | -0.028408 | -0.0071266 | 7.3865e-06 | 4.591e-06 | 0.042901 | 0.042901 | 0.042901 | 0.98566 | -0.27591 | 0.98538 | -0.28136 | 11.7861
57 | 0.020803 | 0.005218 | -0.020797 | -0.0052144 | 5.8232e-06 | 3.5265e-06 | 0.031416 | 0.031416 | 0.031416 | 0.98539 | -0.28108 | 0.98509 | -0.28696 | 8.6307
58 | 0.028408 | 0.0071266 | -0.028399 | -0.0071207 | 9.3651e-06 | 5.8209e-06 | 0.042901 | 0.042901 | 0.042901 | 0.98538 | -0.28136 | 0.98502 | -0.28828 | 11.7861
59 | 0.15534 | 0.039396 | -0.15522 | -0.039322 | 0.00011624 | 7.3711e-05 | 0.23139 | 0.23139 | 0.23139 | 0.99966 | -0.0064007 | 0.99885 | -0.021978 | 21.1892
60 | 0.14714 | 0.037297 | -0.14712 | -0.037287 | 1.6606e-05 | 1.0579e-05 | 0.21935 | 0.21935 | 0.21935 | 0.99885 | -0.021978 | 0.99872 | -0.024327 | 30.1301
61 | 0.14068 | 0.035672 | -0.14031 | -0.035432 | 0.00037573 | 0.00024017 | 0.20975 | 0.20975 | 0.20975 | 0.99872 | -0.024327 | 0.99581 | -0.080051 | 57.6236
62 | 0.1166 | 0.02949 | -0.11641 | -0.029371 | 0.00018609 | 0.00011888 | 0.17432 | 0.17432 | 0.17432 | 0.99581 | -0.080051 | 0.99408 | -0.11338 | 47.8902
63 | 0.11641 | 0.029371 | -0.11615 | -0.029206 | 0.00025801 | 0.00016484 | 0.17432 | 0.17432 | 0.17432 | 0.99408 | -0.11338 | 0.99167 | -0.15978 | 47.8902
64 | 0.03708 | 0.0092944 | -0.037076 | -0.0092921 | 3.7241e-06 | 2.342e-06 | 0.055639 | 0.055639 | 0.055639 | 0.99167 | -0.15978 | 0.99156 | -0.16189 | 15.2854
65 | 0.079072 | 0.019911 | -0.078892 | -0.019797 | 0.0001797 | 0.00011457 | 0.11868 | 0.11868 | 0.11868 | 0.99167 | -0.15978 | 0.98921 | -0.20743 | 32.6049
66 | 0.0017834 | 0.00044687 | -0.0017834 | -0.00044695 | 2.068e-08 | -8.3206e-08 | 0.002696 | 0.002696 | 0.002696 | 0.98431 | -0.30223 | 0.9843 | -0.30247 | 0.74066
67 | 0.020257 | 0.0050803 | -0.020255 | -0.0050789 | 2.2955e-06 | 1.3859e-06 | 0.030602 | 0.030602 | 0.030602 | 0.98502 | -0.28828 | 0.9849 | -0.29066 | 8.4072
68 | 0.020255 | 0.0050789 | -0.020248 | -0.0050745 | 7.1755e-06 | 4.3324e-06 | 0.030602 | 0.030602 | 0.030602 | 0.9849 | -0.29066 | 0.98452 | -0.29809 | 8.4073
69 | 0.020797 | 0.0052144 | -0.020796 | -0.0052139 | 9.4141e-07 | 5.7012e-07 | 0.031416 | 0.031416 | 0.031416 | 0.98509 | -0.28696 | 0.98504 | -0.28791 | 8.6307
70 | 0.013094 | 0.0032834 | -0.01309 | -0.0032814 | 3.648e-06 | 2.0183e-06 | 0.01978 | 0.01978 | 0.01978 | 0.98504 | -0.28791 | 0.98474 | -0.29375 | 5.4341
71 | 0.01309 | 0.0032814 | -0.013088 | -0.0032801 | 2.4161e-06 | 1.3369e-06 | 0.01978 | 0.01978 | 0.01978 | 0.98474 | -0.29375 | 0.98455 | -0.29763 | 5.4341
72 | 0.03619 | 0.0090718 | -0.036185 | -0.0090688 | 4.8621e-06 | 3.0556e-06 | 0.054439 | 0.054439 | 0.054439 | 0.98921 | -0.20743 | 0.98906 | -0.21025 | 14.9557
73 | 0.042702 | 0.010725 | -0.042674 | -0.010707 | 2.8112e-05 | 1.7759e-05 | 0.064243 | 0.064243 | 0.064243 | 0.98921 | -0.20743 | 0.9885 | -0.22123 | 17.6492
74 | 0.042674 | 0.010707 | -0.042642 | -0.010687 | 3.1774e-05 | 2.0072e-05 | 0.064243 | 0.064243 | 0.064243 | 0.9885 | -0.22123 | 0.9877 | -0.23686 | 17.6492

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.49553 | 0.12558

## res_load
| p_mw | q_mvar
0 | 0.0039231 | 0.00098321
1 | 0.0050381 | 0.0012627
2 | 0.0039284 | 0.00098454
3 | 0.011703 | 0.0029329
4 | 0.0071928 | 0.0018027
5 | 0.0043448 | 0.0010889
6 | 0.0069498 | 0.0017418
7 | 0.010003 | 0.0025069
8 | 0.0041188 | 0.0010323
9 | 0.0063342 | 0.0015875
10 | 0.0057174 | 0.0014329
11 | 0.01058 | 0.0026517
12 | 0.010037 | 0.0025155
13 | 0.021179 | 0.005308
14 | 0.0067298 | 0.0016866
15 | 0.0099033 | 0.002482
16 | 0.0092189 | 0.0023105
17 | 0.0033612 | 0.0008424
18 | 0.0033619 | 0.00084258
19 | 0.0051057 | 0.0012796
20 | 0.004567 | 0.0011446
21 | 0.0033737 | 0.00084554
22 | 0.0059706 | 0.0014964
23 | 0.0022454 | 0.00056274
24 | 0.0027194 | 0.00068154
25 | 0.0021085 | 0.00052844
26 | 0.0095166 | 0.0023851
27 | 0.0076125 | 0.0019079
28 | 0.011706 | 0.0029338
29 | 0.010606 | 0.0026581
30 | 0.0078763 | 0.001974
31 | 0.004913 | 0.0012313
32 | 0.0049473 | 0.0012399
33 | 0.0036711 | 0.00092008
34 | 0.010386 | 0.0026029
35 | 0.0052935 | 0.0013267
36 | 0.0060085 | 0.0015059
37 | 0.0075041 | 0.0018807
38 | 0.0080812 | 0.0020253
39 | 0.0064415 | 0.0016144
40 | 0.02371 | 0.0059424
41 | 0.011227 | 0.0028137
42 | 0.0017834 | 0.00044695
43 | 0.0041096 | 0.00103
44 | 0.0081416 | 0.0020405
45 | 0.020248 | 0.0050745
46 | 0.0077026 | 0.0019304
47 | 0.013088 | 0.0032801
48 | 0.0090114 | 0.0022585
49 | 0.037076 | 0.0092921
50 | 0.036185 | 0.0090688
51 | 0.042642 | 0.010687

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1