## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1630-107_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1630-107_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1630-107_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1630-107_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1630-107_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1630-107_0_5_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1630-107_0_5_node_59 | 0.4 | n |  | TRUE
7 | bus_LV_1630-107_0_5_node_11 | 0.4 | n |  | TRUE
8 | bus_LV_1630-107_0_5_node_38 | 0.4 | n |  | TRUE
9 | bus_LV_1630-107_0_5_node_70 | 0.4 | n |  | TRUE
10 | bus_LV_1630-107_0_5_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_1630-107_0_5_node_41 | 0.4 | n |  | TRUE
12 | bus_LV_1630-107_0_5_node_42 | 0.4 | n |  | TRUE
13 | bus_LV_1630-107_0_5_node_36 | 0.4 | n |  | TRUE
14 | bus_LV_1630-107_0_5_node_6 | 0.4 | n |  | TRUE
15 | bus_LV_1630-107_0_5_node_7 | 0.4 | n |  | TRUE
16 | bus_LV_1630-107_0_5_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_1630-107_0_5_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_1630-107_0_5_node_43 | 0.4 | n |  | TRUE
19 | bus_LV_1630-107_0_5_node_99 | 0.4 | n |  | TRUE
20 | bus_LV_1630-107_0_5_node_44 | 0.4 | n |  | TRUE
21 | bus_LV_1630-107_0_5_node_23 | 0.4 | n |  | TRUE
22 | bus_LV_1630-107_0_5_node_92 | 0.4 | n |  | TRUE
23 | bus_LV_1630-107_0_5_node_20 | 0.4 | n |  | TRUE
24 | bus_LV_1630-107_0_5_node_12 | 0.4 | n |  | TRUE
25 | bus_LV_1630-107_0_5_node_14 | 0.4 | n |  | TRUE
26 | bus_LV_1630-107_0_5_node_17 | 0.4 | n |  | TRUE
27 | bus_LV_1630-107_0_5_node_18 | 0.4 | n |  | TRUE
28 | bus_LV_1630-107_0_5_node_15 | 0.4 | n |  | TRUE
29 | bus_LV_1630-107_0_5_node_98 | 0.4 | n |  | TRUE
30 | bus_LV_1630-107_0_5_node_35 | 0.4 | n |  | TRUE
31 | bus_LV_1630-107_0_5_node_16 | 0.4 | n |  | TRUE
32 | bus_LV_1630-107_0_5_node_87 | 0.4 | n |  | TRUE
33 | bus_LV_1630-107_0_5_node_82 | 0.4 | n |  | TRUE
34 | bus_LV_1630-107_0_5_node_90 | 0.4 | n |  | TRUE
35 | bus_LV_1630-107_0_5_node_91 | 0.4 | n |  | TRUE
36 | bus_LV_1630-107_0_5_node_60 | 0.4 | n |  | TRUE
37 | bus_LV_1630-107_0_5_node_45 | 0.4 | n |  | TRUE
38 | bus_LV_1630-107_0_5_node_34 | 0.4 | n |  | TRUE
39 | bus_LV_1630-107_0_5_node_97 | 0.4 | n |  | TRUE
40 | bus_LV_1630-107_0_5_node_79 | 0.4 | n |  | TRUE
41 | bus_LV_1630-107_0_5_node_83 | 0.4 | n |  | TRUE
42 | bus_LV_1630-107_0_5_node_80 | 0.4 | n |  | TRUE
43 | bus_LV_1630-107_0_5_node_33 | 0.4 | n |  | TRUE
44 | bus_LV_1630-107_0_5_node_19 | 0.4 | n |  | TRUE
45 | bus_LV_1630-107_0_5_node_21 | 0.4 | n |  | TRUE
46 | bus_LV_1630-107_0_5_node_22 | 0.4 | n |  | TRUE
47 | bus_LV_1630-107_0_5_node_24 | 0.4 | n |  | TRUE
48 | bus_LV_1630-107_0_5_node_25 | 0.4 | n |  | TRUE
49 | bus_LV_1630-107_0_5_node_49 | 0.4 | n |  | TRUE
50 | bus_LV_1630-107_0_5_node_46 | 0.4 | n |  | TRUE
51 | bus_LV_1630-107_0_5_node_47 | 0.4 | n |  | TRUE
52 | bus_LV_1630-107_0_5_node_64 | 0.4 | n |  | TRUE
53 | bus_LV_1630-107_0_5_node_62 | 0.4 | n |  | TRUE
54 | bus_LV_1630-107_0_5_node_26 | 0.4 | n |  | TRUE
55 | bus_LV_1630-107_0_5_node_27 | 0.4 | n |  | TRUE
56 | bus_LV_1630-107_0_5_node_28 | 0.4 | n |  | TRUE
57 | bus_LV_1630-107_0_5_node_29 | 0.4 | n |  | TRUE
58 | bus_LV_1630-107_0_5_node_30 | 0.4 | n |  | TRUE
59 | bus_LV_1630-107_0_5_node_66 | 0.4 | n |  | TRUE
60 | bus_LV_1630-107_0_5_node_72 | 0.4 | n |  | TRUE
61 | bus_LV_1630-107_0_5_node_67 | 0.4 | n |  | TRUE
62 | bus_LV_1630-107_0_5_node_39 | 0.4 | n |  | TRUE
63 | bus_LV_1630-107_0_5_node_71 | 0.4 | n |  | TRUE
64 | bus_LV_1630-107_0_5_node_31 | 0.4 | n |  | TRUE
65 | bus_LV_1630-107_0_5_node_32 | 0.4 | n |  | TRUE
66 | bus_LV_1630-107_0_5_node_37 | 0.4 | n |  | TRUE
67 | bus_LV_1630-107_0_5_node_40 | 0.4 | n |  | TRUE
68 | bus_LV_1630-107_0_5_node_68 | 0.4 | n |  | TRUE
69 | bus_LV_1630-107_0_5_node_95 | 0.4 | n |  | TRUE
70 | bus_LV_1630-107_0_5_node_50 | 0.4 | n |  | TRUE
71 | bus_LV_1630-107_0_5_node_69 | 0.4 | n |  | TRUE
72 | bus_LV_1630-107_0_5_node_53 | 0.4 | n |  | TRUE
73 | bus_LV_1630-107_0_5_node_48 | 0.4 | n |  | TRUE
74 | bus_LV_1630-107_0_5_node_58 | 0.4 | n |  | TRUE
75 | bus_LV_1630-107_0_5_node_56 | 0.4 | n |  | TRUE
76 | bus_LV_1630-107_0_5_node_94 | 0.4 | n |  | TRUE
77 | bus_LV_1630-107_0_5_node_54 | 0.4 | n |  | TRUE
78 | bus_LV_1630-107_0_5_node_55 | 0.4 | n |  | TRUE
79 | bus_LV_1630-107_0_5_node_57 | 0.4 | n |  | TRUE
80 | bus_LV_1630-107_0_5_node_76 | 0.4 | n |  | TRUE
81 | bus_LV_1630-107_0_5_node_78 | 0.4 | n |  | TRUE
82 | bus_LV_1630-107_0_5_node_65 | 0.4 | n |  | TRUE
83 | bus_LV_1630-107_0_5_node_61 | 0.4 | n |  | TRUE
84 | bus_LV_1630-107_0_5_node_63 | 0.4 | n |  | TRUE
85 | bus_LV_1630-107_0_5_node_85 | 0.4 | n |  | TRUE
86 | bus_LV_1630-107_0_5_node_73 | 0.4 | n |  | TRUE
87 | bus_LV_1630-107_0_5_node_74 | 0.4 | n |  | TRUE
88 | bus_LV_1630-107_0_5_node_75 | 0.4 | n |  | TRUE
89 | bus_LV_1630-107_0_5_node_77 | 0.4 | n |  | TRUE
90 | bus_LV_1630-107_0_5_node_88 | 0.4 | n |  | TRUE
91 | bus_LV_1630-107_0_5_node_86 | 0.4 | n |  | TRUE
92 | bus_LV_1630-107_0_5_node_81 | 0.4 | n |  | TRUE
93 | bus_LV_1630-107_0_5_node_93 | 0.4 | n |  | TRUE
94 | bus_MV_54_0_node_171 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1630-107_0_5_load_0 | 0 | 0.011335 | 0.0028407 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1630-107_0_5_load_1 | 1 | 0.0098469 | 0.0024679 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1630-107_0_5_load_3 | 3 | 0.010902 | 0.0027323 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1630-107_0_5_load_5 | 5 | 0.013852 | 0.0034716 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1630-107_0_5_load_59 | 6 | 0.0064219 | 0.0016095 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1630-107_0_5_load_11 | 7 | 0.023419 | 0.0058693 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1630-107_0_5_load_70 | 9 | 0.0056172 | 0.0014078 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1630-107_0_5_load_42 | 12 | 0.0099227 | 0.0024869 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1630-107_0_5_load_36 | 13 | 0.013885 | 0.0034799 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1630-107_0_5_load_6 | 14 | 0.0065064 | 0.0016306 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1630-107_0_5_load_7 | 15 | 0.0056597 | 0.0014184 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1630-107_0_5_load_9 | 16 | 0.0065035 | 0.0016299 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1630-107_0_5_load_43 | 18 | 0.0073222 | 0.0018351 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1630-107_0_5_load_99 | 19 | 0.0080365 | 0.0020141 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1630-107_0_5_load_44 | 20 | 0.0055845 | 0.0013996 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1630-107_0_5_load_92 | 22 | 0.0075298 | 0.0018871 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1630-107_0_5_load_12 | 24 | 0.013254 | 0.0033218 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1630-107_0_5_load_98 | 29 | 0.01089 | 0.0027292 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1630-107_0_5_load_90 | 34 | 0.0093429 | 0.0023415 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1630-107_0_5_load_91 | 35 | 0.023665 | 0.0059309 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1630-107_0_5_load_60 | 36 | 0.0083492 | 0.0020925 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1630-107_0_5_load_45 | 37 | 0.0077219 | 0.0019353 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1630-107_0_5_load_34 | 38 | 0.010876 | 0.0027257 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1630-107_0_5_load_97 | 39 | 0.0099605 | 0.0024963 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1630-107_0_5_load_83 | 41 | 0.0042679 | 0.0010696 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1630-107_0_5_load_80 | 42 | 0.0043213 | 0.001083 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1630-107_0_5_load_19 | 44 | 0.010467 | 0.0026232 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1630-107_0_5_load_25 | 48 | 0.006505 | 0.0016303 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1630-107_0_5_load_49 | 49 | 0.012893 | 0.0032313 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1630-107_0_5_load_46 | 50 | 0.0046361 | 0.0011619 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1630-107_0_5_load_64 | 52 | 0.0064583 | 0.0016186 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1630-107_0_5_load_62 | 53 | 0.0057212 | 0.0014339 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1630-107_0_5_load_26 | 54 | 0.010188 | 0.0025534 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1630-107_0_5_load_28 | 56 | 0.0076739 | 0.0019233 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1630-107_0_5_load_29 | 57 | 0.0095345 | 0.0023896 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1630-107_0_5_load_72 | 60 | 0.0095065 | 0.0023826 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1630-107_0_5_load_67 | 61 | 0.0072645 | 0.0018207 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1630-107_0_5_load_39 | 62 | 0.01557 | 0.0039021 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1630-107_0_5_load_71 | 63 | 0.013226 | 0.0033146 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1630-107_0_5_load_31 | 64 | 0.010153 | 0.0025445 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1630-107_0_5_load_40 | 67 | 0.0084559 | 0.0021193 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1630-107_0_5_load_95 | 69 | 0.012293 | 0.0030809 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1630-107_0_5_load_50 | 70 | 0.0053734 | 0.0013467 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1630-107_0_5_load_69 | 71 | 0.0081248 | 0.0020363 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1630-107_0_5_load_48 | 73 | 0.0037847 | 0.00094854 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1630-107_0_5_load_58 | 74 | 0.0037709 | 0.00094508 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1630-107_0_5_load_56 | 75 | 0.0037564 | 0.00094144 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1630-107_0_5_load_94 | 76 | 0.0096732 | 0.0024243 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1630-107_0_5_load_54 | 77 | 0.01012 | 0.0025363 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1630-107_0_5_load_55 | 78 | 0.017103 | 0.0042865 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1630-107_0_5_load_57 | 79 | 0.0038594 | 0.00096725 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1630-107_0_5_load_65 | 82 | 0.0058404 | 0.0014638 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_1630-107_0_5_load_61 | 83 | 0.0064804 | 0.0016241 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_1630-107_0_5_load_63 | 84 | 0.0064583 | 0.0016186 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_1630-107_0_5_load_85 | 85 | 0.0086535 | 0.0021688 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_1630-107_0_5_load_73 | 86 | 0.014064 | 0.0035247 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_1630-107_0_5_load_74 | 87 | 0.0038321 | 0.00096042 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_1630-107_0_5_load_75 | 88 | 0.0031679 | 0.00079396 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_1630-107_0_5_load_77 | 89 | 0.003532 | 0.0008852 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_1630-107_0_5_load_88 | 90 | 0.0046674 | 0.0011698 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_1630-107_0_5_load_86 | 91 | 0.010363 | 0.0025971 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_1630-107_0_5_load_81 | 92 | 0.0056394 | 0.0014134 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_1630-107_0_5_load_93 | 93 | 0.0094719 | 0.0023739 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 86 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1630-107_0_5_line_0 |  | 0 | 1 | 0.0090131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1630-107_0_5_line_1 |  | 0 | 2 | 0.011106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1630-107_0_5_line_2 |  | 2 | 3 | 0.00692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1630-107_0_5_line_3 |  | 2 | 4 | 0.0318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
4 | LV_1630-107_0_5_line_4 |  | 2 | 5 | 0.016705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
5 | LV_1630-107_0_5_line_5 |  | 4 | 6 | 0.015014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1630-107_0_5_line_6 |  | 4 | 7 | 0.019103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
7 | LV_1630-107_0_5_line_7 |  | 5 | 8 | 0.014165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
8 | LV_1630-107_0_5_line_8 |  | 6 | 9 | 0.0055607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1630-107_0_5_line_9 |  | 7 | 10 | 0.016282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
10 | LV_1630-107_0_5_line_10 |  | 8 | 11 | 0.021792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1630-107_0_5_line_11 |  | 8 | 12 | 0.02064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1630-107_0_5_line_12 |  | 8 | 13 | 0.042397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
13 | LV_1630-107_0_5_line_13 |  | 9 | 82 | 0.0049625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1630-107_0_5_line_14 |  | 10 | 17 | 0.002832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1630-107_0_5_line_15 |  | 10 | 14 | 0.012922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
16 | LV_1630-107_0_5_line_16 |  | 11 | 69 | 0.007688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1630-107_0_5_line_17 |  | 12 | 70 | 0.047842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1630-107_0_5_line_18 |  | 13 | 66 | 0.013987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
19 | LV_1630-107_0_5_line_19 |  | 14 | 15 | 0.0055592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
20 | LV_1630-107_0_5_line_20 |  | 15 | 16 | 0.0056339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
21 | LV_1630-107_0_5_line_21 |  | 16 | 18 | 0.027119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
22 | LV_1630-107_0_5_line_22 |  | 17 | 19 | 0.013583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1630-107_0_5_line_23 |  | 18 | 20 | 0.0061108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
24 | LV_1630-107_0_5_line_24 |  | 20 | 47 | 0.016203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
25 | LV_1630-107_0_5_line_25 |  | 21 | 22 | 0.021096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
26 | LV_1630-107_0_5_line_26 |  | 21 | 23 | 0.008162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
27 | LV_1630-107_0_5_line_27 |  | 22 | 48 | 0.00095934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
28 | LV_1630-107_0_5_line_28 |  | 23 | 46 | 0.009594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
29 | LV_1630-107_0_5_line_29 |  | 24 | 25 | 0.0043487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1630-107_0_5_line_30 |  | 25 | 26 | 0.002469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1630-107_0_5_line_31 |  | 25 | 27 | 0.018265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1630-107_0_5_line_32 |  | 26 | 35 | 0.004522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1630-107_0_5_line_33 |  | 26 | 34 | 0.016299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1630-107_0_5_line_34 |  | 27 | 36 | 0.019579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1630-107_0_5_line_35 |  | 28 | 29 | 0.013054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1630-107_0_5_line_36 |  | 28 | 30 | 0.024676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1630-107_0_5_line_37 |  | 30 | 37 | 0.016082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1630-107_0_5_line_38 |  | 30 | 38 | 0.0075133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1630-107_0_5_line_39 |  | 31 | 32 | 0.029718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
40 | LV_1630-107_0_5_line_40 |  | 31 | 33 | 0.018128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1630-107_0_5_line_41 |  | 31 | 34 | 0.015425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1630-107_0_5_line_42 |  | 32 | 39 | 0.04818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1630-107_0_5_line_43 |  | 32 | 40 | 0.031525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
44 | LV_1630-107_0_5_line_44 |  | 33 | 41 | 0.016024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1630-107_0_5_line_45 |  | 33 | 42 | 0.0066918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1630-107_0_5_line_46 |  | 36 | 43 | 0.0084021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1630-107_0_5_line_47 |  | 38 | 57 | 0.012849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1630-107_0_5_line_48 |  | 40 | 80 | 0.010578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1630-107_0_5_line_49 |  | 40 | 81 | 0.0078616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1630-107_0_5_line_50 |  | 40 | 79 | 0.02276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
51 | LV_1630-107_0_5_line_51 |  | 41 | 93 | 0.0092213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1630-107_0_5_line_52 |  | 42 | 92 | 0.0012254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1630-107_0_5_line_53 |  | 43 | 65 | 0.008747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1630-107_0_5_line_54 |  | 44 | 45 | 0.0069236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1630-107_0_5_line_55 |  | 45 | 47 | 0.004135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
56 | LV_1630-107_0_5_line_56 |  | 45 | 48 | 0.0075308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
57 | LV_1630-107_0_5_line_57 |  | 46 | 49 | 0.010551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1630-107_0_5_line_58 |  | 46 | 50 | 0.026756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
59 | LV_1630-107_0_5_line_59 |  | 50 | 51 | 0.0011591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
60 | LV_1630-107_0_5_line_60 |  | 51 | 73 | 0.0059187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
61 | LV_1630-107_0_5_line_61 |  | 52 | 53 | 0.0055935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_1630-107_0_5_line_62 |  | 53 | 83 | 0.0055277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_1630-107_0_5_line_63 |  | 54 | 55 | 0.017311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_1630-107_0_5_line_64 |  | 54 | 56 | 9.0819e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_1630-107_0_5_line_65 |  | 55 | 57 | 0.0038544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_1630-107_0_5_line_66 |  | 55 | 58 | 0.014243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_1630-107_0_5_line_67 |  | 58 | 59 | 0.023888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
68 | LV_1630-107_0_5_line_68 |  | 58 | 60 | 0.012059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
69 | LV_1630-107_0_5_line_69 |  | 59 | 61 | 0.013138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_1630-107_0_5_line_70 |  | 59 | 62 | 0.014453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
71 | LV_1630-107_0_5_line_71 |  | 60 | 63 | 0.0026246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
72 | LV_1630-107_0_5_line_72 |  | 61 | 85 | 0.0085037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_1630-107_0_5_line_73 |  | 62 | 66 | 0.012087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
74 | LV_1630-107_0_5_line_74 |  | 63 | 86 | 0.009595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
75 | LV_1630-107_0_5_line_75 |  | 64 | 65 | 0.0068572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_1630-107_0_5_line_76 |  | 66 | 67 | 0.016192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_1630-107_0_5_line_77 |  | 67 | 68 | 0.011942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_1630-107_0_5_line_78 |  | 68 | 71 | 0.021569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_1630-107_0_5_line_79 |  | 68 | 72 | 0.011587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_1630-107_0_5_line_80 |  | 72 | 76 | 0.030173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_1630-107_0_5_line_81 |  | 73 | 74 | 0.0063096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
82 | LV_1630-107_0_5_line_82 |  | 74 | 75 | 0.0064637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
83 | LV_1630-107_0_5_line_83 |  | 75 | 79 | 0.0061814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
84 | LV_1630-107_0_5_line_84 |  | 75 | 77 | 0.018597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_1630-107_0_5_line_85 |  | 77 | 78 | 0.00044445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_1630-107_0_5_line_86 |  | 80 | 87 | 0.036549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_1630-107_0_5_line_87 |  | 81 | 91 | 0.017301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_1630-107_0_5_line_88 |  | 82 | 84 | 0.0056394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_1630-107_0_5_line_89 |  | 83 | 84 | 0.014566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_1630-107_0_5_line_90 |  | 87 | 88 | 0.0013547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_1630-107_0_5_line_91 |  | 88 | 89 | 0.0086942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_1630-107_0_5_line_92 |  | 89 | 90 | 0.00072749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1630-107_0_5_trafo_73 | 0.63 MVA 20/0.4 kV | 94 | 86 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2722660.0499 | 1220418.6808 | 2722668.9299 | 1220420.2238
1 | 2722679.8717 | 1220422.125 | 2722668.9299 | 1220420.2238
2 | 2722679.8717 | 1220422.125 | 2722686.6997 | 1220423.3666
3 | 2722685.2612 | 1220390.7892 | 2722684.6876 | 1220393.9466 | 2722683.5478 | 1220400.6394 | 2722682.4549 | 1220406.8996 | 2722679.8717 | 1220422.125
4 | 2722679.8717 | 1220422.125 | 2722677.0516 | 1220438.5907
5 | 2722685.2612 | 1220390.7892 | 2722670.9656 | 1220386.201
6 | 2722685.2612 | 1220390.7892 | 2722688.4277 | 1220371.9505
7 | 2722674.6604 | 1220452.5526 | 2722677.0516 | 1220438.5907
8 | 2722670.9656 | 1220386.201 | 2722665.6709 | 1220384.5017
9 | 2722691.1265 | 1220355.8938 | 2722688.4277 | 1220371.9505
10 | 2722674.6604 | 1220452.5526 | 2722696.2256 | 1220456.0996
11 | 2722674.6604 | 1220452.5526 | 2722671.1331 | 1220472.8888
12 | 2722674.6604 | 1220452.5526 | 2722632.9635 | 1220444.8789
13 | 2722665.6709 | 1220384.5017 | 2722660.9458 | 1220382.9851
14 | 2722691.1265 | 1220355.8938 | 2722691.5939 | 1220353.1012
15 | 2722691.1265 | 1220355.8938 | 2722678.3844 | 1220353.7467
16 | 2722696.2256 | 1220456.0996 | 2722697.5051 | 1220448.52
17 | 2722662.9569 | 1220520.0272 | 2722671.1331 | 1220472.8888
18 | 2722619.2075 | 1220442.3473 | 2722632.9635 | 1220444.8789
19 | 2722678.3844 | 1220353.7467 | 2722672.9024 | 1220352.823
20 | 2722667.3468 | 1220351.8869 | 2722672.9024 | 1220352.823
21 | 2722640.6053 | 1220347.3809 | 2722667.3468 | 1220351.8869
22 | 2722691.5939 | 1220353.1012 | 2722705.001 | 1220355.5126
23 | 2722640.6053 | 1220347.3809 | 2722634.5794 | 1220346.3655
24 | 2722618.6581 | 1220344.8596 | 2722621.3522 | 1220344.1367 | 2722634.5794 | 1220346.3655
25 | 2722616.5492 | 1220311.2788 | 2722618.4821 | 1220331.6679 | 2722618.4709 | 1220332.2828
26 | 2722608.4351 | 1220310.1998 | 2722616.5492 | 1220311.2788
27 | 2722618.4536 | 1220333.242 | 2722618.4709 | 1220332.2828
28 | 2722598.898 | 1220308.9247 | 2722608.4351 | 1220310.1998
29 | 2722529.8831 | 1220363.4808 | 2722525.6877 | 1220362.3366
30 | 2722529.8831 | 1220363.4808 | 2722530.6676 | 1220361.1395
31 | 2722547.5517 | 1220368.3036 | 2722529.8831 | 1220363.4808
32 | 2722530.6676 | 1220361.1395 | 2722532.3102 | 1220356.9256
33 | 2722530.6676 | 1220361.1395 | 2722515.0519 | 1220356.4702
34 | 2722547.5517 | 1220368.3036 | 2722551.6339 | 1220360.2479 | 2722556.4961 | 1220358.9136 | 2722561.8477 | 1220360.2093
35 | 2722535.8667 | 1220399.4765 | 2722536.3564 | 1220395.2277 | 2722539.018 | 1220386.8648
36 | 2722535.8667 | 1220399.4765 | 2722537.3831 | 1220399.5522 | 2722539.7499 | 1220399.979 | 2722560.1742 | 1220403.6576
37 | 2722560.1742 | 1220403.6576 | 2722557.4344 | 1220419.5025
38 | 2722560.1742 | 1220403.6576 | 2722567.5691 | 1220404.9864
39 | 2722500.405 | 1220351.643 | 2722512.162 | 1220324.3412
40 | 2722500.405 | 1220351.643 | 2722496.8285 | 1220349.8791 | 2722501.6936 | 1220336.6021
41 | 2722500.405 | 1220351.643 | 2722510.1796 | 1220355.0133 | 2722515.0519 | 1220356.4702
42 | 2722553.0375 | 1220348.8456 | 2722549.3589 | 1220344.2997 | 2722543.7552 | 1220339.6252 | 2722538.3741 | 1220336.6678 | 2722528.7595 | 1220331.4214 | 2722512.162 | 1220324.3412
43 | 2722512.162 | 1220324.3412 | 2722513.8518 | 1220320.4173 | 2722523.2736 | 1220298.5273 | 2722524.6286 | 1220295.386
44 | 2722501.6936 | 1220336.6021 | 2722498.0215 | 1220335.0587 | 2722491.5514 | 1220334.4919 | 2722486.4418 | 1220332.3367
45 | 2722501.6936 | 1220336.6021 | 2722502.2505 | 1220335.3571 | 2722504.4796 | 1220330.518
46 | 2722570.0146 | 1220362.1832 | 2722563.8746 | 1220360.7001 | 2722561.8477 | 1220360.2093
47 | 2722580.2154 | 1220407.2587 | 2722567.5691 | 1220404.9864
48 | 2722528.8059 | 1220285.6643 | 2722524.6286 | 1220295.386
49 | 2722519.011 | 1220297.2831 | 2722523.2736 | 1220298.5273 | 2722524.6286 | 1220295.386
50 | 2722524.6286 | 1220295.386 | 2722531.4867 | 1220297.3842 | 2722546.8502 | 1220300.1861
51 | 2722486.4418 | 1220332.3367 | 2722477.9454 | 1220328.7531
52 | 2722504.4796 | 1220330.518 | 2722504.9923 | 1220329.405
53 | 2722571.3921 | 1220369.0057 | 2722568.1109 | 1220365.4354 | 2722568.1848 | 1220364.4251 | 2722570.0146 | 1220362.1832
54 | 2722618.3173 | 1220340.7716 | 2722617.1184 | 1220340.758 | 2722614.9861 | 1220340.7364 | 2722611.3946 | 1220340.8069
55 | 2722618.3173 | 1220340.7716 | 2722618.2729 | 1220343.2949 | 2722618.6581 | 1220344.8596
56 | 2722618.3173 | 1220340.7716 | 2722618.4536 | 1220333.242
57 | 2722598.898 | 1220308.9247 | 2722597.8545 | 1220319.4226
58 | 2722598.898 | 1220308.9247 | 2722583.6615 | 1220306.8874 | 2722572.4614 | 1220304.8502
59 | 2722571.321 | 1220304.6428 | 2722572.4614 | 1220304.8502
60 | 2722571.321 | 1220304.6428 | 2722565.498 | 1220303.5827
61 | 2722631.1176 | 1220373.4117 | 2722636.4435 | 1220375.121
62 | 2722641.7068 | 1220376.8103 | 2722636.4435 | 1220375.121
63 | 2722584.009 | 1220407.9403 | 2722580.9476 | 1220424.9788
64 | 2722580.9315 | 1220425.0682 | 2722580.9476 | 1220424.9788
65 | 2722584.009 | 1220407.9403 | 2722580.2154 | 1220407.2587
66 | 2722584.009 | 1220407.9403 | 2722598.0662 | 1220410.4761
67 | 2722620.9047 | 1220416.3285 | 2722619.0275 | 1220414.6108 | 2722616.1799 | 1220413.5736 | 2722598.0662 | 1220410.4761
68 | 2722598.0662 | 1220410.4761 | 2722600.0866 | 1220398.5878
69 | 2722620.9047 | 1220416.3285 | 2722626.6774 | 1220413.1671 | 2722633.1453 | 1220414.2428
70 | 2722620.9047 | 1220416.3285 | 2722622.1213 | 1220418.8 | 2722622.3153 | 1220421.5394 | 2722620.993 | 1220430.3928
71 | 2722600.5264 | 1220396.0004 | 2722600.0866 | 1220398.5878
72 | 2722633.1453 | 1220414.2428 | 2722641.5337 | 1220415.638
73 | 2722619.2075 | 1220442.3473 | 2722620.993 | 1220430.3928
74 | 2722602.134 | 1220386.541 | 2722600.5264 | 1220396.0004
75 | 2722571.3921 | 1220369.0057 | 2722578.1664 | 1220370.0688
76 | 2722619.2075 | 1220442.3473 | 2722616.1716 | 1220458.2523
77 | 2722613.9325 | 1220469.9826 | 2722616.1716 | 1220458.2523
78 | 2722613.9325 | 1220469.9826 | 2722592.743 | 1220465.9569
79 | 2722613.9325 | 1220469.9826 | 2722612.4435 | 1220481.4721
80 | 2722642.0935 | 1220487.5094 | 2722612.4435 | 1220481.4721
81 | 2722559.2904 | 1220302.4527 | 2722565.498 | 1220303.5827
82 | 2722552.9312 | 1220301.2951 | 2722559.2904 | 1220302.4527
83 | 2722552.9312 | 1220301.2951 | 2722546.8502 | 1220300.1861
84 | 2722552.9312 | 1220301.2951 | 2722551.097 | 1220312.9665 | 2722549.2873 | 1220319.5029
85 | 2722549.1687 | 1220319.9312 | 2722549.2873 | 1220319.5029
86 | 2722528.8059 | 1220285.6643 | 2722536.1898 | 1220271.3383 | 2722545.5486 | 1220253.176
87 | 2722519.011 | 1220297.2831 | 2722502.1805 | 1220293.274
88 | 2722660.9458 | 1220382.9851 | 2722655.5762 | 1220381.2617
89 | 2722641.7068 | 1220376.8103 | 2722655.5762 | 1220381.2617
90 | 2722545.5486 | 1220253.176 | 2722546.1692 | 1220251.9718
91 | 2722550.1516 | 1220244.2434 | 2722546.1692 | 1220251.9718
92 | 2722550.1516 | 1220244.2434 | 2722550.4848 | 1220243.5967

## bus_geodata
| x | y | coords
0 | 2722668.9299 | 1220420.2238
1 | 2722660.0499 | 1220418.6808
2 | 2722679.8717 | 1220422.125
3 | 2722686.6997 | 1220423.3666
4 | 2722685.2612 | 1220390.7892
5 | 2722677.0516 | 1220438.5907
6 | 2722670.9656 | 1220386.201
7 | 2722688.4277 | 1220371.9505
8 | 2722674.6604 | 1220452.5526
9 | 2722665.6709 | 1220384.5017
10 | 2722691.1265 | 1220355.8938
11 | 2722696.2256 | 1220456.0996
12 | 2722671.1331 | 1220472.8888
13 | 2722632.9635 | 1220444.8789
14 | 2722678.3844 | 1220353.7467
15 | 2722672.9024 | 1220352.823
16 | 2722667.3468 | 1220351.8869
17 | 2722691.5939 | 1220353.1012
18 | 2722640.6053 | 1220347.3809
19 | 2722705.001 | 1220355.5126
20 | 2722634.5794 | 1220346.3655
21 | 2722616.5492 | 1220311.2788
22 | 2722618.4709 | 1220332.2828
23 | 2722608.4351 | 1220310.1998
24 | 2722525.6877 | 1220362.3366
25 | 2722529.8831 | 1220363.4808
26 | 2722530.6676 | 1220361.1395
27 | 2722547.5517 | 1220368.3036
28 | 2722535.8667 | 1220399.4765
29 | 2722539.018 | 1220386.8648
30 | 2722560.1742 | 1220403.6576
31 | 2722500.405 | 1220351.643
32 | 2722512.162 | 1220324.3412
33 | 2722501.6936 | 1220336.6021
34 | 2722515.0519 | 1220356.4702
35 | 2722532.3102 | 1220356.9256
36 | 2722561.8477 | 1220360.2093
37 | 2722557.4344 | 1220419.5025
38 | 2722567.5691 | 1220404.9864
39 | 2722553.0375 | 1220348.8456
40 | 2722524.6286 | 1220295.386
41 | 2722486.4418 | 1220332.3367
42 | 2722504.4796 | 1220330.518
43 | 2722570.0146 | 1220362.1832
44 | 2722611.3946 | 1220340.8069
45 | 2722618.3173 | 1220340.7716
46 | 2722598.898 | 1220308.9247
47 | 2722618.6581 | 1220344.8596
48 | 2722618.4536 | 1220333.242
49 | 2722597.8545 | 1220319.4226
50 | 2722572.4614 | 1220304.8502
51 | 2722571.321 | 1220304.6428
52 | 2722631.1176 | 1220373.4117
53 | 2722636.4435 | 1220375.121
54 | 2722580.9476 | 1220424.9788
55 | 2722584.009 | 1220407.9403
56 | 2722580.9315 | 1220425.0682
57 | 2722580.2154 | 1220407.2587
58 | 2722598.0662 | 1220410.4761
59 | 2722620.9047 | 1220416.3285
60 | 2722600.0866 | 1220398.5878
61 | 2722633.1453 | 1220414.2428
62 | 2722620.993 | 1220430.3928
63 | 2722600.5264 | 1220396.0004
64 | 2722578.1664 | 1220370.0688
65 | 2722571.3921 | 1220369.0057
66 | 2722619.2075 | 1220442.3473
67 | 2722616.1716 | 1220458.2523
68 | 2722613.9325 | 1220469.9826
69 | 2722697.5051 | 1220448.52
70 | 2722662.9569 | 1220520.0272
71 | 2722592.743 | 1220465.9569
72 | 2722612.4435 | 1220481.4721
73 | 2722565.498 | 1220303.5827
74 | 2722559.2904 | 1220302.4527
75 | 2722552.9312 | 1220301.2951
76 | 2722642.0935 | 1220487.5094
77 | 2722549.2873 | 1220319.5028
78 | 2722549.1687 | 1220319.9312
79 | 2722546.8502 | 1220300.1861
80 | 2722528.8059 | 1220285.6643
81 | 2722519.011 | 1220297.2831
82 | 2722660.9458 | 1220382.9851
83 | 2722641.7068 | 1220376.8103
84 | 2722655.5762 | 1220381.2617
85 | 2722641.5337 | 1220415.638
86 | 2722602.134 | 1220386.541
87 | 2722545.5486 | 1220253.176
88 | 2722546.1692 | 1220251.9718
89 | 2722550.1516 | 1220244.2434
90 | 2722550.4848 | 1220243.5967
91 | 2722502.1805 | 1220293.274
92 | 2722504.9923 | 1220329.405
93 | 2722477.9454 | 1220328.7531
94 | 2722598.0662 | 1220410.4761

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98715 | -0.24542 | 0.011335 | 0.0028407
1 | 0.98707 | -0.24701 | 0.0098469 | 0.0024679
2 | 0.98736 | -0.24121 | 0 | 0
3 | 0.9873 | -0.24256 | 0.010902 | 0.0027323
4 | 0.98551 | -0.27704 | 0 | 0
5 | 0.98844 | -0.22053 | 0.013852 | 0.0034716
6 | 0.98492 | -0.28863 | 0.0064219 | 0.0016095
7 | 0.98455 | -0.29568 | 0.023419 | 0.0058693
8 | 0.98938 | -0.20233 | 0 | 0
9 | 0.98473 | -0.29229 | 0.0056172 | 0.0014078
10 | 0.9838 | -0.31021 | 0 | 0
11 | 0.98914 | -0.20711 | 0 | 0
12 | 0.98909 | -0.20796 | 0.0099227 | 0.0024869
13 | 0.99243 | -0.14393 | 0.013885 | 0.0034799
14 | 0.98322 | -0.32139 | 0.0065064 | 0.0016306
15 | 0.98298 | -0.32607 | 0.0056597 | 0.0014184
16 | 0.98274 | -0.3307 | 0.0065035 | 0.0016299
17 | 0.98378 | -0.31062 | 0 | 0
18 | 0.98163 | -0.3524 | 0.0073222 | 0.0018351
19 | 0.98368 | -0.31259 | 0.0080365 | 0.0020141
20 | 0.98138 | -0.35713 | 0.0055845 | 0.0013996
21 | 0.97956 | -0.39265 | 0 | 0
22 | 0.98028 | -0.37856 | 0.0075298 | 0.0018871
23 | 0.97928 | -0.3981 | 0 | 0
24 | 0.97313 | -0.519 | 0.013254 | 0.0033218
25 | 0.97318 | -0.51794 | 0 | 0
26 | 0.97326 | -0.5165 | 0 | 0
27 | 0.97287 | -0.52416 | 0 | 0
28 | 0.99605 | -0.075333 | 0 | 0
29 | 0.99592 | -0.077831 | 0.01089 | 0.0027292
30 | 0.9963 | -0.070613 | 0 | 0
31 | 0.97503 | -0.48156 | 0 | 0
32 | 0.97625 | -0.45749 | 0 | 0
33 | 0.97463 | -0.48944 | 0 | 0
34 | 0.9741 | -0.49989 | 0.0093429 | 0.0023415
35 | 0.97316 | -0.51847 | 0.023665 | 0.0059309
36 | 0.97253 | -0.53084 | 0.0083492 | 0.0020925
37 | 0.99618 | -0.072794 | 0.0077219 | 0.0019353
38 | 0.99642 | -0.068158 | 0.010876 | 0.0027257
39 | 0.97581 | -0.46627 | 0.0099605 | 0.0024963
40 | 0.97683 | -0.44615 | 0 | 0
41 | 0.97442 | -0.49348 | 0.0042679 | 0.0010696
42 | 0.97457 | -0.49066 | 0.0043213 | 0.001083
43 | 0.97245 | -0.53241 | 0 | 0
44 | 0.98053 | -0.3738 | 0.010467 | 0.0026232
45 | 0.9806 | -0.37249 | 0 | 0
46 | 0.97896 | -0.40452 | 0 | 0
47 | 0.98076 | -0.36936 | 0 | 0
48 | 0.98032 | -0.37789 | 0.006505 | 0.0016303
49 | 0.97883 | -0.40699 | 0.012893 | 0.0032313
50 | 0.9781 | -0.42118 | 0.0046361 | 0.0011619
51 | 0.97807 | -0.42188 | 0 | 0
52 | 0.98411 | -0.30435 | 0.0064583 | 0.0016186
53 | 0.98414 | -0.3037 | 0.0057212 | 0.0014339
54 | 0.99662 | -0.064295 | 0.010188 | 0.0025534
55 | 0.9969 | -0.05887 | 0 | 0
56 | 0.99662 | -0.064307 | 0.0076739 | 0.0019233
57 | 0.99677 | -0.061509 | 0.0095345 | 0.0023896
58 | 0.99764 | -0.044671 | 0 | 0
59 | 0.99561 | -0.083209 | 0 | 0
60 | 0.99879 | -0.022879 | 0.0095065 | 0.0023826
61 | 0.99542 | -0.086887 | 0.0072645 | 0.0018207
62 | 0.99443 | -0.10579 | 0.01557 | 0.0039021
63 | 0.99905 | -0.018055 | 0.013226 | 0.0033146
64 | 0.9723 | -0.53533 | 0.010153 | 0.0025445
65 | 0.97237 | -0.53405 | 0 | 0
66 | 0.99347 | -0.12405 | 0 | 0
67 | 0.99308 | -0.13156 | 0.0084559 | 0.0021193
68 | 0.99289 | -0.13532 | 0 | 0
69 | 0.98905 | -0.20879 | 0.012293 | 0.0030809
70 | 0.98886 | -0.21254 | 0.0053734 | 0.0013467
71 | 0.99273 | -0.13842 | 0.0081248 | 0.0020363
72 | 0.99278 | -0.1373 | 0 | 0
73 | 0.97789 | -0.42547 | 0.0037847 | 0.00094854
74 | 0.97769 | -0.42921 | 0.0037709 | 0.00094508
75 | 0.9775 | -0.43296 | 0.0037564 | 0.00094144
76 | 0.99252 | -0.14246 | 0.0096732 | 0.0024243
77 | 0.97703 | -0.4422 | 0.01012 | 0.0025363
78 | 0.97703 | -0.44233 | 0.017103 | 0.0042865
79 | 0.97736 | -0.43584 | 0.0038594 | 0.00096725
80 | 0.97668 | -0.44908 | 0 | 0
81 | 0.97676 | -0.44763 | 0 | 0
82 | 0.98459 | -0.29505 | 0.0058404 | 0.0014638
83 | 0.98421 | -0.30249 | 0.0064804 | 0.0016241
84 | 0.98446 | -0.2976 | 0.0064583 | 0.0016186
85 | 0.99535 | -0.088181 | 0.0086535 | 0.0021688
86 | 1 | 0 | -0.5486 | -0.14005
87 | 0.97617 | -0.45924 | 0.0038321 | 0.00096042
88 | 0.97615 | -0.45952 | 0.0031679 | 0.00079396
89 | 0.97609 | -0.46083 | 0.003532 | 0.0008852
90 | 0.97608 | -0.46089 | 0.0046674 | 0.0011698
91 | 0.97659 | -0.45091 | 0.010363 | 0.0025971
92 | 0.97456 | -0.49079 | 0.0056394 | 0.0014134
93 | 0.97434 | -0.49508 | 0.0094719 | 0.0023739
94 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0098477 | 0.0024682 | -0.0098469 | -0.0024679 | 7.4477e-07 | 3.6144e-07 | 0.014844 | 0.014844 | 0.014844 | 0.98715 | -0.24542 | 0.98707 | -0.24701 | 4.0781
1 | -0.021182 | -0.005309 | 0.021187 | 0.0053115 | 4.246e-06 | 2.5754e-06 | 0.03193 | 0.03193 | 0.03193 | 0.98715 | -0.24542 | 0.98736 | -0.24121 | 8.772
2 | 0.010903 | 0.0027327 | -0.010902 | -0.0027323 | 7.006e-07 | 3.5989e-07 | 0.016431 | 0.016431 | 0.016431 | 0.98736 | -0.24121 | 0.9873 | -0.24256 | 4.514
3 | 0.31703 | 0.080438 | -0.31648 | -0.080091 | 0.00054524 | 0.00034692 | 0.47813 | 0.47813 | 0.47813 | 0.98736 | -0.24121 | 0.98551 | -0.27704 | 26.271
4 | -0.34912 | -0.088482 | 0.34947 | 0.088703 | 0.0003473 | 0.0002212 | 0.52649 | 0.52649 | 0.52649 | 0.98736 | -0.24121 | 0.98844 | -0.22053 | 28.9282
5 | 0.04304 | 0.010803 | -0.043016 | -0.010788 | 2.3782e-05 | 1.5029e-05 | 0.064992 | 0.064992 | 0.064992 | 0.98551 | -0.27704 | 0.98492 | -0.28863 | 17.8549
6 | 0.27344 | 0.069288 | -0.2732 | -0.069133 | 0.00024455 | 0.00015529 | 0.41314 | 0.41314 | 0.41314 | 0.98551 | -0.27704 | 0.98455 | -0.29568 | 22.7001
7 | -0.36332 | -0.092175 | 0.36364 | 0.092378 | 0.00031828 | 0.00020279 | 0.54735 | 0.54735 | 0.54735 | 0.98844 | -0.22053 | 0.98938 | -0.20233 | 30.0739
8 | 0.036595 | 0.0091782 | -0.036588 | -0.0091742 | 6.3746e-06 | 4.009e-06 | 0.05529 | 0.05529 | 0.05529 | 0.98492 | -0.28863 | 0.98473 | -0.29229 | 15.1895
9 | 0.24978 | 0.063264 | -0.24961 | -0.063153 | 0.00017425 | 0.00011048 | 0.37775 | 0.37775 | 0.37775 | 0.98455 | -0.29568 | 0.9838 | -0.31021 | 20.7554
10 | 0.012297 | 0.0030829 | -0.012294 | -0.0030814 | 2.7951e-06 | 1.5091e-06 | 0.018494 | 0.018494 | 0.018494 | 0.98938 | -0.20233 | 0.98914 | -0.20711 | 5.0809
11 | 0.015301 | 0.0038361 | -0.015297 | -0.0038337 | 4.0992e-06 | 2.3585e-06 | 0.023013 | 0.023013 | 0.023013 | 0.98938 | -0.20233 | 0.98909 | -0.20796 | 6.3224
12 | -0.39123 | -0.099297 | 0.39234 | 0.1 | 0.0011026 | 0.00070292 | 0.58885 | 0.58885 | 0.58885 | 0.98938 | -0.20233 | 0.99243 | -0.14393 | 32.3545
13 | 0.030971 | 0.0077664 | -0.030967 | -0.0077639 | 4.0762e-06 | 2.5456e-06 | 0.046802 | 0.046802 | 0.046802 | 0.98473 | -0.29229 | 0.98459 | -0.29505 | 12.8576
14 | 0.0080374 | 0.0020145 | -0.0080373 | -0.0020145 | 1.5695e-07 | 6.4491e-08 | 0.012157 | 0.012157 | 0.012157 | 0.9838 | -0.31021 | 0.98378 | -0.31062 | 3.3398
15 | 0.24157 | 0.061139 | -0.24144 | -0.061057 | 0.00012953 | 8.208e-05 | 0.36559 | 0.36559 | 0.36559 | 0.9838 | -0.31021 | 0.98322 | -0.32139 | 20.0874
16 | 0.012294 | 0.0030814 | -0.012293 | -0.0030809 | 9.861e-07 | 5.3243e-07 | 0.018494 | 0.018494 | 0.018494 | 0.98914 | -0.20711 | 0.98905 | -0.20879 | 5.0809
17 | 0.0053746 | 0.0013468 | -0.0053734 | -0.0013467 | 1.1729e-06 | 1.3679e-07 | 0.0080856 | 0.0080858 | 0.0080858 | 0.98909 | -0.20796 | 0.98886 | -0.21254 | 2.2214
18 | -0.40622 | -0.10348 | 0.40661 | 0.10373 | 0.00038992 | 0.00024865 | 0.60967 | 0.60967 | 0.60967 | 0.99243 | -0.14393 | 0.99347 | -0.12405 | 33.4984
19 | 0.23493 | 0.059426 | -0.23488 | -0.059393 | 5.2765e-05 | 3.3417e-05 | 0.35574 | 0.35574 | 0.35574 | 0.98322 | -0.32139 | 0.98298 | -0.32607 | 19.5464
20 | 0.22922 | 0.057974 | -0.22917 | -0.057942 | 5.093e-05 | 3.2238e-05 | 0.34718 | 0.34718 | 0.34718 | 0.98298 | -0.32607 | 0.98274 | -0.3307 | 19.0757
21 | 0.22267 | 0.056312 | -0.22243 | -0.056165 | 0.00023144 | 0.00014641 | 0.33733 | 0.33733 | 0.33733 | 0.98274 | -0.3307 | 0.98163 | -0.3524 | 18.5346
22 | 0.0080373 | 0.0020145 | -0.0080365 | -0.0020141 | 7.5279e-07 | 3.0934e-07 | 0.012157 | 0.012157 | 0.012157 | 0.98378 | -0.31062 | 0.98368 | -0.31259 | 3.3398
23 | 0.21511 | 0.05433 | -0.21506 | -0.0543 | 4.8777e-05 | 3.0831e-05 | 0.32623 | 0.32623 | 0.32623 | 0.98163 | -0.3524 | 0.98138 | -0.35713 | 17.9248
24 | 0.20948 | 0.0529 | -0.20936 | -0.052822 | 0.00012271 | 7.7509e-05 | 0.31776 | 0.31776 | 0.31776 | 0.98138 | -0.35713 | 0.98076 | -0.36936 | 17.4596
25 | -0.18464 | -0.046547 | 0.18476 | 0.046625 | 0.00012455 | 7.8386e-05 | 0.28058 | 0.28058 | 0.28058 | 0.97956 | -0.39265 | 0.98028 | -0.37856 | 15.4163
26 | 0.18464 | 0.046547 | -0.18459 | -0.046517 | 4.8191e-05 | 3.0328e-05 | 0.28058 | 0.28058 | 0.28058 | 0.97956 | -0.39265 | 0.97928 | -0.3981 | 15.4163
27 | -0.19229 | -0.048512 | 0.1923 | 0.048516 | 6.1351e-06 | 3.866e-06 | 0.29201 | 0.29201 | 0.29201 | 0.98028 | -0.37856 | 0.98032 | -0.37789 | 16.0443
28 | 0.18459 | 0.046517 | -0.18454 | -0.046481 | 5.6646e-05 | 3.565e-05 | 0.28058 | 0.28058 | 0.28058 | 0.97928 | -0.3981 | 0.97896 | -0.40452 | 15.4163
29 | -0.013254 | -0.0033218 | 0.013255 | 0.0033221 | 6.6982e-07 | 3.7466e-07 | 0.020267 | 0.020267 | 0.020267 | 0.97313 | -0.519 | 0.97318 | -0.51794 | 5.5678
30 | -0.03177 | -0.007967 | 0.031772 | 0.0079684 | 2.185e-06 | 1.3677e-06 | 0.048579 | 0.048579 | 0.048579 | 0.97318 | -0.51794 | 0.97326 | -0.5165 | 13.3458
31 | 0.018515 | 0.0046449 | -0.01851 | -0.0046416 | 5.4902e-06 | 3.2869e-06 | 0.028312 | 0.028312 | 0.028312 | 0.97318 | -0.51794 | 0.97287 | -0.52416 | 7.778
32 | 0.023667 | 0.0059323 | -0.023665 | -0.0059309 | 2.2203e-06 | 1.3648e-06 | 0.036185 | 0.036185 | 0.036185 | 0.97326 | -0.5165 | 0.97316 | -0.51847 | 9.9409
33 | -0.055439 | -0.013901 | 0.055483 | 0.013929 | 4.3914e-05 | 2.7902e-05 | 0.084763 | 0.084763 | 0.084763 | 0.97326 | -0.5165 | 0.9741 | -0.49989 | 23.2866
34 | 0.01851 | 0.0046416 | -0.018504 | -0.0046381 | 5.8853e-06 | 3.5235e-06 | 0.028312 | 0.028312 | 0.028312 | 0.97287 | -0.52416 | 0.97253 | -0.53084 | 7.778
35 | 0.010891 | 0.0027298 | -0.01089 | -0.0027292 | 1.2959e-06 | 6.5946e-07 | 0.01627 | 0.01627 | 0.01627 | 0.99605 | -0.075333 | 0.99592 | -0.077831 | 4.4698
36 | -0.010891 | -0.0027298 | 0.010893 | 0.0027311 | 2.4496e-06 | 1.2465e-06 | 0.01627 | 0.01627 | 0.01627 | 0.99605 | -0.075333 | 0.9963 | -0.070613 | 4.4698
37 | 0.0077227 | 0.0019356 | -0.0077219 | -0.0019353 | 8.0234e-07 | 3.041e-07 | 0.011534 | 0.011534 | 0.011534 | 0.9963 | -0.070613 | 0.99618 | -0.072794 | 3.1688
38 | -0.018616 | -0.0046667 | 0.018618 | 0.004668 | 2.1781e-06 | 1.2962e-06 | 0.027804 | 0.027804 | 0.027804 | 0.9963 | -0.070613 | 0.99642 | -0.068158 | 7.6385
39 | -0.088596 | -0.022254 | 0.088698 | 0.022318 | 0.00010189 | 6.4469e-05 | 0.13523 | 0.13523 | 0.13523 | 0.97503 | -0.48156 | 0.97625 | -0.45749 | 18.575
40 | 0.023713 | 0.0059475 | -0.023704 | -0.005942 | 8.904e-06 | 5.4726e-06 | 0.036191 | 0.036191 | 0.036191 | 0.97503 | -0.48156 | 0.97463 | -0.48944 | 9.9426
41 | 0.064883 | 0.016306 | -0.064826 | -0.01627 | 5.6732e-05 | 3.6117e-05 | 0.099035 | 0.099035 | 0.099035 | 0.97503 | -0.48156 | 0.9741 | -0.49989 | 27.2075
42 | 0.0099646 | 0.0024984 | -0.0099605 | -0.0024963 | 4.1681e-06 | 2.0654e-06 | 0.015189 | 0.015189 | 0.015189 | 0.97625 | -0.45749 | 0.97581 | -0.46627 | 4.1727
43 | -0.098662 | -0.024817 | 0.098716 | 0.024849 | 5.3492e-05 | 3.2263e-05 | 0.15041 | 0.15041 | 0.15041 | 0.97625 | -0.45749 | 0.97683 | -0.44615 | 8.2645
44 | 0.013743 | 0.0034454 | -0.01374 | -0.0034439 | 2.6456e-06 | 1.4935e-06 | 0.020983 | 0.020983 | 0.020983 | 0.97463 | -0.48944 | 0.97442 | -0.49348 | 5.7645
45 | 0.0099612 | 0.0024967 | -0.0099607 | -0.0024964 | 5.8042e-07 | 2.8808e-07 | 0.015208 | 0.015208 | 0.015208 | 0.97463 | -0.48944 | 0.97457 | -0.49066 | 4.1781
46 | 0.010155 | 0.0025456 | -0.010154 | -0.0025452 | 7.6063e-07 | 3.8255e-07 | 0.015537 | 0.015537 | 0.015537 | 0.97253 | -0.53084 | 0.97245 | -0.53241 | 4.2685
47 | -0.029494 | -0.0073937 | 0.029503 | 0.0073995 | 9.3475e-06 | 5.815e-06 | 0.044045 | 0.044045 | 0.044045 | 0.99642 | -0.068158 | 0.99677 | -0.061509 | 12.1004
48 | 0.01521 | 0.0038151 | -0.015207 | -0.0038139 | 2.1296e-06 | 1.2305e-06 | 0.02317 | 0.02317 | 0.02317 | 0.97683 | -0.44615 | 0.97668 | -0.44908 | 6.3654
49 | 0.010365 | 0.0025983 | -0.010364 | -0.0025979 | 7.3495e-07 | 3.7196e-07 | 0.015789 | 0.015789 | 0.015789 | 0.97683 | -0.44615 | 0.97676 | -0.44763 | 4.3377
50 | -0.12429 | -0.031262 | 0.12435 | 0.0313 | 6.1217e-05 | 3.7753e-05 | 0.18937 | 0.18937 | 0.18937 | 0.97683 | -0.44615 | 0.97736 | -0.43584 | 10.4051
51 | 0.0094726 | 0.0023742 | -0.0094719 | -0.0023739 | 7.2358e-07 | 3.4823e-07 | 0.014465 | 0.014465 | 0.014465 | 0.97442 | -0.49348 | 0.97434 | -0.49508 | 3.974
52 | 0.0056394 | 0.0014134 | -0.0056394 | -0.0014134 | 3.4071e-08 | 6.5358e-09 | 0.0086105 | 0.0086105 | 0.0086105 | 0.97457 | -0.49066 | 0.97456 | -0.49079 | 2.3655
53 | 0.010154 | 0.0025452 | -0.010153 | -0.0025448 | 7.9186e-07 | 3.9828e-07 | 0.015537 | 0.015537 | 0.015537 | 0.97245 | -0.53241 | 0.97237 | -0.53405 | 4.2685
54 | -0.010467 | -0.0026232 | 0.010467 | 0.0026235 | 6.5506e-07 | 3.319e-07 | 0.015884 | 0.015884 | 0.015884 | 0.98053 | -0.3738 | 0.9806 | -0.37249 | 4.3637
55 | -0.20932 | -0.052803 | 0.20936 | 0.052822 | 3.1315e-05 | 1.978e-05 | 0.31776 | 0.31776 | 0.31776 | 0.9806 | -0.37249 | 0.98076 | -0.36936 | 17.4596
56 | 0.19886 | 0.050179 | -0.19881 | -0.050147 | 5.1472e-05 | 3.2467e-05 | 0.30188 | 0.30188 | 0.30188 | 0.9806 | -0.37249 | 0.98032 | -0.37789 | 16.5868
57 | 0.012895 | 0.0032322 | -0.012893 | -0.0032313 | 1.52e-06 | 8.4017e-07 | 0.0196 | 0.0196 | 0.0196 | 0.97896 | -0.40452 | 0.97883 | -0.40699 | 5.3847
58 | 0.17164 | 0.043249 | -0.1715 | -0.043163 | 0.00013668 | 8.5791e-05 | 0.26098 | 0.26098 | 0.26098 | 0.97896 | -0.40452 | 0.9781 | -0.42118 | 14.3395
59 | 0.16687 | 0.042001 | -0.16686 | -0.041998 | 5.6055e-06 | 3.5148e-06 | 0.25392 | 0.25392 | 0.25392 | 0.9781 | -0.42118 | 0.97807 | -0.42188 | 13.9519
60 | 0.16686 | 0.041998 | -0.16683 | -0.04198 | 2.8622e-05 | 1.7947e-05 | 0.25392 | 0.25393 | 0.25393 | 0.97807 | -0.42188 | 0.97789 | -0.42547 | 13.9519
61 | -0.0064583 | -0.0016186 | 0.0064585 | 0.0016187 | 2.0002e-07 | 5.6941e-08 | 0.0097652 | 0.0097652 | 0.0097652 | 0.98411 | -0.30435 | 0.98414 | -0.3037 | 2.6827
62 | -0.01218 | -0.0030525 | 0.01218 | 0.0030529 | 7.0299e-07 | 3.7967e-07 | 0.018416 | 0.018416 | 0.018416 | 0.98414 | -0.3037 | 0.98421 | -0.30249 | 5.0592
63 | -0.017862 | -0.0044767 | 0.017867 | 0.0044794 | 4.6172e-06 | 2.7294e-06 | 0.026669 | 0.026669 | 0.026669 | 0.99662 | -0.064295 | 0.9969 | -0.05887 | 7.3267
64 | 0.0076739 | 0.0019233 | -0.0076739 | -0.0019233 | 4.4714e-09 | 1.6785e-09 | 0.011458 | 0.011458 | 0.011458 | 0.99662 | -0.064295 | 0.99662 | -0.064307 | 3.1477
65 | 0.039043 | 0.0097921 | -0.039038 | -0.009789 | 4.9092e-06 | 3.0917e-06 | 0.058279 | 0.058279 | 0.058279 | 0.9969 | -0.05887 | 0.99677 | -0.061509 | 16.0107
66 | -0.056909 | -0.014272 | 0.056948 | 0.014296 | 3.8542e-05 | 2.4481e-05 | 0.084948 | 0.084948 | 0.084948 | 0.9969 | -0.05887 | 0.99764 | -0.044671 | 23.3374
67 | 0.46611 | 0.11932 | -0.46524 | -0.11877 | 0.00086816 | 0.00055407 | 0.69611 | 0.69611 | 0.69611 | 0.99764 | -0.044671 | 0.99561 | -0.083209 | 38.248
68 | -0.52306 | -0.13362 | 0.52361 | 0.13397 | 0.00055173 | 0.00035232 | 0.78106 | 0.78106 | 0.78106 | 0.99764 | -0.044671 | 0.99879 | -0.022879 | 42.9154
69 | 0.015921 | 0.0039913 | -0.015919 | -0.0039897 | 2.7899e-06 | 1.6147e-06 | 0.023796 | 0.023796 | 0.023796 | 0.99561 | -0.083209 | 0.99542 | -0.086887 | 6.5374
70 | 0.44932 | 0.11478 | -0.44883 | -0.11446 | 0.00048995 | 0.00031263 | 0.67232 | 0.67232 | 0.67232 | 0.99561 | -0.083209 | 0.99443 | -0.10579 | 36.9405
71 | -0.53312 | -0.13635 | 0.53324 | 0.13643 | 0.00012448 | 7.9495e-05 | 0.79522 | 0.79522 | 0.79522 | 0.99879 | -0.022879 | 0.99905 | -0.018055 | 43.6935
72 | 0.0086541 | 0.002169 | -0.0086535 | -0.0021688 | 5.3368e-07 | 2.3102e-07 | 0.012937 | 0.012937 | 0.012937 | 0.99542 | -0.086887 | 0.99535 | -0.088181 | 3.554
73 | 0.43326 | 0.11056 | -0.43288 | -0.11032 | 0.00038186 | 0.0002436 | 0.64902 | 0.64902 | 0.64902 | 0.99443 | -0.10579 | 0.99347 | -0.12405 | 35.6605
74 | -0.54647 | -0.13975 | 0.54695 | 0.14005 | 0.0004779 | 0.00030523 | 0.81492 | 0.81492 | 0.81492 | 0.99905 | -0.018055 | 1 | 0 | 44.7758
75 | -0.010153 | -0.0025445 | 0.010153 | 0.0025448 | 6.2078e-07 | 3.1225e-07 | 0.015537 | 0.015537 | 0.015537 | 0.9723 | -0.53533 | 0.97237 | -0.53405 | 4.2685
76 | 0.026271 | 0.0065896 | -0.026262 | -0.0065838 | 9.4024e-06 | 5.808e-06 | 0.039351 | 0.039351 | 0.039351 | 0.99347 | -0.12405 | 0.99308 | -0.13156 | 10.8106
77 | 0.017806 | 0.0044646 | -0.017803 | -0.0044627 | 3.1879e-06 | 1.8857e-06 | 0.026681 | 0.026681 | 0.026681 | 0.99308 | -0.13156 | 0.99289 | -0.13532 | 7.3298
78 | 0.008126 | 0.0020368 | -0.0081248 | -0.0020363 | 1.1996e-06 | 4.8883e-07 | 0.012178 | 0.012178 | 0.012178 | 0.99289 | -0.13532 | 0.99273 | -0.13842 | 3.3457
79 | 0.0096765 | 0.0024259 | -0.0096756 | -0.0024255 | 9.1385e-07 | 4.3502e-07 | 0.014502 | 0.014502 | 0.014502 | 0.99289 | -0.13532 | 0.99278 | -0.1373 | 3.9841
80 | 0.0096756 | 0.0024255 | -0.0096732 | -0.0024243 | 2.3797e-06 | 1.133e-06 | 0.014502 | 0.014502 | 0.014502 | 0.99278 | -0.1373 | 0.99252 | -0.14246 | 3.9842
81 | 0.16305 | 0.041031 | -0.16302 | -0.041013 | 2.9144e-05 | 1.8256e-05 | 0.24817 | 0.24817 | 0.24817 | 0.97789 | -0.42547 | 0.97769 | -0.42921 | 13.6355
82 | 0.15925 | 0.040068 | -0.15922 | -0.04005 | 2.8491e-05 | 1.7829e-05 | 0.24243 | 0.24243 | 0.24243 | 0.97769 | -0.42921 | 0.9775 | -0.43296 | 13.3202
83 | 0.12823 | 0.032278 | -0.12821 | -0.032267 | 1.7673e-05 | 1.0924e-05 | 0.19525 | 0.19525 | 0.19525 | 0.9775 | -0.43296 | 0.97736 | -0.43584 | 10.7279
84 | 0.027235 | 0.0068303 | -0.027223 | -0.0068228 | 1.1988e-05 | 7.4393e-06 | 0.041461 | 0.041461 | 0.041461 | 0.9775 | -0.43296 | 0.97703 | -0.4422 | 11.3903
85 | 0.017103 | 0.0042865 | -0.017103 | -0.0042865 | 1.1309e-07 | 6.681e-08 | 0.026048 | 0.026048 | 0.026048 | 0.97703 | -0.4422 | 0.97703 | -0.44233 | 7.1561
86 | 0.015207 | 0.0038139 | -0.0152 | -0.0038096 | 7.3581e-06 | 4.252e-06 | 0.02317 | 0.02317 | 0.02317 | 0.97668 | -0.44908 | 0.97617 | -0.45924 | 6.3655
87 | 0.010364 | 0.0025979 | -0.010363 | -0.0025971 | 1.6174e-06 | 8.1865e-07 | 0.015789 | 0.015789 | 0.015789 | 0.97676 | -0.44763 | 0.97659 | -0.45091 | 4.3377
88 | 0.025126 | 0.0063001 | -0.025123 | -0.0062982 | 3.0497e-06 | 1.8801e-06 | 0.037975 | 0.037975 | 0.037975 | 0.98459 | -0.29505 | 0.98446 | -0.2976 | 10.4327
89 | -0.018661 | -0.004677 | 0.018665 | 0.0046796 | 4.3479e-06 | 2.5975e-06 | 0.028213 | 0.028213 | 0.028213 | 0.98421 | -0.30249 | 0.98446 | -0.2976 | 7.7509
90 | 0.011368 | 0.0028492 | -0.011368 | -0.0028491 | 1.5255e-07 | 8.0695e-08 | 0.017329 | 0.017329 | 0.017329 | 0.97617 | -0.45924 | 0.97615 | -0.45952 | 4.7607
91 | 0.0081999 | 0.0020552 | -0.0081994 | -0.002055 | 5.0941e-07 | 2.1734e-07 | 0.0125 | 0.0125 | 0.0125 | 0.97615 | -0.45952 | 0.97609 | -0.46083 | 3.434
92 | 0.0046674 | 0.0011698 | -0.0046674 | -0.0011698 | 1.3812e-08 | -2.5345e-10 | 0.0071154 | 0.0071154 | 0.0071154 | 0.97609 | -0.46083 | 0.97608 | -0.46089 | 1.9548

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.56266 | 0.14358

## res_load
| p_mw | q_mvar
0 | 0.011335 | 0.0028407
1 | 0.0098469 | 0.0024679
2 | 0.010902 | 0.0027323
3 | 0.013852 | 0.0034716
4 | 0.0064219 | 0.0016095
5 | 0.023419 | 0.0058693
6 | 0.0056172 | 0.0014078
7 | 0.0099227 | 0.0024869
8 | 0.013885 | 0.0034799
9 | 0.0065064 | 0.0016306
10 | 0.0056597 | 0.0014184
11 | 0.0065035 | 0.0016299
12 | 0.0073222 | 0.0018351
13 | 0.0080365 | 0.0020141
14 | 0.0055845 | 0.0013996
15 | 0.0075298 | 0.0018871
16 | 0.013254 | 0.0033218
17 | 0.01089 | 0.0027292
18 | 0.0093429 | 0.0023415
19 | 0.023665 | 0.0059309
20 | 0.0083492 | 0.0020925
21 | 0.0077219 | 0.0019353
22 | 0.010876 | 0.0027257
23 | 0.0099605 | 0.0024963
24 | 0.0042679 | 0.0010696
25 | 0.0043213 | 0.001083
26 | 0.010467 | 0.0026232
27 | 0.006505 | 0.0016303
28 | 0.012893 | 0.0032313
29 | 0.0046361 | 0.0011619
30 | 0.0064583 | 0.0016186
31 | 0.0057212 | 0.0014339
32 | 0.010188 | 0.0025534
33 | 0.0076739 | 0.0019233
34 | 0.0095345 | 0.0023896
35 | 0.0095065 | 0.0023826
36 | 0.0072645 | 0.0018207
37 | 0.01557 | 0.0039021
38 | 0.013226 | 0.0033146
39 | 0.010153 | 0.0025445
40 | 0.0084559 | 0.0021193
41 | 0.012293 | 0.0030809
42 | 0.0053734 | 0.0013467
43 | 0.0081248 | 0.0020363
44 | 0.0037847 | 0.00094854
45 | 0.0037709 | 0.00094508
46 | 0.0037564 | 0.00094144
47 | 0.0096732 | 0.0024243
48 | 0.01012 | 0.0025363
49 | 0.017103 | 0.0042865
50 | 0.0038594 | 0.00096725
51 | 0.0058404 | 0.0014638
52 | 0.0064804 | 0.0016241
53 | 0.0064583 | 0.0016186
54 | 0.0086535 | 0.0021688
55 | 0.014064 | 0.0035247
56 | 0.0038321 | 0.00096042
57 | 0.0031679 | 0.00079396
58 | 0.003532 | 0.0008852
59 | 0.0046674 | 0.0011698
60 | 0.010363 | 0.0025971
61 | 0.0056394 | 0.0014134
62 | 0.0094719 | 0.0023739

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1