## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1630-108_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1630-108_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1630-108_0_5_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_1630-108_0_5_node_63 | 0.4 | n |  | TRUE
4 | bus_LV_1630-108_0_5_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_1630-108_0_5_node_52 | 0.4 | n |  | TRUE
6 | bus_LV_1630-108_0_5_node_68 | 0.4 | n |  | TRUE
7 | bus_LV_1630-108_0_5_node_62 | 0.4 | n |  | TRUE
8 | bus_LV_1630-108_0_5_node_83 | 0.4 | n |  | TRUE
9 | bus_LV_1630-108_0_5_node_84 | 0.4 | n |  | TRUE
10 | bus_LV_1630-108_0_5_node_64 | 0.4 | n |  | TRUE
11 | bus_LV_1630-108_0_5_node_78 | 0.4 | n |  | TRUE
12 | bus_LV_1630-108_0_5_node_61 | 0.4 | n |  | TRUE
13 | bus_LV_1630-108_0_5_node_25 | 0.4 | n |  | TRUE
14 | bus_LV_1630-108_0_5_node_60 | 0.4 | n |  | TRUE
15 | bus_LV_1630-108_0_5_node_23 | 0.4 | n |  | TRUE
16 | bus_LV_1630-108_0_5_node_65 | 0.4 | n |  | TRUE
17 | bus_LV_1630-108_0_5_node_70 | 0.4 | n |  | TRUE
18 | bus_LV_1630-108_0_5_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_1630-108_0_5_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_1630-108_0_5_node_72 | 0.4 | n |  | TRUE
21 | bus_LV_1630-108_0_5_node_46 | 0.4 | n |  | TRUE
22 | bus_LV_1630-108_0_5_node_45 | 0.4 | n |  | TRUE
23 | bus_LV_1630-108_0_5_node_51 | 0.4 | n |  | TRUE
24 | bus_LV_1630-108_0_5_node_57 | 0.4 | n |  | TRUE
25 | bus_LV_1630-108_0_5_node_56 | 0.4 | n |  | TRUE
26 | bus_LV_1630-108_0_5_node_6 | 0.4 | n |  | TRUE
27 | bus_LV_1630-108_0_5_node_7 | 0.4 | n |  | TRUE
28 | bus_LV_1630-108_0_5_node_8 | 0.4 | n |  | TRUE
29 | bus_LV_1630-108_0_5_node_9 | 0.4 | n |  | TRUE
30 | bus_LV_1630-108_0_5_node_10 | 0.4 | n |  | TRUE
31 | bus_LV_1630-108_0_5_node_11 | 0.4 | n |  | TRUE
32 | bus_LV_1630-108_0_5_node_59 | 0.4 | n |  | TRUE
33 | bus_LV_1630-108_0_5_node_58 | 0.4 | n |  | TRUE
34 | bus_LV_1630-108_0_5_node_21 | 0.4 | n |  | TRUE
35 | bus_LV_1630-108_0_5_node_41 | 0.4 | n |  | TRUE
36 | bus_LV_1630-108_0_5_node_66 | 0.4 | n |  | TRUE
37 | bus_LV_1630-108_0_5_node_42 | 0.4 | n |  | TRUE
38 | bus_LV_1630-108_0_5_node_14 | 0.4 | n |  | TRUE
39 | bus_LV_1630-108_0_5_node_15 | 0.4 | n |  | TRUE
40 | bus_LV_1630-108_0_5_node_20 | 0.4 | n |  | TRUE
41 | bus_LV_1630-108_0_5_node_16 | 0.4 | n |  | TRUE
42 | bus_LV_1630-108_0_5_node_17 | 0.4 | n |  | TRUE
43 | bus_LV_1630-108_0_5_node_18 | 0.4 | n |  | TRUE
44 | bus_LV_1630-108_0_5_node_19 | 0.4 | n |  | TRUE
45 | bus_LV_1630-108_0_5_node_47 | 0.4 | n |  | TRUE
46 | bus_LV_1630-108_0_5_node_31 | 0.4 | n |  | TRUE
47 | bus_LV_1630-108_0_5_node_71 | 0.4 | n |  | TRUE
48 | bus_LV_1630-108_0_5_node_30 | 0.4 | n |  | TRUE
49 | bus_LV_1630-108_0_5_node_22 | 0.4 | n |  | TRUE
50 | bus_LV_1630-108_0_5_node_24 | 0.4 | n |  | TRUE
51 | bus_LV_1630-108_0_5_node_79 | 0.4 | n |  | TRUE
52 | bus_LV_1630-108_0_5_node_74 | 0.4 | n |  | TRUE
53 | bus_LV_1630-108_0_5_node_26 | 0.4 | n |  | TRUE
54 | bus_LV_1630-108_0_5_node_27 | 0.4 | n |  | TRUE
55 | bus_LV_1630-108_0_5_node_28 | 0.4 | n |  | TRUE
56 | bus_LV_1630-108_0_5_node_50 | 0.4 | n |  | TRUE
57 | bus_LV_1630-108_0_5_node_55 | 0.4 | n |  | TRUE
58 | bus_LV_1630-108_0_5_node_32 | 0.4 | n |  | TRUE
59 | bus_LV_1630-108_0_5_node_49 | 0.4 | n |  | TRUE
60 | bus_LV_1630-108_0_5_node_29 | 0.4 | n |  | TRUE
61 | bus_LV_1630-108_0_5_node_80 | 0.4 | n |  | TRUE
62 | bus_LV_1630-108_0_5_node_33 | 0.4 | n |  | TRUE
63 | bus_LV_1630-108_0_5_node_86 | 0.4 | n |  | TRUE
64 | bus_LV_1630-108_0_5_node_85 | 0.4 | n |  | TRUE
65 | bus_LV_1630-108_0_5_node_48 | 0.4 | n |  | TRUE
66 | bus_LV_1630-108_0_5_node_36 | 0.4 | n |  | TRUE
67 | bus_LV_1630-108_0_5_node_37 | 0.4 | n |  | TRUE
68 | bus_LV_1630-108_0_5_node_38 | 0.4 | n |  | TRUE
69 | bus_LV_1630-108_0_5_node_39 | 0.4 | n |  | TRUE
70 | bus_LV_1630-108_0_5_node_40 | 0.4 | n |  | TRUE
71 | bus_LV_1630-108_0_5_node_82 | 0.4 | n |  | TRUE
72 | bus_LV_1630-108_0_5_node_69 | 0.4 | n |  | TRUE
73 | bus_LV_1630-108_0_5_node_76 | 0.4 | n |  | TRUE
74 | bus_LV_1630-108_0_5_node_67 | 0.4 | n |  | TRUE
75 | bus_LV_1630-108_0_5_node_43 | 0.4 | n |  | TRUE
76 | bus_LV_1630-108_0_5_node_44 | 0.4 | n |  | TRUE
77 | bus_LV_1630-108_0_5_node_53 | 0.4 | n |  | TRUE
78 | bus_LV_1630-108_0_5_node_54 | 0.4 | n |  | TRUE
79 | bus_LV_1630-108_0_5_node_77 | 0.4 | n |  | TRUE
80 | bus_LV_1630-108_0_5_node_87 | 0.4 | n |  | TRUE
81 | bus_LV_1630-108_0_5_node_73 | 0.4 | n |  | TRUE
82 | bus_LV_1630-108_0_5_node_81 | 0.4 | n |  | TRUE
83 | bus_LV_1630-108_0_5_node_75 | 0.4 | n |  | TRUE
84 | bus_MV_54_0_node_146 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1630-108_0_5_load_0 | 0 | 0.0098428 | 0.0024668 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1630-108_0_5_load_1 | 1 | 0.0095152 | 0.0023847 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1630-108_0_5_load_68 | 6 | 0.0029685 | 0.00074397 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1630-108_0_5_load_83 | 8 | 0.053273 | 0.013351 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1630-108_0_5_load_78 | 11 | 0.015558 | 0.0038992 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1630-108_0_5_load_23 | 15 | 0.0097127 | 0.0024342 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1630-108_0_5_load_65 | 16 | 0.023522 | 0.0058952 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1630-108_0_5_load_70 | 17 | 0.0076298 | 0.0019122 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1630-108_0_5_load_12 | 18 | 0.008591 | 0.0021531 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1630-108_0_5_load_72 | 20 | 0.0089351 | 0.0022394 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1630-108_0_5_load_46 | 21 | 0.0017778 | 0.00044555 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1630-108_0_5_load_56 | 25 | 0.0062381 | 0.0015634 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1630-108_0_5_load_6 | 26 | 0.0074345 | 0.0018633 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1630-108_0_5_load_7 | 27 | 0.0064697 | 0.0016215 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1630-108_0_5_load_8 | 28 | 0.0050554 | 0.001267 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1630-108_0_5_load_10 | 30 | 0.0036653 | 0.0009186 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1630-108_0_5_load_11 | 31 | 0.0069192 | 0.0017341 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1630-108_0_5_load_59 | 32 | 0.014927 | 0.0037411 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1630-108_0_5_load_58 | 33 | 0.0077556 | 0.0019437 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1630-108_0_5_load_21 | 34 | 0.0056744 | 0.0014221 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1630-108_0_5_load_41 | 35 | 0.011371 | 0.0028499 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1630-108_0_5_load_66 | 36 | 0.0093103 | 0.0023334 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1630-108_0_5_load_14 | 38 | 0.0074983 | 0.0018792 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1630-108_0_5_load_15 | 39 | 0.01222 | 0.0030627 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1630-108_0_5_load_20 | 40 | 0.0074959 | 0.0018786 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1630-108_0_5_load_16 | 41 | 0.009547 | 0.0023927 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1630-108_0_5_load_47 | 45 | 0.015643 | 0.0039206 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1630-108_0_5_load_31 | 46 | 0.011244 | 0.0028181 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1630-108_0_5_load_71 | 47 | 0.013988 | 0.0035057 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1630-108_0_5_load_22 | 49 | 0.0067674 | 0.0016961 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1630-108_0_5_load_24 | 50 | 0.011066 | 0.0027735 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1630-108_0_5_load_79 | 51 | 0.0088286 | 0.0022127 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1630-108_0_5_load_26 | 53 | 0.0034068 | 0.00085384 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1630-108_0_5_load_27 | 54 | 0.0021651 | 0.00054262 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1630-108_0_5_load_55 | 57 | 0.004911 | 0.0012308 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1630-108_0_5_load_49 | 59 | 0.0042634 | 0.0010685 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1630-108_0_5_load_29 | 60 | 0.020913 | 0.0052413 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1630-108_0_5_load_80 | 61 | 0.0066356 | 0.001663 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1630-108_0_5_load_86 | 63 | 0.0078518 | 0.0019679 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1630-108_0_5_load_85 | 64 | 0.0082601 | 0.0020702 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1630-108_0_5_load_48 | 65 | 0.0054679 | 0.0013704 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1630-108_0_5_load_36 | 66 | 0.0035915 | 0.00090011 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1630-108_0_5_load_37 | 67 | 0.0028734 | 0.00072014 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1630-108_0_5_load_82 | 71 | 0.019099 | 0.0047868 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1630-108_0_5_load_67 | 74 | 0.0023904 | 0.0005991 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1630-108_0_5_load_43 | 75 | 0.020163 | 0.0050534 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1630-108_0_5_load_44 | 76 | 0.0017636 | 0.00044199 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1630-108_0_5_load_53 | 77 | 0.0056862 | 0.0014251 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1630-108_0_5_load_54 | 78 | 0.0048807 | 0.0012232 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1630-108_0_5_load_87 | 80 | 0.0159 | 0.0039849 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1630-108_0_5_load_73 | 81 | 0.07902 | 0.019804 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1630-108_0_5_load_81 | 82 | 0.0065962 | 0.0016532 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_1630-108_0_5_load_75 | 83 | 0.032459 | 0.008135 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 51 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1630-108_0_5_line_0 |  | 0 | 1 | 0.02347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1630-108_0_5_line_1 |  | 1 | 2 | 0.022256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1630-108_0_5_line_2 |  | 2 | 3 | 0.04383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1630-108_0_5_line_3 |  | 3 | 11 | 0.013665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1630-108_0_5_line_4 |  | 3 | 12 | 0.026345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1630-108_0_5_line_5 |  | 4 | 5 | 0.083323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1630-108_0_5_line_6 |  | 4 | 6 | 0.018981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1630-108_0_5_line_7 |  | 5 | 20 | 0.019244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1630-108_0_5_line_8 |  | 5 | 21 | 0.0067932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1630-108_0_5_line_9 |  | 5 | 22 | 0.018232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1630-108_0_5_line_10 |  | 7 | 8 | 0.010804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1630-108_0_5_line_11 |  | 7 | 9 | 0.012495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1630-108_0_5_line_12 |  | 7 | 10 | 0.050574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1630-108_0_5_line_13 |  | 9 | 64 | 0.012687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1630-108_0_5_line_14 |  | 9 | 62 | 0.020694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1630-108_0_5_line_15 |  | 10 | 17 | 0.011628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1630-108_0_5_line_16 |  | 10 | 13 | 0.04375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
17 | LV_1630-108_0_5_line_17 |  | 12 | 16 | 0.021167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1630-108_0_5_line_18 |  | 12 | 13 | 0.065515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1630-108_0_5_line_19 |  | 13 | 14 | 0.007325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
20 | LV_1630-108_0_5_line_20 |  | 13 | 15 | 0.0094142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1630-108_0_5_line_21 |  | 14 | 51 | 0.010869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
22 | LV_1630-108_0_5_line_22 |  | 14 | 52 | 0.001367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
23 | LV_1630-108_0_5_line_23 |  | 15 | 49 | 0.0015366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1630-108_0_5_line_24 |  | 16 | 39 | 0.024458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1630-108_0_5_line_25 |  | 17 | 44 | 0.00020693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1630-108_0_5_line_26 |  | 18 | 19 | 0.0043626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1630-108_0_5_line_27 |  | 19 | 38 | 0.017618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1630-108_0_5_line_28 |  | 19 | 39 | 0.01583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1630-108_0_5_line_29 |  | 21 | 70 | 0.007069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1630-108_0_5_line_30 |  | 22 | 79 | 0.053948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1630-108_0_5_line_31 |  | 22 | 76 | 0.0066991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1630-108_0_5_line_32 |  | 23 | 24 | 0.022069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1630-108_0_5_line_33 |  | 23 | 25 | 0.011217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1630-108_0_5_line_34 |  | 24 | 80 | 0.018665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1630-108_0_5_line_35 |  | 26 | 27 | 0.017588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1630-108_0_5_line_36 |  | 26 | 28 | 0.010947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1630-108_0_5_line_37 |  | 27 | 29 | 0.003311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1630-108_0_5_line_38 |  | 28 | 30 | 0.012777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1630-108_0_5_line_39 |  | 28 | 31 | 0.010037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1630-108_0_5_line_40 |  | 29 | 32 | 0.027118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1630-108_0_5_line_41 |  | 29 | 33 | 0.010528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1630-108_0_5_line_42 |  | 30 | 34 | 0.0019156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1630-108_0_5_line_43 |  | 31 | 35 | 0.015116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1630-108_0_5_line_44 |  | 32 | 36 | 0.0087681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1630-108_0_5_line_45 |  | 35 | 37 | 0.0045656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1630-108_0_5_line_46 |  | 36 | 74 | 0.00054974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1630-108_0_5_line_47 |  | 37 | 77 | 0.012938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1630-108_0_5_line_48 |  | 37 | 57 | 0.014073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1630-108_0_5_line_49 |  | 38 | 40 | 2.8637e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1630-108_0_5_line_50 |  | 41 | 42 | 0.0123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1630-108_0_5_line_51 |  | 42 | 43 | 0.022022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1630-108_0_5_line_52 |  | 42 | 44 | 0.014504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1630-108_0_5_line_53 |  | 43 | 45 | 0.012887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1630-108_0_5_line_54 |  | 43 | 46 | 0.0067914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1630-108_0_5_line_55 |  | 44 | 47 | 0.008583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1630-108_0_5_line_56 |  | 46 | 48 | 0.0042977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1630-108_0_5_line_57 |  | 48 | 60 | 0.019188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1630-108_0_5_line_58 |  | 49 | 50 | 0.0038997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1630-108_0_5_line_59 |  | 52 | 73 | 0.025066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
60 | LV_1630-108_0_5_line_60 |  | 52 | 81 | 0.027777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_1630-108_0_5_line_61 |  | 53 | 54 | 0.0025716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_1630-108_0_5_line_62 |  | 54 | 55 | 0.01309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_1630-108_0_5_line_63 |  | 55 | 56 | 0.01262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_1630-108_0_5_line_64 |  | 55 | 57 | 0.010035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_1630-108_0_5_line_65 |  | 56 | 58 | 0.013027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_1630-108_0_5_line_66 |  | 56 | 59 | 0.026738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_1630-108_0_5_line_67 |  | 58 | 61 | 0.012475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_1630-108_0_5_line_68 |  | 59 | 65 | 0.0054514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_1630-108_0_5_line_69 |  | 62 | 63 | 0.016082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_1630-108_0_5_line_70 |  | 66 | 67 | 0.012179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_1630-108_0_5_line_71 |  | 66 | 68 | 0.014905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_1630-108_0_5_line_72 |  | 68 | 69 | 0.003929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_1630-108_0_5_line_73 |  | 68 | 70 | 0.010931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_1630-108_0_5_line_74 |  | 69 | 71 | 0.029886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_1630-108_0_5_line_75 |  | 69 | 72 | 0.026203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_1630-108_0_5_line_76 |  | 72 | 73 | 0.014229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
77 | LV_1630-108_0_5_line_77 |  | 72 | 74 | 0.013197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_1630-108_0_5_line_78 |  | 73 | 82 | 0.035841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_1630-108_0_5_line_79 |  | 75 | 76 | 0.007097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_1630-108_0_5_line_80 |  | 77 | 78 | 0.0014212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_1630-108_0_5_line_81 |  | 79 | 80 | 0.023696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_1630-108_0_5_line_82 |  | 81 | 83 | 0.0031061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1630-108_0_5_trafo_79 | 0.63 MVA 20/0.4 kV | 84 | 51 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2722429.7527 | 1220325.6154 | 2722438.4069 | 1220327.8608 | 2722448.8849 | 1220330.9897 | 2722452.2875 | 1220332.1458
1 | 2722473.1808 | 1220339.8072 | 2722458.2913 | 1220334.1856 | 2722452.2875 | 1220332.1458
2 | 2722473.1808 | 1220339.8072 | 2722496.8285 | 1220349.8791 | 2722500.405 | 1220351.643 | 2722499.2675 | 1220354.5441 | 2722497.2948 | 1220360.0411 | 2722495.7208 | 1220364.9793
3 | 2722495.7208 | 1220364.9793 | 2722482.4315 | 1220361.6367
4 | 2722490.7106 | 1220390.841 | 2722495.7208 | 1220364.9793
5 | 2722414.9897 | 1220574.4837 | 2722432.0128 | 1220579.2929 | 2722447.5813 | 1220585.0841 | 2722459.1924 | 1220588.4477 | 2722464.1742 | 1220589.0394 | 2722464.759 | 1220584.2255 | 2722465.6955 | 1220579.2853 | 2722468.0151 | 1220569.0917 | 2722470.4567 | 1220557.7663
6 | 2722414.9897 | 1220574.4837 | 2722418.9698 | 1220561.0438 | 2722423.6952 | 1220562.565
7 | 2722470.4567 | 1220557.7663 | 2722451.384 | 1220554.8164
8 | 2722470.4567 | 1220557.7663 | 2722470.8449 | 1220554.7609 | 2722471.1804 | 1220551.0131
9 | 2722470.4567 | 1220557.7663 | 2722488.6026 | 1220560.019
10 | 2722528.1719 | 1220402.7319 | 2722525.8038 | 1220398.313 | 2722524.2128 | 1220396.7012 | 2722522.8563 | 1220395.8616 | 2722520.9433 | 1220395.5108
11 | 2722528.1719 | 1220402.7319 | 2722528.8625 | 1220402.001 | 2722531.4296 | 1220400.4415 | 2722534.3006 | 1220399.5999 | 2722535.8667 | 1220399.4765 | 2722537.3831 | 1220399.5522 | 2722539.7499 | 1220399.979
12 | 2722518.7276 | 1220451.8983 | 2722521.1003 | 1220435.0784 | 2722522.6515 | 1220424.2463 | 2722524.9121 | 1220408.4471 | 2722525.6652 | 1220406.1496 | 2722526.8844 | 1220404.0731 | 2722528.1719 | 1220402.7319
13 | 2722539.7499 | 1220399.979 | 2722537.7312 | 1220412.5028
14 | 2722539.7499 | 1220399.979 | 2722560.1742 | 1220403.6576
15 | 2722518.7276 | 1220451.8983 | 2722530.1518 | 1220454.0673
16 | 2722484.2248 | 1220455.9475 | 2722486.2693 | 1220445.4813 | 2722489.9808 | 1220446.2138 | 2722518.7276 | 1220451.8983
17 | 2722490.7106 | 1220390.841 | 2722469.5435 | 1220390.923
18 | 2722490.7106 | 1220390.841 | 2722489.3493 | 1220401.6659 | 2722487.4838 | 1220435.5207 | 2722486.2693 | 1220445.4813 | 2722484.2248 | 1220455.9475
19 | 2722482.817 | 1220463.1353 | 2722484.2248 | 1220455.9475
20 | 2722484.2248 | 1220455.9475 | 2722475.1127 | 1220453.5818
21 | 2722482.817 | 1220463.1353 | 2722493.4294 | 1220465.6221
22 | 2722482.817 | 1220463.1353 | 2722482.5466 | 1220464.4752
23 | 2722475.1127 | 1220453.5818 | 2722473.6254 | 1220453.1956
24 | 2722469.5435 | 1220390.923 | 2722464.3339 | 1220390.9431 | 2722454.6819 | 1220390.8335 | 2722445.1725 | 1220389.5496
25 | 2722530.3551 | 1220454.1059 | 2722530.1518 | 1220454.0673
26 | 2722429.6411 | 1220386.5043 | 2722425.3867 | 1220385.5389
27 | 2722429.6411 | 1220386.5043 | 2722424.3447 | 1220403.3069
28 | 2722429.6411 | 1220386.5043 | 2722443.8964 | 1220389.3773 | 2722445.1725 | 1220389.5496
29 | 2722471.8107 | 1220543.9723 | 2722471.1804 | 1220551.0131
30 | 2722488.6026 | 1220560.019 | 2722491.5163 | 1220560.4237 | 2722510.1335 | 1220563.0086 | 2722512.8346 | 1220564.5209 | 2722514.9003 | 1220566.6651 | 2722517.9204 | 1220571.4865 | 2722519.9029 | 1220572.8839 | 2722521.6981 | 1220573.4213 | 2722531.7427 | 1220573.9839 | 2722536.5926 | 1220577.6643
31 | 2722488.6026 | 1220560.019 | 2722489.447 | 1220553.3733
32 | 2722579.067 | 1220578.6168 | 2722601.1955 | 1220579.1171
33 | 2722601.1955 | 1220579.1171 | 2722601.4265 | 1220567.9028
34 | 2722579.067 | 1220578.6168 | 2722560.3522 | 1220578.198
35 | 2722544.6652 | 1220514.4396 | 2722527.4764 | 1220510.7141
36 | 2722555.3635 | 1220516.7584 | 2722544.6652 | 1220514.4396
37 | 2722524.2406 | 1220510.0128 | 2722527.4764 | 1220510.7141
38 | 2722555.3635 | 1220516.7584 | 2722552.3946 | 1220529.1858
39 | 2722555.3635 | 1220516.7584 | 2722565.1732 | 1220518.8832
40 | 2722524.2406 | 1220510.0128 | 2722522.291 | 1220509.5946 | 2722497.4052 | 1220506.1443
41 | 2722524.2406 | 1220510.0128 | 2722521.9227 | 1220520.282
42 | 2722551.9494 | 1220531.0489 | 2722552.3946 | 1220529.1858
43 | 2722565.1732 | 1220518.8832 | 2722579.9463 | 1220522.0833
44 | 2722497.4052 | 1220506.1443 | 2722488.7202 | 1220504.9402
45 | 2722584.4085 | 1220523.0498 | 2722579.9463 | 1220522.0833
46 | 2722488.1757 | 1220504.8647 | 2722488.7202 | 1220504.9402
47 | 2722584.4085 | 1220523.0498 | 2722581.42 | 1220535.6379
48 | 2722584.4085 | 1220523.0498 | 2722598.1611 | 1220526.0334
49 | 2722424.3447 | 1220403.3069 | 2722424.3361 | 1220403.3342
50 | 2722544.6438 | 1220456.8242 | 2722547.1036 | 1220444.7727
51 | 2722566.3415 | 1220460.9405 | 2722544.6438 | 1220456.8242
52 | 2722530.3551 | 1220454.1059 | 2722544.6438 | 1220456.8242
53 | 2722566.3415 | 1220460.9405 | 2722563.7515 | 1220473.5638
54 | 2722566.3415 | 1220460.9405 | 2722573.0135 | 1220462.2084
55 | 2722530.3551 | 1220454.1059 | 2722528.8076 | 1220462.5473
56 | 2722577.2357 | 1220463.0107 | 2722573.0135 | 1220462.2084
57 | 2722577.2357 | 1220463.0107 | 2722573.462 | 1220481.8241
58 | 2722469.8508 | 1220452.2157 | 2722473.6254 | 1220453.1956
59 | 2722477.5481 | 1220489.0361 | 2722482.5466 | 1220464.4752
60 | 2722482.5466 | 1220464.4752 | 2722455.5235 | 1220458.0483
61 | 2722605.1825 | 1220540.9508 | 2722604.6353 | 1220543.4635
62 | 2722607.9677 | 1220528.161 | 2722605.1825 | 1220540.9508
63 | 2722620.3368 | 1220530.8399 | 2722607.9677 | 1220528.161
64 | 2722607.9677 | 1220528.161 | 2722598.1611 | 1220526.0334
65 | 2722620.3368 | 1220530.8399 | 2722617.9495 | 1220524.041 | 2722616.2579 | 1220518.4685
66 | 2722620.3368 | 1220530.8399 | 2722635.275 | 1220553.016
67 | 2722628.5254 | 1220520.9229 | 2722616.2579 | 1220518.4685
68 | 2722638.4681 | 1220557.4325 | 2722636.2806 | 1220554.5089 | 2722635.275 | 1220553.016
69 | 2722560.1742 | 1220403.6576 | 2722557.4344 | 1220419.5025
70 | 2722457.8101 | 1220530.8228 | 2722445.8628 | 1220528.4567
71 | 2722472.5208 | 1220533.0672 | 2722466.9967 | 1220532.6422 | 2722457.8101 | 1220530.8228
72 | 2722472.7836 | 1220529.1473 | 2722472.5208 | 1220533.0672
73 | 2722471.8107 | 1220543.9723 | 2722472.2022 | 1220537.8533 | 2722472.5208 | 1220533.0672
74 | 2722472.7836 | 1220529.1473 | 2722468.3945 | 1220528.8902 | 2722460.1349 | 1220528.2532 | 2722445.6936 | 1220525.5876 | 2722446.2618 | 1220523.0528
75 | 2722472.7836 | 1220529.1473 | 2722472.9604 | 1220526.46 | 2722473.5436 | 1220517.6651 | 2722475.1042 | 1220503.0524
76 | 2722475.1042 | 1220503.0524 | 2722477.5481 | 1220489.0361
77 | 2722475.1042 | 1220503.0524 | 2722488.1757 | 1220504.8647
78 | 2722512.3524 | 1220497.9811 | 2722494.1336 | 1220492.9914 | 2722477.5481 | 1220489.0361
79 | 2722490.3415 | 1220546.3329 | 2722490.3415 | 1220546.3329 | 2722489.447 | 1220553.3733
80 | 2722581.42 | 1220535.6379 | 2722581.0917 | 1220537.0207
81 | 2722560.3522 | 1220578.198 | 2722536.5926 | 1220577.6643
82 | 2722452.5017 | 1220457.3297 | 2722455.5235 | 1220458.0483

## bus_geodata
| x | y | coords
0 | 2722429.7527 | 1220325.6155
1 | 2722452.2875 | 1220332.1458
2 | 2722473.1808 | 1220339.8072
3 | 2722495.7208 | 1220364.9793
4 | 2722414.9897 | 1220574.4837
5 | 2722470.4567 | 1220557.7663
6 | 2722423.6952 | 1220562.565
7 | 2722528.1719 | 1220402.7319
8 | 2722520.9433 | 1220395.5108
9 | 2722539.7499 | 1220399.979
10 | 2722518.7276 | 1220451.8983
11 | 2722482.4315 | 1220361.6367
12 | 2722490.7106 | 1220390.841
13 | 2722484.2248 | 1220455.9475
14 | 2722482.817 | 1220463.1353
15 | 2722475.1127 | 1220453.5818
16 | 2722469.5435 | 1220390.923
17 | 2722530.1518 | 1220454.0673
18 | 2722425.3867 | 1220385.5389
19 | 2722429.6411 | 1220386.5043
20 | 2722451.384 | 1220554.8164
21 | 2722471.1804 | 1220551.0131
22 | 2722488.6026 | 1220560.019
23 | 2722601.1955 | 1220579.1171
24 | 2722579.067 | 1220578.6168
25 | 2722601.4265 | 1220567.9028
26 | 2722544.6652 | 1220514.4396
27 | 2722527.4764 | 1220510.7141
28 | 2722555.3635 | 1220516.7584
29 | 2722524.2406 | 1220510.0128
30 | 2722552.3946 | 1220529.1858
31 | 2722565.1732 | 1220518.8832
32 | 2722497.4052 | 1220506.1443
33 | 2722521.9227 | 1220520.282
34 | 2722551.9494 | 1220531.0489
35 | 2722579.9463 | 1220522.0833
36 | 2722488.7202 | 1220504.9402
37 | 2722584.4085 | 1220523.0498
38 | 2722424.3447 | 1220403.3069
39 | 2722445.1725 | 1220389.5496
40 | 2722424.3361 | 1220403.3342
41 | 2722547.1036 | 1220444.7727
42 | 2722544.6438 | 1220456.8242
43 | 2722566.3415 | 1220460.9405
44 | 2722530.3551 | 1220454.1059
45 | 2722563.7515 | 1220473.5638
46 | 2722573.0135 | 1220462.2084
47 | 2722528.8076 | 1220462.5473
48 | 2722577.2357 | 1220463.0107
49 | 2722473.6254 | 1220453.1956
50 | 2722469.8508 | 1220452.2157
51 | 2722493.4294 | 1220465.6221
52 | 2722482.5466 | 1220464.4752
53 | 2722604.6353 | 1220543.4635
54 | 2722605.1825 | 1220540.9508
55 | 2722607.9677 | 1220528.161
56 | 2722620.3368 | 1220530.8399
57 | 2722598.1611 | 1220526.0334
58 | 2722616.2579 | 1220518.4685
59 | 2722635.275 | 1220553.016
60 | 2722573.462 | 1220481.8241
61 | 2722628.5254 | 1220520.9229
62 | 2722560.1742 | 1220403.6576
63 | 2722557.4344 | 1220419.5025
64 | 2722537.7312 | 1220412.5028
65 | 2722638.4681 | 1220557.4325
66 | 2722457.8101 | 1220530.8228
67 | 2722445.8628 | 1220528.4567
68 | 2722472.5208 | 1220533.0672
69 | 2722472.7836 | 1220529.1473
70 | 2722471.8107 | 1220543.9723
71 | 2722446.2618 | 1220523.0528
72 | 2722475.1042 | 1220503.0524
73 | 2722477.5481 | 1220489.0361
74 | 2722488.1757 | 1220504.8647
75 | 2722490.3415 | 1220546.3329
76 | 2722489.447 | 1220553.3733
77 | 2722581.42 | 1220535.6379
78 | 2722581.0917 | 1220537.0207
79 | 2722536.5926 | 1220577.6643
80 | 2722560.3522 | 1220578.198
81 | 2722455.5235 | 1220458.0483
82 | 2722512.3524 | 1220497.9811
83 | 2722452.5017 | 1220457.3297
84 | 2722482.817 | 1220463.1353

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99004 | -0.19149 | 0.0098428 | 0.0024668
1 | 0.99026 | -0.18738 | 0.0095152 | 0.0023847
2 | 0.99065 | -0.17973 | 0 | 0
3 | 0.99143 | -0.16467 | 0 | 0
4 | 0.99273 | -0.13962 | 0 | 0
5 | 0.99296 | -0.13525 | 0 | 0
6 | 0.99268 | -0.14062 | 0.0029685 | 0.00074397
7 | 0.99175 | -0.15864 | 0 | 0
8 | 0.99122 | -0.16884 | 0.053273 | 0.013351
9 | 0.99156 | -0.16221 | 0 | 0
10 | 0.99496 | -0.096651 | 0 | 0
11 | 0.99123 | -0.16844 | 0.015558 | 0.0038992
12 | 0.99227 | -0.14837 | 0 | 0
13 | 0.99792 | -0.039681 | 0 | 0
14 | 0.99883 | -0.022379 | 0 | 0
15 | 0.99769 | -0.044221 | 0.0097127 | 0.0024342
16 | 0.99112 | -0.17063 | 0.023522 | 0.0058952
17 | 0.99412 | -0.11283 | 0.0076298 | 0.0019122
18 | 0.98994 | -0.19348 | 0.008591 | 0.0021531
19 | 0.98998 | -0.19282 | 0 | 0
20 | 0.9928 | -0.13829 | 0.0089351 | 0.0022394
21 | 0.9933 | -0.12853 | 0.0017778 | 0.00044555
22 | 0.99222 | -0.14946 | 0 | 0
23 | 0.99041 | -0.18446 | 0 | 0
24 | 0.99054 | -0.18201 | 0 | 0
25 | 0.99035 | -0.1857 | 0.0062381 | 0.0015634
26 | 0.99034 | -0.18553 | 0.0074345 | 0.0018633
27 | 0.9916 | -0.16132 | 0.0064697 | 0.0016215
28 | 0.98964 | -0.19917 | 0.0050554 | 0.001267
29 | 0.99185 | -0.15639 | 0 | 0
30 | 0.98953 | -0.2013 | 0.0036653 | 0.0009186
31 | 0.98913 | -0.20913 | 0.0069192 | 0.0017341
32 | 0.99413 | -0.1124 | 0.014927 | 0.0037411
33 | 0.99178 | -0.15784 | 0.0077556 | 0.0019437
34 | 0.98952 | -0.20149 | 0.0056744 | 0.0014221
35 | 0.98845 | -0.22228 | 0.011371 | 0.0028499
36 | 0.99499 | -0.095918 | 0.0093103 | 0.0023334
37 | 0.98829 | -0.22533 | 0 | 0
38 | 0.98973 | -0.19751 | 0.0074983 | 0.0018792
39 | 0.99032 | -0.18618 | 0.01222 | 0.0030627
40 | 0.98973 | -0.19752 | 0.0074959 | 0.0018786
41 | 0.99324 | -0.12985 | 0.009547 | 0.0023927
42 | 0.99334 | -0.12777 | 0 | 0
43 | 0.99238 | -0.14639 | 0 | 0
44 | 0.9941 | -0.11309 | 0 | 0
45 | 0.9922 | -0.14996 | 0.015643 | 0.0039206
46 | 0.99218 | -0.15025 | 0.011244 | 0.0028181
47 | 0.99399 | -0.11521 | 0.013988 | 0.0035057
48 | 0.9921 | -0.15185 | 0 | 0
49 | 0.99766 | -0.044701 | 0.0067674 | 0.0016961
50 | 0.99762 | -0.045456 | 0.011066 | 0.0027735
51 | 1 | 0 | -0.59563 | -0.15043
52 | 0.99875 | -0.023907 | 0 | 0
53 | 0.98767 | -0.23747 | 0.0034068 | 0.00085384
54 | 0.98768 | -0.23731 | 0.0021651 | 0.00054262
55 | 0.98774 | -0.23601 | 0 | 0
56 | 0.98755 | -0.2397 | 0 | 0
57 | 0.98795 | -0.23207 | 0.004911 | 0.0012308
58 | 0.98748 | -0.24124 | 0 | 0
59 | 0.98732 | -0.24435 | 0.0042634 | 0.0010685
60 | 0.99173 | -0.15895 | 0.020913 | 0.0052413
61 | 0.9874 | -0.24272 | 0.0066356 | 0.001663
62 | 0.99141 | -0.16509 | 0 | 0
63 | 0.9913 | -0.16733 | 0.0078518 | 0.0019679
64 | 0.99147 | -0.16406 | 0.0082601 | 0.0020702
65 | 0.98729 | -0.24488 | 0.0054679 | 0.0013704
66 | 0.99417 | -0.11188 | 0.0035915 | 0.00090011
67 | 0.99413 | -0.1125 | 0.0028734 | 0.00072014
68 | 0.99425 | -0.11018 | 0 | 0
69 | 0.99448 | -0.10573 | 0 | 0
70 | 0.99368 | -0.12132 | 0 | 0
71 | 0.99396 | -0.1158 | 0.019099 | 0.0047868
72 | 0.99648 | -0.06733 | 0 | 0
73 | 0.99779 | -0.042172 | 0 | 0
74 | 0.99505 | -0.094795 | 0.0023904 | 0.0005991
75 | 0.99196 | -0.1546 | 0.020163 | 0.0050534
76 | 0.99209 | -0.15206 | 0.0017636 | 0.00044199
77 | 0.98817 | -0.22777 | 0.0056862 | 0.0014251
78 | 0.98816 | -0.22789 | 0.0048807 | 0.0012232
79 | 0.99113 | -0.17063 | 0 | 0
80 | 0.99065 | -0.17994 | 0.0159 | 0.0039849
81 | 0.99593 | -0.078166 | 0.07902 | 0.019804
82 | 0.99758 | -0.046312 | 0.0065962 | 0.0016532
83 | 0.99584 | -0.079938 | 0.032459 | 0.008135
84 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0098428 | -0.0024668 | 0.0098447 | 0.0024678 | 1.9261e-06 | 9.3083e-07 | 0.014794 | 0.014793 | 0.014794 | 0.99004 | -0.19149 | 0.99026 | -0.18738 | 4.0642
1 | -0.01936 | -0.0048525 | 0.019367 | 0.0048567 | 7.0635e-06 | 4.2342e-06 | 0.029092 | 0.029091 | 0.029092 | 0.99026 | -0.18738 | 0.99065 | -0.17973 | 7.9922
2 | -0.019367 | -0.0048567 | 0.019381 | 0.0048651 | 1.391e-05 | 8.3378e-06 | 0.029091 | 0.029091 | 0.029091 | 0.99065 | -0.17973 | 0.99143 | -0.16467 | 7.9922
3 | 0.015561 | 0.0039008 | -0.015558 | -0.0038992 | 2.7952e-06 | 1.6127e-06 | 0.023355 | 0.023355 | 0.023355 | 0.99143 | -0.16467 | 0.99123 | -0.16844 | 6.4163
4 | -0.034942 | -0.0087659 | 0.034969 | 0.0087829 | 2.7174e-05 | 1.7052e-05 | 0.052446 | 0.052446 | 0.052446 | 0.99143 | -0.16467 | 0.99227 | -0.14837 | 14.4084
5 | -0.0029686 | -0.00074382 | 0.0029692 | 0.00074313 | 6.186e-07 | -6.8164e-07 | 0.0044496 | 0.0044493 | 0.0044496 | 0.99273 | -0.13962 | 0.99296 | -0.13525 | 1.2224
6 | 0.0029686 | 0.00074382 | -0.0029685 | -0.00074397 | 1.4093e-07 | -1.552e-07 | 0.0044496 | 0.0044497 | 0.0044497 | 0.99273 | -0.13962 | 0.99268 | -0.14062 | 1.2225
7 | 0.0089364 | 0.0022399 | -0.0089351 | -0.0022394 | 1.2943e-06 | 5.7944e-07 | 0.013392 | 0.013392 | 0.013392 | 0.99296 | -0.13525 | 0.9928 | -0.13829 | 3.6791
8 | -0.056039 | -0.014069 | 0.056057 | 0.01408 | 1.7969e-05 | 1.1413e-05 | 0.083988 | 0.083988 | 0.083988 | 0.99296 | -0.13525 | 0.9933 | -0.12853 | 23.0735
9 | 0.044134 | 0.011086 | -0.044104 | -0.011067 | 2.9914e-05 | 1.8909e-05 | 0.066146 | 0.066147 | 0.066147 | 0.99296 | -0.13525 | 0.99222 | -0.14946 | 18.1721
10 | 0.053299 | 0.013368 | -0.053273 | -0.013351 | 2.5912e-05 | 1.6444e-05 | 0.079973 | 0.079973 | 0.079973 | 0.99175 | -0.15864 | 0.99122 | -0.16884 | 21.9706
11 | 0.016117 | 0.0040407 | -0.016115 | -0.0040391 | 2.7403e-06 | 1.5926e-06 | 0.024183 | 0.024183 | 0.024183 | 0.99175 | -0.15864 | 0.99156 | -0.16221 | 6.6437
12 | -0.069416 | -0.017409 | 0.069622 | 0.01754 | 0.00020574 | 0.00013102 | 0.10416 | 0.10416 | 0.10416 | 0.99175 | -0.15864 | 0.99496 | -0.096651 | 28.6143
13 | 0.0082608 | 0.0020705 | -0.0082601 | -0.0020702 | 7.3117e-07 | 3.0432e-07 | 0.012397 | 0.012397 | 0.012397 | 0.99156 | -0.16221 | 0.99147 | -0.16406 | 3.4058
14 | 0.0078538 | 0.0019686 | -0.0078527 | -0.0019682 | 1.078e-06 | 4.2303e-07 | 0.011786 | 0.011786 | 0.011786 | 0.99156 | -0.16221 | 0.99141 | -0.16509 | 3.238
15 | 0.07913 | 0.019894 | -0.079069 | -0.019855 | 6.1094e-05 | 3.8949e-05 | 0.11837 | 0.11837 | 0.11837 | 0.99496 | -0.096651 | 0.99412 | -0.11283 | 32.518
16 | -0.14875 | -0.037434 | 0.14916 | 0.037693 | 0.00040619 | 0.00025882 | 0.22252 | 0.22252 | 0.22252 | 0.99496 | -0.096651 | 0.99792 | -0.039681 | 30.5661
17 | 0.059428 | 0.014932 | -0.059365 | -0.014892 | 6.3062e-05 | 4.0087e-05 | 0.089133 | 0.089133 | 0.089133 | 0.99227 | -0.14837 | 0.99112 | -0.17063 | 24.487
18 | -0.094397 | -0.023715 | 0.094889 | 0.02403 | 0.00049245 | 0.00031432 | 0.14158 | 0.14158 | 0.14158 | 0.99227 | -0.14837 | 0.99792 | -0.039681 | 38.8953
19 | -0.2716 | -0.06863 | 0.27183 | 0.068774 | 0.00022548 | 0.00014412 | 0.40519 | 0.40519 | 0.40519 | 0.99792 | -0.039681 | 0.99883 | -0.022379 | 55.6573
20 | 0.027553 | 0.0069079 | -0.027547 | -0.0069042 | 5.9594e-06 | 3.6911e-06 | 0.041086 | 0.041086 | 0.041086 | 0.99792 | -0.039681 | 0.99769 | -0.044221 | 11.2873
21 | -0.59334 | -0.15002 | 0.59398 | 0.15043 | 0.00063761 | 0.00040736 | 0.88441 | 0.88441 | 0.88441 | 0.99883 | -0.022379 | 1 | 0 | 48.5938
22 | 0.32152 | 0.081247 | -0.32149 | -0.081232 | 2.3545e-05 | 1.4979e-05 | 0.47922 | 0.47922 | 0.47922 | 0.99883 | -0.022379 | 0.99875 | -0.023907 | 26.3309
23 | 0.017835 | 0.00447 | -0.017834 | -0.0044698 | 4.0771e-07 | 2.4087e-07 | 0.0266 | 0.0266 | 0.0266 | 0.99769 | -0.044221 | 0.99766 | -0.044701 | 7.3077
24 | 0.035843 | 0.008997 | -0.035817 | -0.0089803 | 2.6565e-05 | 1.6687e-05 | 0.053818 | 0.053818 | 0.053818 | 0.99112 | -0.17063 | 0.99032 | -0.18618 | 14.7852
25 | 0.071439 | 0.017943 | -0.071438 | -0.017943 | 8.8751e-07 | 5.6533e-07 | 0.10695 | 0.10695 | 0.10695 | 0.99412 | -0.11283 | 0.9941 | -0.11309 | 29.3805
26 | -0.008591 | -0.0021531 | 0.0085913 | 0.0021532 | 2.7281e-07 | 1.1851e-07 | 0.012913 | 0.012913 | 0.012913 | 0.98994 | -0.19348 | 0.98998 | -0.19282 | 3.5476
27 | 0.014998 | 0.0037598 | -0.014994 | -0.0037579 | 3.3574e-06 | 1.9222e-06 | 0.022543 | 0.022543 | 0.022543 | 0.98998 | -0.19282 | 0.98973 | -0.19751 | 6.1931
28 | -0.023589 | -0.005913 | 0.023596 | 0.0059176 | 7.4626e-06 | 4.5724e-06 | 0.035456 | 0.035456 | 0.035456 | 0.98998 | -0.19282 | 0.99032 | -0.18618 | 9.7407
29 | -0.057835 | -0.014526 | 0.057855 | 0.014538 | 1.9904e-05 | 1.2647e-05 | 0.086651 | 0.086651 | 0.086651 | 0.9933 | -0.12853 | 0.99368 | -0.12132 | 23.8052
30 | 0.022172 | 0.0055683 | -0.022149 | -0.0055547 | 2.2372e-05 | 1.3622e-05 | 0.033255 | 0.033255 | 0.033255 | 0.99222 | -0.14946 | 0.99113 | -0.17063 | 9.136
31 | 0.021932 | 0.0054985 | -0.021929 | -0.0054969 | 2.7178e-06 | 1.6529e-06 | 0.032892 | 0.032892 | 0.032892 | 0.99222 | -0.14946 | 0.99209 | -0.15206 | 9.0362
32 | -0.0062385 | -0.0015635 | 0.0062392 | 0.0015637 | 7.2702e-07 | 1.8125e-07 | 0.0093728 | 0.0093727 | 0.0093728 | 0.99041 | -0.18446 | 0.99054 | -0.18201 | 2.5749
33 | 0.0062385 | 0.0015635 | -0.0062381 | -0.0015634 | 3.6952e-07 | 9.2153e-08 | 0.0093728 | 0.0093728 | 0.0093728 | 0.99041 | -0.18446 | 0.99035 | -0.1857 | 2.575
34 | -0.0062392 | -0.0015637 | 0.0062398 | 0.0015638 | 6.1487e-07 | 1.5323e-07 | 0.0093727 | 0.0093726 | 0.0093727 | 0.99054 | -0.18201 | 0.99065 | -0.17994 | 2.5749
35 | -0.077666 | -0.019513 | 0.077756 | 0.019571 | 8.9842e-05 | 5.7272e-05 | 0.11671 | 0.11671 | 0.11671 | 0.99034 | -0.18553 | 0.9916 | -0.16132 | 32.0639
36 | 0.070232 | 0.01765 | -0.070186 | -0.017621 | 4.5726e-05 | 2.9124e-05 | 0.10554 | 0.10554 | 0.10554 | 0.99034 | -0.18553 | 0.98964 | -0.19917 | 28.9952
37 | -0.084226 | -0.021192 | 0.084246 | 0.021205 | 1.9844e-05 | 1.2657e-05 | 0.12642 | 0.12642 | 0.12642 | 0.9916 | -0.16132 | 0.99185 | -0.15639 | 34.7311
38 | 0.0093407 | 0.0023412 | -0.0093397 | -0.0023407 | 9.4512e-07 | 4.4072e-07 | 0.014045 | 0.014045 | 0.014045 | 0.98964 | -0.19917 | 0.98953 | -0.2013 | 3.8584
39 | 0.05579 | 0.014013 | -0.055764 | -0.013996 | 2.6493e-05 | 1.6827e-05 | 0.083897 | 0.083897 | 0.083897 | 0.98964 | -0.19917 | 0.98913 | -0.20913 | 23.0485
40 | -0.092002 | -0.023149 | 0.092196 | 0.023272 | 0.00019382 | 0.0001237 | 0.13806 | 0.13806 | 0.13806 | 0.99185 | -0.15639 | 0.99413 | -0.1124 | 37.9279
41 | 0.0077561 | 0.0019439 | -0.0077556 | -0.0019437 | 5.3453e-07 | 2.0624e-07 | 0.011636 | 0.011636 | 0.011636 | 0.99185 | -0.15639 | 0.99178 | -0.15784 | 3.1967
42 | 0.0056745 | 0.0014221 | -0.0056744 | -0.0014221 | 5.2305e-08 | 8.8675e-09 | 0.008533 | 0.008533 | 0.008533 | 0.98953 | -0.2013 | 0.98952 | -0.20149 | 2.3442
43 | 0.048845 | 0.012262 | -0.048814 | -0.012242 | 3.0612e-05 | 1.9398e-05 | 0.073488 | 0.073488 | 0.073488 | 0.98913 | -0.20913 | 0.98845 | -0.22228 | 20.1889
44 | -0.10712 | -0.027013 | 0.10721 | 0.027067 | 8.4595e-05 | 5.4027e-05 | 0.1604 | 0.1604 | 0.1604 | 0.99413 | -0.1124 | 0.99499 | -0.095918 | 44.0661
45 | 0.037443 | 0.0093925 | -0.037437 | -0.009389 | 5.4402e-06 | 3.4232e-06 | 0.056369 | 0.056369 | 0.056369 | 0.98845 | -0.22228 | 0.98829 | -0.22533 | 15.4861
46 | -0.11652 | -0.029401 | 0.11652 | 0.029405 | 6.2648e-06 | 4.0023e-06 | 0.17432 | 0.17432 | 0.17432 | 0.99499 | -0.095918 | 0.99505 | -0.094795 | 47.8913
47 | 0.010568 | 0.0026489 | -0.010567 | -0.0026483 | 1.2284e-06 | 6.2043e-07 | 0.015912 | 0.015912 | 0.015912 | 0.98829 | -0.22533 | 0.98817 | -0.22777 | 4.3715
48 | 0.026869 | 0.0067401 | -0.02686 | -0.0067347 | 8.6377e-06 | 5.3479e-06 | 0.040457 | 0.040457 | 0.040457 | 0.98829 | -0.22533 | 0.98795 | -0.23207 | 11.1146
49 | 0.0074959 | 0.0018786 | -0.0074959 | -0.0018786 | 1.3626e-09 | 4.9842e-10 | 0.01127 | 0.01127 | 0.01127 | 0.98973 | -0.19751 | 0.98973 | -0.19752 | 3.0961
50 | -0.009547 | -0.0023927 | 0.0095479 | 0.0023931 | 9.4357e-07 | 4.4467e-07 | 0.014303 | 0.014303 | 0.014303 | 0.99324 | -0.12985 | 0.99334 | -0.12777 | 3.9293
51 | 0.047861 | 0.012017 | -0.047818 | -0.011991 | 4.2458e-05 | 2.6888e-05 | 0.071703 | 0.071703 | 0.071703 | 0.99334 | -0.12777 | 0.99238 | -0.14639 | 19.6986
52 | -0.057409 | -0.014411 | 0.057449 | 0.014436 | 4.0232e-05 | 2.556e-05 | 0.086005 | 0.086005 | 0.086005 | 0.99334 | -0.12777 | 0.9941 | -0.11309 | 23.6279
53 | 0.015646 | 0.0039222 | -0.015643 | -0.0039206 | 2.6599e-06 | 1.5359e-06 | 0.023461 | 0.023461 | 0.023461 | 0.99238 | -0.14639 | 0.9922 | -0.14996 | 6.4453
54 | 0.032172 | 0.0080684 | -0.032166 | -0.0080647 | 5.9271e-06 | 3.7056e-06 | 0.048242 | 0.048242 | 0.048242 | 0.99238 | -0.14639 | 0.99218 | -0.15025 | 13.2533
55 | 0.013989 | 0.0035065 | -0.013988 | -0.0035057 | 1.4113e-06 | 7.9196e-07 | 0.02094 | 0.02094 | 0.02094 | 0.9941 | -0.11309 | 0.99399 | -0.11521 | 5.7527
56 | 0.020922 | 0.0052466 | -0.02092 | -0.0052456 | 1.5868e-06 | 9.6006e-07 | 0.031378 | 0.031378 | 0.031378 | 0.99218 | -0.15025 | 0.9921 | -0.15185 | 8.6204
57 | 0.02092 | 0.0052456 | -0.020913 | -0.0052413 | 7.0847e-06 | 4.2866e-06 | 0.031378 | 0.031378 | 0.031378 | 0.9921 | -0.15185 | 0.99173 | -0.15895 | 8.6205
58 | 0.011067 | 0.0027737 | -0.011066 | -0.0027735 | 3.9844e-07 | 2.0408e-07 | 0.016506 | 0.016506 | 0.016506 | 0.99766 | -0.044701 | 0.99762 | -0.045456 | 4.5347
59 | 0.20972 | 0.053107 | -0.20954 | -0.052991 | 0.00018377 | 0.00011598 | 0.31266 | 0.31266 | 0.31266 | 0.99875 | -0.023907 | 0.99779 | -0.042172 | 17.179
60 | 0.11177 | 0.028126 | -0.11148 | -0.027941 | 0.00028899 | 0.00018459 | 0.16657 | 0.16657 | 0.16657 | 0.99875 | -0.023907 | 0.99593 | -0.078166 | 45.7597
61 | -0.0034068 | -0.00085384 | 0.0034069 | 0.00085382 | 2.5406e-08 | -1.6651e-08 | 0.0051327 | 0.0051327 | 0.0051327 | 0.98767 | -0.23747 | 0.98768 | -0.23731 | 1.4101
62 | -0.005572 | -0.0013964 | 0.0055723 | 0.0013965 | 3.459e-07 | 5.3846e-08 | 0.0083946 | 0.0083945 | 0.0083946 | 0.98768 | -0.23731 | 0.98774 | -0.23601 | 2.3062
63 | 0.016373 | 0.0041049 | -0.01637 | -0.0041033 | 2.8793e-06 | 1.6813e-06 | 0.024666 | 0.024666 | 0.024666 | 0.98774 | -0.23601 | 0.98755 | -0.2397 | 6.7764
64 | -0.021945 | -0.0055014 | 0.021949 | 0.0055039 | 4.113e-06 | 2.5038e-06 | 0.033061 | 0.033061 | 0.033061 | 0.98774 | -0.23601 | 0.98795 | -0.23207 | 9.0826
65 | 0.0066366 | 0.0016633 | -0.0066361 | -0.0016632 | 4.8849e-07 | 1.4597e-07 | 0.0099998 | 0.0099998 | 0.0099998 | 0.98755 | -0.2397 | 0.98748 | -0.24124 | 2.7472
66 | 0.0097335 | 0.0024399 | -0.0097314 | -0.0024389 | 2.1568e-06 | 1.0383e-06 | 0.014666 | 0.014666 | 0.014666 | 0.98755 | -0.2397 | 0.98732 | -0.24435 | 4.0292
67 | 0.0066361 | 0.0016632 | -0.0066356 | -0.001663 | 4.678e-07 | 1.3981e-07 | 0.0099998 | 0.0099999 | 0.0099999 | 0.98748 | -0.24124 | 0.9874 | -0.24272 | 2.7472
68 | 0.005468 | 0.0013704 | -0.0054679 | -0.0013704 | 1.3884e-07 | 1.9141e-08 | 0.008241 | 0.008241 | 0.008241 | 0.98732 | -0.24435 | 0.98729 | -0.24488 | 2.264
69 | 0.0078527 | 0.0019682 | -0.0078518 | -0.0019679 | 8.3776e-07 | 3.2881e-07 | 0.011786 | 0.011786 | 0.011786 | 0.99141 | -0.16509 | 0.9913 | -0.16733 | 3.238
70 | 0.0028735 | 0.00072004 | -0.0028734 | -0.00072014 | 8.4482e-08 | -1.0385e-07 | 0.0043008 | 0.0043009 | 0.0043009 | 0.99417 | -0.11188 | 0.99413 | -0.1125 | 1.1816
71 | -0.0064649 | -0.0016201 | 0.0064655 | 0.0016203 | 5.2336e-07 | 1.4166e-07 | 0.0096764 | 0.0096763 | 0.0096764 | 0.99417 | -0.11188 | 0.99425 | -0.11018 | 2.6583
72 | -0.064351 | -0.016178 | 0.064365 | 0.016187 | 1.3671e-05 | 8.6987e-06 | 0.096327 | 0.096327 | 0.096327 | 0.99425 | -0.11018 | 0.99448 | -0.10573 | 26.4635
73 | 0.057886 | 0.014558 | -0.057855 | -0.014538 | 3.0778e-05 | 1.9556e-05 | 0.086651 | 0.086651 | 0.086651 | 0.99425 | -0.11018 | 0.99368 | -0.12132 | 23.8052
74 | 0.019109 | 0.0047923 | -0.019099 | -0.0047868 | 9.1625e-06 | 5.4765e-06 | 0.028593 | 0.028593 | 0.028593 | 0.99448 | -0.10573 | 0.99396 | -0.1158 | 7.8552
75 | -0.083474 | -0.020979 | 0.083627 | 0.021077 | 0.00015334 | 9.7795e-05 | 0.12492 | 0.12492 | 0.12492 | 0.99448 | -0.10573 | 0.99648 | -0.06733 | 34.3186
76 | -0.2027 | -0.051181 | 0.20294 | 0.051337 | 0.00024465 | 0.0001562 | 0.30282 | 0.30282 | 0.30282 | 0.99648 | -0.06733 | 0.99779 | -0.042172 | 41.5959
77 | 0.11907 | 0.030104 | -0.11891 | -0.030004 | 0.00015662 | 0.00010006 | 0.1779 | 0.1779 | 0.1779 | 0.99648 | -0.06733 | 0.99505 | -0.094795 | 48.8733
78 | 0.0065975 | 0.0016535 | -0.0065962 | -0.0016532 | 1.3011e-06 | 3.6467e-07 | 0.0098389 | 0.0098391 | 0.0098391 | 0.99779 | -0.042172 | 0.99758 | -0.046312 | 2.703
79 | -0.020163 | -0.0050534 | 0.020166 | 0.0050549 | 2.4348e-06 | 1.4666e-06 | 0.030247 | 0.030247 | 0.030247 | 0.99196 | -0.1546 | 0.99209 | -0.15206 | 8.3095
80 | 0.0048808 | 0.0012232 | -0.0048807 | -0.0012232 | 2.8787e-08 | 2.18e-10 | 0.0073496 | 0.0073496 | 0.0073496 | 0.98817 | -0.22777 | 0.98816 | -0.22789 | 2.0191
81 | 0.022149 | 0.0055547 | -0.02214 | -0.0055487 | 9.827e-06 | 5.984e-06 | 0.033255 | 0.033255 | 0.033255 | 0.99113 | -0.17063 | 0.99065 | -0.17994 | 9.136
82 | 0.032462 | 0.0081367 | -0.032459 | -0.008135 | 2.7401e-06 | 1.7132e-06 | 0.048502 | 0.048502 | 0.048502 | 0.99593 | -0.078166 | 0.99584 | -0.079938 | 13.3246

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.60446 | 0.15264

## res_load
| p_mw | q_mvar
0 | 0.0098428 | 0.0024668
1 | 0.0095152 | 0.0023847
2 | 0.0029685 | 0.00074397
3 | 0.053273 | 0.013351
4 | 0.015558 | 0.0038992
5 | 0.0097127 | 0.0024342
6 | 0.023522 | 0.0058952
7 | 0.0076298 | 0.0019122
8 | 0.008591 | 0.0021531
9 | 0.0089351 | 0.0022394
10 | 0.0017778 | 0.00044555
11 | 0.0062381 | 0.0015634
12 | 0.0074345 | 0.0018633
13 | 0.0064697 | 0.0016215
14 | 0.0050554 | 0.001267
15 | 0.0036653 | 0.0009186
16 | 0.0069192 | 0.0017341
17 | 0.014927 | 0.0037411
18 | 0.0077556 | 0.0019437
19 | 0.0056744 | 0.0014221
20 | 0.011371 | 0.0028499
21 | 0.0093103 | 0.0023334
22 | 0.0074983 | 0.0018792
23 | 0.01222 | 0.0030627
24 | 0.0074959 | 0.0018786
25 | 0.009547 | 0.0023927
26 | 0.015643 | 0.0039206
27 | 0.011244 | 0.0028181
28 | 0.013988 | 0.0035057
29 | 0.0067674 | 0.0016961
30 | 0.011066 | 0.0027735
31 | 0.0088286 | 0.0022127
32 | 0.0034068 | 0.00085384
33 | 0.0021651 | 0.00054262
34 | 0.004911 | 0.0012308
35 | 0.0042634 | 0.0010685
36 | 0.020913 | 0.0052413
37 | 0.0066356 | 0.001663
38 | 0.0078518 | 0.0019679
39 | 0.0082601 | 0.0020702
40 | 0.0054679 | 0.0013704
41 | 0.0035915 | 0.00090011
42 | 0.0028734 | 0.00072014
43 | 0.019099 | 0.0047868
44 | 0.0023904 | 0.0005991
45 | 0.020163 | 0.0050534
46 | 0.0017636 | 0.00044199
47 | 0.0056862 | 0.0014251
48 | 0.0048807 | 0.0012232
49 | 0.0159 | 0.0039849
50 | 0.07902 | 0.019804
51 | 0.0065962 | 0.0016532
52 | 0.032459 | 0.008135

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1