## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1630-109_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1630-109_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1630-109_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1630-109_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1630-109_0_3_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_1630-109_0_3_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_1630-109_0_3_node_64 | 0.4 | n |  | TRUE
7 | bus_LV_1630-109_0_3_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_1630-109_0_3_node_32 | 0.4 | n |  | TRUE
9 | bus_LV_1630-109_0_3_node_33 | 0.4 | n |  | TRUE
10 | bus_LV_1630-109_0_3_node_52 | 0.4 | n |  | TRUE
11 | bus_LV_1630-109_0_3_node_43 | 0.4 | n |  | TRUE
12 | bus_LV_1630-109_0_3_node_31 | 0.4 | n |  | TRUE
13 | bus_LV_1630-109_0_3_node_34 | 0.4 | n |  | TRUE
14 | bus_LV_1630-109_0_3_node_21 | 0.4 | n |  | TRUE
15 | bus_LV_1630-109_0_3_node_50 | 0.4 | n |  | TRUE
16 | bus_LV_1630-109_0_3_node_44 | 0.4 | n |  | TRUE
17 | bus_LV_1630-109_0_3_node_7 | 0.4 | n |  | TRUE
18 | bus_LV_1630-109_0_3_node_8 | 0.4 | n |  | TRUE
19 | bus_LV_1630-109_0_3_node_9 | 0.4 | n |  | TRUE
20 | bus_LV_1630-109_0_3_node_18 | 0.4 | n |  | TRUE
21 | bus_LV_1630-109_0_3_node_19 | 0.4 | n |  | TRUE
22 | bus_LV_1630-109_0_3_node_10 | 0.4 | n |  | TRUE
23 | bus_LV_1630-109_0_3_node_11 | 0.4 | n |  | TRUE
24 | bus_LV_1630-109_0_3_node_12 | 0.4 | n |  | TRUE
25 | bus_LV_1630-109_0_3_node_13 | 0.4 | n |  | TRUE
26 | bus_LV_1630-109_0_3_node_14 | 0.4 | n |  | TRUE
27 | bus_LV_1630-109_0_3_node_15 | 0.4 | n |  | TRUE
28 | bus_LV_1630-109_0_3_node_16 | 0.4 | n |  | TRUE
29 | bus_LV_1630-109_0_3_node_17 | 0.4 | n |  | TRUE
30 | bus_LV_1630-109_0_3_node_60 | 0.4 | n |  | TRUE
31 | bus_LV_1630-109_0_3_node_39 | 0.4 | n |  | TRUE
32 | bus_LV_1630-109_0_3_node_58 | 0.4 | n |  | TRUE
33 | bus_LV_1630-109_0_3_node_41 | 0.4 | n |  | TRUE
34 | bus_LV_1630-109_0_3_node_61 | 0.4 | n |  | TRUE
35 | bus_LV_1630-109_0_3_node_59 | 0.4 | n |  | TRUE
36 | bus_LV_1630-109_0_3_node_56 | 0.4 | n |  | TRUE
37 | bus_LV_1630-109_0_3_node_30 | 0.4 | n |  | TRUE
38 | bus_LV_1630-109_0_3_node_35 | 0.4 | n |  | TRUE
39 | bus_LV_1630-109_0_3_node_29 | 0.4 | n |  | TRUE
40 | bus_LV_1630-109_0_3_node_36 | 0.4 | n |  | TRUE
41 | bus_LV_1630-109_0_3_node_49 | 0.4 | n |  | TRUE
42 | bus_LV_1630-109_0_3_node_46 | 0.4 | n |  | TRUE
43 | bus_LV_1630-109_0_3_node_40 | 0.4 | n |  | TRUE
44 | bus_LV_1630-109_0_3_node_62 | 0.4 | n |  | TRUE
45 | bus_LV_1630-109_0_3_node_57 | 0.4 | n |  | TRUE
46 | bus_LV_1630-109_0_3_node_20 | 0.4 | n |  | TRUE
47 | bus_LV_1630-109_0_3_node_48 | 0.4 | n |  | TRUE
48 | bus_LV_1630-109_0_3_node_53 | 0.4 | n |  | TRUE
49 | bus_LV_1630-109_0_3_node_45 | 0.4 | n |  | TRUE
50 | bus_LV_1630-109_0_3_node_22 | 0.4 | n |  | TRUE
51 | bus_LV_1630-109_0_3_node_23 | 0.4 | n |  | TRUE
52 | bus_LV_1630-109_0_3_node_24 | 0.4 | n |  | TRUE
53 | bus_LV_1630-109_0_3_node_25 | 0.4 | n |  | TRUE
54 | bus_LV_1630-109_0_3_node_26 | 0.4 | n |  | TRUE
55 | bus_LV_1630-109_0_3_node_27 | 0.4 | n |  | TRUE
56 | bus_LV_1630-109_0_3_node_47 | 0.4 | n |  | TRUE
57 | bus_LV_1630-109_0_3_node_63 | 0.4 | n |  | TRUE
58 | bus_LV_1630-109_0_3_node_42 | 0.4 | n |  | TRUE
59 | bus_LV_1630-109_0_3_node_28 | 0.4 | n |  | TRUE
60 | bus_LV_1630-109_0_3_node_51 | 0.4 | n |  | TRUE
61 | bus_MV_54_0_node_73 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1630-109_0_3_load_0 | 0 | 0.015759 | 0.0039496 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1630-109_0_3_load_1 | 1 | 0.0080428 | 0.0020157 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1630-109_0_3_load_3 | 3 | 0.012165 | 0.0030489 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1630-109_0_3_load_64 | 6 | 0.0094891 | 0.0023782 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1630-109_0_3_load_52 | 10 | 0.0057212 | 0.0014339 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1630-109_0_3_load_43 | 11 | 0.0042623 | 0.0010682 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1630-109_0_3_load_31 | 12 | 0.003298 | 0.00082656 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1630-109_0_3_load_21 | 14 | 0.011975 | 0.0030012 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1630-109_0_3_load_44 | 16 | 0.002544 | 0.00063759 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1630-109_0_3_load_7 | 17 | 0.0076096 | 0.0019071 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1630-109_0_3_load_8 | 18 | 0.011797 | 0.0029565 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1630-109_0_3_load_18 | 20 | 0.0050779 | 0.0012726 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1630-109_0_3_load_19 | 21 | 0.0034401 | 0.00086217 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1630-109_0_3_load_10 | 22 | 0.0067168 | 0.0016834 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1630-109_0_3_load_16 | 28 | 0.040352 | 0.010113 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1630-109_0_3_load_60 | 30 | 0.008725 | 0.0021867 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1630-109_0_3_load_58 | 32 | 0.013992 | 0.0035067 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1630-109_0_3_load_41 | 33 | 0.0060897 | 0.0015262 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1630-109_0_3_load_61 | 34 | 0.0074969 | 0.0018789 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1630-109_0_3_load_56 | 36 | 0.010187 | 0.002553 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1630-109_0_3_load_29 | 39 | 0.0079192 | 0.0019847 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1630-109_0_3_load_49 | 41 | 0.026336 | 0.0066004 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1630-109_0_3_load_46 | 42 | 0.0088676 | 0.0022224 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1630-109_0_3_load_40 | 43 | 0.0096953 | 0.0024299 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1630-109_0_3_load_62 | 44 | 0.0054071 | 0.0013552 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1630-109_0_3_load_57 | 45 | 0.0097352 | 0.0024399 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1630-109_0_3_load_53 | 48 | 0.002246 | 0.00056291 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1630-109_0_3_load_45 | 49 | 0.002268 | 0.00056841 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1630-109_0_3_load_22 | 50 | 0.0068762 | 0.0017233 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1630-109_0_3_load_23 | 51 | 0.006302 | 0.0015794 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1630-109_0_3_load_25 | 53 | 0.012183 | 0.0030534 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1630-109_0_3_load_26 | 54 | 0.018292 | 0.0045845 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1630-109_0_3_load_47 | 56 | 0.004438 | 0.0011123 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1630-109_0_3_load_63 | 57 | 0.0085706 | 0.002148 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1630-109_0_3_load_42 | 58 | 0.0059954 | 0.0015026 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1630-109_0_3_load_28 | 59 | 0.026417 | 0.0066208 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1630-109_0_3_load_51 | 60 | 0.0059312 | 0.0014865 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 43 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1630-109_0_3_line_0 |  | 0 | 1 | 0.011449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1630-109_0_3_line_1 |  | 0 | 2 | 0.018241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1630-109_0_3_line_2 |  | 2 | 3 | 0.0095247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1630-109_0_3_line_3 |  | 2 | 4 | 0.041229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1630-109_0_3_line_4 |  | 4 | 9 | 0.006991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1630-109_0_3_line_5 |  | 4 | 10 | 0.0076095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1630-109_0_3_line_6 |  | 5 | 6 | 0.019244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1630-109_0_3_line_7 |  | 5 | 7 | 0.049023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1630-109_0_3_line_8 |  | 5 | 8 | 0.018232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1630-109_0_3_line_9 |  | 7 | 11 | 0.010751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1630-109_0_3_line_10 |  | 8 | 12 | 0.0023919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1630-109_0_3_line_11 |  | 9 | 13 | 0.008174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_1630-109_0_3_line_12 |  | 9 | 14 | 0.013813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1630-109_0_3_line_13 |  | 10 | 15 | 0.0094564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1630-109_0_3_line_14 |  | 11 | 16 | 0.0091326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1630-109_0_3_line_15 |  | 13 | 58 | 0.0054676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_1630-109_0_3_line_16 |  | 13 | 55 | 0.014413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1630-109_0_3_line_17 |  | 14 | 19 | 0.010331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1630-109_0_3_line_18 |  | 15 | 40 | 0.022236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1630-109_0_3_line_19 |  | 15 | 60 | 0.0009519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1630-109_0_3_line_20 |  | 16 | 49 | 0.008365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1630-109_0_3_line_21 |  | 17 | 18 | 0.012396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1630-109_0_3_line_22 |  | 18 | 19 | 0.010225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1630-109_0_3_line_23 |  | 19 | 20 | 0.0073834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1630-109_0_3_line_24 |  | 20 | 21 | 0.03148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1630-109_0_3_line_25 |  | 21 | 46 | 0.011921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1630-109_0_3_line_26 |  | 22 | 23 | 0.021176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1630-109_0_3_line_27 |  | 22 | 24 | 0.0031242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1630-109_0_3_line_28 |  | 23 | 25 | 0.01161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1630-109_0_3_line_29 |  | 23 | 26 | 0.019035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1630-109_0_3_line_30 |  | 23 | 27 | 0.027937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1630-109_0_3_line_31 |  | 24 | 28 | 0.014606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1630-109_0_3_line_32 |  | 24 | 29 | 0.008229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1630-109_0_3_line_33 |  | 25 | 30 | 0.017801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1630-109_0_3_line_34 |  | 25 | 31 | 0.0201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1630-109_0_3_line_35 |  | 26 | 32 | 0.014768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1630-109_0_3_line_36 |  | 26 | 33 | 0.0159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1630-109_0_3_line_37 |  | 27 | 34 | 0.008249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1630-109_0_3_line_38 |  | 27 | 35 | 0.020028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1630-109_0_3_line_39 |  | 29 | 36 | 0.01202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1630-109_0_3_line_40 |  | 31 | 42 | 0.0071063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1630-109_0_3_line_41 |  | 33 | 43 | 0.0079582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1630-109_0_3_line_42 |  | 35 | 44 | 0.009875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1630-109_0_3_line_43 |  | 36 | 45 | 0.024984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1630-109_0_3_line_44 |  | 37 | 38 | 0.008946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1630-109_0_3_line_45 |  | 37 | 39 | 0.013131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1630-109_0_3_line_46 |  | 38 | 60 | 0.018708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1630-109_0_3_line_47 |  | 39 | 59 | 0.0059492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1630-109_0_3_line_48 |  | 40 | 41 | 0.0087002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1630-109_0_3_line_49 |  | 43 | 58 | 0.011563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
50 | LV_1630-109_0_3_line_50 |  | 46 | 47 | 0.005065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1630-109_0_3_line_51 |  | 46 | 48 | 0.0047814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1630-109_0_3_line_52 |  | 47 | 49 | 0.0060518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1630-109_0_3_line_53 |  | 50 | 51 | 0.011322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1630-109_0_3_line_54 |  | 50 | 52 | 0.00101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1630-109_0_3_line_55 |  | 51 | 53 | 0.0096793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1630-109_0_3_line_56 |  | 52 | 54 | 0.01122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1630-109_0_3_line_57 |  | 52 | 55 | 0.021316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1630-109_0_3_line_58 |  | 53 | 56 | 0.0051708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1630-109_0_3_line_59 |  | 55 | 57 | 0.008263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1630-109_0_3_trafo_40 | 0.63 MVA 20/0.4 kV | 61 | 43 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2722498.9 | 1220584.0718 | 2722496.0438 | 1220583.824 | 2722493.2739 | 1220584.5454 | 2722490.9108 | 1220586.1536 | 2722489.2239 | 1220588.4652
1 | 2722484.3935 | 1220605.9685 | 2722486.3678 | 1220595.5898 | 2722489.2239 | 1220588.4652
2 | 2722484.3935 | 1220605.9685 | 2722493.4912 | 1220608.7883
3 | 2722464.3835 | 1220626.8178 | 2722463.755 | 1220624.9034 | 2722463.3839 | 1220622.6495 | 2722463.3697 | 1220620.3919 | 2722463.6252 | 1220606.4974 | 2722484.3935 | 1220605.9685
4 | 2722457.8283 | 1220629.2961 | 2722464.3835 | 1220626.8178
5 | 2722464.3835 | 1220626.8178 | 2722465.3674 | 1220628.7951 | 2722466.7991 | 1220630.7706 | 2722468.9506 | 1220632.8053
6 | 2722470.4567 | 1220557.7663 | 2722451.384 | 1220554.8164
7 | 2722470.4567 | 1220557.7663 | 2722468.0151 | 1220569.0917 | 2722465.6955 | 1220579.2853 | 2722464.759 | 1220584.2255 | 2722464.1742 | 1220589.0394 | 2722459.1924 | 1220588.4477 | 2722447.5813 | 1220585.0841
8 | 2722470.4567 | 1220557.7663 | 2722488.6026 | 1220560.019
9 | 2722447.5813 | 1220585.0841 | 2722437.5051 | 1220581.3359
10 | 2722488.6026 | 1220560.019 | 2722490.9718 | 1220560.3481
11 | 2722450.1639 | 1220632.1963 | 2722457.8283 | 1220629.2961
12 | 2722457.8283 | 1220629.2961 | 2722447.2103 | 1220621.1937 | 2722446.8487 | 1220620.9153
13 | 2722477.0783 | 1220637.6317 | 2722472.9888 | 1220635.357 | 2722468.9506 | 1220632.8053
14 | 2722437.5051 | 1220581.3359 | 2722432.0128 | 1220579.2929 | 2722428.8635 | 1220578.4032
15 | 2722450.1639 | 1220632.1963 | 2722448.0749 | 1220637.2491
16 | 2722450.1639 | 1220632.1963 | 2722445.2841 | 1220634.0308 | 2722436.4193 | 1220636.6284
17 | 2722438.6633 | 1220614.6128 | 2722446.8487 | 1220620.9153
18 | 2722477.0783 | 1220637.6317 | 2722474.7719 | 1220642.755 | 2722473.7003 | 1220646.5137 | 2722473.4551 | 1220649.5777 | 2722473.0466 | 1220656.1522 | 2722472.8702 | 1220659.1954
19 | 2722477.9547 | 1220638.0031 | 2722477.0783 | 1220637.6317
20 | 2722420.8135 | 1220576.129 | 2722428.8635 | 1220578.4032
21 | 2722416.6706 | 1220609.5627 | 2722421.6357 | 1220610.0259 | 2722428.7904 | 1220611.9532
22 | 2722438.6633 | 1220614.6128 | 2722428.7904 | 1220611.9532
23 | 2722438.6633 | 1220614.6128 | 2722433.6473 | 1220609.1949
24 | 2722416.269 | 1220583.2077 | 2722417.4384 | 1220586.4211 | 2722420.0289 | 1220591.1003 | 2722423.3066 | 1220596.3162 | 2722428.41 | 1220603.5378 | 2722433.6473 | 1220609.1949
25 | 2722410.0835 | 1220573.1707 | 2722414.8452 | 1220579.2956 | 2722416.269 | 1220583.2077
26 | 2722428.1015 | 1220687.8976 | 2722423.6278 | 1220700.9825 | 2722422.2886 | 1220705.9478 | 2722421.886 | 1220708.1157
27 | 2722421.3156 | 1220711.1875 | 2722421.886 | 1220708.1157
28 | 2722428.1015 | 1220687.8976 | 2722439.1766 | 1220691.4836
29 | 2722428.1015 | 1220687.8976 | 2722434.5416 | 1220669.9826
30 | 2722428.1015 | 1220687.8976 | 2722401.9817 | 1220677.7862
31 | 2722421.3156 | 1220711.1875 | 2722435.496 | 1220714.6864
32 | 2722419.8588 | 1220719.2861 | 2722421.3156 | 1220711.1875
33 | 2722439.1766 | 1220691.4836 | 2722444.8138 | 1220674.5973
34 | 2722439.1766 | 1220691.4836 | 2722449.2305 | 1220695.271 | 2722456.4806 | 1220698.8562 | 2722457.5597 | 1220699.5234
35 | 2722434.5416 | 1220669.9826 | 2722420.4504 | 1220665.4338
36 | 2722434.5416 | 1220669.9826 | 2722440.6164 | 1220655.2893
37 | 2722401.9817 | 1220677.7862 | 2722399.0831 | 1220685.5104
38 | 2722383.3648 | 1220670.409 | 2722386.9603 | 1220671.9729 | 2722401.9817 | 1220677.7862
39 | 2722419.8588 | 1220719.2861 | 2722407.9623 | 1220717.5677
40 | 2722457.5597 | 1220699.5234 | 2722461.9814 | 1220702.2497 | 2722463.7164 | 1220703.0524
41 | 2722443.657 | 1220647.9348 | 2722440.6164 | 1220655.2893
42 | 2722383.3648 | 1220670.409 | 2722378.3927 | 1220678.9468
43 | 2722383.235 | 1220713.996 | 2722407.9623 | 1220717.5677
44 | 2722502.7085 | 1220641.662 | 2722494.8335 | 1220645.9478
45 | 2722502.7085 | 1220641.662 | 2722500.3624 | 1220635.8091 | 2722500.5291 | 1220628.9854
46 | 2722494.8335 | 1220645.9478 | 2722492.8071 | 1220644.4716 | 2722487.4763 | 1220642.0379 | 2722477.9547 | 1220638.0031
47 | 2722500.5291 | 1220628.9854 | 2722500.6744 | 1220623.038
48 | 2722472.8702 | 1220659.1954 | 2722476.8189 | 1220659.4546 | 2722480.6478 | 1220656.6556
49 | 2722443.657 | 1220647.9348 | 2722448.0749 | 1220637.2491
50 | 2722410.0835 | 1220573.1707 | 2722414.9897 | 1220574.4837
51 | 2722410.0835 | 1220573.1707 | 2722405.4544 | 1220571.9732
52 | 2722414.9897 | 1220574.4837 | 2722420.8135 | 1220576.129
53 | 2722403.2939 | 1220641.1012 | 2722409.3423 | 1220640.5749 | 2722414.5895 | 1220640.7668
54 | 2722415.5989 | 1220640.8037 | 2722414.5895 | 1220640.7668
55 | 2722403.2939 | 1220641.1012 | 2722393.6511 | 1220641.9402
56 | 2722415.5989 | 1220640.8037 | 2722413.9514 | 1220651.9008
57 | 2722415.5989 | 1220640.8037 | 2722418.9205 | 1220640.9276 | 2722425.2715 | 1220639.8907 | 2722436.4193 | 1220636.6284
58 | 2722393.6511 | 1220641.9402 | 2722388.4997 | 1220642.3884
59 | 2722436.4193 | 1220636.6284 | 2722433.0247 | 1220634.1455 | 2722428.9917 | 1220633.5511

## bus_geodata
| x | y | coords
0 | 2722489.2239 | 1220588.4652
1 | 2722498.9 | 1220584.0718
2 | 2722484.3935 | 1220605.9685
3 | 2722493.4912 | 1220608.7883
4 | 2722464.3835 | 1220626.8178
5 | 2722470.4567 | 1220557.7663
6 | 2722451.384 | 1220554.8164
7 | 2722447.5813 | 1220585.0841
8 | 2722488.6026 | 1220560.019
9 | 2722457.8283 | 1220629.2961
10 | 2722468.9506 | 1220632.8053
11 | 2722437.5051 | 1220581.3359
12 | 2722490.9718 | 1220560.3481
13 | 2722450.1639 | 1220632.1963
14 | 2722446.8487 | 1220620.9153
15 | 2722477.0783 | 1220637.6317
16 | 2722428.8635 | 1220578.4032
17 | 2722416.6706 | 1220609.5627
18 | 2722428.7904 | 1220611.9532
19 | 2722438.6633 | 1220614.6128
20 | 2722433.6473 | 1220609.1949
21 | 2722416.269 | 1220583.2077
22 | 2722421.886 | 1220708.1157
23 | 2722428.1015 | 1220687.8976
24 | 2722421.3156 | 1220711.1875
25 | 2722439.1766 | 1220691.4836
26 | 2722434.5416 | 1220669.9826
27 | 2722401.9817 | 1220677.7862
28 | 2722435.496 | 1220714.6864
29 | 2722419.8588 | 1220719.2861
30 | 2722444.8138 | 1220674.5973
31 | 2722457.5597 | 1220699.5234
32 | 2722420.4504 | 1220665.4338
33 | 2722440.6164 | 1220655.2893
34 | 2722399.0831 | 1220685.5104
35 | 2722383.3647 | 1220670.409
36 | 2722407.9623 | 1220717.5677
37 | 2722502.7085 | 1220641.662
38 | 2722494.8335 | 1220645.9478
39 | 2722500.5291 | 1220628.9854
40 | 2722472.8702 | 1220659.1954
41 | 2722480.6478 | 1220656.6556
42 | 2722463.7164 | 1220703.0524
43 | 2722443.657 | 1220647.9348
44 | 2722378.3927 | 1220678.9468
45 | 2722383.235 | 1220713.996
46 | 2722410.0835 | 1220573.1707
47 | 2722414.9897 | 1220574.4837
48 | 2722405.4544 | 1220571.9732
49 | 2722420.8135 | 1220576.129
50 | 2722414.5895 | 1220640.7668
51 | 2722403.2939 | 1220641.1012
52 | 2722415.5989 | 1220640.8037
53 | 2722393.6511 | 1220641.9402
54 | 2722413.9514 | 1220651.9008
55 | 2722436.4193 | 1220636.6284
56 | 2722388.4997 | 1220642.3884
57 | 2722428.9917 | 1220633.5511
58 | 2722448.0749 | 1220637.2491
59 | 2722500.6744 | 1220623.038
60 | 2722477.9547 | 1220638.0031
61 | 2722450.1639 | 1220632.1963

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99511 | -0.093932 | 0.015759 | 0.0039496
1 | 0.99503 | -0.095553 | 0.0080428 | 0.0020157
2 | 0.99551 | -0.086293 | 0 | 0
3 | 0.9954 | -0.088331 | 0.012165 | 0.0030489
4 | 0.99686 | -0.060248 | 0 | 0
5 | 0.99377 | -0.11985 | 0 | 0
6 | 0.99361 | -0.12307 | 0.0094891 | 0.0023782
7 | 0.99434 | -0.10879 | 0 | 0
8 | 0.99372 | -0.12091 | 0 | 0
9 | 0.99755 | -0.046978 | 0 | 0
10 | 0.99636 | -0.069906 | 0.0057212 | 0.0014339
11 | 0.99447 | -0.10637 | 0.0042623 | 0.0010682
12 | 0.99371 | -0.12105 | 0.003298 | 0.00082656
13 | 0.99819 | -0.034651 | 0 | 0
14 | 0.99675 | -0.062477 | 0.011975 | 0.0030012
15 | 0.99578 | -0.080971 | 0 | 0
16 | 0.99461 | -0.10362 | 0.002544 | 0.00063759
17 | 0.99599 | -0.077056 | 0.0076096 | 0.0019071
18 | 0.99607 | -0.075398 | 0.011797 | 0.0029565
19 | 0.99626 | -0.071913 | 0 | 0
20 | 0.99604 | -0.076145 | 0.0050779 | 0.0012726
21 | 0.99525 | -0.091395 | 0.0034401 | 0.00086217
22 | 0.99454 | -0.10485 | 0.0067168 | 0.0016834
23 | 0.99584 | -0.079882 | 0 | 0
24 | 0.99437 | -0.10817 | 0 | 0
25 | 0.99565 | -0.083473 | 0 | 0
26 | 0.99753 | -0.047321 | 0 | 0
27 | 0.99551 | -0.086221 | 0 | 0
28 | 0.99384 | -0.11856 | 0.040352 | 0.010113
29 | 0.99422 | -0.11106 | 0 | 0
30 | 0.99551 | -0.086204 | 0.008725 | 0.0021867
31 | 0.99549 | -0.086607 | 0 | 0
32 | 0.99734 | -0.050941 | 0.013992 | 0.0035067
33 | 0.99915 | -0.016323 | 0.0060897 | 0.0015262
34 | 0.99545 | -0.087308 | 0.0074969 | 0.0018789
35 | 0.99541 | -0.088126 | 0 | 0
36 | 0.99401 | -0.11528 | 0.010187 | 0.002553
37 | 0.99488 | -0.098352 | 0 | 0
38 | 0.99516 | -0.092944 | 0 | 0
39 | 0.99447 | -0.10629 | 0.0079192 | 0.0019847
40 | 0.99525 | -0.09127 | 0 | 0
41 | 0.99504 | -0.095303 | 0.026336 | 0.0066004
42 | 0.99543 | -0.087716 | 0.0088676 | 0.0022224
43 | 1 | 0 | -0.35568 | -0.089303
44 | 0.99536 | -0.089065 | 0.0054071 | 0.0013552
45 | 0.99378 | -0.11957 | 0.0097352 | 0.0024399
46 | 0.99498 | -0.096455 | 0 | 0
47 | 0.99488 | -0.098405 | 0 | 0
48 | 0.99497 | -0.096644 | 0.002246 | 0.00056291
49 | 0.99476 | -0.10074 | 0.002268 | 0.00056841
50 | 0.99649 | -0.067452 | 0.0068762 | 0.0017233
51 | 0.99625 | -0.072009 | 0.006302 | 0.0015794
52 | 0.99652 | -0.066924 | 0 | 0
53 | 0.99611 | -0.074835 | 0.012183 | 0.0030534
54 | 0.99633 | -0.070527 | 0.018292 | 0.0045845
55 | 0.99745 | -0.048948 | 0 | 0
56 | 0.99609 | -0.075238 | 0.004438 | 0.0011123
57 | 0.99738 | -0.050189 | 0.0085706 | 0.002148
58 | 0.99876 | -0.023707 | 0.0059954 | 0.0015026
59 | 0.99433 | -0.10906 | 0.026417 | 0.0066208
60 | 0.99575 | -0.081645 | 0.0059312 | 0.0014865
61 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0080434 | 0.002016 | -0.0080428 | -0.0020157 | 6.211e-07 | 2.4878e-07 | 0.012028 | 0.012028 | 0.012028 | 0.99511 | -0.093932 | 0.99503 | -0.095553 | 3.3043
1 | -0.023802 | -0.0059655 | 0.023811 | 0.0059708 | 8.6652e-06 | 5.3087e-06 | 0.035592 | 0.035592 | 0.035592 | 0.99511 | -0.093932 | 0.99551 | -0.086293 | 9.7781
2 | 0.012167 | 0.0030496 | -0.012165 | -0.0030489 | 1.1813e-06 | 6.3219e-07 | 0.018186 | 0.018186 | 0.018186 | 0.99551 | -0.086293 | 0.9954 | -0.088331 | 4.9961
3 | -0.035978 | -0.0090204 | 0.036022 | 0.0090485 | 4.4713e-05 | 2.808e-05 | 0.053778 | 0.053778 | 0.053778 | 0.99551 | -0.086293 | 0.99686 | -0.060248 | 14.7742
4 | -0.10848 | -0.027258 | 0.10855 | 0.027302 | 6.8761e-05 | 4.3916e-05 | 0.16195 | 0.16195 | 0.16195 | 0.99686 | -0.060248 | 0.99755 | -0.046978 | 44.4922
5 | 0.072457 | 0.018209 | -0.072423 | -0.018188 | 3.3391e-05 | 2.1271e-05 | 0.10817 | 0.10817 | 0.10817 | 0.99686 | -0.060248 | 0.99636 | -0.069906 | 29.7181
6 | 0.0094906 | 0.0023789 | -0.0094891 | -0.0023782 | 1.4574e-06 | 6.8342e-07 | 0.014211 | 0.014211 | 0.014211 | 0.99377 | -0.11985 | 0.99361 | -0.12307 | 3.9041
7 | -0.012789 | -0.0032053 | 0.012796 | 0.003209 | 6.741e-06 | 3.6787e-06 | 0.019149 | 0.019149 | 0.019149 | 0.99377 | -0.11985 | 0.99434 | -0.10879 | 5.2608
8 | 0.0032982 | 0.00082641 | -0.003298 | -0.00082654 | 1.6675e-07 | -1.2949e-07 | 0.0049384 | 0.0049385 | 0.0049385 | 0.99377 | -0.11985 | 0.99372 | -0.12091 | 1.3567
9 | -0.012796 | -0.003209 | 0.012797 | 0.0032098 | 1.4783e-06 | 8.0664e-07 | 0.019149 | 0.019149 | 0.019149 | 0.99434 | -0.10879 | 0.99447 | -0.10637 | 5.2607
10 | 0.003298 | 0.00082654 | -0.003298 | -0.00082656 | 2.1876e-08 | -1.6986e-08 | 0.0049385 | 0.0049385 | 0.0049385 | 0.99372 | -0.12091 | 0.99371 | -0.12105 | 1.3567
11 | -0.17268 | -0.043421 | 0.17278 | 0.043486 | 0.00010173 | 6.4892e-05 | 0.25763 | 0.25763 | 0.25763 | 0.99755 | -0.046978 | 0.99819 | -0.034651 | 35.3892
12 | 0.064133 | 0.01612 | -0.064086 | -0.016089 | 4.742e-05 | 3.0169e-05 | 0.095682 | 0.095682 | 0.095682 | 0.99755 | -0.046978 | 0.99675 | -0.062477 | 26.2862
13 | 0.066702 | 0.016754 | -0.066667 | -0.016732 | 3.5199e-05 | 2.2404e-05 | 0.099629 | 0.09963 | 0.09963 | 0.99636 | -0.069906 | 0.99578 | -0.080971 | 27.3707
14 | -0.017059 | -0.004278 | 0.017062 | 0.0042793 | 2.2316e-06 | 1.3097e-06 | 0.025527 | 0.025527 | 0.025527 | 0.99447 | -0.10637 | 0.99461 | -0.10362 | 7.0128
15 | -0.22954 | -0.057745 | 0.22966 | 0.057821 | 0.00012008 | 7.671e-05 | 0.34225 | 0.34225 | 0.34225 | 0.99819 | -0.034651 | 0.99876 | -0.023707 | 47.0122
16 | 0.056754 | 0.014259 | -0.056715 | -0.014234 | 3.8698e-05 | 2.4579e-05 | 0.084616 | 0.084616 | 0.084616 | 0.99819 | -0.034651 | 0.99745 | -0.048948 | 23.2462
17 | 0.052111 | 0.013088 | -0.052087 | -0.013073 | 2.3452e-05 | 1.4874e-05 | 0.077805 | 0.077805 | 0.077805 | 0.99675 | -0.062477 | 0.99626 | -0.071913 | 21.375
18 | 0.026354 | 0.0066115 | -0.026341 | -0.0066035 | 1.2933e-05 | 7.9883e-06 | 0.039383 | 0.039383 | 0.039383 | 0.99578 | -0.080971 | 0.99525 | -0.09127 | 10.8196
19 | 0.040313 | 0.01012 | -0.040312 | -0.01012 | 1.2956e-06 | 8.1683e-07 | 0.060246 | 0.060246 | 0.060246 | 0.99578 | -0.080971 | 0.99575 | -0.081645 | 16.5512
20 | -0.019606 | -0.0049169 | 0.019608 | 0.0049185 | 2.699e-06 | 1.6188e-06 | 0.029333 | 0.029333 | 0.029333 | 0.99461 | -0.10362 | 0.99476 | -0.10074 | 8.0584
21 | -0.0076096 | -0.0019071 | 0.0076102 | 0.0019074 | 6.0084e-07 | 2.2319e-07 | 0.011369 | 0.011369 | 0.011369 | 0.99599 | -0.077056 | 0.99607 | -0.075398 | 3.1233
22 | -0.019407 | -0.0048639 | 0.01941 | 0.0048658 | 3.2228e-06 | 1.9295e-06 | 0.028992 | 0.028992 | 0.028992 | 0.99607 | -0.075398 | 0.99626 | -0.071913 | 7.9647
23 | 0.032677 | 0.0082074 | -0.032671 | -0.0082033 | 6.5972e-06 | 4.1261e-06 | 0.048813 | 0.048813 | 0.048813 | 0.99626 | -0.071913 | 0.99604 | -0.076145 | 13.4102
24 | 0.027593 | 0.0069307 | -0.027573 | -0.0069183 | 2.0065e-05 | 1.2432e-05 | 0.041227 | 0.041227 | 0.041227 | 0.99604 | -0.076145 | 0.99525 | -0.091395 | 11.3262
25 | 0.024133 | 0.0060561 | -0.024127 | -0.0060525 | 5.8208e-06 | 3.5704e-06 | 0.036084 | 0.036084 | 0.036084 | 0.99525 | -0.091395 | 0.99498 | -0.096455 | 9.9132
26 | -0.067028 | -0.016813 | 0.067108 | 0.016864 | 7.9875e-05 | 5.0845e-05 | 0.10029 | 0.10029 | 0.10029 | 0.99454 | -0.10485 | 0.99584 | -0.079882 | 27.5526
27 | 0.060312 | 0.01513 | -0.060302 | -0.015124 | 9.541e-06 | 6.0657e-06 | 0.090242 | 0.090242 | 0.090242 | 0.99454 | -0.10485 | 0.99437 | -0.10817 | 24.7917
28 | 0.017599 | 0.0044122 | -0.017596 | -0.0044104 | 3.0107e-06 | 1.7759e-06 | 0.026297 | 0.026297 | 0.026297 | 0.99584 | -0.079882 | 0.99565 | -0.083473 | 7.2244
29 | -0.097616 | -0.024512 | 0.097768 | 0.024609 | 0.0001519 | 9.6969e-05 | 0.14588 | 0.14588 | 0.14588 | 0.99584 | -0.079882 | 0.99753 | -0.047321 | 40.0763
30 | 0.012909 | 0.0032364 | -0.012905 | -0.0032343 | 3.8981e-06 | 2.1314e-06 | 0.019289 | 0.01929 | 0.01929 | 0.99584 | -0.079882 | 0.99551 | -0.086221 | 5.2993
31 | 0.040372 | 0.010126 | -0.040352 | -0.010113 | 1.9992e-05 | 1.2606e-05 | 0.060416 | 0.060416 | 0.060416 | 0.99437 | -0.10817 | 0.99384 | -0.11856 | 16.5978
32 | 0.019931 | 0.0049979 | -0.019928 | -0.0049962 | 2.7451e-06 | 1.6502e-06 | 0.029826 | 0.029826 | 0.029826 | 0.99437 | -0.10817 | 0.99422 | -0.11106 | 8.1939
33 | 0.0087261 | 0.0021872 | -0.008725 | -0.0021867 | 1.1353e-06 | 4.9514e-07 | 0.013041 | 0.013041 | 0.013041 | 0.99565 | -0.083473 | 0.99551 | -0.086204 | 3.5828
34 | 0.0088694 | 0.0022232 | -0.0088681 | -0.0022226 | 1.3245e-06 | 5.8628e-07 | 0.013256 | 0.013256 | 0.013256 | 0.99565 | -0.083473 | 0.99549 | -0.086607 | 3.6417
35 | 0.013994 | 0.003508 | -0.013992 | -0.0035067 | 2.4134e-06 | 1.3518e-06 | 0.020875 | 0.020875 | 0.020875 | 0.99753 | -0.047321 | 0.99734 | -0.050941 | 5.735
36 | -0.11176 | -0.028117 | 0.11193 | 0.028223 | 0.00016579 | 0.0001059 | 0.16675 | 0.16675 | 0.16675 | 0.99753 | -0.047321 | 0.99915 | -0.016323 | 45.8113
37 | 0.0074973 | 0.001879 | -0.0074969 | -0.0018789 | 3.8848e-07 | 1.4138e-07 | 0.011206 | 0.011206 | 0.011206 | 0.99551 | -0.086221 | 0.99545 | -0.087308 | 3.0787
38 | 0.0054079 | 0.0013552 | -0.0054074 | -0.0013552 | 4.9073e-07 | 5.3694e-08 | 0.0080832 | 0.0080833 | 0.0080833 | 0.99551 | -0.086221 | 0.99541 | -0.088126 | 2.2207
39 | 0.019928 | 0.0049962 | -0.019924 | -0.0049938 | 4.0098e-06 | 2.4104e-06 | 0.029826 | 0.029826 | 0.029826 | 0.99422 | -0.11106 | 0.99401 | -0.11528 | 8.1939
40 | 0.0088681 | 0.0022226 | -0.0088676 | -0.0022224 | 4.6825e-07 | 2.073e-07 | 0.013256 | 0.013256 | 0.013256 | 0.99549 | -0.086607 | 0.99543 | -0.087716 | 3.6417
41 | -0.11802 | -0.02975 | 0.11811 | 0.029808 | 9.2256e-05 | 5.8939e-05 | 0.17582 | 0.17582 | 0.17582 | 0.99915 | -0.016323 | 1 | 0 | 48.3028
42 | 0.0054074 | 0.0013552 | -0.0054071 | -0.0013552 | 2.4196e-07 | 2.6496e-08 | 0.0080833 | 0.0080834 | 0.0080834 | 0.99541 | -0.088126 | 0.99536 | -0.089065 | 2.2207
43 | 0.0097371 | 0.0024408 | -0.0097352 | -0.0024399 | 1.9907e-06 | 9.5027e-07 | 0.014577 | 0.014577 | 0.014577 | 0.99401 | -0.11528 | 0.99378 | -0.11957 | 4.0046
44 | -0.034353 | -0.0086159 | 0.034362 | 0.0086214 | 8.8572e-06 | 5.5524e-06 | 0.051383 | 0.051383 | 0.051383 | 0.99488 | -0.098352 | 0.99516 | -0.092944 | 14.1162
45 | 0.034353 | 0.0086159 | -0.03434 | -0.0086077 | 1.3001e-05 | 8.1502e-06 | 0.051383 | 0.051383 | 0.051383 | 0.99488 | -0.098352 | 0.99447 | -0.10629 | 14.1162
46 | -0.034362 | -0.0086214 | 0.03438 | 0.008633 | 1.8523e-05 | 1.1611e-05 | 0.051383 | 0.051383 | 0.051383 | 0.99516 | -0.092944 | 0.99575 | -0.081645 | 14.1162
47 | 0.026421 | 0.006623 | -0.026417 | -0.0066208 | 3.4867e-06 | 2.1543e-06 | 0.039534 | 0.039534 | 0.039534 | 0.99447 | -0.10629 | 0.99433 | -0.10906 | 10.8609
48 | 0.026341 | 0.0066035 | -0.026336 | -0.0066004 | 5.0604e-06 | 3.1256e-06 | 0.039383 | 0.039383 | 0.039383 | 0.99525 | -0.09127 | 0.99504 | -0.095303 | 10.8196
49 | 0.23592 | 0.059495 | -0.23565 | -0.059324 | 0.00026738 | 0.00017082 | 0.35118 | 0.35118 | 0.35118 | 1 | 0 | 0.99876 | -0.023707 | 48.2392
50 | 0.021881 | 0.0054897 | -0.021879 | -0.0054884 | 2.0341e-06 | 1.236e-06 | 0.032725 | 0.032725 | 0.032725 | 0.99498 | -0.096455 | 0.99488 | -0.098405 | 8.9904
51 | 0.002246 | 0.00056286 | -0.002246 | -0.00056291 | 2.023e-08 | -4.9153e-08 | 0.003359 | 0.003359 | 0.003359 | 0.99498 | -0.096455 | 0.99497 | -0.096644 | 0.9228
52 | 0.021879 | 0.0054884 | -0.021876 | -0.0054869 | 2.4304e-06 | 1.4769e-06 | 0.032725 | 0.032725 | 0.032725 | 0.99488 | -0.098405 | 0.99476 | -0.10074 | 8.9904
53 | 0.022931 | 0.0057494 | -0.022926 | -0.0057464 | 4.9782e-06 | 3.0386e-06 | 0.034242 | 0.034242 | 0.034242 | 0.99649 | -0.067452 | 0.99625 | -0.072009 | 9.4072
54 | -0.029807 | -0.0074728 | 0.029807 | 0.0074732 | 7.5038e-07 | 4.6708e-07 | 0.04451 | 0.04451 | 0.04451 | 0.99649 | -0.067452 | 0.99652 | -0.066924 | 12.228
55 | 0.016624 | 0.004167 | -0.016621 | -0.0041657 | 2.2377e-06 | 1.3061e-06 | 0.024829 | 0.024829 | 0.024829 | 0.99625 | -0.072009 | 0.99611 | -0.074835 | 6.8213
56 | 0.018295 | 0.0045864 | -0.018292 | -0.0045845 | 3.1403e-06 | 1.8636e-06 | 0.02732 | 0.02732 | 0.02732 | 0.99652 | -0.066924 | 0.99633 | -0.070527 | 7.5054
57 | -0.048103 | -0.01206 | 0.048144 | 0.012086 | 4.1242e-05 | 2.6117e-05 | 0.07183 | 0.071829 | 0.07183 | 0.99652 | -0.066924 | 0.99745 | -0.048948 | 19.7334
58 | 0.0044381 | 0.0011123 | -0.004438 | -0.0011123 | 8.5229e-08 | -1.2762e-08 | 0.0066298 | 0.0066298 | 0.0066298 | 0.99611 | -0.074835 | 0.99609 | -0.075238 | 1.8214
59 | 0.0085711 | 0.0021482 | -0.0085706 | -0.002148 | 5.0662e-07 | 2.1639e-07 | 0.012787 | 0.012787 | 0.012787 | 0.99745 | -0.048948 | 0.99738 | -0.050189 | 3.5128

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.36537 | 0.091733

## res_load
| p_mw | q_mvar
0 | 0.015759 | 0.0039496
1 | 0.0080428 | 0.0020157
2 | 0.012165 | 0.0030489
3 | 0.0094891 | 0.0023782
4 | 0.0057212 | 0.0014339
5 | 0.0042623 | 0.0010682
6 | 0.003298 | 0.00082656
7 | 0.011975 | 0.0030012
8 | 0.002544 | 0.00063759
9 | 0.0076096 | 0.0019071
10 | 0.011797 | 0.0029565
11 | 0.0050779 | 0.0012726
12 | 0.0034401 | 0.00086217
13 | 0.0067168 | 0.0016834
14 | 0.040352 | 0.010113
15 | 0.008725 | 0.0021867
16 | 0.013992 | 0.0035067
17 | 0.0060897 | 0.0015262
18 | 0.0074969 | 0.0018789
19 | 0.010187 | 0.002553
20 | 0.0079192 | 0.0019847
21 | 0.026336 | 0.0066004
22 | 0.0088676 | 0.0022224
23 | 0.0096953 | 0.0024299
24 | 0.0054071 | 0.0013552
25 | 0.0097352 | 0.0024399
26 | 0.002246 | 0.00056291
27 | 0.002268 | 0.00056841
28 | 0.0068762 | 0.0017233
29 | 0.006302 | 0.0015794
30 | 0.012183 | 0.0030534
31 | 0.018292 | 0.0045845
32 | 0.004438 | 0.0011123
33 | 0.0085706 | 0.002148
34 | 0.0059954 | 0.0015026
35 | 0.026417 | 0.0066208
36 | 0.0059312 | 0.0014865

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1