## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1630-113_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1630-113_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1630-113_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1630-113_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1630-113_0_5_node_26 | 0.4 | n |  | TRUE
5 | bus_LV_1630-113_0_5_node_23 | 0.4 | n |  | TRUE
6 | bus_LV_1630-113_0_5_node_34 | 0.4 | n |  | TRUE
7 | bus_LV_1630-113_0_5_node_24 | 0.4 | n |  | TRUE
8 | bus_LV_1630-113_0_5_node_4 | 0.4 | n |  | TRUE
9 | bus_LV_1630-113_0_5_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_1630-113_0_5_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_1630-113_0_5_node_38 | 0.4 | n |  | TRUE
12 | bus_LV_1630-113_0_5_node_25 | 0.4 | n |  | TRUE
13 | bus_LV_1630-113_0_5_node_39 | 0.4 | n |  | TRUE
14 | bus_LV_1630-113_0_5_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_1630-113_0_5_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_1630-113_0_5_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_1630-113_0_5_node_49 | 0.4 | n |  | TRUE
18 | bus_LV_1630-113_0_5_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_1630-113_0_5_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_1630-113_0_5_node_51 | 0.4 | n |  | TRUE
21 | bus_LV_1630-113_0_5_node_18 | 0.4 | n |  | TRUE
22 | bus_LV_1630-113_0_5_node_48 | 0.4 | n |  | TRUE
23 | bus_LV_1630-113_0_5_node_13 | 0.4 | n |  | TRUE
24 | bus_LV_1630-113_0_5_node_14 | 0.4 | n |  | TRUE
25 | bus_LV_1630-113_0_5_node_16 | 0.4 | n |  | TRUE
26 | bus_LV_1630-113_0_5_node_17 | 0.4 | n |  | TRUE
27 | bus_LV_1630-113_0_5_node_32 | 0.4 | n |  | TRUE
28 | bus_LV_1630-113_0_5_node_44 | 0.4 | n |  | TRUE
29 | bus_LV_1630-113_0_5_node_20 | 0.4 | n |  | TRUE
30 | bus_LV_1630-113_0_5_node_42 | 0.4 | n |  | TRUE
31 | bus_LV_1630-113_0_5_node_33 | 0.4 | n |  | TRUE
32 | bus_LV_1630-113_0_5_node_50 | 0.4 | n |  | TRUE
33 | bus_LV_1630-113_0_5_node_19 | 0.4 | n |  | TRUE
34 | bus_LV_1630-113_0_5_node_43 | 0.4 | n |  | TRUE
35 | bus_LV_1630-113_0_5_node_21 | 0.4 | n |  | TRUE
36 | bus_LV_1630-113_0_5_node_22 | 0.4 | n |  | TRUE
37 | bus_LV_1630-113_0_5_node_27 | 0.4 | n |  | TRUE
38 | bus_LV_1630-113_0_5_node_28 | 0.4 | n |  | TRUE
39 | bus_LV_1630-113_0_5_node_29 | 0.4 | n |  | TRUE
40 | bus_LV_1630-113_0_5_node_30 | 0.4 | n |  | TRUE
41 | bus_LV_1630-113_0_5_node_31 | 0.4 | n |  | TRUE
42 | bus_LV_1630-113_0_5_node_53 | 0.4 | n |  | TRUE
43 | bus_LV_1630-113_0_5_node_55 | 0.4 | n |  | TRUE
44 | bus_LV_1630-113_0_5_node_45 | 0.4 | n |  | TRUE
45 | bus_LV_1630-113_0_5_node_54 | 0.4 | n |  | TRUE
46 | bus_LV_1630-113_0_5_node_40 | 0.4 | n |  | TRUE
47 | bus_LV_1630-113_0_5_node_41 | 0.4 | n |  | TRUE
48 | bus_LV_1630-113_0_5_node_52 | 0.4 | n |  | TRUE
49 | bus_LV_1630-113_0_5_node_46 | 0.4 | n |  | TRUE
50 | bus_LV_1630-113_0_5_node_56 | 0.4 | n |  | TRUE
51 | bus_LV_1630-113_0_5_node_57 | 0.4 | n |  | TRUE
52 | bus_LV_1630-113_0_5_node_47 | 0.4 | n |  | TRUE
53 | bus_MV_54_0_node_169 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1630-113_0_5_load_0 | 0 | 0.008677 | 0.0021747 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1630-113_0_5_load_3 | 3 | 0.0091299 | 0.0022882 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1630-113_0_5_load_26 | 4 | 0.011609 | 0.0029094 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1630-113_0_5_load_23 | 5 | 0.0084488 | 0.0021175 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1630-113_0_5_load_34 | 6 | 0.010874 | 0.0027252 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1630-113_0_5_load_4 | 8 | 0.0043601 | 0.0010927 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1630-113_0_5_load_38 | 11 | 0.0017877 | 0.00044803 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1630-113_0_5_load_25 | 12 | 0.0072213 | 0.0018098 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1630-113_0_5_load_7 | 14 | 0.022533 | 0.0056472 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1630-113_0_5_load_10 | 16 | 0.022282 | 0.0055843 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1630-113_0_5_load_51 | 20 | 0.085315 | 0.021382 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1630-113_0_5_load_18 | 21 | 0.015584 | 0.0039056 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1630-113_0_5_load_13 | 23 | 0.017441 | 0.0043711 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1630-113_0_5_load_16 | 25 | 0.012764 | 0.0031989 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1630-113_0_5_load_32 | 27 | 0.021596 | 0.0054125 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1630-113_0_5_load_20 | 29 | 0.011536 | 0.0028913 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1630-113_0_5_load_42 | 30 | 0.038612 | 0.0096771 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1630-113_0_5_load_33 | 31 | 0.015563 | 0.0039005 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1630-113_0_5_load_50 | 32 | 0.0084197 | 0.0021102 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1630-113_0_5_load_19 | 33 | 0.010752 | 0.0026946 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1630-113_0_5_load_22 | 36 | 0.0064046 | 0.0016051 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1630-113_0_5_load_27 | 37 | 0.0040872 | 0.0010243 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1630-113_0_5_load_53 | 42 | 0.0043666 | 0.0010944 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1630-113_0_5_load_55 | 43 | 0.01038 | 0.0026015 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1630-113_0_5_load_54 | 45 | 0.050375 | 0.012625 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1630-113_0_5_load_40 | 46 | 0.0028111 | 0.00070452 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1630-113_0_5_load_52 | 48 | 0.0045562 | 0.0011419 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1630-113_0_5_load_56 | 50 | 0.0071854 | 0.0018008 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1630-113_0_5_load_57 | 51 | 0.011596 | 0.0029063 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1630-113_0_5_load_47 | 52 | 0.014172 | 0.0035517 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 24 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1630-113_0_5_line_0 |  | 0 | 1 | 0.013565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1630-113_0_5_line_1 |  | 1 | 2 | 0.003225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1630-113_0_5_line_2 |  | 1 | 3 | 0.013144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1630-113_0_5_line_3 |  | 2 | 4 | 0.013229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1630-113_0_5_line_4 |  | 2 | 5 | 0.031932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1630-113_0_5_line_5 |  | 3 | 6 | 0.0066551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1630-113_0_5_line_6 |  | 5 | 7 | 0.018556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1630-113_0_5_line_7 |  | 7 | 12 | 0.0039096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1630-113_0_5_line_8 |  | 7 | 10 | 0.026493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1630-113_0_5_line_9 |  | 8 | 9 | 0.017769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1630-113_0_5_line_10 |  | 9 | 10 | 0.049544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1630-113_0_5_line_11 |  | 10 | 11 | 0.011519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1630-113_0_5_line_12 |  | 11 | 13 | 0.0033715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1630-113_0_5_line_13 |  | 12 | 28 | 0.016332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1630-113_0_5_line_14 |  | 13 | 46 | 0.013754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1630-113_0_5_line_15 |  | 13 | 47 | 0.026349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1630-113_0_5_line_16 |  | 14 | 15 | 0.026001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1630-113_0_5_line_17 |  | 15 | 16 | 0.0048838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1630-113_0_5_line_18 |  | 16 | 17 | 0.010823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1630-113_0_5_line_19 |  | 17 | 21 | 0.0094015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1630-113_0_5_line_20 |  | 17 | 22 | 0.015827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1630-113_0_5_line_21 |  | 18 | 19 | 0.030753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1630-113_0_5_line_22 |  | 18 | 20 | 0.0020316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1630-113_0_5_line_23 |  | 19 | 21 | 0.0093806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1630-113_0_5_line_24 |  | 19 | 23 | 0.005045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
25 | LV_1630-113_0_5_line_25 |  | 22 | 52 | 0.0071472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1630-113_0_5_line_26 |  | 23 | 24 | 0.010166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
27 | LV_1630-113_0_5_line_27 |  | 24 | 25 | 0.014863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1630-113_0_5_line_28 |  | 24 | 26 | 0.023702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_1630-113_0_5_line_29 |  | 25 | 27 | 0.0055292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1630-113_0_5_line_30 |  | 26 | 28 | 0.033011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1630-113_0_5_line_31 |  | 26 | 29 | 0.01773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1630-113_0_5_line_32 |  | 26 | 30 | 0.014929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1630-113_0_5_line_33 |  | 27 | 31 | 0.010057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1630-113_0_5_line_34 |  | 28 | 32 | 0.013354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1630-113_0_5_line_35 |  | 29 | 33 | 0.022498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1630-113_0_5_line_36 |  | 30 | 34 | 0.027178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1630-113_0_5_line_37 |  | 33 | 35 | 0.0047462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1630-113_0_5_line_38 |  | 34 | 49 | 0.015235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1630-113_0_5_line_39 |  | 34 | 44 | 0.014241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1630-113_0_5_line_40 |  | 35 | 36 | 0.022769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1630-113_0_5_line_41 |  | 37 | 38 | 0.017731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1630-113_0_5_line_42 |  | 37 | 39 | 0.0039919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1630-113_0_5_line_43 |  | 38 | 40 | 0.041452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1630-113_0_5_line_44 |  | 39 | 41 | 0.004764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1630-113_0_5_line_45 |  | 40 | 42 | 0.017317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1630-113_0_5_line_46 |  | 41 | 43 | 0.030543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1630-113_0_5_line_47 |  | 41 | 44 | 0.012972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1630-113_0_5_line_48 |  | 44 | 45 | 0.042392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1630-113_0_5_line_49 |  | 47 | 48 | 0.01329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1630-113_0_5_line_50 |  | 49 | 50 | 0.002953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1630-113_0_5_line_51 |  | 49 | 51 | 0.027421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1630-113_0_5_trafo_14 | 0.63 MVA 20/0.4 kV | 53 | 24 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2722141.8438 | 1220451.2133 | 2722154.1659 | 1220456.8852
1 | 2722141.8438 | 1220451.2133 | 2722142.9985 | 1220448.2013
2 | 2722141.8438 | 1220451.2133 | 2722137.1244 | 1220463.4809
3 | 2722142.9985 | 1220448.2013 | 2722130.61 | 1220443.5615
4 | 2722142.9985 | 1220448.2013 | 2722154.4666 | 1220418.3999
5 | 2722134.7348 | 1220469.6922 | 2722137.1244 | 1220463.4809
6 | 2722163.1163 | 1220402.1 | 2722157.3655 | 1220410.8667 | 2722154.4666 | 1220418.3999
7 | 2722163.1163 | 1220402.1 | 2722166.5304 | 1220404.0049
8 | 2722163.1163 | 1220402.1 | 2722150.499 | 1220395.2248 | 2722140.408 | 1220388.4014
9 | 2722162.6335 | 1220345.0121 | 2722179.1275 | 1220351.6212
10 | 2722140.408 | 1220388.4014 | 2722152.233 | 1220374.7109 | 2722153.2994 | 1220372.3087 | 2722162.6335 | 1220345.0121
11 | 2722140.408 | 1220388.4014 | 2722130.8523 | 1220381.9688
12 | 2722128.0555 | 1220380.0861 | 2722130.8523 | 1220381.9688
13 | 2722180.6697 | 1220412.1679 | 2722177.2685 | 1220409.9964 | 2722166.5304 | 1220404.0049
14 | 2722128.0555 | 1220380.0861 | 2722121.4551 | 1220392.1602
15 | 2722109.821 | 1220361.0307 | 2722116.2141 | 1220367.1999 | 2722128.0555 | 1220380.0861
16 | 2722270.5493 | 1220469.3569 | 2722267.9905 | 1220475.6871 | 2722262.7203 | 1220494.1222
17 | 2722270.5493 | 1220469.3569 | 2722266.4358 | 1220466.7242
18 | 2722257.3198 | 1220460.8898 | 2722266.4358 | 1220466.7242
19 | 2722257.3198 | 1220460.8898 | 2722249.4002 | 1220455.8234
20 | 2722257.3198 | 1220460.8898 | 2722266.0238 | 1220447.6581
21 | 2722241.4982 | 1220450.7683 | 2722234.2562 | 1220462.2954 | 2722221.0226 | 1220473.2435
22 | 2722221.0226 | 1220473.2435 | 2722219.8127 | 1220474.8755
23 | 2722241.4982 | 1220450.7683 | 2722249.4002 | 1220455.8234
24 | 2722241.4982 | 1220450.7683 | 2722237.2496 | 1220448.0478
25 | 2722266.0238 | 1220447.6581 | 2722272.1733 | 1220451.3004
26 | 2722228.6883 | 1220442.5657 | 2722237.2496 | 1220448.0478
27 | 2722228.6883 | 1220442.5657 | 2722236.7016 | 1220430.0477
28 | 2722208.5612 | 1220429.954 | 2722228.6883 | 1220442.5657
29 | 2722236.7016 | 1220430.0477 | 2722237.6744 | 1220428.528 | 2722240.7047 | 1220430.694
30 | 2722208.5612 | 1220429.954 | 2722180.6697 | 1220412.1679
31 | 2722208.5612 | 1220429.954 | 2722202.4908 | 1220436.9127 | 2722198.2033 | 1220444.2469
32 | 2722208.5612 | 1220429.954 | 2722219.9044 | 1220420.2472
33 | 2722248.8868 | 1220436.5422 | 2722240.7047 | 1220430.694
34 | 2722180.6697 | 1220412.1679 | 2722173.4937 | 1220423.4406
35 | 2722198.2033 | 1220444.2469 | 2722186.8494 | 1220463.6693
36 | 2722240.2038 | 1220402.1926 | 2722234.4108 | 1220407.8337 | 2722219.9044 | 1220420.2472
37 | 2722184.4541 | 1220467.7668 | 2722186.8494 | 1220463.6693
38 | 2722225.659 | 1220397.5239 | 2722240.2038 | 1220402.1926
39 | 2722248.846 | 1220390.8611 | 2722244.9415 | 1220396.1963 | 2722240.2038 | 1220402.1926
40 | 2722184.4541 | 1220467.7668 | 2722172.9644 | 1220487.4237
41 | 2722265.7409 | 1220355.3913 | 2722262.0537 | 1220366.035 | 2722259.4728 | 1220371.9644
42 | 2722257.7518 | 1220375.5653 | 2722259.0506 | 1220372.9343 | 2722259.4728 | 1220371.9644
43 | 2722265.7409 | 1220355.3913 | 2722226.0325 | 1220343.1112
44 | 2722255.6376 | 1220379.8364 | 2722257.7518 | 1220375.5653
45 | 2722226.0325 | 1220343.1112 | 2722222.4704 | 1220342.1262 | 2722218.0539 | 1220355.0235
46 | 2722255.6376 | 1220379.8364 | 2722282.7977 | 1220385.932 | 2722283.5284 | 1220383.2449
47 | 2722248.846 | 1220390.8611 | 2722251.2684 | 1220387.4749 | 2722252.4434 | 1220385.6976 | 2722253.9851 | 1220383.0605 | 2722254.8613 | 1220381.4217 | 2722255.6376 | 1220379.8364
48 | 2722248.846 | 1220390.8611 | 2722258.8093 | 1220407.2229 | 2722257.5099 | 1220412.467 | 2722274.2519 | 1220416.2135 | 2722274.4185 | 1220415.4942
49 | 2722109.821 | 1220361.0307 | 2722104.5633 | 1220365.3707 | 2722100.9464 | 1220370.7563
50 | 2722225.659 | 1220397.5239 | 2722226.5818 | 1220394.7184
51 | 2722225.659 | 1220397.5239 | 2722202.1565 | 1220389.9802 | 2722203.0384 | 1220387.3184

## bus_geodata
| x | y | coords
0 | 2722154.1659 | 1220456.8852
1 | 2722141.8437 | 1220451.2133
2 | 2722142.9985 | 1220448.2013
3 | 2722137.1244 | 1220463.4809
4 | 2722130.61 | 1220443.5615
5 | 2722154.4666 | 1220418.3999
6 | 2722134.7348 | 1220469.6922
7 | 2722163.1163 | 1220402.1
8 | 2722179.1275 | 1220351.6212
9 | 2722162.6335 | 1220345.0121
10 | 2722140.408 | 1220388.4014
11 | 2722130.8523 | 1220381.9688
12 | 2722166.5304 | 1220404.0049
13 | 2722128.0555 | 1220380.0861
14 | 2722262.7203 | 1220494.1222
15 | 2722270.5493 | 1220469.3569
16 | 2722266.4358 | 1220466.7242
17 | 2722257.3198 | 1220460.8898
18 | 2722221.0226 | 1220473.2435
19 | 2722241.4982 | 1220450.7683
20 | 2722219.8127 | 1220474.8755
21 | 2722249.4002 | 1220455.8234
22 | 2722266.0238 | 1220447.6581
23 | 2722237.2496 | 1220448.0478
24 | 2722228.6883 | 1220442.5657
25 | 2722236.7016 | 1220430.0477
26 | 2722208.5612 | 1220429.954
27 | 2722240.7047 | 1220430.694
28 | 2722180.6697 | 1220412.1679
29 | 2722198.2033 | 1220444.2469
30 | 2722219.9045 | 1220420.2472
31 | 2722248.8868 | 1220436.5422
32 | 2722173.4937 | 1220423.4406
33 | 2722186.8494 | 1220463.6693
34 | 2722240.2038 | 1220402.1926
35 | 2722184.4541 | 1220467.7668
36 | 2722172.9644 | 1220487.4237
37 | 2722259.4728 | 1220371.9644
38 | 2722265.7409 | 1220355.3913
39 | 2722257.7518 | 1220375.5653
40 | 2722226.0325 | 1220343.1112
41 | 2722255.6376 | 1220379.8364
42 | 2722218.0539 | 1220355.0235
43 | 2722283.5284 | 1220383.2449
44 | 2722248.846 | 1220390.8611
45 | 2722274.4185 | 1220415.4942
46 | 2722121.4551 | 1220392.1602
47 | 2722109.821 | 1220361.0307
48 | 2722100.9464 | 1220370.7563
49 | 2722225.659 | 1220397.5239
50 | 2722226.5818 | 1220394.7184
51 | 2722203.0384 | 1220387.3184
52 | 2722272.1733 | 1220451.3004
53 | 2722241.4982 | 1220450.7683

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99167 | -0.1602 | 0.008677 | 0.0021747
1 | 0.99178 | -0.15812 | 0 | 0
2 | 0.99186 | -0.15648 | 0 | 0
3 | 0.99154 | -0.16278 | 0.0091299 | 0.0022882
4 | 0.99172 | -0.1592 | 0.011609 | 0.0029094
5 | 0.99304 | -0.13371 | 0.0084488 | 0.0021175
6 | 0.99147 | -0.16406 | 0.010874 | 0.0027252
7 | 0.99387 | -0.11774 | 0 | 0
8 | 0.99327 | -0.12924 | 0.0043601 | 0.0010927
9 | 0.99334 | -0.12788 | 0 | 0
10 | 0.99354 | -0.12406 | 0 | 0
11 | 0.99344 | -0.12592 | 0.0017877 | 0.00044803
12 | 0.99409 | -0.11344 | 0.0072213 | 0.0018098
13 | 0.99342 | -0.12636 | 0 | 0
14 | 0.9966 | -0.065405 | 0.022533 | 0.0056472
15 | 0.99713 | -0.055129 | 0 | 0
16 | 0.99723 | -0.0532 | 0.022282 | 0.0055843
17 | 0.99767 | -0.044702 | 0 | 0
18 | 0.99643 | -0.068715 | 0 | 0
19 | 0.99881 | -0.022767 | 0 | 0
20 | 0.99627 | -0.071758 | 0.085315 | 0.021382
21 | 0.99818 | -0.034996 | 0.015584 | 0.0039056
22 | 0.99747 | -0.048631 | 0 | 0
23 | 0.99918 | -0.015723 | 0.017441 | 0.0043711
24 | 1 | 0 | -0.46407 | -0.11665
25 | 0.99933 | -0.012942 | 0.012764 | 0.0031989
26 | 0.99748 | -0.048293 | 0 | 0
27 | 0.99914 | -0.016528 | 0.021596 | 0.0054125
28 | 0.99513 | -0.09345 | 0 | 0
29 | 0.99701 | -0.057209 | 0.011536 | 0.0028913
30 | 0.99575 | -0.081463 | 0.038612 | 0.0096771
31 | 0.999 | -0.019261 | 0.015563 | 0.0039005
32 | 0.99502 | -0.095429 | 0.0084197 | 0.0021102
33 | 0.99666 | -0.06398 | 0.010752 | 0.0026946
34 | 0.99356 | -0.1236 | 0 | 0
35 | 0.99663 | -0.064513 | 0 | 0
36 | 0.9965 | -0.067072 | 0.0064046 | 0.0016051
37 | 0.99237 | -0.14665 | 0.0040872 | 0.0010243
38 | 0.9923 | -0.14802 | 0 | 0
39 | 0.9924 | -0.14605 | 0 | 0
40 | 0.99213 | -0.15123 | 0 | 0
41 | 0.99244 | -0.14534 | 0 | 0
42 | 0.99206 | -0.15257 | 0.0043666 | 0.0010944
43 | 0.99215 | -0.15095 | 0.01038 | 0.0026015
44 | 0.99266 | -0.14102 | 0 | 0
45 | 0.99071 | -0.17886 | 0.050375 | 0.012625
46 | 0.99339 | -0.12704 | 0.0028111 | 0.00070452
47 | 0.99331 | -0.12848 | 0 | 0
48 | 0.99326 | -0.12955 | 0.0045562 | 0.0011419
49 | 0.9933 | -0.12865 | 0 | 0
50 | 0.99328 | -0.12903 | 0.0071854 | 0.0018008
51 | 0.99301 | -0.13427 | 0.011596 | 0.0029063
52 | 0.99738 | -0.050405 | 0.014172 | 0.0035517
53 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.008677 | -0.0021747 | 0.0086778 | 0.002175 | 8.6231e-07 | 3.7685e-07 | 0.01302 | 0.01302 | 0.01302 | 0.99167 | -0.1602 | 0.99178 | -0.15812 | 3.5769
1 | -0.028687 | -0.0071914 | 0.028689 | 0.0071928 | 2.2404e-06 | 1.3922e-06 | 0.043041 | 0.043041 | 0.043041 | 0.99178 | -0.15812 | 0.99186 | -0.15648 | 11.8243
2 | 0.020009 | 0.0050164 | -0.020004 | -0.0050137 | 4.4423e-06 | 2.6735e-06 | 0.030021 | 0.030021 | 0.030021 | 0.99178 | -0.15812 | 0.99154 | -0.16278 | 8.2475
3 | 0.01161 | 0.0029102 | -0.011609 | -0.0029094 | 1.505e-06 | 7.9249e-07 | 0.017418 | 0.017418 | 0.017418 | 0.99186 | -0.15648 | 0.99172 | -0.1592 | 4.7851
4 | -0.040299 | -0.010103 | 0.040343 | 0.010131 | 4.3769e-05 | 2.76e-05 | 0.060458 | 0.060458 | 0.060458 | 0.99186 | -0.15648 | 0.99304 | -0.13371 | 16.6094
5 | 0.010874 | 0.0027256 | -0.010874 | -0.0027252 | 6.6465e-07 | 3.3955e-07 | 0.016319 | 0.016319 | 0.016319 | 0.99154 | -0.16278 | 0.99147 | -0.16406 | 4.4834
6 | -0.048791 | -0.012248 | 0.048829 | 0.012272 | 3.7203e-05 | 2.357e-05 | 0.073118 | 0.073118 | 0.073118 | 0.99304 | -0.13371 | 0.99387 | -0.11774 | 20.0874
7 | -0.062351 | -0.015661 | 0.062363 | 0.015669 | 1.278e-05 | 8.1283e-06 | 0.093363 | 0.093363 | 0.093363 | 0.99387 | -0.11774 | 0.99409 | -0.11344 | 25.6493
8 | 0.013522 | 0.0033895 | -0.013518 | -0.0033872 | 4.072e-06 | 2.2629e-06 | 0.020245 | 0.020245 | 0.020245 | 0.99387 | -0.11774 | 0.99354 | -0.12406 | 5.5619
9 | -0.0043601 | -0.0010927 | 0.0043604 | 0.0010927 | 2.8429e-07 | -4.8062e-08 | 0.0065319 | 0.0065318 | 0.0065319 | 0.99327 | -0.12924 | 0.99334 | -0.12788 | 1.7945
10 | -0.0043604 | -0.0010927 | 0.0043612 | 0.0010926 | 7.9263e-07 | -1.342e-07 | 0.0065318 | 0.0065315 | 0.0065318 | 0.99334 | -0.12788 | 0.99354 | -0.12406 | 1.7944
11 | 0.0091567 | 0.0022947 | -0.0091559 | -0.0022943 | 8.1239e-07 | 3.7077e-07 | 0.013714 | 0.013714 | 0.013714 | 0.99354 | -0.12406 | 0.99344 | -0.12592 | 3.7675
12 | 0.0073682 | 0.0018463 | -0.0073681 | -0.0018462 | 1.5399e-07 | 5.4903e-08 | 0.011036 | 0.011036 | 0.011036 | 0.99344 | -0.12592 | 0.99342 | -0.12636 | 3.0319
13 | -0.069585 | -0.017479 | 0.069651 | 0.017521 | 6.6462e-05 | 4.2324e-05 | 0.10417 | 0.10417 | 0.10417 | 0.99409 | -0.11344 | 0.99513 | -0.09345 | 28.6189
14 | 0.0028111 | 0.0007044 | -0.0028111 | -0.00070452 | 9.1448e-08 | -1.1954e-07 | 0.0042107 | 0.0042107 | 0.0042107 | 0.99342 | -0.12636 | 0.99339 | -0.12704 | 1.1568
15 | 0.0045569 | 0.0011418 | -0.0045565 | -0.0011419 | 4.6035e-07 | -4.6489e-08 | 0.0068256 | 0.0068257 | 0.0068257 | 0.99342 | -0.12636 | 0.99331 | -0.12848 | 1.8752
16 | -0.022533 | -0.0056472 | 0.022544 | 0.005654 | 1.1036e-05 | 6.7244e-06 | 0.033644 | 0.033643 | 0.033644 | 0.9966 | -0.065405 | 0.99713 | -0.055129 | 9.2427
17 | -0.022544 | -0.005654 | 0.022546 | 0.0056552 | 2.073e-06 | 1.263e-06 | 0.033643 | 0.033643 | 0.033643 | 0.99713 | -0.055129 | 0.99723 | -0.0532 | 9.2427
18 | -0.044827 | -0.01124 | 0.044846 | 0.011251 | 1.816e-05 | 1.1481e-05 | 0.066891 | 0.066891 | 0.066891 | 0.99723 | -0.0532 | 0.99767 | -0.044702 | 18.3766
19 | -0.059021 | -0.014805 | 0.059048 | 0.014822 | 2.7323e-05 | 1.7364e-05 | 0.088033 | 0.088033 | 0.088033 | 0.99767 | -0.044702 | 0.99818 | -0.034996 | 24.185
20 | 0.014175 | 0.0035539 | -0.014173 | -0.0035524 | 2.6531e-06 | 1.4914e-06 | 0.021143 | 0.021143 | 0.021143 | 0.99767 | -0.044702 | 0.99747 | -0.048631 | 5.8085
21 | -0.085327 | -0.02139 | 0.085515 | 0.021509 | 0.00018725 | 0.00011944 | 0.12743 | 0.12743 | 0.12743 | 0.99643 | -0.068715 | 0.99881 | -0.022767 | 35.0071
22 | 0.085327 | 0.02139 | -0.085315 | -0.021382 | 1.237e-05 | 7.8905e-06 | 0.12743 | 0.12743 | 0.12743 | 0.99643 | -0.068715 | 0.99627 | -0.071758 | 35.0071
23 | 0.074675 | 0.018756 | -0.074632 | -0.018728 | 4.3548e-05 | 2.7748e-05 | 0.11126 | 0.11126 | 0.11126 | 0.99881 | -0.022767 | 0.99818 | -0.034996 | 30.5671
24 | -0.16019 | -0.040265 | 0.16024 | 0.040299 | 5.3893e-05 | 3.436e-05 | 0.23869 | 0.23869 | 0.23869 | 0.99881 | -0.022767 | 0.99918 | -0.015723 | 32.7871
25 | 0.014173 | 0.0035524 | -0.014172 | -0.0035517 | 1.1981e-06 | 6.7351e-07 | 0.021143 | 0.021143 | 0.021143 | 0.99747 | -0.048631 | 0.99738 | -0.050405 | 5.8085
26 | -0.17768 | -0.04467 | 0.17782 | 0.044756 | 0.00013352 | 8.5186e-05 | 0.26466 | 0.26466 | 0.26466 | 0.99918 | -0.015723 | 1 | 0 | 36.3549
27 | 0.049962 | 0.012536 | -0.049931 | -0.012517 | 3.081e-05 | 1.9524e-05 | 0.074349 | 0.074349 | 0.074349 | 1 | 0 | 0.99933 | -0.012942 | 20.4256
28 | 0.23464 | 0.059362 | -0.2341 | -0.059016 | 0.00054237 | 0.00034649 | 0.34934 | 0.34934 | 0.34934 | 1 | 0 | 0.99748 | -0.048293 | 47.9868
29 | 0.037167 | 0.0093181 | -0.037161 | -0.0093141 | 6.3509e-06 | 3.9922e-06 | 0.055344 | 0.055344 | 0.055344 | 0.99933 | -0.012942 | 0.99914 | -0.016528 | 15.2044
30 | 0.07824 | 0.01974 | -0.078072 | -0.019632 | 0.00016877 | 0.00010759 | 0.11676 | 0.11676 | 0.11676 | 0.99748 | -0.048293 | 0.99513 | -0.09345 | 32.078
31 | 0.028711 | 0.0072021 | -0.028699 | -0.0071945 | 1.2198e-05 | 7.5755e-06 | 0.042833 | 0.042833 | 0.042833 | 0.99748 | -0.048293 | 0.99701 | -0.057209 | 11.7673
32 | 0.12715 | 0.032074 | -0.12694 | -0.031945 | 0.00020157 | 0.00012881 | 0.18975 | 0.18975 | 0.18975 | 0.99748 | -0.048293 | 0.99575 | -0.081463 | 52.1284
33 | 0.015565 | 0.0039016 | -0.015563 | -0.0039005 | 2.0267e-06 | 1.1654e-06 | 0.023181 | 0.023181 | 0.023181 | 0.99914 | -0.016528 | 0.999 | -0.019261 | 6.3685
34 | 0.0084205 | 0.0021105 | -0.0084197 | -0.0021102 | 7.9393e-07 | 3.3464e-07 | 0.012591 | 0.012591 | 0.012591 | 0.99513 | -0.09345 | 0.99502 | -0.095429 | 3.4591
35 | 0.017163 | 0.0043032 | -0.017157 | -0.0043 | 5.5357e-06 | 3.2496e-06 | 0.025615 | 0.025616 | 0.025616 | 0.99701 | -0.057209 | 0.99666 | -0.06398 | 7.0372
36 | 0.088332 | 0.022268 | -0.088155 | -0.022155 | 0.00017771 | 0.00011338 | 0.13205 | 0.13205 | 0.13205 | 0.99575 | -0.081463 | 0.99356 | -0.1236 | 36.2766
37 | 0.0064055 | 0.0016054 | -0.0064054 | -0.0016053 | 1.6278e-07 | 4.2331e-08 | 0.0095635 | 0.0095635 | 0.0095635 | 0.99666 | -0.06398 | 0.99663 | -0.064513 | 2.6273
38 | 0.018789 | 0.0047114 | -0.018785 | -0.0047087 | 4.5242e-06 | 2.6982e-06 | 0.028141 | 0.028141 | 0.028141 | 0.99356 | -0.1236 | 0.9933 | -0.12865 | 7.731
39 | 0.069365 | 0.017443 | -0.069308 | -0.017407 | 5.7658e-05 | 3.6717e-05 | 0.10391 | 0.10391 | 0.10391 | 0.99356 | -0.1236 | 0.99266 | -0.14102 | 28.5457
40 | 0.0064054 | 0.0016053 | -0.0064046 | -0.0016051 | 7.8091e-07 | 2.0312e-07 | 0.0095635 | 0.0095636 | 0.0095636 | 0.99663 | -0.064513 | 0.9965 | -0.067072 | 2.6274
41 | 0.0043678 | 0.0010942 | -0.0043676 | -0.0010942 | 2.852e-07 | -4.6538e-08 | 0.0065492 | 0.0065493 | 0.0065493 | 0.99237 | -0.14665 | 0.9923 | -0.14802 | 1.7993
42 | -0.008455 | -0.0021185 | 0.0084552 | 0.0021186 | 2.406e-07 | 1.0241e-07 | 0.012678 | 0.012678 | 0.012678 | 0.99237 | -0.14665 | 0.9924 | -0.14605 | 3.4829
43 | 0.0043676 | 0.0010942 | -0.0043669 | -0.0010943 | 6.6678e-07 | -1.0865e-07 | 0.0065493 | 0.0065495 | 0.0065495 | 0.9923 | -0.14802 | 0.99213 | -0.15123 | 1.7993
44 | -0.0084552 | -0.0021186 | 0.0084555 | 0.0021187 | 2.8713e-07 | 1.2221e-07 | 0.012678 | 0.012678 | 0.012678 | 0.9924 | -0.14605 | 0.99244 | -0.14534 | 3.4829
45 | 0.0043669 | 0.0010943 | -0.0043666 | -0.0010944 | 2.7856e-07 | -4.533e-08 | 0.0065495 | 0.0065496 | 0.0065496 | 0.99213 | -0.15123 | 0.99206 | -0.15257 | 1.7993
46 | 0.010383 | 0.0026029 | -0.01038 | -0.0026015 | 2.7758e-06 | 1.382e-06 | 0.015568 | 0.015568 | 0.015568 | 0.99244 | -0.14534 | 0.99215 | -0.15095 | 4.2769
47 | -0.018838 | -0.0047216 | 0.018842 | 0.0047239 | 3.881e-06 | 2.3162e-06 | 0.028245 | 0.028245 | 0.028245 | 0.99244 | -0.14534 | 0.99266 | -0.14102 | 7.7597
48 | 0.050466 | 0.012683 | -0.050375 | -0.012625 | 9.1004e-05 | 5.7696e-05 | 0.075661 | 0.075661 | 0.075661 | 0.99266 | -0.14102 | 0.99071 | -0.17886 | 20.7861
49 | 0.0045565 | 0.0011419 | -0.0045562 | -0.0011419 | 2.322e-07 | -2.3416e-08 | 0.0068257 | 0.0068258 | 0.0068258 | 0.99331 | -0.12848 | 0.99326 | -0.12955 | 1.8752
50 | 0.0071855 | 0.0018009 | -0.0071854 | -0.0018008 | 1.2831e-07 | 4.3895e-08 | 0.010764 | 0.010764 | 0.010764 | 0.9933 | -0.12865 | 0.99328 | -0.12903 | 2.9572
51 | 0.011599 | 0.0029079 | -0.011596 | -0.0029063 | 3.1049e-06 | 1.6323e-06 | 0.017376 | 0.017377 | 0.017377 | 0.9933 | -0.12865 | 0.99301 | -0.13427 | 4.7738

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.46407 | 0.11665

## res_load
| p_mw | q_mvar
0 | 0.008677 | 0.0021747
1 | 0.0091299 | 0.0022882
2 | 0.011609 | 0.0029094
3 | 0.0084488 | 0.0021175
4 | 0.010874 | 0.0027252
5 | 0.0043601 | 0.0010927
6 | 0.0017877 | 0.00044803
7 | 0.0072213 | 0.0018098
8 | 0.022533 | 0.0056472
9 | 0.022282 | 0.0055843
10 | 0.085315 | 0.021382
11 | 0.015584 | 0.0039056
12 | 0.017441 | 0.0043711
13 | 0.012764 | 0.0031989
14 | 0.021596 | 0.0054125
15 | 0.011536 | 0.0028913
16 | 0.038612 | 0.0096771
17 | 0.015563 | 0.0039005
18 | 0.0084197 | 0.0021102
19 | 0.010752 | 0.0026946
20 | 0.0064046 | 0.0016051
21 | 0.0040872 | 0.0010243
22 | 0.0043666 | 0.0010944
23 | 0.01038 | 0.0026015
24 | 0.050375 | 0.012625
25 | 0.0028111 | 0.00070452
26 | 0.0045562 | 0.0011419
27 | 0.0071854 | 0.0018008
28 | 0.011596 | 0.0029063
29 | 0.014172 | 0.0035517

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1