## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1630-123_0_1_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1630-123_0_1_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1630-123_0_1_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1630-123_0_1_node_25 | 0.4 | n |  | TRUE
4 | bus_LV_1630-123_0_1_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_1630-123_0_1_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_1630-123_0_1_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_1630-123_0_1_node_20 | 0.4 | n |  | TRUE
8 | bus_LV_1630-123_0_1_node_22 | 0.4 | n |  | TRUE
9 | bus_LV_1630-123_0_1_node_23 | 0.4 | n |  | TRUE
10 | bus_LV_1630-123_0_1_node_13 | 0.4 | n |  | TRUE
11 | bus_LV_1630-123_0_1_node_27 | 0.4 | n |  | TRUE
12 | bus_LV_1630-123_0_1_node_18 | 0.4 | n |  | TRUE
13 | bus_LV_1630-123_0_1_node_6 | 0.4 | n |  | TRUE
14 | bus_LV_1630-123_0_1_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_1630-123_0_1_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_1630-123_0_1_node_17 | 0.4 | n |  | TRUE
17 | bus_LV_1630-123_0_1_node_28 | 0.4 | n |  | TRUE
18 | bus_LV_1630-123_0_1_node_19 | 0.4 | n |  | TRUE
19 | bus_LV_1630-123_0_1_node_35 | 0.4 | n |  | TRUE
20 | bus_LV_1630-123_0_1_node_34 | 0.4 | n |  | TRUE
21 | bus_LV_1630-123_0_1_node_16 | 0.4 | n |  | TRUE
22 | bus_LV_1630-123_0_1_node_10 | 0.4 | n |  | TRUE
23 | bus_LV_1630-123_0_1_node_11 | 0.4 | n |  | TRUE
24 | bus_LV_1630-123_0_1_node_12 | 0.4 | n |  | TRUE
25 | bus_LV_1630-123_0_1_node_14 | 0.4 | n |  | TRUE
26 | bus_LV_1630-123_0_1_node_15 | 0.4 | n |  | TRUE
27 | bus_LV_1630-123_0_1_node_21 | 0.4 | n |  | TRUE
28 | bus_LV_1630-123_0_1_node_36 | 0.4 | n |  | TRUE
29 | bus_LV_1630-123_0_1_node_26 | 0.4 | n |  | TRUE
30 | bus_LV_1630-123_0_1_node_33 | 0.4 | n |  | TRUE
31 | bus_LV_1630-123_0_1_node_29 | 0.4 | n |  | TRUE
32 | bus_LV_1630-123_0_1_node_30 | 0.4 | n |  | TRUE
33 | bus_LV_1630-123_0_1_node_31 | 0.4 | n |  | TRUE
34 | bus_LV_1630-123_0_1_node_32 | 0.4 | n |  | TRUE
35 | bus_MV_0_node_34 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1630-123_0_1_load_0 | 0 | 0.001704 | 0.00042705 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1630-123_0_1_load_4 | 5 | 0.0023259 | 0.00058294 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1630-123_0_1_load_5 | 6 | 0.00063449 | 0.00015902 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1630-123_0_1_load_20 | 7 | 0.0015867 | 0.00039765 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1630-123_0_1_load_22 | 8 | 0.0020236 | 0.00050716 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1630-123_0_1_load_27 | 11 | 0.000792 | 0.00019849 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1630-123_0_1_load_6 | 13 | 0.001709 | 0.0004283 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1630-123_0_1_load_28 | 17 | 0.0014358 | 0.00035985 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1630-123_0_1_load_35 | 19 | 0.00091398 | 0.00022907 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1630-123_0_1_load_34 | 20 | 0.001267 | 0.00031755 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1630-123_0_1_load_16 | 21 | 0.00050427 | 0.00012638 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1630-123_0_1_load_10 | 22 | 0.00079116 | 0.00019828 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1630-123_0_1_load_11 | 23 | 0.00069989 | 0.00017541 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1630-123_0_1_load_21 | 27 | 0.0012429 | 0.00031151 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1630-123_0_1_load_36 | 28 | 0.00066877 | 0.00016761 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1630-123_0_1_load_26 | 29 | 0.0012686 | 0.00031795 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1630-123_0_1_load_29 | 31 | 0.0023929 | 0.00059972 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1630-123_0_1_load_31 | 33 | 0.0039794 | 0.00099734 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 20 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1630-123_0_1_line_0 |  | 0 | 1 | 0.018175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1630-123_0_1_line_1 |  | 0 | 2 | 0.048907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1630-123_0_1_line_2 |  | 1 | 3 | 0.79045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1630-123_0_1_line_3 |  | 2 | 4 | 0.009324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1630-123_0_1_line_4 |  | 2 | 5 | 0.035795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1630-123_0_1_line_5 |  | 2 | 6 | 0.009556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1630-123_0_1_line_6 |  | 3 | 11 | 0.026605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1630-123_0_1_line_7 |  | 3 | 9 | 0.022998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1630-123_0_1_line_8 |  | 4 | 7 | 0.019519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1630-123_0_1_line_9 |  | 7 | 12 | 0.037103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1630-123_0_1_line_10 |  | 8 | 9 | 0.011738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1630-123_0_1_line_11 |  | 9 | 10 | 0.15323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1630-123_0_1_line_12 |  | 10 | 23 | 0.016003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1630-123_0_1_line_13 |  | 12 | 21 | 0.10962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1630-123_0_1_line_14 |  | 12 | 27 | 0.02111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1630-123_0_1_line_15 |  | 13 | 14 | 0.098343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1630-123_0_1_line_16 |  | 14 | 15 | 0.01134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1630-123_0_1_line_17 |  | 15 | 16 | 0.60791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1630-123_0_1_line_18 |  | 15 | 17 | 0.0020191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1630-123_0_1_line_19 |  | 16 | 21 | 0.25458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1630-123_0_1_line_20 |  | 16 | 18 | 0.31052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1630-123_0_1_line_21 |  | 18 | 19 | 0.008623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1630-123_0_1_line_22 |  | 18 | 20 | 0.42016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1630-123_0_1_line_23 |  | 19 | 30 | 0.099421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1630-123_0_1_line_24 |  | 22 | 23 | 0.049663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1630-123_0_1_line_25 |  | 22 | 24 | 0.033627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1630-123_0_1_line_26 |  | 24 | 25 | 0.007386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1630-123_0_1_line_27 |  | 24 | 26 | 0.64975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1630-123_0_1_line_28 |  | 25 | 28 | 0.019573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1630-123_0_1_line_29 |  | 26 | 29 | 0.26015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1630-123_0_1_line_30 |  | 30 | 34 | 0.62166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1630-123_0_1_line_31 |  | 31 | 32 | 0.0097566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1630-123_0_1_line_32 |  | 32 | 33 | 0.0031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1630-123_0_1_line_33 |  | 33 | 34 | 0.021709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1630-123_0_1_trafo_34 | 0.63 MVA 20/0.4 kV | 35 | 20 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31 | x32 | y32 | x33 | y33 | x34 | y34 | x35 | y35 | x36 | y36 | x37 | y37 | x38 | y38 | x39 | y39 | x40 | y40 | x41 | y41 | x42 | y42 | x43 | y43 | x44 | y44 | x45 | y45 | x46 | y46 | x47 | y47 | x48 | y48 | x49 | y49 | x50 | y50 | x51 | y51 | x52 | y52 | x53 | y53 | x54 | y54 | x55 | y55 | x56 | y56 | x57 | y57 | x58 | y58 | x59 | y59 | x60 | y60 | x61 | y61 | x62 | y62 | x63 | y63 | x64 | y64 | x65 | y65 | x66 | y66 | x67 | y67 | x68 | y68 | x69 | y69 | x70 | y70 | x71 | y71 | x72 | y72 | x73 | y73 | x74 | y74 | x75 | y75 | x76 | y76 | x77 | y77 | x78 | y78 | x79 | y79 | x80 | y80 | x81 | y81 | x82 | y82 | x83 | y83 | x84 | y84 | x85 | y85 | x86 | y86 | x87 | y87 | x88 | y88 | x89 | y89 | x90 | y90
0 | 2728056.7946 | 1218427.7743 | 2728040.533 | 1218419.6577
1 | 2727996.7738 | 1218397.8163 | 2728040.533 | 1218419.6577
2 | 2728056.7946 | 1218427.7743 | 2728771.6691 | 1218090.4773
3 | 2727996.7738 | 1218397.8163 | 2727992.0418 | 1218389.7749
4 | 2728019.8505 | 1218425.234 | 2727996.7738 | 1218397.8163
5 | 2727988.3322 | 1218402.3386 | 2727996.7738 | 1218397.8163
6 | 2728771.6691 | 1218090.4773 | 2728781.5255 | 1218091.5023 | 2728786.8418 | 1218093.908 | 2728791.8452 | 1218096.3847 | 2728796.3072 | 1218099.2027
7 | 2728771.6691 | 1218090.4773 | 2728770.6853 | 1218067.5043
8 | 2727992.0418 | 1218389.7749 | 2727990.8962 | 1218384.435 | 2727990.779 | 1218375.7588 | 2727990.0008 | 1218370.4344
9 | 2727986.12 | 1218333.5918 | 2727986.8542 | 1218350.2987 | 2727989.5677 | 1218367.4707 | 2727990.0008 | 1218370.4344
10 | 2728770.6853 | 1218067.5043 | 2728782.008 | 1218064.408
11 | 2728736.7098 | 1217919.1293 | 2728738.0726 | 1217927.0429 | 2728746.3036 | 1217955.8437 | 2728762.5383 | 1218008.848 | 2728766.9226 | 1218022.7539 | 2728769.6138 | 1218033.4873 | 2728770.9181 | 1218039.8873 | 2728771.2195 | 1218047.3664 | 2728770.6853 | 1218067.5043
12 | 2728736.7098 | 1217919.1293 | 2728732.9622 | 1217911.2421 | 2728728.8219 | 1217905.2652
13 | 2727986.12 | 1218333.5918 | 2727984.6217 | 1218330.1791 | 2727981.8688 | 1218326.139 | 2727976.5853 | 1218318.6751 | 2727972.9436 | 1218311.1242 | 2727967.7106 | 1218298.4795 | 2727959.0139 | 1218286.9613 | 2727951.6838 | 1218279.3312 | 2727944.191 | 1218273.2654 | 2727935.0329 | 1218266.2521 | 2727923.1291 | 1218259.4578 | 2727913.7634 | 1218256.2544
14 | 2727990.1641 | 1218312.8844 | 2727989.0086 | 1218320.3655 | 2727986.12 | 1218333.5918
15 | 2727266.1834 | 1218469.4688 | 2727254.9799 | 1218472.5208 | 2727247.8441 | 1218473.18 | 2727242.6283 | 1218472.8128 | 2727224.3395 | 1218469.5419 | 2727219.3962 | 1218468.5022 | 2727198.7196 | 1218459.0088 | 2727192.6557 | 1218458.1787 | 2727188.5354 | 1218458.4242 | 2727181.9952 | 1218459.2742 | 2727174.6635 | 1218458.7951 | 2727171.0386 | 1218457.7846
16 | 2727277.4237 | 1218470.3762 | 2727272.4718 | 1218469.3808 | 2727269.957 | 1218469.1046 | 2727266.1834 | 1218469.4688
17 | 2727277.4237 | 1218470.3762 | 2727288.7146 | 1218462.5223 | 2727293.9687 | 1218459.6767 | 2727308.1206 | 1218456.5099 | 2727315.3317 | 1218454.1065 | 2727320.6054 | 1218448.5703 | 2727327.4659 | 1218436.296 | 2727329.9014 | 1218433.5348 | 2727332.9165 | 1218431.0083 | 2727344.9457 | 1218426.9844 | 2727351.3586 | 1218425.3424 | 2727358.4329 | 1218424.0147 | 2727367.4777 | 1218427.4664 | 2727373.7436 | 1218429.1461 | 2727378.8822 | 1218428.1551 | 2727399.1094 | 1218418.9024 | 2727405.8799 | 1218414.3881 | 2727410.7339 | 1218405.7628 | 2727412.3624 | 1218402.3949 | 2727415.2679 | 1218401.801 | 2727424.1624 | 1218401.9914 | 2727426.2499 | 1218401.6579 | 2727426.5238 | 1218399.1507 | 2727425.6096 | 1218393.2598 | 2727425.9367 | 1218389.6862 | 2727426.5445 | 1218386.8302 | 2727428.5557 | 1218384.7382 | 2727435.3141 | 1218384.6938 | 2727458.8026 | 1218388.3881 | 2727464.2517 | 1218389.917 | 2727454.3067 | 1218378.8621 | 2727453.0196 | 1218374.7869 | 2727453.2186 | 1218371.8777 | 2727453.8467 | 1218370.2009 | 2727457.9337 | 1218363.0048 | 2727464.0387 | 1218357.3087 | 2727464.6223 | 1218361.9693 | 2727464.9896 | 1218368.2155 | 2727467.4085 | 1218370.4912 | 2727472.8099 | 1218374.2542 | 2727474.3062 | 1218363.9447 | 2727480.6017 | 1218360.3432 | 2727496.896 | 1218350.0392 | 2727506.592 | 1218345.4207 | 2727510.7485 | 1218343.1412 | 2727513.0001 | 1218340.465 | 2727514.7207 | 1218340.9578 | 2727515.1174 | 1218344.0576 | 2727514.2456 | 1218358.8841 | 2727517.4041 | 1218356.7611 | 2727520.9366 | 1218353.8344 | 2727524.7449 | 1218346.5434 | 2727526.9374 | 1218338.117 | 2727529.4887 | 1218334.2129 | 2727534.2375 | 1218329.7999 | 2727540.5337 | 1218321.5615 | 2727546.2039 | 1218314.8998 | 2727550.4977 | 1218312.9457 | 2727558.6694 | 1218313.2097 | 2727564.6979 | 1218315.3404 | 2727574.8724 | 1218322.0636 | 2727584.8052 | 1218327.6585 | 2727591.8169 | 1218330.6777 | 2727598.0867 | 1218332.5357 | 2727600.2826 | 1218334.2285 | 2727601.7376 | 1218334.7156 | 2727603.934 | 1218334.6181 | 2727614.7367 | 1218335.7615 | 2727617.433 | 1218335.3634 | 2727623.3765 | 1218333.3113 | 2727630.5493 | 1218328.8169 | 2727638.4818 | 1218327.4857 | 2727642.4035 | 1218327.6587 | 2727648.7562 | 1218325.2929 | 2727657.4173 | 1218323.9774 | 2727659.6214 | 1218323.5243 | 2727662.6362 | 1218323.5 | 2727663.6565 | 1218323.0103 | 2727667.5506 | 1218320.2249 | 2727670.9211 | 1218318.4846 | 2727674.0291 | 1218318.3622 | 2727677.2433 | 1218319.6655 | 2727680.1582 | 1218320.0504 | 2727683.9059 | 1218318.0736 | 2727687.2843 | 1218315.9666 | 2727690.0082 | 1218312.5111 | 2727693.5223 | 1218310.4514 | 2727698.9893 | 1218309.023 | 2727706.2268 | 1218305.7644 | 2727710.9245 | 1218299.8492 | 2727712.9346 | 1218298.5246
18 | 2727277.4237 | 1218470.3762 | 2727276.1456 | 1218471.9393
19 | 2727712.9346 | 1218298.5246 | 2727717.2288 | 1218284.8724 | 2727723.6054 | 1218268.6517 | 2727724.616 | 1218266.4939 | 2727725.743 | 1218264.9279 | 2727736.0514 | 1218262.5692 | 2727742.2406 | 1218260.4002 | 2727746.5993 | 1218259.315 | 2727749.2935 | 1218259.3728 | 2727752.0407 | 1218261.2109 | 2727755.3921 | 1218264.6077 | 2727758.765 | 1218267.36 | 2727763.1555 | 1218269.0444 | 2727766.1033 | 1218270.0195 | 2727770.3617 | 1218271.8455 | 2727773.2327 | 1218274.2757 | 2727794.9859 | 1218292.6791 | 2727808.7044 | 1218300.5352 | 2727811.8761 | 1218301.693 | 2727814.6137 | 1218301.8518 | 2727818.8348 | 1218301.1641 | 2727831.687 | 1218294.5567 | 2727837.2988 | 1218290.6295 | 2727845.1565 | 1218287.8403 | 2727849.7065 | 1218284.5687 | 2727863.5404 | 1218271.8443 | 2727877.3631 | 1218262.122 | 2727886.6434 | 1218256.0274 | 2727891.5546 | 1218252.5523 | 2727897.1927 | 1218252.0062 | 2727902.6718 | 1218252.8467 | 2727908.3859 | 1218254.4151 | 2727913.7634 | 1218256.2544
20 | 2727593.8954 | 1218096.5692 | 2727605.6575 | 1218109.2978 | 2727609.8825 | 1218129.3376 | 2727608.8293 | 1218135.9648 | 2727607.7651 | 1218138.8554 | 2727603.3799 | 1218142.9425 | 2727600.7343 | 1218146.9891 | 2727598.8987 | 1218151.8648 | 2727599.4691 | 1218159.2606 | 2727598.8902 | 1218169.2673 | 2727598.3295 | 1218174.1703 | 2727598.2321 | 1218178.7163 | 2727599.6925 | 1218182.8509 | 2727607.8194 | 1218191.5874 | 2727617.609 | 1218212.3803 | 2727617.6423 | 1218223.5788 | 2727620.4633 | 1218236.8498 | 2727622.3017 | 1218240.3475 | 2727626.8386 | 1218246.1827 | 2727626.3514 | 1218251.9101 | 2727629.8206 | 1218260.4468 | 2727632.4632 | 1218273.536 | 2727636.0966 | 1218283.2661 | 2727641.2829 | 1218288.2033 | 2727661.064 | 1218298.7355 | 2727664.5933 | 1218304.8159 | 2727667.5506 | 1218320.2249 | 2727670.9211 | 1218318.4846 | 2727674.0291 | 1218318.3622 | 2727677.2433 | 1218319.6655 | 2727680.1582 | 1218320.0504 | 2727683.9059 | 1218318.0736 | 2727687.2843 | 1218315.9666 | 2727690.0082 | 1218312.5111 | 2727693.5223 | 1218310.4514 | 2727698.9893 | 1218309.023 | 2727706.2268 | 1218305.7644 | 2727710.9245 | 1218299.8492 | 2727712.9346 | 1218298.5246
21 | 2727593.8954 | 1218096.5692 | 2727592.1484 | 1218096.5985 | 2727589.0619 | 1218097.8334 | 2727586.1704 | 1218099.8953
22 | 2727593.8954 | 1218096.5692 | 2727595.1678 | 1218091.4034 | 2727594.066 | 1218087.1876 | 2727592.0609 | 1218082.9635 | 2727590.8564 | 1218079.2903 | 2727589.6983 | 1218073.8056 | 2727589.7537 | 1218066.968 | 2727589.8475 | 1218041.3274 | 2727591.9005 | 1218031.6303 | 2727602.8598 | 1218001.0407 | 2727606.0617 | 1217996.5501 | 2727610.7847 | 1217989.4567 | 2727611.6577 | 1217982.7367 | 2727607.6233 | 1217970.4516 | 2727604.5998 | 1217962.3694 | 2727601.0856 | 1217955.9223 | 2727591.8099 | 1217939.1214 | 2727586.8714 | 1217924.3706 | 2727580.669 | 1217902.3425 | 2727580.3072 | 1217897.9646 | 2727580.954 | 1217895.4209 | 2727583.5105 | 1217890.9276 | 2727585.8371 | 1217889.3651 | 2727591.2743 | 1217888.9923 | 2727593.1175 | 1217887.6641 | 2727595.366 | 1217885.4994 | 2727598.3674 | 1217879.0251 | 2727598.8374 | 1217871.6182 | 2727598.1824 | 1217868.5239 | 2727592.5548 | 1217859.7075 | 2727590.8654 | 1217856.3354 | 2727589.9295 | 1217853.2351 | 2727589.9275 | 1217850.1437 | 2727590.9624 | 1217848.2643 | 2727592.8359 | 1217848.3601 | 2727604.5906 | 1217851.8924 | 2727614.9691 | 1217859.0536 | 2727618.9106 | 1217861.8625 | 2727638.4505 | 1217870.2544 | 2727643.5915 | 1217872.0103 | 2727649.1718 | 1217872.7527 | 2727654.3128 | 1217874.5086 | 2727660.3338 | 1217875.2382 | 2727666.3507 | 1217875.1003 | 2727672.2277 | 1217873.3359 | 2727677.5148 | 1217870.4024 | 2727691.3133 | 1217864.6713 | 2727708.3782 | 1217862.7688 | 2727718.4845 | 1217863.4971 | 2727724.9463 | 1217863.5023 | 2727728.6186 | 1217859.3888
23 | 2727535.1788 | 1218060.4056 | 2727549.5 | 1218098.2979 | 2727551.8816 | 1218108.3457 | 2727554.6564 | 1218117.4012 | 2727556.0953 | 1218118.6441 | 2727560.2188 | 1218117.1979 | 2727567.2221 | 1218116.3694 | 2727573.1931 | 1218114.1065 | 2727579.991 | 1218108.3364 | 2727582.6729 | 1218104.0126 | 2727586.1704 | 1218099.8953
24 | 2728731.2913 | 1217859.2915 | 2728730.8923 | 1217861.5799 | 2728728.5478 | 1217867.1114 | 2728724.9705 | 1217873.4726 | 2728722.9751 | 1217880.0681 | 2728721.6095 | 1217886.6883 | 2728722.4866 | 1217894.2355 | 2728724.5163 | 1217899.0499 | 2728728.8219 | 1217905.2652
25 | 2728740.4962 | 1217827.2377 | 2728737.3292 | 1217833.5854 | 2728734.6629 | 1217839.9551 | 2728731.2913 | 1217859.2915
26 | 2728733.7654 | 1217828.0818 | 2728738.0678 | 1217826.1176 | 2728740.4962 | 1217827.2377
27 | 2728650.9134 | 1217214.4025 | 2728678.1828 | 1217260.5058 | 2728682.3269 | 1217266.2332 | 2728687.1537 | 1217273.7545 | 2728689.1332 | 1217281.6035 | 2728689.6854 | 1217291.5456 | 2728691.3608 | 1217327.5216 | 2728689.4194 | 1217349.8864 | 2728690.0869 | 1217361.5212 | 2728691.9179 | 1217372.7253 | 2728700.5542 | 1217406.0161 | 2728703.2822 | 1217411.2014 | 2728701.5362 | 1217417.5021 | 2728711.4053 | 1217428.8799 | 2728720.6451 | 1217441.6229 | 2728727.1857 | 1217452.4062 | 2728735.775 | 1217469.2385 | 2728742.4856 | 1217495.6935 | 2728744.356 | 1217512.0914 | 2728747.1927 | 1217523.8398 | 2728748.2309 | 1217528.1546 | 2728750.2546 | 1217544.4892 | 2728750.9351 | 1217555.5127 | 2728751.0072 | 1217567.2792 | 2728754.8802 | 1217592.9056 | 2728753.5534 | 1217618.7976 | 2728749.4824 | 1217636.7462 | 2728743.0537 | 1217653.8098 | 2728742.0442 | 1217658.0025 | 2728741.6878 | 1217660.4412 | 2728742.6177 | 1217663.4414 | 2728745.1106 | 1217665.0966 | 2728750.3826 | 1217666.0557 | 2728751.1904 | 1217671.1884 | 2728755.1293 | 1217687.7979 | 2728755.2843 | 1217694.6734 | 2728754.1593 | 1217700.6984 | 2728750.2517 | 1217714.6028 | 2728748.4244 | 1217728.1742 | 2728748.374 | 1217737.8809 | 2728748.2187 | 1217745.061 | 2728752.5449 | 1217782.3843 | 2728752.4686 | 1217792.9356 | 2728751.9089 | 1217801.2635 | 2728748.7879 | 1217810.7481 | 2728740.4962 | 1217827.2377
28 | 2728721.4886 | 1217841.3494 | 2728724.6314 | 1217841.0393 | 2728725.9888 | 1217840.0679 | 2728726.8666 | 1217838.4522 | 2728730.2675 | 1217830.4192 | 2728733.7654 | 1217828.0818
29 | 2728650.9134 | 1217214.4025 | 2728635.6078 | 1217188.5404 | 2728631.5636 | 1217180.6468 | 2728626.4675 | 1217168.0045 | 2728609.6488 | 1217111.9746 | 2728605.3882 | 1217103.5426 | 2728600.8724 | 1217096.0281 | 2728593.5935 | 1217088.4539 | 2728565.441 | 1217070.8769 | 2728557.9147 | 1217064.2093 | 2728549.8094 | 1217055.8611 | 2728539.2096 | 1217042.3996 | 2728532.2849 | 1217036.3565 | 2728517.7646 | 1217026.4911 | 2728513.8684 | 1217022.2815 | 2728509.6999 | 1217016.6093 | 2728506.0214 | 1217008.5696
30 | 2727136.2384 | 1217633.0415 | 2727141.83 | 1217630.7812 | 2727147.2501 | 1217630.1519 | 2727158.588 | 1217631.5394 | 2727169.2227 | 1217633.857 | 2727175.0955 | 1217636.2064 | 2727194.6691 | 1217651.97 | 2727198.169 | 1217657.3379 | 2727200.7948 | 1217661.3193 | 2727205.3492 | 1217666.0202 | 2727216.2173 | 1217672.335 | 2727221.7957 | 1217676.7354 | 2727225.9086 | 1217682.9059 | 2727249.3784 | 1217702.8895 | 2727256.2224 | 1217710.2415 | 2727296.2676 | 1217747.3151 | 2727323.9631 | 1217775.974 | 2727336.4677 | 1217787.4169 | 2727351.2602 | 1217798.7531 | 2727358.4269 | 1217804.8556 | 2727364.3292 | 1217815.0454 | 2727368.5874 | 1217819.0285 | 2727380.7852 | 1217824.2155 | 2727388.7769 | 1217833.2824 | 2727397.3546 | 1217842.2841 | 2727405.4889 | 1217851.4208 | 2727411.9507 | 1217856.0404 | 2727417.0492 | 1217858.7182 | 2727419.844 | 1217862.6033 | 2727428.4338 | 1217877.7768 | 2727433.7353 | 1217885.1627 | 2727440.1768 | 1217890.3713 | 2727445.1884 | 1217897.4619 | 2727451.8452 | 1217903.2533 | 2727459.9534 | 1217929.214 | 2727462.8934 | 1217941.2087 | 2727475.9873 | 1217965.5303 | 2727483.7605 | 1217985.8461 | 2727491.4002 | 1217992.8929 | 2727493.9026 | 1217997.3055 | 2727495.4986 | 1218002.1991 | 2727518.8983 | 1218010.1061 | 2727537.4002 | 1218028.3054 | 2727539.1606 | 1218044.6672 | 2727535.1788 | 1218060.4056
31 | 2727134.6051 | 1217657.2592 | 2727125.7464 | 1217653.1708
32 | 2727134.6051 | 1217657.2592 | 2727134.2573 | 1217654.1788
33 | 2727136.2384 | 1217633.0415 | 2727133.5408 | 1217640.2452 | 2727133.1363 | 1217644.2509 | 2727134.2573 | 1217654.1788

## bus_geodata
| x | y | coords
0 | 2728040.533 | 1218419.6577
1 | 2728056.7946 | 1218427.7743
2 | 2727996.7738 | 1218397.8163
3 | 2728771.6691 | 1218090.4773
4 | 2727992.0418 | 1218389.7749
5 | 2728019.8505 | 1218425.234
6 | 2727988.3322 | 1218402.3386
7 | 2727990.0009 | 1218370.4344
8 | 2728782.008 | 1218064.408
9 | 2728770.6853 | 1218067.5043
10 | 2728736.7098 | 1217919.1293
11 | 2728796.3072 | 1218099.2027
12 | 2727986.12 | 1218333.5918
13 | 2727171.0386 | 1218457.7846
14 | 2727266.1834 | 1218469.4688
15 | 2727277.4237 | 1218470.3762
16 | 2727712.9346 | 1218298.5246
17 | 2727276.1456 | 1218471.9393
18 | 2727593.8954 | 1218096.5692
19 | 2727586.1704 | 1218099.8953
20 | 2727728.6186 | 1217859.3888
21 | 2727913.7634 | 1218256.2544
22 | 2728731.2913 | 1217859.2915
23 | 2728728.8219 | 1217905.2652
24 | 2728740.4962 | 1217827.2377
25 | 2728733.7654 | 1217828.0818
26 | 2728650.9134 | 1217214.4025
27 | 2727990.1641 | 1218312.8844
28 | 2728721.4886 | 1217841.3494
29 | 2728506.0214 | 1217008.5696
30 | 2727535.1788 | 1218060.4056
31 | 2727125.7464 | 1217653.1708
32 | 2727134.6051 | 1217657.2592
33 | 2727134.2573 | 1217654.1788
34 | 2727136.2384 | 1217633.0415
35 | 2727728.6186 | 1217859.3888

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97958 | -0.39497 | 0.001704 | 0.00042705
1 | 0.97947 | -0.39705 | 0 | 0
2 | 0.97994 | -0.38785 | 0 | 0
3 | 0.97489 | -0.4879 | 0 | 0
4 | 0.98003 | -0.38599 | 0 | 0
5 | 0.97986 | -0.38936 | 0.0023259 | 0.00058294
6 | 0.97993 | -0.38796 | 0.00063449 | 0.00015902
7 | 0.98023 | -0.3821 | 0.0015867 | 0.00039765
8 | 0.97475 | -0.49065 | 0.0020236 | 0.00050716
9 | 0.97477 | -0.49022 | 0 | 0
10 | 0.97428 | -0.49996 | 0 | 0
11 | 0.97487 | -0.48829 | 0.000792 | 0.00019849
12 | 0.98066 | -0.37365 | 0 | 0
13 | 0.98348 | -0.31849 | 0.001709 | 0.0004283
14 | 0.98364 | -0.31546 | 0 | 0
15 | 0.98366 | -0.31511 | 0 | 0
16 | 0.98542 | -0.28058 | 0 | 0
17 | 0.98365 | -0.31516 | 0.0014358 | 0.00035985
18 | 0.99042 | -0.18354 | 0 | 0
19 | 0.99036 | -0.18466 | 0.00091398 | 0.00022907
20 | 1 | 0 | -0.026762 | -0.0064037
21 | 0.98206 | -0.34625 | 0.00050427 | 0.00012638
22 | 0.9741 | -0.50349 | 0.00079116 | 0.00019828
23 | 0.97423 | -0.50097 | 0.00069989 | 0.00017541
24 | 0.97404 | -0.50471 | 0 | 0
25 | 0.97404 | -0.5048 | 0 | 0
26 | 0.97328 | -0.52009 | 0 | 0
27 | 0.98063 | -0.37413 | 0.0012429 | 0.00031151
28 | 0.97403 | -0.50504 | 0.00066877 | 0.00016761
29 | 0.97297 | -0.52618 | 0.0012686 | 0.00031795
30 | 0.98978 | -0.19597 | 0 | 0
31 | 0.98598 | -0.26986 | 0.0023929 | 0.00059972
32 | 0.986 | -0.26945 | 0 | 0
33 | 0.98601 | -0.26931 | 0.0039794 | 0.00099734
34 | 0.98613 | -0.26683 | 0 | 0
35 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0062757 | 0.0015595 | -0.0062751 | -0.0015593 | 6.1877e-07 | 1.6724e-07 | 0.0095283 | 0.0095283 | 0.0095283 | 0.97958 | -0.39497 | 0.97947 | -0.39705 | 2.6177
1 | -0.0079797 | -0.0019865 | 0.0079823 | 0.0019876 | 2.6925e-06 | 1.1073e-06 | 0.012117 | 0.012116 | 0.012117 | 0.97958 | -0.39497 | 0.97994 | -0.38785 | 3.3287
2 | 0.0062751 | 0.0015593 | -0.0062482 | -0.001552 | 2.6922e-05 | 7.3276e-06 | 0.0095283 | 0.0095319 | 0.0095319 | 0.97947 | -0.39705 | 0.97489 | -0.4879 | 2.6186
3 | -0.010943 | -0.0027291 | 0.010944 | 0.0027296 | 9.6487e-07 | 5.0004e-07 | 0.016612 | 0.016612 | 0.016612 | 0.97994 | -0.38785 | 0.98003 | -0.38599 | 4.5637
4 | 0.0023261 | 0.00058259 | -0.0023259 | -0.00058294 | 1.6746e-07 | -3.4374e-07 | 0.003532 | 0.0035322 | 0.0035322 | 0.97994 | -0.38785 | 0.97986 | -0.38936 | 0.97038
5 | 0.00063449 | 0.0001589 | -0.00063449 | -0.00015902 | 3.3263e-09 | -1.1826e-07 | 0.00096342 | 0.00096347 | 0.00096347 | 0.97994 | -0.38785 | 0.97993 | -0.38796 | 0.26469
6 | 0.00079202 | 0.00019817 | -0.000792 | -0.00019849 | 1.4579e-08 | -3.2239e-07 | 0.0012088 | 0.0012089 | 0.0012089 | 0.97489 | -0.4879 | 0.97487 | -0.48829 | 0.33211
7 | 0.0054561 | 0.0013538 | -0.0054555 | -0.0013537 | 5.9744e-07 | 9.5645e-08 | 0.0083231 | 0.0083232 | 0.0083232 | 0.97489 | -0.4879 | 0.97477 | -0.49022 | 2.2866
8 | -0.010944 | -0.0027296 | 0.010946 | 0.0027307 | 2.0199e-06 | 1.0467e-06 | 0.016612 | 0.016612 | 0.016612 | 0.98003 | -0.38599 | 0.98023 | -0.3821 | 4.5637
9 | -0.012533 | -0.0031283 | 0.012538 | 0.0031311 | 5.0336e-06 | 2.7536e-06 | 0.01902 | 0.01902 | 0.01902 | 0.98023 | -0.3821 | 0.98066 | -0.37365 | 5.2254
10 | -0.0020236 | -0.00050716 | 0.0020236 | 0.00050704 | 4.2005e-08 | -1.1944e-07 | 0.0030891 | 0.0030891 | 0.0030891 | 0.97475 | -0.49065 | 0.97477 | -0.49022 | 0.84866
11 | 0.0034319 | 0.00084668 | -0.0034303 | -0.00084758 | 1.5744e-06 | -9.015e-07 | 0.0052341 | 0.0052348 | 0.0052348 | 0.97477 | -0.49022 | 0.97428 | -0.49996 | 1.4381
12 | 0.0034303 | 0.00084758 | -0.0034302 | -0.00084767 | 1.6445e-07 | -9.4028e-08 | 0.0052348 | 0.0052349 | 0.0052349 | 0.97428 | -0.49996 | 0.97423 | -0.50097 | 1.4382
13 | -0.013781 | -0.0034423 | 0.013799 | 0.0034525 | 1.7967e-05 | 1.0114e-05 | 0.020906 | 0.020906 | 0.020906 | 0.98066 | -0.37365 | 0.98206 | -0.34625 | 5.7434
14 | 0.001243 | 0.00031126 | -0.0012429 | -0.00031151 | 2.8158e-08 | -2.4831e-07 | 0.001886 | 0.0018861 | 0.0018861 | 0.98066 | -0.37365 | 0.98063 | -0.37413 | 0.51815
15 | -0.001709 | -0.0004283 | 0.0017092 | 0.00042721 | 2.4651e-07 | -1.0903e-06 | 0.0025857 | 0.0025852 | 0.0025857 | 0.98348 | -0.31849 | 0.98364 | -0.31546 | 0.71035
16 | -0.0017092 | -0.00042721 | 0.0017092 | 0.00042709 | 2.842e-08 | -1.2576e-07 | 0.0025852 | 0.0025852 | 0.0025852 | 0.98364 | -0.31546 | 0.98366 | -0.31511 | 0.71022
17 | -0.0031451 | -0.00078692 | 0.0031502 | 0.00078249 | 5.1561e-06 | -4.4307e-06 | 0.0047572 | 0.0047545 | 0.0047572 | 0.98366 | -0.31511 | 0.98542 | -0.28058 | 1.3069
18 | 0.0014358 | 0.00035983 | -0.0014358 | -0.00035985 | 3.572e-09 | -2.3344e-08 | 0.002172 | 0.0021721 | 0.0021721 | 0.98366 | -0.31511 | 0.98365 | -0.31516 | 0.59672
19 | 0.014348 | 0.0036043 | -0.014303 | -0.0035788 | 4.4826e-05 | 2.5457e-05 | 0.021669 | 0.02167 | 0.02167 | 0.98542 | -0.28058 | 0.98206 | -0.34625 | 5.9532
20 | -0.017498 | -0.0043868 | 0.017579 | 0.0044348 | 8.1294e-05 | 4.8052e-05 | 0.026423 | 0.026422 | 0.026423 | 0.98542 | -0.28058 | 0.99042 | -0.18354 | 7.2591
21 | 0.0073125 | 0.0018331 | -0.0073121 | -0.001833 | 3.9032e-07 | 1.3884e-07 | 0.010987 | 0.010987 | 0.010987 | 0.99042 | -0.18354 | 0.99036 | -0.18466 | 3.0183
22 | -0.024892 | -0.0062679 | 0.025112 | 0.0064036 | 0.00022047 | 0.00013564 | 0.037408 | 0.037406 | 0.037408 | 0.99042 | -0.18354 | 1 | 0 | 10.277
23 | 0.0063981 | 0.0016039 | -0.0063947 | -0.001603 | 3.4457e-06 | 9.267e-07 | 0.0096133 | 0.0096138 | 0.0096138 | 0.99036 | -0.18466 | 0.98978 | -0.19597 | 2.6412
24 | -0.00273 | -0.00067267 | 0.0027303 | 0.00067226 | 3.2322e-07 | -4.1145e-07 | 0.0041661 | 0.0041659 | 0.0041661 | 0.9741 | -0.50349 | 0.97423 | -0.50097 | 1.1445
25 | 0.0019388 | 0.00047439 | -0.0019387 | -0.00047474 | 1.1031e-07 | -3.4799e-07 | 0.0029576 | 0.0029577 | 0.0029577 | 0.9741 | -0.50349 | 0.97404 | -0.50471 | 0.81256
26 | 0.00066878 | 0.00016728 | -0.00066877 | -0.00016737 | 2.8905e-09 | -9.0084e-08 | 0.0010215 | 0.0010216 | 0.0010216 | 0.97404 | -0.50471 | 0.97404 | -0.5048 | 0.28065
27 | 0.0012699 | 0.00030746 | -0.001269 | -0.00031495 | 9.1476e-07 | -7.4957e-06 | 0.0019362 | 0.001939 | 0.001939 | 0.97404 | -0.50471 | 0.97328 | -0.52009 | 0.5327
28 | 0.00066877 | 0.00016737 | -0.00066877 | -0.00016761 | 7.6608e-09 | -2.3872e-07 | 0.0010216 | 0.0010217 | 0.0010217 | 0.97404 | -0.5048 | 0.97403 | -0.50504 | 0.28068
29 | 0.001269 | 0.00031495 | -0.0012686 | -0.00031795 | 3.6701e-07 | -2.9971e-06 | 0.001939 | 0.0019402 | 0.0019402 | 0.97328 | -0.52009 | 0.97297 | -0.52618 | 0.53302
30 | 0.0063947 | 0.001603 | -0.0063731 | -0.0015971 | 2.1553e-05 | 5.8332e-06 | 0.0096138 | 0.0096166 | 0.0096166 | 0.98978 | -0.19597 | 0.98613 | -0.26683 | 2.6419
31 | -0.0023929 | -0.00059972 | 0.002393 | 0.00059962 | 4.7715e-08 | -9.3901e-08 | 0.0036113 | 0.0036113 | 0.0036113 | 0.98598 | -0.26986 | 0.986 | -0.26945 | 0.99212
32 | -0.002393 | -0.00059962 | 0.002393 | 0.00059959 | 1.516e-08 | -2.9837e-08 | 0.0036113 | 0.0036113 | 0.0036113 | 0.986 | -0.26945 | 0.98601 | -0.26931 | 0.99211
33 | -0.0063724 | -0.0015969 | 0.0063731 | 0.0015971 | 7.5288e-07 | 2.0491e-07 | 0.0096167 | 0.0096166 | 0.0096167 | 0.98601 | -0.26931 | 0.98613 | -0.26683 | 2.642

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.028029 | 0.0067213

## res_load
| p_mw | q_mvar
0 | 0.001704 | 0.00042705
1 | 0.0023259 | 0.00058294
2 | 0.00063449 | 0.00015902
3 | 0.0015867 | 0.00039765
4 | 0.0020236 | 0.00050716
5 | 0.000792 | 0.00019849
6 | 0.001709 | 0.0004283
7 | 0.0014358 | 0.00035985
8 | 0.00091398 | 0.00022907
9 | 0.001267 | 0.00031755
10 | 0.00050427 | 0.00012638
11 | 0.00079116 | 0.00019828
12 | 0.00069989 | 0.00017541
13 | 0.0012429 | 0.00031151
14 | 0.00066877 | 0.00016761
15 | 0.0012686 | 0.00031795
16 | 0.0023929 | 0.00059972
17 | 0.0039794 | 0.00099734

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1