## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1630-124_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1630-124_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1630-124_0_3_node_4 | 0.4 | n |  | TRUE
3 | bus_LV_1630-124_0_3_node_159 | 0.4 | n |  | TRUE
4 | bus_LV_1630-124_0_3_node_2 | 0.4 | n |  | TRUE
5 | bus_LV_1630-124_0_3_node_3 | 0.4 | n |  | TRUE
6 | bus_LV_1630-124_0_3_node_160 | 0.4 | n |  | TRUE
7 | bus_LV_1630-124_0_3_node_60 | 0.4 | n |  | TRUE
8 | bus_LV_1630-124_0_3_node_24 | 0.4 | n |  | TRUE
9 | bus_LV_1630-124_0_3_node_25 | 0.4 | n |  | TRUE
10 | bus_LV_1630-124_0_3_node_26 | 0.4 | n |  | TRUE
11 | bus_LV_1630-124_0_3_node_27 | 0.4 | n |  | TRUE
12 | bus_LV_1630-124_0_3_node_28 | 0.4 | n |  | TRUE
13 | bus_LV_1630-124_0_3_node_29 | 0.4 | n |  | TRUE
14 | bus_LV_1630-124_0_3_node_30 | 0.4 | n |  | TRUE
15 | bus_LV_1630-124_0_3_node_31 | 0.4 | n |  | TRUE
16 | bus_LV_1630-124_0_3_node_34 | 0.4 | n |  | TRUE
17 | bus_LV_1630-124_0_3_node_32 | 0.4 | n |  | TRUE
18 | bus_LV_1630-124_0_3_node_157 | 0.4 | n |  | TRUE
19 | bus_LV_1630-124_0_3_node_162 | 0.4 | n |  | TRUE
20 | bus_LV_1630-124_0_3_node_163 | 0.4 | n |  | TRUE
21 | bus_LV_1630-124_0_3_node_36 | 0.4 | n |  | TRUE
22 | bus_LV_1630-124_0_3_node_33 | 0.4 | n |  | TRUE
23 | bus_LV_1630-124_0_3_node_38 | 0.4 | n |  | TRUE
24 | bus_LV_1630-124_0_3_node_45 | 0.4 | n |  | TRUE
25 | bus_LV_1630-124_0_3_node_46 | 0.4 | n |  | TRUE
26 | bus_LV_1630-124_0_3_node_40 | 0.4 | n |  | TRUE
27 | bus_LV_1630-124_0_3_node_37 | 0.4 | n |  | TRUE
28 | bus_LV_1630-124_0_3_node_35 | 0.4 | n |  | TRUE
29 | bus_LV_1630-124_0_3_node_49 | 0.4 | n |  | TRUE
30 | bus_LV_1630-124_0_3_node_52 | 0.4 | n |  | TRUE
31 | bus_LV_1630-124_0_3_node_41 | 0.4 | n |  | TRUE
32 | bus_LV_1630-124_0_3_node_47 | 0.4 | n |  | TRUE
33 | bus_LV_1630-124_0_3_node_48 | 0.4 | n |  | TRUE
34 | bus_LV_1630-124_0_3_node_42 | 0.4 | n |  | TRUE
35 | bus_LV_1630-124_0_3_node_43 | 0.4 | n |  | TRUE
36 | bus_LV_1630-124_0_3_node_56 | 0.4 | n |  | TRUE
37 | bus_LV_1630-124_0_3_node_44 | 0.4 | n |  | TRUE
38 | bus_LV_1630-124_0_3_node_141 | 0.4 | n |  | TRUE
39 | bus_LV_1630-124_0_3_node_57 | 0.4 | n |  | TRUE
40 | bus_LV_1630-124_0_3_node_142 | 0.4 | n |  | TRUE
41 | bus_LV_1630-124_0_3_node_135 | 0.4 | n |  | TRUE
42 | bus_LV_1630-124_0_3_node_50 | 0.4 | n |  | TRUE
43 | bus_LV_1630-124_0_3_node_53 | 0.4 | n |  | TRUE
44 | bus_LV_1630-124_0_3_node_51 | 0.4 | n |  | TRUE
45 | bus_LV_1630-124_0_3_node_123 | 0.4 | n |  | TRUE
46 | bus_LV_1630-124_0_3_node_144 | 0.4 | n |  | TRUE
47 | bus_LV_1630-124_0_3_node_122 | 0.4 | n |  | TRUE
48 | bus_LV_1630-124_0_3_node_55 | 0.4 | n |  | TRUE
49 | bus_LV_1630-124_0_3_node_58 | 0.4 | n |  | TRUE
50 | bus_LV_1630-124_0_3_node_59 | 0.4 | n |  | TRUE
51 | bus_LV_1630-124_0_3_node_61 | 0.4 | n |  | TRUE
52 | bus_LV_1630-124_0_3_node_93 | 0.4 | n |  | TRUE
53 | bus_LV_1630-124_0_3_node_94 | 0.4 | n |  | TRUE
54 | bus_LV_1630-124_0_3_node_95 | 0.4 | n |  | TRUE
55 | bus_LV_1630-124_0_3_node_96 | 0.4 | n |  | TRUE
56 | bus_LV_1630-124_0_3_node_125 | 0.4 | n |  | TRUE
57 | bus_LV_1630-124_0_3_node_152 | 0.4 | n |  | TRUE
58 | bus_LV_1630-124_0_3_node_124 | 0.4 | n |  | TRUE
59 | bus_LV_1630-124_0_3_node_156 | 0.4 | n |  | TRUE
60 | bus_LV_1630-124_0_3_node_155 | 0.4 | n |  | TRUE
61 | bus_LV_1630-124_0_3_node_121 | 0.4 | n |  | TRUE
62 | bus_LV_1630-124_0_3_node_145 | 0.4 | n |  | TRUE
63 | bus_LV_1630-124_0_3_node_143 | 0.4 | n |  | TRUE
64 | bus_LV_1630-124_0_3_node_109 | 0.4 | n |  | TRUE
65 | bus_LV_1630-124_0_3_node_101 | 0.4 | n |  | TRUE
66 | bus_LV_1630-124_0_3_node_119 | 0.4 | n |  | TRUE
67 | bus_LV_1630-124_0_3_node_116 | 0.4 | n |  | TRUE
68 | bus_LV_1630-124_0_3_node_161 | 0.4 | n |  | TRUE
69 | bus_LV_1630-124_0_3_node_117 | 0.4 | n |  | TRUE
70 | bus_LV_1630-124_0_3_node_103 | 0.4 | n |  | TRUE
71 | bus_LV_1630-124_0_3_node_104 | 0.4 | n |  | TRUE
72 | bus_LV_1630-124_0_3_node_110 | 0.4 | n |  | TRUE
73 | bus_LV_1630-124_0_3_node_106 | 0.4 | n |  | TRUE
74 | bus_LV_1630-124_0_3_node_107 | 0.4 | n |  | TRUE
75 | bus_LV_1630-124_0_3_node_108 | 0.4 | n |  | TRUE
76 | bus_LV_1630-124_0_3_node_118 | 0.4 | n |  | TRUE
77 | bus_LV_1630-124_0_3_node_120 | 0.4 | n |  | TRUE
78 | bus_LV_1630-124_0_3_node_134 | 0.4 | n |  | TRUE
79 | bus_LV_1630-124_0_3_node_154 | 0.4 | n |  | TRUE
80 | bus_LV_1630-124_0_3_node_133 | 0.4 | n |  | TRUE
81 | bus_LV_1630-124_0_3_node_146 | 0.4 | n |  | TRUE
82 | bus_LV_1630-124_0_3_node_132 | 0.4 | n |  | TRUE
83 | bus_MV_20_1_node_136 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1630-124_0_3_load_0 | 0 | 0.00076856 | 0.00019262 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1630-124_0_3_load_4 | 2 | 0.00051402 | 0.00012882 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1630-124_0_3_load_2 | 4 | 0.00046029 | 0.00011536 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1630-124_0_3_load_160 | 6 | 0.00081493 | 0.00020424 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1630-124_0_3_load_60 | 7 | 0.0004934 | 0.00012366 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1630-124_0_3_load_24 | 8 | 0.00031428 | 7.8767e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1630-124_0_3_load_31 | 15 | 0.00098907 | 0.00024788 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1630-124_0_3_load_32 | 17 | 0.00073656 | 0.0001846 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1630-124_0_3_load_157 | 18 | 0.0012626 | 0.00031643 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1630-124_0_3_load_162 | 19 | 0.006369 | 0.0015962 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1630-124_0_3_load_163 | 20 | 0.00053573 | 0.00013427 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1630-124_0_3_load_36 | 21 | 0.001009 | 0.00025289 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1630-124_0_3_load_33 | 22 | 0.0022609 | 0.00056663 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1630-124_0_3_load_45 | 24 | 0.0035597 | 0.00089214 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1630-124_0_3_load_46 | 25 | 0.00088695 | 0.00022229 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1630-124_0_3_load_40 | 26 | 0.00057375 | 0.0001438 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1630-124_0_3_load_35 | 28 | 0.0026574 | 0.00066601 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1630-124_0_3_load_47 | 32 | 0.0012824 | 0.0003214 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1630-124_0_3_load_48 | 33 | 0.0014328 | 0.0003591 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1630-124_0_3_load_42 | 34 | 0.0010554 | 0.00026452 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1630-124_0_3_load_43 | 35 | 0.0010215 | 0.00025601 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1630-124_0_3_load_44 | 37 | 0.0041442 | 0.0010386 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1630-124_0_3_load_57 | 39 | 0.0007804 | 0.00019559 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1630-124_0_3_load_142 | 40 | 0.0051711 | 0.001296 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1630-124_0_3_load_50 | 42 | 0.0015741 | 0.0003945 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1630-124_0_3_load_53 | 43 | 0.0027101 | 0.00067921 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1630-124_0_3_load_51 | 44 | 0.00038988 | 9.7712e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1630-124_0_3_load_144 | 46 | 0.0056796 | 0.0014234 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1630-124_0_3_load_55 | 48 | 0.0011116 | 0.00027858 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1630-124_0_3_load_58 | 49 | 0.0016245 | 0.00040714 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1630-124_0_3_load_61 | 51 | 0.0011773 | 0.00029505 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1630-124_0_3_load_93 | 52 | 0.013805 | 0.0034598 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1630-124_0_3_load_95 | 54 | 0.0039287 | 0.00098461 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1630-124_0_3_load_152 | 57 | 0.0047174 | 0.0011823 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1630-124_0_3_load_156 | 59 | 0.0028479 | 0.00071376 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1630-124_0_3_load_155 | 60 | 0.0045448 | 0.001139 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1630-124_0_3_load_121 | 61 | 0.0065395 | 0.001639 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1630-124_0_3_load_145 | 62 | 0.0023967 | 0.00060067 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1630-124_0_3_load_143 | 63 | 0.032364 | 0.0081111 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1630-124_0_3_load_116 | 67 | 0.0027598 | 0.00069168 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1630-124_0_3_load_161 | 68 | 0.0022701 | 0.00056895 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1630-124_0_3_load_117 | 69 | 0.0022707 | 0.00056909 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1630-124_0_3_load_103 | 70 | 0.0097518 | 0.002444 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1630-124_0_3_load_104 | 71 | 0.0070287 | 0.0017615 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1630-124_0_3_load_110 | 72 | 0.016199 | 0.0040597 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1630-124_0_3_load_106 | 73 | 0.007684 | 0.0019258 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1630-124_0_3_load_107 | 74 | 0.0073023 | 0.0018301 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1630-124_0_3_load_118 | 76 | 0.0029465 | 0.00073845 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1630-124_0_3_load_154 | 79 | 0.00055724 | 0.00013966 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1630-124_0_3_load_146 | 81 | 0.0058537 | 0.0014671 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1630-124_0_3_load_132 | 82 | 0.00068875 | 0.00017262 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 45 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1630-124_0_3_line_0 |  | 0 | 1 | 0.11545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1630-124_0_3_line_1 |  | 0 | 2 | 0.1197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1630-124_0_3_line_2 |  | 1 | 3 | 0.27815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1630-124_0_3_line_3 |  | 2 | 5 | 0.10225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1630-124_0_3_line_4 |  | 3 | 6 | 0.063648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1630-124_0_3_line_5 |  | 4 | 5 | 0.021001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1630-124_0_3_line_6 |  | 6 | 7 | 0.35404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1630-124_0_3_line_7 |  | 7 | 51 | 0.013592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1630-124_0_3_line_8 |  | 7 | 50 | 0.031487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1630-124_0_3_line_9 |  | 8 | 9 | 0.033367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1630-124_0_3_line_10 |  | 8 | 10 | 0.038512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1630-124_0_3_line_11 |  | 9 | 11 | 0.010008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1630-124_0_3_line_12 |  | 9 | 12 | 0.089846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1630-124_0_3_line_13 |  | 10 | 13 | 0.044244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1630-124_0_3_line_14 |  | 10 | 14 | 0.047668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1630-124_0_3_line_15 |  | 11 | 15 | 0.015669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1630-124_0_3_line_16 |  | 12 | 16 | 0.072208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1630-124_0_3_line_17 |  | 12 | 17 | 0.043115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1630-124_0_3_line_18 |  | 13 | 18 | 0.016577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1630-124_0_3_line_19 |  | 14 | 19 | 0.012598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1630-124_0_3_line_20 |  | 14 | 20 | 0.033621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1630-124_0_3_line_21 |  | 16 | 21 | 0.044878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1630-124_0_3_line_22 |  | 17 | 22 | 0.0025519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1630-124_0_3_line_23 |  | 21 | 28 | 0.0072287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1630-124_0_3_line_24 |  | 23 | 24 | 0.020581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1630-124_0_3_line_25 |  | 23 | 25 | 0.037305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1630-124_0_3_line_26 |  | 23 | 26 | 0.014446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1630-124_0_3_line_27 |  | 23 | 27 | 0.042582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1630-124_0_3_line_28 |  | 24 | 29 | 0.017604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1630-124_0_3_line_29 |  | 25 | 30 | 0.012422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1630-124_0_3_line_30 |  | 26 | 31 | 0.089858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1630-124_0_3_line_31 |  | 27 | 28 | 0.016288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1630-124_0_3_line_32 |  | 29 | 42 | 0.040534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1630-124_0_3_line_33 |  | 29 | 33 | 0.014337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1630-124_0_3_line_34 |  | 30 | 43 | 0.051249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1630-124_0_3_line_35 |  | 31 | 34 | 0.011449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1630-124_0_3_line_36 |  | 31 | 35 | 0.012364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1630-124_0_3_line_37 |  | 32 | 33 | 0.0042843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1630-124_0_3_line_38 |  | 35 | 36 | 0.025985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1630-124_0_3_line_39 |  | 36 | 39 | 0.018324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1630-124_0_3_line_40 |  | 37 | 38 | 0.00798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1630-124_0_3_line_41 |  | 38 | 40 | 0.00733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1630-124_0_3_line_42 |  | 38 | 41 | 0.008126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1630-124_0_3_line_43 |  | 39 | 50 | 0.068794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1630-124_0_3_line_44 |  | 41 | 60 | 0.03002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1630-124_0_3_line_45 |  | 41 | 77 | 0.009176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1630-124_0_3_line_46 |  | 42 | 44 | 0.031486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1630-124_0_3_line_47 |  | 43 | 45 | 0.025271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1630-124_0_3_line_48 |  | 45 | 46 | 0.012595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1630-124_0_3_line_49 |  | 45 | 47 | 0.011907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1630-124_0_3_line_50 |  | 46 | 63 | 0.032297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1630-124_0_3_line_51 |  | 47 | 61 | 0.01793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1630-124_0_3_line_52 |  | 47 | 58 | 0.036481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1630-124_0_3_line_53 |  | 48 | 49 | 0.051013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1630-124_0_3_line_54 |  | 49 | 50 | 0.013028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1630-124_0_3_line_55 |  | 52 | 53 | 0.015375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1630-124_0_3_line_56 |  | 53 | 54 | 0.02006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1630-124_0_3_line_57 |  | 53 | 55 | 0.00198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1630-124_0_3_line_58 |  | 55 | 56 | 0.039056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1630-124_0_3_line_59 |  | 55 | 57 | 0.014352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_1630-124_0_3_line_60 |  | 56 | 62 | 0.01616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_1630-124_0_3_line_61 |  | 56 | 63 | 0.018951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_1630-124_0_3_line_62 |  | 57 | 64 | 0.009269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_1630-124_0_3_line_63 |  | 58 | 59 | 0.017392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_1630-124_0_3_line_64 |  | 58 | 60 | 0.017842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_1630-124_0_3_line_65 |  | 62 | 81 | 0.00082522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_1630-124_0_3_line_66 |  | 64 | 75 | 0.011525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_1630-124_0_3_line_67 |  | 65 | 66 | 0.00197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_1630-124_0_3_line_68 |  | 65 | 67 | 0.012667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_1630-124_0_3_line_69 |  | 66 | 68 | 0.008247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_1630-124_0_3_line_70 |  | 67 | 69 | 0.0028978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_1630-124_0_3_line_71 |  | 69 | 76 | 0.023162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_1630-124_0_3_line_72 |  | 70 | 71 | 0.017612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_1630-124_0_3_line_73 |  | 71 | 72 | 0.043689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_1630-124_0_3_line_74 |  | 72 | 75 | 0.019686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_1630-124_0_3_line_75 |  | 73 | 74 | 0.0071993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_1630-124_0_3_line_76 |  | 73 | 75 | 0.0085636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_1630-124_0_3_line_77 |  | 76 | 77 | 0.017122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_1630-124_0_3_line_78 |  | 77 | 78 | 0.031635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_1630-124_0_3_line_79 |  | 78 | 79 | 0.018058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_1630-124_0_3_line_80 |  | 78 | 80 | 0.011488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_1630-124_0_3_line_81 |  | 80 | 82 | 0.010749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1630-124_0_3_trafo_123 | 0.63 MVA 20/0.4 kV | 83 | 45 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2719009.2069 | 1223366.5482 | 2719003.9389 | 1223364.8194 | 2718922.3315 | 1223309.7459 | 2718919.2498 | 1223303.7686 | 2718918.1735 | 1223299.1658
1 | 2718918.1735 | 1223299.1658 | 2718834.2725 | 1223384.5427
2 | 2719009.2069 | 1223366.5482 | 2719284.4976 | 1223326.7931
3 | 2718745.8526 | 1223356.9046 | 2718755.3758 | 1223360.5529 | 2718763.9488 | 1223366.5842 | 2718774.4282 | 1223375.1554 | 2718782.9225 | 1223382.842 | 2718788.1793 | 1223388.9294 | 2718793.4683 | 1223391.8816 | 2718799.9874 | 1223393.6353 | 2718805.0803 | 1223392.7362 | 2718818.0253 | 1223387.2347 | 2718825.3086 | 1223385.6677 | 2718834.2725 | 1223384.5427
4 | 2719297.6213 | 1223372.5584 | 2719308.9458 | 1223352.5697 | 2719309.926 | 1223346.4402 | 2719307.9361 | 1223341.2629 | 2719304.6946 | 1223339.1074 | 2719294.0822 | 1223335.314 | 2719288.3555 | 1223332.6305 | 2719284.8266 | 1223329.6797 | 2719284.4976 | 1223326.7931
5 | 2718745.8526 | 1223356.9046 | 2718739.8159 | 1223362.1438 | 2718728.7935 | 1223369.0515
6 | 2719517.3773 | 1223650.1338 | 2719297.6213 | 1223372.5584
7 | 2719507.2478 | 1223659.1971 | 2719517.3773 | 1223650.1338
8 | 2719536.8157 | 1223659.213 | 2719537.1287 | 1223657.6069 | 2719536.9775 | 1223654.9351 | 2719536.2671 | 1223652.9192 | 2719533.936 | 1223650.0146 | 2719524.9211 | 1223643.384 | 2719517.3773 | 1223650.1338
9 | 2719415.6067 | 1223909.0086 | 2719419.5096 | 1223915.9813 | 2719420.6491 | 1223920.0517 | 2719420.3419 | 1223925.5276 | 2719418.0773 | 1223930.6529 | 2719413.6132 | 1223936.1454 | 2719411.3483 | 1223938.088
10 | 2719378.2875 | 1223955.1295 | 2719384.2938 | 1223955.1833 | 2719392.2095 | 1223953.0737 | 2719407.6085 | 1223941.2956 | 2719411.3483 | 1223938.088
11 | 2719415.6067 | 1223909.0086 | 2719407.0518 | 1223914.2411
12 | 2719415.6067 | 1223909.0086 | 2719492.4168 | 1223862.0466
13 | 2719370.7039 | 1223911.5879 | 2719373.7397 | 1223934.9337 | 2719378.2875 | 1223955.1295
14 | 2719378.2875 | 1223955.1295 | 2719383.7222 | 1223990.088 | 2719395.9574 | 1223988.9325
15 | 2719407.0518 | 1223914.2411 | 2719399.8297 | 1223900.3353
16 | 2719492.4168 | 1223862.0466 | 2719554.1529 | 1223824.3122
17 | 2719492.4168 | 1223862.0466 | 2719487.3886 | 1223851.8154 | 2719489.0947 | 1223843.5321 | 2719484.5333 | 1223827.0499 | 2719478.6367 | 1223828.8181
18 | 2719354.2545 | 1223909.1784 | 2719370.7039 | 1223911.5879
19 | 2719395.9574 | 1223988.9325 | 2719406.2453 | 1223981.622
20 | 2719419.4284 | 1224006.1723 | 2719412.8286 | 1224009.2311 | 2719395.9574 | 1223988.9325
21 | 2719554.1529 | 1223824.3122 | 2719541.6917 | 1223805.7474 | 2719541.4855 | 1223803.1746 | 2719541.7061 | 1223799.743 | 2719542.9947 | 1223797.1447 | 2719554.8539 | 1223790.4895
22 | 2719476.1924 | 1223829.5511 | 2719478.6367 | 1223828.8181
23 | 2719561.1578 | 1223786.9518 | 2719554.8539 | 1223790.4895
24 | 2719612.3155 | 1223788.1634 | 2719622.281 | 1223806.1705
25 | 2719612.3155 | 1223788.1634 | 2719644.1194 | 1223768.6651
26 | 2719612.3155 | 1223788.1634 | 2719610.6601 | 1223782.9705 | 2719610.9883 | 1223773.9809
27 | 2719575.3623 | 1223778.9805 | 2719586.7491 | 1223784.2022 | 2719594.4986 | 1223785.848 | 2719601.2933 | 1223788.9536 | 2719604.3028 | 1223793.1952 | 2719612.3155 | 1223788.1634
28 | 2719627.2304 | 1223822.3786 | 2719627.834 | 1223819.9 | 2719627.7919 | 1223817.4639 | 2719626.859 | 1223814.4428 | 2719622.281 | 1223806.1705
29 | 2719654.7093 | 1223762.1728 | 2719644.1194 | 1223768.6651
30 | 2719608.4838 | 1223684.4721 | 2719610.3163 | 1223704.6246 | 2719612.6641 | 1223716.5033 | 2719612.8384 | 1223723.301 | 2719610.9883 | 1223773.9809
31 | 2719575.3623 | 1223778.9805 | 2719561.1578 | 1223786.9518
32 | 2719627.2304 | 1223822.3786 | 2719657.0062 | 1223819.1857 | 2719666.6783 | 1223814.88
33 | 2719627.2304 | 1223822.3786 | 2719614.7376 | 1223829.4126
34 | 2719654.7093 | 1223762.1728 | 2719698.3969 | 1223735.38
35 | 2719608.4838 | 1223684.4721 | 2719597.1301 | 1223685.9454
36 | 2719608.4838 | 1223684.4721 | 2719612.9097 | 1223679.0123 | 2719614.0171 | 1223676.3769 | 2719614.2854 | 1223673.9146
37 | 2719611.0044 | 1223831.5146 | 2719614.7376 | 1223829.4126
38 | 2719611.6405 | 1223648.1961 | 2719614.5294 | 1223664.478 | 2719614.5007 | 1223671.9388 | 2719614.2854 | 1223673.9146
39 | 2719611.6405 | 1223648.1961 | 2719598.5323 | 1223651.6132 | 2719597.5357 | 1223656.2857
40 | 2719706.5783 | 1223655.8547 | 2719699.5477 | 1223659.6296
41 | 2719702.7906 | 1223649.5736 | 2719706.5783 | 1223655.8547
42 | 2719714.2637 | 1223653.1516 | 2719706.5783 | 1223655.8547
43 | 2719536.8157 | 1223659.213 | 2719540.4281 | 1223659.5079 | 2719541.8656 | 1223667.6209 | 2719557.82 | 1223665.2505 | 2719574.0222 | 1223662.2514 | 2719585.4275 | 1223660.1455 | 2719593.3073 | 1223657.9576 | 2719597.5357 | 1223656.2857
44 | 2719714.2637 | 1223653.1516 | 2719714.8329 | 1223656.5323 | 2719715.8653 | 1223658.7548 | 2719726.3376 | 1223667.5834 | 2719733.5853 | 1223675.1033
45 | 2719720.2668 | 1223646.6005 | 2719718.235 | 1223647.6716 | 2719716.4981 | 1223649.1712 | 2719715.1483 | 1223651.0344 | 2719714.2637 | 1223653.1516
46 | 2719666.6783 | 1223814.88 | 2719682.3634 | 1223807.8977 | 2719683.815 | 1223806.2478 | 2719684.6809 | 1223803.552 | 2719684.7865 | 1223800.941 | 2719684.002 | 1223796.9554 | 2719682.411 | 1223794.8828
47 | 2719719.9222 | 1223722.1414 | 2719704.515 | 1223731.6279 | 2719698.3969 | 1223735.38
48 | 2719719.9222 | 1223722.1414 | 2719726.6562 | 1223732.7852
49 | 2719719.9222 | 1223722.1414 | 2719729.8114 | 1223715.4684
50 | 2719753.1994 | 1223714.3844 | 2719726.6562 | 1223732.7852
51 | 2719729.8114 | 1223715.4684 | 2719720.3389 | 1223700.2446
52 | 2719729.8114 | 1223715.4684 | 2719737.0091 | 1223710.6094 | 2719748.7039 | 1223702.0379 | 2719743.9169 | 1223689.632
53 | 2719484.4542 | 1223680.3368 | 2719489.1923 | 1223676.2925 | 2719491.2818 | 1223675.7451 | 2719493.9084 | 1223675.6422 | 2719503.4603 | 1223681.9722 | 2719505.7227 | 1223682.2511 | 2719507.6228 | 1223681.3108 | 2719510.7832 | 1223678.0494 | 2719516.5201 | 1223673.4054 | 2719524.4951 | 1223670.63 | 2719527.26 | 1223668.0679
54 | 2719536.8157 | 1223659.213 | 2719527.26 | 1223668.0679
55 | 2719781.8251 | 1223674.3826 | 2719793.0895 | 1223663.9182
56 | 2719781.8251 | 1223674.3826 | 2719768.6201 | 1223659.2496
57 | 2719780.3719 | 1223675.7322 | 2719781.8251 | 1223674.3826
58 | 2719780.3719 | 1223675.7322 | 2719773.1416 | 1223682.2029 | 2719761.1045 | 1223692.3242 | 2719768.7742 | 1223703.5873
59 | 2719780.3719 | 1223675.7322 | 2719790.4261 | 1223685.9745
60 | 2719768.7742 | 1223703.5873 | 2719778.0164 | 1223707.1983 | 2719781.3487 | 1223712.4712
61 | 2719768.7742 | 1223703.5873 | 2719753.1994 | 1223714.3844
62 | 2719796.1846 | 1223693.2085 | 2719792.4654 | 1223688.0519 | 2719790.4261 | 1223685.9745
63 | 2719748.9041 | 1223673.2528 | 2719748.2968 | 1223680.4351 | 2719743.9169 | 1223689.632
64 | 2719743.9169 | 1223689.632 | 2719734.4144 | 1223675.9635 | 2719733.5853 | 1223675.1033
65 | 2719781.7896 | 1223713.1688 | 2719781.3487 | 1223712.4712
66 | 2719802.1835 | 1223703.0591 | 2719796.1846 | 1223693.2085
67 | 2719760.3807 | 1223609.2114 | 2719762.048 | 1223608.1553
68 | 2719760.3807 | 1223609.2114 | 2719754.1568 | 1223613.1671 | 2719750.5341 | 1223617.0251
69 | 2719762.048 | 1223608.1553 | 2719765.3472 | 1223615.7164
70 | 2719750.5341 | 1223617.0251 | 2719749.9243 | 1223617.6744 | 2719748.7059 | 1223619.2693
71 | 2719748.7059 | 1223619.2693 | 2719745.5069 | 1223623.4567 | 2719738.4759 | 1223634.346 | 2719735.573 | 1223637.2455 | 2719734.8892 | 1223637.7118
72 | 2719836.307 | 1223756.3209 | 2719846.0402 | 1223770.9996
73 | 2719811.3836 | 1223720.4379 | 2719836.307 | 1223756.3209
74 | 2719802.1835 | 1223703.0591 | 2719806.3219 | 1223711.8826 | 2719811.3836 | 1223720.4379
75 | 2719815.4108 | 1223694.4853 | 2719809.3695 | 1223698.4012
76 | 2719802.1835 | 1223703.0591 | 2719809.3695 | 1223698.4012
77 | 2719720.2668 | 1223646.6005 | 2719730.743 | 1223640.5398 | 2719734.8892 | 1223637.7118
78 | 2719720.2668 | 1223646.6005 | 2719706.4057 | 1223622.2139 | 2719703.9016 | 1223619.617
79 | 2719703.9016 | 1223619.617 | 2719705.6408 | 1223609.3329 | 2719705.1729 | 1223607.333 | 2719702.1985 | 1223602.6186
80 | 2719703.9016 | 1223619.617 | 2719701.2025 | 1223618.7955 | 2719692.5034 | 1223618.7205
81 | 2719692.5034 | 1223618.7205 | 2719687.7377 | 1223616.1783 | 2719684.9131 | 1223611.6377

## bus_geodata
| x | y | coords
0 | 2718918.1735 | 1223299.1658
1 | 2719009.2069 | 1223366.5482
2 | 2718834.2725 | 1223384.5427
3 | 2719284.4976 | 1223326.7931
4 | 2718728.7935 | 1223369.0515
5 | 2718745.8526 | 1223356.9046
6 | 2719297.6213 | 1223372.5584
7 | 2719517.3773 | 1223650.1338
8 | 2719411.3483 | 1223938.088
9 | 2719415.6067 | 1223909.0086
10 | 2719378.2875 | 1223955.1295
11 | 2719407.0518 | 1223914.2411
12 | 2719492.4168 | 1223862.0466
13 | 2719370.7039 | 1223911.5879
14 | 2719395.9574 | 1223988.9325
15 | 2719399.8297 | 1223900.3353
16 | 2719554.1529 | 1223824.3122
17 | 2719478.6367 | 1223828.8182
18 | 2719354.2545 | 1223909.1784
19 | 2719406.2453 | 1223981.622
20 | 2719419.4284 | 1224006.1723
21 | 2719554.8539 | 1223790.4895
22 | 2719476.1924 | 1223829.5511
23 | 2719612.3155 | 1223788.1634
24 | 2719622.281 | 1223806.1705
25 | 2719644.1194 | 1223768.6651
26 | 2719610.9883 | 1223773.9809
27 | 2719575.3623 | 1223778.9805
28 | 2719561.1578 | 1223786.9518
29 | 2719627.2304 | 1223822.3786
30 | 2719654.7093 | 1223762.1728
31 | 2719608.4838 | 1223684.4721
32 | 2719611.0044 | 1223831.5146
33 | 2719614.7376 | 1223829.4126
34 | 2719597.1301 | 1223685.9454
35 | 2719614.2854 | 1223673.9146
36 | 2719611.6405 | 1223648.1961
37 | 2719699.5477 | 1223659.6296
38 | 2719706.5783 | 1223655.8547
39 | 2719597.5357 | 1223656.2857
40 | 2719702.7906 | 1223649.5736
41 | 2719714.2637 | 1223653.1516
42 | 2719666.6783 | 1223814.88
43 | 2719698.3969 | 1223735.38
44 | 2719682.411 | 1223794.8828
45 | 2719719.9222 | 1223722.1414
46 | 2719726.6562 | 1223732.7852
47 | 2719729.8114 | 1223715.4684
48 | 2719484.4542 | 1223680.3368
49 | 2719527.26 | 1223668.0679
50 | 2719536.8157 | 1223659.2129
51 | 2719507.2478 | 1223659.1971
52 | 2719793.0895 | 1223663.9182
53 | 2719781.8251 | 1223674.3826
54 | 2719768.6201 | 1223659.2496
55 | 2719780.3719 | 1223675.7322
56 | 2719768.7742 | 1223703.5873
57 | 2719790.4261 | 1223685.9745
58 | 2719743.9169 | 1223689.632
59 | 2719748.9041 | 1223673.2528
60 | 2719733.5853 | 1223675.1033
61 | 2719720.3389 | 1223700.2446
62 | 2719781.3487 | 1223712.4712
63 | 2719753.1994 | 1223714.3844
64 | 2719796.1846 | 1223693.2085
65 | 2719760.3807 | 1223609.2114
66 | 2719762.048 | 1223608.1553
67 | 2719750.5341 | 1223617.0251
68 | 2719765.3472 | 1223615.7164
69 | 2719748.7059 | 1223619.2693
70 | 2719846.0402 | 1223770.9996
71 | 2719836.307 | 1223756.3209
72 | 2719811.3836 | 1223720.4379
73 | 2719809.3695 | 1223698.4012
74 | 2719815.4108 | 1223694.4853
75 | 2719802.1835 | 1223703.0591
76 | 2719734.8892 | 1223637.7118
77 | 2719720.2668 | 1223646.6005
78 | 2719703.9016 | 1223619.617
79 | 2719702.1985 | 1223602.6186
80 | 2719692.5034 | 1223618.7205
81 | 2719781.7896 | 1223713.1688
82 | 2719684.9131 | 1223611.6377
83 | 2719729.8114 | 1223715.4684

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9924 | -0.14706 | 0.00076856 | 0.00019262
1 | 0.99258 | -0.14348 | 0 | 0
2 | 0.99229 | -0.14914 | 0.00051402 | 0.00012882
3 | 0.99303 | -0.13483 | 0 | 0
4 | 0.99224 | -0.15015 | 0.00046029 | 0.00011536
5 | 0.99225 | -0.14998 | 0 | 0
6 | 0.99313 | -0.13284 | 0.00081493 | 0.00020424
7 | 0.99395 | -0.11667 | 0.0004934 | 0.00012366
8 | 0.99254 | -0.14384 | 0.00031428 | 7.8767e-05
9 | 0.9928 | -0.13883 | 0 | 0
10 | 0.99225 | -0.14941 | 0 | 0
11 | 0.99279 | -0.139 | 0 | 0
12 | 0.99357 | -0.12378 | 0 | 0
13 | 0.9922 | -0.1504 | 0 | 0
14 | 0.99195 | -0.15524 | 0 | 0
15 | 0.99277 | -0.13928 | 0.00098907 | 0.00024788
16 | 0.99439 | -0.10788 | 0 | 0
17 | 0.99345 | -0.12606 | 0.00073656 | 0.0001846
18 | 0.99218 | -0.15077 | 0.0012626 | 0.00031643
19 | 0.99187 | -0.15666 | 0.006369 | 0.0015962
20 | 0.99193 | -0.15556 | 0.00053573 | 0.00013427
21 | 0.99491 | -0.098006 | 0.001009 | 0.00025289
22 | 0.99345 | -0.12616 | 0.0022609 | 0.00056663
23 | 0.99586 | -0.079562 | 0 | 0
24 | 0.99571 | -0.082544 | 0.0035597 | 0.00089214
25 | 0.99705 | -0.056747 | 0.00088695 | 0.00022229
26 | 0.99573 | -0.082213 | 0.00057375 | 0.0001438
27 | 0.99524 | -0.091658 | 0 | 0
28 | 0.995 | -0.096288 | 0.0026574 | 0.00066601
29 | 0.99563 | -0.083993 | 0 | 0
30 | 0.99745 | -0.04897 | 0 | 0
31 | 0.99492 | -0.097812 | 0 | 0
32 | 0.99559 | -0.084774 | 0.0012824 | 0.0003214
33 | 0.9956 | -0.084678 | 0.0014328 | 0.0003591
34 | 0.99491 | -0.098024 | 0.0010554 | 0.00026452
35 | 0.99482 | -0.099729 | 0.0010215 | 0.00025601
36 | 0.99464 | -0.10329 | 0 | 0
37 | 0.99761 | -0.045932 | 0.0041442 | 0.0010386
38 | 0.99764 | -0.045353 | 0 | 0
39 | 0.99451 | -0.10581 | 0.0007804 | 0.00019559
40 | 0.99761 | -0.046017 | 0.0051711 | 0.001296
41 | 0.99771 | -0.044027 | 0 | 0
42 | 0.99556 | -0.085394 | 0.0015741 | 0.0003945
43 | 0.99912 | -0.016946 | 0.0027101 | 0.00067921
44 | 0.99555 | -0.08561 | 0.00038988 | 9.7712e-05
45 | 1 | 0 | -0.19258 | -0.048251
46 | 0.99866 | -0.025657 | 0.0056796 | 0.0014234
47 | 0.99962 | -0.0072146 | 0 | 0
48 | 0.99399 | -0.11593 | 0.0011116 | 0.00027858
49 | 0.99404 | -0.11493 | 0.0016245 | 0.00040714
50 | 0.99407 | -0.1143 | 0 | 0
51 | 0.99394 | -0.11695 | 0.0011773 | 0.00029505
52 | 0.99126 | -0.16783 | 0.013805 | 0.0034598
53 | 0.99146 | -0.16407 | 0 | 0
54 | 0.99139 | -0.16547 | 0.0039287 | 0.00098461
55 | 0.99149 | -0.16345 | 0 | 0
56 | 0.99401 | -0.1148 | 0 | 0
57 | 0.9908 | -0.17686 | 0.0047174 | 0.0011823
58 | 0.99869 | -0.025182 | 0 | 0
59 | 0.99864 | -0.026048 | 0.0028479 | 0.00071376
60 | 0.99828 | -0.033092 | 0.0045448 | 0.001139
61 | 0.99952 | -0.0092601 | 0.0065395 | 0.001639
62 | 0.99389 | -0.11716 | 0.0023967 | 0.00060067
63 | 0.99538 | -0.088539 | 0.032364 | 0.0081111
64 | 0.99039 | -0.18476 | 0 | 0
65 | 0.99726 | -0.052671 | 0 | 0
66 | 0.99726 | -0.05275 | 0 | 0
67 | 0.99729 | -0.052167 | 0.0027598 | 0.00069168
68 | 0.99724 | -0.053078 | 0.0022701 | 0.00056895
69 | 0.9973 | -0.051912 | 0.0022707 | 0.00056909
70 | 0.98846 | -0.22227 | 0.0097518 | 0.002444
71 | 0.98862 | -0.21921 | 0.0070287 | 0.0017615
72 | 0.98929 | -0.20614 | 0.016199 | 0.0040597
73 | 0.98977 | -0.19687 | 0.007684 | 0.0019258
74 | 0.98972 | -0.19781 | 0.0073023 | 0.0018301
75 | 0.98988 | -0.19459 | 0 | 0
76 | 0.99746 | -0.048948 | 0.0029465 | 0.00073845
77 | 0.99761 | -0.045875 | 0 | 0
78 | 0.99758 | -0.046566 | 0 | 0
79 | 0.99757 | -0.046742 | 0.00055724 | 0.00013966
80 | 0.99757 | -0.046705 | 0 | 0
81 | 0.99388 | -0.11724 | 0.0058537 | 0.0014671
82 | 0.99756 | -0.046834 | 0.00068875 | 0.00017262
83 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.001743 | -0.00043374 | 0.0017433 | 0.00043244 | 2.9539e-07 | -1.3029e-06 | 0.0026124 | 0.0026118 | 0.0026124 | 0.9924 | -0.14706 | 0.99258 | -0.14348 | 0.71768
1 | 0.00097442 | 0.00024112 | -0.00097432 | -0.00024261 | 9.5716e-08 | -1.4852e-06 | 0.00146 | 0.0014605 | 0.0014605 | 0.9924 | -0.14706 | 0.99229 | -0.14914 | 0.40124
2 | -0.0017433 | -0.00043244 | 0.001744 | 0.0004293 | 7.1119e-07 | -3.1416e-06 | 0.0026118 | 0.0026106 | 0.0026118 | 0.99258 | -0.14348 | 0.99303 | -0.13483 | 0.71754
3 | 0.00046031 | 0.00011378 | -0.00046029 | -0.00011509 | 1.8252e-08 | -1.3091e-06 | 0.00068971 | 0.00069017 | 0.00069017 | 0.99229 | -0.14914 | 0.99225 | -0.14998 | 0.18961
4 | -0.001744 | -0.0004293 | 0.0017442 | 0.00042858 | 1.6265e-07 | -7.194e-07 | 0.0026106 | 0.0026103 | 0.0026106 | 0.99303 | -0.13483 | 0.99313 | -0.13284 | 0.71719
5 | -0.00046029 | -0.00011536 | 0.00046029 | 0.00011509 | 3.7519e-09 | -2.6886e-07 | 0.00069027 | 0.00069017 | 0.00069027 | 0.99224 | -0.15015 | 0.99225 | -0.14998 | 0.18963
6 | -0.0025591 | -0.00063282 | 0.002561 | 0.00062948 | 1.948e-06 | -3.3381e-06 | 0.0038313 | 0.0038297 | 0.0038313 | 0.99313 | -0.13284 | 0.99395 | -0.11667 | 1.0526
7 | 0.0011773 | 0.00029489 | -0.0011773 | -0.00029505 | 1.5833e-08 | -1.6603e-07 | 0.0017624 | 0.0017625 | 0.0017625 | 0.99395 | -0.11667 | 0.99394 | -0.11695 | 0.4842
8 | -0.0042317 | -0.001048 | 0.0042322 | 0.0010479 | 4.7323e-07 | -1.0529e-07 | 0.0063308 | 0.0063306 | 0.0063308 | 0.99395 | -0.11667 | 0.99407 | -0.1143 | 1.7392
9 | -0.0084862 | -0.0021261 | 0.0084882 | 0.002127 | 2.0252e-06 | 8.6479e-07 | 0.012722 | 0.012722 | 0.012722 | 0.99254 | -0.14384 | 0.9928 | -0.13883 | 3.4951
10 | 0.0081719 | 0.0020474 | -0.0081697 | -0.0020465 | 2.1677e-06 | 8.897e-07 | 0.012251 | 0.012251 | 0.012251 | 0.99254 | -0.14384 | 0.99225 | -0.14941 | 3.3657
11 | 0.00098909 | 0.00024757 | -0.00098908 | -0.00024769 | 8.247e-09 | -1.2413e-07 | 0.0014823 | 0.0014824 | 0.0014824 | 0.9928 | -0.13883 | 0.99279 | -0.139 | 0.40725
12 | -0.0094773 | -0.0023746 | 0.0094841 | 0.0023778 | 6.7978e-06 | 3.1879e-06 | 0.014204 | 0.014204 | 0.014204 | 0.9928 | -0.13883 | 0.99357 | -0.12378 | 3.9023
13 | 0.0012627 | 0.0003157 | -0.0012626 | -0.00031623 | 5.9478e-08 | -5.3339e-07 | 0.0018933 | 0.0018935 | 0.0018935 | 0.99225 | -0.14941 | 0.9922 | -0.1504 | 0.52019
14 | 0.0069071 | 0.0017308 | -0.0069051 | -0.0017302 | 1.9179e-06 | 6.1191e-07 | 0.010358 | 0.010358 | 0.010358 | 0.99225 | -0.14941 | 0.99195 | -0.15524 | 2.8457
15 | 0.00098908 | 0.00024769 | -0.00098907 | -0.00024788 | 1.2913e-08 | -1.9435e-07 | 0.0014824 | 0.0014825 | 0.0014825 | 0.99279 | -0.139 | 0.99277 | -0.13928 | 0.40727
16 | -0.012482 | -0.0031286 | 0.012491 | 0.0031337 | 9.4621e-06 | 5.1198e-06 | 0.018693 | 0.018693 | 0.018693 | 0.99357 | -0.12378 | 0.99439 | -0.10788 | 5.1356
17 | 0.0029978 | 0.00075085 | -0.0029974 | -0.0007512 | 3.2588e-07 | -3.4976e-07 | 0.0044894 | 0.0044896 | 0.0044896 | 0.99357 | -0.12378 | 0.99345 | -0.12606 | 1.2334
18 | 0.0012626 | 0.00031623 | -0.0012626 | -0.00031643 | 2.2288e-08 | -1.9983e-07 | 0.0018935 | 0.0018936 | 0.0018936 | 0.9922 | -0.1504 | 0.99218 | -0.15077 | 0.52021
19 | 0.0063694 | 0.0015963 | -0.006369 | -0.0015962 | 4.3129e-07 | 1.1341e-07 | 0.0095547 | 0.0095548 | 0.0095548 | 0.99195 | -0.15524 | 0.99187 | -0.15666 | 2.6249
20 | 0.00053574 | 0.00013384 | -0.00053573 | -0.00013427 | 8.1414e-09 | -4.2879e-07 | 0.0008035 | 0.00080366 | 0.00080366 | 0.99195 | -0.15524 | 0.99193 | -0.15556 | 0.22078
21 | -0.012491 | -0.0031337 | 0.012497 | 0.0031369 | 5.8807e-06 | 3.1811e-06 | 0.018693 | 0.018693 | 0.018693 | 0.99439 | -0.10788 | 0.99491 | -0.098006 | 5.1355
22 | 0.0022609 | 0.0005666 | -0.0022609 | -0.00056663 | 1.0974e-08 | -2.6018e-08 | 0.0033864 | 0.0033864 | 0.0033864 | 0.99345 | -0.12606 | 0.99345 | -0.12616 | 0.93033
23 | -0.013506 | -0.0033898 | 0.013507 | 0.0033904 | 1.1063e-06 | 6.1417e-07 | 0.020202 | 0.020202 | 0.020202 | 0.99491 | -0.098006 | 0.995 | -0.096288 | 5.55
24 | 0.0082406 | 0.0020643 | -0.0082394 | -0.0020638 | 1.17e-06 | 4.8109e-07 | 0.012313 | 0.012313 | 0.012313 | 0.99586 | -0.079562 | 0.99571 | -0.082544 | 3.3826
25 | -0.034832 | -0.0087271 | 0.03487 | 0.0087509 | 3.7893e-05 | 2.3766e-05 | 0.052045 | 0.052045 | 0.052045 | 0.99586 | -0.079562 | 0.99705 | -0.056747 | 14.2981
26 | 0.010414 | 0.0025989 | -0.010413 | -0.0025983 | 1.311e-06 | 6.5111e-07 | 0.015557 | 0.015557 | 0.015557 | 0.99586 | -0.079562 | 0.99573 | -0.082213 | 4.2738
27 | 0.016178 | 0.0040639 | -0.016168 | -0.0040585 | 9.3332e-06 | 5.4196e-06 | 0.024176 | 0.024176 | 0.024176 | 0.99586 | -0.079562 | 0.99524 | -0.091658 | 6.6418
28 | 0.0046797 | 0.0011717 | -0.0046794 | -0.0011717 | 3.2284e-07 | -2.2341e-08 | 0.0069931 | 0.0069931 | 0.0069931 | 0.99571 | -0.082544 | 0.99563 | -0.083993 | 1.9212
29 | -0.035757 | -0.0089732 | 0.03577 | 0.0089815 | 1.3267e-05 | 8.329e-06 | 0.053369 | 0.053369 | 0.053369 | 0.99705 | -0.056747 | 0.99745 | -0.04897 | 14.6617
30 | 0.0098388 | 0.0024545 | -0.0098316 | -0.002451 | 7.2809e-06 | 3.4919e-06 | 0.014699 | 0.0147 | 0.0147 | 0.99573 | -0.082213 | 0.99492 | -0.097812 | 4.0384
31 | 0.016168 | 0.0040585 | -0.016165 | -0.0040564 | 3.5701e-06 | 2.0733e-06 | 0.024176 | 0.024176 | 0.024176 | 0.99524 | -0.091658 | 0.995 | -0.096288 | 6.6418
32 | 0.0019641 | 0.00049136 | -0.0019639 | -0.0004918 | 1.3095e-07 | -4.4329e-07 | 0.0029351 | 0.0029353 | 0.0029353 | 0.99563 | -0.083993 | 0.99556 | -0.085394 | 0.80639
33 | 0.0027153 | 0.00068031 | -0.0027152 | -0.00068044 | 8.8538e-08 | -1.2978e-07 | 0.0040581 | 0.0040581 | 0.0040581 | 0.99563 | -0.083993 | 0.9956 | -0.084678 | 1.1149
34 | -0.03577 | -0.0089815 | 0.035825 | 0.0090158 | 5.4738e-05 | 3.4362e-05 | 0.053369 | 0.053368 | 0.053369 | 0.99745 | -0.04897 | 0.99912 | -0.016946 | 14.6617
35 | 0.0010555 | 0.00026438 | -0.0010554 | -0.00026452 | 1.0698e-08 | -1.4183e-07 | 0.0015785 | 0.0015786 | 0.0015786 | 0.99492 | -0.097812 | 0.99491 | -0.098024 | 0.43367
36 | 0.0087761 | 0.0021866 | -0.0087753 | -0.0021862 | 7.9823e-07 | 3.5032e-07 | 0.013121 | 0.013121 | 0.013121 | 0.99492 | -0.097812 | 0.99482 | -0.099729 | 3.6047
37 | -0.0012824 | -0.0003214 | 0.0012824 | 0.00032134 | 5.902e-09 | -5.1936e-08 | 0.0019167 | 0.0019166 | 0.0019167 | 0.99559 | -0.084774 | 0.9956 | -0.084678 | 0.52655
38 | 0.0077538 | 0.0019302 | -0.0077525 | -0.0019297 | 1.3097e-06 | 5.0088e-07 | 0.011593 | 0.011593 | 0.011593 | 0.99482 | -0.099729 | 0.99464 | -0.10329 | 3.185
39 | 0.0077525 | 0.0019297 | -0.0077516 | -0.0019294 | 9.2358e-07 | 3.5329e-07 | 0.011593 | 0.011593 | 0.011593 | 0.99464 | -0.10329 | 0.99451 | -0.10581 | 3.185
40 | -0.0041442 | -0.0010386 | 0.0041443 | 0.0010386 | 1.1434e-07 | -3.1016e-08 | 0.0061814 | 0.0061814 | 0.0061814 | 0.99761 | -0.045932 | 0.99764 | -0.045353 | 1.6982
41 | 0.0051713 | 0.001296 | -0.0051711 | -0.001296 | 1.6353e-07 | 8.9519e-09 | 0.0077132 | 0.0077132 | 0.0077132 | 0.99764 | -0.045353 | 0.99761 | -0.046017 | 2.119
42 | -0.0093156 | -0.0023346 | 0.0093162 | 0.0023349 | 5.883e-07 | 2.704e-07 | 0.013895 | 0.013895 | 0.013895 | 0.99764 | -0.045353 | 0.99771 | -0.044027 | 3.8172
43 | 0.0069712 | 0.0017338 | -0.0069684 | -0.0017329 | 2.8042e-06 | 9.0246e-07 | 0.010426 | 0.010426 | 0.010426 | 0.99451 | -0.10581 | 0.99407 | -0.1143 | 2.8643
44 | -0.020813 | -0.0052158 | 0.020824 | 0.0052224 | 1.0847e-05 | 6.5499e-06 | 0.031041 | 0.031041 | 0.031041 | 0.99771 | -0.044027 | 0.99828 | -0.033092 | 8.5278
45 | 0.011497 | 0.0028809 | -0.011496 | -0.0028804 | 1.0117e-06 | 5.2765e-07 | 0.017147 | 0.017147 | 0.017147 | 0.99771 | -0.044027 | 0.99761 | -0.045875 | 4.7106
46 | 0.00038988 | 9.7305e-05 | -0.00038988 | -9.7712e-05 | 4.0085e-09 | -4.0685e-07 | 0.00058259 | 0.00058273 | 0.00058273 | 0.99556 | -0.085394 | 0.99555 | -0.08561 | 0.16009
47 | -0.038535 | -0.0096951 | 0.038566 | 0.0097147 | 3.1228e-05 | 1.9654e-05 | 0.057405 | 0.057404 | 0.057405 | 0.99912 | -0.016946 | 1 | 0 | 15.7705
48 | 0.11756 | 0.029794 | -0.11742 | -0.029701 | 0.00014474 | 9.2467e-05 | 0.17505 | 0.17505 | 0.17505 | 1 | 0 | 0.99866 | -0.025657 | 48.092
49 | 0.034803 | 0.0087426 | -0.034791 | -0.0087351 | 1.1978e-05 | 7.51e-06 | 0.051794 | 0.051794 | 0.051794 | 1 | 0 | 0.99962 | -0.0072146 | 14.2292
50 | 0.11174 | 0.028278 | -0.1114 | -0.028063 | 0.00033613 | 0.0002147 | 0.16659 | 0.16659 | 0.16659 | 0.99866 | -0.025657 | 0.99538 | -0.088539 | 45.7671
51 | 0.0065402 | 0.0016391 | -0.0065395 | -0.001639 | 6.373e-07 | 1.7284e-07 | 0.0097355 | 0.0097356 | 0.0097356 | 0.99962 | -0.0072146 | 0.99952 | -0.0092601 | 2.6746
52 | 0.028251 | 0.0070959 | -0.028226 | -0.0070809 | 2.42e-05 | 1.501e-05 | 0.042059 | 0.042059 | 0.042059 | 0.99962 | -0.0072146 | 0.99869 | -0.025182 | 11.5546
53 | -0.0011116 | -0.00027858 | 0.0011116 | 0.00027795 | 5.2962e-08 | -6.2737e-07 | 0.001664 | 0.0016638 | 0.001664 | 0.99399 | -0.11593 | 0.99404 | -0.11493 | 0.45715
54 | -0.0027361 | -0.00068509 | 0.0027362 | 0.00068498 | 8.1944e-08 | -1.1644e-07 | 0.0040956 | 0.0040955 | 0.0040956 | 0.99404 | -0.11493 | 0.99407 | -0.1143 | 1.1252
55 | -0.013805 | -0.0034598 | 0.013807 | 0.0034612 | 2.476e-06 | 1.3864e-06 | 0.020723 | 0.020723 | 0.020723 | 0.99126 | -0.16783 | 0.99146 | -0.16407 | 5.6931
56 | 0.0039289 | 0.00098452 | -0.0039287 | -0.00098461 | 2.6156e-07 | -9.1279e-08 | 0.0058966 | 0.0058967 | 0.0058967 | 0.99146 | -0.16407 | 0.99139 | -0.16547 | 1.62
57 | -0.017736 | -0.0044457 | 0.017737 | 0.004446 | 5.2613e-07 | 3.1119e-07 | 0.026619 | 0.026619 | 0.026619 | 0.99146 | -0.16407 | 0.99149 | -0.16345 | 7.313
58 | -0.070526 | -0.017716 | 0.07069 | 0.017821 | 0.00016413 | 0.00010454 | 0.10586 | 0.10586 | 0.10586 | 0.99149 | -0.16345 | 0.99401 | -0.1148 | 29.0821
59 | 0.052789 | 0.01327 | -0.052755 | -0.013249 | 3.3794e-05 | 2.1443e-05 | 0.079239 | 0.07924 | 0.07924 | 0.99149 | -0.16345 | 0.9908 | -0.17686 | 21.7691
60 | 0.0082513 | 0.0020681 | -0.0082504 | -0.0020677 | 9.2463e-07 | 3.8231e-07 | 0.012352 | 0.012352 | 0.012352 | 0.99401 | -0.1148 | 0.99389 | -0.11716 | 3.3935
61 | -0.078941 | -0.019889 | 0.079041 | 0.019952 | 9.9308e-05 | 6.3311e-05 | 0.11821 | 0.11821 | 0.11821 | 0.99401 | -0.1148 | 0.99538 | -0.088539 | 32.4755
62 | 0.048038 | 0.012066 | -0.04802 | -0.012055 | 1.8097e-05 | 1.1462e-05 | 0.072155 | 0.072155 | 0.072155 | 0.9908 | -0.17686 | 0.99039 | -0.18476 | 19.8228
63 | 0.0028481 | 0.00071361 | -0.0028479 | -0.00071376 | 1.1744e-07 | -1.524e-07 | 0.0042434 | 0.0042435 | 0.0042435 | 0.99869 | -0.025182 | 0.99864 | -0.026048 | 1.1658
64 | 0.025378 | 0.0063673 | -0.025369 | -0.0063614 | 9.5677e-06 | 5.89e-06 | 0.037815 | 0.037815 | 0.037815 | 0.99869 | -0.025182 | 0.99828 | -0.033092 | 10.3889
65 | 0.0058537 | 0.0014671 | -0.0058537 | -0.0014671 | 2.3769e-08 | 4.5176e-09 | 0.008764 | 0.008764 | 0.008764 | 0.99389 | -0.11716 | 0.99388 | -0.11724 | 2.4077
66 | 0.04802 | 0.012055 | -0.047997 | -0.012041 | 2.2501e-05 | 1.4252e-05 | 0.072155 | 0.072155 | 0.072155 | 0.99039 | -0.18476 | 0.98988 | -0.19459 | 19.8228
67 | 0.0022702 | 0.00056884 | -0.0022702 | -0.00056886 | 8.4762e-09 | -2.0279e-08 | 0.0033873 | 0.0033873 | 0.0033873 | 0.99726 | -0.052671 | 0.99726 | -0.05275 | 0.93058
68 | -0.0022702 | -0.00056884 | 0.0022702 | 0.00056871 | 5.45e-08 | -1.304e-07 | 0.0033873 | 0.0033872 | 0.0033873 | 0.99726 | -0.052671 | 0.99729 | -0.052167 | 0.93058
69 | 0.0022702 | 0.00056886 | -0.0022701 | -0.00056895 | 3.5485e-08 | -8.489e-08 | 0.0033873 | 0.0033873 | 0.0033873 | 0.99726 | -0.05275 | 0.99724 | -0.053078 | 0.93059
70 | -0.0050301 | -0.0012604 | 0.0050301 | 0.0012604 | 6.1207e-08 | 1.3615e-09 | 0.0075051 | 0.0075051 | 0.0075051 | 0.99729 | -0.052167 | 0.9973 | -0.051912 | 2.0618
71 | -0.0073008 | -0.0018295 | 0.0073019 | 0.0018298 | 1.0306e-06 | 3.5732e-07 | 0.010893 | 0.010893 | 0.010893 | 0.9973 | -0.051912 | 0.99746 | -0.048948 | 2.9926
72 | -0.0097518 | -0.002444 | 0.0097533 | 0.0024447 | 1.4234e-06 | 6.8517e-07 | 0.01468 | 0.01468 | 0.01468 | 0.98846 | -0.22227 | 0.98862 | -0.21921 | 4.0331
73 | -0.016782 | -0.0042063 | 0.016792 | 0.0042124 | 1.0453e-05 | 6.1295e-06 | 0.025259 | 0.025259 | 0.025259 | 0.98862 | -0.21921 | 0.98929 | -0.20614 | 6.9394
74 | -0.032991 | -0.0082721 | 0.033009 | 0.0082835 | 1.8179e-05 | 1.1382e-05 | 0.049624 | 0.049624 | 0.049624 | 0.98929 | -0.20614 | 0.98988 | -0.19459 | 13.633
75 | 0.0073027 | 0.0018303 | -0.0073023 | -0.0018301 | 3.2542e-07 | 1.1574e-07 | 0.010979 | 0.010979 | 0.010979 | 0.98977 | -0.19687 | 0.98972 | -0.19781 | 3.0162
76 | -0.014987 | -0.0037561 | 0.014988 | 0.003757 | 1.6302e-06 | 9.3328e-07 | 0.022531 | 0.022531 | 0.022531 | 0.98977 | -0.19687 | 0.98988 | -0.19459 | 6.1899
77 | -0.010248 | -0.0025683 | 0.01025 | 0.002569 | 1.5008e-06 | 7.3696e-07 | 0.015288 | 0.015288 | 0.015288 | 0.99746 | -0.048948 | 0.99761 | -0.045875 | 4.2001
78 | 0.001246 | 0.00031137 | -0.001246 | -0.00031176 | 4.0968e-08 | -3.8682e-07 | 0.0018582 | 0.0018584 | 0.0018584 | 0.99761 | -0.045875 | 0.99758 | -0.046566 | 0.51055
79 | 0.00055724 | 0.00013942 | -0.00055724 | -0.00013966 | 4.6782e-09 | -2.3277e-07 | 0.00083112 | 0.0008312 | 0.0008312 | 0.99758 | -0.046566 | 0.99757 | -0.046742 | 0.22835
80 | 0.00068876 | 0.00017233 | -0.00068876 | -0.00017248 | 4.5465e-09 | -1.4707e-07 | 0.0010273 | 0.0010273 | 0.0010273 | 0.99758 | -0.046566 | 0.99757 | -0.046705 | 0.28223
81 | 0.00068876 | 0.00017248 | -0.00068875 | -0.00017262 | 4.2543e-09 | -1.3761e-07 | 0.0010273 | 0.0010274 | 0.0010274 | 0.99757 | -0.046705 | 0.99756 | -0.046834 | 0.28225

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.19258 | 0.048251

## res_load
| p_mw | q_mvar
0 | 0.00076856 | 0.00019262
1 | 0.00051402 | 0.00012882
2 | 0.00046029 | 0.00011536
3 | 0.00081493 | 0.00020424
4 | 0.0004934 | 0.00012366
5 | 0.00031428 | 7.8767e-05
6 | 0.00098907 | 0.00024788
7 | 0.00073656 | 0.0001846
8 | 0.0012626 | 0.00031643
9 | 0.006369 | 0.0015962
10 | 0.00053573 | 0.00013427
11 | 0.001009 | 0.00025289
12 | 0.0022609 | 0.00056663
13 | 0.0035597 | 0.00089214
14 | 0.00088695 | 0.00022229
15 | 0.00057375 | 0.0001438
16 | 0.0026574 | 0.00066601
17 | 0.0012824 | 0.0003214
18 | 0.0014328 | 0.0003591
19 | 0.0010554 | 0.00026452
20 | 0.0010215 | 0.00025601
21 | 0.0041442 | 0.0010386
22 | 0.0007804 | 0.00019559
23 | 0.0051711 | 0.001296
24 | 0.0015741 | 0.0003945
25 | 0.0027101 | 0.00067921
26 | 0.00038988 | 9.7712e-05
27 | 0.0056796 | 0.0014234
28 | 0.0011116 | 0.00027858
29 | 0.0016245 | 0.00040714
30 | 0.0011773 | 0.00029505
31 | 0.013805 | 0.0034598
32 | 0.0039287 | 0.00098461
33 | 0.0047174 | 0.0011823
34 | 0.0028479 | 0.00071376
35 | 0.0045448 | 0.001139
36 | 0.0065395 | 0.001639
37 | 0.0023967 | 0.00060067
38 | 0.032364 | 0.0081111
39 | 0.0027598 | 0.00069168
40 | 0.0022701 | 0.00056895
41 | 0.0022707 | 0.00056909
42 | 0.0097518 | 0.002444
43 | 0.0070287 | 0.0017615
44 | 0.016199 | 0.0040597
45 | 0.007684 | 0.0019258
46 | 0.0073023 | 0.0018301
47 | 0.0029465 | 0.00073845
48 | 0.00055724 | 0.00013966
49 | 0.0058537 | 0.0014671
50 | 0.00068875 | 0.00017262

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1