## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1630-124_1_3_node_5 | 0.4 | n |  | TRUE
1 | bus_LV_1630-124_1_3_node_6 | 0.4 | n |  | TRUE
2 | bus_LV_1630-124_1_3_node_7 | 0.4 | n |  | TRUE
3 | bus_LV_1630-124_1_3_node_8 | 0.4 | n |  | TRUE
4 | bus_LV_1630-124_1_3_node_9 | 0.4 | n |  | TRUE
5 | bus_LV_1630-124_1_3_node_10 | 0.4 | n |  | TRUE
6 | bus_LV_1630-124_1_3_node_12 | 0.4 | n |  | TRUE
7 | bus_LV_1630-124_1_3_node_13 | 0.4 | n |  | TRUE
8 | bus_LV_1630-124_1_3_node_150 | 0.4 | n |  | TRUE
9 | bus_LV_1630-124_1_3_node_11 | 0.4 | n |  | TRUE
10 | bus_LV_1630-124_1_3_node_164 | 0.4 | n |  | TRUE
11 | bus_LV_1630-124_1_3_node_149 | 0.4 | n |  | TRUE
12 | bus_LV_1630-124_1_3_node_15 | 0.4 | n |  | TRUE
13 | bus_LV_1630-124_1_3_node_17 | 0.4 | n |  | TRUE
14 | bus_LV_1630-124_1_3_node_14 | 0.4 | n |  | TRUE
15 | bus_LV_1630-124_1_3_node_16 | 0.4 | n |  | TRUE
16 | bus_LV_1630-124_1_3_node_102 | 0.4 | n |  | TRUE
17 | bus_LV_1630-124_1_3_node_98 | 0.4 | n |  | TRUE
18 | bus_LV_1630-124_1_3_node_18 | 0.4 | n |  | TRUE
19 | bus_LV_1630-124_1_3_node_19 | 0.4 | n |  | TRUE
20 | bus_LV_1630-124_1_3_node_20 | 0.4 | n |  | TRUE
21 | bus_LV_1630-124_1_3_node_21 | 0.4 | n |  | TRUE
22 | bus_LV_1630-124_1_3_node_22 | 0.4 | n |  | TRUE
23 | bus_LV_1630-124_1_3_node_23 | 0.4 | n |  | TRUE
24 | bus_LV_1630-124_1_3_node_64 | 0.4 | n |  | TRUE
25 | bus_LV_1630-124_1_3_node_62 | 0.4 | n |  | TRUE
26 | bus_LV_1630-124_1_3_node_73 | 0.4 | n |  | TRUE
27 | bus_LV_1630-124_1_3_node_68 | 0.4 | n |  | TRUE
28 | bus_LV_1630-124_1_3_node_153 | 0.4 | n |  | TRUE
29 | bus_LV_1630-124_1_3_node_63 | 0.4 | n |  | TRUE
30 | bus_LV_1630-124_1_3_node_65 | 0.4 | n |  | TRUE
31 | bus_LV_1630-124_1_3_node_66 | 0.4 | n |  | TRUE
32 | bus_LV_1630-124_1_3_node_67 | 0.4 | n |  | TRUE
33 | bus_LV_1630-124_1_3_node_77 | 0.4 | n |  | TRUE
34 | bus_LV_1630-124_1_3_node_74 | 0.4 | n |  | TRUE
35 | bus_LV_1630-124_1_3_node_69 | 0.4 | n |  | TRUE
36 | bus_LV_1630-124_1_3_node_70 | 0.4 | n |  | TRUE
37 | bus_LV_1630-124_1_3_node_75 | 0.4 | n |  | TRUE
38 | bus_LV_1630-124_1_3_node_82 | 0.4 | n |  | TRUE
39 | bus_LV_1630-124_1_3_node_80 | 0.4 | n |  | TRUE
40 | bus_LV_1630-124_1_3_node_76 | 0.4 | n |  | TRUE
41 | bus_LV_1630-124_1_3_node_78 | 0.4 | n |  | TRUE
42 | bus_LV_1630-124_1_3_node_79 | 0.4 | n |  | TRUE
43 | bus_LV_1630-124_1_3_node_81 | 0.4 | n |  | TRUE
44 | bus_LV_1630-124_1_3_node_147 | 0.4 | n |  | TRUE
45 | bus_LV_1630-124_1_3_node_158 | 0.4 | n |  | TRUE
46 | bus_LV_1630-124_1_3_node_83 | 0.4 | n |  | TRUE
47 | bus_LV_1630-124_1_3_node_84 | 0.4 | n |  | TRUE
48 | bus_LV_1630-124_1_3_node_85 | 0.4 | n |  | TRUE
49 | bus_LV_1630-124_1_3_node_86 | 0.4 | n |  | TRUE
50 | bus_LV_1630-124_1_3_node_88 | 0.4 | n |  | TRUE
51 | bus_LV_1630-124_1_3_node_89 | 0.4 | n |  | TRUE
52 | bus_LV_1630-124_1_3_node_92 | 0.4 | n |  | TRUE
53 | bus_LV_1630-124_1_3_node_114 | 0.4 | n |  | TRUE
54 | bus_LV_1630-124_1_3_node_90 | 0.4 | n |  | TRUE
55 | bus_LV_1630-124_1_3_node_91 | 0.4 | n |  | TRUE
56 | bus_LV_1630-124_1_3_node_99 | 0.4 | n |  | TRUE
57 | bus_LV_1630-124_1_3_node_97 | 0.4 | n |  | TRUE
58 | bus_LV_1630-124_1_3_node_113 | 0.4 | n |  | TRUE
59 | bus_LV_1630-124_1_3_node_136 | 0.4 | n |  | TRUE
60 | bus_LV_1630-124_1_3_node_111 | 0.4 | n |  | TRUE
61 | bus_LV_1630-124_1_3_node_112 | 0.4 | n |  | TRUE
62 | bus_LV_1630-124_1_3_node_115 | 0.4 | n |  | TRUE
63 | bus_LV_1630-124_1_3_node_126 | 0.4 | n |  | TRUE
64 | bus_LV_1630-124_1_3_node_127 | 0.4 | n |  | TRUE
65 | bus_LV_1630-124_1_3_node_128 | 0.4 | n |  | TRUE
66 | bus_LV_1630-124_1_3_node_129 | 0.4 | n |  | TRUE
67 | bus_LV_1630-124_1_3_node_130 | 0.4 | n |  | TRUE
68 | bus_LV_1630-124_1_3_node_131 | 0.4 | n |  | TRUE
69 | bus_LV_1630-124_1_3_node_139 | 0.4 | n |  | TRUE
70 | bus_LV_1630-124_1_3_node_137 | 0.4 | n |  | TRUE
71 | bus_LV_1630-124_1_3_node_138 | 0.4 | n |  | TRUE
72 | bus_LV_1630-124_1_3_node_140 | 0.4 | n |  | TRUE
73 | bus_LV_1630-124_1_3_node_148 | 0.4 | n |  | TRUE
74 | bus_LV_1630-124_1_3_node_151 | 0.4 | n |  | TRUE
75 | bus_MV_20_1_node_53 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1630-124_1_3_load_5 | 0 | 0.0016308 | 0.00040872 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1630-124_1_3_load_6 | 1 | 0.00093386 | 0.00023405 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1630-124_1_3_load_8 | 3 | 0.0060246 | 0.0015099 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1630-124_1_3_load_9 | 4 | 0.00616 | 0.0015438 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1630-124_1_3_load_13 | 7 | 0.0044152 | 0.0011066 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1630-124_1_3_load_150 | 8 | 0.0014712 | 0.00036872 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1630-124_1_3_load_164 | 10 | 0.0018858 | 0.00047262 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1630-124_1_3_load_149 | 11 | 0.0043674 | 0.0010946 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1630-124_1_3_load_17 | 13 | 0.010342 | 0.002592 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1630-124_1_3_load_14 | 14 | 0.0078079 | 0.0019568 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1630-124_1_3_load_102 | 16 | 0.0093203 | 0.0023359 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1630-124_1_3_load_98 | 17 | 0.0060354 | 0.0015126 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1630-124_1_3_load_18 | 18 | 0.0085554 | 0.0021442 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1630-124_1_3_load_19 | 19 | 0.012943 | 0.0032438 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1630-124_1_3_load_23 | 23 | 0.008574 | 0.0021488 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1630-124_1_3_load_64 | 24 | 0.0098365 | 0.0024653 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1630-124_1_3_load_62 | 25 | 0.018591 | 0.0046594 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1630-124_1_3_load_73 | 26 | 0.010536 | 0.0026407 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1630-124_1_3_load_68 | 27 | 0.010638 | 0.0026662 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1630-124_1_3_load_65 | 30 | 0.010202 | 0.0025568 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1630-124_1_3_load_66 | 31 | 0.0080025 | 0.0020056 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1630-124_1_3_load_67 | 32 | 0.0046611 | 0.0011682 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1630-124_1_3_load_77 | 33 | 0.0094531 | 0.0023692 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1630-124_1_3_load_74 | 34 | 0.0087629 | 0.0021962 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1630-124_1_3_load_70 | 36 | 0.01785 | 0.0044737 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1630-124_1_3_load_76 | 40 | 0.007729 | 0.0019371 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1630-124_1_3_load_78 | 41 | 0.0045338 | 0.0011363 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1630-124_1_3_load_79 | 42 | 0.0039144 | 0.00098103 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1630-124_1_3_load_147 | 44 | 0.0026724 | 0.00066976 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1630-124_1_3_load_158 | 45 | 0.01153 | 0.0028896 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1630-124_1_3_load_83 | 46 | 0.0092105 | 0.0023084 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1630-124_1_3_load_84 | 47 | 0.0071693 | 0.0017968 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1630-124_1_3_load_88 | 50 | 0.031613 | 0.007923 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1630-124_1_3_load_89 | 51 | 0.0028352 | 0.00071057 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1630-124_1_3_load_114 | 53 | 0.011708 | 0.0029342 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1630-124_1_3_load_90 | 54 | 0.019122 | 0.0047925 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1630-124_1_3_load_91 | 55 | 0.005743 | 0.0014393 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1630-124_1_3_load_113 | 58 | 0.0062315 | 0.0015618 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1630-124_1_3_load_111 | 60 | 0.019689 | 0.0049346 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1630-124_1_3_load_115 | 62 | 0.012242 | 0.0030681 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1630-124_1_3_load_126 | 63 | 0.0032574 | 0.00081638 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1630-124_1_3_load_127 | 64 | 0.0099752 | 0.0025 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1630-124_1_3_load_130 | 67 | 0.0059364 | 0.0014878 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1630-124_1_3_load_131 | 68 | 0.015403 | 0.0038603 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1630-124_1_3_load_139 | 69 | 0.0033149 | 0.0008308 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1630-124_1_3_load_137 | 70 | 0.0032585 | 0.00081667 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1630-124_1_3_load_138 | 71 | 0.0067173 | 0.0016835 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1630-124_1_3_load_140 | 72 | 0.0032093 | 0.00080434 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1630-124_1_3_load_148 | 73 | 0.0048288 | 0.0012102 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1630-124_1_3_load_151 | 74 | 0.00087012 | 0.00021807 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 62 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1630-124_1_3_line_0 |  | 0 | 1 | 0.011088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1630-124_1_3_line_1 |  | 0 | 2 | 0.022837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1630-124_1_3_line_2 |  | 1 | 3 | 0.019293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1630-124_1_3_line_3 |  | 2 | 4 | 0.029254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1630-124_1_3_line_4 |  | 2 | 5 | 0.10245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1630-124_1_3_line_5 |  | 2 | 6 | 0.069266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1630-124_1_3_line_6 |  | 3 | 7 | 0.0024435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1630-124_1_3_line_7 |  | 5 | 8 | 0.012032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1630-124_1_3_line_8 |  | 6 | 12 | 0.032687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1630-124_1_3_line_9 |  | 6 | 13 | 0.029495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1630-124_1_3_line_10 |  | 6 | 9 | 0.036763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1630-124_1_3_line_11 |  | 8 | 74 | 0.0023428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1630-124_1_3_line_12 |  | 9 | 10 | 0.004698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1630-124_1_3_line_13 |  | 9 | 11 | 0.010998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1630-124_1_3_line_14 |  | 11 | 73 | 0.0051734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1630-124_1_3_line_15 |  | 12 | 15 | 0.15872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1630-124_1_3_line_16 |  | 12 | 14 | 0.017086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1630-124_1_3_line_17 |  | 15 | 16 | 0.019144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_1630-124_1_3_line_18 |  | 15 | 17 | 0.013848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_1630-124_1_3_line_19 |  | 16 | 59 | 0.011136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_1630-124_1_3_line_20 |  | 17 | 56 | 0.019374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_1630-124_1_3_line_21 |  | 18 | 19 | 0.020446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1630-124_1_3_line_22 |  | 18 | 20 | 0.013709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1630-124_1_3_line_23 |  | 19 | 21 | 0.0066953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_1630-124_1_3_line_24 |  | 20 | 22 | 0.014911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1630-124_1_3_line_25 |  | 20 | 23 | 0.017041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1630-124_1_3_line_26 |  | 21 | 24 | 0.024051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1630-124_1_3_line_27 |  | 21 | 25 | 0.0053122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_1630-124_1_3_line_28 |  | 22 | 26 | 0.011508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1630-124_1_3_line_29 |  | 22 | 27 | 0.0073259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1630-124_1_3_line_30 |  | 23 | 28 | 0.0045174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1630-124_1_3_line_31 |  | 24 | 33 | 0.015783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1630-124_1_3_line_32 |  | 25 | 29 | 0.02738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
33 | LV_1630-124_1_3_line_33 |  | 27 | 35 | 0.029238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1630-124_1_3_line_34 |  | 28 | 57 | 0.012956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1630-124_1_3_line_35 |  | 29 | 30 | 0.013962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1630-124_1_3_line_36 |  | 29 | 31 | 0.016959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
37 | LV_1630-124_1_3_line_37 |  | 29 | 32 | 0.031987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1630-124_1_3_line_38 |  | 31 | 34 | 0.0023806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
39 | LV_1630-124_1_3_line_39 |  | 33 | 40 | 3.9616e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1630-124_1_3_line_40 |  | 34 | 37 | 0.018138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
41 | LV_1630-124_1_3_line_41 |  | 35 | 36 | 0.019708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1630-124_1_3_line_42 |  | 37 | 38 | 0.048971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1630-124_1_3_line_43 |  | 37 | 39 | 0.045661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
44 | LV_1630-124_1_3_line_44 |  | 38 | 45 | 0.024016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1630-124_1_3_line_45 |  | 39 | 43 | 0.005314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
46 | LV_1630-124_1_3_line_46 |  | 39 | 41 | 0.01853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1630-124_1_3_line_47 |  | 41 | 42 | 0.0049342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1630-124_1_3_line_48 |  | 43 | 44 | 0.011407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
49 | LV_1630-124_1_3_line_49 |  | 44 | 67 | 0.019681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
50 | LV_1630-124_1_3_line_50 |  | 46 | 47 | 0.0078531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1630-124_1_3_line_51 |  | 46 | 48 | 0.034048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1630-124_1_3_line_52 |  | 47 | 49 | 0.017218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1630-124_1_3_line_53 |  | 48 | 50 | 0.024968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1630-124_1_3_line_54 |  | 48 | 51 | 0.030377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1630-124_1_3_line_55 |  | 49 | 52 | 0.017464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
56 | LV_1630-124_1_3_line_56 |  | 49 | 53 | 0.038609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
57 | LV_1630-124_1_3_line_57 |  | 52 | 56 | 0.008709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
58 | LV_1630-124_1_3_line_58 |  | 52 | 55 | 0.015451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1630-124_1_3_line_59 |  | 53 | 62 | 0.0089226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
60 | LV_1630-124_1_3_line_60 |  | 54 | 55 | 0.0045978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_1630-124_1_3_line_61 |  | 57 | 58 | 0.0091534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_1630-124_1_3_line_62 |  | 58 | 61 | 0.011619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_1630-124_1_3_line_63 |  | 59 | 70 | 0.023809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_1630-124_1_3_line_64 |  | 59 | 66 | 0.006853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
65 | LV_1630-124_1_3_line_65 |  | 60 | 61 | 0.013994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_1630-124_1_3_line_66 |  | 63 | 64 | 0.00014731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
67 | LV_1630-124_1_3_line_67 |  | 63 | 65 | 0.0080083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
68 | LV_1630-124_1_3_line_68 |  | 64 | 66 | 0.014035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
69 | LV_1630-124_1_3_line_69 |  | 65 | 67 | 0.012896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
70 | LV_1630-124_1_3_line_70 |  | 65 | 68 | 0.013455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_1630-124_1_3_line_71 |  | 66 | 69 | 0.0029016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_1630-124_1_3_line_72 |  | 69 | 72 | 0.0052789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_1630-124_1_3_line_73 |  | 70 | 71 | 0.00023289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1630-124_1_3_trafo_115 | 0.63 MVA 20/0.4 kV | 75 | 62 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2720026.9645 | 1223534.565 | 2720023.1974 | 1223535.5465 | 2720016.0793 | 1223536.5976
1 | 2720049.0639 | 1223528.8072 | 2720026.9645 | 1223534.565
2 | 2720016.0793 | 1223536.5976 | 2720012.9946 | 1223537.0531 | 2720003.6937 | 1223538.2221 | 2719996.9046 | 1223537.8316
3 | 2720065.5766 | 1223551.4246 | 2720057.9972 | 1223545.8562 | 2720054.0203 | 1223542.1954 | 2720051.1867 | 1223537.5124 | 2720049.6473 | 1223532.9778 | 2720049.0639 | 1223528.8072
4 | 2720049.0639 | 1223528.8072 | 2720051.0108 | 1223525.9331 | 2720101.0193 | 1223555.4315 | 2720095.267 | 1223561.5647 | 2720083.562 | 1223579.2424 | 2720073.667 | 1223573.7719
5 | 2719999.1239 | 1223485.7334 | 2720003.9512 | 1223490.1119 | 2720010.3218 | 1223495.8226 | 2720014.4198 | 1223499.497 | 2720024.1741 | 1223507.8112 | 2720036.397 | 1223516.7201 | 2720051.0108 | 1223525.9331 | 2720049.0639 | 1223528.8072
6 | 2719994.4651 | 1223537.6912 | 2719996.9046 | 1223537.8316
7 | 2720073.667 | 1223573.7719 | 2720068.9827 | 1223584.855
8 | 2719999.1239 | 1223485.7334 | 2719988.1734 | 1223475.7939 | 2719974.8838 | 1223463.7277
9 | 2719999.1239 | 1223485.7334 | 2719993.0483 | 1223491.7268 | 2719989.2964 | 1223494.2086 | 2719974.1014 | 1223500.5424
10 | 2719999.1239 | 1223485.7334 | 2720003.9512 | 1223490.1119 | 2720010.3218 | 1223495.8226 | 2720003.6773 | 1223506.3191 | 2719998.7177 | 1223514.1474
11 | 2720068.9827 | 1223584.855 | 2720068.0706 | 1223587.013
12 | 2720002.6401 | 1223516.7508 | 2719998.7177 | 1223514.1474
13 | 2719990.8332 | 1223521.8167 | 2719995.5299 | 1223517.6192 | 2719998.7177 | 1223514.1474
14 | 2719990.8332 | 1223521.8167 | 2719986.9754 | 1223525.2638
15 | 2719880.8273 | 1223551.4683 | 2719890.6775 | 1223536.5883 | 2719902.7259 | 1223518.4056 | 2719914.4851 | 1223500.6508 | 2719926.501 | 1223483.713 | 2719930.0069 | 1223478.7575 | 2719935.137 | 1223471.4996 | 2719938.9077 | 1223466.2048 | 2719954.8164 | 1223443.9412 | 2719974.8838 | 1223463.7277
16 | 2719974.8838 | 1223463.7277 | 2719963.2559 | 1223476.2468
17 | 2719880.8273 | 1223551.4683 | 2719896.1785 | 1223562.9065
18 | 2719880.8273 | 1223551.4683 | 2719878.8871 | 1223554.3981 | 2719873.1782 | 1223563.0117
19 | 2719905.1084 | 1223569.5603 | 2719896.1785 | 1223562.9065
20 | 2719862.4809 | 1223579.1649 | 2719869.2798 | 1223568.8938 | 2719873.1782 | 1223563.0117
21 | 2719875.4182 | 1223700.9646 | 2719892.4236 | 1223689.6138
22 | 2719866.7526 | 1223710.8761 | 2719867.468 | 1223708.1216 | 2719868.8413 | 1223705.8475 | 2719871.3426 | 1223703.6851 | 2719875.4182 | 1223700.9646
23 | 2719897.9923 | 1223685.8967 | 2719892.4236 | 1223689.6138
24 | 2719872.957 | 1223724.078 | 2719868.7382 | 1223717.7436 | 2719867.5269 | 1223715.7399 | 2719866.7707 | 1223712.9892 | 2719866.7526 | 1223710.8761
25 | 2719866.7526 | 1223710.8761 | 2719858.7037 | 1223708.6567 | 2719853.797 | 1223701.4824
26 | 2719897.9923 | 1223685.8967 | 2719911.4255 | 1223705.8718
27 | 2719897.9923 | 1223685.8967 | 2719902.4124 | 1223682.9503
28 | 2719872.957 | 1223724.078 | 2719863.1409 | 1223730.1295
29 | 2719872.957 | 1223724.078 | 2719877.0212 | 1223730.1731
30 | 2719851.2469 | 1223697.7536 | 2719853.797 | 1223701.4824
31 | 2719911.4255 | 1223705.8718 | 2719924.914 | 1223697.6762
32 | 2719925.1952 | 1223667.7638 | 2719902.4124 | 1223682.9503
33 | 2719893.2417 | 1223754.4991 | 2719877.0212 | 1223730.1731
34 | 2719843.9379 | 1223687.0426 | 2719851.2469 | 1223697.7536
35 | 2719925.1952 | 1223667.7638 | 2719925.6416 | 1223659.9222 | 2719922.1856 | 1223654.882
36 | 2719925.1952 | 1223667.7638 | 2719939.0036 | 1223657.9182
37 | 2719925.1952 | 1223667.7638 | 2719942.879 | 1223694.4184
38 | 2719939.0036 | 1223657.9182 | 2719940.942 | 1223656.5361
39 | 2719924.9479 | 1223697.6556 | 2719924.914 | 1223697.6762
40 | 2719955.7105 | 1223646.006 | 2719940.942 | 1223656.5361
41 | 2719893.2417 | 1223754.4991 | 2719876.7095 | 1223765.2275
42 | 2719955.7105 | 1223646.006 | 2719981.5489 | 1223687.6481
43 | 2719955.7105 | 1223646.006 | 2719932.1656 | 1223606.8455
44 | 2719981.5489 | 1223687.6481 | 2719994.1899 | 1223679.1963 | 2719999.7075 | 1223672.2799
45 | 2719932.1656 | 1223606.8455 | 2719929.4281 | 1223602.2868
46 | 2719932.1656 | 1223606.8455 | 2719918.4679 | 1223617.2888 | 2719917.4988 | 1223618.1637
47 | 2719917.4988 | 1223618.1637 | 2719913.8363 | 1223621.4701
48 | 2719929.4281 | 1223602.2868 | 2719918.4179 | 1223605.2692
49 | 2719918.4179 | 1223605.2692 | 2719908.949 | 1223607.8342 | 2719901.9173 | 1223600.9065
50 | 2719832.4253 | 1223620.6809 | 2719837.1656 | 1223614.4199
51 | 2719810.2629 | 1223646.522 | 2719830.9988 | 1223622.5651 | 2719832.4253 | 1223620.6809
52 | 2719847.5587 | 1223600.6924 | 2719837.1656 | 1223614.4199
53 | 2719810.2629 | 1223646.522 | 2719827.1494 | 1223664.9128
54 | 2719810.2629 | 1223646.522 | 2719788.8955 | 1223624.9309
55 | 2719847.5587 | 1223600.6924 | 2719857.5122 | 1223586.326
56 | 2719847.5587 | 1223600.6924 | 2719858.9313 | 1223607.0041 | 2719876.4611 | 1223617.5653 | 2719880.0486 | 1223621.2426
57 | 2719862.4809 | 1223579.1649 | 2719857.5122 | 1223586.326
58 | 2719857.5122 | 1223586.326 | 2719870.9646 | 1223593.9269
59 | 2719880.0486 | 1223621.2426 | 2719886.2793 | 1223627.6294
60 | 2719874.9676 | 1223596.1887 | 2719870.9646 | 1223593.9269
61 | 2719843.9379 | 1223687.0426 | 2719851.2581 | 1223681.5472
62 | 2719858.7069 | 1223673.8629 | 2719859.1707 | 1223674.5617 | 2719858.6949 | 1223675.9643 | 2719851.2581 | 1223681.5472
63 | 2719905.1084 | 1223569.5603 | 2719920.8176 | 1223551.669
64 | 2719905.1084 | 1223569.5603 | 2719910.5385 | 1223573.7618
65 | 2719858.7069 | 1223673.8629 | 2719864.1679 | 1223669.7474 | 2719859.959 | 1223663.9607
66 | 2719901.3233 | 1223584.5417 | 2719901.419 | 1223584.4298
67 | 2719896.1196 | 1223590.629 | 2719901.3233 | 1223584.5417
68 | 2719910.5385 | 1223573.7618 | 2719901.419 | 1223584.4298
69 | 2719896.1196 | 1223590.629 | 2719895.7096 | 1223594.7907 | 2719901.9173 | 1223600.9065
70 | 2719884.7351 | 1223583.4052 | 2719896.1196 | 1223590.629
71 | 2719910.5385 | 1223573.7618 | 2719912.5229 | 1223575.8787
72 | 2719912.5229 | 1223575.8787 | 2719914.0658 | 1223577.5247 | 2719915.8248 | 1223579.983
73 | 2719920.9712 | 1223551.494 | 2719920.8176 | 1223551.669

## bus_geodata
| x | y | coords
0 | 2720026.9645 | 1223534.565
1 | 2720016.0793 | 1223536.5976
2 | 2720049.0639 | 1223528.8072
3 | 2719996.9046 | 1223537.8316
4 | 2720065.5766 | 1223551.4246
5 | 2720073.667 | 1223573.7719
6 | 2719999.1239 | 1223485.7334
7 | 2719994.4651 | 1223537.6912
8 | 2720068.9827 | 1223584.855
9 | 2719998.7177 | 1223514.1474
10 | 2720002.6401 | 1223516.7508
11 | 2719990.8332 | 1223521.8167
12 | 2719974.8838 | 1223463.7277
13 | 2719974.1014 | 1223500.5424
14 | 2719963.2559 | 1223476.2468
15 | 2719880.8273 | 1223551.4683
16 | 2719896.1785 | 1223562.9065
17 | 2719873.1782 | 1223563.0117
18 | 2719875.4182 | 1223700.9646
19 | 2719892.4236 | 1223689.6138
20 | 2719866.7526 | 1223710.8761
21 | 2719897.9923 | 1223685.8967
22 | 2719872.957 | 1223724.078
23 | 2719853.797 | 1223701.4824
24 | 2719911.4255 | 1223705.8718
25 | 2719902.4124 | 1223682.9503
26 | 2719863.1409 | 1223730.1295
27 | 2719877.0212 | 1223730.1731
28 | 2719851.2469 | 1223697.7536
29 | 2719925.1952 | 1223667.7638
30 | 2719922.1856 | 1223654.882
31 | 2719939.0036 | 1223657.9182
32 | 2719942.879 | 1223694.4184
33 | 2719924.914 | 1223697.6762
34 | 2719940.942 | 1223656.5361
35 | 2719893.2417 | 1223754.4991
36 | 2719876.7095 | 1223765.2275
37 | 2719955.7105 | 1223646.006
38 | 2719981.5489 | 1223687.6481
39 | 2719932.1656 | 1223606.8455
40 | 2719924.9479 | 1223697.6556
41 | 2719917.4988 | 1223618.1637
42 | 2719913.8363 | 1223621.4701
43 | 2719929.4281 | 1223602.2868
44 | 2719918.4179 | 1223605.2692
45 | 2719999.7075 | 1223672.2799
46 | 2719832.4253 | 1223620.6809
47 | 2719837.1656 | 1223614.4199
48 | 2719810.2629 | 1223646.522
49 | 2719847.5587 | 1223600.6924
50 | 2719827.1494 | 1223664.9128
51 | 2719788.8955 | 1223624.9309
52 | 2719857.5122 | 1223586.326
53 | 2719880.0486 | 1223621.2426
54 | 2719874.9676 | 1223596.1887
55 | 2719870.9646 | 1223593.9269
56 | 2719862.4809 | 1223579.1649
57 | 2719843.9379 | 1223687.0426
58 | 2719851.2581 | 1223681.5472
59 | 2719905.1084 | 1223569.5603
60 | 2719859.959 | 1223663.9607
61 | 2719858.7069 | 1223673.8629
62 | 2719886.2793 | 1223627.6294
63 | 2719901.3233 | 1223584.5417
64 | 2719901.419 | 1223584.4298
65 | 2719896.1196 | 1223590.629
66 | 2719910.5385 | 1223573.7618
67 | 2719901.9173 | 1223600.9065
68 | 2719884.7351 | 1223583.4052
69 | 2719912.5229 | 1223575.8787
70 | 2719920.8176 | 1223551.669
71 | 2719920.9712 | 1223551.494
72 | 2719915.8248 | 1223579.983
73 | 2719986.9754 | 1223525.2638
74 | 2720068.0706 | 1223587.013
75 | 2719887.9362 | 1223629.3278

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97801 | -0.42277 | 0.0016308 | 0.00040872
1 | 0.97789 | -0.42507 | 0.00093386 | 0.00023405
2 | 0.97829 | -0.41736 | 0 | 0
3 | 0.97771 | -0.42874 | 0.0060246 | 0.0015099
4 | 0.97812 | -0.42064 | 0.00616 | 0.0015438
5 | 0.97806 | -0.42173 | 0 | 0
6 | 0.97967 | -0.39026 | 0 | 0
7 | 0.9777 | -0.42894 | 0.0044152 | 0.0011066
8 | 0.97804 | -0.42225 | 0.0014712 | 0.00036872
9 | 0.97929 | -0.39766 | 0 | 0
10 | 0.97928 | -0.39782 | 0.0018858 | 0.00047262
11 | 0.9792 | -0.3995 | 0.0043674 | 0.0010946
12 | 0.98097 | -0.3648 | 0 | 0
13 | 0.97938 | -0.3958 | 0.010342 | 0.002592
14 | 0.98084 | -0.36722 | 0.0078079 | 0.0019568
15 | 0.98843 | -0.22 | 0 | 0
16 | 0.98691 | -0.24911 | 0.0093203 | 0.0023359
17 | 0.98974 | -0.19482 | 0.0060354 | 0.0015126
18 | 0.97325 | -0.51534 | 0.0085554 | 0.0021442
19 | 0.97481 | -0.48451 | 0.012943 | 0.0032438
20 | 0.97231 | -0.53391 | 0 | 0
21 | 0.97511 | -0.47868 | 0 | 0
22 | 0.97176 | -0.54464 | 0 | 0
23 | 0.97176 | -0.54475 | 0.008574 | 0.0021488
24 | 0.97451 | -0.4906 | 0.0098365 | 0.0024653
25 | 0.97531 | -0.47472 | 0.018591 | 0.0046594
26 | 0.97165 | -0.54688 | 0.010536 | 0.0026407
27 | 0.97157 | -0.5485 | 0.010638 | 0.0026662
28 | 0.97165 | -0.54691 | 0 | 0
29 | 0.97651 | -0.45123 | 0 | 0
30 | 0.97638 | -0.45383 | 0.010202 | 0.0025568
31 | 0.97733 | -0.43518 | 0.0080025 | 0.0020056
32 | 0.97637 | -0.45396 | 0.0046611 | 0.0011682
33 | 0.97425 | -0.49558 | 0.0094531 | 0.0023692
34 | 0.97745 | -0.43281 | 0.0087629 | 0.0021962
35 | 0.97108 | -0.55814 | 0 | 0
36 | 0.97075 | -0.56464 | 0.01785 | 0.0044737
37 | 0.97842 | -0.41383 | 0 | 0
38 | 0.9779 | -0.42411 | 0 | 0
39 | 0.98103 | -0.36303 | 0 | 0
40 | 0.97425 | -0.49558 | 0.007729 | 0.0019371
41 | 0.98088 | -0.36586 | 0.0045338 | 0.0011363
42 | 0.98086 | -0.36621 | 0.0039144 | 0.00098103
43 | 0.98134 | -0.35686 | 0 | 0
44 | 0.98202 | -0.34364 | 0.0026724 | 0.00066976
45 | 0.97764 | -0.42916 | 0.01153 | 0.0028896
46 | 0.99316 | -0.12983 | 0.0092105 | 0.0023084
47 | 0.99348 | -0.12377 | 0.0071693 | 0.0017968
48 | 0.99209 | -0.15058 | 0 | 0
49 | 0.99428 | -0.10833 | 0 | 0
50 | 0.99137 | -0.16456 | 0.031613 | 0.007923
51 | 0.99201 | -0.1521 | 0.0028352 | 0.00071057
52 | 0.99245 | -0.14298 | 0 | 0
53 | 0.9989 | -0.020734 | 0.011708 | 0.0029342
54 | 0.99202 | -0.15134 | 0.019122 | 0.0047925
55 | 0.9921 | -0.14978 | 0.005743 | 0.0014393
56 | 0.99161 | -0.15903 | 0 | 0
57 | 0.97133 | -0.55312 | 0 | 0
58 | 0.97111 | -0.5575 | 0.0062315 | 0.0015618
59 | 0.98607 | -0.26546 | 0 | 0
60 | 0.97064 | -0.56683 | 0.019689 | 0.0049346
61 | 0.9709 | -0.56173 | 0 | 0
62 | 1 | 0 | -0.40832 | -0.10469
63 | 0.98456 | -0.29461 | 0.0032574 | 0.00081638
64 | 0.98457 | -0.29442 | 0.0099752 | 0.0025
65 | 0.98402 | -0.305 | 0 | 0
66 | 0.98556 | -0.27513 | 0 | 0
67 | 0.98321 | -0.32055 | 0.0059364 | 0.0014878
68 | 0.98383 | -0.30873 | 0.015403 | 0.0038603
69 | 0.98555 | -0.27547 | 0.0033149 | 0.0008308
70 | 0.98585 | -0.26972 | 0.0032585 | 0.00081667
71 | 0.98585 | -0.26975 | 0.0067173 | 0.0016835
72 | 0.98553 | -0.27578 | 0.0032093 | 0.00080434
73 | 0.97917 | -0.39996 | 0.0048288 | 0.0012102
74 | 0.97803 | -0.42228 | 0.00087012 | 0.00021807
75 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.011377 | 0.0028521 | -0.011376 | -0.0028514 | 1.2459e-06 | 6.5823e-07 | 0.01731 | 0.01731 | 0.01731 | 0.97801 | -0.42277 | 0.97789 | -0.42507 | 4.7554
1 | -0.013008 | -0.0032608 | 0.013011 | 0.0032627 | 3.3543e-06 | 1.8601e-06 | 0.019791 | 0.019791 | 0.019791 | 0.97801 | -0.42277 | 0.97829 | -0.41736 | 5.4371
2 | 0.010442 | 0.0026174 | -0.01044 | -0.0026165 | 1.8264e-06 | 9.2693e-07 | 0.015889 | 0.015889 | 0.015889 | 0.97789 | -0.42507 | 0.97771 | -0.42874 | 4.3651
3 | 0.0061609 | 0.0015441 | -0.00616 | -0.0015438 | 9.6339e-07 | 2.4932e-07 | 0.0093711 | 0.0093712 | 0.0093712 | 0.97829 | -0.41736 | 0.97812 | -0.42064 | 2.5745
4 | 0.0023419 | 0.00058568 | -0.0023414 | -0.00058665 | 4.8741e-07 | -9.7408e-07 | 0.0035616 | 0.0035621 | 0.0035621 | 0.97829 | -0.41736 | 0.97806 | -0.42173 | 0.9786
5 | -0.021514 | -0.0053924 | 0.021542 | 0.0054094 | 2.7814e-05 | 1.693e-05 | 0.032724 | 0.032723 | 0.032724 | 0.97829 | -0.41736 | 0.97967 | -0.39026 | 8.99
6 | 0.0044153 | 0.0011066 | -0.0044152 | -0.0011066 | 4.1377e-08 | -4.1624e-09 | 0.0067198 | 0.0067198 | 0.0067198 | 0.97771 | -0.42874 | 0.9777 | -0.42894 | 1.8461
7 | 0.0023414 | 0.00058665 | -0.0023413 | -0.00058676 | 5.7254e-08 | -1.1436e-07 | 0.0035621 | 0.0035622 | 0.0035622 | 0.97806 | -0.42173 | 0.97804 | -0.42225 | 0.97862
8 | -0.042973 | -0.010783 | 0.043026 | 0.010816 | 5.223e-05 | 3.3015e-05 | 0.065277 | 0.065277 | 0.065277 | 0.97967 | -0.39026 | 0.98097 | -0.3648 | 17.9332
9 | 0.010345 | 0.0025934 | -0.010342 | -0.002592 | 2.731e-06 | 1.3766e-06 | 0.015713 | 0.015713 | 0.015713 | 0.97967 | -0.39026 | 0.97938 | -0.3958 | 4.3169
10 | 0.011087 | 0.0027798 | -0.011083 | -0.0027777 | 3.9096e-06 | 2.0395e-06 | 0.01684 | 0.01684 | 0.01684 | 0.97967 | -0.39026 | 0.97929 | -0.39766 | 4.6265
11 | 0.00087012 | 0.00021804 | -0.00087012 | -0.00021807 | 1.5396e-09 | -2.8415e-08 | 0.0013238 | 0.0013238 | 0.0013238 | 0.97804 | -0.42225 | 0.97803 | -0.42228 | 0.36369
12 | 0.0018858 | 0.00047257 | -0.0018858 | -0.00047262 | 1.4465e-08 | -4.985e-08 | 0.0028654 | 0.0028654 | 0.0028654 | 0.97929 | -0.39766 | 0.97928 | -0.39782 | 0.7872
13 | 0.0091971 | 0.0023052 | -0.0091963 | -0.0023048 | 8.0547e-07 | 3.7714e-07 | 0.013975 | 0.013975 | 0.013975 | 0.97929 | -0.39766 | 0.9792 | -0.3995 | 3.8393
14 | 0.0048289 | 0.0012102 | -0.0048288 | -0.0012102 | 1.0447e-07 | 1.7843e-09 | 0.0073382 | 0.0073382 | 0.0073382 | 0.9792 | -0.3995 | 0.97917 | -0.39996 | 2.016
15 | -0.050834 | -0.012773 | 0.051188 | 0.012997 | 0.00035402 | 0.00022455 | 0.077122 | 0.077121 | 0.077122 | 0.98097 | -0.3648 | 0.98843 | -0.22 | 21.1873
16 | 0.0078088 | 0.0019572 | -0.0078079 | -0.0019568 | 8.99e-07 | 3.5968e-07 | 0.011845 | 0.011845 | 0.011845 | 0.98097 | -0.3648 | 0.98084 | -0.36722 | 3.2542
17 | 0.2581 | 0.065764 | -0.25774 | -0.065533 | 0.000362 | 0.00023095 | 0.38894 | 0.38894 | 0.38894 | 0.98843 | -0.22 | 0.98691 | -0.24911 | 35.6173
18 | -0.30929 | -0.078761 | 0.30967 | 0.079001 | 0.00037599 | 0.0002401 | 0.46606 | 0.46606 | 0.46606 | 0.98843 | -0.22 | 0.98974 | -0.19482 | 42.6797
19 | 0.24842 | 0.063197 | -0.24822 | -0.063072 | 0.00019564 | 0.00012478 | 0.37489 | 0.37489 | 0.37489 | 0.98691 | -0.24911 | 0.98607 | -0.26546 | 34.3305
20 | -0.3157 | -0.080514 | 0.31625 | 0.080863 | 0.00054672 | 0.00034915 | 0.47514 | 0.47514 | 0.47514 | 0.98974 | -0.19482 | 0.99161 | -0.15903 | 43.5106
21 | -0.082223 | -0.020663 | 0.082344 | 0.02074 | 0.00012121 | 7.7318e-05 | 0.12573 | 0.12573 | 0.12573 | 0.97325 | -0.51534 | 0.97481 | -0.48451 | 34.5419
22 | 0.073668 | 0.018518 | -0.073602 | -0.018477 | 6.524e-05 | 4.1583e-05 | 0.11265 | 0.11265 | 0.11265 | 0.97325 | -0.51534 | 0.97231 | -0.53391 | 30.9483
23 | -0.095287 | -0.023984 | 0.095314 | 0.024 | 2.6572e-05 | 1.6839e-05 | 0.14549 | 0.14549 | 0.14549 | 0.97481 | -0.48451 | 0.97511 | -0.47868 | 19.9848
24 | 0.039065 | 0.0098053 | -0.039045 | -0.0097927 | 1.999e-05 | 1.2609e-05 | 0.059791 | 0.059791 | 0.059791 | 0.97231 | -0.53391 | 0.97176 | -0.54464 | 16.426
25 | 0.034537 | 0.0086715 | -0.034519 | -0.0086603 | 1.7857e-05 | 1.1217e-05 | 0.052861 | 0.052861 | 0.052861 | 0.97231 | -0.53391 | 0.97176 | -0.54475 | 14.5224
26 | 0.027038 | 0.0067834 | -0.027023 | -0.0067739 | 1.5356e-05 | 9.528e-06 | 0.041263 | 0.041263 | 0.041263 | 0.97511 | -0.47868 | 0.97451 | -0.4906 | 11.3359
27 | -0.12235 | -0.030784 | 0.12238 | 0.030799 | 2.3158e-05 | 1.4623e-05 | 0.18675 | 0.18675 | 0.18675 | 0.97511 | -0.47868 | 0.97531 | -0.47472 | 17.1018
28 | 0.010538 | 0.0026412 | -0.010536 | -0.0026407 | 1.1236e-06 | 5.7655e-07 | 0.016136 | 0.016136 | 0.016136 | 0.97176 | -0.54464 | 0.97165 | -0.54688 | 4.4329
29 | 0.028508 | 0.0071514 | -0.028503 | -0.0071481 | 5.2355e-06 | 3.26e-06 | 0.043655 | 0.043655 | 0.043655 | 0.97176 | -0.54464 | 0.97157 | -0.5485 | 11.9931
30 | 0.025945 | 0.0065114 | -0.025943 | -0.0065098 | 2.6743e-06 | 1.6556e-06 | 0.039732 | 0.039732 | 0.039732 | 0.97176 | -0.54475 | 0.97165 | -0.54691 | 10.9155
31 | 0.017186 | 0.0043087 | -0.017182 | -0.0043062 | 4.0761e-06 | 2.4121e-06 | 0.026243 | 0.026243 | 0.026243 | 0.97451 | -0.4906 | 0.97425 | -0.49558 | 7.2096
32 | -0.14097 | -0.035458 | 0.14112 | 0.035558 | 0.00015838 | 0.00010034 | 0.21512 | 0.21512 | 0.21512 | 0.97531 | -0.47472 | 0.97651 | -0.45123 | 19.6992
33 | 0.017864 | 0.0044819 | -0.017856 | -0.004477 | 8.2086e-06 | 4.8916e-06 | 0.027362 | 0.027362 | 0.027362 | 0.97157 | -0.5485 | 0.97108 | -0.55814 | 7.517
34 | 0.025943 | 0.0065098 | -0.025935 | -0.006505 | 7.6699e-06 | 4.7483e-06 | 0.039732 | 0.039732 | 0.039732 | 0.97165 | -0.54691 | 0.97133 | -0.55312 | 10.9155
35 | 0.010203 | 0.0025574 | -0.010202 | -0.0025568 | 1.2656e-06 | 6.3534e-07 | 0.015547 | 0.015547 | 0.015547 | 0.97651 | -0.45123 | 0.97638 | -0.45383 | 4.2713
36 | -0.15599 | -0.039284 | 0.15611 | 0.03936 | 0.00011984 | 7.6062e-05 | 0.23777 | 0.23777 | 0.23777 | 0.97651 | -0.45123 | 0.97733 | -0.43518 | 21.7735
37 | 0.0046617 | 0.0011682 | -0.0046611 | -0.0011682 | 6.0529e-07 | -1.2726e-08 | 0.0071035 | 0.0071036 | 0.0071036 | 0.97651 | -0.45123 | 0.97637 | -0.45396 | 1.9515
38 | -0.16411 | -0.041366 | 0.16413 | 0.041377 | 1.8591e-05 | 1.1809e-05 | 0.24995 | 0.24995 | 0.24995 | 0.97733 | -0.43518 | 0.97745 | -0.43281 | 22.8892
39 | 0.007729 | 0.0019371 | -0.007729 | -0.0019371 | 2.0695e-09 | 8.3051e-10 | 0.011805 | 0.011805 | 0.011805 | 0.97425 | -0.49558 | 0.97425 | -0.49558 | 3.2431
40 | -0.17289 | -0.043574 | 0.17305 | 0.043673 | 0.00015717 | 9.9906e-05 | 0.26329 | 0.26329 | 0.26329 | 0.97745 | -0.43281 | 0.97842 | -0.41383 | 24.1108
41 | 0.017856 | 0.004477 | -0.01785 | -0.0044737 | 5.5331e-06 | 3.2975e-06 | 0.027362 | 0.027362 | 0.027362 | 0.97108 | -0.55814 | 0.97075 | -0.56464 | 7.517
42 | 0.011538 | 0.0028941 | -0.011533 | -0.0028911 | 5.6553e-06 | 3.0047e-06 | 0.017549 | 0.017549 | 0.017549 | 0.97842 | -0.41383 | 0.9779 | -0.42411 | 4.8211
43 | -0.18459 | -0.046568 | 0.18504 | 0.046854 | 0.00045016 | 0.00028638 | 0.28084 | 0.28084 | 0.28084 | 0.97842 | -0.41383 | 0.98103 | -0.36303 | 25.7178
44 | 0.011533 | 0.0028911 | -0.01153 | -0.0028896 | 2.7735e-06 | 1.4738e-06 | 0.017549 | 0.017549 | 0.017549 | 0.9779 | -0.42411 | 0.97764 | -0.42916 | 4.8211
45 | -0.19349 | -0.048972 | 0.19355 | 0.049008 | 5.728e-05 | 3.6458e-05 | 0.29365 | 0.29365 | 0.29365 | 0.98103 | -0.36303 | 0.98134 | -0.35686 | 26.8914
46 | 0.0084493 | 0.0021178 | -0.0084482 | -0.0021173 | 1.1414e-06 | 4.9653e-07 | 0.012816 | 0.012816 | 0.012816 | 0.98103 | -0.36303 | 0.98088 | -0.36586 | 3.5209
47 | 0.0039144 | 0.00098101 | -0.0039144 | -0.00098103 | 6.5249e-08 | -2.0522e-08 | 0.0059383 | 0.0059383 | 0.0059383 | 0.98088 | -0.36586 | 0.98086 | -0.36621 | 1.6314
48 | -0.19355 | -0.049008 | 0.19367 | 0.049086 | 0.00012296 | 7.826e-05 | 0.29365 | 0.29365 | 0.29365 | 0.98134 | -0.35686 | 0.98202 | -0.34364 | 26.8914
49 | -0.19634 | -0.049756 | 0.19656 | 0.049895 | 0.00021804 | 0.00013879 | 0.2977 | 0.2977 | 0.2977 | 0.98202 | -0.34364 | 0.98321 | -0.32055 | 27.2622
50 | -0.043714 | -0.010976 | 0.043727 | 0.010984 | 1.2635e-05 | 7.985e-06 | 0.065503 | 0.065503 | 0.065503 | 0.99316 | -0.12983 | 0.99348 | -0.12377 | 17.9952
51 | 0.034504 | 0.0086679 | -0.03447 | -0.0086465 | 3.4131e-05 | 2.1404e-05 | 0.051703 | 0.051703 | 0.051703 | 0.99316 | -0.12983 | 0.99209 | -0.15058 | 14.2041
52 | -0.050896 | -0.012781 | 0.050934 | 0.012805 | 3.7531e-05 | 2.3797e-05 | 0.076241 | 0.076241 | 0.076241 | 0.99348 | -0.12377 | 0.99428 | -0.10833 | 20.9453
53 | 0.031634 | 0.0079362 | -0.031613 | -0.007923 | 2.1081e-05 | 1.317e-05 | 0.04745 | 0.04745 | 0.04745 | 0.99209 | -0.15058 | 0.99137 | -0.16456 | 13.0358
54 | 0.0028354 | 0.00071031 | -0.0028352 | -0.00071057 | 2.0602e-07 | -2.6036e-07 | 0.0042526 | 0.0042528 | 0.0042528 | 0.99209 | -0.15058 | 0.99201 | -0.1521 | 1.1683
55 | 0.34194 | 0.087624 | -0.34137 | -0.087258 | 0.00057323 | 0.00036619 | 0.51243 | 0.51243 | 0.51243 | 0.99428 | -0.10833 | 0.99245 | -0.14298 | 46.926
56 | -0.39288 | -0.10043 | 0.39455 | 0.1015 | 0.0016724 | 0.0010688 | 0.58867 | 0.58867 | 0.58867 | 0.99428 | -0.10833 | 0.9989 | -0.020734 | 53.9076
57 | 0.31649 | 0.08102 | -0.31625 | -0.080863 | 0.00024576 | 0.00015695 | 0.47514 | 0.47514 | 0.47514 | 0.99245 | -0.14298 | 0.99161 | -0.15903 | 43.5106
58 | 0.024875 | 0.0062376 | -0.024867 | -0.0062327 | 8.06e-06 | 4.9588e-06 | 0.037297 | 0.037297 | 0.037297 | 0.99245 | -0.14298 | 0.9921 | -0.14978 | 10.2464
59 | -0.40626 | -0.10443 | 0.40667 | 0.10469 | 0.00040974 | 0.00026188 | 0.60611 | 0.60611 | 0.60611 | 0.9989 | -0.020734 | 1 | 0 | 55.5047
60 | -0.019122 | -0.0047925 | 0.019124 | 0.0047934 | 1.4185e-06 | 8.4848e-07 | 0.028683 | 0.028683 | 0.028683 | 0.99202 | -0.15134 | 0.9921 | -0.14978 | 7.88
61 | 0.025935 | 0.006505 | -0.02593 | -0.0065017 | 5.4188e-06 | 3.3548e-06 | 0.039732 | 0.039732 | 0.039732 | 0.97133 | -0.55312 | 0.97111 | -0.5575 | 10.9155
62 | 0.019698 | 0.0049399 | -0.019694 | -0.0049375 | 3.9696e-06 | 2.3969e-06 | 0.030184 | 0.030184 | 0.030184 | 0.97111 | -0.5575 | 0.9709 | -0.56173 | 8.2923
63 | 0.0099778 | 0.0025012 | -0.0099758 | -0.0025002 | 2.0243e-06 | 9.9187e-07 | 0.015057 | 0.015057 | 0.015057 | 0.98607 | -0.26546 | 0.98585 | -0.26972 | 4.1366
64 | 0.23825 | 0.060571 | -0.23813 | -0.0605 | 0.00011091 | 7.0723e-05 | 0.35983 | 0.35983 | 0.35983 | 0.98607 | -0.26546 | 0.98556 | -0.27513 | 32.9516
65 | -0.019689 | -0.0049346 | 0.019694 | 0.0049375 | 4.781e-06 | 2.8868e-06 | 0.030184 | 0.030184 | 0.030184 | 0.97064 | -0.56683 | 0.9709 | -0.56173 | 8.2923
66 | -0.22142 | -0.056227 | 0.22142 | 0.056228 | 2.0653e-06 | 1.3162e-06 | 0.33491 | 0.33491 | 0.33491 | 0.98456 | -0.29461 | 0.98457 | -0.29442 | 30.669
67 | 0.21816 | 0.055411 | -0.21805 | -0.055341 | 0.000109 | 6.9456e-05 | 0.32998 | 0.32998 | 0.32998 | 0.98456 | -0.29461 | 0.98402 | -0.305 | 30.2182
68 | -0.2314 | -0.058728 | 0.23161 | 0.058865 | 0.00021488 | 0.00013699 | 0.34998 | 0.34998 | 0.34998 | 0.98457 | -0.29442 | 0.98556 | -0.27513 | 32.0496
69 | 0.20265 | 0.051479 | -0.20249 | -0.051383 | 0.00015162 | 9.6546e-05 | 0.30669 | 0.30669 | 0.30669 | 0.98402 | -0.305 | 0.98321 | -0.32055 | 28.0849
70 | 0.015405 | 0.0038619 | -0.015403 | -0.0038603 | 2.7383e-06 | 1.5816e-06 | 0.023296 | 0.023296 | 0.023296 | 0.98402 | -0.305 | 0.98383 | -0.30873 | 6.4001
71 | 0.0065244 | 0.0016351 | -0.0065243 | -0.0016351 | 1.0558e-07 | 3.0598e-08 | 0.0098506 | 0.0098506 | 0.0098506 | 0.98556 | -0.27513 | 0.98555 | -0.27547 | 2.7062
72 | 0.0032094 | 0.0008043 | -0.0032093 | -0.00080434 | 4.6482e-08 | -3.7519e-08 | 0.0048456 | 0.0048457 | 0.0048457 | 0.98555 | -0.27547 | 0.98553 | -0.27578 | 1.3312
73 | 0.0067173 | 0.0016835 | -0.0067173 | -0.0016835 | 8.9771e-09 | 2.7765e-09 | 0.010139 | 0.010139 | 0.010139 | 0.98585 | -0.26972 | 0.98585 | -0.26975 | 2.7854

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.42056 | 0.10776

## res_load
| p_mw | q_mvar
0 | 0.0016308 | 0.00040872
1 | 0.00093386 | 0.00023405
2 | 0.0060246 | 0.0015099
3 | 0.00616 | 0.0015438
4 | 0.0044152 | 0.0011066
5 | 0.0014712 | 0.00036872
6 | 0.0018858 | 0.00047262
7 | 0.0043674 | 0.0010946
8 | 0.010342 | 0.002592
9 | 0.0078079 | 0.0019568
10 | 0.0093203 | 0.0023359
11 | 0.0060354 | 0.0015126
12 | 0.0085554 | 0.0021442
13 | 0.012943 | 0.0032438
14 | 0.008574 | 0.0021488
15 | 0.0098365 | 0.0024653
16 | 0.018591 | 0.0046594
17 | 0.010536 | 0.0026407
18 | 0.010638 | 0.0026662
19 | 0.010202 | 0.0025568
20 | 0.0080025 | 0.0020056
21 | 0.0046611 | 0.0011682
22 | 0.0094531 | 0.0023692
23 | 0.0087629 | 0.0021962
24 | 0.01785 | 0.0044737
25 | 0.007729 | 0.0019371
26 | 0.0045338 | 0.0011363
27 | 0.0039144 | 0.00098103
28 | 0.0026724 | 0.00066976
29 | 0.01153 | 0.0028896
30 | 0.0092105 | 0.0023084
31 | 0.0071693 | 0.0017968
32 | 0.031613 | 0.007923
33 | 0.0028352 | 0.00071057
34 | 0.011708 | 0.0029342
35 | 0.019122 | 0.0047925
36 | 0.005743 | 0.0014393
37 | 0.0062315 | 0.0015618
38 | 0.019689 | 0.0049346
39 | 0.012242 | 0.0030681
40 | 0.0032574 | 0.00081638
41 | 0.0099752 | 0.0025
42 | 0.0059364 | 0.0014878
43 | 0.015403 | 0.0038603
44 | 0.0033149 | 0.0008308
45 | 0.0032585 | 0.00081667
46 | 0.0067173 | 0.0016835
47 | 0.0032093 | 0.00080434
48 | 0.0048288 | 0.0012102
49 | 0.00087012 | 0.00021807

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1