## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1630-128_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1630-128_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1630-128_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1630-128_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1630-128_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1630-128_0_2_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1630-128_0_2_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_1630-128_0_2_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_1630-128_0_2_node_11 | 0.4 | n |  | TRUE
9 | bus_LV_1630-128_0_2_node_14 | 0.4 | n |  | TRUE
10 | bus_LV_1630-128_0_2_node_13 | 0.4 | n |  | TRUE
11 | bus_LV_1630-128_0_2_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_1630-128_0_2_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_1630-128_0_2_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_1630-128_0_2_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_1630-128_0_2_node_48 | 0.4 | n |  | TRUE
16 | bus_LV_1630-128_0_2_node_21 | 0.4 | n |  | TRUE
17 | bus_LV_1630-128_0_2_node_18 | 0.4 | n |  | TRUE
18 | bus_LV_1630-128_0_2_node_49 | 0.4 | n |  | TRUE
19 | bus_LV_1630-128_0_2_node_19 | 0.4 | n |  | TRUE
20 | bus_LV_1630-128_0_2_node_20 | 0.4 | n |  | TRUE
21 | bus_LV_1630-128_0_2_node_16 | 0.4 | n |  | TRUE
22 | bus_LV_1630-128_0_2_node_31 | 0.4 | n |  | TRUE
23 | bus_LV_1630-128_0_2_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_1630-128_0_2_node_46 | 0.4 | n |  | TRUE
25 | bus_LV_1630-128_0_2_node_34 | 0.4 | n |  | TRUE
26 | bus_LV_1630-128_0_2_node_35 | 0.4 | n |  | TRUE
27 | bus_LV_1630-128_0_2_node_36 | 0.4 | n |  | TRUE
28 | bus_LV_1630-128_0_2_node_26 | 0.4 | n |  | TRUE
29 | bus_LV_1630-128_0_2_node_22 | 0.4 | n |  | TRUE
30 | bus_LV_1630-128_0_2_node_23 | 0.4 | n |  | TRUE
31 | bus_LV_1630-128_0_2_node_24 | 0.4 | n |  | TRUE
32 | bus_LV_1630-128_0_2_node_27 | 0.4 | n |  | TRUE
33 | bus_LV_1630-128_0_2_node_25 | 0.4 | n |  | TRUE
34 | bus_LV_1630-128_0_2_node_28 | 0.4 | n |  | TRUE
35 | bus_LV_1630-128_0_2_node_29 | 0.4 | n |  | TRUE
36 | bus_LV_1630-128_0_2_node_30 | 0.4 | n |  | TRUE
37 | bus_LV_1630-128_0_2_node_32 | 0.4 | n |  | TRUE
38 | bus_LV_1630-128_0_2_node_33 | 0.4 | n |  | TRUE
39 | bus_LV_1630-128_0_2_node_47 | 0.4 | n |  | TRUE
40 | bus_LV_1630-128_0_2_node_43 | 0.4 | n |  | TRUE
41 | bus_LV_1630-128_0_2_node_38 | 0.4 | n |  | TRUE
42 | bus_LV_1630-128_0_2_node_39 | 0.4 | n |  | TRUE
43 | bus_LV_1630-128_0_2_node_37 | 0.4 | n |  | TRUE
44 | bus_LV_1630-128_0_2_node_41 | 0.4 | n |  | TRUE
45 | bus_LV_1630-128_0_2_node_40 | 0.4 | n |  | TRUE
46 | bus_LV_1630-128_0_2_node_45 | 0.4 | n |  | TRUE
47 | bus_MV_0_node_20 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1630-128_0_2_load_0 | 0 | 0.00083788 | 0.00020999 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1630-128_0_2_load_3 | 3 | 0.00079219 | 0.00019854 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1630-128_0_2_load_4 | 4 | 0.00084592 | 0.00021201 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1630-128_0_2_load_5 | 5 | 0.00075658 | 0.00018962 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1630-128_0_2_load_14 | 9 | 0.003836 | 0.00096139 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1630-128_0_2_load_13 | 10 | 0.0044322 | 0.0011108 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1630-128_0_2_load_8 | 11 | 0.0014962 | 0.00037498 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1630-128_0_2_load_48 | 15 | 0.00096017 | 0.00024064 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1630-128_0_2_load_49 | 18 | 0.0014196 | 0.00035579 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1630-128_0_2_load_19 | 19 | 0.0007889 | 0.00019772 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1630-128_0_2_load_16 | 21 | 0.0027333 | 0.00068503 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1630-128_0_2_load_31 | 22 | 0.0014499 | 0.00036339 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1630-128_0_2_load_17 | 23 | 0.00071951 | 0.00018033 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1630-128_0_2_load_46 | 24 | 0.0020198 | 0.00050622 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1630-128_0_2_load_34 | 25 | 0.0034921 | 0.00087519 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1630-128_0_2_load_22 | 29 | 0.00078627 | 0.00019706 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1630-128_0_2_load_29 | 35 | 0.00088784 | 0.00022251 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1630-128_0_2_load_33 | 38 | 0.0015023 | 0.0003765 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1630-128_0_2_load_47 | 39 | 0.00065792 | 0.00016489 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1630-128_0_2_load_43 | 40 | 0.0017227 | 0.00043176 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1630-128_0_2_load_38 | 41 | 0.0011524 | 0.00028882 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1630-128_0_2_load_39 | 42 | 0.00069158 | 0.00017333 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1630-128_0_2_load_37 | 43 | 0.00065759 | 0.00016481 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1630-128_0_2_load_40 | 45 | 0.0012036 | 0.00030165 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1630-128_0_2_load_45 | 46 | 0.00071546 | 0.00017931 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 20 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1630-128_0_2_line_0 |  | 0 | 1 | 0.036686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1630-128_0_2_line_1 |  | 0 | 2 | 0.021974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1630-128_0_2_line_2 |  | 1 | 3 | 0.044397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1630-128_0_2_line_3 |  | 1 | 4 | 0.016154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1630-128_0_2_line_4 |  | 2 | 5 | 0.0043394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1630-128_0_2_line_5 |  | 4 | 6 | 0.26093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1630-128_0_2_line_6 |  | 5 | 7 | 0.38211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1630-128_0_2_line_7 |  | 6 | 8 | 0.021847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1630-128_0_2_line_8 |  | 7 | 9 | 0.041381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1630-128_0_2_line_9 |  | 8 | 10 | 0.19424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1630-128_0_2_line_10 |  | 10 | 13 | 0.050377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1630-128_0_2_line_11 |  | 11 | 12 | 0.034272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1630-128_0_2_line_12 |  | 12 | 13 | 0.054798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1630-128_0_2_line_13 |  | 12 | 14 | 0.11385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1630-128_0_2_line_14 |  | 14 | 15 | 0.034508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1630-128_0_2_line_15 |  | 14 | 16 | 0.11897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1630-128_0_2_line_16 |  | 14 | 17 | 0.1855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1630-128_0_2_line_17 |  | 16 | 18 | 0.24689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1630-128_0_2_line_18 |  | 17 | 19 | 0.094906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1630-128_0_2_line_19 |  | 17 | 20 | 0.096178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1630-128_0_2_line_20 |  | 17 | 21 | 0.083337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1630-128_0_2_line_21 |  | 20 | 22 | 0.33561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1630-128_0_2_line_22 |  | 21 | 23 | 0.0082052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1630-128_0_2_line_23 |  | 22 | 28 | 0.028476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1630-128_0_2_line_24 |  | 23 | 24 | 0.72682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1630-128_0_2_line_25 |  | 24 | 27 | 0.06726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1630-128_0_2_line_26 |  | 25 | 26 | 0.035883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1630-128_0_2_line_27 |  | 26 | 27 | 0.090917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1630-128_0_2_line_28 |  | 28 | 35 | 0.034316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1630-128_0_2_line_29 |  | 28 | 30 | 0.10586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1630-128_0_2_line_30 |  | 29 | 30 | 0.046424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1630-128_0_2_line_31 |  | 29 | 31 | 0.47489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1630-128_0_2_line_32 |  | 31 | 32 | 0.045492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1630-128_0_2_line_33 |  | 32 | 37 | 0.13958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1630-128_0_2_line_34 |  | 32 | 38 | 0.014476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1630-128_0_2_line_35 |  | 33 | 34 | 0.006935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1630-128_0_2_line_36 |  | 33 | 35 | 0.082067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1630-128_0_2_line_37 |  | 33 | 36 | 0.24581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1630-128_0_2_line_38 |  | 34 | 39 | 0.035626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1630-128_0_2_line_39 |  | 36 | 40 | 0.060086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1630-128_0_2_line_40 |  | 37 | 41 | 0.044926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1630-128_0_2_line_41 |  | 37 | 42 | 0.0084318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1630-128_0_2_line_42 |  | 38 | 43 | 0.012998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1630-128_0_2_line_43 |  | 40 | 44 | 0.10078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1630-128_0_2_line_44 |  | 41 | 46 | 0.06096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1630-128_0_2_line_45 |  | 44 | 45 | 0.01431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1630-128_0_2_trafo_20 | 0.63 MVA 20/0.4 kV | 47 | 20 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31 | x32 | y32 | x33 | y33 | x34 | y34 | x35 | y35 | x36 | y36 | x37 | y37 | x38 | y38 | x39 | y39 | x40 | y40 | x41 | y41 | x42 | y42 | x43 | y43 | x44 | y44 | x45 | y45
0 | 2718566.7994 | 1216160.0829 | 2718551.0329 | 1216178.361 | 2718544.2818 | 1216185.1874 | 2718541.9412 | 1216186.9777
1 | 2718523.4665 | 1216198.8061 | 2718536.2764 | 1216191.3107 | 2718541.9412 | 1216186.9777
2 | 2718566.7994 | 1216160.0829 | 2718572.1092 | 1216159.6548 | 2718583.4503 | 1216156.1333 | 2718591.1074 | 1216154.918 | 2718598.7659 | 1216153.258 | 2718602.6378 | 1216153.3351 | 2718610.347 | 1216154.8452
3 | 2718566.7994 | 1216160.0829 | 2718571.089 | 1216155.965 | 2718579.6233 | 1216150.3639
4 | 2718523.4665 | 1216198.8061 | 2718519.6705 | 1216200.9087
5 | 2718808.4074 | 1216215.5025 | 2718798.9192 | 1216212.9447 | 2718779.7745 | 1216210.5503 | 2718768.8251 | 1216211.1881 | 2718759.4794 | 1216211.0018 | 2718751.0803 | 1216209.4333 | 2718735.1397 | 1216205.9464 | 2718720.94 | 1216200.8486 | 2718714.4931 | 1216196.2166 | 2718706.9976 | 1216188.9396 | 2718695.3383 | 1216176.0309 | 2718688.3118 | 1216166.9396 | 2718681.3304 | 1216161.6855 | 2718664.8183 | 1216145.3221 | 2718656.0419 | 1216138.6646 | 2718642.5485 | 1216133.1807 | 2718634.4632 | 1216131.4851 | 2718628.9292 | 1216131.3416 | 2718623.3199 | 1216132.6976 | 2718585.0203 | 1216147.8471 | 2718579.6233 | 1216150.3639
6 | 2718642.6973 | 1216450.5587 | 2718639.0556 | 1216443.8922 | 2718631.9541 | 1216437.4348 | 2718627.0973 | 1216431.1445 | 2718623.9945 | 1216425.6341 | 2718622.3949 | 1216420.5317 | 2718622.0454 | 1216414.4424 | 2718624.6807 | 1216398.427 | 2718624.9518 | 1216393.5843 | 2718624.0521 | 1216388.8072 | 2718619.1002 | 1216380.8026 | 2718610.4508 | 1216371.6012 | 2718602.8763 | 1216362.577 | 2718576.5145 | 1216319.8755 | 2718572.8256 | 1216315.1875 | 2718569.1833 | 1216312.3573 | 2718565.3913 | 1216310.5583 | 2718558.5538 | 1216309.1434 | 2718541.692 | 1216308.0628 | 2718517.4782 | 1216310.0495 | 2718505.9382 | 1216308.6968 | 2718496.1256 | 1216306.033 | 2718478.6069 | 1216297.8897 | 2718471.4959 | 1216292.6555 | 2718467.747 | 1216287.5437 | 2718465.4012 | 1216281.0033 | 2718464.9827 | 1216274.1675 | 2718466.0239 | 1216267.2607 | 2718483.5294 | 1216226.8223 | 2718486.5772 | 1216221.7457 | 2718490.0373 | 1216218.4676 | 2718496.1809 | 1216213.9196 | 2718519.6705 | 1216200.9087
7 | 2718808.4074 | 1216215.5025 | 2718809.5075 | 1216210.6095 | 2718811.6368 | 1216199.0543 | 2718812.3144 | 1216194.0195
8 | 2718642.6973 | 1216450.5587 | 2718643.9342 | 1216454.0415 | 2718645.0772 | 1216459.1904 | 2718647.66 | 1216466.7809 | 2718652.6898 | 1216476.5885 | 2718659.928 | 1216487.8308
9 | 2718812.3144 | 1216194.0195 | 2718809.8992 | 1216190.2129 | 2718806.9188 | 1216186.1838 | 2718797.4178 | 1216175.8866 | 2718737.9947 | 1216114.9228 | 2718687.2136 | 1216061.204 | 2718678.5933 | 1216053.3603
10 | 2718637.7291 | 1216025.0914 | 2718645.5054 | 1216027.4368 | 2718652.173 | 1216030.9167 | 2718659.0755 | 1216035.5687 | 2718670.4214 | 1216045.9247 | 2718678.5933 | 1216053.3603
11 | 2718584.1866 | 1216032.932 | 2718569.0243 | 1216011.3028 | 2718562.7504 | 1216006.5715
12 | 2718637.7291 | 1216025.0914 | 2718628.7136 | 1216023.5664 | 2718619.6641 | 1216023.7531 | 2718611.4567 | 1216024.7461 | 2718594.0675 | 1216029.5148 | 2718584.1866 | 1216032.932
13 | 2718474.4985 | 1216059.9826 | 2718479.1554 | 1216058.7854 | 2718490.9849 | 1216056.2964 | 2718550.6714 | 1216047.3207 | 2718557.7574 | 1216045.4269 | 2718564.4645 | 1216042.7249 | 2718573.1011 | 1216038.4823 | 2718578.8899 | 1216035.3618 | 2718584.1866 | 1216032.932
14 | 2718474.4985 | 1216059.9826 | 2718472.0159 | 1216050.0034 | 2718472.1141 | 1216045.0683 | 2718473.0604 | 1216041.4066 | 2718480.8014 | 1216027.9613
15 | 2718455.5584 | 1216013.2818 | 2718455.3326 | 1216017.3804 | 2718454.6551 | 1216025.095 | 2718453.335 | 1216032.6635 | 2718450.496 | 1216043.6598 | 2718447.3719 | 1216050.6586 | 2718441.1428 | 1216058.3518 | 2718434.2705 | 1216064.0196 | 2718430.4596 | 1216066.9795 | 2718428.6772 | 1216071.0583 | 2718429.7683 | 1216075.7724 | 2718454.4962 | 1216065.9341 | 2718466.7956 | 1216061.9643 | 2718474.4985 | 1216059.9826
16 | 2718301.6006 | 1216124.3643 | 2718306.8022 | 1216122.1214 | 2718310.7183 | 1216118.0627 | 2718320.8926 | 1216116.6858 | 2718330.9003 | 1216114.1381 | 2718355.8122 | 1216106.1044 | 2718429.7683 | 1216075.7724 | 2718454.4962 | 1216065.9341 | 2718466.7956 | 1216061.9643 | 2718474.4985 | 1216059.9826
17 | 2718325.9165 | 1215818.6591 | 2718328.3185 | 1215835.7754 | 2718336.7608 | 1215863.8754 | 2718346.4364 | 1215901.7629 | 2718349.4523 | 1215909.3842 | 2718354.1366 | 1215917.8947 | 2718359.682 | 1215924.7323 | 2718365.3503 | 1215929.971 | 2718370.6969 | 1215934.5807 | 2718393.7693 | 1215951.4962 | 2718446.9496 | 1215989.3926 | 2718449.5131 | 1215992.6349 | 2718451.9626 | 1215996.2641 | 2718453.3017 | 1215999.5821 | 2718454.8996 | 1216007.4532 | 2718455.5584 | 1216013.2818
18 | 2718302.1876 | 1216212.5875 | 2718304.9206 | 1216206.526 | 2718311.5789 | 1216200.5314 | 2718313.5251 | 1216193.5536 | 2718313.8993 | 1216185.0434 | 2718313.1234 | 1216178.6009 | 2718311.2914 | 1216171.0366 | 2718305.9686 | 1216156.4421 | 2718303.1076 | 1216151.7373 | 2718299.026 | 1216131.2407 | 2718301.6006 | 1216124.3643
19 | 2718226.9295 | 1216115.0202 | 2718232.2695 | 1216117.6615 | 2718240.6022 | 1216119.5282 | 2718248.0941 | 1216120.9 | 2718259.2004 | 1216121.5431 | 2718310.7183 | 1216118.0627 | 2718306.8022 | 1216122.1214 | 2718301.6006 | 1216124.3643
20 | 2718301.6006 | 1216124.3643 | 2718274.9442 | 1216135.7329 | 2718233.2955 | 1216158.5684 | 2718227.1007 | 1216161.5138
21 | 2718226.9295 | 1216115.0202 | 2718219.6526 | 1216108.9379 | 2718214.9531 | 1216100.4271 | 2718208.2811 | 1216081.0912 | 2718202.8571 | 1216068.8966 | 2718185.66 | 1216044.4927 | 2718181.9137 | 1216038.0802 | 2718180.8039 | 1216028.9401 | 2718181.2885 | 1216019.4425 | 2718195.235 | 1215977.6318 | 2718195.5758 | 1215970.4108 | 2718193.7051 | 1215949.4689 | 2718194.462 | 1215941.5668 | 2718198.6043 | 1215907.3563 | 2718197.8724 | 1215899.8361 | 2718194.8056 | 1215879.0817 | 2718191.983 | 1215870.8973 | 2718181.3491 | 1215846.0343 | 2718179.3214 | 1215838.3661 | 2718178.7898 | 1215829.938 | 2718180.1086 | 1215813.6184 | 2718180.8836 | 1215798.7456
22 | 2718220.4308 | 1216165.9191 | 2718221.7562 | 1216164.0548 | 2718227.1007 | 1216161.5138
23 | 2718182.3655 | 1215770.3081 | 2718180.8836 | 1215798.7456
24 | 2718220.4308 | 1216165.9191 | 2717768.4824 | 1216735.1379
25 | 2717708.2157 | 1216707.0372 | 2717716.8591 | 1216713.1236 | 2717744.9789 | 1216728.1905 | 2717756.1597 | 1216733.0818 | 2717762.571 | 1216734.9098 | 2717768.4824 | 1216735.1379
26 | 2717626.3797 | 1216697.4365 | 2717628.1414 | 1216691.678 | 2717631.1207 | 1216688.1008 | 2717632.1452 | 1216685.0632 | 2717631.9271 | 1216681.8787 | 2717630.1442 | 1216679.8642 | 2717614.4554 | 1216676.1703
27 | 2717626.3797 | 1216697.4365 | 2717627.8019 | 1216700.4113 | 2717630.8158 | 1216703.5398 | 2717637.8965 | 1216706.4707 | 2717642.0523 | 1216705.2296 | 2717658.358 | 1216699.8028 | 2717665.6808 | 1216698.1684 | 2717673.5067 | 1216697.5891 | 2717680.912 | 1216697.5464 | 2717687.4083 | 1216698.9202 | 2717692.4862 | 1216696.3629 | 2717708.2157 | 1216707.0372
28 | 2718182.3655 | 1215770.3081 | 2718183.5198 | 1215741.9873 | 2718181.9653 | 1215736.2215
29 | 2718182.3655 | 1215770.3081 | 2718172.7809 | 1215778.3019 | 2718155.5338 | 1215788.9125 | 2718139.6919 | 1215793.0128 | 2718107.8319 | 1215805.8912 | 2718086.3109 | 1215812.948
30 | 2718086.3109 | 1215812.948 | 2718085.0927 | 1215819.2287 | 2718082.8038 | 1215830.0916 | 2718084.3175 | 1215839.9401 | 2718085.7381 | 1215847.9744 | 2718085.4328 | 1215851.1151 | 2718079.2381 | 1215855.5983
31 | 2717758.3468 | 1215765.4132 | 2717780.4691 | 1215778.6381 | 2717790.1739 | 1215780.2866 | 2717805.0404 | 1215778.6347 | 2717827.489 | 1215781.5028 | 2717838.377 | 1215784.3868 | 2717847.7467 | 1215788.7643 | 2717861.4048 | 1215808.6494 | 2717863.9277 | 1215814.7261 | 2717865.5781 | 1215835.7302 | 2717866.5734 | 1215841.0873 | 2717868.7385 | 1215842.2198 | 2717874.181 | 1215843.5395 | 2717875.3649 | 1215845.5089 | 2717878.4489 | 1215867.7534 | 2717884.3898 | 1215868.8384 | 2717894.4664 | 1215863.5892 | 2717907.5737 | 1215852.5734 | 2717916.2562 | 1215837.9452 | 2717918.1296 | 1215829.2534 | 2717922.0317 | 1215828.9638 | 2717928.3961 | 1215833.2151 | 2717934.2444 | 1215844.7284 | 2717939.0517 | 1215860.1018 | 2717940.8034 | 1215869.8328 | 2717944.5311 | 1215872.2194 | 2717951.6378 | 1215863.1421 | 2717953.7624 | 1215866.6979 | 2717955.3398 | 1215879.0941 | 2717957.9705 | 1215887.3969 | 2717961.6047 | 1215894.4964 | 2717967.6042 | 1215898.3736 | 2717975.7147 | 1215900.3579 | 2717983.0421 | 1215898.924 | 2717992.4912 | 1215895.8309 | 2717997.8537 | 1215891.6005 | 2718003.6575 | 1215889.6361 | 2718014.1376 | 1215882.8051 | 2718026.949 | 1215876.3872 | 2718033.0524 | 1215873.4836 | 2718042.1997 | 1215872.2082 | 2718050.4615 | 1215866.5564 | 2718061.5319 | 1215860.2264 | 2718070.0815 | 1215858.45 | 2718077.8656 | 1215856.5916 | 2718079.2381 | 1215855.5983
32 | 2717739.0484 | 1215724.9792 | 2717747.9503 | 1215750.3409 | 2717754.2778 | 1215762.2304 | 2717758.3468 | 1215765.4132
33 | 2717643.9543 | 1215632.9766 | 2717655.4042 | 1215635.5045 | 2717675.7311 | 1215643.912 | 2717688.4002 | 1215649.3107 | 2717693.3651 | 1215653.2895 | 2717703.6453 | 1215662.3437 | 2717711.1398 | 1215670.9204 | 2717716.1817 | 1215680.6051 | 2717739.0484 | 1215724.9792
34 | 2717739.0484 | 1215724.9792 | 2717753.5004 | 1215724.14
35 | 2718116.7287 | 1215693.1487 | 2718121.9614 | 1215688.5822
36 | 2718116.7287 | 1215693.1487 | 2718133.318 | 1215695.0344 | 2718143.6221 | 1215699.7866 | 2718170.3738 | 1215718.5422 | 2718177.3611 | 1215726.6091 | 2718181.6662 | 1215735.112 | 2718181.9653 | 1215736.2215
37 | 2718116.7287 | 1215693.1487 | 2718079.8015 | 1215691.4936 | 2718070.6912 | 1215690.1232 | 2718059.252 | 1215685.5377 | 2718006.8289 | 1215648.6495 | 2717997.4551 | 1215640.6357 | 2717989.7194 | 1215629.6853 | 2717978.9934 | 1215604.4206 | 2717973.6893 | 1215596.4874 | 2717964.8402 | 1215586.905 | 2717930.4217 | 1215553.6433
38 | 2718157.2672 | 1215692.7184 | 2718148.9704 | 1215690.5412 | 2718143.3058 | 1215690.8402 | 2718129.7002 | 1215689.0248 | 2718121.9614 | 1215688.5822
39 | 2717930.4217 | 1215553.6433 | 2717940.7419 | 1215524.2251 | 2717944.241 | 1215515.5322 | 2717947.5469 | 1215509.304 | 2717953.6815 | 1215505.6115 | 2717957.3508 | 1215501.7478
40 | 2717643.9543 | 1215632.9766 | 2717657.7278 | 1215654.7649 | 2717658.5902 | 1215658.785 | 2717657.6737 | 1215665.1939 | 2717656.4126 | 1215673.6644
41 | 2717643.9543 | 1215632.9766 | 2717635.7062 | 1215631.2264
42 | 2717753.5004 | 1215724.14 | 2717766.4769 | 1215723.3864
43 | 2717884.7984 | 1215432.905 | 2717891.4859 | 1215435.05 | 2717897.2319 | 1215441.0126 | 2717933.591 | 1215479.1162 | 2717957.3508 | 1215501.7478
44 | 2717656.4126 | 1215673.6644 | 2717656.4126 | 1215673.6644 | 2717657.6325 | 1215682.6619 | 2717665.9173 | 1215709.6792 | 2717668.2211 | 1215716.0962 | 2717676.4421 | 1215730.7509
45 | 2717884.7984 | 1215432.905 | 2717881.6508 | 1215419.9997 | 2717882.0311 | 1215419.0464

## bus_geodata
| x | y | coords
0 | 2718541.9412 | 1216186.9777
1 | 2718566.7994 | 1216160.0829
2 | 2718523.4665 | 1216198.8061
3 | 2718610.347 | 1216154.8452
4 | 2718579.6233 | 1216150.3639
5 | 2718519.6705 | 1216200.9087
6 | 2718808.4074 | 1216215.5025
7 | 2718642.6973 | 1216450.5587
8 | 2718812.3144 | 1216194.0195
9 | 2718659.928 | 1216487.8308
10 | 2718678.5933 | 1216053.3603
11 | 2718562.7504 | 1216006.5715
12 | 2718584.1866 | 1216032.932
13 | 2718637.7291 | 1216025.0914
14 | 2718474.4985 | 1216059.9826
15 | 2718480.8014 | 1216027.9613
16 | 2718455.5584 | 1216013.2818
17 | 2718301.6006 | 1216124.3643
18 | 2718325.9165 | 1215818.6591
19 | 2718302.1876 | 1216212.5875
20 | 2718226.9295 | 1216115.0202
21 | 2718227.1007 | 1216161.5138
22 | 2718180.8836 | 1215798.7456
23 | 2718220.4308 | 1216165.9191
24 | 2717768.4824 | 1216735.1379
25 | 2717614.4554 | 1216676.1703
26 | 2717626.3797 | 1216697.4365
27 | 2717708.2157 | 1216707.0372
28 | 2718182.3655 | 1215770.3081
29 | 2718079.2381 | 1215855.5983
30 | 2718086.3109 | 1215812.948
31 | 2717758.3468 | 1215765.4132
32 | 2717739.0484 | 1215724.9792
33 | 2718116.7287 | 1215693.1487
34 | 2718121.9614 | 1215688.5822
35 | 2718181.9653 | 1215736.2215
36 | 2717930.4217 | 1215553.6433
37 | 2717643.9543 | 1215632.9766
38 | 2717753.5004 | 1215724.14
39 | 2718157.2672 | 1215692.7184
40 | 2717957.3508 | 1215501.7478
41 | 2717656.4126 | 1215673.6644
42 | 2717635.7062 | 1215631.2264
43 | 2717766.4769 | 1215723.3864
44 | 2717884.7984 | 1215432.905
45 | 2717882.0311 | 1215419.0464
46 | 2717676.4421 | 1215730.7509
47 | 2718226.9295 | 1216115.0202

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98936 | -0.20563 | 0.00083788 | 0.00020999
1 | 0.98954 | -0.20207 | 0 | 0
2 | 0.98927 | -0.20743 | 0 | 0
3 | 0.98951 | -0.2027 | 0.00079219 | 0.00019854
4 | 0.98963 | -0.20028 | 0.00084592 | 0.00021201
5 | 0.98925 | -0.20779 | 0.00075658 | 0.00018962
6 | 0.99132 | -0.1674 | 0 | 0
7 | 0.9879 | -0.23398 | 0 | 0
8 | 0.99147 | -0.16466 | 0 | 0
9 | 0.98776 | -0.23682 | 0.003836 | 0.00096139
10 | 0.99272 | -0.14024 | 0.0044322 | 0.0011108
11 | 0.99378 | -0.11971 | 0.0014962 | 0.00037498
12 | 0.99383 | -0.1188 | 0 | 0
13 | 0.99325 | -0.12996 | 0 | 0
14 | 0.99518 | -0.092646 | 0 | 0
15 | 0.99515 | -0.093229 | 0.00096017 | 0.00024064
16 | 0.99503 | -0.09564 | 0 | 0
17 | 0.99779 | -0.042388 | 0 | 0
18 | 0.99471 | -0.10183 | 0.0014196 | 0.00035579
19 | 0.99772 | -0.043702 | 0.0007889 | 0.00019772
20 | 1 | 0 | -0.038436 | -0.0092443
21 | 0.99711 | -0.055524 | 0.0027333 | 0.00068503
22 | 0.99651 | -0.067419 | 0.0014499 | 0.00036339
23 | 0.99707 | -0.056424 | 0.00071951 | 0.00018033
24 | 0.99341 | -0.12716 | 0.0020198 | 0.00050622
25 | 0.99279 | -0.13914 | 0.0034921 | 0.00087519
26 | 0.99291 | -0.13693 | 0 | 0
27 | 0.9932 | -0.13131 | 0 | 0
28 | 0.99625 | -0.072433 | 0 | 0
29 | 0.99548 | -0.087246 | 0.00078627 | 0.00019706
30 | 0.99572 | -0.082729 | 0 | 0
31 | 0.99344 | -0.1269 | 0 | 0
32 | 0.99324 | -0.1307 | 0 | 0
33 | 0.99584 | -0.080332 | 0 | 0
34 | 0.99584 | -0.080413 | 0 | 0
35 | 0.99611 | -0.07514 | 0.00088784 | 0.00022251
36 | 0.99519 | -0.093026 | 0 | 0
37 | 0.99292 | -0.13703 | 0 | 0
38 | 0.99321 | -0.13125 | 0.0015023 | 0.0003765
39 | 0.99581 | -0.080825 | 0.00065792 | 0.00016489
40 | 0.99502 | -0.096126 | 0.0017227 | 0.00043176
41 | 0.99284 | -0.13852 | 0.0011524 | 0.00028882
42 | 0.99291 | -0.13713 | 0.00069158 | 0.00017333
43 | 0.99321 | -0.13141 | 0.00065759 | 0.00016481
44 | 0.99491 | -0.098265 | 0 | 0
45 | 0.9949 | -0.098569 | 0.0012036 | 0.00030165
46 | 0.9928 | -0.13929 | 0.00071546 | 0.00017931
47 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0054362 | -0.0013589 | 0.0054372 | 0.001359 | 9.1939e-07 | 1.1721e-07 | 0.008175 | 0.0081748 | 0.008175 | 0.98936 | -0.20563 | 0.98954 | -0.20207 | 2.2459
1 | 0.0045984 | 0.0011489 | -0.004598 | -0.001149 | 3.94e-07 | -2.999e-08 | 0.0069148 | 0.0069149 | 0.0069149 | 0.98936 | -0.20563 | 0.98927 | -0.20743 | 1.8997
2 | 0.00079222 | 0.00019799 | -0.00079219 | -0.00019854 | 2.3624e-08 | -5.552e-07 | 0.0011911 | 0.0011913 | 0.0011913 | 0.98954 | -0.20207 | 0.98951 | -0.2027 | 0.32728
3 | -0.0062294 | -0.001557 | 0.0062299 | 0.0015572 | 5.314e-07 | 1.3255e-07 | 0.0093659 | 0.0093658 | 0.0093659 | 0.98954 | -0.20207 | 0.98963 | -0.20028 | 2.573
4 | 0.004598 | 0.001149 | -0.0045979 | -0.001149 | 7.7808e-08 | -5.9153e-09 | 0.0069149 | 0.0069149 | 0.0069149 | 0.98927 | -0.20743 | 0.98925 | -0.20779 | 1.8997
5 | -0.0070758 | -0.0017692 | 0.0070869 | 0.0017729 | 1.1072e-05 | 3.7274e-06 | 0.010638 | 0.010637 | 0.010638 | 0.98963 | -0.20028 | 0.99132 | -0.1674 | 2.9225
6 | 0.0038413 | 0.00095935 | -0.0038365 | -0.00096119 | 4.7834e-06 | -1.8378e-06 | 0.0057769 | 0.0057786 | 0.0057786 | 0.98925 | -0.20779 | 0.9879 | -0.23398 | 1.5875
7 | -0.0070869 | -0.0017729 | 0.0070878 | 0.0017732 | 9.2688e-07 | 3.115e-07 | 0.010637 | 0.010636 | 0.010637 | 0.99132 | -0.1674 | 0.99147 | -0.16466 | 2.9221
8 | 0.0038365 | 0.00096119 | -0.003836 | -0.00096139 | 5.1819e-07 | -1.9811e-07 | 0.0057786 | 0.0057788 | 0.0057788 | 0.9879 | -0.23398 | 0.98776 | -0.23682 | 1.5876
9 | -0.0070878 | -0.0017732 | 0.0070961 | 0.001776 | 8.24e-06 | 2.7655e-06 | 0.010636 | 0.010636 | 0.010636 | 0.99147 | -0.16466 | 0.99272 | -0.14024 | 2.9221
10 | -0.011528 | -0.0028868 | 0.011534 | 0.0028897 | 5.6403e-06 | 2.9581e-06 | 0.017279 | 0.017279 | 0.017279 | 0.99272 | -0.14024 | 0.99325 | -0.12996 | 4.747
11 | -0.0014962 | -0.00037498 | 0.0014963 | 0.00037458 | 6.4499e-08 | -4.028e-07 | 0.0022403 | 0.0022401 | 0.0022403 | 0.99378 | -0.11971 | 0.99383 | -0.1188 | 0.61547
12 | 0.01154 | 0.002893 | -0.011534 | -0.0028897 | 6.1351e-06 | 3.2168e-06 | 0.017279 | 0.017279 | 0.017279 | 0.99383 | -0.1188 | 0.99325 | -0.12996 | 4.7469
13 | -0.013036 | -0.0032675 | 0.013053 | 0.0032765 | 1.6264e-05 | 8.9321e-06 | 0.019519 | 0.019518 | 0.019519 | 0.99383 | -0.1188 | 0.99518 | -0.092646 | 5.3623
14 | 0.0009602 | 0.00024021 | -0.00096017 | -0.00024064 | 2.6671e-08 | -4.3129e-07 | 0.0014356 | 0.0014357 | 0.0014357 | 0.99518 | -0.092646 | 0.99515 | -0.093229 | 0.39443
15 | 0.0014202 | 0.00035143 | -0.00142 | -0.00035285 | 2.0093e-07 | -1.4169e-06 | 0.002122 | 0.0021225 | 0.0021225 | 0.99518 | -0.092646 | 0.99503 | -0.09564 | 0.5831
16 | -0.015433 | -0.0038681 | 0.01547 | 0.0038894 | 3.704e-05 | 2.1289e-05 | 0.023076 | 0.023075 | 0.023076 | 0.99518 | -0.092646 | 0.99779 | -0.042388 | 6.3395
17 | 0.00142 | 0.00035285 | -0.0014196 | -0.00035579 | 4.1731e-07 | -2.9388e-06 | 0.0021225 | 0.0021236 | 0.0021236 | 0.99503 | -0.09564 | 0.99471 | -0.10183 | 0.58341
18 | 0.00078895 | 0.00019651 | -0.0007889 | -0.00019772 | 4.925e-08 | -1.208e-06 | 0.0011761 | 0.0011766 | 0.0011766 | 0.99779 | -0.042388 | 0.99772 | -0.043702 | 0.32323
19 | -0.02525 | -0.0063365 | 0.025301 | 0.0063679 | 5.1148e-05 | 3.1476e-05 | 0.037659 | 0.037658 | 0.037659 | 0.99779 | -0.042388 | 1 | 0 | 10.3458
20 | 0.0089912 | 0.0022506 | -0.0089856 | -0.002248 | 5.618e-06 | 2.5078e-06 | 0.013408 | 0.013408 | 0.013408 | 0.99779 | -0.042388 | 0.99711 | -0.055524 | 3.6835
21 | 0.011485 | 0.0028762 | -0.011448 | -0.0028571 | 3.6758e-05 | 1.9138e-05 | 0.017089 | 0.017091 | 0.017091 | 1 | 0 | 0.99651 | -0.067419 | 4.6953
22 | 0.0062523 | 0.001563 | -0.006252 | -0.001563 | 2.6779e-07 | 6.4365e-08 | 0.009329 | 0.0093291 | 0.0093291 | 0.99711 | -0.055524 | 0.99707 | -0.056424 | 2.5629
23 | 0.0099985 | 0.0024937 | -0.0099961 | -0.0024925 | 2.379e-06 | 1.1517e-06 | 0.014926 | 0.014926 | 0.014926 | 0.99651 | -0.067419 | 0.99625 | -0.072433 | 4.1005
24 | 0.0055325 | 0.0013826 | -0.0055139 | -0.0013802 | 1.8582e-05 | 2.4478e-06 | 0.0082553 | 0.0082586 | 0.0082586 | 0.99707 | -0.056424 | 0.99341 | -0.12716 | 2.2688
25 | 0.0034941 | 0.00087396 | -0.0034934 | -0.00087439 | 6.9076e-07 | -4.2853e-07 | 0.0052331 | 0.0052334 | 0.0052334 | 0.99341 | -0.12716 | 0.9932 | -0.13131 | 1.4377
26 | -0.0034921 | -0.00087519 | 0.0034924 | 0.00087496 | 3.6861e-07 | -2.2814e-07 | 0.005234 | 0.0052338 | 0.005234 | 0.99279 | -0.13914 | 0.99291 | -0.13693 | 1.4379
27 | -0.0034924 | -0.00087496 | 0.0034934 | 0.00087439 | 9.3386e-07 | -5.7858e-07 | 0.0052338 | 0.0052334 | 0.0052338 | 0.99291 | -0.13693 | 0.9932 | -0.13131 | 1.4379
28 | 0.0044759 | 0.0011157 | -0.0044753 | -0.0011158 | 5.7478e-07 | -7.8906e-08 | 0.0066832 | 0.0066833 | 0.0066833 | 0.99625 | -0.072433 | 0.99611 | -0.07514 | 1.8361
29 | 0.0055202 | 0.0013768 | -0.0055175 | -0.0013765 | 2.6973e-06 | 3.4861e-07 | 0.0082427 | 0.0082432 | 0.0082432 | 0.99625 | -0.072433 | 0.99572 | -0.082729 | 2.2646
30 | -0.0055163 | -0.0013763 | 0.0055175 | 0.0013765 | 1.183e-06 | 1.5341e-07 | 0.0082434 | 0.0082432 | 0.0082434 | 0.99548 | -0.087246 | 0.99572 | -0.082729 | 2.2647
31 | 0.00473 | 0.0011793 | -0.0047211 | -0.0011797 | 8.8996e-06 | -4.6569e-07 | 0.0070681 | 0.0070703 | 0.0070703 | 0.99548 | -0.087246 | 0.99344 | -0.1269 | 1.9424
32 | 0.0047211 | 0.0011797 | -0.0047203 | -0.0011798 | 8.5282e-07 | -4.3097e-08 | 0.0070703 | 0.0070705 | 0.0070705 | 0.99344 | -0.1269 | 0.99324 | -0.1307 | 1.9424
33 | 0.0025604 | 0.00063877 | -0.0025596 | -0.00064008 | 7.6987e-07 | -1.3133e-06 | 0.0038348 | 0.0038354 | 0.0038354 | 0.99324 | -0.1307 | 0.99292 | -0.13703 | 1.0537
34 | 0.0021599 | 0.00054099 | -0.0021599 | -0.00054114 | 5.6839e-08 | -1.5098e-07 | 0.0032357 | 0.0032358 | 0.0032358 | 0.99324 | -0.1307 | 0.99321 | -0.13125 | 0.88896
35 | 0.00065793 | 0.00016435 | -0.00065793 | -0.00016443 | 2.5126e-09 | -8.8618e-08 | 0.00098291 | 0.00098294 | 0.00098294 | 0.99584 | -0.080332 | 0.99584 | -0.080413 | 0.27004
36 | -0.0035866 | -0.00089378 | 0.0035875 | 0.00089328 | 8.8324e-07 | -5.0273e-07 | 0.0053574 | 0.0053571 | 0.0053574 | 0.99584 | -0.080332 | 0.99611 | -0.07514 | 1.4718
37 | 0.0029287 | 0.00072943 | -0.0029269 | -0.0007315 | 1.7644e-06 | -2.0667e-06 | 0.0043745 | 0.0043756 | 0.0043756 | 0.99584 | -0.080332 | 0.99519 | -0.093026 | 1.2021
38 | 0.00065793 | 0.00016443 | -0.00065792 | -0.00016489 | 1.291e-08 | -4.5523e-07 | 0.00098294 | 0.0009831 | 0.0009831 | 0.99584 | -0.080413 | 0.99581 | -0.080825 | 0.27008
39 | 0.0029269 | 0.0007315 | -0.0029265 | -0.000732 | 4.3144e-07 | -5.0447e-07 | 0.0043756 | 0.0043759 | 0.0043759 | 0.99519 | -0.093026 | 0.99502 | -0.096126 | 1.2022
40 | 0.001868 | 0.00046686 | -0.0018679 | -0.00046736 | 1.32e-07 | -4.9655e-07 | 0.002799 | 0.0027992 | 0.0027992 | 0.99292 | -0.13703 | 0.99284 | -0.13852 | 0.76902
41 | 0.00069158 | 0.00017322 | -0.00069158 | -0.00017333 | 3.3964e-09 | -1.0688e-07 | 0.0010364 | 0.0010364 | 0.0010364 | 0.99292 | -0.13703 | 0.99291 | -0.13713 | 0.28473
42 | 0.00065759 | 0.00016464 | -0.00065759 | -0.00016481 | 4.7308e-09 | -1.6519e-07 | 0.00098513 | 0.00098519 | 0.00098519 | 0.99321 | -0.13125 | 0.99321 | -0.13141 | 0.27066
43 | 0.0012037 | 0.00030025 | -0.0012036 | -0.00030148 | 1.2244e-07 | -1.2306e-06 | 0.0017996 | 0.0018001 | 0.0018001 | 0.99502 | -0.096126 | 0.99491 | -0.098265 | 0.49453
44 | 0.00071549 | 0.00017854 | -0.00071546 | -0.00017931 | 2.628e-08 | -7.7149e-07 | 0.0010721 | 0.0010723 | 0.0010723 | 0.99284 | -0.13852 | 0.9928 | -0.13929 | 0.2946
45 | 0.0012036 | 0.00030148 | -0.0012036 | -0.00030165 | 1.7389e-08 | -1.747e-07 | 0.0018001 | 0.0018002 | 0.0018002 | 0.99491 | -0.098265 | 0.9949 | -0.098569 | 0.49455

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -6.4999e-16 | 2.4266e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 7.2519e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.038436 | 0.0092443

## res_load
| p_mw | q_mvar
0 | 0.00083788 | 0.00020999
1 | 0.00079219 | 0.00019854
2 | 0.00084592 | 0.00021201
3 | 0.00075658 | 0.00018962
4 | 0.003836 | 0.00096139
5 | 0.0044322 | 0.0011108
6 | 0.0014962 | 0.00037498
7 | 0.00096017 | 0.00024064
8 | 0.0014196 | 0.00035579
9 | 0.0007889 | 0.00019772
10 | 0.0027333 | 0.00068503
11 | 0.0014499 | 0.00036339
12 | 0.00071951 | 0.00018033
13 | 0.0020198 | 0.00050622
14 | 0.0034921 | 0.00087519
15 | 0.00078627 | 0.00019706
16 | 0.00088784 | 0.00022251
17 | 0.0015023 | 0.0003765
18 | 0.00065792 | 0.00016489
19 | 0.0017227 | 0.00043176
20 | 0.0011524 | 0.00028882
21 | 0.00069158 | 0.00017333
22 | 0.00065759 | 0.00016481
23 | 0.0012036 | 0.00030165
24 | 0.00071546 | 0.00017931

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1