## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1630-132_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1630-132_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1630-132_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1630-132_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1630-132_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1630-132_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1630-132_0_3_node_21 | 0.4 | n |  | TRUE
7 | bus_LV_1630-132_0_3_node_35 | 0.4 | n |  | TRUE
8 | bus_LV_1630-132_0_3_node_43 | 0.4 | n |  | TRUE
9 | bus_LV_1630-132_0_3_node_38 | 0.4 | n |  | TRUE
10 | bus_LV_1630-132_0_3_node_22 | 0.4 | n |  | TRUE
11 | bus_LV_1630-132_0_3_node_49 | 0.4 | n |  | TRUE
12 | bus_LV_1630-132_0_3_node_19 | 0.4 | n |  | TRUE
13 | bus_LV_1630-132_0_3_node_18 | 0.4 | n |  | TRUE
14 | bus_LV_1630-132_0_3_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_1630-132_0_3_node_6 | 0.4 | n |  | TRUE
16 | bus_LV_1630-132_0_3_node_7 | 0.4 | n |  | TRUE
17 | bus_LV_1630-132_0_3_node_8 | 0.4 | n |  | TRUE
18 | bus_LV_1630-132_0_3_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_1630-132_0_3_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_1630-132_0_3_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_1630-132_0_3_node_37 | 0.4 | n |  | TRUE
22 | bus_LV_1630-132_0_3_node_36 | 0.4 | n |  | TRUE
23 | bus_LV_1630-132_0_3_node_44 | 0.4 | n |  | TRUE
24 | bus_LV_1630-132_0_3_node_45 | 0.4 | n |  | TRUE
25 | bus_LV_1630-132_0_3_node_31 | 0.4 | n |  | TRUE
26 | bus_LV_1630-132_0_3_node_41 | 0.4 | n |  | TRUE
27 | bus_LV_1630-132_0_3_node_29 | 0.4 | n |  | TRUE
28 | bus_LV_1630-132_0_3_node_39 | 0.4 | n |  | TRUE
29 | bus_LV_1630-132_0_3_node_40 | 0.4 | n |  | TRUE
30 | bus_LV_1630-132_0_3_node_13 | 0.4 | n |  | TRUE
31 | bus_LV_1630-132_0_3_node_14 | 0.4 | n |  | TRUE
32 | bus_LV_1630-132_0_3_node_15 | 0.4 | n |  | TRUE
33 | bus_LV_1630-132_0_3_node_16 | 0.4 | n |  | TRUE
34 | bus_LV_1630-132_0_3_node_17 | 0.4 | n |  | TRUE
35 | bus_LV_1630-132_0_3_node_46 | 0.4 | n |  | TRUE
36 | bus_LV_1630-132_0_3_node_34 | 0.4 | n |  | TRUE
37 | bus_LV_1630-132_0_3_node_25 | 0.4 | n |  | TRUE
38 | bus_LV_1630-132_0_3_node_47 | 0.4 | n |  | TRUE
39 | bus_LV_1630-132_0_3_node_26 | 0.4 | n |  | TRUE
40 | bus_LV_1630-132_0_3_node_27 | 0.4 | n |  | TRUE
41 | bus_LV_1630-132_0_3_node_48 | 0.4 | n |  | TRUE
42 | bus_LV_1630-132_0_3_node_20 | 0.4 | n |  | TRUE
43 | bus_LV_1630-132_0_3_node_23 | 0.4 | n |  | TRUE
44 | bus_LV_1630-132_0_3_node_24 | 0.4 | n |  | TRUE
45 | bus_LV_1630-132_0_3_node_28 | 0.4 | n |  | TRUE
46 | bus_LV_1630-132_0_3_node_30 | 0.4 | n |  | TRUE
47 | bus_LV_1630-132_0_3_node_32 | 0.4 | n |  | TRUE
48 | bus_LV_1630-132_0_3_node_33 | 0.4 | n |  | TRUE
49 | bus_LV_1630-132_0_3_node_42 | 0.4 | n |  | TRUE
50 | bus_LV_1630-132_0_3_node_51 | 0.4 | n |  | TRUE
51 | bus_LV_1630-132_0_3_node_52 | 0.4 | n |  | TRUE
52 | bus_LV_1630-132_0_3_node_50 | 0.4 | n |  | TRUE
53 | bus_LV_1630-132_0_3_node_53 | 0.4 | n |  | TRUE
54 | bus_MV_0_node_7 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1630-132_0_3_load_0 | 0 | 0.001206 | 0.00030225 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1630-132_0_3_load_1 | 1 | 0.00053028 | 0.0001329 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1630-132_0_3_load_21 | 6 | 0.0010081 | 0.00025266 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1630-132_0_3_load_35 | 7 | 0.00075947 | 0.00019034 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1630-132_0_3_load_43 | 8 | 0.0021909 | 0.00054909 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1630-132_0_3_load_38 | 9 | 0.00026851 | 6.7295e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1630-132_0_3_load_49 | 11 | 0.00035187 | 8.8187e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1630-132_0_3_load_18 | 13 | 0.0012268 | 0.00030747 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1630-132_0_3_load_6 | 15 | 0.00061042 | 0.00015299 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1630-132_0_3_load_11 | 19 | 0.00042805 | 0.00010728 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1630-132_0_3_load_12 | 20 | 0.001185 | 0.000297 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1630-132_0_3_load_37 | 21 | 0.00047675 | 0.00011948 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1630-132_0_3_load_36 | 22 | 0.00073634 | 0.00018454 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1630-132_0_3_load_44 | 23 | 0.00049097 | 0.00012305 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1630-132_0_3_load_45 | 24 | 0.00091644 | 0.00022968 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1630-132_0_3_load_29 | 27 | 0.00023171 | 5.8072e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1630-132_0_3_load_39 | 28 | 0.00022187 | 5.5606e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1630-132_0_3_load_40 | 29 | 0.00027831 | 6.975e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1630-132_0_3_load_13 | 30 | 0.0002655 | 6.6541e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1630-132_0_3_load_14 | 31 | 0.00094063 | 0.00023574 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1630-132_0_3_load_16 | 33 | 0.00043864 | 0.00010993 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1630-132_0_3_load_17 | 34 | 0.00045999 | 0.00011529 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1630-132_0_3_load_46 | 35 | 0.00048191 | 0.00012078 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1630-132_0_3_load_26 | 39 | 0.00068082 | 0.00017063 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1630-132_0_3_load_27 | 40 | 0.00044216 | 0.00011082 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1630-132_0_3_load_48 | 41 | 0.00047522 | 0.0001191 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1630-132_0_3_load_23 | 43 | 0.00026161 | 6.5566e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1630-132_0_3_load_24 | 44 | 0.00085209 | 0.00021355 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1630-132_0_3_load_28 | 45 | 0.0010649 | 0.00026688 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1630-132_0_3_load_32 | 47 | 0.00075409 | 0.00018899 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1630-132_0_3_load_33 | 48 | 0.00026333 | 6.5997e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1630-132_0_3_load_42 | 49 | 0.00022947 | 5.751e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1630-132_0_3_load_50 | 52 | 0.00040032 | 0.00010033 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1630-132_0_3_load_53 | 53 | 0.00095359 | 0.00023899 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 16 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1630-132_0_3_line_0 |  | 0 | 1 | 0.0077845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1630-132_0_3_line_1 |  | 0 | 2 | 0.036965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1630-132_0_3_line_2 |  | 2 | 3 | 0.038016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1630-132_0_3_line_3 |  | 2 | 4 | 0.052464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1630-132_0_3_line_4 |  | 2 | 5 | 0.14655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1630-132_0_3_line_5 |  | 3 | 6 | 0.012296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1630-132_0_3_line_6 |  | 4 | 7 | 0.0097074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1630-132_0_3_line_7 |  | 5 | 8 | 0.011273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1630-132_0_3_line_8 |  | 5 | 9 | 0.089045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1630-132_0_3_line_9 |  | 6 | 12 | 0.0064071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1630-132_0_3_line_10 |  | 9 | 14 | 0.079718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1630-132_0_3_line_11 |  | 10 | 11 | 0.012591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1630-132_0_3_line_12 |  | 10 | 12 | 0.11702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1630-132_0_3_line_13 |  | 12 | 13 | 0.067804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1630-132_0_3_line_14 |  | 13 | 42 | 0.02818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1630-132_0_3_line_15 |  | 14 | 21 | 0.020717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1630-132_0_3_line_16 |  | 14 | 22 | 0.019175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1630-132_0_3_line_17 |  | 14 | 16 | 0.22741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1630-132_0_3_line_18 |  | 15 | 16 | 0.089422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1630-132_0_3_line_19 |  | 15 | 17 | 0.01421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1630-132_0_3_line_20 |  | 16 | 18 | 0.24079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1630-132_0_3_line_21 |  | 17 | 19 | 0.18603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1630-132_0_3_line_22 |  | 17 | 20 | 0.009052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1630-132_0_3_line_23 |  | 18 | 23 | 0.061408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1630-132_0_3_line_24 |  | 18 | 24 | 0.007748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1630-132_0_3_line_25 |  | 18 | 25 | 0.31397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1630-132_0_3_line_26 |  | 19 | 26 | 0.38771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1630-132_0_3_line_27 |  | 25 | 27 | 0.0095836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1630-132_0_3_line_28 |  | 26 | 28 | 0.24252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1630-132_0_3_line_29 |  | 27 | 45 | 0.020542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1630-132_0_3_line_30 |  | 28 | 29 | 0.022431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1630-132_0_3_line_31 |  | 30 | 31 | 0.00397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1630-132_0_3_line_32 |  | 30 | 32 | 0.012839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1630-132_0_3_line_33 |  | 31 | 33 | 0.038186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1630-132_0_3_line_34 |  | 32 | 34 | 0.18566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1630-132_0_3_line_35 |  | 32 | 35 | 0.16803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1630-132_0_3_line_36 |  | 33 | 37 | 0.027791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1630-132_0_3_line_37 |  | 34 | 38 | 0.49616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1630-132_0_3_line_38 |  | 35 | 36 | 0.023856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1630-132_0_3_line_39 |  | 36 | 46 | 0.010045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1630-132_0_3_line_40 |  | 37 | 39 | 0.048608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1630-132_0_3_line_41 |  | 37 | 40 | 0.0994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1630-132_0_3_line_42 |  | 38 | 41 | 0.019703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1630-132_0_3_line_43 |  | 42 | 43 | 0.14525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1630-132_0_3_line_44 |  | 42 | 44 | 0.01029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1630-132_0_3_line_45 |  | 45 | 46 | 0.018322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1630-132_0_3_line_46 |  | 46 | 47 | 0.017094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1630-132_0_3_line_47 |  | 46 | 48 | 0.014644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1630-132_0_3_line_48 |  | 48 | 49 | 0.10959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1630-132_0_3_line_49 |  | 49 | 53 | 0.35942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1630-132_0_3_line_50 |  | 50 | 51 | 0.082173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1630-132_0_3_line_51 |  | 50 | 52 | 0.22209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1630-132_0_3_line_52 |  | 51 | 53 | 0.1017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1630-132_0_3_trafo_7 | 0.63 MVA 20/0.4 kV | 54 | 16 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16
0 | 2720537.1152 | 1218234.9498 | 2720539.9143 | 1218242.2136
1 | 2720523.8239 | 1218200.4571 | 2720537.1152 | 1218234.9498
2 | 2720523.8239 | 1218200.4571 | 2720553.3964 | 1218176.4701
3 | 2720523.8239 | 1218200.4571 | 2720507.958 | 1218150.442
4 | 2720399.584 | 1218278.3722 | 2720495.1454 | 1218221.5489 | 2720505.1482 | 1218215.3687 | 2720523.8239 | 1218200.4571
5 | 2720553.3964 | 1218176.4701 | 2720555.8244 | 1218177.2976 | 2720565.5505 | 1218177.6163
6 | 2720507.958 | 1218150.442 | 2720503.3857 | 1218149.3932 | 2720499.4089 | 1218146.3356
7 | 2720399.584 | 1218278.3722 | 2720403.5851 | 1218283.2569 | 2720408.3709 | 1218284.6324
8 | 2720399.584 | 1218278.3722 | 2720393.9182 | 1218281.0932 | 2720320.1534 | 1218310.6372 | 2720317.0431 | 1218311.7354
9 | 2720571.9417 | 1218177.3794 | 2720568.2679 | 1218177.7053 | 2720565.5505 | 1218177.6163
10 | 2720239.6991 | 1218330.851 | 2720308.7748 | 1218314.655 | 2720317.0431 | 1218311.7354
11 | 2720531.9209 | 1218105.77 | 2720541.1007 | 1218097.1268
12 | 2720541.1007 | 1218097.1268 | 2720543.7783 | 1218096.8808 | 2720547.4115 | 1218096.6875 | 2720549.6949 | 1218097.5343 | 2720551.1588 | 1218099.1096 | 2720552.857 | 1218102.2352 | 2720555.1121 | 1218106.7288 | 2720557.3102 | 1218110.6652 | 2720562.3917 | 1218118.4406 | 2720568.4869 | 1218125.6473 | 2720574.4806 | 1218131.8623 | 2720579.7785 | 1218136.4508 | 2720588.2078 | 1218141.2473 | 2720563.5629 | 1218168.2139 | 2720571.9417 | 1218177.3794
13 | 2720571.9417 | 1218177.3794 | 2720576.027 | 1218181.8544 | 2720579.8928 | 1218188.9158 | 2720589.8236 | 1218195.6776 | 2720593.7982 | 1218196.6143 | 2720596.9937 | 1218196.2898 | 2720600.8936 | 1218194.5452 | 2720624.7645 | 1218176.1891
14 | 2720650.1693 | 1218174.2937 | 2720648.0938 | 1218173.3065 | 2720639.0625 | 1218170.1212 | 2720635.3408 | 1218169.8122 | 2720632.045 | 1218170.5906 | 2720624.7645 | 1218176.1891
15 | 2720239.6991 | 1218330.851 | 2720245.9893 | 1218350.5931
16 | 2720239.6991 | 1218330.851 | 2720238.1442 | 1218327.3947 | 2720235.5143 | 1218323.0271 | 2720228.0015 | 1218316.0001
17 | 2720016.9153 | 1218378.8188 | 2720050.6999 | 1218372.8392 | 2720082.309 | 1218368.1947 | 2720101.891 | 1218364.3531 | 2720239.6991 | 1218330.851
18 | 2720016.9153 | 1218378.8188 | 2719980.071 | 1218440.5688 | 2719974.9283 | 1218445.9805 | 2719969.8842 | 1218446.8796 | 2719965.3127 | 1218445.0443
19 | 2719952.1256 | 1218439.75 | 2719965.3127 | 1218445.0443
20 | 2719797.1953 | 1218407.5305 | 2719799.1447 | 1218405.3569 | 2719811.6106 | 1218377.4638 | 2719888.7622 | 1218390.6925 | 2719900.0269 | 1218391.9312 | 2719908.9363 | 1218392.1218 | 2719918.2565 | 1218391.1419 | 2720016.9153 | 1218378.8188
21 | 2719952.1256 | 1218439.75 | 2719950.2453 | 1218443.0146 | 2719949.6562 | 1218445.8716 | 2719950.6544 | 1218449.4612 | 2719952.7557 | 1218452.9395 | 2719962.0012 | 1218466.5917 | 2719974.1013 | 1218475.7201 | 2719985.8439 | 1218476.9686 | 2720002.8647 | 1218475.4991 | 2720011.5077 | 1218476.0959 | 2720040.2589 | 1218486.2718 | 2720049.4053 | 1218488.2576 | 2720055.4015 | 1218487.9559 | 2720064.2173 | 1218485.2537 | 2720086.1493 | 1218484.206 | 2720098.8887 | 1218483.0841 | 2720111.245 | 1218485.1459
22 | 2719943.0497 | 1218439.5338 | 2719952.1256 | 1218439.75
23 | 2719797.1953 | 1218407.5305 | 2719799.415 | 1218410.7887 | 2719828.6053 | 1218425.9651 | 2719849.061 | 1218439.7983
24 | 2719789.7149 | 1218408.0138 | 2719794.1494 | 1218408.7368 | 2719797.1953 | 1218407.5305
25 | 2719534.3702 | 1218349.2296 | 2719540.5202 | 1218348.0854 | 2719575.7028 | 1218346.1899 | 2719584.7703 | 1218347.206 | 2719604.2529 | 1218350.5663 | 2719613.241 | 1218351.3807 | 2719620.3574 | 1218351.2568 | 2719628.6006 | 1218350.2214 | 2719637.109 | 1218348.4576 | 2719643.0679 | 1218348.5106 | 2719650.2972 | 1218349.5677 | 2719811.6106 | 1218377.4638 | 2719799.1447 | 1218405.3569 | 2719797.1953 | 1218407.5305
26 | 2720111.245 | 1218485.1459 | 2720240.322 | 1218850.7424
27 | 2719534.3702 | 1218349.2296 | 2719525.218 | 1218352.0725
28 | 2720240.322 | 1218850.7424 | 2720255.413 | 1218856.4403 | 2720268.2262 | 1218860.6466 | 2720275.0356 | 1218862.163 | 2720281.6908 | 1218861.9194 | 2720299.254 | 1218859.4832 | 2720353.9229 | 1218854.5279 | 2720435.4933 | 1218845.6137 | 2720448.5239 | 1218843.5755 | 2720464.5319 | 1218838.84 | 2720471.9343 | 1218837.6887 | 2720479.1228 | 1218837.1376
29 | 2719505.2288 | 1218355.3862 | 2719506.1983 | 1218355.5138 | 2719511.8364 | 1218355.6603 | 2719517.906 | 1218354.7369 | 2719523.6438 | 1218352.5615 | 2719525.218 | 1218352.0725
30 | 2720479.1228 | 1218837.1376 | 2720484.5561 | 1218836.721 | 2720490.9722 | 1218835.5387 | 2720497.5386 | 1218835.1823 | 2720501.4196 | 1218835.1282
31 | 2719513.8318 | 1218532.0986 | 2719509.8641 | 1218531.9648
32 | 2719497.0321 | 1218531.532 | 2719509.8641 | 1218531.9648
33 | 2719551.9855 | 1218531.7746 | 2719532.0456 | 1218532.713 | 2719513.8318 | 1218532.0986
34 | 2719497.0321 | 1218531.532 | 2719491.5057 | 1218538.3153 | 2719488.9004 | 1218540.2645 | 2719485.9807 | 1218541.24 | 2719474.5134 | 1218544.0567 | 2719438.63 | 1218554.0783 | 2719426.5724 | 1218558.3177 | 2719408.9703 | 1218566.4601 | 2719383.9431 | 1218580.2914 | 2719363.84 | 1218589.3623 | 2719361.206 | 1218591.9893 | 2719360.6419 | 1218595.136 | 2719362.0129 | 1218598.3215 | 2719363.9872 | 1218599.8177 | 2719366.9071 | 1218600.3433 | 2719371.323 | 1218600.4763 | 2719389.6314 | 1218598.2302
35 | 2719497.8383 | 1218363.5079 | 2719497.0321 | 1218531.532
36 | 2719579.7458 | 1218530.4683 | 2719551.9855 | 1218531.7746
37 | 2719389.6314 | 1218598.2302 | 2718894.3853 | 1218568.0822
38 | 2719477.0413 | 1218353.7611 | 2719480.7116 | 1218358.1381 | 2719486.0011 | 1218361.2799 | 2719497.8383 | 1218363.5079
39 | 2719477.0413 | 1218353.7611 | 2719481.7397 | 1218353.0659 | 2719487.0633 | 1218352.9948
40 | 2719579.7458 | 1218530.4683 | 2719623.0804 | 1218508.2099
41 | 2719579.7458 | 1218530.4683 | 2719608.4718 | 1218530.9564 | 2719615.4175 | 1218531.385 | 2719628.3969 | 1218533.0469 | 2719631.5976 | 1218536.2247 | 2719631.8892 | 1218540.9787 | 2719628.7235 | 1218544.7513 | 2719609.1336 | 1218565.285 | 2719601.968 | 1218569.3776
42 | 2718894.3853 | 1218568.0822 | 2718890.0781 | 1218557.566 | 2718883.4845 | 1218552.4305
43 | 2720650.1693 | 1218174.2937 | 2720650.4248 | 1218178.5466 | 2720649.0523 | 1218182.9555 | 2720648.9816 | 1218189.0699 | 2720649.3916 | 1218196.5618 | 2720650.1574 | 1218206.7296 | 2720649.9543 | 1218216.7555 | 2720643.8991 | 1218250.3032 | 2720644.2355 | 1218256.1812 | 2720646.0587 | 1218262.5008 | 2720657.2976 | 1218276.2612 | 2720663.0962 | 1218281.605 | 2720667.3031 | 1218285.3153 | 2720673.7118 | 1218291.2719 | 2720683.4978 | 1218303.8864
44 | 2720659.4868 | 1218178.7191 | 2720650.1693 | 1218174.2937
45 | 2719487.0633 | 1218352.9948 | 2719505.2288 | 1218355.3862
46 | 2719487.0633 | 1218352.9948 | 2719486.033 | 1218341.532 | 2719489.6191 | 1218337.2451
47 | 2719487.0633 | 1218352.9948 | 2719481.5745 | 1218351.0833 | 2719476.9482 | 1218350.8348 | 2719472.7628 | 1218351.1735
48 | 2719384.8668 | 1218302.1184 | 2719386.2492 | 1218310.0411 | 2719387.2895 | 1218314.5765 | 2719388.932 | 1218317.4783 | 2719392.2249 | 1218319.8572 | 2719411.0082 | 1218335.0008 | 2719417.4845 | 1218337.6437 | 2719424.6599 | 1218339.122 | 2719435.602 | 1218339.7974 | 2719442.1888 | 1218340.719 | 2719449.4943 | 1218342.1443 | 2719459.9026 | 1218349.3697 | 2719463.2622 | 1218351.0717 | 2719467.2599 | 1218351.6189 | 2719472.7628 | 1218351.1735
49 | 2719384.8668 | 1218302.1184 | 2719493.6982 | 1217959.5701
50 | 2719628.7257 | 1217839.487 | 2719628.2316 | 1217842.9131 | 2719626.3826 | 1217845.7559 | 2719620.9335 | 1217852.4294 | 2719610.7981 | 1217862.2001 | 2719590.7807 | 1217879.723 | 2719577.5363 | 1217889.2979 | 2719571.3028 | 1217896.8452
51 | 2719424.4427 | 1217917.6496 | 2719446.3588 | 1217911.0504 | 2719472.5089 | 1217902.7016 | 2719485.0042 | 1217895.2575 | 2719489.1031 | 1217893.8052 | 2719501.4807 | 1217892.23 | 2719513.9723 | 1217891.7802 | 2719527.3653 | 1217888.4129 | 2719531.825 | 1217886.3897 | 2719540.9248 | 1217878.266 | 2719543.5603 | 1217874.0712 | 2719551.3248 | 1217868.5449 | 2719557.1252 | 1217867.8163 | 2719580.1962 | 1217860.8183 | 2719606.2242 | 1217847.9863 | 2719628.7257 | 1217839.487
52 | 2719493.6982 | 1217959.5701 | 2719515.3289 | 1217950.5414 | 2719528.4695 | 1217943.4773 | 2719534.8274 | 1217935.0206 | 2719538.0804 | 1217930.6936 | 2719551.2898 | 1217916.8035 | 2719564.0796 | 1217902.6381 | 2719571.3028 | 1217896.8452

## bus_geodata
| x | y | coords
0 | 2720537.1152 | 1218234.9498
1 | 2720539.9143 | 1218242.2136
2 | 2720523.8239 | 1218200.4571
3 | 2720553.3964 | 1218176.4701
4 | 2720507.958 | 1218150.442
5 | 2720399.584 | 1218278.3722
6 | 2720565.5505 | 1218177.6163
7 | 2720499.4089 | 1218146.3356
8 | 2720408.3709 | 1218284.6324
9 | 2720317.0431 | 1218311.7354
10 | 2720541.1007 | 1218097.1268
11 | 2720531.9209 | 1218105.77
12 | 2720571.9417 | 1218177.3794
13 | 2720624.7645 | 1218176.1891
14 | 2720239.6991 | 1218330.851
15 | 2719965.3127 | 1218445.0443
16 | 2720016.9153 | 1218378.8188
17 | 2719952.1256 | 1218439.75
18 | 2719797.1953 | 1218407.5305
19 | 2720111.245 | 1218485.1459
20 | 2719943.0497 | 1218439.5338
21 | 2720245.9893 | 1218350.5931
22 | 2720228.0015 | 1218316.0001
23 | 2719849.061 | 1218439.7983
24 | 2719789.7149 | 1218408.0138
25 | 2719534.3702 | 1218349.2296
26 | 2720240.322 | 1218850.7424
27 | 2719525.218 | 1218352.0725
28 | 2720479.1228 | 1218837.1376
29 | 2720501.4196 | 1218835.1282
30 | 2719509.8641 | 1218531.9648
31 | 2719513.8318 | 1218532.0986
32 | 2719497.0321 | 1218531.532
33 | 2719551.9855 | 1218531.7746
34 | 2719389.6314 | 1218598.2302
35 | 2719497.8383 | 1218363.5079
36 | 2719477.0413 | 1218353.7611
37 | 2719579.7458 | 1218530.4683
38 | 2718894.3853 | 1218568.0822
39 | 2719623.0804 | 1218508.2099
40 | 2719601.968 | 1218569.3776
41 | 2718883.4845 | 1218552.4305
42 | 2720650.1693 | 1218174.2937
43 | 2720683.4978 | 1218303.8864
44 | 2720659.4868 | 1218178.7191
45 | 2719505.2288 | 1218355.3862
46 | 2719487.0633 | 1218352.9948
47 | 2719489.6191 | 1218337.2451
48 | 2719472.7628 | 1218351.1735
49 | 2719384.8668 | 1218302.1184
50 | 2719628.7257 | 1217839.487
51 | 2719571.3028 | 1217896.8452
52 | 2719424.4427 | 1217917.6496
53 | 2719493.6982 | 1217959.5701
54 | 2720016.9153 | 1218378.8188

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99577 | -0.081716 | 0.001206 | 0.00030225
1 | 0.99576 | -0.081789 | 0.00053028 | 0.0001329
2 | 0.99583 | -0.080587 | 0 | 0
3 | 0.9957 | -0.08307 | 0 | 0
4 | 0.99579 | -0.081289 | 0 | 0
5 | 0.99665 | -0.064588 | 0 | 0
6 | 0.99566 | -0.083873 | 0.0010081 | 0.00025266
7 | 0.99578 | -0.081419 | 0.00075947 | 0.00019034
8 | 0.99663 | -0.065022 | 0.0021909 | 0.00054909
9 | 0.99733 | -0.051454 | 0.00026851 | 6.7295e-05
10 | 0.9956 | -0.084906 | 0 | 0
11 | 0.9956 | -0.084984 | 0.00035187 | 8.8187e-05
12 | 0.99564 | -0.084177 | 0 | 0
13 | 0.9955 | -0.086977 | 0.0012268 | 0.00030747
14 | 0.99796 | -0.039332 | 0 | 0
15 | 0.99978 | -0.0042936 | 0.00061042 | 0.00015299
16 | 1 | 0 | -0.023809 | -0.0055211
17 | 0.99975 | -0.0048243 | 0 | 0
18 | 0.99792 | -0.040273 | 0 | 0
19 | 0.9996 | -0.0079174 | 0.00042805 | 0.00010728
20 | 0.99974 | -0.0050114 | 0.001185 | 0.000297
21 | 0.99795 | -0.039505 | 0.00047675 | 0.00011948
22 | 0.99795 | -0.039579 | 0.00073634 | 0.00018454
23 | 0.99789 | -0.040802 | 0.00049097 | 0.00012305
24 | 0.99792 | -0.040397 | 0.00091644 | 0.00022968
25 | 0.99561 | -0.085201 | 0 | 0
26 | 0.99942 | -0.011405 | 0 | 0
27 | 0.99554 | -0.086575 | 0.00023171 | 5.8072e-05
28 | 0.99931 | -0.013543 | 0.00022187 | 5.5606e-05
29 | 0.99931 | -0.013652 | 0.00027831 | 6.975e-05
30 | 0.99456 | -0.10585 | 0.0002655 | 6.6541e-05
31 | 0.99455 | -0.10602 | 0.00094063 | 0.00023574
32 | 0.99459 | -0.10522 | 0 | 0
33 | 0.99449 | -0.10708 | 0.00043864 | 0.00010993
34 | 0.99443 | -0.10835 | 0.00045999 | 0.00011529
35 | 0.99515 | -0.094164 | 0.00048191 | 0.00012078
36 | 0.99524 | -0.092392 | 0 | 0
37 | 0.99446 | -0.10763 | 0 | 0
38 | 0.99422 | -0.11258 | 0 | 0
39 | 0.99443 | -0.10822 | 0.00068082 | 0.00017063
40 | 0.99442 | -0.10841 | 0.00044216 | 0.00011082
41 | 0.99421 | -0.11275 | 0.00047522 | 0.0001191
42 | 0.99547 | -0.087531 | 0 | 0
43 | 0.99543 | -0.088206 | 0.00026161 | 6.5566e-05
44 | 0.99546 | -0.087686 | 0.00085209 | 0.00021355
45 | 0.9954 | -0.089436 | 0.0010649 | 0.00026688
46 | 0.99528 | -0.091646 | 0 | 0
47 | 0.99527 | -0.091872 | 0.00075409 | 0.00018899
48 | 0.99526 | -0.092129 | 0.00026333 | 6.5997e-05
49 | 0.9951 | -0.095235 | 0.00022947 | 5.751e-05
50 | 0.99459 | -0.10526 | 0 | 0
51 | 0.99462 | -0.10467 | 0 | 0
52 | 0.99451 | -0.10684 | 0.00040032 | 0.00010033
53 | 0.99466 | -0.10393 | 0.00095359 | 0.00023899
54 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.00053028 | 0.0001328 | -0.00053028 | -0.0001329 | 1.8329e-09 | -1.0009e-07 | 0.00079238 | 0.00079242 | 0.00079242 | 0.99577 | -0.081716 | 0.99576 | -0.081789 | 0.2177
1 | -0.0017363 | -0.00043505 | 0.0017364 | 0.00043463 | 9.3307e-08 | -4.2117e-07 | 0.0025945 | 0.0025944 | 0.0025945 | 0.99577 | -0.081716 | 0.99583 | -0.080587 | 0.71279
2 | 0.0037015 | 0.00092237 | -0.0037011 | -0.00092259 | 4.3583e-07 | -2.1559e-07 | 0.0055291 | 0.0055293 | 0.0055293 | 0.99583 | -0.080587 | 0.9957 | -0.08307 | 1.519
3 | 0.0007595 | 0.00018955 | -0.00075947 | -0.00019022 | 2.5332e-08 | -6.6632e-07 | 0.0011346 | 0.0011348 | 0.0011348 | 0.99583 | -0.080587 | 0.99579 | -0.081289 | 0.31177
4 | -0.0061974 | -0.0015466 | 0.0062021 | 0.0015477 | 4.7099e-06 | 1.1062e-06 | 0.0092581 | 0.0092574 | 0.0092581 | 0.99583 | -0.080587 | 0.99665 | -0.064588 | 2.5434
5 | 0.0037011 | 0.00092259 | -0.0037009 | -0.00092266 | 1.4098e-07 | -6.9703e-08 | 0.0055293 | 0.0055293 | 0.0055293 | 0.9957 | -0.08307 | 0.99566 | -0.083873 | 1.519
6 | 0.00075947 | 0.00019022 | -0.00075947 | -0.00019034 | 4.6884e-09 | -1.2328e-07 | 0.0011348 | 0.0011349 | 0.0011349 | 0.99579 | -0.081289 | 0.99578 | -0.081419 | 0.31178
7 | 0.002191 | 0.00054897 | -0.0021909 | -0.00054909 | 4.5233e-08 | -1.1795e-07 | 0.0032711 | 0.0032711 | 0.0032711 | 0.99665 | -0.064588 | 0.99663 | -0.065022 | 0.89866
8 | -0.008393 | -0.0020966 | 0.0083983 | 0.0020988 | 5.2411e-06 | 2.1931e-06 | 0.012528 | 0.012528 | 0.012528 | 0.99665 | -0.064588 | 0.99733 | -0.051454 | 3.4419
9 | 0.0026928 | 0.00067 | -0.0026928 | -0.00067006 | 3.8881e-08 | -5.8443e-08 | 0.0040227 | 0.0040227 | 0.0040227 | 0.99566 | -0.083873 | 0.99564 | -0.084177 | 1.1051
10 | -0.0086668 | -0.0021661 | 0.0086718 | 0.0021683 | 4.9967e-06 | 2.157e-06 | 0.012929 | 0.012928 | 0.012929 | 0.99733 | -0.051454 | 0.99796 | -0.039332 | 3.5518
11 | 0.00035187 | 8.8024e-05 | -0.00035187 | -8.8187e-05 | 1.3057e-09 | -1.629e-07 | 0.00052584 | 0.0005259 | 0.0005259 | 0.9956 | -0.084906 | 0.9956 | -0.084984 | 0.14448
12 | -0.00035187 | -8.8024e-05 | 0.00035188 | 8.651e-05 | 1.2122e-08 | -1.5141e-06 | 0.00052584 | 0.00052531 | 0.00052584 | 0.9956 | -0.084906 | 0.99564 | -0.084177 | 0.14446
13 | 0.0023409 | 0.00058355 | -0.0023406 | -0.00058423 | 3.1105e-07 | -6.8261e-07 | 0.0034974 | 0.0034977 | 0.0034977 | 0.99564 | -0.084177 | 0.9955 | -0.086977 | 0.96092
14 | 0.0011137 | 0.00027676 | -0.0011137 | -0.00027711 | 2.9261e-08 | -3.4764e-07 | 0.0016639 | 0.0016641 | 0.0016641 | 0.9955 | -0.086977 | 0.99547 | -0.087531 | 0.45716
15 | 0.00047675 | 0.00011922 | -0.00047675 | -0.00011948 | 3.9253e-09 | -2.6817e-07 | 0.00071077 | 0.00071086 | 0.00071086 | 0.99796 | -0.039332 | 0.99795 | -0.039505 | 0.19529
16 | 0.00073635 | 0.0001843 | -0.00073634 | -0.00018454 | 8.6674e-09 | -2.4499e-07 | 0.0010978 | 0.0010979 | 0.0010979 | 0.99796 | -0.039332 | 0.99795 | -0.039579 | 0.30163
17 | -0.0098849 | -0.0024718 | 0.0099034 | 0.0024807 | 1.8519e-05 | 8.8749e-06 | 0.014737 | 0.014736 | 0.014737 | 0.99796 | -0.039332 | 1 | 0 | 4.0486
18 | -0.002724 | -0.00067153 | 0.0027246 | 0.00067071 | 5.5007e-07 | -8.2085e-07 | 0.0040504 | 0.00405 | 0.0040504 | 0.99978 | -0.0042936 | 1 | 0 | 1.1127
19 | 0.0021136 | 0.00051854 | -0.0021135 | -0.0005187 | 5.2603e-08 | -1.5267e-07 | 0.0031419 | 0.0031419 | 0.0031419 | 0.99978 | -0.0042936 | 0.99975 | -0.0048243 | 0.86317
20 | 0.0095311 | 0.0023696 | -0.0095129 | -0.0023611 | 1.8146e-05 | 8.4613e-06 | 0.014176 | 0.014177 | 0.014177 | 1 | 0 | 0.99792 | -0.040273 | 3.8947
21 | 0.00092849 | 0.00022181 | -0.00092836 | -0.00022417 | 1.3259e-07 | -2.3542e-06 | 0.0013782 | 0.001379 | 0.001379 | 0.99975 | -0.0048243 | 0.9996 | -0.0079174 | 0.37886
22 | 0.001185 | 0.00029688 | -0.001185 | -0.000297 | 1.056e-08 | -1.1194e-07 | 0.0017638 | 0.0017638 | 0.0017638 | 0.99975 | -0.0048243 | 0.99974 | -0.0050114 | 0.48456
23 | 0.00049098 | 0.00012225 | -0.00049097 | -0.00012305 | 1.2338e-08 | -7.9437e-07 | 0.00073183 | 0.00073211 | 0.00073211 | 0.99792 | -0.040273 | 0.99789 | -0.040802 | 0.20113
24 | 0.00091644 | 0.00022958 | -0.00091644 | -0.00022968 | 5.4255e-09 | -9.7753e-08 | 0.0013665 | 0.0013665 | 0.0013665 | 0.99792 | -0.040273 | 0.99792 | -0.040397 | 0.37542
25 | 0.0081055 | 0.0020093 | -0.0080883 | -0.0020024 | 1.7179e-05 | 6.9019e-06 | 0.012078 | 0.01208 | 0.01208 | 0.99792 | -0.040273 | 0.99561 | -0.085201 | 3.3187
26 | 0.00050031 | 0.00011689 | -0.00050023 | -0.00012192 | 8.0203e-08 | -5.0302e-06 | 0.00074188 | 0.00074358 | 0.00074358 | 0.9996 | -0.0079174 | 0.99942 | -0.011405 | 0.20428
27 | 0.0080883 | 0.0020024 | -0.0080878 | -0.0020022 | 5.2443e-07 | 2.1101e-07 | 0.01208 | 0.01208 | 0.01208 | 0.99561 | -0.085201 | 0.99554 | -0.086575 | 3.3187
28 | 0.00050023 | 0.00012192 | -0.00050018 | -0.00012506 | 5.0358e-08 | -3.1454e-06 | 0.00074358 | 0.00074468 | 0.00074468 | 0.99942 | -0.011405 | 0.99931 | -0.013543 | 0.20458
29 | 0.0078561 | 0.0019441 | -0.007855 | -0.0019437 | 1.0606e-06 | 4.1171e-07 | 0.011734 | 0.011734 | 0.011734 | 0.99554 | -0.086575 | 0.9954 | -0.089436 | 3.2235
30 | 0.00027831 | 6.9457e-05 | -0.00027831 | -6.975e-05 | 1.4442e-09 | -2.9295e-07 | 0.00041431 | 0.00041441 | 0.00041441 | 0.99931 | -0.013543 | 0.99931 | -0.013652 | 0.11385
31 | 0.0025024 | 0.0006244 | -0.0025024 | -0.00062444 | 2.0858e-08 | -3.8168e-08 | 0.003743 | 0.0037431 | 0.0037431 | 0.99456 | -0.10585 | 0.99455 | -0.10602 | 1.0283
32 | -0.0027679 | -0.00069094 | 0.002768 | 0.00069083 | 8.2532e-08 | -1.138e-07 | 0.0041403 | 0.0041402 | 0.0041403 | 0.99456 | -0.10585 | 0.99459 | -0.10522 | 1.1374
33 | 0.0015618 | 0.00038869 | -0.0015617 | -0.00038914 | 7.8128e-08 | -4.455e-07 | 0.0023357 | 0.0023359 | 0.0023359 | 0.99455 | -0.10602 | 0.99449 | -0.10708 | 0.64173
34 | 0.00093544 | 0.00022543 | -0.00093531 | -0.00022776 | 1.3584e-07 | -2.3222e-06 | 0.0013964 | 0.0013972 | 0.0013972 | 0.99459 | -0.10522 | 0.99443 | -0.10835 | 0.38385
35 | -0.0037034 | -0.00091626 | 0.0037054 | 0.00091531 | 1.9312e-06 | -9.4585e-07 | 0.0055366 | 0.0055358 | 0.0055366 | 0.99459 | -0.10522 | 0.99515 | -0.094164 | 1.521
36 | 0.001123 | 0.0002792 | -0.001123 | -0.00027955 | 2.9401e-08 | -3.4177e-07 | 0.0016796 | 0.0016797 | 0.0016797 | 0.99449 | -0.10708 | 0.99446 | -0.10763 | 0.46145
37 | 0.00047531 | 0.00011247 | -0.00047522 | -0.00011885 | 9.3804e-08 | -6.3756e-06 | 0.00070895 | 0.00071116 | 0.00071116 | 0.99443 | -0.10835 | 0.99422 | -0.11258 | 0.19537
38 | -0.0041873 | -0.0010361 | 0.0041876 | 0.001036 | 3.5016e-07 | -8.5872e-08 | 0.0062564 | 0.0062563 | 0.0062564 | 0.99515 | -0.094164 | 0.99524 | -0.092392 | 1.7188
39 | -0.0041876 | -0.001036 | 0.0041878 | 0.001036 | 1.4744e-07 | -3.6177e-08 | 0.0062563 | 0.0062562 | 0.0062563 | 0.99524 | -0.092392 | 0.99528 | -0.091646 | 1.7188
40 | 0.00068084 | 0.00017001 | -0.00068082 | -0.00017063 | 1.8913e-08 | -6.1854e-07 | 0.0010185 | 0.0010187 | 0.0010187 | 0.99446 | -0.10763 | 0.99443 | -0.10822 | 0.27987
41 | 0.00044218 | 0.00010954 | -0.00044216 | -0.00011082 | 1.6306e-08 | -1.2792e-06 | 0.00066118 | 0.00066163 | 0.00066163 | 0.99446 | -0.10763 | 0.99442 | -0.10841 | 0.18177
42 | 0.00047522 | 0.00011885 | -0.00047522 | -0.0001191 | 3.7372e-09 | -2.5311e-07 | 0.00071116 | 0.00071125 | 0.00071125 | 0.99422 | -0.11258 | 0.99421 | -0.11275 | 0.1954
43 | 0.00026162 | 6.3683e-05 | -0.00026161 | -6.5566e-05 | 8.3162e-09 | -1.883e-06 | 0.00039041 | 0.00039107 | 0.00039107 | 0.99547 | -0.087531 | 0.99543 | -0.088206 | 0.10744
44 | 0.0008521 | 0.00021342 | -0.00085209 | -0.00021355 | 6.26e-09 | -1.2977e-07 | 0.0012737 | 0.0012737 | 0.0012737 | 0.99547 | -0.087531 | 0.99546 | -0.087686 | 0.34992
45 | 0.0067902 | 0.0016768 | -0.0067895 | -0.0016766 | 7.0672e-07 | 2.1416e-07 | 0.010142 | 0.010142 | 0.010142 | 0.9954 | -0.089436 | 0.99528 | -0.091646 | 2.7862
46 | 0.00075409 | 0.00018877 | -0.00075409 | -0.00018899 | 8.1474e-09 | -2.1693e-07 | 0.0011273 | 0.0011274 | 0.0011274 | 0.99528 | -0.091646 | 0.99527 | -0.091872 | 0.30973
47 | 0.0018476 | 0.00045184 | -0.0018475 | -0.000452 | 4.1784e-08 | -1.6357e-07 | 0.0027584 | 0.0027584 | 0.0027584 | 0.99528 | -0.091646 | 0.99526 | -0.092129 | 0.75781
48 | 0.0015842 | 0.00038601 | -0.001584 | -0.00038728 | 2.2986e-07 | -1.2768e-06 | 0.0023647 | 0.0023652 | 0.0023652 | 0.99526 | -0.092129 | 0.9951 | -0.095235 | 0.64978
49 | 0.0013545 | 0.00032977 | -0.001354 | -0.00033409 | 5.5154e-07 | -4.3142e-06 | 0.0020221 | 0.0020237 | 0.0020237 | 0.9951 | -0.095235 | 0.99466 | -0.10393 | 0.55596
50 | -0.00040035 | -9.7467e-05 | 0.00040036 | 9.6408e-05 | 1.1012e-08 | -1.0594e-06 | 0.00059797 | 0.00059761 | 0.00059797 | 0.99459 | -0.10526 | 0.99462 | -0.10467 | 0.16428
51 | 0.00040035 | 9.7467e-05 | -0.00040032 | -0.00010033 | 2.9829e-08 | -2.8629e-06 | 0.00059797 | 0.00059897 | 0.00059897 | 0.99459 | -0.10526 | 0.99451 | -0.10684 | 0.16455
52 | -0.00040036 | -9.6408e-05 | 0.00040038 | 9.5096e-05 | 1.361e-08 | -1.3113e-06 | 0.00059761 | 0.00059716 | 0.00059761 | 0.99462 | -0.10467 | 0.99466 | -0.10393 | 0.16418

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -6.4999e-16 | 2.4266e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 7.2519e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.023809 | 0.0055211

## res_load
| p_mw | q_mvar
0 | 0.001206 | 0.00030225
1 | 0.00053028 | 0.0001329
2 | 0.0010081 | 0.00025266
3 | 0.00075947 | 0.00019034
4 | 0.0021909 | 0.00054909
5 | 0.00026851 | 6.7295e-05
6 | 0.00035187 | 8.8187e-05
7 | 0.0012268 | 0.00030747
8 | 0.00061042 | 0.00015299
9 | 0.00042805 | 0.00010728
10 | 0.001185 | 0.000297
11 | 0.00047675 | 0.00011948
12 | 0.00073634 | 0.00018454
13 | 0.00049097 | 0.00012305
14 | 0.00091644 | 0.00022968
15 | 0.00023171 | 5.8072e-05
16 | 0.00022187 | 5.5606e-05
17 | 0.00027831 | 6.975e-05
18 | 0.0002655 | 6.6541e-05
19 | 0.00094063 | 0.00023574
20 | 0.00043864 | 0.00010993
21 | 0.00045999 | 0.00011529
22 | 0.00048191 | 0.00012078
23 | 0.00068082 | 0.00017063
24 | 0.00044216 | 0.00011082
25 | 0.00047522 | 0.0001191
26 | 0.00026161 | 6.5566e-05
27 | 0.00085209 | 0.00021355
28 | 0.0010649 | 0.00026688
29 | 0.00075409 | 0.00018899
30 | 0.00026333 | 6.5997e-05
31 | 0.00022947 | 5.751e-05
32 | 0.00040032 | 0.00010033
33 | 0.00095359 | 0.00023899

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1