## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1630-134_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1630-134_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1630-134_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1630-134_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1630-134_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1630-134_0_5_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1630-134_0_5_node_53 | 0.4 | n |  | TRUE
7 | bus_LV_1630-134_0_5_node_52 | 0.4 | n |  | TRUE
8 | bus_LV_1630-134_0_5_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_1630-134_0_5_node_43 | 0.4 | n |  | TRUE
10 | bus_LV_1630-134_0_5_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_1630-134_0_5_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_1630-134_0_5_node_47 | 0.4 | n |  | TRUE
13 | bus_LV_1630-134_0_5_node_13 | 0.4 | n |  | TRUE
14 | bus_LV_1630-134_0_5_node_39 | 0.4 | n |  | TRUE
15 | bus_LV_1630-134_0_5_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_1630-134_0_5_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_1630-134_0_5_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_1630-134_0_5_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_1630-134_0_5_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_1630-134_0_5_node_20 | 0.4 | n |  | TRUE
21 | bus_LV_1630-134_0_5_node_21 | 0.4 | n |  | TRUE
22 | bus_LV_1630-134_0_5_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_1630-134_0_5_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_1630-134_0_5_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_1630-134_0_5_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_1630-134_0_5_node_19 | 0.4 | n |  | TRUE
27 | bus_LV_1630-134_0_5_node_22 | 0.4 | n |  | TRUE
28 | bus_LV_1630-134_0_5_node_23 | 0.4 | n |  | TRUE
29 | bus_LV_1630-134_0_5_node_48 | 0.4 | n |  | TRUE
30 | bus_LV_1630-134_0_5_node_49 | 0.4 | n |  | TRUE
31 | bus_LV_1630-134_0_5_node_50 | 0.4 | n |  | TRUE
32 | bus_LV_1630-134_0_5_node_61 | 0.4 | n |  | TRUE
33 | bus_LV_1630-134_0_5_node_37 | 0.4 | n |  | TRUE
34 | bus_LV_1630-134_0_5_node_36 | 0.4 | n |  | TRUE
35 | bus_LV_1630-134_0_5_node_24 | 0.4 | n |  | TRUE
36 | bus_LV_1630-134_0_5_node_25 | 0.4 | n |  | TRUE
37 | bus_LV_1630-134_0_5_node_26 | 0.4 | n |  | TRUE
38 | bus_LV_1630-134_0_5_node_28 | 0.4 | n |  | TRUE
39 | bus_LV_1630-134_0_5_node_30 | 0.4 | n |  | TRUE
40 | bus_LV_1630-134_0_5_node_54 | 0.4 | n |  | TRUE
41 | bus_LV_1630-134_0_5_node_34 | 0.4 | n |  | TRUE
42 | bus_LV_1630-134_0_5_node_46 | 0.4 | n |  | TRUE
43 | bus_LV_1630-134_0_5_node_45 | 0.4 | n |  | TRUE
44 | bus_LV_1630-134_0_5_node_60 | 0.4 | n |  | TRUE
45 | bus_LV_1630-134_0_5_node_32 | 0.4 | n |  | TRUE
46 | bus_LV_1630-134_0_5_node_42 | 0.4 | n |  | TRUE
47 | bus_LV_1630-134_0_5_node_41 | 0.4 | n |  | TRUE
48 | bus_LV_1630-134_0_5_node_55 | 0.4 | n |  | TRUE
49 | bus_LV_1630-134_0_5_node_31 | 0.4 | n |  | TRUE
50 | bus_LV_1630-134_0_5_node_33 | 0.4 | n |  | TRUE
51 | bus_LV_1630-134_0_5_node_35 | 0.4 | n |  | TRUE
52 | bus_LV_1630-134_0_5_node_59 | 0.4 | n |  | TRUE
53 | bus_LV_1630-134_0_5_node_56 | 0.4 | n |  | TRUE
54 | bus_LV_1630-134_0_5_node_58 | 0.4 | n |  | TRUE
55 | bus_MV_20_1_node_134 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1630-134_0_5_load_0 | 0 | 0.022673 | 0.0056824 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1630-134_0_5_load_1 | 1 | 0.0049334 | 0.0012364 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1630-134_0_5_load_4 | 4 | 0.006347 | 0.0015907 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1630-134_0_5_load_5 | 5 | 0.0049152 | 0.0012319 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1630-134_0_5_load_53 | 6 | 0.0046045 | 0.001154 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1630-134_0_5_load_52 | 7 | 0.0061703 | 0.0015464 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1630-134_0_5_load_6 | 8 | 0.004748 | 0.00119 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1630-134_0_5_load_7 | 10 | 0.008343 | 0.002091 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1630-134_0_5_load_8 | 11 | 0.0035959 | 0.00090122 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1630-134_0_5_load_13 | 13 | 0.0048549 | 0.0012167 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1630-134_0_5_load_39 | 14 | 0.0058326 | 0.0014618 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1630-134_0_5_load_9 | 15 | 0.0085 | 0.0021303 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1630-134_0_5_load_10 | 16 | 0.0049452 | 0.0012394 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1630-134_0_5_load_12 | 18 | 0.0053312 | 0.0013361 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1630-134_0_5_load_14 | 19 | 0.0035936 | 0.00090063 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1630-134_0_5_load_20 | 20 | 0.0070923 | 0.0017775 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1630-134_0_5_load_15 | 22 | 0.0076543 | 0.0019183 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1630-134_0_5_load_16 | 23 | 0.0080124 | 0.0020081 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1630-134_0_5_load_17 | 24 | 0.0066533 | 0.0016675 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1630-134_0_5_load_18 | 25 | 0.0057827 | 0.0014493 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1630-134_0_5_load_19 | 26 | 0.0049372 | 0.0012374 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1630-134_0_5_load_22 | 27 | 0.0050467 | 0.0012648 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1630-134_0_5_load_23 | 28 | 0.0059907 | 0.0015014 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1630-134_0_5_load_48 | 29 | 0.0064192 | 0.0016088 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1630-134_0_5_load_50 | 31 | 0.013497 | 0.0033827 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1630-134_0_5_load_61 | 32 | 0.050288 | 0.012603 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1630-134_0_5_load_36 | 34 | 0.0060249 | 0.00151 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1630-134_0_5_load_24 | 35 | 0.021747 | 0.0054504 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1630-134_0_5_load_26 | 37 | 0.027129 | 0.0067993 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1630-134_0_5_load_54 | 40 | 0.013262 | 0.0033238 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1630-134_0_5_load_34 | 41 | 0.037546 | 0.0094098 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1630-134_0_5_load_60 | 44 | 0.02505 | 0.0062781 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1630-134_0_5_load_32 | 45 | 0.023217 | 0.0058188 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1630-134_0_5_load_41 | 47 | 0.024971 | 0.0062584 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1630-134_0_5_load_55 | 48 | 0.036932 | 0.0092561 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1630-134_0_5_load_31 | 49 | 0.02854 | 0.0071527 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1630-134_0_5_load_35 | 51 | 0.03136 | 0.0078597 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1630-134_0_5_load_59 | 52 | 0.031638 | 0.0079292 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1630-134_0_5_load_58 | 54 | 0.03827 | 0.0095914 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 36 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1630-134_0_5_line_0 |  | 0 | 1 | 0.012881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
1 | LV_1630-134_0_5_line_1 |  | 0 | 2 | 0.023842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
2 | LV_1630-134_0_5_line_2 |  | 1 | 3 | 0.0018457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
3 | LV_1630-134_0_5_line_3 |  | 2 | 4 | 0.012698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
4 | LV_1630-134_0_5_line_4 |  | 2 | 5 | 0.010861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1630-134_0_5_line_5 |  | 3 | 6 | 0.010073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1630-134_0_5_line_6 |  | 3 | 7 | 0.017334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
7 | LV_1630-134_0_5_line_7 |  | 4 | 8 | 0.0015832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_1630-134_0_5_line_8 |  | 7 | 9 | 0.0059926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
9 | LV_1630-134_0_5_line_9 |  | 8 | 10 | 0.019769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
10 | LV_1630-134_0_5_line_10 |  | 9 | 38 | 0.021254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_1630-134_0_5_line_11 |  | 10 | 11 | 0.0026632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_1630-134_0_5_line_12 |  | 11 | 12 | 0.011005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_1630-134_0_5_line_13 |  | 12 | 13 | 0.014337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1630-134_0_5_line_14 |  | 12 | 14 | 0.035793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1630-134_0_5_line_15 |  | 13 | 17 | 0.0096081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1630-134_0_5_line_16 |  | 14 | 33 | 0.012441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1630-134_0_5_line_17 |  | 15 | 16 | 0.017257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1630-134_0_5_line_18 |  | 15 | 17 | 0.012517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1630-134_0_5_line_19 |  | 16 | 18 | 0.0038975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1630-134_0_5_line_20 |  | 17 | 19 | 0.012067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1630-134_0_5_line_21 |  | 18 | 20 | 0.024009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1630-134_0_5_line_22 |  | 20 | 21 | 0.016961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1630-134_0_5_line_23 |  | 21 | 29 | 0.0065527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1630-134_0_5_line_24 |  | 21 | 30 | 0.018867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1630-134_0_5_line_25 |  | 22 | 23 | 0.023323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1630-134_0_5_line_26 |  | 22 | 24 | 0.021461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1630-134_0_5_line_27 |  | 23 | 25 | 0.0017212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1630-134_0_5_line_28 |  | 24 | 26 | 0.022461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1630-134_0_5_line_29 |  | 25 | 27 | 0.018451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1630-134_0_5_line_30 |  | 27 | 28 | 0.0030289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1630-134_0_5_line_31 |  | 28 | 33 | 0.034237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1630-134_0_5_line_32 |  | 29 | 31 | 0.019844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1630-134_0_5_line_33 |  | 30 | 32 | 0.016364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1630-134_0_5_line_34 |  | 33 | 34 | 0.015781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1630-134_0_5_line_35 |  | 35 | 36 | 0.013969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1630-134_0_5_line_36 |  | 35 | 37 | 0.010043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1630-134_0_5_line_37 |  | 36 | 38 | 0.033716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
38 | LV_1630-134_0_5_line_38 |  | 36 | 39 | 0.03731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
39 | LV_1630-134_0_5_line_39 |  | 38 | 40 | 0.012105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1630-134_0_5_line_40 |  | 39 | 41 | 0.016655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
41 | LV_1630-134_0_5_line_41 |  | 39 | 42 | 0.06007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1630-134_0_5_line_42 |  | 41 | 45 | 0.0088228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1630-134_0_5_line_43 |  | 42 | 48 | 0.018636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1630-134_0_5_line_44 |  | 42 | 43 | 0.10808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1630-134_0_5_line_45 |  | 42 | 46 | 0.073447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1630-134_0_5_line_46 |  | 43 | 44 | 0.021383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1630-134_0_5_line_47 |  | 45 | 49 | 0.008692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1630-134_0_5_line_48 |  | 46 | 47 | 0.023808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1630-134_0_5_line_49 |  | 48 | 53 | 0.04634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1630-134_0_5_line_50 |  | 49 | 50 | 0.03106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1630-134_0_5_line_51 |  | 50 | 51 | 0.021475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1630-134_0_5_line_52 |  | 51 | 52 | 0.0062104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1630-134_0_5_line_53 |  | 53 | 54 | 0.0091123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1630-134_0_5_trafo_25 | 0.63 MVA 20/0.4 kV | 55 | 36 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2720257.9029 | 1223349.9508 | 2720268.21 | 1223357.6757
1 | 2720238.8247 | 1223335.6523 | 2720257.9029 | 1223349.9508
2 | 2720269.687 | 1223358.7826 | 2720268.21 | 1223357.6757
3 | 2720238.8247 | 1223335.6523 | 2720231.4597 | 1223345.9959
4 | 2720238.8247 | 1223335.6523 | 2720245.1236 | 1223326.8038
5 | 2720269.687 | 1223358.7826 | 2720263.742 | 1223366.9244
6 | 2720269.687 | 1223358.7826 | 2720283.5582 | 1223369.177
7 | 2720230.5414 | 1223347.2856 | 2720231.4597 | 1223345.9959
8 | 2720288.3538 | 1223372.7707 | 2720283.5582 | 1223369.177
9 | 2720230.5414 | 1223347.2856 | 2720219.0751 | 1223363.3894
10 | 2720305.4381 | 1223385.4813 | 2720299.5028 | 1223381.1358 | 2720288.3538 | 1223372.7707
11 | 2720217.5304 | 1223365.5588 | 2720219.0751 | 1223363.3894
12 | 2720211.1471 | 1223374.5237 | 2720217.5304 | 1223365.5588
13 | 2720211.1471 | 1223374.5237 | 2720222.6516 | 1223383.0785
14 | 2720211.1471 | 1223374.5237 | 2720190.3827 | 1223403.6785
15 | 2720230.3616 | 1223388.8118 | 2720222.6516 | 1223383.0785
16 | 2720183.1656 | 1223413.8118 | 2720190.3827 | 1223403.6785
17 | 2720240.405 | 1223396.2815 | 2720254.2519 | 1223406.58
18 | 2720230.3616 | 1223388.8118 | 2720240.405 | 1223396.2815
19 | 2720254.2519 | 1223406.58 | 2720257.3793 | 1223408.906
20 | 2720230.3616 | 1223388.8118 | 2720237.3684 | 1223378.9878
21 | 2720276.6443 | 1223423.2342 | 2720257.3793 | 1223408.906
22 | 2720290.2541 | 1223433.3564 | 2720276.6443 | 1223423.2342
23 | 2720290.2541 | 1223433.3564 | 2720295.5122 | 1223437.2666
24 | 2720301.7238 | 1223418.3542 | 2720290.2541 | 1223433.3564
25 | 2720229.3474 | 1223447.9643 | 2720248.1001 | 1223461.8323
26 | 2720265.3554 | 1223474.593 | 2720248.1001 | 1223461.8323
27 | 2720229.3474 | 1223447.9643 | 2720227.9636 | 1223446.9409
28 | 2720283.4149 | 1223487.9483 | 2720265.3554 | 1223474.593
29 | 2720227.9636 | 1223446.9409 | 2720213.1284 | 1223435.97
30 | 2720210.6931 | 1223434.169 | 2720213.1284 | 1223435.97
31 | 2720183.1656 | 1223413.8118 | 2720210.6931 | 1223434.169
32 | 2720311.4362 | 1223449.1082 | 2720295.5122 | 1223437.2666
33 | 2720301.7238 | 1223418.3542 | 2720315.3688 | 1223427.4482
34 | 2720183.1656 | 1223413.8118 | 2720174.0159 | 1223426.6691
35 | 2720332.6557 | 1223405.3803 | 2720340.798 | 1223394.0302
36 | 2720346.6519 | 1223385.8701 | 2720340.798 | 1223394.0302
37 | 2720305.4381 | 1223385.4813 | 2720331.9979 | 1223404.9 | 2720332.6557 | 1223405.3803
38 | 2720332.6557 | 1223405.3803 | 2720351.3216 | 1223419.0238 | 2720359.5435 | 1223407.4588
39 | 2720305.4381 | 1223385.4813 | 2720298.5386 | 1223395.4275
40 | 2720359.5435 | 1223407.4588 | 2720373.0019 | 1223417.2695
41 | 2720359.5435 | 1223407.4588 | 2720378.9776 | 1223380.1303 | 2720382.7672 | 1223382.9202 | 2720385.4373 | 1223378.8043 | 2720390.075 | 1223371.548 | 2720391.5422 | 1223369.1424 | 2720396.0218 | 1223372.3244
42 | 2720380.1315 | 1223422.4668 | 2720373.0019 | 1223417.2695
43 | 2720396.0218 | 1223372.3244 | 2720396.442 | 1223374.4234 | 2720409.6965 | 1223384.2433
44 | 2720396.0218 | 1223372.3244 | 2720391.5422 | 1223369.1424 | 2720390.075 | 1223371.548 | 2720385.4373 | 1223378.8043 | 2720382.7672 | 1223382.9202 | 2720433.7872 | 1223420.5259 | 2720438.7309 | 1223424.3845 | 2720444.7745 | 1223429.3662 | 2720451.3557 | 1223435.1483
45 | 2720341.3182 | 1223352.1582 | 2720378.9776 | 1223380.1303 | 2720382.7672 | 1223382.9202 | 2720385.4373 | 1223378.8043 | 2720390.075 | 1223371.548 | 2720391.5422 | 1223369.1424 | 2720396.0218 | 1223372.3244
46 | 2720431.3745 | 1223432.909 | 2720437.5697 | 1223437.1488 | 2720451.3557 | 1223435.1483
47 | 2720380.1315 | 1223422.4668 | 2720387.1553 | 1223427.587
48 | 2720341.3182 | 1223352.1582 | 2720327.4572 | 1223371.5149
49 | 2720447.6962 | 1223405.7068 | 2720446.7209 | 1223407.0437 | 2720445.6969 | 1223407.4121 | 2720444.0532 | 1223407.668 | 2720442.3032 | 1223407.5547 | 2720440.1413 | 1223406.7993 | 2720409.6965 | 1223384.2433
50 | 2720379.9236 | 1223451.0938 | 2720385.6526 | 1223444.2599 | 2720387.0781 | 1223440.9194 | 2720393.3704 | 1223432.1175 | 2720387.1553 | 1223427.587
51 | 2720379.9236 | 1223451.0938 | 2720373.8644 | 1223451.0046 | 2720373.7645 | 1223453.3155 | 2720360.8906 | 1223455.7482
52 | 2720354.7882 | 1223456.9013 | 2720360.8906 | 1223455.7482
53 | 2720447.6962 | 1223405.7068 | 2720453.0461 | 1223398.3304

## bus_geodata
| x | y | coords
0 | 2720257.9029 | 1223349.9508
1 | 2720268.21 | 1223357.6757
2 | 2720238.8247 | 1223335.6523
3 | 2720269.687 | 1223358.7826
4 | 2720231.4597 | 1223345.9959
5 | 2720245.1236 | 1223326.8038
6 | 2720263.742 | 1223366.9244
7 | 2720283.5582 | 1223369.177
8 | 2720230.5414 | 1223347.2856
9 | 2720288.3538 | 1223372.7707
10 | 2720219.0751 | 1223363.3894
11 | 2720217.5304 | 1223365.5588
12 | 2720211.1471 | 1223374.5237
13 | 2720222.6516 | 1223383.0785
14 | 2720190.3827 | 1223403.6785
15 | 2720240.405 | 1223396.2815
16 | 2720254.2519 | 1223406.58
17 | 2720230.3616 | 1223388.8118
18 | 2720257.3793 | 1223408.906
19 | 2720237.3684 | 1223378.9878
20 | 2720276.6443 | 1223423.2342
21 | 2720290.2541 | 1223433.3564
22 | 2720248.1001 | 1223461.8323
23 | 2720229.3474 | 1223447.9643
24 | 2720265.3554 | 1223474.593
25 | 2720227.9636 | 1223446.9409
26 | 2720283.4149 | 1223487.9483
27 | 2720213.1284 | 1223435.97
28 | 2720210.6931 | 1223434.169
29 | 2720295.5122 | 1223437.2666
30 | 2720301.7238 | 1223418.3542
31 | 2720311.4362 | 1223449.1082
32 | 2720315.3688 | 1223427.4482
33 | 2720183.1656 | 1223413.8118
34 | 2720174.0159 | 1223426.6691
35 | 2720340.798 | 1223394.0302
36 | 2720332.6557 | 1223405.3803
37 | 2720346.6519 | 1223385.8701
38 | 2720305.4381 | 1223385.4813
39 | 2720359.5435 | 1223407.4588
40 | 2720298.5386 | 1223395.4275
41 | 2720373.0019 | 1223417.2695
42 | 2720396.0218 | 1223372.3244
43 | 2720451.3557 | 1223435.1483
44 | 2720431.3745 | 1223432.909
45 | 2720380.1315 | 1223422.4668
46 | 2720341.3182 | 1223352.1582
47 | 2720327.4572 | 1223371.5149
48 | 2720409.6965 | 1223384.2433
49 | 2720387.1553 | 1223427.587
50 | 2720379.9236 | 1223451.0938
51 | 2720360.8906 | 1223455.7482
52 | 2720354.7882 | 1223456.9013
53 | 2720447.6962 | 1223405.7068
54 | 2720453.0461 | 1223398.3304
55 | 2720331.9979 | 1223404.9

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99019 | -0.18672 | 0.022673 | 0.0056824
1 | 0.99144 | -0.16259 | 0.0049334 | 0.0012364
2 | 0.9881 | -0.22674 | 0 | 0
3 | 0.99163 | -0.15905 | 0 | 0
4 | 0.98702 | -0.24756 | 0.006347 | 0.0015907
5 | 0.98806 | -0.22769 | 0.0049152 | 0.0012319
6 | 0.99159 | -0.15987 | 0.0046045 | 0.001154
7 | 0.9934 | -0.12522 | 0.0061703 | 0.0015464
8 | 0.98689 | -0.25007 | 0.004748 | 0.00119
9 | 0.99403 | -0.11322 | 0 | 0
10 | 0.98531 | -0.28061 | 0.008343 | 0.002091
11 | 0.98511 | -0.28454 | 0.0035959 | 0.00090122
12 | 0.98429 | -0.30041 | 0 | 0
13 | 0.9829 | -0.3274 | 0.0048549 | 0.0012167
14 | 0.98244 | -0.3365 | 0.0058326 | 0.0014618
15 | 0.98089 | -0.36646 | 0.0085 | 0.0021303
16 | 0.97949 | -0.39387 | 0.0049452 | 0.0012394
17 | 0.98201 | -0.3447 | 0 | 0
18 | 0.97919 | -0.39973 | 0.0053312 | 0.0013361
19 | 0.98197 | -0.34548 | 0.0035936 | 0.00090063
20 | 0.97746 | -0.43352 | 0.0070923 | 0.0017775
21 | 0.97636 | -0.45527 | 0 | 0
22 | 0.97934 | -0.39724 | 0.0076543 | 0.0019183
23 | 0.97975 | -0.38909 | 0.0080124 | 0.0020081
24 | 0.97911 | -0.40177 | 0.0066533 | 0.0016675
25 | 0.9798 | -0.38824 | 0.0057827 | 0.0014493
26 | 0.979 | -0.40378 | 0.0049372 | 0.0012374
27 | 0.98036 | -0.37718 | 0.0050467 | 0.0012648
28 | 0.98047 | -0.37508 | 0.0059907 | 0.0015014
29 | 0.97624 | -0.45766 | 0.0064192 | 0.0016088
30 | 0.97547 | -0.47263 | 0 | 0
31 | 0.97599 | -0.46256 | 0.013497 | 0.0033827
32 | 0.97471 | -0.48772 | 0.050288 | 0.012603
33 | 0.98186 | -0.34776 | 0 | 0
34 | 0.98178 | -0.34948 | 0.0060249 | 0.00151
35 | 0.99938 | -0.011907 | 0.021747 | 0.0054504
36 | 1 | 0 | -0.57497 | -0.14635
37 | 0.99913 | -0.016663 | 0.027129 | 0.0067993
38 | 0.99626 | -0.070804 | 0 | 0
39 | 0.99525 | -0.090673 | 0 | 0
40 | 0.99611 | -0.073623 | 0.013262 | 0.0033238
41 | 0.99409 | -0.11302 | 0.037546 | 0.0094098
42 | 0.98833 | -0.22397 | 0 | 0
43 | 0.98584 | -0.27241 | 0 | 0
44 | 0.98534 | -0.28202 | 0.02505 | 0.0062781
45 | 0.99316 | -0.13089 | 0.023217 | 0.0058188
46 | 0.98664 | -0.25676 | 0 | 0
47 | 0.9861 | -0.26741 | 0.024971 | 0.0062584
48 | 0.98704 | -0.24901 | 0.036932 | 0.0092561
49 | 0.99244 | -0.14496 | 0.02854 | 0.0071527
50 | 0.99064 | -0.17965 | 0 | 0
51 | 0.9894 | -0.20371 | 0.03136 | 0.0078597
52 | 0.98922 | -0.20721 | 0.031638 | 0.0079292
53 | 0.98541 | -0.28079 | 0 | 0
54 | 0.98509 | -0.28706 | 0.03827 | 0.0095914
55 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.21302 | -0.054134 | 0.21326 | 0.054293 | 0.00024789 | 0.00015832 | 0.32038 | 0.32038 | 0.32038 | 0.99019 | -0.18672 | 0.99144 | -0.16259 | 44.008
1 | 0.19034 | 0.048452 | -0.18998 | -0.048218 | 0.00036644 | 0.00023391 | 0.28631 | 0.28631 | 0.28631 | 0.99019 | -0.18672 | 0.9881 | -0.22674 | 39.3278
2 | -0.2182 | -0.055529 | 0.21823 | 0.055553 | 3.7183e-05 | 2.375e-05 | 0.32778 | 0.32778 | 0.32778 | 0.99144 | -0.16259 | 0.99163 | -0.15905 | 45.025
3 | 0.18506 | 0.046986 | -0.18488 | -0.046868 | 0.0001852 | 0.0001182 | 0.2789 | 0.2789 | 0.2789 | 0.9881 | -0.22674 | 0.98702 | -0.24756 | 38.311
4 | 0.0049154 | 0.0012319 | -0.0049152 | -0.0012319 | 2.2318e-07 | 3.7151e-09 | 0.0074022 | 0.0074023 | 0.0074023 | 0.9881 | -0.22674 | 0.98806 | -0.22769 | 2.0336
5 | 0.0046047 | 0.001154 | -0.0046045 | -0.001154 | 1.8035e-07 | -1.452e-08 | 0.0069097 | 0.0069097 | 0.0069097 | 0.99163 | -0.15905 | 0.99159 | -0.15987 | 1.8983
6 | -0.22284 | -0.056707 | 0.2232 | 0.056939 | 0.00036407 | 0.00023255 | 0.33469 | 0.33469 | 0.33469 | 0.99163 | -0.15905 | 0.9934 | -0.12522 | 45.9742
7 | 0.17853 | 0.045277 | -0.17851 | -0.045264 | 2.1534e-05 | 1.3742e-05 | 0.26934 | 0.26934 | 0.26934 | 0.98702 | -0.24756 | 0.98689 | -0.25007 | 36.9967
8 | -0.22937 | -0.058486 | 0.22951 | 0.058571 | 0.00013291 | 8.4909e-05 | 0.34393 | 0.34393 | 0.34393 | 0.9934 | -0.12522 | 0.99403 | -0.11322 | 47.2437
9 | 0.17376 | 0.044074 | -0.1735 | -0.043911 | 0.00025478 | 0.00016256 | 0.26218 | 0.26218 | 0.26218 | 0.98689 | -0.25007 | 0.98531 | -0.28061 | 36.0134
10 | -0.22951 | -0.058571 | 0.22998 | 0.058872 | 0.0004714 | 0.00030115 | 0.34393 | 0.34393 | 0.34393 | 0.99403 | -0.11322 | 0.99626 | -0.070804 | 47.2437
11 | 0.16516 | 0.04182 | -0.16513 | -0.0418 | 3.1104e-05 | 1.9839e-05 | 0.24958 | 0.24958 | 0.24958 | 0.98531 | -0.28061 | 0.98511 | -0.28454 | 34.2826
12 | 0.16153 | 0.040899 | -0.16141 | -0.040821 | 0.000123 | 7.8439e-05 | 0.24415 | 0.24415 | 0.24415 | 0.98511 | -0.28454 | 0.98429 | -0.30041 | 33.5366
13 | 0.10526 | 0.026667 | -0.10513 | -0.02658 | 0.00013631 | 8.7059e-05 | 0.15923 | 0.15923 | 0.15923 | 0.98429 | -0.30041 | 0.9829 | -0.3274 | 43.7453
14 | 0.056149 | 0.014154 | -0.056053 | -0.014092 | 9.678e-05 | 6.1485e-05 | 0.084913 | 0.084914 | 0.084914 | 0.98429 | -0.30041 | 0.98244 | -0.3365 | 23.3279
15 | 0.10027 | 0.025363 | -0.10019 | -0.02531 | 8.3116e-05 | 5.3073e-05 | 0.15188 | 0.15188 | 0.15188 | 0.9829 | -0.3274 | 0.98201 | -0.3447 | 41.7261
16 | 0.05022 | 0.01263 | -0.050193 | -0.012613 | 2.7003e-05 | 1.7124e-05 | 0.076079 | 0.07608 | 0.07608 | 0.98244 | -0.3365 | 0.98186 | -0.34776 | 20.901
17 | 0.087993 | 0.022215 | -0.087877 | -0.022141 | 0.00011541 | 7.3643e-05 | 0.13354 | 0.13354 | 0.13354 | 0.98089 | -0.36646 | 0.97949 | -0.39387 | 36.6877
18 | -0.096493 | -0.024345 | 0.096593 | 0.02441 | 0.00010065 | 6.426e-05 | 0.14644 | 0.14644 | 0.14644 | 0.98089 | -0.36646 | 0.98201 | -0.3447 | 40.2301
19 | 0.082932 | 0.020902 | -0.082909 | -0.020887 | 2.3215e-05 | 1.4809e-05 | 0.12603 | 0.12603 | 0.12603 | 0.97949 | -0.39387 | 0.97919 | -0.39973 | 34.6238
20 | 0.0035937 | 0.00090057 | -0.0035936 | -0.00090063 | 1.3418e-07 | -6.6781e-08 | 0.0054454 | 0.0054455 | 0.0054455 | 0.98201 | -0.3447 | 0.98197 | -0.34548 | 1.496
21 | 0.077578 | 0.019551 | -0.077453 | -0.019471 | 0.00012521 | 7.9835e-05 | 0.11793 | 0.11793 | 0.11793 | 0.97919 | -0.39973 | 0.97746 | -0.43352 | 32.3982
22 | 0.07036 | 0.017694 | -0.070287 | -0.017647 | 7.3002e-05 | 4.6509e-05 | 0.10713 | 0.10713 | 0.10713 | 0.97746 | -0.43352 | 0.97636 | -0.45527 | 29.4321
23 | 0.019922 | 0.0049946 | -0.019919 | -0.0049932 | 2.2652e-06 | 1.3678e-06 | 0.030362 | 0.030362 | 0.030362 | 0.97636 | -0.45527 | 0.97624 | -0.45766 | 8.3412
24 | 0.050366 | 0.012653 | -0.050324 | -0.012626 | 4.1699e-05 | 2.6452e-05 | 0.076771 | 0.076771 | 0.076771 | 0.97636 | -0.45527 | 0.97547 | -0.47263 | 21.0909
25 | -0.019248 | -0.0048245 | 0.019255 | 0.004829 | 7.4806e-06 | 4.494e-06 | 0.029245 | 0.029245 | 0.029245 | 0.97934 | -0.39724 | 0.97975 | -0.38909 | 8.0345
26 | 0.011593 | 0.0029062 | -0.011591 | -0.0029049 | 2.4973e-06 | 1.3283e-06 | 0.017615 | 0.017615 | 0.017615 | 0.97934 | -0.39724 | 0.97911 | -0.40177 | 4.8394
27 | -0.027268 | -0.0068371 | 0.027269 | 0.0068378 | 1.107e-06 | 6.8681e-07 | 0.041414 | 0.041414 | 0.041414 | 0.97975 | -0.38909 | 0.9798 | -0.38824 | 11.3776
28 | 0.0049376 | 0.0012374 | -0.0049372 | -0.0012374 | 4.7431e-07 | 2.1097e-08 | 0.007504 | 0.0075041 | 0.0075041 | 0.97911 | -0.40177 | 0.979 | -0.40378 | 2.0616
29 | -0.033051 | -0.0082871 | 0.033069 | 0.008298 | 1.7434e-05 | 1.0925e-05 | 0.050196 | 0.050196 | 0.050196 | 0.9798 | -0.38824 | 0.98036 | -0.37718 | 13.7902
30 | -0.038115 | -0.0095628 | 0.038119 | 0.0095652 | 3.8021e-06 | 2.3952e-06 | 0.057856 | 0.057856 | 0.057856 | 0.98036 | -0.37718 | 0.98047 | -0.37508 | 15.8946
31 | -0.04411 | -0.011067 | 0.044168 | 0.011103 | 5.7545e-05 | 3.6396e-05 | 0.066948 | 0.066948 | 0.066948 | 0.98047 | -0.37508 | 0.98186 | -0.34776 | 18.3924
32 | 0.0135 | 0.0033844 | -0.013497 | -0.0033827 | 3.1511e-06 | 1.7687e-06 | 0.020578 | 0.020578 | 0.020578 | 0.97624 | -0.45766 | 0.97599 | -0.46256 | 5.6532
33 | 0.050324 | 0.012626 | -0.050288 | -0.012603 | 3.6167e-05 | 2.2943e-05 | 0.076771 | 0.076771 | 0.076771 | 0.97547 | -0.47263 | 0.97471 | -0.48772 | 21.0909
34 | 0.0060254 | 0.0015101 | -0.0060249 | -0.00151 | 4.9344e-07 | 1.1623e-07 | 0.0091315 | 0.0091315 | 0.0091315 | 0.98186 | -0.34776 | 0.98178 | -0.34948 | 2.5087
35 | -0.048883 | -0.012253 | 0.048911 | 0.012271 | 2.775e-05 | 1.7577e-05 | 0.072785 | 0.072785 | 0.072785 | 0.99938 | -0.011907 | 1 | 0 | 19.9958
36 | 0.027136 | 0.0068031 | -0.027129 | -0.0067993 | 6.1479e-06 | 3.8031e-06 | 0.040404 | 0.040404 | 0.040404 | 0.99938 | -0.011907 | 0.99913 | -0.016663 | 11.1
37 | 0.24408 | 0.062731 | -0.24324 | -0.062197 | 0.00083643 | 0.00053444 | 0.36374 | 0.36374 | 0.36374 | 1 | 0 | 0.99626 | -0.070804 | 49.965
38 | 0.28033 | 0.071346 | -0.27911 | -0.070566 | 0.0012195 | 0.00077954 | 0.41753 | 0.41753 | 0.41753 | 1 | 0 | 0.99525 | -0.090673 | 57.3525
39 | 0.013264 | 0.0033248 | -0.013262 | -0.0033238 | 1.7816e-06 | 9.8263e-07 | 0.019811 | 0.019811 | 0.019811 | 0.99626 | -0.070804 | 0.99611 | -0.073623 | 5.4426
40 | 0.15281 | 0.038492 | -0.15264 | -0.038388 | 0.00016309 | 0.00010395 | 0.22853 | 0.22853 | 0.22853 | 0.99525 | -0.090673 | 0.99409 | -0.11302 | 31.3918
41 | 0.12631 | 0.032074 | -0.1255 | -0.03156 | 0.00080462 | 0.00051418 | 0.18899 | 0.18899 | 0.18899 | 0.99525 | -0.090673 | 0.98833 | -0.22397 | 51.9217
42 | 0.1151 | 0.028978 | -0.115 | -0.028916 | 9.8258e-05 | 6.2771e-05 | 0.17233 | 0.17233 | 0.17233 | 0.99409 | -0.11302 | 0.99316 | -0.13089 | 47.3438
43 | 0.075362 | 0.018949 | -0.075272 | -0.018891 | 9.0007e-05 | 5.7366e-05 | 0.11349 | 0.11349 | 0.11349 | 0.98833 | -0.22397 | 0.98704 | -0.24901 | 31.1773
44 | 0.025119 | 0.0063209 | -0.025061 | -0.0062852 | 5.7996e-05 | 3.5736e-05 | 0.037828 | 0.037829 | 0.037829 | 0.98833 | -0.22397 | 0.98584 | -0.27241 | 10.3926
45 | 0.025023 | 0.0062903 | -0.024984 | -0.0062662 | 3.9107e-05 | 2.4089e-05 | 0.037681 | 0.037681 | 0.037681 | 0.98833 | -0.22397 | 0.98664 | -0.25676 | 10.352
46 | 0.025061 | 0.0062852 | -0.02505 | -0.0062781 | 1.1475e-05 | 7.0714e-06 | 0.037829 | 0.037829 | 0.037829 | 0.98584 | -0.27241 | 0.98534 | -0.28202 | 10.3926
47 | 0.091782 | 0.023097 | -0.09172 | -0.023057 | 6.1666e-05 | 3.9354e-05 | 0.13755 | 0.13755 | 0.13755 | 0.99316 | -0.13089 | 0.99244 | -0.14496 | 37.7875
48 | 0.024984 | 0.0062662 | -0.024971 | -0.0062584 | 1.2677e-05 | 7.8092e-06 | 0.037681 | 0.037681 | 0.037681 | 0.98664 | -0.25676 | 0.9861 | -0.26741 | 10.3521
49 | 0.038339 | 0.0096351 | -0.038281 | -0.0095986 | 5.8073e-05 | 3.6575e-05 | 0.057808 | 0.057808 | 0.057808 | 0.98704 | -0.24901 | 0.98541 | -0.28079 | 15.8814
50 | 0.063181 | 0.015905 | -0.063076 | -0.015838 | 0.00010458 | 6.653e-05 | 0.094755 | 0.094755 | 0.094755 | 0.99244 | -0.14496 | 0.99064 | -0.17965 | 26.0317
51 | 0.063076 | 0.015838 | -0.063004 | -0.015792 | 7.2305e-05 | 4.5999e-05 | 0.094755 | 0.094755 | 0.094755 | 0.99064 | -0.17965 | 0.9894 | -0.20371 | 26.0317
52 | 0.031643 | 0.0079325 | -0.031638 | -0.0079292 | 5.2747e-06 | 3.2961e-06 | 0.047591 | 0.047591 | 0.047591 | 0.9894 | -0.20371 | 0.98922 | -0.20721 | 13.0744
53 | 0.038281 | 0.0095986 | -0.03827 | -0.0095914 | 1.1419e-05 | 7.1923e-06 | 0.057808 | 0.057808 | 0.057808 | 0.98541 | -0.28079 | 0.98509 | -0.28706 | 15.8814

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.57497 | 0.14635

## res_load
| p_mw | q_mvar
0 | 0.022673 | 0.0056824
1 | 0.0049334 | 0.0012364
2 | 0.006347 | 0.0015907
3 | 0.0049152 | 0.0012319
4 | 0.0046045 | 0.001154
5 | 0.0061703 | 0.0015464
6 | 0.004748 | 0.00119
7 | 0.008343 | 0.002091
8 | 0.0035959 | 0.00090122
9 | 0.0048549 | 0.0012167
10 | 0.0058326 | 0.0014618
11 | 0.0085 | 0.0021303
12 | 0.0049452 | 0.0012394
13 | 0.0053312 | 0.0013361
14 | 0.0035936 | 0.00090063
15 | 0.0070923 | 0.0017775
16 | 0.0076543 | 0.0019183
17 | 0.0080124 | 0.0020081
18 | 0.0066533 | 0.0016675
19 | 0.0057827 | 0.0014493
20 | 0.0049372 | 0.0012374
21 | 0.0050467 | 0.0012648
22 | 0.0059907 | 0.0015014
23 | 0.0064192 | 0.0016088
24 | 0.013497 | 0.0033827
25 | 0.050288 | 0.012603
26 | 0.0060249 | 0.00151
27 | 0.021747 | 0.0054504
28 | 0.027129 | 0.0067993
29 | 0.013262 | 0.0033238
30 | 0.037546 | 0.0094098
31 | 0.02505 | 0.0062781
32 | 0.023217 | 0.0058188
33 | 0.024971 | 0.0062584
34 | 0.036932 | 0.0092561
35 | 0.02854 | 0.0071527
36 | 0.03136 | 0.0078597
37 | 0.031638 | 0.0079292
38 | 0.03827 | 0.0095914

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1