## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1630-143_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1630-143_0_5_node_20 | 0.4 | n |  | TRUE
2 | bus_LV_1630-143_0_5_node_23 | 0.4 | n |  | TRUE
3 | bus_LV_1630-143_0_5_node_1 | 0.4 | n |  | TRUE
4 | bus_LV_1630-143_0_5_node_2 | 0.4 | n |  | TRUE
5 | bus_LV_1630-143_0_5_node_3 | 0.4 | n |  | TRUE
6 | bus_LV_1630-143_0_5_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_1630-143_0_5_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_1630-143_0_5_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_1630-143_0_5_node_70 | 0.4 | n |  | TRUE
10 | bus_LV_1630-143_0_5_node_59 | 0.4 | n |  | TRUE
11 | bus_LV_1630-143_0_5_node_57 | 0.4 | n |  | TRUE
12 | bus_LV_1630-143_0_5_node_68 | 0.4 | n |  | TRUE
13 | bus_LV_1630-143_0_5_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_1630-143_0_5_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_1630-143_0_5_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_1630-143_0_5_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_1630-143_0_5_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_1630-143_0_5_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_1630-143_0_5_node_69 | 0.4 | n |  | TRUE
20 | bus_LV_1630-143_0_5_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_1630-143_0_5_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_1630-143_0_5_node_16 | 0.4 | n |  | TRUE
23 | bus_LV_1630-143_0_5_node_61 | 0.4 | n |  | TRUE
24 | bus_LV_1630-143_0_5_node_58 | 0.4 | n |  | TRUE
25 | bus_LV_1630-143_0_5_node_55 | 0.4 | n |  | TRUE
26 | bus_LV_1630-143_0_5_node_17 | 0.4 | n |  | TRUE
27 | bus_LV_1630-143_0_5_node_19 | 0.4 | n |  | TRUE
28 | bus_LV_1630-143_0_5_node_21 | 0.4 | n |  | TRUE
29 | bus_LV_1630-143_0_5_node_22 | 0.4 | n |  | TRUE
30 | bus_LV_1630-143_0_5_node_28 | 0.4 | n |  | TRUE
31 | bus_LV_1630-143_0_5_node_26 | 0.4 | n |  | TRUE
32 | bus_LV_1630-143_0_5_node_24 | 0.4 | n |  | TRUE
33 | bus_LV_1630-143_0_5_node_42 | 0.4 | n |  | TRUE
34 | bus_LV_1630-143_0_5_node_25 | 0.4 | n |  | TRUE
35 | bus_LV_1630-143_0_5_node_27 | 0.4 | n |  | TRUE
36 | bus_LV_1630-143_0_5_node_33 | 0.4 | n |  | TRUE
37 | bus_LV_1630-143_0_5_node_46 | 0.4 | n |  | TRUE
38 | bus_LV_1630-143_0_5_node_30 | 0.4 | n |  | TRUE
39 | bus_LV_1630-143_0_5_node_39 | 0.4 | n |  | TRUE
40 | bus_LV_1630-143_0_5_node_29 | 0.4 | n |  | TRUE
41 | bus_LV_1630-143_0_5_node_31 | 0.4 | n |  | TRUE
42 | bus_LV_1630-143_0_5_node_32 | 0.4 | n |  | TRUE
43 | bus_LV_1630-143_0_5_node_34 | 0.4 | n |  | TRUE
44 | bus_LV_1630-143_0_5_node_44 | 0.4 | n |  | TRUE
45 | bus_LV_1630-143_0_5_node_56 | 0.4 | n |  | TRUE
46 | bus_LV_1630-143_0_5_node_45 | 0.4 | n |  | TRUE
47 | bus_LV_1630-143_0_5_node_41 | 0.4 | n |  | TRUE
48 | bus_LV_1630-143_0_5_node_43 | 0.4 | n |  | TRUE
49 | bus_LV_1630-143_0_5_node_54 | 0.4 | n |  | TRUE
50 | bus_LV_1630-143_0_5_node_35 | 0.4 | n |  | TRUE
51 | bus_LV_1630-143_0_5_node_36 | 0.4 | n |  | TRUE
52 | bus_LV_1630-143_0_5_node_37 | 0.4 | n |  | TRUE
53 | bus_LV_1630-143_0_5_node_38 | 0.4 | n |  | TRUE
54 | bus_LV_1630-143_0_5_node_40 | 0.4 | n |  | TRUE
55 | bus_LV_1630-143_0_5_node_71 | 0.4 | n |  | TRUE
56 | bus_LV_1630-143_0_5_node_72 | 0.4 | n |  | TRUE
57 | bus_LV_1630-143_0_5_node_64 | 0.4 | n |  | TRUE
58 | bus_LV_1630-143_0_5_node_73 | 0.4 | n |  | TRUE
59 | bus_LV_1630-143_0_5_node_67 | 0.4 | n |  | TRUE
60 | bus_LV_1630-143_0_5_node_62 | 0.4 | n |  | TRUE
61 | bus_LV_1630-143_0_5_node_47 | 0.4 | n |  | TRUE
62 | bus_LV_1630-143_0_5_node_48 | 0.4 | n |  | TRUE
63 | bus_LV_1630-143_0_5_node_49 | 0.4 | n |  | TRUE
64 | bus_LV_1630-143_0_5_node_50 | 0.4 | n |  | TRUE
65 | bus_LV_1630-143_0_5_node_51 | 0.4 | n |  | TRUE
66 | bus_LV_1630-143_0_5_node_52 | 0.4 | n |  | TRUE
67 | bus_LV_1630-143_0_5_node_53 | 0.4 | n |  | TRUE
68 | bus_LV_1630-143_0_5_node_63 | 0.4 | n |  | TRUE
69 | bus_LV_1630-143_0_5_node_65 | 0.4 | n |  | TRUE
70 | bus_LV_1630-143_0_5_node_66 | 0.4 | n |  | TRUE
71 | bus_LV_1630-143_0_5_node_74 | 0.4 | n |  | TRUE
72 | bus_MV_20_1_node_142 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1630-143_0_5_load_0 | 0 | 0.0078719 | 0.0019729 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1630-143_0_5_load_23 | 2 | 0.010932 | 0.0027398 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1630-143_0_5_load_1 | 3 | 0.002895 | 0.00072555 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1630-143_0_5_load_2 | 4 | 0.0020477 | 0.00051321 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1630-143_0_5_load_4 | 6 | 0.0014582 | 0.00036547 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1630-143_0_5_load_70 | 9 | 0.00083261 | 0.00020867 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1630-143_0_5_load_57 | 11 | 0.0143 | 0.0035839 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1630-143_0_5_load_68 | 12 | 0.0042294 | 0.00106 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1630-143_0_5_load_7 | 13 | 0.00077417 | 0.00019402 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1630-143_0_5_load_11 | 17 | 0.00040576 | 0.00010169 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1630-143_0_5_load_12 | 18 | 0.00049251 | 0.00012344 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1630-143_0_5_load_69 | 19 | 0.0023874 | 0.00059833 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1630-143_0_5_load_13 | 21 | 0.00071232 | 0.00017852 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1630-143_0_5_load_16 | 22 | 0.00079738 | 0.00019984 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1630-143_0_5_load_61 | 23 | 0.0091917 | 0.0023037 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1630-143_0_5_load_17 | 26 | 0.006681 | 0.0016744 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1630-143_0_5_load_21 | 28 | 0.0074799 | 0.0018746 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1630-143_0_5_load_28 | 30 | 0.0093539 | 0.0023443 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1630-143_0_5_load_26 | 31 | 0.0074481 | 0.0018667 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1630-143_0_5_load_24 | 32 | 0.01177 | 0.0029497 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1630-143_0_5_load_42 | 33 | 0.008075 | 0.0020238 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1630-143_0_5_load_27 | 35 | 0.014283 | 0.0035796 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1630-143_0_5_load_46 | 37 | 0.012773 | 0.0032013 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1630-143_0_5_load_39 | 39 | 0.0080441 | 0.002016 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1630-143_0_5_load_29 | 40 | 0.034473 | 0.0086398 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1630-143_0_5_load_44 | 44 | 0.0072078 | 0.0018064 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1630-143_0_5_load_56 | 45 | 0.065723 | 0.016472 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1630-143_0_5_load_45 | 46 | 0.013154 | 0.0032966 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1630-143_0_5_load_43 | 48 | 0.0086935 | 0.0021788 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1630-143_0_5_load_54 | 49 | 0.073031 | 0.018303 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1630-143_0_5_load_35 | 50 | 0.0079739 | 0.0019985 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1630-143_0_5_load_40 | 54 | 0.017295 | 0.0043345 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1630-143_0_5_load_71 | 55 | 0.013683 | 0.0034293 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1630-143_0_5_load_73 | 58 | 0.010561 | 0.0026469 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1630-143_0_5_load_62 | 60 | 0.0079856 | 0.0020014 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1630-143_0_5_load_47 | 61 | 0.0087872 | 0.0022023 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1630-143_0_5_load_48 | 62 | 0.007948 | 0.001992 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1630-143_0_5_load_51 | 65 | 0.0045512 | 0.0011406 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1630-143_0_5_load_52 | 66 | 0.033806 | 0.0084727 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1630-143_0_5_load_53 | 67 | 0.014932 | 0.0037422 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1630-143_0_5_load_63 | 68 | 0.0061473 | 0.0015407 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1630-143_0_5_load_65 | 69 | 0.0098697 | 0.0024736 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1630-143_0_5_load_74 | 71 | 0.0082254 | 0.0020615 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 42 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1630-143_0_5_line_0 |  | 0 | 1 | 0.18507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1630-143_0_5_line_1 |  | 1 | 2 | 0.051485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1630-143_0_5_line_2 |  | 2 | 32 | 0.031744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1630-143_0_5_line_3 |  | 3 | 4 | 0.00028871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1630-143_0_5_line_4 |  | 3 | 5 | 0.019076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1630-143_0_5_line_5 |  | 4 | 6 | 0.0028013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1630-143_0_5_line_6 |  | 5 | 7 | 0.034364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1630-143_0_5_line_7 |  | 5 | 8 | 0.03072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1630-143_0_5_line_8 |  | 6 | 9 | 0.24257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1630-143_0_5_line_9 |  | 7 | 10 | 0.003846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1630-143_0_5_line_10 |  | 7 | 11 | 0.01195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1630-143_0_5_line_11 |  | 8 | 12 | 0.017081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1630-143_0_5_line_12 |  | 9 | 16 | 0.049631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1630-143_0_5_line_13 |  | 10 | 23 | 0.01989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1630-143_0_5_line_14 |  | 11 | 24 | 0.014277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1630-143_0_5_line_15 |  | 13 | 14 | 0.08581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1630-143_0_5_line_16 |  | 13 | 15 | 0.014346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1630-143_0_5_line_17 |  | 14 | 16 | 0.007829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1630-143_0_5_line_18 |  | 15 | 17 | 0.015944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1630-143_0_5_line_19 |  | 15 | 18 | 0.044637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1630-143_0_5_line_20 |  | 17 | 19 | 0.003059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1630-143_0_5_line_21 |  | 18 | 20 | 0.013959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1630-143_0_5_line_22 |  | 20 | 22 | 0.023495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1630-143_0_5_line_23 |  | 20 | 21 | 0.022539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1630-143_0_5_line_24 |  | 23 | 64 | 0.039589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1630-143_0_5_line_25 |  | 24 | 25 | 0.037427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1630-143_0_5_line_26 |  | 25 | 57 | 0.022602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1630-143_0_5_line_27 |  | 25 | 67 | 0.020446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1630-143_0_5_line_28 |  | 26 | 27 | 0.0097804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1630-143_0_5_line_29 |  | 27 | 28 | 0.00833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1630-143_0_5_line_30 |  | 27 | 29 | 0.031193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1630-143_0_5_line_31 |  | 29 | 30 | 0.0061018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
32 | LV_1630-143_0_5_line_32 |  | 29 | 31 | 0.016482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
33 | LV_1630-143_0_5_line_33 |  | 30 | 33 | 0.0064576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
34 | LV_1630-143_0_5_line_34 |  | 31 | 34 | 0.01563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
35 | LV_1630-143_0_5_line_35 |  | 32 | 34 | 0.0080268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1630-143_0_5_line_36 |  | 33 | 39 | 0.016377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
37 | LV_1630-143_0_5_line_37 |  | 34 | 35 | 0.014604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
38 | LV_1630-143_0_5_line_38 |  | 35 | 36 | 0.0074331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
39 | LV_1630-143_0_5_line_39 |  | 36 | 37 | 0.010981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1630-143_0_5_line_40 |  | 36 | 38 | 0.031854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
41 | LV_1630-143_0_5_line_41 |  | 38 | 42 | 0.023044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
42 | LV_1630-143_0_5_line_42 |  | 38 | 40 | 0.017547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
43 | LV_1630-143_0_5_line_43 |  | 39 | 51 | 0.013526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
44 | LV_1630-143_0_5_line_44 |  | 40 | 41 | 0.014067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1630-143_0_5_line_45 |  | 41 | 43 | 0.025734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1630-143_0_5_line_46 |  | 42 | 44 | 0.013468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1630-143_0_5_line_47 |  | 43 | 45 | 0.026021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1630-143_0_5_line_48 |  | 44 | 48 | 0.0012309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1630-143_0_5_line_49 |  | 45 | 49 | 0.0032025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1630-143_0_5_line_50 |  | 46 | 47 | 0.016335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1630-143_0_5_line_51 |  | 47 | 57 | 0.003504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1630-143_0_5_line_52 |  | 47 | 52 | 0.025067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1630-143_0_5_line_53 |  | 50 | 51 | 0.017961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
54 | LV_1630-143_0_5_line_54 |  | 50 | 52 | 0.0095086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
55 | LV_1630-143_0_5_line_55 |  | 51 | 53 | 0.009253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1630-143_0_5_line_56 |  | 52 | 54 | 0.018496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1630-143_0_5_line_57 |  | 53 | 55 | 0.017139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1630-143_0_5_line_58 |  | 53 | 56 | 0.007031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1630-143_0_5_line_59 |  | 56 | 58 | 0.011274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_1630-143_0_5_line_60 |  | 56 | 59 | 0.015235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_1630-143_0_5_line_61 |  | 57 | 60 | 0.014755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_1630-143_0_5_line_62 |  | 59 | 71 | 0.011468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_1630-143_0_5_line_63 |  | 59 | 70 | 0.055125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_1630-143_0_5_line_64 |  | 60 | 68 | 0.0074028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_1630-143_0_5_line_65 |  | 61 | 62 | 0.025686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_1630-143_0_5_line_66 |  | 61 | 63 | 0.011707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_1630-143_0_5_line_67 |  | 62 | 64 | 0.01085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_1630-143_0_5_line_68 |  | 63 | 65 | 0.017079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_1630-143_0_5_line_69 |  | 66 | 67 | 0.015418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_1630-143_0_5_line_70 |  | 69 | 70 | 0.027037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1630-143_0_5_trafo_32 | 0.63 MVA 20/0.4 kV | 72 | 42 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2719925.1952 | 1223667.7638 | 2720085.8164 | 1223575.8376
1 | 2719925.1952 | 1223667.7638 | 2719953.658 | 1223710.6655
2 | 2719971.2074 | 1223737.1177 | 2719953.658 | 1223710.6655
3 | 2719943.2996 | 1223936.4475 | 2719943.5397 | 1223936.2871
4 | 2719959.4005 | 1223925.6879 | 2719943.5397 | 1223936.2871
5 | 2719940.9705 | 1223938.004 | 2719943.2996 | 1223936.4475
6 | 2719947.9324 | 1223894.8105 | 2719946.461 | 1223898.5615 | 2719946.7034 | 1223901.591 | 2719947.5103 | 1223904.454 | 2719959.4005 | 1223925.6879
7 | 2719959.4005 | 1223925.6879 | 2719965.8285 | 1223937.182 | 2719967.3544 | 1223940.1262 | 2719967.9156 | 1223943.1398 | 2719967.6771 | 1223945.9372 | 2719975.7746 | 1223943.8543
8 | 2719940.9705 | 1223938.004 | 2719777.2515 | 1224116.9921
9 | 2719947.9324 | 1223894.8105 | 2719944.6821 | 1223896.8799
10 | 2719947.9324 | 1223894.8105 | 2719958.0218 | 1223888.4072
11 | 2719975.7746 | 1223943.8543 | 2719990.0516 | 1223934.4782
12 | 2719777.2515 | 1224116.9921 | 2719765.7685 | 1224122.988 | 2719762.5884 | 1224123.4688 | 2719759.9787 | 1224122.738 | 2719757.5232 | 1224120.7537 | 2719743.5163 | 1224096.8977
13 | 2719944.6821 | 1223896.8799 | 2719927.9058 | 1223907.5651
14 | 2719970.0764 | 1223880.7568 | 2719958.0218 | 1223888.4072
15 | 2719737.1956 | 1224101.5409 | 2719706.9079 | 1224135.5138 | 2719678.743 | 1224164.333
16 | 2719669.5649 | 1224175.2274 | 2719671.5241 | 1224171.7196 | 2719678.743 | 1224164.333
17 | 2719737.1956 | 1224101.5409 | 2719743.5163 | 1224096.8977
18 | 2719669.5649 | 1224175.2274 | 2719657.4247 | 1224185.5632
19 | 2719669.5649 | 1224175.2274 | 2719668.6078 | 1224180.579 | 2719669.4332 | 1224185.1659 | 2719673.3426 | 1224195.5637 | 2719674.0004 | 1224200.5697 | 2719672.4079 | 1224205.4526 | 2719670.6151 | 1224208.608 | 2719667.2176 | 1224211.5976 | 2719662.6955 | 1224213.9371
20 | 2719655.0955 | 1224187.5462 | 2719657.4247 | 1224185.5632
21 | 2719649.633 | 1224218.5384 | 2719657.1004 | 1224216.8316 | 2719662.6955 | 1224213.9371
22 | 2719649.633 | 1224218.5384 | 2719635.2225 | 1224216.6251 | 2719632.5495 | 1224217.1606 | 2719629.8648 | 1224217.8962 | 2719626.8035 | 1224219.4834
23 | 2719649.633 | 1224218.5384 | 2719631.9433 | 1224232.506
24 | 2719901.0279 | 1223890.1731 | 2719910.6367 | 1223906.813 | 2719912.1899 | 1223909.1572 | 2719914.4079 | 1223910.881 | 2719917.8008 | 1223911.8946 | 2719920.9245 | 1223911.5906 | 2719923.5284 | 1223910.3532 | 2719927.9058 | 1223907.5651
25 | 2719957.9771 | 1223851.8348 | 2719975.396 | 1223878.0063 | 2719970.0764 | 1223880.7568
26 | 2719945.4467 | 1223833.001 | 2719957.9771 | 1223851.8348
27 | 2719957.9771 | 1223851.8348 | 2719963.642 | 1223848.135 | 2719965.3484 | 1223847.024 | 2719973.2578 | 1223841.8572 | 2719975.3851 | 1223841.3107
28 | 2719931.6122 | 1223735.8796 | 2719926.1531 | 1223727.7646
29 | 2719931.6122 | 1223735.8796 | 2719938.5405 | 1223731.2267
30 | 2719949.037 | 1223761.7843 | 2719931.6122 | 1223735.8796
31 | 2719949.037 | 1223761.7843 | 2719944.0577 | 1223765.311
32 | 2719949.037 | 1223761.7843 | 2719962.6941 | 1223752.5567
33 | 2719944.0577 | 1223765.311 | 2719938.788 | 1223769.0435
34 | 2719975.645 | 1223743.8064 | 2719962.6941 | 1223752.5567
35 | 2719975.645 | 1223743.8064 | 2719971.2074 | 1223737.1177
36 | 2719925.4233 | 1223778.5096 | 2719938.788 | 1223769.0435
37 | 2719975.645 | 1223743.8064 | 2719983.7547 | 1223755.9522
38 | 2719987.8822 | 1223762.134 | 2719983.7547 | 1223755.9522
39 | 2719987.8822 | 1223762.134 | 2719978.7177 | 1223768.2207
40 | 2720005.5755 | 1223788.6225 | 2719999.3611 | 1223779.3233 | 2719987.8822 | 1223762.134
41 | 2720005.5755 | 1223788.6225 | 2719986.3763 | 1223801.4455
42 | 2720005.5755 | 1223788.6225 | 2720020.2279 | 1223778.969
43 | 2719914.3853 | 1223786.3276 | 2719925.4233 | 1223778.5096
44 | 2720031.9746 | 1223771.23 | 2720020.2279 | 1223778.969
45 | 2720045.2742 | 1223793.282 | 2720031.9746 | 1223771.23
46 | 2719986.3763 | 1223801.4455 | 2719978.9666 | 1223790.1993
47 | 2720045.2742 | 1223793.282 | 2720023.6023 | 1223807.684
48 | 2719978.2894 | 1223789.1714 | 2719978.9666 | 1223790.1993
49 | 2720023.6023 | 1223807.684 | 2720020.9351 | 1223809.4565
50 | 2719943.5031 | 1223830.0817 | 2719957.0864 | 1223821.009
51 | 2719943.5031 | 1223830.0817 | 2719945.4467 | 1223833.001
52 | 2719943.5031 | 1223830.0817 | 2719929.6031 | 1223809.1965
53 | 2719914.3853 | 1223786.3276 | 2719924.3355 | 1223801.2804
54 | 2719929.6031 | 1223809.1965 | 2719924.3355 | 1223801.2804
55 | 2719914.3853 | 1223786.3276 | 2719909.2537 | 1223778.6182
56 | 2719929.6031 | 1223809.1965 | 2719914.0842 | 1223819.3251
57 | 2719909.2537 | 1223778.6182 | 2719894.8724 | 1223788.0026
58 | 2719909.2537 | 1223778.6182 | 2719905.3592 | 1223772.7574
59 | 2719905.3592 | 1223772.7574 | 2719895.831 | 1223778.8258
60 | 2719905.3592 | 1223772.7574 | 2719896.907 | 1223760.0662
61 | 2719945.4467 | 1223833.001 | 2719933.0928 | 1223841.0694
62 | 2719896.907 | 1223760.0662 | 2719906.604 | 1223753.9011
63 | 2719852.5911 | 1223780.879 | 2719893.2417 | 1223754.4991 | 2719896.907 | 1223760.0662
64 | 2719933.0928 | 1223841.0694 | 2719926.8948 | 1223845.1174
65 | 2719884.1249 | 1223857.8594 | 2719887.6286 | 1223866.6515 | 2719890.5542 | 1223872.0369 | 2719895.6016 | 1223880.7769
66 | 2719879.9478 | 1223846.9259 | 2719881.2316 | 1223850.599 | 2719884.1249 | 1223857.8594
67 | 2719901.0279 | 1223890.1731 | 2719895.6016 | 1223880.7769
68 | 2719879.9478 | 1223846.9259 | 2719876.5278 | 1223837.0938 | 2719875.6522 | 1223830.4821
69 | 2719988.2297 | 1223832.7823 | 2719975.3851 | 1223841.3107 | 2719975.3851 | 1223841.3107
70 | 2719852.5911 | 1223780.879 | 2719859.7914 | 1223790.1979 | 2719861.9028 | 1223793.4541 | 2719864.9581 | 1223804.416

## bus_geodata
| x | y | coords
0 | 2720085.8164 | 1223575.8376
1 | 2719925.1952 | 1223667.7638
2 | 2719953.658 | 1223710.6655
3 | 2719943.5397 | 1223936.2871
4 | 2719943.2996 | 1223936.4475
5 | 2719959.4005 | 1223925.6879
6 | 2719940.9705 | 1223938.004
7 | 2719947.9324 | 1223894.8105
8 | 2719975.7746 | 1223943.8543
9 | 2719777.2515 | 1224116.9921
10 | 2719944.6821 | 1223896.8799
11 | 2719958.0218 | 1223888.4072
12 | 2719990.0516 | 1223934.4782
13 | 2719678.743 | 1224164.333
14 | 2719737.1956 | 1224101.5409
15 | 2719669.5649 | 1224175.2274
16 | 2719743.5163 | 1224096.8977
17 | 2719657.4247 | 1224185.5632
18 | 2719662.6955 | 1224213.9371
19 | 2719655.0955 | 1224187.5462
20 | 2719649.633 | 1224218.5384
21 | 2719631.9433 | 1224232.506
22 | 2719626.8035 | 1224219.4834
23 | 2719927.9058 | 1223907.5651
24 | 2719970.0764 | 1223880.7568
25 | 2719957.9771 | 1223851.8348
26 | 2719926.1531 | 1223727.7646
27 | 2719931.6122 | 1223735.8796
28 | 2719938.5405 | 1223731.2267
29 | 2719949.037 | 1223761.7843
30 | 2719944.0577 | 1223765.311
31 | 2719962.6941 | 1223752.5567
32 | 2719971.2074 | 1223737.1177
33 | 2719938.788 | 1223769.0435
34 | 2719975.645 | 1223743.8064
35 | 2719983.7547 | 1223755.9522
36 | 2719987.8822 | 1223762.134
37 | 2719978.7177 | 1223768.2207
38 | 2720005.5755 | 1223788.6225
39 | 2719925.4233 | 1223778.5096
40 | 2720020.2279 | 1223778.969
41 | 2720031.9746 | 1223771.23
42 | 2719986.3763 | 1223801.4455
43 | 2720045.2742 | 1223793.282
44 | 2719978.9666 | 1223790.1993
45 | 2720023.6023 | 1223807.684
46 | 2719957.0864 | 1223821.009
47 | 2719943.5031 | 1223830.0817
48 | 2719978.2894 | 1223789.1714
49 | 2720020.9351 | 1223809.4565
50 | 2719924.3355 | 1223801.2804
51 | 2719914.3853 | 1223786.3276
52 | 2719929.6031 | 1223809.1965
53 | 2719909.2537 | 1223778.6182
54 | 2719914.0842 | 1223819.3251
55 | 2719894.8724 | 1223788.0026
56 | 2719905.3592 | 1223772.7574
57 | 2719945.4467 | 1223833.001
58 | 2719895.831 | 1223778.8258
59 | 2719896.907 | 1223760.0662
60 | 2719933.0928 | 1223841.0694
61 | 2719884.1249 | 1223857.8594
62 | 2719895.6016 | 1223880.7769
63 | 2719879.9478 | 1223846.9259
64 | 2719901.0279 | 1223890.1731
65 | 2719875.6522 | 1223830.4821
66 | 2719988.2297 | 1223832.7823
67 | 2719975.3851 | 1223841.3107
68 | 2719926.8948 | 1223845.1174
69 | 2719864.9581 | 1223804.416
70 | 2719852.5911 | 1223780.879
71 | 2719906.604 | 1223753.9011
72 | 2719977.1321 | 1223787.4149

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99123 | -0.16789 | 0.0078719 | 0.0019729
1 | 0.99257 | -0.14207 | 0 | 0
2 | 0.99294 | -0.1349 | 0.010932 | 0.0027398
3 | 0.97823 | -0.42005 | 0.002895 | 0.00072555
4 | 0.97823 | -0.4201 | 0.0020477 | 0.00051321
5 | 0.97846 | -0.4156 | 0 | 0
6 | 0.97821 | -0.42051 | 0.0014582 | 0.00036547
7 | 0.979 | -0.40494 | 0 | 0
8 | 0.97834 | -0.41796 | 0 | 0
9 | 0.97677 | -0.44889 | 0.00083261 | 0.00020867
10 | 0.97889 | -0.40707 | 0 | 0
11 | 0.97953 | -0.39461 | 0.0143 | 0.0035839
12 | 0.97827 | -0.41928 | 0.0042294 | 0.00106
13 | 0.97603 | -0.4635 | 0.00077417 | 0.00019402
14 | 0.97647 | -0.45475 | 0 | 0
15 | 0.97596 | -0.46476 | 0 | 0
16 | 0.97651 | -0.45395 | 0 | 0
17 | 0.97592 | -0.46557 | 0.00040576 | 0.00010169
18 | 0.97588 | -0.46639 | 0.00049251 | 0.00012344
19 | 0.97591 | -0.46571 | 0.0023874 | 0.00059833
20 | 0.97586 | -0.46678 | 0 | 0
21 | 0.97584 | -0.46708 | 0.00071232 | 0.00017852
22 | 0.97584 | -0.46712 | 0.00079738 | 0.00019984
23 | 0.97833 | -0.4181 | 0.0091917 | 0.0023037
24 | 0.98035 | -0.37859 | 0 | 0
25 | 0.98249 | -0.33671 | 0 | 0
26 | 0.9914 | -0.16431 | 0.006681 | 0.0016744
27 | 0.99146 | -0.16315 | 0 | 0
28 | 0.99141 | -0.16426 | 0.0074799 | 0.0018746
29 | 0.99187 | -0.15532 | 0 | 0
30 | 0.99154 | -0.16157 | 0.0093539 | 0.0023443
31 | 0.9928 | -0.13745 | 0.0074481 | 0.0018667
32 | 0.99348 | -0.12434 | 0.01177 | 0.0029497
33 | 0.99121 | -0.16791 | 0.008075 | 0.0020238
34 | 0.99371 | -0.12001 | 0 | 0
35 | 0.99466 | -0.10178 | 0.014283 | 0.0035796
36 | 0.99517 | -0.092047 | 0 | 0
37 | 0.99504 | -0.094516 | 0.012773 | 0.0032013
38 | 0.99744 | -0.048669 | 0 | 0
39 | 0.99041 | -0.18343 | 0.0080441 | 0.002016
40 | 0.99605 | -0.075331 | 0.034473 | 0.0086398
41 | 0.99425 | -0.10968 | 0 | 0
42 | 1 | 0 | -0.50659 | -0.12872
43 | 0.99097 | -0.17285 | 0 | 0
44 | 0.99981 | -0.0037334 | 0.0072078 | 0.0018064
45 | 0.98766 | -0.23715 | 0.065723 | 0.016472
46 | 0.98501 | -0.2877 | 0.013154 | 0.0032966
47 | 0.98521 | -0.28384 | 0 | 0
48 | 0.9998 | -0.0039199 | 0.0086935 | 0.0021788
49 | 0.98744 | -0.24133 | 0.073031 | 0.018303
50 | 0.98909 | -0.20883 | 0.0079739 | 0.0019985
51 | 0.98976 | -0.19579 | 0 | 0
52 | 0.98841 | -0.22198 | 0 | 0
53 | 0.98941 | -0.20276 | 0 | 0
54 | 0.98811 | -0.22769 | 0.017295 | 0.0043345
55 | 0.98919 | -0.20694 | 0.013683 | 0.0034293
56 | 0.98922 | -0.20635 | 0 | 0
57 | 0.9848 | -0.29169 | 0 | 0
58 | 0.98911 | -0.20847 | 0.010561 | 0.0026469
59 | 0.98897 | -0.21126 | 0 | 0
60 | 0.98461 | -0.29544 | 0.0079856 | 0.0020014
61 | 0.97702 | -0.44393 | 0.0087872 | 0.0022023
62 | 0.97733 | -0.43768 | 0.007948 | 0.001992
63 | 0.97697 | -0.4449 | 0 | 0
64 | 0.97755 | -0.43346 | 0 | 0
65 | 0.97689 | -0.44632 | 0.0045512 | 0.0011406
66 | 0.98109 | -0.36415 | 0.033806 | 0.0084727
67 | 0.98157 | -0.35472 | 0.014932 | 0.0037422
68 | 0.98457 | -0.29625 | 0.0061473 | 0.0015407
69 | 0.98822 | -0.22573 | 0.0098697 | 0.0024736
70 | 0.98847 | -0.22097 | 0 | 0
71 | 0.98888 | -0.21294 | 0.0082254 | 0.0020615
72 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0078719 | -0.0019729 | 0.0078815 | 0.0019767 | 9.6905e-06 | 3.8131e-06 | 0.011817 | 0.011816 | 0.011817 | 0.99123 | -0.16789 | 0.99257 | -0.14207 | 3.2464
1 | -0.0078815 | -0.0019767 | 0.0078842 | 0.0019777 | 2.6956e-06 | 1.0595e-06 | 0.011816 | 0.011816 | 0.011816 | 0.99257 | -0.14207 | 0.99294 | -0.1349 | 3.2462
2 | -0.018816 | -0.0047175 | 0.018826 | 0.0047232 | 9.4656e-06 | 5.6471e-06 | 0.028199 | 0.028198 | 0.028199 | 0.99294 | -0.1349 | 0.99348 | -0.12434 | 7.7468
3 | 0.0099215 | 0.0024851 | -0.0099214 | -0.0024851 | 2.4657e-08 | 1.2156e-08 | 0.015091 | 0.015091 | 0.015091 | 0.97823 | -0.42005 | 0.97823 | -0.4201 | 4.146
4 | -0.012816 | -0.0032107 | 0.012819 | 0.0032122 | 2.7188e-06 | 1.5005e-06 | 0.019495 | 0.019495 | 0.019495 | 0.97823 | -0.42005 | 0.97846 | -0.4156 | 5.3558
5 | 0.0078737 | 0.0019719 | -0.0078735 | -0.0019719 | 1.5068e-07 | 6.1266e-08 | 0.011976 | 0.011976 | 0.011976 | 0.97823 | -0.4201 | 0.97821 | -0.42051 | 3.2902
6 | -0.017049 | -0.0042721 | 0.017058 | 0.0042772 | 8.663e-06 | 5.1124e-06 | 0.025928 | 0.025928 | 0.025928 | 0.97846 | -0.4156 | 0.979 | -0.40494 | 7.123
7 | 0.0042301 | 0.0010599 | -0.0042297 | -0.0010599 | 4.7674e-07 | -8.0681e-08 | 0.006433 | 0.0064331 | 0.0064331 | 0.97846 | -0.4156 | 0.97834 | -0.41796 | 1.7673
8 | 0.0064153 | 0.0016064 | -0.0064066 | -0.0016039 | 8.6628e-06 | 2.5035e-06 | 0.0097582 | 0.0097593 | 0.0097593 | 0.97821 | -0.42051 | 0.97677 | -0.44889 | 2.6811
9 | 0.030522 | 0.0076648 | -0.030519 | -0.0076628 | 3.1046e-06 | 1.9386e-06 | 0.046396 | 0.046396 | 0.046396 | 0.979 | -0.40494 | 0.97889 | -0.40707 | 12.7463
10 | -0.04758 | -0.011942 | 0.047603 | 0.011957 | 2.344e-05 | 1.4851e-05 | 0.072324 | 0.072324 | 0.072324 | 0.979 | -0.40494 | 0.97953 | -0.39461 | 19.8693
11 | 0.0042297 | 0.0010599 | -0.0042294 | -0.00106 | 2.6508e-07 | -4.4813e-08 | 0.0064331 | 0.0064332 | 0.0064332 | 0.97834 | -0.41796 | 0.97827 | -0.41928 | 1.7674
12 | 0.005574 | 0.0013952 | -0.0055727 | -0.001395 | 1.3418e-06 | 2.3773e-07 | 0.0084909 | 0.0084911 | 0.0084911 | 0.97677 | -0.44889 | 0.97651 | -0.45395 | 2.3327
13 | 0.030519 | 0.0076628 | -0.030503 | -0.0076528 | 1.6056e-05 | 1.0026e-05 | 0.046396 | 0.046396 | 0.046396 | 0.97889 | -0.40707 | 0.97833 | -0.4181 | 12.7463
14 | -0.061903 | -0.015541 | 0.06195 | 0.015571 | 4.7355e-05 | 3.0127e-05 | 0.094047 | 0.094047 | 0.094047 | 0.97953 | -0.39461 | 0.98035 | -0.37859 | 25.8371
15 | -0.0055702 | -0.0013945 | 0.0055725 | 0.0013949 | 2.3202e-06 | 4.12e-07 | 0.0084915 | 0.0084912 | 0.0084915 | 0.97603 | -0.4635 | 0.97647 | -0.45475 | 2.3328
16 | 0.004796 | 0.0012005 | -0.0047957 | -0.0012005 | 2.8758e-07 | 4.7668e-09 | 0.0073113 | 0.0073113 | 0.0073113 | 0.97603 | -0.4635 | 0.97596 | -0.46476 | 2.0086
17 | -0.0055725 | -0.0013949 | 0.0055727 | 0.001395 | 2.1167e-07 | 3.7534e-08 | 0.0084912 | 0.0084911 | 0.0084912 | 0.97647 | -0.45475 | 0.97651 | -0.45395 | 2.3327
18 | 0.0027933 | 0.00069987 | -0.0027932 | -0.0007 | 1.0844e-07 | -1.2983e-07 | 0.0042587 | 0.0042588 | 0.0042588 | 0.97596 | -0.46476 | 0.97592 | -0.46557 | 1.17
19 | 0.0020024 | 0.00050063 | -0.0020023 | -0.00050109 | 1.5599e-07 | -4.5791e-07 | 0.0030526 | 0.0030528 | 0.0030528 | 0.97596 | -0.46476 | 0.97588 | -0.46639 | 0.83868
20 | 0.0023874 | 0.00059831 | -0.0023874 | -0.00059833 | 1.52e-08 | -2.8494e-08 | 0.0036401 | 0.0036401 | 0.0036401 | 0.97592 | -0.46557 | 0.97591 | -0.46571 | 1
21 | 0.0015098 | 0.00037765 | -0.0015097 | -0.00037781 | 2.7736e-08 | -1.5665e-07 | 0.0023018 | 0.0023019 | 0.0023019 | 0.97588 | -0.46639 | 0.97586 | -0.46678 | 0.63238
22 | 0.0007974 | 0.00019956 | -0.00079738 | -0.00019984 | 1.3025e-08 | -2.852e-07 | 0.0012158 | 0.0012159 | 0.0012159 | 0.97586 | -0.46678 | 0.97584 | -0.46712 | 0.33404
23 | 0.00071233 | 0.00017825 | -0.00071232 | -0.00017852 | 9.971e-09 | -2.7521e-07 | 0.0010861 | 0.0010862 | 0.0010862 | 0.97586 | -0.46678 | 0.97584 | -0.46708 | 0.2984
24 | 0.021311 | 0.0053492 | -0.021295 | -0.0053397 | 1.56e-05 | 9.4873e-06 | 0.032416 | 0.032416 | 0.032416 | 0.97833 | -0.4181 | 0.97755 | -0.43346 | 8.9056
25 | -0.06195 | -0.015571 | 0.062074 | 0.01565 | 0.00012414 | 7.8975e-05 | 0.094047 | 0.094047 | 0.094047 | 0.98035 | -0.37859 | 0.98249 | -0.33671 | 25.8371
26 | -0.11087 | -0.027901 | 0.11111 | 0.028053 | 0.0002391 | 0.00015273 | 0.16796 | 0.16796 | 0.16796 | 0.98249 | -0.33671 | 0.9848 | -0.29169 | 46.1418
27 | 0.048795 | 0.012251 | -0.048753 | -0.012224 | 4.1884e-05 | 2.6547e-05 | 0.07391 | 0.07391 | 0.07391 | 0.98249 | -0.33671 | 0.98157 | -0.35472 | 20.3048
28 | -0.006681 | -0.0016744 | 0.0066814 | 0.0016745 | 3.688e-07 | 1.0991e-07 | 0.010028 | 0.010028 | 0.010028 | 0.9914 | -0.16431 | 0.99146 | -0.16315 | 2.7549
29 | 0.0074803 | 0.0018748 | -0.0074799 | -0.0018746 | 3.9371e-07 | 1.4456e-07 | 0.011227 | 0.011227 | 0.011227 | 0.99146 | -0.16315 | 0.99141 | -0.16426 | 3.0843
30 | -0.014162 | -0.0035493 | 0.014167 | 0.0035523 | 5.2842e-06 | 2.9795e-06 | 0.021254 | 0.021254 | 0.021254 | 0.99146 | -0.16315 | 0.99187 | -0.15532 | 5.8391
31 | 0.2326 | 0.058934 | -0.23253 | -0.05889 | 6.9747e-05 | 4.4323e-05 | 0.34918 | 0.34918 | 0.34918 | 0.99187 | -0.15532 | 0.99154 | -0.16157 | 23.9821
32 | -0.24677 | -0.062486 | 0.24698 | 0.062621 | 0.00021204 | 0.00013485 | 0.37043 | 0.37043 | 0.37043 | 0.99187 | -0.15532 | 0.9928 | -0.13745 | 25.4419
33 | 0.22318 | 0.056545 | -0.22311 | -0.056502 | 6.7999e-05 | 4.3186e-05 | 0.33514 | 0.33514 | 0.33514 | 0.99154 | -0.16157 | 0.99121 | -0.16791 | 23.018
34 | -0.25443 | -0.064488 | 0.25464 | 0.064624 | 0.00021337 | 0.00013575 | 0.3816 | 0.3816 | 0.3816 | 0.9928 | -0.13745 | 0.99371 | -0.12001 | 26.2085
35 | -0.030595 | -0.0076729 | 0.030601 | 0.0076769 | 6.3213e-06 | 3.9417e-06 | 0.045826 | 0.045826 | 0.045826 | 0.99348 | -0.12434 | 0.99371 | -0.12001 | 12.5897
36 | 0.21503 | 0.054478 | -0.21487 | -0.054377 | 0.00016021 | 0.00010169 | 0.32302 | 0.32302 | 0.32302 | 0.99121 | -0.16791 | 0.99041 | -0.18343 | 22.1855
37 | -0.28524 | -0.0723 | 0.28549 | 0.07246 | 0.00025013 | 0.00015933 | 0.42742 | 0.42742 | 0.42742 | 0.99371 | -0.12001 | 0.99466 | -0.10178 | 29.3559
38 | -0.29978 | -0.076039 | 0.29992 | 0.076129 | 0.00014035 | 8.9441e-05 | 0.44879 | 0.44879 | 0.44879 | 0.99466 | -0.10178 | 0.99517 | -0.092047 | 30.8234
39 | 0.012775 | 0.0032021 | -0.012773 | -0.0032013 | 1.5025e-06 | 8.1893e-07 | 0.019101 | 0.019102 | 0.019102 | 0.99517 | -0.092047 | 0.99504 | -0.094516 | 5.2477
40 | -0.31269 | -0.079331 | 0.31334 | 0.079748 | 0.00065377 | 0.00041675 | 0.46789 | 0.46789 | 0.46789 | 0.99517 | -0.092047 | 0.99744 | -0.048669 | 32.1353
41 | -0.48789 | -0.124 | 0.48904 | 0.12474 | 0.0011464 | 0.0007325 | 0.72846 | 0.72846 | 0.72846 | 0.99744 | -0.048669 | 1 | 0 | 50.0317
42 | 0.17454 | 0.044256 | -0.17432 | -0.044114 | 0.00022338 | 0.00014251 | 0.26057 | 0.26057 | 0.26057 | 0.99744 | -0.048669 | 0.99605 | -0.075331 | 35.7929
43 | 0.20683 | 0.052361 | -0.20671 | -0.052283 | 0.0001226 | 7.7767e-05 | 0.31093 | 0.31093 | 0.31093 | 0.99041 | -0.18343 | 0.98976 | -0.19579 | 21.3554
44 | 0.13985 | 0.035474 | -0.13962 | -0.035327 | 0.00023058 | 0.00014739 | 0.20907 | 0.20907 | 0.20907 | 0.99605 | -0.075331 | 0.99425 | -0.10968 | 57.4375
45 | 0.13962 | 0.035327 | -0.1392 | -0.035057 | 0.00042182 | 0.00026964 | 0.20907 | 0.20907 | 0.20907 | 0.99425 | -0.10968 | 0.99097 | -0.17285 | 57.4375
46 | 0.015904 | 0.0039869 | -0.015901 | -0.0039853 | 2.8286e-06 | 1.6337e-06 | 0.023666 | 0.023666 | 0.023666 | 1 | 0 | 0.99981 | -0.0037334 | 6.5016
47 | 0.1392 | 0.035057 | -0.13877 | -0.034784 | 0.00042653 | 0.00027264 | 0.20907 | 0.20907 | 0.20907 | 0.99097 | -0.17285 | 0.98766 | -0.23715 | 57.4375
48 | 0.0086935 | 0.0021788 | -0.0086935 | -0.0021788 | 7.7276e-08 | 3.3314e-08 | 0.012939 | 0.012939 | 0.012939 | 0.99981 | -0.0037334 | 0.9998 | -0.0039199 | 3.5546
49 | 0.073046 | 0.018313 | -0.073031 | -0.018303 | 1.4546e-05 | 9.2682e-06 | 0.11005 | 0.11005 | 0.11005 | 0.98766 | -0.23715 | 0.98744 | -0.24133 | 30.2345
50 | -0.013154 | -0.0032966 | 0.013156 | 0.003298 | 2.4187e-06 | 1.34e-06 | 0.019871 | 0.019871 | 0.019871 | 0.98501 | -0.2877 | 0.98521 | -0.28384 | 5.459
51 | 0.12529 | 0.031627 | -0.12524 | -0.031597 | 4.7094e-05 | 3.0096e-05 | 0.18932 | 0.18932 | 0.18932 | 0.98521 | -0.28384 | 0.9848 | -0.29169 | 52.0096
52 | -0.13845 | -0.034925 | 0.13886 | 0.035188 | 0.00041134 | 0.00026294 | 0.20919 | 0.20919 | 0.20919 | 0.98521 | -0.28384 | 0.98841 | -0.22198 | 57.4686
53 | -0.16423 | -0.041587 | 0.16433 | 0.041652 | 0.00010292 | 6.4944e-05 | 0.24723 | 0.24723 | 0.24723 | 0.98909 | -0.20883 | 0.98976 | -0.19579 | 16.9798
54 | 0.15626 | 0.039588 | -0.15616 | -0.039525 | 9.8651e-05 | 6.2893e-05 | 0.23523 | 0.23523 | 0.23523 | 0.98909 | -0.20883 | 0.98841 | -0.22198 | 32.3118
55 | 0.042374 | 0.010631 | -0.04236 | -0.010622 | 1.4084e-05 | 8.8946e-06 | 0.063709 | 0.063709 | 0.063709 | 0.98976 | -0.19579 | 0.98941 | -0.20276 | 17.5025
56 | 0.0173 | 0.0043373 | -0.017295 | -0.0043345 | 4.7049e-06 | 2.7741e-06 | 0.026045 | 0.026045 | 0.026045 | 0.98841 | -0.22198 | 0.98811 | -0.22769 | 7.1552
57 | 0.013686 | 0.0034308 | -0.013683 | -0.0034293 | 2.7229e-06 | 1.5226e-06 | 0.020583 | 0.020583 | 0.020583 | 0.98941 | -0.20276 | 0.98919 | -0.20694 | 5.6547
58 | 0.028674 | 0.0071916 | -0.028669 | -0.0071886 | 4.9037e-06 | 3.0481e-06 | 0.043126 | 0.043126 | 0.043126 | 0.98941 | -0.20276 | 0.98922 | -0.20635 | 11.8478
59 | 0.010562 | 0.0026474 | -0.010561 | -0.0026469 | 1.0672e-06 | 5.383e-07 | 0.015888 | 0.015888 | 0.015888 | 0.98922 | -0.20635 | 0.98911 | -0.20847 | 4.3649
60 | 0.018107 | 0.0045412 | -0.018103 | -0.0045387 | 4.2386e-06 | 2.5172e-06 | 0.027238 | 0.027238 | 0.027238 | 0.98922 | -0.20635 | 0.98897 | -0.21126 | 7.483
61 | 0.014136 | 0.0035435 | -0.014133 | -0.0035421 | 2.5243e-06 | 1.4278e-06 | 0.021359 | 0.021359 | 0.021359 | 0.9848 | -0.29169 | 0.98461 | -0.29544 | 5.8678
62 | 0.0082261 | 0.0020618 | -0.0082254 | -0.0020615 | 6.5881e-07 | 2.745e-07 | 0.012377 | 0.012377 | 0.012377 | 0.98897 | -0.21126 | 0.98888 | -0.21294 | 3.4003
63 | 0.0098765 | 0.0024769 | -0.009872 | -0.0024747 | 4.5654e-06 | 2.2149e-06 | 0.014861 | 0.014861 | 0.014861 | 0.98897 | -0.21126 | 0.98847 | -0.22097 | 4.0827
64 | 0.0061475 | 0.0015407 | -0.0061473 | -0.0015407 | 2.3961e-07 | 5.9204e-08 | 0.0092906 | 0.0092906 | 0.0092906 | 0.98461 | -0.29544 | 0.98457 | -0.29625 | 2.5524
65 | -0.013339 | -0.0033429 | 0.013343 | 0.0033451 | 3.9754e-06 | 2.2225e-06 | 0.020315 | 0.020315 | 0.020315 | 0.97702 | -0.44393 | 0.97733 | -0.43768 | 5.5812
66 | 0.0045517 | 0.0011406 | -0.0045515 | -0.0011406 | 2.1097e-07 | -1.1575e-08 | 0.0069323 | 0.0069324 | 0.0069324 | 0.97702 | -0.44393 | 0.97697 | -0.4449 | 1.9045
67 | -0.021291 | -0.0053371 | 0.021295 | 0.0053397 | 4.2757e-06 | 2.6005e-06 | 0.032416 | 0.032416 | 0.032416 | 0.97733 | -0.43768 | 0.97755 | -0.43346 | 8.9056
68 | 0.0045515 | 0.0011406 | -0.0045512 | -0.0011406 | 3.078e-07 | -1.6857e-08 | 0.0069324 | 0.0069324 | 0.0069324 | 0.97697 | -0.4449 | 0.97689 | -0.44632 | 1.9045
69 | -0.033806 | -0.0084727 | 0.033822 | 0.0084822 | 1.52e-05 | 9.5335e-06 | 0.051274 | 0.051274 | 0.051274 | 0.98109 | -0.36415 | 0.98157 | -0.35472 | 14.0863
70 | -0.0098697 | -0.0024736 | 0.009872 | 0.0024747 | 2.2393e-06 | 1.0866e-06 | 0.014861 | 0.014861 | 0.014861 | 0.98822 | -0.22573 | 0.98847 | -0.22097 | 4.0828

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.50659 | 0.12872

## res_load
| p_mw | q_mvar
0 | 0.0078719 | 0.0019729
1 | 0.010932 | 0.0027398
2 | 0.002895 | 0.00072555
3 | 0.0020477 | 0.00051321
4 | 0.0014582 | 0.00036547
5 | 0.00083261 | 0.00020867
6 | 0.0143 | 0.0035839
7 | 0.0042294 | 0.00106
8 | 0.00077417 | 0.00019402
9 | 0.00040576 | 0.00010169
10 | 0.00049251 | 0.00012344
11 | 0.0023874 | 0.00059833
12 | 0.00071232 | 0.00017852
13 | 0.00079738 | 0.00019984
14 | 0.0091917 | 0.0023037
15 | 0.006681 | 0.0016744
16 | 0.0074799 | 0.0018746
17 | 0.0093539 | 0.0023443
18 | 0.0074481 | 0.0018667
19 | 0.01177 | 0.0029497
20 | 0.008075 | 0.0020238
21 | 0.014283 | 0.0035796
22 | 0.012773 | 0.0032013
23 | 0.0080441 | 0.002016
24 | 0.034473 | 0.0086398
25 | 0.0072078 | 0.0018064
26 | 0.065723 | 0.016472
27 | 0.013154 | 0.0032966
28 | 0.0086935 | 0.0021788
29 | 0.073031 | 0.018303
30 | 0.0079739 | 0.0019985
31 | 0.017295 | 0.0043345
32 | 0.013683 | 0.0034293
33 | 0.010561 | 0.0026469
34 | 0.0079856 | 0.0020014
35 | 0.0087872 | 0.0022023
36 | 0.007948 | 0.001992
37 | 0.0045512 | 0.0011406
38 | 0.033806 | 0.0084727
39 | 0.014932 | 0.0037422
40 | 0.0061473 | 0.0015407
41 | 0.0098697 | 0.0024736
42 | 0.0082254 | 0.0020615

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1