## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1630-144_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1630-144_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1630-144_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1630-144_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1630-144_0_3_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_1630-144_0_3_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_1630-144_0_3_node_20 | 0.4 | n |  | TRUE
7 | bus_LV_1630-144_0_3_node_18 | 0.4 | n |  | TRUE
8 | bus_LV_1630-144_0_3_node_45 | 0.4 | n |  | TRUE
9 | bus_LV_1630-144_0_3_node_38 | 0.4 | n |  | TRUE
10 | bus_LV_1630-144_0_3_node_30 | 0.4 | n |  | TRUE
11 | bus_LV_1630-144_0_3_node_31 | 0.4 | n |  | TRUE
12 | bus_LV_1630-144_0_3_node_19 | 0.4 | n |  | TRUE
13 | bus_LV_1630-144_0_3_node_40 | 0.4 | n |  | TRUE
14 | bus_LV_1630-144_0_3_node_37 | 0.4 | n |  | TRUE
15 | bus_LV_1630-144_0_3_node_36 | 0.4 | n |  | TRUE
16 | bus_LV_1630-144_0_3_node_35 | 0.4 | n |  | TRUE
17 | bus_LV_1630-144_0_3_node_7 | 0.4 | n |  | TRUE
18 | bus_LV_1630-144_0_3_node_8 | 0.4 | n |  | TRUE
19 | bus_LV_1630-144_0_3_node_9 | 0.4 | n |  | TRUE
20 | bus_LV_1630-144_0_3_node_10 | 0.4 | n |  | TRUE
21 | bus_LV_1630-144_0_3_node_44 | 0.4 | n |  | TRUE
22 | bus_LV_1630-144_0_3_node_33 | 0.4 | n |  | TRUE
23 | bus_LV_1630-144_0_3_node_11 | 0.4 | n |  | TRUE
24 | bus_LV_1630-144_0_3_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_1630-144_0_3_node_27 | 0.4 | n |  | TRUE
26 | bus_LV_1630-144_0_3_node_21 | 0.4 | n |  | TRUE
27 | bus_LV_1630-144_0_3_node_22 | 0.4 | n |  | TRUE
28 | bus_LV_1630-144_0_3_node_23 | 0.4 | n |  | TRUE
29 | bus_LV_1630-144_0_3_node_32 | 0.4 | n |  | TRUE
30 | bus_LV_1630-144_0_3_node_14 | 0.4 | n |  | TRUE
31 | bus_LV_1630-144_0_3_node_12 | 0.4 | n |  | TRUE
32 | bus_LV_1630-144_0_3_node_13 | 0.4 | n |  | TRUE
33 | bus_LV_1630-144_0_3_node_15 | 0.4 | n |  | TRUE
34 | bus_LV_1630-144_0_3_node_17 | 0.4 | n |  | TRUE
35 | bus_LV_1630-144_0_3_node_28 | 0.4 | n |  | TRUE
36 | bus_LV_1630-144_0_3_node_29 | 0.4 | n |  | TRUE
37 | bus_LV_1630-144_0_3_node_24 | 0.4 | n |  | TRUE
38 | bus_LV_1630-144_0_3_node_25 | 0.4 | n |  | TRUE
39 | bus_LV_1630-144_0_3_node_26 | 0.4 | n |  | TRUE
40 | bus_LV_1630-144_0_3_node_39 | 0.4 | n |  | TRUE
41 | bus_LV_1630-144_0_3_node_41 | 0.4 | n |  | TRUE
42 | bus_LV_1630-144_0_3_node_34 | 0.4 | n |  | TRUE
43 | bus_LV_1630-144_0_3_node_42 | 0.4 | n |  | TRUE
44 | bus_LV_1630-144_0_3_node_43 | 0.4 | n |  | TRUE
45 | bus_MV_20_1_node_139 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1630-144_0_3_load_0 | 0 | 0.00089012 | 0.00022309 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1630-144_0_3_load_1 | 1 | 0.0015739 | 0.00039446 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1630-144_0_3_load_2 | 2 | 0.00028917 | 7.2472e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1630-144_0_3_load_18 | 7 | 0.0042156 | 0.0010565 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1630-144_0_3_load_45 | 8 | 0.030194 | 0.0075673 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1630-144_0_3_load_30 | 10 | 0.0001099 | 2.7543e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1630-144_0_3_load_31 | 11 | 0.00029896 | 7.4928e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1630-144_0_3_load_19 | 12 | 0.00041767 | 0.00010468 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1630-144_0_3_load_40 | 13 | 0.022623 | 0.0056699 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1630-144_0_3_load_37 | 14 | 0.00072927 | 0.00018277 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1630-144_0_3_load_36 | 15 | 0.00030534 | 7.6525e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1630-144_0_3_load_7 | 17 | 0.00069319 | 0.00017373 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1630-144_0_3_load_10 | 20 | 0.00046878 | 0.00011749 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1630-144_0_3_load_44 | 21 | 0.00022087 | 5.5356e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1630-144_0_3_load_11 | 23 | 0.011783 | 0.0029531 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1630-144_0_3_load_27 | 25 | 0.00014506 | 3.6356e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1630-144_0_3_load_21 | 26 | 0.00020605 | 5.1641e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1630-144_0_3_load_12 | 31 | 0.00602 | 0.0015088 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1630-144_0_3_load_13 | 32 | 0.00059886 | 0.00015009 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1630-144_0_3_load_15 | 33 | 0.00015868 | 3.9769e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1630-144_0_3_load_17 | 34 | 0.00047756 | 0.00011969 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1630-144_0_3_load_28 | 35 | 0.00013641 | 3.4187e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1630-144_0_3_load_29 | 36 | 0.00020514 | 5.1413e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1630-144_0_3_load_24 | 37 | 0.00032402 | 8.1208e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1630-144_0_3_load_26 | 39 | 0.0028418 | 0.00071221 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1630-144_0_3_load_34 | 42 | 0.0077451 | 0.0019411 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1630-144_0_3_load_43 | 44 | 0.016051 | 0.0040227 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 9 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1630-144_0_3_line_0 |  | 0 | 1 | 0.020203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1630-144_0_3_line_1 |  | 0 | 2 | 0.018959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1630-144_0_3_line_2 |  | 1 | 3 | 0.10564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1630-144_0_3_line_3 |  | 3 | 4 | 0.063562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1630-144_0_3_line_4 |  | 4 | 8 | 0.030658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1630-144_0_3_line_5 |  | 4 | 9 | 0.070465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1630-144_0_3_line_6 |  | 5 | 6 | 0.035788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1630-144_0_3_line_7 |  | 5 | 7 | 0.052416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1630-144_0_3_line_8 |  | 6 | 10 | 0.022647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1630-144_0_3_line_9 |  | 6 | 11 | 0.023368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1630-144_0_3_line_10 |  | 7 | 12 | 0.055386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1630-144_0_3_line_11 |  | 9 | 13 | 0.15007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1630-144_0_3_line_12 |  | 9 | 14 | 0.064072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1630-144_0_3_line_13 |  | 10 | 33 | 0.019454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1630-144_0_3_line_14 |  | 11 | 29 | 0.029881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1630-144_0_3_line_15 |  | 13 | 16 | 0.056544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1630-144_0_3_line_16 |  | 13 | 43 | 0.056213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1630-144_0_3_line_17 |  | 14 | 40 | 0.1051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1630-144_0_3_line_18 |  | 14 | 38 | 0.076683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1630-144_0_3_line_19 |  | 15 | 16 | 0.049711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1630-144_0_3_line_20 |  | 17 | 18 | 0.022653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1630-144_0_3_line_21 |  | 17 | 19 | 0.021499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1630-144_0_3_line_22 |  | 18 | 20 | 0.018686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1630-144_0_3_line_23 |  | 19 | 21 | 0.24011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1630-144_0_3_line_24 |  | 20 | 22 | 0.0079207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1630-144_0_3_line_25 |  | 21 | 28 | 0.022637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1630-144_0_3_line_26 |  | 22 | 29 | 0.014118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1630-144_0_3_line_27 |  | 23 | 24 | 0.046232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1630-144_0_3_line_28 |  | 23 | 25 | 0.26105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1630-144_0_3_line_29 |  | 24 | 30 | 0.072835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1630-144_0_3_line_30 |  | 26 | 27 | 0.0091081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1630-144_0_3_line_31 |  | 27 | 28 | 0.028323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1630-144_0_3_line_32 |  | 30 | 34 | 0.015294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1630-144_0_3_line_33 |  | 30 | 31 | 0.018543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1630-144_0_3_line_34 |  | 31 | 32 | 0.00055554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1630-144_0_3_line_35 |  | 32 | 33 | 0.017258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1630-144_0_3_line_36 |  | 34 | 35 | 0.043701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1630-144_0_3_line_37 |  | 35 | 36 | 0.019726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1630-144_0_3_line_38 |  | 35 | 37 | 0.058067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1630-144_0_3_line_39 |  | 37 | 38 | 0.049702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1630-144_0_3_line_40 |  | 39 | 40 | 0.050691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1630-144_0_3_line_41 |  | 40 | 41 | 0.067264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1630-144_0_3_line_42 |  | 41 | 44 | 0.025807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1630-144_0_3_line_43 |  | 42 | 43 | 0.042023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1630-144_0_3_trafo_38 | 0.63 MVA 20/0.4 kV | 45 | 9 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2720844.5166 | 1223145.3843 | 2720844.9443 | 1223149.189 | 2720846.9988 | 1223155.9805 | 2720852.0816 | 1223161.5769 | 2720853.4179 | 1223162.6573
1 | 2720844.5166 | 1223145.3843 | 2720844.4946 | 1223145.1879 | 2720845.1247 | 1223140.308 | 2720848.1225 | 1223133.8971 | 2720852.6179 | 1223128.8434
2 | 2720926.2615 | 1223238.3544 | 2720873.0996 | 1223177.4271 | 2720867.4808 | 1223171.6975 | 2720864.0186 | 1223169.2252 | 2720858.3714 | 1223166.0192 | 2720855.6791 | 1223164.4856 | 2720853.4179 | 1223162.6573
3 | 2720926.2615 | 1223238.3544 | 2720930.9178 | 1223244.0312 | 2720960.8509 | 1223281.7911 | 2720965.8435 | 1223288.0863
4 | 2720942.0757 | 1223307.5299 | 2720965.8435 | 1223288.0863
5 | 2720965.8435 | 1223288.0863 | 2721022.0175 | 1223330.628
6 | 2721040.0238 | 1223148.44 | 2721045.3737 | 1223143.5116 | 2721056.8625 | 1223132.9146 | 2721066.5575 | 1223124.3495
7 | 2721040.0238 | 1223148.44 | 2721043.7726 | 1223159.1913 | 2721048.3547 | 1223199.9641
8 | 2721066.5575 | 1223124.3495 | 2721081.4207 | 1223141.4367
9 | 2721066.5575 | 1223124.3495 | 2721084.0677 | 1223108.8755
10 | 2721036.3207 | 1223242.8276 | 2721052.6431 | 1223238.1225 | 2721048.3547 | 1223199.9641
11 | 2721022.0175 | 1223330.628 | 2720912.295 | 1223433.0032
12 | 2721022.0175 | 1223330.628 | 2721061.6392 | 1223368.2741 | 2721064.5531 | 1223377.229
13 | 2721094.1882 | 1223156.1147 | 2721081.4207 | 1223141.4367
14 | 2721106.4582 | 1223089.0889 | 2721084.0677 | 1223108.8755
15 | 2720867.2822 | 1223398.7825 | 2720912.295 | 1223433.0032
16 | 2720871.1937 | 1223471.3522 | 2720912.295 | 1223433.0032
17 | 2721072.0734 | 1223481.4084 | 2721073.8192 | 1223474.6498 | 2721074.3232 | 1223468.5219 | 2721073.6039 | 1223461.0013 | 2721066.6368 | 1223383.6323 | 2721064.5531 | 1223377.229
18 | 2721099.1186 | 1223308.7786 | 2721064.5531 | 1223377.229
19 | 2720867.2822 | 1223398.7825 | 2720835.5776 | 1223360.494
20 | 2721136.833 | 1223061.9299 | 2721153.6718 | 1223046.7777
21 | 2721169.6536 | 1223032.3968 | 2721153.6718 | 1223046.7777
22 | 2721136.833 | 1223061.9299 | 2721122.9442 | 1223074.4314
23 | 2721169.6536 | 1223032.3968 | 2721323.1807 | 1222847.7895
24 | 2721117.0571 | 1223079.7304 | 2721122.9442 | 1223074.4314
25 | 2721323.1807 | 1222847.7895 | 2721331.7838 | 1222841.4709 | 2721343.3513 | 1222838.2263
26 | 2721117.0571 | 1223079.7304 | 2721106.4582 | 1223089.0889
27 | 2721174.0121 | 1223168.5256 | 2721208.9827 | 1223138.2857
28 | 2721208.9827 | 1223138.2857 | 2721469.8342 | 1223128.0791
29 | 2721118.0154 | 1223183.5758 | 2721137.0904 | 1223199.4319 | 2721174.0121 | 1223168.5256
30 | 2721362.7609 | 1222858.9048 | 2721355.9857 | 1222864.9919
31 | 2721343.3513 | 1222838.2263 | 2721362.7609 | 1222858.9048
32 | 2721118.0154 | 1223183.5758 | 2721119.8109 | 1223198.764
33 | 2721118.0154 | 1223183.5758 | 2721110.8191 | 1223175.234 | 2721105.8795 | 1223169.5553
34 | 2721105.5149 | 1223169.1361 | 2721105.8795 | 1223169.5553
35 | 2721094.1882 | 1223156.1147 | 2721105.5149 | 1223169.1361
36 | 2721119.8109 | 1223198.764 | 2721121.659 | 1223214.3964 | 2721100.142 | 1223232.2511
37 | 2721084.962 | 1223244.8474 | 2721100.142 | 1223232.2511
38 | 2721100.142 | 1223232.2511 | 2721137.0482 | 1223277.0806
39 | 2721099.1186 | 1223308.7786 | 2721101.3546 | 1223305.1434 | 2721123.7554 | 1223286.5512 | 2721135.7885 | 1223277.9003 | 2721137.0482 | 1223277.0806
40 | 2721072.0734 | 1223481.4084 | 2721122.7641 | 1223481.1909
41 | 2721072.0734 | 1223481.4084 | 2721069.3344 | 1223487.4019 | 2721066.4847 | 1223491.7474 | 2721060.6109 | 1223498.5777 | 2721026.9511 | 1223530.7297
42 | 2721026.9511 | 1223530.7297 | 2721008.6771 | 1223512.455
43 | 2720838.1293 | 1223445.416 | 2720871.1937 | 1223471.3522

## bus_geodata
| x | y | coords
0 | 2720844.5166 | 1223145.3843
1 | 2720853.4179 | 1223162.6573
2 | 2720852.6179 | 1223128.8434
3 | 2720926.2615 | 1223238.3544
4 | 2720965.8435 | 1223288.0863
5 | 2721040.0238 | 1223148.44
6 | 2721066.5575 | 1223124.3495
7 | 2721048.3547 | 1223199.9641
8 | 2720942.0757 | 1223307.5298
9 | 2721022.0175 | 1223330.628
10 | 2721081.4207 | 1223141.4367
11 | 2721084.0677 | 1223108.8755
12 | 2721036.3207 | 1223242.8276
13 | 2720912.295 | 1223433.0032
14 | 2721064.5531 | 1223377.229
15 | 2720835.5776 | 1223360.494
16 | 2720867.2822 | 1223398.7825
17 | 2721153.6718 | 1223046.7777
18 | 2721136.833 | 1223061.9299
19 | 2721169.6536 | 1223032.3968
20 | 2721122.9442 | 1223074.4314
21 | 2721323.1807 | 1222847.7895
22 | 2721117.0571 | 1223079.7304
23 | 2721208.9827 | 1223138.2857
24 | 2721174.0121 | 1223168.5256
25 | 2721469.8342 | 1223128.0791
26 | 2721355.9857 | 1222864.9919
27 | 2721362.7609 | 1222858.9048
28 | 2721343.3513 | 1222838.2263
29 | 2721106.4582 | 1223089.0889
30 | 2721118.0154 | 1223183.5758
31 | 2721105.8795 | 1223169.5553
32 | 2721105.5149 | 1223169.1361
33 | 2721094.1882 | 1223156.1147
34 | 2721119.8109 | 1223198.764
35 | 2721100.142 | 1223232.2511
36 | 2721084.962 | 1223244.8474
37 | 2721137.0482 | 1223277.0806
38 | 2721099.1186 | 1223308.7786
39 | 2721122.7641 | 1223481.1909
40 | 2721072.0734 | 1223481.4084
41 | 2721026.9511 | 1223530.7297
42 | 2720838.1293 | 1223445.416
43 | 2720871.1937 | 1223471.3522
44 | 2721008.6771 | 1223512.455
45 | 2721058.3779 | 1223298.5309

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99744 | -0.049149 | 0.00089012 | 0.00022309
1 | 0.99747 | -0.048731 | 0.0015739 | 0.00039446
2 | 0.99744 | -0.049245 | 0.00028917 | 7.2472e-05
3 | 0.99773 | -0.043631 | 0 | 0
4 | 0.99789 | -0.040561 | 0 | 0
5 | 0.99072 | -0.17878 | 0 | 0
6 | 0.99087 | -0.17583 | 0 | 0
7 | 0.99049 | -0.18309 | 0.0042156 | 0.0010565
8 | 0.99705 | -0.056778 | 0.030194 | 0.0075673
9 | 1 | 0 | -0.11191 | -0.027816
10 | 0.991 | -0.1732 | 0.0001099 | 2.7543e-05
11 | 0.99083 | -0.17662 | 0.00029896 | 7.4928e-05
12 | 0.99047 | -0.1835 | 0.00041767 | 0.00010468
13 | 0.99581 | -0.080591 | 0.022623 | 0.0056699
14 | 0.9973 | -0.051681 | 0.00072927 | 0.00018277
15 | 0.99578 | -0.081164 | 0.00030534 | 7.6525e-05
16 | 0.99579 | -0.080897 | 0 | 0
17 | 0.99071 | -0.17892 | 0.00069319 | 0.00017373
18 | 0.99073 | -0.17847 | 0 | 0
19 | 0.9907 | -0.17909 | 0 | 0
20 | 0.99075 | -0.17809 | 0.00046878 | 0.00011749
21 | 0.99061 | -0.18094 | 0.00022087 | 5.5356e-05
22 | 0.99076 | -0.17787 | 0 | 0
23 | 0.99016 | -0.18957 | 0.011783 | 0.0029531
24 | 0.99066 | -0.17976 | 0 | 0
25 | 0.99013 | -0.19026 | 0.00014506 | 3.6356e-05
26 | 0.9906 | -0.18116 | 0.00020605 | 5.1641e-05
27 | 0.9906 | -0.18112 | 0 | 0
28 | 0.9906 | -0.18102 | 0 | 0
29 | 0.99078 | -0.17747 | 0 | 0
30 | 0.99146 | -0.16433 | 0 | 0
31 | 0.99123 | -0.16874 | 0.00602 | 0.0015088
32 | 0.99123 | -0.16882 | 0.00059886 | 0.00015009
33 | 0.99112 | -0.1709 | 0.00015868 | 3.9769e-05
34 | 0.99181 | -0.15745 | 0.00047756 | 0.00011969
35 | 0.99285 | -0.13746 | 0.00013641 | 3.4187e-05
36 | 0.99284 | -0.13753 | 0.00020514 | 5.1413e-05
37 | 0.99424 | -0.1106 | 0.00032402 | 8.1208e-05
38 | 0.99544 | -0.087387 | 0 | 0
39 | 0.99536 | -0.089086 | 0.0028418 | 0.00071221
40 | 0.99549 | -0.086552 | 0 | 0
41 | 0.9945 | -0.10556 | 0 | 0
42 | 0.99511 | -0.093976 | 0.0077451 | 0.0019411
43 | 0.99541 | -0.088248 | 0 | 0
44 | 0.99413 | -0.11286 | 0.016051 | 0.0040227
45 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0011793 | -0.00029531 | 0.0011793 | 0.00029506 | 2.3445e-08 | -2.4869e-07 | 0.0017592 | 0.0017591 | 0.0017592 | 0.99744 | -0.049149 | 0.99747 | -0.048731 | 0.4833
1 | 0.00028917 | 7.2225e-05 | -0.00028917 | -7.2472e-05 | 1.3228e-09 | -2.4661e-07 | 0.0004313 | 0.00043139 | 0.00043139 | 0.99744 | -0.049149 | 0.99744 | -0.049245 | 0.11851
2 | -0.0027532 | -0.00068952 | 0.0027539 | 0.00068857 | 6.6815e-07 | -9.5165e-07 | 0.0041071 | 0.0041066 | 0.0041071 | 0.99747 | -0.048731 | 0.99773 | -0.043631 | 1.1283
3 | -0.0027539 | -0.00068857 | 0.0027543 | 0.000688 | 4.0194e-07 | -5.73e-07 | 0.0041066 | 0.0041063 | 0.0041066 | 0.99773 | -0.043631 | 0.99789 | -0.040561 | 1.1282
4 | 0.030217 | 0.0075819 | -0.030194 | -0.0075673 | 2.3345e-05 | 1.4541e-05 | 0.045062 | 0.045062 | 0.045062 | 0.99789 | -0.040561 | 0.99705 | -0.056778 | 12.3797
5 | -0.032972 | -0.0082699 | 0.033036 | 0.0083098 | 6.3881e-05 | 3.9961e-05 | 0.049168 | 0.049168 | 0.049168 | 0.99789 | -0.040561 | 1 | 0 | 13.5078
6 | -0.0046342 | -0.0011604 | 0.0046349 | 0.0011604 | 6.5011e-07 | -4.4836e-08 | 0.0069601 | 0.0069599 | 0.0069601 | 0.99072 | -0.17878 | 0.99087 | -0.17583 | 1.9121
7 | 0.0046342 | 0.0011604 | -0.0046333 | -0.0011605 | 9.5222e-07 | -6.5378e-08 | 0.0069601 | 0.0069603 | 0.0069603 | 0.99072 | -0.17878 | 0.99049 | -0.18309 | 1.9122
8 | -0.006523 | -0.0016281 | 0.0065238 | 0.0016283 | 8.1453e-07 | 2.2955e-07 | 0.0097934 | 0.0097933 | 0.0097934 | 0.99087 | -0.17583 | 0.991 | -0.1732 | 2.6905
9 | 0.0018881 | 0.00046767 | -0.0018881 | -0.00046793 | 7.0358e-08 | -2.5595e-07 | 0.0028335 | 0.0028336 | 0.0028336 | 0.99087 | -0.17583 | 0.99083 | -0.17662 | 0.77846
10 | 0.00041768 | 0.00010397 | -0.00041767 | -0.00010468 | 8.1742e-09 | -7.0762e-07 | 0.00062722 | 0.00062747 | 0.00062747 | 0.99049 | -0.18309 | 0.99047 | -0.1835 | 0.17238
11 | 0.030797 | 0.0077617 | -0.030678 | -0.007688 | 0.00011826 | 7.3725e-05 | 0.045841 | 0.045842 | 0.045842 | 1 | 0 | 0.99581 | -0.080591 | 12.594
12 | 0.046431 | 0.011744 | -0.046316 | -0.011672 | 0.00011482 | 7.2645e-05 | 0.069128 | 0.069129 | 0.069129 | 1 | 0 | 0.9973 | -0.051681 | 18.9914
13 | -0.0066337 | -0.0016558 | 0.0066344 | 0.001656 | 7.2344e-07 | 2.1233e-07 | 0.0099583 | 0.0099582 | 0.0099583 | 0.991 | -0.1732 | 0.99112 | -0.1709 | 2.7358
14 | 0.0015891 | 0.000393 | -0.001589 | -0.00039334 | 6.3722e-08 | -3.4406e-07 | 0.0023846 | 0.0023848 | 0.0023848 | 0.99083 | -0.17662 | 0.99078 | -0.17747 | 0.65515
15 | 0.00030535 | 7.5148e-05 | -0.00030534 | -7.5881e-05 | 4.4075e-09 | -7.3278e-07 | 0.00045579 | 0.00045605 | 0.00045605 | 0.99581 | -0.080591 | 0.99579 | -0.080897 | 0.12529
16 | 0.0077501 | 0.001943 | -0.0077472 | -0.0019419 | 2.8273e-06 | 1.0785e-06 | 0.011581 | 0.011581 | 0.011581 | 0.99581 | -0.080591 | 0.99541 | -0.088248 | 3.1817
17 | 0.018944 | 0.0047649 | -0.018913 | -0.0047461 | 3.1503e-05 | 1.8793e-05 | 0.028272 | 0.028272 | 0.028272 | 0.9973 | -0.051681 | 0.99549 | -0.086552 | 7.7671
18 | 0.026643 | 0.0067239 | -0.026597 | -0.0066958 | 4.5479e-05 | 2.8108e-05 | 0.039769 | 0.039769 | 0.039769 | 0.9973 | -0.051681 | 0.99544 | -0.087387 | 10.9255
19 | -0.00030534 | -7.6525e-05 | 0.00030534 | 7.5881e-05 | 3.879e-09 | -6.4421e-07 | 0.00045627 | 0.00045605 | 0.00045627 | 0.99578 | -0.081164 | 0.99579 | -0.080897 | 0.12535
20 | -0.0011202 | -0.00027661 | 0.0011202 | 0.00027634 | 2.4002e-08 | -2.7633e-07 | 0.001681 | 0.0016809 | 0.001681 | 0.99071 | -0.17892 | 0.99073 | -0.17847 | 0.46181
21 | 0.00042697 | 0.00010288 | -0.00042696 | -0.00010316 | 3.3013e-09 | -2.7473e-07 | 0.00063986 | 0.00063995 | 0.00063995 | 0.99071 | -0.17892 | 0.9907 | -0.17909 | 0.17581
22 | -0.0011202 | -0.00027634 | 0.0011202 | 0.00027611 | 1.9798e-08 | -2.2796e-07 | 0.0016809 | 0.0016808 | 0.0016809 | 0.99073 | -0.17847 | 0.99075 | -0.17809 | 0.46178
23 | 0.00042696 | 0.00010316 | -0.00042693 | -0.00010623 | 3.6936e-08 | -3.0678e-06 | 0.00063995 | 0.00064102 | 0.00064102 | 0.9907 | -0.17909 | 0.99061 | -0.18094 | 0.17611
24 | -0.001589 | -0.0003936 | 0.001589 | 0.0003935 | 1.6893e-08 | -9.1191e-08 | 0.0023849 | 0.0023848 | 0.0023849 | 0.99075 | -0.17809 | 0.99076 | -0.17787 | 0.65518
25 | 0.00020605 | 5.0869e-05 | -0.00020605 | -5.116e-05 | 8.1208e-10 | -2.9091e-07 | 0.00030924 | 0.00030935 | 0.00030935 | 0.99061 | -0.18094 | 0.9906 | -0.18102 | 0.084985
26 | -0.001589 | -0.0003935 | 0.001589 | 0.00039334 | 3.011e-08 | -1.6255e-07 | 0.0023848 | 0.0023848 | 0.0023848 | 0.99076 | -0.17787 | 0.99078 | -0.17747 | 0.65517
27 | -0.011928 | -0.0029861 | 0.011934 | 0.0029891 | 5.5702e-06 | 2.9699e-06 | 0.017925 | 0.017924 | 0.017925 | 0.99016 | -0.18957 | 0.99066 | -0.17976 | 4.9243
28 | 0.00014507 | 3.3001e-05 | -0.00014506 | -3.6356e-05 | 4.6277e-09 | -3.3547e-06 | 0.00021687 | 0.00021801 | 0.00021801 | 0.99016 | -0.18957 | 0.99013 | -0.19026 | 0.059892
29 | -0.011934 | -0.0029891 | 0.011943 | 0.0029938 | 8.7751e-06 | 4.6775e-06 | 0.017924 | 0.017924 | 0.017924 | 0.99066 | -0.17976 | 0.99146 | -0.16433 | 4.9243
30 | -0.00020605 | -5.1641e-05 | 0.00020605 | 5.1524e-05 | 3.2717e-10 | -1.1705e-07 | 0.00030952 | 0.00030948 | 0.00030952 | 0.9906 | -0.18116 | 0.9906 | -0.18112 | 0.085032
31 | -0.00020605 | -5.1524e-05 | 0.00020605 | 5.116e-05 | 1.0168e-09 | -3.6398e-07 | 0.00030948 | 0.00030935 | 0.00030948 | 0.9906 | -0.18112 | 0.9906 | -0.18102 | 0.085021
32 | -0.025358 | -0.0063502 | 0.025366 | 0.0063553 | 8.3062e-06 | 5.1187e-06 | 0.038056 | 0.038056 | 0.038056 | 0.99146 | -0.16433 | 0.99181 | -0.15745 | 10.4551
33 | 0.013415 | 0.0033564 | -0.013413 | -0.0033549 | 2.8185e-06 | 1.5647e-06 | 0.020132 | 0.020132 | 0.020132 | 0.99146 | -0.16433 | 0.99123 | -0.16874 | 5.5309
34 | 0.0073927 | 0.0018461 | -0.0073927 | -0.0018461 | 2.5647e-08 | 9.2528e-09 | 0.011095 | 0.011095 | 0.011095 | 0.99123 | -0.16874 | 0.99123 | -0.16882 | 3.0482
35 | 0.0067938 | 0.001696 | -0.0067931 | -0.0016958 | 6.7286e-07 | 2.0819e-07 | 0.010196 | 0.010196 | 0.010196 | 0.99123 | -0.16882 | 0.99112 | -0.1709 | 2.8012
36 | -0.025844 | -0.006475 | 0.025869 | 0.0064902 | 2.4637e-05 | 1.5203e-05 | 0.038773 | 0.038773 | 0.038773 | 0.99181 | -0.15745 | 0.99285 | -0.13746 | 10.6519
37 | 0.00020514 | 5.1159e-05 | -0.00020514 | -5.1413e-05 | 6.9904e-10 | -2.5465e-07 | 0.00030737 | 0.00030746 | 0.00030746 | 0.99285 | -0.13746 | 0.99284 | -0.13753 | 0.084466
38 | -0.02621 | -0.0065756 | 0.026244 | 0.0065963 | 3.3605e-05 | 2.0755e-05 | 0.039284 | 0.039284 | 0.039284 | 0.99285 | -0.13746 | 0.99424 | -0.1106 | 10.7924
39 | -0.026568 | -0.0066775 | 0.026597 | 0.0066958 | 2.9478e-05 | 1.822e-05 | 0.039769 | 0.039769 | 0.039769 | 0.99424 | -0.1106 | 0.99544 | -0.087387 | 10.9256
40 | -0.0028418 | -0.00071221 | 0.0028421 | 0.00071177 | 3.4306e-07 | -4.394e-07 | 0.0042483 | 0.0042481 | 0.0042483 | 0.99536 | -0.089086 | 0.99549 | -0.086552 | 1.1671
41 | 0.016071 | 0.0040344 | -0.016056 | -0.0040259 | 1.4559e-05 | 8.4439e-06 | 0.024024 | 0.024025 | 0.024025 | 0.99549 | -0.086552 | 0.9945 | -0.10556 | 6.6002
42 | 0.016056 | 0.0040259 | -0.016051 | -0.0040227 | 5.5858e-06 | 3.2402e-06 | 0.024025 | 0.024025 | 0.024025 | 0.9945 | -0.10556 | 0.99413 | -0.11286 | 6.6002
43 | -0.0077451 | -0.0019411 | 0.0077472 | 0.0019419 | 2.1137e-06 | 8.0664e-07 | 0.011581 | 0.011581 | 0.011581 | 0.99511 | -0.093976 | 0.99541 | -0.088248 | 3.1817

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.11191 | 0.027816

## res_load
| p_mw | q_mvar
0 | 0.00089012 | 0.00022309
1 | 0.0015739 | 0.00039446
2 | 0.00028917 | 7.2472e-05
3 | 0.0042156 | 0.0010565
4 | 0.030194 | 0.0075673
5 | 0.0001099 | 2.7543e-05
6 | 0.00029896 | 7.4928e-05
7 | 0.00041767 | 0.00010468
8 | 0.022623 | 0.0056699
9 | 0.00072927 | 0.00018277
10 | 0.00030534 | 7.6525e-05
11 | 0.00069319 | 0.00017373
12 | 0.00046878 | 0.00011749
13 | 0.00022087 | 5.5356e-05
14 | 0.011783 | 0.0029531
15 | 0.00014506 | 3.6356e-05
16 | 0.00020605 | 5.1641e-05
17 | 0.00602 | 0.0015088
18 | 0.00059886 | 0.00015009
19 | 0.00015868 | 3.9769e-05
20 | 0.00047756 | 0.00011969
21 | 0.00013641 | 3.4187e-05
22 | 0.00020514 | 5.1413e-05
23 | 0.00032402 | 8.1208e-05
24 | 0.0028418 | 0.00071221
25 | 0.0077451 | 0.0019411
26 | 0.016051 | 0.0040227

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1