## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1630-145_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1630-145_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1630-145_0_4_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_1630-145_0_4_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_1630-145_0_4_node_7 | 0.4 | n |  | TRUE
5 | bus_LV_1630-145_0_4_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_1630-145_0_4_node_30 | 0.4 | n |  | TRUE
7 | bus_LV_1630-145_0_4_node_17 | 0.4 | n |  | TRUE
8 | bus_LV_1630-145_0_4_node_9 | 0.4 | n |  | TRUE
9 | bus_LV_1630-145_0_4_node_10 | 0.4 | n |  | TRUE
10 | bus_LV_1630-145_0_4_node_18 | 0.4 | n |  | TRUE
11 | bus_LV_1630-145_0_4_node_20 | 0.4 | n |  | TRUE
12 | bus_LV_1630-145_0_4_node_15 | 0.4 | n |  | TRUE
13 | bus_LV_1630-145_0_4_node_12 | 0.4 | n |  | TRUE
14 | bus_LV_1630-145_0_4_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_1630-145_0_4_node_32 | 0.4 | n |  | TRUE
16 | bus_LV_1630-145_0_4_node_19 | 0.4 | n |  | TRUE
17 | bus_LV_1630-145_0_4_node_14 | 0.4 | n |  | TRUE
18 | bus_LV_1630-145_0_4_node_24 | 0.4 | n |  | TRUE
19 | bus_LV_1630-145_0_4_node_16 | 0.4 | n |  | TRUE
20 | bus_LV_1630-145_0_4_node_28 | 0.4 | n |  | TRUE
21 | bus_LV_1630-145_0_4_node_23 | 0.4 | n |  | TRUE
22 | bus_LV_1630-145_0_4_node_29 | 0.4 | n |  | TRUE
23 | bus_LV_1630-145_0_4_node_22 | 0.4 | n |  | TRUE
24 | bus_LV_1630-145_0_4_node_26 | 0.4 | n |  | TRUE
25 | bus_LV_1630-145_0_4_node_27 | 0.4 | n |  | TRUE
26 | bus_LV_1630-145_0_4_node_21 | 0.4 | n |  | TRUE
27 | bus_LV_1630-145_0_4_node_25 | 0.4 | n |  | TRUE
28 | bus_MV_20_1_node_131 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1630-145_0_4_load_0 | 0 | 0.032377 | 0.0081145 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1630-145_0_4_load_7 | 4 | 0.041482 | 0.010396 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1630-145_0_4_load_6 | 5 | 0.052718 | 0.013212 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1630-145_0_4_load_30 | 6 | 0.0050453 | 0.0012645 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1630-145_0_4_load_17 | 7 | 0.021088 | 0.0052851 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1630-145_0_4_load_18 | 10 | 0.0067362 | 0.0016883 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1630-145_0_4_load_20 | 11 | 0.022686 | 0.0056857 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1630-145_0_4_load_12 | 13 | 0.0069626 | 0.001745 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1630-145_0_4_load_32 | 15 | 0.0041564 | 0.0010417 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1630-145_0_4_load_19 | 16 | 0.021525 | 0.0053946 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1630-145_0_4_load_24 | 18 | 0.00067553 | 0.0001693 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1630-145_0_4_load_28 | 20 | 0.0044157 | 0.0011067 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1630-145_0_4_load_23 | 21 | 0.0023084 | 0.00057854 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1630-145_0_4_load_29 | 22 | 0.00098331 | 0.00024644 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1630-145_0_4_load_27 | 25 | 0.071178 | 0.017839 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1630-145_0_4_load_21 | 26 | 0.0043732 | 0.001096 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 9 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1630-145_0_4_line_0 |  | 0 | 1 | 0.030465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1630-145_0_4_line_1 |  | 1 | 2 | 0.043727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1630-145_0_4_line_2 |  | 1 | 3 | 0.017331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1630-145_0_4_line_3 |  | 2 | 4 | 0.06975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1630-145_0_4_line_4 |  | 2 | 5 | 0.011123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1630-145_0_4_line_5 |  | 3 | 6 | 0.026225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1630-145_0_4_line_6 |  | 4 | 7 | 0.001938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1630-145_0_4_line_7 |  | 7 | 10 | 0.017895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_1630-145_0_4_line_8 |  | 8 | 9 | 0.036018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
9 | LV_1630-145_0_4_line_9 |  | 8 | 10 | 0.029753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
10 | LV_1630-145_0_4_line_10 |  | 8 | 11 | 0.02015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1630-145_0_4_line_11 |  | 9 | 12 | 0.13304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1630-145_0_4_line_12 |  | 9 | 13 | 0.011918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1630-145_0_4_line_13 |  | 11 | 16 | 0.029856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1630-145_0_4_line_14 |  | 12 | 19 | 0.056637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1630-145_0_4_line_15 |  | 12 | 14 | 0.033084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1630-145_0_4_line_16 |  | 12 | 17 | 0.039249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1630-145_0_4_line_17 |  | 14 | 15 | 0.012793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1630-145_0_4_line_18 |  | 17 | 18 | 0.036496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1630-145_0_4_line_19 |  | 18 | 21 | 0.007066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1630-145_0_4_line_20 |  | 19 | 20 | 0.019214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1630-145_0_4_line_21 |  | 20 | 25 | 0.008219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1630-145_0_4_line_22 |  | 21 | 27 | 0.032626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1630-145_0_4_line_23 |  | 22 | 23 | 0.10984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1630-145_0_4_line_24 |  | 22 | 24 | 0.012854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1630-145_0_4_line_25 |  | 23 | 26 | 0.017917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1630-145_0_4_line_26 |  | 24 | 27 | 0.035371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1630-145_0_4_trafo_10 | 0.63 MVA 20/0.4 kV | 28 | 9 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2720754.7303 | 1223629.3683 | 2720738.744 | 1223618.3243 | 2720730.9341 | 1223610.5288
1 | 2720754.7303 | 1223629.3683 | 2720721.2288 | 1223657.5777
2 | 2720754.7303 | 1223629.3683 | 2720767.9379 | 1223618.1052
3 | 2720721.2288 | 1223657.5777 | 2720693.0949 | 1223623.8808 | 2720673.0239 | 1223640.1752
4 | 2720721.2288 | 1223657.5777 | 2720728.6693 | 1223665.8461
5 | 2720767.9379 | 1223618.1052 | 2720775.9707 | 1223631.9456 | 2720784.8006 | 1223637.1622
6 | 2720673.0239 | 1223640.1752 | 2720671.5193 | 1223641.3967
7 | 2720657.6261 | 1223652.6757 | 2720671.5193 | 1223641.3967
8 | 2720651.848 | 1223678.6877 | 2720657.2942 | 1223686.9268 | 2720667.7087 | 1223702.6502 | 2720674.7646 | 1223704.4502
9 | 2720651.848 | 1223678.6877 | 2720649.9585 | 1223658.9006 | 2720657.6261 | 1223652.6757
10 | 2720651.848 | 1223678.6877 | 2720632.3218 | 1223683.6641
11 | 2720674.7646 | 1223704.4502 | 2720681.3198 | 1223704.7611 | 2720690.6721 | 1223704.039 | 2720702.3234 | 1223702.9188 | 2720710.7675 | 1223702.1005 | 2720709.0512 | 1223730.6102 | 2720700.2791 | 1223783.485 | 2720697.8675 | 1223798.0364
12 | 2720674.7646 | 1223704.4502 | 2720673.9335 | 1223716.3395
13 | 2720632.3218 | 1223683.6641 | 2720619.4344 | 1223686.9485 | 2720606.553 | 1223697.3501
14 | 2720697.8675 | 1223798.0364 | 2720700.2791 | 1223783.485 | 2720695.854 | 1223783.9956 | 2720702.2081 | 1223747.1067
15 | 2720665.2917 | 1223792.2604 | 2720683.8995 | 1223795.5846 | 2720697.8675 | 1223798.0364
16 | 2720689.6417 | 1223817.2625 | 2720691.9061 | 1223805.855 | 2720690.3086 | 1223801.219 | 2720683.8995 | 1223795.5846 | 2720697.8675 | 1223798.0364
17 | 2720665.2917 | 1223792.2604 | 2720667.5043 | 1223779.662
18 | 2720689.6417 | 1223817.2625 | 2720687.5676 | 1223815.1855 | 2720684.6565 | 1223813.981 | 2720667.6736 | 1223809.8335 | 2720665.9331 | 1223810.3765 | 2720664.6798 | 1223811.2073 | 2720663.4514 | 1223812.6835 | 2720661.6734 | 1223820.1556
19 | 2720660.0377 | 1223827.0297 | 2720661.6734 | 1223820.1556
20 | 2720702.2081 | 1223747.1067 | 2720683.2742 | 1223743.8373
21 | 2720675.1751 | 1223742.4389 | 2720683.2742 | 1223743.8373
22 | 2720687.1235 | 1223835.2033 | 2720681.9882 | 1223836.7003 | 2720679.4189 | 1223836.9707 | 2720661.8503 | 1223832.5333 | 2720660.3296 | 1223831.5906 | 2720659.5936 | 1223830.1079 | 2720659.6121 | 1223828.8184 | 2720660.0377 | 1223827.0297
23 | 2720726.2784 | 1223835.1458 | 2720835.1533 | 1223849.6618
24 | 2720717.5422 | 1223844.4717 | 2720721.3445 | 1223841.3797 | 2720724.9147 | 1223837.0154 | 2720726.2784 | 1223835.1458
25 | 2720835.1533 | 1223849.6618 | 2720847.4013 | 1223841.5596 | 2720849.4816 | 1223839.0871
26 | 2720687.1235 | 1223835.2033 | 2720688.4926 | 1223838.756 | 2720690.4701 | 1223841.4871 | 2720694.8392 | 1223843.733 | 2720703.5104 | 1223845.5436 | 2720707.9842 | 1223846.3683 | 2720713.0933 | 1223846.1606 | 2720717.5422 | 1223844.4717

## bus_geodata
| x | y | coords
0 | 2720730.9341 | 1223610.5288
1 | 2720754.7303 | 1223629.3683
2 | 2720721.2288 | 1223657.5777
3 | 2720767.9379 | 1223618.1052
4 | 2720673.0239 | 1223640.1752
5 | 2720728.6693 | 1223665.8461
6 | 2720784.8006 | 1223637.1622
7 | 2720671.5193 | 1223641.3967
8 | 2720651.848 | 1223678.6877
9 | 2720674.7646 | 1223704.4502
10 | 2720657.6261 | 1223652.6757
11 | 2720632.3218 | 1223683.6641
12 | 2720697.8675 | 1223798.0364
13 | 2720673.9335 | 1223716.3395
14 | 2720665.2917 | 1223792.2604
15 | 2720667.5043 | 1223779.662
16 | 2720606.553 | 1223697.3501
17 | 2720689.6417 | 1223817.2625
18 | 2720661.6734 | 1223820.1556
19 | 2720702.2081 | 1223747.1067
20 | 2720683.2742 | 1223743.8373
21 | 2720660.0377 | 1223827.0297
22 | 2720726.2784 | 1223835.1458
23 | 2720835.1533 | 1223849.6618
24 | 2720717.5422 | 1223844.4717
25 | 2720675.1751 | 1223742.4389
26 | 2720849.4816 | 1223839.0871
27 | 2720687.1235 | 1223835.2033
28 | 2720667.7087 | 1223702.6502

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98478 | -0.2933 | 0.032377 | 0.0081145
1 | 0.98569 | -0.27559 | 0 | 0
2 | 0.98719 | -0.24628 | 0 | 0
3 | 0.98561 | -0.27716 | 0 | 0
4 | 0.99298 | -0.13448 | 0.041482 | 0.010396
5 | 0.98665 | -0.25677 | 0.052718 | 0.013212
6 | 0.98548 | -0.27953 | 0.0050453 | 0.0012645
7 | 0.99321 | -0.12997 | 0.021088 | 0.0052851
8 | 0.99664 | -0.064145 | 0 | 0
9 | 1 | 0 | -0.30346 | -0.076834
10 | 0.99446 | -0.10586 | 0.0067362 | 0.0016883
11 | 0.99583 | -0.07979 | 0.022686 | 0.0056857
12 | 0.98919 | -0.20654 | 0 | 0
13 | 0.99992 | -0.0014465 | 0.0069626 | 0.001745
14 | 0.98907 | -0.20899 | 0 | 0
15 | 0.98902 | -0.20993 | 0.0041564 | 0.0010417
16 | 0.99524 | -0.091092 | 0.021525 | 0.0053946
17 | 0.98889 | -0.21237 | 0 | 0
18 | 0.98861 | -0.21781 | 0.00067553 | 0.0001693
19 | 0.98524 | -0.2831 | 0 | 0
20 | 0.9839 | -0.30922 | 0.0044157 | 0.0011067
21 | 0.98856 | -0.21877 | 0.0023084 | 0.00057854
22 | 0.98816 | -0.22651 | 0.00098331 | 0.00024644
23 | 0.98772 | -0.23509 | 0 | 0
24 | 0.98823 | -0.22528 | 0 | 0
25 | 0.98336 | -0.31976 | 0.071178 | 0.017839
26 | 0.98765 | -0.23649 | 0.0043732 | 0.001096
27 | 0.9884 | -0.22189 | 0 | 0
28 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.032377 | -0.0081145 | 0.032405 | 0.0081316 | 2.7343e-05 | 1.7112e-05 | 0.048922 | 0.048922 | 0.048922 | 0.98478 | -0.2933 | 0.98569 | -0.27559 | 13.4402
1 | -0.037451 | -0.0093961 | 0.037503 | 0.0094291 | 5.242e-05 | 3.299e-05 | 0.05654 | 0.05654 | 0.05654 | 0.98569 | -0.27559 | 0.98719 | -0.24628 | 15.533
2 | 0.0050463 | 0.0012645 | -0.0050459 | -0.0012645 | 3.7716e-07 | 2.0493e-08 | 0.0076179 | 0.007618 | 0.007618 | 0.98569 | -0.27559 | 0.98561 | -0.27716 | 2.0928
3 | -0.090247 | -0.022658 | 0.090731 | 0.022967 | 0.00048411 | 0.00030893 | 0.13605 | 0.13605 | 0.13605 | 0.98719 | -0.24628 | 0.99298 | -0.13448 | 37.3752
4 | 0.052744 | 0.013229 | -0.052718 | -0.013212 | 2.6367e-05 | 1.6733e-05 | 0.079506 | 0.079506 | 0.079506 | 0.98719 | -0.24628 | 0.98665 | -0.25677 | 21.8423
5 | 0.0050459 | 0.0012645 | -0.0050453 | -0.0012645 | 5.7073e-07 | 3.1088e-08 | 0.007618 | 0.0076181 | 0.0076181 | 0.98561 | -0.27716 | 0.98548 | -0.27953 | 2.0929
6 | -0.13221 | -0.033363 | 0.13224 | 0.033382 | 2.8551e-05 | 1.8248e-05 | 0.19821 | 0.19821 | 0.19821 | 0.99298 | -0.13448 | 0.99321 | -0.12997 | 54.4527
7 | -0.15333 | -0.038667 | 0.15351 | 0.03878 | 0.00017719 | 0.00011294 | 0.2298 | 0.2298 | 0.2298 | 0.99321 | -0.12997 | 0.99446 | -0.10586 | 31.5661
8 | -0.20482 | -0.051781 | 0.20545 | 0.052185 | 0.0006322 | 0.00040366 | 0.30596 | 0.30596 | 0.30596 | 0.99664 | -0.064145 | 1 | 0 | 42.0276
9 | 0.16056 | 0.040673 | -0.16024 | -0.040468 | 0.00032102 | 0.00020468 | 0.23988 | 0.23988 | 0.23988 | 0.99664 | -0.064145 | 0.99446 | -0.10586 | 32.9506
10 | 0.044256 | 0.011108 | -0.044223 | -0.011087 | 3.2996e-05 | 2.0855e-05 | 0.066081 | 0.066081 | 0.066081 | 0.99664 | -0.064145 | 0.99583 | -0.07979 | 18.1542
11 | 0.089393 | 0.022904 | -0.088508 | -0.022339 | 0.00088511 | 0.00056475 | 0.1332 | 0.1332 | 0.1332 | 1 | 0 | 0.98919 | -0.20654 | 36.5925
12 | 0.0069631 | 0.0017451 | -0.0069626 | -0.001745 | 4.7981e-07 | 1.5073e-07 | 0.010361 | 0.010361 | 0.010361 | 1 | 0 | 0.99992 | -0.0014465 | 2.8465
13 | 0.021536 | 0.0054016 | -0.021525 | -0.0053946 | 1.1596e-05 | 7.033e-06 | 0.032182 | 0.032182 | 0.032182 | 0.99583 | -0.07979 | 0.99524 | -0.091092 | 8.8413
14 | 0.076002 | 0.019206 | -0.075724 | -0.019029 | 0.00027788 | 0.00017712 | 0.11438 | 0.11438 | 0.11438 | 0.98919 | -0.20654 | 0.98524 | -0.2831 | 31.4243
15 | 0.004157 | 0.0010415 | -0.0041565 | -0.0010416 | 4.8514e-07 | -1.1416e-07 | 0.0062532 | 0.0062534 | 0.0062534 | 0.98919 | -0.20654 | 0.98907 | -0.20899 | 1.718
16 | 0.0083493 | 0.0020923 | -0.008347 | -0.0020913 | 2.3217e-06 | 9.8222e-07 | 0.01256 | 0.01256 | 0.01256 | 0.98919 | -0.20654 | 0.98889 | -0.21237 | 3.4505
17 | 0.0041565 | 0.0010416 | -0.0041564 | -0.0010417 | 1.876e-07 | -4.4112e-08 | 0.0062534 | 0.0062534 | 0.0062534 | 0.98907 | -0.20899 | 0.98902 | -0.20993 | 1.718
18 | 0.008347 | 0.0020913 | -0.0083448 | -0.0020904 | 2.1589e-06 | 9.1364e-07 | 0.01256 | 0.01256 | 0.01256 | 0.98889 | -0.21237 | 0.98861 | -0.21781 | 3.4505
19 | 0.0076693 | 0.0019211 | -0.007669 | -0.0019209 | 3.5307e-07 | 1.3536e-07 | 0.011543 | 0.011543 | 0.011543 | 0.98861 | -0.21781 | 0.98856 | -0.21877 | 3.1712
20 | 0.075724 | 0.019029 | -0.07563 | -0.018968 | 9.4272e-05 | 6.009e-05 | 0.11438 | 0.11438 | 0.11438 | 0.98524 | -0.2831 | 0.9839 | -0.30922 | 31.4243
21 | 0.071214 | 0.017862 | -0.071178 | -0.017839 | 3.5755e-05 | 2.2779e-05 | 0.10771 | 0.10771 | 0.10771 | 0.9839 | -0.30922 | 0.98336 | -0.31976 | 29.5896
22 | 0.0053606 | 0.0013424 | -0.0053598 | -0.0013423 | 7.965e-07 | 9.1537e-08 | 0.0080685 | 0.0080687 | 0.0080687 | 0.98856 | -0.21877 | 0.9884 | -0.22189 | 2.2167
23 | 0.0043753 | 0.0010957 | -0.0043735 | -0.001096 | 1.7879e-06 | -2.622e-07 | 0.0065882 | 0.0065887 | 0.0065887 | 0.98816 | -0.22651 | 0.98772 | -0.23509 | 1.8101
24 | -0.0053586 | -0.0013422 | 0.0053589 | 0.0013422 | 3.1382e-07 | 3.6171e-08 | 0.0080689 | 0.0080688 | 0.0080689 | 0.98816 | -0.22651 | 0.98823 | -0.22528 | 2.2167
25 | 0.0043735 | 0.001096 | -0.0043732 | -0.001096 | 2.9167e-07 | -4.2633e-08 | 0.0065887 | 0.0065888 | 0.0065888 | 0.98772 | -0.23509 | 0.98765 | -0.23649 | 1.8101
26 | -0.0053589 | -0.0013422 | 0.0053598 | 0.0013423 | 8.6356e-07 | 9.9414e-08 | 0.0080688 | 0.0080687 | 0.0080688 | 0.98823 | -0.22528 | 0.9884 | -0.22189 | 2.2167

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.30346 | 0.076834

## res_load
| p_mw | q_mvar
0 | 0.032377 | 0.0081145
1 | 0.041482 | 0.010396
2 | 0.052718 | 0.013212
3 | 0.0050453 | 0.0012645
4 | 0.021088 | 0.0052851
5 | 0.0067362 | 0.0016883
6 | 0.022686 | 0.0056857
7 | 0.0069626 | 0.001745
8 | 0.0041564 | 0.0010417
9 | 0.021525 | 0.0053946
10 | 0.00067553 | 0.0001693
11 | 0.0044157 | 0.0011067
12 | 0.0023084 | 0.00057854
13 | 0.00098331 | 0.00024644
14 | 0.071178 | 0.017839
15 | 0.0043732 | 0.001096

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1