## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1630-146_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1630-146_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1630-146_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1630-146_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1630-146_0_3_node_56 | 0.4 | n |  | TRUE
5 | bus_LV_1630-146_0_3_node_7 | 0.4 | n |  | TRUE
6 | bus_LV_1630-146_0_3_node_29 | 0.4 | n |  | TRUE
7 | bus_LV_1630-146_0_3_node_12 | 0.4 | n |  | TRUE
8 | bus_LV_1630-146_0_3_node_28 | 0.4 | n |  | TRUE
9 | bus_LV_1630-146_0_3_node_10 | 0.4 | n |  | TRUE
10 | bus_LV_1630-146_0_3_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_1630-146_0_3_node_55 | 0.4 | n |  | TRUE
12 | bus_LV_1630-146_0_3_node_58 | 0.4 | n |  | TRUE
13 | bus_LV_1630-146_0_3_node_53 | 0.4 | n |  | TRUE
14 | bus_LV_1630-146_0_3_node_54 | 0.4 | n |  | TRUE
15 | bus_LV_1630-146_0_3_node_52 | 0.4 | n |  | TRUE
16 | bus_LV_1630-146_0_3_node_5 | 0.4 | n |  | TRUE
17 | bus_LV_1630-146_0_3_node_8 | 0.4 | n |  | TRUE
18 | bus_LV_1630-146_0_3_node_9 | 0.4 | n |  | TRUE
19 | bus_LV_1630-146_0_3_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_1630-146_0_3_node_27 | 0.4 | n |  | TRUE
21 | bus_LV_1630-146_0_3_node_32 | 0.4 | n |  | TRUE
22 | bus_LV_1630-146_0_3_node_25 | 0.4 | n |  | TRUE
23 | bus_LV_1630-146_0_3_node_24 | 0.4 | n |  | TRUE
24 | bus_LV_1630-146_0_3_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_1630-146_0_3_node_21 | 0.4 | n |  | TRUE
26 | bus_LV_1630-146_0_3_node_23 | 0.4 | n |  | TRUE
27 | bus_LV_1630-146_0_3_node_20 | 0.4 | n |  | TRUE
28 | bus_LV_1630-146_0_3_node_57 | 0.4 | n |  | TRUE
29 | bus_LV_1630-146_0_3_node_22 | 0.4 | n |  | TRUE
30 | bus_LV_1630-146_0_3_node_14 | 0.4 | n |  | TRUE
31 | bus_LV_1630-146_0_3_node_15 | 0.4 | n |  | TRUE
32 | bus_LV_1630-146_0_3_node_17 | 0.4 | n |  | TRUE
33 | bus_LV_1630-146_0_3_node_26 | 0.4 | n |  | TRUE
34 | bus_LV_1630-146_0_3_node_19 | 0.4 | n |  | TRUE
35 | bus_LV_1630-146_0_3_node_33 | 0.4 | n |  | TRUE
36 | bus_LV_1630-146_0_3_node_30 | 0.4 | n |  | TRUE
37 | bus_LV_1630-146_0_3_node_31 | 0.4 | n |  | TRUE
38 | bus_LV_1630-146_0_3_node_42 | 0.4 | n |  | TRUE
39 | bus_LV_1630-146_0_3_node_40 | 0.4 | n |  | TRUE
40 | bus_LV_1630-146_0_3_node_41 | 0.4 | n |  | TRUE
41 | bus_LV_1630-146_0_3_node_34 | 0.4 | n |  | TRUE
42 | bus_LV_1630-146_0_3_node_35 | 0.4 | n |  | TRUE
43 | bus_LV_1630-146_0_3_node_36 | 0.4 | n |  | TRUE
44 | bus_LV_1630-146_0_3_node_37 | 0.4 | n |  | TRUE
45 | bus_LV_1630-146_0_3_node_38 | 0.4 | n |  | TRUE
46 | bus_LV_1630-146_0_3_node_39 | 0.4 | n |  | TRUE
47 | bus_LV_1630-146_0_3_node_46 | 0.4 | n |  | TRUE
48 | bus_LV_1630-146_0_3_node_45 | 0.4 | n |  | TRUE
49 | bus_LV_1630-146_0_3_node_43 | 0.4 | n |  | TRUE
50 | bus_LV_1630-146_0_3_node_60 | 0.4 | n |  | TRUE
51 | bus_LV_1630-146_0_3_node_44 | 0.4 | n |  | TRUE
52 | bus_LV_1630-146_0_3_node_61 | 0.4 | n |  | TRUE
53 | bus_LV_1630-146_0_3_node_47 | 0.4 | n |  | TRUE
54 | bus_LV_1630-146_0_3_node_48 | 0.4 | n |  | TRUE
55 | bus_LV_1630-146_0_3_node_59 | 0.4 | n |  | TRUE
56 | bus_LV_1630-146_0_3_node_49 | 0.4 | n |  | TRUE
57 | bus_LV_1630-146_0_3_node_50 | 0.4 | n |  | TRUE
58 | bus_LV_1630-146_0_3_node_51 | 0.4 | n |  | TRUE
59 | bus_MV_20_1_node_79 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1630-146_0_3_load_0 | 0 | 0.0097376 | 0.0024405 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1630-146_0_3_load_56 | 4 | 0.0036737 | 0.00092071 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1630-146_0_3_load_29 | 6 | 0.0048577 | 0.0012174 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1630-146_0_3_load_28 | 8 | 0.00077015 | 0.00019302 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1630-146_0_3_load_6 | 10 | 0.0034296 | 0.00085955 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1630-146_0_3_load_58 | 12 | 0.01669 | 0.004183 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1630-146_0_3_load_54 | 14 | 0.0080673 | 0.0020218 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1630-146_0_3_load_52 | 15 | 0.0056549 | 0.0014173 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1630-146_0_3_load_5 | 16 | 0.0046427 | 0.0011636 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1630-146_0_3_load_8 | 17 | 0.021878 | 0.0054831 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1630-146_0_3_load_9 | 18 | 0.07648 | 0.019168 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1630-146_0_3_load_11 | 19 | 0.0097233 | 0.0024369 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1630-146_0_3_load_27 | 20 | 0.0092518 | 0.0023187 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1630-146_0_3_load_32 | 21 | 0.033522 | 0.0084015 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1630-146_0_3_load_25 | 22 | 0.0014247 | 0.00035708 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1630-146_0_3_load_24 | 23 | 0.0014312 | 0.0003587 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1630-146_0_3_load_23 | 26 | 0.00046796 | 0.00011728 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1630-146_0_3_load_57 | 28 | 0.012322 | 0.0030882 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1630-146_0_3_load_22 | 29 | 0.00038627 | 9.6809e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1630-146_0_3_load_14 | 30 | 0.00065071 | 0.00016308 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1630-146_0_3_load_17 | 32 | 0.0008077 | 0.00020243 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1630-146_0_3_load_26 | 33 | 0.00026199 | 6.566e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1630-146_0_3_load_33 | 35 | 0.019566 | 0.0049036 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1630-146_0_3_load_42 | 38 | 0.0094148 | 0.0023596 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1630-146_0_3_load_40 | 39 | 0.096778 | 0.024255 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1630-146_0_3_load_34 | 41 | 0.011358 | 0.0028467 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1630-146_0_3_load_37 | 44 | 0.00089517 | 0.00022435 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1630-146_0_3_load_38 | 45 | 0.0016704 | 0.00041865 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1630-146_0_3_load_46 | 47 | 0.00053306 | 0.0001336 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1630-146_0_3_load_45 | 48 | 0.011787 | 0.0029542 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1630-146_0_3_load_60 | 50 | 0.00054093 | 0.00013557 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1630-146_0_3_load_61 | 52 | 0.0032982 | 0.0008266 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1630-146_0_3_load_47 | 53 | 0.00061676 | 0.00015457 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1630-146_0_3_load_59 | 55 | 0.016147 | 0.0040469 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1630-146_0_3_load_49 | 56 | 0.0076468 | 0.0019165 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1630-146_0_3_load_50 | 57 | 0.0041765 | 0.0010467 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 35 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1630-146_0_3_line_0 |  | 0 | 1 | 0.016535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1630-146_0_3_line_1 |  | 1 | 2 | 0.076736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1630-146_0_3_line_2 |  | 1 | 3 | 0.032114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1630-146_0_3_line_3 |  | 2 | 4 | 0.033859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1630-146_0_3_line_4 |  | 3 | 5 | 0.022258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1630-146_0_3_line_5 |  | 3 | 6 | 0.015458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1630-146_0_3_line_6 |  | 5 | 9 | 0.031063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1630-146_0_3_line_7 |  | 5 | 10 | 0.017623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1630-146_0_3_line_8 |  | 7 | 8 | 0.042018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1630-146_0_3_line_9 |  | 7 | 9 | 0.0080378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1630-146_0_3_line_10 |  | 9 | 17 | 0.017886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1630-146_0_3_line_11 |  | 10 | 16 | 0.0042246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1630-146_0_3_line_12 |  | 11 | 12 | 0.039478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1630-146_0_3_line_13 |  | 11 | 13 | 0.061503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1630-146_0_3_line_14 |  | 12 | 54 | 0.044466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_1630-146_0_3_line_15 |  | 13 | 14 | 0.007135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1630-146_0_3_line_16 |  | 13 | 15 | 0.019388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1630-146_0_3_line_17 |  | 15 | 58 | 0.0033198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1630-146_0_3_line_18 |  | 17 | 18 | 0.0047787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1630-146_0_3_line_19 |  | 18 | 19 | 0.0045433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1630-146_0_3_line_20 |  | 19 | 20 | 0.0066048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1630-146_0_3_line_21 |  | 20 | 21 | 0.01048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_1630-146_0_3_line_22 |  | 20 | 22 | 0.11675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1630-146_0_3_line_23 |  | 20 | 23 | 0.061679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_1630-146_0_3_line_24 |  | 21 | 35 | 0.017853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_1630-146_0_3_line_25 |  | 22 | 33 | 0.017532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1630-146_0_3_line_26 |  | 23 | 36 | 0.027697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_1630-146_0_3_line_27 |  | 23 | 34 | 0.043752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1630-146_0_3_line_28 |  | 24 | 25 | 0.24245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1630-146_0_3_line_29 |  | 24 | 26 | 0.0095238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1630-146_0_3_line_30 |  | 25 | 27 | 0.014381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1630-146_0_3_line_31 |  | 26 | 29 | 0.039524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1630-146_0_3_line_32 |  | 27 | 28 | 0.056096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1630-146_0_3_line_33 |  | 29 | 34 | 0.021338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1630-146_0_3_line_34 |  | 30 | 31 | 0.035775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1630-146_0_3_line_35 |  | 31 | 32 | 0.032409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1630-146_0_3_line_36 |  | 32 | 33 | 0.011084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1630-146_0_3_line_37 |  | 36 | 37 | 0.052985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
38 | LV_1630-146_0_3_line_38 |  | 37 | 38 | 0.012724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1630-146_0_3_line_39 |  | 37 | 39 | 0.025703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
40 | LV_1630-146_0_3_line_40 |  | 39 | 40 | 0.042489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
41 | LV_1630-146_0_3_line_41 |  | 40 | 49 | 0.026986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
42 | LV_1630-146_0_3_line_42 |  | 41 | 42 | 0.0094377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
43 | LV_1630-146_0_3_line_43 |  | 41 | 43 | 0.020613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
44 | LV_1630-146_0_3_line_44 |  | 42 | 44 | 0.012615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
45 | LV_1630-146_0_3_line_45 |  | 42 | 45 | 0.012364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1630-146_0_3_line_46 |  | 43 | 46 | 0.012561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1630-146_0_3_line_47 |  | 43 | 47 | 0.085944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
48 | LV_1630-146_0_3_line_48 |  | 44 | 49 | 0.019352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
49 | LV_1630-146_0_3_line_49 |  | 46 | 50 | 0.008603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1630-146_0_3_line_50 |  | 46 | 51 | 0.13388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1630-146_0_3_line_51 |  | 47 | 48 | 0.016166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
52 | LV_1630-146_0_3_line_52 |  | 48 | 53 | 0.0074335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
53 | LV_1630-146_0_3_line_53 |  | 51 | 52 | 0.041125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1630-146_0_3_line_54 |  | 53 | 54 | 0.0047537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
55 | LV_1630-146_0_3_line_55 |  | 54 | 55 | 0.033186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1630-146_0_3_line_56 |  | 56 | 57 | 0.019172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1630-146_0_3_line_57 |  | 56 | 58 | 0.025198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1630-146_0_3_trafo_33 | 0.63 MVA 20/0.4 kV | 59 | 35 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19
0 | 2720402.0255 | 1223675.75 | 2720400.0348 | 1223692.165
1 | 2720333.761 | 1223652.2514 | 2720340.8963 | 1223664.3829 | 2720343.5907 | 1223666.9282 | 2720346.8318 | 1223667.9501 | 2720402.0255 | 1223675.75
2 | 2720402.0255 | 1223675.75 | 2720407.3504 | 1223676.5027 | 2720411.6543 | 1223677.1124 | 2720433.824 | 1223680.2411
3 | 2720333.761 | 1223652.2514 | 2720324.6149 | 1223655.1466 | 2720315.2095 | 1223656.9913 | 2720305.6436 | 1223657.7652 | 2720300.5622 | 1223657.6094
4 | 2720455.6099 | 1223685.0968 | 2720433.824 | 1223680.2411
5 | 2720433.824 | 1223680.2411 | 2720435.2766 | 1223671.4414 | 2720436.3377 | 1223664.9889
6 | 2720486.0117 | 1223691.884 | 2720455.6099 | 1223685.0968
7 | 2720455.6099 | 1223685.0968 | 2720459.1512 | 1223667.8335
8 | 2720491.3559 | 1223690.9358 | 2720524.8057 | 1223665.5066
9 | 2720486.0117 | 1223691.884 | 2720491.6675 | 1223693.155 | 2720491.3559 | 1223690.9358
10 | 2720486.0117 | 1223691.884 | 2720479.2902 | 1223708.4586
11 | 2720460.0002 | 1223663.6951 | 2720459.1512 | 1223667.8335
12 | 2720237.9893 | 1223745.5338 | 2720259.2987 | 1223778.7661
13 | 2720230.65 | 1223699.2049 | 2720236.1109 | 1223708.2445 | 2720220.452 | 1223718.5029 | 2720226.9475 | 1223728.5197 | 2720230.8611 | 1223734.5479 | 2720237.9893 | 1223745.5338
14 | 2720285.2483 | 1223814.8427 | 2720270.0405 | 1223794.9199 | 2720264.6313 | 1223787.0823 | 2720259.2987 | 1223778.7661
15 | 2720227.0885 | 1223693.017 | 2720230.65 | 1223699.2049
16 | 2720230.65 | 1223699.2049 | 2720237.4978 | 1223694.7953 | 2720237.2172 | 1223690.6642 | 2720242.2246 | 1223685.6277
17 | 2720244.5652 | 1223683.2734 | 2720242.2246 | 1223685.6277
18 | 2720479.2902 | 1223708.4586 | 2720477.4944 | 1223712.887
19 | 2720475.787 | 1223717.0973 | 2720477.4944 | 1223712.887
20 | 2720473.3049 | 1223723.218 | 2720475.787 | 1223717.0973
21 | 2720466.8929 | 1223730.916 | 2720471.4085 | 1223727.8944 | 2720473.3049 | 1223723.218
22 | 2720473.3049 | 1223723.218 | 2720573.7247 | 1223782.7647
23 | 2720473.3049 | 1223723.218 | 2720524.1715 | 1223758.1013
24 | 2720466.8929 | 1223730.916 | 2720459.182 | 1223736.0757 | 2720451.015 | 1223733.4619
25 | 2720576.5981 | 1223799.9993 | 2720575.4847 | 1223789.0827 | 2720573.7247 | 1223782.7647
26 | 2720506.3301 | 1223779.2859 | 2720524.1715 | 1223758.1013
27 | 2720551.8878 | 1223724.2652 | 2720549.2095 | 1223727.2911 | 2720539.8835 | 1223739.4451 | 2720524.1715 | 1223758.1013
28 | 2720611.3529 | 1223761.9213 | 2720628.3676 | 1223737.2022 | 2720635.0878 | 1223736.1042 | 2720634.4943 | 1223740.3066 | 2720626.3803 | 1223785.0773 | 2720632.7492 | 1223786.3407 | 2720642.2021 | 1223788.1336 | 2720665.2917 | 1223792.2604 | 2720683.8995 | 1223795.5846 | 2720697.8675 | 1223798.0364 | 2720728.3508 | 1223803.3809 | 2720731.614 | 1223804.8037 | 2720734.7598 | 1223807.5252 | 2720736.8055 | 1223811.0028 | 2720737.6091 | 1223814.3884 | 2720737.4205 | 1223818.0764 | 2720736.08 | 1223821.7076 | 2720724.9147 | 1223837.0154 | 2720721.3445 | 1223841.3797 | 2720717.5422 | 1223844.4717
29 | 2720611.3529 | 1223761.9213 | 2720603.3067 | 1223756.8261
30 | 2720717.5422 | 1223844.4717 | 2720713.0933 | 1223846.1606 | 2720707.9842 | 1223846.3683 | 2720703.5104 | 1223845.5436
31 | 2720603.3067 | 1223756.8261 | 2720569.9152 | 1223735.6809
32 | 2720703.5104 | 1223845.5436 | 2720702.6339 | 1223854.7219 | 2720669.6779 | 1223888.058
33 | 2720551.8878 | 1223724.2652 | 2720569.9152 | 1223735.6809
34 | 2720583.1302 | 1223842.991 | 2720590.8024 | 1223829.7249 | 2720593.056 | 1223809.399
35 | 2720583.1302 | 1223842.991 | 2720578.0288 | 1223810.9865
36 | 2720576.5981 | 1223799.9993 | 2720577.1679 | 1223805.5853 | 2720578.0288 | 1223810.9865
37 | 2720473.6054 | 1223820.9229 | 2720486.6001 | 1223803.2721 | 2720492.6846 | 1223795.3557 | 2720500.1776 | 1223786.4337 | 2720506.3301 | 1223779.2859
38 | 2720473.6054 | 1223820.9229 | 2720463.531 | 1223813.1129
39 | 2720473.6054 | 1223820.9229 | 2720464.8386 | 1223832.8215 | 2720457.8477 | 1223841.2146
40 | 2720430.6551 | 1223873.862 | 2720457.8477 | 1223841.2146
41 | 2720430.6551 | 1223873.862 | 2720422.9756 | 1223870.2705 | 2720410.0776 | 1223856.9325
42 | 2720388.0119 | 1223879.8042 | 2720378.8611 | 1223882.1137
43 | 2720364.556 | 1223896.7876 | 2720378.1004 | 1223882.3057 | 2720378.8611 | 1223882.1137
44 | 2720388.0119 | 1223879.8042 | 2720397.6778 | 1223871.6988
45 | 2720397.2972 | 1223887.9984 | 2720388.0119 | 1223879.8042
46 | 2720374.2934 | 1223904.7574 | 2720364.556 | 1223896.7876
47 | 2720302.4441 | 1223837.3862 | 2720364.556 | 1223896.7876
48 | 2720410.0776 | 1223856.9325 | 2720400.5198 | 1223869.3156 | 2720397.6778 | 1223871.6988
49 | 2720374.2934 | 1223904.7574 | 2720379.8873 | 1223898.2099
50 | 2720321.6372 | 1224004.8603 | 2720392.1414 | 1223919.3743 | 2720374.2934 | 1223904.7574
51 | 2720292.6396 | 1223824.5327 | 2720302.4441 | 1223837.3862
52 | 2720292.6396 | 1223824.5327 | 2720288.1313 | 1223818.6224
53 | 2720321.6372 | 1224004.8603 | 2720288.469 | 1223980.4153
54 | 2720285.2483 | 1223814.8427 | 2720288.1313 | 1223818.6224
55 | 2720285.2483 | 1223814.8427 | 2720312.906 | 1223796.3872
56 | 2720225.9223 | 1223673.078 | 2720218.0377 | 1223670.5611 | 2720217.5473 | 1223672.3081 | 2720211.4957 | 1223669.973 | 2720210.1909 | 1223667.7306
57 | 2720244.5652 | 1223683.2734 | 2720226.6239 | 1223679.9752 | 2720225.959 | 1223673.0897 | 2720225.9223 | 1223673.078

## bus_geodata
| x | y | coords
0 | 2720400.0348 | 1223692.165
1 | 2720402.0255 | 1223675.75
2 | 2720333.761 | 1223652.2514
3 | 2720433.824 | 1223680.2411
4 | 2720300.5622 | 1223657.6094
5 | 2720455.6099 | 1223685.0968
6 | 2720436.3377 | 1223664.9889
7 | 2720491.3559 | 1223690.9358
8 | 2720524.8057 | 1223665.5066
9 | 2720486.0117 | 1223691.884
10 | 2720459.1512 | 1223667.8335
11 | 2720237.9893 | 1223745.5338
12 | 2720259.2987 | 1223778.7661
13 | 2720230.65 | 1223699.2049
14 | 2720227.0885 | 1223693.017
15 | 2720242.2246 | 1223685.6277
16 | 2720460.0002 | 1223663.6951
17 | 2720479.2902 | 1223708.4586
18 | 2720477.4944 | 1223712.887
19 | 2720475.787 | 1223717.0973
20 | 2720473.3049 | 1223723.218
21 | 2720466.8929 | 1223730.916
22 | 2720573.7247 | 1223782.7647
23 | 2720524.1715 | 1223758.1013
24 | 2720611.3529 | 1223761.9213
25 | 2720717.5422 | 1223844.4717
26 | 2720603.3067 | 1223756.8261
27 | 2720703.5104 | 1223845.5436
28 | 2720669.6779 | 1223888.058
29 | 2720569.9152 | 1223735.6809
30 | 2720593.056 | 1223809.399
31 | 2720583.1302 | 1223842.991
32 | 2720578.0288 | 1223810.9865
33 | 2720576.5981 | 1223799.9993
34 | 2720551.8878 | 1223724.2652
35 | 2720451.015 | 1223733.4619
36 | 2720506.3301 | 1223779.2859
37 | 2720473.6054 | 1223820.9229
38 | 2720463.531 | 1223813.1129
39 | 2720457.8477 | 1223841.2146
40 | 2720430.6551 | 1223873.862
41 | 2720378.8611 | 1223882.1137
42 | 2720388.0119 | 1223879.8042
43 | 2720364.556 | 1223896.7876
44 | 2720397.6778 | 1223871.6988
45 | 2720397.2972 | 1223887.9984
46 | 2720374.2934 | 1223904.7574
47 | 2720302.4441 | 1223837.3862
48 | 2720292.6396 | 1223824.5327
49 | 2720410.0776 | 1223856.9325
50 | 2720379.8873 | 1223898.2099
51 | 2720321.6372 | 1224004.8603
52 | 2720288.469 | 1223980.4153
53 | 2720288.1313 | 1223818.6224
54 | 2720285.2483 | 1223814.8427
55 | 2720312.906 | 1223796.3872
56 | 2720225.9223 | 1223673.078
57 | 2720210.1909 | 1223667.7306
58 | 2720244.5652 | 1223683.2734
59 | 2720443.0838 | 1223730.9237

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99307 | -0.13296 | 0.0097376 | 0.0024405
1 | 0.99322 | -0.13012 | 0 | 0
2 | 0.99296 | -0.1351 | 0 | 0
3 | 0.99361 | -0.12251 | 0 | 0
4 | 0.99285 | -0.1373 | 0.0036737 | 0.00092071
5 | 0.99398 | -0.11533 | 0 | 0
6 | 0.99354 | -0.12384 | 0.0048577 | 0.0012174
7 | 0.99472 | -0.10101 | 0 | 0
8 | 0.99469 | -0.10158 | 0.00077015 | 0.00019302
9 | 0.99473 | -0.1009 | 0 | 0
10 | 0.99385 | -0.11784 | 0.0034296 | 0.00085955
11 | 0.97863 | -0.41227 | 0 | 0
12 | 0.97957 | -0.39393 | 0.01669 | 0.004183
13 | 0.97718 | -0.4409 | 0 | 0
14 | 0.97712 | -0.44196 | 0.0080673 | 0.0020218
15 | 0.97686 | -0.44709 | 0.0056549 | 0.0014173
16 | 0.99384 | -0.11819 | 0.0046427 | 0.0011636
17 | 0.99517 | -0.092363 | 0.021878 | 0.0054831
18 | 0.99539 | -0.088243 | 0.07648 | 0.019168
19 | 0.99591 | -0.07822 | 0.0097233 | 0.0024369
20 | 0.99672 | -0.06254 | 0.0092518 | 0.0023187
21 | 0.99787 | -0.040651 | 0.033522 | 0.0084015
22 | 0.99639 | -0.068995 | 0.0014247 | 0.00035708
23 | 0.99274 | -0.13857 | 0.0014312 | 0.0003587
24 | 0.99138 | -0.16482 | 0 | 0
25 | 0.98864 | -0.21797 | 0 | 0
26 | 0.99149 | -0.16273 | 0.00046796 | 0.00011728
27 | 0.98847 | -0.22113 | 0 | 0
28 | 0.98784 | -0.23347 | 0.012322 | 0.0030882
29 | 0.99195 | -0.15377 | 0.00038627 | 9.6809e-05
30 | 0.9963 | -0.07059 | 0.00065071 | 0.00016308
31 | 0.99632 | -0.070181 | 0 | 0
32 | 0.99634 | -0.069809 | 0.0008077 | 0.00020243
33 | 0.99636 | -0.069525 | 0.00026199 | 6.566e-05
34 | 0.99221 | -0.14878 | 0 | 0
35 | 1 | 0 | -0.39654 | -0.10045
36 | 0.99107 | -0.17052 | 0 | 0
37 | 0.98789 | -0.23193 | 0 | 0
38 | 0.98778 | -0.23407 | 0.0094148 | 0.0023596
39 | 0.98642 | -0.26042 | 0.096778 | 0.024255
40 | 0.98526 | -0.28305 | 0 | 0
41 | 0.98339 | -0.31939 | 0.011358 | 0.0028467
42 | 0.98364 | -0.31448 | 0 | 0
43 | 0.98291 | -0.3287 | 0 | 0
44 | 0.98398 | -0.3078 | 0.00089517 | 0.00022435
45 | 0.98362 | -0.31485 | 0.0016704 | 0.00041865
46 | 0.98286 | -0.32957 | 0 | 0
47 | 0.98102 | -0.36564 | 0.00053306 | 0.0001336
48 | 0.98066 | -0.37255 | 0.011787 | 0.0029542
49 | 0.98451 | -0.29746 | 0 | 0
50 | 0.98286 | -0.32966 | 0.00054093 | 0.00013557
51 | 0.98246 | -0.33755 | 0 | 0
52 | 0.98233 | -0.34 | 0.0032982 | 0.0008266
53 | 0.98053 | -0.37521 | 0.00061676 | 0.00015457
54 | 0.98044 | -0.37688 | 0 | 0
55 | 0.97995 | -0.3866 | 0.016147 | 0.0040469
56 | 0.97655 | -0.45325 | 0.0076468 | 0.0019165
57 | 0.97647 | -0.45472 | 0.0041765 | 0.0010467
58 | 0.97683 | -0.44781 | 0 | 0
59 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0097376 | -0.0024405 | 0.0097389 | 0.0024411 | 1.3201e-06 | 6.3089e-07 | 0.014591 | 0.014591 | 0.014591 | 0.99307 | -0.13296 | 0.99322 | -0.13012 | 4.0085
1 | 0.0036749 | 0.00092009 | -0.0036741 | -0.00092052 | 8.7223e-07 | -4.3463e-07 | 0.0055054 | 0.0055057 | 0.0055057 | 0.99322 | -0.13012 | 0.99296 | -0.1351 | 1.5126
2 | -0.013414 | -0.0033612 | 0.013419 | 0.0033639 | 4.8635e-06 | 2.6969e-06 | 0.020096 | 0.020096 | 0.020096 | 0.99322 | -0.13012 | 0.99361 | -0.12251 | 5.5209
3 | 0.0036741 | 0.00092052 | -0.0036737 | -0.00092071 | 3.849e-07 | -1.9159e-07 | 0.0055057 | 0.0055059 | 0.0055059 | 0.99296 | -0.1351 | 0.99285 | -0.1373 | 1.5126
4 | -0.018277 | -0.0045813 | 0.018283 | 0.004585 | 6.2532e-06 | 3.7136e-06 | 0.027371 | 0.027371 | 0.027371 | 0.99361 | -0.12251 | 0.99398 | -0.11533 | 7.5195
5 | 0.004858 | 0.0012174 | -0.0048577 | -0.0012174 | 3.0681e-07 | -3.84e-09 | 0.0072752 | 0.0072753 | 0.0072753 | 0.99361 | -0.12251 | 0.99354 | -0.12384 | 1.9987
6 | -0.026356 | -0.0066085 | 0.026374 | 0.0066197 | 1.8135e-05 | 1.1204e-05 | 0.039457 | 0.039457 | 0.039457 | 0.99398 | -0.11533 | 0.99473 | -0.1009 | 10.8399
7 | 0.0080733 | 0.0020235 | -0.0080724 | -0.0020231 | 9.6533e-07 | 3.8942e-07 | 0.012086 | 0.012086 | 0.012086 | 0.99398 | -0.11533 | 0.99385 | -0.11784 | 3.3204
8 | 0.00077017 | 0.00019248 | -0.00077015 | -0.00019302 | 2.0911e-08 | -5.3205e-07 | 0.0011519 | 0.0011521 | 0.0011521 | 0.99472 | -0.10101 | 0.99469 | -0.10158 | 0.31651
9 | -0.00077017 | -0.00019248 | 0.00077017 | 0.00019238 | 3.9993e-09 | -1.0178e-07 | 0.0011519 | 0.0011519 | 0.0011519 | 0.99472 | -0.10101 | 0.99473 | -0.1009 | 0.31646
10 | -0.027145 | -0.0068121 | 0.027156 | 0.006819 | 1.1061e-05 | 6.8464e-06 | 0.040609 | 0.040609 | 0.040609 | 0.99473 | -0.1009 | 0.99517 | -0.092363 | 11.1563
11 | 0.0046427 | 0.0011636 | -0.0046427 | -0.0011636 | 7.6548e-08 | -5.7525e-09 | 0.0069512 | 0.0069512 | 0.0069512 | 0.99385 | -0.11784 | 0.99384 | -0.11819 | 1.9097
12 | -0.02559 | -0.0064289 | 0.025612 | 0.0064428 | 2.2419e-05 | 1.3851e-05 | 0.038915 | 0.038915 | 0.038915 | 0.97863 | -0.41227 | 0.97957 | -0.39393 | 10.6909
13 | 0.02559 | 0.0064289 | -0.025555 | -0.0064073 | 3.4926e-05 | 2.1581e-05 | 0.038915 | 0.038915 | 0.038915 | 0.97863 | -0.41227 | 0.97718 | -0.4409 | 10.6909
14 | -0.042303 | -0.010626 | 0.042337 | 0.010647 | 3.4436e-05 | 2.0919e-05 | 0.064268 | 0.064268 | 0.064268 | 0.97957 | -0.39393 | 0.98044 | -0.37688 | 8.828
15 | 0.0080677 | 0.002022 | -0.0080673 | -0.0020218 | 4.0382e-07 | 1.6907e-07 | 0.012285 | 0.012285 | 0.012285 | 0.97718 | -0.4409 | 0.97712 | -0.44196 | 3.3751
16 | 0.017487 | 0.0043853 | -0.017482 | -0.0043822 | 5.1557e-06 | 3.0569e-06 | 0.02663 | 0.02663 | 0.02663 | 0.97718 | -0.4409 | 0.97686 | -0.44709 | 7.3159
17 | 0.011827 | 0.002965 | -0.011827 | -0.0029648 | 4.0407e-07 | 2.1704e-07 | 0.018016 | 0.018016 | 0.018016 | 0.97686 | -0.44709 | 0.97683 | -0.44781 | 4.9494
18 | -0.049033 | -0.012302 | 0.049043 | 0.012308 | 9.6338e-06 | 6.1035e-06 | 0.073321 | 0.073321 | 0.073321 | 0.99517 | -0.092363 | 0.99539 | -0.088243 | 20.1431
19 | -0.12552 | -0.031476 | 0.12558 | 0.031514 | 5.9994e-05 | 3.8337e-05 | 0.18765 | 0.18765 | 0.18765 | 0.99539 | -0.088243 | 0.99591 | -0.07822 | 51.5528
20 | -0.13531 | -0.033951 | 0.13541 | 0.034016 | 0.00010124 | 6.471e-05 | 0.20218 | 0.20218 | 0.20218 | 0.99591 | -0.07822 | 0.99672 | -0.06254 | 55.544
21 | -0.36022 | -0.091312 | 0.3606 | 0.091554 | 0.00037935 | 0.00024238 | 0.53814 | 0.53814 | 0.53814 | 0.99672 | -0.06254 | 0.99787 | -0.040651 | 49.28
22 | 0.0031462 | 0.00078614 | -0.0031452 | -0.00078704 | 9.6564e-07 | -9.0309e-07 | 0.0046962 | 0.0046967 | 0.0046967 | 0.99672 | -0.06254 | 0.99639 | -0.068995 | 1.2903
23 | 0.21241 | 0.054191 | -0.21163 | -0.053696 | 0.00077696 | 0.00049485 | 0.31745 | 0.31745 | 0.31745 | 0.99672 | -0.06254 | 0.99274 | -0.13857 | 29.0706
24 | -0.39412 | -0.099956 | 0.39489 | 0.10045 | 0.0007719 | 0.00049331 | 0.58813 | 0.58813 | 0.58813 | 0.99787 | -0.040651 | 1 | 0 | 53.8577
25 | 0.0017205 | 0.00042997 | -0.0017204 | -0.00043017 | 4.339e-08 | -2.0057e-07 | 0.002569 | 0.0025691 | 0.0025691 | 0.99639 | -0.068995 | 0.99636 | -0.069525 | 0.70578
26 | 0.19697 | 0.050005 | -0.19667 | -0.049812 | 0.00030224 | 0.00019236 | 0.29547 | 0.29547 | 0.29547 | 0.99274 | -0.13857 | 0.99107 | -0.17052 | 27.0573
27 | 0.013233 | 0.0033331 | -0.013227 | -0.0033296 | 6.4589e-06 | 3.5683e-06 | 0.019841 | 0.019841 | 0.019841 | 0.99274 | -0.13857 | 0.99221 | -0.14878 | 5.4509
28 | 0.012362 | 0.0031101 | -0.012331 | -0.0030931 | 3.132e-05 | 1.6927e-05 | 0.01856 | 0.018561 | 0.018561 | 0.99138 | -0.16482 | 0.98864 | -0.21797 | 5.0991
29 | -0.012362 | -0.0031101 | 0.012364 | 0.0031107 | 1.2302e-06 | 6.6453e-07 | 0.01856 | 0.01856 | 0.01856 | 0.99138 | -0.16482 | 0.99149 | -0.16273 | 5.0988
30 | 0.012331 | 0.0030931 | -0.012329 | -0.0030921 | 1.8579e-06 | 1.0047e-06 | 0.018561 | 0.018561 | 0.018561 | 0.98864 | -0.21797 | 0.98847 | -0.22113 | 5.0991
31 | -0.012832 | -0.003228 | 0.012837 | 0.003231 | 5.499e-06 | 3.0094e-06 | 0.019262 | 0.019262 | 0.019262 | 0.99149 | -0.16273 | 0.99195 | -0.15377 | 5.2918
32 | 0.012329 | 0.0030921 | -0.012322 | -0.0030882 | 7.2472e-06 | 3.9196e-06 | 0.018561 | 0.018561 | 0.018561 | 0.98847 | -0.22113 | 0.98784 | -0.23347 | 5.0992
33 | -0.013223 | -0.0033278 | 0.013227 | 0.0033296 | 3.1501e-06 | 1.7405e-06 | 0.019841 | 0.019841 | 0.019841 | 0.99195 | -0.15377 | 0.99221 | -0.14878 | 5.4509
34 | -0.00065071 | -0.00016308 | 0.00065073 | 0.00016263 | 1.2669e-08 | -4.5778e-07 | 0.00097186 | 0.0009717 | 0.00097186 | 0.9963 | -0.07059 | 0.99632 | -0.070181 | 0.267
35 | -0.00065073 | -0.00016263 | 0.00065074 | 0.00016221 | 1.1473e-08 | -4.1472e-07 | 0.0009717 | 0.00097155 | 0.0009717 | 0.99632 | -0.070181 | 0.99634 | -0.069809 | 0.26695
36 | -0.0014584 | -0.00036464 | 0.0014585 | 0.00036451 | 1.9714e-08 | -1.3174e-07 | 0.0021778 | 0.0021778 | 0.0021778 | 0.99634 | -0.069809 | 0.99636 | -0.069525 | 0.59831
37 | 0.19667 | 0.049812 | -0.19609 | -0.049444 | 0.0005782 | 0.000368 | 0.29547 | 0.29547 | 0.29547 | 0.99107 | -0.17052 | 0.98789 | -0.23193 | 27.0573
38 | 0.0094157 | 0.00236 | -0.0094148 | -0.0023596 | 9.5977e-07 | 4.5136e-07 | 0.014183 | 0.014183 | 0.014183 | 0.98789 | -0.23193 | 0.98778 | -0.23407 | 3.8963
39 | 0.18667 | 0.047084 | -0.18642 | -0.046922 | 0.0002542 | 0.0001617 | 0.28128 | 0.28128 | 0.28128 | 0.98789 | -0.23193 | 0.98642 | -0.26042 | 25.7586
40 | 0.089641 | 0.022668 | -0.089544 | -0.022607 | 9.7219e-05 | 6.0595e-05 | 0.1353 | 0.1353 | 0.1353 | 0.98642 | -0.26042 | 0.98526 | -0.28305 | 12.3897
41 | 0.089544 | 0.022607 | -0.089482 | -0.022569 | 6.1747e-05 | 3.8488e-05 | 0.1353 | 0.1353 | 0.1353 | 0.98526 | -0.28305 | 0.98451 | -0.29746 | 12.3897
42 | -0.086824 | -0.021868 | 0.086844 | 0.02188 | 2.0374e-05 | 1.268e-05 | 0.13142 | 0.13142 | 0.13142 | 0.98339 | -0.31939 | 0.98364 | -0.31448 | 12.0344
43 | 0.075465 | 0.019021 | -0.075432 | -0.019 | 3.3621e-05 | 2.0733e-05 | 0.11423 | 0.11423 | 0.11423 | 0.98339 | -0.31939 | 0.98291 | -0.3287 | 10.4606
44 | -0.088514 | -0.022299 | 0.088543 | 0.022317 | 2.8289e-05 | 1.7625e-05 | 0.13394 | 0.13394 | 0.13394 | 0.98364 | -0.31448 | 0.98398 | -0.3078 | 12.2658
45 | 0.0016704 | 0.00041851 | -0.0016704 | -0.00041865 | 2.9607e-08 | -1.3799e-07 | 0.0025269 | 0.002527 | 0.002527 | 0.98364 | -0.31448 | 0.98362 | -0.31485 | 0.69423
46 | 0.0038409 | 0.00096084 | -0.0038407 | -0.00096089 | 1.5923e-07 | -5.7294e-08 | 0.0058141 | 0.0058141 | 0.0058141 | 0.98291 | -0.3287 | 0.98286 | -0.32957 | 1.5973
47 | 0.071591 | 0.01804 | -0.071464 | -0.017962 | 0.00012627 | 7.7553e-05 | 0.10842 | 0.10842 | 0.10842 | 0.98291 | -0.3287 | 0.98102 | -0.36564 | 9.9282
48 | -0.089438 | -0.022541 | 0.089482 | 0.022569 | 4.4279e-05 | 2.7601e-05 | 0.1353 | 0.1353 | 0.1353 | 0.98398 | -0.3078 | 0.98451 | -0.29746 | 12.3898
49 | 0.00054093 | 0.00013546 | -0.00054093 | -0.00013557 | 2.1636e-09 | -1.0765e-07 | 0.00081891 | 0.00081895 | 0.00081895 | 0.98286 | -0.32957 | 0.98286 | -0.32966 | 0.22499
50 | 0.0032998 | 0.00082543 | -0.0032986 | -0.00082633 | 1.2529e-06 | -8.9418e-07 | 0.0049952 | 0.0049958 | 0.0049958 | 0.98286 | -0.32957 | 0.98246 | -0.33755 | 1.3725
51 | 0.070931 | 0.017828 | -0.070908 | -0.017814 | 2.3399e-05 | 1.4363e-05 | 0.10761 | 0.10761 | 0.10761 | 0.98102 | -0.36564 | 0.98066 | -0.37255 | 9.8542
52 | 0.059121 | 0.01486 | -0.059113 | -0.014855 | 7.4801e-06 | 4.5059e-06 | 0.089723 | 0.089723 | 0.089723 | 0.98066 | -0.37255 | 0.98053 | -0.37521 | 8.2164
53 | 0.0032986 | 0.00082633 | -0.0032982 | -0.0008266 | 3.8492e-07 | -2.7435e-07 | 0.0049958 | 0.004996 | 0.004996 | 0.98246 | -0.33755 | 0.98233 | -0.34 | 1.3725
54 | 0.058496 | 0.014701 | -0.058492 | -0.014698 | 4.6842e-06 | 2.818e-06 | 0.088787 | 0.088787 | 0.088787 | 0.98053 | -0.37521 | 0.98044 | -0.37688 | 8.1307
55 | 0.016155 | 0.0040513 | -0.016147 | -0.0040469 | 7.4816e-06 | 4.3699e-06 | 0.024519 | 0.024519 | 0.024519 | 0.98044 | -0.37688 | 0.97995 | -0.3866 | 6.736
56 | 0.0041768 | 0.0010467 | -0.0041765 | -0.0010467 | 2.9121e-07 | -5.3471e-08 | 0.0063643 | 0.0063644 | 0.0063644 | 0.97655 | -0.45325 | 0.97647 | -0.45472 | 1.7485
57 | -0.011824 | -0.0029631 | 0.011827 | 0.0029648 | 3.067e-06 | 1.6475e-06 | 0.018016 | 0.018016 | 0.018016 | 0.97655 | -0.45325 | 0.97683 | -0.44781 | 4.9495

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.41611 | 0.10535

## res_load
| p_mw | q_mvar
0 | 0.0097376 | 0.0024405
1 | 0.0036737 | 0.00092071
2 | 0.0048577 | 0.0012174
3 | 0.00077015 | 0.00019302
4 | 0.0034296 | 0.00085955
5 | 0.01669 | 0.004183
6 | 0.0080673 | 0.0020218
7 | 0.0056549 | 0.0014173
8 | 0.0046427 | 0.0011636
9 | 0.021878 | 0.0054831
10 | 0.07648 | 0.019168
11 | 0.0097233 | 0.0024369
12 | 0.0092518 | 0.0023187
13 | 0.033522 | 0.0084015
14 | 0.0014247 | 0.00035708
15 | 0.0014312 | 0.0003587
16 | 0.00046796 | 0.00011728
17 | 0.012322 | 0.0030882
18 | 0.00038627 | 9.6809e-05
19 | 0.00065071 | 0.00016308
20 | 0.0008077 | 0.00020243
21 | 0.00026199 | 6.566e-05
22 | 0.019566 | 0.0049036
23 | 0.0094148 | 0.0023596
24 | 0.096778 | 0.024255
25 | 0.011358 | 0.0028467
26 | 0.00089517 | 0.00022435
27 | 0.0016704 | 0.00041865
28 | 0.00053306 | 0.0001336
29 | 0.011787 | 0.0029542
30 | 0.00054093 | 0.00013557
31 | 0.0032982 | 0.0008266
32 | 0.00061676 | 0.00015457
33 | 0.016147 | 0.0040469
34 | 0.0076468 | 0.0019165
35 | 0.0041765 | 0.0010467

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1