## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1630-149_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1630-149_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1630-149_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1630-149_0_3_node_12 | 0.4 | n |  | TRUE
4 | bus_LV_1630-149_0_3_node_13 | 0.4 | n |  | TRUE
5 | bus_LV_1630-149_0_3_node_3 | 0.4 | n |  | TRUE
6 | bus_LV_1630-149_0_3_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_1630-149_0_3_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_1630-149_0_3_node_55 | 0.4 | n |  | TRUE
9 | bus_LV_1630-149_0_3_node_18 | 0.4 | n |  | TRUE
10 | bus_LV_1630-149_0_3_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_1630-149_0_3_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_1630-149_0_3_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_1630-149_0_3_node_20 | 0.4 | n |  | TRUE
14 | bus_LV_1630-149_0_3_node_16 | 0.4 | n |  | TRUE
15 | bus_LV_1630-149_0_3_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_1630-149_0_3_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_1630-149_0_3_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_1630-149_0_3_node_54 | 0.4 | n |  | TRUE
19 | bus_LV_1630-149_0_3_node_19 | 0.4 | n |  | TRUE
20 | bus_LV_1630-149_0_3_node_57 | 0.4 | n |  | TRUE
21 | bus_LV_1630-149_0_3_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_1630-149_0_3_node_17 | 0.4 | n |  | TRUE
23 | bus_LV_1630-149_0_3_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_1630-149_0_3_node_21 | 0.4 | n |  | TRUE
25 | bus_LV_1630-149_0_3_node_50 | 0.4 | n |  | TRUE
26 | bus_LV_1630-149_0_3_node_38 | 0.4 | n |  | TRUE
27 | bus_LV_1630-149_0_3_node_29 | 0.4 | n |  | TRUE
28 | bus_LV_1630-149_0_3_node_39 | 0.4 | n |  | TRUE
29 | bus_LV_1630-149_0_3_node_25 | 0.4 | n |  | TRUE
30 | bus_LV_1630-149_0_3_node_48 | 0.4 | n |  | TRUE
31 | bus_LV_1630-149_0_3_node_36 | 0.4 | n |  | TRUE
32 | bus_LV_1630-149_0_3_node_23 | 0.4 | n |  | TRUE
33 | bus_LV_1630-149_0_3_node_24 | 0.4 | n |  | TRUE
34 | bus_LV_1630-149_0_3_node_26 | 0.4 | n |  | TRUE
35 | bus_LV_1630-149_0_3_node_27 | 0.4 | n |  | TRUE
36 | bus_LV_1630-149_0_3_node_28 | 0.4 | n |  | TRUE
37 | bus_LV_1630-149_0_3_node_31 | 0.4 | n |  | TRUE
38 | bus_LV_1630-149_0_3_node_30 | 0.4 | n |  | TRUE
39 | bus_LV_1630-149_0_3_node_52 | 0.4 | n |  | TRUE
40 | bus_LV_1630-149_0_3_node_51 | 0.4 | n |  | TRUE
41 | bus_LV_1630-149_0_3_node_32 | 0.4 | n |  | TRUE
42 | bus_LV_1630-149_0_3_node_43 | 0.4 | n |  | TRUE
43 | bus_LV_1630-149_0_3_node_33 | 0.4 | n |  | TRUE
44 | bus_LV_1630-149_0_3_node_37 | 0.4 | n |  | TRUE
45 | bus_LV_1630-149_0_3_node_40 | 0.4 | n |  | TRUE
46 | bus_LV_1630-149_0_3_node_44 | 0.4 | n |  | TRUE
47 | bus_LV_1630-149_0_3_node_34 | 0.4 | n |  | TRUE
48 | bus_LV_1630-149_0_3_node_35 | 0.4 | n |  | TRUE
49 | bus_LV_1630-149_0_3_node_41 | 0.4 | n |  | TRUE
50 | bus_LV_1630-149_0_3_node_42 | 0.4 | n |  | TRUE
51 | bus_LV_1630-149_0_3_node_56 | 0.4 | n |  | TRUE
52 | bus_LV_1630-149_0_3_node_45 | 0.4 | n |  | TRUE
53 | bus_LV_1630-149_0_3_node_46 | 0.4 | n |  | TRUE
54 | bus_LV_1630-149_0_3_node_53 | 0.4 | n |  | TRUE
55 | bus_LV_1630-149_0_3_node_47 | 0.4 | n |  | TRUE
56 | bus_LV_1630-149_0_3_node_49 | 0.4 | n |  | TRUE
57 | bus_MV_20_1_node_138 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1630-149_0_3_load_0 | 0 | 0.010997 | 0.0027562 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1630-149_0_3_load_1 | 1 | 0.0067382 | 0.0016888 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1630-149_0_3_load_2 | 2 | 0.011951 | 0.0029951 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1630-149_0_3_load_12 | 3 | 0.0076677 | 0.0019217 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1630-149_0_3_load_13 | 4 | 0.013339 | 0.0033431 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1630-149_0_3_load_3 | 5 | 0.0052667 | 0.00132 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1630-149_0_3_load_55 | 8 | 0.027195 | 0.0068157 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1630-149_0_3_load_9 | 11 | 0.011823 | 0.0029632 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1630-149_0_3_load_7 | 12 | 0.006955 | 0.0017431 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1630-149_0_3_load_16 | 14 | 0.0052231 | 0.001309 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1630-149_0_3_load_54 | 18 | 0.0061455 | 0.0015402 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1630-149_0_3_load_19 | 19 | 0.016107 | 0.0040367 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1630-149_0_3_load_57 | 20 | 0.0061758 | 0.0015478 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1630-149_0_3_load_17 | 22 | 0.0054971 | 0.0013777 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1630-149_0_3_load_15 | 23 | 0.0068062 | 0.0017058 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1630-149_0_3_load_50 | 25 | 0.0081623 | 0.0020457 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1630-149_0_3_load_38 | 26 | 0.00886 | 0.0022205 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1630-149_0_3_load_39 | 28 | 0.0068832 | 0.0017251 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1630-149_0_3_load_23 | 32 | 0.012802 | 0.0032085 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1630-149_0_3_load_28 | 36 | 0.0044915 | 0.0011257 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1630-149_0_3_load_31 | 37 | 0.0058923 | 0.0014767 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1630-149_0_3_load_30 | 38 | 0.0067263 | 0.0016858 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1630-149_0_3_load_51 | 40 | 0.0031683 | 0.00079405 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1630-149_0_3_load_32 | 41 | 0.0040394 | 0.0010124 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1630-149_0_3_load_43 | 42 | 0.0061614 | 0.0015442 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1630-149_0_3_load_33 | 43 | 0.0040336 | 0.0010109 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1630-149_0_3_load_34 | 47 | 0.006092 | 0.0015268 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1630-149_0_3_load_35 | 48 | 0.027538 | 0.0069018 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1630-149_0_3_load_41 | 49 | 0.011236 | 0.002816 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1630-149_0_3_load_56 | 51 | 0.0071876 | 0.0018014 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1630-149_0_3_load_45 | 52 | 0.0072979 | 0.001829 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1630-149_0_3_load_46 | 53 | 0.0029476 | 0.00073875 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1630-149_0_3_load_53 | 54 | 0.0033102 | 0.00082961 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1630-149_0_3_load_47 | 55 | 0.0044686 | 0.0011199 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1630-149_0_3_load_49 | 56 | 0.029895 | 0.0074923 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 18 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1630-149_0_3_line_0 |  | 0 | 1 | 0.0091407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1630-149_0_3_line_1 |  | 1 | 2 | 0.012187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1630-149_0_3_line_2 |  | 2 | 3 | 0.017019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1630-149_0_3_line_3 |  | 3 | 4 | 0.0036481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1630-149_0_3_line_4 |  | 4 | 21 | 0.0075349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1630-149_0_3_line_5 |  | 5 | 6 | 0.015744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1630-149_0_3_line_6 |  | 6 | 7 | 0.021281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1630-149_0_3_line_7 |  | 7 | 8 | 0.011171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1630-149_0_3_line_8 |  | 7 | 9 | 0.021797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1630-149_0_3_line_9 |  | 9 | 13 | 0.054964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
10 | LV_1630-149_0_3_line_10 |  | 9 | 14 | 0.019442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_1630-149_0_3_line_11 |  | 10 | 11 | 0.011576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1630-149_0_3_line_12 |  | 10 | 12 | 0.025316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1630-149_0_3_line_13 |  | 12 | 15 | 0.01547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1630-149_0_3_line_14 |  | 13 | 24 | 0.012613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1630-149_0_3_line_15 |  | 13 | 25 | 0.01118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1630-149_0_3_line_16 |  | 14 | 22 | 0.0049835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_1630-149_0_3_line_17 |  | 15 | 16 | 0.0065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1630-149_0_3_line_18 |  | 15 | 17 | 0.010648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1630-149_0_3_line_19 |  | 16 | 18 | 0.00903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_1630-149_0_3_line_20 |  | 16 | 19 | 0.014407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_1630-149_0_3_line_21 |  | 17 | 20 | 0.00886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1630-149_0_3_line_22 |  | 17 | 21 | 0.011647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1630-149_0_3_line_23 |  | 19 | 22 | 0.013773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_1630-149_0_3_line_24 |  | 21 | 23 | 0.01339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1630-149_0_3_line_25 |  | 24 | 26 | 0.0090301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1630-149_0_3_line_26 |  | 25 | 30 | 0.01229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1630-149_0_3_line_27 |  | 26 | 31 | 0.0084474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1630-149_0_3_line_28 |  | 27 | 28 | 0.023343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1630-149_0_3_line_29 |  | 27 | 29 | 0.010166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1630-149_0_3_line_30 |  | 28 | 45 | 0.02134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1630-149_0_3_line_31 |  | 29 | 36 | 0.02036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1630-149_0_3_line_32 |  | 29 | 32 | 0.023374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1630-149_0_3_line_33 |  | 30 | 56 | 0.0079523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1630-149_0_3_line_34 |  | 30 | 55 | 0.0098586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1630-149_0_3_line_35 |  | 31 | 47 | 0.0038463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1630-149_0_3_line_36 |  | 33 | 34 | 0.022796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1630-149_0_3_line_37 |  | 33 | 35 | 0.024742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1630-149_0_3_line_38 |  | 34 | 37 | 0.020581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1630-149_0_3_line_39 |  | 34 | 38 | 0.019119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1630-149_0_3_line_40 |  | 35 | 39 | 0.004646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1630-149_0_3_line_41 |  | 35 | 40 | 0.02584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1630-149_0_3_line_42 |  | 36 | 41 | 0.0016726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1630-149_0_3_line_43 |  | 37 | 42 | 0.0052797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1630-149_0_3_line_44 |  | 39 | 43 | 0.0036056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1630-149_0_3_line_45 |  | 40 | 44 | 0.036548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1630-149_0_3_line_46 |  | 41 | 43 | 0.0071467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1630-149_0_3_line_47 |  | 42 | 46 | 0.013199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1630-149_0_3_line_48 |  | 44 | 48 | 0.02573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1630-149_0_3_line_49 |  | 45 | 49 | 0.005386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1630-149_0_3_line_50 |  | 45 | 50 | 0.032354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1630-149_0_3_line_51 |  | 46 | 52 | 0.009858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1630-149_0_3_line_52 |  | 46 | 53 | 0.009945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1630-149_0_3_line_53 |  | 47 | 48 | 0.029543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1630-149_0_3_line_54 |  | 50 | 51 | 0.010548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1630-149_0_3_line_55 |  | 53 | 54 | 0.046912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1630-149_0_3_trafo_54 | 0.63 MVA 20/0.4 kV | 57 | 18 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2719829.3275 | 1223452.3048 | 2719828.0123 | 1223461.3504
1 | 2719828.0123 | 1223461.3504 | 2719826.2588 | 1223473.4105
2 | 2719823.81 | 1223490.2525 | 2719826.2588 | 1223473.4105
3 | 2719823.81 | 1223490.2525 | 2719823.2851 | 1223493.8627
4 | 2719822.8738 | 1223501.3402 | 2719822.6303 | 1223498.3663 | 2719823.2851 | 1223493.8627
5 | 2719914.4851 | 1223500.6508 | 2719901.2638 | 1223492.1023
6 | 2719914.4851 | 1223500.6508 | 2719902.7259 | 1223518.4056
7 | 2719902.7259 | 1223518.4056 | 2719893.1561 | 1223512.5973
8 | 2719902.7259 | 1223518.4056 | 2719890.6775 | 1223536.5883
9 | 2719859.3259 | 1223576.8774 | 2719862.4809 | 1223579.1649 | 2719869.2798 | 1223568.8938 | 2719878.8871 | 1223554.3981 | 2719880.8273 | 1223551.4683 | 2719890.6775 | 1223536.5883
10 | 2719890.6775 | 1223536.5883 | 2719871.63 | 1223532.6892
11 | 2719864.5606 | 1223481.5973 | 2719854.2054 | 1223476.3625
12 | 2719864.5606 | 1223481.5973 | 2719851.0731 | 1223503.021
13 | 2719840.3667 | 1223513.3795 | 2719841.8375 | 1223513.0422 | 2719845.0489 | 1223511.4055 | 2719847.6103 | 1223508.5215 | 2719851.0731 | 1223503.021
14 | 2719857.5122 | 1223586.326 | 2719862.4809 | 1223579.1649 | 2719859.3259 | 1223576.8774
15 | 2719859.3259 | 1223576.8774 | 2719857.1834 | 1223571.3967 | 2719853.045 | 1223568.0924
16 | 2719871.63 | 1223532.6892 | 2719870.915 | 1223532.5428 | 2719866.8993 | 1223531.14
17 | 2719840.3667 | 1223513.3795 | 2719843.0464 | 1223519.3047
18 | 2719830.9482 | 1223509.4646 | 2719835.0158 | 1223512.7713 | 2719838.0361 | 1223513.466 | 2719840.3667 | 1223513.3795
19 | 2719837.9278 | 1223526.7519 | 2719843.0464 | 1223519.3047
20 | 2719843.0464 | 1223519.3047 | 2719847.5585 | 1223522.7649 | 2719850.0457 | 1223521.3027 | 2719854.8708 | 1223524.5852
21 | 2719830.9482 | 1223509.4646 | 2719825.5422 | 1223516.4946
22 | 2719830.9482 | 1223509.4646 | 2719824.104 | 1223503.9114 | 2719822.8738 | 1223501.3402
23 | 2719866.8993 | 1223531.14 | 2719863.3145 | 1223529.8877 | 2719858.4343 | 1223527.0094 | 2719854.8708 | 1223524.5852
24 | 2719811.3713 | 1223508.2474 | 2719822.8738 | 1223501.3402
25 | 2719857.5122 | 1223586.326 | 2719852.3696 | 1223593.7487
26 | 2719848.2117 | 1223557.7387 | 2719847.9943 | 1223562.1266 | 2719850.8825 | 1223566.3659 | 2719853.045 | 1223568.0924
27 | 2719847.5587 | 1223600.6924 | 2719852.3696 | 1223593.7487
28 | 2719811.3947 | 1223588.4439 | 2719796.7051 | 1223570.3023
29 | 2719811.3947 | 1223588.4439 | 2719801.4643 | 1223590.7458
30 | 2719783.2762 | 1223553.7176 | 2719796.7051 | 1223570.3023
31 | 2719801.4643 | 1223590.7458 | 2719782.284 | 1223597.5762
32 | 2719801.4643 | 1223590.7458 | 2719790.8693 | 1223581.6033 | 2719781.963 | 1223584.546
33 | 2719848.2117 | 1223557.7387 | 2719841.3709 | 1223553.6838
34 | 2719848.2117 | 1223557.7387 | 2719853.862 | 1223549.66
35 | 2719847.5587 | 1223600.6924 | 2719845.237 | 1223603.759
36 | 2719749.6678 | 1223571.6333 | 2719751.9324 | 1223576.3269 | 2719753.043 | 1223579.5629 | 2719753.8155 | 1223584.5268 | 2719754.4208 | 1223593.6461
37 | 2719754.4208 | 1223593.6461 | 2719756.663 | 1223603.2209 | 2719760.3807 | 1223609.2114 | 2719762.048 | 1223608.1553 | 2719767.0266 | 1223605.0196
38 | 2719749.6678 | 1223571.6333 | 2719738.3236 | 1223554.4606
39 | 2719749.6678 | 1223571.6333 | 2719764.7421 | 1223559.873
40 | 2719767.0266 | 1223605.0196 | 2719770.9605 | 1223602.5302
41 | 2719767.0266 | 1223605.0196 | 2719771.0803 | 1223614.6643 | 2719781.7048 | 1223617.0688 | 2719784.7014 | 1223620.4054
42 | 2719782.284 | 1223597.5762 | 2719780.7083 | 1223598.1373
43 | 2719735.4136 | 1223550.0554 | 2719738.3236 | 1223554.4606
44 | 2719770.9605 | 1223602.5302 | 2719774.0121 | 1223600.6097
45 | 2719810.2629 | 1223646.522 | 2719787.4918 | 1223623.5125 | 2719784.7014 | 1223620.4054
46 | 2719780.7083 | 1223598.1373 | 2719774.3333 | 1223600.4075 | 2719774.0121 | 1223600.6097
47 | 2719728.0589 | 1223539.0955 | 2719731.2497 | 1223543.7522 | 2719735.4136 | 1223550.0554
48 | 2719810.2629 | 1223646.522 | 2719827.1016 | 1223627.0676
49 | 2719783.2762 | 1223553.7176 | 2719787.6264 | 1223550.5249
50 | 2719783.2762 | 1223553.7176 | 2719769.4131 | 1223536.592 | 2719761.3595 | 1223530.0693
51 | 2719728.0589 | 1223539.0955 | 2719733.3917 | 1223530.7963
52 | 2719728.0589 | 1223539.0955 | 2719722.4369 | 1223530.8921
53 | 2719845.237 | 1223603.759 | 2719830.9988 | 1223622.5651 | 2719827.1016 | 1223627.0676
54 | 2719761.3595 | 1223530.0693 | 2719769.5869 | 1223523.4408
55 | 2719722.4369 | 1223530.8921 | 2719719.1494 | 1223526.0951 | 2719716.5622 | 1223519.7158 | 2719714.3463 | 1223515.2345 | 2719710.2264 | 1223508.8689 | 2719703.4277 | 1223500.6702 | 2719698.0528 | 1223495.6026 | 2719694.7409 | 1223494.209

## bus_geodata
| x | y | coords
0 | 2719829.3275 | 1223452.3048
1 | 2719828.0123 | 1223461.3504
2 | 2719826.2588 | 1223473.4105
3 | 2719823.81 | 1223490.2525
4 | 2719823.2851 | 1223493.8626
5 | 2719901.2638 | 1223492.1023
6 | 2719914.4851 | 1223500.6508
7 | 2719902.7259 | 1223518.4056
8 | 2719893.1561 | 1223512.5973
9 | 2719890.6775 | 1223536.5883
10 | 2719864.5606 | 1223481.5973
11 | 2719854.2054 | 1223476.3625
12 | 2719851.0731 | 1223503.021
13 | 2719859.3259 | 1223576.8774
14 | 2719871.63 | 1223532.6892
15 | 2719840.3667 | 1223513.3795
16 | 2719843.0464 | 1223519.3047
17 | 2719830.9483 | 1223509.4646
18 | 2719837.9278 | 1223526.7519
19 | 2719854.8708 | 1223524.5852
20 | 2719825.5422 | 1223516.4946
21 | 2719822.8738 | 1223501.3402
22 | 2719866.8993 | 1223531.14
23 | 2719811.3713 | 1223508.2474
24 | 2719857.5122 | 1223586.326
25 | 2719853.045 | 1223568.0924
26 | 2719852.3696 | 1223593.7487
27 | 2719811.3947 | 1223588.4439
28 | 2719796.7051 | 1223570.3023
29 | 2719801.4643 | 1223590.7458
30 | 2719848.2117 | 1223557.7387
31 | 2719847.5587 | 1223600.6924
32 | 2719781.963 | 1223584.546
33 | 2719754.4208 | 1223593.6461
34 | 2719749.6678 | 1223571.6333
35 | 2719767.0266 | 1223605.0196
36 | 2719782.284 | 1223597.5762
37 | 2719738.3236 | 1223554.4606
38 | 2719764.7421 | 1223559.873
39 | 2719770.9605 | 1223602.5302
40 | 2719784.7014 | 1223620.4054
41 | 2719780.7083 | 1223598.1373
42 | 2719735.4136 | 1223550.0554
43 | 2719774.0121 | 1223600.6097
44 | 2719810.2629 | 1223646.522
45 | 2719783.2762 | 1223553.7176
46 | 2719728.0589 | 1223539.0955
47 | 2719845.237 | 1223603.759
48 | 2719827.1016 | 1223627.0676
49 | 2719787.6264 | 1223550.5249
50 | 2719761.3595 | 1223530.0693
51 | 2719769.5869 | 1223523.4408
52 | 2719733.3917 | 1223530.7963
53 | 2719722.4369 | 1223530.8921
54 | 2719694.7409 | 1223494.209
55 | 2719853.862 | 1223549.66
56 | 2719841.3709 | 1223553.6838
57 | 2719843.0464 | 1223519.3047

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9962 | -0.072887 | 0.010997 | 0.0027562
1 | 0.99629 | -0.071122 | 0.0067382 | 0.0016888
2 | 0.99649 | -0.067327 | 0.011951 | 0.0029951
3 | 0.99695 | -0.058463 | 0.0076677 | 0.0019217
4 | 0.99707 | -0.056074 | 0.013339 | 0.0033431
5 | 0.99423 | -0.10979 | 0.0052667 | 0.00132
6 | 0.99431 | -0.10833 | 0 | 0
7 | 0.99441 | -0.10636 | 0 | 0
8 | 0.99413 | -0.11171 | 0.027195 | 0.0068157
9 | 0.99506 | -0.093892 | 0 | 0
10 | 0.99811 | -0.03611 | 0 | 0
11 | 0.99799 | -0.038505 | 0.011823 | 0.0029632
12 | 0.99838 | -0.030875 | 0.006955 | 0.0017431
13 | 0.9907 | -0.17708 | 0 | 0
14 | 0.99689 | -0.059101 | 0.0052231 | 0.001309
15 | 0.99865 | -0.025796 | 0 | 0
16 | 0.99913 | -0.016433 | 0 | 0
17 | 0.99803 | -0.037653 | 0 | 0
18 | 1 | 0 | -0.31806 | -0.080642
19 | 0.99811 | -0.035781 | 0.016107 | 0.0040367
20 | 0.99798 | -0.038611 | 0.0061758 | 0.0015478
21 | 0.99742 | -0.049379 | 0 | 0
22 | 0.99721 | -0.053017 | 0.0054971 | 0.0013777
23 | 0.99734 | -0.050976 | 0.0068062 | 0.0017058
24 | 0.9892 | -0.20595 | 0 | 0
25 | 0.99027 | -0.18553 | 0.0081623 | 0.0020457
26 | 0.98812 | -0.22667 | 0.00886 | 0.0022205
27 | 0.97491 | -0.48362 | 0 | 0
28 | 0.97436 | -0.49446 | 0.0068832 | 0.0017251
29 | 0.97515 | -0.47891 | 0 | 0
30 | 0.98988 | -0.19304 | 0 | 0
31 | 0.98718 | -0.24476 | 0 | 0
32 | 0.97488 | -0.48439 | 0.012802 | 0.0032085
33 | 0.9759 | -0.46428 | 0 | 0
34 | 0.97521 | -0.47778 | 0 | 0
35 | 0.97664 | -0.44965 | 0 | 0
36 | 0.97588 | -0.46469 | 0.0044915 | 0.0011257
37 | 0.97472 | -0.48745 | 0.0058923 | 0.0014767
38 | 0.97509 | -0.48014 | 0.0067263 | 0.0016858
39 | 0.97642 | -0.45395 | 0 | 0
40 | 0.97864 | -0.41053 | 0.0031683 | 0.00079405
41 | 0.97594 | -0.46339 | 0.0040394 | 0.0010124
42 | 0.97462 | -0.48936 | 0.0061614 | 0.0015442
43 | 0.97625 | -0.45729 | 0.0040336 | 0.0010109
44 | 0.98157 | -0.35337 | 0 | 0
45 | 0.974 | -0.50168 | 0 | 0
46 | 0.97446 | -0.49264 | 0 | 0
47 | 0.98675 | -0.253 | 0.006092 | 0.0015268
48 | 0.98363 | -0.31334 | 0.027538 | 0.0069018
49 | 0.97394 | -0.5028 | 0.011236 | 0.002816
50 | 0.97378 | -0.50596 | 0 | 0
51 | 0.97371 | -0.50735 | 0.0071876 | 0.0018014
52 | 0.97439 | -0.49396 | 0.0072979 | 0.001829
53 | 0.9744 | -0.49378 | 0.0029476 | 0.00073875
54 | 0.97426 | -0.49663 | 0.0033102 | 0.00082961
55 | 0.98984 | -0.19382 | 0.0044686 | 0.0011199
56 | 0.98966 | -0.19727 | 0.029895 | 0.0074923
57 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.010997 | -0.0027562 | 0.010998 | 0.0027567 | 9.2494e-07 | 4.7294e-07 | 0.016427 | 0.016427 | 0.016427 | 0.9962 | -0.072887 | 0.99629 | -0.071122 | 4.5128
1 | -0.017737 | -0.0044454 | 0.01774 | 0.0044473 | 3.2071e-06 | 1.8938e-06 | 0.026491 | 0.026491 | 0.026491 | 0.99629 | -0.071122 | 0.99649 | -0.067327 | 7.2776
2 | -0.02969 | -0.0074424 | 0.029703 | 0.0074502 | 1.2545e-05 | 7.8071e-06 | 0.044336 | 0.044336 | 0.044336 | 0.99649 | -0.067327 | 0.99695 | -0.058463 | 12.1802
3 | -0.037371 | -0.0093719 | 0.037375 | 0.0093746 | 4.2566e-06 | 2.6766e-06 | 0.05578 | 0.05578 | 0.05578 | 0.99695 | -0.058463 | 0.99707 | -0.056074 | 15.3243
4 | -0.050714 | -0.012718 | 0.05073 | 0.012728 | 1.6187e-05 | 1.0261e-05 | 0.075687 | 0.075687 | 0.075687 | 0.99707 | -0.056074 | 0.99742 | -0.049379 | 20.7933
5 | -0.0052667 | -0.00132 | 0.0052671 | 0.00132 | 3.6684e-07 | 3.0581e-08 | 0.0078825 | 0.0078824 | 0.0078825 | 0.99423 | -0.10979 | 0.99431 | -0.10833 | 2.1655
6 | -0.0052671 | -0.00132 | 0.0052676 | 0.00132 | 4.9583e-07 | 4.1279e-08 | 0.0078824 | 0.0078823 | 0.0078824 | 0.99431 | -0.10833 | 0.99441 | -0.10636 | 2.1655
7 | 0.027202 | 0.00682 | -0.027195 | -0.0068157 | 6.9411e-06 | 4.2974e-06 | 0.040706 | 0.040706 | 0.040706 | 0.99441 | -0.10636 | 0.99413 | -0.11171 | 11.1828
8 | -0.03247 | -0.0081401 | 0.032489 | 0.0081522 | 1.9297e-05 | 1.2067e-05 | 0.048588 | 0.048588 | 0.048588 | 0.99441 | -0.10636 | 0.99506 | -0.093892 | 13.3483
9 | 0.17343 | 0.04433 | -0.17274 | -0.043887 | 0.00069485 | 0.00044328 | 0.25966 | 0.25966 | 0.25966 | 0.99506 | -0.093892 | 0.9907 | -0.17708 | 35.6677
10 | -0.20592 | -0.052483 | 0.20627 | 0.052704 | 0.00034638 | 0.00022118 | 0.30825 | 0.30825 | 0.30825 | 0.99506 | -0.093892 | 0.99689 | -0.059101 | 42.3417
11 | 0.011825 | 0.0029639 | -0.011823 | -0.0029632 | 1.3491e-06 | 7.1212e-07 | 0.017629 | 0.017629 | 0.017629 | 0.99811 | -0.03611 | 0.99799 | -0.038505 | 4.8431
12 | -0.011825 | -0.0029639 | 0.011828 | 0.0029655 | 2.9503e-06 | 1.5572e-06 | 0.017629 | 0.017629 | 0.017629 | 0.99811 | -0.03611 | 0.99838 | -0.030875 | 4.843
13 | -0.018783 | -0.0047086 | 0.018787 | 0.0047113 | 4.5465e-06 | 2.7074e-06 | 0.027994 | 0.027994 | 0.027994 | 0.99838 | -0.030875 | 0.99865 | -0.025796 | 7.6908
14 | 0.13018 | 0.033207 | -0.13 | -0.033091 | 0.00018121 | 0.00011581 | 0.19573 | 0.19573 | 0.19573 | 0.9907 | -0.17708 | 0.9892 | -0.20595 | 53.7722
15 | 0.042561 | 0.01068 | -0.042544 | -0.010669 | 1.7136e-05 | 1.0823e-05 | 0.063931 | 0.063931 | 0.063931 | 0.9907 | -0.17708 | 0.99027 | -0.18553 | 17.5633
16 | -0.21149 | -0.054013 | 0.21155 | 0.054052 | 6.2222e-05 | 3.9627e-05 | 0.31604 | 0.31604 | 0.31604 | 0.99689 | -0.059101 | 0.99721 | -0.053017 | 28.9417
17 | -0.082568 | -0.020736 | 0.082605 | 0.02076 | 3.6904e-05 | 2.3533e-05 | 0.12304 | 0.12304 | 0.12304 | 0.99865 | -0.025796 | 0.99913 | -0.016433 | 33.8035
18 | 0.063781 | 0.016025 | -0.063745 | -0.016002 | 3.6075e-05 | 2.2949e-05 | 0.09505 | 0.09505 | 0.09505 | 0.99865 | -0.025796 | 0.99803 | -0.037653 | 26.1127
19 | -0.31616 | -0.080481 | 0.31641 | 0.080641 | 0.00025072 | 0.00016011 | 0.4713 | 0.4713 | 0.4713 | 0.99913 | -0.016433 | 1 | 0 | 43.1595
20 | 0.23356 | 0.059721 | -0.23334 | -0.059582 | 0.00021842 | 0.00013922 | 0.34826 | 0.34826 | 0.34826 | 0.99913 | -0.016433 | 0.99811 | -0.035781 | 31.8918
21 | 0.0061761 | 0.0015479 | -0.0061758 | -0.0015478 | 2.8172e-07 | 6.4527e-08 | 0.0092082 | 0.0092083 | 0.0092083 | 0.99803 | -0.037653 | 0.99798 | -0.038611 | 2.5297
22 | 0.057569 | 0.014454 | -0.057537 | -0.014434 | 3.2184e-05 | 2.0446e-05 | 0.085842 | 0.085842 | 0.085842 | 0.99803 | -0.037653 | 0.99742 | -0.049379 | 23.583
23 | 0.21723 | 0.055545 | -0.21705 | -0.05543 | 0.000181 | 0.0001153 | 0.32425 | 0.32425 | 0.32425 | 0.99811 | -0.035781 | 0.99721 | -0.053017 | 29.6929
24 | 0.0068067 | 0.0017059 | -0.0068062 | -0.0017058 | 5.1778e-07 | 1.5663e-07 | 0.010155 | 0.010155 | 0.010155 | 0.99742 | -0.049379 | 0.99734 | -0.050976 | 2.7898
25 | 0.13 | 0.033091 | -0.12987 | -0.033008 | 0.00012973 | 8.2912e-05 | 0.19573 | 0.19573 | 0.19573 | 0.9892 | -0.20595 | 0.98812 | -0.22667 | 53.7722
26 | 0.034382 | 0.0086237 | -0.034369 | -0.0086159 | 1.2302e-05 | 7.7155e-06 | 0.051666 | 0.051666 | 0.051666 | 0.99027 | -0.18553 | 0.98988 | -0.19304 | 14.1939
27 | 0.12101 | 0.030788 | -0.1209 | -0.03072 | 0.00010538 | 6.7334e-05 | 0.18239 | 0.18239 | 0.18239 | 0.98812 | -0.22667 | 0.98718 | -0.24476 | 50.1068
28 | 0.025329 | 0.0063554 | -0.025316 | -0.0063473 | 1.3085e-05 | 8.0833e-06 | 0.038662 | 0.038662 | 0.038662 | 0.97491 | -0.48362 | 0.97436 | -0.49446 | 10.6215
29 | -0.025329 | -0.0063554 | 0.025335 | 0.0063589 | 5.6984e-06 | 3.5202e-06 | 0.038662 | 0.038662 | 0.038662 | 0.97491 | -0.48362 | 0.97515 | -0.47891 | 10.6215
30 | 0.018433 | 0.0046222 | -0.018426 | -0.0046184 | 6.3416e-06 | 3.7929e-06 | 0.028151 | 0.028151 | 0.028151 | 0.97436 | -0.49446 | 0.974 | -0.50168 | 7.7337
31 | -0.03814 | -0.0095693 | 0.038166 | 0.0095856 | 2.5864e-05 | 1.6299e-05 | 0.058203 | 0.058203 | 0.058203 | 0.97515 | -0.47891 | 0.97588 | -0.46469 | 15.9898
32 | 0.012805 | 0.0032104 | -0.012802 | -0.0032085 | 3.3469e-06 | 1.8505e-06 | 0.019541 | 0.019541 | 0.019541 | 0.97515 | -0.47891 | 0.97488 | -0.48439 | 5.3683
33 | 0.029901 | 0.007496 | -0.029895 | -0.0074923 | 6.0248e-06 | 3.7537e-06 | 0.044948 | 0.044948 | 0.044948 | 0.98988 | -0.19304 | 0.98966 | -0.19727 | 12.3484
34 | 0.0044687 | 0.0011199 | -0.0044686 | -0.0011199 | 1.6683e-07 | -1.996e-08 | 0.0067175 | 0.0067175 | 0.0067175 | 0.98988 | -0.19304 | 0.98984 | -0.19382 | 1.8455
35 | 0.1209 | 0.03072 | -0.12085 | -0.03069 | 4.7981e-05 | 3.0659e-05 | 0.18239 | 0.18239 | 0.18239 | 0.98718 | -0.24476 | 0.98675 | -0.253 | 50.1068
36 | 0.032374 | 0.0081269 | -0.032353 | -0.0081139 | 2.0834e-05 | 1.3049e-05 | 0.049368 | 0.049368 | 0.049368 | 0.9759 | -0.46428 | 0.97521 | -0.47778 | 13.5627
37 | -0.032374 | -0.0081269 | 0.032397 | 0.0081411 | 2.2613e-05 | 1.4163e-05 | 0.049368 | 0.049368 | 0.049368 | 0.9759 | -0.46428 | 0.97664 | -0.44965 | 13.5626
38 | 0.025626 | 0.0064279 | -0.025615 | -0.0064206 | 1.1802e-05 | 7.2963e-06 | 0.039104 | 0.039104 | 0.039104 | 0.97521 | -0.47778 | 0.97472 | -0.48745 | 10.7428
39 | 0.006727 | 0.001686 | -0.0067263 | -0.0016858 | 7.5539e-07 | 2.4493e-07 | 0.010264 | 0.010264 | 0.010264 | 0.97521 | -0.47778 | 0.97509 | -0.48014 | 2.8199
40 | 0.050765 | 0.012757 | -0.050755 | -0.01275 | 1.0426e-05 | 6.6146e-06 | 0.077358 | 0.077358 | 0.077358 | 0.97664 | -0.44965 | 0.97642 | -0.45395 | 21.2522
41 | -0.083162 | -0.020898 | 0.083318 | 0.020997 | 0.00015561 | 9.927e-05 | 0.12673 | 0.12673 | 0.12673 | 0.97664 | -0.44965 | 0.97864 | -0.41053 | 34.8148
42 | -0.042657 | -0.010711 | 0.04266 | 0.010713 | 2.6542e-06 | 1.6778e-06 | 0.065051 | 0.065051 | 0.065051 | 0.97588 | -0.46469 | 0.97594 | -0.46339 | 17.8712
43 | 0.019722 | 0.0049438 | -0.019721 | -0.0049427 | 1.7948e-06 | 1.0829e-06 | 0.030109 | 0.030109 | 0.030109 | 0.97472 | -0.48745 | 0.97462 | -0.48936 | 8.2716
44 | 0.050755 | 0.01275 | -0.050747 | -0.012745 | 8.0914e-06 | 5.1334e-06 | 0.077358 | 0.077358 | 0.077358 | 0.97642 | -0.45395 | 0.97625 | -0.45729 | 21.2522
45 | -0.086486 | -0.021791 | 0.086723 | 0.021942 | 0.00023716 | 0.00015132 | 0.13154 | 0.13154 | 0.13154 | 0.97864 | -0.41053 | 0.98157 | -0.35337 | 36.1383
46 | -0.046699 | -0.011725 | 0.046713 | 0.011734 | 1.359e-05 | 8.6083e-06 | 0.07121 | 0.07121 | 0.07121 | 0.97594 | -0.46339 | 0.97625 | -0.45729 | 19.5632
47 | 0.013559 | 0.0033986 | -0.013557 | -0.0033974 | 2.1213e-06 | 1.1931e-06 | 0.020702 | 0.020702 | 0.020702 | 0.97462 | -0.48936 | 0.97446 | -0.49264 | 5.6873
48 | -0.086723 | -0.021942 | 0.08689 | 0.022049 | 0.00016696 | 0.00010653 | 0.13154 | 0.13154 | 0.13154 | 0.98157 | -0.35337 | 0.98363 | -0.31334 | 36.1382
49 | 0.011237 | 0.0028163 | -0.011236 | -0.002816 | 5.9522e-07 | 3.1391e-07 | 0.017167 | 0.017167 | 0.017167 | 0.974 | -0.50168 | 0.97394 | -0.5028 | 4.7162
50 | 0.0071896 | 0.0018021 | -0.0071881 | -0.0018016 | 1.4638e-06 | 5.3423e-07 | 0.010984 | 0.010984 | 0.010984 | 0.974 | -0.50168 | 0.97378 | -0.50596 | 3.0176
51 | 0.0072984 | 0.0018292 | -0.0072979 | -0.001829 | 4.5916e-07 | 1.7106e-07 | 0.011145 | 0.011145 | 0.011145 | 0.97446 | -0.49264 | 0.97439 | -0.49396 | 3.0618
52 | 0.0062586 | 0.0015682 | -0.0062583 | -0.0015681 | 3.4062e-07 | 9.4113e-08 | 0.0095569 | 0.0095569 | 0.0095569 | 0.97446 | -0.49264 | 0.9744 | -0.49378 | 2.6255
53 | 0.11476 | 0.029163 | -0.11443 | -0.028951 | 0.00033235 | 0.00021233 | 0.1732 | 0.1732 | 0.1732 | 0.98675 | -0.253 | 0.98363 | -0.31334 | 47.583
54 | 0.0071881 | 0.0018016 | -0.0071876 | -0.0018014 | 4.7723e-07 | 1.7421e-07 | 0.010984 | 0.010984 | 0.010984 | 0.97378 | -0.50596 | 0.97371 | -0.50735 | 3.0176
55 | 0.0033106 | 0.00082931 | -0.0033102 | -0.00082961 | 4.4965e-07 | -2.9649e-07 | 0.0050556 | 0.0050558 | 0.0050558 | 0.9744 | -0.49378 | 0.97426 | -0.49663 | 1.3889

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.32421 | 0.082182

## res_load
| p_mw | q_mvar
0 | 0.010997 | 0.0027562
1 | 0.0067382 | 0.0016888
2 | 0.011951 | 0.0029951
3 | 0.0076677 | 0.0019217
4 | 0.013339 | 0.0033431
5 | 0.0052667 | 0.00132
6 | 0.027195 | 0.0068157
7 | 0.011823 | 0.0029632
8 | 0.006955 | 0.0017431
9 | 0.0052231 | 0.001309
10 | 0.0061455 | 0.0015402
11 | 0.016107 | 0.0040367
12 | 0.0061758 | 0.0015478
13 | 0.0054971 | 0.0013777
14 | 0.0068062 | 0.0017058
15 | 0.0081623 | 0.0020457
16 | 0.00886 | 0.0022205
17 | 0.0068832 | 0.0017251
18 | 0.012802 | 0.0032085
19 | 0.0044915 | 0.0011257
20 | 0.0058923 | 0.0014767
21 | 0.0067263 | 0.0016858
22 | 0.0031683 | 0.00079405
23 | 0.0040394 | 0.0010124
24 | 0.0061614 | 0.0015442
25 | 0.0040336 | 0.0010109
26 | 0.006092 | 0.0015268
27 | 0.027538 | 0.0069018
28 | 0.011236 | 0.002816
29 | 0.0071876 | 0.0018014
30 | 0.0072979 | 0.001829
31 | 0.0029476 | 0.00073875
32 | 0.0033102 | 0.00082961
33 | 0.0044686 | 0.0011199
34 | 0.029895 | 0.0074923

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1