## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1630-151_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1630-151_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1630-151_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1630-151_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1630-151_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1630-151_0_2_node_14 | 0.4 | n |  | TRUE
6 | bus_LV_1630-151_0_2_node_37 | 0.4 | n |  | TRUE
7 | bus_LV_1630-151_0_2_node_15 | 0.4 | n |  | TRUE
8 | bus_LV_1630-151_0_2_node_71 | 0.4 | n |  | TRUE
9 | bus_LV_1630-151_0_2_node_36 | 0.4 | n |  | TRUE
10 | bus_LV_1630-151_0_2_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_1630-151_0_2_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_1630-151_0_2_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_1630-151_0_2_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_1630-151_0_2_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_1630-151_0_2_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_1630-151_0_2_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_1630-151_0_2_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_1630-151_0_2_node_25 | 0.4 | n |  | TRUE
19 | bus_LV_1630-151_0_2_node_24 | 0.4 | n |  | TRUE
20 | bus_LV_1630-151_0_2_node_26 | 0.4 | n |  | TRUE
21 | bus_LV_1630-151_0_2_node_27 | 0.4 | n |  | TRUE
22 | bus_LV_1630-151_0_2_node_28 | 0.4 | n |  | TRUE
23 | bus_LV_1630-151_0_2_node_31 | 0.4 | n |  | TRUE
24 | bus_LV_1630-151_0_2_node_30 | 0.4 | n |  | TRUE
25 | bus_LV_1630-151_0_2_node_29 | 0.4 | n |  | TRUE
26 | bus_LV_1630-151_0_2_node_16 | 0.4 | n |  | TRUE
27 | bus_LV_1630-151_0_2_node_17 | 0.4 | n |  | TRUE
28 | bus_LV_1630-151_0_2_node_18 | 0.4 | n |  | TRUE
29 | bus_LV_1630-151_0_2_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_1630-151_0_2_node_21 | 0.4 | n |  | TRUE
31 | bus_LV_1630-151_0_2_node_20 | 0.4 | n |  | TRUE
32 | bus_LV_1630-151_0_2_node_72 | 0.4 | n |  | TRUE
33 | bus_LV_1630-151_0_2_node_73 | 0.4 | n |  | TRUE
34 | bus_LV_1630-151_0_2_node_22 | 0.4 | n |  | TRUE
35 | bus_LV_1630-151_0_2_node_23 | 0.4 | n |  | TRUE
36 | bus_LV_1630-151_0_2_node_74 | 0.4 | n |  | TRUE
37 | bus_LV_1630-151_0_2_node_32 | 0.4 | n |  | TRUE
38 | bus_LV_1630-151_0_2_node_33 | 0.4 | n |  | TRUE
39 | bus_LV_1630-151_0_2_node_34 | 0.4 | n |  | TRUE
40 | bus_LV_1630-151_0_2_node_48 | 0.4 | n |  | TRUE
41 | bus_LV_1630-151_0_2_node_44 | 0.4 | n |  | TRUE
42 | bus_LV_1630-151_0_2_node_69 | 0.4 | n |  | TRUE
43 | bus_LV_1630-151_0_2_node_45 | 0.4 | n |  | TRUE
44 | bus_LV_1630-151_0_2_node_38 | 0.4 | n |  | TRUE
45 | bus_LV_1630-151_0_2_node_39 | 0.4 | n |  | TRUE
46 | bus_LV_1630-151_0_2_node_40 | 0.4 | n |  | TRUE
47 | bus_LV_1630-151_0_2_node_63 | 0.4 | n |  | TRUE
48 | bus_LV_1630-151_0_2_node_64 | 0.4 | n |  | TRUE
49 | bus_LV_1630-151_0_2_node_62 | 0.4 | n |  | TRUE
50 | bus_LV_1630-151_0_2_node_61 | 0.4 | n |  | TRUE
51 | bus_LV_1630-151_0_2_node_41 | 0.4 | n |  | TRUE
52 | bus_LV_1630-151_0_2_node_42 | 0.4 | n |  | TRUE
53 | bus_LV_1630-151_0_2_node_43 | 0.4 | n |  | TRUE
54 | bus_LV_1630-151_0_2_node_47 | 0.4 | n |  | TRUE
55 | bus_LV_1630-151_0_2_node_46 | 0.4 | n |  | TRUE
56 | bus_LV_1630-151_0_2_node_53 | 0.4 | n |  | TRUE
57 | bus_LV_1630-151_0_2_node_49 | 0.4 | n |  | TRUE
58 | bus_LV_1630-151_0_2_node_70 | 0.4 | n |  | TRUE
59 | bus_LV_1630-151_0_2_node_66 | 0.4 | n |  | TRUE
60 | bus_LV_1630-151_0_2_node_50 | 0.4 | n |  | TRUE
61 | bus_LV_1630-151_0_2_node_51 | 0.4 | n |  | TRUE
62 | bus_LV_1630-151_0_2_node_52 | 0.4 | n |  | TRUE
63 | bus_LV_1630-151_0_2_node_55 | 0.4 | n |  | TRUE
64 | bus_LV_1630-151_0_2_node_54 | 0.4 | n |  | TRUE
65 | bus_LV_1630-151_0_2_node_68 | 0.4 | n |  | TRUE
66 | bus_LV_1630-151_0_2_node_60 | 0.4 | n |  | TRUE
67 | bus_LV_1630-151_0_2_node_67 | 0.4 | n |  | TRUE
68 | bus_LV_1630-151_0_2_node_59 | 0.4 | n |  | TRUE
69 | bus_LV_1630-151_0_2_node_56 | 0.4 | n |  | TRUE
70 | bus_LV_1630-151_0_2_node_57 | 0.4 | n |  | TRUE
71 | bus_LV_1630-151_0_2_node_58 | 0.4 | n |  | TRUE
72 | bus_LV_1630-151_0_2_node_65 | 0.4 | n |  | TRUE
73 | bus_LV_1630-151_0_2_node_76 | 0.4 | n |  | TRUE
74 | bus_LV_1630-151_0_2_node_75 | 0.4 | n |  | TRUE
75 | bus_MV_152_0_node_11 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1630-151_0_2_load_0 | 0 | 0.0024039 | 0.00060247 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1630-151_0_2_load_2 | 2 | 0.0011905 | 0.00029836 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1630-151_0_2_load_3 | 3 | 0.0034459 | 0.00086362 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1630-151_0_2_load_4 | 4 | 0.00063606 | 0.00015941 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1630-151_0_2_load_37 | 6 | 0.00053793 | 0.00013482 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1630-151_0_2_load_71 | 8 | 0.0027683 | 0.00069379 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1630-151_0_2_load_36 | 9 | 0.0016639 | 0.00041702 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1630-151_0_2_load_5 | 10 | 0.0015203 | 0.00038103 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1630-151_0_2_load_6 | 11 | 0.0013997 | 0.00035079 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1630-151_0_2_load_10 | 13 | 0.00075336 | 0.00018881 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1630-151_0_2_load_8 | 14 | 0.0057644 | 0.0014447 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1630-151_0_2_load_11 | 16 | 0.0011566 | 0.00028988 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1630-151_0_2_load_13 | 17 | 0.0033413 | 0.0008374 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1630-151_0_2_load_25 | 18 | 0.0020234 | 0.00050711 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1630-151_0_2_load_27 | 21 | 0.0012283 | 0.00030784 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1630-151_0_2_load_31 | 23 | 0.0014956 | 0.00037483 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1630-151_0_2_load_30 | 24 | 0.0019744 | 0.00049483 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1630-151_0_2_load_16 | 26 | 0.0006956 | 0.00017433 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1630-151_0_2_load_21 | 30 | 0.0016906 | 0.0004237 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1630-151_0_2_load_73 | 33 | 0.0015943 | 0.00039957 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1630-151_0_2_load_22 | 34 | 0.004474 | 0.0011213 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1630-151_0_2_load_23 | 35 | 0.0026518 | 0.00066461 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1630-151_0_2_load_74 | 36 | 0.0006706 | 0.00016807 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1630-151_0_2_load_32 | 37 | 0.0011259 | 0.00028218 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1630-151_0_2_load_33 | 38 | 0.0018534 | 0.00046451 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1630-151_0_2_load_34 | 39 | 0.0012481 | 0.00031281 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1630-151_0_2_load_44 | 41 | 0.0024232 | 0.00060731 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1630-151_0_2_load_69 | 42 | 0.00091406 | 0.00022908 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1630-151_0_2_load_39 | 45 | 0.0012488 | 0.00031299 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1630-151_0_2_load_63 | 47 | 0.0011778 | 0.00029519 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1630-151_0_2_load_64 | 48 | 0.00073711 | 0.00018474 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1630-151_0_2_load_62 | 49 | 0.0010392 | 0.00026045 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1630-151_0_2_load_41 | 51 | 0.0010678 | 0.00026762 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1630-151_0_2_load_43 | 53 | 0.0012168 | 0.00030496 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1630-151_0_2_load_53 | 56 | 0.00076799 | 0.00019248 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1630-151_0_2_load_49 | 57 | 0.00096436 | 0.00024169 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1630-151_0_2_load_70 | 58 | 0.00084699 | 0.00021228 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1630-151_0_2_load_66 | 59 | 0.00078368 | 0.00019641 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1630-151_0_2_load_52 | 62 | 0.0016376 | 0.00041043 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1630-151_0_2_load_54 | 64 | 0.0022633 | 0.00056724 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1630-151_0_2_load_68 | 65 | 0.0011593 | 0.00029056 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1630-151_0_2_load_67 | 67 | 0.00086992 | 0.00021802 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1630-151_0_2_load_56 | 69 | 0.0016459 | 0.00041249 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1630-151_0_2_load_57 | 70 | 0.0016846 | 0.00042219 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1630-151_0_2_load_58 | 71 | 0.0012026 | 0.00030139 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1630-151_0_2_load_76 | 73 | 0.00081839 | 0.00020511 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1630-151_0_2_load_75 | 74 | 0.0013704 | 0.00034346 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 3 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1630-151_0_2_line_0 |  | 0 | 1 | 0.011001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1630-151_0_2_line_1 |  | 0 | 2 | 0.023522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1630-151_0_2_line_2 |  | 1 | 3 | 0.06247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1630-151_0_2_line_3 |  | 1 | 4 | 0.069451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1630-151_0_2_line_4 |  | 3 | 5 | 0.068702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1630-151_0_2_line_5 |  | 4 | 6 | 0.0036653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1630-151_0_2_line_6 |  | 5 | 7 | 0.1304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1630-151_0_2_line_7 |  | 5 | 8 | 0.15022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1630-151_0_2_line_8 |  | 6 | 9 | 0.061724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1630-151_0_2_line_9 |  | 7 | 23 | 0.03935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1630-151_0_2_line_10 |  | 7 | 24 | 0.026148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1630-151_0_2_line_11 |  | 8 | 25 | 0.012993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1630-151_0_2_line_12 |  | 9 | 44 | 0.039778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1630-151_0_2_line_13 |  | 10 | 11 | 0.015085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1630-151_0_2_line_14 |  | 10 | 12 | 0.084127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1630-151_0_2_line_15 |  | 11 | 13 | 0.12137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1630-151_0_2_line_16 |  | 12 | 14 | 0.018293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1630-151_0_2_line_17 |  | 12 | 15 | 0.075935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1630-151_0_2_line_18 |  | 13 | 16 | 0.014411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1630-151_0_2_line_19 |  | 15 | 17 | 0.044658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1630-151_0_2_line_20 |  | 15 | 18 | 0.14639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1630-151_0_2_line_21 |  | 18 | 19 | 0.021353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1630-151_0_2_line_22 |  | 19 | 20 | 0.08183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1630-151_0_2_line_23 |  | 19 | 35 | 0.010379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1630-151_0_2_line_24 |  | 20 | 21 | 0.02485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1630-151_0_2_line_25 |  | 21 | 22 | 0.055354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1630-151_0_2_line_26 |  | 22 | 25 | 0.003924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1630-151_0_2_line_27 |  | 26 | 27 | 0.097074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1630-151_0_2_line_28 |  | 26 | 28 | 0.014264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1630-151_0_2_line_29 |  | 27 | 29 | 0.091279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1630-151_0_2_line_30 |  | 28 | 30 | 0.013744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1630-151_0_2_line_31 |  | 28 | 31 | 0.046224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1630-151_0_2_line_32 |  | 29 | 32 | 0.007138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1630-151_0_2_line_33 |  | 29 | 33 | 0.010645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1630-151_0_2_line_34 |  | 31 | 34 | 0.0144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1630-151_0_2_line_35 |  | 31 | 35 | 0.14221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1630-151_0_2_line_36 |  | 32 | 36 | 0.021378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1630-151_0_2_line_37 |  | 37 | 38 | 0.04869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1630-151_0_2_line_38 |  | 37 | 39 | 0.0011831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1630-151_0_2_line_39 |  | 39 | 40 | 0.15705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1630-151_0_2_line_40 |  | 40 | 41 | 0.020402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1630-151_0_2_line_41 |  | 41 | 52 | 0.012166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1630-151_0_2_line_42 |  | 42 | 43 | 0.072852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1630-151_0_2_line_43 |  | 43 | 54 | 0.062588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1630-151_0_2_line_44 |  | 44 | 45 | 0.039625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1630-151_0_2_line_45 |  | 44 | 46 | 0.047095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1630-151_0_2_line_46 |  | 46 | 47 | 0.008858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1630-151_0_2_line_47 |  | 46 | 48 | 0.016264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1630-151_0_2_line_48 |  | 46 | 49 | 0.025348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1630-151_0_2_line_49 |  | 49 | 50 | 0.019451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1630-151_0_2_line_50 |  | 50 | 72 | 0.007001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1630-151_0_2_line_51 |  | 50 | 68 | 0.035625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1630-151_0_2_line_52 |  | 51 | 52 | 0.01249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1630-151_0_2_line_53 |  | 51 | 53 | 0.012485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1630-151_0_2_line_54 |  | 52 | 54 | 0.11906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1630-151_0_2_line_55 |  | 54 | 58 | 0.003573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1630-151_0_2_line_56 |  | 54 | 55 | 0.032923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1630-151_0_2_line_57 |  | 55 | 56 | 0.012873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1630-151_0_2_line_58 |  | 55 | 57 | 0.044382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1630-151_0_2_line_59 |  | 56 | 59 | 0.012027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_1630-151_0_2_line_60 |  | 57 | 60 | 0.01455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_1630-151_0_2_line_61 |  | 60 | 61 | 0.02618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_1630-151_0_2_line_62 |  | 60 | 62 | 0.011138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_1630-151_0_2_line_63 |  | 61 | 63 | 0.019284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_1630-151_0_2_line_64 |  | 61 | 64 | 0.04193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_1630-151_0_2_line_65 |  | 63 | 65 | 0.011159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_1630-151_0_2_line_66 |  | 63 | 66 | 0.031596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_1630-151_0_2_line_67 |  | 66 | 67 | 0.006159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_1630-151_0_2_line_68 |  | 66 | 68 | 0.009988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_1630-151_0_2_line_69 |  | 68 | 70 | 0.041133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_1630-151_0_2_line_70 |  | 69 | 70 | 0.005907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_1630-151_0_2_line_71 |  | 69 | 71 | 0.016607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_1630-151_0_2_line_72 |  | 72 | 73 | 0.004905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_1630-151_0_2_line_73 |  | 72 | 74 | 0.021365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1630-151_0_2_trafo_3 | 0.63 MVA 20/0.4 kV | 75 | 3 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19
0 | 2726270.951 | 1216378.5101 | 2726274.0987 | 1216372.2607 | 2726277.6527 | 1216370.418
1 | 2726298.5351 | 1216359.5907 | 2726277.6527 | 1216370.418
2 | 2726270.951 | 1216378.5101 | 2726279.5878 | 1216404.6025 | 2726286.5562 | 1216431.2934 | 2726286.7954 | 1216438.6896
3 | 2726270.951 | 1216378.5101 | 2726264.9804 | 1216372.4566 | 2726260.6523 | 1216363.4467 | 2726260.0252 | 1216361.4986 | 2726260.1245 | 1216358.6095 | 2726261.8523 | 1216355.5659 | 2726266.9381 | 1216347.4673 | 2726268.5011 | 1216341.0954 | 2726271.5193 | 1216321.9665 | 2726271.5848 | 1216314.9401
4 | 2726260.2791 | 1216501.0695 | 2726264.4169 | 1216496.8427 | 2726269.5172 | 1216486.9763 | 2726285.6296 | 1216448.4873 | 2726286.937 | 1216443.0663 | 2726286.7954 | 1216438.6896
5 | 2726270.6964 | 1216311.3841 | 2726271.5848 | 1216314.9401
6 | 2726134.9885 | 1216496.6021 | 2726144.6184 | 1216495.1937 | 2726176.0169 | 1216482.9598 | 2726188.5109 | 1216480.8003 | 2726198.2084 | 1216482.6516 | 2726248.2722 | 1216498.1684 | 2726260.2791 | 1216501.0695
7 | 2726260.2791 | 1216501.0695 | 2726380.0807 | 1216591.691
8 | 2726224.8533 | 1216273.773 | 2726226.0443 | 1216276.9345 | 2726231.7046 | 1216282.581 | 2726263.1316 | 1216298.8039 | 2726269.5405 | 1216306.757 | 2726270.6964 | 1216311.3841
9 | 2726134.9885 | 1216496.6021 | 2726128.8961 | 1216488.0554 | 2726126.6467 | 1216484.5272 | 2726125.125 | 1216479.6356 | 2726121.5753 | 1216460.4009
10 | 2726134.9885 | 1216496.6021 | 2726147.4188 | 1216509.998 | 2726150.9415 | 1216511.8518 | 2726154.2906 | 1216513.8362
11 | 2726380.0807 | 1216591.691 | 2726389.4683 | 1216592.0347 | 2726393.0905 | 1216591.7002
12 | 2726215.1079 | 1216236.0374 | 2726220.0031 | 1216244.1029 | 2726221.6531 | 1216248.319 | 2726222.0147 | 1216261.3591 | 2726223.7936 | 1216270.9599 | 2726224.8533 | 1216273.773
13 | 2726611.0492 | 1216271.162 | 2726604.1398 | 1216270.3369 | 2726599.7854 | 1216270.0886 | 2726596.4957 | 1216271.9202
14 | 2726568.3683 | 1216346.3594 | 2726569.7335 | 1216341.807 | 2726572.8095 | 1216338.9478 | 2726582.6778 | 1216330.6286 | 2726587.2753 | 1216325.5111 | 2726590.5519 | 1216320.3655 | 2726593.3512 | 1216313.375 | 2726594.8536 | 1216297.0051 | 2726594.9908 | 1216279.472 | 2726595.4981 | 1216274.1897 | 2726596.4957 | 1216271.9202
15 | 2726611.0492 | 1216271.162 | 2726728.5282 | 1216240.6901
16 | 2726551.2496 | 1216350.2545 | 2726562.8349 | 1216345.8415 | 2726565.2295 | 1216345.025 | 2726568.3683 | 1216346.3594
17 | 2726545.8576 | 1216409.2088 | 2726567.2578 | 1216393.9733 | 2726565.7372 | 1216380.8196 | 2726566.9806 | 1216375.9199 | 2726571.5494 | 1216368.2219 | 2726572.0228 | 1216364.5291 | 2726572.1987 | 1216360.1849 | 2726569.695 | 1216351.1246 | 2726568.3683 | 1216346.3594
18 | 2726728.5282 | 1216240.6901 | 2726732.4719 | 1216241.3189 | 2726738.2607 | 1216249.9796
19 | 2726545.8576 | 1216409.2088 | 2726531.0197 | 1216367.0873
20 | 2726545.8576 | 1216409.2088 | 2726518.5816 | 1216553.0321
21 | 2726523.9788 | 1216573.5406 | 2726521.5261 | 1216559.5775 | 2726518.5816 | 1216553.0321
22 | 2726453.31 | 1216543.0613 | 2726513.9076 | 1216578.92 | 2726523.9788 | 1216573.5406
23 | 2726523.9788 | 1216573.5406 | 2726529.1333 | 1216570.7923 | 2726532.109 | 1216568.7205 | 2726532.2964 | 1216567.8285
24 | 2726453.31 | 1216543.0613 | 2726447.6715 | 1216558.9431 | 2726445.5091 | 1216565.28 | 2726444.82 | 1216566.3841
25 | 2726397.0095 | 1216591.3386 | 2726403.9863 | 1216587.1832 | 2726408.3013 | 1216584.9841 | 2726431.4706 | 1216577.5919 | 2726436.9068 | 1216575.5278 | 2726441.4129 | 1216571.8427 | 2726444.82 | 1216566.3841
26 | 2726397.0095 | 1216591.3386 | 2726393.0905 | 1216591.7002
27 | 2726582.6508 | 1216774.2893 | 2726588.3853 | 1216772.8321 | 2726591.1897 | 1216771.3127 | 2726594.1015 | 1216764.736 | 2726610.7269 | 1216746.8417 | 2726625.1597 | 1216734.9167 | 2726636.768 | 1216721.8864 | 2726640.1464 | 1216715.8756 | 2726644.5897 | 1216707.9971 | 2726647.6775 | 1216705.0963
28 | 2726660.3188 | 1216698.6907 | 2726649.1154 | 1216703.7455 | 2726647.6775 | 1216705.0963
29 | 2726582.6508 | 1216774.2893 | 2726582.1587 | 1216778.8602 | 2726581.4306 | 1216783.1037 | 2726577.5513 | 1216788.7479 | 2726564.622 | 1216798.9036 | 2726551.9676 | 1216811.5004 | 2726536.57 | 1216832.39 | 2726532.2945 | 1216839.8829 | 2726531.5145 | 1216846.5717
30 | 2726660.3188 | 1216698.6907 | 2726669.9019 | 1216708.5429
31 | 2726622.8956 | 1216677.4454 | 2726624.4423 | 1216682.9271 | 2726628.1127 | 1216685.685 | 2726651.3738 | 1216690.761 | 2726655.3736 | 1216692.6697 | 2726660.3188 | 1216698.6907
32 | 2726531.9175 | 1216853.6969 | 2726531.5145 | 1216846.5717
33 | 2726522.5222 | 1216852.3075 | 2726531.5145 | 1216846.5717
34 | 2726622.8956 | 1216677.4454 | 2726635.2031 | 1216669.969
35 | 2726622.8956 | 1216677.4454 | 2726532.2964 | 1216567.8285
36 | 2726531.9175 | 1216853.6969 | 2726532.796 | 1216857.0293 | 2726531.8471 | 1216864.5151 | 2726525.6923 | 1216872.8911
37 | 2725861.1776 | 1216496.0003 | 2725855.2286 | 1216519.9513 | 2725853.9163 | 1216521.6694 | 2725850.4544 | 1216523.0418 | 2725847.9872 | 1216526.5814 | 2725846.1375 | 1216540.2673
38 | 2725861.4628 | 1216494.8521 | 2725861.1776 | 1216496.0003
39 | 2725950.485 | 1216365.4752 | 2725861.4628 | 1216494.8521
40 | 2725950.485 | 1216365.4752 | 2725955.718 | 1216345.756
41 | 2725959.8392 | 1216334.3706 | 2725957.4338 | 1216339.2903 | 2725955.718 | 1216345.756
42 | 2726011.0893 | 1216346.6746 | 2726011.046 | 1216352.3115 | 2726011.5754 | 1216356.7261 | 2726014.3744 | 1216363.3572 | 2726016.1847 | 1216373.281 | 2726016.3307 | 1216395.4571 | 2726015.9329 | 1216399.5408 | 2726010.2691 | 1216410.9301 | 2726009.9801 | 1216417.4068
43 | 2726004.6211 | 1216295.9202 | 2726004.8427 | 1216304.8319 | 2725997.3842 | 1216305.9084 | 2726003.28 | 1216309.0466 | 2726007.2875 | 1216313.8462 | 2726008.8649 | 1216320.0622 | 2726009.5226 | 1216329.1833 | 2726009.4783 | 1216338.4563 | 2726011.0893 | 1216346.6746
44 | 2726215.1079 | 1216236.0374 | 2726182.2158 | 1216249.8741 | 2726178.1795 | 1216250.0221
45 | 2726194.9401 | 1216193.488 | 2726204.3698 | 1216215.1714 | 2726210.7525 | 1216227.9499 | 2726215.1079 | 1216236.0374
46 | 2726194.9401 | 1216193.488 | 2726196.1415 | 1216188.7653 | 2726195.6023 | 1216184.8174
47 | 2726194.9401 | 1216193.488 | 2726194.4026 | 1216204.8745 | 2726195.5405 | 1216209.6023
48 | 2726194.9401 | 1216193.488 | 2726186.836 | 1216189.1797 | 2726180.4317 | 1216187.8097 | 2726174.0723 | 1216187.9085 | 2726170.9659 | 1216188.8982
49 | 2726153.4088 | 1216197.0673 | 2726157.5054 | 1216194.4297 | 2726166.1195 | 1216190.4422 | 2726170.9659 | 1216188.8982
50 | 2726153.4088 | 1216197.0673 | 2726159.3923 | 1216200.7301
51 | 2726127.739 | 1216221.3432 | 2726136.8011 | 1216209.8258 | 2726144.4691 | 1216202.8048 | 2726153.4088 | 1216197.0673
52 | 2725959.8392 | 1216334.3706 | 2725957.2334 | 1216332.2472 | 2725953.6449 | 1216323.8538
53 | 2725948.7369 | 1216312.3742 | 2725953.6449 | 1216323.8538
54 | 2725959.8392 | 1216334.3706 | 2725966.5497 | 1216334.9017 | 2725968.0956 | 1216332.5548 | 2725968.2718 | 1216329.9676 | 2725965.3477 | 1216327.0924 | 2725961.2996 | 1216323.1371 | 2725959.0515 | 1216318.4637 | 2725958.6522 | 1216314.3631 | 2725959.8545 | 1216309.5848 | 2725962.3546 | 1216305.9347 | 2725967.9211 | 1216301.3043 | 2725981.6294 | 1216282.6793 | 2725980.6556 | 1216288.1408 | 2725981.2071 | 1216292.2335 | 2725983.1215 | 1216296.5218 | 2725986.7369 | 1216300.4679 | 2725990.7078 | 1216302.6869 | 2725997.3842 | 1216305.9084 | 2726004.8427 | 1216304.8319 | 2726004.6211 | 1216295.9202
55 | 2726004.6211 | 1216295.9202 | 2726004.5295 | 1216292.3488
56 | 2726004.6211 | 1216295.9202 | 2726004.8427 | 1216304.8319 | 2726009.7242 | 1216304.9351 | 2726017.7497 | 1216306.4949 | 2726028.2898 | 1216309.4645
57 | 2726028.2898 | 1216309.4645 | 2726034.8455 | 1216300.4405 | 2726034.7784 | 1216298.7226
58 | 2726028.2898 | 1216309.4645 | 2726042.0916 | 1216313.3483 | 2726048.5433 | 1216312.4729 | 2726054.6392 | 1216309.7442 | 2726061.6086 | 1216302.7082 | 2726063.7168 | 1216298.9165 | 2726064.2646 | 1216296.3616
59 | 2726030.7058 | 1216287.5317 | 2726034.6977 | 1216296.6566 | 2726034.7784 | 1216298.7226
60 | 2726067.3151 | 1216282.135 | 2726064.2646 | 1216296.3616
61 | 2726067.3151 | 1216282.135 | 2726069.4578 | 1216275.9977 | 2726074.3959 | 1216269.8417 | 2726083.0128 | 1216261.7621
62 | 2726063.0365 | 1216271.8475 | 2726067.3151 | 1216282.135
63 | 2726083.0128 | 1216261.7621 | 2726088.2032 | 1216254.455 | 2726095.8695 | 1216247.5117
64 | 2726083.0128 | 1216261.7621 | 2726083.6684 | 1216278.1555 | 2726084.6446 | 1216283.3469 | 2726087.0887 | 1216288.8029 | 2726095.6101 | 1216300.2398
65 | 2726100.999 | 1216257.428 | 2726095.8695 | 1216247.5117
66 | 2726120.8857 | 1216228.6261 | 2726106.9884 | 1216241.798 | 2726101.977 | 1216244.2383 | 2726095.8695 | 1216247.5117
67 | 2726122.7972 | 1216234.4823 | 2726120.8857 | 1216228.6261
68 | 2726127.739 | 1216221.3432 | 2726120.8857 | 1216228.6261
69 | 2726127.739 | 1216221.3432 | 2726135.1528 | 1216247.4873 | 2726136.1703 | 1216254.3142 | 2726135.2449 | 1216257.8418 | 2726133.8013 | 1216260.9302
70 | 2726130.5788 | 1216265.8327 | 2726132.8105 | 1216263.05 | 2726133.8013 | 1216260.9302
71 | 2726122.5392 | 1216279.6679 | 2726122.7 | 1216275.6571 | 2726130.5788 | 1216265.8327
72 | 2726159.3923 | 1216200.7301 | 2726164.2133 | 1216199.7536
73 | 2726168.1895 | 1216217.1403 | 2726169.5384 | 1216211.9092 | 2726167.4202 | 1216205.7707 | 2726165.7381 | 1216204.5007 | 2726159.3923 | 1216200.7301

## bus_geodata
| x | y | coords
0 | 2726277.6527 | 1216370.418
1 | 2726270.951 | 1216378.5101
2 | 2726298.5351 | 1216359.5907
3 | 2726286.7954 | 1216438.6896
4 | 2726271.5848 | 1216314.9401
5 | 2726260.2791 | 1216501.0695
6 | 2726270.6964 | 1216311.3841
7 | 2726134.9885 | 1216496.6021
8 | 2726380.0807 | 1216591.691
9 | 2726224.8533 | 1216273.773
10 | 2726596.4957 | 1216271.9202
11 | 2726611.0492 | 1216271.1621
12 | 2726568.3683 | 1216346.3594
13 | 2726728.5282 | 1216240.6901
14 | 2726551.2496 | 1216350.2545
15 | 2726545.8576 | 1216409.2088
16 | 2726738.2607 | 1216249.9796
17 | 2726531.0197 | 1216367.0873
18 | 2726518.5816 | 1216553.0321
19 | 2726523.9788 | 1216573.5406
20 | 2726453.31 | 1216543.0613
21 | 2726444.82 | 1216566.3841
22 | 2726397.0095 | 1216591.3386
23 | 2726121.5753 | 1216460.4009
24 | 2726154.2906 | 1216513.8361
25 | 2726393.0905 | 1216591.7002
26 | 2726647.6775 | 1216705.0963
27 | 2726582.6508 | 1216774.2893
28 | 2726660.3188 | 1216698.6907
29 | 2726531.5145 | 1216846.5716
30 | 2726669.9019 | 1216708.5429
31 | 2726622.8956 | 1216677.4454
32 | 2726531.9175 | 1216853.6969
33 | 2726522.5222 | 1216852.3075
34 | 2726635.2031 | 1216669.969
35 | 2726532.2964 | 1216567.8285
36 | 2726525.6923 | 1216872.8911
37 | 2725861.1776 | 1216496.0003
38 | 2725846.1375 | 1216540.2673
39 | 2725861.4628 | 1216494.8521
40 | 2725950.485 | 1216365.4752
41 | 2725955.718 | 1216345.756
42 | 2726009.9801 | 1216417.4068
43 | 2726011.0893 | 1216346.6746
44 | 2726215.1079 | 1216236.0374
45 | 2726178.1795 | 1216250.0221
46 | 2726194.9401 | 1216193.488
47 | 2726195.6023 | 1216184.8174
48 | 2726195.5405 | 1216209.6023
49 | 2726170.9659 | 1216188.8982
50 | 2726153.4088 | 1216197.0673
51 | 2725953.6449 | 1216323.8538
52 | 2725959.8392 | 1216334.3706
53 | 2725948.7369 | 1216312.3742
54 | 2726004.6211 | 1216295.9202
55 | 2726028.2898 | 1216309.4645
56 | 2726034.7784 | 1216298.7226
57 | 2726064.2646 | 1216296.3616
58 | 2726004.5295 | 1216292.3488
59 | 2726030.7058 | 1216287.5317
60 | 2726067.3151 | 1216282.135
61 | 2726083.0128 | 1216261.7621
62 | 2726063.0365 | 1216271.8475
63 | 2726095.8695 | 1216247.5117
64 | 2726095.6101 | 1216300.2398
65 | 2726100.999 | 1216257.428
66 | 2726120.8857 | 1216228.6261
67 | 2726122.7972 | 1216234.4823
68 | 2726127.739 | 1216221.3432
69 | 2726130.5788 | 1216265.8327
70 | 2726133.8013 | 1216260.9302
71 | 2726122.5392 | 1216279.6679
72 | 2726159.3923 | 1216200.7301
73 | 2726164.2133 | 1216199.7536
74 | 2726168.1895 | 1216217.1403
75 | 2726270.951 | 1216378.5101

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99787 | -0.040565 | 0.0024039 | 0.00060247
1 | 0.99791 | -0.039872 | 0 | 0
2 | 0.99785 | -0.041055 | 0.0011905 | 0.00029836
3 | 1 | 0 | -0.074073 | -0.018393
4 | 0.99581 | -0.080004 | 0.00063606 | 0.00015941
5 | 0.99778 | -0.042309 | 0 | 0
6 | 0.99571 | -0.082086 | 0.00053793 | 0.00013482
7 | 0.99737 | -0.050244 | 0 | 0
8 | 0.9934 | -0.12624 | 0.0027683 | 0.00069379
9 | 0.99391 | -0.11662 | 0.0016639 | 0.00041702
10 | 0.98546 | -0.28031 | 0.0015203 | 0.00038103
11 | 0.98541 | -0.28121 | 0.0013997 | 0.00035079
12 | 0.98583 | -0.27301 | 0 | 0
13 | 0.9852 | -0.28538 | 0.00075336 | 0.00018881
14 | 0.98573 | -0.27491 | 0.0057644 | 0.0014447
15 | 0.98657 | -0.25858 | 0 | 0
16 | 0.98518 | -0.28568 | 0.0011566 | 0.00028988
17 | 0.98643 | -0.26126 | 0.0033413 | 0.0008374
18 | 0.98845 | -0.22208 | 0.0020234 | 0.00050711
19 | 0.98876 | -0.216 | 0 | 0
20 | 0.99084 | -0.17557 | 0 | 0
21 | 0.99148 | -0.16333 | 0.0012283 | 0.00030784
22 | 0.99295 | -0.13491 | 0 | 0
23 | 0.99732 | -0.051275 | 0.0014956 | 0.00037483
24 | 0.99732 | -0.051149 | 0.0019744 | 0.00049483
25 | 0.99306 | -0.1329 | 0 | 0
26 | 0.98722 | -0.24599 | 0.0006956 | 0.00017433
27 | 0.98702 | -0.24993 | 0 | 0
28 | 0.98726 | -0.24523 | 0 | 0
29 | 0.98683 | -0.25364 | 0 | 0
30 | 0.98724 | -0.24565 | 0.0016906 | 0.0004237
31 | 0.98746 | -0.24138 | 0 | 0
32 | 0.98682 | -0.25372 | 0 | 0
33 | 0.98681 | -0.25394 | 0.0015943 | 0.00039957
34 | 0.9874 | -0.24254 | 0.004474 | 0.0011213
35 | 0.98865 | -0.21818 | 0.0026518 | 0.00066461
36 | 0.98681 | -0.25398 | 0.0006706 | 0.00016807
37 | 0.98559 | -0.27794 | 0.0011259 | 0.00028218
38 | 0.98551 | -0.27956 | 0.0018534 | 0.00046451
39 | 0.9856 | -0.27788 | 0.0012481 | 0.00031281
40 | 0.98621 | -0.26596 | 0 | 0
41 | 0.98629 | -0.26442 | 0.0024232 | 0.00060731
42 | 0.98722 | -0.24612 | 0.00091406 | 0.00022908
43 | 0.98729 | -0.24493 | 0 | 0
44 | 0.99281 | -0.13777 | 0 | 0
45 | 0.99277 | -0.13865 | 0.0012488 | 0.00031299
46 | 0.99157 | -0.16183 | 0 | 0
47 | 0.99156 | -0.16201 | 0.0011778 | 0.00029519
48 | 0.99156 | -0.16204 | 0.00073711 | 0.00018474
49 | 0.99094 | -0.17394 | 0.0010392 | 0.00026045
50 | 0.99048 | -0.18288 | 0 | 0
51 | 0.98633 | -0.26348 | 0.0010678 | 0.00026762
52 | 0.98636 | -0.26296 | 0 | 0
53 | 0.98632 | -0.26375 | 0.0012168 | 0.00030496
54 | 0.98734 | -0.2439 | 0 | 0
55 | 0.98766 | -0.2376 | 0 | 0
56 | 0.98764 | -0.23796 | 0.00076799 | 0.00019248
57 | 0.98816 | -0.22787 | 0.00096436 | 0.00024169
58 | 0.98734 | -0.24396 | 0.00084699 | 0.00021228
59 | 0.98764 | -0.23812 | 0.00078368 | 0.00019641
60 | 0.98834 | -0.22444 | 0 | 0
61 | 0.9887 | -0.21749 | 0 | 0
62 | 0.98832 | -0.22476 | 0.0016376 | 0.00041043
63 | 0.989 | -0.2116 | 0 | 0
64 | 0.98861 | -0.21919 | 0.0022633 | 0.00056724
65 | 0.98899 | -0.21183 | 0.0011593 | 0.00029056
66 | 0.98953 | -0.20131 | 0 | 0
67 | 0.98952 | -0.2014 | 0.00086992 | 0.00021802
68 | 0.9897 | -0.1979 | 0 | 0
69 | 0.98952 | -0.20152 | 0.0016459 | 0.00041249
70 | 0.98953 | -0.20122 | 0.0016846 | 0.00042219
71 | 0.9895 | -0.20187 | 0.0012026 | 0.00030139
72 | 0.99046 | -0.18316 | 0 | 0
73 | 0.99046 | -0.18323 | 0.00081839 | 0.00020511
74 | 0.99044 | -0.18368 | 0.0013704 | 0.00034346
75 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0035944 | -0.00090054 | 0.0035945 | 0.00090047 | 1.185e-07 | -6.787e-08 | 0.0053598 | 0.0053597 | 0.0053598 | 0.99787 | -0.040565 | 0.99791 | -0.039872 | 1.4725
1 | 0.0011905 | 0.00029807 | -0.0011905 | -0.00029836 | 2.7797e-08 | -2.8949e-07 | 0.0017751 | 0.0017752 | 0.0017752 | 0.99787 | -0.040565 | 0.99785 | -0.041055 | 0.4877
2 | -0.036773 | -0.0093058 | 0.036843 | 0.0093501 | 7.0516e-05 | 4.4312e-05 | 0.054865 | 0.054864 | 0.054865 | 0.99791 | -0.039872 | 1 | 0 | 15.0727
3 | 0.033178 | 0.0084054 | -0.033114 | -0.0083654 | 6.3828e-05 | 3.9945e-05 | 0.049505 | 0.049505 | 0.049505 | 0.99791 | -0.039872 | 0.99581 | -0.080004 | 13.6004
4 | 0.035579 | 0.0090432 | -0.035507 | -0.0089978 | 7.2335e-05 | 4.5395e-05 | 0.052987 | 0.052988 | 0.052988 | 1 | 0 | 0.99778 | -0.042309 | 14.557
5 | 0.032478 | 0.008206 | -0.032475 | -0.008204 | 3.2404e-06 | 2.0262e-06 | 0.048555 | 0.048555 | 0.048555 | 0.99581 | -0.080004 | 0.99571 | -0.082086 | 13.3392
6 | 0.0034714 | 0.00086804 | -0.0034701 | -0.0008689 | 1.3104e-06 | -8.638e-07 | 0.0051764 | 0.005177 | 0.005177 | 0.99778 | -0.042309 | 0.99737 | -0.050244 | 1.4222
7 | 0.032036 | 0.0081298 | -0.031907 | -0.0080493 | 0.00012877 | 8.0459e-05 | 0.047811 | 0.047812 | 0.047812 | 0.99778 | -0.042309 | 0.9934 | -0.12624 | 13.1352
8 | 0.031937 | 0.0080692 | -0.031884 | -0.0080362 | 5.2778e-05 | 3.2976e-05 | 0.047751 | 0.047751 | 0.047751 | 0.99571 | -0.082086 | 0.99391 | -0.11662 | 13.1185
9 | 0.0014957 | 0.00037436 | -0.0014956 | -0.00037483 | 7.3471e-08 | -4.6648e-07 | 0.0022313 | 0.0022315 | 0.0022315 | 0.99737 | -0.050244 | 0.99732 | -0.051275 | 0.61304
10 | 0.0019745 | 0.00049454 | -0.0019744 | -0.00049483 | 8.5086e-08 | -2.8677e-07 | 0.0029457 | 0.0029458 | 0.0029458 | 0.99737 | -0.050244 | 0.99732 | -0.051149 | 0.80929
11 | 0.029139 | 0.0073555 | -0.029129 | -0.0073497 | 9.29e-06 | 5.7775e-06 | 0.043665 | 0.043665 | 0.043665 | 0.9934 | -0.12624 | 0.99306 | -0.1329 | 11.996
12 | 0.03022 | 0.0076192 | -0.03019 | -0.0076001 | 3.0556e-05 | 1.9041e-05 | 0.04526 | 0.04526 | 0.04526 | 0.99391 | -0.11662 | 0.99281 | -0.13777 | 12.4342
13 | 0.0033102 | 0.0008279 | -0.0033101 | -0.000828 | 1.413e-07 | -1.0175e-07 | 0.0049977 | 0.0049978 | 0.0049978 | 0.98546 | -0.28031 | 0.98541 | -0.28121 | 1.373
14 | -0.0048305 | -0.0012089 | 0.0048322 | 0.0012089 | 1.678e-06 | 1.716e-09 | 0.0072934 | 0.007293 | 0.0072934 | 0.98546 | -0.28031 | 0.98583 | -0.27301 | 2.0037
15 | 0.0019104 | 0.00047722 | -0.00191 | -0.00047852 | 3.7868e-07 | -1.3034e-06 | 0.0028842 | 0.0028848 | 0.0028848 | 0.98541 | -0.28121 | 0.9852 | -0.28538 | 0.79252
16 | 0.0057649 | 0.0014448 | -0.0057644 | -0.0014447 | 5.1941e-07 | 9.921e-08 | 0.0087015 | 0.0087016 | 0.0087016 | 0.98583 | -0.27301 | 0.98573 | -0.27491 | 2.3906
17 | -0.010597 | -0.0026537 | 0.010604 | 0.0026574 | 7.2846e-06 | 3.6932e-06 | 0.015995 | 0.015994 | 0.015995 | 0.98583 | -0.27301 | 0.98657 | -0.25858 | 4.3941
18 | 0.0011567 | 0.00028971 | -0.0011566 | -0.00028988 | 1.6492e-08 | -1.7294e-07 | 0.0017469 | 0.001747 | 0.001747 | 0.9852 | -0.28538 | 0.98518 | -0.28568 | 0.47994
19 | 0.0033417 | 0.00083711 | -0.0033413 | -0.0008374 | 4.2543e-07 | -2.979e-07 | 0.0050401 | 0.0050403 | 0.0050403 | 0.98657 | -0.25858 | 0.98643 | -0.26126 | 1.3847
20 | -0.013946 | -0.0034945 | 0.01397 | 0.0035082 | 2.4287e-05 | 1.3671e-05 | 0.021034 | 0.021034 | 0.021034 | 0.98657 | -0.25858 | 0.98845 | -0.22208 | 5.7786
21 | -0.015994 | -0.0040153 | 0.015998 | 0.004018 | 4.6429e-06 | 2.6977e-06 | 0.02408 | 0.02408 | 0.02408 | 0.98845 | -0.22208 | 0.98876 | -0.216 | 6.6153
22 | -0.027789 | -0.0069721 | 0.027842 | 0.0070054 | 5.3674e-05 | 3.33e-05 | 0.041823 | 0.041822 | 0.041823 | 0.98876 | -0.216 | 0.99084 | -0.17557 | 11.4898
23 | 0.01179 | 0.0029541 | -0.011789 | -0.0029535 | 1.2253e-06 | 6.511e-07 | 0.017743 | 0.017743 | 0.017743 | 0.98876 | -0.216 | 0.98865 | -0.21818 | 4.8745
24 | -0.027842 | -0.0070054 | 0.027859 | 0.0070155 | 1.63e-05 | 1.0111e-05 | 0.041822 | 0.041822 | 0.041822 | 0.99084 | -0.17557 | 0.99148 | -0.16333 | 11.4897
25 | -0.029087 | -0.0073234 | 0.029127 | 0.007348 | 3.9579e-05 | 2.4615e-05 | 0.043666 | 0.043665 | 0.043666 | 0.99148 | -0.16333 | 0.99295 | -0.13491 | 11.9961
26 | -0.029127 | -0.007348 | 0.029129 | 0.0073497 | 2.8057e-06 | 1.7449e-06 | 0.043665 | 0.043665 | 0.043665 | 0.99295 | -0.13491 | 0.99306 | -0.1329 | 11.996
27 | 0.0022657 | 0.00056528 | -0.0022653 | -0.00056625 | 4.244e-07 | -9.6933e-07 | 0.0034142 | 0.0034146 | 0.0034146 | 0.98722 | -0.24599 | 0.98702 | -0.24993 | 0.93809
28 | -0.0029613 | -0.00073961 | 0.0029615 | 0.0007395 | 1.0652e-07 | -1.1421e-07 | 0.0044627 | 0.0044626 | 0.0044627 | 0.98722 | -0.24599 | 0.98726 | -0.24523 | 1.226
29 | 0.0022653 | 0.00056625 | -0.0022649 | -0.00056716 | 3.9916e-07 | -9.1094e-07 | 0.0034146 | 0.0034151 | 0.0034151 | 0.98702 | -0.24993 | 0.98683 | -0.25364 | 0.9382
30 | 0.0016906 | 0.00042354 | -0.0016906 | -0.0004237 | 3.3464e-08 | -1.5433e-07 | 0.002548 | 0.0025481 | 0.0025481 | 0.98726 | -0.24523 | 0.98724 | -0.24565 | 0.70003
31 | -0.0046521 | -0.001163 | 0.0046529 | 0.001163 | 8.5193e-07 | -4.5955e-08 | 0.0070107 | 0.0070104 | 0.0070107 | 0.98726 | -0.24523 | 0.98746 | -0.24138 | 1.926
32 | 0.00067061 | 0.00016771 | -0.0006706 | -0.0001678 | 2.7364e-09 | -8.9443e-08 | 0.0010111 | 0.0010111 | 0.0010111 | 0.98683 | -0.25364 | 0.98682 | -0.25372 | 0.27777
33 | 0.0015943 | 0.00039945 | -0.0015943 | -0.00039957 | 2.307e-08 | -1.2123e-07 | 0.002404 | 0.002404 | 0.002404 | 0.98683 | -0.25364 | 0.98681 | -0.25394 | 0.66045
34 | 0.0044742 | 0.0011213 | -0.004474 | -0.0011213 | 2.4548e-07 | -2.7093e-08 | 0.0067423 | 0.0067423 | 0.0067423 | 0.98746 | -0.24138 | 0.9874 | -0.24254 | 1.8523
35 | -0.0091271 | -0.0022842 | 0.0091372 | 0.0022889 | 1.0086e-05 | 4.6337e-06 | 0.013753 | 0.013752 | 0.013753 | 0.98746 | -0.24138 | 0.98865 | -0.21818 | 3.7782
36 | 0.0006706 | 0.0001678 | -0.0006706 | -0.00016807 | 8.1965e-09 | -2.6787e-07 | 0.0010111 | 0.0010112 | 0.0010112 | 0.98682 | -0.25372 | 0.98681 | -0.25398 | 0.2778
37 | 0.0018536 | 0.00046398 | -0.0018534 | -0.00046451 | 1.4298e-07 | -5.2894e-07 | 0.0027982 | 0.0027985 | 0.0027985 | 0.98559 | -0.27794 | 0.98551 | -0.27956 | 0.76881
38 | -0.0029795 | -0.00074616 | 0.0029795 | 0.00074616 | 8.9768e-09 | -9.3324e-09 | 0.0044981 | 0.0044981 | 0.0044981 | 0.98559 | -0.27794 | 0.9856 | -0.27788 | 1.2358
39 | -0.0042276 | -0.001059 | 0.00423 | 0.0010585 | 2.3988e-06 | -4.6742e-07 | 0.0063825 | 0.0063818 | 0.0063825 | 0.9856 | -0.27788 | 0.98621 | -0.26596 | 1.7534
40 | -0.00423 | -0.0010585 | 0.0042303 | 0.0010584 | 3.1159e-07 | -6.093e-08 | 0.0063818 | 0.0063817 | 0.0063818 | 0.98621 | -0.26596 | 0.98629 | -0.26442 | 1.7532
41 | -0.0066535 | -0.0016657 | 0.006654 | 0.0016659 | 4.5965e-07 | 1.389e-07 | 0.010038 | 0.010038 | 0.010038 | 0.98629 | -0.26442 | 0.98636 | -0.26296 | 2.7576
42 | -0.00091406 | -0.00022908 | 0.00091411 | 0.00022819 | 5.1844e-08 | -8.9838e-07 | 0.0013777 | 0.0013774 | 0.0013777 | 0.98722 | -0.24612 | 0.98729 | -0.24493 | 0.3785
43 | -0.00091411 | -0.00022819 | 0.00091416 | 0.00022741 | 4.452e-08 | -7.7191e-07 | 0.0013774 | 0.0013771 | 0.0013774 | 0.98729 | -0.24493 | 0.98734 | -0.2439 | 0.37841
44 | 0.0012489 | 0.00031251 | -0.0012488 | -0.00031299 | 5.2059e-08 | -4.7906e-07 | 0.0018717 | 0.0018718 | 0.0018718 | 0.99281 | -0.13777 | 0.99277 | -0.13865 | 0.51424
45 | 0.028941 | 0.0072876 | -0.028908 | -0.0072669 | 3.3248e-05 | 2.067e-05 | 0.043389 | 0.043389 | 0.043389 | 0.99281 | -0.13777 | 0.99157 | -0.16183 | 11.92
46 | 0.0011778 | 0.00029508 | -0.0011778 | -0.00029519 | 1.0377e-08 | -1.0762e-07 | 0.0017675 | 0.0017675 | 0.0017675 | 0.99157 | -0.16183 | 0.99156 | -0.16201 | 0.48558
47 | 0.00073712 | 0.00018453 | -0.00073711 | -0.00018474 | 7.4624e-09 | -2.0501e-07 | 0.0011061 | 0.0011062 | 0.0011062 | 0.99157 | -0.16183 | 0.99156 | -0.16204 | 0.30389
48 | 0.026993 | 0.0067873 | -0.026977 | -0.0067777 | 1.5603e-05 | 9.6592e-06 | 0.040515 | 0.040515 | 0.040515 | 0.99157 | -0.16183 | 0.99094 | -0.17394 | 11.1306
49 | 0.025938 | 0.0065172 | -0.025927 | -0.0065104 | 1.1069e-05 | 6.8335e-06 | 0.038955 | 0.038955 | 0.038955 | 0.99094 | -0.17394 | 0.99048 | -0.18288 | 10.7019
50 | 0.0021889 | 0.00054818 | -0.0021888 | -0.00054825 | 2.8387e-08 | -7.1939e-08 | 0.0032882 | 0.0032883 | 0.0032883 | 0.99048 | -0.18288 | 0.99046 | -0.18316 | 0.90337
51 | 0.023738 | 0.0059622 | -0.023721 | -0.0059518 | 1.6995e-05 | 1.0419e-05 | 0.035667 | 0.035667 | 0.035667 | 0.99048 | -0.18288 | 0.9897 | -0.1979 | 9.7986
52 | -0.0022846 | -0.00057243 | 0.0022847 | 0.0005723 | 5.5636e-08 | -1.238e-07 | 0.0034466 | 0.0034466 | 0.0034466 | 0.98633 | -0.26348 | 0.98636 | -0.26296 | 0.94687
53 | 0.0012168 | 0.00030481 | -0.0012168 | -0.00030496 | 1.5777e-08 | -1.4925e-07 | 0.0018357 | 0.0018357 | 0.0018357 | 0.98633 | -0.26348 | 0.98632 | -0.26375 | 0.50433
54 | -0.0089387 | -0.0022382 | 0.0089468 | 0.0022419 | 8.1173e-06 | 3.6739e-06 | 0.013484 | 0.013484 | 0.013484 | 0.98636 | -0.26296 | 0.98734 | -0.2439 | 3.7044
55 | 0.00084699 | 0.00021223 | -0.00084699 | -0.00021228 | 2.1832e-09 | -4.4298e-08 | 0.0012765 | 0.0012765 | 0.0012765 | 0.98734 | -0.2439 | 0.98734 | -0.24396 | 0.35069
56 | -0.010708 | -0.0026815 | 0.010711 | 0.0026831 | 3.215e-06 | 1.6364e-06 | 0.016137 | 0.016137 | 0.016137 | 0.98734 | -0.2439 | 0.98766 | -0.2376 | 4.4333
57 | 0.0015517 | 0.00038859 | -0.0015517 | -0.00038874 | 2.6382e-08 | -1.4786e-07 | 0.0023377 | 0.0023378 | 0.0023378 | 0.98766 | -0.2376 | 0.98764 | -0.23796 | 0.64224
58 | -0.012263 | -0.0030717 | 0.012269 | 0.0030748 | 5.6805e-06 | 3.0673e-06 | 0.018475 | 0.018474 | 0.018475 | 0.98766 | -0.2376 | 0.98816 | -0.22787 | 5.0755
59 | 0.00078369 | 0.00019626 | -0.00078368 | -0.00019641 | 6.2877e-09 | -1.4989e-07 | 0.0011807 | 0.0011807 | 0.0011807 | 0.98764 | -0.23796 | 0.98764 | -0.23812 | 0.32438
60 | -0.013233 | -0.0033165 | 0.013235 | 0.0033177 | 2.1665e-06 | 1.2001e-06 | 0.019927 | 0.019927 | 0.019927 | 0.98816 | -0.22787 | 0.98834 | -0.22444 | 5.4744
61 | -0.014873 | -0.003728 | 0.014878 | 0.0037308 | 4.9226e-06 | 2.8148e-06 | 0.022392 | 0.022392 | 0.022392 | 0.98834 | -0.22444 | 0.9887 | -0.21749 | 6.1517
62 | 0.0016377 | 0.0004103 | -0.0016376 | -0.00041043 | 2.5391e-08 | -1.2648e-07 | 0.0024656 | 0.0024656 | 0.0024656 | 0.98834 | -0.22444 | 0.98832 | -0.22476 | 0.67737
63 | -0.017141 | -0.0042976 | 0.017146 | 0.0043005 | 4.813e-06 | 2.8329e-06 | 0.025798 | 0.025798 | 0.025798 | 0.9887 | -0.21749 | 0.989 | -0.2116 | 7.0875
64 | 0.0022635 | 0.00056682 | -0.0022633 | -0.00056724 | 1.8247e-07 | -4.209e-07 | 0.0034065 | 0.0034067 | 0.0034067 | 0.9887 | -0.21749 | 0.98861 | -0.21919 | 0.9359
65 | 0.0011594 | 0.00029042 | -0.0011593 | -0.00029056 | 1.2732e-08 | -1.3504e-07 | 0.0017443 | 0.0017443 | 0.0017443 | 0.989 | -0.2116 | 0.98899 | -0.21183 | 0.47921
66 | -0.018305 | -0.0045909 | 0.018314 | 0.0045962 | 8.9882e-06 | 5.3468e-06 | 0.027543 | 0.027543 | 0.027543 | 0.989 | -0.2116 | 0.98953 | -0.20131 | 7.5667
67 | 0.00086992 | 0.00021795 | -0.00086992 | -0.00021802 | 3.9523e-09 | -7.6589e-08 | 0.0013081 | 0.0013082 | 0.0013082 | 0.98953 | -0.20131 | 0.98952 | -0.2014 | 0.35938
68 | -0.019184 | -0.0048142 | 0.019187 | 0.004816 | 3.1176e-06 | 1.8669e-06 | 0.028851 | 0.028851 | 0.028851 | 0.98953 | -0.20131 | 0.9897 | -0.1979 | 7.926
69 | 0.0045338 | 0.0011358 | -0.004533 | -0.0011358 | 7.167e-07 | -6.9809e-08 | 0.0068163 | 0.0068165 | 0.0068165 | 0.9897 | -0.1979 | 0.98953 | -0.20122 | 1.8727
70 | -0.0028484 | -0.00071368 | 0.0028485 | 0.00071363 | 4.0641e-08 | -4.9871e-08 | 0.0042833 | 0.0042833 | 0.0042833 | 0.98952 | -0.20152 | 0.98953 | -0.20122 | 1.1767
71 | 0.0012026 | 0.00030119 | -0.0012026 | -0.00030139 | 2.0366e-08 | -2.003e-07 | 0.0018083 | 0.0018084 | 0.0018084 | 0.98952 | -0.20152 | 0.9895 | -0.20187 | 0.49682
72 | 0.00081839 | 0.00020505 | -0.00081839 | -0.00020511 | 2.7805e-09 | -6.1349e-08 | 0.0012295 | 0.0012295 | 0.0012295 | 0.99046 | -0.18316 | 0.99046 | -0.18323 | 0.33778
73 | 0.0013704 | 0.0003432 | -0.0013704 | -0.00034346 | 3.396e-08 | -2.5323e-07 | 0.0020588 | 0.0020589 | 0.0020589 | 0.99046 | -0.18316 | 0.99044 | -0.18368 | 0.56562

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.077518 | 0.019257

## res_load
| p_mw | q_mvar
0 | 0.0024039 | 0.00060247
1 | 0.0011905 | 0.00029836
2 | 0.0034459 | 0.00086362
3 | 0.00063606 | 0.00015941
4 | 0.00053793 | 0.00013482
5 | 0.0027683 | 0.00069379
6 | 0.0016639 | 0.00041702
7 | 0.0015203 | 0.00038103
8 | 0.0013997 | 0.00035079
9 | 0.00075336 | 0.00018881
10 | 0.0057644 | 0.0014447
11 | 0.0011566 | 0.00028988
12 | 0.0033413 | 0.0008374
13 | 0.0020234 | 0.00050711
14 | 0.0012283 | 0.00030784
15 | 0.0014956 | 0.00037483
16 | 0.0019744 | 0.00049483
17 | 0.0006956 | 0.00017433
18 | 0.0016906 | 0.0004237
19 | 0.0015943 | 0.00039957
20 | 0.004474 | 0.0011213
21 | 0.0026518 | 0.00066461
22 | 0.0006706 | 0.00016807
23 | 0.0011259 | 0.00028218
24 | 0.0018534 | 0.00046451
25 | 0.0012481 | 0.00031281
26 | 0.0024232 | 0.00060731
27 | 0.00091406 | 0.00022908
28 | 0.0012488 | 0.00031299
29 | 0.0011778 | 0.00029519
30 | 0.00073711 | 0.00018474
31 | 0.0010392 | 0.00026045
32 | 0.0010678 | 0.00026762
33 | 0.0012168 | 0.00030496
34 | 0.00076799 | 0.00019248
35 | 0.00096436 | 0.00024169
36 | 0.00084699 | 0.00021228
37 | 0.00078368 | 0.00019641
38 | 0.0016376 | 0.00041043
39 | 0.0022633 | 0.00056724
40 | 0.0011593 | 0.00029056
41 | 0.00086992 | 0.00021802
42 | 0.0016459 | 0.00041249
43 | 0.0016846 | 0.00042219
44 | 0.0012026 | 0.00030139
45 | 0.00081839 | 0.00020511
46 | 0.0013704 | 0.00034346

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1