## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1630-15_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1630-15_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1630-15_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1630-15_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1630-15_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1630-15_0_5_node_75 | 0.4 | n |  | TRUE
6 | bus_LV_1630-15_0_5_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_1630-15_0_5_node_76 | 0.4 | n |  | TRUE
8 | bus_LV_1630-15_0_5_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_1630-15_0_5_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_1630-15_0_5_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_1630-15_0_5_node_62 | 0.4 | n |  | TRUE
12 | bus_LV_1630-15_0_5_node_61 | 0.4 | n |  | TRUE
13 | bus_LV_1630-15_0_5_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_1630-15_0_5_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_1630-15_0_5_node_72 | 0.4 | n |  | TRUE
16 | bus_LV_1630-15_0_5_node_41 | 0.4 | n |  | TRUE
17 | bus_LV_1630-15_0_5_node_87 | 0.4 | n |  | TRUE
18 | bus_LV_1630-15_0_5_node_71 | 0.4 | n |  | TRUE
19 | bus_LV_1630-15_0_5_node_40 | 0.4 | n |  | TRUE
20 | bus_LV_1630-15_0_5_node_69 | 0.4 | n |  | TRUE
21 | bus_LV_1630-15_0_5_node_11 | 0.4 | n |  | TRUE
22 | bus_LV_1630-15_0_5_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_1630-15_0_5_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_1630-15_0_5_node_14 | 0.4 | n |  | TRUE
25 | bus_LV_1630-15_0_5_node_19 | 0.4 | n |  | TRUE
26 | bus_LV_1630-15_0_5_node_16 | 0.4 | n |  | TRUE
27 | bus_LV_1630-15_0_5_node_18 | 0.4 | n |  | TRUE
28 | bus_LV_1630-15_0_5_node_74 | 0.4 | n |  | TRUE
29 | bus_LV_1630-15_0_5_node_17 | 0.4 | n |  | TRUE
30 | bus_LV_1630-15_0_5_node_39 | 0.4 | n |  | TRUE
31 | bus_LV_1630-15_0_5_node_20 | 0.4 | n |  | TRUE
32 | bus_LV_1630-15_0_5_node_21 | 0.4 | n |  | TRUE
33 | bus_LV_1630-15_0_5_node_22 | 0.4 | n |  | TRUE
34 | bus_LV_1630-15_0_5_node_23 | 0.4 | n |  | TRUE
35 | bus_LV_1630-15_0_5_node_24 | 0.4 | n |  | TRUE
36 | bus_LV_1630-15_0_5_node_25 | 0.4 | n |  | TRUE
37 | bus_LV_1630-15_0_5_node_86 | 0.4 | n |  | TRUE
38 | bus_LV_1630-15_0_5_node_84 | 0.4 | n |  | TRUE
39 | bus_LV_1630-15_0_5_node_85 | 0.4 | n |  | TRUE
40 | bus_LV_1630-15_0_5_node_59 | 0.4 | n |  | TRUE
41 | bus_LV_1630-15_0_5_node_29 | 0.4 | n |  | TRUE
42 | bus_LV_1630-15_0_5_node_26 | 0.4 | n |  | TRUE
43 | bus_LV_1630-15_0_5_node_27 | 0.4 | n |  | TRUE
44 | bus_LV_1630-15_0_5_node_28 | 0.4 | n |  | TRUE
45 | bus_LV_1630-15_0_5_node_36 | 0.4 | n |  | TRUE
46 | bus_LV_1630-15_0_5_node_89 | 0.4 | n |  | TRUE
47 | bus_LV_1630-15_0_5_node_38 | 0.4 | n |  | TRUE
48 | bus_LV_1630-15_0_5_node_30 | 0.4 | n |  | TRUE
49 | bus_LV_1630-15_0_5_node_31 | 0.4 | n |  | TRUE
50 | bus_LV_1630-15_0_5_node_32 | 0.4 | n |  | TRUE
51 | bus_LV_1630-15_0_5_node_33 | 0.4 | n |  | TRUE
52 | bus_LV_1630-15_0_5_node_34 | 0.4 | n |  | TRUE
53 | bus_LV_1630-15_0_5_node_35 | 0.4 | n |  | TRUE
54 | bus_LV_1630-15_0_5_node_42 | 0.4 | n |  | TRUE
55 | bus_LV_1630-15_0_5_node_78 | 0.4 | n |  | TRUE
56 | bus_LV_1630-15_0_5_node_37 | 0.4 | n |  | TRUE
57 | bus_LV_1630-15_0_5_node_43 | 0.4 | n |  | TRUE
58 | bus_LV_1630-15_0_5_node_79 | 0.4 | n |  | TRUE
59 | bus_LV_1630-15_0_5_node_83 | 0.4 | n |  | TRUE
60 | bus_LV_1630-15_0_5_node_55 | 0.4 | n |  | TRUE
61 | bus_LV_1630-15_0_5_node_51 | 0.4 | n |  | TRUE
62 | bus_LV_1630-15_0_5_node_44 | 0.4 | n |  | TRUE
63 | bus_LV_1630-15_0_5_node_45 | 0.4 | n |  | TRUE
64 | bus_LV_1630-15_0_5_node_46 | 0.4 | n |  | TRUE
65 | bus_LV_1630-15_0_5_node_48 | 0.4 | n |  | TRUE
66 | bus_LV_1630-15_0_5_node_80 | 0.4 | n |  | TRUE
67 | bus_LV_1630-15_0_5_node_47 | 0.4 | n |  | TRUE
68 | bus_LV_1630-15_0_5_node_73 | 0.4 | n |  | TRUE
69 | bus_LV_1630-15_0_5_node_58 | 0.4 | n |  | TRUE
70 | bus_LV_1630-15_0_5_node_56 | 0.4 | n |  | TRUE
71 | bus_LV_1630-15_0_5_node_68 | 0.4 | n |  | TRUE
72 | bus_LV_1630-15_0_5_node_57 | 0.4 | n |  | TRUE
73 | bus_LV_1630-15_0_5_node_49 | 0.4 | n |  | TRUE
74 | bus_LV_1630-15_0_5_node_50 | 0.4 | n |  | TRUE
75 | bus_LV_1630-15_0_5_node_52 | 0.4 | n |  | TRUE
76 | bus_LV_1630-15_0_5_node_53 | 0.4 | n |  | TRUE
77 | bus_LV_1630-15_0_5_node_54 | 0.4 | n |  | TRUE
78 | bus_LV_1630-15_0_5_node_70 | 0.4 | n |  | TRUE
79 | bus_LV_1630-15_0_5_node_77 | 0.4 | n |  | TRUE
80 | bus_LV_1630-15_0_5_node_66 | 0.4 | n |  | TRUE
81 | bus_LV_1630-15_0_5_node_60 | 0.4 | n |  | TRUE
82 | bus_LV_1630-15_0_5_node_63 | 0.4 | n |  | TRUE
83 | bus_LV_1630-15_0_5_node_64 | 0.4 | n |  | TRUE
84 | bus_LV_1630-15_0_5_node_65 | 0.4 | n |  | TRUE
85 | bus_LV_1630-15_0_5_node_67 | 0.4 | n |  | TRUE
86 | bus_LV_1630-15_0_5_node_88 | 0.4 | n |  | TRUE
87 | bus_MV_54_0_node_105 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1630-15_0_5_load_0 | 0 | 0.00064625 | 0.00016197 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1630-15_0_5_load_1 | 1 | 0.0014571 | 0.00036519 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1630-15_0_5_load_4 | 4 | 0.0076091 | 0.001907 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1630-15_0_5_load_75 | 5 | 0.026104 | 0.0065422 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1630-15_0_5_load_6 | 6 | 0.0018028 | 0.00045182 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1630-15_0_5_load_76 | 7 | 0.00094689 | 0.00023731 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1630-15_0_5_load_5 | 8 | 0.007856 | 0.0019689 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1630-15_0_5_load_7 | 9 | 0.068975 | 0.017287 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1630-15_0_5_load_8 | 10 | 0.0007322 | 0.00018351 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1630-15_0_5_load_62 | 11 | 0.001172 | 0.00029372 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1630-15_0_5_load_61 | 12 | 0.0044676 | 0.0011197 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1630-15_0_5_load_9 | 13 | 0.0025996 | 0.00065151 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1630-15_0_5_load_41 | 16 | 0.001365 | 0.0003421 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1630-15_0_5_load_87 | 17 | 0.004367 | 0.0010945 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1630-15_0_5_load_71 | 18 | 0.0011515 | 0.0002886 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1630-15_0_5_load_11 | 21 | 0.00090404 | 0.00022657 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1630-15_0_5_load_15 | 23 | 0.00058595 | 0.00014685 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1630-15_0_5_load_16 | 26 | 0.0066887 | 0.0016763 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1630-15_0_5_load_18 | 27 | 0.00076104 | 0.00019073 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1630-15_0_5_load_74 | 28 | 0.0017307 | 0.00043375 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1630-15_0_5_load_17 | 29 | 0.00075513 | 0.00018925 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1630-15_0_5_load_39 | 30 | 0.0007998 | 0.00020045 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1630-15_0_5_load_20 | 31 | 0.00056982 | 0.00014281 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1630-15_0_5_load_21 | 32 | 0.0005062 | 0.00012686 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1630-15_0_5_load_23 | 34 | 0.00057124 | 0.00014317 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1630-15_0_5_load_24 | 35 | 0.05638 | 0.01413 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1630-15_0_5_load_25 | 36 | 0.0011163 | 0.00027978 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1630-15_0_5_load_86 | 37 | 0.00057735 | 0.0001447 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1630-15_0_5_load_84 | 38 | 0.0034361 | 0.00086117 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1630-15_0_5_load_59 | 40 | 0.0028407 | 0.00071196 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1630-15_0_5_load_26 | 42 | 0.00095495 | 0.00023933 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1630-15_0_5_load_28 | 44 | 0.0016576 | 0.00041544 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1630-15_0_5_load_89 | 46 | 0.0018458 | 0.00046259 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1630-15_0_5_load_38 | 47 | 0.00037314 | 9.3517e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1630-15_0_5_load_30 | 48 | 0.0032467 | 0.0008137 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1630-15_0_5_load_31 | 49 | 0.0022243 | 0.00055747 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1630-15_0_5_load_33 | 51 | 0.0022326 | 0.00055955 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1630-15_0_5_load_78 | 55 | 0.010362 | 0.0025969 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1630-15_0_5_load_37 | 56 | 0.0048316 | 0.0012109 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1630-15_0_5_load_43 | 57 | 0.0022238 | 0.00055734 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1630-15_0_5_load_79 | 58 | 0.013295 | 0.0033319 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1630-15_0_5_load_83 | 59 | 0.0038684 | 0.00096951 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1630-15_0_5_load_44 | 62 | 0.0032317 | 0.00080993 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1630-15_0_5_load_80 | 66 | 0.014347 | 0.0035956 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1630-15_0_5_load_73 | 68 | 0.028434 | 0.0071261 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1630-15_0_5_load_56 | 70 | 0.017152 | 0.0042987 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1630-15_0_5_load_68 | 71 | 0.0065996 | 0.001654 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1630-15_0_5_load_49 | 73 | 0.00061562 | 0.00015429 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1630-15_0_5_load_53 | 76 | 0.00061667 | 0.00015455 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1630-15_0_5_load_70 | 78 | 0.00082794 | 0.0002075 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1630-15_0_5_load_77 | 79 | 0.052123 | 0.013063 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1630-15_0_5_load_60 | 81 | 0.005179 | 0.001298 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_1630-15_0_5_load_63 | 82 | 0.045606 | 0.01143 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_1630-15_0_5_load_65 | 84 | 0.008005 | 0.0020062 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_1630-15_0_5_load_88 | 86 | 0.037134 | 0.0093066 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 7 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1630-15_0_5_line_0 |  | 0 | 1 | 0.00036465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1630-15_0_5_line_1 |  | 0 | 2 | 0.015027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1630-15_0_5_line_2 |  | 2 | 3 | 0.013477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1630-15_0_5_line_3 |  | 2 | 4 | 0.025173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1630-15_0_5_line_4 |  | 3 | 5 | 0.054871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1630-15_0_5_line_5 |  | 3 | 6 | 0.033474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1630-15_0_5_line_6 |  | 5 | 7 | 0.049213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1630-15_0_5_line_7 |  | 6 | 8 | 0.030724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1630-15_0_5_line_8 |  | 7 | 79 | 0.002065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
9 | LV_1630-15_0_5_line_9 |  | 8 | 9 | 0.043595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1630-15_0_5_line_10 |  | 9 | 10 | 0.0008674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1630-15_0_5_line_11 |  | 10 | 11 | 0.073043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1630-15_0_5_line_12 |  | 11 | 12 | 0.0029097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1630-15_0_5_line_13 |  | 12 | 81 | 0.0044486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1630-15_0_5_line_14 |  | 13 | 14 | 0.10599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
15 | LV_1630-15_0_5_line_15 |  | 13 | 15 | 0.059369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1630-15_0_5_line_16 |  | 13 | 16 | 0.19561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
17 | LV_1630-15_0_5_line_17 |  | 14 | 17 | 0.15724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
18 | LV_1630-15_0_5_line_18 |  | 15 | 18 | 0.023188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1630-15_0_5_line_19 |  | 16 | 19 | 0.01085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1630-15_0_5_line_20 |  | 17 | 20 | 0.048949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
21 | LV_1630-15_0_5_line_21 |  | 19 | 30 | 0.086926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1630-15_0_5_line_22 |  | 19 | 25 | 0.096612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1630-15_0_5_line_23 |  | 20 | 69 | 0.026189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
24 | LV_1630-15_0_5_line_24 |  | 21 | 22 | 0.014805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1630-15_0_5_line_25 |  | 22 | 23 | 0.009803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1630-15_0_5_line_26 |  | 22 | 24 | 0.009772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1630-15_0_5_line_27 |  | 23 | 26 | 0.027541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1630-15_0_5_line_28 |  | 24 | 28 | 0.01027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1630-15_0_5_line_29 |  | 25 | 26 | 0.21416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1630-15_0_5_line_30 |  | 25 | 27 | 0.026037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1630-15_0_5_line_31 |  | 27 | 29 | 0.020097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1630-15_0_5_line_32 |  | 31 | 32 | 7.7043e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1630-15_0_5_line_33 |  | 31 | 33 | 0.028172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1630-15_0_5_line_34 |  | 32 | 34 | 0.00056179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1630-15_0_5_line_35 |  | 33 | 35 | 0.033129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
36 | LV_1630-15_0_5_line_36 |  | 33 | 36 | 0.0083583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
37 | LV_1630-15_0_5_line_37 |  | 35 | 37 | 0.023051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1630-15_0_5_line_38 |  | 35 | 38 | 0.017467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
39 | LV_1630-15_0_5_line_39 |  | 36 | 39 | 0.015749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
40 | LV_1630-15_0_5_line_40 |  | 38 | 40 | 0.016933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
41 | LV_1630-15_0_5_line_41 |  | 39 | 41 | 0.031666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
42 | LV_1630-15_0_5_line_42 |  | 40 | 72 | 0.031286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
43 | LV_1630-15_0_5_line_43 |  | 41 | 46 | 0.023351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1630-15_0_5_line_44 |  | 41 | 43 | 0.001291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
45 | LV_1630-15_0_5_line_45 |  | 42 | 43 | 0.011728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1630-15_0_5_line_46 |  | 43 | 44 | 0.012889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
47 | LV_1630-15_0_5_line_47 |  | 44 | 45 | 0.015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
48 | LV_1630-15_0_5_line_48 |  | 45 | 47 | 0.023057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
49 | LV_1630-15_0_5_line_49 |  | 47 | 60 | 0.05188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
50 | LV_1630-15_0_5_line_50 |  | 48 | 49 | 0.020726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1630-15_0_5_line_51 |  | 48 | 50 | 0.0081841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1630-15_0_5_line_52 |  | 49 | 51 | 0.0096522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1630-15_0_5_line_53 |  | 50 | 52 | 0.031916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1630-15_0_5_line_54 |  | 50 | 53 | 0.030821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1630-15_0_5_line_55 |  | 51 | 54 | 0.010025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1630-15_0_5_line_56 |  | 52 | 55 | 0.073791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1630-15_0_5_line_57 |  | 53 | 56 | 0.016817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1630-15_0_5_line_58 |  | 54 | 57 | 0.0094973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1630-15_0_5_line_59 |  | 57 | 62 | 0.0089727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_1630-15_0_5_line_60 |  | 58 | 59 | 0.023335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_1630-15_0_5_line_61 |  | 59 | 64 | 0.030704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_1630-15_0_5_line_62 |  | 60 | 61 | 0.051359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
63 | LV_1630-15_0_5_line_63 |  | 61 | 76 | 0.022174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_1630-15_0_5_line_64 |  | 61 | 77 | 0.05916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
65 | LV_1630-15_0_5_line_65 |  | 61 | 73 | 0.015986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_1630-15_0_5_line_66 |  | 62 | 63 | 0.022538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_1630-15_0_5_line_67 |  | 63 | 64 | 0.027983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_1630-15_0_5_line_68 |  | 63 | 65 | 0.043207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_1630-15_0_5_line_69 |  | 64 | 66 | 0.026601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_1630-15_0_5_line_70 |  | 65 | 69 | 0.061069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
71 | LV_1630-15_0_5_line_71 |  | 65 | 70 | 0.036539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
72 | LV_1630-15_0_5_line_72 |  | 65 | 67 | 0.046282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_1630-15_0_5_line_73 |  | 67 | 68 | 0.017143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_1630-15_0_5_line_74 |  | 69 | 71 | 0.015616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_1630-15_0_5_line_75 |  | 70 | 72 | 0.022963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
76 | LV_1630-15_0_5_line_76 |  | 73 | 74 | 0.071351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_1630-15_0_5_line_77 |  | 74 | 75 | 0.061036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_1630-15_0_5_line_78 |  | 75 | 78 | 0.021674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_1630-15_0_5_line_79 |  | 77 | 79 | 0.054833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
80 | LV_1630-15_0_5_line_80 |  | 78 | 80 | 0.0016678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_1630-15_0_5_line_81 |  | 80 | 83 | 0.027549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_1630-15_0_5_line_82 |  | 82 | 83 | 0.021258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_1630-15_0_5_line_83 |  | 82 | 84 | 0.013297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_1630-15_0_5_line_84 |  | 83 | 85 | 0.090004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_1630-15_0_5_line_85 |  | 85 | 86 | 0.009539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1630-15_0_5_trafo_76 | 0.63 MVA 20/0.4 kV | 87 | 7 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2723201.2681 | 1220327.4306 | 2723200.906 | 1220327.3877
1 | 2723185.9827 | 1220325.6277 | 2723195.606 | 1220326.761 | 2723200.906 | 1220327.3877
2 | 2723185.9827 | 1220325.6277 | 2723187.9057 | 1220312.2904
3 | 2723185.9827 | 1220325.6277 | 2723187.922 | 1220336.076 | 2723192.4057 | 1220349.9145
4 | 2723187.9057 | 1220312.2904 | 2723178.5045 | 1220311.7956 | 2723169.6974 | 1220312.2916 | 2723165.9204 | 1220313.2587 | 2723135.1263 | 1220324.3698
5 | 2723187.9057 | 1220312.2904 | 2723191.204 | 1220289.3517 | 2723191.7834 | 1220287.0285 | 2723192.3878 | 1220284.9616 | 2723193.2493 | 1220282.9445 | 2723195.5147 | 1220280.2003
6 | 2723088.8347 | 1220341.074 | 2723116.3218 | 1220331.1585 | 2723131.1188 | 1220325.8158 | 2723135.1263 | 1220324.3698
7 | 2723200.8562 | 1220250.0989 | 2723197.64 | 1220274.3285 | 2723196.9418 | 1220277.2608 | 2723195.5147 | 1220280.2003
8 | 2723088.8347 | 1220341.074 | 2723086.8922 | 1220341.7748
9 | 2723200.8562 | 1220250.0989 | 2723204.5641 | 1220222.1641 | 2723206.0611 | 1220206.8213
10 | 2723206.0611 | 1220206.8213 | 2723206.1453 | 1220205.958
11 | 2723212.6651 | 1220133.2088 | 2723209.5352 | 1220171.2158 | 2723206.1453 | 1220205.958
12 | 2723212.9039 | 1220130.3089 | 2723212.6651 | 1220133.2088
13 | 2723213.269 | 1220125.8754 | 2723212.9039 | 1220130.3089
14 | 2723420.7779 | 1220612.18 | 2723450.5635 | 1220599.5429 | 2723455.5949 | 1220598.8355 | 2723461.1616 | 1220599.3957 | 2723467.2381 | 1220601.3566 | 2723521.2984 | 1220618.0201
15 | 2723521.2984 | 1220618.0201 | 2723564.8172 | 1220658.4027
16 | 2723490.5423 | 1220424.8452 | 2723521.2984 | 1220618.0201
17 | 2723263.5776 | 1220608.7665 | 2723420.7779 | 1220612.18
18 | 2723564.8172 | 1220658.4027 | 2723577.6241 | 1220641.4217 | 2723578.2206 | 1220639.5976
19 | 2723492.5849 | 1220414.1903 | 2723490.5423 | 1220424.8452
20 | 2723257.7328 | 1220561.1637 | 2723262.392 | 1220577.6953 | 2723265.6874 | 1220595.2106 | 2723265.3913 | 1220604.7453 | 2723263.5776 | 1220608.7665
21 | 2723492.5849 | 1220414.1903 | 2723578.0046 | 1220430.3007
22 | 2723452.172 | 1220357.3301 | 2723446.0838 | 1220406.4203 | 2723492.5849 | 1220414.1903
23 | 2723257.7328 | 1220561.1637 | 2723232.74 | 1220553.1069
24 | 2723520.1598 | 1220129.9608 | 2723511.2681 | 1220126.4737 | 2723509.9463 | 1220124.7004 | 2723508.81 | 1220122.0303 | 2723508.7956 | 1220121.8904
25 | 2723520.1598 | 1220129.9608 | 2723516.0839 | 1220134.3464 | 2723514.4571 | 1220137.798
26 | 2723527.3117 | 1220123.2816 | 2723520.1598 | 1220129.9608
27 | 2723526.539 | 1220156.4917 | 2723515.1307 | 1220152.1184 | 2723513.0765 | 1220148.6953 | 2723512.3548 | 1220145.0664 | 2723513.1462 | 1220140.5793 | 2723514.4571 | 1220137.798
28 | 2723527.3117 | 1220123.2816 | 2723536.6764 | 1220127.4967
29 | 2723452.172 | 1220357.3301 | 2723526.539 | 1220156.4917
30 | 2723452.172 | 1220357.3301 | 2723427.0677 | 1220350.4247
31 | 2723427.0677 | 1220350.4247 | 2723407.6908 | 1220345.0947
32 | 2723085.6518 | 1220489.042 | 2723085.6477 | 1220488.9651
33 | 2723086.3135 | 1220460.9736 | 2723084.6383 | 1220470.0461 | 2723085.6477 | 1220488.9651
34 | 2723085.6817 | 1220489.603 | 2723085.6518 | 1220489.042
35 | 2723086.3135 | 1220460.9736 | 2723102.7916 | 1220462.4042 | 2723119.233 | 1220465.2462
36 | 2723086.3135 | 1220460.9736 | 2723077.9566 | 1220460.8201
37 | 2723116.9976 | 1220488.1847 | 2723119.233 | 1220465.2462
38 | 2723119.233 | 1220465.2462 | 2723136.2164 | 1220469.3273
39 | 2723062.21 | 1220460.5308 | 2723077.9566 | 1220460.8201
40 | 2723152.681 | 1220473.2826 | 2723141.0059 | 1220470.4782 | 2723136.2164 | 1220469.3273
41 | 2723030.6541 | 1220464.0929 | 2723052.3979 | 1220461.5623 | 2723062.21 | 1220460.5308
42 | 2723183.1019 | 1220480.5899 | 2723152.681 | 1220473.2826
43 | 2723030.6541 | 1220464.0929 | 2723033.4005 | 1220487.2789
44 | 2723030.6541 | 1220464.0929 | 2723029.3684 | 1220464.2442
45 | 2723029.3684 | 1220464.2442 | 2723028.3053 | 1220452.5645
46 | 2723029.3684 | 1220464.2442 | 2723016.5662 | 1220465.7372
47 | 2723001.6673 | 1220467.4747 | 2723016.5662 | 1220465.7372
48 | 2723001.6673 | 1220467.4747 | 2722999.233 | 1220444.5464
49 | 2722997.7226 | 1220392.8235 | 2722996.7474 | 1220405.858 | 2722996.9724 | 1220423.2541 | 2722999.233 | 1220444.5464
50 | 2723049.3912 | 1220543.2809 | 2723069.9931 | 1220541.0174
51 | 2723041.2561 | 1220544.1747 | 2723049.3912 | 1220543.2809
52 | 2723079.5876 | 1220539.9632 | 2723069.9931 | 1220541.0174
53 | 2723041.2561 | 1220544.1747 | 2723045.1626 | 1220575.847
54 | 2723010.5317 | 1220547.5539 | 2723041.2561 | 1220544.1747
55 | 2723089.5524 | 1220538.8684 | 2723079.5876 | 1220539.9632
56 | 2723045.1626 | 1220575.847 | 2723050.8638 | 1220622.0344 | 2723077.9891 | 1220619.3961
57 | 2723010.5317 | 1220547.5539 | 2723008.6814 | 1220530.8392
58 | 2723089.5524 | 1220538.8684 | 2723098.9927 | 1220537.8293
59 | 2723107.9611 | 1220537.5548 | 2723098.9927 | 1220537.8293 | 2723098.9927 | 1220537.8293
60 | 2723079.2306 | 1220572.0369 | 2723102.4213 | 1220569.4433
61 | 2723132.9345 | 1220566.0308 | 2723102.4213 | 1220569.4433
62 | 2722976.8987 | 1220365.1496 | 2722981.107 | 1220365.3478 | 2722997.5079 | 1220366.1203 | 2723001.4582 | 1220366.3132 | 2722997.7226 | 1220392.8235
63 | 2722976.8987 | 1220365.1496 | 2722974.6625 | 1220387.2102
64 | 2722976.8987 | 1220365.1496 | 2722981.107 | 1220365.3478 | 2722997.5079 | 1220366.1203 | 2723001.4582 | 1220366.3132 | 2723006.6511 | 1220366.2426 | 2723013.6835 | 1220365.6762 | 2723020.0337 | 1220364.6955 | 2723026.5768 | 1220363.1961 | 2723035.375 | 1220360.5535
65 | 2722976.8987 | 1220365.1496 | 2722960.9302 | 1220364.3994
66 | 2723130.4905 | 1220538.1584 | 2723108.0984 | 1220537.5506 | 2723107.9611 | 1220537.5548
67 | 2723132.9345 | 1220566.0308 | 2723130.4905 | 1220538.1584
68 | 2723130.4905 | 1220538.1584 | 2723150.1289 | 1220538.6982 | 2723153.8382 | 1220538.7971 | 2723155.0063 | 1220538.8324 | 2723173.6815 | 1220539.3412
69 | 2723132.9345 | 1220566.0308 | 2723135.2045 | 1220592.5345
70 | 2723173.6815 | 1220539.3412 | 2723175.6305 | 1220539.4149 | 2723179.4373 | 1220539.5715 | 2723189.2373 | 1220540.2192 | 2723193.9354 | 1220540.5833 | 2723204.9726 | 1220544.1588 | 2723232.74 | 1220553.1069
71 | 2723173.6815 | 1220539.3412 | 2723179.4664 | 1220503.2628
72 | 2723173.6815 | 1220539.3412 | 2723175.6305 | 1220539.4149 | 2723176.0391 | 1220549.7426 | 2723177.1094 | 1220576.8749 | 2723178.1001 | 1220583.6452
73 | 2723178.1001 | 1220583.6452 | 2723179.2587 | 1220590.7414 | 2723177.4305 | 1220600.5249
74 | 2723232.74 | 1220553.1069 | 2723228.0546 | 1220568.003
75 | 2723183.1019 | 1220480.5899 | 2723179.4664 | 1220503.2628
76 | 2722890.162 | 1220358.154 | 2722898.9302 | 1220361.0039 | 2722901.9308 | 1220361.6107 | 2722904.9073 | 1220361.9168 | 2722908.4259 | 1220362.0673 | 2722936.378 | 1220363.2339 | 2722944.3698 | 1220363.6214 | 2722960.9302 | 1220364.3994
77 | 2722890.162 | 1220358.154 | 2722890.7768 | 1220341.9763 | 2722892.3127 | 1220326.4069 | 2722892.1809 | 1220307.4226 | 2722902.3979 | 1220307.3778
78 | 2722902.3979 | 1220307.3778 | 2722924.0695 | 1220307.7117
79 | 2723035.375 | 1220360.5535 | 2723067.4884 | 1220348.7744 | 2723086.8922 | 1220341.7748
80 | 2722925.7371 | 1220307.7374 | 2722924.0695 | 1220307.7117
81 | 2722925.7371 | 1220307.7374 | 2722953.3631 | 1220308.1746
82 | 2722953.3631 | 1220308.1746 | 2722958.0068 | 1220308.6041 | 2722964.8805 | 1220313.1496 | 2722967.0885 | 1220316.8536 | 2722967.3484 | 1220320.8871
83 | 2722968.2035 | 1220334.1569 | 2722967.3484 | 1220320.8871
84 | 2722953.3631 | 1220308.1746 | 2722957.1469 | 1220303.5713 | 2722955.5047 | 1220284.9673 | 2722955.2952 | 1220282.6167 | 2722954.7941 | 1220277.1131 | 2722966.1741 | 1220275.8804 | 2722989.7479 | 1220273.3429 | 2722988.0751 | 1220251.0798
85 | 2722997.6032 | 1220250.2203 | 2722988.0751 | 1220251.0798

## bus_geodata
| x | y | coords
0 | 2723200.906 | 1220327.3877
1 | 2723201.2681 | 1220327.4306
2 | 2723185.9827 | 1220325.6277
3 | 2723187.9057 | 1220312.2904
4 | 2723192.4057 | 1220349.9145
5 | 2723135.1263 | 1220324.3698
6 | 2723195.5147 | 1220280.2003
7 | 2723088.8347 | 1220341.074
8 | 2723200.8562 | 1220250.0989
9 | 2723206.0611 | 1220206.8213
10 | 2723206.1453 | 1220205.958
11 | 2723212.6651 | 1220133.2088
12 | 2723212.9039 | 1220130.3089
13 | 2723521.2984 | 1220618.0201
14 | 2723420.7779 | 1220612.18
15 | 2723564.8172 | 1220658.4027
16 | 2723490.5423 | 1220424.8452
17 | 2723263.5776 | 1220608.7665
18 | 2723578.2206 | 1220639.5976
19 | 2723492.5849 | 1220414.1903
20 | 2723257.7328 | 1220561.1637
21 | 2723508.7956 | 1220121.8904
22 | 2723520.1598 | 1220129.9608
23 | 2723514.4571 | 1220137.798
24 | 2723527.3117 | 1220123.2816
25 | 2723452.172 | 1220357.3301
26 | 2723526.539 | 1220156.4917
27 | 2723427.0677 | 1220350.4247
28 | 2723536.6764 | 1220127.4967
29 | 2723407.6908 | 1220345.0947
30 | 2723578.0046 | 1220430.3007
31 | 2723085.6477 | 1220488.9651
32 | 2723085.6518 | 1220489.042
33 | 2723086.3135 | 1220460.9736
34 | 2723085.6817 | 1220489.603
35 | 2723119.233 | 1220465.2462
36 | 2723077.9566 | 1220460.8201
37 | 2723116.9976 | 1220488.1847
38 | 2723136.2164 | 1220469.3273
39 | 2723062.21 | 1220460.5308
40 | 2723152.6811 | 1220473.2826
41 | 2723030.6541 | 1220464.0929
42 | 2723028.3053 | 1220452.5645
43 | 2723029.3684 | 1220464.2442
44 | 2723016.5662 | 1220465.7372
45 | 2723001.6673 | 1220467.4747
46 | 2723033.4005 | 1220487.2789
47 | 2722999.233 | 1220444.5464
48 | 2723049.3912 | 1220543.2809
49 | 2723069.9931 | 1220541.0174
50 | 2723041.2561 | 1220544.1747
51 | 2723079.5876 | 1220539.9632
52 | 2723045.1626 | 1220575.847
53 | 2723010.5317 | 1220547.5539
54 | 2723089.5524 | 1220538.8684
55 | 2723077.9891 | 1220619.3961
56 | 2723008.6814 | 1220530.8392
57 | 2723098.9927 | 1220537.8293
58 | 2723079.2306 | 1220572.0369
59 | 2723102.4213 | 1220569.4433
60 | 2722997.7226 | 1220392.8235
61 | 2722976.8987 | 1220365.1496
62 | 2723107.9611 | 1220537.5548
63 | 2723130.4905 | 1220538.1584
64 | 2723132.9345 | 1220566.0308
65 | 2723173.6815 | 1220539.3412
66 | 2723135.2045 | 1220592.5345
67 | 2723178.1001 | 1220583.6452
68 | 2723177.4305 | 1220600.5249
69 | 2723232.74 | 1220553.1069
70 | 2723179.4664 | 1220503.2628
71 | 2723228.0546 | 1220568.003
72 | 2723183.1019 | 1220480.5899
73 | 2722960.9302 | 1220364.3994
74 | 2722890.162 | 1220358.154
75 | 2722902.3979 | 1220307.3778
76 | 2722974.6625 | 1220387.2102
77 | 2723035.375 | 1220360.5535
78 | 2722924.0695 | 1220307.7117
79 | 2723086.8922 | 1220341.7748
80 | 2722925.7371 | 1220307.7374
81 | 2723213.269 | 1220125.8754
82 | 2722967.3484 | 1220320.8871
83 | 2722953.3631 | 1220308.1746
84 | 2722968.2035 | 1220334.1569
85 | 2722988.0751 | 1220251.0798
86 | 2722997.6032 | 1220250.2203
87 | 2723035.375 | 1220360.5535

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98906 | -0.20875 | 0.00064625 | 0.00016197
1 | 0.98906 | -0.20876 | 0.0014571 | 0.00036519
2 | 0.98909 | -0.20819 | 0 | 0
3 | 0.98921 | -0.20585 | 0 | 0
4 | 0.98892 | -0.2116 | 0.0076091 | 0.001907
5 | 0.99428 | -0.10871 | 0.026104 | 0.0065422
6 | 0.98642 | -0.25978 | 0.0018028 | 0.00045182
7 | 1 | 0 | -0.48589 | -0.12469
8 | 0.98391 | -0.30855 | 0.007856 | 0.0019689
9 | 0.98066 | -0.37196 | 0.068975 | 0.017287
10 | 0.98065 | -0.37215 | 0.0007322 | 0.00018351
11 | 0.97992 | -0.38648 | 0.001172 | 0.00029372
12 | 0.9799 | -0.38699 | 0.0044676 | 0.0011197
13 | 0.97482 | -0.48424 | 0.0025996 | 0.00065151
14 | 0.97525 | -0.4758 | 0 | 0
15 | 0.97475 | -0.4855 | 0 | 0
16 | 0.97358 | -0.50869 | 0.001365 | 0.0003421
17 | 0.97588 | -0.46327 | 0.004367 | 0.0010945
18 | 0.97473 | -0.48599 | 0.0011515 | 0.0002886
19 | 0.97345 | -0.51114 | 0 | 0
20 | 0.97613 | -0.4584 | 0 | 0
21 | 0.97032 | -0.57307 | 0.00090404 | 0.00022657
22 | 0.97033 | -0.57282 | 0 | 0
23 | 0.97036 | -0.57234 | 0.00058595 | 0.00014685
24 | 0.97032 | -0.57314 | 0 | 0
25 | 0.97242 | -0.53148 | 0 | 0
26 | 0.97044 | -0.5707 | 0.0066887 | 0.0016763
27 | 0.97238 | -0.53221 | 0.00076104 | 0.00019073
28 | 0.9703 | -0.57346 | 0.0017307 | 0.00043375
29 | 0.97237 | -0.53249 | 0.00075513 | 0.00018925
30 | 0.97339 | -0.51242 | 0.0007998 | 0.00020045
31 | 0.98193 | -0.34503 | 0.00056982 | 0.00014281
32 | 0.98193 | -0.34503 | 0.0005062 | 0.00012686
33 | 0.98197 | -0.34419 | 0 | 0
34 | 0.98193 | -0.34504 | 0.00057124 | 0.00014317
35 | 0.98045 | -0.37375 | 0.05638 | 0.01413
36 | 0.98235 | -0.33669 | 0.0011163 | 0.00027978
37 | 0.98044 | -0.37399 | 0.00057735 | 0.0001447
38 | 0.97988 | -0.38485 | 0.0034361 | 0.00086117
39 | 0.98308 | -0.32248 | 0 | 0
40 | 0.97934 | -0.39536 | 0.0028407 | 0.00071196
41 | 0.98455 | -0.29399 | 0 | 0
42 | 0.9846 | -0.29302 | 0.00095495 | 0.00023933
43 | 0.98462 | -0.29282 | 0 | 0
44 | 0.98522 | -0.28109 | 0.0016576 | 0.00041544
45 | 0.98593 | -0.26734 | 0 | 0
46 | 0.98452 | -0.29477 | 0.0018458 | 0.00046259
47 | 0.98703 | -0.24624 | 0.00037314 | 9.3517e-05
48 | 0.97249 | -0.53009 | 0.0032467 | 0.0008137
49 | 0.97284 | -0.52305 | 0.0022243 | 0.00055747
50 | 0.97237 | -0.53238 | 0 | 0
51 | 0.97303 | -0.51937 | 0.0022326 | 0.00055955
52 | 0.97206 | -0.53848 | 0 | 0
53 | 0.97223 | -0.53513 | 0 | 0
54 | 0.97324 | -0.51515 | 0 | 0
55 | 0.97135 | -0.5526 | 0.010362 | 0.0025969
56 | 0.97216 | -0.53663 | 0.0048316 | 0.0012109
57 | 0.97345 | -0.51114 | 0.0022238 | 0.00055734
58 | 0.97265 | -0.52687 | 0.013295 | 0.0033319
59 | 0.97294 | -0.52116 | 0.0038684 | 0.00096951
60 | 0.98949 | -0.19885 | 0 | 0
61 | 0.99194 | -0.15217 | 0 | 0
62 | 0.97366 | -0.507 | 0.0032317 | 0.00080993
63 | 0.97425 | -0.49525 | 0 | 0
64 | 0.97343 | -0.51146 | 0 | 0
65 | 0.97666 | -0.44787 | 0 | 0
66 | 0.97307 | -0.51848 | 0.014347 | 0.0035956
67 | 0.97544 | -0.47194 | 0 | 0
68 | 0.97499 | -0.48088 | 0.028434 | 0.0071261
69 | 0.97626 | -0.45579 | 0 | 0
70 | 0.97766 | -0.42841 | 0.017152 | 0.0042987
71 | 0.97616 | -0.45767 | 0.0065996 | 0.001654
72 | 0.97837 | -0.4144 | 0 | 0
73 | 0.99056 | -0.17832 | 0.00061562 | 0.00015429
74 | 0.98446 | -0.29511 | 0 | 0
75 | 0.97925 | -0.39617 | 0 | 0
76 | 0.99193 | -0.15242 | 0.00061667 | 0.00015455
77 | 0.99603 | -0.074538 | 0 | 0
78 | 0.9774 | -0.43231 | 0.00082794 | 0.0002075
79 | 0.99983 | -0.003147 | 0.052123 | 0.013063
80 | 0.97726 | -0.43508 | 0 | 0
81 | 0.97988 | -0.38741 | 0.005179 | 0.001298
82 | 0.97387 | -0.50173 | 0.045606 | 0.01143
83 | 0.97493 | -0.48081 | 0 | 0
84 | 0.97377 | -0.50369 | 0.008005 | 0.0020062
85 | 0.97181 | -0.5423 | 0 | 0
86 | 0.97148 | -0.54884 | 0.037134 | 0.0093066
87 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0014571 | 0.00036519 | -0.0014571 | -0.00036519 | 6.5721e-10 | -4.2593e-09 | 0.0021922 | 0.0021922 | 0.0021922 | 0.98906 | -0.20875 | 0.98906 | -0.20876 | 0.60226
1 | -0.0021034 | -0.00052716 | 0.0021035 | 0.000527 | 5.6428e-08 | -1.5674e-07 | 0.0031645 | 0.0031644 | 0.0031645 | 0.98906 | -0.20875 | 0.98909 | -0.20819 | 0.86937
2 | -0.0097138 | -0.0024345 | 0.0097149 | 0.002435 | 1.0793e-06 | 5.1776e-07 | 0.014614 | 0.014614 | 0.014614 | 0.98909 | -0.20819 | 0.98921 | -0.20585 | 4.0148
3 | 0.0076104 | 0.0019075 | -0.0076091 | -0.001907 | 1.2375e-06 | 4.6895e-07 | 0.011449 | 0.011449 | 0.011449 | 0.98909 | -0.20819 | 0.98892 | -0.2116 | 3.1454
4 | -0.10059 | -0.025479 | 0.10107 | 0.02578 | 0.00047174 | 0.00030121 | 0.15141 | 0.15141 | 0.15141 | 0.98921 | -0.20585 | 0.99428 | -0.10871 | 41.5969
5 | 0.090879 | 0.023044 | -0.090644 | -0.022894 | 0.00023491 | 0.00014992 | 0.1368 | 0.1368 | 0.1368 | 0.98921 | -0.20585 | 0.98642 | -0.25978 | 37.5822
6 | -0.12717 | -0.032323 | 0.12784 | 0.03275 | 0.00066958 | 0.00042789 | 0.19048 | 0.19048 | 0.19048 | 0.99428 | -0.10871 | 1 | 0 | 52.3292
7 | 0.088841 | 0.022442 | -0.088634 | -0.02231 | 0.00020713 | 0.00013217 | 0.13408 | 0.13408 | 0.13408 | 0.98642 | -0.25978 | 0.98391 | -0.30855 | 36.8351
8 | 0.35641 | 0.091939 | -0.35635 | -0.091904 | 5.4641e-05 | 3.4862e-05 | 0.53127 | 0.53127 | 0.53127 | 1 | 0 | 0.99983 | -0.003147 | 36.4882
9 | 0.080778 | 0.020341 | -0.080534 | -0.020186 | 0.00024412 | 0.00015569 | 0.1222 | 0.1222 | 0.1222 | 0.98391 | -0.30855 | 0.98066 | -0.37196 | 33.5712
10 | 0.011559 | 0.0028989 | -0.011558 | -0.0028988 | 1.0006e-07 | 5.3096e-08 | 0.017539 | 0.017539 | 0.017539 | 0.98066 | -0.37196 | 0.98065 | -0.37215 | 4.8185
11 | 0.010826 | 0.0027153 | -0.010819 | -0.0027115 | 7.3926e-06 | 3.8104e-06 | 0.016428 | 0.016429 | 0.016429 | 0.98065 | -0.37215 | 0.97992 | -0.38648 | 4.5133
12 | 0.0096469 | 0.0024178 | -0.0096467 | -0.0024177 | 2.3415e-07 | 1.132e-07 | 0.014649 | 0.014649 | 0.014649 | 0.97992 | -0.38648 | 0.9799 | -0.38699 | 4.0244
13 | 0.0051791 | 0.001298 | -0.005179 | -0.001298 | 1.0319e-07 | 1.0001e-08 | 0.0078647 | 0.0078648 | 0.0078648 | 0.9799 | -0.38699 | 0.97988 | -0.38741 | 2.1606
14 | -0.017389 | -0.0043642 | 0.017396 | 0.0043634 | 7.0013e-06 | -8.0674e-07 | 0.026546 | 0.026544 | 0.026546 | 0.97482 | -0.48424 | 0.97525 | -0.4758 | 1.8232
15 | 0.0011516 | 0.00028763 | -0.0011515 | -0.00028833 | 6.878e-08 | -6.9607e-07 | 0.0017575 | 0.0017578 | 0.0017578 | 0.97482 | -0.48424 | 0.97475 | -0.4855 | 0.48291
16 | 0.013638 | 0.003425 | -0.013622 | -0.0034197 | 1.59e-05 | 5.3048e-06 | 0.02082 | 0.020822 | 0.020822 | 0.97482 | -0.48424 | 0.97358 | -0.50869 | 2.8601
17 | -0.017396 | -0.0043634 | 0.017406 | 0.0043622 | 1.0385e-05 | -1.2066e-06 | 0.026544 | 0.026541 | 0.026544 | 0.97525 | -0.4758 | 0.97588 | -0.46327 | 1.8231
18 | 0.0011515 | 0.00028833 | -0.0011515 | -0.0002886 | 2.687e-08 | -2.7184e-07 | 0.0017578 | 0.0017579 | 0.0017579 | 0.97475 | -0.4855 | 0.97473 | -0.48599 | 0.48294
19 | 0.012257 | 0.0030776 | -0.012255 | -0.0030768 | 1.4282e-06 | 7.7916e-07 | 0.018736 | 0.018736 | 0.018736 | 0.97358 | -0.50869 | 0.97345 | -0.51114 | 5.1471
20 | -0.021773 | -0.0054566 | 0.021778 | 0.0054574 | 5.0579e-06 | 7.9018e-07 | 0.0332 | 0.033199 | 0.0332 | 0.97588 | -0.46327 | 0.97613 | -0.4584 | 2.2802
21 | 0.00079985 | 0.0001994 | -0.0007998 | -0.00020045 | 4.8713e-08 | -1.0494e-06 | 0.0012223 | 0.0012226 | 0.0012226 | 0.97345 | -0.51114 | 0.97339 | -0.51242 | 0.33589
22 | 0.011456 | 0.0028775 | -0.011445 | -0.0028715 | 1.1112e-05 | 5.9122e-06 | 0.017513 | 0.017514 | 0.017514 | 0.97345 | -0.51114 | 0.97242 | -0.53148 | 4.8115
23 | -0.021778 | -0.0054574 | 0.021781 | 0.0054579 | 2.706e-06 | 4.2219e-07 | 0.033199 | 0.033198 | 0.033199 | 0.97613 | -0.4584 | 0.97626 | -0.45579 | 2.2801
24 | -0.00090404 | -0.00022657 | 0.00090405 | 0.0002264 | 1.0671e-08 | -1.7605e-07 | 0.0013864 | 0.0013863 | 0.0013864 | 0.97032 | -0.57307 | 0.97033 | -0.57282 | 0.38087
25 | -0.0026348 | -0.00065994 | 0.0026349 | 0.00065985 | 6.001e-08 | -8.2687e-08 | 0.0040404 | 0.0040403 | 0.0040404 | 0.97033 | -0.57282 | 0.97036 | -0.57234 | 1.11
26 | 0.0017307 | 0.00043354 | -0.0017307 | -0.00043364 | 2.5813e-08 | -1.0419e-07 | 0.002654 | 0.0026541 | 0.0026541 | 0.97033 | -0.57282 | 0.97032 | -0.57314 | 0.72914
27 | -0.0032208 | -0.00080671 | 0.0032211 | 0.00080653 | 2.5191e-07 | -1.7902e-07 | 0.0049389 | 0.0049387 | 0.0049389 | 0.97036 | -0.57234 | 0.97044 | -0.5707 | 1.3568
28 | 0.0017307 | 0.00043364 | -0.0017307 | -0.00043375 | 2.7128e-08 | -1.0949e-07 | 0.0026541 | 0.0026541 | 0.0026541 | 0.97032 | -0.57314 | 0.9703 | -0.57346 | 0.72916
29 | 0.0099283 | 0.0024921 | -0.0099097 | -0.0024829 | 1.8541e-05 | 9.215e-06 | 0.015194 | 0.015195 | 0.015195 | 0.97242 | -0.53148 | 0.97044 | -0.5707 | 4.1744
30 | 0.0015162 | 0.00037945 | -0.0015162 | -0.00037974 | 5.2554e-08 | -2.8936e-07 | 0.00232 | 0.0023201 | 0.0023201 | 0.97242 | -0.53148 | 0.97238 | -0.53221 | 0.63738
31 | 0.00075514 | 0.00018901 | -0.00075513 | -0.00018925 | 1.0063e-08 | -2.4285e-07 | 0.0011555 | 0.0011556 | 0.0011556 | 0.97238 | -0.53221 | 0.97237 | -0.53249 | 0.31746
32 | 0.0010774 | 0.00027002 | -0.0010774 | -0.00027002 | 7.6506e-11 | -9.2594e-10 | 0.0016327 | 0.0016327 | 0.0016327 | 0.98193 | -0.34503 | 0.98193 | -0.34503 | 0.44856
33 | -0.0016473 | -0.00041283 | 0.0016473 | 0.00041252 | 6.5827e-08 | -3.1424e-07 | 0.0024963 | 0.0024961 | 0.0024963 | 0.98193 | -0.34503 | 0.98197 | -0.34419 | 0.68579
34 | 0.00057124 | 0.00014316 | -0.00057124 | -0.00014317 | 1.5772e-10 | -7.0051e-09 | 0.00086565 | 0.00086566 | 0.00086566 | 0.98193 | -0.34503 | 0.98193 | -0.34504 | 0.23782
35 | 0.19809 | 0.05003 | -0.19781 | -0.049852 | 0.00028012 | 0.0001776 | 0.30032 | 0.30032 | 0.30032 | 0.98197 | -0.34419 | 0.98045 | -0.37375 | 20.6261
36 | -0.19974 | -0.050442 | 0.19981 | 0.050488 | 7.1852e-05 | 4.5562e-05 | 0.30281 | 0.30281 | 0.30281 | 0.98197 | -0.34419 | 0.98235 | -0.33669 | 20.7975
37 | 0.00057735 | 0.00014441 | -0.00057735 | -0.0001447 | 6.6361e-09 | -2.8645e-07 | 0.00087613 | 0.00087624 | 0.00087624 | 0.98045 | -0.37375 | 0.98044 | -0.37399 | 0.24072
38 | 0.14086 | 0.035578 | -0.14078 | -0.035531 | 7.4903e-05 | 4.7058e-05 | 0.21387 | 0.21387 | 0.21387 | 0.98045 | -0.37375 | 0.97988 | -0.38485 | 14.6891
39 | -0.20093 | -0.050768 | 0.20107 | 0.050855 | 0.0001369 | 8.682e-05 | 0.3045 | 0.3045 | 0.3045 | 0.98235 | -0.33669 | 0.98308 | -0.32248 | 20.9137
40 | 0.13734 | 0.034669 | -0.13728 | -0.034626 | 6.9114e-05 | 4.338e-05 | 0.20866 | 0.20866 | 0.20866 | 0.97988 | -0.38485 | 0.97934 | -0.39536 | 14.3308
41 | -0.20107 | -0.050855 | 0.20134 | 0.051029 | 0.00027526 | 0.00017456 | 0.3045 | 0.3045 | 0.3045 | 0.98308 | -0.32248 | 0.98455 | -0.29399 | 20.9136
42 | 0.13443 | 0.033914 | -0.13431 | -0.033837 | 0.00012247 | 7.6808e-05 | 0.20434 | 0.20434 | 0.20434 | 0.97934 | -0.39536 | 0.97837 | -0.4144 | 14.0344
43 | 0.0018458 | 0.00046234 | -0.0018458 | -0.00046259 | 6.8147e-08 | -2.5333e-07 | 0.0027896 | 0.0027897 | 0.0027897 | 0.98455 | -0.29399 | 0.98452 | -0.29477 | 0.76641
44 | -0.20319 | -0.051491 | 0.2032 | 0.051499 | 1.1429e-05 | 7.2487e-06 | 0.30729 | 0.30729 | 0.30729 | 0.98455 | -0.29399 | 0.98462 | -0.29282 | 21.1052
45 | -0.00095495 | -0.00023933 | 0.00095496 | 0.00023919 | 9.1599e-09 | -1.433e-07 | 0.0014432 | 0.0014431 | 0.0014432 | 0.9846 | -0.29302 | 0.98462 | -0.29282 | 0.39648
46 | -0.20415 | -0.051738 | 0.20427 | 0.051811 | 0.00011517 | 7.3056e-05 | 0.30873 | 0.30873 | 0.30873 | 0.98462 | -0.29282 | 0.98522 | -0.28109 | 21.2043
47 | -0.20593 | -0.052226 | 0.20606 | 0.052313 | 0.00013622 | 8.6417e-05 | 0.31124 | 0.31124 | 0.31124 | 0.98522 | -0.28109 | 0.98593 | -0.26734 | 21.3762
48 | -0.20606 | -0.052313 | 0.20627 | 0.052446 | 0.00020939 | 0.00013283 | 0.31124 | 0.31124 | 0.31124 | 0.98593 | -0.26734 | 0.98703 | -0.24624 | 21.3762
49 | -0.20664 | -0.052539 | 0.20712 | 0.052839 | 0.00047285 | 0.00029997 | 0.3118 | 0.3118 | 0.3118 | 0.98703 | -0.24624 | 0.98949 | -0.19885 | 21.4148
50 | -0.018453 | -0.0046276 | 0.018459 | 0.0046313 | 6.1965e-06 | 3.7085e-06 | 0.028236 | 0.028236 | 0.028236 | 0.97249 | -0.53009 | 0.97284 | -0.52305 | 7.7571
51 | 0.015206 | 0.0038139 | -0.015204 | -0.0038129 | 1.6616e-06 | 9.6188e-07 | 0.023268 | 0.023268 | 0.023268 | 0.97249 | -0.53009 | 0.97237 | -0.53238 | 6.3923
52 | -0.020683 | -0.0051888 | 0.020687 | 0.005191 | 3.623e-06 | 2.1989e-06 | 0.031638 | 0.031638 | 0.031638 | 0.97284 | -0.52305 | 0.97303 | -0.51937 | 8.6918
53 | 0.010372 | 0.002602 | -0.010369 | -0.0026004 | 3.0154e-06 | 1.5341e-06 | 0.015873 | 0.015873 | 0.015873 | 0.97237 | -0.53238 | 0.97206 | -0.53848 | 4.3607
54 | 0.0048326 | 0.001211 | -0.004832 | -0.0012109 | 6.3211e-07 | 2.2294e-08 | 0.0073953 | 0.0073954 | 0.0073954 | 0.97237 | -0.53238 | 0.97223 | -0.53513 | 2.0317
55 | -0.02292 | -0.0057505 | 0.022924 | 0.0057534 | 4.6189e-06 | 2.8316e-06 | 0.035052 | 0.035052 | 0.035052 | 0.97303 | -0.51937 | 0.97324 | -0.51515 | 9.6297
56 | 0.010369 | 0.0026004 | -0.010362 | -0.0025969 | 6.972e-06 | 3.548e-06 | 0.015873 | 0.015873 | 0.015873 | 0.97206 | -0.53848 | 0.97135 | -0.5526 | 4.3608
57 | 0.004832 | 0.0012109 | -0.0048316 | -0.0012109 | 3.4491e-07 | 1.2217e-08 | 0.0073954 | 0.0073955 | 0.0073955 | 0.97223 | -0.53513 | 0.97216 | -0.53663 | 2.0317
58 | -0.022924 | -0.0057534 | 0.022928 | 0.005756 | 4.3758e-06 | 2.6825e-06 | 0.035052 | 0.035052 | 0.035052 | 0.97324 | -0.51515 | 0.97345 | -0.51114 | 9.6297
59 | -0.025152 | -0.0063134 | 0.025157 | 0.0063165 | 4.9748e-06 | 3.0723e-06 | 0.038451 | 0.038451 | 0.038451 | 0.97345 | -0.51114 | 0.97366 | -0.507 | 10.5636
60 | -0.013295 | -0.0033319 | 0.013298 | 0.0033339 | 3.6198e-06 | 2.027e-06 | 0.020339 | 0.020339 | 0.020339 | 0.97265 | -0.52687 | 0.97294 | -0.52116 | 5.5876
61 | -0.017167 | -0.0043035 | 0.017174 | 0.0043082 | 7.9367e-06 | 4.698e-06 | 0.026255 | 0.026255 | 0.026255 | 0.97294 | -0.52116 | 0.97343 | -0.51146 | 7.2129
62 | -0.20712 | -0.052839 | 0.20759 | 0.053136 | 0.0004681 | 0.00029694 | 0.3118 | 0.3118 | 0.3118 | 0.98949 | -0.19885 | 0.99194 | -0.15217 | 21.4148
63 | 0.00061668 | 0.00015427 | -0.00061667 | -0.00015455 | 7.1152e-09 | -2.8167e-07 | 0.00092499 | 0.00092509 | 0.00092509 | 0.99194 | -0.15217 | 0.99193 | -0.15242 | 0.25415
64 | -0.30203 | -0.077439 | 0.30317 | 0.078167 | 0.0011417 | 0.0007276 | 0.4537 | 0.4537 | 0.4537 | 0.99194 | -0.15217 | 0.99603 | -0.074538 | 31.1607
65 | 0.093826 | 0.024149 | -0.093707 | -0.024073 | 0.00011914 | 7.6046e-05 | 0.14098 | 0.14098 | 0.14098 | 0.99194 | -0.15217 | 0.99056 | -0.17832 | 38.73
66 | -0.028389 | -0.0071264 | 0.028405 | 0.0071363 | 1.5912e-05 | 9.9032e-06 | 0.04339 | 0.04339 | 0.04339 | 0.97366 | -0.507 | 0.97425 | -0.49525 | 11.9204
67 | 0.03155 | 0.0079218 | -0.031526 | -0.0079065 | 2.4373e-05 | 1.525e-05 | 0.048193 | 0.048194 | 0.048194 | 0.97425 | -0.49525 | 0.97343 | -0.51146 | 13.24
68 | -0.059955 | -0.015058 | 0.060091 | 0.015144 | 0.0001359 | 8.6437e-05 | 0.091584 | 0.091583 | 0.091584 | 0.97425 | -0.49525 | 0.97666 | -0.44787 | 25.1603
69 | 0.014352 | 0.0035984 | -0.014347 | -0.0035956 | 4.8012e-06 | 2.7422e-06 | 0.021939 | 0.021939 | 0.021939 | 0.97343 | -0.51146 | 0.97307 | -0.51848 | 6.0272
70 | 0.028392 | 0.0071159 | -0.028381 | -0.0071121 | 1.0713e-05 | 3.8009e-06 | 0.043257 | 0.043259 | 0.043259 | 0.97666 | -0.44787 | 0.97626 | -0.45579 | 2.9711
71 | -0.11696 | -0.029414 | 0.11707 | 0.029482 | 0.00010882 | 6.7816e-05 | 0.17824 | 0.17824 | 0.17824 | 0.97666 | -0.44787 | 0.97766 | -0.42841 | 12.2415
72 | 0.028478 | 0.007154 | -0.028446 | -0.0071337 | 3.2683e-05 | 2.0339e-05 | 0.043395 | 0.043395 | 0.043395 | 0.97666 | -0.44787 | 0.97544 | -0.47194 | 11.9217
73 | 0.028446 | 0.0071337 | -0.028434 | -0.0071261 | 1.2106e-05 | 7.5339e-06 | 0.043395 | 0.043395 | 0.043395 | 0.97544 | -0.47194 | 0.97499 | -0.48088 | 11.9218
74 | 0.0066002 | 0.0016542 | -0.0065996 | -0.001654 | 5.9265e-07 | 1.8406e-07 | 0.01006 | 0.01006 | 0.01006 | 0.97626 | -0.45579 | 0.97616 | -0.45767 | 2.7638
75 | -0.13422 | -0.033781 | 0.13431 | 0.033837 | 8.9888e-05 | 5.6376e-05 | 0.20434 | 0.20434 | 0.20434 | 0.97766 | -0.42841 | 0.97837 | -0.4144 | 14.0344
76 | 0.093092 | 0.023919 | -0.092567 | -0.023584 | 0.00052483 | 0.00033498 | 0.14005 | 0.14005 | 0.14005 | 0.99056 | -0.17832 | 0.98446 | -0.29511 | 38.476
77 | 0.092567 | 0.023584 | -0.092118 | -0.023297 | 0.00044896 | 0.00028656 | 0.14005 | 0.14005 | 0.14005 | 0.98446 | -0.29511 | 0.97925 | -0.39617 | 38.4761
78 | 0.092118 | 0.023297 | -0.091959 | -0.023195 | 0.00015943 | 0.00010176 | 0.14005 | 0.14005 | 0.14005 | 0.97925 | -0.39617 | 0.9774 | -0.43231 | 38.4761
79 | -0.30317 | -0.078167 | 0.30423 | 0.078841 | 0.0010582 | 0.00067436 | 0.4537 | 0.4537 | 0.4537 | 0.99603 | -0.074538 | 0.99983 | -0.003147 | 31.1606
80 | 0.091131 | 0.022988 | -0.091119 | -0.02298 | 1.2048e-05 | 7.6899e-06 | 0.13879 | 0.13879 | 0.13879 | 0.9774 | -0.43231 | 0.97726 | -0.43508 | 38.1299
81 | 0.091119 | 0.02298 | -0.09092 | -0.022853 | 0.00019901 | 0.00012702 | 0.13879 | 0.13879 | 0.13879 | 0.97726 | -0.43508 | 0.97493 | -0.48081 | 38.1299
82 | -0.053612 | -0.013436 | 0.053665 | 0.01347 | 5.3493e-05 | 3.397e-05 | 0.081916 | 0.081916 | 0.081916 | 0.97387 | -0.50173 | 0.97493 | -0.48081 | 22.5043
83 | 0.0080057 | 0.0020066 | -0.008005 | -0.0020062 | 7.4614e-07 | 3.1209e-07 | 0.012232 | 0.012232 | 0.012232 | 0.97387 | -0.50173 | 0.97377 | -0.50369 | 3.3606
84 | 0.037254 | 0.0093826 | -0.037145 | -0.0093139 | 0.00010919 | 6.8761e-05 | 0.056877 | 0.056878 | 0.056878 | 0.97493 | -0.48081 | 0.97181 | -0.5423 | 15.6257
85 | 0.037145 | 0.0093139 | -0.037134 | -0.0093066 | 1.1572e-05 | 7.2881e-06 | 0.056878 | 0.056878 | 0.056878 | 0.97181 | -0.5423 | 0.97148 | -0.54884 | 15.6257

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.48684 | 0.12493

## res_load
| p_mw | q_mvar
0 | 0.00064625 | 0.00016197
1 | 0.0014571 | 0.00036519
2 | 0.0076091 | 0.001907
3 | 0.026104 | 0.0065422
4 | 0.0018028 | 0.00045182
5 | 0.00094689 | 0.00023731
6 | 0.007856 | 0.0019689
7 | 0.068975 | 0.017287
8 | 0.0007322 | 0.00018351
9 | 0.001172 | 0.00029372
10 | 0.0044676 | 0.0011197
11 | 0.0025996 | 0.00065151
12 | 0.001365 | 0.0003421
13 | 0.004367 | 0.0010945
14 | 0.0011515 | 0.0002886
15 | 0.00090404 | 0.00022657
16 | 0.00058595 | 0.00014685
17 | 0.0066887 | 0.0016763
18 | 0.00076104 | 0.00019073
19 | 0.0017307 | 0.00043375
20 | 0.00075513 | 0.00018925
21 | 0.0007998 | 0.00020045
22 | 0.00056982 | 0.00014281
23 | 0.0005062 | 0.00012686
24 | 0.00057124 | 0.00014317
25 | 0.05638 | 0.01413
26 | 0.0011163 | 0.00027978
27 | 0.00057735 | 0.0001447
28 | 0.0034361 | 0.00086117
29 | 0.0028407 | 0.00071196
30 | 0.00095495 | 0.00023933
31 | 0.0016576 | 0.00041544
32 | 0.0018458 | 0.00046259
33 | 0.00037314 | 9.3517e-05
34 | 0.0032467 | 0.0008137
35 | 0.0022243 | 0.00055747
36 | 0.0022326 | 0.00055955
37 | 0.010362 | 0.0025969
38 | 0.0048316 | 0.0012109
39 | 0.0022238 | 0.00055734
40 | 0.013295 | 0.0033319
41 | 0.0038684 | 0.00096951
42 | 0.0032317 | 0.00080993
43 | 0.014347 | 0.0035956
44 | 0.028434 | 0.0071261
45 | 0.017152 | 0.0042987
46 | 0.0065996 | 0.001654
47 | 0.00061562 | 0.00015429
48 | 0.00061667 | 0.00015455
49 | 0.00082794 | 0.0002075
50 | 0.052123 | 0.013063
51 | 0.005179 | 0.001298
52 | 0.045606 | 0.01143
53 | 0.008005 | 0.0020062
54 | 0.037134 | 0.0093066

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1