## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1630-17_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1630-17_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1630-17_0_4_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_1630-17_0_4_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_1630-17_0_4_node_22 | 0.4 | n |  | TRUE
5 | bus_LV_1630-17_0_4_node_46 | 0.4 | n |  | TRUE
6 | bus_LV_1630-17_0_4_node_8 | 0.4 | n |  | TRUE
7 | bus_LV_1630-17_0_4_node_32 | 0.4 | n |  | TRUE
8 | bus_LV_1630-17_0_4_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_1630-17_0_4_node_12 | 0.4 | n |  | TRUE
10 | bus_LV_1630-17_0_4_node_15 | 0.4 | n |  | TRUE
11 | bus_LV_1630-17_0_4_node_13 | 0.4 | n |  | TRUE
12 | bus_LV_1630-17_0_4_node_37 | 0.4 | n |  | TRUE
13 | bus_LV_1630-17_0_4_node_6 | 0.4 | n |  | TRUE
14 | bus_LV_1630-17_0_4_node_31 | 0.4 | n |  | TRUE
15 | bus_LV_1630-17_0_4_node_48 | 0.4 | n |  | TRUE
16 | bus_LV_1630-17_0_4_node_16 | 0.4 | n |  | TRUE
17 | bus_LV_1630-17_0_4_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_1630-17_0_4_node_45 | 0.4 | n |  | TRUE
19 | bus_LV_1630-17_0_4_node_24 | 0.4 | n |  | TRUE
20 | bus_LV_1630-17_0_4_node_41 | 0.4 | n |  | TRUE
21 | bus_LV_1630-17_0_4_node_26 | 0.4 | n |  | TRUE
22 | bus_LV_1630-17_0_4_node_25 | 0.4 | n |  | TRUE
23 | bus_LV_1630-17_0_4_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_1630-17_0_4_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_1630-17_0_4_node_39 | 0.4 | n |  | TRUE
26 | bus_LV_1630-17_0_4_node_33 | 0.4 | n |  | TRUE
27 | bus_LV_1630-17_0_4_node_40 | 0.4 | n |  | TRUE
28 | bus_LV_1630-17_0_4_node_47 | 0.4 | n |  | TRUE
29 | bus_LV_1630-17_0_4_node_20 | 0.4 | n |  | TRUE
30 | bus_LV_1630-17_0_4_node_23 | 0.4 | n |  | TRUE
31 | bus_LV_1630-17_0_4_node_34 | 0.4 | n |  | TRUE
32 | bus_LV_1630-17_0_4_node_35 | 0.4 | n |  | TRUE
33 | bus_LV_1630-17_0_4_node_44 | 0.4 | n |  | TRUE
34 | bus_LV_1630-17_0_4_node_36 | 0.4 | n |  | TRUE
35 | bus_LV_1630-17_0_4_node_18 | 0.4 | n |  | TRUE
36 | bus_LV_1630-17_0_4_node_19 | 0.4 | n |  | TRUE
37 | bus_LV_1630-17_0_4_node_21 | 0.4 | n |  | TRUE
38 | bus_LV_1630-17_0_4_node_38 | 0.4 | n |  | TRUE
39 | bus_LV_1630-17_0_4_node_30 | 0.4 | n |  | TRUE
40 | bus_LV_1630-17_0_4_node_27 | 0.4 | n |  | TRUE
41 | bus_LV_1630-17_0_4_node_28 | 0.4 | n |  | TRUE
42 | bus_LV_1630-17_0_4_node_29 | 0.4 | n |  | TRUE
43 | bus_LV_1630-17_0_4_node_42 | 0.4 | n |  | TRUE
44 | bus_LV_1630-17_0_4_node_43 | 0.4 | n |  | TRUE
45 | bus_MV_0_node_15 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1630-17_0_4_load_0 | 0 | 0.0021216 | 0.00053172 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1630-17_0_4_load_46 | 5 | 0.0010546 | 0.00026432 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1630-17_0_4_load_32 | 7 | 9.8906e-05 | 2.4788e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1630-17_0_4_load_37 | 12 | 0.001606 | 0.00040249 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1630-17_0_4_load_31 | 14 | 0.00093575 | 0.00023452 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1630-17_0_4_load_48 | 15 | 0.0011639 | 0.00029171 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1630-17_0_4_load_45 | 18 | 0.0047132 | 0.0011812 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1630-17_0_4_load_41 | 20 | 0.00572 | 0.0014336 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1630-17_0_4_load_26 | 21 | 0.0012482 | 0.00031282 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1630-17_0_4_load_25 | 22 | 0.0036318 | 0.00091022 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1630-17_0_4_load_39 | 25 | 0.0031282 | 0.000784 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1630-17_0_4_load_33 | 26 | 0.0012773 | 0.00032011 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1630-17_0_4_load_40 | 27 | 0.0019934 | 0.00049958 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1630-17_0_4_load_47 | 28 | 0.0011061 | 0.00027721 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1630-17_0_4_load_23 | 30 | 0.017098 | 0.0042851 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1630-17_0_4_load_34 | 31 | 0.0018648 | 0.00046736 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1630-17_0_4_load_18 | 35 | 0.00015016 | 3.7634e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1630-17_0_4_load_19 | 36 | 0.00011328 | 2.839e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1630-17_0_4_load_30 | 39 | 6.5106e-05 | 1.6317e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1630-17_0_4_load_27 | 40 | 0.00035781 | 8.9676e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1630-17_0_4_load_28 | 41 | 0.00015798 | 3.9594e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1630-17_0_4_load_43 | 44 | 0.00067714 | 0.00016971 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 10 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1630-17_0_4_line_0 |  | 0 | 1 | 0.044306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1630-17_0_4_line_1 |  | 1 | 2 | 0.054962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1630-17_0_4_line_2 |  | 1 | 3 | 0.09254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1630-17_0_4_line_3 |  | 2 | 4 | 0.037106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1630-17_0_4_line_4 |  | 2 | 5 | 0.041667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1630-17_0_4_line_5 |  | 3 | 6 | 0.4297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1630-17_0_4_line_6 |  | 3 | 7 | 0.01904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1630-17_0_4_line_7 |  | 4 | 28 | 0.015497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1630-17_0_4_line_8 |  | 4 | 29 | 0.046894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1630-17_0_4_line_9 |  | 6 | 15 | 0.006417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1630-17_0_4_line_10 |  | 6 | 16 | 0.057977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1630-17_0_4_line_11 |  | 8 | 9 | 0.36239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1630-17_0_4_line_12 |  | 8 | 10 | 0.61931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1630-17_0_4_line_13 |  | 8 | 11 | 0.22977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1630-17_0_4_line_14 |  | 8 | 12 | 0.19006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1630-17_0_4_line_15 |  | 9 | 20 | 0.47363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1630-17_0_4_line_16 |  | 10 | 19 | 0.036366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1630-17_0_4_line_17 |  | 10 | 25 | 0.043878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1630-17_0_4_line_18 |  | 10 | 13 | 0.14443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1630-17_0_4_line_19 |  | 11 | 21 | 0.020845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1630-17_0_4_line_20 |  | 11 | 22 | 0.026314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1630-17_0_4_line_21 |  | 12 | 23 | 0.0083964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1630-17_0_4_line_22 |  | 13 | 14 | 0.011466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1630-17_0_4_line_23 |  | 16 | 26 | 0.0094174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1630-17_0_4_line_24 |  | 16 | 17 | 0.048813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1630-17_0_4_line_25 |  | 17 | 18 | 0.009104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1630-17_0_4_line_26 |  | 17 | 19 | 0.018275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1630-17_0_4_line_27 |  | 19 | 30 | 0.043798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1630-17_0_4_line_28 |  | 23 | 24 | 0.40548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1630-17_0_4_line_29 |  | 24 | 27 | 0.1643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1630-17_0_4_line_30 |  | 27 | 34 | 0.038541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1630-17_0_4_line_31 |  | 29 | 35 | 0.012343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1630-17_0_4_line_32 |  | 31 | 32 | 0.14598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1630-17_0_4_line_33 |  | 31 | 33 | 0.41868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1630-17_0_4_line_34 |  | 32 | 34 | 0.16789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1630-17_0_4_line_35 |  | 33 | 43 | 0.088526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1630-17_0_4_line_36 |  | 35 | 36 | 0.014201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1630-17_0_4_line_37 |  | 36 | 37 | 0.026512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1630-17_0_4_line_38 |  | 37 | 38 | 0.059044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1630-17_0_4_line_39 |  | 38 | 39 | 0.031215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1630-17_0_4_line_40 |  | 39 | 42 | 0.030825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1630-17_0_4_line_41 |  | 40 | 41 | 0.0045208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1630-17_0_4_line_42 |  | 40 | 42 | 0.016066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1630-17_0_4_line_43 |  | 43 | 44 | 0.057674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1630-17_0_4_trafo_15 | 0.63 MVA 20/0.4 kV | 45 | 10 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25
0 | 2726041.8174 | 1220356.196 | 2726034.1184 | 1220367.0751 | 2726032.3458 | 1220371.9303 | 2726031.1315 | 1220383.0357 | 2726030.6766 | 1220388.03 | 2726029.7023 | 1220391.3899 | 2726028.0826 | 1220394.7583 | 2726026.3547 | 1220396.4057
1 | 2726041.8174 | 1220356.196 | 2725990.5331 | 1220336.0395
2 | 2726041.8174 | 1220356.196 | 2726053.146 | 1220360.6504 | 2726079.5782 | 1220395.949 | 2726081.1415 | 1220398.8288 | 2726081.8703 | 1220402.4026 | 2726081.5459 | 1220410.1908 | 2726086.7097 | 1220416.1605 | 2726097.3056 | 1220407.5446
3 | 2725955.9066 | 1220322.4408 | 2725990.5331 | 1220336.0395
4 | 2725964.1907 | 1220367.474 | 2725978.8298 | 1220353.5837 | 2725980.3561 | 1220347.8114 | 2725990.5331 | 1220336.0395
5 | 2726097.3056 | 1220407.5446 | 2726114.0302 | 1220394.1102 | 2726122.0118 | 1220387.8075 | 2726195.0964 | 1220330.1539 | 2726201.1911 | 1220328.7264 | 2726206.8223 | 1220328.401 | 2726212.1766 | 1220328.9593 | 2726219.1611 | 1220331.0312 | 2726248.3958 | 1220345.4511 | 2726362.5947 | 1220405.9318 | 2726425.8513 | 1220439.4452 | 2726439.3988 | 1220446.6163 | 2726467.3942 | 1220461.4446
6 | 2726097.3056 | 1220407.5446 | 2726099.718 | 1220409.7529 | 2726111.3584 | 1220420.3916
7 | 2725955.9066 | 1220322.4408 | 2725943.785 | 1220332.1367
8 | 2725912.1492 | 1220305.2465 | 2725955.9066 | 1220322.4408
9 | 2726467.3942 | 1220461.4446 | 2726464.2844 | 1220467.0609
10 | 2726518.7463 | 1220488.6457 | 2726486.7583 | 1220471.6973 | 2726481.8646 | 1220469.1136 | 2726467.3942 | 1220461.4446
11 | 2726783.0085 | 1220816.9267 | 2726791.4057 | 1220821.7649 | 2726797.3938 | 1220825.6844 | 2726800.7618 | 1220830.0374 | 2726802.4316 | 1220833.9538 | 2726803.1497 | 1220837.6498 | 2726802.8675 | 1220843.0593 | 2726800.923 | 1220848.4778 | 2726797.9524 | 1220852.54 | 2726787.9191 | 1220856.107 | 2726781.3093 | 1220863.2053 | 2726783.7994 | 1220874.9233 | 2726786.1037 | 1220885.7476 | 2726803.6788 | 1220881.5629 | 2726830.6836 | 1220874.3654 | 2726876.6239 | 1220861.1222 | 2726911.5839 | 1220852.7936 | 2726913.4659 | 1220858.8497 | 2726915.71 | 1220867.5044 | 2726919.4601 | 1220879.9165 | 2726927.1542 | 1220909.5263 | 2726927.1001 | 1220918.4657 | 2726926.6101 | 1220921.8691 | 2726924.3263 | 1220937.8554 | 2726924.7068 | 1220957.0233 | 2726925.7812 | 1220993.1195
12 | 2726609.7048 | 1220538.1846 | 2726632.0768 | 1220550.0919 | 2726635.9794 | 1220552.1654 | 2726760.8134 | 1220618.6071 | 2726873.8279 | 1220680.0512 | 2726895.0151 | 1220776.3128 | 2726898.4325 | 1220792.2317 | 2726905.3542 | 1220825.3278 | 2726907.0009 | 1220833.1692 | 2726909.7869 | 1220847.0174 | 2726911.5839 | 1220852.7936 | 2726913.4659 | 1220858.8497 | 2726915.71 | 1220867.5044 | 2726919.4601 | 1220879.9165 | 2726927.1542 | 1220909.5263 | 2726927.1001 | 1220918.4657 | 2726926.6101 | 1220921.8691 | 2726924.3263 | 1220937.8554 | 2726924.7068 | 1220957.0233 | 2726925.7812 | 1220993.1195
13 | 2726696.0167 | 1220994.8734 | 2726752.8012 | 1220994.4368 | 2726757.9096 | 1220994.401 | 2726892.1627 | 1220993.3811 | 2726925.7812 | 1220993.1195
14 | 2726925.7812 | 1220993.1195 | 2727115.8395 | 1220991.9898
15 | 2726783.0085 | 1220816.9267 | 2726806.2523 | 1220811.0057 | 2726814.2039 | 1220808.9734 | 2726870.8049 | 1220791.954 | 2726957.7479 | 1220763.6173 | 2727121.7479 | 1220704.4234 | 2727205.9231 | 1220673.6069 | 2727214.5977 | 1220670.4341 | 2727231.0846 | 1220664.1058
16 | 2726609.7048 | 1220538.1846 | 2726577.5315 | 1220521.0538
17 | 2726609.7048 | 1220538.1846 | 2726612.9804 | 1220532.2717 | 2726630.5828 | 1220499.5921
18 | 2726609.7048 | 1220538.1846 | 2726632.0768 | 1220550.0919 | 2726635.9794 | 1220552.1654 | 2726580.6087 | 1220652.5797
19 | 2726696.0167 | 1220994.8734 | 2726702.838 | 1220975.1766
20 | 2726696.0167 | 1220994.8734 | 2726669.7032 | 1220995.075
21 | 2727124.2357 | 1220991.9399 | 2727115.8395 | 1220991.9898
22 | 2726580.6087 | 1220652.5797 | 2726575.0889 | 1220662.6299
23 | 2726518.7463 | 1220488.6457 | 2726514.1085 | 1220496.842
24 | 2726518.7463 | 1220488.6457 | 2726522.4735 | 1220490.7599 | 2726530.5733 | 1220495.3356 | 2726532.9281 | 1220496.6756 | 2726536.6029 | 1220498.7553 | 2726561.374 | 1220512.4258
25 | 2726561.374 | 1220512.4258 | 2726563.7577 | 1220507.7616 | 2726565.5235 | 1220504.3186
26 | 2726561.374 | 1220512.4258 | 2726577.5315 | 1220521.0538
27 | 2726577.5315 | 1220521.0538 | 2726581.0775 | 1220514.2015 | 2726597.6517 | 1220482.1506
28 | 2727124.2357 | 1220991.9399 | 2727140.8101 | 1220991.9715 | 2727146.9577 | 1220991.6024 | 2727153.3941 | 1220989.4381 | 2727191.2397 | 1220965.3936 | 2727332.4131 | 1220876.1607 | 2727343.9201 | 1220868.2893 | 2727346.2404 | 1220863.0681 | 2727345.8949 | 1220857.5785 | 2727343.717 | 1220833.0901 | 2727341.5977 | 1220826.0837 | 2727357.5801 | 1220815.4947 | 2727410.2636 | 1220784.0851 | 2727433.6426 | 1220771.5308
29 | 2727433.6426 | 1220771.5308 | 2727417.0067 | 1220769.0284 | 2727406.5855 | 1220769.0611 | 2727379.6139 | 1220773.232 | 2727372.445 | 1220773.0786 | 2727364.9292 | 1220771.4054 | 2727353.3989 | 1220766.8774 | 2727344.8978 | 1220761.9473 | 2727282.1919 | 1220725.1977
30 | 2727248.1156 | 1220707.2684 | 2727266.6581 | 1220716.0939 | 2727282.1919 | 1220725.1977
31 | 2725912.1492 | 1220305.2465 | 2725900.6616 | 1220300.7326
32 | 2727098.8507 | 1220629.7528 | 2726994.8336 | 1220575.3129 | 2726969.481 | 1220562.1153
33 | 2726969.481 | 1220562.1153 | 2727092.5446 | 1220161.9333
34 | 2727098.8507 | 1220629.7528 | 2727169.4724 | 1220667.8017 | 2727204.1011 | 1220683.2202 | 2727248.1156 | 1220707.2684
35 | 2727176.6477 | 1220174.6273 | 2727158.9732 | 1220173.4046 | 2727147.5137 | 1220171.5363 | 2727133.7393 | 1220168.9513 | 2727109.7804 | 1220162.7351 | 2727095.2883 | 1220158.567 | 2727093.8644 | 1220158.0695 | 2727092.5446 | 1220161.9333
36 | 2725887.4442 | 1220295.539 | 2725900.6616 | 1220300.7326
37 | 2725862.7685 | 1220285.843 | 2725887.4442 | 1220295.539
38 | 2725807.674 | 1220264.1953 | 2725862.7685 | 1220285.843
39 | 2725807.674 | 1220264.1953 | 2725778.6203 | 1220252.7832
40 | 2725749.9292 | 1220241.5136 | 2725778.6203 | 1220252.7832
41 | 2725742.584 | 1220260.7459 | 2725744.197 | 1220256.5226
42 | 2725749.9292 | 1220241.5136 | 2725744.197 | 1220256.5226
43 | 2727176.6477 | 1220174.6273 | 2727173.2154 | 1220172.2077 | 2727161.1311 | 1220161.5746 | 2727133.5895 | 1220136.1664

## bus_geodata
| x | y | coords
0 | 2726026.3547 | 1220396.4057
1 | 2726041.8174 | 1220356.196
2 | 2725990.5331 | 1220336.0395
3 | 2726097.3056 | 1220407.5446
4 | 2725955.9066 | 1220322.4408
5 | 2725964.1907 | 1220367.474
6 | 2726467.3942 | 1220461.4446
7 | 2726111.3584 | 1220420.3916
8 | 2726925.7812 | 1220993.1195
9 | 2726783.0085 | 1220816.9267
10 | 2726609.7048 | 1220538.1846
11 | 2726696.0167 | 1220994.8734
12 | 2727115.8395 | 1220991.9898
13 | 2726580.6087 | 1220652.5797
14 | 2726575.0889 | 1220662.6299
15 | 2726464.2844 | 1220467.0609
16 | 2726518.7463 | 1220488.6457
17 | 2726561.374 | 1220512.4258
18 | 2726565.5235 | 1220504.3186
19 | 2726577.5315 | 1220521.0538
20 | 2727231.0846 | 1220664.1058
21 | 2726702.838 | 1220975.1766
22 | 2726669.7032 | 1220995.075
23 | 2727124.2357 | 1220991.9399
24 | 2727433.6426 | 1220771.5308
25 | 2726630.5828 | 1220499.5921
26 | 2726514.1085 | 1220496.842
27 | 2727282.1919 | 1220725.1977
28 | 2725943.785 | 1220332.1367
29 | 2725912.1492 | 1220305.2465
30 | 2726597.6517 | 1220482.1506
31 | 2726969.481 | 1220562.1153
32 | 2727098.8507 | 1220629.7528
33 | 2727092.5446 | 1220161.9333
34 | 2727248.1156 | 1220707.2684
35 | 2725900.6616 | 1220300.7326
36 | 2725887.4442 | 1220295.539
37 | 2725862.7685 | 1220285.843
38 | 2725807.674 | 1220264.1953
39 | 2725778.6203 | 1220252.7832
40 | 2725744.197 | 1220256.5226
41 | 2725742.584 | 1220260.7459
42 | 2725749.9292 | 1220241.5136
43 | 2727176.6477 | 1220174.6273
44 | 2727133.5895 | 1220136.1664
45 | 2726609.7048 | 1220538.1846

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99558 | -0.085346 | 0.0021216 | 0.00053172
1 | 0.99567 | -0.083692 | 0 | 0
2 | 0.99552 | -0.086608 | 0 | 0
3 | 0.9961 | -0.075329 | 0 | 0
4 | 0.99545 | -0.087887 | 0 | 0
5 | 0.99548 | -0.087382 | 0.0010546 | 0.00026432
6 | 0.99814 | -0.035775 | 0 | 0
7 | 0.9961 | -0.075362 | 9.8906e-05 | 2.4788e-05
8 | 0.99049 | -0.18356 | 0 | 0
9 | 0.98858 | -0.2206 | 0 | 0
10 | 1 | 0 | -0.052184 | -0.012701
11 | 0.98946 | -0.20352 | 0 | 0
12 | 0.98942 | -0.2045 | 0.001606 | 0.00040249
13 | 0.99988 | -0.002363 | 0 | 0
14 | 0.99987 | -0.0025501 | 0.00093575 | 0.00023452
15 | 0.99814 | -0.035906 | 0.0011639 | 0.00029171
16 | 0.99848 | -0.029262 | 0 | 0
17 | 0.99882 | -0.022691 | 0 | 0
18 | 0.99878 | -0.023441 | 0.0047132 | 0.0011812
19 | 0.99903 | -0.018728 | 0 | 0
20 | 0.98609 | -0.2691 | 0.00572 | 0.0014336
21 | 0.98943 | -0.20399 | 0.0012482 | 0.00031282
22 | 0.98937 | -0.20523 | 0.0036318 | 0.00091022
23 | 0.98938 | -0.20518 | 0 | 0
24 | 0.98769 | -0.23829 | 0 | 0
25 | 0.99988 | -0.0023932 | 0.0031282 | 0.000784
26 | 0.99847 | -0.029473 | 0.0012773 | 0.00032011
27 | 0.98701 | -0.2517 | 0.0019934 | 0.00049958
28 | 0.99544 | -0.088189 | 0.0011061 | 0.00027721
29 | 0.99542 | -0.08859 | 0 | 0
30 | 0.99835 | -0.031814 | 0.017098 | 0.0042851
31 | 0.98619 | -0.2679 | 0.0018648 | 0.00046736
32 | 0.98653 | -0.2612 | 0 | 0
33 | 0.98593 | -0.27307 | 0 | 0
34 | 0.98692 | -0.25348 | 0 | 0
35 | 0.99541 | -0.088774 | 0.00015016 | 3.7634e-05
36 | 0.9954 | -0.088949 | 0.00011328 | 2.839e-05
37 | 0.99538 | -0.089222 | 0 | 0
38 | 0.99535 | -0.08983 | 0 | 0
39 | 0.99534 | -0.09015 | 6.5106e-05 | 1.6317e-05
40 | 0.99531 | -0.090576 | 0.00035781 | 8.9676e-05
41 | 0.99531 | -0.090589 | 0.00015798 | 3.9594e-05
42 | 0.99532 | -0.09043 | 0 | 0
43 | 0.98587 | -0.27415 | 0 | 0
44 | 0.98584 | -0.27485 | 0.00067714 | 0.00016971
45 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0021216 | -0.00053172 | 0.0021217 | 0.00053125 | 1.6705e-07 | -4.6928e-07 | 0.003171 | 0.0031707 | 0.003171 | 0.99558 | -0.085346 | 0.99567 | -0.083692 | 0.87114
1 | 0.0030057 | 0.00074849 | -0.0030053 | -0.00074894 | 4.156e-07 | -4.4874e-07 | 0.0044903 | 0.0044906 | 0.0044906 | 0.99567 | -0.083692 | 0.99552 | -0.086608 | 1.2337
2 | -0.0051275 | -0.0012797 | 0.0051295 | 0.0012798 | 2.0367e-06 | 9.9371e-08 | 0.0076611 | 0.0076607 | 0.0076611 | 0.99567 | -0.083692 | 0.9961 | -0.075329 | 2.1047
3 | 0.0019506 | 0.00048514 | -0.0019505 | -0.00048554 | 1.1819e-07 | -4.0678e-07 | 0.0029143 | 0.0029145 | 0.0029145 | 0.99552 | -0.086608 | 0.99545 | -0.087887 | 0.80069
4 | 0.0010547 | 0.0002638 | -0.0010546 | -0.00026432 | 3.8827e-08 | -5.1688e-07 | 0.0015763 | 0.0015764 | 0.0015764 | 0.99552 | -0.086608 | 0.99548 | -0.087382 | 0.43309
5 | -0.0052284 | -0.0013044 | 0.0052382 | 0.0013051 | 9.822e-06 | 6.8116e-07 | 0.0078083 | 0.0078064 | 0.0078083 | 0.9961 | -0.075329 | 0.99814 | -0.035775 | 2.1451
6 | 9.8906e-05 | 2.454e-05 | -9.8906e-05 | -2.4788e-05 | 1.5578e-10 | -2.4775e-07 | 0.00014766 | 0.00014775 | 0.00014775 | 0.9961 | -0.075329 | 0.9961 | -0.075362 | 0.040591
7 | 0.0011061 | 0.00027702 | -0.0011061 | -0.00027721 | 1.5886e-08 | -1.9129e-07 | 0.0016533 | 0.0016534 | 0.0016534 | 0.99545 | -0.087887 | 0.99544 | -0.088189 | 0.45423
8 | 0.00084442 | 0.00020853 | -0.0008444 | -0.00020912 | 2.7975e-08 | -5.9171e-07 | 0.0012612 | 0.0012614 | 0.0012614 | 0.99545 | -0.087887 | 0.99542 | -0.08859 | 0.34653
9 | 0.0011639 | 0.00029163 | -0.0011639 | -0.00029171 | 7.2451e-09 | -7.9237e-08 | 0.0017352 | 0.0017352 | 0.0017352 | 0.99814 | -0.035775 | 0.99814 | -0.035906 | 0.4767
10 | -0.0064022 | -0.0015967 | 0.0064042 | 0.0015972 | 1.9793e-06 | 5.0869e-07 | 0.0095415 | 0.0095412 | 0.0095415 | 0.99814 | -0.035775 | 0.99848 | -0.029262 | 2.6213
11 | 0.0057434 | 0.0014378 | -0.0057333 | -0.001436 | 1.0118e-05 | 1.8201e-06 | 0.0086278 | 0.0086294 | 0.0086294 | 0.99049 | -0.18356 | 0.98858 | -0.2206 | 2.3707
12 | -0.016788 | -0.0041898 | 0.016936 | 0.0042763 | 0.00014764 | 8.644e-05 | 0.025215 | 0.025212 | 0.025215 | 0.99049 | -0.18356 | 1 | 0 | 6.9271
13 | 0.0048849 | 0.0012227 | -0.0048803 | -0.0012226 | 4.6404e-06 | 1.5604e-08 | 0.0073381 | 0.0073392 | 0.0073392 | 0.99049 | -0.18356 | 0.98946 | -0.20352 | 2.0163
14 | 0.0061597 | 0.0015294 | -0.0061536 | -0.0015279 | 6.0971e-06 | 1.4585e-06 | 0.0092486 | 0.0092495 | 0.0092495 | 0.99049 | -0.18356 | 0.98942 | -0.2045 | 2.5411
15 | 0.0057333 | 0.001436 | -0.00572 | -0.0014336 | 1.323e-05 | 2.4095e-06 | 0.0086294 | 0.0086316 | 0.0086316 | 0.98858 | -0.2206 | 0.98609 | -0.2691 | 2.3713
16 | 0.029534 | 0.0074083 | -0.029508 | -0.0073919 | 2.6342e-05 | 1.6382e-05 | 0.04395 | 0.04395 | 0.04395 | 1 | 0 | 0.99903 | -0.018728 | 12.0741
17 | 0.0031285 | 0.00078365 | -0.0031282 | -0.000784 | 3.5659e-07 | -3.4736e-07 | 0.0046552 | 0.0046554 | 0.0046554 | 1 | 0 | 0.99988 | -0.0023932 | 1.2789
18 | 0.00093586 | 0.00023255 | -0.00093576 | -0.00023438 | 1.0498e-07 | -1.8274e-06 | 0.0013919 | 0.0013925 | 0.0013925 | 1 | 0 | 0.99988 | -0.002363 | 0.38257
19 | 0.0012482 | 0.00031257 | -0.0012482 | -0.00031282 | 2.7541e-08 | -2.501e-07 | 0.001877 | 0.0018771 | 0.0018771 | 0.98946 | -0.20352 | 0.98943 | -0.20399 | 0.51569
20 | 0.0036321 | 0.00091007 | -0.0036318 | -0.00091022 | 2.9442e-07 | -1.4953e-07 | 0.0054622 | 0.0054623 | 0.0054623 | 0.98946 | -0.20352 | 0.98937 | -0.20523 | 1.5006
21 | 0.0045476 | 0.0011254 | -0.0045474 | -0.0011254 | 1.4706e-07 | -1.3711e-08 | 0.0068342 | 0.0068343 | 0.0068343 | 0.98942 | -0.2045 | 0.98938 | -0.20518 | 1.8775
22 | 0.00093576 | 0.00023438 | -0.00093575 | -0.00023452 | 8.3385e-09 | -1.4505e-07 | 0.0013925 | 0.0013926 | 0.0013926 | 0.99988 | -0.002363 | 0.99987 | -0.0025501 | 0.38258
23 | 0.0012773 | 0.00032 | -0.0012773 | -0.00032011 | 1.2796e-08 | -1.1498e-07 | 0.0019035 | 0.0019035 | 0.0019035 | 0.99848 | -0.029262 | 0.99847 | -0.029473 | 0.52294
24 | -0.0076814 | -0.0019172 | 0.0076838 | 0.0019181 | 2.3975e-06 | 8.9576e-07 | 0.011445 | 0.011444 | 0.011445 | 0.99848 | -0.029262 | 0.99882 | -0.022691 | 3.1441
25 | 0.0047134 | 0.0011812 | -0.0047132 | -0.0011812 | 1.6833e-07 | -1.1419e-08 | 0.0070218 | 0.0070219 | 0.0070219 | 0.99882 | -0.022691 | 0.99878 | -0.023441 | 1.9291
26 | -0.012397 | -0.0030993 | 0.0124 | 0.0031006 | 2.3369e-06 | 1.2564e-06 | 0.018466 | 0.018466 | 0.018466 | 0.99882 | -0.022691 | 0.99903 | -0.018728 | 5.0732
27 | 0.017108 | 0.0042914 | -0.017098 | -0.0042851 | 1.0666e-05 | 6.2534e-06 | 0.025484 | 0.025484 | 0.025484 | 0.99903 | -0.018728 | 0.99835 | -0.031814 | 7.0011
28 | 0.0045474 | 0.0011254 | -0.0045403 | -0.0011261 | 7.1039e-06 | -6.5181e-07 | 0.0068343 | 0.0068361 | 0.0068361 | 0.98938 | -0.20518 | 0.98769 | -0.23829 | 1.878
29 | 0.0045403 | 0.0011261 | -0.0045375 | -0.0011263 | 2.8796e-06 | -2.5838e-07 | 0.0068361 | 0.0068368 | 0.0068368 | 0.98769 | -0.23829 | 0.98701 | -0.2517 | 1.8783
30 | 0.0025441 | 0.00062675 | -0.0025439 | -0.0006271 | 2.122e-07 | -3.5672e-07 | 0.0038317 | 0.0038318 | 0.0038318 | 0.98701 | -0.2517 | 0.98692 | -0.25348 | 1.0527
31 | 0.0008444 | 0.00020912 | -0.00084439 | -0.00020927 | 7.3646e-09 | -1.5573e-07 | 0.0012614 | 0.0012614 | 0.0012614 | 0.99542 | -0.08859 | 0.99541 | -0.088774 | 0.34655
32 | -0.0025422 | -0.00063001 | 0.002543 | 0.00062866 | 8.0425e-07 | -1.3486e-06 | 0.0038332 | 0.0038326 | 0.0038332 | 0.98619 | -0.2679 | 0.98653 | -0.2612 | 1.0531
33 | 0.00067736 | 0.00016264 | -0.0006772 | -0.00016788 | 1.635e-07 | -5.236e-06 | 0.0010196 | 0.0010214 | 0.0010214 | 0.98619 | -0.2679 | 0.98593 | -0.27307 | 0.28061
34 | -0.002543 | -0.00062866 | 0.0025439 | 0.0006271 | 9.246e-07 | -1.5528e-06 | 0.0038326 | 0.0038318 | 0.0038326 | 0.98653 | -0.2612 | 0.98692 | -0.25348 | 1.0529
35 | 0.0006772 | 0.00016788 | -0.00067716 | -0.00016899 | 3.4648e-08 | -1.1067e-06 | 0.0010214 | 0.0010218 | 0.0010218 | 0.98593 | -0.27307 | 0.98587 | -0.27415 | 0.28072
36 | 0.00069423 | 0.00017164 | -0.00069422 | -0.00017182 | 5.7268e-09 | -1.8094e-07 | 0.001037 | 0.001037 | 0.001037 | 0.99541 | -0.088774 | 0.9954 | -0.088949 | 0.2849
37 | 0.00058094 | 0.00014343 | -0.00058094 | -0.00014377 | 7.4863e-09 | -3.3983e-07 | 0.00086769 | 0.00086781 | 0.00086781 | 0.9954 | -0.088949 | 0.99538 | -0.089222 | 0.23841
38 | 0.00058094 | 0.00014377 | -0.00058092 | -0.00014453 | 1.668e-08 | -7.5678e-07 | 0.00086781 | 0.00086808 | 0.00086808 | 0.99538 | -0.089222 | 0.99535 | -0.08983 | 0.23848
39 | 0.00058092 | 0.00014453 | -0.00058091 | -0.00014493 | 8.8223e-09 | -4.0006e-07 | 0.00086808 | 0.00086822 | 0.00086822 | 0.99535 | -0.08983 | 0.99534 | -0.09015 | 0.23852
40 | 0.0005158 | 0.00012861 | -0.0005158 | -0.000129 | 6.8706e-09 | -3.9624e-07 | 0.00077089 | 0.00077103 | 0.00077103 | 0.99534 | -0.09015 | 0.99532 | -0.09043 | 0.21182
41 | 0.00015798 | 3.9535e-05 | -0.00015798 | -3.9594e-05 | 9.4573e-11 | -5.8695e-08 | 0.00023617 | 0.00023619 | 0.00023619 | 0.99531 | -0.090576 | 0.99531 | -0.090589 | 0.064887
42 | -0.00051579 | -0.00012921 | 0.0005158 | 0.000129 | 3.5821e-09 | -2.0652e-07 | 0.0007711 | 0.00077103 | 0.0007711 | 0.99531 | -0.090576 | 0.99532 | -0.09043 | 0.21184
43 | 0.00067716 | 0.00016899 | -0.00067714 | -0.00016971 | 2.2587e-08 | -7.2093e-07 | 0.0010218 | 0.0010221 | 0.0010221 | 0.98587 | -0.27415 | 0.98584 | -0.27485 | 0.28079

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.052184 | 0.012701

## res_load
| p_mw | q_mvar
0 | 0.0021216 | 0.00053172
1 | 0.0010546 | 0.00026432
2 | 9.8906e-05 | 2.4788e-05
3 | 0.001606 | 0.00040249
4 | 0.00093575 | 0.00023452
5 | 0.0011639 | 0.00029171
6 | 0.0047132 | 0.0011812
7 | 0.00572 | 0.0014336
8 | 0.0012482 | 0.00031282
9 | 0.0036318 | 0.00091022
10 | 0.0031282 | 0.000784
11 | 0.0012773 | 0.00032011
12 | 0.0019934 | 0.00049958
13 | 0.0011061 | 0.00027721
14 | 0.017098 | 0.0042851
15 | 0.0018648 | 0.00046736
16 | 0.00015016 | 3.7634e-05
17 | 0.00011328 | 2.839e-05
18 | 6.5106e-05 | 1.6317e-05
19 | 0.00035781 | 8.9676e-05
20 | 0.00015798 | 3.9594e-05
21 | 0.00067714 | 0.00016971

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1