## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1630-18_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1630-18_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1630-18_0_6_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_1630-18_0_6_node_34 | 0.4 | n |  | TRUE
4 | bus_LV_1630-18_0_6_node_42 | 0.4 | n |  | TRUE
5 | bus_LV_1630-18_0_6_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1630-18_0_6_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_1630-18_0_6_node_51 | 0.4 | n |  | TRUE
8 | bus_LV_1630-18_0_6_node_53 | 0.4 | n |  | TRUE
9 | bus_LV_1630-18_0_6_node_11 | 0.4 | n |  | TRUE
10 | bus_LV_1630-18_0_6_node_12 | 0.4 | n |  | TRUE
11 | bus_LV_1630-18_0_6_node_13 | 0.4 | n |  | TRUE
12 | bus_LV_1630-18_0_6_node_35 | 0.4 | n |  | TRUE
13 | bus_LV_1630-18_0_6_node_33 | 0.4 | n |  | TRUE
14 | bus_LV_1630-18_0_6_node_45 | 0.4 | n |  | TRUE
15 | bus_LV_1630-18_0_6_node_50 | 0.4 | n |  | TRUE
16 | bus_LV_1630-18_0_6_node_18 | 0.4 | n |  | TRUE
17 | bus_LV_1630-18_0_6_node_7 | 0.4 | n |  | TRUE
18 | bus_LV_1630-18_0_6_node_8 | 0.4 | n |  | TRUE
19 | bus_LV_1630-18_0_6_node_10 | 0.4 | n |  | TRUE
20 | bus_LV_1630-18_0_6_node_17 | 0.4 | n |  | TRUE
21 | bus_LV_1630-18_0_6_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_1630-18_0_6_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_1630-18_0_6_node_39 | 0.4 | n |  | TRUE
24 | bus_LV_1630-18_0_6_node_29 | 0.4 | n |  | TRUE
25 | bus_LV_1630-18_0_6_node_38 | 0.4 | n |  | TRUE
26 | bus_LV_1630-18_0_6_node_16 | 0.4 | n |  | TRUE
27 | bus_LV_1630-18_0_6_node_19 | 0.4 | n |  | TRUE
28 | bus_LV_1630-18_0_6_node_21 | 0.4 | n |  | TRUE
29 | bus_LV_1630-18_0_6_node_23 | 0.4 | n |  | TRUE
30 | bus_LV_1630-18_0_6_node_22 | 0.4 | n |  | TRUE
31 | bus_LV_1630-18_0_6_node_37 | 0.4 | n |  | TRUE
32 | bus_LV_1630-18_0_6_node_36 | 0.4 | n |  | TRUE
33 | bus_LV_1630-18_0_6_node_52 | 0.4 | n |  | TRUE
34 | bus_LV_1630-18_0_6_node_47 | 0.4 | n |  | TRUE
35 | bus_LV_1630-18_0_6_node_24 | 0.4 | n |  | TRUE
36 | bus_LV_1630-18_0_6_node_25 | 0.4 | n |  | TRUE
37 | bus_LV_1630-18_0_6_node_26 | 0.4 | n |  | TRUE
38 | bus_LV_1630-18_0_6_node_27 | 0.4 | n |  | TRUE
39 | bus_LV_1630-18_0_6_node_28 | 0.4 | n |  | TRUE
40 | bus_LV_1630-18_0_6_node_31 | 0.4 | n |  | TRUE
41 | bus_LV_1630-18_0_6_node_46 | 0.4 | n |  | TRUE
42 | bus_LV_1630-18_0_6_node_40 | 0.4 | n |  | TRUE
43 | bus_LV_1630-18_0_6_node_41 | 0.4 | n |  | TRUE
44 | bus_LV_1630-18_0_6_node_43 | 0.4 | n |  | TRUE
45 | bus_LV_1630-18_0_6_node_44 | 0.4 | n |  | TRUE
46 | bus_LV_1630-18_0_6_node_48 | 0.4 | n |  | TRUE
47 | bus_LV_1630-18_0_6_node_49 | 0.4 | n |  | TRUE
48 | bus_MV_225_0_node_64 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1630-18_0_6_load_0 | 0 | 0.063825 | 0.015996 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1630-18_0_6_load_1 | 1 | 0.005528 | 0.0013855 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1630-18_0_6_load_51 | 7 | 0.0036238 | 0.00090821 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1630-18_0_6_load_53 | 8 | 0.0029776 | 0.00074625 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1630-18_0_6_load_11 | 9 | 0.0099884 | 0.0025033 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1630-18_0_6_load_12 | 10 | 0.0013342 | 0.00033437 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1630-18_0_6_load_35 | 12 | 0.013434 | 0.003367 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1630-18_0_6_load_33 | 13 | 0.0053496 | 0.0013407 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1630-18_0_6_load_45 | 14 | 0.0046027 | 0.0011535 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1630-18_0_6_load_50 | 15 | 0.0031215 | 0.00078231 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1630-18_0_6_load_18 | 16 | 0.009956 | 0.0024952 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1630-18_0_6_load_7 | 17 | 0.063157 | 0.015829 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1630-18_0_6_load_8 | 18 | 0.029595 | 0.0074173 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1630-18_0_6_load_14 | 21 | 0.0015806 | 0.00039614 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1630-18_0_6_load_15 | 22 | 0.043981 | 0.011023 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1630-18_0_6_load_39 | 23 | 0.0016465 | 0.00041266 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1630-18_0_6_load_29 | 24 | 0.0027977 | 0.00070116 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1630-18_0_6_load_38 | 25 | 0.014561 | 0.0036494 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1630-18_0_6_load_16 | 26 | 0.0041249 | 0.0010338 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1630-18_0_6_load_19 | 27 | 0.0065193 | 0.0016339 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1630-18_0_6_load_36 | 32 | 0.0063698 | 0.0015964 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1630-18_0_6_load_52 | 33 | 0.0031305 | 0.00078458 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1630-18_0_6_load_24 | 35 | 0.014416 | 0.003613 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1630-18_0_6_load_25 | 36 | 0.0030479 | 0.00076388 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1630-18_0_6_load_27 | 38 | 0.0008878 | 0.0002225 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1630-18_0_6_load_28 | 39 | 0.0021908 | 0.00054908 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1630-18_0_6_load_46 | 41 | 0.062064 | 0.015555 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1630-18_0_6_load_40 | 42 | 0.017369 | 0.0043531 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1630-18_0_6_load_41 | 43 | 0.0045902 | 0.0011504 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1630-18_0_6_load_43 | 44 | 0.019158 | 0.0048015 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1630-18_0_6_load_48 | 46 | 0.0031515 | 0.00078984 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1630-18_0_6_load_49 | 47 | 0.0043468 | 0.0010894 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 10 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1630-18_0_6_line_0 |  | 0 | 1 | 0.035273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1630-18_0_6_line_1 |  | 1 | 2 | 0.042682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1630-18_0_6_line_2 |  | 2 | 3 | 0.007543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1630-18_0_6_line_3 |  | 2 | 4 | 0.014321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1630-18_0_6_line_4 |  | 3 | 12 | 0.018929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1630-18_0_6_line_5 |  | 3 | 13 | 0.011538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1630-18_0_6_line_6 |  | 4 | 14 | 0.021313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
7 | LV_1630-18_0_6_line_7 |  | 5 | 6 | 0.073538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1630-18_0_6_line_8 |  | 5 | 7 | 0.10376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1630-18_0_6_line_9 |  | 6 | 8 | 0.076596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1630-18_0_6_line_10 |  | 7 | 16 | 0.053689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1630-18_0_6_line_11 |  | 9 | 10 | 0.022422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_1630-18_0_6_line_12 |  | 9 | 11 | 0.040087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_1630-18_0_6_line_13 |  | 10 | 23 | 0.14046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_1630-18_0_6_line_14 |  | 11 | 21 | 0.004092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1630-18_0_6_line_15 |  | 11 | 19 | 0.099599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_1630-18_0_6_line_16 |  | 12 | 15 | 0.04722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1630-18_0_6_line_17 |  | 13 | 29 | 0.030183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1630-18_0_6_line_18 |  | 14 | 47 | 0.0080381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_1630-18_0_6_line_19 |  | 16 | 26 | 0.0015682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1630-18_0_6_line_20 |  | 17 | 18 | 0.0052394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1630-18_0_6_line_21 |  | 18 | 19 | 0.026166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1630-18_0_6_line_22 |  | 19 | 20 | 0.1117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1630-18_0_6_line_23 |  | 20 | 22 | 0.039779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1630-18_0_6_line_24 |  | 22 | 26 | 0.017038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1630-18_0_6_line_25 |  | 23 | 24 | 0.00022732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_1630-18_0_6_line_26 |  | 23 | 25 | 0.02694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1630-18_0_6_line_27 |  | 24 | 37 | 0.015953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_1630-18_0_6_line_28 |  | 27 | 28 | 0.035558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1630-18_0_6_line_29 |  | 28 | 29 | 0.044946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1630-18_0_6_line_30 |  | 30 | 31 | 0.007813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1630-18_0_6_line_31 |  | 30 | 32 | 0.021194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1630-18_0_6_line_32 |  | 31 | 33 | 0.009254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1630-18_0_6_line_33 |  | 31 | 34 | 0.029982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1630-18_0_6_line_34 |  | 34 | 41 | 0.040704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_1630-18_0_6_line_35 |  | 34 | 40 | 0.003558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
36 | LV_1630-18_0_6_line_36 |  | 35 | 36 | 0.014427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
37 | LV_1630-18_0_6_line_37 |  | 35 | 37 | 0.0062148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
38 | LV_1630-18_0_6_line_38 |  | 36 | 38 | 0.0037597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
39 | LV_1630-18_0_6_line_39 |  | 37 | 39 | 0.016478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1630-18_0_6_line_40 |  | 38 | 40 | 0.033699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
41 | LV_1630-18_0_6_line_41 |  | 41 | 45 | 0.02376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
42 | LV_1630-18_0_6_line_42 |  | 42 | 43 | 0.034522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1630-18_0_6_line_43 |  | 43 | 44 | 0.01734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1630-18_0_6_line_44 |  | 43 | 45 | 0.024467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1630-18_0_6_line_45 |  | 45 | 46 | 0.027036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
46 | LV_1630-18_0_6_line_46 |  | 46 | 47 | 0.0052813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1630-18_0_6_trafo_12 | 0.63 MVA 20/0.4 kV | 48 | 10 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13
0 | 2723782.9688 | 1218084.1475 | 2723808.2996 | 1218059.6005
1 | 2723840.0926 | 1218031.2673 | 2723835.768 | 1218034.024 | 2723831.2357 | 1218037.6438 | 2723825.5149 | 1218042.9179 | 2723808.2996 | 1218059.6005
2 | 2723847.0558 | 1218028.3208 | 2723840.0926 | 1218031.2673
3 | 2723830.3444 | 1218020.99 | 2723834.44 | 1218023.7662 | 2723840.0926 | 1218031.2673
4 | 2723847.0558 | 1218028.3208 | 2723850.7862 | 1218040.986 | 2723851.9625 | 1218046.5892
5 | 2723847.0558 | 1218028.3208 | 2723852.8914 | 1218027.0188 | 2723858.4384 | 1218026.6607
6 | 2723830.3444 | 1218020.99 | 2723827.1248 | 1218018.8103 | 2723818.8652 | 1218012.5337 | 2723814.256 | 1218007.1983
7 | 2723584.1107 | 1218276.8783 | 2723604.9617 | 1218256.6728 | 2723620.4356 | 1218241.671 | 2723600.2535 | 1218230.7437
8 | 2723584.1107 | 1218276.8783 | 2723573.1876 | 1218266.8773 | 2723540.2752 | 1218232.7793 | 2723519.5962 | 1218204.0726 | 2723514.3627 | 1218207.3667
9 | 2723600.2535 | 1218230.7437 | 2723552.6289 | 1218204.947 | 2723544.2321 | 1218199.4241 | 2723540.6998 | 1218196.2151 | 2723536.1688 | 1218189.9051
10 | 2723514.3627 | 1218207.3667 | 2723481.9853 | 1218164.5387
11 | 2723648.7922 | 1218015.0709 | 2723646.7086 | 1218013.3931 | 2723644.3848 | 1218013.0446 | 2723639.7737 | 1218013.8829 | 2723628.6983 | 1218020.1179
12 | 2723602.1345 | 1218043.5697 | 2723603.42 | 1218041.9951 | 2723603.6891 | 1218031.9595 | 2723608.4745 | 1218031.5029 | 2723628.6983 | 1218020.1179
13 | 2723716.3392 | 1217891.9236 | 2723648.7922 | 1218015.0709
14 | 2723602.1345 | 1218043.5697 | 2723601.9889 | 1218047.6588
15 | 2723602.1345 | 1218043.5697 | 2723601.2006 | 1218042.1047 | 2723600.1074 | 1218037.345 | 2723598.5571 | 1218035.5781 | 2723589.6344 | 1218030.5113 | 2723583.6137 | 1218028.2959 | 2723577.597 | 1218026.9812 | 2723569.3752 | 1218026.9217 | 2723561.6937 | 1218028.2635 | 2723550.6564 | 1218031.426 | 2723543.7885 | 1218031.2501 | 2723542.2702 | 1218045.5076 | 2723541.758 | 1218061.4094 | 2723542.977 | 1218064.5037
16 | 2723851.9625 | 1218046.5892 | 2723853.2387 | 1218052.6684 | 2723850.037 | 1218061.3086 | 2723837.8416 | 1218090.6706
17 | 2723888.4683 | 1218027.9146 | 2723885.2361 | 1218027.069 | 2723881.1844 | 1218026.5622 | 2723872.746 | 1218026.331 | 2723862.7907 | 1218026.3797 | 2723858.4384 | 1218026.6607
18 | 2723809.7877 | 1218000.5348 | 2723809.9143 | 1218000.7941 | 2723813.2895 | 1218006.0795 | 2723814.256 | 1218007.1983
19 | 2723481.3208 | 1218163.1183 | 2723481.9853 | 1218164.5387
20 | 2723574.2414 | 1218064.02 | 2723569.0034 | 1218063.8979
21 | 2723542.977 | 1218064.5037 | 2723547.4874 | 1218063.3964 | 2723569.0034 | 1218063.8979
22 | 2723449.7513 | 1218122.7839 | 2723459.7612 | 1218121.19 | 2723463.1317 | 1218120.1257 | 2723514.9497 | 1218086.5733 | 2723531.2628 | 1218069.9207 | 2723534.7201 | 1218067.6017 | 2723539.0617 | 1218065.8458 | 2723542.977 | 1218064.5037
23 | 2723449.7513 | 1218122.7839 | 2723455.2865 | 1218135.2305 | 2723461.3909 | 1218146.5881 | 2723462.8563 | 1218147.686 | 2723464.5218 | 1218148.2876 | 2723466.6107 | 1218148.6089 | 2723468.3152 | 1218148.433 | 2723474.1011 | 1218147.6856 | 2723474.1011 | 1218147.6856
24 | 2723474.1011 | 1218147.6856 | 2723481.3208 | 1218163.1183
25 | 2723716.3392 | 1217891.9236 | 2723716.543 | 1217892.0243
26 | 2723693.0078 | 1217878.5073 | 2723708.304 | 1217887.9511 | 2723716.3392 | 1217891.9236
27 | 2723730.844 | 1217899.0945 | 2723716.543 | 1217892.0243
28 | 2723893.3463 | 1217997.8258 | 2723888.312 | 1217962.6257
29 | 2723888.4683 | 1218027.9146 | 2723892.6607 | 1218029.681 | 2723897.1781 | 1218032.6216 | 2723893.3463 | 1217997.8258
30 | 2723824.2511 | 1217909.8097 | 2723816.4213 | 1217909.5134
31 | 2723824.2511 | 1217909.8097 | 2723828.2606 | 1217930.6215
32 | 2723816.4213 | 1217909.5134 | 2723816.8261 | 1217900.2702
33 | 2723786.4331 | 1217907.4777 | 2723796.1449 | 1217908.5581 | 2723816.4213 | 1217909.5134
34 | 2723786.4331 | 1217907.4777 | 2723790.114 | 1217914.1372 | 2723793.6584 | 1217922.9733 | 2723796.286 | 1217930.9897 | 2723798.2898 | 1217939.7938 | 2723799.0847 | 1217945.8506
35 | 2723786.4331 | 1217907.4777 | 2723784.4136 | 1217904.5446
36 | 2723736.4153 | 1217901.8485 | 2723749.348 | 1217908.2414 | 2723749.348 | 1217908.2414
37 | 2723730.844 | 1217899.0945 | 2723736.4153 | 1217901.8485
38 | 2723752.9613 | 1217909.2807 | 2723749.348 | 1217908.2414
39 | 2723730.844 | 1217899.0945 | 2723738.5151 | 1217884.5111
40 | 2723784.4136 | 1217904.5446 | 2723775.8511 | 1217910.6382 | 2723770.876 | 1217911.4466 | 2723764.3539 | 1217911.4333 | 2723757.3488 | 1217910.5427 | 2723752.9613 | 1217909.2807
41 | 2723802.1767 | 1217969.4088 | 2723799.0847 | 1217945.8506
42 | 2723823.2126 | 1217959.3825 | 2723826.6746 | 1217960.4997 | 2723828.4573 | 1217962.4049 | 2723839.144 | 1217988.5827
43 | 2723823.2126 | 1217959.3825 | 2723827.2738 | 1217957.243 | 2723840.0522 | 1217956.5413
44 | 2723802.1767 | 1217969.4088 | 2723813.0576 | 1217968.3007 | 2723815.9338 | 1217966.5479 | 2723823.2126 | 1217959.3825
45 | 2723802.1767 | 1217969.4088 | 2723803.1867 | 1217977.4361 | 2723803.6679 | 1217981.3158 | 2723804.7884 | 1217988.0443 | 2723806.6079 | 1217994.0201 | 2723807.4712 | 1217995.7887
46 | 2723809.7877 | 1218000.5348 | 2723807.4712 | 1217995.7887

## bus_geodata
| x | y | coords
0 | 2723782.9688 | 1218084.1475
1 | 2723808.2996 | 1218059.6005
2 | 2723840.0926 | 1218031.2673
3 | 2723847.0558 | 1218028.3208
4 | 2723830.3444 | 1218020.99
5 | 2723584.1107 | 1218276.8783
6 | 2723600.2535 | 1218230.7437
7 | 2723514.3627 | 1218207.3667
8 | 2723536.1688 | 1218189.9051
9 | 2723628.6983 | 1218020.1179
10 | 2723648.7922 | 1218015.0709
11 | 2723602.1345 | 1218043.5697
12 | 2723851.9625 | 1218046.5892
13 | 2723858.4384 | 1218026.6607
14 | 2723814.256 | 1218007.1983
15 | 2723837.8416 | 1218090.6706
16 | 2723481.9853 | 1218164.5387
17 | 2723574.2414 | 1218064.02
18 | 2723569.0034 | 1218063.8979
19 | 2723542.977 | 1218064.5037
20 | 2723449.7513 | 1218122.7839
21 | 2723601.9889 | 1218047.6588
22 | 2723474.1011 | 1218147.6856
23 | 2723716.3392 | 1217891.9236
24 | 2723716.543 | 1217892.0243
25 | 2723693.0078 | 1217878.5073
26 | 2723481.3208 | 1218163.1183
27 | 2723888.312 | 1217962.6257
28 | 2723893.3463 | 1217997.8258
29 | 2723888.4683 | 1218027.9146
30 | 2723824.2511 | 1217909.8097
31 | 2723816.4213 | 1217909.5134
32 | 2723828.2606 | 1217930.6215
33 | 2723816.8261 | 1217900.2702
34 | 2723786.4331 | 1217907.4777
35 | 2723736.4153 | 1217901.8485
36 | 2723749.348 | 1217908.2414
37 | 2723730.844 | 1217899.0945
38 | 2723752.9613 | 1217909.2807
39 | 2723738.5151 | 1217884.5111
40 | 2723784.4136 | 1217904.5446
41 | 2723799.0847 | 1217945.8506
42 | 2723839.144 | 1217988.5827
43 | 2723823.2126 | 1217959.3825
44 | 2723840.0522 | 1217956.5413
45 | 2723802.1767 | 1217969.4088
46 | 2723807.4712 | 1217995.7887
47 | 2723809.7877 | 1218000.5348
48 | 2723602.1345 | 1218043.5697

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97078 | -0.56395 | 0.063825 | 0.015996
1 | 0.97288 | -0.5224 | 0.005528 | 0.0013855
2 | 0.97565 | -0.46804 | 0 | 0
3 | 0.97545 | -0.47197 | 0 | 0
4 | 0.97695 | -0.44243 | 0 | 0
5 | 0.97963 | -0.39263 | 0 | 0
6 | 0.97942 | -0.39661 | 0 | 0
7 | 0.97991 | -0.38701 | 0.0036238 | 0.00090821
8 | 0.97921 | -0.40076 | 0.0029776 | 0.00074625
9 | 0.99884 | -0.022042 | 0.0099884 | 0.0025033
10 | 1 | 0 | -0.44044 | -0.11294
11 | 0.99688 | -0.059237 | 0 | 0
12 | 0.97516 | -0.47771 | 0.013434 | 0.003367
13 | 0.97532 | -0.47448 | 0.0053496 | 0.0013407
14 | 0.97793 | -0.42342 | 0.0046027 | 0.0011535
15 | 0.97502 | -0.48041 | 0.0031215 | 0.00078231
16 | 0.98024 | -0.38057 | 0.009956 | 0.0024952
17 | 0.98712 | -0.24695 | 0.063157 | 0.015829
18 | 0.98742 | -0.24104 | 0.029595 | 0.0074173
19 | 0.98965 | -0.19775 | 0 | 0
20 | 0.98297 | -0.32719 | 0 | 0
21 | 0.99687 | -0.05935 | 0.0015806 | 0.00039614
22 | 0.98059 | -0.37371 | 0.043981 | 0.011023
23 | 0.9886 | -0.21639 | 0.0016465 | 0.00041266
24 | 0.98859 | -0.21672 | 0.0027977 | 0.00070116
25 | 0.98824 | -0.22338 | 0.014561 | 0.0036494
26 | 0.98026 | -0.3801 | 0.0041249 | 0.0010338
27 | 0.97465 | -0.48771 | 0.0065193 | 0.0016339
28 | 0.97486 | -0.48346 | 0 | 0
29 | 0.97514 | -0.47809 | 0 | 0
30 | 0.98277 | -0.32903 | 0 | 0
31 | 0.98282 | -0.32813 | 0 | 0
32 | 0.98265 | -0.33147 | 0.0063698 | 0.0015964
33 | 0.98279 | -0.32865 | 0.0031305 | 0.00078458
34 | 0.98308 | -0.32299 | 0 | 0
35 | 0.98692 | -0.24873 | 0.014416 | 0.003613
36 | 0.98591 | -0.26825 | 0.0030479 | 0.00076388
37 | 0.98739 | -0.2398 | 0 | 0
38 | 0.98565 | -0.27327 | 0.0008878 | 0.0002225
39 | 0.98735 | -0.24045 | 0.0021908 | 0.00054908
40 | 0.98333 | -0.31823 | 0 | 0
41 | 0.98039 | -0.37527 | 0.062064 | 0.015555
42 | 0.97779 | -0.42621 | 0.017369 | 0.0043531
43 | 0.97835 | -0.41529 | 0.0045902 | 0.0011504
44 | 0.97804 | -0.42134 | 0.019158 | 0.0048015
45 | 0.97928 | -0.39699 | 0 | 0
46 | 0.97836 | -0.415 | 0.0031515 | 0.00078984
47 | 0.97818 | -0.41842 | 0.0043468 | 0.0010894
48 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.063825 | -0.015996 | 0.063952 | 0.016077 | 0.0001266 | 8.0587e-05 | 0.097831 | 0.097831 | 0.097831 | 0.97078 | -0.56395 | 0.97288 | -0.5224 | 26.8767
1 | -0.06948 | -0.017462 | 0.06966 | 0.017577 | 0.00018081 | 0.00011519 | 0.10629 | 0.10629 | 0.10629 | 0.97288 | -0.5224 | 0.97565 | -0.46804 | 29.1995
2 | 0.02844 | 0.0071316 | -0.028435 | -0.0071282 | 5.3224e-06 | 3.3121e-06 | 0.043378 | 0.043378 | 0.043378 | 0.97565 | -0.46804 | 0.97545 | -0.47197 | 11.9169
3 | -0.098101 | -0.024709 | 0.098221 | 0.024786 | 0.00012029 | 7.6808e-05 | 0.14966 | 0.14966 | 0.14966 | 0.97565 | -0.46804 | 0.97695 | -0.44243 | 41.1164
4 | 0.016561 | 0.0041516 | -0.016556 | -0.0041489 | 4.5303e-06 | 2.6632e-06 | 0.025263 | 0.025263 | 0.025263 | 0.97545 | -0.47197 | 0.97516 | -0.47771 | 6.9405
5 | 0.011874 | 0.0029766 | -0.011873 | -0.0029759 | 1.4197e-06 | 7.6459e-07 | 0.018114 | 0.018114 | 0.018114 | 0.97545 | -0.47197 | 0.97532 | -0.47448 | 4.9765
6 | -0.098221 | -0.024786 | 0.098311 | 0.024842 | 8.9509e-05 | 5.6752e-05 | 0.14966 | 0.14966 | 0.14966 | 0.97695 | -0.44243 | 0.97793 | -0.42342 | 20.5582
7 | 0.0029787 | 0.0007451 | -0.0029782 | -0.00074567 | 5.6446e-07 | -5.644e-07 | 0.0045241 | 0.0045244 | 0.0045244 | 0.97963 | -0.39263 | 0.97942 | -0.39661 | 1.243
8 | -0.0029787 | -0.0007451 | 0.0029795 | 0.0007443 | 7.9633e-07 | -7.9713e-07 | 0.0045241 | 0.0045236 | 0.0045241 | 0.97963 | -0.39263 | 0.97991 | -0.38701 | 1.2429
9 | 0.0029782 | 0.00074567 | -0.0029776 | -0.00074625 | 5.8802e-07 | -5.8741e-07 | 0.0045244 | 0.0045248 | 0.0045248 | 0.97942 | -0.39661 | 0.97921 | -0.40076 | 1.2431
10 | -0.0066033 | -0.0016525 | 0.0066054 | 0.0016531 | 2.024e-06 | 6.1876e-07 | 0.010026 | 0.010026 | 0.010026 | 0.97991 | -0.38701 | 0.98024 | -0.38057 | 2.7545
11 | -0.1711 | -0.043694 | 0.17128 | 0.04381 | 0.0001825 | 0.00011592 | 0.25518 | 0.25518 | 0.25518 | 0.99884 | -0.022042 | 1 | 0 | 23.3682
12 | 0.16111 | 0.04119 | -0.16082 | -0.041007 | 0.00028935 | 0.00018361 | 0.2403 | 0.2403 | 0.2403 | 0.99884 | -0.022042 | 0.99688 | -0.059237 | 22.0056
13 | 0.26751 | 0.06913 | -0.26472 | -0.067348 | 0.0027924 | 0.0017817 | 0.3988 | 0.39881 | 0.39881 | 1 | 0 | 0.9886 | -0.21639 | 36.5208
14 | 0.0015806 | 0.00039609 | -0.0015806 | -0.00039614 | 8.5419e-09 | -4.7882e-08 | 0.0023594 | 0.0023594 | 0.0023594 | 0.99688 | -0.059237 | 0.99687 | -0.05935 | 0.64818
15 | 0.15924 | 0.040611 | -0.15818 | -0.039937 | 0.0010573 | 0.0006741 | 0.23794 | 0.23794 | 0.23794 | 0.99688 | -0.059237 | 0.98965 | -0.19775 | 32.6845
16 | 0.0031219 | 0.00078198 | -0.0031215 | -0.00078231 | 4.0183e-07 | -3.3184e-07 | 0.0047636 | 0.0047638 | 0.0047638 | 0.97516 | -0.47771 | 0.97502 | -0.48041 | 1.3087
17 | 0.0065234 | 0.0016351 | -0.0065222 | -0.0016348 | 1.1212e-06 | 3.4094e-07 | 0.0099526 | 0.0099527 | 0.0099527 | 0.97532 | -0.47448 | 0.97514 | -0.47809 | 2.7343
18 | -0.10291 | -0.025996 | 0.10294 | 0.026011 | 2.4661e-05 | 1.5481e-05 | 0.15667 | 0.15667 | 0.15667 | 0.97793 | -0.42342 | 0.97818 | -0.41842 | 14.3468
19 | -0.016561 | -0.0041484 | 0.016562 | 0.0041486 | 3.7165e-07 | 2.1809e-07 | 0.02514 | 0.02514 | 0.02514 | 0.98024 | -0.38057 | 0.98026 | -0.3801 | 6.9065
20 | -0.063157 | -0.015829 | 0.063174 | 0.01584 | 1.7809e-05 | 1.133e-05 | 0.095204 | 0.095204 | 0.095204 | 0.98712 | -0.24695 | 0.98742 | -0.24104 | 26.155
21 | -0.09277 | -0.023257 | 0.092961 | 0.02338 | 0.00019178 | 0.00012241 | 0.1398 | 0.1398 | 0.1398 | 0.98742 | -0.24104 | 0.98965 | -0.19775 | 38.4076
22 | 0.065221 | 0.016557 | -0.064817 | -0.0163 | 0.00040343 | 0.00025677 | 0.09814 | 0.09814 | 0.09814 | 0.98965 | -0.19775 | 0.98297 | -0.32719 | 26.9616
23 | 0.064817 | 0.0163 | -0.064674 | -0.016209 | 0.00014367 | 9.1448e-05 | 0.09814 | 0.09814 | 0.09814 | 0.98297 | -0.32719 | 0.98059 | -0.37371 | 26.9616
24 | 0.020693 | 0.0051862 | -0.020687 | -0.0051824 | 6.3e-06 | 3.8171e-06 | 0.031401 | 0.031401 | 0.031401 | 0.98059 | -0.37371 | 0.98026 | -0.3801 | 8.6267
25 | 0.24851 | 0.063284 | -0.2485 | -0.063281 | 3.9832e-06 | 2.5405e-06 | 0.3744 | 0.3744 | 0.3744 | 0.9886 | -0.21639 | 0.98859 | -0.21672 | 34.286
26 | 0.014566 | 0.0036521 | -0.014561 | -0.0036494 | 4.8563e-06 | 2.7627e-06 | 0.021925 | 0.021925 | 0.021925 | 0.9886 | -0.21639 | 0.98824 | -0.22338 | 6.0233
27 | 0.24571 | 0.06258 | -0.24543 | -0.062406 | 0.00027329 | 0.00017429 | 0.37019 | 0.37019 | 0.37019 | 0.98859 | -0.21672 | 0.98739 | -0.2398 | 33.9004
28 | -0.0065193 | -0.0016339 | 0.0065206 | 0.0016343 | 1.3209e-06 | 4.0215e-07 | 0.0099531 | 0.0099529 | 0.0099531 | 0.97465 | -0.48771 | 0.97486 | -0.48346 | 2.7344
29 | -0.0065206 | -0.0016343 | 0.0065222 | 0.0016348 | 1.6696e-06 | 5.08e-07 | 0.0099529 | 0.0099527 | 0.0099529 | 0.97486 | -0.48346 | 0.97514 | -0.47809 | 2.7343
30 | -0.0063705 | -0.0015966 | 0.0063708 | 0.0015967 | 2.7259e-07 | 7.5453e-08 | 0.0096456 | 0.0096456 | 0.0096456 | 0.98277 | -0.32903 | 0.98282 | -0.32813 | 2.6499
31 | 0.0063705 | 0.0015966 | -0.0063698 | -0.0015964 | 7.3947e-07 | 2.0474e-07 | 0.0096456 | 0.0096457 | 0.0096457 | 0.98277 | -0.32903 | 0.98265 | -0.33147 | 2.6499
32 | 0.0031306 | 0.00078451 | -0.0031305 | -0.00078458 | 7.7961e-08 | -6.7372e-08 | 0.0047397 | 0.0047398 | 0.0047398 | 0.98282 | -0.32813 | 0.98279 | -0.32865 | 1.3021
33 | -0.0095014 | -0.0023812 | 0.0095037 | 0.0023823 | 2.3266e-06 | 1.109e-06 | 0.014385 | 0.014385 | 0.014385 | 0.98282 | -0.32813 | 0.98308 | -0.32299 | 3.952
34 | 0.21448 | 0.054295 | -0.21394 | -0.053953 | 0.00053686 | 0.00034204 | 0.32483 | 0.32483 | 0.32483 | 0.98308 | -0.32299 | 0.98039 | -0.37527 | 29.7465
35 | -0.22398 | -0.056677 | 0.22403 | 0.05671 | 5.1176e-05 | 3.2617e-05 | 0.33922 | 0.33922 | 0.33922 | 0.98308 | -0.32299 | 0.98333 | -0.31823 | 31.0637
36 | 0.22872 | 0.058177 | -0.22851 | -0.05804 | 0.00021483 | 0.00013694 | 0.34516 | 0.34516 | 0.34516 | 0.98692 | -0.24873 | 0.98591 | -0.26825 | 31.6077
37 | -0.24314 | -0.06179 | 0.24324 | 0.061857 | 0.00010457 | 6.6687e-05 | 0.36689 | 0.36689 | 0.36689 | 0.98692 | -0.24873 | 0.98739 | -0.2398 | 33.5981
38 | 0.22546 | 0.057276 | -0.2254 | -0.057241 | 5.4506e-05 | 3.474e-05 | 0.34056 | 0.34056 | 0.34056 | 0.98591 | -0.26825 | 0.98565 | -0.27327 | 31.1864
39 | 0.0021909 | 0.00054891 | -0.0021908 | -0.00054908 | 6.7362e-08 | -1.6764e-07 | 0.0033017 | 0.0033018 | 0.0033018 | 0.98739 | -0.2398 | 0.98735 | -0.24045 | 0.90708
40 | 0.22452 | 0.057019 | -0.22403 | -0.05671 | 0.0004847 | 0.00030892 | 0.33922 | 0.33922 | 0.33922 | 0.98565 | -0.27327 | 0.98333 | -0.31823 | 31.0637
41 | 0.15188 | 0.038398 | -0.15172 | -0.038298 | 0.00015798 | 0.00010021 | 0.23063 | 0.23063 | 0.23063 | 0.98039 | -0.37527 | 0.97928 | -0.39699 | 21.1202
42 | -0.017369 | -0.0043531 | 0.017378 | 0.0043584 | 9.0447e-06 | 5.3554e-06 | 0.026432 | 0.026432 | 0.026432 | 0.97779 | -0.42621 | 0.97835 | -0.41529 | 7.2616
43 | 0.019164 | 0.0048048 | -0.019158 | -0.0048015 | 5.5245e-06 | 3.318e-06 | 0.029148 | 0.029148 | 0.029148 | 0.97835 | -0.41529 | 0.97804 | -0.42134 | 8.0076
44 | -0.041132 | -0.010314 | 0.041168 | 0.010336 | 3.5911e-05 | 2.2675e-05 | 0.062561 | 0.062561 | 0.062561 | 0.97835 | -0.41529 | 0.97928 | -0.39699 | 17.1872
45 | 0.11055 | 0.027962 | -0.11045 | -0.027902 | 9.5464e-05 | 6.0078e-05 | 0.16807 | 0.16807 | 0.16807 | 0.97928 | -0.39699 | 0.97836 | -0.415 | 15.3912
46 | 0.1073 | 0.027112 | -0.10728 | -0.027101 | 1.76e-05 | 1.1065e-05 | 0.16328 | 0.16328 | 0.16328 | 0.97836 | -0.415 | 0.97818 | -0.41842 | 14.9523

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.44178 | 0.11327

## res_load
| p_mw | q_mvar
0 | 0.063825 | 0.015996
1 | 0.005528 | 0.0013855
2 | 0.0036238 | 0.00090821
3 | 0.0029776 | 0.00074625
4 | 0.0099884 | 0.0025033
5 | 0.0013342 | 0.00033437
6 | 0.013434 | 0.003367
7 | 0.0053496 | 0.0013407
8 | 0.0046027 | 0.0011535
9 | 0.0031215 | 0.00078231
10 | 0.009956 | 0.0024952
11 | 0.063157 | 0.015829
12 | 0.029595 | 0.0074173
13 | 0.0015806 | 0.00039614
14 | 0.043981 | 0.011023
15 | 0.0016465 | 0.00041266
16 | 0.0027977 | 0.00070116
17 | 0.014561 | 0.0036494
18 | 0.0041249 | 0.0010338
19 | 0.0065193 | 0.0016339
20 | 0.0063698 | 0.0015964
21 | 0.0031305 | 0.00078458
22 | 0.014416 | 0.003613
23 | 0.0030479 | 0.00076388
24 | 0.0008878 | 0.0002225
25 | 0.0021908 | 0.00054908
26 | 0.062064 | 0.015555
27 | 0.017369 | 0.0043531
28 | 0.0045902 | 0.0011504
29 | 0.019158 | 0.0048015
30 | 0.0031515 | 0.00078984
31 | 0.0043468 | 0.0010894

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1