## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1630-22_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1630-22_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1630-22_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1630-22_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1630-22_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1630-22_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1630-22_0_3_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_1630-22_0_3_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_1630-22_0_3_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_1630-22_0_3_node_9 | 0.4 | n |  | TRUE
10 | bus_LV_1630-22_0_3_node_68 | 0.4 | n |  | TRUE
11 | bus_LV_1630-22_0_3_node_67 | 0.4 | n |  | TRUE
12 | bus_LV_1630-22_0_3_node_51 | 0.4 | n |  | TRUE
13 | bus_LV_1630-22_0_3_node_41 | 0.4 | n |  | TRUE
14 | bus_LV_1630-22_0_3_node_23 | 0.4 | n |  | TRUE
15 | bus_LV_1630-22_0_3_node_36 | 0.4 | n |  | TRUE
16 | bus_LV_1630-22_0_3_node_33 | 0.4 | n |  | TRUE
17 | bus_LV_1630-22_0_3_node_50 | 0.4 | n |  | TRUE
18 | bus_LV_1630-22_0_3_node_42 | 0.4 | n |  | TRUE
19 | bus_LV_1630-22_0_3_node_24 | 0.4 | n |  | TRUE
20 | bus_LV_1630-22_0_3_node_31 | 0.4 | n |  | TRUE
21 | bus_LV_1630-22_0_3_node_10 | 0.4 | n |  | TRUE
22 | bus_LV_1630-22_0_3_node_12 | 0.4 | n |  | TRUE
23 | bus_LV_1630-22_0_3_node_27 | 0.4 | n |  | TRUE
24 | bus_LV_1630-22_0_3_node_11 | 0.4 | n |  | TRUE
25 | bus_LV_1630-22_0_3_node_30 | 0.4 | n |  | TRUE
26 | bus_LV_1630-22_0_3_node_65 | 0.4 | n |  | TRUE
27 | bus_LV_1630-22_0_3_node_56 | 0.4 | n |  | TRUE
28 | bus_LV_1630-22_0_3_node_34 | 0.4 | n |  | TRUE
29 | bus_LV_1630-22_0_3_node_13 | 0.4 | n |  | TRUE
30 | bus_LV_1630-22_0_3_node_14 | 0.4 | n |  | TRUE
31 | bus_LV_1630-22_0_3_node_35 | 0.4 | n |  | TRUE
32 | bus_LV_1630-22_0_3_node_60 | 0.4 | n |  | TRUE
33 | bus_LV_1630-22_0_3_node_32 | 0.4 | n |  | TRUE
34 | bus_LV_1630-22_0_3_node_59 | 0.4 | n |  | TRUE
35 | bus_LV_1630-22_0_3_node_15 | 0.4 | n |  | TRUE
36 | bus_LV_1630-22_0_3_node_16 | 0.4 | n |  | TRUE
37 | bus_LV_1630-22_0_3_node_17 | 0.4 | n |  | TRUE
38 | bus_LV_1630-22_0_3_node_18 | 0.4 | n |  | TRUE
39 | bus_LV_1630-22_0_3_node_19 | 0.4 | n |  | TRUE
40 | bus_LV_1630-22_0_3_node_20 | 0.4 | n |  | TRUE
41 | bus_LV_1630-22_0_3_node_21 | 0.4 | n |  | TRUE
42 | bus_LV_1630-22_0_3_node_22 | 0.4 | n |  | TRUE
43 | bus_LV_1630-22_0_3_node_29 | 0.4 | n |  | TRUE
44 | bus_LV_1630-22_0_3_node_63 | 0.4 | n |  | TRUE
45 | bus_LV_1630-22_0_3_node_40 | 0.4 | n |  | TRUE
46 | bus_LV_1630-22_0_3_node_28 | 0.4 | n |  | TRUE
47 | bus_LV_1630-22_0_3_node_55 | 0.4 | n |  | TRUE
48 | bus_LV_1630-22_0_3_node_61 | 0.4 | n |  | TRUE
49 | bus_LV_1630-22_0_3_node_62 | 0.4 | n |  | TRUE
50 | bus_LV_1630-22_0_3_node_37 | 0.4 | n |  | TRUE
51 | bus_LV_1630-22_0_3_node_25 | 0.4 | n |  | TRUE
52 | bus_LV_1630-22_0_3_node_26 | 0.4 | n |  | TRUE
53 | bus_LV_1630-22_0_3_node_53 | 0.4 | n |  | TRUE
54 | bus_LV_1630-22_0_3_node_57 | 0.4 | n |  | TRUE
55 | bus_LV_1630-22_0_3_node_49 | 0.4 | n |  | TRUE
56 | bus_LV_1630-22_0_3_node_52 | 0.4 | n |  | TRUE
57 | bus_LV_1630-22_0_3_node_39 | 0.4 | n |  | TRUE
58 | bus_LV_1630-22_0_3_node_38 | 0.4 | n |  | TRUE
59 | bus_LV_1630-22_0_3_node_54 | 0.4 | n |  | TRUE
60 | bus_LV_1630-22_0_3_node_66 | 0.4 | n |  | TRUE
61 | bus_LV_1630-22_0_3_node_43 | 0.4 | n |  | TRUE
62 | bus_LV_1630-22_0_3_node_44 | 0.4 | n |  | TRUE
63 | bus_LV_1630-22_0_3_node_45 | 0.4 | n |  | TRUE
64 | bus_LV_1630-22_0_3_node_46 | 0.4 | n |  | TRUE
65 | bus_LV_1630-22_0_3_node_47 | 0.4 | n |  | TRUE
66 | bus_LV_1630-22_0_3_node_48 | 0.4 | n |  | TRUE
67 | bus_LV_1630-22_0_3_node_58 | 0.4 | n |  | TRUE
68 | bus_MV_152_0_node_27 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1630-22_0_3_load_0 | 0 | 0.0049274 | 0.0012349 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1630-22_0_3_load_1 | 1 | 0.0014934 | 0.00037429 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1630-22_0_3_load_3 | 3 | 0.0018907 | 0.00047385 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1630-22_0_3_load_6 | 6 | 0.0040015 | 0.0010029 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1630-22_0_3_load_7 | 7 | 0.002877 | 0.00072105 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1630-22_0_3_load_8 | 8 | 0.0022659 | 0.00056788 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1630-22_0_3_load_68 | 10 | 0.0024387 | 0.00061121 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1630-22_0_3_load_23 | 14 | 0.0036037 | 0.00090318 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1630-22_0_3_load_36 | 15 | 0.0019563 | 0.0004903 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1630-22_0_3_load_33 | 16 | 0.0015377 | 0.00038539 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1630-22_0_3_load_50 | 17 | 0.0034498 | 0.00086461 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1630-22_0_3_load_42 | 18 | 0.0016542 | 0.00041457 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1630-22_0_3_load_10 | 21 | 0.0047262 | 0.0011845 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1630-22_0_3_load_12 | 22 | 0.0081209 | 0.0020353 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1630-22_0_3_load_11 | 24 | 0.0097658 | 0.0024475 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1630-22_0_3_load_30 | 25 | 0.0076266 | 0.0019114 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1630-22_0_3_load_65 | 26 | 0.0057733 | 0.0014469 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1630-22_0_3_load_56 | 27 | 0.0067488 | 0.0016914 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1630-22_0_3_load_13 | 29 | 0.0013569 | 0.00034007 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1630-22_0_3_load_35 | 31 | 0.0054604 | 0.0013685 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1630-22_0_3_load_59 | 34 | 0.0089204 | 0.0022357 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1630-22_0_3_load_15 | 35 | 0.0071542 | 0.001793 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1630-22_0_3_load_16 | 36 | 0.0071201 | 0.0017845 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1630-22_0_3_load_22 | 42 | 0.0074995 | 0.0018795 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1630-22_0_3_load_29 | 43 | 0.00556 | 0.0013935 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1630-22_0_3_load_63 | 44 | 0.00058938 | 0.00014771 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1630-22_0_3_load_40 | 45 | 0.003125 | 0.00078319 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1630-22_0_3_load_55 | 47 | 0.0037868 | 0.00094907 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1630-22_0_3_load_61 | 48 | 0.0018365 | 0.00046027 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1630-22_0_3_load_62 | 49 | 0.0047336 | 0.0011863 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1630-22_0_3_load_25 | 51 | 0.008863 | 0.0022213 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1630-22_0_3_load_57 | 54 | 0.0047123 | 0.001181 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1630-22_0_3_load_52 | 56 | 0.0029154 | 0.00073067 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1630-22_0_3_load_39 | 57 | 0.0037631 | 0.00094312 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1630-22_0_3_load_38 | 58 | 0.0037421 | 0.00093787 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1630-22_0_3_load_54 | 59 | 0.0037697 | 0.00094477 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1630-22_0_3_load_66 | 60 | 0.0087932 | 0.0022038 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1630-22_0_3_load_43 | 61 | 0.0045928 | 0.0011511 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1630-22_0_3_load_45 | 63 | 0.0037841 | 0.00094838 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1630-22_0_3_load_46 | 64 | 0.0084822 | 0.0021258 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1630-22_0_3_load_48 | 66 | 0.0039675 | 0.00099436 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1630-22_0_3_load_58 | 67 | 0.013444 | 0.0033694 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 54 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1630-22_0_3_line_0 |  | 0 | 1 | 0.0094794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1630-22_0_3_line_1 |  | 0 | 2 | 0.0071266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1630-22_0_3_line_2 |  | 1 | 3 | 0.0094569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1630-22_0_3_line_3 |  | 2 | 4 | 0.026927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1630-22_0_3_line_4 |  | 2 | 5 | 0.008079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1630-22_0_3_line_5 |  | 4 | 6 | 0.01024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1630-22_0_3_line_6 |  | 5 | 7 | 0.021929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1630-22_0_3_line_7 |  | 5 | 8 | 0.015681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1630-22_0_3_line_8 |  | 5 | 9 | 0.011113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1630-22_0_3_line_9 |  | 6 | 12 | 0.015663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1630-22_0_3_line_10 |  | 7 | 13 | 0.055852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1630-22_0_3_line_11 |  | 8 | 14 | 0.02663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1630-22_0_3_line_12 |  | 9 | 15 | 0.031352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1630-22_0_3_line_13 |  | 9 | 16 | 0.03247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1630-22_0_3_line_14 |  | 10 | 11 | 0.049031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1630-22_0_3_line_15 |  | 11 | 17 | 0.086941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1630-22_0_3_line_16 |  | 12 | 17 | 0.01507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1630-22_0_3_line_17 |  | 13 | 18 | 0.015074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1630-22_0_3_line_18 |  | 14 | 19 | 0.01284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1630-22_0_3_line_19 |  | 16 | 20 | 0.033246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1630-22_0_3_line_20 |  | 19 | 52 | 0.057664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1630-22_0_3_line_21 |  | 20 | 25 | 0.012714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1630-22_0_3_line_22 |  | 20 | 33 | 0.025225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1630-22_0_3_line_23 |  | 21 | 22 | 0.12263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1630-22_0_3_line_24 |  | 21 | 23 | 0.075126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1630-22_0_3_line_25 |  | 22 | 26 | 0.076041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1630-22_0_3_line_26 |  | 23 | 25 | 0.033248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1630-22_0_3_line_27 |  | 24 | 25 | 0.016403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1630-22_0_3_line_28 |  | 27 | 28 | 0.004992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1630-22_0_3_line_29 |  | 28 | 33 | 0.024156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1630-22_0_3_line_30 |  | 29 | 30 | 0.082496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1630-22_0_3_line_31 |  | 29 | 31 | 0.10998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1630-22_0_3_line_32 |  | 30 | 32 | 0.087017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1630-22_0_3_line_33 |  | 31 | 33 | 0.057506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1630-22_0_3_line_34 |  | 32 | 34 | 0.030484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1630-22_0_3_line_35 |  | 35 | 36 | 0.003875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1630-22_0_3_line_36 |  | 35 | 37 | 0.020464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1630-22_0_3_line_37 |  | 36 | 38 | 0.0063465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1630-22_0_3_line_38 |  | 37 | 39 | 0.035049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1630-22_0_3_line_39 |  | 38 | 40 | 0.080781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1630-22_0_3_line_40 |  | 39 | 41 | 0.027701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1630-22_0_3_line_41 |  | 39 | 42 | 0.034739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1630-22_0_3_line_42 |  | 40 | 43 | 0.026828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1630-22_0_3_line_43 |  | 40 | 44 | 0.35897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1630-22_0_3_line_44 |  | 41 | 45 | 0.016142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1630-22_0_3_line_45 |  | 41 | 46 | 0.058475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1630-22_0_3_line_46 |  | 42 | 47 | 0.048066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1630-22_0_3_line_47 |  | 43 | 48 | 0.17312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1630-22_0_3_line_48 |  | 44 | 49 | 0.0098043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1630-22_0_3_line_49 |  | 46 | 50 | 0.015898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1630-22_0_3_line_50 |  | 46 | 51 | 0.025214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1630-22_0_3_line_51 |  | 50 | 58 | 0.015127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1630-22_0_3_line_52 |  | 50 | 57 | 0.0023932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1630-22_0_3_line_53 |  | 52 | 53 | 0.026999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1630-22_0_3_line_54 |  | 53 | 54 | 0.011665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
55 | LV_1630-22_0_3_line_55 |  | 53 | 55 | 0.006889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1630-22_0_3_line_56 |  | 54 | 67 | 0.0081032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1630-22_0_3_line_57 |  | 55 | 56 | 0.016692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1630-22_0_3_line_58 |  | 55 | 65 | 0.003902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1630-22_0_3_line_59 |  | 56 | 57 | 0.030491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_1630-22_0_3_line_60 |  | 58 | 59 | 0.006051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_1630-22_0_3_line_61 |  | 59 | 60 | 0.013469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_1630-22_0_3_line_62 |  | 61 | 62 | 0.024695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_1630-22_0_3_line_63 |  | 61 | 63 | 0.0020688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_1630-22_0_3_line_64 |  | 62 | 64 | 0.010374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_1630-22_0_3_line_65 |  | 62 | 65 | 0.018515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_1630-22_0_3_line_66 |  | 65 | 66 | 0.011044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1630-22_0_3_trafo_57 | 0.63 MVA 20/0.4 kV | 68 | 54 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14
0 | 2730029.9455 | 1220125.5657 | 2730020.4858 | 1220126.1774
1 | 2730035.7139 | 1220129.7506 | 2730029.9455 | 1220125.5657
2 | 2730011.0487 | 1220126.7876 | 2730020.4858 | 1220126.1774
3 | 2730035.7139 | 1220129.7506 | 2730037.74 | 1220127.6931 | 2730051.7865 | 1220114.6559 | 2730054.7639 | 1220110.7511
4 | 2730034.9226 | 1220137.484 | 2730034.2634 | 1220133.9556 | 2730034.6903 | 1220131.7854 | 2730035.7139 | 1220129.7506
5 | 2730054.7639 | 1220110.7511 | 2730057.0982 | 1220105.0085 | 2730059.1439 | 1220101.5235
6 | 2730034.9226 | 1220137.484 | 2730050.9198 | 1220136.955 | 2730056.8077 | 1220136.3124
7 | 2730034.9226 | 1220137.484 | 2730031.8116 | 1220138.1277 | 2730029.0345 | 1220139.4682 | 2730027.1348 | 1220140.9501 | 2730022.4591 | 1220146.1749
8 | 2730034.9226 | 1220137.484 | 2730034.3537 | 1220148.5806
9 | 2730067.9316 | 1220088.6095 | 2730063.5237 | 1220094.0622 | 2730059.1439 | 1220101.5235
10 | 2730101.625 | 1220103.9466 | 2730081.9695 | 1220120.4307 | 2730069.3735 | 1220130.9976 | 2730064.1758 | 1220134.0421 | 2730057.9654 | 1220136.186 | 2730056.8077 | 1220136.3124
11 | 2730022.4591 | 1220146.1749 | 2730009.3799 | 1220160.7898 | 2730004.2867 | 1220165.6167
12 | 2730034.3537 | 1220148.5806 | 2730036.9416 | 1220151.7285 | 2730039.8432 | 1220154.0715 | 2730043.5214 | 1220155.9533 | 2730057.6158 | 1220159.8308 | 2730059.2637 | 1220160.4896 | 2730060.4698 | 1220163.2621
13 | 2730034.3537 | 1220148.5806 | 2730032.7306 | 1220166.593 | 2730031.9829 | 1220170.9358 | 2730030.8622 | 1220174.9813 | 2730028.9488 | 1220178.8315 | 2730028.1996 | 1220180.109
14 | 2729979.7225 | 1220041.624 | 2729986.2356 | 1220036.0505 | 2730006.7495 | 1220026.8351 | 2730013.9203 | 1220021.7319 | 2730020.0682 | 1220014.805
15 | 2730079.0433 | 1220078.6846 | 2730020.0682 | 1220014.805
16 | 2730067.9316 | 1220088.6095 | 2730073.1058 | 1220082.4731 | 2730079.0433 | 1220078.6846
17 | 2730101.625 | 1220103.9466 | 2730090.1826 | 1220105.1421 | 2730087.8631 | 1220104.6466 | 2730086.8917 | 1220103.9471
18 | 2729994.3416 | 1220173.7165 | 2730001.753 | 1220168.0181 | 2730004.2867 | 1220165.6167
19 | 2730014.3283 | 1220210.1599 | 2730014.8689 | 1220208.3481 | 2730017.9179 | 1220199.4185 | 2730020.4497 | 1220193.3244 | 2730028.1996 | 1220180.109
20 | 2729994.3416 | 1220173.7165 | 2729988.1587 | 1220183.6451 | 2729984.1277 | 1220188.1831 | 2729974.4269 | 1220197.9237 | 2729962.6637 | 1220204.7837 | 2729951.8238 | 1220211.0746
21 | 2730014.3283 | 1220210.1599 | 2730009.2452 | 1220211.7836 | 2730006.7166 | 1220212.8738 | 2730003.3586 | 1220216.0531
22 | 2730014.3283 | 1220210.1599 | 2730014.731 | 1220212.226 | 2730015.8686 | 1220213.6631 | 2730031.7247 | 1220227.9207
23 | 2729988.922 | 1220310.8882 | 2729987.2767 | 1220427.3453 | 2729988.2929 | 1220433.4172
24 | 2729977.4525 | 1220236.6433 | 2729988.922 | 1220310.8882
25 | 2729988.2929 | 1220433.4172 | 2730061.3137 | 1220454.6343
26 | 2729977.4525 | 1220236.6433 | 2729987.0123 | 1220230.925 | 2729992.401 | 1220226.4279 | 2730003.3586 | 1220216.0531
27 | 2730003.3586 | 1220216.0531 | 2729990.4041 | 1220205.9913
28 | 2730049.4455 | 1220246.8117 | 2730051.127 | 1220242.1113
29 | 2730031.7247 | 1220227.9207 | 2730038.8056 | 1220231.7895 | 2730045.6303 | 1220236.6091 | 2730051.127 | 1220242.1113
30 | 2730221.3346 | 1220243.4865 | 2730197.5359 | 1220231.1229 | 2730188.9676 | 1220228.9783 | 2730180.5008 | 1220227.0584 | 2730176.431 | 1220223.6445 | 2730173.8226 | 1220220.0512 | 2730172.696 | 1220214.6445 | 2730172.772 | 1220203.8818 | 2730174.3167 | 1220198.1554 | 2730177.3169 | 1220192.7368
31 | 2730067.7631 | 1220183.1084 | 2730177.3169 | 1220192.7368
32 | 2730221.3346 | 1220243.4865 | 2730192.7427 | 1220325.6725
33 | 2730031.7247 | 1220227.9207 | 2730054.7272 | 1220199.2775 | 2730067.7631 | 1220183.1084
34 | 2730192.7427 | 1220325.6725 | 2730165.1006 | 1220338.5251
35 | 2729771.1497 | 1220208.9981 | 2729768.6446 | 1220211.9545
36 | 2729789.2134 | 1220202.7448 | 2729781.2478 | 1220202.8936 | 2729777.1997 | 1220203.3502 | 2729775.0517 | 1220204.3932 | 2729771.1497 | 1220208.9981
37 | 2729764.5418 | 1220216.7964 | 2729768.6446 | 1220211.9545
38 | 2729789.2134 | 1220202.7448 | 2729797.7219 | 1220202.7636 | 2729822.9847 | 1220194.3295
39 | 2729708.4759 | 1220190.8099 | 2729719.1314 | 1220184.9594 | 2729723.91 | 1220183.3733 | 2729728.2618 | 1220183.9575 | 2729731.4287 | 1220186.3172 | 2729732.8226 | 1220189.9283 | 2729731.7359 | 1220197.2995 | 2729731.4553 | 1220200.0734 | 2729733.7029 | 1220202.124 | 2729737.6217 | 1220202.3762 | 2729743.7635 | 1220200.931 | 2729748.829 | 1220201.1526 | 2729750.7337 | 1220203.9631 | 2729755.6064 | 1220211.9868 | 2729764.5418 | 1220216.7964
40 | 2729849.6169 | 1220186.448 | 2729822.9847 | 1220194.3295
41 | 2729822.9847 | 1220194.3295 | 2729829.4729 | 1220212.152 | 2729831.018 | 1220214.0427 | 2729834.035 | 1220215.6209 | 2729838.6065 | 1220218.6563 | 2729840.5921 | 1220222.625
42 | 2729708.4759 | 1220190.8099 | 2729699.7956 | 1220171.1606 | 2729696.3284 | 1220167.0903
43 | 2729708.4759 | 1220190.8099 | 2729515.0281 | 1220493.1946
44 | 2729849.6169 | 1220186.448 | 2729843.9348 | 1220194.3083 | 2729840.7084 | 1220199.8981
45 | 2729849.6169 | 1220186.448 | 2729865.5325 | 1220182.0025 | 2729873.4057 | 1220180.8732 | 2729881.7454 | 1220181.3221 | 2729889.076 | 1220182.7942 | 2729906.9291 | 1220186.9536
46 | 2729809.8612 | 1220256.2602 | 2729832.5818 | 1220239.7865 | 2729835.9227 | 1220236.6012 | 2729839.0226 | 1220231.9428 | 2729840.4418 | 1220229.5162 | 2729841.0661 | 1220225.9491 | 2729840.5921 | 1220222.625
47 | 2729696.3284 | 1220167.0903 | 2729532.8844 | 1220110.0281
48 | 2729505.5332 | 1220495.6384 | 2729513.7366 | 1220493.5283 | 2729515.0281 | 1220493.1946
49 | 2729906.9291 | 1220186.9536 | 2729905.538 | 1220194.3515 | 2729897.1499 | 1220194.0349
50 | 2729906.9291 | 1220186.9536 | 2729931.4816 | 1220192.693
51 | 2729897.1499 | 1220194.0349 | 2729892.5582 | 1220190.532 | 2729883.864 | 1220193.9775
52 | 2729897.1499 | 1220194.0349 | 2729898.1683 | 1220196.2006
53 | 2729951.8238 | 1220211.0746 | 2729948.8307 | 1220215.0124 | 2729945.1301 | 1220217.6338 | 2729939.8728 | 1220219.2427 | 2729927.8173 | 1220220.0248
54 | 2729927.8173 | 1220220.0248 | 2729927.8652 | 1220222.3499 | 2729928.7469 | 1220224.3819 | 2729933.3658 | 1220229.8066
55 | 2729920.9229 | 1220220.4748 | 2729927.8173 | 1220220.0248
56 | 2729940.644 | 1220231.5472 | 2729937.419 | 1220231.8549 | 2729935.8928 | 1220231.8772 | 2729934.5934 | 1220231.2483 | 2729933.3658 | 1220229.8066
57 | 2729920.9229 | 1220220.4748 | 2729920.9814 | 1220217.7961 | 2729921.4177 | 1220215.1924 | 2729921.4122 | 1220214.4028 | 2729920.8783 | 1220212.434 | 2729920.1213 | 1220210.9496 | 2729919.854 | 1220209.2869 | 2729920.0629 | 1220207.3676 | 2729920.9511 | 1220204.2289
58 | 2729920.9229 | 1220220.4748 | 2729917.0609 | 1220221.1022
59 | 2729920.9511 | 1220204.2289 | 2729910.9344 | 1220202.0198 | 2729911.1363 | 1220200.4229 | 2729909.3925 | 1220200.3292 | 2729904.1872 | 1220203.7296 | 2729903.477 | 1220203.9254 | 2729902.4388 | 1220203.8471 | 2729901.3716 | 1220203.012 | 2729898.1683 | 1220196.2006
60 | 2729878.2386 | 1220196.2068 | 2729883.864 | 1220193.9775
61 | 2729866.3982 | 1220199.7246 | 2729876.0251 | 1220195.798 | 2729876.4945 | 1220196.898 | 2729878.2386 | 1220196.2068
62 | 2729903.0242 | 1220232.6721 | 2729897.1643 | 1220236.8477 | 2729896.1642 | 1220236.4144 | 2729894.2944 | 1220235.8398 | 2729891.7133 | 1220235.5055 | 2729889.5883 | 1220235.4925 | 2729887.6956 | 1220235.9627 | 2729882.3387 | 1220241.5988
63 | 2729880.9135 | 1220243.0984 | 2729882.3387 | 1220241.5988
64 | 2729903.0242 | 1220232.6721 | 2729902.3839 | 1220239.0522 | 2729905.1532 | 1220241.8926
65 | 2729903.0242 | 1220232.6721 | 2729909.9746 | 1220224.7839 | 2729912.8564 | 1220222.8119 | 2729917.0609 | 1220221.1022
66 | 2729914.7372 | 1220231.5822 | 2729914.3859 | 1220229.9399 | 2729914.5494 | 1220227.6638 | 2729915.0365 | 1220225.1724 | 2729917.0609 | 1220221.1022

## bus_geodata
| x | y | coords
0 | 2730029.9455 | 1220125.5657
1 | 2730020.4858 | 1220126.1774
2 | 2730035.7139 | 1220129.7506
3 | 2730011.0487 | 1220126.7876
4 | 2730054.7639 | 1220110.7511
5 | 2730034.9226 | 1220137.484
6 | 2730059.1439 | 1220101.5235
7 | 2730056.8077 | 1220136.3124
8 | 2730022.4591 | 1220146.1749
9 | 2730034.3537 | 1220148.5806
10 | 2729979.7225 | 1220041.624
11 | 2730020.0682 | 1220014.805
12 | 2730067.9316 | 1220088.6095
13 | 2730101.625 | 1220103.9466
14 | 2730004.2867 | 1220165.6167
15 | 2730060.4698 | 1220163.2621
16 | 2730028.1996 | 1220180.109
17 | 2730079.0433 | 1220078.6846
18 | 2730086.8917 | 1220103.9471
19 | 2729994.3416 | 1220173.7165
20 | 2730014.3283 | 1220210.1599
21 | 2729988.922 | 1220310.8882
22 | 2729988.2929 | 1220433.4172
23 | 2729977.4525 | 1220236.6433
24 | 2729990.4041 | 1220205.9913
25 | 2730003.3586 | 1220216.0531
26 | 2730061.3137 | 1220454.6343
27 | 2730049.4455 | 1220246.8117
28 | 2730051.127 | 1220242.1113
29 | 2730177.3169 | 1220192.7368
30 | 2730221.3346 | 1220243.4865
31 | 2730067.7631 | 1220183.1084
32 | 2730192.7427 | 1220325.6725
33 | 2730031.7247 | 1220227.9207
34 | 2730165.1006 | 1220338.5251
35 | 2729771.1497 | 1220208.9981
36 | 2729768.6446 | 1220211.9545
37 | 2729789.2134 | 1220202.7448
38 | 2729764.5418 | 1220216.7964
39 | 2729822.9847 | 1220194.3295
40 | 2729708.4759 | 1220190.8099
41 | 2729849.6169 | 1220186.448
42 | 2729840.5921 | 1220222.625
43 | 2729696.3284 | 1220167.0903
44 | 2729515.0281 | 1220493.1946
45 | 2729840.7084 | 1220199.8981
46 | 2729906.9291 | 1220186.9536
47 | 2729809.8612 | 1220256.2602
48 | 2729532.8844 | 1220110.0281
49 | 2729505.5332 | 1220495.6384
50 | 2729897.1499 | 1220194.0349
51 | 2729931.4816 | 1220192.693
52 | 2729951.8238 | 1220211.0746
53 | 2729927.8173 | 1220220.0248
54 | 2729933.3658 | 1220229.8066
55 | 2729920.9229 | 1220220.4748
56 | 2729920.9511 | 1220204.2289
57 | 2729898.1683 | 1220196.2006
58 | 2729883.864 | 1220193.9775
59 | 2729878.2386 | 1220196.2068
60 | 2729866.3982 | 1220199.7246
61 | 2729882.3387 | 1220241.5988
62 | 2729903.0242 | 1220232.6721
63 | 2729880.9135 | 1220243.0984
64 | 2729905.1532 | 1220241.8926
65 | 2729917.0609 | 1220221.1022
66 | 2729914.7372 | 1220231.5822
67 | 2729940.644 | 1220231.5472
68 | 2729940.644 | 1220231.5472

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9873 | -0.24306 | 0.0049274 | 0.0012349
1 | 0.98727 | -0.24363 | 0.0014934 | 0.00037429
2 | 0.98736 | -0.242 | 0 | 0
3 | 0.98726 | -0.24395 | 0.0018907 | 0.00047385
4 | 0.98711 | -0.24676 | 0 | 0
5 | 0.98749 | -0.23937 | 0 | 0
6 | 0.98702 | -0.24858 | 0.0040015 | 0.0010029
7 | 0.9874 | -0.24115 | 0.002877 | 0.00072105
8 | 0.98872 | -0.21564 | 0.0022659 | 0.00056788
9 | 0.98686 | -0.2517 | 0 | 0
10 | 0.98655 | -0.25776 | 0.0024387 | 0.00061121
11 | 0.98666 | -0.25562 | 0 | 0
12 | 0.98694 | -0.25023 | 0 | 0
13 | 0.98732 | -0.2428 | 0 | 0
14 | 0.99086 | -0.17441 | 0.0036037 | 0.00090318
15 | 0.9868 | -0.25279 | 0.0019563 | 0.0004903
16 | 0.98506 | -0.28666 | 0.0015377 | 0.00038539
17 | 0.98685 | -0.25182 | 0.0034498 | 0.00086461
18 | 0.98729 | -0.24324 | 0.0016542 | 0.00041457
19 | 0.99193 | -0.15377 | 0 | 0
20 | 0.98326 | -0.32168 | 0 | 0
21 | 0.98097 | -0.36643 | 0.0047262 | 0.0011845
22 | 0.97939 | -0.39735 | 0.0081209 | 0.0020353
23 | 0.98226 | -0.34112 | 0 | 0
24 | 0.98269 | -0.33283 | 0.0097658 | 0.0024475
25 | 0.98283 | -0.32994 | 0.0076266 | 0.0019114
26 | 0.97898 | -0.40533 | 0.0057733 | 0.0014469
27 | 0.98255 | -0.33546 | 0.0067488 | 0.0016914
28 | 0.98258 | -0.33486 | 0 | 0
29 | 0.98085 | -0.36874 | 0.0013569 | 0.00034007
30 | 0.98017 | -0.38209 | 0 | 0
31 | 0.9819 | -0.34827 | 0.0054604 | 0.0013685
32 | 0.97945 | -0.39619 | 0 | 0
33 | 0.98273 | -0.33191 | 0 | 0
34 | 0.9792 | -0.40113 | 0.0089204 | 0.0022357
35 | 0.9899 | -0.19434 | 0.0071542 | 0.001793
36 | 0.98983 | -0.19571 | 0.0071201 | 0.0017845
37 | 0.99041 | -0.18451 | 0 | 0
38 | 0.98975 | -0.19715 | 0 | 0
39 | 0.99127 | -0.1677 | 0 | 0
40 | 0.98881 | -0.21548 | 0 | 0
41 | 0.99224 | -0.1489 | 0 | 0
42 | 0.99091 | -0.17466 | 0.0074995 | 0.0018795
43 | 0.98863 | -0.21902 | 0.00556 | 0.0013935
44 | 0.98706 | -0.24964 | 0.00058938 | 0.00014771
45 | 0.9922 | -0.14979 | 0.003125 | 0.00078319
46 | 0.99446 | -0.1061 | 0 | 0
47 | 0.99075 | -0.17789 | 0.0037868 | 0.00094907
48 | 0.98834 | -0.2247 | 0.0018365 | 0.00046027
49 | 0.98701 | -0.25047 | 0.0047336 | 0.0011863
50 | 0.99519 | -0.092021 | 0 | 0
51 | 0.99426 | -0.11004 | 0.008863 | 0.0022213
52 | 0.99675 | -0.061635 | 0 | 0
53 | 0.99901 | -0.018801 | 0 | 0
54 | 1 | 0 | -0.20175 | -0.050892
55 | 0.99842 | -0.03013 | 0 | 0
56 | 0.9973 | -0.051543 | 0.0029154 | 0.00073067
57 | 0.99534 | -0.089216 | 0.0037631 | 0.00094312
58 | 0.99497 | -0.096363 | 0.0037421 | 0.00093787
59 | 0.9949 | -0.097701 | 0.0037697 | 0.00094477
60 | 0.99479 | -0.099787 | 0.0087932 | 0.0022038
61 | 0.99787 | -0.040633 | 0.0045928 | 0.0011511
62 | 0.99806 | -0.037012 | 0 | 0
63 | 0.99787 | -0.04077 | 0.0037841 | 0.00094838
64 | 0.99798 | -0.038552 | 0.0084822 | 0.0021258
65 | 0.99835 | -0.031551 | 0 | 0
66 | 0.99831 | -0.032318 | 0.0039675 | 0.00099436
67 | 0.9999 | -0.0018989 | 0.013444 | 0.0033694
68 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0033842 | 0.00084797 | -0.0033841 | -0.00084803 | 9.2477e-08 | -6.2036e-08 | 0.0051005 | 0.0051005 | 0.0051005 | 0.9873 | -0.24306 | 0.98727 | -0.24363 | 1.4012
1 | -0.0083117 | -0.0020829 | 0.0083121 | 0.0020831 | 4.1937e-07 | 1.7725e-07 | 0.012527 | 0.012527 | 0.012527 | 0.9873 | -0.24306 | 0.98736 | -0.242 | 3.4414
2 | 0.0018907 | 0.00047374 | -0.0018907 | -0.00047385 | 2.8798e-08 | -1.025e-07 | 0.0028496 | 0.0028497 | 0.0028497 | 0.98727 | -0.24363 | 0.98726 | -0.24395 | 0.78287
3 | 0.0098948 | 0.0024791 | -0.0098925 | -0.002478 | 2.2453e-06 | 1.0927e-06 | 0.014912 | 0.014912 | 0.014912 | 0.98736 | -0.242 | 0.98711 | -0.24676 | 4.0967
4 | -0.018207 | -0.0045622 | 0.018209 | 0.0045635 | 2.2809e-06 | 1.3565e-06 | 0.027439 | 0.027439 | 0.027439 | 0.98736 | -0.242 | 0.98749 | -0.23937 | 7.5381
5 | 0.0098925 | 0.002478 | -0.0098917 | -0.0024776 | 8.5389e-07 | 4.156e-07 | 0.014912 | 0.014912 | 0.014912 | 0.98711 | -0.24676 | 0.98702 | -0.24858 | 4.0967
6 | 0.0045317 | 0.0011348 | -0.0045314 | -0.0011348 | 3.8343e-07 | -3.5119e-08 | 0.0068284 | 0.0068285 | 0.0068285 | 0.98749 | -0.23937 | 0.9874 | -0.24115 | 1.8759
7 | -0.085089 | -0.021452 | 0.085186 | 0.021513 | 9.6742e-05 | 6.1714e-05 | 0.12826 | 0.12826 | 0.12826 | 0.98749 | -0.23937 | 0.98872 | -0.21564 | 35.237
8 | 0.062348 | 0.015753 | -0.062312 | -0.01573 | 3.682e-05 | 2.3422e-05 | 0.093996 | 0.093996 | 0.093996 | 0.98749 | -0.23937 | 0.98686 | -0.2517 | 25.823
9 | 0.0058902 | 0.0014747 | -0.0058897 | -0.0014746 | 4.6311e-07 | 9.6216e-08 | 0.0088794 | 0.0088795 | 0.0088795 | 0.98702 | -0.24858 | 0.98694 | -0.25023 | 2.4394
10 | 0.0016543 | 0.00041377 | -0.0016542 | -0.0004144 | 1.3016e-07 | -6.3104e-07 | 0.0024928 | 0.002493 | 0.002493 | 0.9874 | -0.24115 | 0.98732 | -0.2428 | 0.68489
11 | -0.087452 | -0.022081 | 0.087625 | 0.022192 | 0.00017314 | 0.00011047 | 0.13167 | 0.13167 | 0.13167 | 0.98872 | -0.21564 | 0.99086 | -0.17441 | 36.1738
12 | 0.0019564 | 0.00048997 | -0.0019563 | -0.0004903 | 1.0231e-07 | -3.3508e-07 | 0.0029499 | 0.00295 | 0.00295 | 0.98686 | -0.2517 | 0.9868 | -0.25279 | 0.81044
13 | 0.060355 | 0.01524 | -0.060254 | -0.015176 | 0.00010093 | 6.4184e-05 | 0.091046 | 0.091046 | 0.091046 | 0.98686 | -0.2517 | 0.98506 | -0.28666 | 25.0127
14 | -0.0024387 | -0.00061121 | 0.002439 | 0.00061074 | 2.4876e-07 | -4.6693e-07 | 0.0036784 | 0.0036781 | 0.0036784 | 0.98655 | -0.25776 | 0.98666 | -0.25562 | 1.0105
15 | -0.002439 | -0.00061074 | 0.0024394 | 0.00060991 | 4.4102e-07 | -8.2834e-07 | 0.0036781 | 0.0036777 | 0.0036781 | 0.98666 | -0.25562 | 0.98685 | -0.25182 | 1.0105
16 | 0.0058897 | 0.0014746 | -0.0058893 | -0.0014745 | 4.4557e-07 | 9.2609e-08 | 0.0088795 | 0.0088795 | 0.0088795 | 0.98694 | -0.25023 | 0.98685 | -0.25182 | 2.4394
17 | 0.0016542 | 0.0004144 | -0.0016542 | -0.00041457 | 3.5133e-08 | -1.7028e-07 | 0.002493 | 0.0024931 | 0.0024931 | 0.98732 | -0.2428 | 0.98729 | -0.24324 | 0.68491
18 | -0.091229 | -0.023095 | 0.091319 | 0.023153 | 9.0482e-05 | 5.7743e-05 | 0.13708 | 0.13708 | 0.13708 | 0.99086 | -0.17441 | 0.99193 | -0.15377 | 37.6606
19 | 0.058716 | 0.01479 | -0.058618 | -0.014728 | 9.8139e-05 | 6.2387e-05 | 0.088723 | 0.088723 | 0.088723 | 0.98506 | -0.28666 | 0.98326 | -0.32168 | 24.3746
20 | -0.091319 | -0.023153 | 0.091726 | 0.023412 | 0.00040636 | 0.00025932 | 0.13708 | 0.13708 | 0.13708 | 0.99193 | -0.15377 | 0.99675 | -0.061635 | 37.6605
21 | 0.036084 | 0.0090667 | -0.036069 | -0.0090578 | 1.4222e-05 | 8.9406e-06 | 0.054616 | 0.054616 | 0.054616 | 0.98326 | -0.32168 | 0.98283 | -0.32994 | 15.0043
22 | 0.022535 | 0.0056612 | -0.022524 | -0.0056545 | 1.1005e-05 | 6.7231e-06 | 0.034108 | 0.034108 | 0.034108 | 0.98326 | -0.32168 | 0.98273 | -0.33191 | 9.3703
23 | 0.013917 | 0.0034942 | -0.013896 | -0.0034827 | 2.0498e-05 | 1.1573e-05 | 0.021113 | 0.021113 | 0.021113 | 0.98097 | -0.36643 | 0.97939 | -0.39735 | 5.8003
24 | -0.018643 | -0.0046787 | 0.018666 | 0.0046922 | 2.2533e-05 | 1.3472e-05 | 0.028282 | 0.028281 | 0.028282 | 0.98097 | -0.36643 | 0.98226 | -0.34112 | 7.7697
25 | 0.0057755 | 0.0014474 | -0.0057733 | -0.0014469 | 2.1957e-06 | 4.4874e-07 | 0.0087748 | 0.0087752 | 0.0087752 | 0.97939 | -0.39735 | 0.97898 | -0.40533 | 2.4108
26 | -0.018666 | -0.0046922 | 0.018676 | 0.0046982 | 9.9724e-06 | 5.9612e-06 | 0.028281 | 0.028281 | 0.028281 | 0.98226 | -0.34112 | 0.98283 | -0.32994 | 7.7696
27 | -0.0097658 | -0.0024475 | 0.0097671 | 0.0024482 | 1.3451e-06 | 6.5302e-07 | 0.014788 | 0.014788 | 0.014788 | 0.98269 | -0.33283 | 0.98283 | -0.32994 | 4.0625
28 | -0.0067488 | -0.0016914 | 0.006749 | 0.0016915 | 1.9555e-07 | 6.1924e-08 | 0.010221 | 0.010221 | 0.010221 | 0.98255 | -0.33546 | 0.98258 | -0.33486 | 2.8079
29 | -0.006749 | -0.0016915 | 0.0067499 | 0.0016918 | 9.4624e-07 | 2.9958e-07 | 0.010221 | 0.01022 | 0.010221 | 0.98258 | -0.33486 | 0.98273 | -0.33191 | 2.8078
30 | 0.0089342 | 0.002242 | -0.0089285 | -0.0022394 | 5.6841e-06 | 2.5973e-06 | 0.013555 | 0.013555 | 0.013555 | 0.98085 | -0.36874 | 0.98017 | -0.38209 | 3.7239
31 | -0.010291 | -0.002582 | 0.010301 | 0.0025871 | 1.0053e-05 | 5.0445e-06 | 0.015613 | 0.015613 | 0.015613 | 0.98085 | -0.36874 | 0.9819 | -0.34827 | 4.2894
32 | 0.0089285 | 0.0022394 | -0.0089225 | -0.0022366 | 5.996e-06 | 2.7414e-06 | 0.013555 | 0.013556 | 0.013556 | 0.98017 | -0.38209 | 0.97945 | -0.39619 | 3.724
33 | -0.015762 | -0.0039556 | 0.015774 | 0.0039627 | 1.2305e-05 | 7.1473e-06 | 0.023888 | 0.023887 | 0.023888 | 0.9819 | -0.34827 | 0.98273 | -0.33191 | 6.5626
34 | 0.0089225 | 0.0022366 | -0.0089204 | -0.0022357 | 2.1006e-06 | 9.6082e-07 | 0.013556 | 0.013556 | 0.013556 | 0.97945 | -0.39619 | 0.9792 | -0.40113 | 3.7241
35 | 0.019863 | 0.0049791 | -0.019862 | -0.0049783 | 1.2955e-06 | 7.7934e-07 | 0.029859 | 0.029859 | 0.029859 | 0.9899 | -0.19434 | 0.98983 | -0.19571 | 8.203
36 | -0.027018 | -0.0067721 | 0.02703 | 0.0067799 | 1.2658e-05 | 7.8379e-06 | 0.040613 | 0.040613 | 0.040613 | 0.9899 | -0.19434 | 0.99041 | -0.18451 | 11.1575
37 | 0.012742 | 0.0031938 | -0.012741 | -0.0031934 | 8.7325e-07 | 4.7731e-07 | 0.019155 | 0.019155 | 0.019155 | 0.98983 | -0.19571 | 0.98975 | -0.19715 | 5.2625
38 | -0.02703 | -0.0067799 | 0.027052 | 0.0067934 | 2.1679e-05 | 1.3423e-05 | 0.040613 | 0.040613 | 0.040613 | 0.99041 | -0.18451 | 0.99127 | -0.1677 | 11.1574
39 | 0.012741 | 0.0031934 | -0.01273 | -0.0031873 | 1.1115e-05 | 6.0767e-06 | 0.019155 | 0.019156 | 0.019156 | 0.98975 | -0.19715 | 0.98881 | -0.21548 | 5.2626
40 | -0.038343 | -0.0096237 | 0.038377 | 0.0096453 | 3.4419e-05 | 2.167e-05 | 0.057562 | 0.057562 | 0.057562 | 0.99127 | -0.1677 | 0.99224 | -0.1489 | 15.8137
41 | 0.011291 | 0.0028303 | -0.011287 | -0.0028284 | 3.7422e-06 | 1.9473e-06 | 0.016949 | 0.016949 | 0.016949 | 0.99127 | -0.1677 | 0.99091 | -0.17466 | 4.6563
42 | 0.0073982 | 0.0018523 | -0.007397 | -0.0018518 | 1.2469e-06 | 4.5392e-07 | 0.011133 | 0.011133 | 0.011133 | 0.98881 | -0.21548 | 0.98863 | -0.21902 | 3.0584
43 | 0.0053318 | 0.001335 | -0.0053231 | -0.0013341 | 8.6669e-06 | 9.5036e-07 | 0.0080231 | 0.0080248 | 0.0080248 | 0.98881 | -0.21548 | 0.98706 | -0.24964 | 2.2046
44 | 0.0031251 | 0.00078307 | -0.003125 | -0.00078319 | 1.3295e-07 | -1.234e-07 | 0.0046865 | 0.0046866 | 0.0046866 | 0.99224 | -0.1489 | 0.9922 | -0.14979 | 1.2875
45 | -0.041502 | -0.010428 | 0.041587 | 0.010482 | 8.4967e-05 | 5.3622e-05 | 0.062248 | 0.062248 | 0.062248 | 0.99224 | -0.1489 | 0.99446 | -0.1061 | 17.1011
46 | 0.0037874 | 0.00094882 | -0.0037868 | -0.00094907 | 5.8303e-07 | -2.4594e-07 | 0.0056873 | 0.0056875 | 0.0056875 | 0.99091 | -0.17466 | 0.99075 | -0.17789 | 1.5625
47 | 0.001837 | 0.00045836 | -0.0018365 | -0.00046027 | 4.9617e-07 | -1.9016e-06 | 0.0027642 | 0.002765 | 0.002765 | 0.98863 | -0.21902 | 0.98834 | -0.2247 | 0.7596
48 | 0.0047338 | 0.0011863 | -0.0047336 | -0.0011863 | 1.8724e-07 | -5.4803e-09 | 0.0071363 | 0.0071363 | 0.0071363 | 0.98706 | -0.24964 | 0.98701 | -0.25047 | 1.9605
49 | -0.050452 | -0.012704 | 0.050486 | 0.012726 | 3.3994e-05 | 2.155e-05 | 0.075512 | 0.075512 | 0.075512 | 0.99446 | -0.1061 | 0.99519 | -0.092021 | 20.7451
50 | 0.0088647 | 0.002222 | -0.008863 | -0.0022213 | 1.6636e-06 | 7.3765e-07 | 0.013264 | 0.013264 | 0.013264 | 0.99446 | -0.1061 | 0.99426 | -0.11004 | 3.6441
51 | 0.01631 | 0.0040892 | -0.016307 | -0.0040873 | 3.3739e-06 | 1.9628e-06 | 0.024387 | 0.024388 | 0.024388 | 0.99519 | -0.092021 | 0.99497 | -0.096363 | 6.6999
52 | -0.066796 | -0.016815 | 0.066805 | 0.016821 | 8.9563e-06 | 5.701e-06 | 0.099899 | 0.099899 | 0.099899 | 0.99519 | -0.092021 | 0.99534 | -0.089216 | 27.4449
53 | -0.091726 | -0.023412 | 0.091916 | 0.023533 | 0.00019026 | 0.00012142 | 0.13708 | 0.13708 | 0.13708 | 0.99675 | -0.061635 | 0.99901 | -0.018801 | 37.6605
54 | -0.18649 | -0.047413 | 0.18666 | 0.047521 | 0.00016905 | 0.00010789 | 0.27801 | 0.27801 | 0.27801 | 0.99901 | -0.018801 | 1 | 0 | 38.1883
55 | 0.094572 | 0.02388 | -0.094521 | -0.023847 | 5.1307e-05 | 3.2746e-05 | 0.14093 | 0.14093 | 0.14093 | 0.99901 | -0.018801 | 0.99842 | -0.03013 | 38.7162
56 | 0.013445 | 0.00337 | -0.013444 | -0.0033694 | 1.2163e-06 | 6.7214e-07 | 0.020007 | 0.020007 | 0.020007 | 1 | 0 | 0.9999 | -0.0018989 | 5.4964
57 | 0.073686 | 0.018624 | -0.073611 | -0.018575 | 7.5568e-05 | 4.8145e-05 | 0.10987 | 0.10987 | 0.10987 | 0.99842 | -0.03013 | 0.9973 | -0.051543 | 30.1854
58 | 0.020835 | 0.0052239 | -0.020833 | -0.005223 | 1.4109e-06 | 8.5197e-07 | 0.031052 | 0.031052 | 0.031052 | 0.99842 | -0.03013 | 0.99835 | -0.031551 | 8.5308
59 | 0.070695 | 0.017845 | -0.070568 | -0.017764 | 0.00012732 | 8.1091e-05 | 0.10553 | 0.10553 | 0.10553 | 0.9973 | -0.051543 | 0.99534 | -0.089216 | 28.9904
60 | 0.012565 | 0.0031494 | -0.012564 | -0.0031489 | 8.0123e-07 | 4.342e-07 | 0.018791 | 0.018791 | 0.018791 | 0.99497 | -0.096363 | 0.9949 | -0.097701 | 5.1624
61 | 0.0087941 | 0.0022042 | -0.0087932 | -0.0022038 | 8.738e-07 | 3.8434e-07 | 0.013153 | 0.013153 | 0.013153 | 0.9949 | -0.097701 | 0.99479 | -0.099787 | 3.6134
62 | -0.0083769 | -0.0020994 | 0.0083784 | 0.0021 | 1.445e-06 | 6.0214e-07 | 0.012492 | 0.012491 | 0.012492 | 0.99787 | -0.040633 | 0.99806 | -0.037012 | 3.4317
63 | 0.0037841 | 0.00094837 | -0.0037841 | -0.00094838 | 2.4702e-08 | -1.1216e-08 | 0.0056428 | 0.0056428 | 0.0056428 | 0.99787 | -0.040633 | 0.99787 | -0.04077 | 1.5502
64 | 0.0084828 | 0.0021261 | -0.0084822 | -0.0021258 | 6.2225e-07 | 2.6268e-07 | 0.012647 | 0.012647 | 0.012647 | 0.99806 | -0.037012 | 0.99798 | -0.038552 | 3.4745
65 | -0.016861 | -0.0042261 | 0.016866 | 0.0042287 | 4.3877e-06 | 2.5661e-06 | 0.025139 | 0.025138 | 0.025139 | 0.99806 | -0.037012 | 0.99835 | -0.031551 | 6.9062
66 | 0.0039677 | 0.00099431 | -0.0039675 | -0.00099436 | 1.4484e-07 | -5.1708e-08 | 0.0059137 | 0.0059138 | 0.0059138 | 0.99835 | -0.031551 | 0.99831 | -0.032318 | 1.6247

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.20646 | 0.052073

## res_load
| p_mw | q_mvar
0 | 0.0049274 | 0.0012349
1 | 0.0014934 | 0.00037429
2 | 0.0018907 | 0.00047385
3 | 0.0040015 | 0.0010029
4 | 0.002877 | 0.00072105
5 | 0.0022659 | 0.00056788
6 | 0.0024387 | 0.00061121
7 | 0.0036037 | 0.00090318
8 | 0.0019563 | 0.0004903
9 | 0.0015377 | 0.00038539
10 | 0.0034498 | 0.00086461
11 | 0.0016542 | 0.00041457
12 | 0.0047262 | 0.0011845
13 | 0.0081209 | 0.0020353
14 | 0.0097658 | 0.0024475
15 | 0.0076266 | 0.0019114
16 | 0.0057733 | 0.0014469
17 | 0.0067488 | 0.0016914
18 | 0.0013569 | 0.00034007
19 | 0.0054604 | 0.0013685
20 | 0.0089204 | 0.0022357
21 | 0.0071542 | 0.001793
22 | 0.0071201 | 0.0017845
23 | 0.0074995 | 0.0018795
24 | 0.00556 | 0.0013935
25 | 0.00058938 | 0.00014771
26 | 0.003125 | 0.00078319
27 | 0.0037868 | 0.00094907
28 | 0.0018365 | 0.00046027
29 | 0.0047336 | 0.0011863
30 | 0.008863 | 0.0022213
31 | 0.0047123 | 0.001181
32 | 0.0029154 | 0.00073067
33 | 0.0037631 | 0.00094312
34 | 0.0037421 | 0.00093787
35 | 0.0037697 | 0.00094477
36 | 0.0087932 | 0.0022038
37 | 0.0045928 | 0.0011511
38 | 0.0037841 | 0.00094838
39 | 0.0084822 | 0.0021258
40 | 0.0039675 | 0.00099436
41 | 0.013444 | 0.0033694

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1