## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1630-25_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1630-25_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1630-25_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1630-25_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1630-25_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1630-25_0_2_node_131 | 0.4 | n |  | TRUE
6 | bus_LV_1630-25_0_2_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_1630-25_0_2_node_27 | 0.4 | n |  | TRUE
8 | bus_LV_1630-25_0_2_node_32 | 0.4 | n |  | TRUE
9 | bus_LV_1630-25_0_2_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_1630-25_0_2_node_23 | 0.4 | n |  | TRUE
11 | bus_LV_1630-25_0_2_node_31 | 0.4 | n |  | TRUE
12 | bus_LV_1630-25_0_2_node_130 | 0.4 | n |  | TRUE
13 | bus_LV_1630-25_0_2_node_24 | 0.4 | n |  | TRUE
14 | bus_LV_1630-25_0_2_node_16 | 0.4 | n |  | TRUE
15 | bus_LV_1630-25_0_2_node_17 | 0.4 | n |  | TRUE
16 | bus_LV_1630-25_0_2_node_18 | 0.4 | n |  | TRUE
17 | bus_LV_1630-25_0_2_node_19 | 0.4 | n |  | TRUE
18 | bus_LV_1630-25_0_2_node_20 | 0.4 | n |  | TRUE
19 | bus_LV_1630-25_0_2_node_26 | 0.4 | n |  | TRUE
20 | bus_LV_1630-25_0_2_node_29 | 0.4 | n |  | TRUE
21 | bus_LV_1630-25_0_2_node_21 | 0.4 | n |  | TRUE
22 | bus_LV_1630-25_0_2_node_22 | 0.4 | n |  | TRUE
23 | bus_LV_1630-25_0_2_node_25 | 0.4 | n |  | TRUE
24 | bus_LV_1630-25_0_2_node_39 | 0.4 | n |  | TRUE
25 | bus_LV_1630-25_0_2_node_28 | 0.4 | n |  | TRUE
26 | bus_LV_1630-25_0_2_node_100 | 0.4 | n |  | TRUE
27 | bus_LV_1630-25_0_2_node_34 | 0.4 | n |  | TRUE
28 | bus_LV_1630-25_0_2_node_30 | 0.4 | n |  | TRUE
29 | bus_LV_1630-25_0_2_node_40 | 0.4 | n |  | TRUE
30 | bus_LV_1630-25_0_2_node_35 | 0.4 | n |  | TRUE
31 | bus_LV_1630-25_0_2_node_33 | 0.4 | n |  | TRUE
32 | bus_LV_1630-25_0_2_node_77 | 0.4 | n |  | TRUE
33 | bus_LV_1630-25_0_2_node_78 | 0.4 | n |  | TRUE
34 | bus_LV_1630-25_0_2_node_105 | 0.4 | n |  | TRUE
35 | bus_LV_1630-25_0_2_node_101 | 0.4 | n |  | TRUE
36 | bus_LV_1630-25_0_2_node_102 | 0.4 | n |  | TRUE
37 | bus_LV_1630-25_0_2_node_103 | 0.4 | n |  | TRUE
38 | bus_LV_1630-25_0_2_node_104 | 0.4 | n |  | TRUE
39 | bus_LV_1630-25_0_2_node_106 | 0.4 | n |  | TRUE
40 | bus_MV_152_0_node_148 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1630-25_0_2_load_0 | 0 | 0.0032266 | 0.00080865 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1630-25_0_2_load_1 | 1 | 0.0093187 | 0.0023355 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1630-25_0_2_load_3 | 3 | 0.0031825 | 0.0007976 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1630-25_0_2_load_131 | 5 | 0.0032062 | 0.00080355 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1630-25_0_2_load_27 | 7 | 0.0027919 | 0.00069972 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1630-25_0_2_load_32 | 8 | 0.0037854 | 0.0009487 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1630-25_0_2_load_31 | 11 | 0.0075421 | 0.0018902 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1630-25_0_2_load_130 | 12 | 0.0068361 | 0.0017133 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1630-25_0_2_load_16 | 14 | 0.0029511 | 0.0007396 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1630-25_0_2_load_17 | 15 | 0.002326 | 0.00058296 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1630-25_0_2_load_18 | 16 | 0.003663 | 0.00091805 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1630-25_0_2_load_19 | 17 | 0.0052103 | 0.0013058 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1630-25_0_2_load_20 | 18 | 0.0035597 | 0.00089213 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1630-25_0_2_load_29 | 20 | 0.0033826 | 0.00084775 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1630-25_0_2_load_21 | 21 | 0.0011949 | 0.00029947 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1630-25_0_2_load_22 | 22 | 0.0011266 | 0.00028235 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1630-25_0_2_load_25 | 23 | 0.0039084 | 0.00097955 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1630-25_0_2_load_39 | 24 | 0.0050621 | 0.0012687 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1630-25_0_2_load_100 | 26 | 0.0017294 | 0.00043343 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1630-25_0_2_load_34 | 27 | 0.0051471 | 0.00129 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1630-25_0_2_load_30 | 28 | 0.0033213 | 0.0008324 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1630-25_0_2_load_40 | 29 | 0.0032052 | 0.00080329 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1630-25_0_2_load_33 | 31 | 0.0048398 | 0.001213 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1630-25_0_2_load_78 | 33 | 0.0072206 | 0.0018096 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1630-25_0_2_load_105 | 34 | 0.0026051 | 0.00065289 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1630-25_0_2_load_101 | 35 | 0.001577 | 0.00039524 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1630-25_0_2_load_104 | 38 | 0.0034164 | 0.00085622 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1630-25_0_2_load_106 | 39 | 0.0015893 | 0.00039832 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 30 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1630-25_0_2_line_0 |  | 0 | 1 | 0.012997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1630-25_0_2_line_1 |  | 0 | 2 | 0.021218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1630-25_0_2_line_2 |  | 1 | 3 | 0.010892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1630-25_0_2_line_3 |  | 2 | 4 | 0.044619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1630-25_0_2_line_4 |  | 4 | 5 | 0.060546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1630-25_0_2_line_5 |  | 4 | 6 | 0.044718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1630-25_0_2_line_6 |  | 6 | 7 | 0.02874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1630-25_0_2_line_7 |  | 6 | 8 | 0.0014572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1630-25_0_2_line_8 |  | 7 | 19 | 0.015021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1630-25_0_2_line_9 |  | 8 | 11 | 0.019224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1630-25_0_2_line_10 |  | 9 | 10 | 0.043846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1630-25_0_2_line_11 |  | 9 | 11 | 0.026736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1630-25_0_2_line_12 |  | 10 | 23 | 0.018323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1630-25_0_2_line_13 |  | 10 | 21 | 0.012068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1630-25_0_2_line_14 |  | 11 | 30 | 0.05858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1630-25_0_2_line_15 |  | 12 | 13 | 0.045912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1630-25_0_2_line_16 |  | 13 | 22 | 0.0070109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1630-25_0_2_line_17 |  | 14 | 15 | 0.025378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1630-25_0_2_line_18 |  | 14 | 16 | 0.0035255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1630-25_0_2_line_19 |  | 15 | 17 | 0.0066637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1630-25_0_2_line_20 |  | 16 | 18 | 0.021192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1630-25_0_2_line_21 |  | 17 | 19 | 0.0082605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1630-25_0_2_line_22 |  | 18 | 20 | 0.029207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1630-25_0_2_line_23 |  | 20 | 28 | 0.025975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1630-25_0_2_line_24 |  | 21 | 22 | 0.002895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1630-25_0_2_line_25 |  | 23 | 24 | 0.0056894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1630-25_0_2_line_26 |  | 25 | 26 | 0.005015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1630-25_0_2_line_27 |  | 25 | 27 | 0.047909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1630-25_0_2_line_28 |  | 26 | 35 | 0.028881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1630-25_0_2_line_29 |  | 27 | 31 | 0.027643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1630-25_0_2_line_30 |  | 28 | 29 | 0.023804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1630-25_0_2_line_31 |  | 30 | 31 | 0.015019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1630-25_0_2_line_32 |  | 32 | 33 | 0.01525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1630-25_0_2_line_33 |  | 32 | 34 | 0.27262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1630-25_0_2_line_34 |  | 34 | 39 | 0.0041787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1630-25_0_2_line_35 |  | 35 | 36 | 0.11123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1630-25_0_2_line_36 |  | 36 | 37 | 0.024601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1630-25_0_2_line_37 |  | 36 | 38 | 0.036435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1630-25_0_2_line_38 |  | 37 | 39 | 0.019157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1630-25_0_2_trafo_35 | 0.63 MVA 20/0.4 kV | 40 | 30 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13
0 | 2732018.7308 | 1219676.176 | 2732021.4053 | 1219677.0921 | 2732026.4755 | 1219679.8623 | 2732030.1938 | 1219682.2009
1 | 2732048.7806 | 1219692.0888 | 2732046.4068 | 1219691.647 | 2732042.6395 | 1219690.0288 | 2732030.1938 | 1219682.2009
2 | 2732008.0252 | 1219674.5491 | 2732008.0252 | 1219674.5491 | 2732012.7196 | 1219674.7533 | 2732016.7191 | 1219675.4869 | 2732018.7308 | 1219676.176
3 | 2732077.3036 | 1219677.2535 | 2732068.0597 | 1219673.0451 | 2732055.2027 | 1219671.9036 | 2732054.2071 | 1219672.6377 | 2732048.65 | 1219690.1065 | 2732048.7806 | 1219692.0888
4 | 2732077.3036 | 1219677.2535 | 2732079.3332 | 1219675.0745 | 2732081.1237 | 1219674.7806 | 2732093.7639 | 1219676.7958 | 2732101.753 | 1219676.317 | 2732116.0911 | 1219673.9998 | 2732117.4559 | 1219672.7068 | 2732118.472 | 1219670.3607 | 2732118.4984 | 1219667.8037 | 2732113.2624 | 1219661.2155 | 2732112.2965 | 1219656.1677
5 | 2732077.3036 | 1219677.2535 | 2732068.0597 | 1219673.0451 | 2732076.5637 | 1219660.9905 | 2732086.5163 | 1219643.8638
6 | 2732086.5163 | 1219643.8638 | 2732110.7984 | 1219641.9229 | 2732115.1394 | 1219641.3338
7 | 2732086.5163 | 1219643.8638 | 2732085.0593 | 1219643.8435
8 | 2732130.0243 | 1219639.3138 | 2732115.1394 | 1219641.3338
9 | 2732065.8368 | 1219643.5758 | 2732085.0593 | 1219643.8435
10 | 2731998.2501 | 1219640.2045 | 2732001.8511 | 1219641.4519 | 2732007.0788 | 1219642.2573 | 2732018.0678 | 1219642.7457 | 2732027.4828 | 1219643.6884 | 2732033.8933 | 1219645.2429 | 2732040.628 | 1219648.9507
11 | 2732040.628 | 1219648.9507 | 2732047.4346 | 1219644.2867 | 2732051.2706 | 1219643.4933 | 2732055.5459 | 1219643.4324 | 2732065.8368 | 1219643.5758
12 | 2731998.2501 | 1219640.2045 | 2732000.8826 | 1219638.2278 | 2732015.6238 | 1219635.2877
13 | 2731998.2501 | 1219640.2045 | 2731992.286 | 1219637.3478 | 2731987.3703 | 1219634.984
14 | 2732065.8368 | 1219643.5758 | 2732065.2003 | 1219584.9988
15 | 2731978.4429 | 1219630.6912 | 2731960.8373 | 1219588.2889
16 | 2731978.4429 | 1219630.6912 | 2731984.7613 | 1219633.7294
17 | 2732144.3197 | 1219635.0789 | 2732168.197 | 1219626.4829
18 | 2732171.5141 | 1219625.2887 | 2732168.197 | 1219626.4829
19 | 2732138.0204 | 1219637.2408 | 2732139.072 | 1219636.9681 | 2732144.3197 | 1219635.0789
20 | 2732191.2995 | 1219617.7026 | 2732177.7093 | 1219623.0584 | 2732171.5141 | 1219625.2887
21 | 2732130.0243 | 1219639.3138 | 2732138.0204 | 1219637.2408
22 | 2732191.2995 | 1219617.7026 | 2732218.4728 | 1219606.9939
23 | 2732218.4728 | 1219606.9939 | 2732230.9196 | 1219602.0887 | 2732242.6082 | 1219597.3943
24 | 2731984.7613 | 1219633.7294 | 2731987.3703 | 1219634.984
25 | 2732021.2033 | 1219634.1748 | 2732015.6238 | 1219635.2877
26 | 2732107.9605 | 1219518.7262 | 2732112.3278 | 1219516.2612
27 | 2732107.9605 | 1219518.7262 | 2732087.0919 | 1219561.8515
28 | 2732112.3278 | 1219516.2612 | 2732121.022 | 1219511.3542 | 2732127.3395 | 1219506.1568 | 2732131.5437 | 1219497.3317 | 2732132.1962 | 1219496.6522
29 | 2732065.3743 | 1219569.9806 | 2732065.416 | 1219566.3773 | 2732066.3436 | 1219563.9181 | 2732068.5622 | 1219562.1213 | 2732071.2351 | 1219561.747 | 2732087.0919 | 1219561.8515
30 | 2732265.8184 | 1219594.1681 | 2732260.2286 | 1219593.5991 | 2732252.5738 | 1219594.0629 | 2732245.8484 | 1219596.093 | 2732242.6082 | 1219597.3943
31 | 2732065.2003 | 1219584.9988 | 2732065.3743 | 1219569.9806
32 | 2731963.7192 | 1219258.9844 | 2731963.6704 | 1219261.1852 | 2731966.2601 | 1219267.9925 | 2731966.9836 | 1219273.7132
33 | 2732193.8491 | 1219424.8799 | 2731966.9836 | 1219273.7132
34 | 2732193.8491 | 1219424.8799 | 2732197.8401 | 1219423.6415
35 | 2732220.5793 | 1219439.1041 | 2732218.9799 | 1219442.4157 | 2732214.4409 | 1219448.5311 | 2732208.6653 | 1219461.7915 | 2732205.9397 | 1219465.2227 | 2732202.0954 | 1219467.7505 | 2732197.9069 | 1219469.37 | 2732190.8603 | 1219470.1254 | 2732185.2052 | 1219471.4677 | 2732173.1816 | 1219476.1937 | 2732165.1494 | 1219479.9741 | 2732149.1252 | 1219488.4589 | 2732135.3283 | 1219493.3902 | 2732132.1962 | 1219496.6522
36 | 2732220.5793 | 1219439.1041 | 2732219.9131 | 1219436.287 | 2732215.915 | 1219426.2567 | 2732214.5332 | 1219419.7652 | 2732214.992 | 1219415.5164
37 | 2732220.5793 | 1219439.1041 | 2732233.7488 | 1219443.2886 | 2732254.6883 | 1219452.0828
38 | 2732214.992 | 1219415.5164 | 2732206.6659 | 1219420.9027 | 2732197.8401 | 1219423.6415

## bus_geodata
| x | y | coords
0 | 2732030.1938 | 1219682.2009
1 | 2732018.7308 | 1219676.176
2 | 2732048.7806 | 1219692.0888
3 | 2732008.0252 | 1219674.5491
4 | 2732077.3036 | 1219677.2535
5 | 2732112.2965 | 1219656.1677
6 | 2732086.5163 | 1219643.8638
7 | 2732115.1394 | 1219641.3338
8 | 2732085.0593 | 1219643.8435
9 | 2732040.628 | 1219648.9507
10 | 2731998.2501 | 1219640.2045
11 | 2732065.8368 | 1219643.5758
12 | 2731960.8373 | 1219588.2889
13 | 2731978.4429 | 1219630.6912
14 | 2732168.197 | 1219626.4829
15 | 2732144.3197 | 1219635.0789
16 | 2732171.5141 | 1219625.2887
17 | 2732138.0204 | 1219637.2408
18 | 2732191.2995 | 1219617.7026
19 | 2732130.0243 | 1219639.3138
20 | 2732218.4728 | 1219606.9939
21 | 2731987.3703 | 1219634.984
22 | 2731984.7613 | 1219633.7294
23 | 2732015.6238 | 1219635.2877
24 | 2732021.2033 | 1219634.1748
25 | 2732107.9605 | 1219518.7262
26 | 2732112.3278 | 1219516.2612
27 | 2732087.0919 | 1219561.8515
28 | 2732242.6082 | 1219597.3943
29 | 2732265.8184 | 1219594.1681
30 | 2732065.2003 | 1219584.9988
31 | 2732065.3743 | 1219569.9806
32 | 2731966.9836 | 1219273.7132
33 | 2731963.7192 | 1219258.9844
34 | 2732193.8491 | 1219424.8799
35 | 2732132.1962 | 1219496.6522
36 | 2732220.5793 | 1219439.1041
37 | 2732214.992 | 1219415.5164
38 | 2732254.6883 | 1219452.0829
39 | 2732197.8401 | 1219423.6415
40 | 2732095.4246 | 1219580.4096

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99307 | -0.13327 | 0.0032266 | 0.00080865
1 | 0.99292 | -0.13614 | 0.0093187 | 0.0023355
2 | 0.99337 | -0.12738 | 0 | 0
3 | 0.99289 | -0.13676 | 0.0031825 | 0.0007976
4 | 0.99402 | -0.11499 | 0 | 0
5 | 0.99384 | -0.11841 | 0.0032062 | 0.00080355
6 | 0.99479 | -0.10006 | 0 | 0
7 | 0.99399 | -0.11547 | 0.0027919 | 0.00069972
8 | 0.99485 | -0.098793 | 0.0037854 | 0.0009487
9 | 0.99534 | -0.089343 | 0 | 0
10 | 0.99462 | -0.10334 | 0 | 0
11 | 0.99579 | -0.080818 | 0.0075421 | 0.0018902
12 | 0.99417 | -0.11207 | 0.0068361 | 0.0017133
13 | 0.99445 | -0.10654 | 0 | 0
14 | 0.9928 | -0.13847 | 0.0029511 | 0.0007396
15 | 0.99327 | -0.12946 | 0.002326 | 0.00058296
16 | 0.99275 | -0.13954 | 0.003663 | 0.00091805
17 | 0.9934 | -0.12682 | 0.0052103 | 0.0013058
18 | 0.99248 | -0.14459 | 0.0035597 | 0.00089213
19 | 0.99361 | -0.12279 | 0 | 0
20 | 0.99222 | -0.14971 | 0.0033826 | 0.00084775
21 | 0.99452 | -0.10529 | 0.0011949 | 0.00029947
22 | 0.9945 | -0.10569 | 0.0011266 | 0.00028235
23 | 0.99447 | -0.10624 | 0.0039084 | 0.00097955
24 | 0.99444 | -0.10674 | 0.0050621 | 0.0012687
25 | 0.99824 | -0.033816 | 0 | 0
26 | 0.99816 | -0.035408 | 0.0017294 | 0.00043343
27 | 0.99903 | -0.018614 | 0.0051471 | 0.00129
28 | 0.99207 | -0.15271 | 0.0033213 | 0.0008324
29 | 0.992 | -0.15406 | 0.0032052 | 0.00080329
30 | 1 | 0 | -0.10912 | -0.027132
31 | 0.99962 | -0.0073704 | 0.0048398 | 0.001213
32 | 0.99393 | -0.11686 | 0 | 0
33 | 0.99383 | -0.11881 | 0.0072206 | 0.0018096
34 | 0.99573 | -0.082174 | 0.0026051 | 0.00065289
35 | 0.99772 | -0.043711 | 0.001577 | 0.00039524
36 | 0.99622 | -0.072667 | 0 | 0
37 | 0.99596 | -0.077605 | 0 | 0
38 | 0.99611 | -0.074854 | 0.0034164 | 0.00085622
39 | 0.99577 | -0.081451 | 0.0015893 | 0.00039832
40 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.012503 | 0.0031339 | -0.012501 | -0.003133 | 1.7107e-06 | 9.2671e-07 | 0.018735 | 0.018735 | 0.018735 | 0.99307 | -0.13327 | 0.99292 | -0.13614 | 5.1469
1 | -0.01573 | -0.0039426 | 0.015734 | 0.0039451 | 4.4199e-06 | 2.5542e-06 | 0.023569 | 0.023569 | 0.023569 | 0.99307 | -0.13327 | 0.99337 | -0.12738 | 6.4751
2 | 0.0031825 | 0.00079752 | -0.0031825 | -0.0007976 | 9.2908e-08 | -8.1408e-08 | 0.0047694 | 0.0047695 | 0.0047695 | 0.99292 | -0.13614 | 0.99289 | -0.13676 | 1.3103
3 | -0.015734 | -0.0039451 | 0.015743 | 0.0039505 | 9.2948e-06 | 5.3707e-06 | 0.023569 | 0.023569 | 0.023569 | 0.99337 | -0.12738 | 0.99402 | -0.11499 | 6.4751
4 | 0.0032067 | 0.00080309 | -0.0032062 | -0.00080354 | 5.2318e-07 | -4.4987e-07 | 0.0048002 | 0.0048004 | 0.0048004 | 0.99402 | -0.11499 | 0.99384 | -0.11841 | 1.3188
5 | -0.01895 | -0.0047536 | 0.018963 | 0.0047617 | 1.3496e-05 | 8.0572e-06 | 0.028369 | 0.028369 | 0.028369 | 0.99402 | -0.11499 | 0.99479 | -0.10006 | 7.7937
6 | 0.030468 | 0.0076555 | -0.030445 | -0.0076415 | 2.2392e-05 | 1.3958e-05 | 0.045581 | 0.045581 | 0.045581 | 0.99479 | -0.10006 | 0.99399 | -0.11547 | 12.5222
7 | -0.049431 | -0.012417 | 0.049434 | 0.012419 | 2.9882e-06 | 1.8935e-06 | 0.07395 | 0.07395 | 0.07395 | 0.99479 | -0.10006 | 0.99485 | -0.098793 | 20.3158
8 | 0.027653 | 0.0069418 | -0.027644 | -0.0069358 | 9.6553e-06 | 5.9848e-06 | 0.041401 | 0.041401 | 0.041401 | 0.99399 | -0.11547 | 0.99361 | -0.12279 | 11.374
9 | -0.053219 | -0.013368 | 0.053265 | 0.013397 | 4.5691e-05 | 2.8993e-05 | 0.079611 | 0.079611 | 0.079611 | 0.99485 | -0.098793 | 0.99579 | -0.080818 | 21.8713
10 | 0.018145 | 0.0045522 | -0.018133 | -0.004545 | 1.21e-05 | 7.1746e-06 | 0.027127 | 0.027128 | 0.027128 | 0.99534 | -0.089343 | 0.99462 | -0.10334 | 7.4527
11 | -0.018145 | -0.0045522 | 0.018152 | 0.0045565 | 7.3781e-06 | 4.3743e-06 | 0.027127 | 0.027127 | 0.027127 | 0.99534 | -0.089343 | 0.99579 | -0.080818 | 7.4526
12 | 0.0089719 | 0.0022488 | -0.0089707 | -0.0022482 | 1.238e-06 | 5.5454e-07 | 0.013423 | 0.013423 | 0.013423 | 0.99462 | -0.10334 | 0.99447 | -0.10624 | 3.6876
13 | 0.0091606 | 0.0022962 | -0.0091598 | -0.0022958 | 8.4998e-07 | 3.8739e-07 | 0.013705 | 0.013705 | 0.013705 | 0.99462 | -0.10334 | 0.99452 | -0.10529 | 3.7651
14 | -0.078959 | -0.019843 | 0.079265 | 0.020038 | 0.00030592 | 0.00019503 | 0.11801 | 0.11801 | 0.11801 | 0.99579 | -0.080818 | 1 | 0 | 32.4201
15 | -0.0068361 | -0.0017133 | 0.0068379 | 0.0017138 | 1.8024e-06 | 5.5805e-07 | 0.010232 | 0.010232 | 0.010232 | 0.99417 | -0.11207 | 0.99445 | -0.10654 | 2.8109
16 | -0.0068379 | -0.0017138 | 0.0068381 | 0.0017139 | 2.7523e-07 | 8.5182e-08 | 0.010232 | 0.010232 | 0.010232 | 0.99445 | -0.10654 | 0.9945 | -0.10569 | 2.8109
17 | -0.02009 | -0.0050368 | 0.020099 | 0.005042 | 8.6291e-06 | 5.1943e-06 | 0.030112 | 0.030112 | 0.030112 | 0.9928 | -0.13847 | 0.99327 | -0.12946 | 8.2726
18 | 0.017139 | 0.0042972 | -0.017139 | -0.0042967 | 8.7248e-07 | 5.128e-07 | 0.025689 | 0.025689 | 0.025689 | 0.9928 | -0.13847 | 0.99275 | -0.13954 | 7.0575
19 | -0.022425 | -0.0056249 | 0.022428 | 0.0056267 | 2.8206e-06 | 1.7189e-06 | 0.033597 | 0.033597 | 0.033597 | 0.99327 | -0.12946 | 0.9934 | -0.12682 | 9.2299
20 | 0.013476 | 0.0033786 | -0.013472 | -0.0033768 | 3.2423e-06 | 1.8011e-06 | 0.020199 | 0.020199 | 0.020199 | 0.99275 | -0.13954 | 0.99248 | -0.14459 | 5.5491
21 | -0.027638 | -0.0069325 | 0.027644 | 0.0069358 | 5.3097e-06 | 3.2912e-06 | 0.041401 | 0.041401 | 0.041401 | 0.9934 | -0.12682 | 0.99361 | -0.12279 | 11.374
22 | 0.0099126 | 0.0024847 | -0.0099102 | -0.0024835 | 2.4192e-06 | 1.171e-06 | 0.014862 | 0.014862 | 0.014862 | 0.99248 | -0.14459 | 0.99222 | -0.14971 | 4.083
23 | 0.0065276 | 0.0016358 | -0.0065267 | -0.0016355 | 9.3344e-07 | 2.6197e-07 | 0.0097893 | 0.0097894 | 0.0097894 | 0.99222 | -0.14971 | 0.99207 | -0.15271 | 2.6894
24 | 0.0079649 | 0.0019963 | -0.0079647 | -0.0019963 | 1.5418e-07 | 6.1111e-08 | 0.011917 | 0.011917 | 0.011917 | 0.99452 | -0.10529 | 0.9945 | -0.10569 | 3.274
25 | 0.0050622 | 0.0012687 | -0.0050621 | -0.0012687 | 1.2241e-07 | 4.5264e-09 | 0.0075746 | 0.0075746 | 0.0075746 | 0.99447 | -0.10624 | 0.99444 | -0.10674 | 2.0809
26 | 0.018184 | 0.0045688 | -0.018183 | -0.004568 | 1.3822e-06 | 8.1904e-07 | 0.02711 | 0.02711 | 0.02711 | 0.99824 | -0.033816 | 0.99816 | -0.035408 | 7.4479
27 | -0.018184 | -0.0045688 | 0.018197 | 0.0045766 | 1.3204e-05 | 7.8239e-06 | 0.02711 | 0.02711 | 0.02711 | 0.99824 | -0.033816 | 0.99903 | -0.018614 | 7.4479
28 | 0.016453 | 0.0041345 | -0.016447 | -0.0041307 | 6.5181e-06 | 3.7942e-06 | 0.024532 | 0.024532 | 0.024532 | 0.99816 | -0.035408 | 0.99772 | -0.043711 | 6.7396
29 | -0.023345 | -0.0058666 | 0.023357 | 0.0058743 | 1.2537e-05 | 7.6613e-06 | 0.034776 | 0.034776 | 0.034776 | 0.99903 | -0.018614 | 0.99962 | -0.0073704 | 9.554
30 | 0.0032054 | 0.00080312 | -0.0032052 | -0.00080329 | 2.0634e-07 | -1.7528e-07 | 0.0048077 | 0.0048078 | 0.0048078 | 0.99207 | -0.15271 | 0.992 | -0.15406 | 1.3208
31 | 0.028207 | 0.0070934 | -0.028197 | -0.0070872 | 9.9261e-06 | 6.1557e-06 | 0.041981 | 0.041981 | 0.041981 | 1 | 0 | 0.99962 | -0.0073704 | 11.5332
32 | 0.0072212 | 0.0018099 | -0.0072206 | -0.0018096 | 6.6839e-07 | 2.3014e-07 | 0.010811 | 0.010811 | 0.010811 | 0.99393 | -0.11686 | 0.99383 | -0.11881 | 2.9701
33 | -0.0072212 | -0.0018099 | 0.0072332 | 0.001814 | 1.1947e-05 | 4.1064e-06 | 0.010811 | 0.01081 | 0.010811 | 0.99393 | -0.11686 | 0.99573 | -0.082174 | 2.97
34 | -0.0098382 | -0.0024669 | 0.0098386 | 0.002467 | 3.3873e-07 | 1.6243e-07 | 0.014703 | 0.014703 | 0.014703 | 0.99573 | -0.082174 | 0.99577 | -0.081451 | 4.0392
35 | 0.01487 | 0.0037355 | -0.014849 | -0.0037238 | 2.0521e-05 | 1.1683e-05 | 0.02218 | 0.022181 | 0.022181 | 0.99772 | -0.043711 | 0.99622 | -0.072667 | 6.0936
36 | 0.011433 | 0.0028678 | -0.01143 | -0.0028664 | 2.6905e-06 | 1.4017e-06 | 0.017077 | 0.017078 | 0.017078 | 0.99622 | -0.072667 | 0.99596 | -0.077605 | 4.6916
37 | 0.0034167 | 0.00085598 | -0.0034164 | -0.00085622 | 3.5585e-07 | -2.466e-07 | 0.0051033 | 0.0051035 | 0.0051035 | 0.99622 | -0.072667 | 0.99611 | -0.074854 | 1.4021
38 | 0.01143 | 0.0028664 | -0.011428 | -0.0028653 | 2.0952e-06 | 1.0917e-06 | 0.017078 | 0.017078 | 0.017078 | 0.99596 | -0.077605 | 0.99577 | -0.081451 | 4.6917

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -6.4999e-16 | 2.4266e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 7.2519e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.10912 | 0.027132

## res_load
| p_mw | q_mvar
0 | 0.0032266 | 0.00080865
1 | 0.0093187 | 0.0023355
2 | 0.0031825 | 0.0007976
3 | 0.0032062 | 0.00080355
4 | 0.0027919 | 0.00069972
5 | 0.0037854 | 0.0009487
6 | 0.0075421 | 0.0018902
7 | 0.0068361 | 0.0017133
8 | 0.0029511 | 0.0007396
9 | 0.002326 | 0.00058296
10 | 0.003663 | 0.00091805
11 | 0.0052103 | 0.0013058
12 | 0.0035597 | 0.00089213
13 | 0.0033826 | 0.00084775
14 | 0.0011949 | 0.00029947
15 | 0.0011266 | 0.00028235
16 | 0.0039084 | 0.00097955
17 | 0.0050621 | 0.0012687
18 | 0.0017294 | 0.00043343
19 | 0.0051471 | 0.00129
20 | 0.0033213 | 0.0008324
21 | 0.0032052 | 0.00080329
22 | 0.0048398 | 0.001213
23 | 0.0072206 | 0.0018096
24 | 0.0026051 | 0.00065289
25 | 0.001577 | 0.00039524
26 | 0.0034164 | 0.00085622
27 | 0.0015893 | 0.00039832

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1