## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1630-29_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1630-29_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1630-29_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1630-29_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1630-29_0_4_node_52 | 0.4 | n |  | TRUE
5 | bus_LV_1630-29_0_4_node_53 | 0.4 | n |  | TRUE
6 | bus_LV_1630-29_0_4_node_34 | 0.4 | n |  | TRUE
7 | bus_LV_1630-29_0_4_node_15 | 0.4 | n |  | TRUE
8 | bus_LV_1630-29_0_4_node_41 | 0.4 | n |  | TRUE
9 | bus_LV_1630-29_0_4_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_1630-29_0_4_node_13 | 0.4 | n |  | TRUE
11 | bus_LV_1630-29_0_4_node_17 | 0.4 | n |  | TRUE
12 | bus_LV_1630-29_0_4_node_18 | 0.4 | n |  | TRUE
13 | bus_LV_1630-29_0_4_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_1630-29_0_4_node_4 | 0.4 | n |  | TRUE
15 | bus_LV_1630-29_0_4_node_28 | 0.4 | n |  | TRUE
16 | bus_LV_1630-29_0_4_node_42 | 0.4 | n |  | TRUE
17 | bus_LV_1630-29_0_4_node_40 | 0.4 | n |  | TRUE
18 | bus_LV_1630-29_0_4_node_22 | 0.4 | n |  | TRUE
19 | bus_LV_1630-29_0_4_node_9 | 0.4 | n |  | TRUE
20 | bus_LV_1630-29_0_4_node_32 | 0.4 | n |  | TRUE
21 | bus_LV_1630-29_0_4_node_10 | 0.4 | n |  | TRUE
22 | bus_LV_1630-29_0_4_node_33 | 0.4 | n |  | TRUE
23 | bus_LV_1630-29_0_4_node_5 | 0.4 | n |  | TRUE
24 | bus_LV_1630-29_0_4_node_6 | 0.4 | n |  | TRUE
25 | bus_LV_1630-29_0_4_node_7 | 0.4 | n |  | TRUE
26 | bus_LV_1630-29_0_4_node_51 | 0.4 | n |  | TRUE
27 | bus_LV_1630-29_0_4_node_16 | 0.4 | n |  | TRUE
28 | bus_LV_1630-29_0_4_node_12 | 0.4 | n |  | TRUE
29 | bus_LV_1630-29_0_4_node_50 | 0.4 | n |  | TRUE
30 | bus_LV_1630-29_0_4_node_46 | 0.4 | n |  | TRUE
31 | bus_LV_1630-29_0_4_node_44 | 0.4 | n |  | TRUE
32 | bus_LV_1630-29_0_4_node_43 | 0.4 | n |  | TRUE
33 | bus_LV_1630-29_0_4_node_14 | 0.4 | n |  | TRUE
34 | bus_LV_1630-29_0_4_node_31 | 0.4 | n |  | TRUE
35 | bus_LV_1630-29_0_4_node_37 | 0.4 | n |  | TRUE
36 | bus_LV_1630-29_0_4_node_36 | 0.4 | n |  | TRUE
37 | bus_LV_1630-29_0_4_node_49 | 0.4 | n |  | TRUE
38 | bus_LV_1630-29_0_4_node_45 | 0.4 | n |  | TRUE
39 | bus_LV_1630-29_0_4_node_19 | 0.4 | n |  | TRUE
40 | bus_LV_1630-29_0_4_node_20 | 0.4 | n |  | TRUE
41 | bus_LV_1630-29_0_4_node_21 | 0.4 | n |  | TRUE
42 | bus_LV_1630-29_0_4_node_23 | 0.4 | n |  | TRUE
43 | bus_LV_1630-29_0_4_node_24 | 0.4 | n |  | TRUE
44 | bus_LV_1630-29_0_4_node_56 | 0.4 | n |  | TRUE
45 | bus_LV_1630-29_0_4_node_55 | 0.4 | n |  | TRUE
46 | bus_LV_1630-29_0_4_node_30 | 0.4 | n |  | TRUE
47 | bus_LV_1630-29_0_4_node_25 | 0.4 | n |  | TRUE
48 | bus_LV_1630-29_0_4_node_26 | 0.4 | n |  | TRUE
49 | bus_LV_1630-29_0_4_node_27 | 0.4 | n |  | TRUE
50 | bus_LV_1630-29_0_4_node_29 | 0.4 | n |  | TRUE
51 | bus_LV_1630-29_0_4_node_35 | 0.4 | n |  | TRUE
52 | bus_LV_1630-29_0_4_node_54 | 0.4 | n |  | TRUE
53 | bus_LV_1630-29_0_4_node_38 | 0.4 | n |  | TRUE
54 | bus_LV_1630-29_0_4_node_47 | 0.4 | n |  | TRUE
55 | bus_MV_152_0_node_141 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1630-29_0_4_load_0 | 0 | 0.0010277 | 0.00025757 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1630-29_0_4_load_1 | 1 | 0.00087122 | 0.00021835 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1630-29_0_4_load_2 | 2 | 0.0012797 | 0.00032072 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1630-29_0_4_load_3 | 3 | 0.001226 | 0.00030725 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1630-29_0_4_load_53 | 5 | 0.0020288 | 0.00050847 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1630-29_0_4_load_41 | 8 | 0.0040333 | 0.0010108 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1630-29_0_4_load_17 | 11 | 0.00088611 | 0.00022208 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1630-29_0_4_load_18 | 12 | 0.0014345 | 0.00035951 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1630-29_0_4_load_28 | 15 | 0.0043953 | 0.0011016 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1630-29_0_4_load_42 | 16 | 0.00089096 | 0.00022329 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1630-29_0_4_load_40 | 17 | 0.0010615 | 0.00026604 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1630-29_0_4_load_22 | 18 | 0.0072447 | 0.0018157 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1630-29_0_4_load_9 | 19 | 0.0017653 | 0.00044243 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1630-29_0_4_load_32 | 20 | 0.0018354 | 0.00046 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1630-29_0_4_load_10 | 21 | 0.0030745 | 0.00077055 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1630-29_0_4_load_5 | 23 | 0.0033106 | 0.00082971 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1630-29_0_4_load_7 | 25 | 0.0036356 | 0.00091116 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1630-29_0_4_load_51 | 26 | 0.015969 | 0.0040021 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1630-29_0_4_load_12 | 28 | 0.0092321 | 0.0023138 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1630-29_0_4_load_50 | 29 | 0.0018927 | 0.00047435 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1630-29_0_4_load_44 | 31 | 0.0043603 | 0.0010928 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1630-29_0_4_load_43 | 32 | 0.0037875 | 0.00094924 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1630-29_0_4_load_14 | 33 | 0.0012795 | 0.00032067 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1630-29_0_4_load_36 | 36 | 0.0023939 | 0.00059996 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1630-29_0_4_load_49 | 37 | 0.0013928 | 0.00034906 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1630-29_0_4_load_19 | 39 | 0.0080524 | 0.0020181 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1630-29_0_4_load_20 | 40 | 0.0033186 | 0.00083173 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1630-29_0_4_load_23 | 42 | 0.004254 | 0.0010662 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1630-29_0_4_load_56 | 44 | 0.0010884 | 0.00027277 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1630-29_0_4_load_55 | 45 | 0.0084991 | 0.0021301 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1630-29_0_4_load_30 | 46 | 0.00943 | 0.0023634 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1630-29_0_4_load_25 | 47 | 0.0048376 | 0.0012124 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1630-29_0_4_load_26 | 48 | 0.0072952 | 0.0018283 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1630-29_0_4_load_27 | 49 | 0.0051142 | 0.0012818 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1630-29_0_4_load_29 | 50 | 0.0071858 | 0.0018009 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1630-29_0_4_load_54 | 52 | 0.0017506 | 0.00043873 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1630-29_0_4_load_38 | 53 | 0.0014345 | 0.00035952 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1630-29_0_4_load_47 | 54 | 0.0031086 | 0.00077908 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 7 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1630-29_0_4_line_0 |  | 0 | 1 | 0.10804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1630-29_0_4_line_1 |  | 0 | 2 | 0.24294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1630-29_0_4_line_2 |  | 2 | 3 | 0.013881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1630-29_0_4_line_3 |  | 3 | 14 | 0.16576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1630-29_0_4_line_4 |  | 4 | 5 | 0.028034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1630-29_0_4_line_5 |  | 4 | 6 | 0.018959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1630-29_0_4_line_6 |  | 6 | 52 | 0.024723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1630-29_0_4_line_7 |  | 6 | 22 | 0.031319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1630-29_0_4_line_8 |  | 7 | 8 | 0.088324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
9 | LV_1630-29_0_4_line_9 |  | 7 | 9 | 0.066906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1630-29_0_4_line_10 |  | 7 | 10 | 0.13769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1630-29_0_4_line_11 |  | 8 | 34 | 0.01293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1630-29_0_4_line_12 |  | 9 | 26 | 0.006375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1630-29_0_4_line_13 |  | 9 | 24 | 0.025259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1630-29_0_4_line_14 |  | 10 | 27 | 0.16812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1630-29_0_4_line_15 |  | 10 | 28 | 0.031103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1630-29_0_4_line_16 |  | 11 | 12 | 0.018357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1630-29_0_4_line_17 |  | 11 | 13 | 0.01447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1630-29_0_4_line_18 |  | 12 | 31 | 0.18036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1630-29_0_4_line_19 |  | 13 | 21 | 0.080856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1630-29_0_4_line_20 |  | 14 | 19 | 0.048232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1630-29_0_4_line_21 |  | 14 | 20 | 0.1068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1630-29_0_4_line_22 |  | 15 | 16 | 0.33171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1630-29_0_4_line_23 |  | 15 | 17 | 0.17028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1630-29_0_4_line_24 |  | 15 | 18 | 0.048001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1630-29_0_4_line_25 |  | 17 | 35 | 0.021637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1630-29_0_4_line_26 |  | 18 | 40 | 0.035422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1630-29_0_4_line_27 |  | 19 | 21 | 0.031089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1630-29_0_4_line_28 |  | 20 | 22 | 0.0078453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1630-29_0_4_line_29 |  | 22 | 51 | 0.087394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1630-29_0_4_line_30 |  | 23 | 24 | 0.0091844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1630-29_0_4_line_31 |  | 23 | 25 | 0.0070887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1630-29_0_4_line_32 |  | 27 | 29 | 0.009415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1630-29_0_4_line_33 |  | 27 | 30 | 0.028224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1630-29_0_4_line_34 |  | 28 | 33 | 0.087545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1630-29_0_4_line_35 |  | 30 | 37 | 0.010861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1630-29_0_4_line_36 |  | 30 | 38 | 0.007609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1630-29_0_4_line_37 |  | 31 | 32 | 0.0095156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1630-29_0_4_line_38 |  | 34 | 46 | 0.04313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1630-29_0_4_line_39 |  | 34 | 42 | 0.065803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1630-29_0_4_line_40 |  | 35 | 36 | 0.055712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1630-29_0_4_line_41 |  | 36 | 51 | 0.013799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1630-29_0_4_line_42 |  | 38 | 54 | 0.041295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1630-29_0_4_line_43 |  | 39 | 40 | 0.0066699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1630-29_0_4_line_44 |  | 39 | 41 | 0.018432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1630-29_0_4_line_45 |  | 41 | 42 | 0.0077001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1630-29_0_4_line_46 |  | 41 | 43 | 0.032829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1630-29_0_4_line_47 |  | 43 | 44 | 0.23906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1630-29_0_4_line_48 |  | 43 | 45 | 0.022082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1630-29_0_4_line_49 |  | 46 | 50 | 0.012868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1630-29_0_4_line_50 |  | 47 | 48 | 0.002833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1630-29_0_4_line_51 |  | 48 | 49 | 0.014145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1630-29_0_4_line_52 |  | 49 | 50 | 0.015952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1630-29_0_4_line_53 |  | 51 | 53 | 0.002912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1630-29_0_4_trafo_15 | 0.63 MVA 20/0.4 kV | 55 | 7 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20
0 | 2729050.8915 | 1219792.8515 | 2729054.0143 | 1219792.0185 | 2729071.0717 | 1219787.4399 | 2729077.052 | 1219786.8023 | 2729086.2356 | 1219787.5685 | 2729094.3981 | 1219788.5128 | 2729100.4272 | 1219788.0765 | 2729104.7721 | 1219786.8919 | 2729116.5072 | 1219781.6643 | 2729120.8069 | 1219780.4676 | 2729126.4783 | 1219779.7233 | 2729132.5329 | 1219780.2105 | 2729155.0565 | 1219784.0018 | 2729156.2649 | 1219783.9729
1 | 2729252.5446 | 1220007.0217 | 2729156.2649 | 1219783.9729
2 | 2729242.0582 | 1220016.1161 | 2729252.5446 | 1220007.0217
3 | 2729116.7624 | 1220121.9327 | 2729123.1356 | 1220115.0653 | 2729128.2026 | 1220108.2252 | 2729130.4706 | 1220105.8502 | 2729137.2686 | 1220101.0938 | 2729148.417 | 1220090.349 | 2729152.4434 | 1220084.2425 | 2729156.4974 | 1220079.3153 | 2729166.8137 | 1220067.0402 | 2729172.2747 | 1220061.9879 | 2729175.9497 | 1220059.4878 | 2729184.6726 | 1220053.4832 | 2729217.9734 | 1220032.8111 | 2729230.2867 | 1220025.7614 | 2729234.6764 | 1220022.5096 | 2729239.5268 | 1220018.3114 | 2729242.0582 | 1220016.1161
4 | 2729215.2977 | 1220180.5388 | 2729226.9339 | 1220206.0562
5 | 2729215.2977 | 1220180.5388 | 2729208.4264 | 1220189.0188 | 2729202.7237 | 1220194.7219
6 | 2729202.7237 | 1220194.7219 | 2729213.9957 | 1220216.7397
7 | 2729202.7237 | 1220194.7219 | 2729180.5564 | 1220216.9035
8 | 2728936.3581 | 1220443.2729 | 2728954.4133 | 1220454.9064 | 2728961.5545 | 1220460.2098 | 2728966.4577 | 1220465.4646 | 2728971.3158 | 1220472.7979 | 2728979.0522 | 1220489.5122 | 2728982.8055 | 1220495.287 | 2728988.1974 | 1220500.7527 | 2728993.9727 | 1220507.6338
9 | 2728936.3581 | 1220443.2729 | 2728931.2538 | 1220440.2933 | 2728930.5497 | 1220446.5164 | 2728931.7847 | 1220453.6267 | 2728932.2328 | 1220460.6198 | 2728929.5194 | 1220471.303 | 2728929.4282 | 1220475.5155 | 2728930.214 | 1220480.2363 | 2728932.4031 | 1220484.6428 | 2728941.6806 | 1220497.1426
10 | 2728842.5808 | 1220477.0153 | 2728844.1564 | 1220474.0025 | 2728849.7807 | 1220464.183 | 2728851.7174 | 1220459.9214 | 2728857.3565 | 1220443.8082 | 2728865.7911 | 1220426.8881 | 2728868.0108 | 1220418.3182 | 2728898.6783 | 1220424.8203 | 2728907.708 | 1220427.7403 | 2728916.12 | 1220431.492 | 2728931.2538 | 1220440.2933 | 2728936.3581 | 1220443.2729
11 | 2729002.285 | 1220517.5379 | 2728993.9727 | 1220507.6338
12 | 2728941.6806 | 1220497.1426 | 2728938.3746 | 1220502.5977
13 | 2728941.6806 | 1220497.1426 | 2728951.4888 | 1220509.665 | 2728953.8514 | 1220514.1198 | 2728954.335 | 1220518.4226
14 | 2728765.2198 | 1220404.5508 | 2728773.2095 | 1220405.0239 | 2728823.931 | 1220409.7355 | 2728838.4479 | 1220411.6288 | 2728868.0108 | 1220418.3182 | 2728865.7911 | 1220426.8881 | 2728857.3565 | 1220443.8082 | 2728851.7174 | 1220459.9214 | 2728849.7807 | 1220464.183 | 2728844.1564 | 1220474.0025 | 2728842.5808 | 1220477.0153
15 | 2728842.5808 | 1220477.0153 | 2728839.0441 | 1220478.4066 | 2728836.0973 | 1220478.8432 | 2728828.3667 | 1220477.9753 | 2728826.0735 | 1220478.3705 | 2728823.5614 | 1220479.7617 | 2728820.5849 | 1220486.4805 | 2728819.4545 | 1220490.3147
16 | 2728967.408 | 1220029.9677 | 2728985.41 | 1220033.5594
17 | 2728999.3636 | 1220037.3656 | 2728987.7918 | 1220034.0346 | 2728985.41 | 1220033.5594
18 | 2728903.1247 | 1220198.4787 | 2728967.408 | 1220029.9677
19 | 2728999.3636 | 1220037.3656 | 2729012.987 | 1220041.2971 | 2729026.1623 | 1220046.6423 | 2729035.5963 | 1220050.194 | 2729060.3745 | 1220056.3802 | 2729076.9337 | 1220059.4401
20 | 2729116.7624 | 1220121.9327 | 2729117.0626 | 1220118.5921 | 2729116.7746 | 1220115.0719 | 2729115.7482 | 1220111.3022 | 2729108.0687 | 1220094.7557 | 2729097.1944 | 1220078.9347
21 | 2729177.8241 | 1220209.5494 | 2729116.7624 | 1220121.9327
22 | 2729067.4271 | 1220500.3275 | 2729397.8205 | 1220529.8396
23 | 2729067.4271 | 1220500.3275 | 2729075.6586 | 1220330.2431
24 | 2729034.3212 | 1220534.0221 | 2729037.776 | 1220528.3821 | 2729040.9776 | 1220522.847 | 2729050.3478 | 1220512.1525 | 2729067.4271 | 1220500.3275
25 | 2729061.6719 | 1220315.0945 | 2729065.3719 | 1220323.6816 | 2729067.2137 | 1220325.5564 | 2729075.6586 | 1220330.2431
26 | 2729017.6338 | 1220565.133 | 2729019.0988 | 1220560.5145 | 2729023.9748 | 1220550.9124 | 2729034.3212 | 1220534.0221
27 | 2729076.9337 | 1220059.4401 | 2729082.8739 | 1220060.5377 | 2729087.6449 | 1220062.0979 | 2729090.5286 | 1220063.8841 | 2729092.8274 | 1220067.4367 | 2729094.476 | 1220073.6664 | 2729095.8097 | 1220076.9201 | 2729097.1944 | 1220078.9347
28 | 2729180.5564 | 1220216.9035 | 2729177.8241 | 1220209.5494
29 | 2729118.7956 | 1220278.7365 | 2729132.5844 | 1220264.8687 | 2729176.0486 | 1220221.4094 | 2729180.5564 | 1220216.9035
30 | 2728954.335 | 1220518.4226 | 2728957.3988 | 1220527.0809
31 | 2728959.7634 | 1220533.7636 | 2728957.3988 | 1220527.0809
32 | 2728764.0234 | 1220413.888 | 2728765.2198 | 1220404.5508
33 | 2728737.283 | 1220408.995 | 2728744.2836 | 1220408.179 | 2728756.6017 | 1220405.7544 | 2728765.2198 | 1220404.5508
34 | 2728742.1221 | 1220512.3161 | 2728786.3597 | 1220513.5734 | 2728792.7215 | 1220513.5109 | 2728798.6592 | 1220512.3495 | 2728802.9657 | 1220510.808 | 2728819.4545 | 1220490.3147
35 | 2728737.283 | 1220408.995 | 2728737.4657 | 1220419.8521
36 | 2728737.283 | 1220408.995 | 2728731.9187 | 1220407.8559 | 2728729.9405 | 1220407.0236
37 | 2728903.1247 | 1220198.4787 | 2728903.2391 | 1220202.6623 | 2728900.6006 | 1220207.2938
38 | 2729002.285 | 1220517.5379 | 2729004.6644 | 1220531.7231 | 2729005.0154 | 1220536.1899 | 2729003.9665 | 1220541.1601 | 2728998.7334 | 1220553.2342 | 2728995.5516 | 1220558.3528
39 | 2729002.285 | 1220517.5379 | 2729011.4392 | 1220528.0113 | 2729014.0942 | 1220532.2834 | 2729015.241 | 1220536.1002 | 2729015.49 | 1220540.0198 | 2729014.4796 | 1220544.9686 | 2729008.4682 | 1220578.3305
40 | 2729061.6719 | 1220315.0945 | 2729070.8337 | 1220313.6808 | 2729079.218 | 1220311.0159 | 2729087.0124 | 1220307.2039 | 2729093.8929 | 1220302.4826 | 2729101.8321 | 1220295.4934 | 2729108.9785 | 1220288.434
41 | 2729118.7956 | 1220278.7365 | 2729108.9785 | 1220288.434
42 | 2728710.5258 | 1220443.4889 | 2728717.0068 | 1220430.8966 | 2728729.9405 | 1220407.0236
43 | 2729015.643 | 1220571.4987 | 2729016.3208 | 1220569.2725 | 2729017.6338 | 1220565.133
44 | 2729007.1027 | 1220585.9085 | 2729010.0072 | 1220585.6712 | 2729011.3193 | 1220584.6655 | 2729013.0112 | 1220580.1429 | 2729015.643 | 1220571.4987
45 | 2729007.1027 | 1220585.9085 | 2729008.4682 | 1220578.3305
46 | 2728999.0845 | 1220611.6223 | 2728995.2536 | 1220608.3811 | 2728994.8024 | 1220606.4364 | 2728994.5814 | 1220602.9733 | 2728996.4586 | 1220598.6549 | 2729006.1025 | 1220591.4357 | 2729007.1027 | 1220585.9085
47 | 2728999.0845 | 1220611.6223 | 2728995.6196 | 1220616.7069 | 2728992.2659 | 1220620.1592 | 2728989.4176 | 1220623.4113 | 2728986.2555 | 1220624.6772 | 2728967.8135 | 1220629.8709 | 2728965.025 | 1220632.1123 | 2728958.0009 | 1220638.5766 | 2728952.1538 | 1220641.8638 | 2728932.9012 | 1220652.2442 | 2728913.5345 | 1220660.8876 | 2728901.819 | 1220664.9484 | 2728875.699 | 1220670.3654 | 2728856.7122 | 1220673.3904 | 2728848.541 | 1220672.9021 | 2728830.2499 | 1220669.3814 | 2728811.6881 | 1220667.8454 | 2728806.8622 | 1220668.1412 | 2728800.9805 | 1220670.2268 | 2728795.93 | 1220670.7291 | 2728777.0453 | 1220668.6858
48 | 2729018.5585 | 1220608.1968 | 2729013.5981 | 1220612.5929 | 2729006.1021 | 1220614.5655 | 2729001.8052 | 1220613.5605 | 2728999.0845 | 1220611.6223
49 | 2728986.1586 | 1220567.0617 | 2728988.9907 | 1220565.0105 | 2728995.0844 | 1220559.1044 | 2728995.5516 | 1220558.3528
50 | 2728956.2283 | 1220580.4277 | 2728958.8858 | 1220579.4461
51 | 2728972.1542 | 1220574.5451 | 2728958.8858 | 1220579.4461
52 | 2728972.1542 | 1220574.5451 | 2728974.5494 | 1220573.6603 | 2728982.2822 | 1220569.8692 | 2728986.1586 | 1220567.0617
53 | 2729118.7956 | 1220278.7365 | 2729120.9464 | 1220280.7069

## bus_geodata
| x | y | coords
0 | 2729156.2649 | 1219783.9729
1 | 2729050.8915 | 1219792.8515
2 | 2729252.5446 | 1220007.0217
3 | 2729242.0582 | 1220016.1161
4 | 2729215.2977 | 1220180.5388
5 | 2729226.9339 | 1220206.0562
6 | 2729202.7237 | 1220194.7219
7 | 2728936.3581 | 1220443.2729
8 | 2728993.9727 | 1220507.6338
9 | 2728941.6806 | 1220497.1426
10 | 2728842.5808 | 1220477.0153
11 | 2728985.41 | 1220033.5594
12 | 2728967.408 | 1220029.9677
13 | 2728999.3636 | 1220037.3656
14 | 2729116.7624 | 1220121.9327
15 | 2729067.4271 | 1220500.3275
16 | 2729397.8205 | 1220529.8396
17 | 2729075.6586 | 1220330.2431
18 | 2729034.3212 | 1220534.0221
19 | 2729097.1944 | 1220078.9347
20 | 2729177.8241 | 1220209.5494
21 | 2729076.9337 | 1220059.4401
22 | 2729180.5564 | 1220216.9035
23 | 2728957.3988 | 1220527.0809
24 | 2728954.335 | 1220518.4226
25 | 2728959.7634 | 1220533.7636
26 | 2728938.3746 | 1220502.5977
27 | 2728765.2198 | 1220404.5508
28 | 2728819.4545 | 1220490.3147
29 | 2728764.0234 | 1220413.888
30 | 2728737.283 | 1220408.995
31 | 2728903.1247 | 1220198.4787
32 | 2728900.6006 | 1220207.2938
33 | 2728742.1221 | 1220512.3161
34 | 2729002.285 | 1220517.5379
35 | 2729061.6719 | 1220315.0945
36 | 2729108.9785 | 1220288.434
37 | 2728737.4657 | 1220419.8521
38 | 2728729.9405 | 1220407.0236
39 | 2729015.643 | 1220571.4987
40 | 2729017.6338 | 1220565.133
41 | 2729007.1027 | 1220585.9085
42 | 2729008.4682 | 1220578.3305
43 | 2728999.0845 | 1220611.6223
44 | 2728777.0453 | 1220668.6858
45 | 2729018.5585 | 1220608.1968
46 | 2728995.5516 | 1220558.3528
47 | 2728956.2283 | 1220580.4277
48 | 2728958.8858 | 1220579.4461
49 | 2728972.1542 | 1220574.5451
50 | 2728986.1586 | 1220567.0617
51 | 2729118.7956 | 1220278.7365
52 | 2729213.9957 | 1220216.7397
53 | 2729120.9464 | 1220280.7069
54 | 2728710.5258 | 1220443.4889
55 | 2728931.2538 | 1220440.2933

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97313 | -0.51955 | 0.0010277 | 0.00025757
1 | 0.97304 | -0.52128 | 0.00087122 | 0.00021835
2 | 0.97356 | -0.51103 | 0.0012797 | 0.00032072
3 | 0.9736 | -0.51021 | 0.001226 | 0.00030725
4 | 0.97625 | -0.45789 | 0 | 0
5 | 0.9762 | -0.45893 | 0.0020288 | 0.00050847
6 | 0.97629 | -0.45718 | 0 | 0
7 | 1 | 0 | -0.14879 | -0.037403
8 | 0.9957 | -0.081894 | 0.0040333 | 0.0010108
9 | 0.99861 | -0.026762 | 0 | 0
10 | 0.99788 | -0.040695 | 0 | 0
11 | 0.97227 | -0.53648 | 0.00088611 | 0.00022208
12 | 0.9721 | -0.53972 | 0.0014345 | 0.00035951
13 | 0.97241 | -0.53368 | 0 | 0
14 | 0.97428 | -0.49675 | 0 | 0
15 | 0.9857 | -0.27396 | 0.0043953 | 0.0011016
16 | 0.98543 | -0.27929 | 0.00089096 | 0.00022329
17 | 0.98091 | -0.36685 | 0.0010615 | 0.00026604
18 | 0.98728 | -0.24338 | 0.0072447 | 0.0018157
19 | 0.97359 | -0.51033 | 0.0017653 | 0.00044243
20 | 0.97624 | -0.45811 | 0.0018354 | 0.00046
21 | 0.9732 | -0.51808 | 0.0030745 | 0.00077055
22 | 0.9764 | -0.45502 | 0 | 0
23 | 0.99839 | -0.030945 | 0.0033106 | 0.00082971
24 | 0.99845 | -0.029829 | 0 | 0
25 | 0.99837 | -0.031396 | 0.0036356 | 0.00091116
26 | 0.99852 | -0.028541 | 0.015969 | 0.0040021
27 | 0.99691 | -0.059547 | 0 | 0
28 | 0.99759 | -0.046421 | 0.0092321 | 0.0023138
29 | 0.99689 | -0.059859 | 0.0018927 | 0.00047435
30 | 0.99679 | -0.061776 | 0 | 0
31 | 0.97073 | -0.56688 | 0.0043603 | 0.0010928
32 | 0.9707 | -0.56754 | 0.0037875 | 0.00094924
33 | 0.99749 | -0.048385 | 0.0012795 | 0.00032067
34 | 0.99448 | -0.10509 | 0 | 0
35 | 0.98032 | -0.3783 | 0 | 0
36 | 0.97881 | -0.40785 | 0.0023939 | 0.00059996
37 | 0.99678 | -0.062042 | 0.0013928 | 0.00034906
38 | 0.99677 | -0.062191 | 0 | 0
39 | 0.98897 | -0.21082 | 0.0080524 | 0.0020181
40 | 0.98869 | -0.21631 | 0.0033186 | 0.00083173
41 | 0.9899 | -0.19304 | 0 | 0
42 | 0.99035 | -0.18431 | 0.004254 | 0.0010662
43 | 0.98961 | -0.19865 | 0 | 0
44 | 0.98937 | -0.2033 | 0.0010884 | 0.00027277
45 | 0.98944 | -0.20199 | 0.0084991 | 0.0021301
46 | 0.99315 | -0.13086 | 0.00943 | 0.0023634
47 | 0.99244 | -0.14456 | 0.0048376 | 0.0012124
48 | 0.99246 | -0.14432 | 0.0072952 | 0.0018283
49 | 0.99261 | -0.14128 | 0.0051142 | 0.0012818
50 | 0.99286 | -0.13642 | 0.0071858 | 0.0018009
51 | 0.97846 | -0.41458 | 0 | 0
52 | 0.97625 | -0.45798 | 0.0017506 | 0.00043873
53 | 0.97846 | -0.41465 | 0.0014345 | 0.00035952
54 | 0.99665 | -0.064444 | 0.0031086 | 0.00077908
55 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.00087129 | 0.00021705 | -0.00087122 | -0.00021835 | 7.1891e-08 | -1.2961e-06 | 0.0013318 | 0.0013323 | 0.0013323 | 0.97313 | -0.51955 | 0.97304 | -0.52128 | 0.36602
1 | -0.001899 | -0.00047463 | 0.0018998 | 0.0004721 | 7.6765e-07 | -2.5283e-06 | 0.0029033 | 0.0029023 | 0.0029033 | 0.97313 | -0.51955 | 0.97356 | -0.51103 | 0.79762
2 | -0.0031795 | -0.00079282 | 0.0031796 | 0.00079273 | 1.2285e-07 | -9.3984e-08 | 0.0048582 | 0.0048581 | 0.0048582 | 0.97356 | -0.51103 | 0.9736 | -0.51021 | 1.3347
3 | -0.0044056 | -0.0011 | 0.0044084 | 0.0010997 | 2.8167e-06 | -2.6015e-07 | 0.0067318 | 0.0067311 | 0.0067318 | 0.9736 | -0.51021 | 0.97428 | -0.49675 | 1.8494
4 | 0.0020289 | 0.00050818 | -0.0020288 | -0.00050847 | 1.0053e-07 | -2.8617e-07 | 0.0030924 | 0.0030925 | 0.0030925 | 0.97625 | -0.45789 | 0.9762 | -0.45893 | 0.84959
5 | -0.0020289 | -0.00050818 | 0.002029 | 0.00050799 | 6.7986e-08 | -1.9355e-07 | 0.0030924 | 0.0030923 | 0.0030924 | 0.97625 | -0.45789 | 0.97629 | -0.45718 | 0.84955
6 | 0.0017506 | 0.00043847 | -0.0017506 | -0.00043873 | 6.6004e-08 | -2.6689e-07 | 0.0026681 | 0.0026682 | 0.0026682 | 0.97629 | -0.45718 | 0.97625 | -0.45798 | 0.73304
7 | -0.0037796 | -0.00094645 | 0.00378 | 0.00094631 | 3.8971e-07 | -1.4226e-07 | 0.0057604 | 0.0057603 | 0.0057604 | 0.97629 | -0.45718 | 0.9764 | -0.45502 | 1.5825
8 | 0.10724 | 0.027383 | -0.10682 | -0.027115 | 0.00042266 | 0.0002682 | 0.15976 | 0.15976 | 0.15976 | 1 | 0 | 0.9957 | -0.081894 | 21.9446
9 | 0.022947 | 0.005762 | -0.022918 | -0.0057441 | 2.9259e-05 | 1.7849e-05 | 0.034149 | 0.034149 | 0.034149 | 1 | 0 | 0.99861 | -0.026762 | 9.3817
10 | 0.016948 | 0.0042573 | -0.016915 | -0.0042381 | 3.285e-05 | 1.9221e-05 | 0.025222 | 0.025223 | 0.025223 | 1 | 0 | 0.99788 | -0.040695 | 6.9294
11 | 0.10278 | 0.026104 | -0.10267 | -0.026031 | 0.00011459 | 7.3169e-05 | 0.15373 | 0.15373 | 0.15373 | 0.9957 | -0.081894 | 0.99448 | -0.10509 | 42.2332
12 | 0.01597 | 0.0040029 | -0.015969 | -0.0040021 | 1.3538e-06 | 7.8303e-07 | 0.023797 | 0.023797 | 0.023797 | 0.99861 | -0.026762 | 0.99852 | -0.028541 | 6.5376
13 | 0.0069476 | 0.0017413 | -0.0069466 | -0.0017409 | 1.0152e-06 | 3.1932e-07 | 0.010353 | 0.010353 | 0.010353 | 0.99861 | -0.026762 | 0.99845 | -0.029829 | 2.8441
14 | 0.0064007 | 0.0016033 | -0.0063949 | -0.0016018 | 5.7434e-06 | 1.4816e-06 | 0.0095442 | 0.009545 | 0.009545 | 0.99788 | -0.040695 | 0.99691 | -0.059547 | 2.6222
15 | 0.010515 | 0.0026348 | -0.010512 | -0.0026334 | 2.8673e-06 | 1.4289e-06 | 0.015679 | 0.015679 | 0.015679 | 0.99788 | -0.040695 | 0.99759 | -0.046421 | 4.3074
16 | 0.0095945 | 0.0024068 | -0.009593 | -0.002406 | 1.4844e-06 | 7.2242e-07 | 0.014685 | 0.014685 | 0.014685 | 0.97227 | -0.53648 | 0.9721 | -0.53972 | 4.0343
17 | -0.010481 | -0.0026288 | 0.010482 | 0.0026295 | 1.3963e-06 | 7.1413e-07 | 0.016041 | 0.016041 | 0.016041 | 0.97227 | -0.53648 | 0.97241 | -0.53368 | 4.4068
18 | 0.0081585 | 0.0020465 | -0.008148 | -0.002042 | 1.055e-05 | 4.5191e-06 | 0.012489 | 0.01249 | 0.01249 | 0.9721 | -0.53972 | 0.97073 | -0.56688 | 3.4313
19 | -0.010482 | -0.0026295 | 0.01049 | 0.0026335 | 7.8017e-06 | 3.9892e-06 | 0.016041 | 0.01604 | 0.016041 | 0.97241 | -0.53368 | 0.9732 | -0.51808 | 4.4068
20 | 0.015345 | 0.0038551 | -0.015335 | -0.0038493 | 9.9371e-06 | 5.7595e-06 | 0.023439 | 0.023439 | 0.023439 | 0.97428 | -0.49675 | 0.97359 | -0.51033 | 6.4394
21 | -0.019753 | -0.0049548 | 0.019789 | 0.0049768 | 3.6453e-05 | 2.1997e-05 | 0.03017 | 0.03017 | 0.03017 | 0.97428 | -0.49675 | 0.97624 | -0.45811 | 8.2885
22 | 0.00089118 | 0.00021921 | -0.00089096 | -0.00022329 | 2.249e-07 | -4.0831e-06 | 0.0013439 | 0.0013454 | 0.0013454 | 0.9857 | -0.27396 | 0.98543 | -0.27929 | 0.36961
23 | 0.030549 | 0.0077671 | -0.030413 | -0.0076822 | 0.00013605 | 8.491e-05 | 0.046157 | 0.046158 | 0.046158 | 0.9857 | -0.27396 | 0.98091 | -0.36685 | 12.6807
24 | -0.035836 | -0.0090879 | 0.035889 | 0.009121 | 5.2753e-05 | 3.3149e-05 | 0.054136 | 0.054136 | 0.054136 | 0.9857 | -0.27396 | 0.98728 | -0.24338 | 14.8726
25 | 0.029352 | 0.0074161 | -0.029336 | -0.0074061 | 1.6102e-05 | 1.0032e-05 | 0.044548 | 0.044548 | 0.044548 | 0.98091 | -0.36685 | 0.98032 | -0.3783 | 12.2384
26 | -0.043133 | -0.010937 | 0.043189 | 0.010972 | 5.6216e-05 | 3.5525e-05 | 0.065055 | 0.065055 | 0.065055 | 0.98728 | -0.24338 | 0.98869 | -0.21631 | 17.8722
27 | 0.013569 | 0.0034069 | -0.013564 | -0.0034041 | 5.0155e-06 | 2.8235e-06 | 0.020741 | 0.020741 | 0.020741 | 0.97359 | -0.51033 | 0.9732 | -0.51808 | 5.6982
28 | -0.021625 | -0.0054368 | 0.021628 | 0.0054388 | 3.1975e-06 | 1.9483e-06 | 0.032967 | 0.032967 | 0.032967 | 0.97624 | -0.45811 | 0.9764 | -0.45502 | 9.057
29 | -0.025408 | -0.0063851 | 0.025457 | 0.0064154 | 4.9153e-05 | 3.0363e-05 | 0.038728 | 0.038727 | 0.038728 | 0.9764 | -0.45502 | 0.97846 | -0.41458 | 10.6394
30 | -0.0069462 | -0.0017408 | 0.0069466 | 0.0017409 | 3.6914e-07 | 1.1614e-07 | 0.010353 | 0.010353 | 0.010353 | 0.99839 | -0.030945 | 0.99845 | -0.029829 | 2.8442
31 | 0.0036356 | 0.00091111 | -0.0036356 | -0.00091116 | 7.805e-08 | -4.2746e-08 | 0.0054186 | 0.0054186 | 0.0054186 | 0.99839 | -0.030945 | 0.99837 | -0.031396 | 1.4886
32 | 0.0018927 | 0.00047425 | -0.0018927 | -0.00047435 | 2.8179e-08 | -1.0472e-07 | 0.0028251 | 0.0028251 | 0.0028251 | 0.99691 | -0.059547 | 0.99689 | -0.059859 | 0.77614
33 | 0.0045022 | 0.0011276 | -0.0045017 | -0.0011276 | 4.7795e-07 | -6.2063e-08 | 0.0067199 | 0.00672 | 0.00672 | 0.99691 | -0.059547 | 0.99679 | -0.061776 | 1.8462
34 | 0.0012796 | 0.00031961 | -0.0012795 | -0.00032067 | 1.1958e-07 | -1.0663e-06 | 0.0019083 | 0.0019087 | 0.0019087 | 0.99759 | -0.046421 | 0.99749 | -0.048385 | 0.52438
35 | 0.0013928 | 0.00034893 | -0.0013928 | -0.00034906 | 1.7606e-08 | -1.3031e-07 | 0.0020791 | 0.0020791 | 0.0020791 | 0.99679 | -0.061776 | 0.99678 | -0.062042 | 0.57119
36 | 0.003109 | 0.00077869 | -0.0031089 | -0.00077875 | 6.1456e-08 | -5.9851e-08 | 0.0046409 | 0.0046409 | 0.0046409 | 0.99679 | -0.061776 | 0.99677 | -0.062191 | 1.275
37 | 0.0037876 | 0.0009492 | -0.0037875 | -0.00094924 | 1.2029e-07 | -4.0648e-08 | 0.005806 | 0.005806 | 0.005806 | 0.97073 | -0.56688 | 0.9707 | -0.56754 | 1.5951
38 | 0.033917 | 0.0085202 | -0.033875 | -0.0084941 | 4.1666e-05 | 2.6107e-05 | 0.050756 | 0.050756 | 0.050756 | 0.99448 | -0.10509 | 0.99315 | -0.13086 | 13.9439
39 | 0.068754 | 0.017511 | -0.068492 | -0.017344 | 0.00026165 | 0.00016661 | 0.10297 | 0.10297 | 0.10297 | 0.99448 | -0.10509 | 0.99035 | -0.18431 | 28.2895
40 | 0.029336 | 0.0074061 | -0.029294 | -0.0073803 | 4.146e-05 | 2.5833e-05 | 0.044548 | 0.044548 | 0.044548 | 0.98032 | -0.3783 | 0.97881 | -0.40785 | 12.2384
41 | 0.0269 | 0.0067803 | -0.026892 | -0.0067749 | 8.6599e-06 | 5.369e-06 | 0.040909 | 0.040909 | 0.040909 | 0.97881 | -0.40785 | 0.97846 | -0.41458 | 11.2387
42 | 0.0031089 | 0.00077875 | -0.0031086 | -0.00077908 | 3.3355e-07 | -3.2473e-07 | 0.0046409 | 0.0046411 | 0.0046411 | 0.99677 | -0.062191 | 0.99665 | -0.064444 | 1.275
43 | 0.04652 | 0.011812 | -0.046508 | -0.011804 | 1.2273e-05 | 7.7692e-06 | 0.070049 | 0.070049 | 0.070049 | 0.98897 | -0.21082 | 0.98869 | -0.21631 | 19.2443
44 | -0.054573 | -0.01383 | 0.054619 | 0.013859 | 4.6663e-05 | 2.9628e-05 | 0.082165 | 0.082165 | 0.082165 | 0.98897 | -0.21082 | 0.9899 | -0.19304 | 22.5728
45 | -0.064211 | -0.016261 | 0.064238 | 0.016278 | 2.6935e-05 | 1.7139e-05 | 0.096582 | 0.096582 | 0.096582 | 0.9899 | -0.19304 | 0.99035 | -0.18431 | 26.5335
46 | 0.0095916 | 0.0024017 | -0.0095891 | -0.0024005 | 2.559e-06 | 1.2158e-06 | 0.014417 | 0.014418 | 0.014418 | 0.9899 | -0.19304 | 0.98961 | -0.19865 | 3.9609
47 | 0.0010886 | 0.00026986 | -0.0010884 | -0.00027277 | 2.4005e-07 | -2.917e-06 | 0.0016358 | 0.0016369 | 0.0016369 | 0.98961 | -0.19865 | 0.98937 | -0.2033 | 0.4497
48 | 0.0085004 | 0.0021307 | -0.0084991 | -0.0021301 | 1.3528e-06 | 5.8216e-07 | 0.012782 | 0.012782 | 0.012782 | 0.98961 | -0.19865 | 0.98944 | -0.20199 | 3.5115
49 | 0.024445 | 0.0061307 | -0.024439 | -0.0061267 | 6.4736e-06 | 3.9767e-06 | 0.036627 | 0.036627 | 0.036627 | 0.99315 | -0.13086 | 0.99286 | -0.13642 | 10.0624
50 | -0.0048376 | -0.0012124 | 0.0048376 | 0.0012124 | 5.5889e-08 | -8.3809e-10 | 0.0072532 | 0.0072532 | 0.0072532 | 0.99244 | -0.14456 | 0.99246 | -0.14432 | 1.9926
51 | -0.012133 | -0.0030408 | 0.012135 | 0.0030417 | 1.7552e-06 | 9.4055e-07 | 0.018191 | 0.018191 | 0.018191 | 0.99246 | -0.14432 | 0.99261 | -0.14128 | 4.9975
52 | -0.017249 | -0.0043234 | 0.017253 | 0.0043258 | 3.9996e-06 | 2.3535e-06 | 0.025858 | 0.025858 | 0.025858 | 0.99261 | -0.14128 | 0.99286 | -0.13642 | 7.1038
53 | 0.0014345 | 0.00035949 | -0.0014345 | -0.00035952 | 5.197e-09 | -3.3249e-08 | 0.0021815 | 0.0021815 | 0.0021815 | 0.97846 | -0.41458 | 0.97846 | -0.41465 | 0.59933

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.14879 | 0.037403

## res_load
| p_mw | q_mvar
0 | 0.0010277 | 0.00025757
1 | 0.00087122 | 0.00021835
2 | 0.0012797 | 0.00032072
3 | 0.001226 | 0.00030725
4 | 0.0020288 | 0.00050847
5 | 0.0040333 | 0.0010108
6 | 0.00088611 | 0.00022208
7 | 0.0014345 | 0.00035951
8 | 0.0043953 | 0.0011016
9 | 0.00089096 | 0.00022329
10 | 0.0010615 | 0.00026604
11 | 0.0072447 | 0.0018157
12 | 0.0017653 | 0.00044243
13 | 0.0018354 | 0.00046
14 | 0.0030745 | 0.00077055
15 | 0.0033106 | 0.00082971
16 | 0.0036356 | 0.00091116
17 | 0.015969 | 0.0040021
18 | 0.0092321 | 0.0023138
19 | 0.0018927 | 0.00047435
20 | 0.0043603 | 0.0010928
21 | 0.0037875 | 0.00094924
22 | 0.0012795 | 0.00032067
23 | 0.0023939 | 0.00059996
24 | 0.0013928 | 0.00034906
25 | 0.0080524 | 0.0020181
26 | 0.0033186 | 0.00083173
27 | 0.004254 | 0.0010662
28 | 0.0010884 | 0.00027277
29 | 0.0084991 | 0.0021301
30 | 0.00943 | 0.0023634
31 | 0.0048376 | 0.0012124
32 | 0.0072952 | 0.0018283
33 | 0.0051142 | 0.0012818
34 | 0.0071858 | 0.0018009
35 | 0.0017506 | 0.00043873
36 | 0.0014345 | 0.00035952
37 | 0.0031086 | 0.00077908

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1