## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1630-31_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1630-31_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1630-31_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1630-31_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1630-31_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1630-31_0_6_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1630-31_0_6_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_1630-31_0_6_node_24 | 0.4 | n |  | TRUE
8 | bus_LV_1630-31_0_6_node_30 | 0.4 | n |  | TRUE
9 | bus_LV_1630-31_0_6_node_20 | 0.4 | n |  | TRUE
10 | bus_LV_1630-31_0_6_node_18 | 0.4 | n |  | TRUE
11 | bus_LV_1630-31_0_6_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_1630-31_0_6_node_19 | 0.4 | n |  | TRUE
13 | bus_LV_1630-31_0_6_node_15 | 0.4 | n |  | TRUE
14 | bus_LV_1630-31_0_6_node_39 | 0.4 | n |  | TRUE
15 | bus_LV_1630-31_0_6_node_38 | 0.4 | n |  | TRUE
16 | bus_LV_1630-31_0_6_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_1630-31_0_6_node_42 | 0.4 | n |  | TRUE
18 | bus_LV_1630-31_0_6_node_43 | 0.4 | n |  | TRUE
19 | bus_LV_1630-31_0_6_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_1630-31_0_6_node_36 | 0.4 | n |  | TRUE
21 | bus_LV_1630-31_0_6_node_37 | 0.4 | n |  | TRUE
22 | bus_LV_1630-31_0_6_node_12 | 0.4 | n |  | TRUE
23 | bus_LV_1630-31_0_6_node_35 | 0.4 | n |  | TRUE
24 | bus_LV_1630-31_0_6_node_23 | 0.4 | n |  | TRUE
25 | bus_LV_1630-31_0_6_node_16 | 0.4 | n |  | TRUE
26 | bus_LV_1630-31_0_6_node_28 | 0.4 | n |  | TRUE
27 | bus_LV_1630-31_0_6_node_33 | 0.4 | n |  | TRUE
28 | bus_LV_1630-31_0_6_node_8 | 0.4 | n |  | TRUE
29 | bus_LV_1630-31_0_6_node_9 | 0.4 | n |  | TRUE
30 | bus_LV_1630-31_0_6_node_11 | 0.4 | n |  | TRUE
31 | bus_LV_1630-31_0_6_node_10 | 0.4 | n |  | TRUE
32 | bus_LV_1630-31_0_6_node_17 | 0.4 | n |  | TRUE
33 | bus_LV_1630-31_0_6_node_21 | 0.4 | n |  | TRUE
34 | bus_LV_1630-31_0_6_node_45 | 0.4 | n |  | TRUE
35 | bus_LV_1630-31_0_6_node_22 | 0.4 | n |  | TRUE
36 | bus_LV_1630-31_0_6_node_44 | 0.4 | n |  | TRUE
37 | bus_LV_1630-31_0_6_node_47 | 0.4 | n |  | TRUE
38 | bus_LV_1630-31_0_6_node_46 | 0.4 | n |  | TRUE
39 | bus_LV_1630-31_0_6_node_27 | 0.4 | n |  | TRUE
40 | bus_LV_1630-31_0_6_node_29 | 0.4 | n |  | TRUE
41 | bus_LV_1630-31_0_6_node_32 | 0.4 | n |  | TRUE
42 | bus_LV_1630-31_0_6_node_31 | 0.4 | n |  | TRUE
43 | bus_LV_1630-31_0_6_node_40 | 0.4 | n |  | TRUE
44 | bus_LV_1630-31_0_6_node_41 | 0.4 | n |  | TRUE
45 | bus_MV_152_0_node_154 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1630-31_0_6_load_0 | 0 | 0.011871 | 0.0029752 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1630-31_0_6_load_3 | 3 | 0.010381 | 0.0026018 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1630-31_0_6_load_5 | 5 | 0.0014072 | 0.00035268 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1630-31_0_6_load_24 | 7 | 0.0070005 | 0.0017545 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1630-31_0_6_load_20 | 9 | 0.067405 | 0.016893 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1630-31_0_6_load_18 | 10 | 0.0022822 | 0.00057196 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1630-31_0_6_load_39 | 14 | 0.026654 | 0.0066801 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1630-31_0_6_load_42 | 17 | 0.0079971 | 0.0020043 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1630-31_0_6_load_36 | 20 | 0.026439 | 0.0066263 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1630-31_0_6_load_35 | 23 | 0.087042 | 0.021815 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1630-31_0_6_load_16 | 25 | 0.0080079 | 0.002007 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1630-31_0_6_load_33 | 27 | 0.0022734 | 0.00056978 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1630-31_0_6_load_8 | 28 | 0.020807 | 0.0052146 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1630-31_0_6_load_21 | 33 | 0.086767 | 0.021746 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1630-31_0_6_load_45 | 34 | 0.0079656 | 0.0019964 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1630-31_0_6_load_22 | 35 | 0.013895 | 0.0034824 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1630-31_0_6_load_44 | 36 | 0.0079785 | 0.0019996 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1630-31_0_6_load_47 | 37 | 0.026458 | 0.006631 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1630-31_0_6_load_46 | 38 | 0.026776 | 0.0067106 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1630-31_0_6_load_27 | 39 | 0.0020857 | 0.00052272 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1630-31_0_6_load_40 | 43 | 0.0085619 | 0.0021458 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1630-31_0_6_load_41 | 44 | 0.045714 | 0.011457 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 15 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1630-31_0_6_line_0 |  | 0 | 1 | 0.01857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1630-31_0_6_line_1 |  | 0 | 2 | 0.002028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1630-31_0_6_line_2 |  | 1 | 3 | 0.007703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1630-31_0_6_line_3 |  | 1 | 4 | 0.024932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1630-31_0_6_line_4 |  | 2 | 5 | 0.015769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1630-31_0_6_line_5 |  | 2 | 6 | 0.036082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1630-31_0_6_line_6 |  | 4 | 7 | 0.10947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1630-31_0_6_line_7 |  | 5 | 8 | 0.01642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1630-31_0_6_line_8 |  | 6 | 9 | 0.005784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1630-31_0_6_line_9 |  | 6 | 10 | 0.026738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1630-31_0_6_line_10 |  | 8 | 25 | 0.020894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_1630-31_0_6_line_11 |  | 8 | 26 | 0.009231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1630-31_0_6_line_12 |  | 10 | 11 | 0.0052987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1630-31_0_6_line_13 |  | 11 | 12 | 0.006961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1630-31_0_6_line_14 |  | 12 | 27 | 0.0065473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1630-31_0_6_line_15 |  | 13 | 14 | 0.005396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1630-31_0_6_line_16 |  | 13 | 15 | 0.021307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1630-31_0_6_line_17 |  | 15 | 38 | 0.023264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1630-31_0_6_line_18 |  | 15 | 18 | 0.035377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
19 | LV_1630-31_0_6_line_19 |  | 15 | 21 | 0.044501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
20 | LV_1630-31_0_6_line_20 |  | 16 | 17 | 0.004146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1630-31_0_6_line_21 |  | 16 | 18 | 0.010608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1630-31_0_6_line_22 |  | 18 | 36 | 0.00411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1630-31_0_6_line_23 |  | 18 | 32 | 0.021819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_1630-31_0_6_line_24 |  | 19 | 20 | 0.016068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1630-31_0_6_line_25 |  | 19 | 21 | 0.02249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_1630-31_0_6_line_26 |  | 19 | 22 | 0.040692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
27 | LV_1630-31_0_6_line_27 |  | 21 | 37 | 0.026928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1630-31_0_6_line_28 |  | 22 | 23 | 0.023841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1630-31_0_6_line_29 |  | 22 | 24 | 0.037095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1630-31_0_6_line_30 |  | 24 | 35 | 0.028712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1630-31_0_6_line_31 |  | 25 | 31 | 0.027182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
32 | LV_1630-31_0_6_line_32 |  | 26 | 39 | 0.034548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1630-31_0_6_line_33 |  | 28 | 29 | 0.012475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1630-31_0_6_line_34 |  | 29 | 30 | 0.031347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1630-31_0_6_line_35 |  | 30 | 33 | 0.01698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1630-31_0_6_line_36 |  | 31 | 32 | 0.02396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
37 | LV_1630-31_0_6_line_37 |  | 32 | 34 | 0.004219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1630-31_0_6_line_38 |  | 33 | 35 | 0.017843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1630-31_0_6_line_39 |  | 39 | 40 | 0.034633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1630-31_0_6_line_40 |  | 40 | 41 | 0.015425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1630-31_0_6_line_41 |  | 41 | 44 | 0.005347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1630-31_0_6_line_42 |  | 41 | 42 | 0.067382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1630-31_0_6_line_43 |  | 42 | 43 | 0.004775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1630-31_0_6_trafo_38 | 0.63 MVA 20/0.4 kV | 45 | 15 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2723722.6877 | 1216697.7427 | 2723713.7269 | 1216701.3595 | 2723705.7511 | 1216705.3241
1 | 2723703.9351 | 1216706.2268 | 2723705.7511 | 1216705.3241
2 | 2723722.6877 | 1216697.7427 | 2723726.5054 | 1216704.4383
3 | 2723746.0402 | 1216689.0096 | 2723740.1303 | 1216691.2664 | 2723722.6877 | 1216697.7427
4 | 2723703.9351 | 1216706.2268 | 2723691.1784 | 1216713.8013 | 2723690.3861 | 1216714.2949
5 | 2723701.4104 | 1216679.3312 | 2723691.3173 | 1216685.5377 | 2723703.9351 | 1216706.2268
6 | 2723746.0402 | 1216689.0096 | 2723752.8524 | 1216686.4602 | 2723762.6019 | 1216683.994 | 2723774.1947 | 1216682.7338 | 2723783.6022 | 1216682.8403 | 2723842.469 | 1216687.9004 | 2723849.252 | 1216687.8524 | 2723854.4404 | 1216687.4266
7 | 2723675.6942 | 1216721.4303 | 2723683.5613 | 1216718.5469 | 2723690.3861 | 1216714.2949
8 | 2723701.4104 | 1216679.3312 | 2723706.3491 | 1216676.298
9 | 2723701.4104 | 1216679.3312 | 2723687.5081 | 1216656.4915
10 | 2723675.6942 | 1216721.4303 | 2723685.1928 | 1216740.0399
11 | 2723675.6942 | 1216721.4303 | 2723666.4448 | 1216721.027
12 | 2723682.287 | 1216657.395 | 2723687.5081 | 1216656.4915
13 | 2723678.6588 | 1216651.4484 | 2723682.287 | 1216657.395
14 | 2723678.6588 | 1216651.4484 | 2723675.2169 | 1216645.8788
15 | 2723762.1234 | 1216758.1864 | 2723759.4335 | 1216753.5046
16 | 2723743.7411 | 1216768.9575 | 2723747.8366 | 1216766.663 | 2723762.1234 | 1216758.1864
17 | 2723743.7411 | 1216768.9575 | 2723728.0346 | 1216777.7828 | 2723725.4266 | 1216773.1806
18 | 2723737.2004 | 1216741.2668 | 2723730.1591 | 1216745.346 | 2723731.9768 | 1216748.5085 | 2723743.7411 | 1216768.9575
19 | 2723743.7411 | 1216768.9575 | 2723747.8366 | 1216766.663 | 2723765.3985 | 1216797.9298 | 2723761.5113 | 1216798.6052
20 | 2723746.3943 | 1216735.9313 | 2723744.2966 | 1216732.3516
21 | 2723746.3943 | 1216735.9313 | 2723737.2004 | 1216741.2668
22 | 2723737.2004 | 1216741.2668 | 2723735.0634 | 1216737.753
23 | 2723718.321 | 1216752.2057 | 2723730.1591 | 1216745.346 | 2723737.2004 | 1216741.2668
24 | 2723783.6684 | 1216794.7512 | 2723775.496 | 1216780.904
25 | 2723783.6684 | 1216794.7512 | 2723765.3985 | 1216797.9298 | 2723761.5113 | 1216798.6052
26 | 2723783.6684 | 1216794.7512 | 2723805.7649 | 1216790.896 | 2723808.228 | 1216795.1616 | 2723815.2757 | 1216806.4835
27 | 2723738.2838 | 1216796.588 | 2723741.5001 | 1216802.2481 | 2723754.6126 | 1216799.8407 | 2723755.9047 | 1216800.1566 | 2723761.5113 | 1216798.6052
28 | 2723815.2757 | 1216806.4835 | 2723794.1367 | 1216817.6198
29 | 2723802.5683 | 1216829.2262 | 2723822.7935 | 1216818.5713 | 2723815.2757 | 1216806.4835
30 | 2723802.5683 | 1216829.2262 | 2723777.1677 | 1216842.613
31 | 2723697.5505 | 1216764.2506 | 2723685.1928 | 1216740.0399
32 | 2723666.4448 | 1216721.027 | 2723649.199 | 1216703.3999 | 2723643.7567 | 1216695.1447
33 | 2723731.8646 | 1216831.0372 | 2723726.0991 | 1216819.9747
34 | 2723731.8646 | 1216831.0372 | 2723746.3616 | 1216858.8487
35 | 2723746.3616 | 1216858.8487 | 2723761.3831 | 1216850.932
36 | 2723718.321 | 1216752.2057 | 2723697.5505 | 1216764.2506
37 | 2723718.321 | 1216752.2057 | 2723716.1944 | 1216748.5587
38 | 2723761.3831 | 1216850.932 | 2723777.1677 | 1216842.613
39 | 2723625.4424 | 1216665.7556 | 2723638.2286 | 1216686.7594 | 2723643.7567 | 1216695.1447
40 | 2723625.4424 | 1216665.7556 | 2723638.6344 | 1216657.7007
41 | 2723643.6935 | 1216659.4737 | 2723638.6344 | 1216657.7007
42 | 2723607.5568 | 1216599.533 | 2723613.0369 | 1216608.8428 | 2723611.8465 | 1216614.2334 | 2723613.0003 | 1216616.0921 | 2723616.1302 | 1216621.1721 | 2723638.6344 | 1216657.7007
43 | 2723603.5385 | 1216602.1295 | 2723607.5568 | 1216599.533

## bus_geodata
| x | y | coords
0 | 2723705.7511 | 1216705.3241
1 | 2723722.6877 | 1216697.7427
2 | 2723703.9351 | 1216706.2268
3 | 2723726.5054 | 1216704.4383
4 | 2723746.0402 | 1216689.0096
5 | 2723690.3861 | 1216714.2949
6 | 2723701.4104 | 1216679.3312
7 | 2723854.4404 | 1216687.4266
8 | 2723675.6942 | 1216721.4303
9 | 2723706.3491 | 1216676.298
10 | 2723687.5081 | 1216656.4915
11 | 2723682.287 | 1216657.395
12 | 2723678.6588 | 1216651.4484
13 | 2723762.1234 | 1216758.1864
14 | 2723759.4335 | 1216753.5046
15 | 2723743.7411 | 1216768.9575
16 | 2723746.3943 | 1216735.9313
17 | 2723744.2966 | 1216732.3516
18 | 2723737.2004 | 1216741.2668
19 | 2723783.6684 | 1216794.7512
20 | 2723775.496 | 1216780.904
21 | 2723761.5113 | 1216798.6052
22 | 2723815.2757 | 1216806.4835
23 | 2723794.1367 | 1216817.6198
24 | 2723802.5683 | 1216829.2262
25 | 2723685.1928 | 1216740.0399
26 | 2723666.4448 | 1216721.027
27 | 2723675.2169 | 1216645.8788
28 | 2723726.0991 | 1216819.9747
29 | 2723731.8646 | 1216831.0372
30 | 2723746.3616 | 1216858.8487
31 | 2723697.5505 | 1216764.2506
32 | 2723718.321 | 1216752.2057
33 | 2723761.3831 | 1216850.932
34 | 2723716.1944 | 1216748.5587
35 | 2723777.1677 | 1216842.613
36 | 2723735.0634 | 1216737.753
37 | 2723738.2838 | 1216796.588
38 | 2723725.4266 | 1216773.1806
39 | 2723643.7567 | 1216695.1447
40 | 2723625.4424 | 1216665.7556
41 | 2723638.6344 | 1216657.7007
42 | 2723607.5568 | 1216599.533
43 | 2723603.5385 | 1216602.1295
44 | 2723643.6935 | 1216659.4737
45 | 2723747.8366 | 1216766.663

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98659 | -0.2572 | 0.011871 | 0.0029752
1 | 0.9863 | -0.26298 | 0 | 0
2 | 0.98665 | -0.25614 | 0 | 0
3 | 0.98622 | -0.26442 | 0.010381 | 0.0026018
4 | 0.98614 | -0.26611 | 0 | 0
5 | 0.98812 | -0.2276 | 0.0014072 | 0.00035268
6 | 0.98426 | -0.30274 | 0 | 0
7 | 0.98543 | -0.27986 | 0.0070005 | 0.0017545
8 | 0.98967 | -0.19757 | 0 | 0
9 | 0.9839 | -0.30976 | 0.067405 | 0.016893
10 | 0.98414 | -0.30493 | 0.0022822 | 0.00057196
11 | 0.98413 | -0.30515 | 0 | 0
12 | 0.98412 | -0.30543 | 0 | 0
13 | 0.99948 | -0.0099035 | 0 | 0
14 | 0.99935 | -0.012413 | 0.026654 | 0.0066801
15 | 1 | 0 | -0.51368 | -0.13075
16 | 0.99681 | -0.060542 | 0 | 0
17 | 0.99678 | -0.061124 | 0.0079971 | 0.0020043
18 | 0.99689 | -0.059054 | 0 | 0
19 | 0.9922 | -0.14859 | 0 | 0
20 | 0.99181 | -0.15612 | 0.026439 | 0.0066263
21 | 0.99464 | -0.10193 | 0 | 0
22 | 0.98828 | -0.224 | 0 | 0
23 | 0.98637 | -0.26111 | 0.087042 | 0.021815
24 | 0.9841 | -0.30475 | 0 | 0
25 | 0.9912 | -0.16805 | 0.0080079 | 0.002007
26 | 0.98919 | -0.20683 | 0 | 0
27 | 0.9841 | -0.3057 | 0.0022734 | 0.00056978
28 | 0.97792 | -0.42559 | 0.020807 | 0.0052146
29 | 0.97816 | -0.42087 | 0 | 0
30 | 0.97877 | -0.40899 | 0 | 0
31 | 0.99329 | -0.12787 | 0 | 0
32 | 0.99513 | -0.092593 | 0 | 0
33 | 0.97909 | -0.40257 | 0.086767 | 0.021746
34 | 0.9951 | -0.093184 | 0.0079656 | 0.0019964
35 | 0.98087 | -0.36773 | 0.013895 | 0.0034824
36 | 0.99686 | -0.059629 | 0.0079785 | 0.0019996
37 | 0.99399 | -0.11449 | 0.026458 | 0.006631
38 | 0.99943 | -0.010863 | 0.026776 | 0.0067106
39 | 0.9874 | -0.24158 | 0.0020857 | 0.00052272
40 | 0.98567 | -0.27525 | 0 | 0
41 | 0.9849 | -0.29028 | 0 | 0
42 | 0.98436 | -0.30065 | 0 | 0
43 | 0.98433 | -0.30139 | 0.0085619 | 0.0021458
44 | 0.98467 | -0.29467 | 0.045714 | 0.011457
45 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.017393 | 0.0043613 | -0.017388 | -0.0043585 | 4.7923e-06 | 2.83e-06 | 0.026233 | 0.026233 | 0.026233 | 0.98659 | -0.2572 | 0.9863 | -0.26298 | 7.207
1 | -0.029264 | -0.0073365 | 0.029265 | 0.0073374 | 1.4815e-06 | 9.2227e-07 | 0.044138 | 0.044138 | 0.044138 | 0.98659 | -0.2572 | 0.98665 | -0.25614 | 12.1257
2 | 0.010382 | 0.0026021 | -0.010381 | -0.0026018 | 7.0868e-07 | 3.5525e-07 | 0.015663 | 0.015663 | 0.015663 | 0.9863 | -0.26298 | 0.98622 | -0.26442 | 4.3031
3 | 0.0070061 | 0.0017564 | -0.0070051 | -0.001756 | 1.0446e-06 | 3.5043e-07 | 0.01057 | 0.01057 | 0.01057 | 0.9863 | -0.26298 | 0.98614 | -0.26611 | 2.9039
4 | -0.10141 | -0.025489 | 0.10155 | 0.025577 | 0.00013837 | 8.8355e-05 | 0.15297 | 0.15297 | 0.15297 | 0.98665 | -0.25614 | 0.98812 | -0.2276 | 42.0237
5 | 0.072144 | 0.018151 | -0.071983 | -0.018049 | 0.00016025 | 0.0001021 | 0.10883 | 0.10883 | 0.10883 | 0.98665 | -0.25614 | 0.98426 | -0.30274 | 29.898
6 | 0.0070051 | 0.001756 | -0.0070005 | -0.0017545 | 4.5871e-06 | 1.5401e-06 | 0.01057 | 0.010571 | 0.010571 | 0.98614 | -0.26611 | 0.98543 | -0.27986 | 2.9041
7 | -0.10295 | -0.02593 | 0.1031 | 0.026024 | 0.0001481 | 9.457e-05 | 0.15509 | 0.15509 | 0.15509 | 0.98812 | -0.2276 | 0.98967 | -0.19757 | 42.6058
8 | 0.067427 | 0.016908 | -0.067405 | -0.016893 | 2.254e-05 | 1.4352e-05 | 0.10194 | 0.10194 | 0.10194 | 0.98426 | -0.30274 | 0.9839 | -0.30976 | 28.0057
9 | 0.0045562 | 0.0011415 | -0.0045557 | -0.0011416 | 4.7572e-07 | -3.5327e-08 | 0.006888 | 0.0068881 | 0.0068881 | 0.98426 | -0.30274 | 0.98414 | -0.30493 | 1.8923
10 | -0.15972 | -0.040314 | 0.15995 | 0.040458 | 0.00022613 | 0.00014418 | 0.24025 | 0.24025 | 0.24025 | 0.98967 | -0.19757 | 0.9912 | -0.16805 | 33.0018
11 | 0.056621 | 0.014289 | -0.056596 | -0.014273 | 2.5109e-05 | 1.5951e-05 | 0.085168 | 0.085168 | 0.085168 | 0.98967 | -0.19757 | 0.98919 | -0.20683 | 23.3977
12 | 0.0022735 | 0.00056959 | -0.0022735 | -0.00056964 | 2.3479e-08 | -5.23e-08 | 0.0034375 | 0.0034375 | 0.0034375 | 0.98414 | -0.30493 | 0.98413 | -0.30515 | 0.94437
13 | 0.0022735 | 0.00056964 | -0.0022735 | -0.00056971 | 3.0845e-08 | -6.8706e-08 | 0.0034375 | 0.0034375 | 0.0034375 | 0.98413 | -0.30515 | 0.98412 | -0.30543 | 0.94437
14 | 0.0022735 | 0.00056971 | -0.0022734 | -0.00056978 | 2.9013e-08 | -6.462e-08 | 0.0034375 | 0.0034376 | 0.0034376 | 0.98412 | -0.30543 | 0.9841 | -0.3057 | 0.94438
15 | 0.026657 | 0.006682 | -0.026654 | -0.0066801 | 3.1871e-06 | 1.969e-06 | 0.039687 | 0.039687 | 0.039687 | 0.99948 | -0.0099035 | 0.99935 | -0.012413 | 10.903
16 | -0.026657 | -0.006682 | 0.02667 | 0.0066898 | 1.2585e-05 | 7.7747e-06 | 0.039687 | 0.039687 | 0.039687 | 0.99948 | -0.0099035 | 1 | 0 | 10.903
17 | 0.02679 | 0.0067192 | -0.026776 | -0.0067106 | 1.3864e-05 | 8.5682e-06 | 0.039865 | 0.039865 | 0.039865 | 1 | 0 | 0.99943 | -0.010863 | 10.952
18 | 0.19335 | 0.049388 | -0.1928 | -0.049037 | 0.0005503 | 0.00035127 | 0.28803 | 0.28803 | 0.28803 | 1 | 0 | 0.99689 | -0.059054 | 39.5649
19 | 0.26523 | 0.067954 | -0.26392 | -0.067121 | 0.0013031 | 0.00083283 | 0.39519 | 0.39519 | 0.39519 | 1 | 0 | 0.99464 | -0.10193 | 54.2841
20 | 0.0079973 | 0.0020044 | -0.0079971 | -0.0020043 | 2.2158e-07 | 8.7769e-08 | 0.011938 | 0.011938 | 0.011938 | 0.99681 | -0.060542 | 0.99678 | -0.061124 | 3.2797
21 | -0.0079973 | -0.0020044 | 0.0079979 | 0.0020046 | 5.6694e-07 | 2.2455e-07 | 0.011938 | 0.011938 | 0.011938 | 0.99681 | -0.060542 | 0.99689 | -0.059054 | 3.2797
22 | 0.0079787 | 0.0019997 | -0.0079785 | -0.0019996 | 2.1861e-07 | 8.6324e-08 | 0.01191 | 0.01191 | 0.01191 | 0.99689 | -0.059054 | 0.99686 | -0.059629 | 3.2719
23 | 0.17682 | 0.045033 | -0.17653 | -0.04485 | 0.00028554 | 0.00018218 | 0.26418 | 0.26419 | 0.26419 | 0.99689 | -0.059054 | 0.99513 | -0.092593 | 36.2892
24 | 0.026449 | 0.0066321 | -0.026439 | -0.0066263 | 9.4809e-06 | 5.8603e-06 | 0.039667 | 0.039667 | 0.039667 | 0.9922 | -0.14859 | 0.99181 | -0.15612 | 10.8975
25 | -0.23692 | -0.06014 | 0.23745 | 0.06048 | 0.00053317 | 0.00034064 | 0.35558 | 0.35558 | 0.35558 | 0.9922 | -0.14859 | 0.99464 | -0.10193 | 48.8434
26 | 0.21047 | 0.053508 | -0.20971 | -0.053021 | 0.00076146 | 0.00048629 | 0.31591 | 0.31591 | 0.31591 | 0.9922 | -0.14859 | 0.98828 | -0.224 | 43.3948
27 | 0.026474 | 0.0066408 | -0.026458 | -0.006631 | 1.5842e-05 | 9.7896e-06 | 0.039608 | 0.039608 | 0.039608 | 0.99464 | -0.10193 | 0.99399 | -0.11449 | 10.8814
28 | 0.087196 | 0.021913 | -0.087042 | -0.021815 | 0.00015415 | 9.8351e-05 | 0.13131 | 0.13131 | 0.13131 | 0.98828 | -0.224 | 0.98637 | -0.26111 | 36.0739
29 | 0.12251 | 0.031108 | -0.12204 | -0.030805 | 0.00047406 | 0.00030293 | 0.18461 | 0.18461 | 0.18461 | 0.98828 | -0.224 | 0.9841 | -0.30475 | 50.7158
30 | 0.12204 | 0.030805 | -0.12167 | -0.030571 | 0.00036693 | 0.00023447 | 0.18461 | 0.18461 | 0.18461 | 0.9841 | -0.30475 | 0.98087 | -0.36773 | 50.7158
31 | -0.16796 | -0.042465 | 0.16828 | 0.042672 | 0.00032436 | 0.00020689 | 0.25227 | 0.25227 | 0.25227 | 0.9912 | -0.16805 | 0.99329 | -0.12787 | 34.6531
32 | 0.056596 | 0.014273 | -0.056502 | -0.014214 | 9.3974e-05 | 5.97e-05 | 0.085168 | 0.085168 | 0.085168 | 0.98919 | -0.20683 | 0.9874 | -0.24158 | 23.3978
33 | -0.020807 | -0.0052146 | 0.020811 | 0.0052175 | 4.6889e-06 | 2.8444e-06 | 0.03166 | 0.031659 | 0.03166 | 0.97792 | -0.42559 | 0.97816 | -0.42087 | 8.6977
34 | -0.020811 | -0.0052175 | 0.020823 | 0.0052246 | 1.1782e-05 | 7.147e-06 | 0.031659 | 0.031659 | 0.031659 | 0.97816 | -0.42087 | 0.97877 | -0.40899 | 8.6977
35 | -0.020823 | -0.0052246 | 0.020829 | 0.0052285 | 6.3822e-06 | 3.8711e-06 | 0.031659 | 0.031659 | 0.031659 | 0.97877 | -0.40899 | 0.97909 | -0.40257 | 8.6976
36 | -0.16828 | -0.042672 | 0.16857 | 0.042854 | 0.00028591 | 0.00018236 | 0.25227 | 0.25227 | 0.25227 | 0.99329 | -0.12787 | 0.99513 | -0.092593 | 34.653
37 | 0.0079658 | 0.0019965 | -0.0079656 | -0.0019964 | 2.2447e-07 | 8.8849e-08 | 0.011911 | 0.011911 | 0.011911 | 0.99513 | -0.092593 | 0.9951 | -0.093184 | 3.2723
38 | -0.1076 | -0.026974 | 0.10778 | 0.027089 | 0.00017892 | 0.00011429 | 0.16353 | 0.16353 | 0.16353 | 0.97909 | -0.40257 | 0.98087 | -0.36773 | 44.9249
39 | 0.054416 | 0.013691 | -0.054329 | -0.013636 | 8.7381e-05 | 5.5481e-05 | 0.082025 | 0.082025 | 0.082025 | 0.9874 | -0.24158 | 0.98567 | -0.27525 | 22.5343
40 | 0.054329 | 0.013636 | -0.05429 | -0.013611 | 3.8918e-05 | 2.4711e-05 | 0.082025 | 0.082025 | 0.082025 | 0.98567 | -0.27525 | 0.9849 | -0.29028 | 22.5343
41 | 0.045724 | 0.011463 | -0.045714 | -0.011457 | 9.5692e-06 | 6.0562e-06 | 0.069082 | 0.069082 | 0.069082 | 0.9849 | -0.29028 | 0.98467 | -0.29467 | 18.9787
42 | 0.0085664 | 0.0021478 | -0.0085622 | -0.0021459 | 4.2329e-06 | 1.852e-06 | 0.012943 | 0.012943 | 0.012943 | 0.9849 | -0.29028 | 0.98436 | -0.30065 | 3.5558
43 | 0.0085622 | 0.0021459 | -0.0085619 | -0.0021458 | 2.9997e-07 | 1.3128e-07 | 0.012943 | 0.012943 | 0.012943 | 0.98436 | -0.30065 | 0.98433 | -0.30139 | 3.5558

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.51368 | 0.13075

## res_load
| p_mw | q_mvar
0 | 0.011871 | 0.0029752
1 | 0.010381 | 0.0026018
2 | 0.0014072 | 0.00035268
3 | 0.0070005 | 0.0017545
4 | 0.067405 | 0.016893
5 | 0.0022822 | 0.00057196
6 | 0.026654 | 0.0066801
7 | 0.0079971 | 0.0020043
8 | 0.026439 | 0.0066263
9 | 0.087042 | 0.021815
10 | 0.0080079 | 0.002007
11 | 0.0022734 | 0.00056978
12 | 0.020807 | 0.0052146
13 | 0.086767 | 0.021746
14 | 0.0079656 | 0.0019964
15 | 0.013895 | 0.0034824
16 | 0.0079785 | 0.0019996
17 | 0.026458 | 0.006631
18 | 0.026776 | 0.0067106
19 | 0.0020857 | 0.00052272
20 | 0.0085619 | 0.0021458
21 | 0.045714 | 0.011457

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1