## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1630-32_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1630-32_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1630-32_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1630-32_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1630-32_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1630-32_0_2_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1630-32_0_2_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_1630-32_0_2_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_1630-32_0_2_node_12 | 0.4 | n |  | TRUE
9 | bus_LV_1630-32_0_2_node_9 | 0.4 | n |  | TRUE
10 | bus_LV_1630-32_0_2_node_16 | 0.4 | n |  | TRUE
11 | bus_LV_1630-32_0_2_node_17 | 0.4 | n |  | TRUE
12 | bus_LV_1630-32_0_2_node_14 | 0.4 | n |  | TRUE
13 | bus_LV_1630-32_0_2_node_30 | 0.4 | n |  | TRUE
14 | bus_LV_1630-32_0_2_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_1630-32_0_2_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_1630-32_0_2_node_41 | 0.4 | n |  | TRUE
17 | bus_LV_1630-32_0_2_node_15 | 0.4 | n |  | TRUE
18 | bus_LV_1630-32_0_2_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_1630-32_0_2_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_1630-32_0_2_node_21 | 0.4 | n |  | TRUE
21 | bus_LV_1630-32_0_2_node_22 | 0.4 | n |  | TRUE
22 | bus_LV_1630-32_0_2_node_19 | 0.4 | n |  | TRUE
23 | bus_LV_1630-32_0_2_node_44 | 0.4 | n |  | TRUE
24 | bus_LV_1630-32_0_2_node_27 | 0.4 | n |  | TRUE
25 | bus_LV_1630-32_0_2_node_45 | 0.4 | n |  | TRUE
26 | bus_LV_1630-32_0_2_node_24 | 0.4 | n |  | TRUE
27 | bus_LV_1630-32_0_2_node_39 | 0.4 | n |  | TRUE
28 | bus_LV_1630-32_0_2_node_18 | 0.4 | n |  | TRUE
29 | bus_LV_1630-32_0_2_node_20 | 0.4 | n |  | TRUE
30 | bus_LV_1630-32_0_2_node_31 | 0.4 | n |  | TRUE
31 | bus_LV_1630-32_0_2_node_23 | 0.4 | n |  | TRUE
32 | bus_LV_1630-32_0_2_node_26 | 0.4 | n |  | TRUE
33 | bus_LV_1630-32_0_2_node_29 | 0.4 | n |  | TRUE
34 | bus_LV_1630-32_0_2_node_28 | 0.4 | n |  | TRUE
35 | bus_LV_1630-32_0_2_node_36 | 0.4 | n |  | TRUE
36 | bus_LV_1630-32_0_2_node_32 | 0.4 | n |  | TRUE
37 | bus_LV_1630-32_0_2_node_33 | 0.4 | n |  | TRUE
38 | bus_LV_1630-32_0_2_node_34 | 0.4 | n |  | TRUE
39 | bus_LV_1630-32_0_2_node_35 | 0.4 | n |  | TRUE
40 | bus_LV_1630-32_0_2_node_37 | 0.4 | n |  | TRUE
41 | bus_LV_1630-32_0_2_node_38 | 0.4 | n |  | TRUE
42 | bus_LV_1630-32_0_2_node_40 | 0.4 | n |  | TRUE
43 | bus_MV_224_0_node_0 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1630-32_0_2_load_0 | 0 | 0.0030027 | 0.00075254 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1630-32_0_2_load_1 | 1 | 0.00075336 | 0.00018881 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1630-32_0_2_load_2 | 2 | 0.0040935 | 0.0010259 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1630-32_0_2_load_3 | 3 | 0.0025061 | 0.00062808 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1630-32_0_2_load_7 | 7 | 0.0006987 | 0.00017511 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1630-32_0_2_load_16 | 10 | 0.0054872 | 0.0013752 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1630-32_0_2_load_17 | 11 | 0.0010063 | 0.00025221 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1630-32_0_2_load_30 | 13 | 0.0013295 | 0.0003332 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1630-32_0_2_load_11 | 14 | 0.00073531 | 0.00018429 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1630-32_0_2_load_8 | 15 | 0.0015713 | 0.00039381 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1630-32_0_2_load_41 | 16 | 0.0028187 | 0.00070643 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1630-32_0_2_load_10 | 18 | 0.00072501 | 0.00018171 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1630-32_0_2_load_13 | 19 | 0.01284 | 0.0032179 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1630-32_0_2_load_19 | 22 | 0.00059317 | 0.00014866 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1630-32_0_2_load_44 | 23 | 0.00084538 | 0.00021187 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1630-32_0_2_load_45 | 25 | 0.00047921 | 0.0001201 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1630-32_0_2_load_39 | 27 | 0.0011839 | 0.00029671 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1630-32_0_2_load_18 | 28 | 0.021136 | 0.0052971 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1630-32_0_2_load_20 | 29 | 0.026078 | 0.0065357 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1630-32_0_2_load_31 | 30 | 0.0035169 | 0.00088141 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1630-32_0_2_load_23 | 31 | 0.0037017 | 0.00092774 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1630-32_0_2_load_26 | 32 | 0.0011231 | 0.00028149 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1630-32_0_2_load_36 | 35 | 0.0014257 | 0.00035731 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1630-32_0_2_load_32 | 36 | 0.0023989 | 0.00060123 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1630-32_0_2_load_33 | 37 | 0.002164 | 0.00054234 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1630-32_0_2_load_34 | 38 | 0.0011093 | 0.00027803 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1630-32_0_2_load_37 | 40 | 0.00042211 | 0.00010579 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1630-32_0_2_load_38 | 41 | 0.0035152 | 0.00088099 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1630-32_0_2_load_40 | 42 | 0.0046455 | 0.0011643 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 1 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1630-32_0_2_line_0 |  | 0 | 1 | 0.0055921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1630-32_0_2_line_1 |  | 0 | 2 | 0.036109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1630-32_0_2_line_2 |  | 1 | 3 | 0.020806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1630-32_0_2_line_3 |  | 2 | 4 | 0.032414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1630-32_0_2_line_4 |  | 3 | 5 | 0.055902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1630-32_0_2_line_5 |  | 4 | 6 | 0.083483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1630-32_0_2_line_6 |  | 4 | 7 | 0.015386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1630-32_0_2_line_7 |  | 5 | 8 | 0.014082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1630-32_0_2_line_8 |  | 5 | 9 | 0.001909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1630-32_0_2_line_9 |  | 6 | 10 | 0.038351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1630-32_0_2_line_10 |  | 6 | 11 | 0.073587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1630-32_0_2_line_11 |  | 7 | 12 | 0.044641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1630-32_0_2_line_12 |  | 8 | 13 | 0.032109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1630-32_0_2_line_13 |  | 9 | 14 | 0.026966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1630-32_0_2_line_14 |  | 9 | 15 | 0.012492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1630-32_0_2_line_15 |  | 11 | 16 | 0.014066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1630-32_0_2_line_16 |  | 12 | 17 | 0.24135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1630-32_0_2_line_17 |  | 13 | 21 | 0.0058489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1630-32_0_2_line_18 |  | 14 | 19 | 0.080199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1630-32_0_2_line_19 |  | 15 | 18 | 0.032834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1630-32_0_2_line_20 |  | 16 | 27 | 0.0042573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1630-32_0_2_line_21 |  | 17 | 23 | 0.026224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1630-32_0_2_line_22 |  | 17 | 24 | 0.026894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1630-32_0_2_line_23 |  | 20 | 21 | 0.031388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1630-32_0_2_line_24 |  | 20 | 22 | 0.073464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1630-32_0_2_line_25 |  | 21 | 30 | 0.01704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1630-32_0_2_line_26 |  | 22 | 28 | 0.039162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1630-32_0_2_line_27 |  | 24 | 25 | 0.0104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1630-32_0_2_line_28 |  | 24 | 26 | 0.084582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1630-32_0_2_line_29 |  | 26 | 32 | 0.039132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1630-32_0_2_line_30 |  | 26 | 31 | 0.013525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1630-32_0_2_line_31 |  | 27 | 40 | 0.0039152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1630-32_0_2_line_32 |  | 28 | 29 | 0.086417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1630-32_0_2_line_33 |  | 32 | 33 | 0.07742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1630-32_0_2_line_34 |  | 33 | 34 | 0.035486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1630-32_0_2_line_35 |  | 34 | 35 | 0.091204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1630-32_0_2_line_36 |  | 36 | 37 | 0.013149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1630-32_0_2_line_37 |  | 37 | 38 | 0.0094724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1630-32_0_2_line_38 |  | 38 | 39 | 0.0092792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1630-32_0_2_line_39 |  | 39 | 40 | 0.035469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1630-32_0_2_line_40 |  | 39 | 41 | 0.024964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1630-32_0_2_line_41 |  | 41 | 42 | 0.034781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1630-32_0_2_trafo_1 | 0.63 MVA 20/0.4 kV | 43 | 1 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12
0 | 2723626.0258 | 1215353.5817 | 2723620.6135 | 1215352.1749
1 | 2723626.0258 | 1215353.5817 | 2723631.0414 | 1215354.8854 | 2723661.0233 | 1215362.4724
2 | 2723620.6135 | 1215352.1749 | 2723606.1686 | 1215348.4202 | 2723600.5189 | 1215346.7864
3 | 2723691.6883 | 1215372.9019 | 2723679.8566 | 1215368.3529 | 2723665.2199 | 1215363.5344 | 2723661.0233 | 1215362.4724
4 | 2723559.5178 | 1215311.8915 | 2723563.7691 | 1215320.0748 | 2723567.6929 | 1215326.1053 | 2723572.099 | 1215331.2228 | 2723577.9824 | 1215336.1597 | 2723583.5487 | 1215339.9113 | 2723589.0466 | 1215342.5607 | 2723597.3868 | 1215345.8806 | 2723600.5189 | 1215346.7864
5 | 2723691.6883 | 1215372.9019 | 2723698.6393 | 1215356.4222 | 2723701.1528 | 1215345.855 | 2723702.1166 | 1215335.289 | 2723701.7431 | 1215326.2076 | 2723700.4675 | 1215318.1304 | 2723697.5015 | 1215304.7585 | 2723693.2403 | 1215292.3048
6 | 2723691.6883 | 1215372.9019 | 2723703.6048 | 1215378.8537 | 2723705.398 | 1215379.8784
7 | 2723559.5178 | 1215311.8915 | 2723546.7453 | 1215317.8981
8 | 2723559.5178 | 1215311.8915 | 2723558.8331 | 1215310.1092
9 | 2723693.2403 | 1215292.3048 | 2723692.7312 | 1215280.2404 | 2723685.4921 | 1215254.9817
10 | 2723693.2403 | 1215292.3048 | 2723681.4805 | 1215267.4526 | 2723679.938 | 1215256.1341 | 2723664.1388 | 1215225.2738
11 | 2723742.1813 | 1215405.0525 | 2723729.0655 | 1215395.0391 | 2723717.0952 | 1215386.5619 | 2723705.398 | 1215379.8784
12 | 2723546.7453 | 1215317.8981 | 2723549.281 | 1215329.3262 | 2723559.05 | 1215330.7853 | 2723560.2814 | 1215336.6043 | 2723561.2891 | 1215341.0694
13 | 2723558.8331 | 1215310.1092 | 2723557.0315 | 1215305.4127 | 2723554.2861 | 1215297.5052 | 2723550.0046 | 1215284.6337
14 | 2723558.8331 | 1215310.1092 | 2723570.4354 | 1215305.478
15 | 2723664.1388 | 1215225.2738 | 2723657.7289 | 1215212.7536
16 | 2723742.1813 | 1215405.0525 | 2723752.2385 | 1215414.5686 | 2723759.5817 | 1215422.3605 | 2723768.0625 | 1215432.4332 | 2723774.1946 | 1215441.1117 | 2723783.0952 | 1215454.3735 | 2723790.1141 | 1215467.1625 | 2723795.528 | 1215479.3288 | 2723836.2741 | 1215584.1789 | 2723838.0381 | 1215588.8413 | 2723840.6803 | 1215595.4792 | 2723845.7568 | 1215608.517 | 2723854.4041 | 1215602.5253
17 | 2723562.5925 | 1215346.7712 | 2723562.3337 | 1215345.6983 | 2723561.2891 | 1215341.0694
18 | 2723550.0046 | 1215284.6337 | 2723524.6918 | 1215208.5342
19 | 2723579.4738 | 1215280.0137 | 2723582.4782 | 1215288.616 | 2723583.0423 | 1215291.8191 | 2723582.8104 | 1215294.9389 | 2723582.1725 | 1215297.1274 | 2723580.6867 | 1215299.9098 | 2723578.6413 | 1215302.2026 | 2723570.4354 | 1215305.478
20 | 2723657.7289 | 1215212.7536 | 2723655.7888 | 1215208.964
21 | 2723879.9813 | 1215598.0644 | 2723867.9876 | 1215598.0485 | 2723854.4041 | 1215602.5253
22 | 2723851.6986 | 1215623.7745 | 2723845.7568 | 1215608.517 | 2723854.4041 | 1215602.5253
23 | 2723562.5925 | 1215346.7712 | 2723531.8126 | 1215353.3495
24 | 2723531.8126 | 1215353.3495 | 2723539.7013 | 1215390.8977 | 2723543.683 | 1215409.8838 | 2723545.3221 | 1215417.6571 | 2723546.9151 | 1215425.2442
25 | 2723572.5933 | 1215360.1221 | 2723570.3571 | 1215359.1639 | 2723562.5925 | 1215346.7712
26 | 2723546.9151 | 1215425.2442 | 2723554.9626 | 1215463.5703
27 | 2723851.6986 | 1215623.7745 | 2723841.9304 | 1215627.4189
28 | 2723847.3275 | 1215682.029 | 2723862.0417 | 1215680.5225 | 2723872.9776 | 1215678.437 | 2723864.4329 | 1215656.4868 | 2723851.6986 | 1215623.7745
29 | 2723847.3275 | 1215682.029 | 2723842.2087 | 1215687.8383 | 2723832.3117 | 1215702.066 | 2723836.1406 | 1215715.5927
30 | 2723847.3275 | 1215682.029 | 2723837.0704 | 1215681.7935 | 2723833.806 | 1215681.7363
31 | 2723654.0046 | 1215205.479 | 2723655.7888 | 1215208.964
32 | 2723572.7239 | 1215548.1423 | 2723563.4002 | 1215503.7542 | 2723554.9626 | 1215463.5703
33 | 2723857.2265 | 1215790.0854 | 2723836.1406 | 1215715.5927
34 | 2723891.4998 | 1215780.8905 | 2723873.0703 | 1215785.7446 | 2723857.2265 | 1215790.0854
35 | 2723891.4998 | 1215780.8905 | 2723867.3711 | 1215692.9363
36 | 2723643.6018 | 1215146.7716 | 2723646.1791 | 1215154.4104 | 2723646.4915 | 1215159.4875
37 | 2723643.3451 | 1215168.3402 | 2723645.7992 | 1215163.1982 | 2723646.4915 | 1215159.4875 | 2723646.4915 | 1215159.4875
38 | 2723636.5295 | 1215174.6371 | 2723643.3451 | 1215168.3402 | 2723643.3451 | 1215168.3402
39 | 2723636.5295 | 1215174.6371 | 2723640.6564 | 1215181.1277 | 2723648.6994 | 1215195.1165 | 2723654.0046 | 1215205.479
40 | 2723636.5295 | 1215174.6371 | 2723631.6832 | 1215168.7654 | 2723619.9347 | 1215155.997
41 | 2723596.2503 | 1215130.5388 | 2723597.6584 | 1215131.7868 | 2723619.9347 | 1215155.997

## bus_geodata
| x | y | coords
0 | 2723626.0258 | 1215353.5817
1 | 2723620.6135 | 1215352.1749
2 | 2723661.0233 | 1215362.4724
3 | 2723600.5189 | 1215346.7864
4 | 2723691.6883 | 1215372.9019
5 | 2723559.5178 | 1215311.8915
6 | 2723693.2403 | 1215292.3048
7 | 2723705.398 | 1215379.8784
8 | 2723546.7453 | 1215317.8981
9 | 2723558.8331 | 1215310.1092
10 | 2723685.4921 | 1215254.9817
11 | 2723664.1388 | 1215225.2738
12 | 2723742.1813 | 1215405.0525
13 | 2723561.2891 | 1215341.0694
14 | 2723550.0046 | 1215284.6337
15 | 2723570.4354 | 1215305.478
16 | 2723657.7289 | 1215212.7536
17 | 2723854.4041 | 1215602.5253
18 | 2723579.4738 | 1215280.0137
19 | 2723524.6918 | 1215208.5342
20 | 2723531.8126 | 1215353.3495
21 | 2723562.5925 | 1215346.7712
22 | 2723546.9151 | 1215425.2442
23 | 2723879.9813 | 1215598.0644
24 | 2723851.6986 | 1215623.7745
25 | 2723841.9304 | 1215627.4189
26 | 2723847.3275 | 1215682.029
27 | 2723655.7888 | 1215208.964
28 | 2723554.9626 | 1215463.5703
29 | 2723572.7239 | 1215548.1423
30 | 2723572.5933 | 1215360.1221
31 | 2723833.806 | 1215681.7363
32 | 2723836.1406 | 1215715.5927
33 | 2723857.2265 | 1215790.0854
34 | 2723891.4998 | 1215780.8905
35 | 2723867.3711 | 1215692.9363
36 | 2723643.6018 | 1215146.7716
37 | 2723646.4915 | 1215159.4875
38 | 2723643.3451 | 1215168.3402
39 | 2723636.5295 | 1215174.6371
40 | 2723654.0046 | 1215205.479
41 | 2723619.9347 | 1215155.997
42 | 2723596.2503 | 1215130.5388
43 | 2723691.6883 | 1215372.9019

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9998 | -0.003915 | 0.0030027 | 0.00075254
1 | 1 | 0 | -0.11376 | -0.02845
2 | 0.99857 | -0.027337 | 0.0040935 | 0.0010259
3 | 0.99864 | -0.0258 | 0.0025061 | 0.00062808
4 | 0.9976 | -0.046087 | 0 | 0
5 | 0.99512 | -0.093 | 0 | 0
6 | 0.99571 | -0.082358 | 0 | 0
7 | 0.99748 | -0.048323 | 0.0006987 | 0.00017511
8 | 0.99444 | -0.10606 | 0 | 0
9 | 0.9951 | -0.093533 | 0 | 0
10 | 0.99552 | -0.086059 | 0.0054872 | 0.0013752
11 | 0.99442 | -0.10732 | 0.0010063 | 0.00025221
12 | 0.99717 | -0.054266 | 0 | 0
13 | 0.99288 | -0.13591 | 0.0013295 | 0.0003332
14 | 0.99476 | -0.09998 | 0.00073531 | 0.00018429
15 | 0.99507 | -0.094039 | 0.0015713 | 0.00039381
16 | 0.99418 | -0.11185 | 0.0028187 | 0.00070643
17 | 0.99551 | -0.086441 | 0 | 0
18 | 0.99505 | -0.094458 | 0.00072501 | 0.00018171
19 | 0.99382 | -0.11814 | 0.01284 | 0.0032179
20 | 0.99123 | -0.16781 | 0 | 0
21 | 0.99261 | -0.14122 | 0 | 0
22 | 0.98799 | -0.23032 | 0.00059317 | 0.00014866
23 | 0.99549 | -0.086831 | 0.00084538 | 0.00021187
24 | 0.99534 | -0.08963 | 0 | 0
25 | 0.99534 | -0.089718 | 0.00047921 | 0.0001201
26 | 0.99486 | -0.098951 | 0 | 0
27 | 0.99413 | -0.11301 | 0.0011839 | 0.00029671
28 | 0.98629 | -0.26339 | 0.021136 | 0.0052971
29 | 0.98422 | -0.30386 | 0.026078 | 0.0065357
30 | 0.99255 | -0.14228 | 0.0035169 | 0.00088141
31 | 0.99482 | -0.099832 | 0.0037017 | 0.00092774
32 | 0.99477 | -0.10071 | 0.0011231 | 0.00028149
33 | 0.99467 | -0.10266 | 0 | 0
34 | 0.99462 | -0.10356 | 0 | 0
35 | 0.99451 | -0.10585 | 0.0014257 | 0.00035731
36 | 0.99351 | -0.1249 | 0.0023989 | 0.00060123
37 | 0.99354 | -0.12434 | 0.002164 | 0.00054234
38 | 0.99358 | -0.12358 | 0.0011093 | 0.00027803
39 | 0.99363 | -0.12265 | 0 | 0
40 | 0.99407 | -0.11399 | 0.00042211 | 0.00010579
41 | 0.99344 | -0.12625 | 0.0035152 | 0.00088099
42 | 0.99329 | -0.1291 | 0.0046455 | 0.0011643
43 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.040292 | -0.01015 | 0.0403 | 0.010155 | 7.5459e-06 | 4.7561e-06 | 0.059986 | 0.059986 | 0.059986 | 0.9998 | -0.003915 | 1 | 0 | 16.4798
1 | 0.03729 | 0.0093978 | -0.037248 | -0.0093715 | 4.1736e-05 | 2.6238e-05 | 0.055517 | 0.055518 | 0.055518 | 0.9998 | -0.003915 | 0.99857 | -0.027337 | 15.2521
2 | 0.071812 | 0.018295 | -0.071722 | -0.018238 | 8.9265e-05 | 5.6857e-05 | 0.10696 | 0.10696 | 0.10696 | 1 | 0 | 0.99864 | -0.0258 | 29.3852
3 | 0.033154 | 0.0083456 | -0.033125 | -0.008327 | 2.9685e-05 | 1.8575e-05 | 0.049418 | 0.049418 | 0.049418 | 0.99857 | -0.027337 | 0.9976 | -0.046087 | 13.5763
4 | 0.069216 | 0.01761 | -0.068993 | -0.017468 | 0.00022339 | 0.00014224 | 0.10323 | 0.10323 | 0.10323 | 0.99864 | -0.0258 | 0.99512 | -0.093 | 28.3594
5 | 0.024832 | 0.0062503 | -0.024789 | -0.0062239 | 4.2971e-05 | 2.6414e-05 | 0.037049 | 0.037049 | 0.037049 | 0.9976 | -0.046087 | 0.99571 | -0.082358 | 10.1783
6 | 0.008293 | 0.0020767 | -0.0082921 | -0.0020763 | 8.8274e-07 | 3.641e-07 | 0.012369 | 0.012369 | 0.012369 | 0.9976 | -0.046087 | 0.99748 | -0.048323 | 3.3982
7 | 0.053106 | 0.013482 | -0.053072 | -0.013461 | 3.3351e-05 | 2.1162e-05 | 0.079471 | 0.079471 | 0.079471 | 0.99512 | -0.093 | 0.99444 | -0.10606 | 21.8326
8 | 0.015887 | 0.0039858 | -0.015887 | -0.0039856 | 4.0406e-07 | 2.338e-07 | 0.023758 | 0.023758 | 0.023758 | 0.99512 | -0.093 | 0.9951 | -0.093533 | 6.5268
9 | 0.0054882 | 0.0013753 | -0.0054872 | -0.0013752 | 9.6743e-07 | 1.2042e-07 | 0.0082016 | 0.0082018 | 0.0082018 | 0.99571 | -0.082358 | 0.99552 | -0.086059 | 2.2532
10 | 0.019301 | 0.0048486 | -0.019278 | -0.0048348 | 2.2964e-05 | 1.3741e-05 | 0.028847 | 0.028848 | 0.028848 | 0.99571 | -0.082358 | 0.99442 | -0.10732 | 7.9252
11 | 0.0075934 | 0.0019012 | -0.0075913 | -0.0019004 | 2.1479e-06 | 7.921e-07 | 0.011327 | 0.011327 | 0.011327 | 0.99748 | -0.048323 | 0.99717 | -0.054266 | 3.1119
12 | 0.053072 | 0.013461 | -0.052996 | -0.013413 | 7.6045e-05 | 4.8253e-05 | 0.079471 | 0.079471 | 0.079471 | 0.99444 | -0.10606 | 0.99288 | -0.13591 | 21.8327
13 | 0.01359 | 0.0034106 | -0.013586 | -0.0034083 | 4.1769e-06 | 2.323e-06 | 0.020324 | 0.020324 | 0.020324 | 0.9951 | -0.093533 | 0.99476 | -0.09998 | 5.5835
14 | 0.0022964 | 0.00057498 | -0.0022964 | -0.0005751 | 5.5236e-08 | -1.2693e-07 | 0.0034338 | 0.0034338 | 0.0034338 | 0.9951 | -0.093533 | 0.99507 | -0.094039 | 0.94336
15 | 0.018271 | 0.0045826 | -0.018267 | -0.0045803 | 3.9432e-06 | 2.3412e-06 | 0.027342 | 0.027342 | 0.027342 | 0.99442 | -0.10732 | 0.99418 | -0.11185 | 7.5115
16 | 0.0075913 | 0.0019004 | -0.0075797 | -0.0018962 | 1.1614e-05 | 4.2896e-06 | 0.011327 | 0.011328 | 0.011328 | 0.99717 | -0.054266 | 0.99551 | -0.086441 | 3.1122
17 | 0.051667 | 0.013079 | -0.051654 | -0.013071 | 1.3166e-05 | 8.3509e-06 | 0.077478 | 0.077478 | 0.077478 | 0.99288 | -0.13591 | 0.99261 | -0.14122 | 21.2853
18 | 0.012851 | 0.003224 | -0.01284 | -0.0032179 | 1.1115e-05 | 6.0732e-06 | 0.019224 | 0.019224 | 0.019224 | 0.99476 | -0.09998 | 0.99382 | -0.11814 | 5.2814
19 | 0.00072503 | 0.00018129 | -0.00072501 | -0.00018171 | 1.4472e-08 | -4.1726e-07 | 0.0010841 | 0.0010842 | 0.0010842 | 0.99507 | -0.094039 | 0.99505 | -0.094458 | 0.29786
20 | 0.015449 | 0.0038739 | -0.015448 | -0.0038734 | 8.536e-07 | 4.9111e-07 | 0.023123 | 0.023123 | 0.023123 | 0.99418 | -0.11185 | 0.99413 | -0.11301 | 6.3525
21 | 0.00084539 | 0.00021154 | -0.00084538 | -0.00021187 | 1.5701e-08 | -3.309e-07 | 0.0012635 | 0.0012636 | 0.0012636 | 0.99551 | -0.086441 | 0.99549 | -0.086831 | 0.34715
22 | 0.0067343 | 0.0016846 | -0.0067333 | -0.0016843 | 1.0217e-06 | 3.0425e-07 | 0.010065 | 0.010065 | 0.010065 | 0.99551 | -0.086441 | 0.99534 | -0.08963 | 2.7651
23 | -0.048075 | -0.012151 | 0.048137 | 0.01219 | 6.1368e-05 | 3.8871e-05 | 0.072206 | 0.072206 | 0.072206 | 0.99123 | -0.16781 | 0.99261 | -0.14122 | 19.8369
24 | 0.048075 | 0.012151 | -0.047932 | -0.01206 | 0.00014363 | 9.0982e-05 | 0.072206 | 0.072207 | 0.072207 | 0.99123 | -0.16781 | 0.98799 | -0.23032 | 19.837
25 | 0.0035171 | 0.00088131 | -0.0035169 | -0.00088141 | 1.7763e-07 | -1.0657e-07 | 0.0052723 | 0.0052724 | 0.0052724 | 0.99261 | -0.14122 | 0.99255 | -0.14228 | 1.4485
26 | 0.047339 | 0.011911 | -0.047264 | -0.011864 | 7.4686e-05 | 4.7298e-05 | 0.071313 | 0.071313 | 0.071313 | 0.98799 | -0.23032 | 0.98629 | -0.26339 | 19.5916
27 | 0.00047921 | 0.00011997 | -0.00047921 | -0.0001201 | 2.0015e-09 | -1.3389e-07 | 0.00071636 | 0.00071641 | 0.00071641 | 0.99534 | -0.08963 | 0.99534 | -0.089718 | 0.19681
28 | 0.0062541 | 0.0015643 | -0.0062513 | -0.0015637 | 2.7722e-06 | 6.7538e-07 | 0.0093486 | 0.009349 | 0.009349 | 0.99534 | -0.08963 | 0.99486 | -0.098951 | 2.5684
29 | 0.0025494 | 0.000636 | -0.0025492 | -0.00063637 | 2.1326e-07 | -3.7159e-07 | 0.0038121 | 0.0038123 | 0.0038123 | 0.99486 | -0.098951 | 0.99477 | -0.10071 | 1.0473
30 | 0.0037019 | 0.00092767 | -0.0037017 | -0.00092774 | 1.5549e-07 | -7.6096e-08 | 0.0055369 | 0.0055369 | 0.0055369 | 0.99486 | -0.098951 | 0.99482 | -0.099832 | 1.5211
31 | 0.014264 | 0.0035767 | -0.014263 | -0.0035763 | 6.6931e-07 | 3.776e-07 | 0.021351 | 0.021351 | 0.021351 | 0.99413 | -0.11301 | 0.99407 | -0.11399 | 5.8657
32 | 0.026128 | 0.0065668 | -0.026078 | -0.0065357 | 5.0373e-05 | 3.1138e-05 | 0.039426 | 0.039426 | 0.039426 | 0.98629 | -0.26339 | 0.98422 | -0.30386 | 10.8314
33 | 0.001426 | 0.00035489 | -0.0014259 | -0.00035581 | 1.3202e-07 | -9.205e-07 | 0.0021322 | 0.0021326 | 0.0021326 | 0.99477 | -0.10071 | 0.99467 | -0.10266 | 0.58588
34 | 0.0014259 | 0.00035581 | -0.0014258 | -0.00035623 | 6.0525e-08 | -4.2184e-07 | 0.0021326 | 0.0021328 | 0.0021328 | 0.99467 | -0.10266 | 0.99462 | -0.10356 | 0.58592
35 | 0.0014258 | 0.00035623 | -0.0014257 | -0.00035731 | 1.556e-07 | -1.084e-06 | 0.0021328 | 0.0021332 | 0.0021332 | 0.99462 | -0.10356 | 0.99451 | -0.10585 | 0.58604
36 | -0.0023989 | -0.00060123 | 0.002399 | 0.0006011 | 6.3652e-08 | -1.2954e-07 | 0.003593 | 0.0035929 | 0.003593 | 0.99351 | -0.1249 | 0.99354 | -0.12434 | 0.98708
37 | -0.004563 | -0.0011434 | 0.0045631 | 0.0011434 | 1.6589e-07 | -1.6505e-08 | 0.0068339 | 0.0068338 | 0.0068339 | 0.99354 | -0.12434 | 0.99358 | -0.12358 | 1.8774
38 | -0.0056725 | -0.0014215 | 0.0056727 | 0.0014215 | 2.5112e-07 | 4.0536e-08 | 0.0084952 | 0.0084952 | 0.0084952 | 0.99358 | -0.12358 | 0.99363 | -0.12265 | 2.3339
39 | -0.013835 | -0.0034673 | 0.013841 | 0.0034705 | 5.71e-06 | 3.1948e-06 | 0.020719 | 0.020719 | 0.020719 | 0.99363 | -0.12265 | 0.99407 | -0.11399 | 5.6921
40 | 0.0081627 | 0.0020458 | -0.0081614 | -0.0020452 | 1.3989e-06 | 5.7203e-07 | 0.012224 | 0.012224 | 0.012224 | 0.99363 | -0.12265 | 0.99344 | -0.12625 | 3.3583
41 | 0.0046461 | 0.0011642 | -0.0046455 | -0.0011643 | 6.3167e-07 | -4.5999e-08 | 0.0069591 | 0.0069593 | 0.0069593 | 0.99344 | -0.12625 | 0.99329 | -0.1291 | 1.9119

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.11451 | 0.028639

## res_load
| p_mw | q_mvar
0 | 0.0030027 | 0.00075254
1 | 0.00075336 | 0.00018881
2 | 0.0040935 | 0.0010259
3 | 0.0025061 | 0.00062808
4 | 0.0006987 | 0.00017511
5 | 0.0054872 | 0.0013752
6 | 0.0010063 | 0.00025221
7 | 0.0013295 | 0.0003332
8 | 0.00073531 | 0.00018429
9 | 0.0015713 | 0.00039381
10 | 0.0028187 | 0.00070643
11 | 0.00072501 | 0.00018171
12 | 0.01284 | 0.0032179
13 | 0.00059317 | 0.00014866
14 | 0.00084538 | 0.00021187
15 | 0.00047921 | 0.0001201
16 | 0.0011839 | 0.00029671
17 | 0.021136 | 0.0052971
18 | 0.026078 | 0.0065357
19 | 0.0035169 | 0.00088141
20 | 0.0037017 | 0.00092774
21 | 0.0011231 | 0.00028149
22 | 0.0014257 | 0.00035731
23 | 0.0023989 | 0.00060123
24 | 0.002164 | 0.00054234
25 | 0.0011093 | 0.00027803
26 | 0.00042211 | 0.00010579
27 | 0.0035152 | 0.00088099
28 | 0.0046455 | 0.0011643

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1