## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1630-36_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1630-36_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1630-36_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1630-36_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1630-36_0_3_node_17 | 0.4 | n |  | TRUE
5 | bus_LV_1630-36_0_3_node_20 | 0.4 | n |  | TRUE
6 | bus_LV_1630-36_0_3_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_1630-36_0_3_node_16 | 0.4 | n |  | TRUE
8 | bus_LV_1630-36_0_3_node_19 | 0.4 | n |  | TRUE
9 | bus_LV_1630-36_0_3_node_13 | 0.4 | n |  | TRUE
10 | bus_LV_1630-36_0_3_node_18 | 0.4 | n |  | TRUE
11 | bus_LV_1630-36_0_3_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_1630-36_0_3_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_1630-36_0_3_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_1630-36_0_3_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_1630-36_0_3_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_1630-36_0_3_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_1630-36_0_3_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_1630-36_0_3_node_38 | 0.4 | n |  | TRUE
19 | bus_LV_1630-36_0_3_node_39 | 0.4 | n |  | TRUE
20 | bus_LV_1630-36_0_3_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_1630-36_0_3_node_21 | 0.4 | n |  | TRUE
22 | bus_LV_1630-36_0_3_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_1630-36_0_3_node_27 | 0.4 | n |  | TRUE
24 | bus_LV_1630-36_0_3_node_25 | 0.4 | n |  | TRUE
25 | bus_LV_1630-36_0_3_node_34 | 0.4 | n |  | TRUE
26 | bus_LV_1630-36_0_3_node_31 | 0.4 | n |  | TRUE
27 | bus_LV_1630-36_0_3_node_40 | 0.4 | n |  | TRUE
28 | bus_LV_1630-36_0_3_node_23 | 0.4 | n |  | TRUE
29 | bus_LV_1630-36_0_3_node_36 | 0.4 | n |  | TRUE
30 | bus_LV_1630-36_0_3_node_30 | 0.4 | n |  | TRUE
31 | bus_LV_1630-36_0_3_node_22 | 0.4 | n |  | TRUE
32 | bus_LV_1630-36_0_3_node_26 | 0.4 | n |  | TRUE
33 | bus_LV_1630-36_0_3_node_32 | 0.4 | n |  | TRUE
34 | bus_LV_1630-36_0_3_node_24 | 0.4 | n |  | TRUE
35 | bus_LV_1630-36_0_3_node_29 | 0.4 | n |  | TRUE
36 | bus_LV_1630-36_0_3_node_37 | 0.4 | n |  | TRUE
37 | bus_LV_1630-36_0_3_node_28 | 0.4 | n |  | TRUE
38 | bus_LV_1630-36_0_3_node_35 | 0.4 | n |  | TRUE
39 | bus_LV_1630-36_0_3_node_33 | 0.4 | n |  | TRUE
40 | bus_MV_152_0_node_155 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1630-36_0_3_load_0 | 0 | 0.0041598 | 0.0010425 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1630-36_0_3_load_3 | 3 | 0.0070244 | 0.0017605 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1630-36_0_3_load_17 | 4 | 0.015682 | 0.0039302 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1630-36_0_3_load_20 | 5 | 0.0057446 | 0.0014397 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1630-36_0_3_load_4 | 6 | 0.0070416 | 0.0017648 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1630-36_0_3_load_16 | 7 | 0.0098193 | 0.0024609 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1630-36_0_3_load_19 | 8 | 0.0068823 | 0.0017249 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1630-36_0_3_load_6 | 11 | 0.022743 | 0.0056998 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1630-36_0_3_load_9 | 14 | 0.026035 | 0.0065251 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1630-36_0_3_load_11 | 16 | 0.018484 | 0.0046325 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1630-36_0_3_load_38 | 18 | 0.026031 | 0.006524 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1630-36_0_3_load_21 | 21 | 0.0067578 | 0.0016937 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1630-36_0_3_load_27 | 23 | 0.01273 | 0.0031905 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1630-36_0_3_load_25 | 24 | 0.016378 | 0.0041047 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1630-36_0_3_load_34 | 25 | 0.020728 | 0.005195 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1630-36_0_3_load_31 | 26 | 0.020718 | 0.0051925 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1630-36_0_3_load_40 | 27 | 0.01941 | 0.0048646 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1630-36_0_3_load_36 | 29 | 0.0081953 | 0.0020539 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1630-36_0_3_load_24 | 34 | 0.033949 | 0.0085085 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1630-36_0_3_load_37 | 36 | 0.016642 | 0.0041708 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1630-36_0_3_load_28 | 37 | 0.014808 | 0.0037111 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1630-36_0_3_load_35 | 38 | 0.013207 | 0.0033099 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1630-36_0_3_load_33 | 39 | 0.01644 | 0.0041203 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 39 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1630-36_0_3_line_0 |  | 0 | 1 | 0.019346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1630-36_0_3_line_1 |  | 1 | 2 | 0.003506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1630-36_0_3_line_2 |  | 1 | 3 | 0.024631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1630-36_0_3_line_3 |  | 2 | 4 | 0.014012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1630-36_0_3_line_4 |  | 2 | 5 | 0.022323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1630-36_0_3_line_5 |  | 3 | 6 | 0.010821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1630-36_0_3_line_6 |  | 4 | 7 | 0.0083232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1630-36_0_3_line_7 |  | 5 | 8 | 0.0025439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1630-36_0_3_line_8 |  | 8 | 9 | 0.024264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1630-36_0_3_line_9 |  | 9 | 10 | 0.03818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1630-36_0_3_line_10 |  | 10 | 16 | 0.013781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1630-36_0_3_line_11 |  | 11 | 12 | 0.0084717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1630-36_0_3_line_12 |  | 11 | 13 | 0.019399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1630-36_0_3_line_13 |  | 12 | 14 | 0.012367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1630-36_0_3_line_14 |  | 12 | 15 | 0.037805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1630-36_0_3_line_15 |  | 13 | 16 | 0.0030963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1630-36_0_3_line_16 |  | 13 | 17 | 0.086189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
17 | LV_1630-36_0_3_line_17 |  | 15 | 18 | 0.015252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1630-36_0_3_line_18 |  | 15 | 19 | 0.046545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1630-36_0_3_line_19 |  | 17 | 20 | 0.074882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_1630-36_0_3_line_20 |  | 17 | 21 | 0.016393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1630-36_0_3_line_21 |  | 19 | 27 | 0.002371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1630-36_0_3_line_22 |  | 20 | 25 | 0.021513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1630-36_0_3_line_23 |  | 20 | 26 | 0.021123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_1630-36_0_3_line_24 |  | 21 | 31 | 0.011478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1630-36_0_3_line_25 |  | 22 | 23 | 0.011248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1630-36_0_3_line_26 |  | 22 | 24 | 0.0061915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1630-36_0_3_line_27 |  | 23 | 30 | 0.01634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1630-36_0_3_line_28 |  | 24 | 32 | 0.0065917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1630-36_0_3_line_29 |  | 26 | 33 | 0.021618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_1630-36_0_3_line_30 |  | 28 | 29 | 0.010371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1630-36_0_3_line_31 |  | 28 | 30 | 0.029482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1630-36_0_3_line_32 |  | 30 | 38 | 0.00779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1630-36_0_3_line_33 |  | 31 | 34 | 0.020591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1630-36_0_3_line_34 |  | 32 | 37 | 0.028792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1630-36_0_3_line_35 |  | 32 | 35 | 0.020154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1630-36_0_3_line_36 |  | 33 | 39 | 0.038664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
37 | LV_1630-36_0_3_line_37 |  | 33 | 35 | 0.001375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1630-36_0_3_line_38 |  | 35 | 36 | 0.036991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1630-36_0_3_trafo_33 | 0.63 MVA 20/0.4 kV | 40 | 39 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2724101.4116 | 1216587.8193 | 2724090.883 | 1216587.1996 | 2724082.8435 | 1216590.7761
1 | 2724101.4116 | 1216587.8193 | 2724101.9092 | 1216584.3492
2 | 2724101.4116 | 1216587.8193 | 2724101.374 | 1216595.0909 | 2724102.4157 | 1216604.5088 | 2724103.3911 | 1216612.3318
3 | 2724101.9092 | 1216584.3492 | 2724115.8791 | 1216585.438
4 | 2724101.9092 | 1216584.3492 | 2724102.7729 | 1216580.0749 | 2724104.7408 | 1216570.9199 | 2724107.141 | 1216562.6631
5 | 2724103.3911 | 1216612.3318 | 2724103.639 | 1216614.3197 | 2724103.7586 | 1216618.0585 | 2724103.2129 | 1216623.1066
6 | 2724115.8791 | 1216585.438 | 2724124.1771 | 1216586.0847
7 | 2724107.141 | 1216562.6631 | 2724107.8511 | 1216560.2203
8 | 2724115.9967 | 1216537.3725 | 2724113.3968 | 1216544.4128 | 2724108.8887 | 1216556.6507 | 2724107.8511 | 1216560.2203
9 | 2724115.9967 | 1216537.3725 | 2724124.1995 | 1216536.9875 | 2724130.665 | 1216536.5106 | 2724154.2618 | 1216536.5243
10 | 2724154.2618 | 1216536.5243 | 2724168.0426 | 1216536.4666
11 | 2724167.9642 | 1216564.1424 | 2724168.9292 | 1216555.7259
12 | 2724171.1389 | 1216536.4536 | 2724168.9292 | 1216555.7259
13 | 2724167.9642 | 1216564.1424 | 2724155.5842 | 1216564.8963
14 | 2724167.9642 | 1216564.1424 | 2724164.482 | 1216594.5603 | 2724167.6743 | 1216600.9985
15 | 2724171.1389 | 1216536.4536 | 2724168.0426 | 1216536.4666
16 | 2724171.1389 | 1216536.4536 | 2724192.8091 | 1216536.3495 | 2724200.6896 | 1216537.2144 | 2724228.704 | 1216540.2672 | 2724234.0717 | 1216535.9869 | 2724238.5589 | 1216533.1337 | 2724242.1046 | 1216532.0957 | 2724246.3324 | 1216531.8503 | 2724254.6293 | 1216531.6898
17 | 2724167.6743 | 1216600.9985 | 2724152.4468 | 1216599.5468
18 | 2724167.6743 | 1216600.9985 | 2724170.6621 | 1216607.0433 | 2724168.0319 | 1216633.7538 | 2724155.0518 | 1216633.0606
19 | 2724254.6293 | 1216531.6898 | 2724246.3324 | 1216531.8503 | 2724242.1046 | 1216532.0957 | 2724238.5589 | 1216533.1337 | 2724234.0717 | 1216535.9869 | 2724228.704 | 1216540.2672 | 2724233.6089 | 1216542.5157 | 2724235.1768 | 1216544.5388 | 2724235.612 | 1216547.339 | 2724237.491 | 1216577.0458 | 2724232.3638 | 1216579.9968
20 | 2724254.6293 | 1216531.6898 | 2724255.9073 | 1216548.0328
21 | 2724155.2151 | 1216630.6955 | 2724155.0518 | 1216633.0606
22 | 2724232.3638 | 1216579.9968 | 2724227.8405 | 1216572.5633 | 2724218.3527 | 1216563.9144
23 | 2724232.3638 | 1216579.9968 | 2724220.9576 | 1216593.4139 | 2724219.3248 | 1216596.5239
24 | 2724257.8762 | 1216559.1678 | 2724256.5838 | 1216556.6834 | 2724255.9073 | 1216548.0328
25 | 2724241.0505 | 1216609.2006 | 2724251.9394 | 1216606.381
26 | 2724241.0505 | 1216609.2006 | 2724237.819 | 1216614.4818
27 | 2724268.1765 | 1216604.5847 | 2724262.3641 | 1216605.0639 | 2724251.9394 | 1216606.381
28 | 2724235.5557 | 1216620.6728 | 2724237.819 | 1216614.4818
29 | 2724217.9743 | 1216617.0147 | 2724215.3512 | 1216606.5963 | 2724217.1692 | 1216600.6295 | 2724219.3248 | 1216596.5239
30 | 2724297.6138 | 1216605.6661 | 2724297.4353 | 1216595.2987
31 | 2724268.1765 | 1216604.5847 | 2724279.3746 | 1216604.4181 | 2724281.3168 | 1216604.5142 | 2724292.6767 | 1216605.3295 | 2724297.6138 | 1216605.6661
32 | 2724268.1765 | 1216604.5847 | 2724268.02 | 1216596.7976
33 | 2724258.5786 | 1216579.743 | 2724257.8762 | 1216559.1678
34 | 2724235.5557 | 1216620.6728 | 2724264.4286 | 1216621.1417
35 | 2724219.2388 | 1216617.5637 | 2724234.2828 | 1216624.1713 | 2724235.5557 | 1216620.6728
36 | 2724191.3773 | 1216594.087 | 2724192.3867 | 1216598.8562 | 2724201.4544 | 1216613.0784 | 2724217.9743 | 1216617.0147
37 | 2724219.2388 | 1216617.5637 | 2724217.9743 | 1216617.0147
38 | 2724196.6719 | 1216634.4621 | 2724206.5736 | 1216636.003 | 2724215.3666 | 1216635.3524 | 2724219.2388 | 1216617.5637

## bus_geodata
| x | y | coords
0 | 2724082.8435 | 1216590.7761
1 | 2724101.4116 | 1216587.8193
2 | 2724101.9092 | 1216584.3492
3 | 2724103.3911 | 1216612.3318
4 | 2724115.8791 | 1216585.438
5 | 2724107.141 | 1216562.6631
6 | 2724103.2129 | 1216623.1066
7 | 2724124.1771 | 1216586.0847
8 | 2724107.8511 | 1216560.2203
9 | 2724115.9967 | 1216537.3725
10 | 2724154.2618 | 1216536.5243
11 | 2724168.9292 | 1216555.7259
12 | 2724167.9642 | 1216564.1424
13 | 2724171.1389 | 1216536.4536
14 | 2724155.5842 | 1216564.8963
15 | 2724167.6743 | 1216600.9985
16 | 2724168.0426 | 1216536.4666
17 | 2724254.6293 | 1216531.6898
18 | 2724152.4468 | 1216599.5468
19 | 2724155.0518 | 1216633.0606
20 | 2724232.3638 | 1216579.9968
21 | 2724255.9073 | 1216548.0328
22 | 2724241.0506 | 1216609.2006
23 | 2724251.9394 | 1216606.381
24 | 2724237.819 | 1216614.4818
25 | 2724218.3527 | 1216563.9144
26 | 2724219.3248 | 1216596.5239
27 | 2724155.2151 | 1216630.6955
28 | 2724297.6138 | 1216605.6661
29 | 2724297.4353 | 1216595.2987
30 | 2724268.1765 | 1216604.5847
31 | 2724257.8762 | 1216559.1678
32 | 2724235.5557 | 1216620.6728
33 | 2724217.9743 | 1216617.0147
34 | 2724258.5786 | 1216579.743
35 | 2724219.2388 | 1216617.5637
36 | 2724196.6719 | 1216634.4621
37 | 2724264.4286 | 1216621.1418
38 | 2724268.02 | 1216596.7976
39 | 2724191.3773 | 1216594.087
40 | 2724217.9743 | 1216617.0147

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97589 | -0.46478 | 0.0041598 | 0.0010425
1 | 0.97596 | -0.46331 | 0 | 0
2 | 0.97602 | -0.46214 | 0 | 0
3 | 0.97564 | -0.46965 | 0.0070244 | 0.0017605
4 | 0.97569 | -0.46868 | 0.015682 | 0.0039302
5 | 0.97693 | -0.44429 | 0.0057446 | 0.0014397
6 | 0.97557 | -0.47105 | 0.0070416 | 0.0017648
7 | 0.97561 | -0.47018 | 0.0098193 | 0.0024609
8 | 0.97704 | -0.442 | 0.0068823 | 0.0017249
9 | 0.97831 | -0.41706 | 0 | 0
10 | 0.98031 | -0.37796 | 0 | 0
11 | 0.97956 | -0.39283 | 0.022743 | 0.0056998
12 | 0.97899 | -0.40383 | 0 | 0
13 | 0.98125 | -0.35969 | 0 | 0
14 | 0.9787 | -0.40969 | 0.026035 | 0.0065251
15 | 0.9774 | -0.43513 | 0 | 0
16 | 0.98104 | -0.36388 | 0.018484 | 0.0046325
17 | 0.98801 | -0.2287 | 0 | 0
18 | 0.97703 | -0.44237 | 0.026031 | 0.006524
19 | 0.97656 | -0.45163 | 0 | 0
20 | 0.99286 | -0.13566 | 0 | 0
21 | 0.9874 | -0.24062 | 0.0067578 | 0.0016937
22 | 0.99424 | -0.10988 | 0 | 0
23 | 0.99389 | -0.11665 | 0.01273 | 0.0031905
24 | 0.99443 | -0.10615 | 0.016378 | 0.0041047
25 | 0.99246 | -0.14355 | 0.020728 | 0.005195
26 | 0.99437 | -0.10701 | 0.020718 | 0.0051925
27 | 0.97652 | -0.45247 | 0.01941 | 0.0048646
28 | 0.99335 | -0.12709 | 0 | 0
29 | 0.99327 | -0.12859 | 0.0081953 | 0.0020539
30 | 0.99357 | -0.12282 | 0 | 0
31 | 0.98704 | -0.24759 | 0 | 0
32 | 0.99474 | -0.10029 | 0 | 0
33 | 0.99604 | -0.075146 | 0 | 0
34 | 0.9864 | -0.2601 | 0.033949 | 0.0085085
35 | 0.99594 | -0.077126 | 0 | 0
36 | 0.99538 | -0.08795 | 0.016642 | 0.0041708
37 | 0.99435 | -0.1078 | 0.014808 | 0.0037111
38 | 0.99348 | -0.12464 | 0.013207 | 0.0033099
39 | 1 | 0 | -0.33955 | -0.086511
40 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0041598 | -0.0010425 | 0.0041601 | 0.0010425 | 2.9186e-07 | -5.4939e-08 | 0.0063428 | 0.0063427 | 0.0063428 | 0.97589 | -0.46478 | 0.97596 | -0.46331 | 1.7425
1 | -0.018231 | -0.0045703 | 0.018232 | 0.0045709 | 1.0158e-06 | 6.0631e-07 | 0.027796 | 0.027796 | 0.027796 | 0.97596 | -0.46331 | 0.97602 | -0.46214 | 7.6363
2 | 0.014071 | 0.0035278 | -0.014066 | -0.0035254 | 4.2512e-06 | 2.4131e-06 | 0.021454 | 0.021454 | 0.021454 | 0.97596 | -0.46331 | 0.97564 | -0.46965 | 5.8939
3 | 0.02551 | 0.0063964 | -0.025502 | -0.0063915 | 7.9482e-06 | 4.9118e-06 | 0.038892 | 0.038893 | 0.038893 | 0.97602 | -0.46214 | 0.97569 | -0.46868 | 10.6848
4 | -0.043741 | -0.010967 | 0.043779 | 0.010991 | 3.723e-05 | 2.3548e-05 | 0.066689 | 0.066689 | 0.066689 | 0.97602 | -0.46214 | 0.97693 | -0.44429 | 18.3211
5 | 0.007042 | 0.0017649 | -0.0070416 | -0.0017648 | 4.6811e-07 | 1.6447e-07 | 0.01074 | 0.01074 | 0.01074 | 0.97564 | -0.46965 | 0.97557 | -0.47105 | 2.9506
6 | 0.00982 | 0.0024613 | -0.0098193 | -0.0024609 | 7.0007e-07 | 3.4411e-07 | 0.014976 | 0.014977 | 0.014977 | 0.97569 | -0.46868 | 0.97561 | -0.47018 | 4.1144
7 | -0.049523 | -0.012431 | 0.049529 | 0.012434 | 5.4291e-06 | 3.4428e-06 | 0.075439 | 0.075439 | 0.075439 | 0.97693 | -0.44429 | 0.97704 | -0.442 | 20.7249
8 | -0.056411 | -0.014159 | 0.056478 | 0.014202 | 6.7171e-05 | 4.2685e-05 | 0.08592 | 0.08592 | 0.08592 | 0.97704 | -0.442 | 0.97831 | -0.41706 | 23.6044
9 | -0.056478 | -0.014202 | 0.056584 | 0.014269 | 0.0001057 | 6.7164e-05 | 0.08592 | 0.08592 | 0.08592 | 0.97831 | -0.41706 | 0.98031 | -0.37796 | 23.6044
10 | -0.056584 | -0.014269 | 0.056622 | 0.014293 | 3.815e-05 | 2.4242e-05 | 0.08592 | 0.08592 | 0.08592 | 0.98031 | -0.37796 | 0.98104 | -0.36388 | 23.6043
11 | 0.071614 | 0.018 | -0.071577 | -0.017976 | 3.761e-05 | 2.3964e-05 | 0.10881 | 0.10881 | 0.10881 | 0.97956 | -0.39283 | 0.97899 | -0.40383 | 29.8917
12 | -0.094357 | -0.0237 | 0.094506 | 0.023796 | 0.00014949 | 9.543e-05 | 0.14335 | 0.14335 | 0.14335 | 0.97956 | -0.39283 | 0.98125 | -0.35969 | 39.3828
13 | 0.026043 | 0.0065296 | -0.026035 | -0.0065251 | 7.2668e-06 | 4.4953e-06 | 0.039584 | 0.039584 | 0.039584 | 0.97899 | -0.40383 | 0.9787 | -0.40969 | 10.8749
14 | 0.045534 | 0.011447 | -0.045466 | -0.011404 | 6.793e-05 | 4.3001e-05 | 0.069221 | 0.069222 | 0.069222 | 0.97899 | -0.40383 | 0.9774 | -0.43513 | 19.0169
15 | 0.075121 | 0.018935 | -0.075106 | -0.018926 | 1.5078e-05 | 9.6109e-06 | 0.11396 | 0.11396 | 0.11396 | 0.98125 | -0.35969 | 0.98104 | -0.36388 | 31.3066
16 | -0.16963 | -0.042731 | 0.1707 | 0.043413 | 0.00107 | 0.00068258 | 0.25731 | 0.25731 | 0.25731 | 0.98125 | -0.35969 | 0.98801 | -0.2287 | 35.3447
17 | 0.02604 | 0.0065296 | -0.026031 | -0.006524 | 8.9896e-06 | 5.5622e-06 | 0.039645 | 0.039645 | 0.039645 | 0.9774 | -0.43513 | 0.97703 | -0.44237 | 10.8915
18 | 0.019426 | 0.0048742 | -0.019411 | -0.004865 | 1.5269e-05 | 9.1891e-06 | 0.029576 | 0.029577 | 0.029577 | 0.9774 | -0.43513 | 0.97656 | -0.45163 | 8.1255
19 | -0.21146 | -0.05365 | 0.21241 | 0.054255 | 0.00095075 | 0.00060559 | 0.31871 | 0.3187 | 0.31871 | 0.98801 | -0.2287 | 0.99286 | -0.13566 | 29.1855
20 | 0.040762 | 0.010237 | -0.040739 | -0.010222 | 2.3173e-05 | 1.4621e-05 | 0.061397 | 0.061397 | 0.061397 | 0.98801 | -0.2287 | 0.9874 | -0.24062 | 16.8674
21 | 0.019411 | 0.004865 | -0.01941 | -0.0048646 | 7.7779e-07 | 4.6812e-07 | 0.029577 | 0.029577 | 0.029577 | 0.97656 | -0.45163 | 0.97652 | -0.45247 | 8.1255
22 | 0.020736 | 0.0051997 | -0.020728 | -0.005195 | 7.792e-06 | 4.7088e-06 | 0.031078 | 0.031078 | 0.031078 | 0.99286 | -0.13566 | 0.99246 | -0.14355 | 8.538
23 | -0.23315 | -0.059455 | 0.23347 | 0.059661 | 0.00032304 | 0.00020593 | 0.34978 | 0.34978 | 0.34978 | 0.99286 | -0.13566 | 0.99437 | -0.10701 | 32.0314
24 | 0.033981 | 0.0085283 | -0.033969 | -0.0085212 | 1.1289e-05 | 7.0781e-06 | 0.051213 | 0.051214 | 0.051214 | 0.9874 | -0.24062 | 0.98704 | -0.24759 | 14.0696
25 | 0.034153 | 0.0085666 | -0.034142 | -0.0085597 | 1.1021e-05 | 6.9078e-06 | 0.051117 | 0.051117 | 0.051117 | 0.99424 | -0.10988 | 0.99389 | -0.11665 | 14.043
26 | -0.034153 | -0.0085666 | 0.034159 | 0.0085704 | 6.0667e-06 | 3.8024e-06 | 0.051117 | 0.051117 | 0.051117 | 0.99424 | -0.10988 | 0.99443 | -0.10615 | 14.043
27 | 0.021412 | 0.0053692 | -0.021405 | -0.0053654 | 6.2971e-06 | 3.8184e-06 | 0.032058 | 0.032058 | 0.032058 | 0.99389 | -0.11665 | 0.99357 | -0.12282 | 8.8071
28 | -0.050537 | -0.012675 | 0.050551 | 0.012684 | 1.4137e-05 | 8.9619e-06 | 0.075624 | 0.075624 | 0.075624 | 0.99443 | -0.10615 | 0.99474 | -0.10029 | 20.7757
29 | -0.25419 | -0.064854 | 0.25458 | 0.065103 | 0.00039182 | 0.00024992 | 0.38079 | 0.38079 | 0.38079 | 0.99437 | -0.10701 | 0.99604 | -0.075146 | 34.8705
30 | 0.0081959 | 0.0020542 | -0.0081953 | -0.0020539 | 5.8622e-07 | 2.4093e-07 | 0.012277 | 0.012277 | 0.012277 | 0.99335 | -0.12709 | 0.99327 | -0.12859 | 3.3729
31 | -0.0081959 | -0.0020542 | 0.0081976 | 0.0020549 | 1.6664e-06 | 6.8477e-07 | 0.012277 | 0.012277 | 0.012277 | 0.99335 | -0.12709 | 0.99357 | -0.12282 | 3.3729
32 | 0.013208 | 0.0033105 | -0.013207 | -0.0033099 | 1.143e-06 | 6.3065e-07 | 0.019781 | 0.019781 | 0.019781 | 0.99357 | -0.12282 | 0.99348 | -0.12464 | 5.4342
33 | 0.033969 | 0.0085212 | -0.033949 | -0.0085085 | 2.0253e-05 | 1.2699e-05 | 0.051214 | 0.051214 | 0.051214 | 0.98704 | -0.24759 | 0.9864 | -0.2601 | 14.0697
34 | 0.014813 | 0.0037141 | -0.014808 | -0.0037111 | 5.3016e-06 | 3.0194e-06 | 0.022159 | 0.022159 | 0.022159 | 0.99474 | -0.10029 | 0.99435 | -0.1078 | 6.0877
35 | -0.065364 | -0.016398 | 0.065436 | 0.016444 | 7.2263e-05 | 4.5986e-05 | 0.097783 | 0.097783 | 0.097783 | 0.99474 | -0.10029 | 0.99594 | -0.077126 | 26.8634
36 | -0.33667 | -0.085728 | 0.3379 | 0.086511 | 0.001225 | 0.00078246 | 0.50345 | 0.50344 | 0.50345 | 0.99604 | -0.075146 | 1 | 0 | 46.1031
37 | 0.082094 | 0.020625 | -0.082086 | -0.02062 | 7.7579e-06 | 4.9472e-06 | 0.12266 | 0.12266 | 0.12266 | 0.99604 | -0.075146 | 0.99594 | -0.077126 | 33.698
38 | 0.01665 | 0.0041759 | -0.016642 | -0.0041708 | 8.5856e-06 | 5.0137e-06 | 0.024878 | 0.024878 | 0.024878 | 0.99594 | -0.077126 | 0.99538 | -0.08795 | 6.8347

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.35599 | 0.090631

## res_load
| p_mw | q_mvar
0 | 0.0041598 | 0.0010425
1 | 0.0070244 | 0.0017605
2 | 0.015682 | 0.0039302
3 | 0.0057446 | 0.0014397
4 | 0.0070416 | 0.0017648
5 | 0.0098193 | 0.0024609
6 | 0.0068823 | 0.0017249
7 | 0.022743 | 0.0056998
8 | 0.026035 | 0.0065251
9 | 0.018484 | 0.0046325
10 | 0.026031 | 0.006524
11 | 0.0067578 | 0.0016937
12 | 0.01273 | 0.0031905
13 | 0.016378 | 0.0041047
14 | 0.020728 | 0.005195
15 | 0.020718 | 0.0051925
16 | 0.01941 | 0.0048646
17 | 0.0081953 | 0.0020539
18 | 0.033949 | 0.0085085
19 | 0.016642 | 0.0041708
20 | 0.014808 | 0.0037111
21 | 0.013207 | 0.0033099
22 | 0.01644 | 0.0041203

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1