## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1630-38_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1630-38_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1630-38_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1630-38_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1630-38_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1630-38_0_4_node_27 | 0.4 | n |  | TRUE
6 | bus_LV_1630-38_0_4_node_20 | 0.4 | n |  | TRUE
7 | bus_LV_1630-38_0_4_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_1630-38_0_4_node_31 | 0.4 | n |  | TRUE
9 | bus_LV_1630-38_0_4_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_1630-38_0_4_node_30 | 0.4 | n |  | TRUE
11 | bus_LV_1630-38_0_4_node_26 | 0.4 | n |  | TRUE
12 | bus_LV_1630-38_0_4_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_1630-38_0_4_node_28 | 0.4 | n |  | TRUE
14 | bus_LV_1630-38_0_4_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_1630-38_0_4_node_25 | 0.4 | n |  | TRUE
16 | bus_LV_1630-38_0_4_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_1630-38_0_4_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_1630-38_0_4_node_24 | 0.4 | n |  | TRUE
19 | bus_LV_1630-38_0_4_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_1630-38_0_4_node_10 | 0.4 | n |  | TRUE
21 | bus_LV_1630-38_0_4_node_23 | 0.4 | n |  | TRUE
22 | bus_LV_1630-38_0_4_node_22 | 0.4 | n |  | TRUE
23 | bus_LV_1630-38_0_4_node_18 | 0.4 | n |  | TRUE
24 | bus_LV_1630-38_0_4_node_32 | 0.4 | n |  | TRUE
25 | bus_LV_1630-38_0_4_node_19 | 0.4 | n |  | TRUE
26 | bus_LV_1630-38_0_4_node_14 | 0.4 | n |  | TRUE
27 | bus_LV_1630-38_0_4_node_15 | 0.4 | n |  | TRUE
28 | bus_LV_1630-38_0_4_node_16 | 0.4 | n |  | TRUE
29 | bus_LV_1630-38_0_4_node_17 | 0.4 | n |  | TRUE
30 | bus_LV_1630-38_0_4_node_21 | 0.4 | n |  | TRUE
31 | bus_MV_152_0_node_151 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1630-38_0_4_load_0 | 0 | 0.0043097 | 0.0010801 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1630-38_0_4_load_1 | 1 | 0.0043135 | 0.0010811 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1630-38_0_4_load_4 | 4 | 0.0040617 | 0.001018 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1630-38_0_4_load_27 | 5 | 0.016574 | 0.0041537 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1630-38_0_4_load_20 | 6 | 0.0063525 | 0.0015921 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1630-38_0_4_load_31 | 8 | 0.039167 | 0.0098163 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1630-38_0_4_load_30 | 10 | 0.063156 | 0.015828 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1630-38_0_4_load_28 | 13 | 0.00032182 | 8.0655e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1630-38_0_4_load_25 | 15 | 0.0054001 | 0.0013534 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1630-38_0_4_load_24 | 18 | 0.035711 | 0.00895 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1630-38_0_4_load_13 | 19 | 0.031471 | 0.0078874 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1630-38_0_4_load_22 | 22 | 0.012086 | 0.0030291 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1630-38_0_4_load_18 | 23 | 0.006149 | 0.0015411 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1630-38_0_4_load_32 | 24 | 0.062875 | 0.015758 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1630-38_0_4_load_14 | 26 | 0.0040955 | 0.0010264 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1630-38_0_4_load_16 | 28 | 0.0060838 | 0.0015247 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1630-38_0_4_load_17 | 29 | 0.006039 | 0.0015135 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1630-38_0_4_load_21 | 30 | 0.0060349 | 0.0015125 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 21 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1630-38_0_4_line_0 |  | 0 | 1 | 0.0069461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1630-38_0_4_line_1 |  | 0 | 2 | 0.011353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1630-38_0_4_line_2 |  | 1 | 3 | 0.029987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1630-38_0_4_line_3 |  | 2 | 4 | 0.007206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1630-38_0_4_line_4 |  | 3 | 5 | 0.00802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1630-38_0_4_line_5 |  | 3 | 6 | 0.015974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1630-38_0_4_line_6 |  | 6 | 17 | 0.014454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1630-38_0_4_line_7 |  | 7 | 8 | 0.0219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1630-38_0_4_line_8 |  | 7 | 9 | 0.040843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1630-38_0_4_line_9 |  | 9 | 10 | 0.006504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1630-38_0_4_line_10 |  | 9 | 11 | 0.024459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1630-38_0_4_line_11 |  | 9 | 12 | 0.24414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1630-38_0_4_line_12 |  | 11 | 24 | 0.008646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1630-38_0_4_line_13 |  | 11 | 21 | 0.022083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
14 | LV_1630-38_0_4_line_14 |  | 12 | 13 | 0.016244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1630-38_0_4_line_15 |  | 14 | 15 | 0.0087214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1630-38_0_4_line_16 |  | 14 | 16 | 0.070053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1630-38_0_4_line_17 |  | 14 | 17 | 0.034953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1630-38_0_4_line_18 |  | 14 | 18 | 0.01084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1630-38_0_4_line_19 |  | 16 | 19 | 0.01403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1630-38_0_4_line_20 |  | 17 | 23 | 0.019881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1630-38_0_4_line_21 |  | 18 | 21 | 0.023233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1630-38_0_4_line_22 |  | 20 | 21 | 0.027719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1630-38_0_4_line_23 |  | 20 | 22 | 0.0061805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1630-38_0_4_line_24 |  | 23 | 25 | 0.0079898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1630-38_0_4_line_25 |  | 25 | 30 | 0.013954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1630-38_0_4_line_26 |  | 26 | 27 | 0.0095224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1630-38_0_4_line_27 |  | 27 | 28 | 0.008251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1630-38_0_4_line_28 |  | 27 | 29 | 0.020256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1630-38_0_4_line_29 |  | 29 | 30 | 0.0074088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1630-38_0_4_trafo_23 | 0.63 MVA 20/0.4 kV | 31 | 21 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20
0 | 2724320.8694 | 1216532.5226 | 2724313.9992 | 1216533.5464
1 | 2724332.0989 | 1216530.8491 | 2724320.8694 | 1216532.5226
2 | 2724284.2963 | 1216537.435 | 2724286.4217 | 1216537.4905 | 2724290.6694 | 1216537.0232 | 2724313.9992 | 1216533.5464
3 | 2724332.3555 | 1216523.6488 | 2724332.0989 | 1216530.8491
4 | 2724284.2963 | 1216537.435 | 2724284.6685 | 1216529.4254
5 | 2724284.2963 | 1216537.435 | 2724281.3829 | 1216536.9295 | 2724268.838 | 1216533.4572
6 | 2724254.6293 | 1216531.6898 | 2724262.3085 | 1216531.6499 | 2724268.838 | 1216533.4572
7 | 2724236.1514 | 1216408.9755 | 2724250.5731 | 1216400.2915 | 2724255.4721 | 1216398.8259
8 | 2724236.1514 | 1216408.9755 | 2724243.0904 | 1216417.4823 | 2724246.0937 | 1216420.6029 | 2724250.4467 | 1216423.4626 | 2724249.5084 | 1216427.3015 | 2724249.8009 | 1216440.9516 | 2724249.5393 | 1216443.6594
9 | 2724249.5393 | 1216443.6594 | 2724243.0162 | 1216443.6123
10 | 2724249.5393 | 1216443.6594 | 2724245.1564 | 1216467.7202
11 | 2724249.5393 | 1216443.6594 | 2724249.8009 | 1216440.9516 | 2724249.5084 | 1216427.3015 | 2724250.4467 | 1216423.4626 | 2724254.8335 | 1216425.0664 | 2724259.9012 | 1216425.7058 | 2724358.2873 | 1216421.6545 | 2724363.4853 | 1216420.7845 | 2724368.185 | 1216419.4037 | 2724372.7981 | 1216417.4429 | 2724388.8071 | 1216409.1371 | 2724386.2738 | 1216401.7007 | 2724385.1418 | 1216397.3514 | 2724377.5381 | 1216375.2199 | 2724372.8383 | 1216363.1458 | 2724371.8 | 1216359.399 | 2724371.1819 | 1216354.4489 | 2724371.2074 | 1216350.6798 | 2724370.5967 | 1216345.0071 | 2724365.9205 | 1216334.7126 | 2724362.9687 | 1216332.0378
12 | 2724245.1564 | 1216467.7202 | 2724236.4856 | 1216467.5949
13 | 2724245.1564 | 1216467.7202 | 2724241.2701 | 1216489.4561
14 | 2724362.9687 | 1216332.0378 | 2724361.6111 | 1216335.9458 | 2724349.9564 | 1216339.2248
15 | 2724234.8985 | 1216522.9272 | 2724243.6125 | 1216523.2852
16 | 2724194.8528 | 1216522.8371 | 2724193.6853 | 1216529.2956 | 2724192.8091 | 1216536.3495 | 2724200.6896 | 1216537.2144 | 2724228.704 | 1216540.2672 | 2724234.0717 | 1216535.9869 | 2724233.0032 | 1216532.5953 | 2724234.8985 | 1216522.9272
17 | 2724234.8985 | 1216522.9272 | 2724233.0032 | 1216532.5953 | 2724234.0717 | 1216535.9869 | 2724238.5589 | 1216533.1337 | 2724242.1046 | 1216532.0957 | 2724246.3324 | 1216531.8503 | 2724254.6293 | 1216531.6898
18 | 2724234.8985 | 1216522.9272 | 2724236.9255 | 1216512.2789
19 | 2724194.8528 | 1216522.8371 | 2724197.6351 | 1216509.0855
20 | 2724254.6293 | 1216531.6898 | 2724256.1792 | 1216551.5099
21 | 2724241.2701 | 1216489.4561 | 2724236.9255 | 1216512.2789
22 | 2724214.1465 | 1216483.375 | 2724241.2701 | 1216489.4561
23 | 2724214.1465 | 1216483.375 | 2724212.736 | 1216489.3924
24 | 2724257.8762 | 1216559.1678 | 2724256.5838 | 1216556.6834 | 2724256.1792 | 1216551.5099
25 | 2724257.8762 | 1216559.1678 | 2724260.0383 | 1216561.4703 | 2724262.506 | 1216562.9562 | 2724266.4821 | 1216563.8509 | 2724270.2176 | 1216564.7394
26 | 2724297.342 | 1216569.5655 | 2724306.583 | 1216571.8633
27 | 2724297.342 | 1216569.5655 | 2724297.0812 | 1216561.3203
28 | 2724297.342 | 1216569.5655 | 2724289.4411 | 1216569.3117 | 2724277.4254 | 1216566.4538
29 | 2724277.4254 | 1216566.4538 | 2724270.2176 | 1216564.7394

## bus_geodata
| x | y | coords
0 | 2724320.8694 | 1216532.5226
1 | 2724313.9992 | 1216533.5464
2 | 2724332.0989 | 1216530.8491
3 | 2724284.2963 | 1216537.435
4 | 2724332.3555 | 1216523.6488
5 | 2724284.6685 | 1216529.4254
6 | 2724268.838 | 1216533.4572
7 | 2724236.1514 | 1216408.9755
8 | 2724255.4721 | 1216398.8259
9 | 2724249.5393 | 1216443.6594
10 | 2724243.0162 | 1216443.6123
11 | 2724245.1564 | 1216467.7202
12 | 2724362.9687 | 1216332.0378
13 | 2724349.9564 | 1216339.2248
14 | 2724234.8985 | 1216522.9272
15 | 2724243.6125 | 1216523.2852
16 | 2724194.8528 | 1216522.8371
17 | 2724254.6293 | 1216531.6898
18 | 2724236.9255 | 1216512.2789
19 | 2724197.6351 | 1216509.0855
20 | 2724214.1465 | 1216483.375
21 | 2724241.2701 | 1216489.4561
22 | 2724212.736 | 1216489.3924
23 | 2724256.1792 | 1216551.5099
24 | 2724236.4856 | 1216467.5949
25 | 2724257.8762 | 1216559.1678
26 | 2724306.583 | 1216571.8633
27 | 2724297.342 | 1216569.5655
28 | 2724297.0812 | 1216561.3203
29 | 2724277.4254 | 1216566.4538
30 | 2724270.2176 | 1216564.7394
31 | 2724245.1564 | 1216467.7202

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99277 | -0.13915 | 0.0043097 | 0.0010801
1 | 0.99282 | -0.13812 | 0.0043135 | 0.0010811
2 | 0.99272 | -0.13996 | 0 | 0
3 | 0.99317 | -0.1314 | 0 | 0
4 | 0.9927 | -0.14048 | 0.0040617 | 0.001018
5 | 0.99305 | -0.13374 | 0.016574 | 0.0041537
6 | 0.99359 | -0.12314 | 0.0063525 | 0.0015921
7 | 0.99459 | -0.10407 | 0 | 0
8 | 0.99381 | -0.11919 | 0.039167 | 0.0098163
9 | 0.99605 | -0.075919 | 0 | 0
10 | 0.99567 | -0.083138 | 0.063156 | 0.015828
11 | 0.99834 | -0.031909 | 0 | 0
12 | 0.99598 | -0.07732 | 0 | 0
13 | 0.99597 | -0.077411 | 0.00032182 | 8.0655e-05
14 | 0.99611 | -0.074668 | 0 | 0
15 | 0.99606 | -0.075496 | 0.0054001 | 0.0013534
16 | 0.9941 | -0.11348 | 0 | 0
17 | 0.99406 | -0.11406 | 0 | 0
18 | 0.99711 | -0.055477 | 0.035711 | 0.00895
19 | 0.99369 | -0.12127 | 0.031471 | 0.0078874
20 | 0.9997 | -0.0058412 | 0 | 0
21 | 1 | 0 | -0.31716 | -0.079576
22 | 0.99963 | -0.007144 | 0.012086 | 0.0030291
23 | 0.99355 | -0.12402 | 0.006149 | 0.0015411
24 | 0.99784 | -0.041421 | 0.062875 | 0.015758
25 | 0.99339 | -0.12716 | 0 | 0
26 | 0.99277 | -0.13911 | 0.0040955 | 0.0010264
27 | 0.9928 | -0.13842 | 0 | 0
28 | 0.99276 | -0.13931 | 0.0060838 | 0.0015247
29 | 0.99299 | -0.13477 | 0.006039 | 0.0015135
30 | 0.9931 | -0.13265 | 0.0060349 | 0.0015125
31 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0083717 | -0.002098 | 0.0083721 | 0.0020982 | 4.1012e-07 | 1.7266e-07 | 0.012548 | 0.012548 | 0.012548 | 0.99277 | -0.13915 | 0.99282 | -0.13812 | 3.4472
1 | 0.004062 | 0.0010179 | -0.0040618 | -0.0010179 | 1.5782e-07 | -4.5793e-08 | 0.0060883 | 0.0060883 | 0.0060883 | 0.99277 | -0.13915 | 0.99272 | -0.13996 | 1.6726
2 | -0.012686 | -0.0031792 | 0.01269 | 0.0031815 | 4.0649e-06 | 2.2137e-06 | 0.019013 | 0.019013 | 0.019013 | 0.99282 | -0.13812 | 0.99317 | -0.1314 | 5.2233
3 | 0.0040618 | 0.0010179 | -0.0040617 | -0.001018 | 1.0017e-07 | -2.9057e-08 | 0.0060883 | 0.0060884 | 0.0060884 | 0.99272 | -0.13996 | 0.9927 | -0.14048 | 1.6726
4 | 0.016575 | 0.0041548 | -0.016574 | -0.0041537 | 1.8549e-06 | 1.0834e-06 | 0.024834 | 0.024834 | 0.024834 | 0.99317 | -0.1314 | 0.99305 | -0.13374 | 6.8227
5 | -0.029265 | -0.0073363 | 0.029277 | 0.0073434 | 1.1516e-05 | 7.1637e-06 | 0.043847 | 0.043847 | 0.043847 | 0.99317 | -0.1314 | 0.99359 | -0.12314 | 12.0459
6 | -0.035629 | -0.0089355 | 0.035645 | 0.0089452 | 1.5434e-05 | 9.6903e-06 | 0.053361 | 0.053361 | 0.053361 | 0.99359 | -0.12314 | 0.99406 | -0.11406 | 14.6595
7 | 0.039196 | 0.0098341 | -0.039167 | -0.0098163 | 2.8245e-05 | 1.7793e-05 | 0.058645 | 0.058645 | 0.058645 | 0.99459 | -0.10407 | 0.99381 | -0.11919 | 16.1113
8 | -0.039196 | -0.0098341 | 0.039248 | 0.0098673 | 5.2675e-05 | 3.3181e-05 | 0.058645 | 0.058645 | 0.058645 | 0.99459 | -0.10407 | 0.99605 | -0.075919 | 16.1113
9 | 0.063178 | 0.015842 | -0.063156 | -0.015828 | 2.1728e-05 | 1.3821e-05 | 0.094385 | 0.094385 | 0.094385 | 0.99605 | -0.075919 | 0.99567 | -0.083138 | 25.9301
10 | -0.10275 | -0.025787 | 0.10296 | 0.025925 | 0.00021614 | 0.00013801 | 0.15351 | 0.15351 | 0.15351 | 0.99605 | -0.075919 | 0.99834 | -0.031909 | 42.173
11 | 0.00032184 | 7.7281e-05 | -0.00032182 | -8.0445e-05 | 2.111e-08 | -3.1639e-06 | 0.00047964 | 0.00048073 | 0.00048073 | 0.99605 | -0.075919 | 0.99598 | -0.07732 | 0.13207
12 | 0.062903 | 0.015776 | -0.062875 | -0.015758 | 2.8503e-05 | 1.8129e-05 | 0.093761 | 0.093761 | 0.093761 | 0.99834 | -0.031909 | 0.99784 | -0.041421 | 25.7585
13 | -0.16587 | -0.041701 | 0.16612 | 0.041862 | 0.00025316 | 0.00016145 | 0.24727 | 0.24727 | 0.24727 | 0.99834 | -0.031909 | 1 | 0 | 33.9657
14 | 0.00032182 | 8.0445e-05 | -0.00032182 | -8.0655e-05 | 1.408e-09 | -2.105e-07 | 0.00048073 | 0.00048081 | 0.00048081 | 0.99598 | -0.07732 | 0.99597 | -0.077411 | 0.13209
15 | 0.0054004 | 0.0013534 | -0.0054001 | -0.0013534 | 2.1285e-07 | 2.2697e-08 | 0.0080672 | 0.0080673 | 0.0080673 | 0.99611 | -0.074668 | 0.99606 | -0.075496 | 2.2163
16 | 0.031541 | 0.0079311 | -0.031483 | -0.0078947 | 5.8343e-05 | 3.6429e-05 | 0.047126 | 0.047127 | 0.047127 | 0.99611 | -0.074668 | 0.9941 | -0.11348 | 12.9469
17 | 0.064194 | 0.016156 | -0.064073 | -0.016079 | 0.00012059 | 7.6726e-05 | 0.095919 | 0.095919 | 0.095919 | 0.99611 | -0.074668 | 0.99406 | -0.11406 | 26.3513
18 | -0.10114 | -0.025441 | 0.10123 | 0.0255 | 9.282e-05 | 5.9264e-05 | 0.15111 | 0.15111 | 0.15111 | 0.99611 | -0.074668 | 0.99711 | -0.055477 | 41.5143
19 | 0.031483 | 0.0078947 | -0.031471 | -0.0078874 | 1.1685e-05 | 7.2966e-06 | 0.047127 | 0.047127 | 0.047127 | 0.9941 | -0.11348 | 0.99369 | -0.12127 | 12.9469
20 | 0.028429 | 0.0071341 | -0.028415 | -0.0071257 | 1.3503e-05 | 8.3842e-06 | 0.042558 | 0.042558 | 0.042558 | 0.99406 | -0.11406 | 0.99355 | -0.12402 | 11.6918
21 | -0.13694 | -0.03445 | 0.1373 | 0.034682 | 0.00036401 | 0.00023266 | 0.2044 | 0.2044 | 0.2044 | 0.99711 | -0.055477 | 1 | 0 | 56.155
22 | -0.012087 | -0.0030295 | 0.01209 | 0.0030312 | 3.3644e-06 | 1.7897e-06 | 0.017991 | 0.017991 | 0.017991 | 0.9997 | -0.0058412 | 1 | 0 | 4.9426
23 | 0.012087 | 0.0030295 | -0.012086 | -0.0030291 | 7.5018e-07 | 3.9909e-07 | 0.017991 | 0.017991 | 0.017991 | 0.9997 | -0.0058412 | 0.99963 | -0.007144 | 4.9426
24 | 0.022266 | 0.0055846 | -0.022263 | -0.0055826 | 3.3322e-06 | 2.0292e-06 | 0.033349 | 0.033349 | 0.033349 | 0.99355 | -0.12402 | 0.99339 | -0.12716 | 9.1618
25 | 0.022263 | 0.0055826 | -0.022257 | -0.005579 | 5.8197e-06 | 3.544e-06 | 0.033349 | 0.033349 | 0.033349 | 0.99339 | -0.12716 | 0.9931 | -0.13265 | 9.1618
26 | -0.0040955 | -0.0010264 | 0.0040956 | 0.0010264 | 1.3455e-07 | -3.7017e-08 | 0.0061385 | 0.0061385 | 0.0061385 | 0.99277 | -0.13911 | 0.9928 | -0.13842 | 1.6864
27 | 0.0060841 | 0.0015248 | -0.0060838 | -0.0015247 | 2.5729e-07 | 5.7973e-08 | 0.0091188 | 0.0091189 | 0.0091189 | 0.9928 | -0.13842 | 0.99276 | -0.13931 | 2.5052
28 | -0.01018 | -0.0025512 | 0.010181 | 0.0025521 | 1.7682e-06 | 8.6967e-07 | 0.015257 | 0.015257 | 0.015257 | 0.9928 | -0.13842 | 0.99299 | -0.13477 | 4.1916
29 | -0.01622 | -0.0040656 | 0.016222 | 0.0040665 | 1.6415e-06 | 9.5469e-07 | 0.024307 | 0.024307 | 0.024307 | 0.99299 | -0.13477 | 0.9931 | -0.13265 | 6.6777

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -6.4999e-16 | 2.4266e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 7.2519e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.31716 | 0.079576

## res_load
| p_mw | q_mvar
0 | 0.0043097 | 0.0010801
1 | 0.0043135 | 0.0010811
2 | 0.0040617 | 0.001018
3 | 0.016574 | 0.0041537
4 | 0.0063525 | 0.0015921
5 | 0.039167 | 0.0098163
6 | 0.063156 | 0.015828
7 | 0.00032182 | 8.0655e-05
8 | 0.0054001 | 0.0013534
9 | 0.035711 | 0.00895
10 | 0.031471 | 0.0078874
11 | 0.012086 | 0.0030291
12 | 0.006149 | 0.0015411
13 | 0.062875 | 0.015758
14 | 0.0040955 | 0.0010264
15 | 0.0060838 | 0.0015247
16 | 0.006039 | 0.0015135
17 | 0.0060349 | 0.0015125

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1