## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1630-3_0_1_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1630-3_0_1_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1630-3_0_1_node_31 | 0.4 | n |  | TRUE
3 | bus_LV_1630-3_0_1_node_44 | 0.4 | n |  | TRUE
4 | bus_LV_1630-3_0_1_node_8 | 0.4 | n |  | TRUE
5 | bus_LV_1630-3_0_1_node_24 | 0.4 | n |  | TRUE
6 | bus_LV_1630-3_0_1_node_2 | 0.4 | n |  | TRUE
7 | bus_LV_1630-3_0_1_node_3 | 0.4 | n |  | TRUE
8 | bus_LV_1630-3_0_1_node_4 | 0.4 | n |  | TRUE
9 | bus_LV_1630-3_0_1_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_1630-3_0_1_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_1630-3_0_1_node_36 | 0.4 | n |  | TRUE
12 | bus_LV_1630-3_0_1_node_29 | 0.4 | n |  | TRUE
13 | bus_LV_1630-3_0_1_node_30 | 0.4 | n |  | TRUE
14 | bus_LV_1630-3_0_1_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_1630-3_0_1_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_1630-3_0_1_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_1630-3_0_1_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_1630-3_0_1_node_45 | 0.4 | n |  | TRUE
19 | bus_LV_1630-3_0_1_node_22 | 0.4 | n |  | TRUE
20 | bus_LV_1630-3_0_1_node_20 | 0.4 | n |  | TRUE
21 | bus_LV_1630-3_0_1_node_48 | 0.4 | n |  | TRUE
22 | bus_LV_1630-3_0_1_node_46 | 0.4 | n |  | TRUE
23 | bus_LV_1630-3_0_1_node_21 | 0.4 | n |  | TRUE
24 | bus_LV_1630-3_0_1_node_13 | 0.4 | n |  | TRUE
25 | bus_LV_1630-3_0_1_node_14 | 0.4 | n |  | TRUE
26 | bus_LV_1630-3_0_1_node_15 | 0.4 | n |  | TRUE
27 | bus_LV_1630-3_0_1_node_16 | 0.4 | n |  | TRUE
28 | bus_LV_1630-3_0_1_node_18 | 0.4 | n |  | TRUE
29 | bus_LV_1630-3_0_1_node_26 | 0.4 | n |  | TRUE
30 | bus_LV_1630-3_0_1_node_28 | 0.4 | n |  | TRUE
31 | bus_LV_1630-3_0_1_node_17 | 0.4 | n |  | TRUE
32 | bus_LV_1630-3_0_1_node_23 | 0.4 | n |  | TRUE
33 | bus_LV_1630-3_0_1_node_32 | 0.4 | n |  | TRUE
34 | bus_LV_1630-3_0_1_node_19 | 0.4 | n |  | TRUE
35 | bus_LV_1630-3_0_1_node_50 | 0.4 | n |  | TRUE
36 | bus_LV_1630-3_0_1_node_49 | 0.4 | n |  | TRUE
37 | bus_LV_1630-3_0_1_node_40 | 0.4 | n |  | TRUE
38 | bus_LV_1630-3_0_1_node_52 | 0.4 | n |  | TRUE
39 | bus_LV_1630-3_0_1_node_53 | 0.4 | n |  | TRUE
40 | bus_LV_1630-3_0_1_node_25 | 0.4 | n |  | TRUE
41 | bus_LV_1630-3_0_1_node_54 | 0.4 | n |  | TRUE
42 | bus_LV_1630-3_0_1_node_38 | 0.4 | n |  | TRUE
43 | bus_LV_1630-3_0_1_node_33 | 0.4 | n |  | TRUE
44 | bus_LV_1630-3_0_1_node_35 | 0.4 | n |  | TRUE
45 | bus_LV_1630-3_0_1_node_51 | 0.4 | n |  | TRUE
46 | bus_LV_1630-3_0_1_node_39 | 0.4 | n |  | TRUE
47 | bus_LV_1630-3_0_1_node_42 | 0.4 | n |  | TRUE
48 | bus_LV_1630-3_0_1_node_47 | 0.4 | n |  | TRUE
49 | bus_LV_1630-3_0_1_node_37 | 0.4 | n |  | TRUE
50 | bus_LV_1630-3_0_1_node_34 | 0.4 | n |  | TRUE
51 | bus_MV_0_node_37 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1630-3_0_1_load_0 | 0 | 0.00098277 | 0.00024631 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1630-3_0_1_load_44 | 3 | 0.00031541 | 7.9049e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1630-3_0_1_load_2 | 6 | 0.00037965 | 9.515e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1630-3_0_1_load_5 | 9 | 0.00073545 | 0.00018432 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1630-3_0_1_load_7 | 10 | 0.00027972 | 7.0105e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1630-3_0_1_load_36 | 11 | 0.00041402 | 0.00010376 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1630-3_0_1_load_29 | 12 | 0.00068959 | 0.00017283 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1630-3_0_1_load_30 | 13 | 0.001315 | 0.00032958 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1630-3_0_1_load_9 | 14 | 0.00035523 | 8.9028e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1630-3_0_1_load_45 | 18 | 0.00053828 | 0.0001349 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1630-3_0_1_load_20 | 20 | 0.00039768 | 9.9668e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1630-3_0_1_load_48 | 21 | 0.001545 | 0.00038722 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1630-3_0_1_load_46 | 22 | 0.00045401 | 0.00011379 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1630-3_0_1_load_21 | 23 | 0.0017233 | 0.00043189 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1630-3_0_1_load_13 | 24 | 0.00074885 | 0.00018768 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1630-3_0_1_load_26 | 29 | 0.0004518 | 0.00011323 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1630-3_0_1_load_28 | 30 | 0.00048152 | 0.00012068 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1630-3_0_1_load_23 | 32 | 0.0018573 | 0.00046548 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1630-3_0_1_load_32 | 33 | 0.0010728 | 0.00026887 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1630-3_0_1_load_49 | 36 | 0.00026792 | 6.7147e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1630-3_0_1_load_40 | 37 | 0.00053876 | 0.00013503 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1630-3_0_1_load_53 | 39 | 0.0006789 | 0.00017015 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1630-3_0_1_load_25 | 40 | 0.0024226 | 0.00060717 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1630-3_0_1_load_54 | 41 | 0.0011523 | 0.0002888 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1630-3_0_1_load_51 | 45 | 0.0016371 | 0.0004103 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1630-3_0_1_load_39 | 46 | 0.0006771 | 0.0001697 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1630-3_0_1_load_42 | 47 | 0.00027445 | 6.8784e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1630-3_0_1_load_47 | 48 | 0.00065122 | 0.00016321 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1630-3_0_1_load_37 | 49 | 0.0002789 | 6.99e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1630-3_0_1_load_34 | 50 | 0.00028781 | 7.2133e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 49 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1630-3_0_1_line_0 |  | 0 | 1 | 0.019492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1630-3_0_1_line_1 |  | 1 | 2 | 0.32573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1630-3_0_1_line_2 |  | 2 | 3 | 0.08617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1630-3_0_1_line_3 |  | 2 | 4 | 0.16256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1630-3_0_1_line_4 |  | 2 | 5 | 0.32787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1630-3_0_1_line_5 |  | 3 | 16 | 0.014745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1630-3_0_1_line_6 |  | 4 | 12 | 0.021303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1630-3_0_1_line_7 |  | 4 | 8 | 0.17432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1630-3_0_1_line_8 |  | 5 | 41 | 0.026782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1630-3_0_1_line_9 |  | 5 | 42 | 0.11624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1630-3_0_1_line_10 |  | 5 | 31 | 0.082643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1630-3_0_1_line_11 |  | 6 | 7 | 0.060769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1630-3_0_1_line_12 |  | 6 | 8 | 0.015936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1630-3_0_1_line_13 |  | 7 | 9 | 0.024961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1630-3_0_1_line_14 |  | 8 | 10 | 0.16004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1630-3_0_1_line_15 |  | 10 | 11 | 0.087959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1630-3_0_1_line_16 |  | 12 | 13 | 0.011436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1630-3_0_1_line_17 |  | 14 | 15 | 0.030752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1630-3_0_1_line_18 |  | 15 | 16 | 0.33678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1630-3_0_1_line_19 |  | 15 | 17 | 0.32103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1630-3_0_1_line_20 |  | 16 | 18 | 0.02111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1630-3_0_1_line_21 |  | 17 | 19 | 0.12931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1630-3_0_1_line_22 |  | 17 | 20 | 0.0089836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1630-3_0_1_line_23 |  | 19 | 21 | 0.023685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1630-3_0_1_line_24 |  | 19 | 22 | 0.014803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1630-3_0_1_line_25 |  | 20 | 23 | 0.0047596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1630-3_0_1_line_26 |  | 22 | 48 | 0.2281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1630-3_0_1_line_27 |  | 24 | 25 | 0.086922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1630-3_0_1_line_28 |  | 24 | 26 | 0.13808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1630-3_0_1_line_29 |  | 25 | 27 | 0.36492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1630-3_0_1_line_30 |  | 26 | 28 | 0.18192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1630-3_0_1_line_31 |  | 27 | 29 | 0.012312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1630-3_0_1_line_32 |  | 27 | 30 | 0.032576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1630-3_0_1_line_33 |  | 28 | 33 | 0.014802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1630-3_0_1_line_34 |  | 28 | 31 | 0.052074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1630-3_0_1_line_35 |  | 29 | 40 | 0.044442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1630-3_0_1_line_36 |  | 31 | 32 | 0.051908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1630-3_0_1_line_37 |  | 33 | 43 | 0.00043721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1630-3_0_1_line_38 |  | 34 | 35 | 0.31118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1630-3_0_1_line_39 |  | 34 | 36 | 0.13833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1630-3_0_1_line_40 |  | 34 | 37 | 0.73808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1630-3_0_1_line_41 |  | 35 | 45 | 0.04545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1630-3_0_1_line_42 |  | 36 | 44 | 0.053729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1630-3_0_1_line_43 |  | 37 | 47 | 0.30762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1630-3_0_1_line_44 |  | 37 | 38 | 0.78348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1630-3_0_1_line_45 |  | 37 | 46 | 0.0043782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1630-3_0_1_line_46 |  | 38 | 39 | 0.013191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1630-3_0_1_line_47 |  | 42 | 49 | 0.090636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1630-3_0_1_line_48 |  | 43 | 50 | 0.016457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1630-3_0_1_line_49 |  | 43 | 44 | 0.013018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1630-3_0_1_trafo_37 | 0.63 MVA 20/0.4 kV | 51 | 49 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31 | x32 | y32 | x33 | y33 | x34 | y34 | x35 | y35 | x36 | y36 | x37 | y37 | x38 | y38 | x39 | y39 | x40 | y40 | x41 | y41
0 | 2719962.1866 | 1221127.4195 | 2719955.4161 | 1221128.6174 | 2719943.0385 | 1221126.1739
1 | 2720190.8233 | 1220895.4155 | 2719962.1866 | 1221127.4195
2 | 2720190.8233 | 1220895.4155 | 2720190.0407 | 1220898.4687 | 2720190.031 | 1220901.204 | 2720192.2894 | 1220903.9851 | 2720196.8186 | 1220906.6897 | 2720205.0655 | 1220909.8141 | 2720221.9432 | 1220912.8348 | 2720231.0862 | 1220915.1768 | 2720242.1298 | 1220921.1043 | 2720248.3834 | 1220925.9788 | 2720252.1574 | 1220932.2487 | 2720255.6471 | 1220939.7147
3 | 2720342.8524 | 1220928.1774 | 2720336.2611 | 1220928.3777 | 2720329.7455 | 1220926.7114 | 2720316.8011 | 1220922.8358 | 2720306.4646 | 1220921.3481 | 2720299.9545 | 1220919.782 | 2720294.6655 | 1220917.1287 | 2720283.4306 | 1220906.3935 | 2720278.9335 | 1220902.8555 | 2720273.5312 | 1220900.9227 | 2720267.8948 | 1220901.1868 | 2720250.3251 | 1220904.2456 | 2720244.5128 | 1220903.4498 | 2720233.0774 | 1220900.0052 | 2720228.1711 | 1220899.8171 | 2720218.2216 | 1220902.4628 | 2720212.8412 | 1220903.5773 | 2720207.1698 | 1220903.3182 | 2720201.2797 | 1220901.8648 | 2720195.2303 | 1220898.9071 | 2720190.8233 | 1220895.4155
4 | 2720190.8233 | 1220895.4155 | 2720187.2928 | 1220889.106 | 2720183.6444 | 1220872.097 | 2720181.3539 | 1220866.3908 | 2720177.091 | 1220860.6447 | 2720168.6921 | 1220852.2688 | 2720156.43 | 1220843.9038 | 2720150.043 | 1220841.8734 | 2720138.1452 | 1220839.8985 | 2720129.5495 | 1220838.6353 | 2720125.143 | 1220835.8665 | 2720120.3578 | 1220831.1774 | 2720097.7783 | 1220800.0535 | 2720093.8471 | 1220796.2936 | 2720067.8848 | 1220779.357 | 2720057.9456 | 1220774.7086 | 2720051.6897 | 1220772.9478 | 2720007.0501 | 1220759.7714 | 2719995.4603 | 1220757.9476 | 2719985.7056 | 1220758.0734 | 2719981.1739 | 1220756.6143 | 2719977.8088 | 1220754.1335 | 2719975.0761 | 1220749.2635 | 2719974.0772 | 1220744.6065 | 2719974.493 | 1220737.5316 | 2719975.0769 | 1220726.6349 | 2719974.941 | 1220722.0842 | 2719973.0007 | 1220716.6854 | 2719963.0509 | 1220704.2753
5 | 2720261.8907 | 1220953.0726 | 2720255.6471 | 1220939.7147
6 | 2720342.8524 | 1220928.1774 | 2720344.9433 | 1220932.1116 | 2720347.1131 | 1220934.0236 | 2720356.8186 | 1220939.6908 | 2720359.4225 | 1220940.4671
7 | 2720342.8524 | 1220928.1774 | 2720352.6329 | 1220925.2616 | 2720358.9043 | 1220922.1192 | 2720364.7082 | 1220920.7021 | 2720370.2835 | 1220921.204 | 2720374.4256 | 1220923.1559 | 2720377.4782 | 1220926.8205 | 2720396.836 | 1220957.291 | 2720401.0871 | 1220961.3579 | 2720406.8956 | 1220964.2108 | 2720413.1783 | 1220965.3832 | 2720420.7465 | 1220964.9136 | 2720426.8716 | 1220963.3696 | 2720431.9713 | 1220960.7485 | 2720455.9636 | 1220941.452 | 2720460.9135 | 1220938.3608 | 2720467.6189 | 1220936.2725 | 2720485.2022 | 1220932.1695
8 | 2719949.794 | 1220713.2375 | 2719954.9533 | 1220710.2947 | 2719958.2244 | 1220711.0389 | 2719963.368 | 1220714.523 | 2719964.105 | 1220714.4823 | 2719964.3993 | 1220713.8099 | 2719962.7034 | 1220707.9601 | 2719962.5739 | 1220706.1005 | 2719963.0509 | 1220704.2753
9 | 2719963.0509 | 1220704.2753 | 2719973.0007 | 1220716.6854 | 2719974.941 | 1220722.0842 | 2719975.0769 | 1220726.6349 | 2719974.493 | 1220737.5316 | 2719989.3983 | 1220716.0708 | 2719991.4892 | 1220713.6221 | 2719994.3908 | 1220707.4758 | 2719996.2586 | 1220704.8002 | 2719997.6268 | 1220704.3163 | 2719999.4332 | 1220704.6863 | 2719999.9587 | 1220706.8541 | 2719999.3032 | 1220716.782 | 2720002.7366 | 1220729.0495 | 2720004.4813 | 1220732.4762 | 2720006.959 | 1220733.4269 | 2720011.9339 | 1220733.9831
10 | 2719923.1784 | 1220637.1537 | 2719921.715 | 1220642.3617 | 2719921.6387 | 1220647.6531 | 2719923.655 | 1220654.5546 | 2719926.3741 | 1220659.3464 | 2719929.6575 | 1220664.005 | 2719936.9164 | 1220670.2338 | 2719945.4587 | 1220676.0436 | 2719948.4127 | 1220678.972 | 2719950.4397 | 1220682.3266 | 2719953.6872 | 1220691.0209 | 2719956.3657 | 1220695.9454 | 2719963.0509 | 1220704.2753
11 | 2720542.3051 | 1220886.3003 | 2720518.357 | 1220918.007 | 2720514.1398 | 1220922.3918 | 2720508.3169 | 1220926.2436 | 2720502.1777 | 1220928.4767 | 2720500.7741 | 1220928.782
12 | 2720485.2022 | 1220932.1695 | 2720500.7741 | 1220928.782
13 | 2720542.3051 | 1220886.3003 | 2720538.7908 | 1220886.3292 | 2720531.3867 | 1220888.4366 | 2720518.9408 | 1220894.4227
14 | 2720485.2022 | 1220932.1695 | 2720476.9512 | 1220929.2559 | 2720457.6853 | 1220925.7524 | 2720442.6187 | 1220923.2457 | 2720436.2038 | 1220921.4813 | 2720425.2106 | 1220917.5671 | 2720421.8648 | 1220914.1412 | 2720420.4538 | 1220910.3653 | 2720417.6235 | 1220895.3409 | 2720415.8653 | 1220887.3435 | 2720410.7524 | 1220871.4834 | 2720402.1782 | 1220850.0267 | 2720398.6063 | 1220839.0238 | 2720394.0286 | 1220829.7129 | 2720390.2591 | 1220828.1021
15 | 2720308.6945 | 1220832.4352 | 2720311.4965 | 1220831.9803 | 2720316.4259 | 1220828.7774 | 2720326.1624 | 1220825.4159 | 2720335.0598 | 1220823.3941 | 2720340.644 | 1220823.4625 | 2720360.3224 | 1220833.2344 | 2720366.535 | 1220835.2504 | 2720372.8834 | 1220835.4344 | 2720377.756 | 1220833.1644 | 2720385.3935 | 1220828.1482 | 2720390.2591 | 1220828.1021
16 | 2720370.3819 | 1220943.7347 | 2720359.4225 | 1220940.4671
17 | 2720529.221 | 1221080.809 | 2720536.7865 | 1221075.5914 | 2720545.1055 | 1221071.0117 | 2720549.026 | 1221070.0348 | 2720555.9614 | 1221069.6971 | 2720557.0194 | 1221069.473
18 | 2720529.221 | 1221080.809 | 2720520.6594 | 1221083.1264 | 2720512.1753 | 1221083.8665 | 2720488.9265 | 1221084.074 | 2720481.6819 | 1221084.3166 | 2720475.1825 | 1221085.6083 | 2720457.4625 | 1221090.8651 | 2720446.2728 | 1221092.1732 | 2720410.2106 | 1221092.9335 | 2720400.6579 | 1221091.7283 | 2720378.3296 | 1221084.7048 | 2720372.6515 | 1221082.5328 | 2720369.3794 | 1221079.9758 | 2720366.4275 | 1221076.2133 | 2720362.8229 | 1221070.9585 | 2720359.471 | 1221053.5773 | 2720356.9197 | 1221046.5203 | 2720353.3962 | 1221039.8772 | 2720348.6269 | 1221032.9199 | 2720332.6336 | 1221014.7048 | 2720326.1201 | 1221008.435 | 2720319.7275 | 1221003.313 | 2720311.4805 | 1220999.4545 | 2720296.9316 | 1220995.3686 | 2720288.7147 | 1220990.0207 | 2720277.9663 | 1220979.2508 | 2720271.2159 | 1220970.4299 | 2720267.0673 | 1220963.5408 | 2720261.8907 | 1220953.0726
19 | 2720747.3066 | 1221106.7243 | 2720750.8795 | 1221101.5594 | 2720753.6388 | 1221096.1 | 2720754.7994 | 1221088.6399 | 2720754.3545 | 1221079.5238 | 2720751.4174 | 1221069.8122 | 2720745.3042 | 1221058.4239 | 2720742.1885 | 1221050.777 | 2720739.0911 | 1221044.476 | 2720734.5652 | 1221039.3802 | 2720719.6222 | 1221029.3028 | 2720711.647 | 1221026.6502 | 2720699.082 | 1221026.54 | 2720693.3362 | 1221027.3353 | 2720687.2807 | 1221029.5587 | 2720680.1578 | 1221036.5198 | 2720671.6073 | 1221043.1517 | 2720666.8517 | 1221047.1363 | 2720661.9816 | 1221052.653 | 2720658.6431 | 1221057.8672 | 2720654.7212 | 1221071.2648 | 2720650.4653 | 1221079.4294 | 2720645.3699 | 1221088.5778 | 2720642.6001 | 1221092.3135 | 2720638.3999 | 1221095.4864 | 2720633.9018 | 1221096.5072 | 2720629.5375 | 1221095.796 | 2720619.2972 | 1221092.197 | 2720613.4124 | 1221091.6218 | 2720603.4272 | 1221092.2868 | 2720596.8446 | 1221092.0644 | 2720589.4187 | 1221090.3905 | 2720566.0831 | 1221082.9012 | 2720556.4655 | 1221080.4045 | 2720546.2957 | 1221078.942 | 2720538.5487 | 1221078.8852 | 2720529.221 | 1221080.809
20 | 2720282.3934 | 1220957.7124 | 2720276.8683 | 1220957.3561 | 2720271.3546 | 1220956.4329 | 2720261.8907 | 1220953.0726
21 | 2720747.3066 | 1221106.7243 | 2720741.7038 | 1221110.2023 | 2720733.2438 | 1221111.9989 | 2720723.9501 | 1221112.244 | 2720709.3848 | 1221111.615 | 2720700.776 | 1221113.6421 | 2720682.1557 | 1221119.1246 | 2720665.0108 | 1221122.213 | 2720657.8255 | 1221124.7694 | 2720652.5055 | 1221128.1531 | 2720649.016 | 1221131.8297 | 2720642.0893 | 1221141.0966 | 2720632.3546 | 1221151.4964
22 | 2720747.3066 | 1221106.7243 | 2720749.2328 | 1221111.6561 | 2720752.0686 | 1221114.0154
23 | 2720632.3546 | 1221151.4964 | 2720628.2698 | 1221153.4708 | 2720609.4943 | 1221149.3985
24 | 2720632.3546 | 1221151.4964 | 2720631.4673 | 1221154.8366 | 2720629.992 | 1221166.0871
25 | 2720756.4077 | 1221115.9716 | 2720752.0686 | 1221114.0154
26 | 2720514.8666 | 1221290.4817 | 2720517.2757 | 1221283.1914 | 2720519.7705 | 1221278.7829 | 2720525.112 | 1221274.332 | 2720534.4425 | 1221269.6283 | 2720539.5143 | 1221268.3744 | 2720543.677 | 1221269.6707 | 2720548.7721 | 1221272.5094 | 2720552.043 | 1221275.1221 | 2720564.6137 | 1221286.1629 | 2720568.2823 | 1221287.8719 | 2720571.4626 | 1221287.8362 | 2720574.906 | 1221286.4271 | 2720578.3328 | 1221284.3392 | 2720586.7857 | 1221277.2604 | 2720590.9364 | 1221274.2755 | 2720595.7931 | 1221272.0276 | 2720602.8345 | 1221269.8241 | 2720608.2615 | 1221267.143 | 2720612.515 | 1221263.5819 | 2720619.4161 | 1221255.571 | 2720631.5714 | 1221237.681 | 2720633.6648 | 1221233.9872 | 2720634.6566 | 1221230.36 | 2720634.8148 | 1221227.0495 | 2720634.0908 | 1221222.3312 | 2720628.2155 | 1221203.6977 | 2720626.072 | 1221183.6498 | 2720626.1633 | 1221179.1481 | 2720627.0603 | 1221175.33 | 2720629.5913 | 1221169.1431 | 2720629.992 | 1221166.0871
27 | 2719632.8944 | 1220538.9293 | 2719643.267 | 1220556.4067 | 2719645.757 | 1220559.3923 | 2719648.4062 | 1220560.1239 | 2719652.7865 | 1220559.3113 | 2719661.1622 | 1220554.1755 | 2719664.7551 | 1220552.8912 | 2719694.5886 | 1220551.7897 | 2719706.4133 | 1220549.6726
28 | 2719836.4362 | 1220528.7685 | 2719834.6179 | 1220531.623 | 2719820.4252 | 1220541.4451 | 2719804.6792 | 1220543.9747 | 2719799.0984 | 1220542.5948 | 2719793.8432 | 1220538.9863 | 2719791.2817 | 1220537.6671 | 2719787.7581 | 1220537.396 | 2719768.5203 | 1220538.0763 | 2719761.0786 | 1220539.4055 | 2719747.0158 | 1220545.4163 | 2719731.1278 | 1220546.7091 | 2719713.0139 | 1220548.4908 | 2719706.4133 | 1220549.6726
29 | 2719568.545 | 1220682.4038 | 2719543.1286 | 1220663.8793 | 2719539.8474 | 1220660.989 | 2719536.4144 | 1220656.9614 | 2719524.8029 | 1220639.9485 | 2719499.7822 | 1220607.3769 | 2719487.9005 | 1220589.4469 | 2719482.1146 | 1220581.647 | 2719476.8269 | 1220576.6259 | 2719461.566 | 1220563.3207 | 2719458.5258 | 1220559.7569 | 2719454.6704 | 1220554.0864 | 2719451.6139 | 1220545.663 | 2719460.4565 | 1220543.7277 | 2719468.2257 | 1220541.9599 | 2719493.768 | 1220536.8572 | 2719503.3838 | 1220535.349 | 2719512.6035 | 1220535.0448 | 2719548.2381 | 1220539.4745 | 2719556.2842 | 1220539.4137 | 2719582.9821 | 1220536.1026 | 2719632.8944 | 1220538.9293
30 | 2719836.4362 | 1220528.7685 | 2719856.4304 | 1220529.349 | 2719863.7054 | 1220531.0189 | 2719875.1704 | 1220532.662 | 2719884.1468 | 1220534.6442 | 2719894.3656 | 1220539.3757 | 2719903.3123 | 1220545.0936 | 2719909.9735 | 1220549.3532 | 2719914.3764 | 1220550.0535 | 2719918.0139 | 1220549.5708 | 2719925.6189 | 1220546.1657 | 2719929.6734 | 1220564.1613 | 2719931.9476 | 1220571.4461 | 2719938.6367 | 1220581.0993 | 2719940.0066 | 1220588.8218 | 2719944.1428 | 1220601.248 | 2719944.5267 | 1220608.9395 | 2719947.0797 | 1220608.7908 | 2719951.7817 | 1220605.95 | 2719955.0183 | 1220603.1352 | 2719956.9491 | 1220602.607 | 2719963.2686 | 1220604.6136
31 | 2719568.545 | 1220682.4038 | 2719569.1464 | 1220686.0853 | 2719568.1046 | 1220689.9674 | 2719564.8677 | 1220693.1827
32 | 2719568.545 | 1220682.4038 | 2719588.5957 | 1220696.7618 | 2719592.3542 | 1220701.5855 | 2719592.4608 | 1220703.3817
33 | 2719963.2686 | 1220604.6136 | 2719972.2953 | 1220598.0681 | 2719975.068 | 1220595.6909
34 | 2719923.1784 | 1220637.1537 | 2719926.1767 | 1220632.2325 | 2719929.3532 | 1220629.0162 | 2719938.387 | 1220622.115 | 2719944.4592 | 1220617.934 | 2719952.748 | 1220612.2298 | 2719963.2686 | 1220604.6136
35 | 2719550.2988 | 1220727.4043 | 2719549.3746 | 1220717.157 | 2719549.094 | 1220708.4557 | 2719549.2866 | 1220701.5097 | 2719551.6322 | 1220697.7094 | 2719555.8693 | 1220695.704 | 2719564.8677 | 1220693.1827 | 2719564.8677 | 1220693.1827
36 | 2719923.1784 | 1220637.1537 | 2719925.5164 | 1220638.6353 | 2719926.4427 | 1220640.1218 | 2719926.6954 | 1220644.5303 | 2719928.8101 | 1220652.201 | 2719932.3476 | 1220656.6757 | 2719936.983 | 1220659.7714 | 2719941.3866 | 1220660.8165 | 2719960.3751 | 1220657.8973
37 | 2719975.068 | 1220595.6909 | 2719975.3999 | 1220595.4064
38 | 2720147.5778 | 1220504.2062 | 2720149.6903 | 1220507.0843 | 2720152.2129 | 1220508.4474 | 2720156.9178 | 1220508.8537 | 2720168.4434 | 1220508.6194 | 2720173.28 | 1220509.273 | 2720176.1832 | 1220510.199 | 2720187.6289 | 1220518.0582 | 2720205.9177 | 1220528.3019 | 2720210.6 | 1220532.8332 | 2720213.088 | 1220535.908 | 2720214.4025 | 1220538.8368 | 2720214.5553 | 1220546.3013 | 2720215.141 | 1220548.4926 | 2720217.0366 | 1220550.8326 | 2720219.8194 | 1220551.7117 | 2720224.0606 | 1220552.1532 | 2720243.3229 | 1220550.6409 | 2720248.5811 | 1220551.0807 | 2720254.9485 | 1220553.3443 | 2720260.7172 | 1220555.9406 | 2720273.0243 | 1220557.9684 | 2720279.2583 | 1220560.8187 | 2720281.3117 | 1220565.1191 | 2720281.1994 | 1220570.6767 | 2720278.4899 | 1220587.2015 | 2720276.6897 | 1220594.0371 | 2720264.7407 | 1220614.4783 | 2720261.2286 | 1220623.4032 | 2720258.763 | 1220635.7519 | 2720258.2378 | 1220639.2107 | 2720259.1846 | 1220643.4331 | 2720260.9289 | 1220646.1259 | 2720263.1898 | 1220648.0397 | 2720268.0382 | 1220648.8494 | 2720273.0072 | 1220648.5717 | 2720272.6463 | 1220652.9122 | 2720270.4488 | 1220656.1259 | 2720267.1373 | 1220658.1273 | 2720263.8586 | 1220658.8839 | 2720260.1779 | 1220658.8762 | 2720229.7585 | 1220648.7988
39 | 2720147.5778 | 1220504.2062 | 2720135.3127 | 1220508.362 | 2720110.9889 | 1220517.3562 | 2720088.3556 | 1220524.1941 | 2720076.0266 | 1220528.5155 | 2720071.5312 | 1220532.0165 | 2720066.4831 | 1220536.585 | 2720062.1625 | 1220540.4564 | 2720055.6939 | 1220543.206 | 2720050.6398 | 1220543.5599 | 2720035.233 | 1220542.4374 | 2720030.85 | 1220543.0051 | 2720026.0091 | 1220544.4531 | 2720022.2394 | 1220545.8449 | 2720019.4398 | 1220547.7748
40 | 2720147.5778 | 1220504.2062 | 2720427.8997 | 1219821.4325
41 | 2720229.7585 | 1220648.7988 | 2720217.7398 | 1220643.3964 | 2720205.5776 | 1220639.8371 | 2720186.183 | 1220637.0045
42 | 2719983.5701 | 1220585.4187 | 2719985.7678 | 1220581.4377 | 2719988.2903 | 1220573.7715 | 2719991.2115 | 1220568.9154 | 2719994.2013 | 1220565.1728 | 2720019.4398 | 1220547.7748
43 | 2720427.8997 | 1219821.4325 | 2720424.2651 | 1219821.6642 | 2720420.9793 | 1219823.4992 | 2720418.6045 | 1219835.0824 | 2720412.9435 | 1219851.1471 | 2720413.3618 | 1219854.8584 | 2720415.7327 | 1219857.3527 | 2720428.2021 | 1219861.9306 | 2720457.4052 | 1219857.2841 | 2720470.3765 | 1219855.0669 | 2720476.8901 | 1219855.7658 | 2720491.0955 | 1219862.7029 | 2720501.7031 | 1219864.7635 | 2720512.68 | 1219869.5782 | 2720521.1388 | 1219872.7963 | 2720535.146 | 1219875.2705 | 2720563.3379 | 1219885.3266 | 2720571.0382 | 1219887.3951 | 2720588.8756 | 1219887.3895 | 2720595.7116 | 1219889.0292 | 2720614.1431 | 1219893.7949 | 2720629.3911 | 1219894.5931 | 2720648.1372 | 1219894.6951 | 2720654.3811 | 1219898.2132 | 2720662.5241 | 1219906.5179 | 2720666.4934 | 1219909.749
44 | 2720427.8997 | 1219821.4325 | 2719648.4005 | 1219742.5585
45 | 2720432.269 | 1219821.1539 | 2720427.8997 | 1219821.4325
46 | 2719648.4005 | 1219742.5585 | 2719643.0947 | 1219730.476
47 | 2720011.9339 | 1220733.9831 | 2720020.8243 | 1220731.5604 | 2720028.0077 | 1220729.1032 | 2720031.5477 | 1220725.1715 | 2720037.4148 | 1220712.3465 | 2720038.7148 | 1220709.6039 | 2720043.1542 | 1220705.8571 | 2720047.2011 | 1220704.6377 | 2720072.0517 | 1220700.3353 | 2720074.9728 | 1220698.8708 | 2720077.2351 | 1220696.2032 | 2720078.3276 | 1220692.8338 | 2720078.4581 | 1220689.0001 | 2720077.7693 | 1220687.1216
48 | 2719991.0587 | 1220598.7021 | 2719991.0655 | 1220598.3687 | 2719986.2218 | 1220598.4489 | 2719984.3625 | 1220598.4448 | 2719975.3999 | 1220595.4064
49 | 2719983.5701 | 1220585.4187 | 2719981.2539 | 1220589.6309 | 2719975.3999 | 1220595.4064

## bus_geodata
| x | y | coords
0 | 2719943.0385 | 1221126.1739
1 | 2719962.1866 | 1221127.4195
2 | 2720190.8233 | 1220895.4155
3 | 2720255.6471 | 1220939.7147
4 | 2720342.8524 | 1220928.1774
5 | 2719963.0509 | 1220704.2753
6 | 2720500.7741 | 1220928.782
7 | 2720542.3051 | 1220886.3003
8 | 2720485.2022 | 1220932.1695
9 | 2720518.9408 | 1220894.4227
10 | 2720390.2591 | 1220828.1021
11 | 2720308.6945 | 1220832.4352
12 | 2720359.4225 | 1220940.4671
13 | 2720370.3819 | 1220943.7347
14 | 2720557.0194 | 1221069.473
15 | 2720529.221 | 1221080.809
16 | 2720261.8907 | 1220953.0726
17 | 2720747.3066 | 1221106.7243
18 | 2720282.3934 | 1220957.7124
19 | 2720632.3546 | 1221151.4965
20 | 2720752.0686 | 1221114.0154
21 | 2720609.4943 | 1221149.3985
22 | 2720629.992 | 1221166.0871
23 | 2720756.4077 | 1221115.9716
24 | 2719706.4133 | 1220549.6726
25 | 2719632.8944 | 1220538.9293
26 | 2719836.4362 | 1220528.7685
27 | 2719568.545 | 1220682.4037
28 | 2719963.2686 | 1220604.6136
29 | 2719564.8677 | 1220693.1827
30 | 2719592.4608 | 1220703.3817
31 | 2719923.1784 | 1220637.1537
32 | 2719960.3751 | 1220657.8973
33 | 2719975.068 | 1220595.6909
34 | 2720147.5778 | 1220504.2062
35 | 2720229.7585 | 1220648.7988
36 | 2720019.4398 | 1220547.7748
37 | 2720427.8997 | 1219821.4325
38 | 2719648.4005 | 1219742.5585
39 | 2719643.0947 | 1219730.476
40 | 2719550.2988 | 1220727.4043
41 | 2719949.794 | 1220713.2375
42 | 2720011.9339 | 1220733.9831
43 | 2719975.3999 | 1220595.4064
44 | 2719983.5701 | 1220585.4187
45 | 2720186.183 | 1220637.0045
46 | 2720432.269 | 1219821.1539
47 | 2720666.4934 | 1219909.749
48 | 2720514.8666 | 1221290.4817
49 | 2720077.7693 | 1220687.1216
50 | 2719991.0587 | 1220598.7021
51 | 2720077.7693 | 1220687.1216

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99205 | -0.15406 | 0.00098277 | 0.00024631
1 | 0.99207 | -0.15373 | 0 | 0
2 | 0.99236 | -0.14802 | 0 | 0
3 | 0.99189 | -0.15721 | 0.00031541 | 7.9049e-05
4 | 0.9918 | -0.15906 | 0 | 0
5 | 0.99559 | -0.085225 | 0 | 0
6 | 0.99149 | -0.16501 | 0.00037965 | 9.515e-05
7 | 0.99145 | -0.16581 | 0 | 0
8 | 0.99151 | -0.1647 | 0 | 0
9 | 0.99144 | -0.16613 | 0.00073545 | 0.00018432
10 | 0.99141 | -0.16668 | 0.00027972 | 7.0105e-05
11 | 0.99138 | -0.16733 | 0.00041402 | 0.00010376
12 | 0.99176 | -0.15982 | 0.00068959 | 0.00017283
13 | 0.99175 | -0.16009 | 0.001315 | 0.00032958
14 | 0.99022 | -0.18971 | 0.00035523 | 8.9028e-05
15 | 0.99023 | -0.18952 | 0 | 0
16 | 0.99182 | -0.1587 | 0 | 0
17 | 0.98883 | -0.21689 | 0 | 0
18 | 0.99181 | -0.1589 | 0.00053828 | 0.0001349
19 | 0.98852 | -0.22303 | 0 | 0
20 | 0.98881 | -0.21723 | 0.00039768 | 9.9668e-05
21 | 0.98848 | -0.22368 | 0.001545 | 0.00038722
22 | 0.9885 | -0.22332 | 0.00045401 | 0.00011379
23 | 0.98881 | -0.21738 | 0.0017233 | 0.00043189
24 | 0.99308 | -0.13414 | 0.00074885 | 0.00018768
25 | 0.99282 | -0.13932 | 0 | 0
26 | 0.9936 | -0.12408 | 0 | 0
27 | 0.9917 | -0.16106 | 0 | 0
28 | 0.99428 | -0.11082 | 0 | 0
29 | 0.99167 | -0.16169 | 0.0004518 | 0.00011323
30 | 0.99168 | -0.16134 | 0.00048152 | 0.00012068
31 | 0.99474 | -0.10197 | 0 | 0
32 | 0.99465 | -0.10367 | 0.0018573 | 0.00046548
33 | 0.99421 | -0.11226 | 0.0010728 | 0.00026887
34 | 0.99348 | -0.12666 | 0 | 0
35 | 0.99302 | -0.1357 | 0 | 0
36 | 0.99396 | -0.11719 | 0.00026792 | 6.7147e-05
37 | 0.99203 | -0.15562 | 0.00053876 | 0.00013503
38 | 0.99154 | -0.16523 | 0 | 0
39 | 0.99153 | -0.16539 | 0.0006789 | 0.00017015
40 | 0.99157 | -0.1636 | 0.0024226 | 0.00060717
41 | 0.99557 | -0.085768 | 0.0011523 | 0.0002888
42 | 0.99807 | -0.03725 | 0 | 0
43 | 0.99421 | -0.1123 | 0 | 0
44 | 0.99416 | -0.11325 | 0 | 0
45 | 0.99295 | -0.13702 | 0.0016371 | 0.0004103
46 | 0.99202 | -0.15567 | 0.0006771 | 0.0001697
47 | 0.99195 | -0.15714 | 0.00027445 | 6.8784e-05
48 | 0.98837 | -0.22599 | 0.00065122 | 0.00016321
49 | 1 | 0 | -0.025153 | -0.0058776
50 | 0.9942 | -0.11238 | 0.00028781 | 7.2133e-05
51 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.00098277 | -0.00024631 | 0.00098279 | 0.00024606 | 1.5882e-08 | -2.4151e-07 | 0.0014741 | 0.001474 | 0.0014741 | 0.99205 | -0.15406 | 0.99207 | -0.15373 | 0.40497
1 | -0.00098279 | -0.00024606 | 0.00098306 | 0.00024203 | 2.6513e-07 | -4.0374e-06 | 0.001474 | 0.0014725 | 0.001474 | 0.99207 | -0.15373 | 0.99236 | -0.14802 | 0.40495
2 | 0.0059978 | 0.0014944 | -0.0059952 | -0.0014938 | 2.6119e-06 | 5.5888e-07 | 0.0089904 | 0.0089908 | 0.0089908 | 0.99236 | -0.14802 | 0.99189 | -0.15721 | 2.47
3 | 0.0038162 | 0.00094819 | -0.0038142 | -0.00094901 | 1.9943e-06 | -8.2267e-07 | 0.0057193 | 0.0057201 | 0.0057201 | 0.99236 | -0.14802 | 0.9918 | -0.15906 | 1.5714
4 | -0.010797 | -0.0026846 | 0.010829 | 0.002701 | 3.2193e-05 | 1.6354e-05 | 0.016182 | 0.016181 | 0.016182 | 0.99236 | -0.14802 | 0.99559 | -0.085225 | 4.4457
5 | 0.0056798 | 0.0014148 | -0.0056794 | -0.0014147 | 4.0116e-07 | 6.6435e-08 | 0.0085176 | 0.0085177 | 0.0085177 | 0.99189 | -0.15721 | 0.99182 | -0.1587 | 2.34
6 | 0.0020047 | 0.00050204 | -0.0020047 | -0.00050227 | 7.2266e-08 | -2.2866e-07 | 0.0030076 | 0.0030077 | 0.0030077 | 0.9918 | -0.15906 | 0.99176 | -0.15982 | 0.82629
7 | 0.0018095 | 0.00044697 | -0.001809 | -0.00044891 | 4.8111e-07 | -1.9411e-06 | 0.0027125 | 0.0027133 | 0.0027133 | 0.9918 | -0.15906 | 0.99151 | -0.1647 | 0.7454
8 | 0.0011524 | 0.00028847 | -0.0011523 | -0.0002888 | 2.979e-08 | -3.292e-07 | 0.0017222 | 0.0017223 | 0.0017223 | 0.99559 | -0.085225 | 0.99557 | -0.085768 | 0.47316
9 | -0.023408 | -0.0058195 | 0.023461 | 0.0058521 | 5.33e-05 | 3.2597e-05 | 0.034969 | 0.034968 | 0.034969 | 0.99559 | -0.085225 | 0.99807 | -0.03725 | 9.6068
10 | 0.011426 | 0.00283 | -0.011417 | -0.0028253 | 9.0263e-06 | 4.7031e-06 | 0.017066 | 0.017066 | 0.017066 | 0.99559 | -0.085225 | 0.99474 | -0.10197 | 4.6886
11 | 0.00073549 | 0.00018324 | -0.00073546 | -0.00018401 | 2.7752e-08 | -7.6594e-07 | 0.0011034 | 0.0011037 | 0.0011037 | 0.99149 | -0.16501 | 0.99145 | -0.16581 | 0.30321
12 | -0.0011151 | -0.00027839 | 0.0011152 | 0.00027819 | 1.673e-08 | -1.9483e-07 | 0.0016732 | 0.0016731 | 0.0016732 | 0.99149 | -0.16501 | 0.99151 | -0.1647 | 0.45967
13 | 0.00073546 | 0.00018401 | -0.00073545 | -0.00018432 | 1.1403e-08 | -3.1459e-07 | 0.0011037 | 0.0011038 | 0.0011038 | 0.99145 | -0.16581 | 0.99144 | -0.16613 | 0.30324
14 | 0.00069382 | 0.00017072 | -0.00069375 | -0.00017274 | 6.4974e-08 | -2.0223e-06 | 0.0010401 | 0.0010409 | 0.0010409 | 0.99151 | -0.1647 | 0.99141 | -0.16668 | 0.28595
15 | 0.00041403 | 0.00010264 | -0.00041402 | -0.00010376 | 1.2729e-08 | -1.126e-06 | 0.00062102 | 0.00062142 | 0.00062142 | 0.99141 | -0.16668 | 0.99138 | -0.16733 | 0.17072
16 | 0.0013151 | 0.00032944 | -0.001315 | -0.00032958 | 1.6695e-08 | -1.3688e-07 | 0.001973 | 0.0019731 | 0.0019731 | 0.99176 | -0.15982 | 0.99175 | -0.16009 | 0.54206
17 | -0.00035523 | -8.9028e-05 | 0.00035523 | 8.8634e-05 | 3.2851e-09 | -3.935e-07 | 0.0005338 | 0.00053366 | 0.0005338 | 0.99022 | -0.18971 | 0.99023 | -0.18952 | 0.14665
18 | -0.0051336 | -0.0012796 | 0.0051411 | 0.0012801 | 7.5093e-06 | 4.6652e-07 | 0.0077117 | 0.0077102 | 0.0077117 | 0.99023 | -0.18952 | 0.99182 | -0.1587 | 2.1186
19 | 0.0047783 | 0.001191 | -0.0047721 | -0.0011911 | 6.204e-06 | -1.5336e-07 | 0.0071781 | 0.0071795 | 0.0071795 | 0.99023 | -0.18952 | 0.98883 | -0.21689 | 1.9724
20 | 0.00053828 | 0.00013464 | -0.00053828 | -0.0001349 | 5.1623e-09 | -2.6913e-07 | 0.00080748 | 0.00080758 | 0.00080758 | 0.99182 | -0.1587 | 0.99181 | -0.1589 | 0.22186
21 | 0.0026512 | 0.00065972 | -0.0026504 | -0.00066089 | 7.7129e-07 | -1.1647e-06 | 0.0039879 | 0.0039884 | 0.0039884 | 0.98883 | -0.21689 | 0.98852 | -0.22303 | 1.0957
22 | 0.002121 | 0.00053141 | -0.0021209 | -0.0005315 | 3.4317e-08 | -9.3275e-08 | 0.0031916 | 0.0031917 | 0.0031917 | 0.98883 | -0.21689 | 0.98881 | -0.21723 | 0.87684
23 | 0.0015451 | 0.00038694 | -0.001545 | -0.00038721 | 4.8042e-08 | -2.7288e-07 | 0.0023257 | 0.0023258 | 0.0023258 | 0.98852 | -0.22303 | 0.98848 | -0.22368 | 0.63895
24 | 0.0011053 | 0.00027395 | -0.0011053 | -0.00027413 | 1.5348e-08 | -1.7994e-07 | 0.0016628 | 0.0016628 | 0.0016628 | 0.98852 | -0.22303 | 0.9885 | -0.22332 | 0.45682
25 | 0.0017233 | 0.00043183 | -0.0017233 | -0.00043189 | 1.2003e-08 | -5.3371e-08 | 0.0025932 | 0.0025933 | 0.0025933 | 0.98881 | -0.21723 | 0.98881 | -0.21738 | 0.71244
26 | 0.0006513 | 0.00016034 | -0.00065122 | -0.00016321 | 8.2135e-08 | -2.8711e-06 | 0.00097941 | 0.00098043 | 0.00098043 | 0.9885 | -0.22332 | 0.98837 | -0.22599 | 0.26935
27 | 0.0033606 | 0.00083704 | -0.0033598 | -0.00083764 | 8.2594e-07 | -5.9573e-07 | 0.0050336 | 0.005034 | 0.005034 | 0.99308 | -0.13414 | 0.99282 | -0.13932 | 1.383
28 | -0.0041094 | -0.0010247 | 0.0041114 | 0.0010242 | 1.9619e-06 | -5.319e-07 | 0.0061556 | 0.006155 | 0.0061556 | 0.99308 | -0.13414 | 0.9936 | -0.12408 | 1.6911
29 | 0.0033598 | 0.00083764 | -0.0033563 | -0.00084013 | 3.469e-06 | -2.4935e-06 | 0.005034 | 0.0050356 | 0.0050356 | 0.99282 | -0.13932 | 0.9917 | -0.16106 | 1.3834
30 | -0.0041114 | -0.0010242 | 0.004114 | 0.0010235 | 2.5842e-06 | -7.0401e-07 | 0.006155 | 0.0061542 | 0.006155 | 0.9936 | -0.12408 | 0.99428 | -0.11082 | 1.6909
31 | 0.0028748 | 0.00071987 | -0.0028747 | -0.00071997 | 8.5899e-08 | -1.0388e-07 | 0.0043133 | 0.0043133 | 0.0043133 | 0.9917 | -0.16106 | 0.99167 | -0.16169 | 1.185
32 | 0.00048153 | 0.00012026 | -0.00048152 | -0.00012068 | 6.3759e-09 | -4.1622e-07 | 0.00072238 | 0.00072252 | 0.00072252 | 0.9917 | -0.16106 | 0.99168 | -0.16134 | 0.1985
33 | 0.0054419 | 0.0013351 | -0.0054415 | -0.001335 | 3.6727e-07 | 4.3086e-08 | 0.0081341 | 0.0081342 | 0.0081342 | 0.99428 | -0.11082 | 0.99421 | -0.11226 | 2.2347
34 | -0.0095559 | -0.0023586 | 0.0095599 | 0.0023604 | 3.9866e-06 | 1.8757e-06 | 0.014288 | 0.014288 | 0.014288 | 0.99428 | -0.11082 | 0.99474 | -0.10197 | 3.9254
35 | 0.0024229 | 0.00060674 | -0.0024226 | -0.00060717 | 2.2027e-07 | -4.3234e-07 | 0.0036354 | 0.0036356 | 0.0036356 | 0.99167 | -0.16169 | 0.99157 | -0.1636 | 0.99879
36 | 0.0018574 | 0.0004649 | -0.0018573 | -0.00046548 | 1.5026e-07 | -5.7761e-07 | 0.0027783 | 0.0027785 | 0.0027785 | 0.99474 | -0.10197 | 0.99465 | -0.10367 | 0.76333
37 | 0.0043687 | 0.0010662 | -0.0043687 | -0.0010662 | 6.9884e-09 | -1.1966e-09 | 0.0065286 | 0.0065286 | 0.0065286 | 0.99421 | -0.11226 | 0.99421 | -0.1123 | 1.7936
38 | 0.0016379 | 0.0004062 | -0.0016372 | -0.00040977 | 7.0183e-07 | -3.5783e-06 | 0.0024517 | 0.0024531 | 0.0024531 | 0.99348 | -0.12666 | 0.99302 | -0.1357 | 0.67394
39 | -0.0038104 | -0.00092808 | 0.0038121 | 0.00092737 | 1.6839e-06 | -7.1442e-07 | 0.0056977 | 0.0056971 | 0.0056977 | 0.99348 | -0.12666 | 0.99396 | -0.11719 | 1.5653
40 | 0.0021725 | 0.00052188 | -0.0021695 | -0.00052956 | 2.9193e-06 | -7.6749e-06 | 0.0032461 | 0.0032493 | 0.0032493 | 0.99348 | -0.12666 | 0.99203 | -0.15562 | 0.89267
41 | 0.0016372 | 0.00040977 | -0.0016371 | -0.0004103 | 1.0257e-07 | -5.2228e-07 | 0.0024531 | 0.0024533 | 0.0024533 | 0.99302 | -0.1357 | 0.99295 | -0.13702 | 0.67399
42 | -0.00408 | -0.00099451 | 0.0040807 | 0.0009943 | 7.4925e-07 | -2.1702e-07 | 0.0060982 | 0.006098 | 0.0060982 | 0.99396 | -0.11719 | 0.99416 | -0.11325 | 1.6753
43 | 0.00027447 | 6.4825e-05 | -0.00027445 | -6.8784e-05 | 1.9487e-08 | -3.9589e-06 | 0.00041034 | 0.0004117 | 0.0004117 | 0.99203 | -0.15562 | 0.99195 | -0.15714 | 0.11311
44 | 0.00067921 | 0.00016007 | -0.00067891 | -0.00016998 | 3.0389e-07 | -9.916e-06 | 0.0010153 | 0.0010188 | 0.0010188 | 0.99203 | -0.15562 | 0.99154 | -0.16523 | 0.27988
45 | 0.00067711 | 0.00016964 | -0.0006771 | -0.0001697 | 1.6935e-09 | -5.5442e-08 | 0.0010156 | 0.0010156 | 0.0010156 | 0.99203 | -0.15562 | 0.99202 | -0.15567 | 0.27902
46 | 0.00067891 | 0.00016998 | -0.0006789 | -0.00017015 | 5.1345e-09 | -1.6685e-07 | 0.0010188 | 0.0010188 | 0.0010188 | 0.99154 | -0.16523 | 0.99153 | -0.16539 | 0.2799
47 | -0.023461 | -0.0058521 | 0.023503 | 0.0058775 | 4.156e-05 | 2.5412e-05 | 0.034968 | 0.034968 | 0.034968 | 0.99807 | -0.03725 | 1 | 0 | 9.6067
48 | 0.00028782 | 7.192e-05 | -0.00028781 | -7.2133e-05 | 1.145e-09 | -2.1268e-07 | 0.00043069 | 0.00043077 | 0.00043077 | 0.99421 | -0.1123 | 0.9942 | -0.11238 | 0.11834
49 | 0.0040809 | 0.00099424 | -0.0040807 | -0.0009943 | 1.8153e-07 | -5.2629e-08 | 0.0060979 | 0.006098 | 0.006098 | 0.99421 | -0.1123 | 0.99416 | -0.11325 | 1.6753

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -6.4999e-16 | 2.4266e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 7.2519e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.025432 | 0.0059475

## res_load
| p_mw | q_mvar
0 | 0.00098277 | 0.00024631
1 | 0.00031541 | 7.9049e-05
2 | 0.00037965 | 9.515e-05
3 | 0.00073545 | 0.00018432
4 | 0.00027972 | 7.0105e-05
5 | 0.00041402 | 0.00010376
6 | 0.00068959 | 0.00017283
7 | 0.001315 | 0.00032958
8 | 0.00035523 | 8.9028e-05
9 | 0.00053828 | 0.0001349
10 | 0.00039768 | 9.9668e-05
11 | 0.001545 | 0.00038722
12 | 0.00045401 | 0.00011379
13 | 0.0017233 | 0.00043189
14 | 0.00074885 | 0.00018768
15 | 0.0004518 | 0.00011323
16 | 0.00048152 | 0.00012068
17 | 0.0018573 | 0.00046548
18 | 0.0010728 | 0.00026887
19 | 0.00026792 | 6.7147e-05
20 | 0.00053876 | 0.00013503
21 | 0.0006789 | 0.00017015
22 | 0.0024226 | 0.00060717
23 | 0.0011523 | 0.0002888
24 | 0.0016371 | 0.0004103
25 | 0.0006771 | 0.0001697
26 | 0.00027445 | 6.8784e-05
27 | 0.00065122 | 0.00016321
28 | 0.0002789 | 6.99e-05
29 | 0.00028781 | 7.2133e-05

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1