## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1630-45_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1630-45_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1630-45_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1630-45_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1630-45_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1630-45_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1630-45_0_4_node_14 | 0.4 | n |  | TRUE
7 | bus_LV_1630-45_0_4_node_11 | 0.4 | n |  | TRUE
8 | bus_LV_1630-45_0_4_node_56 | 0.4 | n |  | TRUE
9 | bus_LV_1630-45_0_4_node_65 | 0.4 | n |  | TRUE
10 | bus_LV_1630-45_0_4_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_1630-45_0_4_node_66 | 0.4 | n |  | TRUE
12 | bus_LV_1630-45_0_4_node_51 | 0.4 | n |  | TRUE
13 | bus_LV_1630-45_0_4_node_50 | 0.4 | n |  | TRUE
14 | bus_LV_1630-45_0_4_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_1630-45_0_4_node_7 | 0.4 | n |  | TRUE
16 | bus_LV_1630-45_0_4_node_8 | 0.4 | n |  | TRUE
17 | bus_LV_1630-45_0_4_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_1630-45_0_4_node_31 | 0.4 | n |  | TRUE
19 | bus_LV_1630-45_0_4_node_25 | 0.4 | n |  | TRUE
20 | bus_LV_1630-45_0_4_node_63 | 0.4 | n |  | TRUE
21 | bus_LV_1630-45_0_4_node_24 | 0.4 | n |  | TRUE
22 | bus_LV_1630-45_0_4_node_21 | 0.4 | n |  | TRUE
23 | bus_LV_1630-45_0_4_node_22 | 0.4 | n |  | TRUE
24 | bus_LV_1630-45_0_4_node_23 | 0.4 | n |  | TRUE
25 | bus_LV_1630-45_0_4_node_13 | 0.4 | n |  | TRUE
26 | bus_LV_1630-45_0_4_node_27 | 0.4 | n |  | TRUE
27 | bus_LV_1630-45_0_4_node_30 | 0.4 | n |  | TRUE
28 | bus_LV_1630-45_0_4_node_57 | 0.4 | n |  | TRUE
29 | bus_LV_1630-45_0_4_node_26 | 0.4 | n |  | TRUE
30 | bus_LV_1630-45_0_4_node_29 | 0.4 | n |  | TRUE
31 | bus_LV_1630-45_0_4_node_59 | 0.4 | n |  | TRUE
32 | bus_LV_1630-45_0_4_node_58 | 0.4 | n |  | TRUE
33 | bus_LV_1630-45_0_4_node_43 | 0.4 | n |  | TRUE
34 | bus_LV_1630-45_0_4_node_15 | 0.4 | n |  | TRUE
35 | bus_LV_1630-45_0_4_node_16 | 0.4 | n |  | TRUE
36 | bus_LV_1630-45_0_4_node_17 | 0.4 | n |  | TRUE
37 | bus_LV_1630-45_0_4_node_18 | 0.4 | n |  | TRUE
38 | bus_LV_1630-45_0_4_node_19 | 0.4 | n |  | TRUE
39 | bus_LV_1630-45_0_4_node_20 | 0.4 | n |  | TRUE
40 | bus_LV_1630-45_0_4_node_28 | 0.4 | n |  | TRUE
41 | bus_LV_1630-45_0_4_node_55 | 0.4 | n |  | TRUE
42 | bus_LV_1630-45_0_4_node_60 | 0.4 | n |  | TRUE
43 | bus_LV_1630-45_0_4_node_32 | 0.4 | n |  | TRUE
44 | bus_LV_1630-45_0_4_node_33 | 0.4 | n |  | TRUE
45 | bus_LV_1630-45_0_4_node_34 | 0.4 | n |  | TRUE
46 | bus_LV_1630-45_0_4_node_35 | 0.4 | n |  | TRUE
47 | bus_LV_1630-45_0_4_node_36 | 0.4 | n |  | TRUE
48 | bus_LV_1630-45_0_4_node_37 | 0.4 | n |  | TRUE
49 | bus_LV_1630-45_0_4_node_61 | 0.4 | n |  | TRUE
50 | bus_LV_1630-45_0_4_node_42 | 0.4 | n |  | TRUE
51 | bus_LV_1630-45_0_4_node_38 | 0.4 | n |  | TRUE
52 | bus_LV_1630-45_0_4_node_39 | 0.4 | n |  | TRUE
53 | bus_LV_1630-45_0_4_node_44 | 0.4 | n |  | TRUE
54 | bus_LV_1630-45_0_4_node_64 | 0.4 | n |  | TRUE
55 | bus_LV_1630-45_0_4_node_40 | 0.4 | n |  | TRUE
56 | bus_LV_1630-45_0_4_node_48 | 0.4 | n |  | TRUE
57 | bus_LV_1630-45_0_4_node_47 | 0.4 | n |  | TRUE
58 | bus_LV_1630-45_0_4_node_49 | 0.4 | n |  | TRUE
59 | bus_LV_1630-45_0_4_node_54 | 0.4 | n |  | TRUE
60 | bus_LV_1630-45_0_4_node_46 | 0.4 | n |  | TRUE
61 | bus_LV_1630-45_0_4_node_52 | 0.4 | n |  | TRUE
62 | bus_MV_152_0_node_66 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1630-45_0_4_load_0 | 0 | 0.02665 | 0.0066792 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1630-45_0_4_load_4 | 4 | 0.0083903 | 0.0021028 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1630-45_0_4_load_11 | 7 | 0.0072535 | 0.0018179 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1630-45_0_4_load_56 | 8 | 0.0080516 | 0.0020179 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1630-45_0_4_load_65 | 9 | 0.05473 | 0.013717 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1630-45_0_4_load_66 | 11 | 0.054748 | 0.013721 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1630-45_0_4_load_50 | 13 | 0.008986 | 0.0022521 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1630-45_0_4_load_12 | 14 | 0.023477 | 0.0058839 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1630-45_0_4_load_7 | 15 | 0.011955 | 0.0029961 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1630-45_0_4_load_25 | 19 | 0.007839 | 0.0019646 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1630-45_0_4_load_63 | 20 | 0.0071774 | 0.0017988 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1630-45_0_4_load_24 | 21 | 0.0099883 | 0.0025033 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1630-45_0_4_load_21 | 22 | 0.016044 | 0.0040209 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1630-45_0_4_load_23 | 24 | 0.0068281 | 0.0017113 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1630-45_0_4_load_30 | 27 | 0.018713 | 0.0046899 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1630-45_0_4_load_57 | 28 | 0.0094724 | 0.002374 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1630-45_0_4_load_26 | 29 | 0.0060472 | 0.0015156 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1630-45_0_4_load_29 | 30 | 0.0078852 | 0.0019762 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1630-45_0_4_load_59 | 31 | 0.0079333 | 0.0019883 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1630-45_0_4_load_58 | 32 | 0.010429 | 0.0026137 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1630-45_0_4_load_15 | 34 | 0.0061708 | 0.0015465 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1630-45_0_4_load_16 | 35 | 0.018985 | 0.0047581 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1630-45_0_4_load_18 | 37 | 0.0062913 | 0.0015768 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1630-45_0_4_load_20 | 39 | 0.0073501 | 0.0018421 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1630-45_0_4_load_60 | 42 | 0.0051461 | 0.0012897 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1630-45_0_4_load_32 | 43 | 0.019285 | 0.0048332 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1630-45_0_4_load_33 | 44 | 0.0046907 | 0.0011756 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1630-45_0_4_load_35 | 46 | 0.004932 | 0.0012361 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1630-45_0_4_load_61 | 49 | 0.0043279 | 0.0010847 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1630-45_0_4_load_42 | 50 | 0.0041761 | 0.0010466 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1630-45_0_4_load_44 | 53 | 0.0057931 | 0.0014519 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1630-45_0_4_load_64 | 54 | 0.0012547 | 0.00031445 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1630-45_0_4_load_48 | 56 | 0.0071695 | 0.0017969 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1630-45_0_4_load_47 | 57 | 0.0057175 | 0.0014329 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1630-45_0_4_load_46 | 60 | 0.0077322 | 0.0019379 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1630-45_0_4_load_52 | 61 | 0.010451 | 0.0026192 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 4 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1630-45_0_4_line_0 |  | 0 | 1 | 0.023802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1630-45_0_4_line_1 |  | 0 | 2 | 0.016434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1630-45_0_4_line_2 |  | 1 | 3 | 0.03092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
3 | LV_1630-45_0_4_line_3 |  | 1 | 4 | 0.018833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
4 | LV_1630-45_0_4_line_4 |  | 2 | 5 | 0.059857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1630-45_0_4_line_5 |  | 3 | 6 | 0.006905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1630-45_0_4_line_6 |  | 3 | 7 | 0.010358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_1630-45_0_4_line_7 |  | 4 | 8 | 0.0035877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1630-45_0_4_line_8 |  | 5 | 9 | 0.006956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1630-45_0_4_line_9 |  | 5 | 10 | 0.035734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1630-45_0_4_line_10 |  | 6 | 12 | 0.030216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1630-45_0_4_line_11 |  | 6 | 13 | 0.011854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1630-45_0_4_line_12 |  | 7 | 14 | 0.0091954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_1630-45_0_4_line_13 |  | 10 | 11 | 0.008662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1630-45_0_4_line_14 |  | 12 | 31 | 0.00716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1630-45_0_4_line_15 |  | 12 | 32 | 0.021189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1630-45_0_4_line_16 |  | 13 | 33 | 0.015074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1630-45_0_4_line_17 |  | 14 | 25 | 0.021706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_1630-45_0_4_line_18 |  | 15 | 16 | 0.015583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1630-45_0_4_line_19 |  | 16 | 17 | 0.002421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1630-45_0_4_line_20 |  | 17 | 18 | 0.029619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1630-45_0_4_line_21 |  | 17 | 19 | 0.016174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1630-45_0_4_line_22 |  | 18 | 20 | 0.009464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1630-45_0_4_line_23 |  | 19 | 21 | 0.033103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1630-45_0_4_line_24 |  | 21 | 29 | 0.0063986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1630-45_0_4_line_25 |  | 22 | 23 | 0.0021093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1630-45_0_4_line_26 |  | 23 | 24 | 0.011134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1630-45_0_4_line_27 |  | 24 | 41 | 0.0036072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1630-45_0_4_line_28 |  | 25 | 26 | 0.01692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1630-45_0_4_line_29 |  | 25 | 27 | 0.0023042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1630-45_0_4_line_30 |  | 26 | 28 | 0.012457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1630-45_0_4_line_31 |  | 26 | 29 | 0.021367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1630-45_0_4_line_32 |  | 27 | 30 | 0.009508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1630-45_0_4_line_33 |  | 30 | 40 | 0.0034601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1630-45_0_4_line_34 |  | 32 | 58 | 0.0092143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1630-45_0_4_line_35 |  | 33 | 56 | 0.0092334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1630-45_0_4_line_36 |  | 33 | 48 | 0.016039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1630-45_0_4_line_37 |  | 34 | 35 | 0.010088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1630-45_0_4_line_38 |  | 34 | 36 | 0.010031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1630-45_0_4_line_39 |  | 35 | 37 | 0.011473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1630-45_0_4_line_40 |  | 36 | 38 | 0.004032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1630-45_0_4_line_41 |  | 36 | 39 | 0.009424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1630-45_0_4_line_42 |  | 37 | 40 | 0.0032595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1630-45_0_4_line_43 |  | 38 | 41 | 0.005735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1630-45_0_4_line_44 |  | 38 | 42 | 0.051634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1630-45_0_4_line_45 |  | 43 | 44 | 0.012704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1630-45_0_4_line_46 |  | 43 | 45 | 0.012897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1630-45_0_4_line_47 |  | 44 | 46 | 0.00066595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1630-45_0_4_line_48 |  | 45 | 47 | 0.042179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1630-45_0_4_line_49 |  | 45 | 48 | 0.020807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1630-45_0_4_line_50 |  | 47 | 49 | 0.031423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1630-45_0_4_line_51 |  | 48 | 50 | 0.031804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1630-45_0_4_line_52 |  | 50 | 55 | 0.0028306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1630-45_0_4_line_53 |  | 51 | 52 | 0.017958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1630-45_0_4_line_54 |  | 51 | 53 | 0.017016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1630-45_0_4_line_55 |  | 52 | 54 | 0.008668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1630-45_0_4_line_56 |  | 53 | 55 | 0.011342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1630-45_0_4_line_57 |  | 56 | 57 | 0.0023184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1630-45_0_4_line_58 |  | 57 | 60 | 0.0033932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1630-45_0_4_line_59 |  | 58 | 59 | 0.002391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_1630-45_0_4_line_60 |  | 59 | 61 | 0.013157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1630-45_0_4_trafo_4 | 0.63 MVA 20/0.4 kV | 62 | 4 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2724210.429 | 1217026.8443 | 2724199.4387 | 1217031.2854 | 2724194.166 | 1217032.4876 | 2724187.6302 | 1217032.7183
1 | 2724171.3221 | 1217030.6991 | 2724173.3051 | 1217031.0185 | 2724187.6302 | 1217032.7183
2 | 2724210.429 | 1217026.8443 | 2724239.9334 | 1217017.3296
3 | 2724210.429 | 1217026.8443 | 2724211.7424 | 1217023.9472 | 2724211.9353 | 1217021.983 | 2724212.1034 | 1217019.0176 | 2724211.7408 | 1217008.3152
4 | 2724140.3267 | 1217054.1829 | 2724134.8561 | 1217031.7292 | 2724153.0137 | 1217029.5501 | 2724160.8163 | 1217029.0234 | 2724171.3221 | 1217030.6991
5 | 2724240.6635 | 1217024.1947 | 2724239.9334 | 1217017.3296
6 | 2724239.9334 | 1217017.3296 | 2724238.7776 | 1217007.0363
7 | 2724211.6192 | 1217004.7296 | 2724211.7408 | 1217008.3152
8 | 2724147.1116 | 1217052.5674 | 2724140.3267 | 1217054.1829
9 | 2724140.3267 | 1217054.1829 | 2724141.3668 | 1217059.2975 | 2724140.3245 | 1217064.124 | 2724140.4622 | 1217072.8225 | 2724143.0195 | 1217084.2069 | 2724144.159 | 1217089.2902
10 | 2724240.6635 | 1217024.1947 | 2724270.1177 | 1217017.0921
11 | 2724240.6635 | 1217024.1947 | 2724242.3444 | 1217035.9293
12 | 2724237.7081 | 1216997.9035 | 2724238.185 | 1217001.7588 | 2724238.7776 | 1217007.0363
13 | 2724152.6633 | 1217087.5215 | 2724144.159 | 1217089.2902
14 | 2724270.1177 | 1217017.0921 | 2724269.0123 | 1217010.0191
15 | 2724270.1177 | 1217017.0921 | 2724281.6352 | 1217014.319 | 2724286.1618 | 1217012.8455 | 2724290.0879 | 1217010.4825
16 | 2724244.4817 | 1217050.8507 | 2724242.3444 | 1217035.9293
17 | 2724235.0392 | 1216976.3623 | 2724235.4817 | 1216979.9076 | 2724237.7081 | 1216997.9035
18 | 2724182.308 | 1216921.5761 | 2724195.5123 | 1216924.598 | 2724197.5371 | 1216924.3727
19 | 2724180.7803 | 1216923.4568 | 2724182.308 | 1216921.5761
20 | 2724180.7803 | 1216923.4568 | 2724174.4651 | 1216929.1297 | 2724161.748 | 1216938.0717 | 2724156.7279 | 1216940.6358
21 | 2724180.7803 | 1216923.4568 | 2724180.8254 | 1216930.7635 | 2724186.332 | 1216937.7138
22 | 2724156.7279 | 1216940.6358 | 2724160.3963 | 1216949.3635
23 | 2724186.332 | 1216937.7138 | 2724186.7377 | 1216938.2258 | 2724195.1152 | 1216948.008 | 2724196.63 | 1216958.0363 | 2724195.9981 | 1216959.2018 | 2724197.2272 | 1216966.1773 | 2724198.0032 | 1216966.8385
24 | 2724199.2011 | 1216973.1239 | 2724198.0032 | 1216966.8385
25 | 2724222.1074 | 1216903.1243 | 2724221.0497 | 1216901.2994
26 | 2724222.1074 | 1216903.1243 | 2724224.4002 | 1216908.2539 | 2724225.8503 | 1216913.575
27 | 2724226.7987 | 1216917.0552 | 2724225.8503 | 1216913.575
28 | 2724235.0392 | 1216976.3623 | 2724218.2106 | 1216978.5354
29 | 2724235.0392 | 1216976.3623 | 2724234.7994 | 1216974.0706
30 | 2724210.8816 | 1216985.8439 | 2724210.8416 | 1216981.2061 | 2724218.2106 | 1216978.5354
31 | 2724218.2106 | 1216978.5354 | 2724215.0689 | 1216974.0553 | 2724199.2011 | 1216973.1239
32 | 2724233.81 | 1216964.6142 | 2724234.7994 | 1216974.0706
33 | 2724233.4499 | 1216961.1728 | 2724233.81 | 1216964.6142
34 | 2724297.9825 | 1217005.7309 | 2724290.0879 | 1217010.4825
35 | 2724244.4817 | 1217050.8507 | 2724253.6267 | 1217049.577
36 | 2724244.4817 | 1217050.8507 | 2724245.729 | 1217059.8615 | 2724246.7781 | 1217066.7221
37 | 2724231.3805 | 1216946.5876 | 2724229.8297 | 1216936.619
38 | 2724228.2985 | 1216926.7052 | 2724229.1812 | 1216932.4503 | 2724229.8297 | 1216936.619
39 | 2724231.3805 | 1216946.5876 | 2724232.2548 | 1216952.2076 | 2724233.0192 | 1216957.9419
40 | 2724228.2985 | 1216926.7052 | 2724227.6754 | 1216922.7224
41 | 2724228.2985 | 1216926.7052 | 2724219.0933 | 1216928.724
42 | 2724233.4499 | 1216961.1728 | 2724233.0192 | 1216957.9419
43 | 2724226.7987 | 1216917.0552 | 2724227.6754 | 1216922.7224
44 | 2724227.6754 | 1216922.7224 | 2724233.344 | 1216924.0193 | 2724235.4057 | 1216926.0305 | 2724236.7051 | 1216929.2713 | 2724237.7353 | 1216945.0495 | 2724238.9489 | 1216948.0327 | 2724242.1842 | 1216951.3027 | 2724247.1672 | 1216953.7974 | 2724252.5058 | 1216954.8985 | 2724256.8284 | 1216955.1888 | 2724257.2819 | 1216955.1213
45 | 2724237.127 | 1217088.9966 | 2724224.534 | 1217090.6754
46 | 2724249.9106 | 1217087.2923 | 2724237.127 | 1217088.9966
47 | 2724223.8739 | 1217090.7634 | 2724224.534 | 1217090.6754
48 | 2724249.9106 | 1217087.2923 | 2724251.2822 | 1217099.8085 | 2724254.5035 | 1217129.2209
49 | 2724246.7781 | 1217066.7221 | 2724249.0356 | 1217081.5474 | 2724249.9106 | 1217087.2923
50 | 2724254.5035 | 1217129.2209 | 2724223.1372 | 1217132.2694
51 | 2724246.7781 | 1217066.7221 | 2724258.7339 | 1217065.5037 | 2724268.219 | 1217068.4149 | 2724278.0101 | 1217067.2108
52 | 2724280.8196 | 1217066.8653 | 2724278.0101 | 1217067.2108
53 | 2724305.5345 | 1217061.9658 | 2724304.7732 | 1217055.1445 | 2724305.2972 | 1217055.1444 | 2724309.1412 | 1217055.08 | 2724312.5893 | 1217055.0631 | 2724312.977 | 1217058.3181
54 | 2724305.5345 | 1217061.9658 | 2724288.5428 | 1217062.8676
55 | 2724312.977 | 1217058.3181 | 2724321.6165 | 1217057.3531
56 | 2724280.8196 | 1217066.8653 | 2724288.8856 | 1217066.0884 | 2724288.5428 | 1217062.8676
57 | 2724253.6267 | 1217049.577 | 2724254.5504 | 1217049.4484 | 2724255.8368 | 1217048.9331
58 | 2724258.9309 | 1217047.5805 | 2724258.6935 | 1217047.789 | 2724255.8368 | 1217048.9331
59 | 2724300.2896 | 1217005.0785 | 2724297.9825 | 1217005.7309
60 | 2724300.2896 | 1217005.0785 | 2724298.1639 | 1216992.0943

## bus_geodata
| x | y | coords
0 | 2724187.6302 | 1217032.7183
1 | 2724210.4289 | 1217026.8443
2 | 2724171.3221 | 1217030.6991
3 | 2724239.9334 | 1217017.3296
4 | 2724211.7408 | 1217008.3152
5 | 2724140.3267 | 1217054.1829
6 | 2724240.6635 | 1217024.1947
7 | 2724238.7776 | 1217007.0363
8 | 2724211.6192 | 1217004.7296
9 | 2724147.1116 | 1217052.5674
10 | 2724144.159 | 1217089.2902
11 | 2724152.6633 | 1217087.5215
12 | 2724270.1177 | 1217017.0921
13 | 2724242.3444 | 1217035.9293
14 | 2724237.7081 | 1216997.9035
15 | 2724197.5371 | 1216924.3727
16 | 2724182.308 | 1216921.5761
17 | 2724180.7803 | 1216923.4568
18 | 2724156.7279 | 1216940.6358
19 | 2724186.332 | 1216937.7138
20 | 2724160.3963 | 1216949.3635
21 | 2724198.0032 | 1216966.8385
22 | 2724221.0497 | 1216901.2994
23 | 2724222.1074 | 1216903.1243
24 | 2724225.8503 | 1216913.575
25 | 2724235.0392 | 1216976.3623
26 | 2724218.2106 | 1216978.5354
27 | 2724234.7994 | 1216974.0706
28 | 2724210.8816 | 1216985.8439
29 | 2724199.2011 | 1216973.1239
30 | 2724233.81 | 1216964.6142
31 | 2724269.0123 | 1217010.0191
32 | 2724290.0879 | 1217010.4825
33 | 2724244.4817 | 1217050.8507
34 | 2724229.8297 | 1216936.619
35 | 2724231.3805 | 1216946.5876
36 | 2724228.2985 | 1216926.7052
37 | 2724233.0192 | 1216957.9419
38 | 2724227.6754 | 1216922.7224
39 | 2724219.0933 | 1216928.724
40 | 2724233.4499 | 1216961.1728
41 | 2724226.7987 | 1216917.0552
42 | 2724257.2819 | 1216955.1213
43 | 2724237.127 | 1217088.9966
44 | 2724224.534 | 1217090.6754
45 | 2724249.9106 | 1217087.2923
46 | 2724223.8739 | 1217090.7634
47 | 2724254.5035 | 1217129.2209
48 | 2724246.7781 | 1217066.7221
49 | 2724223.1372 | 1217132.2694
50 | 2724278.0101 | 1217067.2108
51 | 2724305.5345 | 1217061.9658
52 | 2724312.977 | 1217058.3181
53 | 2724288.5428 | 1217062.8676
54 | 2724321.6165 | 1217057.3531
55 | 2724280.8196 | 1217066.8653
56 | 2724253.6267 | 1217049.577
57 | 2724255.8368 | 1217048.9331
58 | 2724297.9825 | 1217005.7309
59 | 2724300.2896 | 1217005.0785
60 | 2724258.9309 | 1217047.5805
61 | 2724298.1639 | 1216992.0943
62 | 2724211.6192 | 1217004.7296

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99463 | -0.1025 | 0.02665 | 0.0066792
1 | 0.99761 | -0.04559 | 0 | 0
2 | 0.99297 | -0.13426 | 0 | 0
3 | 0.99497 | -0.096178 | 0 | 0
4 | 1 | 0 | -0.42912 | -0.10859
5 | 0.98694 | -0.2508 | 0 | 0
6 | 0.99432 | -0.10869 | 0 | 0
7 | 0.99442 | -0.10692 | 0.0072535 | 0.0018179
8 | 0.99997 | -0.00050349 | 0.0080516 | 0.0020179
9 | 0.98659 | -0.25762 | 0.05473 | 0.013717
10 | 0.98514 | -0.28588 | 0 | 0
11 | 0.98471 | -0.2944 | 0.054748 | 0.013721
12 | 0.99353 | -0.12406 | 0 | 0
13 | 0.99352 | -0.12419 | 0.008986 | 0.0022521
14 | 0.99394 | -0.11608 | 0.023477 | 0.0058839
15 | 0.98932 | -0.20549 | 0.011955 | 0.0029961
16 | 0.98949 | -0.20218 | 0 | 0
17 | 0.98952 | -0.20166 | 0 | 0
18 | 0.98932 | -0.20545 | 0 | 0
19 | 0.9898 | -0.19615 | 0.007839 | 0.0019646
20 | 0.98926 | -0.20666 | 0.0071774 | 0.0017988
21 | 0.99062 | -0.18028 | 0.0099883 | 0.0025033
22 | 0.98939 | -0.20408 | 0.016044 | 0.0040209
23 | 0.98942 | -0.20348 | 0 | 0
24 | 0.98959 | -0.2003 | 0.0068281 | 0.0017113
25 | 0.99249 | -0.14405 | 0 | 0
26 | 0.99168 | -0.15978 | 0 | 0
27 | 0.99229 | -0.14786 | 0.018713 | 0.0046899
28 | 0.99157 | -0.16187 | 0.0094724 | 0.002374
29 | 0.99084 | -0.17608 | 0.0060472 | 0.0015156
30 | 0.99164 | -0.16045 | 0.0078852 | 0.0019762
31 | 0.99348 | -0.12506 | 0.0079333 | 0.0019883
32 | 0.99313 | -0.13187 | 0.010429 | 0.0026137
33 | 0.99262 | -0.14153 | 0 | 0
34 | 0.99021 | -0.18818 | 0.0061708 | 0.0015465
35 | 0.9906 | -0.18073 | 0.018985 | 0.0047581
36 | 0.98989 | -0.19449 | 0 | 0
37 | 0.99123 | -0.16841 | 0.0062913 | 0.0015768
38 | 0.98978 | -0.1965 | 0 | 0
39 | 0.98982 | -0.19572 | 0.0073501 | 0.0018421
40 | 0.99143 | -0.16454 | 0 | 0
41 | 0.98966 | -0.19883 | 0 | 0
42 | 0.98954 | -0.20123 | 0.0051461 | 0.0012897
43 | 0.991 | -0.17302 | 0.019285 | 0.0048332
44 | 0.99089 | -0.17519 | 0.0046907 | 0.0011756
45 | 0.99134 | -0.16641 | 0 | 0
46 | 0.99088 | -0.17525 | 0.004932 | 0.0012361
47 | 0.99117 | -0.16965 | 0 | 0
48 | 0.99197 | -0.15415 | 0 | 0
49 | 0.99105 | -0.17206 | 0.0043279 | 0.0010847
50 | 0.99165 | -0.16048 | 0.0041761 | 0.0010466
51 | 0.99153 | -0.16263 | 0 | 0
52 | 0.99151 | -0.16303 | 0 | 0
53 | 0.99155 | -0.16225 | 0.0057931 | 0.0014519
54 | 0.9915 | -0.16322 | 0.0012547 | 0.00031445
55 | 0.99163 | -0.16083 | 0 | 0
56 | 0.99245 | -0.14489 | 0.0071695 | 0.0017969
57 | 0.99242 | -0.14545 | 0.0057175 | 0.0014329
58 | 0.99304 | -0.13357 | 0 | 0
59 | 0.99301 | -0.13402 | 0 | 0
60 | 0.9924 | -0.14591 | 0.0077322 | 0.0019379
61 | 0.99289 | -0.13645 | 0.010451 | 0.0026192
62 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.13704 | -0.0347 | 0.13742 | 0.03494 | 0.00037563 | 0.00024009 | 0.20515 | 0.20515 | 0.20515 | 0.99463 | -0.1025 | 0.99761 | -0.04559 | 56.3587
1 | 0.11039 | 0.028021 | -0.11022 | -0.027913 | 0.00016834 | 0.00010753 | 0.16528 | 0.16528 | 0.16528 | 0.99463 | -0.1025 | 0.99297 | -0.13426 | 45.4054
2 | 0.28108 | 0.071049 | -0.2804 | -0.070615 | 0.00068005 | 0.00043403 | 0.41947 | 0.41947 | 0.41947 | 0.99761 | -0.04559 | 0.99497 | -0.096178 | 38.4126
3 | -0.4185 | -0.10599 | 0.41941 | 0.10658 | 0.00091845 | 0.00058707 | 0.62461 | 0.62461 | 0.62461 | 0.99761 | -0.04559 | 1 | 0 | 57.1988
4 | 0.11022 | 0.027913 | -0.10961 | -0.027521 | 0.00061315 | 0.00039165 | 0.16528 | 0.16528 | 0.16528 | 0.99297 | -0.13426 | 0.98694 | -0.2508 | 45.4055
5 | 0.10314 | 0.02595 | -0.10308 | -0.025911 | 6.1642e-05 | 3.9361e-05 | 0.15429 | 0.15429 | 0.15429 | 0.99497 | -0.096178 | 0.99432 | -0.10869 | 42.3878
6 | 0.17725 | 0.044665 | -0.17716 | -0.044607 | 9.1043e-05 | 5.7864e-05 | 0.26517 | 0.26517 | 0.26517 | 0.99497 | -0.096178 | 0.99442 | -0.10692 | 24.2834
7 | 0.0080518 | 0.002018 | -0.0080516 | -0.0020179 | 1.9313e-07 | 7.6535e-08 | 0.011981 | 0.011981 | 0.011981 | 1 | 0 | 0.99997 | -0.00050349 | 3.2915
8 | 0.054747 | 0.013728 | -0.05473 | -0.013717 | 1.7773e-05 | 1.1286e-05 | 0.082545 | 0.082545 | 0.082545 | 0.98694 | -0.2508 | 0.98659 | -0.25762 | 22.6772
9 | 0.054862 | 0.013794 | -0.05477 | -0.013735 | 9.1718e-05 | 5.8243e-05 | 0.082731 | 0.082731 | 0.082731 | 0.98694 | -0.2508 | 0.98514 | -0.28588 | 22.7284
10 | 0.028844 | 0.0072403 | -0.028823 | -0.0072272 | 2.1117e-05 | 1.3123e-05 | 0.04317 | 0.04317 | 0.04317 | 0.99432 | -0.10869 | 0.99353 | -0.12406 | 11.8599
11 | 0.074239 | 0.01867 | -0.074184 | -0.018635 | 5.4892e-05 | 3.4977e-05 | 0.11112 | 0.11112 | 0.11112 | 0.99432 | -0.10869 | 0.99352 | -0.12419 | 30.5279
12 | 0.16991 | 0.042789 | -0.16984 | -0.042742 | 7.4344e-05 | 4.7222e-05 | 0.25432 | 0.25432 | 0.25432 | 0.99442 | -0.10692 | 0.99394 | -0.11608 | 23.2894
13 | 0.05477 | 0.013735 | -0.054748 | -0.013721 | 2.2233e-05 | 1.4119e-05 | 0.082731 | 0.082731 | 0.082731 | 0.98514 | -0.28588 | 0.98471 | -0.2944 | 22.7284
14 | 0.0079337 | 0.0019884 | -0.0079333 | -0.0019883 | 3.791e-07 | 1.499e-07 | 0.011882 | 0.011882 | 0.011882 | 0.99353 | -0.12406 | 0.99348 | -0.12506 | 3.2644
15 | 0.02089 | 0.0052388 | -0.020882 | -0.005234 | 7.7785e-06 | 4.704e-06 | 0.031288 | 0.031288 | 0.031288 | 0.99353 | -0.12406 | 0.99313 | -0.13187 | 8.5955
16 | 0.065198 | 0.016383 | -0.065144 | -0.016349 | 5.3915e-05 | 3.4311e-05 | 0.097663 | 0.097663 | 0.097663 | 0.99352 | -0.12419 | 0.99262 | -0.14153 | 26.8305
17 | 0.14636 | 0.036858 | -0.14616 | -0.036733 | 0.0001955 | 0.00012456 | 0.21917 | 0.21917 | 0.21917 | 0.99394 | -0.11608 | 0.99249 | -0.14405 | 30.1063
18 | -0.011955 | -0.0029961 | 0.011956 | 0.0029971 | 1.8892e-06 | 1.009e-06 | 0.017981 | 0.01798 | 0.017981 | 0.98932 | -0.20549 | 0.98949 | -0.20218 | 4.9397
19 | -0.011956 | -0.0029971 | 0.011957 | 0.0029973 | 2.9351e-07 | 1.5675e-07 | 0.01798 | 0.01798 | 0.01798 | 0.98949 | -0.20218 | 0.98952 | -0.20166 | 4.9397
20 | 0.0071791 | 0.0017994 | -0.0071778 | -0.001799 | 1.2946e-06 | 4.4812e-07 | 0.010796 | 0.010796 | 0.010796 | 0.98952 | -0.20166 | 0.98932 | -0.20545 | 2.9659
21 | -0.019136 | -0.0047967 | 0.019141 | 0.0047997 | 5.0225e-06 | 3.0066e-06 | 0.028776 | 0.028776 | 0.028776 | 0.98952 | -0.20166 | 0.9898 | -0.19615 | 7.9056
22 | 0.0071778 | 0.001799 | -0.0071774 | -0.0017988 | 4.1365e-07 | 1.4322e-07 | 0.010796 | 0.010796 | 0.010796 | 0.98932 | -0.20545 | 0.98926 | -0.20666 | 2.9659
23 | -0.02698 | -0.0067643 | 0.027 | 0.006777 | 2.0423e-05 | 1.2645e-05 | 0.040561 | 0.040561 | 0.040561 | 0.9898 | -0.19615 | 0.99062 | -0.18028 | 11.1431
24 | -0.036989 | -0.0092803 | 0.036996 | 0.0092849 | 7.4081e-06 | 4.6588e-06 | 0.055564 | 0.055564 | 0.055564 | 0.99062 | -0.18028 | 0.99084 | -0.17608 | 15.265
25 | -0.016044 | -0.0040209 | 0.016044 | 0.0040212 | 4.6053e-07 | 2.6765e-07 | 0.024129 | 0.024129 | 0.024129 | 0.98939 | -0.20408 | 0.98942 | -0.20348 | 6.6289
26 | -0.016044 | -0.0040212 | 0.016046 | 0.0040226 | 2.4308e-06 | 1.4127e-06 | 0.024129 | 0.024129 | 0.024129 | 0.98942 | -0.20348 | 0.98959 | -0.2003 | 6.6289
27 | -0.022875 | -0.0057339 | 0.022876 | 0.0057348 | 1.6004e-06 | 9.7789e-07 | 0.034396 | 0.034396 | 0.034396 | 0.98959 | -0.2003 | 0.98966 | -0.19883 | 9.4495
28 | 0.05259 | 0.013221 | -0.05255 | -0.013196 | 3.946e-05 | 2.5036e-05 | 0.078861 | 0.078861 | 0.078861 | 0.99249 | -0.14405 | 0.99168 | -0.15978 | 21.6651
29 | 0.093573 | 0.023512 | -0.093556 | -0.023501 | 1.7012e-05 | 1.0858e-05 | 0.14031 | 0.14031 | 0.14031 | 0.99249 | -0.14405 | 0.99229 | -0.14786 | 38.5475
30 | 0.0094734 | 0.0023745 | -0.0094724 | -0.002374 | 9.4392e-07 | 4.4341e-07 | 0.014215 | 0.014215 | 0.014215 | 0.99168 | -0.15978 | 0.99157 | -0.16187 | 3.9052
31 | 0.043077 | 0.010822 | -0.043043 | -0.010801 | 3.3486e-05 | 2.1155e-05 | 0.064646 | 0.064646 | 0.064646 | 0.99168 | -0.15978 | 0.99084 | -0.17608 | 17.7599
32 | 0.074843 | 0.018811 | -0.074798 | -0.018783 | 4.4927e-05 | 2.8631e-05 | 0.11225 | 0.11225 | 0.11225 | 0.99229 | -0.14786 | 0.99164 | -0.16045 | 30.8384
33 | 0.066913 | 0.016806 | -0.0669 | -0.016798 | 1.3085e-05 | 8.3296e-06 | 0.10042 | 0.10042 | 0.10042 | 0.99164 | -0.16045 | 0.99143 | -0.16454 | 27.5878
34 | 0.010453 | 0.0026203 | -0.010452 | -0.0026199 | 8.476e-07 | 4.2325e-07 | 0.015662 | 0.015662 | 0.015662 | 0.99313 | -0.13187 | 0.99304 | -0.13357 | 4.3028
35 | 0.020623 | 0.0051699 | -0.02062 | -0.0051679 | 3.3095e-06 | 1.9987e-06 | 0.030916 | 0.030916 | 0.030916 | 0.99262 | -0.14153 | 0.99245 | -0.14489 | 8.4934
36 | 0.044521 | 0.011179 | -0.044494 | -0.011162 | 2.6796e-05 | 1.6942e-05 | 0.066747 | 0.066747 | 0.066747 | 0.99262 | -0.14153 | 0.99197 | -0.15415 | 18.3372
37 | -0.041561 | -0.010423 | 0.041575 | 0.010433 | 1.4758e-05 | 9.3151e-06 | 0.062457 | 0.062457 | 0.062457 | 0.99021 | -0.18818 | 0.9906 | -0.18073 | 17.1585
38 | 0.03539 | 0.0088768 | -0.035379 | -0.0088702 | 1.064e-05 | 6.6808e-06 | 0.053184 | 0.053184 | 0.053184 | 0.99021 | -0.18818 | 0.98989 | -0.19449 | 14.611
39 | -0.060561 | -0.015191 | 0.060596 | 0.015213 | 3.5608e-05 | 2.2641e-05 | 0.090975 | 0.090975 | 0.090975 | 0.9906 | -0.18073 | 0.99123 | -0.16841 | 24.9932
40 | 0.028029 | 0.0070279 | -0.028026 | -0.0070262 | 2.6843e-06 | 1.6661e-06 | 0.042134 | 0.042134 | 0.042134 | 0.98989 | -0.19449 | 0.98978 | -0.1965 | 11.5754
41 | 0.0073506 | 0.0018423 | -0.0073501 | -0.0018421 | 4.3147e-07 | 1.55e-07 | 0.01105 | 0.01105 | 0.01105 | 0.98989 | -0.19449 | 0.98982 | -0.19572 | 3.0356
42 | -0.066888 | -0.01679 | 0.0669 | 0.016798 | 1.2326e-05 | 7.8466e-06 | 0.10042 | 0.10042 | 0.10042 | 0.99123 | -0.16841 | 0.99143 | -0.16454 | 27.5878
43 | 0.022879 | 0.0057364 | -0.022876 | -0.0057348 | 2.5444e-06 | 1.5547e-06 | 0.034396 | 0.034396 | 0.034396 | 0.98978 | -0.1965 | 0.98966 | -0.19883 | 9.4495
44 | 0.0051473 | 0.0012898 | -0.0051461 | -0.0012897 | 1.1595e-06 | 7.86e-08 | 0.0077382 | 0.0077385 | 0.0077385 | 0.98978 | -0.1965 | 0.98954 | -0.20123 | 2.126
45 | 0.0096237 | 0.0024121 | -0.0096227 | -0.0024117 | 9.9481e-07 | 4.7301e-07 | 0.01445 | 0.01445 | 0.01445 | 0.991 | -0.17302 | 0.99089 | -0.17519 | 3.9699
46 | -0.028908 | -0.0072453 | 0.028917 | 0.007251 | 9.1122e-06 | 5.6656e-06 | 0.043407 | 0.043407 | 0.043407 | 0.991 | -0.17302 | 0.99134 | -0.16641 | 11.925
47 | 0.004932 | 0.0012361 | -0.004932 | -0.0012361 | 1.3699e-08 | 1.8907e-10 | 0.0074064 | 0.0074064 | 0.0074064 | 0.99089 | -0.17519 | 0.99088 | -0.17525 | 2.0347
48 | 0.0043291 | 0.0010845 | -0.0043284 | -0.0010846 | 6.6785e-07 | -1.1631e-07 | 0.0064978 | 0.006498 | 0.006498 | 0.99134 | -0.16641 | 0.99117 | -0.16965 | 1.7852
49 | -0.033246 | -0.0083355 | 0.033266 | 0.0083476 | 1.9433e-05 | 1.2168e-05 | 0.049905 | 0.049904 | 0.049905 | 0.99134 | -0.16641 | 0.99197 | -0.15415 | 13.71
50 | 0.0043284 | 0.0010846 | -0.0043279 | -0.0010847 | 4.9756e-07 | -8.6511e-08 | 0.006498 | 0.0064981 | 0.0064981 | 0.99117 | -0.16965 | 0.99105 | -0.17206 | 1.7852
51 | 0.011228 | 0.0028144 | -0.011225 | -0.0028127 | 3.3834e-06 | 1.7549e-06 | 0.016843 | 0.016843 | 0.016843 | 0.99197 | -0.15415 | 0.99165 | -0.16048 | 4.6272
52 | 0.0070485 | 0.001766 | -0.0070484 | -0.001766 | 1.1874e-07 | 3.9476e-08 | 0.010576 | 0.010576 | 0.010576 | 0.99165 | -0.16048 | 0.99163 | -0.16083 | 2.9056
53 | 0.0012547 | 0.00031413 | -0.0012547 | -0.00031435 | 2.3875e-08 | -2.1634e-07 | 0.0018829 | 0.0018829 | 0.0018829 | 0.99153 | -0.16263 | 0.99151 | -0.16303 | 0.51729
54 | -0.0012547 | -0.00031413 | 0.0012547 | 0.00031393 | 2.262e-08 | -2.05e-07 | 0.0018829 | 0.0018828 | 0.0018829 | 0.99153 | -0.16263 | 0.99155 | -0.16225 | 0.51727
55 | 0.0012547 | 0.00031435 | -0.0012547 | -0.00031445 | 1.1525e-08 | -1.0442e-07 | 0.0018829 | 0.001883 | 0.001883 | 0.99151 | -0.16303 | 0.9915 | -0.16322 | 0.5173
56 | -0.0070479 | -0.0017658 | 0.0070484 | 0.001766 | 4.7579e-07 | 1.5819e-07 | 0.010576 | 0.010576 | 0.010576 | 0.99155 | -0.16225 | 0.99163 | -0.16083 | 2.9056
57 | 0.01345 | 0.0033711 | -0.01345 | -0.0033709 | 3.5357e-07 | 1.9633e-07 | 0.020167 | 0.020167 | 0.020167 | 0.99245 | -0.14489 | 0.99242 | -0.14545 | 5.5403
58 | 0.0077324 | 0.0019379 | -0.0077322 | -0.0019379 | 1.7104e-07 | 6.5621e-08 | 0.011594 | 0.011594 | 0.011594 | 0.99242 | -0.14545 | 0.9924 | -0.14591 | 3.1851
59 | 0.010452 | 0.0026199 | -0.010452 | -0.0026198 | 2.1994e-07 | 1.0983e-07 | 0.015662 | 0.015662 | 0.015662 | 0.99304 | -0.13357 | 0.99301 | -0.13402 | 4.3028
60 | 0.010452 | 0.0026198 | -0.010451 | -0.0026192 | 1.2103e-06 | 6.044e-07 | 0.015662 | 0.015662 | 0.015662 | 0.99301 | -0.13402 | 0.99289 | -0.13645 | 4.3028

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.43751 | 0.1107

## res_load
| p_mw | q_mvar
0 | 0.02665 | 0.0066792
1 | 0.0083903 | 0.0021028
2 | 0.0072535 | 0.0018179
3 | 0.0080516 | 0.0020179
4 | 0.05473 | 0.013717
5 | 0.054748 | 0.013721
6 | 0.008986 | 0.0022521
7 | 0.023477 | 0.0058839
8 | 0.011955 | 0.0029961
9 | 0.007839 | 0.0019646
10 | 0.0071774 | 0.0017988
11 | 0.0099883 | 0.0025033
12 | 0.016044 | 0.0040209
13 | 0.0068281 | 0.0017113
14 | 0.018713 | 0.0046899
15 | 0.0094724 | 0.002374
16 | 0.0060472 | 0.0015156
17 | 0.0078852 | 0.0019762
18 | 0.0079333 | 0.0019883
19 | 0.010429 | 0.0026137
20 | 0.0061708 | 0.0015465
21 | 0.018985 | 0.0047581
22 | 0.0062913 | 0.0015768
23 | 0.0073501 | 0.0018421
24 | 0.0051461 | 0.0012897
25 | 0.019285 | 0.0048332
26 | 0.0046907 | 0.0011756
27 | 0.004932 | 0.0012361
28 | 0.0043279 | 0.0010847
29 | 0.0041761 | 0.0010466
30 | 0.0057931 | 0.0014519
31 | 0.0012547 | 0.00031445
32 | 0.0071695 | 0.0017969
33 | 0.0057175 | 0.0014329
34 | 0.0077322 | 0.0019379
35 | 0.010451 | 0.0026192

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1