## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1630-48_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1630-48_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1630-48_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1630-48_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1630-48_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1630-48_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1630-48_0_4_node_9 | 0.4 | n |  | TRUE
7 | bus_LV_1630-48_0_4_node_72 | 0.4 | n |  | TRUE
8 | bus_LV_1630-48_0_4_node_70 | 0.4 | n |  | TRUE
9 | bus_LV_1630-48_0_4_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_1630-48_0_4_node_76 | 0.4 | n |  | TRUE
11 | bus_LV_1630-48_0_4_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_1630-48_0_4_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_1630-48_0_4_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_1630-48_0_4_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_1630-48_0_4_node_61 | 0.4 | n |  | TRUE
16 | bus_LV_1630-48_0_4_node_74 | 0.4 | n |  | TRUE
17 | bus_LV_1630-48_0_4_node_59 | 0.4 | n |  | TRUE
18 | bus_LV_1630-48_0_4_node_67 | 0.4 | n |  | TRUE
19 | bus_LV_1630-48_0_4_node_30 | 0.4 | n |  | TRUE
20 | bus_LV_1630-48_0_4_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_1630-48_0_4_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_1630-48_0_4_node_16 | 0.4 | n |  | TRUE
23 | bus_LV_1630-48_0_4_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_1630-48_0_4_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_1630-48_0_4_node_62 | 0.4 | n |  | TRUE
26 | bus_LV_1630-48_0_4_node_19 | 0.4 | n |  | TRUE
27 | bus_LV_1630-48_0_4_node_57 | 0.4 | n |  | TRUE
28 | bus_LV_1630-48_0_4_node_36 | 0.4 | n |  | TRUE
29 | bus_LV_1630-48_0_4_node_63 | 0.4 | n |  | TRUE
30 | bus_LV_1630-48_0_4_node_66 | 0.4 | n |  | TRUE
31 | bus_LV_1630-48_0_4_node_35 | 0.4 | n |  | TRUE
32 | bus_LV_1630-48_0_4_node_20 | 0.4 | n |  | TRUE
33 | bus_LV_1630-48_0_4_node_21 | 0.4 | n |  | TRUE
34 | bus_LV_1630-48_0_4_node_22 | 0.4 | n |  | TRUE
35 | bus_LV_1630-48_0_4_node_23 | 0.4 | n |  | TRUE
36 | bus_LV_1630-48_0_4_node_24 | 0.4 | n |  | TRUE
37 | bus_LV_1630-48_0_4_node_34 | 0.4 | n |  | TRUE
38 | bus_LV_1630-48_0_4_node_46 | 0.4 | n |  | TRUE
39 | bus_LV_1630-48_0_4_node_32 | 0.4 | n |  | TRUE
40 | bus_LV_1630-48_0_4_node_25 | 0.4 | n |  | TRUE
41 | bus_LV_1630-48_0_4_node_26 | 0.4 | n |  | TRUE
42 | bus_LV_1630-48_0_4_node_27 | 0.4 | n |  | TRUE
43 | bus_LV_1630-48_0_4_node_28 | 0.4 | n |  | TRUE
44 | bus_LV_1630-48_0_4_node_29 | 0.4 | n |  | TRUE
45 | bus_LV_1630-48_0_4_node_56 | 0.4 | n |  | TRUE
46 | bus_LV_1630-48_0_4_node_53 | 0.4 | n |  | TRUE
47 | bus_LV_1630-48_0_4_node_43 | 0.4 | n |  | TRUE
48 | bus_LV_1630-48_0_4_node_54 | 0.4 | n |  | TRUE
49 | bus_LV_1630-48_0_4_node_41 | 0.4 | n |  | TRUE
50 | bus_LV_1630-48_0_4_node_31 | 0.4 | n |  | TRUE
51 | bus_LV_1630-48_0_4_node_33 | 0.4 | n |  | TRUE
52 | bus_LV_1630-48_0_4_node_65 | 0.4 | n |  | TRUE
53 | bus_LV_1630-48_0_4_node_64 | 0.4 | n |  | TRUE
54 | bus_LV_1630-48_0_4_node_49 | 0.4 | n |  | TRUE
55 | bus_LV_1630-48_0_4_node_44 | 0.4 | n |  | TRUE
56 | bus_LV_1630-48_0_4_node_37 | 0.4 | n |  | TRUE
57 | bus_LV_1630-48_0_4_node_38 | 0.4 | n |  | TRUE
58 | bus_LV_1630-48_0_4_node_73 | 0.4 | n |  | TRUE
59 | bus_LV_1630-48_0_4_node_77 | 0.4 | n |  | TRUE
60 | bus_LV_1630-48_0_4_node_39 | 0.4 | n |  | TRUE
61 | bus_LV_1630-48_0_4_node_40 | 0.4 | n |  | TRUE
62 | bus_LV_1630-48_0_4_node_42 | 0.4 | n |  | TRUE
63 | bus_LV_1630-48_0_4_node_58 | 0.4 | n |  | TRUE
64 | bus_LV_1630-48_0_4_node_45 | 0.4 | n |  | TRUE
65 | bus_LV_1630-48_0_4_node_47 | 0.4 | n |  | TRUE
66 | bus_LV_1630-48_0_4_node_48 | 0.4 | n |  | TRUE
67 | bus_LV_1630-48_0_4_node_50 | 0.4 | n |  | TRUE
68 | bus_LV_1630-48_0_4_node_51 | 0.4 | n |  | TRUE
69 | bus_LV_1630-48_0_4_node_55 | 0.4 | n |  | TRUE
70 | bus_LV_1630-48_0_4_node_52 | 0.4 | n |  | TRUE
71 | bus_LV_1630-48_0_4_node_60 | 0.4 | n |  | TRUE
72 | bus_MV_152_0_node_69 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1630-48_0_4_load_0 | 0 | 0.021024 | 0.0052692 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1630-48_0_4_load_1 | 1 | 0.008064 | 0.002021 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1630-48_0_4_load_3 | 3 | 0.0068121 | 0.0017073 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1630-48_0_4_load_5 | 5 | 0.013043 | 0.0032688 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1630-48_0_4_load_9 | 6 | 0.0060431 | 0.0015145 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1630-48_0_4_load_70 | 8 | 0.028941 | 0.0072534 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1630-48_0_4_load_7 | 9 | 0.011389 | 0.0028543 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1630-48_0_4_load_76 | 10 | 0.079143 | 0.019835 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1630-48_0_4_load_6 | 11 | 0.007676 | 0.0019238 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1630-48_0_4_load_10 | 13 | 0.012727 | 0.0031898 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1630-48_0_4_load_61 | 15 | 0.0098253 | 0.0024625 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1630-48_0_4_load_74 | 16 | 0.0077005 | 0.0019299 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1630-48_0_4_load_59 | 17 | 0.0066164 | 0.0016582 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1630-48_0_4_load_67 | 18 | 0.0081924 | 0.0020532 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1630-48_0_4_load_30 | 19 | 0.0051615 | 0.0012936 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1630-48_0_4_load_13 | 20 | 0.0068601 | 0.0017193 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1630-48_0_4_load_16 | 22 | 0.0090714 | 0.0022735 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1630-48_0_4_load_18 | 24 | 0.0039822 | 0.00099803 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1630-48_0_4_load_62 | 25 | 0.013105 | 0.0032843 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1630-48_0_4_load_57 | 27 | 0.0053745 | 0.001347 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1630-48_0_4_load_36 | 28 | 0.0083605 | 0.0020953 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1630-48_0_4_load_66 | 30 | 0.0052314 | 0.0013111 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1630-48_0_4_load_35 | 31 | 0.0060368 | 0.001513 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1630-48_0_4_load_20 | 32 | 0.024201 | 0.0060654 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1630-48_0_4_load_21 | 33 | 0.010876 | 0.0027259 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1630-48_0_4_load_22 | 34 | 0.0070436 | 0.0017653 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1630-48_0_4_load_23 | 35 | 0.010547 | 0.0026433 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1630-48_0_4_load_24 | 36 | 0.0068218 | 0.0017097 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1630-48_0_4_load_25 | 40 | 0.0076141 | 0.0019083 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1630-48_0_4_load_26 | 41 | 0.00603 | 0.0015113 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1630-48_0_4_load_29 | 44 | 0.010208 | 0.0025584 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1630-48_0_4_load_56 | 45 | 0.0064705 | 0.0016217 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1630-48_0_4_load_53 | 46 | 0.012002 | 0.003008 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1630-48_0_4_load_41 | 49 | 0.014552 | 0.0036471 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1630-48_0_4_load_31 | 50 | 0.011754 | 0.0029458 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1630-48_0_4_load_65 | 52 | 0.0051793 | 0.001298 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1630-48_0_4_load_64 | 53 | 0.0061798 | 0.0015488 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1630-48_0_4_load_49 | 54 | 0.013904 | 0.0034847 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1630-48_0_4_load_44 | 55 | 0.010168 | 0.0025485 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1630-48_0_4_load_37 | 56 | 0.0077259 | 0.0019363 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1630-48_0_4_load_77 | 59 | 0.0037851 | 0.00094864 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1630-48_0_4_load_39 | 60 | 0.010294 | 0.0025798 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1630-48_0_4_load_40 | 61 | 0.0096521 | 0.002419 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1630-48_0_4_load_42 | 62 | 0.0057597 | 0.0014435 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1630-48_0_4_load_58 | 63 | 0.0081419 | 0.0020406 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1630-48_0_4_load_47 | 65 | 0.0054767 | 0.0013726 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1630-48_0_4_load_48 | 66 | 0.012081 | 0.0030278 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1630-48_0_4_load_50 | 67 | 0.0054473 | 0.0013652 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1630-48_0_4_load_55 | 69 | 0.0057806 | 0.0014487 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1630-48_0_4_load_52 | 70 | 0.0066178 | 0.0016586 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1630-48_0_4_load_60 | 71 | 0.0087864 | 0.0022021 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 5 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1630-48_0_4_line_0 |  | 0 | 1 | 0.0064953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
1 | LV_1630-48_0_4_line_1 |  | 0 | 2 | 0.007788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
2 | LV_1630-48_0_4_line_2 |  | 1 | 3 | 0.00016061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
3 | LV_1630-48_0_4_line_3 |  | 2 | 4 | 0.012926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1630-48_0_4_line_4 |  | 2 | 5 | 0.010983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
5 | LV_1630-48_0_4_line_5 |  | 3 | 6 | 0.0077761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
6 | LV_1630-48_0_4_line_6 |  | 4 | 7 | 0.027463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1630-48_0_4_line_7 |  | 4 | 8 | 0.0077917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1630-48_0_4_line_8 |  | 6 | 9 | 0.00030669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
9 | LV_1630-48_0_4_line_9 |  | 7 | 10 | 0.025194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1630-48_0_4_line_10 |  | 9 | 11 | 0.011583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
11 | LV_1630-48_0_4_line_11 |  | 11 | 12 | 0.0075896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
12 | LV_1630-48_0_4_line_12 |  | 12 | 13 | 0.010635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
13 | LV_1630-48_0_4_line_13 |  | 12 | 14 | 0.017375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1630-48_0_4_line_14 |  | 13 | 15 | 0.010907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
15 | LV_1630-48_0_4_line_15 |  | 14 | 16 | 0.0092623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1630-48_0_4_line_16 |  | 15 | 17 | 0.011635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
17 | LV_1630-48_0_4_line_17 |  | 17 | 71 | 0.0046771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
18 | LV_1630-48_0_4_line_18 |  | 18 | 19 | 0.0055476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1630-48_0_4_line_19 |  | 19 | 42 | 0.016616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1630-48_0_4_line_20 |  | 20 | 21 | 0.019917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1630-48_0_4_line_21 |  | 21 | 22 | 0.0062175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1630-48_0_4_line_22 |  | 22 | 23 | 0.0076573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1630-48_0_4_line_23 |  | 23 | 24 | 0.010791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1630-48_0_4_line_24 |  | 24 | 25 | 0.0022655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1630-48_0_4_line_25 |  | 25 | 29 | 0.020512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1630-48_0_4_line_26 |  | 26 | 27 | 0.011123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1630-48_0_4_line_27 |  | 26 | 28 | 0.02179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1630-48_0_4_line_28 |  | 27 | 30 | 0.010597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1630-48_0_4_line_29 |  | 28 | 31 | 0.010438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1630-48_0_4_line_30 |  | 29 | 53 | 0.007478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1630-48_0_4_line_31 |  | 29 | 51 | 0.016804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1630-48_0_4_line_32 |  | 30 | 52 | 0.01047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1630-48_0_4_line_33 |  | 31 | 56 | 0.0067962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1630-48_0_4_line_34 |  | 32 | 33 | 0.01269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1630-48_0_4_line_35 |  | 32 | 34 | 0.0038379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1630-48_0_4_line_36 |  | 33 | 35 | 0.011823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1630-48_0_4_line_37 |  | 34 | 36 | 0.011416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1630-48_0_4_line_38 |  | 35 | 37 | 0.014067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1630-48_0_4_line_39 |  | 37 | 38 | 0.009309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
40 | LV_1630-48_0_4_line_40 |  | 37 | 39 | 0.001874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1630-48_0_4_line_41 |  | 38 | 54 | 0.007349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1630-48_0_4_line_42 |  | 38 | 55 | 0.015093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
43 | LV_1630-48_0_4_line_43 |  | 39 | 51 | 0.030034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1630-48_0_4_line_44 |  | 39 | 50 | 0.0085705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1630-48_0_4_line_45 |  | 40 | 41 | 0.0049824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1630-48_0_4_line_46 |  | 40 | 42 | 0.0099321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1630-48_0_4_line_47 |  | 41 | 43 | 0.0040058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1630-48_0_4_line_48 |  | 42 | 44 | 0.0049144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1630-48_0_4_line_49 |  | 43 | 45 | 0.011546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1630-48_0_4_line_50 |  | 43 | 46 | 0.012993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1630-48_0_4_line_51 |  | 44 | 47 | 0.0051678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1630-48_0_4_line_52 |  | 46 | 48 | 0.0012395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1630-48_0_4_line_53 |  | 47 | 49 | 0.014665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1630-48_0_4_line_54 |  | 48 | 69 | 0.016458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
55 | LV_1630-48_0_4_line_55 |  | 48 | 66 | 0.0048346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
56 | LV_1630-48_0_4_line_56 |  | 49 | 60 | 0.0012759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1630-48_0_4_line_57 |  | 51 | 52 | 0.02036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1630-48_0_4_line_58 |  | 55 | 64 | 0.008187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
59 | LV_1630-48_0_4_line_59 |  | 56 | 57 | 0.00013247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_1630-48_0_4_line_60 |  | 57 | 58 | 0.018835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_1630-48_0_4_line_61 |  | 58 | 59 | 0.013013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_1630-48_0_4_line_62 |  | 60 | 61 | 0.012534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_1630-48_0_4_line_63 |  | 61 | 62 | 0.010673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_1630-48_0_4_line_64 |  | 62 | 63 | 0.010091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_1630-48_0_4_line_65 |  | 64 | 65 | 0.0088145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_1630-48_0_4_line_66 |  | 64 | 66 | 0.0048611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
67 | LV_1630-48_0_4_line_67 |  | 65 | 67 | 0.0060913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_1630-48_0_4_line_68 |  | 67 | 68 | 0.0089556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_1630-48_0_4_line_69 |  | 68 | 70 | 0.0006478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_1630-48_0_4_line_70 |  | 69 | 71 | 0.0019623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1630-48_0_4_trafo_5 | 0.63 MVA 20/0.4 kV | 72 | 5 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2724181.3385 | 1216826.8261 | 2724180.2056 | 1216833.2218
1 | 2724183.5583 | 1216819.3667 | 2724181.466 | 1216826.1061 | 2724181.3385 | 1216826.8261
2 | 2724180.2056 | 1216833.2218 | 2724180.1775 | 1216833.38
3 | 2724183.5583 | 1216819.3667 | 2724186.5696 | 1216806.7974
4 | 2724183.5583 | 1216819.3667 | 2724194.3833 | 1216821.2211
5 | 2724180.1775 | 1216833.38 | 2724178.8212 | 1216841.0369
6 | 2724159.5442 | 1216811.7382 | 2724181.2415 | 1216807.0088 | 2724186.5696 | 1216806.7974
7 | 2724186.5696 | 1216806.7974 | 2724188.2032 | 1216799.1788
8 | 2724178.8212 | 1216841.0369 | 2724178.7677 | 1216841.3389
9 | 2724159.5442 | 1216811.7382 | 2724156.4063 | 1216817.9999 | 2724155.147 | 1216825.9466 | 2724145.003 | 1216825.8463
10 | 2724176.7473 | 1216852.7448 | 2724178.7677 | 1216841.3389
11 | 2724175.4235 | 1216860.218 | 2724176.7473 | 1216852.7448
12 | 2724175.4235 | 1216860.218 | 2724185.9002 | 1216862.0445
13 | 2724164.7708 | 1216865.2111 | 2724169.1785 | 1216866.5262 | 2724175.6723 | 1216866.4948 | 2724175.4235 | 1216860.218
14 | 2724196.7693 | 1216862.8648 | 2724187.1597 | 1216862.2641 | 2724185.9002 | 1216862.0445
15 | 2724164.7708 | 1216865.2111 | 2724156.4723 | 1216861.097
16 | 2724196.7693 | 1216862.8648 | 2724205.8933 | 1216863.4443 | 2724208.3709 | 1216863.7169
17 | 2724208.3709 | 1216863.7169 | 2724213.0199 | 1216864.2285
18 | 2724199.5087 | 1216893.5809 | 2724193.9689 | 1216893.2854
19 | 2724215.9921 | 1216895.2018 | 2724212.116 | 1216894.2536 | 2724199.5087 | 1216893.5809
20 | 2724304.4206 | 1216751.4886 | 2724312.7195 | 1216733.3832
21 | 2724304.4206 | 1216751.4886 | 2724301.8285 | 1216757.14
22 | 2724298.6362 | 1216764.1001 | 2724301.8285 | 1216757.14
23 | 2724298.6362 | 1216764.1001 | 2724295.125 | 1216774.3038
24 | 2724294.3879 | 1216776.4461 | 2724295.125 | 1216774.3038
25 | 2724283.0335 | 1216793.0195 | 2724286.0514 | 1216788.8792 | 2724292.1359 | 1216782.9904 | 2724294.3879 | 1216776.4461
26 | 2724279.1717 | 1216757.5335 | 2724275.328 | 1216767.9716
27 | 2724279.1717 | 1216757.5335 | 2724258.0971 | 1216751.9949
28 | 2724275.328 | 1216767.9716 | 2724273.1659 | 1216773.8432 | 2724272.3124 | 1216778.0987
29 | 2724258.0971 | 1216751.9949 | 2724248.0015 | 1216749.3417
30 | 2724283.0335 | 1216793.0195 | 2724290.4013 | 1216794.4187
31 | 2724283.0335 | 1216793.0195 | 2724282.025 | 1216794.3996 | 2724273.7491 | 1216807.0369
32 | 2724270.8994 | 1216788.4609 | 2724271.5469 | 1216781.9158 | 2724272.3124 | 1216778.0987
33 | 2724241.4285 | 1216747.6143 | 2724248.0015 | 1216749.3417
34 | 2724249.055 | 1216813.8695 | 2724251.2889 | 1216801.378
35 | 2724252.0435 | 1216797.616 | 2724251.6499 | 1216799.359 | 2724251.2889 | 1216801.378
36 | 2724249.055 | 1216813.8695 | 2724247.0159 | 1216825.2716 | 2724246.9696 | 1216825.5069
37 | 2724252.0435 | 1216797.616 | 2724254.558 | 1216786.4804
38 | 2724256.2561 | 1216833.7486 | 2724248.1427 | 1216830.2323 | 2724247.0314 | 1216828.897 | 2724246.5996 | 1216827.3868 | 2724246.9696 | 1216825.5069
39 | 2724256.2561 | 1216833.7486 | 2724251.517 | 1216841.7672
40 | 2724256.2561 | 1216833.7486 | 2724257.2837 | 1216832.1799
41 | 2724251.517 | 1216841.7672 | 2724257.6205 | 1216845.8866
42 | 2724251.517 | 1216841.7672 | 2724243.831 | 1216854.7565
43 | 2724257.2837 | 1216832.1799 | 2724273.7491 | 1216807.0369
44 | 2724257.2837 | 1216832.1799 | 2724264.3791 | 1216835.3526 | 2724264.716 | 1216834.629
45 | 2724220.8918 | 1216881.115 | 2724219.255 | 1216885.8209
46 | 2724215.9921 | 1216895.2018 | 2724219.255 | 1216885.8209
47 | 2724222.7016 | 1216877.5501 | 2724221.1222 | 1216880.4528 | 2724220.8918 | 1216881.115
48 | 2724215.9921 | 1216895.2018 | 2724217.7583 | 1216896.8177 | 2724219.3727 | 1216898.7534
49 | 2724222.7016 | 1216877.5501 | 2724211.2377 | 1216875.921
50 | 2724222.7016 | 1216877.5501 | 2724224.2862 | 1216875.1257 | 2724230.5591 | 1216867.2145
51 | 2724222.1074 | 1216903.1243 | 2724220.0329 | 1216899.545 | 2724219.3727 | 1216898.7534
52 | 2724231.3293 | 1216866.2433 | 2724230.5591 | 1216867.2145
53 | 2724222.1074 | 1216903.1243 | 2724236.3508 | 1216899.6334
54 | 2724231.3293 | 1216866.2433 | 2724214.9704 | 1216864.4432
55 | 2724231.3293 | 1216866.2433 | 2724233.4696 | 1216864.1196 | 2724235.0734 | 1216863.2604
56 | 2724236.3508 | 1216899.6334 | 2724236.9085 | 1216899.4967 | 2724237.5735 | 1216899.2727
57 | 2724273.7491 | 1216807.0369 | 2724272.9619 | 1216801.8164 | 2724273.6993 | 1216795.5936 | 2724270.4304 | 1216793.2013 | 2724270.8994 | 1216788.4609
58 | 2724239.6618 | 1216861.8024 | 2724243.831 | 1216854.7565
59 | 2724241.4285 | 1216747.6143 | 2724241.3004 | 1216747.5806
60 | 2724223.0124 | 1216742.8624 | 2724241.3004 | 1216747.5806
61 | 2724223.0124 | 1216742.8624 | 2724219.6139 | 1216755.4236
62 | 2724249.452 | 1216895.2724 | 2724237.5735 | 1216899.2727
63 | 2724249.452 | 1216895.2724 | 2724258.7668 | 1216892.1355 | 2724259.5207 | 1216891.7552
64 | 2724268.5298 | 1216887.21 | 2724259.5207 | 1216891.7552
65 | 2724239.6618 | 1216861.8024 | 2724243.6551 | 1216862.2304 | 2724248.3724 | 1216863.1085
66 | 2724239.6618 | 1216861.8024 | 2724236.6262 | 1216862.4285 | 2724235.0734 | 1216863.2604
67 | 2724254.3609 | 1216864.2233 | 2724248.3724 | 1216863.1085
68 | 2724263.1653 | 1216865.8622 | 2724254.3609 | 1216864.2233
69 | 2724263.1653 | 1216865.8622 | 2724263.8021 | 1216865.9811
70 | 2724213.0199 | 1216864.2285 | 2724214.9704 | 1216864.4432

## bus_geodata
| x | y | coords
0 | 2724181.3385 | 1216826.8261
1 | 2724180.2056 | 1216833.2218
2 | 2724183.5583 | 1216819.3667
3 | 2724180.1775 | 1216833.38
4 | 2724186.5696 | 1216806.7974
5 | 2724194.3833 | 1216821.2211
6 | 2724178.8212 | 1216841.0369
7 | 2724159.5442 | 1216811.7382
8 | 2724188.2032 | 1216799.1788
9 | 2724178.7677 | 1216841.3389
10 | 2724145.003 | 1216825.8463
11 | 2724176.7473 | 1216852.7448
12 | 2724175.4235 | 1216860.218
13 | 2724185.9002 | 1216862.0445
14 | 2724164.7708 | 1216865.2111
15 | 2724196.7693 | 1216862.8648
16 | 2724156.4723 | 1216861.097
17 | 2724208.3709 | 1216863.7169
18 | 2724193.9689 | 1216893.2854
19 | 2724199.5087 | 1216893.5809
20 | 2724312.7195 | 1216733.3832
21 | 2724304.4206 | 1216751.4886
22 | 2724301.8285 | 1216757.14
23 | 2724298.6362 | 1216764.1001
24 | 2724295.125 | 1216774.3038
25 | 2724294.3879 | 1216776.4461
26 | 2724279.1717 | 1216757.5335
27 | 2724275.328 | 1216767.9716
28 | 2724258.0971 | 1216751.9949
29 | 2724283.0335 | 1216793.0195
30 | 2724272.3124 | 1216778.0987
31 | 2724248.0015 | 1216749.3417
32 | 2724251.2889 | 1216801.378
33 | 2724249.055 | 1216813.8695
34 | 2724252.0435 | 1216797.616
35 | 2724246.9696 | 1216825.5069
36 | 2724254.558 | 1216786.4804
37 | 2724256.2561 | 1216833.7486
38 | 2724251.517 | 1216841.7672
39 | 2724257.2837 | 1216832.1799
40 | 2724219.255 | 1216885.8209
41 | 2724220.8918 | 1216881.115
42 | 2724215.9921 | 1216895.2018
43 | 2724222.7016 | 1216877.5501
44 | 2724219.3727 | 1216898.7534
45 | 2724211.2377 | 1216875.921
46 | 2724230.5591 | 1216867.2145
47 | 2724222.1074 | 1216903.1243
48 | 2724231.3293 | 1216866.2433
49 | 2724236.3508 | 1216899.6334
50 | 2724264.716 | 1216834.629
51 | 2724273.7491 | 1216807.0369
52 | 2724270.8994 | 1216788.4609
53 | 2724290.4013 | 1216794.4187
54 | 2724257.6205 | 1216845.8866
55 | 2724243.831 | 1216854.7565
56 | 2724241.4285 | 1216747.6143
57 | 2724241.3004 | 1216747.5806
58 | 2724223.0124 | 1216742.8624
59 | 2724219.6139 | 1216755.4236
60 | 2724237.5735 | 1216899.2727
61 | 2724249.452 | 1216895.2724
62 | 2724259.5207 | 1216891.7552
63 | 2724268.5298 | 1216887.21
64 | 2724239.6618 | 1216861.8024
65 | 2724248.3724 | 1216863.1085
66 | 2724235.0734 | 1216863.2604
67 | 2724254.3609 | 1216864.2233
68 | 2724263.1653 | 1216865.8622
69 | 2724214.9704 | 1216864.4432
70 | 2724263.8021 | 1216865.9811
71 | 2724213.0199 | 1216864.2285
72 | 2724200.3353 | 1216822.2407

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99791 | -0.039803 | 0.021024 | 0.0052692
1 | 0.99731 | -0.051217 | 0.008064 | 0.002021
2 | 0.99867 | -0.02542 | 0 | 0
3 | 0.9973 | -0.051493 | 0.0068121 | 0.0017073
4 | 0.99739 | -0.049867 | 0 | 0
5 | 1 | 0 | -0.53676 | -0.13592
6 | 0.99661 | -0.064669 | 0.0060431 | 0.0015145
7 | 0.99541 | -0.088025 | 0 | 0
8 | 0.99719 | -0.053819 | 0.028941 | 0.0072534
9 | 0.99658 | -0.065181 | 0.011389 | 0.0028543
10 | 0.99359 | -0.12316 | 0.079143 | 0.019835
11 | 0.9956 | -0.083954 | 0.007676 | 0.0019238
12 | 0.99497 | -0.096018 | 0 | 0
13 | 0.99411 | -0.11259 | 0.012727 | 0.0031898
14 | 0.99485 | -0.098375 | 0 | 0
15 | 0.99326 | -0.129 | 0.0098253 | 0.0024625
16 | 0.99479 | -0.099631 | 0.0077005 | 0.0019299
17 | 0.99237 | -0.14603 | 0.0066164 | 0.0016582
18 | 0.98791 | -0.23237 | 0.0081924 | 0.0020532
19 | 0.98795 | -0.23155 | 0.0051615 | 0.0012936
20 | 0.9846 | -0.2967 | 0.0068601 | 0.0017193
21 | 0.98473 | -0.29425 | 0 | 0
22 | 0.98477 | -0.29348 | 0.0090714 | 0.0022735
23 | 0.98488 | -0.29129 | 0 | 0
24 | 0.98504 | -0.2882 | 0.0039822 | 0.00099803
25 | 0.98508 | -0.28739 | 0.013105 | 0.0032843
26 | 0.9846 | -0.29664 | 0 | 0
27 | 0.98487 | -0.29146 | 0.0053745 | 0.001347
28 | 0.98408 | -0.3068 | 0.0083605 | 0.0020953
29 | 0.9857 | -0.27523 | 0 | 0
30 | 0.98517 | -0.28551 | 0.0052314 | 0.0013111
31 | 0.98391 | -0.3101 | 0.0060368 | 0.001513
32 | 0.98696 | -0.2508 | 0.024201 | 0.0060654
33 | 0.9874 | -0.24216 | 0.010876 | 0.0027259
34 | 0.98691 | -0.25175 | 0.0070436 | 0.0017653
35 | 0.98794 | -0.23182 | 0.010547 | 0.0026433
36 | 0.98684 | -0.25315 | 0.0068218 | 0.0017097
37 | 0.9887 | -0.21689 | 0 | 0
38 | 0.98936 | -0.20427 | 0 | 0
39 | 0.98854 | -0.21999 | 0 | 0
40 | 0.98881 | -0.21484 | 0.0076141 | 0.0019083
41 | 0.98918 | -0.20778 | 0.00603 | 0.0015113
42 | 0.98816 | -0.22759 | 0 | 0
43 | 0.98949 | -0.20167 | 0 | 0
44 | 0.98789 | -0.23274 | 0.010208 | 0.0025584
45 | 0.98942 | -0.203 | 0.0064705 | 0.0016217
46 | 0.99059 | -0.1804 | 0.012002 | 0.003008
47 | 0.98766 | -0.2372 | 0 | 0
48 | 0.99071 | -0.17811 | 0 | 0
49 | 0.98701 | -0.24989 | 0.014552 | 0.0036471
50 | 0.98845 | -0.22178 | 0.011754 | 0.0029458
51 | 0.98631 | -0.26342 | 0 | 0
52 | 0.98553 | -0.27864 | 0.0051793 | 0.001298
53 | 0.98566 | -0.27606 | 0.0061798 | 0.0015488
54 | 0.98926 | -0.20609 | 0.013904 | 0.0034847
55 | 0.98993 | -0.19312 | 0.010168 | 0.0025485
56 | 0.98384 | -0.31151 | 0.0077259 | 0.0019363
57 | 0.98384 | -0.31152 | 0 | 0
58 | 0.98378 | -0.3128 | 0 | 0
59 | 0.98373 | -0.31369 | 0.0037851 | 0.00094864
60 | 0.98697 | -0.25067 | 0.010294 | 0.0025798
61 | 0.9867 | -0.25595 | 0.0096521 | 0.002419
62 | 0.98656 | -0.25861 | 0.0057597 | 0.0014435
63 | 0.98649 | -0.26008 | 0.0081419 | 0.0020406
64 | 0.99026 | -0.18671 | 0 | 0
65 | 0.99012 | -0.18946 | 0.0054767 | 0.0013726
66 | 0.99048 | -0.18253 | 0.012081 | 0.0030278
67 | 0.99005 | -0.19077 | 0.0054473 | 0.0013652
68 | 0.99 | -0.19182 | 0 | 0
69 | 0.99188 | -0.15549 | 0.0057806 | 0.0014487
70 | 0.99 | -0.1919 | 0.0066178 | 0.0016586
71 | 0.99202 | -0.15275 | 0.0087864 | 0.0022021
72 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.40464 | 0.10269 | -0.40442 | -0.10255 | 0.00022202 | 0.00014175 | 0.60383 | 0.60383 | 0.60383 | 0.99791 | -0.039803 | 0.99731 | -0.051217 | 41.4718
1 | -0.42567 | -0.10796 | 0.42596 | 0.10815 | 0.00029457 | 0.00018812 | 0.63518 | 0.63518 | 0.63518 | 0.99791 | -0.039803 | 0.99867 | -0.02542 | 43.6249
2 | 0.39636 | 0.10053 | -0.39635 | -0.10053 | 5.2734e-06 | 3.3666e-06 | 0.5918 | 0.5918 | 0.5918 | 0.99731 | -0.051217 | 0.9973 | -0.051493 | 40.6454
3 | 0.10849 | 0.02735 | -0.10837 | -0.027269 | 0.00012676 | 8.0958e-05 | 0.16171 | 0.16171 | 0.16171 | 0.99867 | -0.02542 | 0.99739 | -0.049867 | 44.4267
4 | -0.53446 | -0.1355 | 0.53511 | 0.13592 | 0.00065385 | 0.00041789 | 0.79689 | 0.79689 | 0.79689 | 0.99867 | -0.02542 | 1 | 0 | 54.7315
5 | 0.38954 | 0.098818 | -0.38929 | -0.09866 | 0.00024662 | 0.00015743 | 0.58163 | 0.58163 | 0.58163 | 0.9973 | -0.051493 | 0.99661 | -0.064669 | 39.9474
6 | 0.079421 | 0.020012 | -0.079276 | -0.01992 | 0.00014468 | 9.2238e-05 | 0.11853 | 0.11853 | 0.11853 | 0.99739 | -0.049867 | 0.99541 | -0.088025 | 32.5622
7 | 0.028947 | 0.0072568 | -0.028941 | -0.0072534 | 5.4496e-06 | 3.3861e-06 | 0.043187 | 0.043187 | 0.043187 | 0.99739 | -0.049867 | 0.99719 | -0.053819 | 11.8645
8 | 0.38325 | 0.097146 | -0.38324 | -0.09714 | 9.4275e-06 | 6.0176e-06 | 0.57261 | 0.57261 | 0.57261 | 0.99661 | -0.064669 | 0.99658 | -0.065181 | 39.3277
9 | 0.079276 | 0.01992 | -0.079143 | -0.019835 | 0.00013273 | 8.462e-05 | 0.11853 | 0.11853 | 0.11853 | 0.99541 | -0.088025 | 0.99359 | -0.12316 | 32.5623
10 | 0.37185 | 0.094286 | -0.37152 | -0.094072 | 0.00033523 | 0.00021394 | 0.55561 | 0.55561 | 0.55561 | 0.99658 | -0.065181 | 0.9956 | -0.083954 | 38.1598
11 | 0.36384 | 0.092148 | -0.36363 | -0.092013 | 0.00021067 | 0.00013443 | 0.54413 | 0.54413 | 0.54413 | 0.9956 | -0.083954 | 0.99497 | -0.096018 | 37.3718
12 | 0.35593 | 0.090083 | -0.35565 | -0.089902 | 0.00028283 | 0.00018046 | 0.53262 | 0.53262 | 0.53262 | 0.99497 | -0.096018 | 0.99411 | -0.11259 | 36.5807
13 | 0.0077018 | 0.0019304 | -0.007701 | -0.0019301 | 8.6447e-07 | 3.2763e-07 | 0.011518 | 0.011518 | 0.011518 | 0.99497 | -0.096018 | 0.99485 | -0.098375 | 3.1644
14 | 0.34292 | 0.086713 | -0.34265 | -0.086541 | 0.00026969 | 0.00017204 | 0.51357 | 0.51357 | 0.51357 | 0.99411 | -0.11259 | 0.99326 | -0.129 | 35.2723
15 | 0.007701 | 0.0019301 | -0.0077005 | -0.0019299 | 4.6083e-07 | 1.7467e-07 | 0.011518 | 0.011519 | 0.011519 | 0.99485 | -0.098375 | 0.99479 | -0.099631 | 3.1644
16 | 0.33282 | 0.084078 | -0.33255 | -0.083905 | 0.00027144 | 0.00017312 | 0.49885 | 0.49885 | 0.49885 | 0.99326 | -0.129 | 0.99237 | -0.14603 | 34.2614
17 | 0.32594 | 0.082247 | -0.32583 | -0.08218 | 0.00010482 | 6.6841e-05 | 0.48892 | 0.48893 | 0.48893 | 0.99237 | -0.14603 | 0.99202 | -0.15275 | 33.58
18 | -0.0081924 | -0.0020532 | 0.0081927 | 0.0020533 | 3.1676e-07 | 1.3169e-07 | 0.01234 | 0.01234 | 0.01234 | 0.98791 | -0.23237 | 0.98795 | -0.23155 | 3.39
19 | -0.013354 | -0.0033469 | 0.013357 | 0.0033483 | 2.5207e-06 | 1.4005e-06 | 0.020114 | 0.020113 | 0.020114 | 0.98795 | -0.23155 | 0.98816 | -0.22759 | 5.5257
20 | -0.0068601 | -0.0017193 | 0.0068609 | 0.0017196 | 8.0278e-07 | 2.6044e-07 | 0.010368 | 0.010367 | 0.010368 | 0.9846 | -0.2967 | 0.98473 | -0.29425 | 2.8482
21 | -0.0068609 | -0.0017196 | 0.0068611 | 0.0017196 | 2.506e-07 | 8.1287e-08 | 0.010367 | 0.010367 | 0.010367 | 0.98473 | -0.29425 | 0.98477 | -0.29348 | 2.8482
22 | -0.015933 | -0.0039932 | 0.015934 | 0.0039941 | 1.6643e-06 | 9.6771e-07 | 0.024075 | 0.024075 | 0.024075 | 0.98477 | -0.29348 | 0.98488 | -0.29129 | 6.6139
23 | -0.015934 | -0.0039941 | 0.015937 | 0.0039955 | 2.3454e-06 | 1.3637e-06 | 0.024075 | 0.024075 | 0.024075 | 0.98488 | -0.29129 | 0.98504 | -0.2882 | 6.6139
24 | -0.019919 | -0.0049935 | 0.01992 | 0.004994 | 7.6923e-07 | 4.6346e-07 | 0.03009 | 0.03009 | 0.03009 | 0.98504 | -0.2882 | 0.98508 | -0.28739 | 8.2665
25 | -0.033024 | -0.0082783 | 0.033043 | 0.0082903 | 1.9142e-05 | 1.199e-05 | 0.049885 | 0.049885 | 0.049885 | 0.98508 | -0.28739 | 0.9857 | -0.27523 | 13.7048
26 | -0.025925 | -0.0065029 | 0.025931 | 0.0065068 | 6.4037e-06 | 3.9569e-06 | 0.039182 | 0.039182 | 0.039182 | 0.9846 | -0.29664 | 0.98487 | -0.29146 | 10.7642
27 | 0.025925 | 0.0065029 | -0.025912 | -0.0064951 | 1.2545e-05 | 7.7517e-06 | 0.039182 | 0.039182 | 0.039182 | 0.9846 | -0.29664 | 0.98408 | -0.3068 | 10.7643
28 | -0.031306 | -0.0078538 | 0.031315 | 0.0078594 | 8.8917e-06 | 5.5558e-06 | 0.047302 | 0.047302 | 0.047302 | 0.98487 | -0.29146 | 0.98517 | -0.28551 | 12.9951
29 | 0.017552 | 0.0043998 | -0.017549 | -0.0043982 | 2.7572e-06 | 1.632e-06 | 0.02654 | 0.02654 | 0.02654 | 0.98408 | -0.3068 | 0.98391 | -0.3101 | 7.2912
30 | 0.0061801 | 0.0015489 | -0.0061798 | -0.0015488 | 2.4408e-07 | 6.0894e-08 | 0.0093294 | 0.0093295 | 0.0093295 | 0.9857 | -0.27523 | 0.98566 | -0.27606 | 2.563
31 | -0.039223 | -0.0098391 | 0.039245 | 0.0098531 | 2.2095e-05 | 1.3927e-05 | 0.059215 | 0.059215 | 0.059215 | 0.9857 | -0.27523 | 0.98631 | -0.26342 | 16.2678
32 | -0.036546 | -0.0091705 | 0.036558 | 0.009178 | 1.1965e-05 | 7.5243e-06 | 0.055203 | 0.055203 | 0.055203 | 0.98517 | -0.28551 | 0.98553 | -0.27864 | 15.1658
33 | 0.011512 | 0.0028852 | -0.011511 | -0.0028848 | 7.7254e-07 | 4.0811e-07 | 0.01741 | 0.01741 | 0.01741 | 0.98391 | -0.3101 | 0.98384 | -0.31151 | 4.7831
34 | -0.038068 | -0.0095408 | 0.038083 | 0.0095507 | 1.5675e-05 | 9.8698e-06 | 0.057394 | 0.057393 | 0.057394 | 0.98696 | -0.2508 | 0.9874 | -0.24216 | 15.7675
35 | 0.013866 | 0.0034755 | -0.013866 | -0.0034751 | 6.2903e-07 | 3.5354e-07 | 0.020906 | 0.020906 | 0.020906 | 0.98696 | -0.2508 | 0.98691 | -0.25175 | 5.7435
36 | -0.048959 | -0.012277 | 0.048984 | 0.012292 | 2.4137e-05 | 1.5296e-05 | 0.073784 | 0.073784 | 0.073784 | 0.9874 | -0.24216 | 0.98794 | -0.23182 | 20.2703
37 | 0.0068222 | 0.0017098 | -0.0068218 | -0.0017097 | 4.5296e-07 | 1.4403e-07 | 0.010286 | 0.010286 | 0.010286 | 0.98691 | -0.25175 | 0.98684 | -0.25315 | 2.8259
38 | -0.059531 | -0.014935 | 0.059573 | 0.014962 | 4.2414e-05 | 2.6965e-05 | 0.08967 | 0.089669 | 0.08967 | 0.98794 | -0.23182 | 0.9887 | -0.21689 | 24.6345
39 | -0.15252 | -0.038373 | 0.15261 | 0.038431 | 9.2014e-05 | 5.865e-05 | 0.2296 | 0.2296 | 0.2296 | 0.9887 | -0.21689 | 0.98936 | -0.20427 | 31.5387
40 | 0.09295 | 0.023411 | -0.092936 | -0.023402 | 1.3761e-05 | 8.7827e-06 | 0.13993 | 0.13993 | 0.13993 | 0.9887 | -0.21689 | 0.98854 | -0.21999 | 38.4428
41 | 0.013905 | 0.0034854 | -0.013904 | -0.0034847 | 1.2054e-06 | 6.771e-07 | 0.020914 | 0.020914 | 0.020914 | 0.98936 | -0.20427 | 0.98926 | -0.20609 | 5.7456
42 | -0.16652 | -0.041917 | 0.16661 | 0.041973 | 8.88e-05 | 5.6056e-05 | 0.25052 | 0.25052 | 0.25052 | 0.98936 | -0.20427 | 0.98993 | -0.19312 | 17.2057
43 | 0.081181 | 0.020456 | -0.081013 | -0.020348 | 0.00016829 | 0.00010732 | 0.12224 | 0.12224 | 0.12224 | 0.98854 | -0.21999 | 0.98631 | -0.26342 | 33.5819
44 | 0.011755 | 0.0029463 | -0.011754 | -0.0029458 | 1.0062e-06 | 5.3412e-07 | 0.017694 | 0.017694 | 0.017694 | 0.98854 | -0.21999 | 0.98845 | -0.22178 | 4.861
45 | -0.079686 | -0.020013 | 0.079712 | 0.02003 | 2.6874e-05 | 1.7135e-05 | 0.11993 | 0.11993 | 0.11993 | 0.98881 | -0.21484 | 0.98918 | -0.20778 | 32.9477
46 | 0.072072 | 0.018105 | -0.072028 | -0.018077 | 4.3824e-05 | 2.792e-05 | 0.10847 | 0.10847 | 0.10847 | 0.98881 | -0.21484 | 0.98816 | -0.22759 | 29.7999
47 | -0.085742 | -0.021541 | 0.085767 | 0.021557 | 2.4998e-05 | 1.5947e-05 | 0.129 | 0.129 | 0.129 | 0.98918 | -0.20778 | 0.98949 | -0.20167 | 35.4398
48 | 0.058671 | 0.014728 | -0.058657 | -0.014719 | 1.4388e-05 | 9.1453e-06 | 0.088358 | 0.088358 | 0.088358 | 0.98816 | -0.22759 | 0.98789 | -0.23274 | 24.2743
49 | 0.0064709 | 0.0016218 | -0.0064705 | -0.0016217 | 4.1001e-07 | 1.1411e-07 | 0.0097311 | 0.0097312 | 0.0097312 | 0.98949 | -0.20167 | 0.98942 | -0.203 | 2.6734
50 | -0.092238 | -0.023179 | 0.092332 | 0.023239 | 9.3774e-05 | 5.9848e-05 | 0.13873 | 0.13873 | 0.13873 | 0.98949 | -0.20167 | 0.99059 | -0.1804 | 38.1131
51 | 0.048448 | 0.012161 | -0.048438 | -0.012154 | 1.0322e-05 | 6.5401e-06 | 0.072982 | 0.072982 | 0.072982 | 0.98789 | -0.23274 | 0.98766 | -0.2372 | 20.05
52 | -0.10433 | -0.026247 | 0.10435 | 0.026254 | 1.1422e-05 | 7.2944e-06 | 0.15676 | 0.15676 | 0.15676 | 0.99059 | -0.1804 | 0.99071 | -0.17811 | 43.0661
53 | 0.048438 | 0.012154 | -0.048409 | -0.012136 | 2.9292e-05 | 1.8559e-05 | 0.072982 | 0.072982 | 0.072982 | 0.98766 | -0.2372 | 0.98701 | -0.24989 | 20.0501
54 | -0.31089 | -0.078288 | 0.31122 | 0.078503 | 0.0003366 | 0.00021457 | 0.46707 | 0.46707 | 0.46707 | 0.99071 | -0.17811 | 0.99188 | -0.15549 | 32.0793
55 | 0.20654 | 0.052034 | -0.2065 | -0.052006 | 4.3645e-05 | 2.7684e-05 | 0.31031 | 0.31031 | 0.31031 | 0.99071 | -0.17811 | 0.99048 | -0.18253 | 21.3127
56 | 0.033857 | 0.0084886 | -0.033856 | -0.0084878 | 1.2467e-06 | 7.8155e-07 | 0.051044 | 0.051044 | 0.051044 | 0.98701 | -0.24989 | 0.98697 | -0.25067 | 14.023
57 | 0.041768 | 0.010495 | -0.041737 | -0.010476 | 3.0326e-05 | 1.9149e-05 | 0.063023 | 0.063023 | 0.063023 | 0.98631 | -0.26342 | 0.98553 | -0.27864 | 17.3141
58 | -0.17678 | -0.044521 | 0.17683 | 0.044556 | 5.4226e-05 | 3.4283e-05 | 0.2658 | 0.2658 | 0.2658 | 0.98993 | -0.19312 | 0.99026 | -0.18671 | 18.2555
59 | 0.0037855 | 0.00094849 | -0.0037855 | -0.00094849 | 1.6282e-09 | -6.3917e-10 | 0.0057253 | 0.0057253 | 0.0057253 | 0.98384 | -0.31151 | 0.98384 | -0.31152 | 1.5729
60 | 0.0037855 | 0.00094849 | -0.0037853 | -0.00094858 | 2.3153e-07 | -9.0986e-08 | 0.0057253 | 0.0057254 | 0.0057254 | 0.98384 | -0.31152 | 0.98378 | -0.3128 | 1.5729
61 | 0.0037853 | 0.00094858 | -0.0037851 | -0.00094864 | 1.5997e-07 | -6.2841e-08 | 0.0057254 | 0.0057255 | 0.0057255 | 0.98378 | -0.3128 | 0.98373 | -0.31369 | 1.5729
62 | 0.023562 | 0.005908 | -0.023556 | -0.0059043 | 5.9316e-06 | 3.6361e-06 | 0.035524 | 0.035524 | 0.035524 | 0.98697 | -0.25067 | 0.9867 | -0.25595 | 9.7594
63 | 0.013904 | 0.0034853 | -0.013902 | -0.0034843 | 1.7598e-06 | 9.8994e-07 | 0.020968 | 0.020968 | 0.020968 | 0.9867 | -0.25595 | 0.98656 | -0.25861 | 5.7605
64 | 0.0081425 | 0.0020408 | -0.0081419 | -0.0020406 | 5.7074e-07 | 2.3643e-07 | 0.012281 | 0.012281 | 0.012281 | 0.98656 | -0.25861 | 0.98649 | -0.26008 | 3.374
65 | 0.017545 | 0.0043983 | -0.017543 | -0.0043969 | 2.2976e-06 | 1.3571e-06 | 0.026365 | 0.026365 | 0.026365 | 0.99026 | -0.18671 | 0.99012 | -0.18946 | 7.243
66 | -0.19438 | -0.048954 | 0.19442 | 0.048979 | 3.8901e-05 | 2.4646e-05 | 0.29216 | 0.29216 | 0.29216 | 0.99026 | -0.18671 | 0.99048 | -0.18253 | 20.0662
67 | 0.012066 | 0.0030243 | -0.012065 | -0.0030239 | 7.5116e-07 | 4.024e-07 | 0.018134 | 0.018134 | 0.018134 | 0.99012 | -0.18946 | 0.99005 | -0.19077 | 4.9819
68 | 0.0066182 | 0.0016587 | -0.0066178 | -0.0016586 | 3.3228e-07 | 9.7498e-08 | 0.0099469 | 0.0099469 | 0.0099469 | 0.99005 | -0.19077 | 0.99 | -0.19182 | 2.7327
69 | 0.0066178 | 0.0016586 | -0.0066178 | -0.0016586 | 2.4035e-08 | 7.0532e-09 | 0.0099469 | 0.0099469 | 0.0099469 | 0.99 | -0.19182 | 0.99 | -0.1919 | 2.7327
70 | -0.317 | -0.079951 | 0.31704 | 0.079978 | 4.1637e-05 | 2.6547e-05 | 0.47575 | 0.47575 | 0.47575 | 0.99188 | -0.15549 | 0.99202 | -0.15275 | 32.6748

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.5498 | 0.13919

## res_load
| p_mw | q_mvar
0 | 0.021024 | 0.0052692
1 | 0.008064 | 0.002021
2 | 0.0068121 | 0.0017073
3 | 0.013043 | 0.0032688
4 | 0.0060431 | 0.0015145
5 | 0.028941 | 0.0072534
6 | 0.011389 | 0.0028543
7 | 0.079143 | 0.019835
8 | 0.007676 | 0.0019238
9 | 0.012727 | 0.0031898
10 | 0.0098253 | 0.0024625
11 | 0.0077005 | 0.0019299
12 | 0.0066164 | 0.0016582
13 | 0.0081924 | 0.0020532
14 | 0.0051615 | 0.0012936
15 | 0.0068601 | 0.0017193
16 | 0.0090714 | 0.0022735
17 | 0.0039822 | 0.00099803
18 | 0.013105 | 0.0032843
19 | 0.0053745 | 0.001347
20 | 0.0083605 | 0.0020953
21 | 0.0052314 | 0.0013111
22 | 0.0060368 | 0.001513
23 | 0.024201 | 0.0060654
24 | 0.010876 | 0.0027259
25 | 0.0070436 | 0.0017653
26 | 0.010547 | 0.0026433
27 | 0.0068218 | 0.0017097
28 | 0.0076141 | 0.0019083
29 | 0.00603 | 0.0015113
30 | 0.010208 | 0.0025584
31 | 0.0064705 | 0.0016217
32 | 0.012002 | 0.003008
33 | 0.014552 | 0.0036471
34 | 0.011754 | 0.0029458
35 | 0.0051793 | 0.001298
36 | 0.0061798 | 0.0015488
37 | 0.013904 | 0.0034847
38 | 0.010168 | 0.0025485
39 | 0.0077259 | 0.0019363
40 | 0.0037851 | 0.00094864
41 | 0.010294 | 0.0025798
42 | 0.0096521 | 0.002419
43 | 0.0057597 | 0.0014435
44 | 0.0081419 | 0.0020406
45 | 0.0054767 | 0.0013726
46 | 0.012081 | 0.0030278
47 | 0.0054473 | 0.0013652
48 | 0.0057806 | 0.0014487
49 | 0.0066178 | 0.0016586
50 | 0.0087864 | 0.0022021

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1