## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1630-4_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1630-4_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1630-4_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1630-4_0_2_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_1630-4_0_2_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_1630-4_0_2_node_10 | 0.4 | n |  | TRUE
6 | bus_LV_1630-4_0_2_node_8 | 0.4 | n |  | TRUE
7 | bus_LV_1630-4_0_2_node_9 | 0.4 | n |  | TRUE
8 | bus_LV_1630-4_0_2_node_79 | 0.4 | n |  | TRUE
9 | bus_LV_1630-4_0_2_node_15 | 0.4 | n |  | TRUE
10 | bus_LV_1630-4_0_2_node_11 | 0.4 | n |  | TRUE
11 | bus_LV_1630-4_0_2_node_78 | 0.4 | n |  | TRUE
12 | bus_LV_1630-4_0_2_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_1630-4_0_2_node_6 | 0.4 | n |  | TRUE
14 | bus_LV_1630-4_0_2_node_56 | 0.4 | n |  | TRUE
15 | bus_LV_1630-4_0_2_node_85 | 0.4 | n |  | TRUE
16 | bus_LV_1630-4_0_2_node_57 | 0.4 | n |  | TRUE
17 | bus_LV_1630-4_0_2_node_58 | 0.4 | n |  | TRUE
18 | bus_LV_1630-4_0_2_node_16 | 0.4 | n |  | TRUE
19 | bus_LV_1630-4_0_2_node_17 | 0.4 | n |  | TRUE
20 | bus_LV_1630-4_0_2_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_1630-4_0_2_node_54 | 0.4 | n |  | TRUE
22 | bus_LV_1630-4_0_2_node_55 | 0.4 | n |  | TRUE
23 | bus_LV_1630-4_0_2_node_53 | 0.4 | n |  | TRUE
24 | bus_LV_1630-4_0_2_node_61 | 0.4 | n |  | TRUE
25 | bus_LV_1630-4_0_2_node_59 | 0.4 | n |  | TRUE
26 | bus_LV_1630-4_0_2_node_12 | 0.4 | n |  | TRUE
27 | bus_LV_1630-4_0_2_node_13 | 0.4 | n |  | TRUE
28 | bus_LV_1630-4_0_2_node_45 | 0.4 | n |  | TRUE
29 | bus_LV_1630-4_0_2_node_43 | 0.4 | n |  | TRUE
30 | bus_LV_1630-4_0_2_node_42 | 0.4 | n |  | TRUE
31 | bus_LV_1630-4_0_2_node_80 | 0.4 | n |  | TRUE
32 | bus_LV_1630-4_0_2_node_38 | 0.4 | n |  | TRUE
33 | bus_LV_1630-4_0_2_node_81 | 0.4 | n |  | TRUE
34 | bus_LV_1630-4_0_2_node_44 | 0.4 | n |  | TRUE
35 | bus_LV_1630-4_0_2_node_21 | 0.4 | n |  | TRUE
36 | bus_LV_1630-4_0_2_node_66 | 0.4 | n |  | TRUE
37 | bus_LV_1630-4_0_2_node_71 | 0.4 | n |  | TRUE
38 | bus_LV_1630-4_0_2_node_19 | 0.4 | n |  | TRUE
39 | bus_LV_1630-4_0_2_node_67 | 0.4 | n |  | TRUE
40 | bus_LV_1630-4_0_2_node_18 | 0.4 | n |  | TRUE
41 | bus_LV_1630-4_0_2_node_20 | 0.4 | n |  | TRUE
42 | bus_LV_1630-4_0_2_node_22 | 0.4 | n |  | TRUE
43 | bus_LV_1630-4_0_2_node_23 | 0.4 | n |  | TRUE
44 | bus_LV_1630-4_0_2_node_25 | 0.4 | n |  | TRUE
45 | bus_LV_1630-4_0_2_node_70 | 0.4 | n |  | TRUE
46 | bus_LV_1630-4_0_2_node_27 | 0.4 | n |  | TRUE
47 | bus_LV_1630-4_0_2_node_24 | 0.4 | n |  | TRUE
48 | bus_LV_1630-4_0_2_node_26 | 0.4 | n |  | TRUE
49 | bus_LV_1630-4_0_2_node_28 | 0.4 | n |  | TRUE
50 | bus_LV_1630-4_0_2_node_86 | 0.4 | n |  | TRUE
51 | bus_LV_1630-4_0_2_node_60 | 0.4 | n |  | TRUE
52 | bus_LV_1630-4_0_2_node_46 | 0.4 | n |  | TRUE
53 | bus_LV_1630-4_0_2_node_47 | 0.4 | n |  | TRUE
54 | bus_LV_1630-4_0_2_node_29 | 0.4 | n |  | TRUE
55 | bus_LV_1630-4_0_2_node_30 | 0.4 | n |  | TRUE
56 | bus_LV_1630-4_0_2_node_31 | 0.4 | n |  | TRUE
57 | bus_LV_1630-4_0_2_node_32 | 0.4 | n |  | TRUE
58 | bus_LV_1630-4_0_2_node_33 | 0.4 | n |  | TRUE
59 | bus_LV_1630-4_0_2_node_34 | 0.4 | n |  | TRUE
60 | bus_LV_1630-4_0_2_node_37 | 0.4 | n |  | TRUE
61 | bus_LV_1630-4_0_2_node_39 | 0.4 | n |  | TRUE
62 | bus_LV_1630-4_0_2_node_40 | 0.4 | n |  | TRUE
63 | bus_LV_1630-4_0_2_node_35 | 0.4 | n |  | TRUE
64 | bus_LV_1630-4_0_2_node_36 | 0.4 | n |  | TRUE
65 | bus_LV_1630-4_0_2_node_41 | 0.4 | n |  | TRUE
66 | bus_LV_1630-4_0_2_node_69 | 0.4 | n |  | TRUE
67 | bus_LV_1630-4_0_2_node_51 | 0.4 | n |  | TRUE
68 | bus_LV_1630-4_0_2_node_68 | 0.4 | n |  | TRUE
69 | bus_LV_1630-4_0_2_node_49 | 0.4 | n |  | TRUE
70 | bus_LV_1630-4_0_2_node_77 | 0.4 | n |  | TRUE
71 | bus_LV_1630-4_0_2_node_76 | 0.4 | n |  | TRUE
72 | bus_LV_1630-4_0_2_node_48 | 0.4 | n |  | TRUE
73 | bus_LV_1630-4_0_2_node_50 | 0.4 | n |  | TRUE
74 | bus_LV_1630-4_0_2_node_52 | 0.4 | n |  | TRUE
75 | bus_LV_1630-4_0_2_node_83 | 0.4 | n |  | TRUE
76 | bus_LV_1630-4_0_2_node_82 | 0.4 | n |  | TRUE
77 | bus_LV_1630-4_0_2_node_84 | 0.4 | n |  | TRUE
78 | bus_LV_1630-4_0_2_node_63 | 0.4 | n |  | TRUE
79 | bus_LV_1630-4_0_2_node_65 | 0.4 | n |  | TRUE
80 | bus_LV_1630-4_0_2_node_62 | 0.4 | n |  | TRUE
81 | bus_LV_1630-4_0_2_node_64 | 0.4 | n |  | TRUE
82 | bus_LV_1630-4_0_2_node_72 | 0.4 | n |  | TRUE
83 | bus_LV_1630-4_0_2_node_73 | 0.4 | n |  | TRUE
84 | bus_LV_1630-4_0_2_node_74 | 0.4 | n |  | TRUE
85 | bus_LV_1630-4_0_2_node_75 | 0.4 | n |  | TRUE
86 | bus_MV_152_0_node_74 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1630-4_0_2_load_0 | 0 | 0.0016534 | 0.00041437 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1630-4_0_2_load_1 | 1 | 0.0028361 | 0.00071079 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1630-4_0_2_load_4 | 3 | 0.0054544 | 0.001367 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1630-4_0_2_load_5 | 4 | 0.0010324 | 0.00025875 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1630-4_0_2_load_10 | 5 | 0.003419 | 0.00085688 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1630-4_0_2_load_79 | 8 | 0.0086105 | 0.002158 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1630-4_0_2_load_78 | 11 | 0.0062858 | 0.0015754 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1630-4_0_2_load_6 | 13 | 0.005064 | 0.0012692 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1630-4_0_2_load_85 | 15 | 0.0061754 | 0.0015477 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1630-4_0_2_load_17 | 19 | 0.0063266 | 0.0015856 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1630-4_0_2_load_14 | 20 | 0.0063819 | 0.0015995 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1630-4_0_2_load_55 | 22 | 0.0042311 | 0.0010604 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1630-4_0_2_load_53 | 23 | 0.0056878 | 0.0014255 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1630-4_0_2_load_59 | 25 | 0.0045017 | 0.0011282 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1630-4_0_2_load_12 | 26 | 0.0051719 | 0.0012962 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1630-4_0_2_load_43 | 29 | 0.0029737 | 0.00074527 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1630-4_0_2_load_80 | 31 | 0.0060408 | 0.001514 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1630-4_0_2_load_81 | 33 | 0.0047695 | 0.0011953 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1630-4_0_2_load_44 | 34 | 0.0029255 | 0.00073319 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1630-4_0_2_load_66 | 36 | 0.0048426 | 0.0012137 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1630-4_0_2_load_71 | 37 | 0.0035428 | 0.00088791 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1630-4_0_2_load_19 | 38 | 0.0024854 | 0.0006229 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1630-4_0_2_load_67 | 39 | 0.0044706 | 0.0011204 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1630-4_0_2_load_18 | 40 | 0.0036154 | 0.00090611 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1630-4_0_2_load_22 | 42 | 0.0046596 | 0.0011678 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1630-4_0_2_load_23 | 43 | 0.0036561 | 0.00091629 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1630-4_0_2_load_70 | 45 | 0.0061347 | 0.0015375 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1630-4_0_2_load_24 | 47 | 0.01191 | 0.0029849 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1630-4_0_2_load_28 | 49 | 0.0045033 | 0.0011286 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1630-4_0_2_load_86 | 50 | 0.0057952 | 0.0014524 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1630-4_0_2_load_29 | 54 | 0.0035217 | 0.00088262 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1630-4_0_2_load_30 | 55 | 0.0050012 | 0.0012534 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1630-4_0_2_load_32 | 57 | 0.0023582 | 0.00059101 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1630-4_0_2_load_33 | 58 | 0.0070106 | 0.001757 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1630-4_0_2_load_34 | 59 | 0.0049509 | 0.0012408 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1630-4_0_2_load_40 | 62 | 0.005216 | 0.0013073 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1630-4_0_2_load_35 | 63 | 0.0057698 | 0.001446 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1630-4_0_2_load_36 | 64 | 0.0036748 | 0.00092098 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1630-4_0_2_load_69 | 66 | 0.0068931 | 0.0017276 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1630-4_0_2_load_51 | 67 | 0.002431 | 0.00060926 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1630-4_0_2_load_68 | 68 | 0.0027641 | 0.00069275 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1630-4_0_2_load_77 | 70 | 0.0024715 | 0.00061942 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1630-4_0_2_load_76 | 71 | 0.0019519 | 0.00048919 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1630-4_0_2_load_48 | 72 | 0.0034062 | 0.00085368 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1630-4_0_2_load_50 | 73 | 0.0081037 | 0.002031 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1630-4_0_2_load_52 | 74 | 0.001693 | 0.0004243 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1630-4_0_2_load_83 | 75 | 0.0033615 | 0.00084248 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1630-4_0_2_load_84 | 77 | 0.0043221 | 0.0010832 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1630-4_0_2_load_65 | 79 | 0.0065206 | 0.0016342 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1630-4_0_2_load_62 | 80 | 0.0073656 | 0.001846 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1630-4_0_2_load_64 | 81 | 0.0055696 | 0.0013959 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1630-4_0_2_load_72 | 82 | 0.0044446 | 0.0011139 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_1630-4_0_2_load_73 | 83 | 0.0042084 | 0.0010547 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_1630-4_0_2_load_75 | 85 | 0.00091636 | 0.00022966 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 45 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1630-4_0_2_line_0 |  | 0 | 1 | 0.00065864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1630-4_0_2_line_1 |  | 0 | 2 | 0.0071752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1630-4_0_2_line_2 |  | 2 | 3 | 0.026789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1630-4_0_2_line_3 |  | 2 | 4 | 0.010644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1630-4_0_2_line_4 |  | 3 | 5 | 0.012832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1630-4_0_2_line_5 |  | 4 | 6 | 0.0063155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1630-4_0_2_line_6 |  | 5 | 10 | 0.0010494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1630-4_0_2_line_7 |  | 6 | 11 | 0.009074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1630-4_0_2_line_8 |  | 6 | 12 | 0.010531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1630-4_0_2_line_9 |  | 7 | 8 | 0.026683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1630-4_0_2_line_10 |  | 7 | 9 | 0.051478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1630-4_0_2_line_11 |  | 9 | 18 | 0.007711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1630-4_0_2_line_12 |  | 9 | 19 | 0.010176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1630-4_0_2_line_13 |  | 9 | 20 | 0.017782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1630-4_0_2_line_14 |  | 10 | 26 | 0.005428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1630-4_0_2_line_15 |  | 10 | 27 | 0.025656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1630-4_0_2_line_16 |  | 12 | 13 | 0.0094014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1630-4_0_2_line_17 |  | 14 | 15 | 0.010502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1630-4_0_2_line_18 |  | 14 | 16 | 0.15495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1630-4_0_2_line_19 |  | 14 | 17 | 0.088534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1630-4_0_2_line_20 |  | 16 | 24 | 0.011622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1630-4_0_2_line_21 |  | 16 | 25 | 0.010107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1630-4_0_2_line_22 |  | 17 | 77 | 0.039601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1630-4_0_2_line_23 |  | 17 | 78 | 0.019265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1630-4_0_2_line_24 |  | 18 | 35 | 0.006644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
25 | LV_1630-4_0_2_line_25 |  | 18 | 36 | 0.053849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1630-4_0_2_line_26 |  | 21 | 22 | 0.0035827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1630-4_0_2_line_27 |  | 21 | 23 | 0.0080316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1630-4_0_2_line_28 |  | 22 | 24 | 0.0054135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1630-4_0_2_line_29 |  | 25 | 51 | 0.0069933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1630-4_0_2_line_30 |  | 27 | 28 | 0.097275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1630-4_0_2_line_31 |  | 27 | 29 | 0.04049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1630-4_0_2_line_32 |  | 28 | 33 | 0.02546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1630-4_0_2_line_33 |  | 29 | 34 | 0.0028853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1630-4_0_2_line_34 |  | 30 | 31 | 0.016378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1630-4_0_2_line_35 |  | 30 | 32 | 0.011006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1630-4_0_2_line_36 |  | 32 | 65 | 0.015322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1630-4_0_2_line_37 |  | 32 | 64 | 0.010944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1630-4_0_2_line_38 |  | 34 | 65 | 0.0068938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1630-4_0_2_line_39 |  | 35 | 37 | 0.033239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
40 | LV_1630-4_0_2_line_40 |  | 35 | 38 | 0.024886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1630-4_0_2_line_41 |  | 36 | 39 | 0.02751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1630-4_0_2_line_42 |  | 37 | 45 | 0.006688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
43 | LV_1630-4_0_2_line_43 |  | 38 | 40 | 0.019837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1630-4_0_2_line_44 |  | 39 | 68 | 0.0070049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1630-4_0_2_line_45 |  | 40 | 41 | 0.0063301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1630-4_0_2_line_46 |  | 41 | 42 | 0.012464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1630-4_0_2_line_47 |  | 41 | 43 | 0.024482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1630-4_0_2_line_48 |  | 43 | 44 | 0.016349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1630-4_0_2_line_49 |  | 44 | 46 | 0.055033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1630-4_0_2_line_50 |  | 44 | 47 | 0.02207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1630-4_0_2_line_51 |  | 46 | 50 | 0.008349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1630-4_0_2_line_52 |  | 46 | 51 | 0.018512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1630-4_0_2_line_53 |  | 47 | 48 | 0.054786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1630-4_0_2_line_54 |  | 48 | 49 | 0.01012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1630-4_0_2_line_55 |  | 49 | 52 | 0.010899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1630-4_0_2_line_56 |  | 52 | 53 | 0.074461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1630-4_0_2_line_57 |  | 53 | 70 | 0.016898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1630-4_0_2_line_58 |  | 53 | 71 | 0.02191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1630-4_0_2_line_59 |  | 54 | 55 | 0.020133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_1630-4_0_2_line_60 |  | 54 | 56 | 0.011676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_1630-4_0_2_line_61 |  | 55 | 57 | 0.00096236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_1630-4_0_2_line_62 |  | 56 | 58 | 0.024732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_1630-4_0_2_line_63 |  | 56 | 59 | 0.0020227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_1630-4_0_2_line_64 |  | 59 | 60 | 0.019331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_1630-4_0_2_line_65 |  | 60 | 61 | 0.031005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_1630-4_0_2_line_66 |  | 60 | 62 | 0.008134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_1630-4_0_2_line_67 |  | 60 | 63 | 0.020156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_1630-4_0_2_line_68 |  | 61 | 66 | 0.011153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_1630-4_0_2_line_69 |  | 61 | 67 | 0.0015915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_1630-4_0_2_line_70 |  | 63 | 64 | 0.012151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_1630-4_0_2_line_71 |  | 65 | 68 | 0.0090132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_1630-4_0_2_line_72 |  | 67 | 69 | 0.0085326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_1630-4_0_2_line_73 |  | 69 | 72 | 0.006201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_1630-4_0_2_line_74 |  | 72 | 73 | 0.0082565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_1630-4_0_2_line_75 |  | 73 | 74 | 0.051419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_1630-4_0_2_line_76 |  | 74 | 75 | 0.31455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_1630-4_0_2_line_77 |  | 75 | 76 | 0.034747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_1630-4_0_2_line_78 |  | 76 | 82 | 0.29673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_1630-4_0_2_line_79 |  | 78 | 79 | 0.08368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_1630-4_0_2_line_80 |  | 78 | 80 | 0.015153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_1630-4_0_2_line_81 |  | 80 | 81 | 0.00071286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_1630-4_0_2_line_82 |  | 82 | 83 | 0.0004882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_1630-4_0_2_line_83 |  | 82 | 84 | 0.12207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_1630-4_0_2_line_84 |  | 84 | 85 | 0.12603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1630-4_0_2_trafo_70 | 0.63 MVA 20/0.4 kV | 86 | 45 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18
0 | 2729808.9962 | 1219779.9227 | 2729809.6492 | 1219779.8368
1 | 2729801.8822 | 1219780.8578 | 2729808.9962 | 1219779.9227
2 | 2729801.8822 | 1219780.8578 | 2729775.4431 | 1219785.1762
3 | 2729801.8822 | 1219780.8578 | 2729800.589 | 1219788.2912 | 2729799.8736 | 1219791.3063
4 | 2729762.9951 | 1219788.2241 | 2729771.7906 | 1219785.7728 | 2729775.4431 | 1219785.1762
5 | 2729798.4156 | 1219797.4512 | 2729799.8736 | 1219791.3063
6 | 2729761.9843 | 1219788.5059 | 2729762.9951 | 1219788.2241
7 | 2729801.9222 | 1219805.8233 | 2729798.4156 | 1219797.4512
8 | 2729791.4655 | 1219804.6167 | 2729795.0708 | 1219803.2386 | 2729798.4156 | 1219797.4512
9 | 2729829.4003 | 1219838.5929 | 2729834.9822 | 1219852.0477 | 2729835.1855 | 1219852.8194 | 2729834.9006 | 1219854.0475 | 2729833.3574 | 1219856.2379 | 2729827.0265 | 1219860.0697
10 | 2729829.4003 | 1219838.5929 | 2729809.504 | 1219846.6214 | 2729805.1427 | 1219848.2054 | 2729798.0878 | 1219850.776 | 2729788.8769 | 1219853.0105 | 2729780.5299 | 1219853.9182
11 | 2729772.8768 | 1219855.0302 | 2729780.5299 | 1219853.9182
12 | 2729784.7457 | 1219863.1842 | 2729780.5299 | 1219853.9182
13 | 2729780.5299 | 1219853.9182 | 2729784.95 | 1219845.4633 | 2729793.0623 | 1219844.0101
14 | 2729763.6632 | 1219793.6688 | 2729761.9843 | 1219788.5059
15 | 2729736.8246 | 1219793.5286 | 2729742.4436 | 1219792.4056 | 2729761.9843 | 1219788.5059
16 | 2729791.4655 | 1219804.6167 | 2729782.7536 | 1219808.1506
17 | 2729857.4451 | 1219977.2385 | 2729866.0927 | 1219971.2444
18 | 2729838.4639 | 1219920.3677 | 2729847.1267 | 1219920.2897 | 2729853.7369 | 1219919.3108 | 2729859.8528 | 1219917.6761 | 2729866.1288 | 1219914.9663 | 2729874.1716 | 1219910.9495 | 2729879.6347 | 1219907.9217 | 2729890.8622 | 1219901.2834 | 2729893.4563 | 1219905.1987 | 2729886.7358 | 1219910.1895 | 2729881.5977 | 1219913.28 | 2729873.929 | 1219917.8943 | 2729867.9894 | 1219922.5797 | 2729849.8455 | 1219937.6297 | 2729848.5199 | 1219940.9813 | 2729849.1412 | 1219945.2093 | 2729850.9081 | 1219949.1177 | 2729853.8466 | 1219953.2517 | 2729866.0927 | 1219971.2444
19 | 2729811.8514 | 1219969.4051 | 2729849.8455 | 1219937.6297 | 2729848.5199 | 1219940.9813 | 2729849.1412 | 1219945.2093 | 2729850.9081 | 1219949.1177 | 2729853.8466 | 1219953.2517 | 2729866.0927 | 1219971.2444
20 | 2729838.4639 | 1219920.3677 | 2729835.6279 | 1219909.0967
21 | 2729838.4639 | 1219920.3677 | 2729828.3574 | 1219920.4956
22 | 2729811.8514 | 1219969.4051 | 2729827.5436 | 1220001.6731 | 2729827.8723 | 1220005.3944
23 | 2729811.8514 | 1219969.4051 | 2729805.1083 | 1219975.4408 | 2729797.2749 | 1219982.0421
24 | 2729772.8768 | 1219855.0302 | 2729766.704 | 1219857.5311
25 | 2729772.8768 | 1219855.0302 | 2729771.5859 | 1219852.2665 | 2729768.7787 | 1219850.4594 | 2729766.1607 | 1219846.5882 | 2729763.1359 | 1219844.6652 | 2729760.4564 | 1219843.6171 | 2729749.7759 | 1219840.8378 | 2729741.8997 | 1219838.9536 | 2729733.095 | 1219835.7815 | 2729728.3923 | 1219842.0441
26 | 2729834.0817 | 1219900.2893 | 2729834.0596 | 1219902.0013 | 2729834.2467 | 1219903.8624
27 | 2729834.0817 | 1219900.2893 | 2729834.43 | 1219897.8949 | 2729834.923 | 1219896.1709 | 2729835.7935 | 1219894.5441 | 2729837.1794 | 1219893.1385
28 | 2729835.6279 | 1219909.0967 | 2729834.2467 | 1219903.8624
29 | 2729821.3647 | 1219920.5841 | 2729828.3574 | 1219920.4956
30 | 2729736.8246 | 1219793.5286 | 2729723.786 | 1219793.756 | 2729707.9776 | 1219792.5441 | 2729701.855 | 1219792.7443 | 2729695.9987 | 1219793.6064 | 2729674.4112 | 1219799.1298 | 2729666.6206 | 1219801.6733 | 2729662.2121 | 1219802.6337 | 2729656.1884 | 1219803.1697 | 2729640.9208 | 1219802.2256
31 | 2729736.8246 | 1219793.5286 | 2729708.0597 | 1219806.8908 | 2729702.2712 | 1219810.5677 | 2729700.8206 | 1219811.819
32 | 2729640.9208 | 1219802.2256 | 2729634.4925 | 1219807.7457 | 2729631.0899 | 1219811.319 | 2729624.98 | 1219821.7389
33 | 2729700.8206 | 1219811.819 | 2729698.6359 | 1219813.7036
34 | 2729683.4426 | 1219816.2847 | 2729667.044 | 1219815.338
35 | 2729683.4426 | 1219816.2847 | 2729682.0131 | 1219827.1957
36 | 2729682.0131 | 1219827.1957 | 2729686.116 | 1219826.6735 | 2729688.1989 | 1219824.7951 | 2729694.1356 | 1219818.8417
37 | 2729682.0131 | 1219827.1957 | 2729680.0815 | 1219830.1449 | 2729675.1233 | 1219835.6625
38 | 2729694.1356 | 1219818.8417 | 2729696.0976 | 1219815.8932 | 2729698.6359 | 1219813.7036
39 | 2729766.704 | 1219857.5311 | 2729751.1186 | 1219863.8634 | 2729737.9775 | 1219873.7017
40 | 2729766.704 | 1219857.5311 | 2729761.6497 | 1219865.1382 | 2729759.3659 | 1219869.6143 | 2729756.8684 | 1219875.8872 | 2729756.1967 | 1219878.8416 | 2729756.2624 | 1219879.7855
41 | 2729728.3923 | 1219842.0441 | 2729728.0916 | 1219842.4446 | 2729727.2361 | 1219843.0375 | 2729725.4399 | 1219843.2542 | 2729722.9025 | 1219842.654 | 2729708.7605 | 1219833.6054 | 2729705.4085 | 1219830.2216
42 | 2729732.6237 | 1219877.7099 | 2729737.9775 | 1219873.7017
43 | 2729756.2624 | 1219879.7855 | 2729756.3585 | 1219881.1693 | 2729756.9577 | 1219883.284 | 2729759.4165 | 1219886.796 | 2729767.4593 | 1219895.6548
44 | 2729705.4085 | 1219830.2216 | 2729700.4788 | 1219825.2451
45 | 2729771.7143 | 1219900.3415 | 2729767.4593 | 1219895.6548
46 | 2729771.7143 | 1219900.3415 | 2729782.8083 | 1219894.6007
47 | 2729771.7143 | 1219900.3415 | 2729772.2374 | 1219903.8557 | 2729771.6104 | 1219907.2003 | 2729769.9357 | 1219910.1996 | 2729767.6116 | 1219912.3507 | 2729759.5918 | 1219916.357 | 2729757.6856 | 1219916.81
48 | 2729748.1923 | 1219926.3723 | 2729747.6183 | 1219923.1016 | 2729747.8992 | 1219921.3619 | 2729749.1315 | 1219919.4984 | 2729751.1908 | 1219918.3534 | 2729757.6856 | 1219916.81
49 | 2729748.1923 | 1219926.3723 | 2729758.9241 | 1219924.0042 | 2729769.5155 | 1219922.5115 | 2729780.3928 | 1219921.4809 | 2729788.9955 | 1219921.0235 | 2729797.1664 | 1219920.8792 | 2729802.8002 | 1219920.813
50 | 2729748.1923 | 1219926.3723 | 2729726.6582 | 1219931.2081
51 | 2729802.8002 | 1219920.813 | 2729800.9281 | 1219912.6768
52 | 2729821.3647 | 1219920.5841 | 2729802.8002 | 1219920.813
53 | 2729672.9208 | 1219941.7569 | 2729680.2297 | 1219940.7596 | 2729702.332 | 1219936.6709 | 2729726.6582 | 1219931.2081
54 | 2729672.9208 | 1219941.7569 | 2729663.3051 | 1219943.0709 | 2729662.8932 | 1219943.1181
55 | 2729652.0654 | 1219944.3606 | 2729662.8932 | 1219943.1181
56 | 2729577.9398 | 1219951.4201 | 2729623.6467 | 1219947.0999 | 2729652.0654 | 1219944.3606
57 | 2729577.9398 | 1219951.4201 | 2729575.8568 | 1219954.6997 | 2729564.003 | 1219960.1463
58 | 2729577.9398 | 1219951.4201 | 2729556.1297 | 1219953.506
59 | 2729666.1975 | 1219883.8957 | 2729669.8385 | 1219884.6326 | 2729672.3042 | 1219885.7427 | 2729674.1289 | 1219887.3504 | 2729678.2082 | 1219897.8698
60 | 2729654.7537 | 1219881.5796 | 2729666.1975 | 1219883.8957
61 | 2729678.2082 | 1219897.8698 | 2729678.5561 | 1219898.7671
62 | 2729654.7537 | 1219881.5796 | 2729654.2613 | 1219887.8072 | 2729637.9838 | 1219896.649
63 | 2729654.7537 | 1219881.5796 | 2729654.7115 | 1219879.5573
64 | 2729654.3079 | 1219860.2304 | 2729654.7115 | 1219879.5573
65 | 2729654.3079 | 1219860.2304 | 2729649.2936 | 1219863.9131 | 2729643.838 | 1219866.5966 | 2729637.0449 | 1219868.3057 | 2729625.4879 | 1219870.5671
66 | 2729654.3079 | 1219860.2304 | 2729660.7296 | 1219865.2227
67 | 2729654.3079 | 1219860.2304 | 2729658.5898 | 1219856.3649 | 2729666.3507 | 1219845.425 | 2729667.0016 | 1219844.7007
68 | 2729621.2569 | 1219860.2445 | 2729625.4879 | 1219870.5671
69 | 2729625.4879 | 1219870.5671 | 2729623.983 | 1219871.0846
70 | 2729667.0016 | 1219844.7007 | 2729675.1233 | 1219835.6625
71 | 2729694.1356 | 1219818.8417 | 2729700.4788 | 1219825.2451
72 | 2729616.0058 | 1219874.1081 | 2729621.6256 | 1219871.8953 | 2729623.983 | 1219871.0846
73 | 2729616.0058 | 1219874.1081 | 2729610.2328 | 1219876.3719
74 | 2729602.5461 | 1219879.3862 | 2729610.2328 | 1219876.3719
75 | 2729602.5461 | 1219879.3862 | 2729593.3546 | 1219881.4323 | 2729568.9687 | 1219885.4607 | 2729551.7532 | 1219887.0183
76 | 2729551.7532 | 1219887.0183 | 2729273.2599 | 1219740.7864
77 | 2729293.2781 | 1219712.4424 | 2729287.808 | 1219718.5953 | 2729283.3903 | 1219724.8712 | 2729273.2599 | 1219740.7864
78 | 2729548.5417 | 1219561.149 | 2729293.2781 | 1219712.4424
79 | 2729717.5752 | 1220000.0206 | 2729740.1341 | 1219995.8752 | 2729749.883 | 1219994.0194 | 2729757.9296 | 1219991.2146 | 2729763.5974 | 1219988.1912 | 2729775.6256 | 1219980.3246 | 2729780.4486 | 1219980.541 | 2729797.2749 | 1219982.0421
80 | 2729797.2749 | 1219982.0421 | 2729792.1875 | 1219983.8549 | 2729790.3368 | 1219986.2277 | 2729789.1144 | 1219992.8586
81 | 2729788.9852 | 1219993.5597 | 2729789.1144 | 1219992.8586
82 | 2729548.9947 | 1219560.967 | 2729548.5417 | 1219561.149
83 | 2729557.3606 | 1219499.0966 | 2729556.0427 | 1219503.4937 | 2729552.5169 | 1219509.2328 | 2729548.4601 | 1219514.6045 | 2729540.2719 | 1219528.0817 | 2729535.0666 | 1219542.6247 | 2729532.5167 | 1219547.4732 | 2729528.904 | 1219553.0213 | 2729525.2023 | 1219557.778 | 2729521.7606 | 1219561.395 | 2729515.0642 | 1219565.9753 | 2729513.388 | 1219567.6513 | 2729513.4825 | 1219569.5883 | 2729515.1559 | 1219571.1815 | 2729517.6213 | 1219570.9127 | 2729525.995 | 1219568.793 | 2729540.7059 | 1219564.2981 | 2729548.5417 | 1219561.149
84 | 2729557.3606 | 1219499.0966 | 2729562.7494 | 1219495.3108 | 2729574.3335 | 1219488.346 | 2729613.1334 | 1219469.8418 | 2729619.7216 | 1219466.4045 | 2729655.8679 | 1219443.9285 | 2729660.7963 | 1219440.0215 | 2729665.5662 | 1219435.3772

## bus_geodata
| x | y | coords
0 | 2729808.9962 | 1219779.9227
1 | 2729809.6492 | 1219779.8368
2 | 2729801.8822 | 1219780.8578
3 | 2729775.4431 | 1219785.1762
4 | 2729799.8736 | 1219791.3063
5 | 2729762.9951 | 1219788.2241
6 | 2729798.4156 | 1219797.4512
7 | 2729829.4003 | 1219838.5929
8 | 2729827.0265 | 1219860.0697
9 | 2729780.5299 | 1219853.9182
10 | 2729761.9843 | 1219788.5059
11 | 2729801.9222 | 1219805.8233
12 | 2729791.4655 | 1219804.6167
13 | 2729782.7536 | 1219808.1506
14 | 2729866.0927 | 1219971.2443
15 | 2729857.4451 | 1219977.2385
16 | 2729838.4639 | 1219920.3677
17 | 2729811.8514 | 1219969.4051
18 | 2729772.8768 | 1219855.0302
19 | 2729784.7457 | 1219863.1842
20 | 2729793.0623 | 1219844.0101
21 | 2729834.0817 | 1219900.2893
22 | 2729834.2467 | 1219903.8624
23 | 2729837.1794 | 1219893.1385
24 | 2729835.6279 | 1219909.0967
25 | 2729828.3574 | 1219920.4956
26 | 2729763.6632 | 1219793.6688
27 | 2729736.8246 | 1219793.5286
28 | 2729640.9208 | 1219802.2256
29 | 2729700.8206 | 1219811.819
30 | 2729683.4426 | 1219816.2847
31 | 2729667.044 | 1219815.338
32 | 2729682.0131 | 1219827.1957
33 | 2729624.98 | 1219821.7389
34 | 2729698.6359 | 1219813.7036
35 | 2729766.704 | 1219857.5311
36 | 2729728.3923 | 1219842.0441
37 | 2729737.9775 | 1219873.7017
38 | 2729756.2624 | 1219879.7855
39 | 2729705.4085 | 1219830.2216
40 | 2729767.4593 | 1219895.6548
41 | 2729771.7143 | 1219900.3415
42 | 2729782.8083 | 1219894.6007
43 | 2729757.6856 | 1219916.81
44 | 2729748.1923 | 1219926.3723
45 | 2729732.6237 | 1219877.7099
46 | 2729802.8002 | 1219920.813
47 | 2729726.6582 | 1219931.2081
48 | 2729672.9208 | 1219941.7569
49 | 2729662.8932 | 1219943.1181
50 | 2729800.9281 | 1219912.6768
51 | 2729821.3647 | 1219920.5841
52 | 2729652.0654 | 1219944.3606
53 | 2729577.9398 | 1219951.4201
54 | 2729666.1975 | 1219883.8957
55 | 2729678.2082 | 1219897.8698
56 | 2729654.7537 | 1219881.5796
57 | 2729678.5561 | 1219898.7671
58 | 2729637.9838 | 1219896.649
59 | 2729654.7115 | 1219879.5573
60 | 2729654.3079 | 1219860.2304
61 | 2729625.4879 | 1219870.5671
62 | 2729660.7296 | 1219865.2227
63 | 2729667.0016 | 1219844.7007
64 | 2729675.1233 | 1219835.6625
65 | 2729694.1356 | 1219818.8417
66 | 2729621.2569 | 1219860.2445
67 | 2729623.983 | 1219871.0846
68 | 2729700.4788 | 1219825.2451
69 | 2729616.0058 | 1219874.1081
70 | 2729564.003 | 1219960.1463
71 | 2729556.1297 | 1219953.506
72 | 2729610.2328 | 1219876.3719
73 | 2729602.5461 | 1219879.3862
74 | 2729551.7532 | 1219887.0183
75 | 2729273.2599 | 1219740.7864
76 | 2729293.2781 | 1219712.4424
77 | 2729827.8723 | 1220005.3944
78 | 2729797.2749 | 1219982.0421
79 | 2729717.5752 | 1220000.0206
80 | 2729789.1144 | 1219992.8586
81 | 2729788.9852 | 1219993.5597
82 | 2729548.5417 | 1219561.149
83 | 2729548.9947 | 1219560.967
84 | 2729557.3606 | 1219499.0966
85 | 2729665.5662 | 1219435.3772
86 | 2729732.197 | 1219878.0294

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98024 | -0.37971 | 0.0016534 | 0.00041437
1 | 0.98024 | -0.37974 | 0.0028361 | 0.00071079
2 | 0.98027 | -0.37913 | 0 | 0
3 | 0.98069 | -0.37093 | 0.0054544 | 0.001367
4 | 0.98015 | -0.38152 | 0.0010324 | 0.00025875
5 | 0.98095 | -0.36574 | 0.003419 | 0.00085688
6 | 0.98008 | -0.38282 | 0 | 0
7 | 0.99455 | -0.10361 | 0 | 0
8 | 0.99434 | -0.10766 | 0.0086105 | 0.002158
9 | 0.99495 | -0.095805 | 0 | 0
10 | 0.98098 | -0.36525 | 0 | 0
11 | 0.98003 | -0.38385 | 0.0062858 | 0.0015754
12 | 0.98003 | -0.38379 | 0 | 0
13 | 0.97999 | -0.38465 | 0.005064 | 0.0012692
14 | 0.9806 | -0.3732 | 0 | 0
15 | 0.98054 | -0.37438 | 0.0061754 | 0.0015477
16 | 0.98491 | -0.28941 | 0 | 0
17 | 0.97865 | -0.41145 | 0 | 0
18 | 0.9951 | -0.092911 | 0 | 0
19 | 0.99489 | -0.096939 | 0.0063266 | 0.0015856
20 | 0.99485 | -0.097804 | 0.0063819 | 0.0015995
21 | 0.98473 | -0.29282 | 0 | 0
22 | 0.98475 | -0.29245 | 0.0042311 | 0.0010604
23 | 0.98469 | -0.29364 | 0.0056878 | 0.0014255
24 | 0.9848 | -0.29149 | 0 | 0
25 | 0.98528 | -0.28217 | 0.0045017 | 0.0011282
26 | 0.98095 | -0.36576 | 0.0051719 | 0.0012962
27 | 0.98171 | -0.35089 | 0 | 0
28 | 0.98128 | -0.35929 | 0 | 0
29 | 0.98305 | -0.32479 | 0.0029737 | 0.00074527
30 | 0.98223 | -0.34066 | 0 | 0
31 | 0.98214 | -0.34245 | 0.0060408 | 0.001514
32 | 0.98229 | -0.33946 | 0 | 0
33 | 0.98117 | -0.36149 | 0.0047695 | 0.0011953
34 | 0.98315 | -0.32278 | 0.0029255 | 0.00073319
35 | 0.99557 | -0.083908 | 0 | 0
36 | 0.98848 | -0.21954 | 0.0048426 | 0.0012137
37 | 0.99925 | -0.014176 | 0.0035428 | 0.00088791
38 | 0.99361 | -0.12138 | 0.0024854 | 0.0006229
39 | 0.98522 | -0.2825 | 0.0044706 | 0.0011204
40 | 0.9921 | -0.15048 | 0.0036154 | 0.00090611
41 | 0.99163 | -0.15937 | 0 | 0
42 | 0.99158 | -0.1604 | 0.0046596 | 0.0011678
43 | 0.98995 | -0.19184 | 0.0036561 | 0.00091629
44 | 0.98888 | -0.21251 | 0 | 0
45 | 1 | 0 | -0.24844 | -0.063314
46 | 0.98633 | -0.26187 | 0 | 0
47 | 0.98846 | -0.22072 | 0.01191 | 0.0029849
48 | 0.98801 | -0.22945 | 0 | 0
49 | 0.98792 | -0.23106 | 0.0045033 | 0.0011286
50 | 0.98628 | -0.26274 | 0.0057952 | 0.0014524
51 | 0.98557 | -0.2766 | 0 | 0
52 | 0.98788 | -0.23193 | 0 | 0
53 | 0.98758 | -0.23781 | 0 | 0
54 | 0.97902 | -0.40338 | 0.0035217 | 0.00088262
55 | 0.97889 | -0.40608 | 0.0050012 | 0.0012534
56 | 0.97914 | -0.40107 | 0 | 0
57 | 0.97888 | -0.40612 | 0.0023582 | 0.00059101
58 | 0.97898 | -0.40422 | 0.0070106 | 0.001757
59 | 0.97918 | -0.40041 | 0.0049509 | 0.0012408
60 | 0.97958 | -0.39239 | 0 | 0
61 | 0.97856 | -0.4124 | 0 | 0
62 | 0.97954 | -0.39316 | 0.005216 | 0.0013073
63 | 0.98077 | -0.36915 | 0.0057698 | 0.001446
64 | 0.98155 | -0.3539 | 0.0036748 | 0.00092098
65 | 0.98342 | -0.31761 | 0 | 0
66 | 0.97849 | -0.4138 | 0.0068931 | 0.0017276
67 | 0.97852 | -0.41322 | 0.002431 | 0.00060926
68 | 0.98442 | -0.29803 | 0.0027641 | 0.00069275
69 | 0.97831 | -0.41729 | 0 | 0
70 | 0.98754 | -0.23856 | 0.0024715 | 0.00061942
71 | 0.98754 | -0.23858 | 0.0019519 | 0.00048919
72 | 0.97816 | -0.42024 | 0.0034062 | 0.00085368
73 | 0.97799 | -0.42367 | 0.0081037 | 0.002031
74 | 0.97729 | -0.43741 | 0.001693 | 0.0004243
75 | 0.97349 | -0.51206 | 0.0033615 | 0.00084248
76 | 0.97318 | -0.51819 | 0 | 0
77 | 0.97849 | -0.41456 | 0.0043221 | 0.0010832
78 | 0.97831 | -0.41827 | 0 | 0
79 | 0.9778 | -0.42821 | 0.0065206 | 0.0016342
80 | 0.97812 | -0.42184 | 0.0073656 | 0.001846
81 | 0.97812 | -0.42191 | 0.0055696 | 0.0013959
82 | 0.97053 | -0.57066 | 0.0044446 | 0.0011139
83 | 0.97052 | -0.5707 | 0.0042084 | 0.0010547
84 | 0.97042 | -0.57274 | 0 | 0
85 | 0.97031 | -0.57488 | 0.00091636 | 0.00022966
86 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0028361 | 0.00071079 | -0.0028361 | -0.00071079 | 4.5778e-09 | -5.3729e-09 | 0.0043052 | 0.0043052 | 0.0043052 | 0.98024 | -0.37971 | 0.98024 | -0.37974 | 1.1828
1 | -0.0044895 | -0.0011252 | 0.0044896 | 0.0011252 | 1.2497e-07 | -1.0473e-08 | 0.0068151 | 0.006815 | 0.0068151 | 0.98024 | -0.37971 | 0.98027 | -0.37913 | 1.8723
2 | -0.016875 | -0.0042297 | 0.016881 | 0.0042336 | 6.5916e-06 | 3.8808e-06 | 0.025615 | 0.025615 | 0.025615 | 0.98027 | -0.37913 | 0.98069 | -0.37093 | 7.0372
3 | 0.012385 | 0.0031045 | -0.012384 | -0.0031038 | 1.4108e-06 | 7.6873e-07 | 0.0188 | 0.0188 | 0.0188 | 0.98027 | -0.37913 | 0.98015 | -0.38152 | 5.1649
4 | -0.022336 | -0.0056006 | 0.022341 | 0.0056039 | 5.5269e-06 | 3.3753e-06 | 0.033891 | 0.033891 | 0.033891 | 0.98069 | -0.37093 | 0.98095 | -0.36574 | 9.3108
5 | 0.011351 | 0.002845 | -0.011351 | -0.0028446 | 7.0333e-07 | 3.7054e-07 | 0.017233 | 0.017233 | 0.017233 | 0.98015 | -0.38152 | 0.98008 | -0.38282 | 4.7343
6 | -0.02576 | -0.0064608 | 0.025761 | 0.0064612 | 6.0093e-07 | 3.7134e-07 | 0.039077 | 0.039077 | 0.039077 | 0.98095 | -0.36574 | 0.98098 | -0.36525 | 10.7356
7 | 0.0062861 | 0.0015754 | -0.0062858 | -0.0015754 | 3.0994e-07 | 8.4021e-08 | 0.0095439 | 0.0095439 | 0.0095439 | 0.98008 | -0.38282 | 0.98003 | -0.38385 | 2.622
8 | 0.0050644 | 0.0012692 | -0.0050642 | -0.0012692 | 2.3348e-07 | 1.6724e-08 | 0.0076891 | 0.0076891 | 0.0076891 | 0.98008 | -0.38282 | 0.98003 | -0.38379 | 2.1124
9 | 0.0086122 | 0.0021587 | -0.0086105 | -0.002158 | 1.6614e-06 | 7.1711e-07 | 0.012885 | 0.012886 | 0.012886 | 0.99455 | -0.10361 | 0.99434 | -0.10766 | 3.54
10 | -0.0086122 | -0.0021587 | 0.0086154 | 0.0021601 | 3.2051e-06 | 1.383e-06 | 0.012885 | 0.012885 | 0.012885 | 0.99455 | -0.10361 | 0.99495 | -0.095805 | 3.54
11 | -0.021325 | -0.0053454 | 0.021328 | 0.0053472 | 2.9413e-06 | 1.7822e-06 | 0.031893 | 0.031893 | 0.031893 | 0.99495 | -0.095805 | 0.9951 | -0.092911 | 8.7618
12 | 0.0063269 | 0.0015857 | -0.0063266 | -0.0015856 | 3.4167e-07 | 8.652e-08 | 0.0094624 | 0.0094624 | 0.0094624 | 0.99495 | -0.095805 | 0.99489 | -0.096939 | 2.5996
13 | 0.0063825 | 0.0015996 | -0.0063819 | -0.0015995 | 6.0759e-07 | 1.5794e-07 | 0.0095455 | 0.0095455 | 0.0095455 | 0.99495 | -0.095805 | 0.99485 | -0.097804 | 2.6224
14 | 0.005172 | 0.0012962 | -0.0051719 | -0.0012962 | 1.2528e-07 | 1.1654e-08 | 0.0078453 | 0.0078453 | 0.0078453 | 0.98098 | -0.36525 | 0.98095 | -0.36576 | 2.1553
15 | -0.030933 | -0.0077574 | 0.030954 | 0.0077706 | 2.1183e-05 | 1.3233e-05 | 0.046923 | 0.046923 | 0.046923 | 0.98098 | -0.36525 | 0.98171 | -0.35089 | 12.8909
16 | 0.0050642 | 0.0012692 | -0.005064 | -0.0012692 | 2.0844e-07 | 1.4942e-08 | 0.0076891 | 0.0076891 | 0.0076891 | 0.98003 | -0.38379 | 0.97999 | -0.38465 | 2.1124
17 | 0.0061758 | 0.0015478 | -0.0061754 | -0.0015477 | 3.4587e-07 | 8.8879e-08 | 0.0093714 | 0.0093714 | 0.0093714 | 0.9806 | -0.3732 | 0.98054 | -0.37438 | 2.5746
18 | -0.030009 | -0.0075397 | 0.03013 | 0.0076148 | 0.00012053 | 7.5173e-05 | 0.045544 | 0.045544 | 0.045544 | 0.9806 | -0.3732 | 0.98491 | -0.28941 | 12.5122
19 | 0.023834 | 0.0059919 | -0.02379 | -0.0059652 | 4.3442e-05 | 2.6688e-05 | 0.036173 | 0.036173 | 0.036173 | 0.9806 | -0.3732 | 0.97865 | -0.41145 | 9.9378
20 | 0.0099207 | 0.0024867 | -0.0099197 | -0.0024862 | 9.7911e-07 | 4.7874e-07 | 0.014989 | 0.014989 | 0.014989 | 0.98491 | -0.28941 | 0.9848 | -0.29149 | 4.1177
21 | -0.040051 | -0.010102 | 0.040065 | 0.01011 | 1.3888e-05 | 8.7596e-06 | 0.060532 | 0.060532 | 0.060532 | 0.98491 | -0.28941 | 0.98528 | -0.28217 | 16.6297
22 | 0.0043228 | 0.0010831 | -0.0043221 | -0.0010832 | 6.4153e-07 | -8.693e-08 | 0.0065726 | 0.0065728 | 0.0065728 | 0.97865 | -0.41145 | 0.97849 | -0.41456 | 1.8057
23 | 0.019467 | 0.004882 | -0.019461 | -0.0048782 | 6.3301e-06 | 3.8093e-06 | 0.029601 | 0.029601 | 0.029601 | 0.97865 | -0.41145 | 0.97831 | -0.41827 | 8.1321
24 | -0.1559 | -0.0398 | 0.15597 | 0.039843 | 6.7857e-05 | 4.3256e-05 | 0.23339 | 0.23339 | 0.23339 | 0.9951 | -0.092911 | 0.99557 | -0.083908 | 32.059
25 | 0.13458 | 0.034453 | -0.13376 | -0.033929 | 0.00081987 | 0.00052402 | 0.2015 | 0.2015 | 0.2015 | 0.9951 | -0.092911 | 0.98848 | -0.21954 | 55.3563
26 | -0.005688 | -0.0014255 | 0.0056881 | 0.0014256 | 9.9253e-08 | 1.7943e-08 | 0.0085951 | 0.0085951 | 0.0085951 | 0.98473 | -0.29282 | 0.98475 | -0.29245 | 2.3613
27 | 0.005688 | 0.0014255 | -0.0056878 | -0.0014255 | 2.2251e-07 | 4.0232e-08 | 0.0085951 | 0.0085952 | 0.0085952 | 0.98473 | -0.29282 | 0.98469 | -0.29364 | 2.3613
28 | -0.0099193 | -0.002486 | 0.0099197 | 0.0024862 | 4.5607e-07 | 2.2301e-07 | 0.014989 | 0.014989 | 0.014989 | 0.98475 | -0.29245 | 0.9848 | -0.29149 | 4.1177
29 | -0.044566 | -0.011239 | 0.044578 | 0.011246 | 1.1889e-05 | 7.5198e-06 | 0.067331 | 0.067331 | 0.067331 | 0.98528 | -0.28217 | 0.98557 | -0.2766 | 18.4975
30 | 0.0047719 | 0.0011953 | -0.00477 | -0.0011953 | 1.9083e-06 | -8.0555e-09 | 0.0072327 | 0.0072331 | 0.0072331 | 0.98171 | -0.35089 | 0.98128 | -0.35929 | 1.9871
31 | -0.035726 | -0.008966 | 0.03577 | 0.0089939 | 4.4531e-05 | 2.7987e-05 | 0.054155 | 0.054155 | 0.054155 | 0.98171 | -0.35089 | 0.98305 | -0.32479 | 14.8778
32 | 0.00477 | 0.0011953 | -0.0047695 | -0.0011953 | 4.9951e-07 | -1.9066e-09 | 0.0072331 | 0.0072332 | 0.0072332 | 0.98128 | -0.35929 | 0.98117 | -0.36149 | 1.9871
33 | -0.038744 | -0.0097392 | 0.038748 | 0.0097416 | 3.7227e-06 | 2.3459e-06 | 0.058656 | 0.058656 | 0.058656 | 0.98305 | -0.32479 | 0.98315 | -0.32278 | 16.1144
34 | 0.0060413 | 0.0015141 | -0.0060408 | -0.001514 | 5.1445e-07 | 1.2196e-07 | 0.0091521 | 0.0091522 | 0.0091522 | 0.98223 | -0.34066 | 0.98214 | -0.34245 | 2.5143
35 | -0.0060413 | -0.0015141 | 0.0060416 | 0.0015142 | 3.457e-07 | 8.1935e-08 | 0.0091521 | 0.0091521 | 0.0091521 | 0.98223 | -0.34066 | 0.98229 | -0.33946 | 2.5143
36 | -0.079318 | -0.019988 | 0.079401 | 0.020041 | 8.3005e-05 | 5.2929e-05 | 0.12019 | 0.12019 | 0.12019 | 0.98229 | -0.33946 | 0.98342 | -0.31761 | 33.0201
37 | 0.073277 | 0.018474 | -0.073226 | -0.018441 | 5.0601e-05 | 3.2246e-05 | 0.11104 | 0.11104 | 0.11104 | 0.98229 | -0.33946 | 0.98155 | -0.3539 | 30.5058
38 | -0.041673 | -0.010475 | 0.041683 | 0.010481 | 1.0288e-05 | 6.4968e-06 | 0.063084 | 0.063084 | 0.063084 | 0.98315 | -0.32278 | 0.98342 | -0.31761 | 17.3308
39 | -0.24226 | -0.061794 | 0.24308 | 0.062318 | 0.00081883 | 0.00052318 | 0.36247 | 0.36247 | 0.36247 | 0.99557 | -0.083908 | 0.99925 | -0.014176 | 49.79
40 | 0.086287 | 0.021951 | -0.086131 | -0.021852 | 0.0001555 | 9.9195e-05 | 0.12908 | 0.12908 | 0.12908 | 0.99557 | -0.083908 | 0.99361 | -0.12138 | 35.4622
41 | 0.12891 | 0.032715 | -0.12853 | -0.032467 | 0.0003891 | 0.00024867 | 0.19421 | 0.19421 | 0.19421 | 0.98848 | -0.21954 | 0.98522 | -0.2825 | 53.3536
42 | -0.24662 | -0.063206 | 0.24679 | 0.063314 | 0.00016959 | 0.00010836 | 0.36775 | 0.36775 | 0.36775 | 0.99925 | -0.014176 | 1 | 0 | 50.5147
43 | 0.083646 | 0.021229 | -0.083529 | -0.021154 | 0.00011691 | 7.4563e-05 | 0.12536 | 0.12536 | 0.12536 | 0.99361 | -0.12138 | 0.9921 | -0.15048 | 34.4396
44 | 0.12405 | 0.031346 | -0.12396 | -0.031287 | 9.2306e-05 | 5.8986e-05 | 0.18746 | 0.18746 | 0.18746 | 0.98522 | -0.2825 | 0.98442 | -0.29803 | 51.4987
45 | 0.079913 | 0.020248 | -0.079879 | -0.020226 | 3.4147e-05 | 2.1772e-05 | 0.11994 | 0.11994 | 0.11994 | 0.9921 | -0.15048 | 0.99163 | -0.15937 | 32.9499
46 | 0.0046598 | 0.0011678 | -0.0046596 | -0.0011678 | 2.2853e-07 | -1.4529e-08 | 0.0069923 | 0.0069924 | 0.0069924 | 0.99163 | -0.15937 | 0.99158 | -0.1604 | 1.921
47 | 0.075219 | 0.019059 | -0.075102 | -0.018984 | 0.00011712 | 7.4638e-05 | 0.11295 | 0.11295 | 0.11295 | 0.99163 | -0.15937 | 0.98995 | -0.19184 | 31.029
48 | 0.071446 | 0.018068 | -0.071375 | -0.018023 | 7.0784e-05 | 4.5092e-05 | 0.10745 | 0.10745 | 0.10745 | 0.98995 | -0.19184 | 0.98888 | -0.21251 | 29.5193
49 | 0.050525 | 0.012794 | -0.050405 | -0.012718 | 0.00011943 | 7.5734e-05 | 0.076074 | 0.076074 | 0.076074 | 0.98888 | -0.21251 | 0.98633 | -0.26187 | 20.8995
50 | 0.020851 | 0.0052285 | -0.020843 | -0.0052236 | 8.148e-06 | 4.9317e-06 | 0.031376 | 0.031377 | 0.031377 | 0.98888 | -0.21251 | 0.98846 | -0.22072 | 8.6199
51 | 0.0057955 | 0.0014525 | -0.0057952 | -0.0014524 | 2.3934e-07 | 4.6627e-08 | 0.0087433 | 0.0087434 | 0.0087434 | 0.98633 | -0.26187 | 0.98628 | -0.26274 | 2.402
52 | 0.04461 | 0.011266 | -0.044578 | -0.011246 | 3.1471e-05 | 1.9905e-05 | 0.067331 | 0.067331 | 0.067331 | 0.98633 | -0.26187 | 0.98557 | -0.2766 | 18.4975
53 | 0.0089327 | 0.0022387 | -0.008929 | -0.002237 | 3.7151e-06 | 1.6757e-06 | 0.013447 | 0.013447 | 0.013447 | 0.98846 | -0.22072 | 0.98801 | -0.22945 | 3.6944
54 | 0.008929 | 0.002237 | -0.0089283 | -0.0022367 | 6.8624e-07 | 3.0961e-07 | 0.013447 | 0.013447 | 0.013447 | 0.98801 | -0.22945 | 0.98792 | -0.23106 | 3.6944
55 | 0.004425 | 0.001108 | -0.0044248 | -0.0011081 | 1.8154e-07 | -2.3364e-08 | 0.0066646 | 0.0066646 | 0.0066646 | 0.98792 | -0.23106 | 0.98788 | -0.23193 | 1.8309
56 | 0.0044248 | 0.0011081 | -0.0044236 | -0.0011082 | 1.2403e-06 | -1.5924e-07 | 0.0066646 | 0.006665 | 0.006665 | 0.98788 | -0.23193 | 0.98758 | -0.23781 | 1.831
57 | 0.0024716 | 0.00061926 | -0.0024715 | -0.00061942 | 8.788e-08 | -1.5996e-07 | 0.003724 | 0.0037241 | 0.0037241 | 0.98758 | -0.23781 | 0.98754 | -0.23856 | 1.0231
58 | 0.001952 | 0.00048896 | -0.0019519 | -0.00048919 | 7.1068e-08 | -2.3485e-07 | 0.002941 | 0.0029411 | 0.0029411 | 0.98758 | -0.23781 | 0.98754 | -0.23858 | 0.808
59 | 0.0073603 | 0.0018448 | -0.0073594 | -0.0018444 | 9.4488e-07 | 3.5159e-07 | 0.011187 | 0.011187 | 0.011187 | 0.97902 | -0.40338 | 0.97889 | -0.40608 | 3.0734
60 | -0.010882 | -0.0027274 | 0.010883 | 0.002728 | 1.1977e-06 | 6.1972e-07 | 0.01654 | 0.01654 | 0.01654 | 0.97902 | -0.40338 | 0.97914 | -0.40107 | 4.5438
61 | 0.0023582 | 0.00059101 | -0.0023582 | -0.00059101 | 4.6373e-09 | -9.1299e-09 | 0.0035847 | 0.0035847 | 0.0035847 | 0.97889 | -0.40608 | 0.97888 | -0.40612 | 0.98481
62 | 0.0070116 | 0.0017574 | -0.0070106 | -0.001757 | 1.0531e-06 | 3.6295e-07 | 0.010656 | 0.010656 | 0.010656 | 0.97914 | -0.40107 | 0.97898 | -0.40422 | 2.9274
63 | -0.017895 | -0.0044854 | 0.017895 | 0.0044857 | 5.6099e-07 | 3.3359e-07 | 0.027195 | 0.027195 | 0.027195 | 0.97914 | -0.40107 | 0.97918 | -0.40041 | 7.4712
64 | -0.022846 | -0.0057265 | 0.022855 | 0.0057319 | 8.7381e-06 | 5.3491e-06 | 0.034719 | 0.034719 | 0.034719 | 0.97918 | -0.40041 | 0.97958 | -0.39239 | 9.5382
65 | 0.035589 | 0.0089578 | -0.035555 | -0.0089365 | 3.3997e-05 | 2.1368e-05 | 0.054074 | 0.054074 | 0.054074 | 0.97958 | -0.39239 | 0.97856 | -0.4124 | 14.8556
66 | 0.0052162 | 0.0013073 | -0.005216 | -0.0013073 | 1.915e-07 | 2.0166e-08 | 0.0079235 | 0.0079236 | 0.0079236 | 0.97958 | -0.39239 | 0.97954 | -0.39316 | 2.1768
67 | -0.06366 | -0.015997 | 0.063731 | 0.016042 | 7.0702e-05 | 4.4995e-05 | 0.096717 | 0.096717 | 0.096717 | 0.97958 | -0.39239 | 0.98077 | -0.36915 | 26.5705
68 | 0.0068936 | 0.0017277 | -0.0068931 | -0.0017276 | 4.5957e-07 | 1.5402e-07 | 0.010482 | 0.010483 | 0.010483 | 0.97856 | -0.4124 | 0.97849 | -0.4138 | 2.8798
69 | 0.028661 | 0.0072087 | -0.02866 | -0.007208 | 1.1341e-06 | 7.0583e-07 | 0.043592 | 0.043592 | 0.043592 | 0.97856 | -0.4124 | 0.97852 | -0.41322 | 11.9758
70 | -0.069501 | -0.017488 | 0.069551 | 0.01752 | 5.0689e-05 | 3.2287e-05 | 0.10547 | 0.10547 | 0.10547 | 0.98077 | -0.36915 | 0.98155 | -0.3539 | 28.9754
71 | -0.12108 | -0.030522 | 0.1212 | 0.030594 | 0.00011353 | 7.2547e-05 | 0.18328 | 0.18328 | 0.18328 | 0.98342 | -0.31761 | 0.98442 | -0.29803 | 50.3509
72 | 0.026229 | 0.0065988 | -0.026224 | -0.0065956 | 5.0928e-06 | 3.1522e-06 | 0.039895 | 0.039895 | 0.039895 | 0.97852 | -0.41322 | 0.97831 | -0.41729 | 10.9603
73 | 0.026224 | 0.0065956 | -0.02622 | -0.0065933 | 3.7011e-06 | 2.2909e-06 | 0.039895 | 0.039895 | 0.039895 | 0.97831 | -0.41729 | 0.97816 | -0.42024 | 10.9603
74 | 0.022814 | 0.0057397 | -0.02281 | -0.0057374 | 3.7311e-06 | 2.2843e-06 | 0.034714 | 0.034714 | 0.034714 | 0.97816 | -0.42024 | 0.97799 | -0.42367 | 9.5367
75 | 0.014707 | 0.0037064 | -0.014697 | -0.0037009 | 9.6612e-06 | 5.5384e-06 | 0.022384 | 0.022384 | 0.022384 | 0.97799 | -0.42367 | 0.97729 | -0.43741 | 6.1495
76 | 0.013004 | 0.0032766 | -0.012958 | -0.0032509 | 4.6277e-05 | 2.5691e-05 | 0.019806 | 0.019808 | 0.019808 | 0.97729 | -0.43741 | 0.97349 | -0.51206 | 5.4417
77 | 0.0095964 | 0.0024084 | -0.0095936 | -0.002407 | 2.8041e-06 | 1.3627e-06 | 0.01467 | 0.01467 | 0.01467 | 0.97349 | -0.51206 | 0.97318 | -0.51819 | 4.0302
78 | 0.0095936 | 0.002407 | -0.0095696 | -0.0023954 | 2.3949e-05 | 1.165e-05 | 0.01467 | 0.014671 | 0.014671 | 0.97318 | -0.51819 | 0.97053 | -0.57066 | 4.0305
79 | 0.0065237 | 0.0016352 | -0.0065206 | -0.0016342 | 3.0898e-06 | 9.2731e-07 | 0.0099227 | 0.0099231 | 0.0099231 | 0.97831 | -0.41827 | 0.9778 | -0.42821 | 2.7261
80 | 0.012937 | 0.0032431 | -0.012935 | -0.0032419 | 2.2003e-06 | 1.218e-06 | 0.019678 | 0.019678 | 0.019678 | 0.97831 | -0.41827 | 0.97812 | -0.42184 | 5.4061
81 | 0.0055696 | 0.0013959 | -0.0055696 | -0.0013959 | 1.9192e-08 | 3.3354e-09 | 0.0084731 | 0.0084731 | 0.0084731 | 0.97812 | -0.42184 | 0.97812 | -0.42191 | 2.3278
82 | 0.0042084 | 0.0010547 | -0.0042084 | -0.0010547 | 7.622e-09 | -1.1545e-09 | 0.0064524 | 0.0064524 | 0.0064524 | 0.97053 | -0.57066 | 0.97052 | -0.5707 | 1.7726
83 | 0.00091655 | 0.00022671 | -0.00091646 | -0.00022817 | 9.0293e-08 | -1.4505e-06 | 0.0014042 | 0.0014047 | 0.0014047 | 0.97053 | -0.57066 | 0.97042 | -0.57274 | 0.38591
84 | 0.00091646 | 0.00022817 | -0.00091636 | -0.00022966 | 9.3296e-08 | -1.4972e-06 | 0.0014047 | 0.0014053 | 0.0014053 | 0.97042 | -0.57274 | 0.97031 | -0.57488 | 0.38607

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.25457 | 0.064852

## res_load
| p_mw | q_mvar
0 | 0.0016534 | 0.00041437
1 | 0.0028361 | 0.00071079
2 | 0.0054544 | 0.001367
3 | 0.0010324 | 0.00025875
4 | 0.003419 | 0.00085688
5 | 0.0086105 | 0.002158
6 | 0.0062858 | 0.0015754
7 | 0.005064 | 0.0012692
8 | 0.0061754 | 0.0015477
9 | 0.0063266 | 0.0015856
10 | 0.0063819 | 0.0015995
11 | 0.0042311 | 0.0010604
12 | 0.0056878 | 0.0014255
13 | 0.0045017 | 0.0011282
14 | 0.0051719 | 0.0012962
15 | 0.0029737 | 0.00074527
16 | 0.0060408 | 0.001514
17 | 0.0047695 | 0.0011953
18 | 0.0029255 | 0.00073319
19 | 0.0048426 | 0.0012137
20 | 0.0035428 | 0.00088791
21 | 0.0024854 | 0.0006229
22 | 0.0044706 | 0.0011204
23 | 0.0036154 | 0.00090611
24 | 0.0046596 | 0.0011678
25 | 0.0036561 | 0.00091629
26 | 0.0061347 | 0.0015375
27 | 0.01191 | 0.0029849
28 | 0.0045033 | 0.0011286
29 | 0.0057952 | 0.0014524
30 | 0.0035217 | 0.00088262
31 | 0.0050012 | 0.0012534
32 | 0.0023582 | 0.00059101
33 | 0.0070106 | 0.001757
34 | 0.0049509 | 0.0012408
35 | 0.005216 | 0.0013073
36 | 0.0057698 | 0.001446
37 | 0.0036748 | 0.00092098
38 | 0.0068931 | 0.0017276
39 | 0.002431 | 0.00060926
40 | 0.0027641 | 0.00069275
41 | 0.0024715 | 0.00061942
42 | 0.0019519 | 0.00048919
43 | 0.0034062 | 0.00085368
44 | 0.0081037 | 0.002031
45 | 0.001693 | 0.0004243
46 | 0.0033615 | 0.00084248
47 | 0.0043221 | 0.0010832
48 | 0.0065206 | 0.0016342
49 | 0.0073656 | 0.001846
50 | 0.0055696 | 0.0013959
51 | 0.0044446 | 0.0011139
52 | 0.0042084 | 0.0010547
53 | 0.00091636 | 0.00022966

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1