## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1630-51_0_1_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1630-51_0_1_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1630-51_0_1_node_8 | 0.4 | n |  | TRUE
3 | bus_LV_1630-51_0_1_node_2 | 0.4 | n |  | TRUE
4 | bus_LV_1630-51_0_1_node_7 | 0.4 | n |  | TRUE
5 | bus_LV_1630-51_0_1_node_32 | 0.4 | n |  | TRUE
6 | bus_LV_1630-51_0_1_node_37 | 0.4 | n |  | TRUE
7 | bus_LV_1630-51_0_1_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_1630-51_0_1_node_30 | 0.4 | n |  | TRUE
9 | bus_LV_1630-51_0_1_node_4 | 0.4 | n |  | TRUE
10 | bus_LV_1630-51_0_1_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_1630-51_0_1_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_1630-51_0_1_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_1630-51_0_1_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_1630-51_0_1_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_1630-51_0_1_node_13 | 0.4 | n |  | TRUE
16 | bus_LV_1630-51_0_1_node_14 | 0.4 | n |  | TRUE
17 | bus_LV_1630-51_0_1_node_22 | 0.4 | n |  | TRUE
18 | bus_LV_1630-51_0_1_node_40 | 0.4 | n |  | TRUE
19 | bus_LV_1630-51_0_1_node_20 | 0.4 | n |  | TRUE
20 | bus_LV_1630-51_0_1_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_1630-51_0_1_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_1630-51_0_1_node_17 | 0.4 | n |  | TRUE
23 | bus_LV_1630-51_0_1_node_18 | 0.4 | n |  | TRUE
24 | bus_LV_1630-51_0_1_node_19 | 0.4 | n |  | TRUE
25 | bus_LV_1630-51_0_1_node_41 | 0.4 | n |  | TRUE
26 | bus_LV_1630-51_0_1_node_43 | 0.4 | n |  | TRUE
27 | bus_LV_1630-51_0_1_node_21 | 0.4 | n |  | TRUE
28 | bus_LV_1630-51_0_1_node_23 | 0.4 | n |  | TRUE
29 | bus_LV_1630-51_0_1_node_24 | 0.4 | n |  | TRUE
30 | bus_LV_1630-51_0_1_node_25 | 0.4 | n |  | TRUE
31 | bus_LV_1630-51_0_1_node_26 | 0.4 | n |  | TRUE
32 | bus_LV_1630-51_0_1_node_42 | 0.4 | n |  | TRUE
33 | bus_LV_1630-51_0_1_node_28 | 0.4 | n |  | TRUE
34 | bus_LV_1630-51_0_1_node_29 | 0.4 | n |  | TRUE
35 | bus_LV_1630-51_0_1_node_27 | 0.4 | n |  | TRUE
36 | bus_LV_1630-51_0_1_node_31 | 0.4 | n |  | TRUE
37 | bus_LV_1630-51_0_1_node_36 | 0.4 | n |  | TRUE
38 | bus_LV_1630-51_0_1_node_38 | 0.4 | n |  | TRUE
39 | bus_LV_1630-51_0_1_node_33 | 0.4 | n |  | TRUE
40 | bus_LV_1630-51_0_1_node_34 | 0.4 | n |  | TRUE
41 | bus_LV_1630-51_0_1_node_35 | 0.4 | n |  | TRUE
42 | bus_LV_1630-51_0_1_node_44 | 0.4 | n |  | TRUE
43 | bus_MV_0_node_31 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1630-51_0_1_load_0 | 0 | 0.0020798 | 0.00052125 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1630-51_0_1_load_8 | 2 | 0.002556 | 0.00064061 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1630-51_0_1_load_2 | 3 | 0.0021237 | 0.00053224 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1630-51_0_1_load_7 | 4 | 0.0026746 | 0.00067033 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1630-51_0_1_load_32 | 5 | 0.001275 | 0.00031954 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1630-51_0_1_load_37 | 6 | 0.0010879 | 0.00027266 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1630-51_0_1_load_4 | 9 | 0.00091739 | 0.00022992 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1630-51_0_1_load_6 | 10 | 0.0010695 | 0.00026805 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1630-51_0_1_load_10 | 12 | 9.6038e-05 | 2.4069e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1630-51_0_1_load_11 | 13 | 0.0001879 | 4.7092e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1630-51_0_1_load_22 | 17 | 0.0011086 | 0.00027783 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1630-51_0_1_load_20 | 19 | 0.0018149 | 0.00045487 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1630-51_0_1_load_16 | 20 | 6.6922e-05 | 1.6772e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1630-51_0_1_load_15 | 21 | 0.0002038 | 5.1077e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1630-51_0_1_load_17 | 22 | 0.00017515 | 4.3898e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1630-51_0_1_load_41 | 25 | 0.00020883 | 5.2337e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1630-51_0_1_load_43 | 26 | 0.00049135 | 0.00012314 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1630-51_0_1_load_23 | 28 | 0.00077202 | 0.00019349 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1630-51_0_1_load_24 | 29 | 0.0009165 | 0.0002297 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1630-51_0_1_load_42 | 32 | 0.0016727 | 0.00041921 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1630-51_0_1_load_29 | 34 | 0.00093926 | 0.0002354 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1630-51_0_1_load_27 | 35 | 0.0029699 | 0.00074432 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1630-51_0_1_load_31 | 36 | 0.0027311 | 0.00068447 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1630-51_0_1_load_36 | 37 | 0.0019633 | 0.00049205 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1630-51_0_1_load_33 | 39 | 0.00011751 | 2.9451e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1630-51_0_1_load_35 | 41 | 0.0025001 | 0.00062658 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1630-51_0_1_load_44 | 42 | 0.00094218 | 0.00023613 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 36 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1630-51_0_1_line_0 |  | 0 | 1 | 0.00081797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1630-51_0_1_line_1 |  | 0 | 2 | 0.20926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1630-51_0_1_line_2 |  | 1 | 3 | 0.012656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1630-51_0_1_line_3 |  | 2 | 4 | 0.0014135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1630-51_0_1_line_4 |  | 4 | 11 | 0.022778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1630-51_0_1_line_5 |  | 5 | 6 | 0.26174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1630-51_0_1_line_6 |  | 5 | 7 | 0.37147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1630-51_0_1_line_7 |  | 5 | 8 | 0.023086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1630-51_0_1_line_8 |  | 6 | 37 | 0.028028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1630-51_0_1_line_9 |  | 7 | 10 | 0.11309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1630-51_0_1_line_10 |  | 8 | 36 | 0.023811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1630-51_0_1_line_11 |  | 8 | 35 | 0.23768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1630-51_0_1_line_12 |  | 9 | 10 | 0.19105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1630-51_0_1_line_13 |  | 9 | 11 | 0.20811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1630-51_0_1_line_14 |  | 12 | 13 | 0.022938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1630-51_0_1_line_15 |  | 12 | 14 | 0.024007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1630-51_0_1_line_16 |  | 13 | 15 | 0.018376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1630-51_0_1_line_17 |  | 14 | 16 | 0.062314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1630-51_0_1_line_18 |  | 15 | 20 | 0.010612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1630-51_0_1_line_19 |  | 16 | 21 | 0.23062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1630-51_0_1_line_20 |  | 17 | 18 | 0.1358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1630-51_0_1_line_21 |  | 17 | 19 | 0.056731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1630-51_0_1_line_22 |  | 18 | 26 | 0.024035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1630-51_0_1_line_23 |  | 18 | 24 | 0.045311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1630-51_0_1_line_24 |  | 19 | 27 | 0.02103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1630-51_0_1_line_25 |  | 20 | 22 | 0.11623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1630-51_0_1_line_26 |  | 22 | 23 | 0.018478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1630-51_0_1_line_27 |  | 23 | 24 | 0.027819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1630-51_0_1_line_28 |  | 24 | 25 | 0.017071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1630-51_0_1_line_29 |  | 27 | 28 | 0.045729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1630-51_0_1_line_30 |  | 27 | 29 | 0.0068835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1630-51_0_1_line_31 |  | 29 | 30 | 0.0093646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1630-51_0_1_line_32 |  | 30 | 31 | 0.059537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1630-51_0_1_line_33 |  | 31 | 32 | 0.014191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1630-51_0_1_line_34 |  | 31 | 33 | 0.1249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1630-51_0_1_line_35 |  | 33 | 34 | 0.015013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1630-51_0_1_line_36 |  | 33 | 35 | 0.016338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1630-51_0_1_line_37 |  | 34 | 38 | 0.35702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1630-51_0_1_line_38 |  | 38 | 41 | 0.045605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1630-51_0_1_line_39 |  | 39 | 40 | 0.15356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1630-51_0_1_line_40 |  | 40 | 41 | 0.023695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1630-51_0_1_line_41 |  | 41 | 42 | 0.19859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1630-51_0_1_trafo_31 | 0.63 MVA 20/0.4 kV | 43 | 36 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12
0 | 2727007.1369 | 1219685.0328 | 2727007.2432 | 1219684.2218
1 | 2727007.1369 | 1219685.0328 | 2727187.09 | 1219791.8301
2 | 2727007.2432 | 1219684.2218 | 2727000.5323 | 1219683.5337 | 2726998.1214 | 1219682.3258 | 2726997.5137 | 1219679.1437
3 | 2727188.5026 | 1219791.88 | 2727187.09 | 1219791.8301
4 | 2727211.0955 | 1219790.2003 | 2727199.2781 | 1219792.2607 | 2727188.5026 | 1219791.88
5 | 2726619.2286 | 1219570.4129 | 2726663.0874 | 1219312.3764
6 | 2726619.2286 | 1219570.4129 | 2726990.691 | 1219571.9683
7 | 2726596.2254 | 1219568.5257 | 2726613.3714 | 1219569.7021 | 2726619.2286 | 1219570.4129
8 | 2726663.0874 | 1219312.3764 | 2726647.8229 | 1219302.2995 | 2726639.1621 | 1219297.8495
9 | 2726990.691 | 1219571.9683 | 2726986.5823 | 1219555.69 | 2726972.8919 | 1219538.4178 | 2726964.5606 | 1219531.4791 | 2726964.0321 | 1219529.9222 | 2726964.2334 | 1219527.2466 | 2726965.198 | 1219525.0876 | 2726967.3391 | 1219523.9991 | 2726985.8349 | 1219524.5381 | 2727004.8247 | 1219522.1966 | 2727021.0451 | 1219526.9129
10 | 2726596.2254 | 1219568.5257 | 2726596.752 | 1219571.606 | 2726596.9017 | 1219573.4884 | 2726594.0472 | 1219592.0648
11 | 2726366.8358 | 1219506.3004 | 2726596.2254 | 1219568.5257
12 | 2727021.0451 | 1219526.9129 | 2727203.9129 | 1219582.2102
13 | 2727203.9129 | 1219582.2102 | 2727211.0955 | 1219790.2003
14 | 2725768.4849 | 1219229.7154 | 2725785.28 | 1219230.1468 | 2725791.3718 | 1219230.8916
15 | 2725744.4968 | 1219228.7959 | 2725758.4436 | 1219229.4575 | 2725768.4849 | 1219229.7154
16 | 2725809.2115 | 1219235.0226 | 2725805.0162 | 1219233.455 | 2725796.0548 | 1219231.4642 | 2725791.3718 | 1219230.8916
17 | 2725683.0096 | 1219218.557 | 2725684.6898 | 1219219.1596 | 2725691.5584 | 1219221.3952 | 2725700.0385 | 1219223.1755 | 2725728.3845 | 1219227.1546 | 2725744.4968 | 1219228.7959
18 | 2725809.2115 | 1219235.0226 | 2725812.2482 | 1219236.4545 | 2725818.7168 | 1219239.7383
19 | 2725683.0096 | 1219218.557 | 2725460.4183 | 1219158.2465
20 | 2726115.9846 | 1219409.7917 | 2725998.8485 | 1219341.0809
21 | 2726115.9846 | 1219409.7917 | 2726129.7291 | 1219415.3204 | 2726149.7143 | 1219421.1704 | 2726158.4866 | 1219424.5477 | 2726164.7542 | 1219426.8267 | 2726169.7329 | 1219427.4941
22 | 2726007.725 | 1219318.7398 | 2725998.8485 | 1219341.0809
23 | 2725998.8485 | 1219341.0809 | 2725984.6404 | 1219335.9208 | 2725978.041 | 1219332.4563 | 2725959.7467 | 1219318.7808
24 | 2726188.7188 | 1219419.7063 | 2726181.539 | 1219424.6471 | 2726177.6975 | 1219426.456 | 2726170.6661 | 1219427.6192 | 2726169.7329 | 1219427.4941
25 | 2725818.7168 | 1219239.7383 | 2725863.0816 | 1219262.2598 | 2725869.8548 | 1219266.1281 | 2725902.6904 | 1219290.052 | 2725908.2378 | 1219293.3719 | 2725913.9261 | 1219295.7718 | 2725918.9923 | 1219297.6778
26 | 2725936.287 | 1219304.1844 | 2725918.9923 | 1219297.6778
27 | 2725936.287 | 1219304.1844 | 2725947.8429 | 1219309.4773 | 2725959.7467 | 1219318.7808
28 | 2725948.3633 | 1219331.528 | 2725959.7467 | 1219318.7808
29 | 2726188.7188 | 1219419.7063 | 2726190.2284 | 1219425.4874 | 2726195.1288 | 1219435.3212 | 2726196.8682 | 1219439.9283 | 2726198.228 | 1219446.6847 | 2726198.0719 | 1219451.185 | 2726197.5833 | 1219455.6115 | 2726199.3155 | 1219463.4211
30 | 2726188.7188 | 1219419.7063 | 2726191.5564 | 1219413.435
31 | 2726195.4168 | 1219404.9031 | 2726191.5564 | 1219413.435
32 | 2726195.4168 | 1219404.9031 | 2726208.8348 | 1219416.5188 | 2726218.6758 | 1219423.9109 | 2726224.8117 | 1219427.3882 | 2726240.3898 | 1219433.79 | 2726245.2373 | 1219436.8062
33 | 2726245.2373 | 1219436.8062 | 2726237.4549 | 1219448.6841
34 | 2726350.762 | 1219503.3739 | 2726345.6501 | 1219502.0867 | 2726338.6479 | 1219498.6577 | 2726332.3049 | 1219494.9314 | 2726277.2897 | 1219459.9594 | 2726267.0072 | 1219452.9915 | 2726253.1232 | 1219442.6001 | 2726245.2373 | 1219436.8062
35 | 2726350.762 | 1219503.3739 | 2726350.003 | 1219508.0171 | 2726349.716 | 1219518.3192
36 | 2726350.762 | 1219503.3739 | 2726366.8358 | 1219506.3004
37 | 2726349.716 | 1219518.3192 | 2726283.2834 | 1219869.1005
38 | 2726283.2834 | 1219869.1005 | 2726293.0806 | 1219878.5157 | 2726294.9853 | 1219881.4028 | 2726296.5534 | 1219886.9182 | 2726300.3341 | 1219909.4274
39 | 2726276.6876 | 1219910.9384 | 2726268.6808 | 1219912.6701 | 2726262.6167 | 1219912.9862 | 2726256.4672 | 1219911.9662 | 2726247.5847 | 1219907.7412 | 2726189.2715 | 1219895.6628 | 2726178.472 | 1219897.0017 | 2726172.1592 | 1219898.3135 | 2726168.3101 | 1219900.1335 | 2726166.8034 | 1219902.4589 | 2726167.0805 | 1219905.1447 | 2726181.7269 | 1219923.5696 | 2726188.329 | 1219934.8564
40 | 2726276.6876 | 1219910.9384 | 2726300.3341 | 1219909.4274
41 | 2726300.3341 | 1219909.4274 | 2726455.7988 | 1220033.0016

## bus_geodata
| x | y | coords
0 | 2727007.1369 | 1219685.0328
1 | 2727007.2432 | 1219684.2218
2 | 2727187.09 | 1219791.8301
3 | 2726997.5137 | 1219679.1437
4 | 2727188.5026 | 1219791.88
5 | 2726619.2286 | 1219570.4129
6 | 2726663.0874 | 1219312.3764
7 | 2726990.691 | 1219571.9683
8 | 2726596.2254 | 1219568.5257
9 | 2727203.9129 | 1219582.2102
10 | 2727021.0451 | 1219526.9129
11 | 2727211.0955 | 1219790.2003
12 | 2725768.4849 | 1219229.7154
13 | 2725791.3718 | 1219230.8916
14 | 2725744.4968 | 1219228.7959
15 | 2725809.2115 | 1219235.0226
16 | 2725683.0096 | 1219218.557
17 | 2726115.9846 | 1219409.7917
18 | 2725998.8485 | 1219341.0809
19 | 2726169.7329 | 1219427.4941
20 | 2725818.7168 | 1219239.7383
21 | 2725460.4183 | 1219158.2465
22 | 2725918.9923 | 1219297.6778
23 | 2725936.287 | 1219304.1844
24 | 2725959.7467 | 1219318.7808
25 | 2725948.3633 | 1219331.528
26 | 2726007.725 | 1219318.7398
27 | 2726188.7188 | 1219419.7063
28 | 2726199.3155 | 1219463.4211
29 | 2726191.5564 | 1219413.435
30 | 2726195.4168 | 1219404.9031
31 | 2726245.2373 | 1219436.8062
32 | 2726237.4549 | 1219448.6841
33 | 2726350.762 | 1219503.3739
34 | 2726349.716 | 1219518.3192
35 | 2726366.8358 | 1219506.3004
36 | 2726594.0472 | 1219592.0648
37 | 2726639.1621 | 1219297.8495
38 | 2726283.2834 | 1219869.1005
39 | 2726188.329 | 1219934.8564
40 | 2726276.6876 | 1219910.9384
41 | 2726300.3341 | 1219909.4274
42 | 2726455.7988 | 1220033.0016
43 | 2726594.0472 | 1219592.0648

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98931 | -0.2062 | 0.0020798 | 0.00052125
1 | 0.98931 | -0.20623 | 0 | 0
2 | 0.99011 | -0.19054 | 0.002556 | 0.00064061
3 | 0.98928 | -0.20671 | 0.0021237 | 0.00053224
4 | 0.99012 | -0.19037 | 0.0026746 | 0.00067033
5 | 0.999 | -0.019261 | 0.001275 | 0.00031954
6 | 0.99827 | -0.033243 | 0.0010879 | 0.00027266
7 | 0.99511 | -0.093848 | 0 | 0
8 | 0.99933 | -0.012895 | 0 | 0
9 | 0.99212 | -0.15167 | 0.00091739 | 0.00022992
10 | 0.99393 | -0.11666 | 0.0010695 | 0.00026805
11 | 0.99032 | -0.18654 | 0 | 0
12 | 0.99403 | -0.1155 | 9.6038e-05 | 2.4069e-05
13 | 0.99404 | -0.11537 | 0.0001879 | 4.7092e-05
14 | 0.99403 | -0.11559 | 0 | 0
15 | 0.99405 | -0.11521 | 0 | 0
16 | 0.99402 | -0.11582 | 0 | 0
17 | 0.99436 | -0.1091 | 0.0011086 | 0.00027783
18 | 0.99418 | -0.11258 | 0 | 0
19 | 0.99449 | -0.10653 | 0.0018149 | 0.00045487
20 | 0.99405 | -0.11512 | 6.6922e-05 | 1.6772e-05
21 | 0.99397 | -0.11667 | 0.0002038 | 5.1077e-05
22 | 0.99411 | -0.11395 | 0.00017515 | 4.3898e-05
23 | 0.99412 | -0.11371 | 0 | 0
24 | 0.99414 | -0.11334 | 0 | 0
25 | 0.99414 | -0.11341 | 0.00020883 | 5.2337e-05
26 | 0.99417 | -0.11279 | 0.00049135 | 0.00012314
27 | 0.99457 | -0.10491 | 0 | 0
28 | 0.99454 | -0.10553 | 0.00077202 | 0.00019349
29 | 0.9946 | -0.10429 | 0.0009165 | 0.0002297
30 | 0.99465 | -0.10328 | 0 | 0
31 | 0.99498 | -0.096917 | 0 | 0
32 | 0.99496 | -0.097335 | 0.0016727 | 0.00041921
33 | 0.99586 | -0.079892 | 0 | 0
34 | 0.9958 | -0.081086 | 0.00093926 | 0.0002354
35 | 0.99604 | -0.076368 | 0.0029699 | 0.00074432
36 | 1 | 0 | -0.032761 | -0.0078204
37 | 0.99822 | -0.034206 | 0.0019633 | 0.00049205
38 | 0.99464 | -0.10358 | 0 | 0
39 | 0.99447 | -0.10682 | 0.00011751 | 2.9451e-05
40 | 0.99449 | -0.1065 | 0 | 0
41 | 0.99449 | -0.10645 | 0.0025001 | 0.00062658
42 | 0.99432 | -0.10976 | 0.00094218 | 0.00023613
43 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0021237 | 0.0005321 | -0.0021237 | -0.00053211 | 3.1297e-09 | -8.4999e-09 | 0.0031942 | 0.0031942 | 0.0031942 | 0.98931 | -0.2062 | 0.98931 | -0.20623 | 0.87753
1 | -0.0042035 | -0.0010533 | 0.0042067 | 0.0010527 | 3.1363e-06 | -6.8188e-07 | 0.0063225 | 0.0063215 | 0.0063225 | 0.98931 | -0.2062 | 0.99011 | -0.19054 | 1.7369
2 | 0.0021237 | 0.00053211 | -0.0021237 | -0.00053224 | 4.8425e-08 | -1.3151e-07 | 0.0031942 | 0.0031943 | 0.0031943 | 0.98931 | -0.20623 | 0.98928 | -0.20671 | 0.87755
3 | -0.0067627 | -0.0016933 | 0.0067628 | 0.0016933 | 5.4747e-08 | 1.6859e-08 | 0.010163 | 0.010163 | 0.010163 | 0.99011 | -0.19054 | 0.99012 | -0.19037 | 2.792
4 | -0.0094374 | -0.0023636 | 0.0094391 | 0.0023644 | 1.7181e-06 | 8.0657e-07 | 0.014183 | 0.014182 | 0.014183 | 0.99012 | -0.19037 | 0.99032 | -0.18654 | 3.8963
5 | 0.0030534 | 0.00076228 | -0.0030513 | -0.0007644 | 2.0298e-06 | -2.1253e-06 | 0.004547 | 0.0045482 | 0.0045482 | 0.999 | -0.019261 | 0.99827 | -0.033243 | 1.2495
6 | 0.011513 | 0.0029063 | -0.011472 | -0.0028849 | 4.1001e-05 | 2.1396e-05 | 0.017155 | 0.017157 | 0.017157 | 0.999 | -0.019261 | 0.99511 | -0.093848 | 4.7135
7 | -0.015841 | -0.0039881 | 0.015846 | 0.0039909 | 4.8224e-06 | 2.784e-06 | 0.023601 | 0.023601 | 0.023601 | 0.999 | -0.019261 | 0.99933 | -0.012895 | 6.4839
8 | 0.0019634 | 0.00049175 | -0.0019633 | -0.00049205 | 9.0021e-08 | -3.088e-07 | 0.0029265 | 0.0029267 | 0.0029267 | 0.99827 | -0.033243 | 0.99822 | -0.034206 | 0.80403
9 | 0.011472 | 0.0028849 | -0.011459 | -0.0028784 | 1.2484e-05 | 6.5225e-06 | 0.017157 | 0.017158 | 0.017158 | 0.99511 | -0.093848 | 0.99393 | -0.11666 | 4.7137
10 | -0.031091 | -0.0078083 | 0.031111 | 0.0078202 | 1.9142e-05 | 1.1939e-05 | 0.046301 | 0.046301 | 0.046301 | 0.99933 | -0.012895 | 1 | 0 | 12.7202
11 | 0.015246 | 0.0038174 | -0.0152 | -0.0037911 | 4.593e-05 | 2.6291e-05 | 0.0227 | 0.022701 | 0.022701 | 0.99933 | -0.012895 | 0.99604 | -0.076368 | 6.2366
12 | -0.010372 | -0.0026017 | 0.01039 | 0.0026103 | 1.7339e-05 | 8.6253e-06 | 0.015557 | 0.015557 | 0.015557 | 0.99212 | -0.15167 | 0.99393 | -0.11666 | 4.274
13 | 0.0094548 | 0.0023718 | -0.0094391 | -0.0023644 | 1.5697e-05 | 7.3632e-06 | 0.014181 | 0.014182 | 0.014182 | 0.99212 | -0.15167 | 0.99032 | -0.18654 | 3.8963
14 | -0.00029985 | -7.1045e-05 | 0.00029985 | 7.0749e-05 | 1.7217e-09 | -2.9625e-07 | 0.00044745 | 0.00044735 | 0.00044745 | 0.99403 | -0.1155 | 0.99404 | -0.11537 | 0.12292
15 | 0.00020381 | 4.6976e-05 | -0.00020381 | -4.7286e-05 | 8.3063e-10 | -3.1068e-07 | 0.0003037 | 0.0003038 | 0.0003038 | 0.99403 | -0.1155 | 0.99403 | -0.11559 | 0.083462
16 | -0.00048775 | -0.00011784 | 0.00048775 | 0.00011761 | 3.6579e-09 | -2.3588e-07 | 0.00072861 | 0.00072852 | 0.00072861 | 0.99404 | -0.11537 | 0.99405 | -0.11521 | 0.20017
17 | 0.00020381 | 4.7286e-05 | -0.00020381 | -4.8093e-05 | 2.1586e-09 | -8.0639e-07 | 0.0003038 | 0.00030407 | 0.00030407 | 0.99403 | -0.11559 | 0.99402 | -0.11582 | 0.083535
18 | -0.00048775 | -0.00011761 | 0.00048776 | 0.00011747 | 2.1119e-09 | -1.3622e-07 | 0.00072852 | 0.00072848 | 0.00072852 | 0.99405 | -0.11521 | 0.99405 | -0.11512 | 0.20014
19 | 0.00020381 | 4.8093e-05 | -0.0002038 | -5.1077e-05 | 8.0225e-09 | -2.9842e-06 | 0.00030407 | 0.00030509 | 0.00030509 | 0.99402 | -0.11582 | 0.99397 | -0.11667 | 0.083817
20 | 0.0014303 | 0.00034884 | -0.0014301 | -0.00035045 | 2.3265e-07 | -1.6124e-06 | 0.0021371 | 0.0021377 | 0.0021377 | 0.99436 | -0.1091 | 0.99418 | -0.11258 | 0.58728
21 | -0.0025389 | -0.00062667 | 0.0025392 | 0.00062613 | 3.0653e-07 | -5.3981e-07 | 0.003796 | 0.0037957 | 0.003796 | 0.99436 | -0.1091 | 0.99449 | -0.10653 | 1.0429
22 | 0.00049135 | 0.00012283 | -0.00049135 | -0.00012314 | 4.874e-09 | -3.0854e-07 | 0.00073531 | 0.00073542 | 0.00073542 | 0.99418 | -0.11258 | 0.99417 | -0.11279 | 0.20204
23 | 0.00093875 | 0.00022761 | -0.00093871 | -0.00022818 | 3.3422e-08 | -5.6614e-07 | 0.0014024 | 0.0014026 | 0.0014026 | 0.99418 | -0.11258 | 0.99414 | -0.11334 | 0.38533
24 | -0.0043541 | -0.001081 | 0.0043545 | 0.0010809 | 3.3436e-07 | -5.8902e-08 | 0.0065113 | 0.0065113 | 0.0065113 | 0.99449 | -0.10653 | 0.99457 | -0.10491 | 1.7888
25 | -0.00055468 | -0.00013424 | 0.00055471 | 0.00013275 | 2.9911e-08 | -1.4877e-06 | 0.00082865 | 0.00082814 | 0.00082865 | 0.99405 | -0.11512 | 0.99411 | -0.11395 | 0.22765
26 | -0.00072986 | -0.00017665 | 0.00072987 | 0.00017642 | 8.2367e-09 | -2.3431e-07 | 0.0010903 | 0.0010902 | 0.0010903 | 0.99411 | -0.11395 | 0.99412 | -0.11371 | 0.29953
27 | -0.00072987 | -0.00017642 | 0.00072988 | 0.00017606 | 1.2398e-08 | -3.5275e-07 | 0.0010902 | 0.0010901 | 0.0010902 | 0.99412 | -0.11371 | 0.99414 | -0.11334 | 0.29951
28 | 0.00020883 | 5.2116e-05 | -0.00020883 | -5.2337e-05 | 6.2529e-10 | -2.2094e-07 | 0.00031249 | 0.00031257 | 0.00031257 | 0.99414 | -0.11334 | 0.99414 | -0.11341 | 0.085872
29 | 0.00077204 | 0.00019291 | -0.00077202 | -0.00019349 | 2.2876e-08 | -5.7878e-07 | 0.0011549 | 0.0011551 | 0.0011551 | 0.99457 | -0.10491 | 0.99454 | -0.10553 | 0.31733
30 | -0.0051265 | -0.0012738 | 0.0051267 | 0.0012739 | 1.517e-07 | 7.7576e-09 | 0.0076661 | 0.0076661 | 0.0076661 | 0.99457 | -0.10491 | 0.9946 | -0.10429 | 2.1061
31 | -0.0060432 | -0.0015036 | 0.0060435 | 0.0015036 | 2.8681e-07 | 6.2017e-08 | 0.0090373 | 0.0090372 | 0.0090373 | 0.9946 | -0.10429 | 0.99465 | -0.10328 | 2.4828
32 | -0.0060435 | -0.0015036 | 0.0060453 | 0.001504 | 1.8234e-06 | 3.9395e-07 | 0.0090372 | 0.009037 | 0.0090372 | 0.99465 | -0.10328 | 0.99498 | -0.096917 | 2.4828
33 | 0.0016727 | 0.00041905 | -0.0016727 | -0.00041921 | 3.3301e-08 | -1.63e-07 | 0.0025015 | 0.0025016 | 0.0025016 | 0.99498 | -0.096917 | 0.99496 | -0.097335 | 0.68725
34 | -0.007718 | -0.0019231 | 0.0077242 | 0.0019254 | 6.2356e-06 | 2.3671e-06 | 0.011538 | 0.011538 | 0.011538 | 0.99498 | -0.096917 | 0.99586 | -0.079892 | 3.1699
35 | 0.0045037 | 0.0011203 | -0.0045035 | -0.0011203 | 2.5473e-07 | -3.2292e-08 | 0.0067265 | 0.0067266 | 0.0067266 | 0.99586 | -0.079892 | 0.9958 | -0.081086 | 1.848
36 | -0.012228 | -0.0030457 | 0.01223 | 0.0030468 | 2.0438e-06 | 1.0954e-06 | 0.018264 | 0.018264 | 0.018264 | 0.99586 | -0.079892 | 0.99604 | -0.076368 | 5.0177
37 | 0.0035642 | 0.00088489 | -0.0035604 | -0.0008871 | 3.7947e-06 | -2.2106e-06 | 0.005323 | 0.0053247 | 0.0053247 | 0.9958 | -0.081086 | 0.99464 | -0.10358 | 1.4628
38 | 0.0035604 | 0.0008871 | -0.0035599 | -0.00088739 | 4.8489e-07 | -2.8149e-07 | 0.0053247 | 0.0053249 | 0.0053249 | 0.99464 | -0.10358 | 0.99449 | -0.10645 | 1.4629
39 | -0.00011751 | -2.9451e-05 | 0.00011751 | 2.746e-05 | 1.7733e-09 | -1.9912e-06 | 0.00017583 | 0.00017515 | 0.00017583 | 0.99447 | -0.10682 | 0.99449 | -0.1065 | 0.048305
40 | -0.00011751 | -2.746e-05 | 0.00011751 | 2.7153e-05 | 2.7243e-10 | -3.0727e-07 | 0.00017515 | 0.00017505 | 0.00017515 | 0.99449 | -0.1065 | 0.99449 | -0.10645 | 0.048118
41 | 0.00094232 | 0.00023365 | -0.00094218 | -0.00023613 | 1.4796e-07 | -2.4817e-06 | 0.0014091 | 0.00141 | 0.00141 | 0.99449 | -0.10645 | 0.99432 | -0.10976 | 0.38736

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -6.4999e-16 | 2.4266e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 7.2519e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.035492 | 0.0085048

## res_load
| p_mw | q_mvar
0 | 0.0020798 | 0.00052125
1 | 0.002556 | 0.00064061
2 | 0.0021237 | 0.00053224
3 | 0.0026746 | 0.00067033
4 | 0.001275 | 0.00031954
5 | 0.0010879 | 0.00027266
6 | 0.00091739 | 0.00022992
7 | 0.0010695 | 0.00026805
8 | 9.6038e-05 | 2.4069e-05
9 | 0.0001879 | 4.7092e-05
10 | 0.0011086 | 0.00027783
11 | 0.0018149 | 0.00045487
12 | 6.6922e-05 | 1.6772e-05
13 | 0.0002038 | 5.1077e-05
14 | 0.00017515 | 4.3898e-05
15 | 0.00020883 | 5.2337e-05
16 | 0.00049135 | 0.00012314
17 | 0.00077202 | 0.00019349
18 | 0.0009165 | 0.0002297
19 | 0.0016727 | 0.00041921
20 | 0.00093926 | 0.0002354
21 | 0.0029699 | 0.00074432
22 | 0.0027311 | 0.00068447
23 | 0.0019633 | 0.00049205
24 | 0.00011751 | 2.9451e-05
25 | 0.0025001 | 0.00062658
26 | 0.00094218 | 0.00023613

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1