## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1630-56_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1630-56_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1630-56_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1630-56_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1630-56_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1630-56_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1630-56_0_4_node_20 | 0.4 | n |  | TRUE
7 | bus_LV_1630-56_0_4_node_13 | 0.4 | n |  | TRUE
8 | bus_LV_1630-56_0_4_node_21 | 0.4 | n |  | TRUE
9 | bus_LV_1630-56_0_4_node_16 | 0.4 | n |  | TRUE
10 | bus_LV_1630-56_0_4_node_36 | 0.4 | n |  | TRUE
11 | bus_LV_1630-56_0_4_node_22 | 0.4 | n |  | TRUE
12 | bus_LV_1630-56_0_4_node_12 | 0.4 | n |  | TRUE
13 | bus_LV_1630-56_0_4_node_67 | 0.4 | n |  | TRUE
14 | bus_LV_1630-56_0_4_node_19 | 0.4 | n |  | TRUE
15 | bus_LV_1630-56_0_4_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_1630-56_0_4_node_37 | 0.4 | n |  | TRUE
17 | bus_LV_1630-56_0_4_node_38 | 0.4 | n |  | TRUE
18 | bus_LV_1630-56_0_4_node_6 | 0.4 | n |  | TRUE
19 | bus_LV_1630-56_0_4_node_7 | 0.4 | n |  | TRUE
20 | bus_LV_1630-56_0_4_node_8 | 0.4 | n |  | TRUE
21 | bus_LV_1630-56_0_4_node_10 | 0.4 | n |  | TRUE
22 | bus_LV_1630-56_0_4_node_11 | 0.4 | n |  | TRUE
23 | bus_LV_1630-56_0_4_node_25 | 0.4 | n |  | TRUE
24 | bus_LV_1630-56_0_4_node_26 | 0.4 | n |  | TRUE
25 | bus_LV_1630-56_0_4_node_14 | 0.4 | n |  | TRUE
26 | bus_LV_1630-56_0_4_node_15 | 0.4 | n |  | TRUE
27 | bus_LV_1630-56_0_4_node_17 | 0.4 | n |  | TRUE
28 | bus_LV_1630-56_0_4_node_18 | 0.4 | n |  | TRUE
29 | bus_LV_1630-56_0_4_node_23 | 0.4 | n |  | TRUE
30 | bus_LV_1630-56_0_4_node_24 | 0.4 | n |  | TRUE
31 | bus_LV_1630-56_0_4_node_27 | 0.4 | n |  | TRUE
32 | bus_LV_1630-56_0_4_node_28 | 0.4 | n |  | TRUE
33 | bus_LV_1630-56_0_4_node_29 | 0.4 | n |  | TRUE
34 | bus_LV_1630-56_0_4_node_30 | 0.4 | n |  | TRUE
35 | bus_LV_1630-56_0_4_node_31 | 0.4 | n |  | TRUE
36 | bus_LV_1630-56_0_4_node_32 | 0.4 | n |  | TRUE
37 | bus_LV_1630-56_0_4_node_33 | 0.4 | n |  | TRUE
38 | bus_LV_1630-56_0_4_node_64 | 0.4 | n |  | TRUE
39 | bus_LV_1630-56_0_4_node_34 | 0.4 | n |  | TRUE
40 | bus_LV_1630-56_0_4_node_63 | 0.4 | n |  | TRUE
41 | bus_LV_1630-56_0_4_node_48 | 0.4 | n |  | TRUE
42 | bus_LV_1630-56_0_4_node_45 | 0.4 | n |  | TRUE
43 | bus_LV_1630-56_0_4_node_52 | 0.4 | n |  | TRUE
44 | bus_LV_1630-56_0_4_node_35 | 0.4 | n |  | TRUE
45 | bus_LV_1630-56_0_4_node_50 | 0.4 | n |  | TRUE
46 | bus_LV_1630-56_0_4_node_49 | 0.4 | n |  | TRUE
47 | bus_LV_1630-56_0_4_node_42 | 0.4 | n |  | TRUE
48 | bus_LV_1630-56_0_4_node_46 | 0.4 | n |  | TRUE
49 | bus_LV_1630-56_0_4_node_53 | 0.4 | n |  | TRUE
50 | bus_LV_1630-56_0_4_node_47 | 0.4 | n |  | TRUE
51 | bus_LV_1630-56_0_4_node_41 | 0.4 | n |  | TRUE
52 | bus_LV_1630-56_0_4_node_43 | 0.4 | n |  | TRUE
53 | bus_LV_1630-56_0_4_node_40 | 0.4 | n |  | TRUE
54 | bus_LV_1630-56_0_4_node_44 | 0.4 | n |  | TRUE
55 | bus_LV_1630-56_0_4_node_62 | 0.4 | n |  | TRUE
56 | bus_LV_1630-56_0_4_node_58 | 0.4 | n |  | TRUE
57 | bus_LV_1630-56_0_4_node_39 | 0.4 | n |  | TRUE
58 | bus_LV_1630-56_0_4_node_51 | 0.4 | n |  | TRUE
59 | bus_LV_1630-56_0_4_node_54 | 0.4 | n |  | TRUE
60 | bus_LV_1630-56_0_4_node_68 | 0.4 | n |  | TRUE
61 | bus_LV_1630-56_0_4_node_66 | 0.4 | n |  | TRUE
62 | bus_LV_1630-56_0_4_node_69 | 0.4 | n |  | TRUE
63 | bus_LV_1630-56_0_4_node_65 | 0.4 | n |  | TRUE
64 | bus_LV_1630-56_0_4_node_55 | 0.4 | n |  | TRUE
65 | bus_LV_1630-56_0_4_node_56 | 0.4 | n |  | TRUE
66 | bus_LV_1630-56_0_4_node_57 | 0.4 | n |  | TRUE
67 | bus_LV_1630-56_0_4_node_59 | 0.4 | n |  | TRUE
68 | bus_LV_1630-56_0_4_node_61 | 0.4 | n |  | TRUE
69 | bus_LV_1630-56_0_4_node_60 | 0.4 | n |  | TRUE
70 | bus_MV_152_0_node_130 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1630-56_0_4_load_0 | 0 | 0.0050565 | 0.0012673 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1630-56_0_4_load_1 | 1 | 0.004667 | 0.0011697 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1630-56_0_4_load_5 | 5 | 0.0079833 | 0.0020008 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1630-56_0_4_load_20 | 6 | 0.020398 | 0.0051121 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1630-56_0_4_load_13 | 7 | 0.0043483 | 0.0010898 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1630-56_0_4_load_16 | 9 | 0.0048454 | 0.0012144 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1630-56_0_4_load_22 | 11 | 0.0070328 | 0.0017626 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1630-56_0_4_load_12 | 12 | 0.0032465 | 0.00081366 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1630-56_0_4_load_67 | 13 | 0.01332 | 0.0033383 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1630-56_0_4_load_19 | 14 | 0.012086 | 0.003029 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1630-56_0_4_load_9 | 15 | 0.0032985 | 0.00082668 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1630-56_0_4_load_37 | 16 | 0.0045388 | 0.0011375 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1630-56_0_4_load_38 | 17 | 0.0027654 | 0.00069308 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1630-56_0_4_load_6 | 18 | 0.0091571 | 0.002295 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1630-56_0_4_load_7 | 19 | 0.0063058 | 0.0015804 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1630-56_0_4_load_11 | 22 | 0.011889 | 0.0029797 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1630-56_0_4_load_25 | 23 | 0.0040393 | 0.0010123 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1630-56_0_4_load_26 | 24 | 0.0066034 | 0.001655 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1630-56_0_4_load_15 | 26 | 0.0024035 | 0.00060237 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1630-56_0_4_load_17 | 27 | 0.0052173 | 0.0013076 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1630-56_0_4_load_24 | 30 | 0.0051523 | 0.0012913 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1630-56_0_4_load_27 | 31 | 0.0050318 | 0.0012611 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1630-56_0_4_load_28 | 32 | 0.0054895 | 0.0013758 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1630-56_0_4_load_29 | 33 | 0.0026765 | 0.00067079 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1630-56_0_4_load_31 | 35 | 0.020758 | 0.0052024 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1630-56_0_4_load_64 | 38 | 0.0054568 | 0.0013676 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1630-56_0_4_load_63 | 40 | 0.018454 | 0.0046249 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1630-56_0_4_load_48 | 41 | 0.009698 | 0.0024305 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1630-56_0_4_load_45 | 42 | 0.0090436 | 0.0022665 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1630-56_0_4_load_52 | 43 | 0.017515 | 0.0043896 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1630-56_0_4_load_50 | 45 | 0.0049302 | 0.0012356 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1630-56_0_4_load_49 | 46 | 0.0038431 | 0.00096317 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1630-56_0_4_load_42 | 47 | 0.0046719 | 0.0011709 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1630-56_0_4_load_43 | 52 | 0.0098929 | 0.0024794 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1630-56_0_4_load_44 | 54 | 0.0089686 | 0.0022477 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1630-56_0_4_load_62 | 55 | 0.0038472 | 0.00096419 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1630-56_0_4_load_39 | 57 | 0.0048112 | 0.0012058 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1630-56_0_4_load_51 | 58 | 0.0040309 | 0.0010102 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1630-56_0_4_load_66 | 61 | 0.0064134 | 0.0016073 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1630-56_0_4_load_69 | 62 | 0.011647 | 0.002919 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1630-56_0_4_load_65 | 63 | 0.008493 | 0.0021286 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1630-56_0_4_load_55 | 64 | 0.0054638 | 0.0013694 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1630-56_0_4_load_56 | 65 | 0.0030964 | 0.00077603 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1630-56_0_4_load_57 | 66 | 0.0033922 | 0.00085016 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1630-56_0_4_load_61 | 68 | 0.0072165 | 0.0018086 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1630-56_0_4_load_60 | 69 | 0.005498 | 0.0013779 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 56 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1630-56_0_4_line_0 |  | 0 | 1 | 0.014795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1630-56_0_4_line_1 |  | 0 | 2 | 0.014496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1630-56_0_4_line_2 |  | 1 | 3 | 0.013289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1630-56_0_4_line_3 |  | 2 | 4 | 0.016881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1630-56_0_4_line_4 |  | 2 | 5 | 0.0087282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1630-56_0_4_line_5 |  | 3 | 6 | 0.0097619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1630-56_0_4_line_6 |  | 3 | 7 | 0.0024876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1630-56_0_4_line_7 |  | 4 | 8 | 0.059483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1630-56_0_4_line_8 |  | 4 | 9 | 0.006275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1630-56_0_4_line_9 |  | 5 | 10 | 0.009515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
10 | LV_1630-56_0_4_line_10 |  | 6 | 11 | 0.0090092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1630-56_0_4_line_11 |  | 7 | 12 | 0.015168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1630-56_0_4_line_12 |  | 8 | 13 | 0.079264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1630-56_0_4_line_13 |  | 8 | 14 | 0.0048214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1630-56_0_4_line_14 |  | 9 | 15 | 0.010194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1630-56_0_4_line_15 |  | 10 | 16 | 0.0031001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_1630-56_0_4_line_16 |  | 10 | 17 | 0.013882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1630-56_0_4_line_17 |  | 11 | 29 | 0.011955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1630-56_0_4_line_18 |  | 12 | 25 | 0.020675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1630-56_0_4_line_19 |  | 14 | 28 | 0.018992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1630-56_0_4_line_20 |  | 15 | 19 | 0.015217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1630-56_0_4_line_21 |  | 16 | 55 | 0.0048821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
22 | LV_1630-56_0_4_line_22 |  | 18 | 19 | 0.007432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1630-56_0_4_line_23 |  | 18 | 20 | 0.0049885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1630-56_0_4_line_24 |  | 20 | 21 | 0.025572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1630-56_0_4_line_25 |  | 20 | 22 | 0.013527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1630-56_0_4_line_26 |  | 21 | 23 | 0.0071571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1630-56_0_4_line_27 |  | 23 | 24 | 0.0046094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1630-56_0_4_line_28 |  | 24 | 31 | 0.0032596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1630-56_0_4_line_29 |  | 25 | 26 | 0.0086076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1630-56_0_4_line_30 |  | 27 | 28 | 0.028495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1630-56_0_4_line_31 |  | 29 | 30 | 0.036891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1630-56_0_4_line_32 |  | 32 | 33 | 0.0049599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1630-56_0_4_line_33 |  | 32 | 34 | 0.014328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1630-56_0_4_line_34 |  | 33 | 35 | 0.0084078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1630-56_0_4_line_35 |  | 34 | 36 | 0.012441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
36 | LV_1630-56_0_4_line_36 |  | 34 | 37 | 0.068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
37 | LV_1630-56_0_4_line_37 |  | 35 | 38 | 0.015316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1630-56_0_4_line_38 |  | 36 | 39 | 0.072493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
39 | LV_1630-56_0_4_line_39 |  | 36 | 40 | 0.017791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1630-56_0_4_line_40 |  | 37 | 41 | 0.012375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1630-56_0_4_line_41 |  | 37 | 42 | 0.040737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
42 | LV_1630-56_0_4_line_42 |  | 39 | 43 | 0.023119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
43 | LV_1630-56_0_4_line_43 |  | 42 | 48 | 0.054241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1630-56_0_4_line_44 |  | 43 | 49 | 0.038275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
45 | LV_1630-56_0_4_line_45 |  | 44 | 45 | 0.016485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1630-56_0_4_line_46 |  | 44 | 46 | 0.018031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1630-56_0_4_line_47 |  | 44 | 47 | 0.035212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1630-56_0_4_line_48 |  | 46 | 50 | 0.021431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1630-56_0_4_line_49 |  | 47 | 52 | 0.023802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1630-56_0_4_line_50 |  | 47 | 54 | 0.010296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1630-56_0_4_line_51 |  | 48 | 50 | 0.068043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1630-56_0_4_line_52 |  | 49 | 59 | 0.060803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
53 | LV_1630-56_0_4_line_53 |  | 50 | 58 | 0.017872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1630-56_0_4_line_54 |  | 51 | 52 | 0.036188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1630-56_0_4_line_55 |  | 51 | 53 | 0.064563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1630-56_0_4_line_56 |  | 53 | 57 | 0.019449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1630-56_0_4_line_57 |  | 55 | 56 | 0.0041907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
58 | LV_1630-56_0_4_line_58 |  | 56 | 65 | 0.0076003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
59 | LV_1630-56_0_4_line_59 |  | 59 | 60 | 0.023698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_1630-56_0_4_line_60 |  | 59 | 61 | 0.018818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
61 | LV_1630-56_0_4_line_61 |  | 60 | 62 | 0.004982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_1630-56_0_4_line_62 |  | 61 | 63 | 0.010977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
63 | LV_1630-56_0_4_line_63 |  | 63 | 68 | 0.0010639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
64 | LV_1630-56_0_4_line_64 |  | 64 | 65 | 0.01515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
65 | LV_1630-56_0_4_line_65 |  | 64 | 66 | 0.022982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
66 | LV_1630-56_0_4_line_66 |  | 66 | 67 | 0.0013961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
67 | LV_1630-56_0_4_line_67 |  | 67 | 68 | 0.016219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
68 | LV_1630-56_0_4_line_68 |  | 67 | 69 | 0.0079217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1630-56_0_4_trafo_58 | 0.63 MVA 20/0.4 kV | 70 | 56 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13
0 | 2724169.361 | 1217674.1342 | 2724163.0882 | 1217687.534
1 | 2724170.0219 | 1217660.0867 | 2724171.0158 | 1217663.7658 | 2724171.1771 | 1217668.0503 | 2724170.4773 | 1217671.7498 | 2724169.361 | 1217674.1342
2 | 2724158.9356 | 1217700.1426 | 2724162.363 | 1217689.0832 | 2724163.0882 | 1217687.534
3 | 2724159.3886 | 1217647.0994 | 2724165.6108 | 1217653.5007 | 2724167.6216 | 1217655.7555 | 2724170.0219 | 1217660.0867
4 | 2724170.0219 | 1217660.0867 | 2724173.6164 | 1217658.1267 | 2724176.3285 | 1217655.8815 | 2724177.0589 | 1217655.0415
5 | 2724158.9356 | 1217700.1426 | 2724149.6592 | 1217697.1025
6 | 2724158.9356 | 1217700.1426 | 2724158.3041 | 1217702.5487
7 | 2724159.3886 | 1217647.0994 | 2724136.7797 | 1217615.9374 | 2724124.9934 | 1217598.5115
8 | 2724159.3886 | 1217647.0994 | 2724156.1801 | 1217648.0222 | 2724153.247 | 1217648.1614
9 | 2724182.612 | 1217647.3279 | 2724178.3513 | 1217653.5551 | 2724177.0589 | 1217655.0415
10 | 2724145.5921 | 1217705.1415 | 2724149.6592 | 1217697.1025 | 2724149.6592 | 1217697.1025
11 | 2724154.4537 | 1217717.2194 | 2724158.3041 | 1217702.5487
12 | 2724124.9934 | 1217598.5115 | 2724134.3923 | 1217596.0498 | 2724139.2949 | 1217595.8184 | 2724150.7194 | 1217597.4466 | 2724155.0195 | 1217596.9803 | 2724158.2785 | 1217595.0911 | 2724160.9957 | 1217591.1446 | 2724168.2454 | 1217574.1268 | 2724169.9525 | 1217572.7391 | 2724173.8839 | 1217571.7424 | 2724176.7249 | 1217572.4244 | 2724180.6267 | 1217575.03 | 2724182.4872 | 1217578.3046 | 2724183.5563 | 1217582.3856
13 | 2724124.9934 | 1217598.5115 | 2724122.2931 | 1217594.5173
14 | 2724143.5531 | 1217645.2166 | 2724152.2732 | 1217648.2076 | 2724153.247 | 1217648.1614
15 | 2724182.612 | 1217647.3279 | 2724184.3118 | 1217644.7353
16 | 2724182.612 | 1217647.3279 | 2724171.0192 | 1217639.6918
17 | 2724140.1952 | 1217715.8089 | 2724145.5921 | 1217705.1415
18 | 2724150.8505 | 1217737.5702 | 2724153.9287 | 1217719.2199 | 2724154.4537 | 1217717.2194
19 | 2724112.7751 | 1217578.13 | 2724115.5679 | 1217584.0372 | 2724118.0396 | 1217588.2253 | 2724122.2931 | 1217594.5173
20 | 2724129.1593 | 1217640.2796 | 2724143.5531 | 1217645.2166
21 | 2724184.3118 | 1217644.7353 | 2724186.9886 | 1217640.6526
22 | 2724129.1593 | 1217640.2796 | 2724122.1293 | 1217637.8683
23 | 2724117.4107 | 1217636.2498 | 2724122.1293 | 1217637.8683
24 | 2724093.1559 | 1217627.9382 | 2724117.4107 | 1217636.2498
25 | 2724117.4107 | 1217636.2498 | 2724121.8802 | 1217623.4822
26 | 2724093.1559 | 1217627.9382 | 2724086.5311 | 1217630.6468
27 | 2724086.5311 | 1217630.6468 | 2724086.5311 | 1217630.6468 | 2724082.1675 | 1217629.162
28 | 2724079.0817 | 1217628.112 | 2724082.1675 | 1217629.162
29 | 2724150.8505 | 1217737.5702 | 2724142.4989 | 1217735.4864
30 | 2724112.7751 | 1217578.13 | 2724088.8165 | 1217589.4844 | 2724087.0066 | 1217590.2929
31 | 2724107.9653 | 1217698.146 | 2724119.6083 | 1217706.773 | 2724140.1952 | 1217715.8089
32 | 2724246.1625 | 1217701.4839 | 2724246.1625 | 1217701.4839 | 2724241.4717 | 1217703.0954
33 | 2724245.2499 | 1217688.0877 | 2724243.1881 | 1217692.6483 | 2724246.1625 | 1217701.4839
34 | 2724233.5201 | 1217705.8271 | 2724241.4717 | 1217703.0954
35 | 2724240.933 | 1217678.4457 | 2724240.1064 | 1217682.3982 | 2724240.3713 | 1217684.2607 | 2724241.3069 | 1217686.0038 | 2724242.8433 | 1217687.3369 | 2724245.2499 | 1217688.0877
36 | 2724245.2499 | 1217688.0877 | 2724247.8557 | 1217687.6639 | 2724251.5951 | 1217684.9508 | 2724272.785 | 1217666.178 | 2724274.0383 | 1217665.0699 | 2724296.624 | 1217644.1913
37 | 2724219.0346 | 1217710.8034 | 2724233.5201 | 1217705.8271
38 | 2724263.8122 | 1217609.6577 | 2724261.2462 | 1217616.5429 | 2724258.2531 | 1217625.6988 | 2724240.933 | 1217678.4457
39 | 2724240.933 | 1217678.4457 | 2724224.2227 | 1217684.5521
40 | 2724296.624 | 1217644.1913 | 2724284.5918 | 1217641.2999
41 | 2724296.624 | 1217644.1913 | 2724325.8978 | 1217615.8621
42 | 2724263.8122 | 1217609.6577 | 2724265.9962 | 1217603.6096 | 2724267.433 | 1217600.982 | 2724272.2418 | 1217595.4223 | 2724276.8096 | 1217591.0214
43 | 2724362.6873 | 1217576.5276 | 2724356.4583 | 1217580.2784 | 2724351.8135 | 1217585.252 | 2724336.4965 | 1217604.9367 | 2724327.0272 | 1217614.7691 | 2724325.8978 | 1217615.8621
44 | 2724307.4728 | 1217568.2692 | 2724301.7273 | 1217573.231 | 2724280.5336 | 1217587.4334 | 2724276.8096 | 1217591.0214
45 | 2724313.5159 | 1217671.9987 | 2724300.2091 | 1217677.9703 | 2724298.9558 | 1217679.4453
46 | 2724313.5159 | 1217671.9987 | 2724317.396 | 1217661.8161 | 2724320.2627 | 1217655.283
47 | 2724313.5159 | 1217671.9987 | 2724333.866 | 1217700.7347
48 | 2724329.809 | 1217636.0994 | 2724321.3027 | 1217652.9129 | 2724320.2627 | 1217655.283
49 | 2724333.866 | 1217700.7347 | 2724344.2142 | 1217687.3512 | 2724347.4822 | 1217683.939 | 2724349.5528 | 1217683.3261
50 | 2724329.3371 | 1217709.9808 | 2724333.866 | 1217700.7347
51 | 2724329.809 | 1217636.0994 | 2724331.1217 | 1217633.6026 | 2724344.2293 | 1217609.902 | 2724362.6873 | 1217576.5276
52 | 2724256.9952 | 1217573.1759 | 2724260.0364 | 1217568.6246 | 2724263.3662 | 1217562.2557 | 2724272.7138 | 1217562.6176 | 2724279.2586 | 1217561.9313 | 2724295.1076 | 1217558.2256 | 2724307.4728 | 1217568.2692
53 | 2724329.809 | 1217636.0994 | 2724323.2249 | 1217636.4957 | 2724313.7703 | 1217642.7144
54 | 2724347.3912 | 1217716.6627 | 2724347.8304 | 1217705.085 | 2724352.9048 | 1217688.6224 | 2724353.2407 | 1217686.7169 | 2724352.6978 | 1217685.082 | 2724351.5002 | 1217683.8894 | 2724349.5528 | 1217683.3261
55 | 2724347.3912 | 1217716.6627 | 2724306.2429 | 1217766.4989
56 | 2724306.2429 | 1217766.4989 | 2724303.048 | 1217764.2304 | 2724302.7266 | 1217761.7996 | 2724303.8669 | 1217759.555 | 2724310.6418 | 1217751.4532
57 | 2724189.2863 | 1217637.1479 | 2724186.9886 | 1217640.6526
58 | 2724189.2863 | 1217637.1479 | 2724193.4526 | 1217630.7914
59 | 2724256.9952 | 1217573.1759 | 2724236.1691 | 1217561.755
60 | 2724256.9952 | 1217573.1759 | 2724244.7124 | 1217587.4325
61 | 2724236.1691 | 1217561.755 | 2724231.7922 | 1217559.3507
62 | 2724237.009 | 1217595.2448 | 2724243.509 | 1217588.8292 | 2724244.7124 | 1217587.4325
63 | 2724237.009 | 1217595.2448 | 2724236.2518 | 1217595.9922
64 | 2724203.3876 | 1217619.4954 | 2724196.8861 | 1217625.5528 | 2724193.4526 | 1217630.7914
65 | 2724203.3876 | 1217619.4954 | 2724204.7075 | 1217618.2656 | 2724209.7783 | 1217614.7019 | 2724222.6428 | 1217607.026
66 | 2724223.8418 | 1217606.3107 | 2724222.6428 | 1217607.026
67 | 2724223.8418 | 1217606.3107 | 2724229.6077 | 1217602.5501 | 2724236.2518 | 1217595.9922
68 | 2724223.8418 | 1217606.3107 | 2724219.0839 | 1217599.977

## bus_geodata
| x | y | coords
0 | 2724169.361 | 1217674.1342
1 | 2724163.0882 | 1217687.534
2 | 2724170.0219 | 1217660.0867
3 | 2724158.9356 | 1217700.1426
4 | 2724159.3886 | 1217647.0994
5 | 2724177.0589 | 1217655.0415
6 | 2724149.6592 | 1217697.1025
7 | 2724158.3041 | 1217702.5487
8 | 2724124.9934 | 1217598.5115
9 | 2724153.247 | 1217648.1614
10 | 2724182.612 | 1217647.3279
11 | 2724145.5921 | 1217705.1415
12 | 2724154.4537 | 1217717.2194
13 | 2724183.5563 | 1217582.3856
14 | 2724122.2931 | 1217594.5173
15 | 2724143.5531 | 1217645.2166
16 | 2724184.3118 | 1217644.7353
17 | 2724171.0192 | 1217639.6918
18 | 2724122.1293 | 1217637.8683
19 | 2724129.1593 | 1217640.2796
20 | 2724117.4107 | 1217636.2498
21 | 2724093.1559 | 1217627.9382
22 | 2724121.8802 | 1217623.4822
23 | 2724086.5311 | 1217630.6468
24 | 2724082.1675 | 1217629.162
25 | 2724150.8505 | 1217737.5702
26 | 2724142.4989 | 1217735.4864
27 | 2724087.0066 | 1217590.2929
28 | 2724112.7751 | 1217578.13
29 | 2724140.1952 | 1217715.8089
30 | 2724107.9653 | 1217698.146
31 | 2724079.0817 | 1217628.112
32 | 2724246.1625 | 1217701.4839
33 | 2724241.4717 | 1217703.0954
34 | 2724245.2499 | 1217688.0877
35 | 2724233.5201 | 1217705.8271
36 | 2724240.933 | 1217678.4457
37 | 2724296.624 | 1217644.1913
38 | 2724219.0346 | 1217710.8034
39 | 2724263.8122 | 1217609.6577
40 | 2724224.2227 | 1217684.5521
41 | 2724284.5918 | 1217641.2999
42 | 2724325.8978 | 1217615.8621
43 | 2724276.8096 | 1217591.0214
44 | 2724313.5159 | 1217671.9987
45 | 2724298.9558 | 1217679.4453
46 | 2724320.2627 | 1217655.283
47 | 2724333.866 | 1217700.7347
48 | 2724362.6873 | 1217576.5276
49 | 2724307.4728 | 1217568.2692
50 | 2724329.809 | 1217636.0994
51 | 2724347.3912 | 1217716.6627
52 | 2724349.5528 | 1217683.3261
53 | 2724306.2429 | 1217766.4989
54 | 2724329.3371 | 1217709.9808
55 | 2724186.9886 | 1217640.6526
56 | 2724189.2863 | 1217637.1479
57 | 2724310.6418 | 1217751.4532
58 | 2724313.7703 | 1217642.7144
59 | 2724256.9952 | 1217573.1759
60 | 2724236.1691 | 1217561.755
61 | 2724244.7124 | 1217587.4325
62 | 2724231.7922 | 1217559.3507
63 | 2724237.009 | 1217595.2448
64 | 2724203.3876 | 1217619.4954
65 | 2724193.4526 | 1217630.7914
66 | 2724222.6428 | 1217607.026
67 | 2724223.8418 | 1217606.3107
68 | 2724236.2518 | 1217595.9922
69 | 2724219.0839 | 1217599.977
70 | 2724196.2381 | 1217641.6964

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9968 | -0.061466 | 0.0050565 | 0.0012673
1 | 0.99616 | -0.073737 | 0.004667 | 0.0011697
2 | 0.99749 | -0.048173 | 0 | 0
3 | 0.99564 | -0.083682 | 0 | 0
4 | 0.99623 | -0.072394 | 0 | 0
5 | 0.99855 | -0.02769 | 0.0079833 | 0.0020008
6 | 0.99536 | -0.089276 | 0.020398 | 0.0051121
7 | 0.99562 | -0.084119 | 0.0043483 | 0.0010898
8 | 0.99457 | -0.10444 | 0 | 0
9 | 0.99594 | -0.078035 | 0.0048454 | 0.0012144
10 | 0.99917 | -0.01588 | 0 | 0
11 | 0.99526 | -0.091208 | 0.0070328 | 0.0017626
12 | 0.99554 | -0.085626 | 0.0032465 | 0.00081366
13 | 0.9936 | -0.12307 | 0.01332 | 0.0033383
14 | 0.99449 | -0.10591 | 0.012086 | 0.003029
15 | 0.99551 | -0.086336 | 0.0032985 | 0.00082668
16 | 0.99938 | -0.011961 | 0.0045388 | 0.0011375
17 | 0.99914 | -0.01655 | 0.0027654 | 0.00069308
18 | 0.99466 | -0.10267 | 0.0091571 | 0.002295
19 | 0.99491 | -0.097859 | 0.0063058 | 0.0015804
20 | 0.99453 | -0.10509 | 0 | 0
21 | 0.99417 | -0.11215 | 0 | 0
22 | 0.99439 | -0.10792 | 0.011889 | 0.0029797
23 | 0.99407 | -0.11413 | 0.0040393 | 0.0010123
24 | 0.99402 | -0.11508 | 0.0066034 | 0.001655
25 | 0.9955 | -0.086501 | 0 | 0
26 | 0.99548 | -0.086864 | 0.0024035 | 0.00060237
27 | 0.99427 | -0.11028 | 0.0052173 | 0.0013076
28 | 0.9944 | -0.10766 | 0 | 0
29 | 0.9952 | -0.092292 | 0 | 0
30 | 0.99503 | -0.095638 | 0.0051523 | 0.0012913
31 | 0.994 | -0.11537 | 0.0050318 | 0.0012611
32 | 0.98088 | -0.36662 | 0.0054895 | 0.0013758
33 | 0.98075 | -0.36922 | 0.0026765 | 0.00067079
34 | 0.98134 | -0.3577 | 0 | 0
35 | 0.98055 | -0.37321 | 0.020758 | 0.0052024
36 | 0.98188 | -0.34709 | 0 | 0
37 | 0.97944 | -0.39464 | 0 | 0
38 | 0.98047 | -0.37473 | 0.0054568 | 0.0013676
39 | 0.98568 | -0.27349 | 0 | 0
40 | 0.98158 | -0.35303 | 0.018454 | 0.0046249
41 | 0.97933 | -0.39682 | 0.009698 | 0.0024305
42 | 0.97849 | -0.41323 | 0.0090436 | 0.0022665
43 | 0.98689 | -0.25014 | 0.017515 | 0.0043896
44 | 0.97249 | -0.53099 | 0 | 0
45 | 0.97241 | -0.53248 | 0.0049302 | 0.0012356
46 | 0.97305 | -0.51993 | 0.0038431 | 0.00096317
47 | 0.97156 | -0.5494 | 0.0046719 | 0.0011709
48 | 0.97641 | -0.45396 | 0 | 0
49 | 0.9892 | -0.20563 | 0 | 0
50 | 0.97379 | -0.5053 | 0 | 0
51 | 0.97107 | -0.55909 | 0 | 0
52 | 0.97123 | -0.55587 | 0.0098929 | 0.0024794
53 | 0.97078 | -0.56483 | 0 | 0
54 | 0.97147 | -0.55111 | 0.0089686 | 0.0022477
55 | 0.99971 | -0.0055984 | 0.0038472 | 0.00096419
56 | 1 | 0 | -0.33984 | -0.086095
57 | 0.97069 | -0.56656 | 0.0048112 | 0.0012058
58 | 0.97373 | -0.50662 | 0.0040309 | 0.0010102
59 | 0.99287 | -0.13535 | 0 | 0
60 | 0.99262 | -0.14023 | 0 | 0
61 | 0.99411 | -0.11176 | 0.0064134 | 0.0016073
62 | 0.99257 | -0.14125 | 0.011647 | 0.002919
63 | 0.99486 | -0.097417 | 0.008493 | 0.0021286
64 | 0.99811 | -0.035642 | 0.0054638 | 0.0013694
65 | 0.99936 | -0.012029 | 0.0030964 | 0.00077603
66 | 0.99628 | -0.070475 | 0.0033922 | 0.00085016
67 | 0.99617 | -0.072553 | 0 | 0
68 | 0.99494 | -0.095948 | 0.0072165 | 0.0018086
69 | 0.99613 | -0.073318 | 0.005498 | 0.0013779
70 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.047308 | 0.011878 | -0.04728 | -0.01186 | 2.7676e-05 | 1.752e-05 | 0.070628 | 0.070628 | 0.070628 | 0.9968 | -0.061466 | 0.99616 | -0.073737 | 19.4033
1 | -0.052364 | -0.013145 | 0.052397 | 0.013166 | 3.3223e-05 | 2.1074e-05 | 0.078176 | 0.078176 | 0.078176 | 0.9968 | -0.061466 | 0.99749 | -0.048173 | 21.477
2 | 0.042613 | 0.010691 | -0.042593 | -0.010678 | 2.0193e-05 | 1.2751e-05 | 0.063657 | 0.063657 | 0.063657 | 0.99616 | -0.073737 | 0.99564 | -0.083682 | 17.4881
3 | 0.082026 | 0.020644 | -0.081931 | -0.020584 | 9.483e-05 | 6.0471e-05 | 0.12239 | 0.12239 | 0.12239 | 0.99749 | -0.048173 | 0.99623 | -0.072394 | 33.6246
4 | -0.13442 | -0.03381 | 0.13455 | 0.033894 | 0.00013167 | 8.4155e-05 | 0.20057 | 0.20057 | 0.20057 | 0.99749 | -0.048173 | 0.99855 | -0.02769 | 55.1016
5 | 0.032594 | 0.0081721 | -0.032585 | -0.0081667 | 8.6867e-06 | 5.4326e-06 | 0.048713 | 0.048713 | 0.048713 | 0.99564 | -0.083682 | 0.99536 | -0.089276 | 13.3827
6 | 0.0099991 | 0.0025057 | -0.0099988 | -0.0025056 | 2.0832e-07 | 1.0097e-07 | 0.014944 | 0.014944 | 0.014944 | 0.99564 | -0.083682 | 0.99562 | -0.084119 | 4.1054
7 | 0.030684 | 0.0077114 | -0.030637 | -0.0076822 | 4.687e-05 | 2.9224e-05 | 0.045839 | 0.045839 | 0.045839 | 0.99623 | -0.072394 | 0.99457 | -0.10444 | 12.5932
8 | 0.051247 | 0.012872 | -0.051233 | -0.012863 | 1.3791e-05 | 8.7444e-06 | 0.076555 | 0.076555 | 0.076555 | 0.99623 | -0.072394 | 0.99594 | -0.078035 | 21.0315
9 | -0.14254 | -0.035895 | 0.14262 | 0.035946 | 8.0536e-05 | 5.1294e-05 | 0.21247 | 0.21247 | 0.21247 | 0.99855 | -0.02769 | 0.99917 | -0.01588 | 29.1849
10 | 0.012187 | 0.0030546 | -0.012186 | -0.003054 | 1.1215e-06 | 6.0068e-07 | 0.01822 | 0.01822 | 0.01822 | 0.99536 | -0.089276 | 0.99526 | -0.091208 | 5.0054
11 | 0.0056506 | 0.0014158 | -0.0056502 | -0.0014157 | 4.0565e-07 | 6.2382e-08 | 0.008445 | 0.0084451 | 0.0084451 | 0.99562 | -0.084119 | 0.99554 | -0.085626 | 2.3201
12 | 0.013332 | 0.0033449 | -0.01332 | -0.0033383 | 1.1828e-05 | 6.5421e-06 | 0.019948 | 0.019948 | 0.019948 | 0.99457 | -0.10444 | 0.9936 | -0.12307 | 5.4802
13 | 0.017305 | 0.0043373 | -0.017304 | -0.0043366 | 1.212e-06 | 7.1313e-07 | 0.025891 | 0.025891 | 0.025891 | 0.99457 | -0.10444 | 0.99449 | -0.10591 | 7.113
14 | 0.046388 | 0.011649 | -0.046369 | -0.011637 | 1.8366e-05 | 1.1622e-05 | 0.069315 | 0.069315 | 0.069315 | 0.99594 | -0.078035 | 0.99551 | -0.086336 | 19.0427
15 | -0.14538 | -0.036639 | 0.14541 | 0.036657 | 2.7267e-05 | 1.737e-05 | 0.21658 | 0.21658 | 0.21658 | 0.99917 | -0.01588 | 0.99938 | -0.011961 | 29.7506
16 | 0.0027655 | 0.00069296 | -0.0027654 | -0.00069308 | 8.8301e-08 | -1.253e-07 | 0.0041185 | 0.0041186 | 0.0041186 | 0.99917 | -0.01588 | 0.99914 | -0.01655 | 1.1315
17 | 0.0051534 | 0.0012914 | -0.0051532 | -0.0012913 | 2.6614e-07 | 1.4984e-08 | 0.0077049 | 0.0077049 | 0.0077049 | 0.99526 | -0.091208 | 0.9952 | -0.092292 | 2.1167
18 | 0.0024036 | 0.00060208 | -0.0024035 | -0.00060229 | 1.0007e-07 | -2.0477e-07 | 0.0035925 | 0.0035926 | 0.0035926 | 0.99554 | -0.085626 | 0.9955 | -0.086501 | 0.98699
19 | 0.0052184 | 0.0013077 | -0.0052179 | -0.0013076 | 4.342e-07 | 3.1483e-08 | 0.007808 | 0.0078081 | 0.0078081 | 0.99449 | -0.10591 | 0.9944 | -0.10766 | 2.1451
20 | 0.043071 | 0.010811 | -0.043047 | -0.010796 | 2.3656e-05 | 1.4942e-05 | 0.064385 | 0.064385 | 0.064385 | 0.99551 | -0.086336 | 0.99491 | -0.097859 | 17.6882
21 | -0.14995 | -0.037794 | 0.15 | 0.037823 | 4.5661e-05 | 2.9095e-05 | 0.22334 | 0.22334 | 0.22334 | 0.99938 | -0.011961 | 0.99971 | -0.0055984 | 30.679
22 | -0.036733 | -0.0092101 | 0.036741 | 0.0092154 | 8.4166e-06 | 5.2901e-06 | 0.054954 | 0.054954 | 0.054954 | 0.99466 | -0.10267 | 0.99491 | -0.097859 | 15.0973
23 | 0.027576 | 0.0069151 | -0.027573 | -0.0069132 | 3.1839e-06 | 1.9729e-06 | 0.041255 | 0.041255 | 0.041255 | 0.99466 | -0.10267 | 0.99453 | -0.10509 | 11.3338
24 | 0.015682 | 0.0039326 | -0.015677 | -0.0039295 | 5.2795e-06 | 3.0472e-06 | 0.023464 | 0.023464 | 0.023464 | 0.99453 | -0.10509 | 0.99417 | -0.11215 | 6.4461
25 | 0.011891 | 0.0029806 | -0.011889 | -0.0029797 | 1.6057e-06 | 8.5212e-07 | 0.017791 | 0.017791 | 0.017791 | 0.99453 | -0.10509 | 0.99439 | -0.10792 | 4.8877
26 | 0.015677 | 0.0039295 | -0.015675 | -0.0039287 | 1.4776e-06 | 8.529e-07 | 0.023464 | 0.023464 | 0.023464 | 0.99417 | -0.11215 | 0.99407 | -0.11413 | 6.4462
27 | 0.011636 | 0.0029163 | -0.011635 | -0.002916 | 5.2438e-07 | 2.7585e-07 | 0.017418 | 0.017418 | 0.017418 | 0.99407 | -0.11413 | 0.99402 | -0.11508 | 4.7851
28 | 0.0050319 | 0.0012611 | -0.0050318 | -0.0012611 | 6.9355e-08 | 2.1348e-09 | 0.0075326 | 0.0075326 | 0.0075326 | 0.99402 | -0.11508 | 0.994 | -0.11537 | 2.0694
29 | 0.0024035 | 0.00060229 | -0.0024035 | -0.00060237 | 4.1662e-08 | -8.5245e-08 | 0.0035926 | 0.0035927 | 0.0035927 | 0.9955 | -0.086501 | 0.99548 | -0.086864 | 0.987
30 | -0.0052173 | -0.0013076 | 0.0052179 | 0.0013076 | 6.5148e-07 | 4.7333e-08 | 0.0078082 | 0.0078081 | 0.0078082 | 0.99427 | -0.11028 | 0.9944 | -0.10766 | 2.1451
31 | 0.0051532 | 0.0012913 | -0.0051523 | -0.0012913 | 8.2129e-07 | 4.6364e-08 | 0.0077049 | 0.0077051 | 0.0077051 | 0.9952 | -0.092292 | 0.99503 | -0.095638 | 2.1168
32 | 0.0289 | 0.0072462 | -0.028897 | -0.007244 | 3.5753e-06 | 2.2256e-06 | 0.043843 | 0.043843 | 0.043843 | 0.98088 | -0.36662 | 0.98075 | -0.36922 | 12.0448
33 | -0.03439 | -0.008622 | 0.034404 | 0.0086312 | 1.4624e-05 | 9.1784e-06 | 0.052171 | 0.052171 | 0.052171 | 0.98088 | -0.36662 | 0.98134 | -0.3577 | 14.3326
34 | 0.02622 | 0.0065732 | -0.026215 | -0.0065701 | 4.9899e-06 | 3.0875e-06 | 0.039782 | 0.039782 | 0.039782 | 0.98075 | -0.36922 | 0.98055 | -0.37321 | 10.9292
35 | -0.094706 | -0.023897 | 0.094754 | 0.023927 | 4.8144e-05 | 3.0497e-05 | 0.14366 | 0.14366 | 0.14366 | 0.98134 | -0.3577 | 0.98188 | -0.34709 | 19.7338
36 | 0.060302 | 0.015266 | -0.060195 | -0.015199 | 0.00010673 | 6.659e-05 | 0.091491 | 0.091492 | 0.091492 | 0.98134 | -0.3577 | 0.97944 | -0.39464 | 12.5676
37 | 0.0054572 | 0.0013677 | -0.0054568 | -0.0013676 | 3.9392e-07 | 5.8928e-08 | 0.0082815 | 0.0082816 | 0.0082816 | 0.98055 | -0.37321 | 0.98047 | -0.37473 | 2.2752
38 | -0.11321 | -0.028555 | 0.11361 | 0.02881 | 0.00040042 | 0.00025443 | 0.17164 | 0.17164 | 0.17164 | 0.98188 | -0.34709 | 0.98568 | -0.27349 | 23.5764
39 | 0.018459 | 0.004628 | -0.018454 | -0.0046249 | 5.221e-06 | 3.1165e-06 | 0.027974 | 0.027974 | 0.027974 | 0.98188 | -0.34709 | 0.98158 | -0.35303 | 7.6853
40 | 0.009699 | 0.002431 | -0.009698 | -0.0024305 | 1.0076e-06 | 4.8913e-07 | 0.014735 | 0.014735 | 0.014735 | 0.97944 | -0.39464 | 0.97933 | -0.39682 | 4.0482
41 | 0.050496 | 0.012768 | -0.050451 | -0.01274 | 4.5001e-05 | 2.7776e-05 | 0.076757 | 0.076757 | 0.076757 | 0.97944 | -0.39464 | 0.97849 | -0.41323 | 10.5435
42 | -0.11361 | -0.02881 | 0.11374 | 0.028891 | 0.0001277 | 8.1136e-05 | 0.17164 | 0.17164 | 0.17164 | 0.98568 | -0.27349 | 0.98689 | -0.25014 | 23.5763
43 | 0.041408 | 0.010474 | -0.041327 | -0.010423 | 8.0741e-05 | 5.0995e-05 | 0.063004 | 0.063004 | 0.063004 | 0.97849 | -0.41323 | 0.97641 | -0.45396 | 17.3089
44 | -0.13126 | -0.03328 | 0.13154 | 0.03346 | 0.00028147 | 0.00017916 | 0.19804 | 0.19804 | 0.19804 | 0.98689 | -0.25014 | 0.9892 | -0.20563 | 27.2037
45 | 0.0049305 | 0.0012356 | -0.0049302 | -0.0012356 | 3.5185e-07 | 2.0662e-08 | 0.0075442 | 0.0075443 | 0.0075443 | 0.97249 | -0.53099 | 0.97241 | -0.53248 | 2.0726
46 | -0.033308 | -0.008358 | 0.033325 | 0.008369 | 1.7565e-05 | 1.1018e-05 | 0.050968 | 0.050968 | 0.050968 | 0.97249 | -0.53099 | 0.97305 | -0.51993 | 14.0022
47 | 0.028377 | 0.0071223 | -0.028352 | -0.0071068 | 2.4899e-05 | 1.5499e-05 | 0.043424 | 0.043424 | 0.043424 | 0.97249 | -0.53099 | 0.97156 | -0.5494 | 11.9297
48 | -0.037168 | -0.0093322 | 0.037194 | 0.0093485 | 2.5969e-05 | 1.6354e-05 | 0.056845 | 0.056845 | 0.056845 | 0.97305 | -0.51993 | 0.97379 | -0.5053 | 15.6168
49 | 0.014711 | 0.0036879 | -0.014707 | -0.0036853 | 4.5313e-06 | 2.6054e-06 | 0.022531 | 0.022532 | 0.022532 | 0.97156 | -0.5494 | 0.97123 | -0.55587 | 6.19
50 | 0.0089693 | 0.0022481 | -0.0089686 | -0.0022477 | 7.286e-07 | 3.3882e-07 | 0.013737 | 0.013737 | 0.013737 | 0.97156 | -0.5494 | 0.97147 | -0.55111 | 3.774
51 | 0.041327 | 0.010423 | -0.041225 | -0.010359 | 0.00010129 | 6.3976e-05 | 0.063004 | 0.063005 | 0.063005 | 0.97641 | -0.45396 | 0.97379 | -0.5053 | 17.309
52 | -0.13154 | -0.03346 | 0.13198 | 0.033744 | 0.00044714 | 0.0002846 | 0.19804 | 0.19804 | 0.19804 | 0.9892 | -0.20563 | 0.99287 | -0.13535 | 27.2037
53 | 0.0040311 | 0.0010102 | -0.0040309 | -0.0010102 | 2.543e-07 | -5.9573e-08 | 0.0061598 | 0.0061599 | 0.0061599 | 0.97379 | -0.5053 | 0.97373 | -0.50662 | 1.6923
54 | -0.0048129 | -0.0012058 | 0.0048136 | 0.0012059 | 7.3806e-07 | 2.4596e-08 | 0.0073748 | 0.0073747 | 0.0073748 | 0.97107 | -0.55909 | 0.97123 | -0.55587 | 2.0261
55 | 0.0048129 | 0.0012058 | -0.0048115 | -0.0012058 | 1.3169e-06 | 4.4306e-08 | 0.0073748 | 0.0073751 | 0.0073751 | 0.97107 | -0.55909 | 0.97078 | -0.56483 | 2.0261
56 | 0.0048115 | 0.0012058 | -0.0048112 | -0.0012058 | 3.9671e-07 | 1.3453e-08 | 0.0073751 | 0.0073752 | 0.0073752 | 0.97078 | -0.56483 | 0.97069 | -0.56656 | 2.0262
57 | -0.15384 | -0.038787 | 0.15388 | 0.038814 | 4.1231e-05 | 2.6278e-05 | 0.22907 | 0.22907 | 0.22907 | 0.99971 | -0.0055984 | 1 | 0 | 31.4655
58 | 0.1843 | 0.047281 | -0.1842 | -0.047212 | 0.00010748 | 6.8589e-05 | 0.27463 | 0.27463 | 0.27463 | 1 | 0 | 0.99936 | -0.012029 | 37.7242
59 | 0.01165 | 0.0029207 | -0.011648 | -0.0029193 | 2.7093e-06 | 1.4276e-06 | 0.017461 | 0.017461 | 0.017461 | 0.99287 | -0.13535 | 0.99262 | -0.14023 | 4.7969
60 | -0.14363 | -0.036665 | 0.1438 | 0.036769 | 0.00016386 | 0.00010438 | 0.2155 | 0.2155 | 0.2155 | 0.99287 | -0.13535 | 0.99411 | -0.11176 | 29.602
61 | 0.011648 | 0.0029193 | -0.011647 | -0.002919 | 5.6959e-07 | 3.0014e-07 | 0.017461 | 0.017461 | 0.017461 | 0.99262 | -0.14023 | 0.99257 | -0.14125 | 4.7969
62 | -0.15021 | -0.038377 | 0.15032 | 0.038443 | 0.00010429 | 6.6458e-05 | 0.2251 | 0.2251 | 0.2251 | 0.99411 | -0.11176 | 0.99486 | -0.097417 | 30.9206
63 | -0.15881 | -0.040572 | 0.15882 | 0.040579 | 1.1281e-05 | 7.1925e-06 | 0.23781 | 0.23781 | 0.23781 | 0.99486 | -0.097417 | 0.99494 | -0.095948 | 32.6655
64 | -0.18089 | -0.046304 | 0.1811 | 0.046436 | 0.00020711 | 0.00013215 | 0.27002 | 0.27002 | 0.27002 | 0.99811 | -0.035642 | 0.99936 | -0.012029 | 37.0909
65 | 0.17543 | 0.044935 | -0.17513 | -0.044746 | 0.00029552 | 0.00018853 | 0.26188 | 0.26188 | 0.26188 | 0.99811 | -0.035642 | 0.99628 | -0.070475 | 35.9721
66 | 0.17174 | 0.043896 | -0.17172 | -0.043885 | 1.7264e-05 | 1.1013e-05 | 0.25681 | 0.25681 | 0.25681 | 0.99628 | -0.070475 | 0.99617 | -0.072553 | 35.2762
67 | 0.16622 | 0.042507 | -0.16604 | -0.042387 | 0.00018794 | 0.00011986 | 0.2486 | 0.2486 | 0.2486 | 0.99617 | -0.072553 | 0.99494 | -0.095948 | 34.1481
68 | 0.0054982 | 0.0013779 | -0.005498 | -0.0013779 | 2.0037e-07 | 2.5109e-08 | 0.0082128 | 0.0082128 | 0.0082128 | 0.99617 | -0.072553 | 0.99613 | -0.073318 | 2.2563

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.33984 | 0.086095

## res_load
| p_mw | q_mvar
0 | 0.0050565 | 0.0012673
1 | 0.004667 | 0.0011697
2 | 0.0079833 | 0.0020008
3 | 0.020398 | 0.0051121
4 | 0.0043483 | 0.0010898
5 | 0.0048454 | 0.0012144
6 | 0.0070328 | 0.0017626
7 | 0.0032465 | 0.00081366
8 | 0.01332 | 0.0033383
9 | 0.012086 | 0.003029
10 | 0.0032985 | 0.00082668
11 | 0.0045388 | 0.0011375
12 | 0.0027654 | 0.00069308
13 | 0.0091571 | 0.002295
14 | 0.0063058 | 0.0015804
15 | 0.011889 | 0.0029797
16 | 0.0040393 | 0.0010123
17 | 0.0066034 | 0.001655
18 | 0.0024035 | 0.00060237
19 | 0.0052173 | 0.0013076
20 | 0.0051523 | 0.0012913
21 | 0.0050318 | 0.0012611
22 | 0.0054895 | 0.0013758
23 | 0.0026765 | 0.00067079
24 | 0.020758 | 0.0052024
25 | 0.0054568 | 0.0013676
26 | 0.018454 | 0.0046249
27 | 0.009698 | 0.0024305
28 | 0.0090436 | 0.0022665
29 | 0.017515 | 0.0043896
30 | 0.0049302 | 0.0012356
31 | 0.0038431 | 0.00096317
32 | 0.0046719 | 0.0011709
33 | 0.0098929 | 0.0024794
34 | 0.0089686 | 0.0022477
35 | 0.0038472 | 0.00096419
36 | 0.0048112 | 0.0012058
37 | 0.0040309 | 0.0010102
38 | 0.0064134 | 0.0016073
39 | 0.011647 | 0.002919
40 | 0.008493 | 0.0021286
41 | 0.0054638 | 0.0013694
42 | 0.0030964 | 0.00077603
43 | 0.0033922 | 0.00085016
44 | 0.0072165 | 0.0018086
45 | 0.005498 | 0.0013779

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1