## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1630-5_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1630-5_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1630-5_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1630-5_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1630-5_0_5_node_8 | 0.4 | n |  | TRUE
5 | bus_LV_1630-5_0_5_node_9 | 0.4 | n |  | TRUE
6 | bus_LV_1630-5_0_5_node_15 | 0.4 | n |  | TRUE
7 | bus_LV_1630-5_0_5_node_14 | 0.4 | n |  | TRUE
8 | bus_LV_1630-5_0_5_node_4 | 0.4 | n |  | TRUE
9 | bus_LV_1630-5_0_5_node_10 | 0.4 | n |  | TRUE
10 | bus_LV_1630-5_0_5_node_24 | 0.4 | n |  | TRUE
11 | bus_LV_1630-5_0_5_node_5 | 0.4 | n |  | TRUE
12 | bus_LV_1630-5_0_5_node_12 | 0.4 | n |  | TRUE
13 | bus_LV_1630-5_0_5_node_29 | 0.4 | n |  | TRUE
14 | bus_LV_1630-5_0_5_node_6 | 0.4 | n |  | TRUE
15 | bus_LV_1630-5_0_5_node_36 | 0.4 | n |  | TRUE
16 | bus_LV_1630-5_0_5_node_27 | 0.4 | n |  | TRUE
17 | bus_LV_1630-5_0_5_node_7 | 0.4 | n |  | TRUE
18 | bus_LV_1630-5_0_5_node_37 | 0.4 | n |  | TRUE
19 | bus_LV_1630-5_0_5_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_1630-5_0_5_node_34 | 0.4 | n |  | TRUE
21 | bus_LV_1630-5_0_5_node_35 | 0.4 | n |  | TRUE
22 | bus_LV_1630-5_0_5_node_25 | 0.4 | n |  | TRUE
23 | bus_LV_1630-5_0_5_node_28 | 0.4 | n |  | TRUE
24 | bus_LV_1630-5_0_5_node_30 | 0.4 | n |  | TRUE
25 | bus_LV_1630-5_0_5_node_19 | 0.4 | n |  | TRUE
26 | bus_LV_1630-5_0_5_node_26 | 0.4 | n |  | TRUE
27 | bus_LV_1630-5_0_5_node_31 | 0.4 | n |  | TRUE
28 | bus_LV_1630-5_0_5_node_23 | 0.4 | n |  | TRUE
29 | bus_LV_1630-5_0_5_node_18 | 0.4 | n |  | TRUE
30 | bus_LV_1630-5_0_5_node_17 | 0.4 | n |  | TRUE
31 | bus_LV_1630-5_0_5_node_21 | 0.4 | n |  | TRUE
32 | bus_LV_1630-5_0_5_node_20 | 0.4 | n |  | TRUE
33 | bus_LV_1630-5_0_5_node_32 | 0.4 | n |  | TRUE
34 | bus_LV_1630-5_0_5_node_33 | 0.4 | n |  | TRUE
35 | bus_MV_20_1_node_84 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1630-5_0_5_load_0 | 0 | 0.011526 | 0.0028888 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1630-5_0_5_load_14 | 7 | 0.0033835 | 0.00084798 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1630-5_0_5_load_24 | 10 | 0.042347 | 0.010613 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1630-5_0_5_load_29 | 13 | 0.037082 | 0.0092937 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1630-5_0_5_load_36 | 15 | 0.044919 | 0.011258 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1630-5_0_5_load_37 | 18 | 0.036112 | 0.0090505 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1630-5_0_5_load_34 | 20 | 0.0043137 | 0.0010811 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1630-5_0_5_load_35 | 21 | 0.0082534 | 0.0020685 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1630-5_0_5_load_25 | 22 | 0.0014437 | 0.00036183 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1630-5_0_5_load_30 | 24 | 0.0087012 | 0.0021807 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1630-5_0_5_load_26 | 26 | 0.0087819 | 0.0022009 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1630-5_0_5_load_31 | 27 | 0.0061428 | 0.0015395 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1630-5_0_5_load_18 | 29 | 0.022453 | 0.0056271 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1630-5_0_5_load_17 | 30 | 0.072733 | 0.018229 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1630-5_0_5_load_20 | 32 | 0.09827 | 0.024629 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1630-5_0_5_load_32 | 33 | 0.0069889 | 0.0017516 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1630-5_0_5_load_33 | 34 | 0.010634 | 0.0026651 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 22 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1630-5_0_5_line_0 |  | 0 | 1 | 0.014011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
1 | LV_1630-5_0_5_line_1 |  | 0 | 2 | 0.011977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
2 | LV_1630-5_0_5_line_2 |  | 1 | 3 | 0.02041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
3 | LV_1630-5_0_5_line_3 |  | 2 | 4 | 0.037116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
4 | LV_1630-5_0_5_line_4 |  | 2 | 5 | 0.03736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1630-5_0_5_line_5 |  | 3 | 6 | 0.098881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
6 | LV_1630-5_0_5_line_6 |  | 3 | 7 | 0.0065234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1630-5_0_5_line_7 |  | 4 | 20 | 0.009129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1630-5_0_5_line_8 |  | 4 | 12 | 0.051669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
9 | LV_1630-5_0_5_line_9 |  | 4 | 17 | 0.043812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1630-5_0_5_line_10 |  | 5 | 21 | 0.024836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1630-5_0_5_line_11 |  | 6 | 25 | 0.012683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
12 | LV_1630-5_0_5_line_12 |  | 8 | 9 | 0.18882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1630-5_0_5_line_13 |  | 8 | 10 | 0.041922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1630-5_0_5_line_14 |  | 9 | 22 | 0.19011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1630-5_0_5_line_15 |  | 11 | 12 | 0.11532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1630-5_0_5_line_16 |  | 11 | 13 | 0.015711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1630-5_0_5_line_17 |  | 12 | 22 | 0.085832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
18 | LV_1630-5_0_5_line_18 |  | 14 | 15 | 0.017867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1630-5_0_5_line_19 |  | 14 | 16 | 0.002491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1630-5_0_5_line_20 |  | 16 | 26 | 0.015206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1630-5_0_5_line_21 |  | 17 | 18 | 0.002552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1630-5_0_5_line_22 |  | 17 | 19 | 0.044733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1630-5_0_5_line_23 |  | 19 | 23 | 0.00653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1630-5_0_5_line_24 |  | 19 | 24 | 0.004975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1630-5_0_5_line_25 |  | 23 | 26 | 0.012397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1630-5_0_5_line_26 |  | 24 | 27 | 0.0048469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1630-5_0_5_line_27 |  | 25 | 28 | 0.038887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
28 | LV_1630-5_0_5_line_28 |  | 25 | 29 | 0.021063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1630-5_0_5_line_29 |  | 28 | 33 | 0.026512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1630-5_0_5_line_30 |  | 28 | 31 | 0.04377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_1630-5_0_5_line_31 |  | 29 | 30 | 0.015625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1630-5_0_5_line_32 |  | 31 | 32 | 0.0036143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1630-5_0_5_line_33 |  | 33 | 34 | 0.010885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1630-5_0_5_trafo_25 | 0.63 MVA 20/0.4 kV | 35 | 22 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2720691.2877 | 1223566.7661 | 2720683.879 | 1223572.9986 | 2720681.2004 | 1223569.597
1 | 2720673.3057 | 1223560.6079 | 2720677.9703 | 1223565.4951 | 2720681.2004 | 1223569.597
2 | 2720691.2877 | 1223566.7661 | 2720704.1803 | 1223582.6177
3 | 2720651.9443 | 1223544.907 | 2720660.0777 | 1223552.311 | 2720660.4251 | 1223557.6222 | 2720665.5894 | 1223567.0454 | 2720673.3057 | 1223560.6079
4 | 2720647.928 | 1223584.7235 | 2720650.794 | 1223580.3004 | 2720651.8604 | 1223577.8423 | 2720652.5605 | 1223576.233 | 2720655.908 | 1223570.1405 | 2720657.9082 | 1223568.3908 | 2720660.3059 | 1223567.2385 | 2720662.9322 | 1223566.7802 | 2720665.5894 | 1223567.0454 | 2720673.3057 | 1223560.6079
5 | 2720704.1803 | 1223582.6177 | 2720709.4055 | 1223589.0397 | 2720738.744 | 1223618.3243 | 2720754.7303 | 1223629.3683 | 2720767.9379 | 1223618.1052 | 2720777.3474 | 1223610.0898
6 | 2720704.1803 | 1223582.6177 | 2720703.0079 | 1223583.5724 | 2720699.1388 | 1223586.7574
7 | 2720651.9443 | 1223544.907 | 2720653.1398 | 1223537.948 | 2720651.099 | 1223537.5842
8 | 2720651.9443 | 1223544.907 | 2720660.0777 | 1223552.311 | 2720659.9822 | 1223525.5993 | 2720661.7881 | 1223519.2198 | 2720666.4756 | 1223524.8525
9 | 2720624.8937 | 1223576.7061 | 2720639.1891 | 1223564.9087 | 2720640.3156 | 1223563.9752 | 2720650.044 | 1223555.9439 | 2720651.9443 | 1223544.907
10 | 2720647.928 | 1223584.7235 | 2720638.6131 | 1223573.1146 | 2720630.7879 | 1223579.3164
11 | 2720787.012 | 1223601.846 | 2720777.3474 | 1223610.0898
12 | 2720731.4716 | 1223370.0266 | 2720736.5619 | 1223377.8693 | 2720783.0448 | 1223346.2874 | 2720808.7589 | 1223328.0949 | 2720813.6381 | 1223333.9985 | 2720867.2822 | 1223398.7825
13 | 2720731.4716 | 1223370.0266 | 2720696.6965 | 1223393.4383
14 | 2720867.2822 | 1223398.7825 | 2720867.5381 | 1223410.0855 | 2720845.9389 | 1223438.9474 | 2720735.9964 | 1223530.0119
15 | 2720584.9211 | 1223495.6884 | 2720580.7016 | 1223489.7872 | 2720587.4104 | 1223484.7747 | 2720596.8826 | 1223481.1526 | 2720609.889 | 1223477.5688 | 2720612.7166 | 1223478.0376 | 2720615.5784 | 1223477.9399 | 2720627.7065 | 1223484.0015 | 2720637.958 | 1223490.5811 | 2720661.7881 | 1223519.2198 | 2720666.4756 | 1223524.8525
16 | 2720584.9211 | 1223495.6884 | 2720573.0322 | 1223505.9595
17 | 2720666.4756 | 1223524.8525 | 2720671.1857 | 1223521.1451 | 2720673.6218 | 1223519.5932 | 2720676.9284 | 1223519.26 | 2720680.17 | 1223520.2598 | 2720696.7049 | 1223539.4211 | 2720704.662 | 1223543.1743 | 2720713.2137 | 1223544.1707 | 2720720.5617 | 1223542.7964 | 2720735.9964 | 1223530.0119
18 | 2720596.7623 | 1223568.2851 | 2720587.223 | 1223556.516 | 2720589.2626 | 1223554.6892
19 | 2720596.7623 | 1223568.2851 | 2720598.6612 | 1223566.6667
20 | 2720598.6612 | 1223566.6667 | 2720597.6334 | 1223565.356 | 2720608.0534 | 1223556.7087
21 | 2720624.8937 | 1223576.7061 | 2720623.2647 | 1223574.7382
22 | 2720622.624 | 1223544.6127 | 2720637.7457 | 1223563.1447 | 2720639.1891 | 1223564.9087 | 2720624.8937 | 1223576.7061
23 | 2720617.5933 | 1223548.7918 | 2720622.624 | 1223544.6127
24 | 2720622.624 | 1223544.6127 | 2720623.3794 | 1223544.0164 | 2720622.9746 | 1223540.0244
25 | 2720617.5933 | 1223548.7918 | 2720608.0534 | 1223556.7087
26 | 2720622.9746 | 1223540.0244 | 2720622.4856 | 1223535.2022
27 | 2720787.012 | 1223601.846 | 2720804.3571 | 1223587.0641 | 2720816.1181 | 1223576.072
28 | 2720787.012 | 1223601.846 | 2720773.1072 | 1223586.0253
29 | 2720816.1181 | 1223576.072 | 2720798.2036 | 1223556.5281
30 | 2720847.3118 | 1223545.381 | 2720828.6137 | 1223564.3942 | 2720816.1181 | 1223576.072
31 | 2720773.1072 | 1223586.0253 | 2720766.5632 | 1223578.5796 | 2720762.2607 | 1223582.3374
32 | 2720847.3118 | 1223545.381 | 2720850.0995 | 1223543.0806
33 | 2720790.8487 | 1223548.5043 | 2720798.2036 | 1223556.5281

## bus_geodata
| x | y | coords
0 | 2720681.2004 | 1223569.597
1 | 2720691.2877 | 1223566.7661
2 | 2720673.3057 | 1223560.6079
3 | 2720704.1803 | 1223582.6177
4 | 2720651.9443 | 1223544.907
5 | 2720647.928 | 1223584.7235
6 | 2720777.3474 | 1223610.0898
7 | 2720699.1388 | 1223586.7574
8 | 2720731.4716 | 1223370.0266
9 | 2720867.2822 | 1223398.7825
10 | 2720696.6965 | 1223393.4383
11 | 2720584.9211 | 1223495.6884
12 | 2720666.4756 | 1223524.8525
13 | 2720573.0322 | 1223505.9595
14 | 2720596.7623 | 1223568.2851
15 | 2720589.2626 | 1223554.6892
16 | 2720598.6612 | 1223566.6667
17 | 2720624.8937 | 1223576.7061
18 | 2720623.2647 | 1223574.7382
19 | 2720622.624 | 1223544.6127
20 | 2720651.099 | 1223537.5842
21 | 2720630.7879 | 1223579.3164
22 | 2720735.9964 | 1223530.0119
23 | 2720617.5933 | 1223548.7918
24 | 2720622.9746 | 1223540.0244
25 | 2720787.012 | 1223601.846
26 | 2720608.0534 | 1223556.7087
27 | 2720622.4856 | 1223535.2022
28 | 2720816.1181 | 1223576.072
29 | 2720773.1072 | 1223586.0253
30 | 2720762.2607 | 1223582.3374
31 | 2720847.3118 | 1223545.381
32 | 2720850.0995 | 1223543.0806
33 | 2720798.2036 | 1223556.5281
34 | 2720790.8487 | 1223548.5043
35 | 2720666.4756 | 1223524.8525

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98567 | -0.27313 | 0.011526 | 0.0028888
1 | 0.98497 | -0.28662 | 0 | 0
2 | 0.98629 | -0.261 | 0 | 0
3 | 0.98395 | -0.3063 | 0 | 0
4 | 0.98831 | -0.22213 | 0 | 0
5 | 0.98601 | -0.26653 | 0 | 0
6 | 0.9791 | -0.40071 | 0 | 0
7 | 0.98393 | -0.3067 | 0.0033835 | 0.00084798
8 | 0.9852 | -0.28394 | 0 | 0
9 | 0.99257 | -0.14141 | 0 | 0
10 | 0.98356 | -0.31587 | 0.042347 | 0.010613
11 | 0.9885 | -0.21932 | 0 | 0
12 | 0.99243 | -0.14334 | 0 | 0
13 | 0.98797 | -0.22971 | 0.037082 | 0.0092937
14 | 0.97956 | -0.3925 | 0 | 0
15 | 0.97881 | -0.40709 | 0.044919 | 0.011258
16 | 0.97966 | -0.39047 | 0 | 0
17 | 0.98407 | -0.3043 | 0 | 0
18 | 0.98399 | -0.30596 | 0.036112 | 0.0090505
19 | 0.98124 | -0.35965 | 0 | 0
20 | 0.98828 | -0.22283 | 0.0043137 | 0.0010811
21 | 0.98582 | -0.2702 | 0.0082534 | 0.0020685
22 | 1 | 0 | -0.4324 | -0.11108
23 | 0.98091 | -0.366 | 0 | 0
24 | 0.98117 | -0.36099 | 0.0087012 | 0.0021807
25 | 0.97847 | -0.41289 | 0 | 0
26 | 0.98029 | -0.37807 | 0.0087819 | 0.0022009
27 | 0.98114 | -0.36153 | 0.0061428 | 0.0015395
28 | 0.97743 | -0.43342 | 0 | 0
29 | 0.97661 | -0.44946 | 0.022453 | 0.0056271
30 | 0.97556 | -0.47025 | 0.072733 | 0.018229
31 | 0.97543 | -0.47274 | 0 | 0
32 | 0.9751 | -0.47925 | 0.09827 | 0.024629
33 | 0.97699 | -0.44195 | 0.0069889 | 0.0017516
34 | 0.97689 | -0.44406 | 0.010634 | 0.0026651
35 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.21647 | 0.055021 | -0.21633 | -0.054932 | 0.00014051 | 8.9215e-05 | 0.32707 | 0.32707 | 0.32707 | 0.98567 | -0.27313 | 0.98497 | -0.28662 | 22.4633
1 | -0.22799 | -0.05791 | 0.22813 | 0.057994 | 0.00013323 | 8.4658e-05 | 0.34447 | 0.34447 | 0.34447 | 0.98567 | -0.27313 | 0.98629 | -0.261 | 23.6584
2 | 0.21633 | 0.054932 | -0.21612 | -0.054802 | 0.00020468 | 0.00012996 | 0.32707 | 0.32707 | 0.32707 | 0.98497 | -0.28662 | 0.98395 | -0.3063 | 22.4633
3 | -0.23638 | -0.060064 | 0.23683 | 0.060346 | 0.00044328 | 0.0002818 | 0.35692 | 0.35692 | 0.35692 | 0.98629 | -0.261 | 0.98831 | -0.22213 | 24.514
4 | 0.008257 | 0.00207 | -0.0082548 | -0.0020691 | 2.1742e-06 | 9.1485e-07 | 0.012458 | 0.012458 | 0.012458 | 0.98629 | -0.261 | 0.98601 | -0.26653 | 3.4224
5 | 0.21274 | 0.053954 | -0.21178 | -0.053344 | 0.00096086 | 0.00060995 | 0.32195 | 0.32195 | 0.32195 | 0.98395 | -0.3063 | 0.9791 | -0.40071 | 22.112
6 | 0.0033835 | 0.00084794 | -0.0033835 | -0.00084798 | 6.405e-08 | -4.1864e-08 | 0.0051169 | 0.0051169 | 0.0051169 | 0.98395 | -0.3063 | 0.98393 | -0.3067 | 1.4057
7 | 0.0043139 | 0.0010811 | -0.0043137 | -0.0010811 | 1.4441e-07 | -2.4554e-08 | 0.006495 | 0.006495 | 0.006495 | 0.98831 | -0.22213 | 0.98828 | -0.22283 | 1.7843
8 | -0.34651 | -0.088109 | 0.34783 | 0.088951 | 0.0013207 | 0.00084258 | 0.52216 | 0.52216 | 0.52216 | 0.98831 | -0.22213 | 0.99243 | -0.14334 | 35.8624
9 | 0.10537 | 0.026682 | -0.10495 | -0.026417 | 0.00041399 | 0.0002644 | 0.15874 | 0.15874 | 0.15874 | 0.98831 | -0.22213 | 0.98407 | -0.3043 | 43.6096
10 | 0.0082548 | 0.0020691 | -0.0082534 | -0.0020685 | 1.4454e-06 | 6.0835e-07 | 0.012458 | 0.012458 | 0.012458 | 0.98601 | -0.26653 | 0.98582 | -0.2702 | 3.4225
11 | 0.21178 | 0.053344 | -0.21165 | -0.053266 | 0.00012325 | 7.824e-05 | 0.32195 | 0.32195 | 0.32195 | 0.9791 | -0.40071 | 0.97847 | -0.41289 | 22.1121
12 | -0.042412 | -0.010654 | 0.042703 | 0.010838 | 0.00029062 | 0.00018358 | 0.064067 | 0.064066 | 0.064067 | 0.9852 | -0.28394 | 0.99257 | -0.14141 | 17.6007
13 | 0.042412 | 0.010654 | -0.042347 | -0.010613 | 6.4526e-05 | 4.0764e-05 | 0.064067 | 0.064067 | 0.064067 | 0.9852 | -0.28394 | 0.98356 | -0.31587 | 17.6008
14 | -0.042703 | -0.010838 | 0.042995 | 0.011022 | 0.00029261 | 0.0001848 | 0.064066 | 0.064065 | 0.064066 | 0.99257 | -0.14141 | 1 | 0 | 17.6005
15 | -0.037101 | -0.0093052 | 0.037236 | 0.0093901 | 0.00013489 | 8.4844e-05 | 0.055851 | 0.05585 | 0.055851 | 0.9885 | -0.21932 | 0.99243 | -0.14334 | 15.3436
16 | 0.037101 | 0.0093052 | -0.037082 | -0.0092937 | 1.8378e-05 | 1.1561e-05 | 0.055851 | 0.055851 | 0.055851 | 0.9885 | -0.21932 | 0.98797 | -0.22971 | 15.3436
17 | -0.38506 | -0.098341 | 0.38775 | 0.10006 | 0.0026883 | 0.0017161 | 0.57801 | 0.578 | 0.57801 | 0.99243 | -0.14334 | 1 | 0 | 39.6982
18 | 0.044951 | 0.011278 | -0.044919 | -0.011258 | 3.1244e-05 | 1.9771e-05 | 0.068287 | 0.068288 | 0.068288 | 0.97956 | -0.3925 | 0.97881 | -0.40709 | 18.7603
19 | -0.044951 | -0.011278 | 0.044955 | 0.01128 | 4.356e-06 | 2.7565e-06 | 0.068287 | 0.068287 | 0.068287 | 0.97956 | -0.3925 | 0.97966 | -0.39047 | 18.7603
20 | -0.044955 | -0.01128 | 0.044982 | 0.011297 | 2.6591e-05 | 1.6827e-05 | 0.068287 | 0.068287 | 0.068287 | 0.97966 | -0.39047 | 0.98029 | -0.37807 | 18.7603
21 | 0.036115 | 0.0090523 | -0.036112 | -0.0090505 | 2.854e-06 | 1.7941e-06 | 0.054609 | 0.054609 | 0.054609 | 0.98407 | -0.3043 | 0.98399 | -0.30596 | 15.0026
22 | 0.068838 | 0.017365 | -0.068656 | -0.017249 | 0.00018189 | 0.00011584 | 0.10413 | 0.10413 | 0.10413 | 0.98407 | -0.3043 | 0.98124 | -0.35965 | 28.6071
23 | 0.053811 | 0.013528 | -0.053795 | -0.013518 | 1.6312e-05 | 1.0357e-05 | 0.081618 | 0.081618 | 0.081618 | 0.98124 | -0.35965 | 0.98091 | -0.366 | 22.4224
24 | 0.014845 | 0.0037208 | -0.014844 | -0.0037203 | 9.455e-07 | 5.4228e-07 | 0.022512 | 0.022512 | 0.022512 | 0.98124 | -0.35965 | 0.98117 | -0.36099 | 6.1847
25 | 0.053795 | 0.013518 | -0.053764 | -0.013498 | 3.0968e-05 | 1.9663e-05 | 0.081618 | 0.081618 | 0.081618 | 0.98091 | -0.366 | 0.98029 | -0.37807 | 22.4224
26 | 0.006143 | 0.0015396 | -0.0061428 | -0.0015395 | 1.5776e-07 | 3.975e-08 | 0.0093163 | 0.0093163 | 0.0093163 | 0.98117 | -0.36099 | 0.98114 | -0.36153 | 2.5594
27 | 0.11623 | 0.029258 | -0.11612 | -0.029187 | 0.00011396 | 7.0984e-05 | 0.1768 | 0.1768 | 0.1768 | 0.97847 | -0.41289 | 0.97743 | -0.43342 | 12.1431
28 | 0.095424 | 0.024008 | -0.095257 | -0.023902 | 0.00016641 | 0.00010624 | 0.14515 | 0.14515 | 0.14515 | 0.97847 | -0.41289 | 0.97661 | -0.44946 | 39.8761
29 | 0.017631 | 0.0044215 | -0.017624 | -0.0044172 | 7.1632e-06 | 4.2523e-06 | 0.026842 | 0.026842 | 0.026842 | 0.97743 | -0.43342 | 0.97699 | -0.44195 | 7.3742
30 | 0.098485 | 0.024765 | -0.0983 | -0.024648 | 0.00018456 | 0.00011702 | 0.14996 | 0.14996 | 0.14996 | 0.97743 | -0.43342 | 0.97543 | -0.47274 | 20.5991
31 | 0.072805 | 0.018274 | -0.072733 | -0.018229 | 7.2115e-05 | 4.5959e-05 | 0.11094 | 0.11094 | 0.11094 | 0.97661 | -0.44946 | 0.97556 | -0.47025 | 30.4778
32 | 0.0983 | 0.024648 | -0.09827 | -0.024629 | 3.048e-05 | 1.9462e-05 | 0.14996 | 0.14996 | 0.14996 | 0.97543 | -0.47274 | 0.9751 | -0.47925 | 41.1983
33 | 0.010635 | 0.0026657 | -0.010634 | -0.0026651 | 1.0709e-06 | 5.491e-07 | 0.016198 | 0.016198 | 0.016198 | 0.97699 | -0.44195 | 0.97689 | -0.44406 | 4.4499

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.43384 | 0.11144

## res_load
| p_mw | q_mvar
0 | 0.011526 | 0.0028888
1 | 0.0033835 | 0.00084798
2 | 0.042347 | 0.010613
3 | 0.037082 | 0.0092937
4 | 0.044919 | 0.011258
5 | 0.036112 | 0.0090505
6 | 0.0043137 | 0.0010811
7 | 0.0082534 | 0.0020685
8 | 0.0014437 | 0.00036183
9 | 0.0087012 | 0.0021807
10 | 0.0087819 | 0.0022009
11 | 0.0061428 | 0.0015395
12 | 0.022453 | 0.0056271
13 | 0.072733 | 0.018229
14 | 0.09827 | 0.024629
15 | 0.0069889 | 0.0017516
16 | 0.010634 | 0.0026651

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1