## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1630-60_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1630-60_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1630-60_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1630-60_0_6_node_13 | 0.4 | n |  | TRUE
4 | bus_LV_1630-60_0_6_node_9 | 0.4 | n |  | TRUE
5 | bus_LV_1630-60_0_6_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_1630-60_0_6_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_1630-60_0_6_node_3 | 0.4 | n |  | TRUE
8 | bus_LV_1630-60_0_6_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_1630-60_0_6_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_1630-60_0_6_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_1630-60_0_6_node_12 | 0.4 | n |  | TRUE
12 | bus_LV_1630-60_0_6_node_16 | 0.4 | n |  | TRUE
13 | bus_LV_1630-60_0_6_node_15 | 0.4 | n |  | TRUE
14 | bus_LV_1630-60_0_6_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_1630-60_0_6_node_26 | 0.4 | n |  | TRUE
16 | bus_LV_1630-60_0_6_node_51 | 0.4 | n |  | TRUE
17 | bus_LV_1630-60_0_6_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_1630-60_0_6_node_35 | 0.4 | n |  | TRUE
19 | bus_LV_1630-60_0_6_node_34 | 0.4 | n |  | TRUE
20 | bus_LV_1630-60_0_6_node_48 | 0.4 | n |  | TRUE
21 | bus_LV_1630-60_0_6_node_25 | 0.4 | n |  | TRUE
22 | bus_LV_1630-60_0_6_node_53 | 0.4 | n |  | TRUE
23 | bus_LV_1630-60_0_6_node_49 | 0.4 | n |  | TRUE
24 | bus_LV_1630-60_0_6_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_1630-60_0_6_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_1630-60_0_6_node_19 | 0.4 | n |  | TRUE
27 | bus_LV_1630-60_0_6_node_20 | 0.4 | n |  | TRUE
28 | bus_LV_1630-60_0_6_node_27 | 0.4 | n |  | TRUE
29 | bus_LV_1630-60_0_6_node_24 | 0.4 | n |  | TRUE
30 | bus_LV_1630-60_0_6_node_28 | 0.4 | n |  | TRUE
31 | bus_LV_1630-60_0_6_node_21 | 0.4 | n |  | TRUE
32 | bus_LV_1630-60_0_6_node_22 | 0.4 | n |  | TRUE
33 | bus_LV_1630-60_0_6_node_23 | 0.4 | n |  | TRUE
34 | bus_LV_1630-60_0_6_node_36 | 0.4 | n |  | TRUE
35 | bus_LV_1630-60_0_6_node_37 | 0.4 | n |  | TRUE
36 | bus_LV_1630-60_0_6_node_38 | 0.4 | n |  | TRUE
37 | bus_LV_1630-60_0_6_node_29 | 0.4 | n |  | TRUE
38 | bus_LV_1630-60_0_6_node_30 | 0.4 | n |  | TRUE
39 | bus_LV_1630-60_0_6_node_31 | 0.4 | n |  | TRUE
40 | bus_LV_1630-60_0_6_node_32 | 0.4 | n |  | TRUE
41 | bus_LV_1630-60_0_6_node_33 | 0.4 | n |  | TRUE
42 | bus_LV_1630-60_0_6_node_59 | 0.4 | n |  | TRUE
43 | bus_LV_1630-60_0_6_node_60 | 0.4 | n |  | TRUE
44 | bus_LV_1630-60_0_6_node_58 | 0.4 | n |  | TRUE
45 | bus_LV_1630-60_0_6_node_42 | 0.4 | n |  | TRUE
46 | bus_LV_1630-60_0_6_node_61 | 0.4 | n |  | TRUE
47 | bus_LV_1630-60_0_6_node_41 | 0.4 | n |  | TRUE
48 | bus_LV_1630-60_0_6_node_43 | 0.4 | n |  | TRUE
49 | bus_LV_1630-60_0_6_node_40 | 0.4 | n |  | TRUE
50 | bus_LV_1630-60_0_6_node_39 | 0.4 | n |  | TRUE
51 | bus_LV_1630-60_0_6_node_56 | 0.4 | n |  | TRUE
52 | bus_LV_1630-60_0_6_node_44 | 0.4 | n |  | TRUE
53 | bus_LV_1630-60_0_6_node_45 | 0.4 | n |  | TRUE
54 | bus_LV_1630-60_0_6_node_46 | 0.4 | n |  | TRUE
55 | bus_LV_1630-60_0_6_node_47 | 0.4 | n |  | TRUE
56 | bus_LV_1630-60_0_6_node_57 | 0.4 | n |  | TRUE
57 | bus_LV_1630-60_0_6_node_50 | 0.4 | n |  | TRUE
58 | bus_LV_1630-60_0_6_node_54 | 0.4 | n |  | TRUE
59 | bus_MV_152_0_node_76 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1630-60_0_6_load_0 | 0 | 0.051484 | 0.012903 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1630-60_0_6_load_2 | 2 | 0.0011507 | 0.00028838 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1630-60_0_6_load_13 | 3 | 0.0060837 | 0.0015247 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1630-60_0_6_load_9 | 4 | 0.002917 | 0.00073107 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1630-60_0_6_load_6 | 5 | 0.0015371 | 0.00038524 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1630-60_0_6_load_3 | 7 | 0.0030698 | 0.00076937 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1630-60_0_6_load_12 | 11 | 0.0022756 | 0.00057032 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1630-60_0_6_load_15 | 13 | 0.0032358 | 0.00081096 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1630-60_0_6_load_10 | 14 | 0.0057601 | 0.0014436 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1630-60_0_6_load_51 | 16 | 0.036106 | 0.0090489 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1630-60_0_6_load_11 | 17 | 0.00083589 | 0.00020949 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1630-60_0_6_load_35 | 18 | 0.0011231 | 0.00028147 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1630-60_0_6_load_34 | 19 | 0.0015469 | 0.00038768 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1630-60_0_6_load_48 | 20 | 0.0018479 | 0.00046313 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1630-60_0_6_load_49 | 23 | 0.084091 | 0.021075 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1630-60_0_6_load_17 | 24 | 0.01746 | 0.0043758 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1630-60_0_6_load_19 | 26 | 0.0034389 | 0.00086187 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1630-60_0_6_load_20 | 27 | 0.0033839 | 0.00084808 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1630-60_0_6_load_27 | 28 | 0.0033642 | 0.00084315 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1630-60_0_6_load_24 | 29 | 0.0026087 | 0.0006538 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1630-60_0_6_load_28 | 30 | 0.011706 | 0.0029338 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1630-60_0_6_load_21 | 31 | 0.0024104 | 0.0006041 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1630-60_0_6_load_22 | 32 | 0.0024361 | 0.00061056 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1630-60_0_6_load_23 | 33 | 0.0022326 | 0.00055955 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1630-60_0_6_load_29 | 37 | 0.0014241 | 0.0003569 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1630-60_0_6_load_60 | 43 | 0.0039421 | 0.00098799 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1630-60_0_6_load_58 | 44 | 0.0011719 | 0.0002937 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1630-60_0_6_load_61 | 46 | 0.0039365 | 0.00098657 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1630-60_0_6_load_40 | 49 | 0.072139 | 0.01808 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1630-60_0_6_load_39 | 50 | 0.016415 | 0.004114 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1630-60_0_6_load_56 | 51 | 0.043128 | 0.010809 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1630-60_0_6_load_44 | 52 | 0.010736 | 0.0026906 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1630-60_0_6_load_47 | 55 | 0.0096105 | 0.0024086 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1630-60_0_6_load_57 | 56 | 0.0098289 | 0.0024633 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1630-60_0_6_load_50 | 57 | 0.085218 | 0.021358 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1630-60_0_6_load_54 | 58 | 0.056927 | 0.014267 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 33 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1630-60_0_6_line_0 |  | 0 | 1 | 0.024495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1630-60_0_6_line_1 |  | 1 | 2 | 0.052826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1630-60_0_6_line_2 |  | 1 | 3 | 0.062476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1630-60_0_6_line_3 |  | 3 | 4 | 0.0035637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1630-60_0_6_line_4 |  | 4 | 8 | 0.011894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1630-60_0_6_line_5 |  | 5 | 6 | 0.013563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1630-60_0_6_line_6 |  | 6 | 9 | 0.036283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1630-60_0_6_line_7 |  | 6 | 7 | 0.037085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1630-60_0_6_line_8 |  | 7 | 8 | 0.021688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1630-60_0_6_line_9 |  | 8 | 10 | 0.044704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1630-60_0_6_line_10 |  | 9 | 11 | 0.017619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1630-60_0_6_line_11 |  | 10 | 12 | 0.012592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1630-60_0_6_line_12 |  | 10 | 13 | 0.013318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1630-60_0_6_line_13 |  | 11 | 14 | 0.03934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1630-60_0_6_line_14 |  | 12 | 15 | 0.087839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
15 | LV_1630-60_0_6_line_15 |  | 12 | 16 | 0.009745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
16 | LV_1630-60_0_6_line_16 |  | 14 | 17 | 0.00023261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1630-60_0_6_line_17 |  | 15 | 20 | 0.030478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1630-60_0_6_line_18 |  | 15 | 21 | 0.002528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
19 | LV_1630-60_0_6_line_19 |  | 16 | 22 | 0.010677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1630-60_0_6_line_20 |  | 16 | 23 | 0.01304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_1630-60_0_6_line_21 |  | 18 | 19 | 0.021595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1630-60_0_6_line_22 |  | 19 | 39 | 0.013276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1630-60_0_6_line_23 |  | 21 | 29 | 0.016348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
24 | LV_1630-60_0_6_line_24 |  | 21 | 26 | 0.015265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
25 | LV_1630-60_0_6_line_25 |  | 22 | 58 | 0.0085045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1630-60_0_6_line_26 |  | 23 | 57 | 0.0082492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1630-60_0_6_line_27 |  | 24 | 25 | 0.026018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1630-60_0_6_line_28 |  | 25 | 26 | 0.010671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
29 | LV_1630-60_0_6_line_29 |  | 25 | 27 | 0.025894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
30 | LV_1630-60_0_6_line_30 |  | 27 | 28 | 0.0094537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
31 | LV_1630-60_0_6_line_31 |  | 28 | 30 | 0.02105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
32 | LV_1630-60_0_6_line_32 |  | 29 | 33 | 0.0085955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
33 | LV_1630-60_0_6_line_33 |  | 30 | 34 | 0.017379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
34 | LV_1630-60_0_6_line_34 |  | 31 | 32 | 0.0078264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1630-60_0_6_line_35 |  | 32 | 33 | 0.0071195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1630-60_0_6_line_36 |  | 34 | 35 | 0.006947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1630-60_0_6_line_37 |  | 34 | 36 | 0.036543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
38 | LV_1630-60_0_6_line_38 |  | 35 | 50 | 0.016444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1630-60_0_6_line_39 |  | 36 | 51 | 0.018766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1630-60_0_6_line_40 |  | 36 | 48 | 0.0329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1630-60_0_6_line_41 |  | 37 | 38 | 0.044712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1630-60_0_6_line_42 |  | 37 | 39 | 0.0094421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1630-60_0_6_line_43 |  | 38 | 40 | 0.013459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1630-60_0_6_line_44 |  | 39 | 41 | 0.022975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1630-60_0_6_line_45 |  | 40 | 42 | 0.035157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1630-60_0_6_line_46 |  | 40 | 43 | 0.007708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1630-60_0_6_line_47 |  | 41 | 44 | 0.011595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1630-60_0_6_line_48 |  | 41 | 45 | 0.037669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1630-60_0_6_line_49 |  | 42 | 46 | 0.013232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1630-60_0_6_line_50 |  | 45 | 49 | 0.01552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1630-60_0_6_line_51 |  | 47 | 48 | 0.010259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1630-60_0_6_line_52 |  | 47 | 49 | 0.017261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1630-60_0_6_line_53 |  | 48 | 52 | 0.012769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1630-60_0_6_line_54 |  | 52 | 53 | 0.015852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1630-60_0_6_line_55 |  | 53 | 54 | 0.006293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1630-60_0_6_line_56 |  | 53 | 55 | 0.029628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1630-60_0_6_line_57 |  | 54 | 56 | 0.013638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1630-60_0_6_trafo_23 | 0.63 MVA 20/0.4 kV | 59 | 33 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2723683.7334 | 1217240.4687 | 2723678.8568 | 1217242.7248 | 2723686.5828 | 1217260.2163
1 | 2723683.7334 | 1217240.4687 | 2723705.9522 | 1217288.3952
2 | 2723623.1197 | 1217255.6075 | 2723683.7334 | 1217240.4687
3 | 2723619.8071 | 1217256.9215 | 2723623.1197 | 1217255.6075
4 | 2723608.7517 | 1217261.3071 | 2723619.8071 | 1217256.9215
5 | 2723630.33 | 1217315.9751 | 2723642.8679 | 1217310.8014
6 | 2723643.6548 | 1217349.7334 | 2723630.33 | 1217315.9751
7 | 2723630.33 | 1217315.9751 | 2723616.7144 | 1217281.4804
8 | 2723608.7517 | 1217261.3071 | 2723616.7144 | 1217281.4804
9 | 2723608.7517 | 1217261.3071 | 2723592.3389 | 1217219.712
10 | 2723643.6548 | 1217349.7334 | 2723659.9271 | 1217342.9764
11 | 2723587.7144 | 1217207.9958 | 2723592.3389 | 1217219.712
12 | 2723592.3389 | 1217219.712 | 2723604.6167 | 1217214.5517
13 | 2723683.3638 | 1217360.8716 | 2723672.6777 | 1217337.6818 | 2723659.9271 | 1217342.9764
14 | 2723534.3418 | 1217250.945 | 2723528.6643 | 1217232.513 | 2723528.0537 | 1217226.44 | 2723571.6145 | 1217212.788 | 2723576.9723 | 1217211.1311 | 2723587.7144 | 1217207.9958
15 | 2723587.7144 | 1217207.9958 | 2723584.1436 | 1217198.9258
16 | 2723683.3638 | 1217360.8716 | 2723683.4612 | 1217361.0829
17 | 2723534.3418 | 1217250.945 | 2723505.3435 | 1217260.3276
18 | 2723535.0815 | 1217253.3622 | 2723534.3418 | 1217250.945
19 | 2723584.1436 | 1217198.9258 | 2723573.6976 | 1217196.5741
20 | 2723584.1436 | 1217198.9258 | 2723579.3594 | 1217186.7956
21 | 2723571.4807 | 1217417.8473 | 2723549.9813 | 1217419.8776
22 | 2723537.0081 | 1217419.6541 | 2723539.6185 | 1217420.8425 | 2723542.7301 | 1217420.5623 | 2723549.9813 | 1217419.8776
23 | 2723535.0815 | 1217253.3622 | 2723550.66 | 1217248.4053
24 | 2723535.0815 | 1217253.3622 | 2723537.6878 | 1217262.0675 | 2723538.7952 | 1217268.1453
25 | 2723573.6976 | 1217196.5741 | 2723570.3546 | 1217194.8256 | 2723566.4455 | 1217192.1594
26 | 2723579.3594 | 1217186.7956 | 2723576.3328 | 1217179.1216
27 | 2723540.708 | 1217278.643 | 2723566.3487 | 1217274.2303
28 | 2723540.708 | 1217278.643 | 2723538.7952 | 1217268.1453
29 | 2723540.708 | 1217278.643 | 2723515.2521 | 1217283.3836
30 | 2723515.2521 | 1217283.3836 | 2723505.9582 | 1217285.1144
31 | 2723485.251 | 1217288.8959 | 2723501.2729 | 1217285.987 | 2723505.9582 | 1217285.1144
32 | 2723558.8508 | 1217245.7991 | 2723550.66 | 1217248.4053
33 | 2723468.1529 | 1217292.0054 | 2723472.5359 | 1217291.2067 | 2723478.9008 | 1217290.0488 | 2723485.251 | 1217288.8959
34 | 2723565.6351 | 1217243.6404 | 2723573.0931 | 1217241.2674
35 | 2723565.6351 | 1217243.6404 | 2723558.8508 | 1217245.7991
36 | 2723465.8436 | 1217285.4525 | 2723468.1529 | 1217292.0054
37 | 2723482.0245 | 1217325.8081 | 2723479.2512 | 1217320.0239 | 2723474.4856 | 1217307.4153 | 2723468.1529 | 1217292.0054
38 | 2723465.8436 | 1217285.4525 | 2723449.6407 | 1217288.2573
39 | 2723482.0245 | 1217325.8081 | 2723484.8105 | 1217325.8547 | 2723493.7675 | 1217326.0294 | 2723500.8418 | 1217326.1761
40 | 2723482.0245 | 1217325.8081 | 2723484.6403 | 1217358.599
41 | 2723526.2624 | 1217465.8119 | 2723523.0874 | 1217456.7056 | 2723522.5366 | 1217431.2743 | 2723526.1892 | 1217430.5384 | 2723530.3517 | 1217426.3507
42 | 2723537.0081 | 1217419.6541 | 2723530.3517 | 1217426.3507
43 | 2723526.2624 | 1217465.8119 | 2723539.5949 | 1217463.7088
44 | 2723537.0081 | 1217419.6541 | 2723535.621 | 1217418.0686 | 2723534.8674 | 1217415.9624 | 2723533.4455 | 1217397.3851
45 | 2723573.5404 | 1217456.6515 | 2723564.103 | 1217457.3119 | 2723558.4685 | 1217460.9757 | 2723539.5949 | 1217463.7088
46 | 2723538.3707 | 1217456.0997 | 2723539.5949 | 1217463.7088
47 | 2723528.1849 | 1217387.0458 | 2723533.4455 | 1217397.3851
48 | 2723520.492 | 1217365.8365 | 2723520.7765 | 1217375.5499 | 2723532.6728 | 1217384.1143 | 2723533.4455 | 1217397.3851
49 | 2723573.5404 | 1217456.6515 | 2723569.7103 | 1217443.9844
50 | 2723520.492 | 1217365.8365 | 2723512.1108 | 1217365.7293 | 2723512.1904 | 1217358.5921
51 | 2723494.9297 | 1217358.6011 | 2723484.6403 | 1217358.599
52 | 2723494.9297 | 1217358.6011 | 2723504.217 | 1217358.5935 | 2723512.1904 | 1217358.5921
53 | 2723484.6403 | 1217358.599 | 2723471.8798 | 1217359.0786
54 | 2723456.5487 | 1217363.1094 | 2723471.8653 | 1217359.0791 | 2723471.8798 | 1217359.0786
55 | 2723450.462 | 1217364.7735 | 2723456.5487 | 1217363.1094
56 | 2723483.5554 | 1217368.0728 | 2723479.1959 | 1217362.6115 | 2723477.2389 | 1217362.5042 | 2723469.8077 | 1217361.9943 | 2723456.5487 | 1217363.1094
57 | 2723450.462 | 1217364.7735 | 2723454.4364 | 1217377.8215

## bus_geodata
| x | y | coords
0 | 2723686.5828 | 1217260.2163
1 | 2723683.7334 | 1217240.4687
2 | 2723705.9522 | 1217288.3952
3 | 2723623.1197 | 1217255.6075
4 | 2723619.8071 | 1217256.9215
5 | 2723642.8679 | 1217310.8015
6 | 2723630.33 | 1217315.9751
7 | 2723616.7144 | 1217281.4804
8 | 2723608.7517 | 1217261.3071
9 | 2723643.6548 | 1217349.7334
10 | 2723592.3389 | 1217219.712
11 | 2723659.9271 | 1217342.9764
12 | 2723587.7144 | 1217207.9958
13 | 2723604.6167 | 1217214.5517
14 | 2723683.3638 | 1217360.8716
15 | 2723534.3418 | 1217250.945
16 | 2723584.1436 | 1217198.9258
17 | 2723683.4612 | 1217361.0829
18 | 2723571.4807 | 1217417.8473
19 | 2723549.9813 | 1217419.8776
20 | 2723505.3435 | 1217260.3276
21 | 2723535.0815 | 1217253.3622
22 | 2723573.6976 | 1217196.5741
23 | 2723579.3594 | 1217186.7956
24 | 2723566.3487 | 1217274.2303
25 | 2723540.708 | 1217278.643
26 | 2723538.7952 | 1217268.1453
27 | 2723515.2521 | 1217283.3836
28 | 2723505.9582 | 1217285.1144
29 | 2723550.66 | 1217248.4053
30 | 2723485.251 | 1217288.8959
31 | 2723573.0931 | 1217241.2674
32 | 2723565.6351 | 1217243.6404
33 | 2723558.8508 | 1217245.7991
34 | 2723468.1529 | 1217292.0054
35 | 2723465.8436 | 1217285.4525
36 | 2723482.0245 | 1217325.8081
37 | 2723530.3517 | 1217426.3507
38 | 2723526.2624 | 1217465.8119
39 | 2723537.0081 | 1217419.6541
40 | 2723539.5949 | 1217463.7088
41 | 2723533.4455 | 1217397.3851
42 | 2723573.5404 | 1217456.6515
43 | 2723538.3707 | 1217456.0997
44 | 2723528.1849 | 1217387.0458
45 | 2723520.492 | 1217365.8365
46 | 2723569.7103 | 1217443.9844
47 | 2723494.9297 | 1217358.6011
48 | 2723484.6403 | 1217358.599
49 | 2723512.1904 | 1217358.5921
50 | 2723449.6407 | 1217288.2573
51 | 2723500.8419 | 1217326.1761
52 | 2723471.8798 | 1217359.0786
53 | 2723456.5487 | 1217363.1094
54 | 2723450.462 | 1217364.7735
55 | 2723483.5554 | 1217368.0728
56 | 2723454.4364 | 1217377.8215
57 | 2723576.3328 | 1217179.1216
58 | 2723566.4455 | 1217192.1594
59 | 2723575.8946 | 1217240.376

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98273 | -0.33305 | 0.051484 | 0.012903
1 | 0.98389 | -0.31032 | 0 | 0
2 | 0.98383 | -0.31141 | 0.0011507 | 0.00028838
3 | 0.98692 | -0.25129 | 0.0060837 | 0.0015247
4 | 0.98712 | -0.24755 | 0.002917 | 0.00073107
5 | 0.98715 | -0.24694 | 0.0015371 | 0.00038524
6 | 0.98717 | -0.24657 | 0 | 0
7 | 0.98752 | -0.23967 | 0.0030698 | 0.00076937
8 | 0.98779 | -0.23444 | 0 | 0
9 | 0.98687 | -0.25233 | 0 | 0
10 | 0.99089 | -0.17464 | 0 | 0
11 | 0.98673 | -0.25513 | 0.0022756 | 0.00057032
12 | 0.9918 | -0.15714 | 0 | 0
13 | 0.99085 | -0.1754 | 0.0032358 | 0.00081096
14 | 0.98649 | -0.25978 | 0.0057601 | 0.0014436
15 | 0.99729 | -0.051665 | 0 | 0
16 | 0.99133 | -0.1662 | 0.036106 | 0.0090489
17 | 0.98649 | -0.25978 | 0.00083589 | 0.00020949
18 | 0.98463 | -0.296 | 0.0011231 | 0.00028147
19 | 0.98466 | -0.29557 | 0.0015469 | 0.00038768
20 | 0.99724 | -0.052652 | 0.0018479 | 0.00046313
21 | 0.99745 | -0.04863 | 0 | 0
22 | 0.99077 | -0.17699 | 0 | 0
23 | 0.99032 | -0.1858 | 0.084091 | 0.021075
24 | 0.99602 | -0.075981 | 0.01746 | 0.0043758
25 | 0.99643 | -0.068003 | 0 | 0
26 | 0.99685 | -0.060104 | 0.0034389 | 0.00086187
27 | 0.99551 | -0.085609 | 0.0033839 | 0.00084808
28 | 0.99518 | -0.091932 | 0.0033642 | 0.00084315
29 | 0.99912 | -0.016781 | 0.0026087 | 0.0006538
30 | 0.99446 | -0.10578 | 0.011706 | 0.0029338
31 | 0.99995 | -0.00093031 | 0.0024104 | 0.0006041
32 | 0.99997 | -0.00060146 | 0.0024361 | 0.00061056
33 | 1 | 0 | -0.57167 | -0.14504
34 | 0.9939 | -0.1165 | 0 | 0
35 | 0.9938 | -0.11852 | 0 | 0
36 | 0.99124 | -0.16777 | 0 | 0
37 | 0.98461 | -0.29651 | 0.0014241 | 0.0003569
38 | 0.98428 | -0.30285 | 0 | 0
39 | 0.98469 | -0.29493 | 0 | 0
40 | 0.98419 | -0.30475 | 0 | 0
41 | 0.98494 | -0.28998 | 0 | 0
42 | 0.98406 | -0.30724 | 0 | 0
43 | 0.98416 | -0.3053 | 0.0039421 | 0.00098799
44 | 0.98493 | -0.29023 | 0.0011719 | 0.0002937
45 | 0.9854 | -0.28109 | 0 | 0
46 | 0.98401 | -0.30818 | 0.0039365 | 0.00098657
47 | 0.98694 | -0.25104 | 0 | 0
48 | 0.98775 | -0.2354 | 0 | 0
49 | 0.98559 | -0.27742 | 0.072139 | 0.01808
50 | 0.99355 | -0.12328 | 0.016415 | 0.004114
51 | 0.9905 | -0.18214 | 0.043128 | 0.010809
52 | 0.98739 | -0.24229 | 0.010736 | 0.0026906
53 | 0.98711 | -0.2478 | 0 | 0
54 | 0.98705 | -0.2489 | 0 | 0
55 | 0.98685 | -0.25289 | 0.0096105 | 0.0024086
56 | 0.98693 | -0.2513 | 0.0098289 | 0.0024633
57 | 0.98967 | -0.1983 | 0.085218 | 0.021358
58 | 0.99033 | -0.18559 | 0.056927 | 0.014267
59 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.051484 | -0.012903 | 0.05154 | 0.012938 | 5.5821e-05 | 3.5415e-05 | 0.077955 | 0.077955 | 0.077955 | 0.98273 | -0.33305 | 0.98389 | -0.31032 | 21.4163
1 | 0.0011507 | 0.00028775 | -0.0011507 | -0.00028838 | 5.9992e-08 | -6.3246e-07 | 0.0017401 | 0.0017403 | 0.0017403 | 0.98389 | -0.31032 | 0.98383 | -0.31141 | 0.47812
2 | -0.05269 | -0.013226 | 0.052839 | 0.013321 | 0.0001488 | 9.4437e-05 | 0.079695 | 0.079695 | 0.079695 | 0.98389 | -0.31032 | 0.98692 | -0.25129 | 21.8943
3 | -0.058923 | -0.014845 | 0.058933 | 0.014852 | 1.0554e-05 | 6.709e-06 | 0.088868 | 0.088868 | 0.088868 | 0.98692 | -0.25129 | 0.98712 | -0.24755 | 24.4142
4 | -0.06185 | -0.015583 | 0.061889 | 0.015608 | 3.8795e-05 | 2.4677e-05 | 0.093265 | 0.093265 | 0.093265 | 0.98712 | -0.24755 | 0.98779 | -0.23444 | 25.6222
5 | -0.0015371 | -0.00038524 | 0.0015372 | 0.00038509 | 2.7306e-08 | -1.5593e-07 | 0.0023171 | 0.002317 | 0.0023171 | 0.98715 | -0.24694 | 0.98717 | -0.24657 | 0.63655
6 | 0.0088766 | 0.0022255 | -0.0088742 | -0.0022244 | 2.436e-06 | 1.0953e-06 | 0.013381 | 0.013381 | 0.013381 | 0.98717 | -0.24657 | 0.98687 | -0.25233 | 3.676
7 | -0.010414 | -0.0026106 | 0.010417 | 0.0026123 | 3.4267e-06 | 1.7188e-06 | 0.015697 | 0.015697 | 0.015697 | 0.98717 | -0.24657 | 0.98752 | -0.23967 | 4.3125
8 | -0.013487 | -0.0033816 | 0.01349 | 0.0033835 | 3.3591e-06 | 1.8723e-06 | 0.020323 | 0.020323 | 0.020323 | 0.98752 | -0.23967 | 0.98779 | -0.23444 | 5.5832
9 | -0.07538 | -0.018991 | 0.075596 | 0.019129 | 0.00021629 | 0.00013785 | 0.11359 | 0.11359 | 0.11359 | 0.98779 | -0.23444 | 0.99089 | -0.17464 | 31.2054
10 | 0.0088742 | 0.0022244 | -0.008873 | -0.0022238 | 1.183e-06 | 5.3202e-07 | 0.013381 | 0.013381 | 0.013381 | 0.98687 | -0.25233 | 0.98673 | -0.25513 | 3.676
11 | -0.078832 | -0.01994 | 0.078898 | 0.019982 | 6.6248e-05 | 4.2236e-05 | 0.11845 | 0.11845 | 0.11845 | 0.99089 | -0.17464 | 0.9918 | -0.15714 | 32.5403
12 | 0.0032359 | 0.00081086 | -0.0032358 | -0.00081096 | 1.1793e-07 | -9.6072e-08 | 0.0048593 | 0.0048594 | 0.0048594 | 0.99089 | -0.17464 | 0.99085 | -0.1754 | 1.335
13 | 0.0065974 | 0.0016535 | -0.0065959 | -0.0016531 | 1.4603e-06 | 4.322e-07 | 0.0099491 | 0.0099493 | 0.0099493 | 0.98673 | -0.25513 | 0.98649 | -0.25978 | 2.7333
14 | -0.34161 | -0.08597 | 0.34335 | 0.087073 | 0.0017314 | 0.0011024 | 0.51266 | 0.51266 | 0.51266 | 0.9918 | -0.15714 | 0.99729 | -0.051665 | 28.168
15 | 0.26272 | 0.065988 | -0.2626 | -0.065916 | 0.00011358 | 7.2063e-05 | 0.39421 | 0.39421 | 0.39421 | 0.9918 | -0.15714 | 0.99133 | -0.1662 | 21.66
16 | 0.00083589 | 0.00020949 | -0.00083589 | -0.00020949 | 1.3867e-10 | -2.8806e-09 | 0.0012609 | 0.0012609 | 0.0012609 | 0.98649 | -0.25978 | 0.98649 | -0.25978 | 0.34639
17 | 0.001848 | 0.00046279 | -0.0018479 | -0.00046313 | 8.6894e-08 | -3.4206e-07 | 0.0027572 | 0.0027574 | 0.0027574 | 0.99729 | -0.051665 | 0.99724 | -0.052652 | 0.75752
18 | -0.34519 | -0.087535 | 0.34524 | 0.087567 | 5.0367e-05 | 3.207e-05 | 0.51541 | 0.51541 | 0.51541 | 0.99729 | -0.051665 | 0.99745 | -0.04863 | 28.3194
19 | 0.05698 | 0.014301 | -0.05695 | -0.014282 | 2.9294e-05 | 1.861e-05 | 0.085536 | 0.085536 | 0.085536 | 0.99133 | -0.1662 | 0.99077 | -0.17699 | 23.4988
20 | 0.16952 | 0.042566 | -0.16936 | -0.042465 | 0.00015833 | 0.000101 | 0.25448 | 0.25448 | 0.25448 | 0.99133 | -0.1662 | 0.99032 | -0.1858 | 34.9561
21 | -0.0011231 | -0.00028147 | 0.0011231 | 0.00028121 | 2.3326e-08 | -2.5975e-07 | 0.0016972 | 0.0016971 | 0.0016972 | 0.98463 | -0.296 | 0.98466 | -0.29557 | 0.46627
22 | -0.0026699 | -0.00066889 | 0.00267 | 0.00066877 | 8.1043e-08 | -1.17e-07 | 0.0040347 | 0.0040347 | 0.0040347 | 0.98466 | -0.29557 | 0.98469 | -0.29493 | 1.1084
23 | -0.56125 | -0.14233 | 0.56211 | 0.14288 | 0.00086078 | 0.00054983 | 0.83788 | 0.83788 | 0.83788 | 0.99745 | -0.04863 | 0.99912 | -0.016781 | 46.0373
24 | 0.21601 | 0.054766 | -0.21589 | -0.054691 | 0.00011905 | 7.5195e-05 | 0.32247 | 0.32247 | 0.32247 | 0.99745 | -0.04863 | 0.99685 | -0.060104 | 17.7179
25 | 0.05695 | 0.014282 | -0.056927 | -0.014267 | 2.3333e-05 | 1.4824e-05 | 0.085536 | 0.085536 | 0.085536 | 0.99077 | -0.17699 | 0.99033 | -0.18559 | 23.4988
26 | 0.085269 | 0.02139 | -0.085218 | -0.021358 | 5.0785e-05 | 3.2396e-05 | 0.12813 | 0.12813 | 0.12813 | 0.99032 | -0.1858 | 0.98967 | -0.1983 | 35.2002
27 | -0.01746 | -0.0043758 | 0.017466 | 0.0043797 | 6.6381e-06 | 3.9096e-06 | 0.026084 | 0.026084 | 0.026084 | 0.99602 | -0.075981 | 0.99643 | -0.068003 | 7.1659
28 | -0.21237 | -0.053778 | 0.21245 | 0.053829 | 8.059e-05 | 5.0882e-05 | 0.31733 | 0.31733 | 0.31733 | 0.99643 | -0.068003 | 0.99685 | -0.060104 | 17.4359
29 | 0.1949 | 0.049398 | -0.19474 | -0.049294 | 0.00016473 | 0.00010374 | 0.29125 | 0.29125 | 0.29125 | 0.99643 | -0.068003 | 0.99551 | -0.085609 | 16.0027
30 | 0.19135 | 0.048446 | -0.19129 | -0.04841 | 5.8073e-05 | 3.6552e-05 | 0.28619 | 0.28619 | 0.28619 | 0.99551 | -0.085609 | 0.99518 | -0.091932 | 15.7248
31 | 0.18793 | 0.047567 | -0.18781 | -0.047488 | 0.0001248 | 7.8506e-05 | 0.28116 | 0.28116 | 0.28116 | 0.99518 | -0.091932 | 0.99446 | -0.10578 | 15.4485
32 | -0.56472 | -0.14354 | 0.56518 | 0.14383 | 0.00045678 | 0.00029178 | 0.84176 | 0.84176 | 0.84176 | 0.99912 | -0.016781 | 1 | 0 | 46.2507
33 | 0.1761 | 0.044554 | -0.17601 | -0.044497 | 9.0598e-05 | 5.6856e-05 | 0.26365 | 0.26365 | 0.26365 | 0.99446 | -0.10578 | 0.9939 | -0.1165 | 14.4861
34 | -0.0024104 | -0.0006041 | 0.0024104 | 0.00060402 | 3.7759e-08 | -7.8503e-08 | 0.0035869 | 0.0035868 | 0.0035869 | 0.99995 | -0.00093031 | 0.99997 | -0.00060146 | 0.9854
35 | -0.0048466 | -0.0012146 | 0.0048467 | 0.0012146 | 1.3886e-07 | -4.5277e-09 | 0.007212 | 0.0072119 | 0.007212 | 0.99997 | -0.00060146 | 1 | 0 | 1.9813
36 | 0.01642 | 0.004117 | -0.016419 | -0.0041161 | 1.5745e-06 | 9.1763e-07 | 0.024584 | 0.024584 | 0.024584 | 0.9939 | -0.1165 | 0.9938 | -0.11852 | 6.7538
37 | 0.15959 | 0.04038 | -0.1592 | -0.040131 | 0.00039159 | 0.00024967 | 0.23906 | 0.23906 | 0.23906 | 0.9939 | -0.1165 | 0.99124 | -0.16777 | 32.8384
38 | 0.016419 | 0.0041161 | -0.016415 | -0.004114 | 3.7268e-06 | 2.1722e-06 | 0.024584 | 0.024584 | 0.024584 | 0.9938 | -0.11852 | 0.99355 | -0.12328 | 6.7539
39 | 0.043158 | 0.010828 | -0.043128 | -0.010809 | 2.9542e-05 | 1.8665e-05 | 0.064791 | 0.064791 | 0.064791 | 0.99124 | -0.16777 | 0.9905 | -0.18214 | 17.7997
40 | 0.11604 | 0.029303 | -0.11566 | -0.029064 | 0.0003747 | 0.00023939 | 0.17427 | 0.17427 | 0.17427 | 0.99124 | -0.16777 | 0.98775 | -0.2354 | 47.8771
41 | 0.0078824 | 0.0019756 | -0.00788 | -0.0019746 | 2.3794e-06 | 9.5434e-07 | 0.011913 | 0.011913 | 0.011913 | 0.98461 | -0.29651 | 0.98428 | -0.30285 | 3.2727
42 | -0.0093065 | -0.0023325 | 0.0093072 | 0.0023328 | 7.0042e-07 | 3.2817e-07 | 0.014065 | 0.014065 | 0.014065 | 0.98461 | -0.29651 | 0.98469 | -0.29493 | 3.8639
43 | 0.00788 | 0.0019746 | -0.0078793 | -0.0019743 | 7.1626e-07 | 2.8736e-07 | 0.011913 | 0.011913 | 0.011913 | 0.98428 | -0.30285 | 0.98419 | -0.30475 | 3.2728
44 | -0.011977 | -0.0030016 | 0.01198 | 0.0030031 | 2.8223e-06 | 1.514e-06 | 0.018099 | 0.018099 | 0.018099 | 0.98469 | -0.29493 | 0.98494 | -0.28998 | 4.9723
45 | 0.0039371 | 0.00098637 | -0.0039367 | -0.00098652 | 4.6715e-07 | -1.4773e-07 | 0.0059525 | 0.0059527 | 0.0059527 | 0.98419 | -0.30475 | 0.98406 | -0.30724 | 1.6353
46 | 0.0039422 | 0.00098795 | -0.0039421 | -0.00098799 | 1.0269e-07 | -3.2228e-08 | 0.0059603 | 0.0059603 | 0.0059603 | 0.98419 | -0.30475 | 0.98416 | -0.3053 | 1.6375
47 | 0.0011719 | 0.00029356 | -0.0011719 | -0.0002937 | 1.3629e-08 | -1.3885e-07 | 0.0017704 | 0.0017704 | 0.0017704 | 0.98494 | -0.28998 | 0.98493 | -0.29023 | 0.48639
48 | -0.013152 | -0.0032966 | 0.013158 | 0.0032997 | 5.5769e-06 | 3.0896e-06 | 0.01987 | 0.019869 | 0.01987 | 0.98494 | -0.28998 | 0.9854 | -0.28109 | 5.4587
49 | 0.0039367 | 0.00098652 | -0.0039365 | -0.00098657 | 1.7583e-07 | -5.5567e-08 | 0.0059527 | 0.0059527 | 0.0059527 | 0.98406 | -0.30724 | 0.98401 | -0.30818 | 1.6354
50 | -0.013158 | -0.0032997 | 0.01316 | 0.003301 | 2.2976e-06 | 1.2728e-06 | 0.019869 | 0.019869 | 0.019869 | 0.9854 | -0.28109 | 0.98559 | -0.27742 | 5.4586
51 | -0.085407 | -0.021449 | 0.08547 | 0.02149 | 6.3805e-05 | 4.0704e-05 | 0.12878 | 0.12878 | 0.12878 | 0.98694 | -0.25104 | 0.98775 | -0.2354 | 35.3801
52 | 0.085407 | 0.021449 | -0.085299 | -0.021381 | 0.00010735 | 6.8485e-05 | 0.12878 | 0.12878 | 0.12878 | 0.98694 | -0.25104 | 0.98559 | -0.27742 | 35.3802
53 | 0.030194 | 0.0075737 | -0.030184 | -0.0075675 | 9.9086e-06 | 6.1781e-06 | 0.045489 | 0.045489 | 0.045489 | 0.98775 | -0.2354 | 0.98739 | -0.24229 | 12.4969
54 | 0.019448 | 0.0048769 | -0.019443 | -0.0048739 | 5.107e-06 | 3.0658e-06 | 0.02931 | 0.02931 | 0.02931 | 0.98739 | -0.24229 | 0.98711 | -0.2478 | 8.0522
55 | 0.0098305 | 0.0024641 | -0.00983 | -0.0024639 | 5.1824e-07 | 2.5124e-07 | 0.014819 | 0.014819 | 0.014819 | 0.98711 | -0.2478 | 0.98705 | -0.2489 | 4.0712
56 | 0.0096128 | 0.0024097 | -0.0096105 | -0.0024086 | 2.3331e-06 | 1.1146e-06 | 0.014491 | 0.014491 | 0.014491 | 0.98711 | -0.2478 | 0.98685 | -0.25289 | 3.9811
57 | 0.00983 | 0.0024639 | -0.0098289 | -0.0024633 | 1.1231e-06 | 5.4451e-07 | 0.014819 | 0.014819 | 0.014819 | 0.98705 | -0.2489 | 0.98693 | -0.2513 | 4.0712

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.57391 | 0.1456

## res_load
| p_mw | q_mvar
0 | 0.051484 | 0.012903
1 | 0.0011507 | 0.00028838
2 | 0.0060837 | 0.0015247
3 | 0.002917 | 0.00073107
4 | 0.0015371 | 0.00038524
5 | 0.0030698 | 0.00076937
6 | 0.0022756 | 0.00057032
7 | 0.0032358 | 0.00081096
8 | 0.0057601 | 0.0014436
9 | 0.036106 | 0.0090489
10 | 0.00083589 | 0.00020949
11 | 0.0011231 | 0.00028147
12 | 0.0015469 | 0.00038768
13 | 0.0018479 | 0.00046313
14 | 0.084091 | 0.021075
15 | 0.01746 | 0.0043758
16 | 0.0034389 | 0.00086187
17 | 0.0033839 | 0.00084808
18 | 0.0033642 | 0.00084315
19 | 0.0026087 | 0.0006538
20 | 0.011706 | 0.0029338
21 | 0.0024104 | 0.0006041
22 | 0.0024361 | 0.00061056
23 | 0.0022326 | 0.00055955
24 | 0.0014241 | 0.0003569
25 | 0.0039421 | 0.00098799
26 | 0.0011719 | 0.0002937
27 | 0.0039365 | 0.00098657
28 | 0.072139 | 0.01808
29 | 0.016415 | 0.004114
30 | 0.043128 | 0.010809
31 | 0.010736 | 0.0026906
32 | 0.0096105 | 0.0024086
33 | 0.0098289 | 0.0024633
34 | 0.085218 | 0.021358
35 | 0.056927 | 0.014267

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1