## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1630-62_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1630-62_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1630-62_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1630-62_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1630-62_0_5_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_1630-62_0_5_node_35 | 0.4 | n |  | TRUE
6 | bus_LV_1630-62_0_5_node_36 | 0.4 | n |  | TRUE
7 | bus_LV_1630-62_0_5_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_1630-62_0_5_node_32 | 0.4 | n |  | TRUE
9 | bus_LV_1630-62_0_5_node_29 | 0.4 | n |  | TRUE
10 | bus_LV_1630-62_0_5_node_14 | 0.4 | n |  | TRUE
11 | bus_LV_1630-62_0_5_node_42 | 0.4 | n |  | TRUE
12 | bus_LV_1630-62_0_5_node_39 | 0.4 | n |  | TRUE
13 | bus_LV_1630-62_0_5_node_15 | 0.4 | n |  | TRUE
14 | bus_LV_1630-62_0_5_node_30 | 0.4 | n |  | TRUE
15 | bus_LV_1630-62_0_5_node_16 | 0.4 | n |  | TRUE
16 | bus_LV_1630-62_0_5_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_1630-62_0_5_node_6 | 0.4 | n |  | TRUE
18 | bus_LV_1630-62_0_5_node_7 | 0.4 | n |  | TRUE
19 | bus_LV_1630-62_0_5_node_9 | 0.4 | n |  | TRUE
20 | bus_LV_1630-62_0_5_node_10 | 0.4 | n |  | TRUE
21 | bus_LV_1630-62_0_5_node_11 | 0.4 | n |  | TRUE
22 | bus_LV_1630-62_0_5_node_12 | 0.4 | n |  | TRUE
23 | bus_LV_1630-62_0_5_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_1630-62_0_5_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_1630-62_0_5_node_22 | 0.4 | n |  | TRUE
26 | bus_LV_1630-62_0_5_node_20 | 0.4 | n |  | TRUE
27 | bus_LV_1630-62_0_5_node_24 | 0.4 | n |  | TRUE
28 | bus_LV_1630-62_0_5_node_21 | 0.4 | n |  | TRUE
29 | bus_LV_1630-62_0_5_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_1630-62_0_5_node_23 | 0.4 | n |  | TRUE
31 | bus_LV_1630-62_0_5_node_26 | 0.4 | n |  | TRUE
32 | bus_LV_1630-62_0_5_node_28 | 0.4 | n |  | TRUE
33 | bus_LV_1630-62_0_5_node_27 | 0.4 | n |  | TRUE
34 | bus_LV_1630-62_0_5_node_34 | 0.4 | n |  | TRUE
35 | bus_LV_1630-62_0_5_node_40 | 0.4 | n |  | TRUE
36 | bus_LV_1630-62_0_5_node_37 | 0.4 | n |  | TRUE
37 | bus_LV_1630-62_0_5_node_41 | 0.4 | n |  | TRUE
38 | bus_LV_1630-62_0_5_node_38 | 0.4 | n |  | TRUE
39 | bus_MV_225_0_node_10 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1630-62_0_5_load_0 | 0 | 0.013499 | 0.0033832 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1630-62_0_5_load_1 | 1 | 0.014742 | 0.0036948 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1630-62_0_5_load_5 | 4 | 0.030459 | 0.0076337 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1630-62_0_5_load_35 | 5 | 0.0019585 | 0.00049085 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1630-62_0_5_load_36 | 6 | 0.0040235 | 0.0010084 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1630-62_0_5_load_32 | 8 | 0.0023562 | 0.00059052 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1630-62_0_5_load_29 | 9 | 0.013331 | 0.003341 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1630-62_0_5_load_42 | 11 | 0.0022291 | 0.00055867 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1630-62_0_5_load_15 | 13 | 0.051416 | 0.012886 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1630-62_0_5_load_30 | 14 | 0.0085849 | 0.0021516 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1630-62_0_5_load_13 | 16 | 0.084426 | 0.021159 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1630-62_0_5_load_6 | 17 | 0.017536 | 0.0043949 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1630-62_0_5_load_10 | 20 | 0.028871 | 0.0072357 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1630-62_0_5_load_12 | 22 | 0.037918 | 0.0095032 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1630-62_0_5_load_17 | 23 | 0.0075348 | 0.0018884 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1630-62_0_5_load_18 | 24 | 0.0072464 | 0.0018161 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1630-62_0_5_load_20 | 26 | 0.059805 | 0.014989 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1630-62_0_5_load_21 | 28 | 0.048572 | 0.012173 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1630-62_0_5_load_19 | 29 | 0.0091937 | 0.0023042 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1630-62_0_5_load_23 | 30 | 0.057409 | 0.014388 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1630-62_0_5_load_28 | 32 | 0.020233 | 0.005071 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1630-62_0_5_load_27 | 33 | 0.064048 | 0.016052 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1630-62_0_5_load_40 | 35 | 0.0025518 | 0.00063954 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1630-62_0_5_load_37 | 36 | 0.0055827 | 0.0013992 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1630-62_0_5_load_41 | 37 | 0.0052901 | 0.0013258 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1630-62_0_5_load_38 | 38 | 0.0029559 | 0.00074083 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 4 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1630-62_0_5_line_0 |  | 0 | 1 | 0.011555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1630-62_0_5_line_1 |  | 0 | 2 | 0.021944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1630-62_0_5_line_2 |  | 1 | 3 | 0.0086932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1630-62_0_5_line_3 |  | 2 | 4 | 0.019373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1630-62_0_5_line_4 |  | 3 | 5 | 0.0070917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1630-62_0_5_line_5 |  | 3 | 6 | 0.0061333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1630-62_0_5_line_6 |  | 4 | 10 | 0.013959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
7 | LV_1630-62_0_5_line_7 |  | 5 | 11 | 0.0065566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1630-62_0_5_line_8 |  | 6 | 12 | 0.02182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1630-62_0_5_line_9 |  | 7 | 8 | 0.0093732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1630-62_0_5_line_10 |  | 7 | 9 | 0.0081011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1630-62_0_5_line_11 |  | 8 | 13 | 0.0061103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1630-62_0_5_line_12 |  | 9 | 14 | 0.0036355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1630-62_0_5_line_13 |  | 10 | 15 | 0.006997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
14 | LV_1630-62_0_5_line_14 |  | 10 | 16 | 0.020394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
15 | LV_1630-62_0_5_line_15 |  | 11 | 32 | 0.0059951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1630-62_0_5_line_16 |  | 12 | 36 | 0.0097884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1630-62_0_5_line_17 |  | 12 | 34 | 0.012169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1630-62_0_5_line_18 |  | 13 | 21 | 0.021824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1630-62_0_5_line_19 |  | 15 | 25 | 0.015752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1630-62_0_5_line_20 |  | 15 | 26 | 0.012391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1630-62_0_5_line_21 |  | 16 | 21 | 0.0077906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
22 | LV_1630-62_0_5_line_22 |  | 17 | 18 | 0.011468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1630-62_0_5_line_23 |  | 18 | 19 | 0.027583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1630-62_0_5_line_24 |  | 18 | 20 | 0.013547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1630-62_0_5_line_25 |  | 18 | 21 | 0.025238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1630-62_0_5_line_26 |  | 19 | 22 | 0.030982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1630-62_0_5_line_27 |  | 19 | 23 | 0.012496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1630-62_0_5_line_28 |  | 23 | 24 | 0.011304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1630-62_0_5_line_29 |  | 24 | 29 | 0.0022937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1630-62_0_5_line_30 |  | 25 | 27 | 0.023781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1630-62_0_5_line_31 |  | 26 | 28 | 0.022556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1630-62_0_5_line_32 |  | 27 | 30 | 0.013338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1630-62_0_5_line_33 |  | 31 | 32 | 0.012815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1630-62_0_5_line_34 |  | 31 | 33 | 0.015829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1630-62_0_5_line_35 |  | 34 | 35 | 0.029222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1630-62_0_5_line_36 |  | 35 | 37 | 0.0098159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1630-62_0_5_line_37 |  | 36 | 38 | 0.018234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1630-62_0_5_trafo_5 | 0.63 MVA 20/0.4 kV | 39 | 4 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2723444.6914 | 1217827.5367 | 2723456.0068 | 1217829.8785
1 | 2723433.6786 | 1217812.8533 | 2723443.2866 | 1217816.3884 | 2723444.0378 | 1217827.4014 | 2723444.6914 | 1217827.5367
2 | 2723464.5197 | 1217831.6402 | 2723456.0068 | 1217829.8785
3 | 2723433.6786 | 1217812.8533 | 2723436.3755 | 1217793.6693
4 | 2723464.5197 | 1217831.6402 | 2723470.3882 | 1217827.6587
5 | 2723464.5197 | 1217831.6402 | 2723462.9059 | 1217837.5573
6 | 2723438.3189 | 1217779.8459 | 2723436.3755 | 1217793.6693
7 | 2723473.4692 | 1217821.871 | 2723471.9051 | 1217824.8101 | 2723470.3882 | 1217827.6587 | 2723470.3882 | 1217827.6587
8 | 2723457.1647 | 1217858.6089 | 2723462.9059 | 1217837.5573
9 | 2723405.7482 | 1217814.8208 | 2723405.9459 | 1217812.979 | 2723406.8524 | 1217805.513
10 | 2723405.7482 | 1217814.8208 | 2723404.8954 | 1217822.8769
11 | 2723406.8524 | 1217805.513 | 2723407.589 | 1217799.4472
12 | 2723404.5127 | 1217826.4923 | 2723404.8954 | 1217822.8769
13 | 2723438.3189 | 1217779.8459 | 2723445.3364 | 1217779.7801
14 | 2723438.3189 | 1217779.8459 | 2723427.7181 | 1217779.5149 | 2723417.9576 | 1217778.7791
15 | 2723473.4692 | 1217821.871 | 2723475.7213 | 1217817.6391 | 2723476.3032 | 1217816.5883
16 | 2723457.1647 | 1217858.6089 | 2723462.6295 | 1217861.6467 | 2723465.9364 | 1217862.8988
17 | 2723445.8682 | 1217854.1158 | 2723448.7546 | 1217854.7983 | 2723457.1647 | 1217858.6089
18 | 2723410.2364 | 1217777.7848 | 2723407.7587 | 1217798.0493 | 2723407.589 | 1217799.4472
19 | 2723461.1333 | 1217779.6294 | 2723445.3364 | 1217779.7801
20 | 2723445.3364 | 1217779.7801 | 2723445.4558 | 1217767.3898
21 | 2723410.2364 | 1217777.7848 | 2723415.3074 | 1217778.5794 | 2723417.9576 | 1217778.7791
22 | 2723385.5608 | 1217772.5476 | 2723374.5186 | 1217769.4498
23 | 2723385.5608 | 1217772.5476 | 2723377.8064 | 1217799.0188
24 | 2723385.5608 | 1217772.5476 | 2723389.7175 | 1217759.6544
25 | 2723385.5608 | 1217772.5476 | 2723398.3219 | 1217775.6253 | 2723402.4426 | 1217776.478 | 2723410.2364 | 1217777.7848
26 | 2723377.8064 | 1217799.0188 | 2723348.6353 | 1217788.5811
27 | 2723377.8064 | 1217799.0188 | 2723374.2933 | 1217811.0105
28 | 2723371.1153 | 1217821.8584 | 2723374.2933 | 1217811.0105
29 | 2723370.4704 | 1217824.0595 | 2723371.1153 | 1217821.8584
30 | 2723461.1333 | 1217779.6294 | 2723480.006 | 1217779.4536 | 2723484.913 | 1217779.3664
31 | 2723453.8455 | 1217753.0219 | 2723445.5936 | 1217753.0868 | 2723445.4558 | 1217767.3898
32 | 2723484.913 | 1217779.3664 | 2723484.401 | 1217766.0379
33 | 2723480.3529 | 1217804.8362 | 2723480.415 | 1217809.1631 | 2723476.3032 | 1217816.5883
34 | 2723480.3529 | 1217804.8362 | 2723496.1642 | 1217805.5751
35 | 2723445.8682 | 1217854.1158 | 2723440.7493 | 1217881.6424 | 2723440.4989 | 1217882.8402
36 | 2723438.4903 | 1217892.4484 | 2723440.4989 | 1217882.8402
37 | 2723465.9364 | 1217862.8988 | 2723466.6375 | 1217863.1642 | 2723471.1844 | 1217864.326 | 2723479.7653 | 1217865.7605 | 2723483.6596 | 1217867.0136

## bus_geodata
| x | y | coords
0 | 2723444.6914 | 1217827.5367
1 | 2723456.0068 | 1217829.8785
2 | 2723433.6786 | 1217812.8533
3 | 2723464.5197 | 1217831.6402
4 | 2723436.3755 | 1217793.6693
5 | 2723470.3882 | 1217827.6587
6 | 2723462.9059 | 1217837.5573
7 | 2723405.7482 | 1217814.8208
8 | 2723406.8524 | 1217805.513
9 | 2723404.8954 | 1217822.8769
10 | 2723438.3189 | 1217779.8459
11 | 2723473.4692 | 1217821.871
12 | 2723457.1647 | 1217858.6089
13 | 2723407.589 | 1217799.4472
14 | 2723404.5127 | 1217826.4923
15 | 2723445.3364 | 1217779.7801
16 | 2723417.9576 | 1217778.7791
17 | 2723374.5186 | 1217769.4498
18 | 2723385.5608 | 1217772.5476
19 | 2723377.8064 | 1217799.0188
20 | 2723389.7175 | 1217759.6544
21 | 2723410.2364 | 1217777.7848
22 | 2723348.6353 | 1217788.5811
23 | 2723374.2933 | 1217811.0105
24 | 2723371.1153 | 1217821.8584
25 | 2723461.1333 | 1217779.6294
26 | 2723445.4558 | 1217767.3898
27 | 2723484.913 | 1217779.3664
28 | 2723453.8455 | 1217753.0219
29 | 2723370.4704 | 1217824.0595
30 | 2723484.401 | 1217766.0379
31 | 2723480.3529 | 1217804.8362
32 | 2723476.3032 | 1217816.5883
33 | 2723496.1642 | 1217805.5751
34 | 2723445.8682 | 1217854.1158
35 | 2723440.4989 | 1217882.8402
36 | 2723465.9364 | 1217862.8988
37 | 2723438.4903 | 1217892.4484
38 | 2723483.6596 | 1217867.0136
39 | 2723438.3189 | 1217779.8459

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99481 | -0.099259 | 0.013499 | 0.0033832
1 | 0.99351 | -0.12445 | 0.014742 | 0.0036948
2 | 0.99757 | -0.046412 | 0 | 0
3 | 0.99264 | -0.14118 | 0 | 0
4 | 1 | 0 | -0.57597 | -0.1451
5 | 0.99207 | -0.15228 | 0.0019585 | 0.00049085
6 | 0.99253 | -0.14339 | 0.0040235 | 0.0010084
7 | 0.99489 | -0.098214 | 0 | 0
8 | 0.99508 | -0.094597 | 0.0023562 | 0.00059052
9 | 0.99473 | -0.10134 | 0.013331 | 0.003341
10 | 0.99862 | -0.026448 | 0 | 0
11 | 0.99155 | -0.16233 | 0.0022291 | 0.00055867
12 | 0.9922 | -0.14972 | 0 | 0
13 | 0.99521 | -0.091987 | 0.051416 | 0.012886
14 | 0.9947 | -0.10189 | 0.0085849 | 0.0021516
15 | 0.99809 | -0.036591 | 0 | 0
16 | 0.99737 | -0.050397 | 0.084426 | 0.021159
17 | 0.99404 | -0.11459 | 0.017536 | 0.0043949
18 | 0.99422 | -0.11104 | 0 | 0
19 | 0.99266 | -0.14119 | 0 | 0
20 | 0.99386 | -0.11794 | 0.028871 | 0.0072357
21 | 0.99672 | -0.062963 | 0 | 0
22 | 0.99159 | -0.16199 | 0.037918 | 0.0095032
23 | 0.99239 | -0.14649 | 0.0075348 | 0.0018884
24 | 0.99222 | -0.14978 | 0.0072464 | 0.0018161
25 | 0.99727 | -0.052426 | 0 | 0
26 | 0.99687 | -0.060115 | 0.059805 | 0.014989
27 | 0.99602 | -0.076383 | 0 | 0
28 | 0.99587 | -0.079349 | 0.048572 | 0.012173
29 | 0.9922 | -0.15015 | 0.0091937 | 0.0023042
30 | 0.99533 | -0.089845 | 0.057409 | 0.014388
31 | 0.99033 | -0.18587 | 0 | 0
32 | 0.99108 | -0.17129 | 0.020233 | 0.005071
33 | 0.9894 | -0.2039 | 0.064048 | 0.016052
34 | 0.99211 | -0.15141 | 0 | 0
35 | 0.9919 | -0.15547 | 0.0025518 | 0.00063954
36 | 0.99212 | -0.1512 | 0.0055827 | 0.0013992
37 | 0.99186 | -0.15639 | 0.0052901 | 0.0013258
38 | 0.99207 | -0.15215 | 0.0029559 | 0.00074083
39 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.12409 | 0.03128 | -0.12394 | -0.031185 | 0.00014938 | 9.5454e-05 | 0.18567 | 0.18567 | 0.18567 | 0.99481 | -0.099259 | 0.99351 | -0.12445 | 51.0083
1 | -0.13759 | -0.034664 | 0.13794 | 0.034887 | 0.00034873 | 0.0002229 | 0.20586 | 0.20586 | 0.20586 | 0.99481 | -0.099259 | 0.99757 | -0.046412 | 56.5555
2 | 0.1092 | 0.02749 | -0.10911 | -0.027434 | 8.7242e-05 | 5.5722e-05 | 0.16359 | 0.16359 | 0.16359 | 0.99351 | -0.12445 | 0.99264 | -0.14118 | 44.9424
3 | -0.13794 | -0.034887 | 0.13824 | 0.035083 | 0.00030787 | 0.00019678 | 0.20586 | 0.20586 | 0.20586 | 0.99757 | -0.046412 | 1 | 0 | 56.5555
4 | 0.088694 | 0.022316 | -0.088647 | -0.022286 | 4.7033e-05 | 3.0009e-05 | 0.13299 | 0.13299 | 0.13299 | 0.99264 | -0.14118 | 0.99207 | -0.15228 | 36.535
5 | 0.020414 | 0.0051189 | -0.020412 | -0.0051176 | 2.154e-06 | 1.2993e-06 | 0.030603 | 0.030603 | 0.030603 | 0.99264 | -0.14118 | 0.99253 | -0.14339 | 8.4074
6 | 0.43608 | 0.11002 | -0.43552 | -0.10966 | 0.00055147 | 0.00035221 | 0.64914 | 0.64914 | 0.64914 | 1 | 0 | 0.99862 | -0.026448 | 44.584
7 | 0.086688 | 0.021795 | -0.086647 | -0.021768 | 4.1585e-05 | 2.6529e-05 | 0.13005 | 0.13005 | 0.13005 | 0.99207 | -0.15228 | 0.99155 | -0.16233 | 35.7279
8 | 0.016389 | 0.0041092 | -0.016384 | -0.0041063 | 4.9401e-06 | 2.8798e-06 | 0.024571 | 0.024571 | 0.024571 | 0.99253 | -0.14339 | 0.9922 | -0.14972 | 6.7503
9 | -0.021919 | -0.0054947 | 0.021923 | 0.005497 | 3.7779e-06 | 2.2961e-06 | 0.032784 | 0.032784 | 0.032784 | 0.99489 | -0.098214 | 0.99508 | -0.094597 | 9.0066
10 | 0.021919 | 0.0054947 | -0.021916 | -0.0054927 | 3.2652e-06 | 1.9845e-06 | 0.032784 | 0.032784 | 0.032784 | 0.99489 | -0.098214 | 0.99473 | -0.10134 | 9.0066
11 | -0.024279 | -0.0060875 | 0.024282 | 0.0060894 | 3.0206e-06 | 1.8538e-06 | 0.036307 | 0.036307 | 0.036307 | 0.99508 | -0.094597 | 0.99521 | -0.091987 | 9.9746
12 | 0.0085852 | 0.0021517 | -0.0085849 | -0.0021516 | 2.2486e-07 | 9.6715e-08 | 0.012843 | 0.012843 | 0.012843 | 0.99473 | -0.10134 | 0.9947 | -0.10189 | 3.5282
13 | 0.16618 | 0.0418 | -0.1661 | -0.041749 | 8.0476e-05 | 5.1322e-05 | 0.24767 | 0.24767 | 0.24767 | 0.99862 | -0.026448 | 0.99809 | -0.036591 | 34.0209
14 | 0.26935 | 0.067863 | -0.26904 | -0.067667 | 0.00030817 | 0.00019616 | 0.40147 | 0.40147 | 0.40147 | 0.99862 | -0.026448 | 0.99737 | -0.050397 | 27.5736
15 | 0.084418 | 0.021209 | -0.084382 | -0.021186 | 3.6092e-05 | 2.3021e-05 | 0.1267 | 0.1267 | 0.1267 | 0.99155 | -0.16233 | 0.99108 | -0.17129 | 34.8089
16 | 0.0085394 | 0.0021401 | -0.0085388 | -0.0021398 | 6.0203e-07 | 2.5889e-07 | 0.012807 | 0.012807 | 0.012807 | 0.9922 | -0.14972 | 0.99212 | -0.1512 | 3.5183
17 | 0.0078443 | 0.0019662 | -0.0078437 | -0.001966 | 6.3157e-07 | 2.4705e-07 | 0.011764 | 0.011764 | 0.011764 | 0.9922 | -0.14972 | 0.99211 | -0.15141 | 3.232
18 | -0.075698 | -0.018975 | 0.075803 | 0.019042 | 0.00010484 | 6.6813e-05 | 0.11318 | 0.11318 | 0.11318 | 0.99521 | -0.091987 | 0.99672 | -0.062963 | 31.0943
19 | 0.057556 | 0.014481 | -0.057512 | -0.014453 | 4.3513e-05 | 2.7642e-05 | 0.085827 | 0.085827 | 0.085827 | 0.99809 | -0.036591 | 0.99727 | -0.052426 | 23.5789
20 | 0.10854 | 0.027268 | -0.10842 | -0.02719 | 0.00012171 | 7.7733e-05 | 0.16184 | 0.16185 | 0.16185 | 0.99809 | -0.036591 | 0.99687 | -0.060115 | 44.4629
21 | 0.18461 | 0.046508 | -0.1845 | -0.046437 | 0.00011088 | 7.0761e-05 | 0.27551 | 0.27551 | 0.27551 | 0.99737 | -0.050397 | 0.99672 | -0.062963 | 37.8453
22 | -0.017536 | -0.0043949 | 0.017539 | 0.0043967 | 2.9635e-06 | 1.748e-06 | 0.02625 | 0.02625 | 0.02625 | 0.99404 | -0.11459 | 0.99422 | -0.11104 | 7.2116
23 | 0.062029 | 0.015598 | -0.06194 | -0.015541 | 8.9183e-05 | 5.672e-05 | 0.092855 | 0.092855 | 0.092855 | 0.99422 | -0.11104 | 0.99266 | -0.14119 | 25.5096
24 | 0.02888 | 0.0072416 | -0.028871 | -0.0072357 | 9.4917e-06 | 5.8991e-06 | 0.043225 | 0.043226 | 0.043226 | 0.99422 | -0.11104 | 0.99386 | -0.11794 | 11.8751
25 | -0.10845 | -0.027236 | 0.1087 | 0.027395 | 0.00024939 | 0.00015928 | 0.16233 | 0.16233 | 0.16233 | 0.99422 | -0.11104 | 0.99672 | -0.062963 | 44.5963
26 | 0.037956 | 0.0095269 | -0.037918 | -0.0095032 | 3.7618e-05 | 2.3675e-05 | 0.056902 | 0.056902 | 0.056902 | 0.99266 | -0.14119 | 0.99159 | -0.16199 | 15.6324
27 | 0.023984 | 0.006014 | -0.023978 | -0.0060103 | 6.0571e-06 | 3.7151e-06 | 0.035953 | 0.035953 | 0.035953 | 0.99266 | -0.14119 | 0.99239 | -0.14649 | 9.8772
28 | 0.016443 | 0.0041219 | -0.01644 | -0.0041203 | 2.5768e-06 | 1.5031e-06 | 0.024655 | 0.024655 | 0.024655 | 0.99239 | -0.14649 | 0.99222 | -0.14978 | 6.7734
29 | 0.0091939 | 0.0023042 | -0.0091937 | -0.0023042 | 1.6352e-07 | 7.5026e-08 | 0.013788 | 0.013788 | 0.013788 | 0.99222 | -0.14978 | 0.9922 | -0.15015 | 3.7879
30 | 0.057512 | 0.014453 | -0.057446 | -0.014412 | 6.5693e-05 | 4.1733e-05 | 0.085827 | 0.085827 | 0.085827 | 0.99727 | -0.052426 | 0.99602 | -0.076383 | 23.5789
31 | 0.048616 | 0.012201 | -0.048572 | -0.012173 | 4.4552e-05 | 2.8219e-05 | 0.072575 | 0.072575 | 0.072575 | 0.99687 | -0.060115 | 0.99587 | -0.079349 | 19.9382
32 | 0.057446 | 0.014412 | -0.057409 | -0.014388 | 3.6845e-05 | 2.3407e-05 | 0.085827 | 0.085827 | 0.085827 | 0.99602 | -0.076383 | 0.99533 | -0.089845 | 23.579
33 | -0.064104 | -0.016087 | 0.064148 | 0.016115 | 4.459e-05 | 2.8372e-05 | 0.096326 | 0.096326 | 0.096326 | 0.99033 | -0.18587 | 0.99108 | -0.17129 | 26.4632
34 | 0.064104 | 0.016087 | -0.064048 | -0.016052 | 5.5076e-05 | 3.5045e-05 | 0.096326 | 0.096326 | 0.096326 | 0.99033 | -0.18587 | 0.9894 | -0.2039 | 26.4632
35 | 0.0078437 | 0.001966 | -0.0078422 | -0.0019654 | 1.5167e-06 | 5.9339e-07 | 0.011764 | 0.011765 | 0.011765 | 0.99211 | -0.15141 | 0.9919 | -0.15547 | 3.232
36 | 0.0052904 | 0.0013259 | -0.0052901 | -0.0013258 | 2.3185e-07 | 2.1692e-08 | 0.0079364 | 0.0079365 | 0.0079365 | 0.9919 | -0.15547 | 0.99186 | -0.15639 | 2.1803
37 | 0.0029561 | 0.00074068 | -0.0029559 | -0.00074083 | 1.344e-07 | -1.4943e-07 | 0.0044336 | 0.0044336 | 0.0044336 | 0.99212 | -0.1512 | 0.99207 | -0.15215 | 1.218

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.60643 | 0.15273

## res_load
| p_mw | q_mvar
0 | 0.013499 | 0.0033832
1 | 0.014742 | 0.0036948
2 | 0.030459 | 0.0076337
3 | 0.0019585 | 0.00049085
4 | 0.0040235 | 0.0010084
5 | 0.0023562 | 0.00059052
6 | 0.013331 | 0.003341
7 | 0.0022291 | 0.00055867
8 | 0.051416 | 0.012886
9 | 0.0085849 | 0.0021516
10 | 0.084426 | 0.021159
11 | 0.017536 | 0.0043949
12 | 0.028871 | 0.0072357
13 | 0.037918 | 0.0095032
14 | 0.0075348 | 0.0018884
15 | 0.0072464 | 0.0018161
16 | 0.059805 | 0.014989
17 | 0.048572 | 0.012173
18 | 0.0091937 | 0.0023042
19 | 0.057409 | 0.014388
20 | 0.020233 | 0.005071
21 | 0.064048 | 0.016052
22 | 0.0025518 | 0.00063954
23 | 0.0055827 | 0.0013992
24 | 0.0052901 | 0.0013258
25 | 0.0029559 | 0.00074083

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1