## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1630-64_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1630-64_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1630-64_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1630-64_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1630-64_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1630-64_0_6_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1630-64_0_6_node_15 | 0.4 | n |  | TRUE
7 | bus_LV_1630-64_0_6_node_43 | 0.4 | n |  | TRUE
8 | bus_LV_1630-64_0_6_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_1630-64_0_6_node_34 | 0.4 | n |  | TRUE
10 | bus_LV_1630-64_0_6_node_33 | 0.4 | n |  | TRUE
11 | bus_LV_1630-64_0_6_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_1630-64_0_6_node_12 | 0.4 | n |  | TRUE
13 | bus_LV_1630-64_0_6_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_1630-64_0_6_node_40 | 0.4 | n |  | TRUE
15 | bus_LV_1630-64_0_6_node_32 | 0.4 | n |  | TRUE
16 | bus_LV_1630-64_0_6_node_36 | 0.4 | n |  | TRUE
17 | bus_LV_1630-64_0_6_node_38 | 0.4 | n |  | TRUE
18 | bus_LV_1630-64_0_6_node_35 | 0.4 | n |  | TRUE
19 | bus_LV_1630-64_0_6_node_28 | 0.4 | n |  | TRUE
20 | bus_LV_1630-64_0_6_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_1630-64_0_6_node_17 | 0.4 | n |  | TRUE
22 | bus_LV_1630-64_0_6_node_16 | 0.4 | n |  | TRUE
23 | bus_LV_1630-64_0_6_node_11 | 0.4 | n |  | TRUE
24 | bus_LV_1630-64_0_6_node_27 | 0.4 | n |  | TRUE
25 | bus_LV_1630-64_0_6_node_23 | 0.4 | n |  | TRUE
26 | bus_LV_1630-64_0_6_node_20 | 0.4 | n |  | TRUE
27 | bus_LV_1630-64_0_6_node_26 | 0.4 | n |  | TRUE
28 | bus_LV_1630-64_0_6_node_18 | 0.4 | n |  | TRUE
29 | bus_LV_1630-64_0_6_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_1630-64_0_6_node_21 | 0.4 | n |  | TRUE
31 | bus_LV_1630-64_0_6_node_22 | 0.4 | n |  | TRUE
32 | bus_LV_1630-64_0_6_node_24 | 0.4 | n |  | TRUE
33 | bus_LV_1630-64_0_6_node_31 | 0.4 | n |  | TRUE
34 | bus_LV_1630-64_0_6_node_30 | 0.4 | n |  | TRUE
35 | bus_LV_1630-64_0_6_node_25 | 0.4 | n |  | TRUE
36 | bus_LV_1630-64_0_6_node_39 | 0.4 | n |  | TRUE
37 | bus_LV_1630-64_0_6_node_29 | 0.4 | n |  | TRUE
38 | bus_LV_1630-64_0_6_node_37 | 0.4 | n |  | TRUE
39 | bus_MV_225_0_node_100 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1630-64_0_6_load_0 | 0 | 0.038512 | 0.0096521 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1630-64_0_6_load_1 | 1 | 0.02573 | 0.0064484 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1630-64_0_6_load_3 | 3 | 0.01389 | 0.0034813 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1630-64_0_6_load_4 | 4 | 0.029634 | 0.007427 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1630-64_0_6_load_43 | 7 | 0.0059395 | 0.0014886 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1630-64_0_6_load_34 | 9 | 0.014662 | 0.0036747 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1630-64_0_6_load_33 | 10 | 0.038214 | 0.0095773 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1630-64_0_6_load_10 | 13 | 0.048586 | 0.012177 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1630-64_0_6_load_40 | 14 | 0.022739 | 0.0056988 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1630-64_0_6_load_32 | 15 | 0.0052306 | 0.0013109 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1630-64_0_6_load_35 | 18 | 0.01374 | 0.0034436 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1630-64_0_6_load_17 | 21 | 0.06425 | 0.016103 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1630-64_0_6_load_16 | 22 | 0.061882 | 0.015509 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1630-64_0_6_load_11 | 23 | 0.062204 | 0.01559 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1630-64_0_6_load_27 | 24 | 0.035035 | 0.0087805 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1630-64_0_6_load_23 | 25 | 0.0049412 | 0.0012384 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1630-64_0_6_load_18 | 28 | 0.0096173 | 0.0024103 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1630-64_0_6_load_19 | 29 | 0.0054966 | 0.0013776 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1630-64_0_6_load_21 | 30 | 0.0041561 | 0.0010416 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1630-64_0_6_load_24 | 32 | 0.0062891 | 0.0015762 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1630-64_0_6_load_30 | 34 | 0.005404 | 0.0013544 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1630-64_0_6_load_25 | 35 | 0.0063078 | 0.0015809 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1630-64_0_6_load_39 | 36 | 0.020315 | 0.0050915 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1630-64_0_6_load_29 | 37 | 0.0067855 | 0.0017006 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1630-64_0_6_load_37 | 38 | 0.008548 | 0.0021423 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 19 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1630-64_0_6_line_0 |  | 0 | 1 | 0.016521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1630-64_0_6_line_1 |  | 0 | 2 | 0.0092173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1630-64_0_6_line_2 |  | 1 | 3 | 0.0041238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1630-64_0_6_line_3 |  | 2 | 4 | 0.01745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1630-64_0_6_line_4 |  | 2 | 5 | 0.045575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1630-64_0_6_line_5 |  | 3 | 6 | 0.02118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1630-64_0_6_line_6 |  | 5 | 7 | 0.019089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1630-64_0_6_line_7 |  | 6 | 14 | 0.007221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_1630-64_0_6_line_8 |  | 6 | 15 | 0.026442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1630-64_0_6_line_9 |  | 8 | 9 | 0.02684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1630-64_0_6_line_10 |  | 8 | 10 | 0.024324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1630-64_0_6_line_11 |  | 10 | 12 | 0.016332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1630-64_0_6_line_12 |  | 11 | 12 | 0.051161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1630-64_0_6_line_13 |  | 11 | 13 | 0.023214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1630-64_0_6_line_14 |  | 12 | 19 | 0.008109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_1630-64_0_6_line_15 |  | 13 | 23 | 0.0046376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1630-64_0_6_line_16 |  | 14 | 19 | 0.035979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
17 | LV_1630-64_0_6_line_17 |  | 15 | 27 | 0.012896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1630-64_0_6_line_18 |  | 16 | 17 | 0.02763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1630-64_0_6_line_19 |  | 16 | 18 | 0.046725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1630-64_0_6_line_20 |  | 17 | 36 | 0.03143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1630-64_0_6_line_21 |  | 18 | 38 | 0.0038772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1630-64_0_6_line_22 |  | 19 | 24 | 0.017837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
23 | LV_1630-64_0_6_line_23 |  | 20 | 21 | 0.0024445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1630-64_0_6_line_24 |  | 20 | 22 | 0.012311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1630-64_0_6_line_25 |  | 21 | 24 | 0.004686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1630-64_0_6_line_26 |  | 25 | 26 | 0.0038689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1630-64_0_6_line_27 |  | 26 | 31 | 0.020025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1630-64_0_6_line_28 |  | 26 | 28 | 0.010209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1630-64_0_6_line_29 |  | 27 | 33 | 0.010212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1630-64_0_6_line_30 |  | 27 | 34 | 0.02918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1630-64_0_6_line_31 |  | 27 | 31 | 0.02351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1630-64_0_6_line_32 |  | 28 | 29 | 0.0090437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1630-64_0_6_line_33 |  | 29 | 30 | 0.0073448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1630-64_0_6_line_34 |  | 31 | 32 | 0.010374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1630-64_0_6_line_35 |  | 32 | 35 | 0.0063518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1630-64_0_6_line_36 |  | 33 | 36 | 0.010749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1630-64_0_6_line_37 |  | 34 | 37 | 0.0091712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1630-64_0_6_trafo_28 | 0.63 MVA 20/0.4 kV | 39 | 19 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2723371.0962 | 1217700.6982 | 2723368.408 | 1217701.07 | 2723359.5139 | 1217701.5529 | 2723354.6136 | 1217701.5709
1 | 2723380.2266 | 1217699.4356 | 2723371.0962 | 1217700.6982
2 | 2723350.4898 | 1217701.586 | 2723354.6136 | 1217701.5709
3 | 2723380.2266 | 1217699.4356 | 2723378.7873 | 1217682.0478
4 | 2723380.2266 | 1217699.4356 | 2723388.7068 | 1217697.3095 | 2723401.4971 | 1217691.2919 | 2723405.8843 | 1217687.7133 | 2723414.523 | 1217679.4079 | 2723418.1718 | 1217675.9141
5 | 2723329.4537 | 1217700.0073 | 2723338.532 | 1217701.6298 | 2723350.4898 | 1217701.586
6 | 2723418.1718 | 1217675.9141 | 2723401.9264 | 1217665.8142
7 | 2723329.4537 | 1217700.0073 | 2723327.1931 | 1217706.8659
8 | 2723329.4537 | 1217700.0073 | 2723330.5624 | 1217694.1368 | 2723331.3277 | 1217689.449 | 2723331.6538 | 1217683.2398 | 2723331.4589 | 1217675.4185 | 2723331.289 | 1217673.7505
9 | 2723340.961 | 1217759.225 | 2723332.5148 | 1217782.8131 | 2723334.1962 | 1217783.4147
10 | 2723340.961 | 1217759.225 | 2723318.0311 | 1217751.109
11 | 2723303.3882 | 1217743.9022 | 2723316.5682 | 1217750.5912 | 2723318.0311 | 1217751.109
12 | 2723285.9496 | 1217791.801 | 2723288.076 | 1217784.4503 | 2723290.2024 | 1217777.0997 | 2723292.992 | 1217767.0607 | 2723294.8348 | 1217762.0394 | 2723296.6613 | 1217757.4402 | 2723299.1456 | 1217751.5092 | 2723303.3882 | 1217743.9022
13 | 2723285.9496 | 1217791.801 | 2723308.4177 | 1217797.6377
14 | 2723303.3882 | 1217743.9022 | 2723307.8117 | 1217737.0995
15 | 2723308.4177 | 1217797.6377 | 2723312.9063 | 1217798.8038
16 | 2723307.8117 | 1217737.0995 | 2723320.2195 | 1217719.8428 | 2723322.417 | 1217716.0297 | 2723324.2322 | 1217713.0761 | 2723327.1931 | 1217706.8659
17 | 2723329.9823 | 1217660.9211 | 2723331.289 | 1217673.7505
18 | 2723376.2953 | 1217627.8762 | 2723350.6331 | 1217617.4479
19 | 2723376.2953 | 1217627.8762 | 2723360.8635 | 1217664.6298 | 2723360.6146 | 1217671.4888
20 | 2723350.6331 | 1217617.4479 | 2723340.9472 | 1217647.3485
21 | 2723360.474 | 1217675.3635 | 2723360.6146 | 1217671.4888
22 | 2723307.8117 | 1217737.0995 | 2723292.6883 | 1217727.6428
23 | 2723286.6425 | 1217723.8623 | 2723288.7151 | 1217725.1583
24 | 2723286.6425 | 1217723.8623 | 2723280.4045 | 1217734.4755
25 | 2723292.6883 | 1217727.6428 | 2723288.7151 | 1217725.1583
26 | 2723286.4493 | 1217663.1443 | 2723282.5853 | 1217663.3388
27 | 2723286.4493 | 1217663.1443 | 2723294.5757 | 1217663.4348 | 2723300.8617 | 1217663.4983 | 2723306.5232 | 1217663.2819
28 | 2723286.4493 | 1217663.1443 | 2723285.5186 | 1217673.3108
29 | 2723329.9823 | 1217660.9211 | 2723330.7475 | 1217650.7401
30 | 2723329.9823 | 1217660.9211 | 2723307.1368 | 1217649.0502 | 2723303.8282 | 1217648.1274
31 | 2723329.9823 | 1217660.9211 | 2723306.5232 | 1217663.2819
32 | 2723284.6941 | 1217682.3169 | 2723285.5186 | 1217673.3108
33 | 2723278.4409 | 1217683.3434 | 2723284.5849 | 1217683.5105 | 2723284.6941 | 1217682.3169
34 | 2723306.5232 | 1217663.2819 | 2723305.7824 | 1217673.629
35 | 2723305.3289 | 1217679.9645 | 2723305.7824 | 1217673.629
36 | 2723330.7475 | 1217650.7401 | 2723340.9472 | 1217647.3485
37 | 2723294.9943 | 1217645.6634 | 2723303.8282 | 1217648.1274

## bus_geodata
| x | y | coords
0 | 2723371.0962 | 1217700.6982
1 | 2723354.6136 | 1217701.5709
2 | 2723380.2266 | 1217699.4356
3 | 2723350.4898 | 1217701.586
4 | 2723378.7873 | 1217682.0478
5 | 2723418.1718 | 1217675.9141
6 | 2723329.4537 | 1217700.0073
7 | 2723401.9264 | 1217665.8142
8 | 2723340.961 | 1217759.225
9 | 2723334.1962 | 1217783.4147
10 | 2723318.0311 | 1217751.109
11 | 2723285.9496 | 1217791.801
12 | 2723303.3882 | 1217743.9022
13 | 2723308.4177 | 1217797.6377
14 | 2723327.1931 | 1217706.8659
15 | 2723331.289 | 1217673.7505
16 | 2723376.2953 | 1217627.8762
17 | 2723350.6331 | 1217617.4479
18 | 2723360.6146 | 1217671.4888
19 | 2723307.8117 | 1217737.0995
20 | 2723286.6425 | 1217723.8623
21 | 2723288.7151 | 1217725.1583
22 | 2723280.4045 | 1217734.4755
23 | 2723312.9063 | 1217798.8038
24 | 2723292.6883 | 1217727.6428
25 | 2723282.5853 | 1217663.3388
26 | 2723286.4493 | 1217663.1443
27 | 2723329.9823 | 1217660.9211
28 | 2723285.5186 | 1217673.3108
29 | 2723284.6941 | 1217682.3169
30 | 2723278.4409 | 1217683.3434
31 | 2723306.5232 | 1217663.2819
32 | 2723305.7824 | 1217673.629
33 | 2723330.7475 | 1217650.7401
34 | 2723303.8282 | 1217648.1274
35 | 2723305.3289 | 1217679.9645
36 | 2723340.9472 | 1217647.3485
37 | 2723294.9943 | 1217645.6634
38 | 2723360.474 | 1217675.3635
39 | 2723303.3882 | 1217743.9022

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99177 | -0.15819 | 0.038512 | 0.0096521
1 | 0.99289 | -0.13652 | 0.02573 | 0.0064484
2 | 0.99147 | -0.164 | 0 | 0
3 | 0.99326 | -0.12924 | 0.01389 | 0.0034813
4 | 0.991 | -0.17317 | 0.029634 | 0.007427
5 | 0.99122 | -0.1688 | 0 | 0
6 | 0.99547 | -0.086791 | 0 | 0
7 | 0.99112 | -0.17081 | 0.0059395 | 0.0014886
8 | 0.99829 | -0.032891 | 0 | 0
9 | 0.99793 | -0.039777 | 0.014662 | 0.0036747
10 | 0.99861 | -0.026656 | 0.038214 | 0.0095773
11 | 0.99421 | -0.111 | 0 | 0
12 | 0.99939 | -0.011573 | 0 | 0
13 | 0.99186 | -0.15646 | 0.048586 | 0.012177
14 | 0.99616 | -0.07343 | 0.022739 | 0.0056988
15 | 0.99312 | -0.13194 | 0.0052306 | 0.0013109
16 | 0.99002 | -0.19205 | 0 | 0
17 | 0.99058 | -0.1811 | 0 | 0
18 | 0.98906 | -0.21059 | 0.01374 | 0.0034436
19 | 1 | 0 | -0.56274 | -0.14177
20 | 0.99802 | -0.038066 | 0 | 0
21 | 0.99816 | -0.035419 | 0.06425 | 0.016103
22 | 0.99733 | -0.051406 | 0.061882 | 0.015509
23 | 0.99159 | -0.16157 | 0.062204 | 0.01559
24 | 0.99869 | -0.025085 | 0.035035 | 0.0087805
25 | 0.99079 | -0.17712 | 0.0049412 | 0.0012384
26 | 0.99081 | -0.17678 | 0 | 0
27 | 0.99204 | -0.15284 | 0 | 0
28 | 0.99063 | -0.18027 | 0.0096173 | 0.0024103
29 | 0.99055 | -0.18182 | 0.0054966 | 0.0013776
30 | 0.99052 | -0.18237 | 0.0041561 | 0.0010416
31 | 0.99125 | -0.16818 | 0 | 0
32 | 0.99113 | -0.17049 | 0.0062891 | 0.0015762
33 | 0.99164 | -0.16054 | 0 | 0
34 | 0.99172 | -0.15914 | 0.005404 | 0.0013544
35 | 0.99109 | -0.1712 | 0.0063078 | 0.0015809
36 | 0.99122 | -0.16867 | 0.020315 | 0.0050915
37 | 0.99166 | -0.16024 | 0.0067855 | 0.0017006
38 | 0.98903 | -0.21118 | 0.008548 | 0.0021423
39 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.074111 | -0.018582 | 0.074187 | 0.018631 | 7.6605e-05 | 4.8814e-05 | 0.1112 | 0.1112 | 0.1112 | 0.99177 | -0.15819 | 0.99289 | -0.13652 | 30.5484
1 | 0.035598 | 0.0089303 | -0.035589 | -0.0089241 | 9.8614e-06 | 6.1924e-06 | 0.053414 | 0.053414 | 0.053414 | 0.99177 | -0.15819 | 0.99147 | -0.164 | 14.6741
2 | -0.099917 | -0.02508 | 0.099952 | 0.025102 | 3.4682e-05 | 2.2143e-05 | 0.14976 | 0.14976 | 0.14976 | 0.99289 | -0.13652 | 0.99326 | -0.12924 | 41.1419
3 | 0.029647 | 0.0074351 | -0.029634 | -0.007427 | 1.2956e-05 | 8.0672e-06 | 0.044497 | 0.044497 | 0.044497 | 0.99147 | -0.164 | 0.991 | -0.17317 | 12.2244
4 | 0.0059414 | 0.001489 | -0.0059401 | -0.0014887 | 1.3589e-06 | 2.8212e-07 | 0.008917 | 0.0089172 | 0.0089172 | 0.99147 | -0.164 | 0.99122 | -0.1688 | 2.4498
5 | -0.11384 | -0.028583 | 0.11407 | 0.028731 | 0.00023107 | 0.00014761 | 0.17057 | 0.17057 | 0.17057 | 0.99326 | -0.12924 | 0.99547 | -0.086791 | 46.8587
6 | 0.0059401 | 0.0014887 | -0.0059395 | -0.0014886 | 5.6921e-07 | 1.1826e-07 | 0.0089172 | 0.0089173 | 0.0089173 | 0.99122 | -0.1688 | 0.99112 | -0.17081 | 2.4498
7 | -0.21133 | -0.053267 | 0.21146 | 0.053353 | 0.0001352 | 8.634e-05 | 0.316 | 0.316 | 0.316 | 0.99547 | -0.086791 | 0.99616 | -0.07343 | 43.4068
8 | 0.097257 | 0.024536 | -0.097047 | -0.024403 | 0.00020974 | 0.00013389 | 0.14544 | 0.14544 | 0.14544 | 0.99547 | -0.086791 | 0.99312 | -0.13194 | 39.9549
9 | 0.014667 | 0.0036774 | -0.014662 | -0.0036747 | 4.811e-06 | 2.7282e-06 | 0.021863 | 0.021863 | 0.021863 | 0.99829 | -0.032891 | 0.99793 | -0.039777 | 6.0063
10 | -0.014667 | -0.0036774 | 0.014671 | 0.0036799 | 4.3598e-06 | 2.4722e-06 | 0.021863 | 0.021863 | 0.021863 | 0.99829 | -0.032891 | 0.99861 | -0.026656 | 6.0062
11 | -0.052885 | -0.013257 | 0.052923 | 0.013281 | 3.8035e-05 | 2.4128e-05 | 0.078805 | 0.078805 | 0.078805 | 0.99861 | -0.026656 | 0.99939 | -0.011573 | 21.6497
12 | -0.11105 | -0.02793 | 0.11158 | 0.028268 | 0.00053017 | 0.00033864 | 0.16623 | 0.16623 | 0.16623 | 0.99421 | -0.111 | 0.99939 | -0.011573 | 45.6688
13 | 0.11105 | 0.02793 | -0.1108 | -0.027776 | 0.00024056 | 0.00015366 | 0.16623 | 0.16623 | 0.16623 | 0.99421 | -0.111 | 0.99186 | -0.15646 | 45.6688
14 | -0.1645 | -0.04155 | 0.16459 | 0.041608 | 9.1293e-05 | 5.8215e-05 | 0.24504 | 0.24504 | 0.24504 | 0.99939 | -0.011573 | 1 | 0 | 33.6592
15 | 0.062219 | 0.015599 | -0.062204 | -0.01559 | 1.5153e-05 | 9.6381e-06 | 0.093345 | 0.093345 | 0.093345 | 0.99186 | -0.15646 | 0.99159 | -0.16157 | 25.6441
16 | -0.2342 | -0.059052 | 0.23503 | 0.05958 | 0.00082624 | 0.00052785 | 0.34997 | 0.34997 | 0.34997 | 0.99616 | -0.07343 | 1 | 0 | 48.0724
17 | 0.091816 | 0.023092 | -0.091725 | -0.023033 | 9.156e-05 | 5.8432e-05 | 0.1376 | 0.1376 | 0.1376 | 0.99312 | -0.13194 | 0.99204 | -0.15284 | 37.8018
18 | -0.022308 | -0.005598 | 0.02232 | 0.0056051 | 1.165e-05 | 7.1005e-06 | 0.033532 | 0.033532 | 0.033532 | 0.99002 | -0.19205 | 0.99058 | -0.1811 | 9.2121
19 | 0.022308 | 0.005598 | -0.022288 | -0.005586 | 1.9702e-05 | 1.2009e-05 | 0.033532 | 0.033532 | 0.033532 | 0.99002 | -0.19205 | 0.98906 | -0.21059 | 9.2121
20 | -0.02232 | -0.0056051 | 0.022333 | 0.0056132 | 1.3252e-05 | 8.0766e-06 | 0.033532 | 0.033532 | 0.033532 | 0.99058 | -0.1811 | 0.99122 | -0.16867 | 9.212
21 | 0.0085482 | 0.0021424 | -0.008548 | -0.0021423 | 2.4048e-07 | 1.0415e-07 | 0.012861 | 0.012861 | 0.012861 | 0.98906 | -0.21059 | 0.98903 | -0.21118 | 3.5331
22 | 0.16147 | 0.040585 | -0.16128 | -0.040462 | 0.00019313 | 0.00012314 | 0.24031 | 0.24031 | 0.24031 | 1 | 0 | 0.99869 | -0.025085 | 33.0096
23 | -0.061921 | -0.015534 | 0.061929 | 0.015539 | 7.8141e-06 | 4.9691e-06 | 0.092328 | 0.092328 | 0.092328 | 0.99802 | -0.038066 | 0.99816 | -0.035419 | 25.3648
24 | 0.061921 | 0.015534 | -0.061882 | -0.015509 | 3.9353e-05 | 2.5025e-05 | 0.092328 | 0.092328 | 0.092328 | 0.99802 | -0.038066 | 0.99733 | -0.051406 | 25.3648
25 | -0.12618 | -0.031642 | 0.12624 | 0.031681 | 6.2181e-05 | 3.9734e-05 | 0.18811 | 0.18811 | 0.18811 | 0.99816 | -0.035419 | 0.99869 | -0.025085 | 51.6784
26 | -0.0049412 | -0.0012384 | 0.0049413 | 0.0012384 | 7.9898e-08 | 1.3074e-09 | 0.0074209 | 0.0074209 | 0.0074209 | 0.99079 | -0.17712 | 0.99081 | -0.17678 | 2.0387
27 | -0.024215 | -0.0060701 | 0.024225 | 0.0060762 | 9.9319e-06 | 6.0984e-06 | 0.036368 | 0.036368 | 0.036368 | 0.99081 | -0.17678 | 0.99125 | -0.16818 | 9.9911
28 | 0.019274 | 0.0048318 | -0.019271 | -0.0048298 | 3.2079e-06 | 1.9216e-06 | 0.028947 | 0.028947 | 0.028947 | 0.99081 | -0.17678 | 0.99063 | -0.18027 | 7.9524
29 | 0.042681 | 0.010725 | -0.042665 | -0.010715 | 1.57e-05 | 9.9161e-06 | 0.064029 | 0.064029 | 0.064029 | 0.99204 | -0.15284 | 0.99164 | -0.16054 | 17.5904
30 | 0.012193 | 0.003057 | -0.01219 | -0.0030551 | 3.6606e-06 | 1.9662e-06 | 0.01829 | 0.01829 | 0.01829 | 0.99204 | -0.15284 | 0.99172 | -0.15914 | 5.0248
31 | 0.036851 | 0.0092511 | -0.036824 | -0.0092341 | 2.6941e-05 | 1.6939e-05 | 0.05528 | 0.05528 | 0.05528 | 0.99204 | -0.15284 | 0.99125 | -0.16818 | 15.1868
32 | 0.0096535 | 0.0024195 | -0.0096528 | -0.0024192 | 7.131e-07 | 3.3996e-07 | 0.014501 | 0.014501 | 0.014501 | 0.99063 | -0.18027 | 0.99055 | -0.18182 | 3.9837
33 | 0.0041562 | 0.0010416 | -0.0041561 | -0.0010416 | 1.0737e-07 | -2.5826e-08 | 0.0062436 | 0.0062436 | 0.0062436 | 0.99055 | -0.18182 | 0.99052 | -0.18237 | 1.7153
34 | 0.012598 | 0.0031579 | -0.012597 | -0.0031571 | 1.3914e-06 | 7.5679e-07 | 0.018912 | 0.018912 | 0.018912 | 0.99125 | -0.16818 | 0.99113 | -0.17049 | 5.1957
35 | 0.006308 | 0.0015809 | -0.0063078 | -0.0015809 | 2.1363e-07 | 5.4867e-08 | 0.0094704 | 0.0094704 | 0.0094704 | 0.99113 | -0.17049 | 0.99109 | -0.1712 | 2.6018
36 | 0.042665 | 0.010715 | -0.042648 | -0.010705 | 1.6525e-05 | 1.0438e-05 | 0.064029 | 0.064029 | 0.064029 | 0.99164 | -0.16054 | 0.99122 | -0.16867 | 17.5904
37 | 0.0067858 | 0.0017007 | -0.0067855 | -0.0017006 | 3.5653e-07 | 1.0986e-07 | 0.010182 | 0.010182 | 0.010182 | 0.99172 | -0.15914 | 0.99166 | -0.16024 | 2.7972

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.56274 | 0.14177

## res_load
| p_mw | q_mvar
0 | 0.038512 | 0.0096521
1 | 0.02573 | 0.0064484
2 | 0.01389 | 0.0034813
3 | 0.029634 | 0.007427
4 | 0.0059395 | 0.0014886
5 | 0.014662 | 0.0036747
6 | 0.038214 | 0.0095773
7 | 0.048586 | 0.012177
8 | 0.022739 | 0.0056988
9 | 0.0052306 | 0.0013109
10 | 0.01374 | 0.0034436
11 | 0.06425 | 0.016103
12 | 0.061882 | 0.015509
13 | 0.062204 | 0.01559
14 | 0.035035 | 0.0087805
15 | 0.0049412 | 0.0012384
16 | 0.0096173 | 0.0024103
17 | 0.0054966 | 0.0013776
18 | 0.0041561 | 0.0010416
19 | 0.0062891 | 0.0015762
20 | 0.005404 | 0.0013544
21 | 0.0063078 | 0.0015809
22 | 0.020315 | 0.0050915
23 | 0.0067855 | 0.0017006
24 | 0.008548 | 0.0021423

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1