## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1630-67_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1630-67_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1630-67_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1630-67_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1630-67_0_5_node_6 | 0.4 | n |  | TRUE
5 | bus_LV_1630-67_0_5_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_1630-67_0_5_node_18 | 0.4 | n |  | TRUE
7 | bus_LV_1630-67_0_5_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_1630-67_0_5_node_57 | 0.4 | n |  | TRUE
9 | bus_LV_1630-67_0_5_node_51 | 0.4 | n |  | TRUE
10 | bus_LV_1630-67_0_5_node_23 | 0.4 | n |  | TRUE
11 | bus_LV_1630-67_0_5_node_55 | 0.4 | n |  | TRUE
12 | bus_LV_1630-67_0_5_node_42 | 0.4 | n |  | TRUE
13 | bus_LV_1630-67_0_5_node_59 | 0.4 | n |  | TRUE
14 | bus_LV_1630-67_0_5_node_38 | 0.4 | n |  | TRUE
15 | bus_LV_1630-67_0_5_node_53 | 0.4 | n |  | TRUE
16 | bus_LV_1630-67_0_5_node_50 | 0.4 | n |  | TRUE
17 | bus_LV_1630-67_0_5_node_25 | 0.4 | n |  | TRUE
18 | bus_LV_1630-67_0_5_node_22 | 0.4 | n |  | TRUE
19 | bus_LV_1630-67_0_5_node_52 | 0.4 | n |  | TRUE
20 | bus_LV_1630-67_0_5_node_7 | 0.4 | n |  | TRUE
21 | bus_LV_1630-67_0_5_node_9 | 0.4 | n |  | TRUE
22 | bus_LV_1630-67_0_5_node_8 | 0.4 | n |  | TRUE
23 | bus_LV_1630-67_0_5_node_10 | 0.4 | n |  | TRUE
24 | bus_LV_1630-67_0_5_node_11 | 0.4 | n |  | TRUE
25 | bus_LV_1630-67_0_5_node_20 | 0.4 | n |  | TRUE
26 | bus_LV_1630-67_0_5_node_21 | 0.4 | n |  | TRUE
27 | bus_LV_1630-67_0_5_node_26 | 0.4 | n |  | TRUE
28 | bus_LV_1630-67_0_5_node_33 | 0.4 | n |  | TRUE
29 | bus_LV_1630-67_0_5_node_31 | 0.4 | n |  | TRUE
30 | bus_LV_1630-67_0_5_node_28 | 0.4 | n |  | TRUE
31 | bus_LV_1630-67_0_5_node_24 | 0.4 | n |  | TRUE
32 | bus_LV_1630-67_0_5_node_12 | 0.4 | n |  | TRUE
33 | bus_LV_1630-67_0_5_node_13 | 0.4 | n |  | TRUE
34 | bus_LV_1630-67_0_5_node_14 | 0.4 | n |  | TRUE
35 | bus_LV_1630-67_0_5_node_15 | 0.4 | n |  | TRUE
36 | bus_LV_1630-67_0_5_node_17 | 0.4 | n |  | TRUE
37 | bus_LV_1630-67_0_5_node_46 | 0.4 | n |  | TRUE
38 | bus_LV_1630-67_0_5_node_44 | 0.4 | n |  | TRUE
39 | bus_LV_1630-67_0_5_node_60 | 0.4 | n |  | TRUE
40 | bus_LV_1630-67_0_5_node_41 | 0.4 | n |  | TRUE
41 | bus_LV_1630-67_0_5_node_30 | 0.4 | n |  | TRUE
42 | bus_LV_1630-67_0_5_node_29 | 0.4 | n |  | TRUE
43 | bus_LV_1630-67_0_5_node_27 | 0.4 | n |  | TRUE
44 | bus_LV_1630-67_0_5_node_58 | 0.4 | n |  | TRUE
45 | bus_LV_1630-67_0_5_node_43 | 0.4 | n |  | TRUE
46 | bus_LV_1630-67_0_5_node_61 | 0.4 | n |  | TRUE
47 | bus_LV_1630-67_0_5_node_34 | 0.4 | n |  | TRUE
48 | bus_LV_1630-67_0_5_node_35 | 0.4 | n |  | TRUE
49 | bus_LV_1630-67_0_5_node_36 | 0.4 | n |  | TRUE
50 | bus_LV_1630-67_0_5_node_39 | 0.4 | n |  | TRUE
51 | bus_LV_1630-67_0_5_node_40 | 0.4 | n |  | TRUE
52 | bus_LV_1630-67_0_5_node_45 | 0.4 | n |  | TRUE
53 | bus_LV_1630-67_0_5_node_47 | 0.4 | n |  | TRUE
54 | bus_LV_1630-67_0_5_node_48 | 0.4 | n |  | TRUE
55 | bus_LV_1630-67_0_5_node_49 | 0.4 | n |  | TRUE
56 | bus_LV_1630-67_0_5_node_56 | 0.4 | n |  | TRUE
57 | bus_LV_1630-67_0_5_node_54 | 0.4 | n |  | TRUE
58 | bus_MV_225_0_node_24 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1630-67_0_5_load_0 | 0 | 0.0036154 | 0.00090611 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1630-67_0_5_load_1 | 1 | 0.017755 | 0.0044498 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1630-67_0_5_load_3 | 3 | 0.0053841 | 0.0013494 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1630-67_0_5_load_18 | 6 | 0.014995 | 0.0037581 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1630-67_0_5_load_57 | 8 | 0.0039452 | 0.00098877 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1630-67_0_5_load_55 | 11 | 0.0040029 | 0.0010032 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1630-67_0_5_load_59 | 13 | 0.0039378 | 0.0009869 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1630-67_0_5_load_50 | 16 | 0.0039726 | 0.00099562 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1630-67_0_5_load_22 | 18 | 0.0078374 | 0.0019642 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1630-67_0_5_load_7 | 20 | 0.070471 | 0.017662 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1630-67_0_5_load_9 | 21 | 0.073413 | 0.018399 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1630-67_0_5_load_8 | 22 | 0.073395 | 0.018395 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1630-67_0_5_load_11 | 24 | 0.021906 | 0.0054902 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1630-67_0_5_load_21 | 26 | 0.017919 | 0.004491 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1630-67_0_5_load_33 | 28 | 0.0053969 | 0.0013526 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1630-67_0_5_load_31 | 29 | 0.018263 | 0.0045773 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1630-67_0_5_load_12 | 32 | 0.0057622 | 0.0014441 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1630-67_0_5_load_13 | 33 | 0.0013586 | 0.0003405 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1630-67_0_5_load_17 | 36 | 0.0051086 | 0.0012803 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1630-67_0_5_load_44 | 38 | 0.0052263 | 0.0013098 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1630-67_0_5_load_60 | 39 | 0.013247 | 0.00332 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1630-67_0_5_load_29 | 42 | 0.021841 | 0.0054738 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1630-67_0_5_load_27 | 43 | 0.0093134 | 0.0023342 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1630-67_0_5_load_58 | 44 | 0.11336 | 0.028411 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1630-67_0_5_load_61 | 46 | 0.023338 | 0.0058491 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1630-67_0_5_load_34 | 47 | 0.0021035 | 0.00052718 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1630-67_0_5_load_35 | 48 | 0.0004989 | 0.00012504 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1630-67_0_5_load_36 | 49 | 0.001242 | 0.00031129 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1630-67_0_5_load_39 | 50 | 0.0057398 | 0.0014385 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1630-67_0_5_load_40 | 51 | 0.004211 | 0.0010554 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1630-67_0_5_load_45 | 52 | 0.00050904 | 0.00012758 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1630-67_0_5_load_48 | 54 | 0.0040771 | 0.0010218 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1630-67_0_5_load_49 | 55 | 0.00073956 | 0.00018535 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1630-67_0_5_load_56 | 56 | 0.0040781 | 0.0010221 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1630-67_0_5_load_54 | 57 | 0.021447 | 0.005375 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 42 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1630-67_0_5_line_0 |  | 0 | 1 | 0.016889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1630-67_0_5_line_1 |  | 0 | 2 | 0.0020933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1630-67_0_5_line_2 |  | 1 | 3 | 0.017533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1630-67_0_5_line_3 |  | 2 | 4 | 0.09585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1630-67_0_5_line_4 |  | 3 | 5 | 0.037214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1630-67_0_5_line_5 |  | 4 | 10 | 0.035505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1630-67_0_5_line_6 |  | 4 | 11 | 0.020584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1630-67_0_5_line_7 |  | 5 | 6 | 0.032402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1630-67_0_5_line_8 |  | 7 | 8 | 0.010447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1630-67_0_5_line_9 |  | 7 | 9 | 0.044731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1630-67_0_5_line_10 |  | 9 | 15 | 0.019691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1630-67_0_5_line_11 |  | 9 | 16 | 0.011289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1630-67_0_5_line_12 |  | 10 | 17 | 0.023582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
13 | LV_1630-67_0_5_line_13 |  | 10 | 18 | 0.021335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
14 | LV_1630-67_0_5_line_14 |  | 11 | 19 | 0.0096012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1630-67_0_5_line_15 |  | 12 | 13 | 0.004528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1630-67_0_5_line_16 |  | 12 | 14 | 0.023048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1630-67_0_5_line_17 |  | 14 | 50 | 0.020413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1630-67_0_5_line_18 |  | 14 | 49 | 8.2105e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1630-67_0_5_line_19 |  | 15 | 56 | 0.011043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1630-67_0_5_line_20 |  | 15 | 55 | 0.0079013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1630-67_0_5_line_21 |  | 16 | 19 | 0.0092553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1630-67_0_5_line_22 |  | 17 | 44 | 0.005479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1630-67_0_5_line_23 |  | 17 | 45 | 0.04378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1630-67_0_5_line_24 |  | 17 | 41 | 0.052406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
25 | LV_1630-67_0_5_line_25 |  | 18 | 31 | 0.0064698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
26 | LV_1630-67_0_5_line_26 |  | 19 | 57 | 0.008397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1630-67_0_5_line_27 |  | 20 | 21 | 0.014447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1630-67_0_5_line_28 |  | 21 | 24 | 0.0017072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_1630-67_0_5_line_29 |  | 22 | 23 | 0.019408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1630-67_0_5_line_30 |  | 23 | 25 | 0.032175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1630-67_0_5_line_31 |  | 23 | 26 | 0.01778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1630-67_0_5_line_32 |  | 24 | 27 | 0.022227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
33 | LV_1630-67_0_5_line_33 |  | 25 | 28 | 0.016841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1630-67_0_5_line_34 |  | 25 | 29 | 0.023592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1630-67_0_5_line_35 |  | 26 | 30 | 0.012713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1630-67_0_5_line_36 |  | 27 | 31 | 0.042076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
37 | LV_1630-67_0_5_line_37 |  | 30 | 42 | 0.015859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
38 | LV_1630-67_0_5_line_38 |  | 30 | 41 | 0.007197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
39 | LV_1630-67_0_5_line_39 |  | 31 | 43 | 0.004964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1630-67_0_5_line_40 |  | 32 | 33 | 0.0038285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1630-67_0_5_line_41 |  | 32 | 34 | 0.033467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1630-67_0_5_line_42 |  | 33 | 35 | 0.0055443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1630-67_0_5_line_43 |  | 34 | 36 | 0.044807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1630-67_0_5_line_44 |  | 35 | 37 | 0.018531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1630-67_0_5_line_45 |  | 35 | 38 | 0.005121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1630-67_0_5_line_46 |  | 37 | 39 | 0.004244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1630-67_0_5_line_47 |  | 38 | 40 | 0.003098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1630-67_0_5_line_48 |  | 40 | 52 | 0.018148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1630-67_0_5_line_49 |  | 40 | 51 | 0.01236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1630-67_0_5_line_50 |  | 45 | 46 | 0.003898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1630-67_0_5_line_51 |  | 47 | 48 | 0.012687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1630-67_0_5_line_52 |  | 47 | 49 | 0.01016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1630-67_0_5_line_53 |  | 50 | 51 | 0.0056786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1630-67_0_5_line_54 |  | 52 | 53 | 0.0056864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1630-67_0_5_line_55 |  | 53 | 54 | 0.008432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1630-67_0_5_line_56 |  | 53 | 55 | 0.032534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1630-67_0_5_trafo_29 | 0.63 MVA 20/0.4 kV | 58 | 42 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2723716.5365 | 1217531.2379 | 2723718.1876 | 1217536.8597 | 2723719.6081 | 1217547.7977
1 | 2723715.9466 | 1217529.2294 | 2723716.5365 | 1217531.2379
2 | 2723719.6081 | 1217547.7977 | 2723719.6081 | 1217547.7977 | 2723719.6003 | 1217553.6577 | 2723717.8223 | 1217565.1943
3 | 2723649.1788 | 1217513.4092 | 2723654.5123 | 1217511.4405 | 2723662.1187 | 1217508.6295 | 2723672.2506 | 1217504.5032 | 2723701.5604 | 1217492.5021 | 2723707.5601 | 1217507.8164 | 2723715.9466 | 1217529.2294
4 | 2723716.5269 | 1217601.4423 | 2723714.9536 | 1217598.9522 | 2723713.8802 | 1217595.7941 | 2723713.6146 | 1217592.4971 | 2723717.8223 | 1217565.1943
5 | 2723649.1788 | 1217513.4092 | 2723646.659 | 1217548.8179
6 | 2723649.1788 | 1217513.4092 | 2723629.9959 | 1217520.8748
7 | 2723716.5269 | 1217601.4423 | 2723702.8415 | 1217600.0794 | 2723706.0033 | 1217581.701
8 | 2723589.3903 | 1217477.7745 | 2723591.7838 | 1217487.9431
9 | 2723600.1703 | 1217522.1771 | 2723600.0408 | 1217519.6391 | 2723599.9121 | 1217517.0567 | 2723599.2037 | 1217502.5306 | 2723599.9784 | 1217494.8407 | 2723597.5097 | 1217491.9539 | 2723597.7141 | 1217485.0305 | 2723591.7838 | 1217487.9431
10 | 2723600.1703 | 1217522.1771 | 2723580.6466 | 1217525.1412
11 | 2723600.1703 | 1217522.1771 | 2723611.4578 | 1217522.3442
12 | 2723646.659 | 1217548.8179 | 2723623.0609 | 1217547.2382
13 | 2723646.659 | 1217548.8179 | 2723667.9501 | 1217550.19
14 | 2723620.7121 | 1217522.4812 | 2723625.6614 | 1217522.5617 | 2723629.9959 | 1217520.8748
15 | 2723546.0586 | 1217489.6186 | 2723546.4358 | 1217494.1299
16 | 2723523.3222 | 1217494.4399 | 2723546.4358 | 1217494.1299
17 | 2723523.3222 | 1217494.4399 | 2723520.1023 | 1217514.5978
18 | 2723523.3297 | 1217494.3582 | 2723523.3222 | 1217494.4399
19 | 2723580.6466 | 1217525.1412 | 2723580.6697 | 1217519.6374 | 2723580.6935 | 1217514.1002
20 | 2723580.6466 | 1217525.1412 | 2723572.8346 | 1217526.3257
21 | 2723620.7121 | 1217522.4812 | 2723611.4578 | 1217522.3442
22 | 2723622.6438 | 1217552.7004 | 2723623.0609 | 1217547.2382
23 | 2723579.3726 | 1217544.8191 | 2723589.5943 | 1217544.7754 | 2723603.8687 | 1217545.9391 | 2723623.0609 | 1217547.2382
24 | 2723600.1576 | 1217578.7655 | 2723602.4191 | 1217570.417 | 2723603.8687 | 1217545.9391 | 2723623.0609 | 1217547.2382
25 | 2723674.4065 | 1217550.6061 | 2723667.9501 | 1217550.19
26 | 2723620.7121 | 1217522.4812 | 2723620.7254 | 1217519.646 | 2723620.7421 | 1217514.0864
27 | 2723670.6815 | 1217618.2884 | 2723671.7065 | 1217603.8775
28 | 2723671.8277 | 1217602.1746 | 2723671.7065 | 1217603.8775
29 | 2723596.3045 | 1217616.2371 | 2723615.6546 | 1217617.7386
30 | 2723596.3045 | 1217616.2371 | 2723585.3782 | 1217615.4765 | 2723578.4447 | 1217615.5106 | 2723564.2209 | 1217613.3806
31 | 2723596.3045 | 1217616.2371 | 2723597.717 | 1217598.5134
32 | 2723680.724 | 1217582.0618 | 2723675.3737 | 1217596.1729 | 2723671.9195 | 1217600.8827 | 2723671.8277 | 1217602.1746
33 | 2723565.5487 | 1217596.5951 | 2723564.2209 | 1217613.3806
34 | 2723564.2209 | 1217613.3806 | 2723540.6675 | 1217612.0364
35 | 2723599.091 | 1217585.8823 | 2723598.3066 | 1217591.1145 | 2723597.717 | 1217598.5134
36 | 2723680.724 | 1217582.0618 | 2723683.0279 | 1217573.8699 | 2723685.3037 | 1217551.3106 | 2723674.4065 | 1217550.6061
37 | 2723599.091 | 1217585.8823 | 2723614.8555 | 1217587.3215 | 2723614.8841 | 1217587.3209
38 | 2723600.1576 | 1217578.7655 | 2723599.091 | 1217585.8823
39 | 2723674.0834 | 1217555.5589 | 2723674.4065 | 1217550.6061
40 | 2723515.2298 | 1217549.8851 | 2723515.6723 | 1217546.0822
41 | 2723497.9134 | 1217577.2224 | 2723506.2993 | 1217569.7681 | 2723514.4466 | 1217556.6156 | 2723515.2298 | 1217549.8851
42 | 2723516.3132 | 1217540.5751 | 2723515.6723 | 1217546.0822
43 | 2723497.9134 | 1217577.2224 | 2723506.8256 | 1217579.1753 | 2723526.958 | 1217580.1711 | 2723537.7244 | 1217581.6843 | 2723542.3725 | 1217581.9236
44 | 2723534.8632 | 1217541.716 | 2723516.3132 | 1217540.5751
45 | 2723516.3132 | 1217540.5751 | 2723516.9013 | 1217535.488
46 | 2723534.8632 | 1217541.716 | 2723534.5249 | 1217545.9457
47 | 2723517.2571 | 1217532.4105 | 2723516.9013 | 1217535.488
48 | 2723517.2571 | 1217532.4105 | 2723535.4047 | 1217532.4822
49 | 2723517.2571 | 1217532.4105 | 2723519.2066 | 1217520.2053
50 | 2723579.0718 | 1217548.7047 | 2723579.3726 | 1217544.8191
51 | 2723524.2551 | 1217484.2402 | 2723526.4112 | 1217480.9712 | 2723526.3251 | 1217472.2008
52 | 2723524.2551 | 1217484.2402 | 2723524.2551 | 1217484.2402 | 2723523.3297 | 1217494.3582
53 | 2723520.1023 | 1217514.5978 | 2723519.2066 | 1217520.2053
54 | 2723541.0911 | 1217532.5046 | 2723535.4047 | 1217532.4822
55 | 2723541.0911 | 1217532.5046 | 2723541.0704 | 1217528.7457 | 2723541.0458 | 1217524.0749
56 | 2723541.0911 | 1217532.5046 | 2723558.1067 | 1217530.378 | 2723565.0994 | 1217527.4985 | 2723572.8346 | 1217526.3257

## bus_geodata
| x | y | coords
0 | 2723716.5365 | 1217531.2379
1 | 2723719.6081 | 1217547.7977
2 | 2723715.9466 | 1217529.2294
3 | 2723717.8223 | 1217565.1943
4 | 2723649.1788 | 1217513.4092
5 | 2723716.5269 | 1217601.4423
6 | 2723706.0033 | 1217581.701
7 | 2723591.7838 | 1217487.9431
8 | 2723589.3903 | 1217477.7745
9 | 2723600.1703 | 1217522.1771
10 | 2723646.659 | 1217548.8179
11 | 2723629.9959 | 1217520.8748
12 | 2723546.4358 | 1217494.1299
13 | 2723546.0586 | 1217489.6186
14 | 2723523.3222 | 1217494.4399
15 | 2723580.6466 | 1217525.1412
16 | 2723611.4578 | 1217522.3442
17 | 2723623.0609 | 1217547.2382
18 | 2723667.9501 | 1217550.19
19 | 2723620.7121 | 1217522.4812
20 | 2723670.6815 | 1217618.2884
21 | 2723671.7065 | 1217603.8775
22 | 2723615.6546 | 1217617.7386
23 | 2723596.3045 | 1217616.2371
24 | 2723671.8277 | 1217602.1746
25 | 2723564.2209 | 1217613.3806
26 | 2723597.717 | 1217598.5134
27 | 2723680.724 | 1217582.0618
28 | 2723565.5487 | 1217596.5951
29 | 2723540.6675 | 1217612.0364
30 | 2723599.091 | 1217585.8823
31 | 2723674.4065 | 1217550.6061
32 | 2723515.2298 | 1217549.8851
33 | 2723515.6723 | 1217546.0822
34 | 2723497.9134 | 1217577.2224
35 | 2723516.3132 | 1217540.5751
36 | 2723542.3725 | 1217581.9236
37 | 2723534.8632 | 1217541.716
38 | 2723516.9013 | 1217535.488
39 | 2723534.5249 | 1217545.9457
40 | 2723517.2571 | 1217532.4105
41 | 2723600.1576 | 1217578.7655
42 | 2723614.8841 | 1217587.3209
43 | 2723674.0834 | 1217555.5589
44 | 2723622.6438 | 1217552.7004
45 | 2723579.3726 | 1217544.8191
46 | 2723579.0718 | 1217548.7047
47 | 2723524.2551 | 1217484.2402
48 | 2723526.3251 | 1217472.2008
49 | 2723523.3297 | 1217494.3582
50 | 2723520.1023 | 1217514.5978
51 | 2723519.2066 | 1217520.2053
52 | 2723535.4047 | 1217532.4822
53 | 2723541.0911 | 1217532.5046
54 | 2723541.0458 | 1217524.0749
55 | 2723572.8346 | 1217526.3257
56 | 2723580.6935 | 1217514.1002
57 | 2723620.7421 | 1217514.0864
58 | 2723599.091 | 1217585.8823

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98389 | -0.30995 | 0.0036154 | 0.00090611
1 | 0.98329 | -0.32156 | 0.017755 | 0.0044498
2 | 0.98397 | -0.30838 | 0 | 0
3 | 0.98296 | -0.328 | 0.0053841 | 0.0013494
4 | 0.98766 | -0.2366 | 0 | 0
5 | 0.98245 | -0.33807 | 0 | 0
6 | 0.982 | -0.34685 | 0.014995 | 0.0037581
7 | 0.98378 | -0.3119 | 0 | 0
8 | 0.98374 | -0.31265 | 0.0039452 | 0.00098877
9 | 0.98394 | -0.30873 | 0 | 0
10 | 0.99202 | -0.15261 | 0 | 0
11 | 0.98593 | -0.27021 | 0.0040029 | 0.0010032
12 | 0.97932 | -0.39903 | 0 | 0
13 | 0.97931 | -0.39935 | 0.0039378 | 0.0009869
14 | 0.97941 | -0.39738 | 0 | 0
15 | 0.98289 | -0.32925 | 0 | 0
16 | 0.98459 | -0.29617 | 0.0039726 | 0.00099562
17 | 0.99339 | -0.12626 | 0 | 0
18 | 0.99131 | -0.16645 | 0.0078374 | 0.0019642
19 | 0.98515 | -0.28524 | 0 | 0
20 | 0.9881 | -0.22872 | 0.070471 | 0.017662
21 | 0.98903 | -0.21057 | 0.073413 | 0.018399
22 | 0.99414 | -0.11242 | 0.073395 | 0.018395
23 | 0.99544 | -0.087333 | 0 | 0
24 | 0.98914 | -0.20838 | 0.021906 | 0.0054902
25 | 0.99475 | -0.10073 | 0 | 0
26 | 0.99702 | -0.057027 | 0.017919 | 0.004491
27 | 0.98982 | -0.19526 | 0 | 0
28 | 0.99467 | -0.10233 | 0.0053969 | 0.0013526
29 | 0.99436 | -0.10833 | 0.018263 | 0.0045773
30 | 0.99835 | -0.031431 | 0 | 0
31 | 0.9911 | -0.17047 | 0 | 0
32 | 0.97952 | -0.3952 | 0.0057622 | 0.0014441
33 | 0.97956 | -0.39444 | 0.0013586 | 0.0003405
34 | 0.97936 | -0.39831 | 0 | 0
35 | 0.97962 | -0.39321 | 0 | 0
36 | 0.97915 | -0.40247 | 0.0051086 | 0.0012803
37 | 0.97939 | -0.39767 | 0 | 0
38 | 0.97974 | -0.39084 | 0.0052263 | 0.0013098
39 | 0.97934 | -0.39869 | 0.013247 | 0.00332
40 | 0.97983 | -0.38912 | 0 | 0
41 | 0.99775 | -0.042831 | 0 | 0
42 | 1 | 0 | -0.57481 | -0.1458
43 | 0.99106 | -0.17129 | 0.0093134 | 0.0023342
44 | 0.99283 | -0.13723 | 0.11336 | 0.028411
45 | 0.99246 | -0.14432 | 0 | 0
46 | 0.99238 | -0.14593 | 0.023338 | 0.0058491
47 | 0.97938 | -0.39786 | 0.0021035 | 0.00052718
48 | 0.97938 | -0.39798 | 0.0004989 | 0.00012504
49 | 0.97941 | -0.39738 | 0.001242 | 0.00031129
50 | 0.97956 | -0.39449 | 0.0057398 | 0.0014385
51 | 0.97963 | -0.3931 | 0.004211 | 0.0010554
52 | 0.98064 | -0.37317 | 0.00050904 | 0.00012758
53 | 0.9809 | -0.36812 | 0 | 0
54 | 0.98087 | -0.36875 | 0.0040771 | 0.0010218
55 | 0.9825 | -0.33692 | 0.00073956 | 0.00018535
56 | 0.98285 | -0.33007 | 0.0040781 | 0.0010221
57 | 0.98499 | -0.28847 | 0.021447 | 0.005375
58 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.038174 | 0.009582 | -0.038153 | -0.0095687 | 2.1115e-05 | 1.3299e-05 | 0.05774 | 0.05774 | 0.05774 | 0.98389 | -0.30995 | 0.98329 | -0.32156 | 15.8625
1 | -0.04179 | -0.010488 | 0.041793 | 0.01049 | 3.1362e-06 | 1.9806e-06 | 0.063207 | 0.063207 | 0.063207 | 0.98389 | -0.30995 | 0.98397 | -0.30838 | 17.3647
2 | 0.020399 | 0.005119 | -0.020392 | -0.0051152 | 6.2661e-06 | 3.788e-06 | 0.030872 | 0.030872 | 0.030872 | 0.98329 | -0.32156 | 0.98296 | -0.328 | 8.4812
3 | -0.041793 | -0.01049 | 0.041937 | 0.010581 | 0.0001436 | 9.0683e-05 | 0.063207 | 0.063207 | 0.063207 | 0.98397 | -0.30838 | 0.98766 | -0.2366 | 17.3647
4 | 0.015008 | 0.0037658 | -0.015001 | -0.0037617 | 7.2045e-06 | 4.1394e-06 | 0.022721 | 0.022721 | 0.022721 | 0.98296 | -0.328 | 0.98245 | -0.33807 | 6.2421
5 | -0.13365 | -0.03376 | 0.13419 | 0.034105 | 0.00054035 | 0.00034537 | 0.20145 | 0.20145 | 0.20145 | 0.98766 | -0.2366 | 0.99202 | -0.15261 | 55.3447
6 | 0.091715 | 0.023179 | -0.091568 | -0.023085 | 0.00014753 | 9.4157e-05 | 0.13825 | 0.13825 | 0.13825 | 0.98766 | -0.2366 | 0.98593 | -0.27021 | 37.9801
7 | 0.015001 | 0.0037617 | -0.014995 | -0.0037581 | 6.2729e-06 | 3.6045e-06 | 0.022721 | 0.022721 | 0.022721 | 0.98245 | -0.33807 | 0.982 | -0.34685 | 6.2422
8 | 0.0039454 | 0.00098873 | -0.0039452 | -0.00098877 | 1.3951e-07 | -4.3354e-08 | 0.0059675 | 0.0059676 | 0.0059676 | 0.98378 | -0.3119 | 0.98374 | -0.31265 | 1.6394
9 | -0.0039454 | -0.00098873 | 0.003946 | 0.00098854 | 5.9733e-07 | -1.8576e-07 | 0.0059675 | 0.0059673 | 0.0059675 | 0.98378 | -0.3119 | 0.98394 | -0.30873 | 1.6394
10 | 0.058062 | 0.014634 | -0.058005 | -0.014598 | 5.697e-05 | 3.6211e-05 | 0.087836 | 0.087836 | 0.087836 | 0.98394 | -0.30873 | 0.98289 | -0.32925 | 24.1308
11 | -0.062008 | -0.015623 | 0.062045 | 0.015647 | 3.7249e-05 | 2.3696e-05 | 0.093804 | 0.093803 | 0.093804 | 0.98394 | -0.30873 | 0.98459 | -0.29617 | 25.7702
12 | -0.31767 | -0.080288 | 0.31807 | 0.080544 | 0.00040197 | 0.00025573 | 0.47673 | 0.47673 | 0.47673 | 0.99202 | -0.15261 | 0.99339 | -0.12626 | 26.194
13 | 0.18347 | 0.046183 | -0.18335 | -0.046107 | 0.00012125 | 7.6227e-05 | 0.27528 | 0.27528 | 0.27528 | 0.99202 | -0.15261 | 0.99131 | -0.16645 | 15.1251
14 | 0.087565 | 0.022081 | -0.087502 | -0.022041 | 6.293e-05 | 4.0153e-05 | 0.13221 | 0.13221 | 0.13221 | 0.98593 | -0.27021 | 0.98515 | -0.28524 | 36.3204
15 | 0.0039379 | 0.00098689 | -0.0039378 | -0.0009869 | 6.0788e-08 | -1.8068e-08 | 0.0059833 | 0.0059833 | 0.0059833 | 0.97932 | -0.39903 | 0.97931 | -0.39935 | 1.6438
16 | -0.0039379 | -0.00098689 | 0.0039382 | 0.00098679 | 3.0941e-07 | -9.2001e-08 | 0.0059833 | 0.0059832 | 0.0059833 | 0.97932 | -0.39903 | 0.97941 | -0.39738 | 1.6438
17 | -0.0077827 | -0.0019501 | 0.0077837 | 0.0019505 | 1.0702e-06 | 4.2801e-07 | 0.011824 | 0.011824 | 0.011824 | 0.97941 | -0.39738 | 0.97956 | -0.39449 | 3.2484
18 | 0.0038445 | 0.00096326 | -0.0038445 | -0.00096326 | 1.0504e-09 | -3.6106e-10 | 0.0058409 | 0.0058409 | 0.0058409 | 0.97941 | -0.39738 | 0.97941 | -0.39738 | 1.6046
19 | 0.0040783 | 0.001022 | -0.0040781 | -0.0010221 | 1.5786e-07 | -3.8925e-08 | 0.0061741 | 0.0061742 | 0.0061742 | 0.98289 | -0.32925 | 0.98285 | -0.33007 | 1.6962
20 | 0.053927 | 0.013576 | -0.053907 | -0.013564 | 1.9759e-05 | 1.2546e-05 | 0.081662 | 0.081662 | 0.081662 | 0.98289 | -0.32925 | 0.9825 | -0.33692 | 22.4347
21 | -0.066018 | -0.016642 | 0.066052 | 0.016664 | 3.4574e-05 | 2.2009e-05 | 0.099807 | 0.099807 | 0.099807 | 0.98459 | -0.29617 | 0.98515 | -0.28524 | 27.4196
22 | 0.11342 | 0.028448 | -0.11336 | -0.028411 | 5.9309e-05 | 3.7887e-05 | 0.1699 | 0.1699 | 0.1699 | 0.99339 | -0.12626 | 0.99283 | -0.13723 | 46.6757
23 | 0.02336 | 0.0058625 | -0.02334 | -0.0058502 | 2.0105e-05 | 1.2301e-05 | 0.034994 | 0.034994 | 0.034994 | 0.99339 | -0.12626 | 0.99246 | -0.14432 | 9.6138
24 | -0.45485 | -0.11485 | 0.45667 | 0.11602 | 0.0018261 | 0.0011653 | 0.68162 | 0.68162 | 0.68162 | 0.99339 | -0.12626 | 0.99775 | -0.042831 | 37.4519
25 | 0.17551 | 0.044143 | -0.17548 | -0.044122 | 3.3694e-05 | 2.1147e-05 | 0.26351 | 0.26351 | 0.26351 | 0.99131 | -0.16645 | 0.9911 | -0.17047 | 14.4787
26 | 0.02145 | 0.005377 | -0.021447 | -0.005375 | 3.3054e-06 | 2.0086e-06 | 0.032399 | 0.032399 | 0.032399 | 0.98515 | -0.28524 | 0.98499 | -0.28847 | 8.9009
27 | -0.070471 | -0.017662 | 0.070532 | 0.017701 | 6.1017e-05 | 3.8866e-05 | 0.10612 | 0.10612 | 0.10612 | 0.9881 | -0.22872 | 0.98903 | -0.21057 | 29.1552
28 | -0.14395 | -0.0361 | 0.14396 | 0.036109 | 1.5015e-05 | 9.5656e-06 | 0.21658 | 0.21658 | 0.21658 | 0.98903 | -0.21057 | 0.98914 | -0.20838 | 29.7496
29 | -0.073395 | -0.018395 | 0.073483 | 0.018451 | 8.7836e-05 | 5.5963e-05 | 0.10986 | 0.10986 | 0.10986 | 0.99414 | -0.11242 | 0.99544 | -0.087333 | 30.1805
30 | 0.023683 | 0.0059431 | -0.023667 | -0.0059338 | 1.5124e-05 | 9.2612e-06 | 0.035404 | 0.035404 | 0.035404 | 0.99544 | -0.087333 | 0.99475 | -0.10073 | 9.7264
31 | -0.097166 | -0.024394 | 0.097306 | 0.024483 | 0.00014069 | 8.9809e-05 | 0.14526 | 0.14526 | 0.14526 | 0.99544 | -0.087333 | 0.99702 | -0.057027 | 39.9069
32 | -0.16587 | -0.041599 | 0.16597 | 0.041664 | 0.0001038 | 6.5004e-05 | 0.24953 | 0.24953 | 0.24953 | 0.98914 | -0.20838 | 0.98982 | -0.19526 | 13.7105
33 | 0.0053973 | 0.0013526 | -0.0053969 | -0.0013526 | 4.1167e-07 | 4.4858e-08 | 0.0080737 | 0.0080738 | 0.0080738 | 0.99475 | -0.10073 | 0.99467 | -0.10233 | 2.2181
34 | 0.01827 | 0.0045812 | -0.018263 | -0.0045773 | 6.6083e-06 | 3.9232e-06 | 0.027331 | 0.027331 | 0.027331 | 0.99475 | -0.10073 | 0.99436 | -0.10833 | 7.5084
35 | -0.11523 | -0.028974 | 0.11537 | 0.029065 | 0.00014105 | 9.0103e-05 | 0.172 | 0.172 | 0.172 | 0.99702 | -0.057027 | 0.99835 | -0.031431 | 47.254
36 | -0.16597 | -0.041664 | 0.16617 | 0.041787 | 0.00019649 | 0.00012305 | 0.24953 | 0.24953 | 0.24953 | 0.98982 | -0.19526 | 0.9911 | -0.17047 | 13.7105
37 | -0.57229 | -0.14524 | 0.57316 | 0.1458 | 0.00086669 | 0.00055364 | 0.85363 | 0.85363 | 0.85363 | 0.99835 | -0.031431 | 1 | 0 | 46.9026
38 | 0.45692 | 0.11618 | -0.45667 | -0.11602 | 0.00025078 | 0.00016003 | 0.68162 | 0.68162 | 0.68162 | 0.99835 | -0.031431 | 0.99775 | -0.042831 | 37.4518
39 | 0.0093138 | 0.0023343 | -0.0093134 | -0.0023342 | 3.64e-07 | 1.6899e-07 | 0.013984 | 0.013984 | 0.013984 | 0.9911 | -0.17047 | 0.99106 | -0.17129 | 3.8416
40 | -0.010873 | -0.0027246 | 0.010873 | 0.0027248 | 3.9166e-07 | 2.0247e-07 | 0.016517 | 0.016517 | 0.016517 | 0.97952 | -0.3952 | 0.97956 | -0.39444 | 4.5375
41 | 0.0051103 | 0.0012805 | -0.0051096 | -0.0012804 | 7.5638e-07 | 6.288e-08 | 0.0077631 | 0.0077633 | 0.0077633 | 0.97952 | -0.3952 | 0.97936 | -0.39831 | 2.1328
42 | -0.012232 | -0.0030653 | 0.012232 | 0.0030657 | 7.1778e-07 | 3.8958e-07 | 0.01858 | 0.01858 | 0.01858 | 0.97956 | -0.39444 | 0.97962 | -0.39321 | 5.1045
43 | 0.0051096 | 0.0012804 | -0.0051086 | -0.0012803 | 1.0127e-06 | 8.4428e-08 | 0.0077633 | 0.0077635 | 0.0077635 | 0.97936 | -0.39831 | 0.97915 | -0.40247 | 2.1328
44 | 0.01325 | 0.0033219 | -0.013248 | -0.0033204 | 2.8152e-06 | 1.5685e-06 | 0.020127 | 0.020128 | 0.020128 | 0.97962 | -0.39321 | 0.97939 | -0.39767 | 5.5295
45 | -0.025483 | -0.0063876 | 0.025486 | 0.0063894 | 2.8773e-06 | 1.777e-06 | 0.038708 | 0.038708 | 0.038708 | 0.97962 | -0.39321 | 0.97974 | -0.39084 | 10.634
46 | 0.013248 | 0.0033204 | -0.013247 | -0.00332 | 6.4474e-07 | 3.5923e-07 | 0.020128 | 0.020128 | 0.020128 | 0.97939 | -0.39767 | 0.97934 | -0.39869 | 5.5295
47 | -0.030712 | -0.0076992 | 0.030714 | 0.0077008 | 2.5277e-06 | 1.5787e-06 | 0.046645 | 0.046645 | 0.046645 | 0.97974 | -0.39084 | 0.97983 | -0.38912 | 12.8147
48 | -0.048453 | -0.012148 | 0.04849 | 0.012171 | 3.6849e-05 | 2.3355e-05 | 0.073585 | 0.073585 | 0.073585 | 0.97983 | -0.38912 | 0.98064 | -0.37317 | 20.2156
49 | 0.017739 | 0.0044469 | -0.017735 | -0.0044449 | 3.3638e-06 | 1.9972e-06 | 0.026939 | 0.026939 | 0.026939 | 0.97983 | -0.38912 | 0.97963 | -0.3931 | 7.4009
50 | 0.02334 | 0.0058502 | -0.023338 | -0.0058491 | 1.7901e-06 | 1.0953e-06 | 0.034994 | 0.034994 | 0.034994 | 0.99246 | -0.14432 | 0.99238 | -0.14593 | 9.6138
51 | 0.00049891 | 0.00012488 | -0.0004989 | -0.00012504 | 2.7334e-09 | -1.579e-07 | 0.00075795 | 0.00075801 | 0.00075801 | 0.97938 | -0.39786 | 0.97938 | -0.39798 | 0.20824
52 | -0.0026024 | -0.00065206 | 0.0026025 | 0.00065197 | 5.9562e-08 | -8.9739e-08 | 0.0039539 | 0.0039538 | 0.0039539 | 0.97938 | -0.39786 | 0.97941 | -0.39738 | 1.0862
53 | -0.013523 | -0.003389 | 0.013524 | 0.0033895 | 8.9867e-07 | 5.0366e-07 | 0.020543 | 0.020543 | 0.020543 | 0.97956 | -0.39449 | 0.97963 | -0.3931 | 5.6437
54 | -0.048999 | -0.012299 | 0.049011 | 0.012306 | 1.179e-05 | 7.4739e-06 | 0.074357 | 0.074357 | 0.074357 | 0.98064 | -0.37317 | 0.9809 | -0.36812 | 20.4278
55 | 0.0040773 | 0.0010218 | -0.0040771 | -0.0010218 | 1.2097e-07 | -2.9015e-08 | 0.0061852 | 0.0061852 | 0.0061852 | 0.9809 | -0.36812 | 0.98087 | -0.36875 | 1.6992
56 | -0.053088 | -0.013328 | 0.053167 | 0.013378 | 7.9144e-05 | 5.0241e-05 | 0.080542 | 0.080542 | 0.080542 | 0.9809 | -0.36812 | 0.9825 | -0.33692 | 22.127

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.59665 | 0.15127

## res_load
| p_mw | q_mvar
0 | 0.0036154 | 0.00090611
1 | 0.017755 | 0.0044498
2 | 0.0053841 | 0.0013494
3 | 0.014995 | 0.0037581
4 | 0.0039452 | 0.00098877
5 | 0.0040029 | 0.0010032
6 | 0.0039378 | 0.0009869
7 | 0.0039726 | 0.00099562
8 | 0.0078374 | 0.0019642
9 | 0.070471 | 0.017662
10 | 0.073413 | 0.018399
11 | 0.073395 | 0.018395
12 | 0.021906 | 0.0054902
13 | 0.017919 | 0.004491
14 | 0.0053969 | 0.0013526
15 | 0.018263 | 0.0045773
16 | 0.0057622 | 0.0014441
17 | 0.0013586 | 0.0003405
18 | 0.0051086 | 0.0012803
19 | 0.0052263 | 0.0013098
20 | 0.013247 | 0.00332
21 | 0.021841 | 0.0054738
22 | 0.0093134 | 0.0023342
23 | 0.11336 | 0.028411
24 | 0.023338 | 0.0058491
25 | 0.0021035 | 0.00052718
26 | 0.0004989 | 0.00012504
27 | 0.001242 | 0.00031129
28 | 0.0057398 | 0.0014385
29 | 0.004211 | 0.0010554
30 | 0.00050904 | 0.00012758
31 | 0.0040771 | 0.0010218
32 | 0.00073956 | 0.00018535
33 | 0.0040781 | 0.0010221
34 | 0.021447 | 0.005375

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1