## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1630-68_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1630-68_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1630-68_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1630-68_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1630-68_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1630-68_0_5_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1630-68_0_5_node_11 | 0.4 | n |  | TRUE
7 | bus_LV_1630-68_0_5_node_17 | 0.4 | n |  | TRUE
8 | bus_LV_1630-68_0_5_node_21 | 0.4 | n |  | TRUE
9 | bus_LV_1630-68_0_5_node_48 | 0.4 | n |  | TRUE
10 | bus_LV_1630-68_0_5_node_12 | 0.4 | n |  | TRUE
11 | bus_LV_1630-68_0_5_node_18 | 0.4 | n |  | TRUE
12 | bus_LV_1630-68_0_5_node_20 | 0.4 | n |  | TRUE
13 | bus_LV_1630-68_0_5_node_6 | 0.4 | n |  | TRUE
14 | bus_LV_1630-68_0_5_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_1630-68_0_5_node_14 | 0.4 | n |  | TRUE
16 | bus_LV_1630-68_0_5_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_1630-68_0_5_node_8 | 0.4 | n |  | TRUE
18 | bus_LV_1630-68_0_5_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_1630-68_0_5_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_1630-68_0_5_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_1630-68_0_5_node_43 | 0.4 | n |  | TRUE
22 | bus_LV_1630-68_0_5_node_31 | 0.4 | n |  | TRUE
23 | bus_LV_1630-68_0_5_node_29 | 0.4 | n |  | TRUE
24 | bus_LV_1630-68_0_5_node_52 | 0.4 | n |  | TRUE
25 | bus_LV_1630-68_0_5_node_16 | 0.4 | n |  | TRUE
26 | bus_LV_1630-68_0_5_node_44 | 0.4 | n |  | TRUE
27 | bus_LV_1630-68_0_5_node_30 | 0.4 | n |  | TRUE
28 | bus_LV_1630-68_0_5_node_36 | 0.4 | n |  | TRUE
29 | bus_LV_1630-68_0_5_node_23 | 0.4 | n |  | TRUE
30 | bus_LV_1630-68_0_5_node_46 | 0.4 | n |  | TRUE
31 | bus_LV_1630-68_0_5_node_53 | 0.4 | n |  | TRUE
32 | bus_LV_1630-68_0_5_node_47 | 0.4 | n |  | TRUE
33 | bus_LV_1630-68_0_5_node_49 | 0.4 | n |  | TRUE
34 | bus_LV_1630-68_0_5_node_50 | 0.4 | n |  | TRUE
35 | bus_LV_1630-68_0_5_node_51 | 0.4 | n |  | TRUE
36 | bus_LV_1630-68_0_5_node_24 | 0.4 | n |  | TRUE
37 | bus_LV_1630-68_0_5_node_35 | 0.4 | n |  | TRUE
38 | bus_LV_1630-68_0_5_node_19 | 0.4 | n |  | TRUE
39 | bus_LV_1630-68_0_5_node_37 | 0.4 | n |  | TRUE
40 | bus_LV_1630-68_0_5_node_38 | 0.4 | n |  | TRUE
41 | bus_LV_1630-68_0_5_node_28 | 0.4 | n |  | TRUE
42 | bus_LV_1630-68_0_5_node_25 | 0.4 | n |  | TRUE
43 | bus_LV_1630-68_0_5_node_26 | 0.4 | n |  | TRUE
44 | bus_LV_1630-68_0_5_node_27 | 0.4 | n |  | TRUE
45 | bus_LV_1630-68_0_5_node_56 | 0.4 | n |  | TRUE
46 | bus_LV_1630-68_0_5_node_42 | 0.4 | n |  | TRUE
47 | bus_LV_1630-68_0_5_node_32 | 0.4 | n |  | TRUE
48 | bus_LV_1630-68_0_5_node_33 | 0.4 | n |  | TRUE
49 | bus_LV_1630-68_0_5_node_58 | 0.4 | n |  | TRUE
50 | bus_LV_1630-68_0_5_node_54 | 0.4 | n |  | TRUE
51 | bus_LV_1630-68_0_5_node_39 | 0.4 | n |  | TRUE
52 | bus_LV_1630-68_0_5_node_40 | 0.4 | n |  | TRUE
53 | bus_LV_1630-68_0_5_node_41 | 0.4 | n |  | TRUE
54 | bus_LV_1630-68_0_5_node_55 | 0.4 | n |  | TRUE
55 | bus_LV_1630-68_0_5_node_57 | 0.4 | n |  | TRUE
56 | bus_MV_152_0_node_84 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1630-68_0_5_load_0 | 0 | 0.0086768 | 0.0021746 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1630-68_0_5_load_3 | 3 | 0.0070345 | 0.001763 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1630-68_0_5_load_4 | 4 | 0.0061723 | 0.0015469 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1630-68_0_5_load_11 | 6 | 0.0044001 | 0.0011028 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1630-68_0_5_load_17 | 7 | 0.017572 | 0.004404 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1630-68_0_5_load_48 | 9 | 0.0015994 | 0.00040085 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1630-68_0_5_load_18 | 11 | 0.0019138 | 0.00047964 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1630-68_0_5_load_20 | 12 | 0.0017429 | 0.0004368 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1630-68_0_5_load_6 | 13 | 0.039364 | 0.0098657 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1630-68_0_5_load_7 | 14 | 0.0080182 | 0.0020096 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1630-68_0_5_load_14 | 15 | 0.0028627 | 0.00071746 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1630-68_0_5_load_9 | 16 | 0.028436 | 0.0071267 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1630-68_0_5_load_8 | 17 | 0.0057299 | 0.001436 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1630-68_0_5_load_15 | 19 | 0.0016105 | 0.00040362 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1630-68_0_5_load_13 | 20 | 0.0022523 | 0.00056448 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1630-68_0_5_load_31 | 22 | 0.01387 | 0.0034762 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1630-68_0_5_load_29 | 23 | 0.030899 | 0.0077441 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1630-68_0_5_load_52 | 24 | 0.0084537 | 0.0021187 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1630-68_0_5_load_30 | 27 | 0.0059146 | 0.0014823 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1630-68_0_5_load_23 | 29 | 0.012222 | 0.0030632 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1630-68_0_5_load_53 | 31 | 0.063446 | 0.015901 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1630-68_0_5_load_50 | 34 | 0.059836 | 0.014996 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1630-68_0_5_load_24 | 36 | 0.0019817 | 0.00049665 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1630-68_0_5_load_35 | 37 | 0.0065834 | 0.00165 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1630-68_0_5_load_19 | 38 | 0.0029489 | 0.00073905 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1630-68_0_5_load_37 | 39 | 0.0087362 | 0.0021895 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1630-68_0_5_load_28 | 41 | 0.010117 | 0.0025356 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1630-68_0_5_load_25 | 42 | 0.0081733 | 0.0020484 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1630-68_0_5_load_56 | 45 | 0.059929 | 0.01502 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1630-68_0_5_load_42 | 46 | 0.0081974 | 0.0020545 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1630-68_0_5_load_32 | 47 | 0.01988 | 0.0049824 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1630-68_0_5_load_33 | 48 | 0.0014479 | 0.00036288 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1630-68_0_5_load_58 | 49 | 0.016872 | 0.0042284 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1630-68_0_5_load_39 | 51 | 0.0072032 | 0.0018053 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1630-68_0_5_load_40 | 52 | 0.0047978 | 0.0012024 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1630-68_0_5_load_41 | 53 | 0.0048912 | 0.0012259 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1630-68_0_5_load_55 | 54 | 0.027159 | 0.0068066 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1630-68_0_5_load_57 | 55 | 0.033069 | 0.0082879 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 22 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1630-68_0_5_line_0 |  | 0 | 1 | 0.010932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1630-68_0_5_line_1 |  | 0 | 2 | 0.042444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1630-68_0_5_line_2 |  | 1 | 3 | 0.022694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1630-68_0_5_line_3 |  | 1 | 4 | 0.018684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1630-68_0_5_line_4 |  | 2 | 5 | 0.003934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1630-68_0_5_line_5 |  | 3 | 6 | 0.034062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1630-68_0_5_line_6 |  | 4 | 7 | 0.0053756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1630-68_0_5_line_7 |  | 5 | 8 | 0.004475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1630-68_0_5_line_8 |  | 5 | 9 | 0.025563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1630-68_0_5_line_9 |  | 6 | 10 | 0.020949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1630-68_0_5_line_10 |  | 7 | 11 | 0.0064814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1630-68_0_5_line_11 |  | 8 | 12 | 0.014534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1630-68_0_5_line_12 |  | 10 | 25 | 0.019735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1630-68_0_5_line_13 |  | 10 | 20 | 0.017325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1630-68_0_5_line_14 |  | 11 | 38 | 0.0081062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1630-68_0_5_line_15 |  | 13 | 14 | 0.047915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
16 | LV_1630-68_0_5_line_16 |  | 13 | 15 | 0.038816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
17 | LV_1630-68_0_5_line_17 |  | 14 | 16 | 0.00035793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
18 | LV_1630-68_0_5_line_18 |  | 15 | 19 | 0.021866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1630-68_0_5_line_19 |  | 15 | 20 | 0.028221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1630-68_0_5_line_20 |  | 16 | 21 | 0.022122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
21 | LV_1630-68_0_5_line_21 |  | 17 | 18 | 0.022237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1630-68_0_5_line_22 |  | 18 | 22 | 0.025305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1630-68_0_5_line_23 |  | 18 | 23 | 0.026822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1630-68_0_5_line_24 |  | 19 | 29 | 0.0043097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1630-68_0_5_line_25 |  | 21 | 26 | 0.006149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
26 | LV_1630-68_0_5_line_26 |  | 22 | 26 | 0.030785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
27 | LV_1630-68_0_5_line_27 |  | 23 | 27 | 0.0045628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1630-68_0_5_line_28 |  | 24 | 25 | 0.018236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1630-68_0_5_line_29 |  | 25 | 28 | 0.005011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1630-68_0_5_line_30 |  | 26 | 30 | 0.040943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
31 | LV_1630-68_0_5_line_31 |  | 28 | 37 | 0.016359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1630-68_0_5_line_32 |  | 29 | 36 | 0.0022129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1630-68_0_5_line_33 |  | 30 | 31 | 0.016595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1630-68_0_5_line_34 |  | 30 | 32 | 0.060748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
35 | LV_1630-68_0_5_line_35 |  | 32 | 54 | 0.005497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1630-68_0_5_line_36 |  | 32 | 35 | 0.058814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1630-68_0_5_line_37 |  | 32 | 50 | 0.041018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1630-68_0_5_line_38 |  | 33 | 34 | 0.005272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1630-68_0_5_line_39 |  | 33 | 35 | 0.036888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1630-68_0_5_line_40 |  | 35 | 45 | 0.009411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1630-68_0_5_line_41 |  | 36 | 41 | 0.015996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1630-68_0_5_line_42 |  | 37 | 48 | 0.022998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1630-68_0_5_line_43 |  | 38 | 39 | 0.014164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1630-68_0_5_line_44 |  | 39 | 40 | 0.021092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1630-68_0_5_line_45 |  | 40 | 51 | 0.0075556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1630-68_0_5_line_46 |  | 42 | 43 | 0.038449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1630-68_0_5_line_47 |  | 43 | 44 | 0.022219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1630-68_0_5_line_48 |  | 44 | 46 | 0.014083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1630-68_0_5_line_49 |  | 45 | 46 | 0.12797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1630-68_0_5_line_50 |  | 47 | 48 | 0.027638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1630-68_0_5_line_51 |  | 49 | 50 | 0.03115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1630-68_0_5_line_52 |  | 50 | 55 | 0.006198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1630-68_0_5_line_53 |  | 51 | 52 | 0.0080473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1630-68_0_5_line_54 |  | 52 | 53 | 0.0040128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1630-68_0_5_trafo_31 | 0.63 MVA 20/0.4 kV | 56 | 22 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2722833.5223 | 1216955.6078 | 2722828.0509 | 1216965.0716
1 | 2722810.37 | 1217003.3678 | 2722812.2244 | 1216996.3005 | 2722814.7295 | 1216988.6128 | 2722818.599 | 1216981.4203 | 2722828.0509 | 1216965.0716
2 | 2722833.5223 | 1216955.6078 | 2722845.1211 | 1216936.1015
3 | 2722833.5223 | 1216955.6078 | 2722850.0915 | 1216964.243
4 | 2722810.031 | 1217007.286 | 2722810.37 | 1217003.3678
5 | 2722845.1211 | 1216936.1015 | 2722854.5355 | 1216920.269 | 2722861.4337 | 1216907.6236 | 2722861.849 | 1216906.4583
6 | 2722850.0915 | 1216964.243 | 2722854.8585 | 1216966.7274
7 | 2722810.031 | 1217007.286 | 2722809.7263 | 1217011.7499
8 | 2722810.031 | 1217007.286 | 2722829.0106 | 1217012.3478 | 2722834.9268 | 1217012.1394
9 | 2722868.6406 | 1216886.6447 | 2722868.5739 | 1216886.9325 | 2722866.3509 | 1216893.8253 | 2722861.849 | 1216906.4583
10 | 2722860.6062 | 1216969.7229 | 2722854.8585 | 1216966.7274
11 | 2722809.7263 | 1217011.7499 | 2722803.0305 | 1217013.113 | 2722796.3375 | 1217016.9225
12 | 2722870.3968 | 1216867.0435 | 2722870.4582 | 1216874.0057 | 2722868.6406 | 1216886.6447
13 | 2722868.6406 | 1216886.6447 | 2722885.8185 | 1216884.3929
14 | 2722867.7947 | 1216973.4693 | 2722860.6062 | 1216969.7229
15 | 2722938.4063 | 1216889.3633 | 2722949.9338 | 1216913.3085 | 2722968.9688 | 1216903.6617
16 | 2722901.056 | 1216899.9287 | 2722938.4063 | 1216889.3633
17 | 2722969.288 | 1216903.4999 | 2722968.9688 | 1216903.6617
18 | 2722901.056 | 1216899.9287 | 2722899.5847 | 1216921.7451
19 | 2722901.056 | 1216899.9287 | 2722901.2586 | 1216896.9252 | 2722897.6188 | 1216885.2522 | 2722895.9781 | 1216883.0611 | 2722885.8185 | 1216884.3929
20 | 2722989.0205 | 1216893.4996 | 2722969.288 | 1216903.4999
21 | 2722959.9006 | 1216838.4893 | 2722940.1461 | 1216848.7
22 | 2722959.9006 | 1216838.4893 | 2722971.699 | 1216860.8757
23 | 2722959.9006 | 1216838.4893 | 2722947.3965 | 1216814.76
24 | 2722899.2947 | 1216926.0451 | 2722899.5847 | 1216921.7451
25 | 2722986.0485 | 1216888.1118 | 2722989.0205 | 1216893.4996
26 | 2722986.0485 | 1216888.1118 | 2722972.7993 | 1216862.9634 | 2722971.699 | 1216860.8757
27 | 2722947.3965 | 1216814.76 | 2722945.2695 | 1216810.7233
28 | 2722870.3968 | 1216867.0435 | 2722887.8044 | 1216861.4536
29 | 2722870.3968 | 1216867.0435 | 2722869.8616 | 1216862.0619
30 | 2722986.0485 | 1216888.1118 | 2722993.9265 | 1216885.7726 | 2723012.0065 | 1216878.1509 | 2723012.1334 | 1216876.7858 | 2723010.6473 | 1216872.6297 | 2723017.483 | 1216870.0132
31 | 2722869.8616 | 1216862.0619 | 2722853.6145 | 1216863.9737
32 | 2722899.2947 | 1216926.0451 | 2722899.1457 | 1216928.253
33 | 2723017.483 | 1216870.0132 | 2723007.906 | 1216862.3206 | 2723007.4862 | 1216858.0086
34 | 2722980.0982 | 1216840.4965 | 2722976.6944 | 1216840.9377 | 2722984.3124 | 1216855.6063 | 2722987.6312 | 1216859.2776 | 2722999.9585 | 1216872.0642 | 2723005.895 | 1216872.9096 | 2723010.6473 | 1216872.6297 | 2723017.483 | 1216870.0132
35 | 2722985.5971 | 1216840.0985 | 2722980.0982 | 1216840.4965
36 | 2722980.0982 | 1216840.4965 | 2722979.5114 | 1216826.618 | 2722987.2946 | 1216817.4715 | 2722988.6412 | 1216815.887 | 2723004.2453 | 1216814.8971 | 2723004.5369 | 1216822.1087 | 2723005.2926 | 1216824.4929 | 2723006.2563 | 1216825.6358 | 2723009.835 | 1216827.3888
37 | 2722959.5915 | 1216807.4811 | 2722965.9392 | 1216818.9432 | 2722976.6944 | 1216840.9377 | 2722980.0982 | 1216840.4965
38 | 2723036.9935 | 1216846.4531 | 2723036.7454 | 1216841.1884
39 | 2723036.9935 | 1216846.4531 | 2723030.6007 | 1216847.1106 | 2723028.5587 | 1216847.0684 | 2723025.5146 | 1216845.9046 | 2723012.6643 | 1216835.2756 | 2723011.6553 | 1216833.7536 | 2723010.1839 | 1216830.7209 | 2723009.835 | 1216827.3888
40 | 2723013.8268 | 1216821.2776 | 2723010.8313 | 1216821.4381 | 2723009.9431 | 1216822.1537 | 2723009.6485 | 1216823.1817 | 2723009.835 | 1216827.3888
41 | 2722897.959 | 1216944.205 | 2722898.9497 | 1216931.1598 | 2722899.1457 | 1216928.253
42 | 2722832.6566 | 1216855.7161 | 2722836.191 | 1216858.2538 | 2722848.8264 | 1216863.8519 | 2722851.53 | 1216864.219 | 2722853.6145 | 1216863.9737
43 | 2722867.7947 | 1216973.4693 | 2722870.556 | 1216974.9083 | 2722875.9669 | 1216978.0334 | 2722879.9386 | 1216980.7322
44 | 2722896.2563 | 1216993.9642 | 2722893.449 | 1216992.3717 | 2722889.2374 | 1216989.2713 | 2722880.6926 | 1216981.2445 | 2722879.9386 | 1216980.7322
45 | 2722896.2563 | 1216993.9642 | 2722903.3687 | 1216996.5141
46 | 2723100.532 | 1216687.8974 | 2723097.597 | 1216689.905 | 2723093.2104 | 1216691.2265 | 2723063.918 | 1216689.765 | 2723062.9366 | 1216689.8097
47 | 2723100.532 | 1216687.8974 | 2723100.369 | 1216710.1113
48 | 2723100.369 | 1216710.1113 | 2723088.1447 | 1216717.104
49 | 2723013.8268 | 1216821.2776 | 2723088.1447 | 1216717.104
50 | 2722824.3599 | 1216830.3508 | 2722825.5005 | 1216839.7302 | 2722827.6825 | 1216850.2945 | 2722831.3118 | 1216854.7505 | 2722832.6566 | 1216855.7161
51 | 2722954.2443 | 1216783.9747 | 2722947.7975 | 1216786.1434 | 2722959.5915 | 1216807.4811
52 | 2722965.3434 | 1216805.1313 | 2722959.5915 | 1216807.4811
53 | 2722903.3687 | 1216996.5141 | 2722906.7874 | 1216997.7398 | 2722910.9248 | 1216999.2819
54 | 2722910.9248 | 1216999.2819 | 2722910.9248 | 1216999.2819 | 2722914.0549 | 1217001.7928

## bus_geodata
| x | y | coords
0 | 2722828.0509 | 1216965.0716
1 | 2722833.5223 | 1216955.6078
2 | 2722810.37 | 1217003.3678
3 | 2722845.1211 | 1216936.1015
4 | 2722850.0915 | 1216964.243
5 | 2722810.031 | 1217007.286
6 | 2722861.849 | 1216906.4583
7 | 2722854.8585 | 1216966.7274
8 | 2722809.7263 | 1217011.7499
9 | 2722834.9268 | 1217012.1394
10 | 2722868.6406 | 1216886.6447
11 | 2722860.6062 | 1216969.7229
12 | 2722796.3375 | 1217016.9225
13 | 2722938.4063 | 1216889.3633
14 | 2722968.9688 | 1216903.6617
15 | 2722901.056 | 1216899.9287
16 | 2722969.288 | 1216903.4999
17 | 2722940.1461 | 1216848.7
18 | 2722959.9006 | 1216838.4893
19 | 2722899.5847 | 1216921.7451
20 | 2722885.8185 | 1216884.3929
21 | 2722989.0205 | 1216893.4996
22 | 2722971.699 | 1216860.8757
23 | 2722947.3965 | 1216814.76
24 | 2722887.8044 | 1216861.4536
25 | 2722870.3968 | 1216867.0435
26 | 2722986.0485 | 1216888.1118
27 | 2722945.2695 | 1216810.7233
28 | 2722869.8616 | 1216862.0619
29 | 2722899.2947 | 1216926.0451
30 | 2723017.483 | 1216870.0132
31 | 2723007.4862 | 1216858.0086
32 | 2722980.0982 | 1216840.4965
33 | 2723036.9935 | 1216846.4531
34 | 2723036.7454 | 1216841.1884
35 | 2723009.835 | 1216827.3888
36 | 2722899.1457 | 1216928.253
37 | 2722853.6145 | 1216863.9737
38 | 2722867.7947 | 1216973.4693
39 | 2722879.9386 | 1216980.7322
40 | 2722896.2563 | 1216993.9642
41 | 2722897.959 | 1216944.205
42 | 2723062.9366 | 1216689.8097
43 | 2723100.532 | 1216687.8974
44 | 2723100.369 | 1216710.1113
45 | 2723013.8268 | 1216821.2776
46 | 2723088.1447 | 1216717.104
47 | 2722824.3599 | 1216830.3508
48 | 2722832.6566 | 1216855.7161
49 | 2722954.2443 | 1216783.9747
50 | 2722959.5915 | 1216807.4811
51 | 2722903.3687 | 1216996.5141
52 | 2722910.9248 | 1216999.2819
53 | 2722914.0549 | 1217001.7928
54 | 2722985.5971 | 1216840.0985
55 | 2722965.3434 | 1216805.1312
56 | 2722959.9006 | 1216838.4893

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98019 | -0.38147 | 0.0086768 | 0.0021746
1 | 0.98031 | -0.37909 | 0 | 0
2 | 0.98005 | -0.38405 | 0 | 0
3 | 0.9817 | -0.35186 | 0.0070345 | 0.001763
4 | 0.97937 | -0.39749 | 0.0061723 | 0.0015469
5 | 0.98004 | -0.38429 | 0 | 0
6 | 0.98401 | -0.30681 | 0.0044001 | 0.0011028
7 | 0.97913 | -0.40218 | 0.017572 | 0.004404
8 | 0.98003 | -0.38443 | 0 | 0
9 | 0.98 | -0.38503 | 0.0015994 | 0.00040085
10 | 0.98552 | -0.27756 | 0 | 0
11 | 0.97895 | -0.40578 | 0.0019138 | 0.00047964
12 | 0.98001 | -0.38489 | 0.0017429 | 0.0004368
13 | 0.99298 | -0.13373 | 0.039364 | 0.0098657
14 | 0.99502 | -0.094746 | 0.0080182 | 0.0020096
15 | 0.99038 | -0.18365 | 0.0028627 | 0.00071746
16 | 0.99503 | -0.094442 | 0.028436 | 0.0071267
17 | 0.99891 | -0.021009 | 0.0057299 | 0.001436
18 | 0.99902 | -0.018783 | 0 | 0
19 | 0.98986 | -0.19373 | 0.0016105 | 0.00040362
20 | 0.98735 | -0.24216 | 0.0022523 | 0.00056448
21 | 0.99616 | -0.072956 | 0 | 0
22 | 1 | 0 | -0.54871 | -0.13978
23 | 0.99813 | -0.036043 | 0.030899 | 0.0077441
24 | 0.98472 | -0.29321 | 0.0084537 | 0.0021187
25 | 0.98486 | -0.29044 | 0 | 0
26 | 0.99647 | -0.066992 | 0 | 0
27 | 0.9981 | -0.036515 | 0.0059146 | 0.0014823
28 | 0.98473 | -0.29296 | 0 | 0
29 | 0.98977 | -0.19559 | 0.012222 | 0.0030632
30 | 0.99386 | -0.11684 | 0 | 0
31 | 0.9929 | -0.13543 | 0.063446 | 0.015901
32 | 0.98787 | -0.23182 | 0 | 0
33 | 0.9784 | -0.41602 | 0 | 0
34 | 0.97811 | -0.42177 | 0.059836 | 0.014996
35 | 0.98045 | -0.37592 | 0 | 0
36 | 0.98974 | -0.19607 | 0.0019817 | 0.00049665
37 | 0.98431 | -0.30117 | 0.0065834 | 0.00165
38 | 0.97873 | -0.40999 | 0.0029489 | 0.00073905
39 | 0.97839 | -0.4166 | 0.0087362 | 0.0021895
40 | 0.97806 | -0.42309 | 0 | 0
41 | 0.98959 | -0.19895 | 0.010117 | 0.0025356
42 | 0.97728 | -0.43821 | 0.0081733 | 0.0020484
43 | 0.97757 | -0.43248 | 0 | 0
44 | 0.97774 | -0.42917 | 0 | 0
45 | 0.97979 | -0.38895 | 0.059929 | 0.01502
46 | 0.97784 | -0.42707 | 0.0081974 | 0.0020545
47 | 0.98335 | -0.3199 | 0.01988 | 0.0049824
48 | 0.98386 | -0.31 | 0.0014479 | 0.00036288
49 | 0.9855 | -0.27791 | 0.016872 | 0.0042284
50 | 0.98599 | -0.26848 | 0 | 0
51 | 0.97795 | -0.42542 | 0.0072032 | 0.0018053
52 | 0.97787 | -0.42684 | 0.0047978 | 0.0012024
53 | 0.97785 | -0.42719 | 0.0048912 | 0.0012259
54 | 0.98773 | -0.23449 | 0.027159 | 0.0068066
55 | 0.9858 | -0.27216 | 0.033069 | 0.0082879
56 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.01202 | -0.0030115 | 0.012021 | 0.0030122 | 1.3648e-06 | 7.3569e-07 | 0.018247 | 0.018247 | 0.018247 | 0.98019 | -0.38147 | 0.98031 | -0.37909 | 5.0128
1 | 0.0033428 | 0.00083686 | -0.0033424 | -0.00083713 | 4.0986e-07 | -2.726e-07 | 0.0050744 | 0.0050746 | 0.0050746 | 0.98019 | -0.38147 | 0.98005 | -0.38405 | 1.3941
2 | -0.066342 | -0.016658 | 0.066428 | 0.016713 | 8.632e-05 | 5.4958e-05 | 0.10071 | 0.10071 | 0.10071 | 0.98031 | -0.37909 | 0.9817 | -0.35186 | 27.6682
3 | 0.054321 | 0.013646 | -0.054273 | -0.013616 | 4.7649e-05 | 3.026e-05 | 0.082466 | 0.082466 | 0.082466 | 0.98031 | -0.37909 | 0.97937 | -0.39749 | 22.6555
4 | 0.0033424 | 0.00083713 | -0.0033424 | -0.00083716 | 3.799e-08 | -2.5259e-08 | 0.0050746 | 0.0050746 | 0.0050746 | 0.98005 | -0.38405 | 0.98004 | -0.38429 | 1.3941
5 | -0.073463 | -0.018476 | 0.073621 | 0.018577 | 0.00015844 | 0.00010097 | 0.11137 | 0.11137 | 0.11137 | 0.9817 | -0.35186 | 0.98401 | -0.30681 | 30.5975
6 | 0.048101 | 0.012069 | -0.04809 | -0.012062 | 1.0768e-05 | 6.8241e-06 | 0.073088 | 0.073088 | 0.073088 | 0.97937 | -0.39749 | 0.97913 | -0.40218 | 20.0791
7 | 0.0017429 | 0.0004366 | -0.0017429 | -0.00043665 | 1.1751e-08 | -4.8868e-08 | 0.0026462 | 0.0026462 | 0.0026462 | 0.98004 | -0.38429 | 0.98003 | -0.38443 | 0.72699
8 | 0.0015995 | 0.00040056 | -0.0015994 | -0.00040085 | 5.6532e-08 | -2.8592e-07 | 0.0024284 | 0.0024285 | 0.0024285 | 0.98004 | -0.38429 | 0.98 | -0.38503 | 0.66717
9 | -0.078021 | -0.01968 | 0.078131 | 0.01975 | 0.00010944 | 6.9774e-05 | 0.11803 | 0.11803 | 0.11803 | 0.98401 | -0.30681 | 0.98552 | -0.27756 | 32.4254
10 | 0.030518 | 0.0076581 | -0.030513 | -0.0076549 | 5.2289e-06 | 3.265e-06 | 0.046383 | 0.046383 | 0.046383 | 0.97913 | -0.40218 | 0.97895 | -0.40578 | 12.7425
11 | 0.0017429 | 0.00043665 | -0.0017429 | -0.0004368 | 3.8168e-08 | -1.5871e-07 | 0.0026462 | 0.0026463 | 0.0026463 | 0.98003 | -0.38443 | 0.98001 | -0.38489 | 0.72701
12 | 0.036421 | 0.0091485 | -0.036399 | -0.0091344 | 2.2386e-05 | 1.4076e-05 | 0.054999 | 0.054999 | 0.054999 | 0.98552 | -0.27756 | 0.98486 | -0.29044 | 15.1096
13 | -0.11455 | -0.028898 | 0.11475 | 0.029023 | 0.0001945 | 0.00012426 | 0.17303 | 0.17303 | 0.17303 | 0.98552 | -0.27756 | 0.98735 | -0.24216 | 47.535
14 | 0.028599 | 0.0071752 | -0.028593 | -0.0071716 | 5.7452e-06 | 3.575e-06 | 0.043474 | 0.043474 | 0.043474 | 0.97895 | -0.40578 | 0.97873 | -0.40999 | 11.9433
15 | -0.18585 | -0.047113 | 0.1862 | 0.047334 | 0.00034891 | 0.00022082 | 0.2787 | 0.2787 | 0.2787 | 0.99298 | -0.13373 | 0.99502 | -0.094746 | 19.1414
16 | 0.14649 | 0.037248 | -0.14614 | -0.037024 | 0.00035133 | 0.00022385 | 0.21971 | 0.21971 | 0.21971 | 0.99298 | -0.13373 | 0.99038 | -0.18365 | 30.18
17 | -0.19422 | -0.049344 | 0.19422 | 0.049346 | 2.8355e-06 | 1.7961e-06 | 0.29069 | 0.29069 | 0.29069 | 0.99502 | -0.094746 | 0.99503 | -0.094442 | 19.9649
18 | 0.025948 | 0.006509 | -0.025936 | -0.0065013 | 1.2464e-05 | 7.6959e-06 | 0.038988 | 0.038988 | 0.038988 | 0.99038 | -0.18365 | 0.98986 | -0.19373 | 10.711
19 | 0.11733 | 0.029798 | -0.117 | -0.029587 | 0.00032939 | 0.00021045 | 0.17642 | 0.17642 | 0.17642 | 0.99038 | -0.18365 | 0.98735 | -0.24216 | 48.4675
20 | -0.22266 | -0.056472 | 0.22289 | 0.056619 | 0.00023027 | 0.00014622 | 0.33321 | 0.33321 | 0.33321 | 0.99503 | -0.094442 | 0.99616 | -0.072956 | 22.8855
21 | -0.0057299 | -0.001436 | 0.0057305 | 0.0014361 | 6.0753e-07 | 9.7685e-08 | 0.0085355 | 0.0085354 | 0.0085355 | 0.99891 | -0.021009 | 0.99902 | -0.018783 | 2.3449
22 | -0.042575 | -0.010682 | 0.042613 | 0.010706 | 3.8165e-05 | 2.4094e-05 | 0.063418 | 0.063418 | 0.063418 | 0.99902 | -0.018783 | 1 | 0 | 17.4225
23 | 0.036844 | 0.0092455 | -0.036814 | -0.0092264 | 3.0297e-05 | 1.9039e-05 | 0.054883 | 0.054883 | 0.054883 | 0.99902 | -0.018783 | 0.99813 | -0.036043 | 15.0776
24 | 0.024325 | 0.0060976 | -0.024323 | -0.0060963 | 2.1611e-06 | 1.3277e-06 | 0.036567 | 0.036567 | 0.036567 | 0.98986 | -0.19373 | 0.98977 | -0.19559 | 10.046
25 | -0.22289 | -0.056619 | 0.22295 | 0.056659 | 6.4006e-05 | 4.0643e-05 | 0.33321 | 0.33321 | 0.33321 | 0.99616 | -0.072956 | 0.99647 | -0.066992 | 22.8855
26 | 0.50445 | 0.12907 | -0.50282 | -0.12803 | 0.0016302 | 0.0010417 | 0.75156 | 0.75156 | 0.75156 | 1 | 0 | 0.99647 | -0.066992 | 51.6183
27 | 0.0059148 | 0.0014824 | -0.0059146 | -0.0014823 | 1.3304e-07 | 2.5511e-08 | 0.0088178 | 0.0088178 | 0.0088178 | 0.99813 | -0.036043 | 0.9981 | -0.036515 | 2.4225
28 | -0.0084537 | -0.0021187 | 0.0084548 | 0.0021192 | 1.116e-06 | 4.8219e-07 | 0.012775 | 0.012774 | 0.012775 | 0.98472 | -0.29321 | 0.98486 | -0.29044 | 3.5095
29 | 0.027944 | 0.0070152 | -0.027941 | -0.0070131 | 3.3503e-06 | 2.0805e-06 | 0.042225 | 0.042225 | 0.042225 | 0.98486 | -0.29044 | 0.98473 | -0.29296 | 11.6002
30 | 0.27986 | 0.071369 | -0.27919 | -0.070941 | 0.00067179 | 0.00042781 | 0.41835 | 0.41835 | 0.41835 | 0.99647 | -0.066992 | 0.99386 | -0.11684 | 28.7328
31 | 0.027941 | 0.0070131 | -0.02793 | -0.0070063 | 1.0938e-05 | 6.7921e-06 | 0.042225 | 0.042225 | 0.042225 | 0.98473 | -0.29296 | 0.98431 | -0.30117 | 11.6002
32 | 0.012101 | 0.0030331 | -0.0121 | -0.003033 | 2.7464e-07 | 1.4733e-07 | 0.018192 | 0.018192 | 0.018192 | 0.98977 | -0.19559 | 0.98974 | -0.19607 | 4.9979
33 | 0.063503 | 0.015937 | -0.063446 | -0.015901 | 5.6264e-05 | 3.5794e-05 | 0.095084 | 0.095084 | 0.095084 | 0.99386 | -0.11684 | 0.9929 | -0.13543 | 26.1221
34 | 0.21569 | 0.055004 | -0.2145 | -0.054244 | 0.0011903 | 0.00076022 | 0.32327 | 0.32327 | 0.32327 | 0.99386 | -0.11684 | 0.98787 | -0.23182 | 44.4048
35 | 0.027162 | 0.0068087 | -0.027159 | -0.0068066 | 3.4507e-06 | 2.1381e-06 | 0.040914 | 0.040914 | 0.040914 | 0.98787 | -0.23182 | 0.98773 | -0.23449 | 11.2402
36 | 0.13729 | 0.034856 | -0.13635 | -0.034252 | 0.00094471 | 0.00060387 | 0.20696 | 0.20696 | 0.20696 | 0.98787 | -0.23182 | 0.98045 | -0.37592 | 56.8579
37 | 0.050041 | 0.01258 | -0.049954 | -0.012524 | 8.7425e-05 | 5.5428e-05 | 0.07539 | 0.07539 | 0.07539 | 0.98787 | -0.23182 | 0.98599 | -0.26848 | 20.7117
38 | 0.059853 | 0.015007 | -0.059836 | -0.014996 | 1.6382e-05 | 1.0418e-05 | 0.09103 | 0.09103 | 0.09103 | 0.9784 | -0.41602 | 0.97811 | -0.42177 | 25.0082
39 | -0.059853 | -0.015007 | 0.059967 | 0.01508 | 0.00011463 | 7.2896e-05 | 0.09103 | 0.09103 | 0.09103 | 0.9784 | -0.41602 | 0.98045 | -0.37592 | 25.0082
40 | 0.076381 | 0.019172 | -0.076334 | -0.019142 | 4.7433e-05 | 3.0239e-05 | 0.11593 | 0.11593 | 0.11593 | 0.98045 | -0.37592 | 0.97979 | -0.38895 | 31.8498
41 | 0.010119 | 0.0025363 | -0.010117 | -0.0025356 | 1.3883e-06 | 6.8295e-07 | 0.015213 | 0.015213 | 0.015213 | 0.98974 | -0.19607 | 0.98959 | -0.19895 | 4.1794
42 | 0.021346 | 0.0053564 | -0.021337 | -0.0053509 | 8.9823e-06 | 5.4565e-06 | 0.032272 | 0.032272 | 0.032272 | 0.98431 | -0.30117 | 0.98386 | -0.31 | 8.866
43 | 0.025644 | 0.0064326 | -0.025636 | -0.0064276 | 8.0749e-06 | 4.99e-06 | 0.03899 | 0.038991 | 0.038991 | 0.97873 | -0.40999 | 0.97839 | -0.4166 | 10.7117
44 | 0.0169 | 0.0042381 | -0.016895 | -0.004235 | 5.2259e-06 | 3.0797e-06 | 0.025704 | 0.025704 | 0.025704 | 0.97839 | -0.4166 | 0.97806 | -0.42309 | 7.0615
45 | 0.016895 | 0.004235 | -0.016893 | -0.0042339 | 1.872e-06 | 1.1033e-06 | 0.025704 | 0.025704 | 0.025704 | 0.97806 | -0.42309 | 0.97795 | -0.42542 | 7.0615
46 | -0.0081733 | -0.0020484 | 0.0081755 | 0.0020494 | 2.2329e-06 | 9.4719e-07 | 0.012445 | 0.012445 | 0.012445 | 0.97728 | -0.43821 | 0.97757 | -0.43248 | 3.4189
47 | -0.0081755 | -0.0020494 | 0.0081768 | 0.0020499 | 1.2904e-06 | 5.4722e-07 | 0.012445 | 0.012444 | 0.012445 | 0.97757 | -0.43248 | 0.97774 | -0.42917 | 3.4188
48 | -0.0081768 | -0.0020499 | 0.0081776 | 0.0020503 | 8.1786e-07 | 3.4679e-07 | 0.012444 | 0.012444 | 0.012444 | 0.97774 | -0.42917 | 0.97784 | -0.42707 | 3.4188
49 | 0.016405 | 0.0041222 | -0.016375 | -0.0041047 | 2.9796e-05 | 1.7461e-05 | 0.024918 | 0.024919 | 0.024919 | 0.97979 | -0.38895 | 0.97784 | -0.42707 | 6.8458
50 | -0.01988 | -0.0049824 | 0.019889 | 0.004988 | 9.3793e-06 | 5.652e-06 | 0.030083 | 0.030082 | 0.030083 | 0.98335 | -0.3199 | 0.98386 | -0.31 | 8.2645
51 | -0.016872 | -0.0042284 | 0.016879 | 0.0042329 | 7.5806e-06 | 4.4545e-06 | 0.025475 | 0.025474 | 0.025475 | 0.9855 | -0.27791 | 0.98599 | -0.26848 | 6.9985
52 | 0.033075 | 0.0082915 | -0.033069 | -0.0082879 | 5.7911e-06 | 3.6273e-06 | 0.049916 | 0.049916 | 0.049916 | 0.98599 | -0.26848 | 0.9858 | -0.27216 | 13.7132
53 | 0.0096898 | 0.0024286 | -0.0096891 | -0.0024283 | 6.5599e-07 | 3.1887e-07 | 0.014744 | 0.014744 | 0.014744 | 0.97795 | -0.42542 | 0.97787 | -0.42684 | 4.0505
54 | 0.0048913 | 0.0012259 | -0.0048912 | -0.0012259 | 8.3365e-08 | 3.0134e-09 | 0.0074431 | 0.0074431 | 0.0074431 | 0.97787 | -0.42684 | 0.97785 | -0.42719 | 2.0448

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.56258 | 0.14325

## res_load
| p_mw | q_mvar
0 | 0.0086768 | 0.0021746
1 | 0.0070345 | 0.001763
2 | 0.0061723 | 0.0015469
3 | 0.0044001 | 0.0011028
4 | 0.017572 | 0.004404
5 | 0.0015994 | 0.00040085
6 | 0.0019138 | 0.00047964
7 | 0.0017429 | 0.0004368
8 | 0.039364 | 0.0098657
9 | 0.0080182 | 0.0020096
10 | 0.0028627 | 0.00071746
11 | 0.028436 | 0.0071267
12 | 0.0057299 | 0.001436
13 | 0.0016105 | 0.00040362
14 | 0.0022523 | 0.00056448
15 | 0.01387 | 0.0034762
16 | 0.030899 | 0.0077441
17 | 0.0084537 | 0.0021187
18 | 0.0059146 | 0.0014823
19 | 0.012222 | 0.0030632
20 | 0.063446 | 0.015901
21 | 0.059836 | 0.014996
22 | 0.0019817 | 0.00049665
23 | 0.0065834 | 0.00165
24 | 0.0029489 | 0.00073905
25 | 0.0087362 | 0.0021895
26 | 0.010117 | 0.0025356
27 | 0.0081733 | 0.0020484
28 | 0.059929 | 0.01502
29 | 0.0081974 | 0.0020545
30 | 0.01988 | 0.0049824
31 | 0.0014479 | 0.00036288
32 | 0.016872 | 0.0042284
33 | 0.0072032 | 0.0018053
34 | 0.0047978 | 0.0012024
35 | 0.0048912 | 0.0012259
36 | 0.027159 | 0.0068066
37 | 0.033069 | 0.0082879

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1