## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1630-77_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1630-77_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1630-77_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1630-77_0_5_node_7 | 0.4 | n |  | TRUE
4 | bus_LV_1630-77_0_5_node_47 | 0.4 | n |  | TRUE
5 | bus_LV_1630-77_0_5_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_1630-77_0_5_node_24 | 0.4 | n |  | TRUE
7 | bus_LV_1630-77_0_5_node_23 | 0.4 | n |  | TRUE
8 | bus_LV_1630-77_0_5_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_1630-77_0_5_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_1630-77_0_5_node_25 | 0.4 | n |  | TRUE
11 | bus_LV_1630-77_0_5_node_10 | 0.4 | n |  | TRUE
12 | bus_LV_1630-77_0_5_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_1630-77_0_5_node_44 | 0.4 | n |  | TRUE
14 | bus_LV_1630-77_0_5_node_39 | 0.4 | n |  | TRUE
15 | bus_LV_1630-77_0_5_node_40 | 0.4 | n |  | TRUE
16 | bus_LV_1630-77_0_5_node_27 | 0.4 | n |  | TRUE
17 | bus_LV_1630-77_0_5_node_26 | 0.4 | n |  | TRUE
18 | bus_LV_1630-77_0_5_node_31 | 0.4 | n |  | TRUE
19 | bus_LV_1630-77_0_5_node_50 | 0.4 | n |  | TRUE
20 | bus_LV_1630-77_0_5_node_30 | 0.4 | n |  | TRUE
21 | bus_LV_1630-77_0_5_node_34 | 0.4 | n |  | TRUE
22 | bus_LV_1630-77_0_5_node_12 | 0.4 | n |  | TRUE
23 | bus_LV_1630-77_0_5_node_11 | 0.4 | n |  | TRUE
24 | bus_LV_1630-77_0_5_node_9 | 0.4 | n |  | TRUE
25 | bus_LV_1630-77_0_5_node_21 | 0.4 | n |  | TRUE
26 | bus_LV_1630-77_0_5_node_22 | 0.4 | n |  | TRUE
27 | bus_LV_1630-77_0_5_node_20 | 0.4 | n |  | TRUE
28 | bus_LV_1630-77_0_5_node_13 | 0.4 | n |  | TRUE
29 | bus_LV_1630-77_0_5_node_14 | 0.4 | n |  | TRUE
30 | bus_LV_1630-77_0_5_node_15 | 0.4 | n |  | TRUE
31 | bus_LV_1630-77_0_5_node_18 | 0.4 | n |  | TRUE
32 | bus_LV_1630-77_0_5_node_16 | 0.4 | n |  | TRUE
33 | bus_LV_1630-77_0_5_node_17 | 0.4 | n |  | TRUE
34 | bus_LV_1630-77_0_5_node_19 | 0.4 | n |  | TRUE
35 | bus_LV_1630-77_0_5_node_46 | 0.4 | n |  | TRUE
36 | bus_LV_1630-77_0_5_node_49 | 0.4 | n |  | TRUE
37 | bus_LV_1630-77_0_5_node_37 | 0.4 | n |  | TRUE
38 | bus_LV_1630-77_0_5_node_38 | 0.4 | n |  | TRUE
39 | bus_LV_1630-77_0_5_node_28 | 0.4 | n |  | TRUE
40 | bus_LV_1630-77_0_5_node_29 | 0.4 | n |  | TRUE
41 | bus_LV_1630-77_0_5_node_33 | 0.4 | n |  | TRUE
42 | bus_LV_1630-77_0_5_node_32 | 0.4 | n |  | TRUE
43 | bus_LV_1630-77_0_5_node_41 | 0.4 | n |  | TRUE
44 | bus_LV_1630-77_0_5_node_42 | 0.4 | n |  | TRUE
45 | bus_LV_1630-77_0_5_node_43 | 0.4 | n |  | TRUE
46 | bus_LV_1630-77_0_5_node_45 | 0.4 | n |  | TRUE
47 | bus_LV_1630-77_0_5_node_48 | 0.4 | n |  | TRUE
48 | bus_MV_225_0_node_105 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1630-77_0_5_load_0 | 0 | 0.08447 | 0.02117 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1630-77_0_5_load_47 | 4 | 0.039674 | 0.0099432 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1630-77_0_5_load_24 | 6 | 0.016457 | 0.0041246 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1630-77_0_5_load_23 | 7 | 0.0058329 | 0.0014619 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1630-77_0_5_load_25 | 10 | 0.0004215 | 0.00010564 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1630-77_0_5_load_8 | 12 | 0.043678 | 0.010947 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1630-77_0_5_load_39 | 14 | 0.0023189 | 0.00058116 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1630-77_0_5_load_40 | 15 | 0.0010105 | 0.00025324 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1630-77_0_5_load_27 | 16 | 0.0003203 | 8.0274e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1630-77_0_5_load_26 | 17 | 0.0002528 | 6.3358e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1630-77_0_5_load_50 | 19 | 0.00028898 | 7.2425e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1630-77_0_5_load_34 | 21 | 0.00027535 | 6.9008e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1630-77_0_5_load_12 | 22 | 0.091391 | 0.022905 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1630-77_0_5_load_11 | 23 | 0.0096993 | 0.0024309 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1630-77_0_5_load_9 | 24 | 0.0068017 | 0.0017047 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1630-77_0_5_load_22 | 26 | 0.0071186 | 0.0017841 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1630-77_0_5_load_13 | 28 | 0.011384 | 0.0028531 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1630-77_0_5_load_14 | 29 | 0.0070824 | 0.001775 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1630-77_0_5_load_15 | 30 | 0.0067127 | 0.0016824 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1630-77_0_5_load_16 | 32 | 0.04672 | 0.011709 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1630-77_0_5_load_17 | 33 | 0.015441 | 0.0038698 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1630-77_0_5_load_46 | 35 | 0.045385 | 0.011375 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1630-77_0_5_load_49 | 36 | 0.014522 | 0.0036396 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1630-77_0_5_load_37 | 37 | 0.00025371 | 6.3585e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1630-77_0_5_load_38 | 38 | 0.0001419 | 3.5564e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1630-77_0_5_load_33 | 41 | 0.00023298 | 5.839e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1630-77_0_5_load_32 | 42 | 0.00019319 | 4.8418e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1630-77_0_5_load_41 | 43 | 0.0029143 | 0.00073038 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1630-77_0_5_load_42 | 44 | 0.00097437 | 0.0002442 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1630-77_0_5_load_45 | 46 | 0.0016383 | 0.00041059 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1630-77_0_5_load_48 | 47 | 0.0011893 | 0.00029807 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 11 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1630-77_0_5_line_0 |  | 0 | 1 | 0.036321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1630-77_0_5_line_1 |  | 1 | 2 | 0.10526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1630-77_0_5_line_2 |  | 1 | 3 | 0.063779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1630-77_0_5_line_3 |  | 2 | 4 | 0.0098553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1630-77_0_5_line_4 |  | 3 | 11 | 0.043883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
5 | LV_1630-77_0_5_line_5 |  | 3 | 12 | 0.040358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1630-77_0_5_line_6 |  | 3 | 5 | 0.067785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1630-77_0_5_line_7 |  | 4 | 13 | 0.0071935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1630-77_0_5_line_8 |  | 5 | 6 | 0.0046284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1630-77_0_5_line_9 |  | 5 | 7 | 0.011625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1630-77_0_5_line_10 |  | 6 | 8 | 0.073564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1630-77_0_5_line_11 |  | 8 | 9 | 0.33072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1630-77_0_5_line_12 |  | 9 | 10 | 0.013342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1630-77_0_5_line_13 |  | 10 | 17 | 0.0065238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1630-77_0_5_line_14 |  | 11 | 22 | 0.045557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_1630-77_0_5_line_15 |  | 11 | 23 | 0.018273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1630-77_0_5_line_16 |  | 12 | 24 | 0.0038037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1630-77_0_5_line_17 |  | 13 | 47 | 0.011078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1630-77_0_5_line_18 |  | 13 | 44 | 0.0069215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1630-77_0_5_line_19 |  | 14 | 15 | 0.14528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1630-77_0_5_line_20 |  | 14 | 16 | 0.22963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1630-77_0_5_line_21 |  | 15 | 38 | 0.41968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1630-77_0_5_line_22 |  | 16 | 39 | 0.14171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1630-77_0_5_line_23 |  | 17 | 37 | 0.24374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1630-77_0_5_line_24 |  | 17 | 38 | 0.34573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1630-77_0_5_line_25 |  | 18 | 19 | 0.077735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1630-77_0_5_line_26 |  | 18 | 20 | 0.41563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1630-77_0_5_line_27 |  | 20 | 21 | 0.32575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1630-77_0_5_line_28 |  | 20 | 40 | 0.021597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1630-77_0_5_line_29 |  | 22 | 25 | 0.02446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
30 | LV_1630-77_0_5_line_30 |  | 25 | 26 | 0.044663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1630-77_0_5_line_31 |  | 25 | 27 | 0.032974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1630-77_0_5_line_32 |  | 26 | 36 | 0.090127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1630-77_0_5_line_33 |  | 27 | 31 | 0.025141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1630-77_0_5_line_34 |  | 27 | 30 | 0.010107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1630-77_0_5_line_35 |  | 28 | 29 | 0.00038571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1630-77_0_5_line_36 |  | 29 | 30 | 0.012635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1630-77_0_5_line_37 |  | 31 | 32 | 0.025473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1630-77_0_5_line_38 |  | 32 | 33 | 0.0053952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1630-77_0_5_line_39 |  | 33 | 34 | 0.038627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1630-77_0_5_line_40 |  | 34 | 35 | 0.021813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1630-77_0_5_line_41 |  | 39 | 40 | 0.29316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1630-77_0_5_line_42 |  | 40 | 41 | 0.011399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1630-77_0_5_line_43 |  | 41 | 42 | 0.08952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1630-77_0_5_line_44 |  | 43 | 44 | 0.018771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1630-77_0_5_line_45 |  | 43 | 45 | 0.064452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1630-77_0_5_line_46 |  | 45 | 46 | 0.010643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1630-77_0_5_trafo_10 | 0.63 MVA 20/0.4 kV | 48 | 11 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31 | x32 | y32 | x33 | y33 | x34 | y34 | x35 | y35 | x36 | y36 | x37 | y37 | x38 | y38 | x39 | y39 | x40 | y40
0 | 2723925.452 | 1218539.4066 | 2723892.4449 | 1218524.2498
1 | 2723925.452 | 1218539.4066 | 2723931.7763 | 1218501.4751 | 2723940.8496 | 1218447.1101 | 2723942.775 | 1218435.5856
2 | 2723925.452 | 1218539.4066 | 2723923.3891 | 1218557.1777 | 2723923.2494 | 1218566.8045 | 2723923.435 | 1218585.2451 | 2723913.3724 | 1218583.2009 | 2723906.4583 | 1218580.1658
3 | 2723942.775 | 1218435.5856 | 2723944.5043 | 1218425.8832
4 | 2723866.9485 | 1218560.8292 | 2723906.4583 | 1218580.1658
5 | 2723906.4583 | 1218580.1658 | 2723902.5905 | 1218587.6246 | 2723898.4856 | 1218619.3154
6 | 2723906.4583 | 1218580.1658 | 2723913.3724 | 1218583.2009 | 2723923.435 | 1218585.2451 | 2723925.4479 | 1218635.1705
7 | 2723945.7665 | 1218418.8013 | 2723944.5043 | 1218425.8832
8 | 2723925.4479 | 1218635.1705 | 2723925.6353 | 1218639.7952
9 | 2723925.4479 | 1218635.1705 | 2723913.8238 | 1218635.3377
10 | 2723932.4902 | 1218712.6444 | 2723929.9836 | 1218707.2325 | 2723929.3515 | 1218702.9493 | 2723929.0033 | 1218697.7936 | 2723927.6721 | 1218681.1417 | 2723926.446 | 1218659.7995 | 2723925.6353 | 1218639.7952
11 | 2723932.4902 | 1218712.6444 | 2723934.0722 | 1218715.424 | 2723936.1379 | 1218719.0364 | 2723938.228 | 1218721.4818 | 2723940.8517 | 1218724.5499 | 2723945.742 | 1218721.5827 | 2723952.7952 | 1218719.3832 | 2723957.6923 | 1218719.007 | 2723960.8584 | 1218720.4518 | 2723963.9905 | 1218723.8974 | 2723966.4377 | 1218728.1517 | 2723968.7901 | 1218734.0386 | 2723970.2556 | 1218739.1286 | 2723970.8082 | 1218744.3109 | 2723970.8924 | 1218749.0163 | 2723970.3724 | 1218753.5757 | 2723968.9291 | 1218759.0834 | 2723965.3454 | 1218768.9388 | 2723959.5671 | 1218782.4736 | 2723960.0505 | 1218792.069 | 2723955.0605 | 1218802.0174 | 2723952.8884 | 1218808.6218 | 2723952.0411 | 1218815.0426 | 2723951.8879 | 1218822.4007 | 2723957.3627 | 1218850.4255 | 2723961.5757 | 1218873.0531 | 2723973.4244 | 1218944.2444 | 2724005.848 | 1218941.7283 | 2724020.1601 | 1218939.8247 | 2724035.7637 | 1218937.5144
12 | 2724035.7637 | 1218937.5144 | 2724033.4115 | 1218924.3811
13 | 2724032.2614 | 1218917.9595 | 2724033.4115 | 1218924.3811
14 | 2723866.9485 | 1218560.8292 | 2723826.03 | 1218540.8009
15 | 2723866.9485 | 1218560.8292 | 2723858.9855 | 1218577.2754
16 | 2723898.4856 | 1218619.3154 | 2723897.997 | 1218623.0876
17 | 2723945.7665 | 1218418.8013 | 2723956.7081 | 1218420.5376
18 | 2723945.7665 | 1218418.8013 | 2723946.6301 | 1218411.9339
19 | 2724044.5021 | 1218570.7868 | 2724127.166 | 1218451.3175
20 | 2724044.5021 | 1218570.7868 | 2724254.0029 | 1218476.7682
21 | 2724127.166 | 1218451.3175 | 2724142.2365 | 1218494.8399 | 2724152.3013 | 1218521.9042 | 2724157.3832 | 1218531.9735 | 2724158.9144 | 1218537.1873 | 2724164.3661 | 1218544.8069 | 2724166.7111 | 1218550.3156 | 2724173.5092 | 1218558.9085 | 2724187.1027 | 1218573.3031 | 2724216.4671 | 1218595.6105 | 2724231.968 | 1218623.0107 | 2724252.6876 | 1218659.7271 | 2724265.3466 | 1218682.4979 | 2724280.1428 | 1218694.5382 | 2724312.4906 | 1218737.9026 | 2724322.6886 | 1218753.8057 | 2724355.6437 | 1218795.6768
22 | 2724307.6518 | 1218362.3956 | 2724291.5817 | 1218362.972 | 2724287.8616 | 1218364.0508 | 2724284.984 | 1218365.87 | 2724282.1189 | 1218368.9126 | 2724279.5409 | 1218372.7507 | 2724276.1683 | 1218378.6406 | 2724274.2865 | 1218383.6831 | 2724272.5906 | 1218391.0868 | 2724271.7866 | 1218400.1438 | 2724270.9398 | 1218402.8839 | 2724265.3111 | 1218412.1071 | 2724261.6738 | 1218417.5911 | 2724260.1006 | 1218420.9387 | 2724258.8896 | 1218424.7609 | 2724258.6077 | 1218428.4468 | 2724259.2354 | 1218434.3867 | 2724258.2363 | 1218439.6923 | 2724253.6568 | 1218459.0342 | 2724253.21 | 1218464.0733 | 2724253.4535 | 1218472.0513 | 2724254.0029 | 1218476.7682
23 | 2724032.2614 | 1218917.9595 | 2724261.0412 | 1218833.871
24 | 2724032.2614 | 1218917.9595 | 2724355.6437 | 1218795.6768
25 | 2724674.5866 | 1218810.3031 | 2724683.1119 | 1218828.0844 | 2724687.1615 | 1218832.6505 | 2724692.3248 | 1218836.962 | 2724698.1975 | 1218840.3876 | 2724709.722 | 1218844.0094 | 2724721.6621 | 1218848.4517 | 2724725.2649 | 1218851.1515 | 2724726.3778 | 1218854.1994 | 2724724.9588 | 1218859.9631
26 | 2724501.9593 | 1218567.5136 | 2724503.5911 | 1218563.5446 | 2724508.5327 | 1218567.5843 | 2724514.0305 | 1218571.1687 | 2724519.9278 | 1218574.161 | 2724526.8037 | 1218576.829 | 2724555.1412 | 1218587.9189 | 2724564.1103 | 1218592.51 | 2724569.7515 | 1218595.7638 | 2724576.1485 | 1218600.6347 | 2724581.6822 | 1218605.7656 | 2724587.4266 | 1218612.4354 | 2724591.8142 | 1218618.632 | 2724595.8721 | 1218625.7113 | 2724598.9537 | 1218632.2809 | 2724601.5996 | 1218639.3529 | 2724602.9115 | 1218645.5964 | 2724603.5965 | 1218650.5924 | 2724603.92 | 1218654.7247 | 2724604.4293 | 1218692.4205 | 2724604.574 | 1218721.78 | 2724605.1851 | 1218735.0254 | 2724606.1549 | 1218744.1862 | 2724607.2668 | 1218751.6376 | 2724609.6602 | 1218761.3397 | 2724611.7594 | 1218768.7783 | 2724614.8382 | 1218776.9269 | 2724618.4086 | 1218784.4408 | 2724622.2833 | 1218791.5608 | 2724628.0331 | 1218800.4992 | 2724632.9845 | 1218807.3193 | 2724638.7302 | 1218813.9113 | 2724644.9914 | 1218820.1806 | 2724651.8792 | 1218826.2517 | 2724659.7961 | 1218832.1219 | 2724668.1976 | 1218837.691 | 2724677.3896 | 1218842.8541 | 2724684.9481 | 1218846.2594 | 2724694.6242 | 1218849.3309 | 2724712.0968 | 1218854.5897 | 2724724.9588 | 1218859.9631
27 | 2724501.9593 | 1218567.5136 | 2724512.0239 | 1218579.6223 | 2724532.8401 | 1218600.029 | 2724551.5071 | 1218620.8244 | 2724554.5539 | 1218625.792 | 2724556.7575 | 1218631.5092 | 2724558.3407 | 1218644.0188 | 2724559.8222 | 1218648.6868 | 2724562.9108 | 1218657.8252 | 2724565.0604 | 1218666.1211 | 2724565.3817 | 1218673.6226 | 2724564.8833 | 1218681.1181 | 2724561.3835 | 1218692.7207 | 2724554.4087 | 1218704.9512 | 2724551.2295 | 1218712.4795 | 2724546.2343 | 1218729.1549 | 2724542.0132 | 1218737.8624 | 2724539.2861 | 1218743.0206 | 2724537.1429 | 1218749.6588 | 2724536.7913 | 1218759.5703 | 2724537.7077 | 1218768.7523 | 2724543.6052 | 1218794.2289 | 2724559.8256 | 1218824.881 | 2724566.4044 | 1218834.1147 | 2724574.3983 | 1218854.8092 | 2724574.0482 | 1218857.2355
28 | 2724501.9593 | 1218567.5136 | 2724500.1211 | 1218569.0097 | 2724497.6881 | 1218570.6268 | 2724491.5207 | 1218572.1992 | 2724488.1953 | 1218572.5633 | 2724484.8184 | 1218571.7588 | 2724482.136 | 1218570.057
29 | 2723803.33 | 1218532.874 | 2723807.6687 | 1218532.7084 | 2723812.2116 | 1218534.0372 | 2723826.03 | 1218540.8009
30 | 2723803.33 | 1218532.874 | 2723799.2776 | 1218518.5452 | 2723810.7024 | 1218491.0522
31 | 2723803.33 | 1218532.874 | 2723798.8606 | 1218534.5824 | 2723795.4688 | 1218537.4142 | 2723792.2609 | 1218542.7184 | 2723785.2291 | 1218558.8516
32 | 2723810.7024 | 1218491.0522 | 2723822.7857 | 1218401.7384
33 | 2723775.1836 | 1218581.9054 | 2723785.2291 | 1218558.8516
34 | 2723785.2291 | 1218558.8516 | 2723794.4316 | 1218563.0299
35 | 2723806.2875 | 1218568.413 | 2723805.9363 | 1218568.2536
36 | 2723794.4316 | 1218563.0299 | 2723805.9363 | 1218568.2536
37 | 2723775.1836 | 1218581.9054 | 2723798.3732 | 1218592.4461
38 | 2723803.2848 | 1218594.6786 | 2723798.3732 | 1218592.4461
39 | 2723812.2261 | 1218624.9754 | 2723816.9488 | 1218603.7792 | 2723813.8946 | 1218599.5012 | 2723803.2848 | 1218594.6786
40 | 2723812.2261 | 1218624.9754 | 2723818.4968 | 1218624.9946 | 2723833.9927 | 1218623.1486
41 | 2724307.6518 | 1218362.3956 | 2724315.8806 | 1218367.1933 | 2724333.7992 | 1218382.4458 | 2724337.3489 | 1218385.8893 | 2724341.3958 | 1218390.6107 | 2724345.2116 | 1218396.217 | 2724346.6733 | 1218400.0283 | 2724350.7021 | 1218413.2449 | 2724352.7521 | 1218418.3362 | 2724355.6026 | 1218422.8992 | 2724358.4607 | 1218426.7397 | 2724363.3417 | 1218432.2348 | 2724373.7696 | 1218438.9688 | 2724380.978 | 1218444.2679 | 2724393.6061 | 1218452.171 | 2724416.6334 | 1218460.1803 | 2724429.6861 | 1218467.3808 | 2724444.5562 | 1218474.4413 | 2724450.5857 | 1218479.1042 | 2724457.3051 | 1218483.0922 | 2724480.7576 | 1218527.4058 | 2724479.2707 | 1218545.1442 | 2724478.3373 | 1218555.2882 | 2724478.4684 | 1218560.6396 | 2724479.207 | 1218564.1689 | 2724480.0854 | 1218567.5455 | 2724482.136 | 1218570.057
42 | 2724482.136 | 1218570.057 | 2724482.1913 | 1218581.4563
43 | 2724458.8152 | 1218656.3412 | 2724465.2055 | 1218655.0256 | 2724468.3221 | 1218653.3895 | 2724472.7716 | 1218649.7351 | 2724476.6756 | 1218643.8454 | 2724488.0247 | 1218623.9335 | 2724489.3554 | 1218619.113 | 2724489.6686 | 1218613.9377 | 2724489.0186 | 1218609.0759 | 2724483.3469 | 1218592.3887 | 2724482.2075 | 1218584.7923 | 2724482.1913 | 1218581.4563
44 | 2723948.9049 | 1218393.3035 | 2723948.8419 | 1218394.3461 | 2723946.6301 | 1218411.9339
45 | 2723947.1044 | 1218329.0032 | 2723948.2992 | 1218337.9906 | 2723949.2759 | 1218352.3444 | 2723949.8477 | 1218365.7224 | 2723949.8033 | 1218378.4314 | 2723948.9049 | 1218393.3035
46 | 2723947.1044 | 1218329.0032 | 2723936.4835 | 1218329.6828

## bus_geodata
| x | y | coords
0 | 2723892.4449 | 1218524.2498
1 | 2723925.452 | 1218539.4066
2 | 2723942.775 | 1218435.5856
3 | 2723906.4583 | 1218580.1658
4 | 2723944.5043 | 1218425.8832
5 | 2723925.4479 | 1218635.1705
6 | 2723925.6353 | 1218639.7952
7 | 2723913.8238 | 1218635.3377
8 | 2723932.4902 | 1218712.6444
9 | 2724035.7637 | 1218937.5144
10 | 2724033.4115 | 1218924.3811
11 | 2723866.9485 | 1218560.8292
12 | 2723898.4856 | 1218619.3154
13 | 2723945.7665 | 1218418.8013
14 | 2724044.5021 | 1218570.7868
15 | 2724127.166 | 1218451.3175
16 | 2724254.0029 | 1218476.7682
17 | 2724032.2614 | 1218917.9595
18 | 2724724.9588 | 1218859.9631
19 | 2724674.5866 | 1218810.3031
20 | 2724501.9593 | 1218567.5136
21 | 2724574.0482 | 1218857.2355
22 | 2723826.03 | 1218540.8009
23 | 2723858.9855 | 1218577.2754
24 | 2723897.997 | 1218623.0876
25 | 2723803.33 | 1218532.874
26 | 2723810.7024 | 1218491.0522
27 | 2723785.2291 | 1218558.8516
28 | 2723806.2875 | 1218568.413
29 | 2723805.9363 | 1218568.2536
30 | 2723794.4316 | 1218563.0299
31 | 2723775.1836 | 1218581.9054
32 | 2723798.3732 | 1218592.4461
33 | 2723803.2848 | 1218594.6786
34 | 2723812.2261 | 1218624.9754
35 | 2723833.9927 | 1218623.1486
36 | 2723822.7857 | 1218401.7384
37 | 2724261.0412 | 1218833.871
38 | 2724355.6437 | 1218795.6767
39 | 2724307.6518 | 1218362.3956
40 | 2724482.136 | 1218570.057
41 | 2724482.1913 | 1218581.4563
42 | 2724458.8152 | 1218656.3412
43 | 2723948.9049 | 1218393.3035
44 | 2723946.6301 | 1218411.9339
45 | 2723947.1044 | 1218329.0032
46 | 2723936.4835 | 1218329.6828
47 | 2723956.7081 | 1218420.5376
48 | 2723856.453 | 1218582.5058

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98527 | -0.28323 | 0.08447 | 0.02117
1 | 0.98809 | -0.2283 | 0 | 0
2 | 0.98359 | -0.31588 | 0 | 0
3 | 0.99578 | -0.080443 | 0 | 0
4 | 0.98316 | -0.32412 | 0.039674 | 0.0099432
5 | 0.99405 | -0.11399 | 0 | 0
6 | 0.99396 | -0.11581 | 0.016457 | 0.0041246
7 | 0.99399 | -0.11519 | 0.0058329 | 0.0014619
8 | 0.99357 | -0.12336 | 0 | 0
9 | 0.99184 | -0.15732 | 0 | 0
10 | 0.99178 | -0.15869 | 0.0004215 | 0.00010564
11 | 1 | 0 | -0.47138 | -0.1196
12 | 0.99392 | -0.11632 | 0.043678 | 0.010947
13 | 0.98312 | -0.32499 | 0 | 0
14 | 0.98797 | -0.23384 | 0.0023189 | 0.00058116
15 | 0.98845 | -0.22429 | 0.0010105 | 0.00025324
16 | 0.98769 | -0.23942 | 0.0003203 | 8.0274e-05
17 | 0.99174 | -0.15932 | 0.0002528 | 6.3358e-05
18 | 0.98718 | -0.24986 | 0 | 0
19 | 0.98716 | -0.25027 | 0.00028898 | 7.2425e-05
20 | 0.98729 | -0.24765 | 0 | 0
21 | 0.98721 | -0.24928 | 0.00027535 | 6.9008e-05
22 | 0.99486 | -0.098078 | 0.091391 | 0.022905
23 | 0.99984 | -0.0030896 | 0.0096993 | 0.0024309
24 | 0.9939 | -0.11678 | 0.0068017 | 0.0017047
25 | 0.99312 | -0.13138 | 0 | 0
26 | 0.99224 | -0.14848 | 0.0071186 | 0.0017841
27 | 0.98909 | -0.20904 | 0 | 0
28 | 0.98864 | -0.21782 | 0.011384 | 0.0028531
29 | 0.98864 | -0.21774 | 0.0070824 | 0.001775
30 | 0.98885 | -0.21358 | 0.0067127 | 0.0016824
31 | 0.98659 | -0.25734 | 0 | 0
32 | 0.98406 | -0.30652 | 0.04672 | 0.011709
33 | 0.98376 | -0.31243 | 0.015441 | 0.0038698
34 | 0.98214 | -0.34405 | 0 | 0
35 | 0.98123 | -0.36196 | 0.045385 | 0.011375
36 | 0.99104 | -0.17168 | 0.014522 | 0.0036396
37 | 0.99169 | -0.16043 | 0.00025371 | 6.3585e-05
38 | 0.99023 | -0.18913 | 0.0001419 | 3.5564e-05
39 | 0.98756 | -0.24204 | 0 | 0
40 | 0.9873 | -0.24742 | 0 | 0
41 | 0.9873 | -0.2475 | 0.00023298 | 5.839e-05
42 | 0.98728 | -0.24782 | 0.00019319 | 4.8418e-05
43 | 0.98301 | -0.32722 | 0.0029143 | 0.00073038
44 | 0.98308 | -0.32568 | 0.00097437 | 0.0002442
45 | 0.98291 | -0.32913 | 0 | 0
46 | 0.98289 | -0.32944 | 0.0016383 | 0.00041059
47 | 0.98311 | -0.32523 | 0.0011893 | 0.00029807
48 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.08447 | -0.02117 | 0.084692 | 0.021312 | 0.00022167 | 0.0001414 | 0.12757 | 0.12757 | 0.12757 | 0.98527 | -0.28323 | 0.98809 | -0.2283 | 35.0473
1 | 0.046604 | 0.01176 | -0.046409 | -0.011637 | 0.00019458 | 0.00012319 | 0.070212 | 0.070212 | 0.070212 | 0.98809 | -0.2283 | 0.98359 | -0.31588 | 19.2891
2 | -0.1313 | -0.033072 | 0.13223 | 0.03367 | 0.0009356 | 0.00059796 | 0.19778 | 0.19778 | 0.19778 | 0.98809 | -0.2283 | 0.99578 | -0.080443 | 54.3362
3 | 0.046409 | 0.011637 | -0.046391 | -0.011626 | 1.8219e-05 | 1.1535e-05 | 0.070212 | 0.070212 | 0.070212 | 0.98359 | -0.31588 | 0.98316 | -0.32412 | 19.2891
4 | -0.21087 | -0.0534 | 0.21169 | 0.053922 | 0.00081801 | 0.00052238 | 0.31531 | 0.31531 | 0.31531 | 0.99578 | -0.080443 | 1 | 0 | 43.3112
5 | 0.050566 | 0.012706 | -0.050479 | -0.012651 | 8.6436e-05 | 5.4795e-05 | 0.075573 | 0.075573 | 0.075573 | 0.99578 | -0.080443 | 0.99392 | -0.11632 | 20.7619
6 | 0.028076 | 0.0070238 | -0.028031 | -0.006996 | 4.4732e-05 | 2.7748e-05 | 0.041949 | 0.04195 | 0.04195 | 0.99578 | -0.080443 | 0.99405 | -0.11399 | 11.5246
7 | 0.0067172 | 0.0016824 | -0.0067169 | -0.0016823 | 2.7879e-07 | 8.7207e-08 | 0.010166 | 0.010166 | 0.010166 | 0.98316 | -0.32412 | 0.98312 | -0.32499 | 2.7929
8 | 0.022198 | 0.0055341 | -0.022196 | -0.005533 | 1.9152e-06 | 1.1657e-06 | 0.033218 | 0.033218 | 0.033218 | 0.99405 | -0.11399 | 0.99396 | -0.11581 | 9.1258
9 | 0.0058332 | 0.0014619 | -0.0058329 | -0.0014619 | 3.3239e-07 | 6.2035e-08 | 0.0087319 | 0.0087319 | 0.0087319 | 0.99405 | -0.11399 | 0.99399 | -0.11519 | 2.3989
10 | 0.0057385 | 0.0014084 | -0.0057364 | -0.0014081 | 2.0311e-06 | 3.4681e-07 | 0.0085805 | 0.0085808 | 0.0085808 | 0.99396 | -0.11581 | 0.99357 | -0.12336 | 2.3574
11 | 0.0057364 | 0.0014081 | -0.0057273 | -0.0014065 | 9.1331e-06 | 1.5695e-06 | 0.0085808 | 0.0085823 | 0.0085823 | 0.99357 | -0.12336 | 0.99184 | -0.15732 | 2.3578
12 | 0.0057273 | 0.0014065 | -0.0057269 | -0.0014064 | 3.6853e-07 | 6.3671e-08 | 0.0085823 | 0.0085823 | 0.0085823 | 0.99184 | -0.15732 | 0.99178 | -0.15869 | 2.3578
13 | 0.0053054 | 0.0013008 | -0.0053053 | -0.0013008 | 1.5462e-07 | 1.4773e-08 | 0.0079499 | 0.00795 | 0.00795 | 0.99178 | -0.15869 | 0.99174 | -0.15932 | 2.1841
14 | 0.24834 | 0.063242 | -0.24717 | -0.062495 | 0.0011687 | 0.00074679 | 0.36989 | 0.36989 | 0.36989 | 1 | 0 | 0.99486 | -0.098078 | 50.8095
15 | 0.0097007 | 0.0024316 | -0.0096993 | -0.0024309 | 1.4278e-06 | 6.7411e-07 | 0.014435 | 0.014435 | 0.014435 | 1 | 0 | 0.99984 | -0.0030896 | 3.9657
16 | 0.0068018 | 0.0017047 | -0.0068017 | -0.0017047 | 1.4791e-07 | 4.5367e-08 | 0.010183 | 0.010183 | 0.010183 | 0.99392 | -0.11632 | 0.9939 | -0.11678 | 2.7976
17 | 0.0011893 | 0.00029794 | -0.0011893 | -0.00029807 | 1.3462e-08 | -1.3186e-07 | 0.0018001 | 0.0018002 | 0.0018002 | 0.98312 | -0.32499 | 0.98311 | -0.32523 | 0.49455
18 | 0.0055276 | 0.0013843 | -0.0055274 | -0.0013843 | 1.8166e-07 | 2.8502e-08 | 0.008366 | 0.008366 | 0.008366 | 0.98312 | -0.32499 | 0.98308 | -0.32568 | 2.2984
19 | -0.0036304 | -0.00088962 | 0.003632 | 0.0008888 | 1.6244e-06 | -8.2166e-07 | 0.0054608 | 0.0054601 | 0.0054608 | 0.98797 | -0.23384 | 0.98845 | -0.22429 | 1.5002
20 | 0.0013116 | 0.00030846 | -0.0013112 | -0.00031118 | 3.3381e-07 | -2.7261e-06 | 0.0019684 | 0.0019694 | 0.0019694 | 0.98797 | -0.23384 | 0.98769 | -0.23942 | 0.54104
21 | -0.0046425 | -0.001142 | 0.0046502 | 0.0011416 | 7.6684e-06 | -4.8141e-07 | 0.0069813 | 0.0069794 | 0.0069813 | 0.98845 | -0.22429 | 0.99023 | -0.18913 | 1.9179
22 | 0.00099092 | 0.00023091 | -0.0009908 | -0.00023265 | 1.1754e-07 | -1.7383e-06 | 0.0014869 | 0.0014875 | 0.0014875 | 0.98769 | -0.23942 | 0.98756 | -0.24204 | 0.40865
23 | 0.00025372 | 6.0449e-05 | -0.00025371 | -6.3585e-05 | 1.3208e-08 | -3.1365e-06 | 0.0003796 | 0.00038069 | 0.00038069 | 0.99174 | -0.15932 | 0.99169 | -0.16043 | 0.10458
24 | 0.0047988 | 0.001177 | -0.0047921 | -0.0011771 | 6.7058e-06 | -1.6264e-07 | 0.0071911 | 0.0071926 | 0.0071926 | 0.99174 | -0.15932 | 0.99023 | -0.18913 | 1.976
25 | 0.00028898 | 7.1434e-05 | -0.00028898 | -7.2425e-05 | 5.5267e-09 | -9.9029e-07 | 0.00043525 | 0.0004356 | 0.0004356 | 0.98718 | -0.24986 | 0.98716 | -0.25027 | 0.11967
26 | -0.00028898 | -7.1434e-05 | 0.00028901 | 6.6139e-05 | 2.9402e-08 | -5.2957e-06 | 0.00043525 | 0.00043345 | 0.00043525 | 0.98718 | -0.24986 | 0.98729 | -0.24765 | 0.11957
27 | 0.00027537 | 6.4856e-05 | -0.00027535 | -6.9008e-05 | 2.0968e-08 | -4.1519e-06 | 0.00041359 | 0.00041503 | 0.00041503 | 0.98729 | -0.24765 | 0.98721 | -0.24928 | 0.11402
28 | -0.00056438 | -0.000131 | 0.00056439 | 0.00013072 | 5.8101e-09 | -2.7246e-07 | 0.00084703 | 0.00084694 | 0.00084703 | 0.98729 | -0.24765 | 0.9873 | -0.24742 | 0.2327
29 | 0.15578 | 0.039591 | -0.15553 | -0.039432 | 0.00024941 | 0.00015899 | 0.2332 | 0.2332 | 0.2332 | 0.99486 | -0.098078 | 0.99312 | -0.13138 | 32.0331
30 | 0.021674 | 0.0054435 | -0.021657 | -0.0054328 | 1.7668e-05 | 1.073e-05 | 0.032479 | 0.032479 | 0.032479 | 0.99312 | -0.13138 | 0.99224 | -0.14848 | 8.9229
31 | 0.13386 | 0.033988 | -0.13336 | -0.03367 | 0.00049819 | 0.00031841 | 0.20072 | 0.20072 | 0.20072 | 0.99312 | -0.13138 | 0.98909 | -0.20904 | 55.1433
32 | 0.014538 | 0.0036487 | -0.014522 | -0.0036396 | 1.6068e-05 | 9.1208e-06 | 0.021804 | 0.021804 | 0.021804 | 0.99224 | -0.14848 | 0.99104 | -0.17168 | 5.9902
33 | 0.10817 | 0.027354 | -0.10792 | -0.027194 | 0.00024996 | 0.00015965 | 0.16283 | 0.16283 | 0.16283 | 0.98909 | -0.20904 | 0.98659 | -0.25734 | 44.7326
34 | 0.025188 | 0.0063161 | -0.025183 | -0.0063127 | 5.4427e-06 | 3.3536e-06 | 0.037895 | 0.037895 | 0.037895 | 0.98909 | -0.20904 | 0.98885 | -0.21358 | 10.4108
35 | -0.011384 | -0.0028531 | 0.011384 | 0.0028531 | 4.2465e-08 | 2.2232e-08 | 0.017134 | 0.017134 | 0.017134 | 0.98864 | -0.21782 | 0.98864 | -0.21774 | 4.7073
36 | -0.018467 | -0.0046282 | 0.01847 | 0.0046303 | 3.6603e-06 | 2.1805e-06 | 0.027794 | 0.027794 | 0.027794 | 0.98864 | -0.21774 | 0.98885 | -0.21358 | 7.6358
37 | 0.10792 | 0.027194 | -0.10767 | -0.027032 | 0.00025326 | 0.00016176 | 0.16283 | 0.16283 | 0.16283 | 0.98659 | -0.25734 | 0.98406 | -0.30652 | 44.7326
38 | 0.06095 | 0.015323 | -0.060933 | -0.015312 | 1.7192e-05 | 1.0934e-05 | 0.092181 | 0.092181 | 0.092181 | 0.98406 | -0.30652 | 0.98376 | -0.31243 | 25.3244
39 | 0.045492 | 0.011442 | -0.045424 | -0.011399 | 6.8615e-05 | 4.3424e-05 | 0.068825 | 0.068825 | 0.068825 | 0.98376 | -0.31243 | 0.98214 | -0.34405 | 18.9081
40 | 0.045424 | 0.011399 | -0.045385 | -0.011375 | 3.8748e-05 | 2.4523e-05 | 0.068825 | 0.068826 | 0.068826 | 0.98214 | -0.34405 | 0.98123 | -0.36196 | 18.9081
41 | 0.0009908 | 0.00023265 | -0.00099056 | -0.00023624 | 2.4345e-07 | -3.5942e-06 | 0.0014875 | 0.0014888 | 0.0014888 | 0.98756 | -0.24204 | 0.9873 | -0.24742 | 0.409
42 | 0.00042617 | 0.00010552 | -0.00042617 | -0.00010567 | 1.7612e-09 | -1.4465e-07 | 0.00064185 | 0.00064191 | 0.00064191 | 0.9873 | -0.24742 | 0.9873 | -0.2475 | 0.17635
43 | 0.00019319 | 4.7275e-05 | -0.00019319 | -4.8418e-05 | 2.8422e-09 | -1.143e-06 | 0.00029077 | 0.00029118 | 0.00029118 | 0.9873 | -0.2475 | 0.98728 | -0.24782 | 0.079994
44 | -0.0045527 | -0.0011401 | 0.004553 | 0.0011401 | 3.3428e-07 | -2.4042e-08 | 0.0068913 | 0.0068912 | 0.0068913 | 0.98301 | -0.32722 | 0.98308 | -0.32568 | 1.8932
45 | 0.0016384 | 0.00040974 | -0.0016383 | -0.00041047 | 1.4865e-07 | -7.2185e-07 | 0.0024798 | 0.0024801 | 0.0024801 | 0.98301 | -0.32722 | 0.98291 | -0.32913 | 0.68135
46 | 0.0016383 | 0.00041047 | -0.0016383 | -0.00041059 | 2.4549e-08 | -1.1918e-07 | 0.0024801 | 0.0024802 | 0.0024802 | 0.98291 | -0.32913 | 0.98289 | -0.32944 | 0.68137

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.47138 | 0.1196

## res_load
| p_mw | q_mvar
0 | 0.08447 | 0.02117
1 | 0.039674 | 0.0099432
2 | 0.016457 | 0.0041246
3 | 0.0058329 | 0.0014619
4 | 0.0004215 | 0.00010564
5 | 0.043678 | 0.010947
6 | 0.0023189 | 0.00058116
7 | 0.0010105 | 0.00025324
8 | 0.0003203 | 8.0274e-05
9 | 0.0002528 | 6.3358e-05
10 | 0.00028898 | 7.2425e-05
11 | 0.00027535 | 6.9008e-05
12 | 0.091391 | 0.022905
13 | 0.0096993 | 0.0024309
14 | 0.0068017 | 0.0017047
15 | 0.0071186 | 0.0017841
16 | 0.011384 | 0.0028531
17 | 0.0070824 | 0.001775
18 | 0.0067127 | 0.0016824
19 | 0.04672 | 0.011709
20 | 0.015441 | 0.0038698
21 | 0.045385 | 0.011375
22 | 0.014522 | 0.0036396
23 | 0.00025371 | 6.3585e-05
24 | 0.0001419 | 3.5564e-05
25 | 0.00023298 | 5.839e-05
26 | 0.00019319 | 4.8418e-05
27 | 0.0029143 | 0.00073038
28 | 0.00097437 | 0.0002442
29 | 0.0016383 | 0.00041059
30 | 0.0011893 | 0.00029807

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1