## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1630-7_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1630-7_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1630-7_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1630-7_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1630-7_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1630-7_0_3_node_10 | 0.4 | n |  | TRUE
6 | bus_LV_1630-7_0_3_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_1630-7_0_3_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_1630-7_0_3_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_1630-7_0_3_node_16 | 0.4 | n |  | TRUE
10 | bus_LV_1630-7_0_3_node_9 | 0.4 | n |  | TRUE
11 | bus_LV_1630-7_0_3_node_17 | 0.4 | n |  | TRUE
12 | bus_LV_1630-7_0_3_node_13 | 0.4 | n |  | TRUE
13 | bus_LV_1630-7_0_3_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_1630-7_0_3_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_1630-7_0_3_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_1630-7_0_3_node_14 | 0.4 | n |  | TRUE
17 | bus_LV_1630-7_0_3_node_15 | 0.4 | n |  | TRUE
18 | bus_LV_1630-7_0_3_node_31 | 0.4 | n |  | TRUE
19 | bus_LV_1630-7_0_3_node_35 | 0.4 | n |  | TRUE
20 | bus_LV_1630-7_0_3_node_27 | 0.4 | n |  | TRUE
21 | bus_LV_1630-7_0_3_node_33 | 0.4 | n |  | TRUE
22 | bus_LV_1630-7_0_3_node_34 | 0.4 | n |  | TRUE
23 | bus_LV_1630-7_0_3_node_32 | 0.4 | n |  | TRUE
24 | bus_LV_1630-7_0_3_node_36 | 0.4 | n |  | TRUE
25 | bus_LV_1630-7_0_3_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_1630-7_0_3_node_19 | 0.4 | n |  | TRUE
27 | bus_LV_1630-7_0_3_node_20 | 0.4 | n |  | TRUE
28 | bus_LV_1630-7_0_3_node_21 | 0.4 | n |  | TRUE
29 | bus_LV_1630-7_0_3_node_22 | 0.4 | n |  | TRUE
30 | bus_LV_1630-7_0_3_node_23 | 0.4 | n |  | TRUE
31 | bus_LV_1630-7_0_3_node_37 | 0.4 | n |  | TRUE
32 | bus_LV_1630-7_0_3_node_24 | 0.4 | n |  | TRUE
33 | bus_LV_1630-7_0_3_node_25 | 0.4 | n |  | TRUE
34 | bus_LV_1630-7_0_3_node_26 | 0.4 | n |  | TRUE
35 | bus_LV_1630-7_0_3_node_28 | 0.4 | n |  | TRUE
36 | bus_LV_1630-7_0_3_node_29 | 0.4 | n |  | TRUE
37 | bus_MV_54_0_node_178 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1630-7_0_3_load_0 | 0 | 0.038353 | 0.0096122 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1630-7_0_3_load_1 | 1 | 0.0027645 | 0.00069285 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1630-7_0_3_load_3 | 3 | 0.0055087 | 0.0013806 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1630-7_0_3_load_10 | 5 | 0.0013207 | 0.00033101 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1630-7_0_3_load_7 | 7 | 0.014013 | 0.003512 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1630-7_0_3_load_16 | 9 | 0.0499 | 0.012506 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1630-7_0_3_load_9 | 10 | 0.019914 | 0.0049909 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1630-7_0_3_load_17 | 11 | 0.014777 | 0.0037034 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1630-7_0_3_load_8 | 13 | 0.037703 | 0.0094492 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1630-7_0_3_load_11 | 14 | 0.0078148 | 0.0019586 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1630-7_0_3_load_31 | 18 | 0.011157 | 0.0027961 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1630-7_0_3_load_35 | 19 | 0.0073197 | 0.0018345 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1630-7_0_3_load_32 | 23 | 0.0060501 | 0.0015163 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1630-7_0_3_load_36 | 24 | 0.013214 | 0.0033118 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1630-7_0_3_load_18 | 25 | 0.0069655 | 0.0017457 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1630-7_0_3_load_21 | 28 | 0.0019781 | 0.00049577 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1630-7_0_3_load_37 | 31 | 0.047356 | 0.011869 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1630-7_0_3_load_24 | 32 | 0.0032032 | 0.00080279 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1630-7_0_3_load_25 | 33 | 0.0031095 | 0.00077931 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1630-7_0_3_load_26 | 34 | 0.0024207 | 0.00060668 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1630-7_0_3_load_28 | 35 | 0.052529 | 0.013165 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1630-7_0_3_load_29 | 36 | 0.010314 | 0.0025848 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 24 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1630-7_0_3_line_0 |  | 0 | 1 | 0.030152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1630-7_0_3_line_1 |  | 0 | 2 | 0.0099986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1630-7_0_3_line_2 |  | 1 | 3 | 0.047116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1630-7_0_3_line_3 |  | 2 | 4 | 0.017999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1630-7_0_3_line_4 |  | 3 | 5 | 0.019584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1630-7_0_3_line_5 |  | 4 | 6 | 0.027067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1630-7_0_3_line_6 |  | 4 | 7 | 0.0080929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1630-7_0_3_line_7 |  | 6 | 10 | 0.012677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1630-7_0_3_line_8 |  | 6 | 8 | 0.042422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1630-7_0_3_line_9 |  | 8 | 9 | 0.022608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1630-7_0_3_line_10 |  | 9 | 12 | 0.025758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_1630-7_0_3_line_11 |  | 10 | 13 | 0.0094813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1630-7_0_3_line_12 |  | 11 | 12 | 0.015423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1630-7_0_3_line_13 |  | 12 | 14 | 0.0094731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_1630-7_0_3_line_14 |  | 14 | 15 | 0.12162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_1630-7_0_3_line_15 |  | 15 | 16 | 0.02891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1630-7_0_3_line_16 |  | 15 | 17 | 0.033667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_1630-7_0_3_line_17 |  | 16 | 18 | 0.019453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1630-7_0_3_line_18 |  | 17 | 19 | 0.030082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_1630-7_0_3_line_19 |  | 18 | 20 | 0.019674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1630-7_0_3_line_20 |  | 19 | 22 | 0.010623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_1630-7_0_3_line_21 |  | 20 | 36 | 0.025619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1630-7_0_3_line_22 |  | 20 | 33 | 0.021867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1630-7_0_3_line_23 |  | 21 | 22 | 0.020736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1630-7_0_3_line_24 |  | 21 | 23 | 0.020228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1630-7_0_3_line_25 |  | 22 | 24 | 0.032821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_1630-7_0_3_line_26 |  | 23 | 29 | 0.058846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1630-7_0_3_line_27 |  | 25 | 26 | 0.03108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1630-7_0_3_line_28 |  | 25 | 27 | 0.03925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1630-7_0_3_line_29 |  | 26 | 28 | 0.0086349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1630-7_0_3_line_30 |  | 26 | 29 | 0.002885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1630-7_0_3_line_31 |  | 27 | 30 | 0.098728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1630-7_0_3_line_32 |  | 30 | 31 | 0.020936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1630-7_0_3_line_33 |  | 32 | 33 | 0.0052736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1630-7_0_3_line_34 |  | 32 | 34 | 0.0047642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1630-7_0_3_line_35 |  | 34 | 35 | 0.004661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1630-7_0_3_trafo_36 | 0.63 MVA 20/0.4 kV | 37 | 24 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2723268.4963 | 1221376.9848 | 2723269.7781 | 1221352.191 | 2723273.7213 | 1221348.6125
1 | 2723267.9801 | 1221386.9701 | 2723268.4963 | 1221376.9848
2 | 2723273.7213 | 1221348.6125 | 2723287.1487 | 1221336.427 | 2723316.077 | 1221338.2173
3 | 2723285.9529 | 1221388.6546 | 2723267.9801 | 1221386.9701
4 | 2723334.1615 | 1221333.8095 | 2723331.7056 | 1221336.2383 | 2723327.5505 | 1221338.265 | 2723323.3457 | 1221338.6671 | 2723316.077 | 1221338.2173
5 | 2723285.9529 | 1221388.6546 | 2723283.1718 | 1221415.5737
6 | 2723285.9529 | 1221388.6546 | 2723294.0102 | 1221389.4118
7 | 2723283.1718 | 1221415.5737 | 2723291.508 | 1221416.1134 | 2723294.975 | 1221418.6962
8 | 2723283.1718 | 1221415.5737 | 2723276.5274 | 1221425.6775 | 2723266.0167 | 1221424.9705 | 2723261.0742 | 1221444.1389
9 | 2723261.0742 | 1221444.1389 | 2723259.674 | 1221466.7038
10 | 2723253.6334 | 1221490.8661 | 2723256.0678 | 1221488.3701 | 2723257.9911 | 1221484.9072 | 2723258.796 | 1221480.854 | 2723259.674 | 1221466.7038
11 | 2723302.5783 | 1221424.3604 | 2723294.975 | 1221418.6962
12 | 2723253.6334 | 1221490.8661 | 2723268.9285 | 1221492.8509
13 | 2723253.6334 | 1221490.8661 | 2723249.6869 | 1221493.0862 | 2723244.803 | 1221493.8616
14 | 2723123.3986 | 1221491.3282 | 2723127.2197 | 1221491.4962 | 2723188.1972 | 1221493.114 | 2723192.7633 | 1221492.8527 | 2723204.653 | 1221491.4531 | 2723214.1154 | 1221492.205 | 2723223.104 | 1221493.1139 | 2723244.2966 | 1221493.942 | 2723244.803 | 1221493.8616
15 | 2723123.3986 | 1221491.3282 | 2723121.6861 | 1221520.1822
16 | 2723123.3986 | 1221491.3282 | 2723124.0319 | 1221481.2556 | 2723125.1197 | 1221470.1249 | 2723125.7703 | 1221457.7508
17 | 2723121.6861 | 1221520.1822 | 2723124.1698 | 1221523.3694 | 2723126.6683 | 1221525.4782 | 2723129.3302 | 1221527.0234 | 2723132.1243 | 1221528.0486 | 2723138.2014 | 1221528.4306
18 | 2723125.7703 | 1221457.7508 | 2723142.4935 | 1221458.575 | 2723143.2295 | 1221445.2572
19 | 2723154.9086 | 1221532.2564 | 2723155.0721 | 1221529.4909 | 2723138.2014 | 1221528.4306
20 | 2723143.8157 | 1221434.6501 | 2723143.2295 | 1221445.2572
21 | 2723154.9086 | 1221532.2564 | 2723153.4005 | 1221557.8307
22 | 2723154.9086 | 1221532.2564 | 2723176.7478 | 1221533.3645
23 | 2723146.338 | 1221415.4427 | 2723145.3801 | 1221431.2909 | 2723143.9472 | 1221431.2279 | 2723143.8157 | 1221434.6501
24 | 2723146.338 | 1221415.4427 | 2723147.1031 | 1221402.6707 | 2723147.551 | 1221395.2509
25 | 2723143.8157 | 1221434.6501 | 2723161.0443 | 1221435.6183 | 2723176.681 | 1221436.509
26 | 2723151.0978 | 1221336.5123 | 2723149.9191 | 1221356.07 | 2723148.9737 | 1221371.685 | 2723147.551 | 1221395.2509
27 | 2723152.4136 | 1221334.9049 | 2723153.0461 | 1221321.5742 | 2723152.6597 | 1221320.4431 | 2723151.479 | 1221318.8285 | 2723146.9721 | 1221316.5891 | 2723141.7336 | 1221314.5014 | 2723138.5952 | 1221312.2425
28 | 2723102.2541 | 1221302.5536 | 2723110.051 | 1221301.6585 | 2723115.4682 | 1221301.715 | 2723122.0436 | 1221302.6405 | 2723127.751 | 1221304.4377 | 2723138.5952 | 1221312.2425
29 | 2723152.4136 | 1221334.9049 | 2723161.0328 | 1221335.4238
30 | 2723151.0978 | 1221336.5123 | 2723151.2084 | 1221334.8355 | 2723152.4136 | 1221334.9049
31 | 2723054.8775 | 1221384.0498 | 2723057.3533 | 1221378.4521 | 2723059.4303 | 1221374.8922 | 2723064.7513 | 1221365.2835 | 2723088.8485 | 1221309.7155 | 2723089.7878 | 1221305.7651 | 2723102.2541 | 1221302.5536
32 | 2723054.8775 | 1221384.0498 | 2723068.7384 | 1221384.948 | 2723071.4592 | 1221385.1155 | 2723075.8321 | 1221385.3949
33 | 2723177.0746 | 1221528.101 | 2723176.7478 | 1221533.3645
34 | 2723177.0746 | 1221528.101 | 2723177.3698 | 1221523.346
35 | 2723177.6586 | 1221518.694 | 2723177.3698 | 1221523.346

## bus_geodata
| x | y | coords
0 | 2723268.4963 | 1221376.9848
1 | 2723273.7213 | 1221348.6125
2 | 2723267.9801 | 1221386.9701
3 | 2723316.077 | 1221338.2173
4 | 2723285.9529 | 1221388.6546
5 | 2723334.1615 | 1221333.8095
6 | 2723283.1718 | 1221415.5737
7 | 2723294.0102 | 1221389.4118
8 | 2723261.0742 | 1221444.1389
9 | 2723259.674 | 1221466.7038
10 | 2723294.975 | 1221418.6962
11 | 2723268.9285 | 1221492.8509
12 | 2723253.6334 | 1221490.8661
13 | 2723302.5783 | 1221424.3604
14 | 2723244.803 | 1221493.8616
15 | 2723123.3986 | 1221491.3282
16 | 2723121.6861 | 1221520.1822
17 | 2723125.7703 | 1221457.7508
18 | 2723138.2014 | 1221528.4306
19 | 2723143.2295 | 1221445.2572
20 | 2723154.9086 | 1221532.2564
21 | 2723146.338 | 1221415.4427
22 | 2723143.8157 | 1221434.6501
23 | 2723147.551 | 1221395.2509
24 | 2723176.681 | 1221436.509
25 | 2723138.5952 | 1221312.2425
26 | 2723152.4136 | 1221334.9049
27 | 2723102.2541 | 1221302.5536
28 | 2723161.0328 | 1221335.4238
29 | 2723151.0978 | 1221336.5123
30 | 2723054.8775 | 1221384.0498
31 | 2723075.8321 | 1221385.3949
32 | 2723177.0746 | 1221528.101
33 | 2723176.7478 | 1221533.3645
34 | 2723177.3698 | 1221523.346
35 | 2723177.6586 | 1221518.694
36 | 2723153.4005 | 1221557.8307
37 | 2723143.8157 | 1221434.6501

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97094 | -0.56057 | 0.038353 | 0.0096122
1 | 0.97067 | -0.56592 | 0.0027645 | 0.00069285
2 | 0.97139 | -0.55171 | 0 | 0
3 | 0.97037 | -0.57187 | 0.0055087 | 0.0013806
4 | 0.97219 | -0.53578 | 0 | 0
5 | 0.97034 | -0.57235 | 0.0013207 | 0.00033101
6 | 0.97376 | -0.5049 | 0 | 0
7 | 0.97209 | -0.53787 | 0.014013 | 0.003512
8 | 0.97849 | -0.4121 | 0 | 0
9 | 0.98102 | -0.36301 | 0.0499 | 0.012506
10 | 0.97308 | -0.51834 | 0.019914 | 0.0049909
11 | 0.98216 | -0.34081 | 0.014777 | 0.0037034
12 | 0.98237 | -0.33669 | 0 | 0
13 | 0.97274 | -0.52492 | 0.037703 | 0.0094492
14 | 0.98291 | -0.32619 | 0.0078148 | 0.0019586
15 | 0.99016 | -0.18674 | 0 | 0
16 | 0.98795 | -0.22935 | 0 | 0
17 | 0.99302 | -0.13206 | 0 | 0
18 | 0.98647 | -0.25814 | 0.011157 | 0.0027961
19 | 0.99558 | -0.083477 | 0.0073197 | 0.0018345
20 | 0.98517 | -0.28339 | 0 | 0
21 | 0.99531 | -0.088648 | 0 | 0
22 | 0.99651 | -0.065924 | 0 | 0
23 | 0.99415 | -0.11087 | 0.0060501 | 0.0015163
24 | 1 | 0 | -0.35269 | -0.090518
25 | 0.98939 | -0.20238 | 0.0069655 | 0.0017457
26 | 0.99094 | -0.17236 | 0 | 0
27 | 0.98767 | -0.23554 | 0 | 0
28 | 0.99093 | -0.17267 | 0.0019781 | 0.00049577
29 | 0.99109 | -0.16948 | 0 | 0
30 | 0.98335 | -0.31944 | 0 | 0
31 | 0.98244 | -0.33733 | 0.047356 | 0.011869
32 | 0.98365 | -0.313 | 0.0032032 | 0.00080279
33 | 0.98393 | -0.30748 | 0.0031095 | 0.00077931
34 | 0.98341 | -0.31772 | 0.0024207 | 0.00060668
35 | 0.98318 | -0.32213 | 0.052529 | 0.013165
36 | 0.98493 | -0.28814 | 0.010314 | 0.0025848
37 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0095983 | 0.0024061 | -0.0095958 | -0.0024049 | 2.4467e-06 | 1.1931e-06 | 0.01471 | 0.01471 | 0.01471 | 0.97094 | -0.56057 | 0.97067 | -0.56592 | 4.0413
1 | -0.047952 | -0.012018 | 0.047972 | 0.012031 | 2.0249e-05 | 1.2836e-05 | 0.073489 | 0.073489 | 0.073489 | 0.97094 | -0.56057 | 0.97139 | -0.55171 | 20.1892
2 | 0.0068314 | 0.001712 | -0.0068294 | -0.0017114 | 1.9377e-06 | 6.5793e-07 | 0.010472 | 0.010473 | 0.010473 | 0.97067 | -0.56592 | 0.97037 | -0.57187 | 2.8771
3 | -0.047972 | -0.012031 | 0.048008 | 0.012054 | 3.6452e-05 | 2.3106e-05 | 0.073489 | 0.073489 | 0.073489 | 0.97139 | -0.55171 | 0.97219 | -0.53578 | 20.1892
4 | 0.0013208 | 0.00033078 | -0.0013207 | -0.00033101 | 3.0123e-08 | -2.2264e-07 | 0.0020252 | 0.0020253 | 0.0020253 | 0.97037 | -0.57187 | 0.97034 | -0.57235 | 0.55641
5 | -0.062023 | -0.015567 | 0.062114 | 0.015625 | 9.1487e-05 | 5.8215e-05 | 0.094939 | 0.094939 | 0.094939 | 0.97219 | -0.53578 | 0.97376 | -0.5049 | 26.0821
6 | 0.014014 | 0.0035128 | -0.014013 | -0.003512 | 1.3964e-06 | 7.9334e-07 | 0.02145 | 0.02145 | 0.02145 | 0.97219 | -0.53578 | 0.97209 | -0.53787 | 5.893
7 | 0.057666 | 0.014471 | -0.057629 | -0.014448 | 3.692e-05 | 2.3471e-05 | 0.088126 | 0.088127 | 0.088127 | 0.97376 | -0.5049 | 0.97308 | -0.51834 | 24.2106
8 | -0.11978 | -0.030096 | 0.12031 | 0.030437 | 0.00053314 | 0.00034068 | 0.18307 | 0.18307 | 0.18307 | 0.97376 | -0.5049 | 0.97849 | -0.4121 | 50.2926
9 | -0.12031 | -0.030437 | 0.1206 | 0.030619 | 0.00028413 | 0.00018156 | 0.18307 | 0.18306 | 0.18307 | 0.97849 | -0.4121 | 0.98102 | -0.36301 | 50.2926
10 | -0.1705 | -0.043125 | 0.17071 | 0.043262 | 0.00021557 | 0.00013699 | 0.25875 | 0.25875 | 0.25875 | 0.98102 | -0.36301 | 0.98237 | -0.33669 | 23.6954
11 | 0.037715 | 0.0094567 | -0.037703 | -0.0094492 | 1.1827e-05 | 7.4513e-06 | 0.057674 | 0.057674 | 0.057674 | 0.97308 | -0.51834 | 0.97274 | -0.52492 | 15.8446
12 | -0.014777 | -0.0037034 | 0.01478 | 0.003705 | 2.8987e-06 | 1.66e-06 | 0.022387 | 0.022387 | 0.022387 | 0.98216 | -0.34081 | 0.98237 | -0.33669 | 6.1503
13 | -0.18549 | -0.046967 | 0.18559 | 0.047026 | 9.3595e-05 | 5.9541e-05 | 0.28114 | 0.28114 | 0.28114 | 0.98237 | -0.33669 | 0.98291 | -0.32619 | 25.7455
14 | -0.1934 | -0.048985 | 0.19471 | 0.049815 | 0.0013048 | 0.00083043 | 0.29297 | 0.29297 | 0.29297 | 0.98291 | -0.32619 | 0.99016 | -0.18674 | 26.8289
15 | 0.083215 | 0.021042 | -0.083045 | -0.020933 | 0.00016973 | 0.00010825 | 0.12512 | 0.12512 | 0.12512 | 0.99016 | -0.18674 | 0.98795 | -0.22935 | 34.3742
16 | -0.27792 | -0.070857 | 0.27866 | 0.071326 | 0.00073563 | 0.0004695 | 0.41809 | 0.41809 | 0.41809 | 0.99016 | -0.18674 | 0.99302 | -0.13206 | 38.2868
17 | 0.083045 | 0.020933 | -0.082931 | -0.02086 | 0.00011421 | 7.2844e-05 | 0.12512 | 0.12512 | 0.12512 | 0.98795 | -0.22935 | 0.98647 | -0.25814 | 34.3742
18 | -0.27866 | -0.071326 | 0.27931 | 0.071746 | 0.00065728 | 0.00041949 | 0.41809 | 0.41809 | 0.41809 | 0.99302 | -0.13206 | 0.99558 | -0.083477 | 38.2867
19 | 0.071774 | 0.018064 | -0.071687 | -0.018009 | 8.6523e-05 | 5.5124e-05 | 0.10829 | 0.10829 | 0.10829 | 0.98647 | -0.25814 | 0.98517 | -0.28339 | 29.7509
20 | -0.28663 | -0.07358 | 0.28688 | 0.073736 | 0.00024442 | 0.00015602 | 0.42903 | 0.42903 | 0.42903 | 0.99558 | -0.083477 | 0.99651 | -0.065924 | 39.2885
21 | 0.010316 | 0.002586 | -0.010314 | -0.0025848 | 2.3324e-06 | 1.1666e-06 | 0.015581 | 0.015582 | 0.015582 | 0.98517 | -0.28339 | 0.98493 | -0.28814 | 4.2807
22 | 0.061372 | 0.015423 | -0.061301 | -0.015378 | 7.0485e-05 | 4.4832e-05 | 0.092712 | 0.092712 | 0.092712 | 0.98517 | -0.28339 | 0.98393 | -0.30748 | 25.4703
23 | -0.06297 | -0.01602 | 0.063039 | 0.016064 | 6.9041e-05 | 4.3917e-05 | 0.094227 | 0.094227 | 0.094227 | 0.99531 | -0.088648 | 0.99651 | -0.065924 | 25.8865
24 | 0.06297 | 0.01602 | -0.062903 | -0.015977 | 6.735e-05 | 4.2841e-05 | 0.094227 | 0.094227 | 0.094227 | 0.99531 | -0.088648 | 0.99415 | -0.11087 | 25.8865
25 | -0.34992 | -0.0898 | 0.35104 | 0.090518 | 0.0011233 | 0.00071762 | 0.52326 | 0.52326 | 0.52326 | 0.99651 | -0.065924 | 1 | 0 | 47.9173
26 | 0.056853 | 0.014461 | -0.056693 | -0.014359 | 0.00016008 | 0.00010169 | 0.085171 | 0.085172 | 0.085172 | 0.99415 | -0.11087 | 0.99109 | -0.16948 | 23.3988
27 | -0.054628 | -0.013808 | 0.054707 | 0.013858 | 7.8753e-05 | 5.0002e-05 | 0.082201 | 0.082201 | 0.082201 | 0.98939 | -0.20238 | 0.99094 | -0.17236 | 22.5828
28 | 0.047663 | 0.012063 | -0.047587 | -0.012015 | 7.5722e-05 | 4.7959e-05 | 0.071725 | 0.071726 | 0.071726 | 0.98939 | -0.20238 | 0.98767 | -0.23554 | 19.7048
29 | 0.0019782 | 0.00049567 | -0.0019781 | -0.00049577 | 2.8571e-08 | -9.2954e-08 | 0.0029704 | 0.0029704 | 0.0029704 | 0.99094 | -0.17236 | 0.99093 | -0.17267 | 0.81606
30 | -0.056685 | -0.014354 | 0.056693 | 0.014359 | 7.8481e-06 | 4.9856e-06 | 0.085172 | 0.085172 | 0.085172 | 0.99094 | -0.17236 | 0.99109 | -0.16948 | 23.3988
31 | 0.047587 | 0.012015 | -0.047396 | -0.011894 | 0.00019047 | 0.00012064 | 0.071726 | 0.071726 | 0.071726 | 0.98767 | -0.23554 | 0.98335 | -0.31944 | 19.7049
32 | 0.047396 | 0.011894 | -0.047356 | -0.011869 | 4.039e-05 | 2.5585e-05 | 0.071726 | 0.071726 | 0.071726 | 0.98335 | -0.31944 | 0.98244 | -0.33733 | 19.705
33 | -0.058176 | -0.014589 | 0.058192 | 0.014599 | 1.5318e-05 | 9.7364e-06 | 0.088009 | 0.088009 | 0.088009 | 0.98365 | -0.313 | 0.98393 | -0.30748 | 24.1784
34 | 0.054973 | 0.013787 | -0.054961 | -0.013779 | 1.2356e-05 | 7.8475e-06 | 0.083164 | 0.083164 | 0.083164 | 0.98365 | -0.313 | 0.98341 | -0.31772 | 22.8472
35 | 0.05254 | 0.013172 | -0.052529 | -0.013165 | 1.1047e-05 | 7.0111e-06 | 0.079501 | 0.079501 | 0.079501 | 0.98341 | -0.31772 | 0.98318 | -0.32213 | 21.8409

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.3659 | 0.09383

## res_load
| p_mw | q_mvar
0 | 0.038353 | 0.0096122
1 | 0.0027645 | 0.00069285
2 | 0.0055087 | 0.0013806
3 | 0.0013207 | 0.00033101
4 | 0.014013 | 0.003512
5 | 0.0499 | 0.012506
6 | 0.019914 | 0.0049909
7 | 0.014777 | 0.0037034
8 | 0.037703 | 0.0094492
9 | 0.0078148 | 0.0019586
10 | 0.011157 | 0.0027961
11 | 0.0073197 | 0.0018345
12 | 0.0060501 | 0.0015163
13 | 0.013214 | 0.0033118
14 | 0.0069655 | 0.0017457
15 | 0.0019781 | 0.00049577
16 | 0.047356 | 0.011869
17 | 0.0032032 | 0.00080279
18 | 0.0031095 | 0.00077931
19 | 0.0024207 | 0.00060668
20 | 0.052529 | 0.013165
21 | 0.010314 | 0.0025848

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1